## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6232-10_1_3_node_196 | 0.4 | n |  | TRUE
1 | bus_LV_6232-10_1_3_node_111 | 0.4 | n |  | TRUE
2 | bus_LV_6232-10_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_6232-10_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6232-10_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6232-10_1_3_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_6232-10_1_3_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_6232-10_1_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_6232-10_1_3_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_6232-10_1_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_6232-10_1_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6232-10_1_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_6232-10_1_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_6232-10_1_3_node_104 | 0.4 | n |  | TRUE
14 | bus_LV_6232-10_1_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_6232-10_1_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6232-10_1_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_6232-10_1_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_6232-10_1_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6232-10_1_3_node_197 | 0.4 | n |  | TRUE
20 | bus_LV_6232-10_1_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6232-10_1_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_6232-10_1_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_6232-10_1_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_6232-10_1_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_6232-10_1_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6232-10_1_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6232-10_1_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6232-10_1_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6232-10_1_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6232-10_1_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6232-10_1_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6232-10_1_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_6232-10_1_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6232-10_1_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6232-10_1_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_6232-10_1_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6232-10_1_3_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_6232-10_1_3_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_6232-10_1_3_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_6232-10_1_3_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_6232-10_1_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_6232-10_1_3_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_6232-10_1_3_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_6232-10_1_3_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_6232-10_1_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6232-10_1_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6232-10_1_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6232-10_1_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6232-10_1_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6232-10_1_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6232-10_1_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6232-10_1_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6232-10_1_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6232-10_1_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6232-10_1_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6232-10_1_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6232-10_1_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_6232-10_1_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_6232-10_1_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_6232-10_1_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6232-10_1_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6232-10_1_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6232-10_1_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6232-10_1_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6232-10_1_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_6232-10_1_3_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_6232-10_1_3_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_6232-10_1_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_6232-10_1_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6232-10_1_3_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_6232-10_1_3_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_6232-10_1_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_6232-10_1_3_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_6232-10_1_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6232-10_1_3_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_6232-10_1_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6232-10_1_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6232-10_1_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6232-10_1_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6232-10_1_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6232-10_1_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_6232-10_1_3_node_194 | 0.4 | n |  | TRUE
83 | bus_LV_6232-10_1_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_6232-10_1_3_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_6232-10_1_3_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_6232-10_1_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_6232-10_1_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_6232-10_1_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6232-10_1_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_6232-10_1_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_6232-10_1_3_node_112 | 0.4 | n |  | TRUE
92 | bus_LV_6232-10_1_3_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_6232-10_1_3_node_98 | 0.4 | n |  | TRUE
94 | bus_LV_6232-10_1_3_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_6232-10_1_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_6232-10_1_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_6232-10_1_3_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_6232-10_1_3_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_6232-10_1_3_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_6232-10_1_3_node_108 | 0.4 | n |  | TRUE
101 | bus_LV_6232-10_1_3_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_6232-10_1_3_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_6232-10_1_3_node_110 | 0.4 | n |  | TRUE
104 | bus_MV_114_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6232-10_1_3_load_196 | 0 | 0.0015353 | 0.00038479 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6232-10_1_3_load_111 | 1 | 0.0031461 | 0.00078848 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6232-10_1_3_load_10 | 2 | 0.0018178 | 0.00045559 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6232-10_1_3_load_11 | 3 | 0.0013764 | 0.00034495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6232-10_1_3_load_12 | 4 | 0.0013164 | 0.00032993 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6232-10_1_3_load_102 | 6 | 0.0013838 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6232-10_1_3_load_32 | 7 | 0.00096638 | 0.0002422 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6232-10_1_3_load_14 | 10 | 0.0019676 | 0.00049313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6232-10_1_3_load_49 | 12 | 0.0010188 | 0.00025534 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6232-10_1_3_load_17 | 16 | 0.00080143 | 0.00020086 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6232-10_1_3_load_28 | 17 | 0.0018139 | 0.00045462 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6232-10_1_3_load_197 | 19 | 0.0036328 | 0.00091048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6232-10_1_3_load_16 | 20 | 0.0011171 | 0.00027996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6232-10_1_3_load_18 | 21 | 0.002012 | 0.00050425 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6232-10_1_3_load_51 | 23 | 0.0022375 | 0.00056077 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6232-10_1_3_load_46 | 24 | 0.0013632 | 0.00034164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6232-10_1_3_load_20 | 25 | 0.001865 | 0.00046742 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6232-10_1_3_load_21 | 26 | 0.0027985 | 0.00070137 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6232-10_1_3_load_26 | 27 | 0.0016176 | 0.00040541 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6232-10_1_3_load_25 | 28 | 0.0027831 | 0.00069751 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6232-10_1_3_load_23 | 30 | 0.0026656 | 0.00066807 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6232-10_1_3_load_27 | 31 | 0.0066785 | 0.0016738 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6232-10_1_3_load_45 | 32 | 0.0022037 | 0.0005523 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6232-10_1_3_load_29 | 33 | 0.0020614 | 0.00051663 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6232-10_1_3_load_30 | 34 | 0.001046 | 0.00026215 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6232-10_1_3_load_64 | 35 | 0.0022646 | 0.00056757 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6232-10_1_3_load_34 | 36 | 0.0019243 | 0.00048228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6232-10_1_3_load_63 | 37 | 0.0020897 | 0.00052374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6232-10_1_3_load_105 | 38 | 0.0017525 | 0.00043923 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6232-10_1_3_load_60 | 39 | 0.0014492 | 0.00036321 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6232-10_1_3_load_95 | 41 | 0.00058704 | 0.00014713 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6232-10_1_3_load_103 | 42 | 0.002035 | 0.00051001 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6232-10_1_3_load_93 | 43 | 0.00073527 | 0.00018428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6232-10_1_3_load_61 | 44 | 0.0023331 | 0.00058472 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6232-10_1_3_load_35 | 45 | 0.006248 | 0.0015659 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6232-10_1_3_load_36 | 46 | 0.0029166 | 0.00073096 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6232-10_1_3_load_38 | 48 | 0.0019375 | 0.00048558 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6232-10_1_3_load_39 | 49 | 0.0021638 | 0.00054231 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6232-10_1_3_load_40 | 50 | 0.0027371 | 0.00068598 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6232-10_1_3_load_42 | 51 | 0.0014478 | 0.00036284 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6232-10_1_3_load_43 | 52 | 0.0021421 | 0.00053685 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6232-10_1_3_load_53 | 53 | 0.00113 | 0.00028322 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6232-10_1_3_load_52 | 55 | 0.0015561 | 0.00039 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6232-10_1_3_load_47 | 56 | 0.0055844 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6232-10_1_3_load_62 | 57 | 0.0032001 | 0.00080201 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6232-10_1_3_load_66 | 58 | 0.0020995 | 0.00052618 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6232-10_1_3_load_67 | 59 | 0.0026474 | 0.00066351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6232-10_1_3_load_54 | 60 | 0.0065148 | 0.0016328 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6232-10_1_3_load_55 | 61 | 0.0018318 | 0.0004591 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6232-10_1_3_load_56 | 62 | 0.0017615 | 0.00044148 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6232-10_1_3_load_58 | 64 | 0.0025646 | 0.00064274 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6232-10_1_3_load_100 | 67 | 0.0024892 | 0.00062385 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6232-10_1_3_load_81 | 68 | 0.0025881 | 0.00064865 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6232-10_1_3_load_65 | 69 | 0.0025811 | 0.00064689 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6232-10_1_3_load_83 | 70 | 0.0022683 | 0.00056849 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6232-10_1_3_load_91 | 71 | 0.0018313 | 0.00045896 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6232-10_1_3_load_88 | 72 | 0.0025548 | 0.00064028 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6232-10_1_3_load_76 | 73 | 0.00095851 | 0.00024023 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6232-10_1_3_load_73 | 74 | 0.00093944 | 0.00023545 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6232-10_1_3_load_79 | 75 | 0.0010356 | 0.00025955 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6232-10_1_3_load_68 | 78 | 0.0024342 | 0.00061006 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6232-10_1_3_load_69 | 79 | 0.0025841 | 0.00064764 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6232-10_1_3_load_70 | 80 | 0.0024839 | 0.00062252 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6232-10_1_3_load_71 | 81 | 0.0025434 | 0.00063744 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6232-10_1_3_load_194 | 82 | 0.0016061 | 0.00040252 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6232-10_1_3_load_89 | 84 | 0.0020941 | 0.00052482 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6232-10_1_3_load_86 | 85 | 0.0022941 | 0.00057495 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6232-10_1_3_load_85 | 86 | 0.0031335 | 0.00078533 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6232-10_1_3_load_78 | 90 | 0.0013788 | 0.00034557 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6232-10_1_3_load_112 | 91 | 0.0019864 | 0.00049784 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6232-10_1_3_load_84 | 92 | 0.0010367 | 0.00025983 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6232-10_1_3_load_98 | 93 | 0.0017987 | 0.00045079 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6232-10_1_3_load_99 | 94 | 0.0020532 | 0.00051459 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6232-10_1_3_load_87 | 95 | 0.0043594 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6232-10_1_3_load_92 | 96 | 0.0014913 | 0.00037377 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6232-10_1_3_load_94 | 97 | 0.0015728 | 0.00039418 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6232-10_1_3_load_97 | 99 | 0.0013375 | 0.0003352 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6232-10_1_3_load_108 | 100 | 0.0011536 | 0.00028913 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6232-10_1_3_load_107 | 102 | 0.0020461 | 0.0005128 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6232-10_1_3_load_110 | 103 | 0.0015904 | 0.00039859 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6232-10_1_3_line_0 |  | 0 | 1 | 0.22396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6232-10_1_3_line_1 |  | 1 | 101 | 0.026465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6232-10_1_3_line_2 |  | 2 | 3 | 0.026465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6232-10_1_3_line_3 |  | 2 | 4 | 0.0093599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6232-10_1_3_line_4 |  | 3 | 5 | 0.042642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6232-10_1_3_line_5 |  | 4 | 6 | 0.051391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6232-10_1_3_line_6 |  | 5 | 7 | 0.050219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6232-10_1_3_line_7 |  | 5 | 8 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6232-10_1_3_line_8 |  | 6 | 13 | 0.041374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6232-10_1_3_line_9 |  | 7 | 12 | 0.027936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6232-10_1_3_line_10 |  | 8 | 40 | 0.00744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6232-10_1_3_line_11 |  | 8 | 41 | 0.076824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6232-10_1_3_line_12 |  | 9 | 10 | 0.035283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6232-10_1_3_line_13 |  | 9 | 11 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6232-10_1_3_line_14 |  | 9 | 12 | 0.032437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6232-10_1_3_line_15 |  | 10 | 14 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6232-10_1_3_line_16 |  | 11 | 15 | 0.038199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6232-10_1_3_line_17 |  | 11 | 16 | 0.021992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6232-10_1_3_line_18 |  | 13 | 101 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6232-10_1_3_line_19 |  | 13 | 102 | 0.017368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6232-10_1_3_line_20 |  | 14 | 17 | 0.059015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6232-10_1_3_line_21 |  | 14 | 18 | 0.021019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6232-10_1_3_line_22 |  | 15 | 19 | 0.016844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6232-10_1_3_line_23 |  | 16 | 20 | 0.01128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6232-10_1_3_line_24 |  | 17 | 36 | 0.02122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6232-10_1_3_line_25 |  | 18 | 27 | 0.084461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6232-10_1_3_line_26 |  | 18 | 23 | 0.042254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6232-10_1_3_line_27 |  | 20 | 21 | 0.041085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6232-10_1_3_line_28 |  | 22 | 23 | 0.030429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6232-10_1_3_line_29 |  | 22 | 24 | 0.060029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6232-10_1_3_line_30 |  | 24 | 28 | 0.05821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6232-10_1_3_line_31 |  | 24 | 29 | 0.099648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6232-10_1_3_line_32 |  | 24 | 25 | 0.057361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6232-10_1_3_line_33 |  | 25 | 26 | 0.01377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6232-10_1_3_line_34 |  | 27 | 34 | 0.02631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6232-10_1_3_line_35 |  | 28 | 33 | 0.022007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6232-10_1_3_line_36 |  | 29 | 52 | 0.0089451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6232-10_1_3_line_37 |  | 29 | 48 | 0.10648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6232-10_1_3_line_38 |  | 30 | 31 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6232-10_1_3_line_39 |  | 30 | 32 | 0.054712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6232-10_1_3_line_40 |  | 32 | 35 | 0.091494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6232-10_1_3_line_41 |  | 33 | 37 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6232-10_1_3_line_42 |  | 34 | 38 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6232-10_1_3_line_43 |  | 35 | 37 | 0.080826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6232-10_1_3_line_44 |  | 36 | 39 | 0.0080535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6232-10_1_3_line_45 |  | 39 | 44 | 0.0017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6232-10_1_3_line_46 |  | 40 | 42 | 0.054831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6232-10_1_3_line_47 |  | 41 | 43 | 0.035702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6232-10_1_3_line_48 |  | 43 | 96 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6232-10_1_3_line_49 |  | 44 | 57 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6232-10_1_3_line_50 |  | 45 | 46 | 0.0094092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6232-10_1_3_line_51 |  | 45 | 47 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6232-10_1_3_line_52 |  | 46 | 48 | 0.027222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6232-10_1_3_line_53 |  | 47 | 49 | 0.031907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6232-10_1_3_line_54 |  | 47 | 50 | 0.025851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6232-10_1_3_line_55 |  | 50 | 51 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6232-10_1_3_line_56 |  | 51 | 53 | 0.0016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6232-10_1_3_line_57 |  | 52 | 54 | 0.052814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6232-10_1_3_line_58 |  | 53 | 55 | 0.01228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6232-10_1_3_line_59 |  | 54 | 56 | 0.032624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6232-10_1_3_line_60 |  | 55 | 60 | 0.0094731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6232-10_1_3_line_61 |  | 57 | 58 | 0.035135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6232-10_1_3_line_62 |  | 58 | 59 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6232-10_1_3_line_63 |  | 60 | 61 | 0.0079084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6232-10_1_3_line_64 |  | 61 | 62 | 0.014634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6232-10_1_3_line_65 |  | 62 | 63 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6232-10_1_3_line_66 |  | 63 | 64 | 0.02988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6232-10_1_3_line_67 |  | 63 | 65 | 0.045124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_6232-10_1_3_line_68 |  | 64 | 66 | 0.08236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6232-10_1_3_line_69 |  | 65 | 67 | 0.020078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6232-10_1_3_line_70 |  | 65 | 68 | 0.12332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_6232-10_1_3_line_71 |  | 66 | 71 | 0.019684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6232-10_1_3_line_72 |  | 66 | 72 | 0.041779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6232-10_1_3_line_73 |  | 68 | 75 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6232-10_1_3_line_74 |  | 69 | 70 | 0.14006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6232-10_1_3_line_75 |  | 70 | 76 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6232-10_1_3_line_76 |  | 72 | 95 | 0.014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6232-10_1_3_line_77 |  | 73 | 74 | 0.071057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6232-10_1_3_line_78 |  | 74 | 87 | 0.12158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6232-10_1_3_line_79 |  | 75 | 76 | 0.044162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6232-10_1_3_line_80 |  | 76 | 77 | 0.12161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6232-10_1_3_line_81 |  | 77 | 92 | 0.03931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6232-10_1_3_line_82 |  | 77 | 89 | 0.056594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6232-10_1_3_line_83 |  | 78 | 79 | 0.0015673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6232-10_1_3_line_84 |  | 78 | 80 | 0.0061015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6232-10_1_3_line_85 |  | 79 | 81 | 0.015612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6232-10_1_3_line_86 |  | 80 | 82 | 0.18102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6232-10_1_3_line_87 |  | 81 | 83 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6232-10_1_3_line_88 |  | 83 | 84 | 0.024247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6232-10_1_3_line_89 |  | 83 | 85 | 0.030876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6232-10_1_3_line_90 |  | 85 | 86 | 0.028799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6232-10_1_3_line_91 |  | 86 | 95 | 0.0058691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6232-10_1_3_line_92 |  | 87 | 88 | 0.051315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6232-10_1_3_line_93 |  | 88 | 89 | 0.040939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6232-10_1_3_line_94 |  | 88 | 90 | 0.033757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6232-10_1_3_line_95 |  | 89 | 91 | 0.033563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6232-10_1_3_line_96 |  | 92 | 93 | 0.0239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6232-10_1_3_line_97 |  | 93 | 94 | 0.0084977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6232-10_1_3_line_98 |  | 96 | 97 | 0.035887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6232-10_1_3_line_99 |  | 97 | 98 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6232-10_1_3_line_100 |  | 98 | 99 | 0.0095754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6232-10_1_3_line_101 |  | 99 | 100 | 0.061055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6232-10_1_3_line_102 |  | 101 | 103 | 0.023145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6232-10_1_3_trafo_27 | 0.63 MVA 20/0.4 kV | 104 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2606162.0608 | 1123283.721 | 2606041.4085 | 1123472.4047
1 | 2606180.1907 | 1123265.7972 | 2606174.4056 | 1123275.6629 | 2606166.5109 | 1123282.5138 | 2606162.0608 | 1123283.721
2 | 2606253.2649 | 1123309.126 | 2606253.2649 | 1123309.126 | 2606262.6785 | 1123309.9471 | 2606272.9081 | 1123312.003 | 2606278.7953 | 1123314.9449
3 | 2606253.2649 | 1123309.126 | 2606245.1143 | 1123304.5243
4 | 2606287.2201 | 1123273.1432 | 2606278.7953 | 1123314.9449
5 | 2606217.2242 | 1123261.3595 | 2606245.1143 | 1123304.5243
6 | 2606287.2201 | 1123273.1432 | 2606322.8849 | 1123308.4977
7 | 2606287.2201 | 1123273.1432 | 2606278.2542 | 1123264.263
8 | 2606176.3464 | 1123254.9769 | 2606196.136 | 1123258.2096 | 2606217.2242 | 1123261.3595
9 | 2606343.8649 | 1123326.5499 | 2606338.4883 | 1123323.9654 | 2606322.8849 | 1123308.4977
10 | 2606278.2542 | 1123264.263 | 2606272.5611 | 1123259.4548
11 | 2606278.2542 | 1123264.263 | 2606354.8889 | 1123269.6557
12 | 2606322.6077 | 1123351.0511 | 2606326.5224 | 1123353.1339 | 2606331.2808 | 1123359.4864 | 2606335.0768 | 1123364.5594 | 2606345.0123 | 1123377.8276
13 | 2606304.9437 | 1123358.0918 | 2606312.4316 | 1123349.4953 | 2606319.2016 | 1123349.2355 | 2606322.6077 | 1123351.0511
14 | 2606343.8649 | 1123326.5499 | 2606322.6077 | 1123351.0511
15 | 2606351.8758 | 1123396.0033 | 2606350.4222 | 1123385.052 | 2606345.0123 | 1123377.8276
16 | 2606270.6573 | 1123341.4707 | 2606275.051 | 1123342.6313 | 2606304.9437 | 1123358.0918
17 | 2606304.9437 | 1123358.0918 | 2606291.3171 | 1123375.3529
18 | 2606180.1907 | 1123265.7972 | 2606176.3464 | 1123254.9769
19 | 2606176.3464 | 1123254.9769 | 2606171.4239 | 1123242.8994 | 2606169.1546 | 1123239.2166
20 | 2606351.8758 | 1123396.0033 | 2606359.4319 | 1123410.8629 | 2606369.9183 | 1123425.2364 | 2606373.082 | 1123437.6568 | 2606361.5989 | 1123440.0794
21 | 2606369.6981 | 1123407.2274 | 2606351.8758 | 1123396.0033
22 | 2606270.6573 | 1123341.4707 | 2606260.9495 | 1123341.9276 | 2606254.9391 | 1123345.8345
23 | 2606294.2671 | 1123386.1686 | 2606293.5585 | 1123385.071 | 2606291.3171 | 1123375.3529 | 2606291.3171 | 1123375.3529
24 | 2606361.5989 | 1123440.0794 | 2606352.0762 | 1123440.5586 | 2606341.8158 | 1123446.1507 | 2606341.8158 | 1123446.1507
25 | 2606369.6981 | 1123407.2274 | 2606391.0931 | 1123430.3054 | 2606404.2382 | 1123481.6407
26 | 2606409.4827 | 1123392.9953 | 2606369.6981 | 1123407.2274
27 | 2606316.9151 | 1123420.4457 | 2606304.2665 | 1123401.6568 | 2606294.2671 | 1123386.1686
28 | 2606395.4934 | 1123366.212 | 2606401.6067 | 1123381.8927 | 2606409.4827 | 1123392.9953
29 | 2606395.4934 | 1123366.212 | 2606405.361 | 1123375.1267 | 2606448.1191 | 1123393.9808
30 | 2606448.1191 | 1123393.9808 | 2606429.5841 | 1123449.1609
31 | 2606530.196 | 1123450.162 | 2606524.5572 | 1123445.3981 | 2606455.8017 | 1123397.3684 | 2606448.1191 | 1123393.9808
32 | 2606448.1191 | 1123393.9808 | 2606443.564 | 1123451.1607
33 | 2606449.7371 | 1123463.4354 | 2606448.6878 | 1123460.5028 | 2606443.564 | 1123451.1607
34 | 2606404.2382 | 1123481.6407 | 2606410.7647 | 1123507.1289
35 | 2606439.4428 | 1123468.289 | 2606436.7704 | 1123458.078 | 2606429.5841 | 1123449.1609
36 | 2606530.196 | 1123450.162 | 2606534.1163 | 1123446.9424 | 2606537.2674 | 1123449.193
37 | 2606530.196 | 1123450.162 | 2606550.3786 | 1123467.2475 | 2606568.8913 | 1123488.311 | 2606586.2686 | 1123537.313
38 | 2606510.9847 | 1123527.3015 | 2606513.774 | 1123543.4568
39 | 2606568.4826 | 1123544.07 | 2606513.774 | 1123543.4568
40 | 2606568.4826 | 1123544.07 | 2606477.7924 | 1123556.1747
41 | 2606439.4428 | 1123468.289 | 2606440.3413 | 1123471.7217 | 2606442.2884 | 1123482.4401 | 2606442.8166 | 1123483.8062
42 | 2606414.9819 | 1123523.5982 | 2606410.7647 | 1123507.1289
43 | 2606442.8166 | 1123483.8062 | 2606451.7153 | 1123506.8175 | 2606460.1608 | 1123525.9914 | 2606465.036 | 1123538.3359 | 2606477.7924 | 1123556.1747
44 | 2606338.843 | 1123453.6355 | 2606341.8158 | 1123446.1507
45 | 2606338.843 | 1123453.6355 | 2606338.2086 | 1123455.2329
46 | 2606272.5611 | 1123259.4548 | 2606268.0279 | 1123251.4129 | 2606256.853 | 1123246.1989 | 2606243.976 | 1123239.0934 | 2606234.8773 | 1123231.825 | 2606230.4223 | 1123226.5355
47 | 2606389.6102 | 1123277.3401 | 2606364.3508 | 1123270.3216 | 2606354.8889 | 1123269.6557
48 | 2606412.9435 | 1123283.8234 | 2606389.6102 | 1123277.3401
49 | 2606335.4396 | 1123468.2994 | 2606338.1438 | 1123455.3959 | 2606338.2086 | 1123455.2329
50 | 2606605.9558 | 1123555.0537 | 2606614.1565 | 1123559.6668
51 | 2606622.9188 | 1123564.5955 | 2606615.8298 | 1123560.608 | 2606614.1565 | 1123559.6668
52 | 2606586.2686 | 1123537.313 | 2606587.332 | 1123540.3118 | 2606595.6339 | 1123549.2473 | 2606605.9558 | 1123555.0537
53 | 2606622.9188 | 1123564.5955 | 2606616.8792 | 1123574.1491 | 2606611.0092 | 1123583.6141 | 2606602.3081 | 1123587.4399
54 | 2606622.9188 | 1123564.5955 | 2606633.7449 | 1123570.6879 | 2606644.5588 | 1123578.6488
55 | 2606644.5588 | 1123578.6488 | 2606666.1111 | 1123594.515
56 | 2606666.1111 | 1123594.515 | 2606667.4094 | 1123595.4707
57 | 2606578.8911 | 1123481.5073 | 2606568.9707 | 1123471.8364 | 2606537.2674 | 1123449.193
58 | 2606677.2989 | 1123602.7511 | 2606667.4094 | 1123595.4707
59 | 2606578.8911 | 1123481.5073 | 2606585.3146 | 1123487.7617 | 2606596.5592 | 1123508.5775
60 | 2606677.2989 | 1123602.7511 | 2606681.5937 | 1123605.9128 | 2606685.0444 | 1123608.2003
61 | 2606335.4396 | 1123468.2994 | 2606335.4396 | 1123468.2994 | 2606338.6122 | 1123472.1935 | 2606350.5701 | 1123480.2431 | 2606360.0886 | 1123483.6547 | 2606359.4649 | 1123489.2057
62 | 2606359.3344 | 1123504.5975 | 2606359.8346 | 1123498.0281 | 2606359.3493 | 1123490.2349 | 2606359.4649 | 1123489.2057
63 | 2606691.636 | 1123612.57 | 2606685.0444 | 1123608.2003
64 | 2606691.636 | 1123612.57 | 2606692.5957 | 1123613.2062 | 2606703.8325 | 1123620.6567
65 | 2606718.7137 | 1123630.5211 | 2606718.4748 | 1123630.3652 | 2606703.8325 | 1123620.6567
66 | 2606718.7137 | 1123630.5211 | 2606740.4704 | 1123610.0397
67 | 2606718.7137 | 1123630.5211 | 2606748.5147 | 1123649.7744 | 2606756.388 | 1123655.497
68 | 2606710.7667 | 1123544.437 | 2606721.2162 | 1123549.3953 | 2606746.7861 | 1123588.4426 | 2606746.2902 | 1123604.561 | 2606740.4704 | 1123610.0397
69 | 2606756.388 | 1123655.497 | 2606765.8166 | 1123649.1933 | 2606772.9848 | 1123644.1321
70 | 2606756.388 | 1123655.497 | 2606791.5992 | 1123773.6827
71 | 2606699.3612 | 1123560.499 | 2606710.7667 | 1123544.437
72 | 2606710.7667 | 1123544.437 | 2606673.0143 | 1123526.5425
73 | 2606791.5992 | 1123773.6827 | 2606799.039 | 1123773.8688 | 2606804.2127 | 1123775.9751
74 | 2606780.5813 | 1123808.8654 | 2606644.2521 | 1123776.7466
75 | 2606792.2149 | 1123809.2896 | 2606780.5813 | 1123808.8654
76 | 2606673.0143 | 1123526.5425 | 2606661.6746 | 1123518.1041
77 | 2606951.1049 | 1123861.5738 | 2606883.9918 | 1123884.9181
78 | 2607044.5537 | 1123845.015 | 2607019.3731 | 1123858.9261 | 2606956.9138 | 1123847.8493 | 2606945.0403 | 1123848.2582 | 2606942.9511 | 1123854.8924 | 2606951.1049 | 1123861.5738
79 | 2606792.2149 | 1123809.2896 | 2606801.3021 | 1123804.7531 | 2606805.9131 | 1123797.3546 | 2606807.6933 | 1123791.1758 | 2606810.3545 | 1123783.0637 | 2606808.5948 | 1123777.7591 | 2606804.2127 | 1123775.9751
80 | 2606904.7269 | 1123792.9744 | 2606881.808 | 1123797.7064 | 2606868.6342 | 1123802.5829 | 2606852.7659 | 1123803.9324 | 2606831.9376 | 1123807.6776 | 2606811.7468 | 1123813.5357 | 2606802.2422 | 1123819.05 | 2606795.8991 | 1123817.2532 | 2606792.2149 | 1123809.2896
81 | 2606904.7269 | 1123792.9744 | 2606901.6607 | 1123790.9033 | 2606893.1372 | 1123774.1744 | 2606890.9864 | 1123757.4776
82 | 2606904.7269 | 1123792.9744 | 2606958.0258 | 1123812.4333
83 | 2606613.5069 | 1123429.7997 | 2606614.1042 | 1123431.2487
84 | 2606611.1818 | 1123424.1586 | 2606613.5069 | 1123429.7997
85 | 2606619.0193 | 1123446.033 | 2606616.834 | 1123437.8714 | 2606614.1042 | 1123431.2487
86 | 2606611.1818 | 1123424.1586 | 2606726.177 | 1123284.3597
87 | 2606622.1914 | 1123467.4361 | 2606622.0712 | 1123457.4311 | 2606619.0193 | 1123446.033
88 | 2606622.1914 | 1123467.4361 | 2606614.7837 | 1123458.6349 | 2606610.1407 | 1123452.7826 | 2606606.0892 | 1123456.2021
89 | 2606622.1914 | 1123467.4361 | 2606637.3505 | 1123494.3342
90 | 2606656.966 | 1123514.6003 | 2606642.8535 | 1123504.0986 | 2606637.3505 | 1123494.3342
91 | 2606656.966 | 1123514.6003 | 2606661.6746 | 1123518.1041
92 | 2607044.5537 | 1123845.015 | 2607024.3872 | 1123836.3653 | 2607002.1458 | 1123828.536 | 2606996.5817 | 1123826.5064
93 | 2606996.5817 | 1123826.5064 | 2606958.0258 | 1123812.4333
94 | 2606996.5817 | 1123826.5064 | 2606994.9309 | 1123820.6127 | 2606986.9805 | 1123815.2677 | 2606977.6054 | 1123808.5092 | 2606973.3893 | 1123803.5635
95 | 2606958.0258 | 1123812.4333 | 2606957.1149 | 1123806.685 | 2606954.9517 | 1123803.8144 | 2606944.0031 | 1123797.6212 | 2606941.8339 | 1123793.2944 | 2606940.3919 | 1123786.6895
96 | 2606885.2957 | 1123734.3393 | 2606890.0036 | 1123749.8478 | 2606890.9864 | 1123757.4776
97 | 2606885.2957 | 1123734.3393 | 2606882.8273 | 1123726.2081
98 | 2606412.9435 | 1123283.8234 | 2606412.9435 | 1123283.8234 | 2606448.7994 | 1123285.3256
99 | 2606465.4725 | 1123286.0242 | 2606448.7994 | 1123285.3256
100 | 2606465.4725 | 1123286.0242 | 2606469.6945 | 1123294.6186
101 | 2606479.4503 | 1123330.8609 | 2606487.2406 | 1123335.4603 | 2606490.6331 | 1123335.5528 | 2606493.065 | 1123332.654 | 2606484.4407 | 1123321.9396 | 2606477.5365 | 1123310.5823 | 2606469.6945 | 1123294.6186
102 | 2606180.1907 | 1123265.7972 | 2606180.6531 | 1123288.9312

## bus_geodata
| x | y | coords
0 | 2606041.4085 | 1123472.4047
1 | 2606162.0608 | 1123283.721
2 | 2606253.2649 | 1123309.126
3 | 2606278.7953 | 1123314.9449
4 | 2606245.1143 | 1123304.5243
5 | 2606287.2201 | 1123273.1432
6 | 2606217.2242 | 1123261.3595
7 | 2606322.8849 | 1123308.4977
8 | 2606278.2542 | 1123264.263
9 | 2606322.6077 | 1123351.0511
10 | 2606345.0123 | 1123377.8276
11 | 2606304.9437 | 1123358.0918
12 | 2606343.8649 | 1123326.5499
13 | 2606176.3464 | 1123254.9769
14 | 2606351.8758 | 1123396.0033
15 | 2606270.6573 | 1123341.4707
16 | 2606291.3171 | 1123375.3529
17 | 2606361.5989 | 1123440.0794
18 | 2606369.6981 | 1123407.2274
19 | 2606254.9391 | 1123345.8345
20 | 2606294.2671 | 1123386.1686
21 | 2606316.9151 | 1123420.4457
22 | 2606395.4934 | 1123366.212
23 | 2606409.4827 | 1123392.9953
24 | 2606448.1191 | 1123393.9808
25 | 2606443.564 | 1123451.1607
26 | 2606449.7371 | 1123463.4354
27 | 2606404.2382 | 1123481.6407
28 | 2606429.5841 | 1123449.1609
29 | 2606530.196 | 1123450.162
30 | 2606513.774 | 1123543.4568
31 | 2606510.9848 | 1123527.3015
32 | 2606568.4826 | 1123544.07
33 | 2606439.4428 | 1123468.289
34 | 2606410.7647 | 1123507.1289
35 | 2606477.7924 | 1123556.1747
36 | 2606341.8158 | 1123446.1507
37 | 2606442.8166 | 1123483.8062
38 | 2606414.9819 | 1123523.5982
39 | 2606338.843 | 1123453.6355
40 | 2606272.5611 | 1123259.4548
41 | 2606354.8889 | 1123269.6557
42 | 2606230.4223 | 1123226.5355
43 | 2606389.6102 | 1123277.3401
44 | 2606338.2086 | 1123455.2329
45 | 2606614.1565 | 1123559.6668
46 | 2606605.9558 | 1123555.0537
47 | 2606622.9188 | 1123564.5955
48 | 2606586.2686 | 1123537.313
49 | 2606602.3081 | 1123587.4399
50 | 2606644.5588 | 1123578.6488
51 | 2606666.1111 | 1123594.515
52 | 2606537.2674 | 1123449.193
53 | 2606667.4094 | 1123595.4707
54 | 2606578.8911 | 1123481.5073
55 | 2606677.2989 | 1123602.7511
56 | 2606596.5592 | 1123508.5775
57 | 2606335.4396 | 1123468.2994
58 | 2606359.4649 | 1123489.2057
59 | 2606359.3344 | 1123504.5975
60 | 2606685.0444 | 1123608.2003
61 | 2606691.636 | 1123612.57
62 | 2606703.8325 | 1123620.6567
63 | 2606718.7137 | 1123630.5211
64 | 2606740.4704 | 1123610.0397
65 | 2606756.388 | 1123655.497
66 | 2606710.7667 | 1123544.437
67 | 2606772.9848 | 1123644.1321
68 | 2606791.5992 | 1123773.6827
69 | 2606644.2521 | 1123776.7466
70 | 2606780.5813 | 1123808.8654
71 | 2606699.3612 | 1123560.499
72 | 2606673.0143 | 1123526.5425
73 | 2606883.9918 | 1123884.9181
74 | 2606951.1049 | 1123861.5738
75 | 2606804.2127 | 1123775.9751
76 | 2606792.2149 | 1123809.2896
77 | 2606904.7269 | 1123792.9744
78 | 2606613.5069 | 1123429.7997
79 | 2606614.1042 | 1123431.2487
80 | 2606611.1818 | 1123424.1586
81 | 2606619.0193 | 1123446.033
82 | 2606726.177 | 1123284.3597
83 | 2606622.1914 | 1123467.4361
84 | 2606606.0892 | 1123456.2021
85 | 2606637.3505 | 1123494.3342
86 | 2606656.966 | 1123514.6003
87 | 2607044.5537 | 1123845.015
88 | 2606996.5817 | 1123826.5064
89 | 2606958.0258 | 1123812.4333
90 | 2606973.3893 | 1123803.5635
91 | 2606940.3919 | 1123786.6895
92 | 2606890.9864 | 1123757.4776
93 | 2606885.2957 | 1123734.3393
94 | 2606882.8273 | 1123726.2081
95 | 2606661.6746 | 1123518.1041
96 | 2606412.9435 | 1123283.8234
97 | 2606448.7994 | 1123285.3256
98 | 2606465.4725 | 1123286.0242
99 | 2606469.6945 | 1123294.6186
100 | 2606479.4503 | 1123330.8609
101 | 2606180.1907 | 1123265.7972
102 | 2606169.1546 | 1123239.2166
103 | 2606180.6531 | 1123288.9312
104 | 2606369.6981 | 1123407.2274

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1