## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6232-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6232-2_0_5_node_79 | 0.4 | n |  | TRUE
2 | bus_LV_6232-2_0_5_node_107 | 0.4 | n |  | TRUE
3 | bus_LV_6232-2_0_5_node_67 | 0.4 | n |  | TRUE
4 | bus_LV_6232-2_0_5_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_6232-2_0_5_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_6232-2_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_6232-2_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6232-2_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6232-2_0_5_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_6232-2_0_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_6232-2_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6232-2_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_6232-2_0_5_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_6232-2_0_5_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_6232-2_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6232-2_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6232-2_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6232-2_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6232-2_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6232-2_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6232-2_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6232-2_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6232-2_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6232-2_0_5_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_6232-2_0_5_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_6232-2_0_5_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_6232-2_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_6232-2_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_6232-2_0_5_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_6232-2_0_5_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_6232-2_0_5_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6232-2_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6232-2_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6232-2_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6232-2_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6232-2_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6232-2_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6232-2_0_5_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_6232-2_0_5_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_6232-2_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_6232-2_0_5_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_6232-2_0_5_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_6232-2_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_6232-2_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6232-2_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6232-2_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6232-2_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_6232-2_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6232-2_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6232-2_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6232-2_0_5_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6232-2_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6232-2_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6232-2_0_5_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_6232-2_0_5_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_6232-2_0_5_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_6232-2_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6232-2_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6232-2_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_6232-2_0_5_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_6232-2_0_5_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_6232-2_0_5_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_6232-2_0_5_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_6232-2_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_6232-2_0_5_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_6232-2_0_5_node_29 | 0.4 | n |  | TRUE
67 | bus_LV_6232-2_0_5_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_6232-2_0_5_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_6232-2_0_5_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_6232-2_0_5_node_32 | 0.4 | n |  | TRUE
71 | bus_LV_6232-2_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6232-2_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_6232-2_0_5_node_37 | 0.4 | n |  | TRUE
74 | bus_LV_6232-2_0_5_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_6232-2_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_6232-2_0_5_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_6232-2_0_5_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_6232-2_0_5_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_6232-2_0_5_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_6232-2_0_5_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_6232-2_0_5_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_6232-2_0_5_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_6232-2_0_5_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_6232-2_0_5_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_6232-2_0_5_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_6232-2_0_5_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_6232-2_0_5_node_102 | 0.4 | n |  | TRUE
88 | bus_LV_6232-2_0_5_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_6232-2_0_5_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_6232-2_0_5_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_6232-2_0_5_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_6232-2_0_5_node_100 | 0.4 | n |  | TRUE
93 | bus_LV_6232-2_0_5_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_6232-2_0_5_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_6232-2_0_5_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_6232-2_0_5_node_105 | 0.4 | n |  | TRUE
97 | bus_LV_6232-2_0_5_node_72 | 0.4 | n |  | TRUE
98 | bus_LV_6232-2_0_5_node_70 | 0.4 | n |  | TRUE
99 | bus_LV_6232-2_0_5_node_60 | 0.4 | n |  | TRUE
100 | bus_LV_6232-2_0_5_node_61 | 0.4 | n |  | TRUE
101 | bus_LV_6232-2_0_5_node_62 | 0.4 | n |  | TRUE
102 | bus_LV_6232-2_0_5_node_63 | 0.4 | n |  | TRUE
103 | bus_MV_113_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6232-2_0_5_load_0 | 0 | 0.015639 | 0.0039195 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6232-2_0_5_load_107 | 2 | 0.021768 | 0.0054557 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6232-2_0_5_load_67 | 3 | 0.010906 | 0.0027333 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6232-2_0_5_load_64 | 4 | 0.0053099 | 0.0013308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6232-2_0_5_load_2 | 5 | 0.006257 | 0.0015681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6232-2_0_5_load_3 | 6 | 0.0043593 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6232-2_0_5_load_30 | 9 | 0.0050222 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6232-2_0_5_load_59 | 10 | 0.0038172 | 0.00095669 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6232-2_0_5_load_31 | 12 | 0.0070559 | 0.0017684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6232-2_0_5_load_57 | 13 | 0.0040515 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6232-2_0_5_load_58 | 14 | 0.0034025 | 0.00085275 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6232-2_0_5_load_7 | 15 | 0.0069093 | 0.0017316 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6232-2_0_5_load_8 | 16 | 0.0041138 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6232-2_0_5_load_10 | 17 | 0.006678 | 0.0016737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6232-2_0_5_load_16 | 19 | 0.0065741 | 0.0016476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6232-2_0_5_load_17 | 20 | 0.0043663 | 0.0010943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6232-2_0_5_load_15 | 23 | 0.0070744 | 0.001773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6232-2_0_5_load_35 | 24 | 0.0051328 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6232-2_0_5_load_84 | 25 | 0.0035777 | 0.00089664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6232-2_0_5_load_95 | 26 | 0.0029226 | 0.00073247 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6232-2_0_5_load_36 | 28 | 0.016485 | 0.0041316 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6232-2_0_5_load_82 | 29 | 0.0031756 | 0.00079587 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6232-2_0_5_load_93 | 30 | 0.0066648 | 0.0016704 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6232-2_0_5_load_40 | 31 | 0.0031486 | 0.00078911 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6232-2_0_5_load_18 | 32 | 0.0072561 | 0.0018185 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6232-2_0_5_load_19 | 33 | 0.006869 | 0.0017215 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6232-2_0_5_load_20 | 34 | 0.0087495 | 0.0021928 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6232-2_0_5_load_23 | 37 | 0.0099117 | 0.0024841 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6232-2_0_5_load_71 | 38 | 0.0063528 | 0.0015922 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6232-2_0_5_load_68 | 39 | 0.011039 | 0.0027668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6232-2_0_5_load_25 | 40 | 0.0072773 | 0.0018239 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6232-2_0_5_load_65 | 41 | 0.0032324 | 0.00081012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6232-2_0_5_load_69 | 42 | 0.0071387 | 0.0017891 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6232-2_0_5_load_24 | 43 | 0.0068324 | 0.0017124 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6232-2_0_5_load_26 | 44 | 0.0062397 | 0.0015638 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6232-2_0_5_load_27 | 45 | 0.005 | 0.0012531 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6232-2_0_5_load_28 | 46 | 0.0090734 | 0.002274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6232-2_0_5_load_43 | 47 | 0.012798 | 0.0032074 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6232-2_0_5_load_44 | 48 | 0.012438 | 0.0031173 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6232-2_0_5_load_46 | 50 | 0.005768 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6232-2_0_5_load_47 | 51 | 0.012792 | 0.003206 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6232-2_0_5_load_49 | 53 | 0.010709 | 0.002684 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6232-2_0_5_load_76 | 55 | 0.024667 | 0.0061822 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6232-2_0_5_load_74 | 56 | 0.021651 | 0.0054263 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6232-2_0_5_load_50 | 57 | 0.0029657 | 0.00074327 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6232-2_0_5_load_51 | 58 | 0.0023211 | 0.00058172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6232-2_0_5_load_73 | 59 | 0.018346 | 0.004598 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6232-2_0_5_load_80 | 60 | 0.010982 | 0.0027522 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6232-2_0_5_load_77 | 61 | 0.0093296 | 0.0023382 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6232-2_0_5_load_81 | 62 | 0.020684 | 0.005184 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6232-2_0_5_load_39 | 63 | 0.0057045 | 0.0014297 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6232-2_0_5_load_41 | 64 | 0.0050202 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6232-2_0_5_load_38 | 65 | 0.0042051 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6232-2_0_5_load_29 | 66 | 0.0058818 | 0.0014741 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6232-2_0_5_load_92 | 67 | 0.0033479 | 0.00083907 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6232-2_0_5_load_33 | 68 | 0.0095881 | 0.002403 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6232-2_0_5_load_34 | 69 | 0.0035094 | 0.00087953 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6232-2_0_5_load_32 | 70 | 0.0054223 | 0.001359 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6232-2_0_5_load_55 | 71 | 0.0081363 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6232-2_0_5_load_56 | 72 | 0.0034244 | 0.00085823 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6232-2_0_5_load_37 | 73 | 0.0032808 | 0.00082223 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6232-2_0_5_load_52 | 74 | 0.0030224 | 0.00075749 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6232-2_0_5_load_53 | 75 | 0.0022966 | 0.00057559 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6232-2_0_5_load_54 | 76 | 0.0035294 | 0.00088455 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6232-2_0_5_load_83 | 78 | 0.0019617 | 0.00049166 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6232-2_0_5_load_87 | 81 | 0.0034839 | 0.00087315 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6232-2_0_5_load_106 | 82 | 0.0010432 | 0.00026144 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6232-2_0_5_load_96 | 85 | 0.0076298 | 0.0019122 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6232-2_0_5_load_91 | 86 | 0.0036576 | 0.00091668 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6232-2_0_5_load_102 | 87 | 0.0082871 | 0.0020769 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6232-2_0_5_load_94 | 88 | 0.0069237 | 0.0017352 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6232-2_0_5_load_97 | 89 | 0.0021621 | 0.00054188 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6232-2_0_5_load_98 | 90 | 0.0018691 | 0.00046845 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6232-2_0_5_load_99 | 91 | 0.0025887 | 0.00064879 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6232-2_0_5_load_100 | 92 | 0.0079412 | 0.0019903 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6232-2_0_5_load_101 | 93 | 0.012255 | 0.0030713 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6232-2_0_5_load_103 | 94 | 0.0010216 | 0.00025604 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6232-2_0_5_load_104 | 95 | 0.00083363 | 0.00020893 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6232-2_0_5_load_105 | 96 | 0.00093645 | 0.0002347 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6232-2_0_5_load_72 | 97 | 0.022298 | 0.0055885 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6232-2_0_5_load_70 | 98 | 0.010269 | 0.0025736 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6232-2_0_5_load_60 | 99 | 0.006074 | 0.0015223 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6232-2_0_5_load_61 | 100 | 0.0079469 | 0.0019917 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6232-2_0_5_load_63 | 102 | 0.0071526 | 0.0017926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6232-2_0_5_line_0 |  | 0 | 1 | 0.13032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6232-2_0_5_line_1 |  | 1 | 2 | 0.059894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6232-2_0_5_line_2 |  | 2 | 97 | 0.055756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6232-2_0_5_line_3 |  | 3 | 4 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6232-2_0_5_line_4 |  | 4 | 101 | 0.036591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6232-2_0_5_line_5 |  | 5 | 6 | 0.02375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6232-2_0_5_line_6 |  | 6 | 7 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6232-2_0_5_line_7 |  | 7 | 8 | 0.004018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6232-2_0_5_line_8 |  | 7 | 9 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6232-2_0_5_line_9 |  | 8 | 10 | 0.055622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6232-2_0_5_line_10 |  | 8 | 11 | 0.006042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6232-2_0_5_line_11 |  | 9 | 12 | 0.015239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6232-2_0_5_line_12 |  | 10 | 14 | 0.015199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6232-2_0_5_line_13 |  | 11 | 18 | 0.006174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6232-2_0_5_line_14 |  | 11 | 15 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6232-2_0_5_line_15 |  | 12 | 70 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6232-2_0_5_line_16 |  | 13 | 14 | 0.0014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6232-2_0_5_line_17 |  | 15 | 16 | 0.022194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6232-2_0_5_line_18 |  | 16 | 17 | 0.036116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6232-2_0_5_line_19 |  | 18 | 19 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6232-2_0_5_line_20 |  | 19 | 20 | 0.029491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6232-2_0_5_line_21 |  | 20 | 32 | 0.00018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6232-2_0_5_line_22 |  | 21 | 22 | 0.033553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6232-2_0_5_line_23 |  | 21 | 23 | 0.020161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6232-2_0_5_line_24 |  | 21 | 24 | 0.046846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6232-2_0_5_line_25 |  | 22 | 25 | 0.010142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6232-2_0_5_line_26 |  | 22 | 26 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6232-2_0_5_line_27 |  | 23 | 27 | 0.016634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6232-2_0_5_line_28 |  | 24 | 28 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6232-2_0_5_line_29 |  | 25 | 29 | 0.041199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6232-2_0_5_line_30 |  | 27 | 30 | 0.013706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6232-2_0_5_line_31 |  | 27 | 31 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6232-2_0_5_line_32 |  | 28 | 73 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6232-2_0_5_line_33 |  | 29 | 78 | 0.0077008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6232-2_0_5_line_34 |  | 30 | 88 | 0.016054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6232-2_0_5_line_35 |  | 31 | 65 | 0.017158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6232-2_0_5_line_36 |  | 32 | 33 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6232-2_0_5_line_37 |  | 33 | 34 | 0.0097136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6232-2_0_5_line_38 |  | 34 | 35 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6232-2_0_5_line_39 |  | 35 | 36 | 0.028994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6232-2_0_5_line_40 |  | 35 | 37 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6232-2_0_5_line_41 |  | 36 | 38 | 0.014908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6232-2_0_5_line_42 |  | 36 | 39 | 0.013362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6232-2_0_5_line_43 |  | 37 | 40 | 0.028123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6232-2_0_5_line_44 |  | 38 | 41 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6232-2_0_5_line_45 |  | 39 | 42 | 0.010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6232-2_0_5_line_46 |  | 40 | 43 | 0.0036263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6232-2_0_5_line_47 |  | 41 | 101 | 0.011627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6232-2_0_5_line_48 |  | 42 | 98 | 0.035436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6232-2_0_5_line_49 |  | 43 | 44 | 0.017135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6232-2_0_5_line_50 |  | 44 | 45 | 0.026766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6232-2_0_5_line_51 |  | 45 | 46 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6232-2_0_5_line_52 |  | 47 | 48 | 0.028129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6232-2_0_5_line_53 |  | 47 | 49 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6232-2_0_5_line_54 |  | 48 | 50 | 0.046943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6232-2_0_5_line_55 |  | 49 | 51 | 0.0226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6232-2_0_5_line_56 |  | 49 | 52 | 0.041812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6232-2_0_5_line_57 |  | 51 | 53 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6232-2_0_5_line_58 |  | 52 | 54 | 0.037878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6232-2_0_5_line_59 |  | 52 | 55 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6232-2_0_5_line_60 |  | 52 | 56 | 0.022125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6232-2_0_5_line_61 |  | 53 | 57 | 0.027421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6232-2_0_5_line_62 |  | 54 | 60 | 0.0081012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6232-2_0_5_line_63 |  | 54 | 61 | 0.0053411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6232-2_0_5_line_64 |  | 56 | 59 | 0.023018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6232-2_0_5_line_65 |  | 57 | 58 | 0.030944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6232-2_0_5_line_66 |  | 58 | 74 | 0.021826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6232-2_0_5_line_67 |  | 60 | 62 | 0.030437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6232-2_0_5_line_68 |  | 63 | 64 | 0.0013703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6232-2_0_5_line_69 |  | 63 | 65 | 0.043514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6232-2_0_5_line_70 |  | 66 | 67 | 0.29397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6232-2_0_5_line_71 |  | 66 | 68 | 0.2267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6232-2_0_5_line_72 |  | 68 | 69 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_6232-2_0_5_line_73 |  | 68 | 70 | 0.029041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6232-2_0_5_line_74 |  | 69 | 71 | 0.00099126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6232-2_0_5_line_75 |  | 71 | 72 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_6232-2_0_5_line_76 |  | 72 | 73 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6232-2_0_5_line_77 |  | 74 | 75 | 0.027206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6232-2_0_5_line_78 |  | 75 | 76 | 0.030286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6232-2_0_5_line_79 |  | 76 | 77 | 0.042015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6232-2_0_5_line_80 |  | 77 | 83 | 0.054701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6232-2_0_5_line_81 |  | 77 | 81 | 0.063208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6232-2_0_5_line_82 |  | 78 | 79 | 0.03242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6232-2_0_5_line_83 |  | 79 | 80 | 0.021572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6232-2_0_5_line_84 |  | 79 | 81 | 0.0020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6232-2_0_5_line_85 |  | 80 | 82 | 0.006788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6232-2_0_5_line_86 |  | 82 | 96 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_6232-2_0_5_line_87 |  | 83 | 84 | 0.051437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_6232-2_0_5_line_88 |  | 83 | 85 | 0.033432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_6232-2_0_5_line_89 |  | 84 | 86 | 0.053814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_6232-2_0_5_line_90 |  | 85 | 89 | 0.046736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_6232-2_0_5_line_91 |  | 86 | 87 | 0.013261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6232-2_0_5_line_92 |  | 87 | 93 | 0.027022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_6232-2_0_5_line_93 |  | 89 | 90 | 0.0083148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_6232-2_0_5_line_94 |  | 91 | 92 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_6232-2_0_5_line_95 |  | 92 | 93 | 0.023998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_6232-2_0_5_line_96 |  | 94 | 95 | 0.016431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_6232-2_0_5_line_97 |  | 95 | 96 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_6232-2_0_5_line_98 |  | 97 | 98 | 0.00043289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_6232-2_0_5_line_99 |  | 99 | 100 | 0.0075383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_6232-2_0_5_line_100 |  | 99 | 101 | 0.0078416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_6232-2_0_5_line_101 |  | 100 | 102 | 0.01385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6232-2_0_5_trafo_41 | 0.63 MVA 20/0.4 kV | 103 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2603927.4908 | 1123518.3758 | 2604039.4222 | 1123585.1205
1 | 2603927.4908 | 1123518.3758 | 2603956.7691 | 1123466.0912
2 | 2603957.3369 | 1123410.3378 | 2603956.7691 | 1123466.0912
3 | 2604017.8426 | 1123406.8449 | 2604008.3914 | 1123426.9166 | 2604005.0605 | 1123433.0442
4 | 2604033.4306 | 1123373.7403 | 2604017.8426 | 1123406.8449
5 | 2604046.7788 | 1123278.9686 | 2604046.0303 | 1123278.3576 | 2604031.3577 | 1123266.0864 | 2604028.6156 | 1123263.6679
6 | 2604020.6617 | 1123256.6526 | 2604028.6156 | 1123263.6679
7 | 2604020.6617 | 1123256.6526 | 2604017.9688 | 1123259.6412
8 | 2604020.6617 | 1123256.6526 | 2604016.1459 | 1123252.6699 | 2604004.1417 | 1123242.8027
9 | 2604017.9688 | 1123259.6412 | 2604031.4238 | 1123271 | 2604045.2488 | 1123282.6592 | 2604054.5121 | 1123289.6353 | 2604061.5913 | 1123294.0298
10 | 2604013.345 | 1123255.7363 | 2604017.9688 | 1123259.6412
11 | 2604004.1417 | 1123242.8027 | 2604000.0936 | 1123239.4753 | 2603992.4068 | 1123233.0805
12 | 2604075.2228 | 1123300.6878 | 2604075.2228 | 1123300.6878 | 2604065.0711 | 1123296.19 | 2604061.5913 | 1123294.0298
13 | 2604013.345 | 1123255.7363 | 2604011.0301 | 1123258.5139 | 2604009.7333 | 1123260.7252
14 | 2604013.345 | 1123255.7363 | 2604004.0818 | 1123248.3933 | 2604000.2054 | 1123245.1469
15 | 2603992.4068 | 1123233.0805 | 2603987.1084 | 1123228.6727 | 2603982.9621 | 1123225.6018 | 2603982.3868 | 1123225.1758
16 | 2604076.5689 | 1123301.1075 | 2604075.2228 | 1123300.6878
17 | 2604000.2054 | 1123245.1469 | 2603996.4834 | 1123242.0297 | 2603986.2646 | 1123233.7524 | 2603982.9338 | 1123231.2123
18 | 2603982.9338 | 1123231.2123 | 2603977.6716 | 1123227.1992 | 2603971.6522 | 1123223.3712 | 2603964.8154 | 1123219.5316 | 2603956.2823 | 1123215.7131 | 2603951.4076 | 1123213.975
19 | 2604009.7333 | 1123260.7252 | 2604002.4957 | 1123273.0281
20 | 2603987.542 | 1123298.4471 | 2604002.4957 | 1123273.0281
21 | 2603987.542 | 1123298.4471 | 2603987.4477 | 1123298.6074
22 | 2603835.9784 | 1123197.4837 | 2603813.8136 | 1123192.5342 | 2603803.4528 | 1123189.0372
23 | 2603835.9784 | 1123197.4837 | 2603838.6071 | 1123210.7807 | 2603834.5468 | 1123215.9923
24 | 2603882.7611 | 1123199.9179 | 2603835.9784 | 1123197.4837
25 | 2603803.4528 | 1123189.0372 | 2603793.8435 | 1123185.7934
26 | 2603803.4528 | 1123189.0372 | 2603805.2075 | 1123181.9015 | 2603804.7457 | 1123180.4449 | 2603803.3663 | 1123179.288 | 2603799.095 | 1123178.2538
27 | 2603824.3235 | 1123229.1141 | 2603834.5468 | 1123215.9923
28 | 2603882.7611 | 1123199.9179 | 2603900.7086 | 1123201.5854
29 | 2603754.7844 | 1123172.6872 | 2603784.4501 | 1123182.6224 | 2603793.8435 | 1123185.7934
30 | 2603824.3235 | 1123229.1141 | 2603814.9104 | 1123239.0762
31 | 2603824.3235 | 1123229.1141 | 2603833.3154 | 1123239.719
32 | 2603900.7086 | 1123201.5854 | 2603914.6458 | 1123202.8803 | 2603915.1806 | 1123202.9411
33 | 2603754.7844 | 1123172.6872 | 2603748.4028 | 1123170.55 | 2603747.4745 | 1123170.2657
34 | 2603803.8849 | 1123250.7448 | 2603814.9104 | 1123239.0762
35 | 2603844.4115 | 1123252.8056 | 2603833.3154 | 1123239.719
36 | 2603977.1067 | 1123316.1856 | 2603987.4477 | 1123298.6074
37 | 2603977.1067 | 1123316.1856 | 2603972.1814 | 1123324.5579
38 | 2603962.3777 | 1123341.2228 | 2603972.1814 | 1123324.5579
39 | 2603962.3777 | 1123341.2228 | 2603986.3463 | 1123357.6351
40 | 2603962.3777 | 1123341.2228 | 2603948.5947 | 1123333.7102
41 | 2603986.3463 | 1123357.6351 | 2604000.4522 | 1123362.4601
42 | 2603986.3463 | 1123357.6351 | 2603979.9031 | 1123369.3407
43 | 2603948.5947 | 1123333.7102 | 2603923.9011 | 1123320.2508
44 | 2604000.4522 | 1123362.4601 | 2604022.4295 | 1123369.9774
45 | 2603979.9031 | 1123369.3407 | 2603974.6333 | 1123378.9146
46 | 2603923.9011 | 1123320.2508 | 2603920.7171 | 1123318.5153
47 | 2604033.4306 | 1123373.7403 | 2604022.4295 | 1123369.9774
48 | 2603957.5456 | 1123409.9586 | 2603974.6333 | 1123378.9146
49 | 2603905.6717 | 1123310.3147 | 2603920.7171 | 1123318.5153
50 | 2603905.6717 | 1123310.3147 | 2603904.4079 | 1123309.6259 | 2603906.5314 | 1123304.7915 | 2603905.6891 | 1123295.5754 | 2603911.7992 | 1123286.6799
51 | 2603922.9207 | 1123273.2199 | 2603912.604 | 1123285.5082 | 2603911.7992 | 1123286.6799
52 | 2603816.7376 | 1123350.3673 | 2603840.0895 | 1123366.0501
53 | 2603806.9811 | 1123343.815 | 2603816.7376 | 1123350.3673
54 | 2603840.0895 | 1123366.0501 | 2603847.8212 | 1123371.2426 | 2603880.5885 | 1123389.7433
55 | 2603806.9811 | 1123343.815 | 2603788.2171 | 1123331.2178
56 | 2603775.4328 | 1123364.828 | 2603787.4986 | 1123366.2695 | 2603797.9457 | 1123354.4257 | 2603806.9811 | 1123343.815
57 | 2603788.2171 | 1123331.2178 | 2603769.1179 | 1123318.3956
58 | 2603775.4328 | 1123364.828 | 2603754.5031 | 1123396.4307
59 | 2603775.4328 | 1123364.828 | 2603766.8584 | 1123357.2237
60 | 2603775.4328 | 1123364.828 | 2603793.5495 | 1123377.528
61 | 2603769.1179 | 1123318.3956 | 2603758.7185 | 1123311.414 | 2603749.1272 | 1123300.0172
62 | 2603754.5031 | 1123396.4307 | 2603748.0075 | 1123391.5895
63 | 2603754.5031 | 1123396.4307 | 2603758.7849 | 1123399.6234
64 | 2603812.398 | 1123390.741 | 2603793.5495 | 1123377.528
65 | 2603749.1272 | 1123300.0172 | 2603746.7374 | 1123297.1775 | 2603735.7231 | 1123272.272
66 | 2603724.908 | 1123253.3846 | 2603732.6928 | 1123265.4201 | 2603735.7231 | 1123272.272
67 | 2603748.0075 | 1123391.5895 | 2603724.4387 | 1123374.0237 | 2603723.6543 | 1123373.3375
68 | 2603856.909 | 1123284.0508 | 2603857.998 | 1123284.8826
69 | 2603844.4115 | 1123252.8056 | 2603853.8793 | 1123263.9718 | 2603845.1826 | 1123275.094 | 2603856.909 | 1123284.0508
70 | 2604047.9342 | 1123003.6144 | 2603964.4497 | 1122721.7439
71 | 2603957.0032 | 1123211.277 | 2604047.9342 | 1123003.6144
72 | 2603957.0032 | 1123211.277 | 2603956.7633 | 1123211.1779 | 2603949.1545 | 1123208.7274 | 2603941.0829 | 1123206.7324 | 2603940.2025 | 1123206.5595
73 | 2603982.3868 | 1123225.1758 | 2603978.8158 | 1123222.531 | 2603974.1297 | 1123219.5487 | 2603968.2102 | 1123216.2433 | 2603962.9069 | 1123213.7164 | 2603957.0032 | 1123211.277
74 | 2603939.2298 | 1123206.3685 | 2603940.2025 | 1123206.5595
75 | 2603939.2298 | 1123206.3685 | 2603930.86 | 1123204.7248 | 2603929.1058 | 1123204.5253
76 | 2603915.1806 | 1123202.9411 | 2603929.1058 | 1123204.5253
77 | 2603724.908 | 1123253.3846 | 2603722.1547 | 1123249.128 | 2603706.3023 | 1123235.8342 | 2603705.3449 | 1123234.7476
78 | 2603688.2109 | 1123209.9279 | 2603692.8057 | 1123215.3384 | 2603697.1114 | 1123222.8335 | 2603701.6868 | 1123230.5956 | 2603705.3449 | 1123234.7476
79 | 2603654.7875 | 1123185.1899 | 2603658.3703 | 1123189.6497 | 2603677.5091 | 1123200.6554 | 2603685.8634 | 1123207.1635 | 2603688.2109 | 1123209.9279
80 | 2603654.7875 | 1123185.1899 | 2603608.9305 | 1123215.2109
81 | 2603654.7875 | 1123185.1899 | 2603664.1516 | 1123179.2926 | 2603678.3973 | 1123172.2976 | 2603691.4769 | 1123168.1701 | 2603706.6839 | 1123165.3 | 2603713.7324 | 1123164.6314
82 | 2603715.7675 | 1123164.4384 | 2603725.1357 | 1123164.7331 | 2603736.5847 | 1123166.93 | 2603747.4745 | 1123170.2657
83 | 2603715.7675 | 1123164.4384 | 2603714.2665 | 1123160.1688 | 2603711.3388 | 1123156.3096 | 2603704.9276 | 1123149.7358 | 2603702.7313 | 1123147.6335
84 | 2603715.7675 | 1123164.4384 | 2603713.7324 | 1123164.6314
85 | 2603702.7313 | 1123147.6335 | 2603704.8146 | 1123145.1891 | 2603708.3848 | 1123144.98 | 2603708.3848 | 1123144.98
86 | 2603708.3848 | 1123144.98 | 2603712.2853 | 1123146.6721 | 2603723.6834 | 1123150.3578
87 | 2603565.4656 | 1123242.9102 | 2603608.9305 | 1123215.2109
88 | 2603608.9305 | 1123215.2109 | 2603605.6566 | 1123210.0842 | 2603596.2608 | 1123184.3995
89 | 2603565.4656 | 1123242.9102 | 2603552.5082 | 1123236.155 | 2603519.8858 | 1123221.229 | 2603516.7807 | 1123220.0369
90 | 2603596.2608 | 1123184.3995 | 2603581.3375 | 1123143.6043 | 2603580.3765 | 1123140.4506
91 | 2603516.7807 | 1123220.0369 | 2603504.4008 | 1123215.2841
92 | 2603504.4008 | 1123215.2841 | 2603479.1739 | 1123205.599
93 | 2603577.9526 | 1123132.4969 | 2603580.3765 | 1123140.4506
94 | 2603432.867 | 1123189.4201 | 2603456.7511 | 1123197.0524
95 | 2603456.7511 | 1123197.0524 | 2603457.7137 | 1123197.36 | 2603479.1739 | 1123205.599
96 | 2603755.3398 | 1123160.5943 | 2603739.7063 | 1123155.539
97 | 2603723.6834 | 1123150.3578 | 2603739.7063 | 1123155.539
98 | 2603957.3369 | 1123410.3378 | 2603957.5456 | 1123409.9586
99 | 2604040.8506 | 1123376.2771 | 2604047.9835 | 1123378.7158
100 | 2604033.4306 | 1123373.7403 | 2604040.8506 | 1123376.2771
101 | 2604061.0891 | 1123383.1965 | 2604047.9835 | 1123378.7158

## bus_geodata
| x | y | coords
0 | 2604039.4222 | 1123585.1205
1 | 2603927.4908 | 1123518.3758
2 | 2603956.7691 | 1123466.0912
3 | 2604005.0605 | 1123433.0442
4 | 2604017.8426 | 1123406.8449
5 | 2604046.7788 | 1123278.9686
6 | 2604028.6156 | 1123263.6679
7 | 2604020.6617 | 1123256.6526
8 | 2604017.9688 | 1123259.6412
9 | 2604004.1417 | 1123242.8027
10 | 2604061.5913 | 1123294.0298
11 | 2604013.345 | 1123255.7363
12 | 2603992.4068 | 1123233.0805
13 | 2604076.5689 | 1123301.1075
14 | 2604075.2228 | 1123300.6878
15 | 2604000.2054 | 1123245.1469
16 | 2603982.9338 | 1123231.2123
17 | 2603951.4076 | 1123213.975
18 | 2604009.7333 | 1123260.7252
19 | 2604002.4957 | 1123273.0281
20 | 2603987.542 | 1123298.4471
21 | 2603835.9784 | 1123197.4837
22 | 2603803.4528 | 1123189.0372
23 | 2603834.5468 | 1123215.9923
24 | 2603882.7611 | 1123199.9179
25 | 2603793.8435 | 1123185.7934
26 | 2603799.095 | 1123178.2538
27 | 2603824.3235 | 1123229.1141
28 | 2603900.7086 | 1123201.5854
29 | 2603754.7844 | 1123172.6872
30 | 2603814.9104 | 1123239.0762
31 | 2603833.3154 | 1123239.719
32 | 2603987.4477 | 1123298.6074
33 | 2603977.1067 | 1123316.1856
34 | 2603972.1814 | 1123324.5579
35 | 2603962.3777 | 1123341.2228
36 | 2603986.3463 | 1123357.6351
37 | 2603948.5947 | 1123333.7102
38 | 2604000.4522 | 1123362.4601
39 | 2603979.9031 | 1123369.3407
40 | 2603923.9011 | 1123320.2508
41 | 2604022.4295 | 1123369.9774
42 | 2603974.6333 | 1123378.9146
43 | 2603920.7171 | 1123318.5153
44 | 2603905.6717 | 1123310.3147
45 | 2603911.7992 | 1123286.6799
46 | 2603922.9207 | 1123273.2199
47 | 2603816.7376 | 1123350.3673
48 | 2603840.0895 | 1123366.0501
49 | 2603806.9811 | 1123343.8149
50 | 2603880.5885 | 1123389.7433
51 | 2603788.2171 | 1123331.2178
52 | 2603775.4328 | 1123364.828
53 | 2603769.1179 | 1123318.3956
54 | 2603754.5031 | 1123396.4307
55 | 2603766.8584 | 1123357.2237
56 | 2603793.5495 | 1123377.528
57 | 2603749.1272 | 1123300.0172
58 | 2603735.7231 | 1123272.272
59 | 2603812.398 | 1123390.741
60 | 2603748.0075 | 1123391.5895
61 | 2603758.7849 | 1123399.6234
62 | 2603723.6543 | 1123373.3375
63 | 2603856.909 | 1123284.0509
64 | 2603857.998 | 1123284.8826
65 | 2603844.4115 | 1123252.8056
66 | 2604047.9342 | 1123003.6144
67 | 2603964.4497 | 1122721.7439
68 | 2603957.0032 | 1123211.277
69 | 2603940.2025 | 1123206.5595
70 | 2603982.3868 | 1123225.1758
71 | 2603939.2298 | 1123206.3685
72 | 2603929.1058 | 1123204.5253
73 | 2603915.1806 | 1123202.9411
74 | 2603724.908 | 1123253.3846
75 | 2603705.3449 | 1123234.7476
76 | 2603688.2109 | 1123209.9279
77 | 2603654.7875 | 1123185.1899
78 | 2603747.4745 | 1123170.2657
79 | 2603715.7675 | 1123164.4384
80 | 2603702.7313 | 1123147.6335
81 | 2603713.7324 | 1123164.6314
82 | 2603708.3848 | 1123144.98
83 | 2603608.9305 | 1123215.2109
84 | 2603565.4656 | 1123242.9102
85 | 2603596.2608 | 1123184.3995
86 | 2603516.7807 | 1123220.0369
87 | 2603504.4008 | 1123215.2841
88 | 2603803.8849 | 1123250.7448
89 | 2603580.3765 | 1123140.4506
90 | 2603577.9526 | 1123132.4969
91 | 2603432.867 | 1123189.4201
92 | 2603456.7511 | 1123197.0524
93 | 2603479.1739 | 1123205.599
94 | 2603755.3398 | 1123160.5943
95 | 2603739.7063 | 1123155.539
96 | 2603723.6834 | 1123150.3578
97 | 2603957.3369 | 1123410.3378
98 | 2603957.5456 | 1123409.9586
99 | 2604040.8506 | 1123376.2771
100 | 2604047.9835 | 1123378.7158
101 | 2604033.4306 | 1123373.7403
102 | 2604061.0891 | 1123383.1965
103 | 2603865.4437 | 1123290.5698

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1