## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6232-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6232-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6232-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6232-6_0_6_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_6232-6_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6232-6_0_6_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_6232-6_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_6232-6_0_6_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_6232-6_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6232-6_0_6_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_6232-6_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_6232-6_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6232-6_0_6_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_6232-6_0_6_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_6232-6_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_6232-6_0_6_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_6232-6_0_6_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_6232-6_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6232-6_0_6_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_6232-6_0_6_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_6232-6_0_6_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_6232-6_0_6_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6232-6_0_6_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_6232-6_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6232-6_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6232-6_0_6_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_6232-6_0_6_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6232-6_0_6_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_6232-6_0_6_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_6232-6_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6232-6_0_6_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_6232-6_0_6_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_6232-6_0_6_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_6232-6_0_6_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_6232-6_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6232-6_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_6232-6_0_6_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_6232-6_0_6_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_6232-6_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6232-6_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6232-6_0_6_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_6232-6_0_6_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_6232-6_0_6_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_6232-6_0_6_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6232-6_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_6232-6_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_6232-6_0_6_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6232-6_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_6232-6_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6232-6_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6232-6_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6232-6_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6232-6_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6232-6_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_6232-6_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6232-6_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_MV_113_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6232-6_0_6_load_0 | 0 | 0.010225 | 0.0025625 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6232-6_0_6_load_6 | 4 | 0.090382 | 0.022652 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6232-6_0_6_load_40 | 7 | 0.025841 | 0.0064765 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6232-6_0_6_load_7 | 8 | 0.023917 | 0.0059941 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6232-6_0_6_load_43 | 12 | 0.0020982 | 0.00052586 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6232-6_0_6_load_44 | 14 | 0.0044915 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6232-6_0_6_load_36 | 15 | 0.0030858 | 0.00077337 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6232-6_0_6_load_54 | 16 | 0.0070192 | 0.0017592 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6232-6_0_6_load_55 | 20 | 0.048944 | 0.012267 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6232-6_0_6_load_28 | 21 | 0.010923 | 0.0027376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6232-6_0_6_load_53 | 22 | 0.0055242 | 0.0013845 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6232-6_0_6_load_20 | 24 | 0.011216 | 0.0028109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6232-6_0_6_load_37 | 25 | 0.020457 | 0.005127 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6232-6_0_6_load_41 | 26 | 0.014065 | 0.0035251 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6232-6_0_6_load_10 | 27 | 0.006845 | 0.0017155 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6232-6_0_6_load_17 | 29 | 0.007374 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6232-6_0_6_load_12 | 30 | 0.0063449 | 0.0015902 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6232-6_0_6_load_13 | 31 | 0.013263 | 0.003324 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6232-6_0_6_load_15 | 32 | 0.0066902 | 0.0016767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6232-6_0_6_load_14 | 33 | 0.0092239 | 0.0023117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6232-6_0_6_load_18 | 35 | 0.0031067 | 0.0007786 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6232-6_0_6_load_47 | 36 | 0.0099819 | 0.0025017 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6232-6_0_6_load_25 | 38 | 0.018759 | 0.0047015 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6232-6_0_6_load_26 | 39 | 0.05047 | 0.012649 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6232-6_0_6_load_50 | 42 | 0.035296 | 0.0088459 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6232-6_0_6_load_51 | 43 | 0.035247 | 0.0088338 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6232-6_0_6_load_22 | 44 | 0.022172 | 0.0055569 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6232-6_0_6_load_23 | 45 | 0.0098026 | 0.0024568 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6232-6_0_6_load_52 | 46 | 0.024957 | 0.0062549 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6232-6_0_6_load_24 | 47 | 0.016439 | 0.00412 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6232-6_0_6_load_27 | 48 | 0.012747 | 0.0031948 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6232-6_0_6_load_56 | 51 | 0.0038299 | 0.00095987 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6232-6_0_6_load_34 | 52 | 0.0081021 | 0.0020306 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6232-6_0_6_load_35 | 53 | 0.0078021 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6232-6_0_6_load_46 | 54 | 0.0057131 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6232-6_0_6_line_0 |  | 0 | 1 | 0.031729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6232-6_0_6_line_1 |  | 1 | 2 | 0.02631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6232-6_0_6_line_2 |  | 2 | 3 | 0.057306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6232-6_0_6_line_3 |  | 2 | 4 | 0.034928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6232-6_0_6_line_4 |  | 3 | 5 | 0.084347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6232-6_0_6_line_5 |  | 3 | 6 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6232-6_0_6_line_6 |  | 3 | 7 | 0.023821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6232-6_0_6_line_7 |  | 4 | 8 | 0.033397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6232-6_0_6_line_8 |  | 5 | 22 | 0.025423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6232-6_0_6_line_9 |  | 5 | 13 | 0.037409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6232-6_0_6_line_10 |  | 6 | 25 | 0.022848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6232-6_0_6_line_11 |  | 6 | 23 | 0.003997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6232-6_0_6_line_12 |  | 7 | 26 | 0.040602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6232-6_0_6_line_13 |  | 8 | 17 | 0.046129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6232-6_0_6_line_14 |  | 9 | 10 | 0.043621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6232-6_0_6_line_15 |  | 9 | 11 | 0.095555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6232-6_0_6_line_16 |  | 10 | 12 | 0.071472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6232-6_0_6_line_17 |  | 11 | 13 | 0.066338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6232-6_0_6_line_18 |  | 12 | 14 | 0.048187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6232-6_0_6_line_19 |  | 12 | 15 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6232-6_0_6_line_20 |  | 13 | 16 | 0.034002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6232-6_0_6_line_21 |  | 14 | 55 | 0.039462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6232-6_0_6_line_22 |  | 15 | 53 | 0.029021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6232-6_0_6_line_23 |  | 17 | 18 | 0.022252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6232-6_0_6_line_24 |  | 18 | 21 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6232-6_0_6_line_25 |  | 18 | 19 | 0.026951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6232-6_0_6_line_26 |  | 19 | 20 | 0.040146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6232-6_0_6_line_27 |  | 21 | 49 | 0.020862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6232-6_0_6_line_28 |  | 23 | 24 | 0.028304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6232-6_0_6_line_29 |  | 24 | 31 | 0.037258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6232-6_0_6_line_30 |  | 27 | 28 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6232-6_0_6_line_31 |  | 27 | 29 | 0.05458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6232-6_0_6_line_32 |  | 28 | 30 | 0.015643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6232-6_0_6_line_33 |  | 28 | 31 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6232-6_0_6_line_34 |  | 29 | 34 | 0.067115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6232-6_0_6_line_35 |  | 29 | 32 | 0.0081623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6232-6_0_6_line_36 |  | 32 | 33 | 0.031751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6232-6_0_6_line_37 |  | 33 | 37 | 0.022827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6232-6_0_6_line_38 |  | 34 | 44 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6232-6_0_6_line_39 |  | 34 | 38 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6232-6_0_6_line_40 |  | 35 | 36 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6232-6_0_6_line_41 |  | 35 | 37 | 0.038856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6232-6_0_6_line_42 |  | 36 | 40 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6232-6_0_6_line_43 |  | 38 | 39 | 0.018558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6232-6_0_6_line_44 |  | 40 | 41 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6232-6_0_6_line_45 |  | 41 | 42 | 0.073435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6232-6_0_6_line_46 |  | 42 | 43 | 0.036859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6232-6_0_6_line_47 |  | 43 | 46 | 0.03671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6232-6_0_6_line_48 |  | 44 | 45 | 0.055004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6232-6_0_6_line_49 |  | 45 | 47 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6232-6_0_6_line_50 |  | 47 | 48 | 0.0022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6232-6_0_6_line_51 |  | 49 | 50 | 0.00537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6232-6_0_6_line_52 |  | 50 | 51 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6232-6_0_6_line_53 |  | 52 | 53 | 0.024407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6232-6_0_6_line_54 |  | 54 | 55 | 0.022319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6232-6_0_6_trafo_23 | 0.63 MVA 20/0.4 kV | 56 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2604797.7275 | 1123627.7244 | 2604779.8269 | 1123615.1488 | 2604771.724 | 1123609.5442
1 | 2604784.0247 | 1123650.2025 | 2604797.7275 | 1123627.7244
2 | 2604784.0247 | 1123650.2025 | 2604741.2761 | 1123635.9735 | 2604736.52 | 1123634.7136 | 2604732.3487 | 1123634.9883 | 2604729.3946 | 1123636.4646
3 | 2604784.0247 | 1123650.2025 | 2604804.2329 | 1123659.5673 | 2604815.436 | 1123665.4541
4 | 2604675.1926 | 1123576.5605 | 2604719.3447 | 1123631.2654 | 2604726.4784 | 1123638.7523 | 2604729.3946 | 1123636.4646
5 | 2604729.3946 | 1123636.4646 | 2604734.5253 | 1123641.8823 | 2604731.8479 | 1123644.5148 | 2604736.0002 | 1123648.8201
6 | 2604729.3946 | 1123636.4646 | 2604724.5875 | 1123631.2583 | 2604718.4174 | 1123623.9611 | 2604713.8892 | 1123618.3907
7 | 2604815.436 | 1123665.4541 | 2604829.7424 | 1123672.9716 | 2604844.4445 | 1123681.967
8 | 2604675.1926 | 1123576.5605 | 2604667.3124 | 1123587.3486 | 2604660.4379 | 1123597.2618
9 | 2604651.3827 | 1123547.6616 | 2604663.0755 | 1123562.2443 | 2604675.1926 | 1123576.5605
10 | 2604736.0002 | 1123648.8201 | 2604744.9611 | 1123656.3196 | 2604751.4413 | 1123661.3715 | 2604753.8709 | 1123663.0386
11 | 2604736.0002 | 1123648.8201 | 2604732.6678 | 1123651.0409
12 | 2604713.8892 | 1123618.3907 | 2604703.6513 | 1123605.7965 | 2604690.7562 | 1123590.6904 | 2604687.9021 | 1123587.1989
13 | 2604882.3894 | 1123707.4301 | 2604882.1436 | 1123706.2627 | 2604877.9524 | 1123702.4686 | 2604844.4445 | 1123681.967
14 | 2604679.9609 | 1123501.2607 | 2604683.219 | 1123495.427 | 2604687.9971 | 1123488.2605 | 2604691.5083 | 1123484.2167 | 2604704.0062 | 1123494.8092 | 2604708.6827 | 1123499.4484
15 | 2604613.5329 | 1123497.4419 | 2604607.6862 | 1123490.3674 | 2604624.4885 | 1123477.7516 | 2604628.0528 | 1123474.7529 | 2604630.7668 | 1123474.7549 | 2604636.1999 | 1123478.194 | 2604640.5387 | 1123480.8986 | 2604644.5216 | 1123485.2371 | 2604650.5064 | 1123493.2233 | 2604654.1064 | 1123494.0598 | 2604660.8827 | 1123495.2877 | 2604665.3306 | 1123496.4361 | 2604671.8441 | 1123498.6088 | 2604679.9609 | 1123501.2607
16 | 2604708.6827 | 1123499.4484 | 2604729.8772 | 1123520.4972 | 2604761.2875 | 1123547.7744
17 | 2604613.5329 | 1123497.4419 | 2604610.8171 | 1123499.8077 | 2604617.126 | 1123507.5273 | 2604651.3827 | 1123547.6616
18 | 2604761.2875 | 1123547.7744 | 2604798.8716 | 1123517.6181
19 | 2604780.846 | 1123564.7593 | 2604761.2875 | 1123547.7744
20 | 2604651.3827 | 1123547.6616 | 2604629.0396 | 1123573.2925
21 | 2604820.9774 | 1123484.9285 | 2604798.8716 | 1123517.6181
22 | 2604805.3324 | 1123580.1791 | 2604785.1755 | 1123568.5191 | 2604780.846 | 1123564.7593
23 | 2604875.2372 | 1123713.8498 | 2604879.0527 | 1123715.0311 | 2604880.2121 | 1123711.3636 | 2604885.5461 | 1123712.9353 | 2604886.7521 | 1123708.8454 | 2604882.3894 | 1123707.4301
24 | 2604875.2372 | 1123713.8498 | 2604864.7747 | 1123714.0415 | 2604852.5994 | 1123715.7883
25 | 2604872.1503 | 1123736.9252 | 2604874.0518 | 1123730.8793 | 2604879.0527 | 1123715.0311 | 2604875.2372 | 1123713.8498
26 | 2604872.1503 | 1123736.9252 | 2604872.386 | 1123741.0941 | 2604863.245 | 1123775.8839
27 | 2604837.4761 | 1123701.4805 | 2604839.548 | 1123704.1168 | 2604852.5994 | 1123715.7883
28 | 2604732.6678 | 1123651.0409 | 2604732.2435 | 1123651.3296 | 2604725.32 | 1123651.3242 | 2604720.7718 | 1123650.3981 | 2604705.9856 | 1123648.4191 | 2604704.6841 | 1123648.2937
29 | 2604704.6841 | 1123648.2937 | 2604692.0238 | 1123647.0744 | 2604679.9264 | 1123647.6877 | 2604671.5544 | 1123646.2362 | 2604667.9092 | 1123644.768
30 | 2604638.6196 | 1123632.9714 | 2604633.7262 | 1123645.8228
31 | 2604633.7262 | 1123645.8228 | 2604596.7335 | 1123685.9535
32 | 2604638.6196 | 1123632.9714 | 2604624.1061 | 1123627.1354
33 | 2604638.6196 | 1123632.9714 | 2604667.9092 | 1123644.768
34 | 2604658.8375 | 1123711.3694 | 2604614.219 | 1123692.5043 | 2604596.7335 | 1123685.9535
35 | 2604596.7335 | 1123685.9535 | 2604589.09 | 1123683.0899
36 | 2604559.3575 | 1123671.9509 | 2604589.09 | 1123683.0899
37 | 2604537.9457 | 1123670.2033 | 2604543.0826 | 1123667.3612 | 2604552.3177 | 1123669.3135 | 2604559.3575 | 1123671.9509
38 | 2604658.8375 | 1123711.3694 | 2604672.4976 | 1123717.1468
39 | 2604658.8375 | 1123711.3694 | 2604652.638 | 1123722.459 | 2604650.1436 | 1123727.2775
40 | 2604563.7178 | 1123727.7214 | 2604563.0673 | 1123718.6233 | 2604556.3561 | 1123704.4172
41 | 2604537.9457 | 1123670.2033 | 2604555.3079 | 1123702.1984 | 2604556.3561 | 1123704.4172
42 | 2604565.2039 | 1123748.5061 | 2604563.7178 | 1123727.7214
43 | 2604637.306 | 1123738.911 | 2604642.295 | 1123737.9587 | 2604646.5692 | 1123734.1824 | 2604650.1436 | 1123727.2775
44 | 2604567.0898 | 1123773.1974 | 2604565.2039 | 1123748.5061
45 | 2604567.0898 | 1123773.1974 | 2604572.4322 | 1123773.8683 | 2604638.3073 | 1123790.9385
46 | 2604638.3073 | 1123790.9385 | 2604673.9879 | 1123800.1844
47 | 2604673.9879 | 1123800.1844 | 2604709.5243 | 1123809.393
48 | 2604723.1575 | 1123738.5726 | 2604672.4976 | 1123717.1468
49 | 2604723.1575 | 1123738.5726 | 2604736.1675 | 1123744.075
50 | 2604738.2544 | 1123744.9577 | 2604736.1675 | 1123744.075
51 | 2604832.3658 | 1123699.7868 | 2604837.4761 | 1123701.4805
52 | 2604832.3658 | 1123699.7868 | 2604819.9802 | 1123704.2236 | 2604818.8998 | 1123705.5012 | 2604817.6794 | 1123708.335
53 | 2604827.4333 | 1123590.4557 | 2604810.7691 | 1123583.3241 | 2604805.3324 | 1123580.1791
54 | 2604820.9774 | 1123484.9285 | 2604841.4876 | 1123493.7304

## bus_geodata
| x | y | coords
0 | 2604771.724 | 1123609.5442
1 | 2604797.7275 | 1123627.7244
2 | 2604784.0247 | 1123650.2025
3 | 2604729.3946 | 1123636.4646
4 | 2604815.436 | 1123665.4541
5 | 2604675.1926 | 1123576.5605
6 | 2604736.0002 | 1123648.8201
7 | 2604713.8892 | 1123618.3907
8 | 2604844.4445 | 1123681.967
9 | 2604679.9609 | 1123501.2607
10 | 2604708.6827 | 1123499.4484
11 | 2604613.5329 | 1123497.4419
12 | 2604761.2875 | 1123547.7744
13 | 2604651.3827 | 1123547.6616
14 | 2604798.8716 | 1123517.6181
15 | 2604780.846 | 1123564.7593
16 | 2604629.0396 | 1123573.2925
17 | 2604882.3894 | 1123707.4301
18 | 2604875.2372 | 1123713.8498
19 | 2604872.1503 | 1123736.9252
20 | 2604863.245 | 1123775.8839
21 | 2604852.5994 | 1123715.7883
22 | 2604660.4379 | 1123597.2618
23 | 2604732.6678 | 1123651.0409
24 | 2604704.6841 | 1123648.2937
25 | 2604753.8709 | 1123663.0386
26 | 2604687.9021 | 1123587.1989
27 | 2604633.7262 | 1123645.8228
28 | 2604638.6196 | 1123632.9714
29 | 2604596.7335 | 1123685.9535
30 | 2604624.1061 | 1123627.1354
31 | 2604667.9092 | 1123644.768
32 | 2604589.09 | 1123683.0899
33 | 2604559.3575 | 1123671.9509
34 | 2604658.8375 | 1123711.3694
35 | 2604556.3561 | 1123704.4172
36 | 2604563.7178 | 1123727.7214
37 | 2604537.9457 | 1123670.2033
38 | 2604650.1436 | 1123727.2775
39 | 2604637.306 | 1123738.911
40 | 2604565.2039 | 1123748.5061
41 | 2604567.0898 | 1123773.1974
42 | 2604638.3073 | 1123790.9385
43 | 2604673.9879 | 1123800.1844
44 | 2604672.4976 | 1123717.1468
45 | 2604723.1575 | 1123738.5726
46 | 2604709.5243 | 1123809.393
47 | 2604736.1675 | 1123744.075
48 | 2604738.2544 | 1123744.9577
49 | 2604837.4761 | 1123701.4805
50 | 2604832.3658 | 1123699.7868
51 | 2604817.6794 | 1123708.3349
52 | 2604827.4333 | 1123590.4557
53 | 2604805.3324 | 1123580.1791
54 | 2604841.4876 | 1123493.7304
55 | 2604820.9774 | 1123484.9285
56 | 2604738.2544 | 1123744.9577

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1