## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6232-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6232-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6232-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6232-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6232-9_0_5_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_6232-9_0_5_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_6232-9_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6232-9_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6232-9_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6232-9_0_5_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6232-9_0_5_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6232-9_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6232-9_0_5_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_6232-9_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6232-9_0_5_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_6232-9_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6232-9_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6232-9_0_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6232-9_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6232-9_0_5_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_6232-9_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6232-9_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_6232-9_0_5_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_6232-9_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_6232-9_0_5_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_6232-9_0_5_node_4 | 0.4 | n |  | TRUE
26 | bus_LV_6232-9_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6232-9_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6232-9_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6232-9_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6232-9_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6232-9_0_5_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_6232-9_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6232-9_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6232-9_0_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_6232-9_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6232-9_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6232-9_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_6232-9_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6232-9_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_6232-9_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6232-9_0_5_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_6232-9_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6232-9_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6232-9_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6232-9_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6232-9_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_6232-9_0_5_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_6232-9_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6232-9_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6232-9_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_6232-9_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6232-9_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_MV_113_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6232-9_0_5_load_0 | 0 | 0.020583 | 0.0051587 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6232-9_0_5_load_1 | 1 | 0.0043192 | 0.0010825 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6232-9_0_5_load_2 | 2 | 0.016555 | 0.0041492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6232-9_0_5_load_5 | 8 | 0.0092153 | 0.0023096 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6232-9_0_5_load_18 | 9 | 0.0042322 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6232-9_0_5_load_20 | 10 | 0.0053436 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6232-9_0_5_load_16 | 13 | 0.0073333 | 0.0018379 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6232-9_0_5_load_40 | 14 | 0.013187 | 0.003305 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6232-9_0_5_load_26 | 17 | 0.015501 | 0.003885 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6232-9_0_5_load_48 | 19 | 0.0073219 | 0.001835 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6232-9_0_5_load_47 | 21 | 0.011511 | 0.0028849 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6232-9_0_5_load_36 | 22 | 0.023225 | 0.0058208 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6232-9_0_5_load_37 | 23 | 0.013596 | 0.0034074 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6232-9_0_5_load_51 | 24 | 0.0058918 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6232-9_0_5_load_4 | 25 | 0.0088094 | 0.0022078 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6232-9_0_5_load_17 | 26 | 0.0058606 | 0.0014688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6232-9_0_5_load_24 | 28 | 0.015343 | 0.0038454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6232-9_0_5_load_41 | 29 | 0.014237 | 0.0035683 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6232-9_0_5_load_25 | 30 | 0.017527 | 0.0043926 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6232-9_0_5_load_49 | 31 | 0.012521 | 0.0031381 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6232-9_0_5_load_35 | 32 | 0.011871 | 0.0029751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6232-9_0_5_load_23 | 33 | 0.014932 | 0.0037424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6232-9_0_5_load_38 | 34 | 0.015055 | 0.0037731 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6232-9_0_5_load_22 | 35 | 0.016099 | 0.0040348 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6232-9_0_5_load_30 | 37 | 0.014787 | 0.0037059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6232-9_0_5_load_31 | 38 | 0.012845 | 0.0032192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6232-9_0_5_load_27 | 39 | 0.031807 | 0.0079717 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6232-9_0_5_load_28 | 40 | 0.009202 | 0.0023062 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6232-9_0_5_load_54 | 41 | 0.01427 | 0.0035764 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6232-9_0_5_load_34 | 42 | 0.01446 | 0.003624 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6232-9_0_5_load_32 | 43 | 0.017051 | 0.0042735 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6232-9_0_5_load_33 | 44 | 0.0083676 | 0.0020971 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6232-9_0_5_load_39 | 45 | 0.018554 | 0.0046501 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6232-9_0_5_load_53 | 46 | 0.011391 | 0.0028548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6232-9_0_5_load_46 | 47 | 0.016843 | 0.0042212 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6232-9_0_5_load_42 | 48 | 0.012096 | 0.0030315 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6232-9_0_5_load_43 | 49 | 0.0096884 | 0.0024281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6232-9_0_5_load_44 | 50 | 0.0079941 | 0.0020035 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6232-9_0_5_load_45 | 51 | 0.010436 | 0.0026156 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6232-9_0_5_load_50 | 52 | 0.01234 | 0.0030928 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6232-9_0_5_line_0 |  | 0 | 1 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6232-9_0_5_line_1 |  | 0 | 2 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6232-9_0_5_line_2 |  | 1 | 3 | 0.027464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6232-9_0_5_line_3 |  | 3 | 4 | 0.045684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6232-9_0_5_line_4 |  | 3 | 5 | 0.036989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6232-9_0_5_line_5 |  | 4 | 14 | 0.030716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6232-9_0_5_line_6 |  | 5 | 24 | 0.070714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6232-9_0_5_line_7 |  | 6 | 7 | 0.047784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6232-9_0_5_line_8 |  | 6 | 8 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6232-9_0_5_line_9 |  | 7 | 9 | 0.0067343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6232-9_0_5_line_10 |  | 7 | 10 | 0.0082123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6232-9_0_5_line_11 |  | 8 | 25 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6232-9_0_5_line_12 |  | 9 | 26 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6232-9_0_5_line_13 |  | 10 | 27 | 0.0071765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6232-9_0_5_line_14 |  | 11 | 12 | 0.019239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6232-9_0_5_line_15 |  | 11 | 13 | 0.020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6232-9_0_5_line_16 |  | 12 | 28 | 0.027871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6232-9_0_5_line_17 |  | 13 | 26 | 0.0096051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6232-9_0_5_line_18 |  | 14 | 29 | 0.0024213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6232-9_0_5_line_19 |  | 15 | 16 | 0.039467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6232-9_0_5_line_20 |  | 15 | 17 | 0.02703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6232-9_0_5_line_21 |  | 16 | 23 | 0.031134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6232-9_0_5_line_22 |  | 17 | 30 | 0.0099906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6232-9_0_5_line_23 |  | 18 | 19 | 0.053927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6232-9_0_5_line_24 |  | 18 | 20 | 0.16317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6232-9_0_5_line_25 |  | 18 | 21 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6232-9_0_5_line_26 |  | 19 | 31 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6232-9_0_5_line_27 |  | 20 | 22 | 0.027374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6232-9_0_5_line_28 |  | 22 | 32 | 0.0032522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6232-9_0_5_line_29 |  | 23 | 34 | 8.0624e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6232-9_0_5_line_30 |  | 27 | 35 | 0.01776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6232-9_0_5_line_31 |  | 27 | 33 | 0.020605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6232-9_0_5_line_32 |  | 29 | 48 | 0.002045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6232-9_0_5_line_33 |  | 30 | 39 | 0.0027885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6232-9_0_5_line_34 |  | 31 | 52 | 0.026439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6232-9_0_5_line_35 |  | 32 | 44 | 0.0077603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6232-9_0_5_line_36 |  | 34 | 45 | 0.00040462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6232-9_0_5_line_37 |  | 35 | 36 | 0.008001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6232-9_0_5_line_38 |  | 36 | 37 | 0.0077903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6232-9_0_5_line_39 |  | 36 | 38 | 0.0042972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6232-9_0_5_line_40 |  | 37 | 42 | 0.00089161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6232-9_0_5_line_41 |  | 38 | 41 | 0.00066744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6232-9_0_5_line_42 |  | 39 | 40 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6232-9_0_5_line_43 |  | 40 | 41 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6232-9_0_5_line_44 |  | 42 | 43 | 0.0010663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6232-9_0_5_line_45 |  | 43 | 44 | 0.0069563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6232-9_0_5_line_46 |  | 45 | 46 | 0.010446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6232-9_0_5_line_47 |  | 46 | 47 | 0.0014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6232-9_0_5_line_48 |  | 47 | 51 | 0.002204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6232-9_0_5_line_49 |  | 48 | 49 | 0.0027613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6232-9_0_5_line_50 |  | 49 | 50 | 0.0037796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6232-9_0_5_line_51 |  | 50 | 51 | 0.0077063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6232-9_0_5_trafo_39 | 0.63 MVA 20/0.4 kV | 53 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2605362.7911 | 1123929.8644 | 2605367.9034 | 1123921.3291 | 2605369.2305 | 1123920.163 | 2605371.1041 | 1123919.9312 | 2605372.7385 | 1123920.0105 | 2605375.5441 | 1123920.7911 | 2605380.3413 | 1123923.8381
1 | 2605354.7933 | 1123943.2172 | 2605362.7911 | 1123929.8644
2 | 2605404.534 | 1123936.3909 | 2605401.1657 | 1123935.5653 | 2605397.9748 | 1123934.4842 | 2605395.0155 | 1123933.1587 | 2605380.3413 | 1123923.8381
3 | 2605404.534 | 1123936.3909 | 2605405.5238 | 1123933.0346 | 2605408.9711 | 1123923.1217 | 2605412.1075 | 1123915.9209 | 2605414.202 | 1123910.131 | 2605416.5994 | 1123901.7402 | 2605418.0335 | 1123892.9038
4 | 2605377.641 | 1123956.1213 | 2605392.2758 | 1123945.1177 | 2605398.5682 | 1123943.5113 | 2605402.6691 | 1123944.193 | 2605403.7685 | 1123938.9804 | 2605404.534 | 1123936.3909
5 | 2605418.0335 | 1123892.9038 | 2605407.8674 | 1123889.5599 | 2605401.8887 | 1123885.0413 | 2605394.1985 | 1123880.41 | 2605391.1165 | 1123878.6623
6 | 2605377.641 | 1123956.1213 | 2605365.7964 | 1123967.9167 | 2605347.6881 | 1123983.842 | 2605333.586 | 1123994.2014 | 2605323.5196 | 1124001.4171
7 | 2605324.0682 | 1123759.5008 | 2605326.2681 | 1123774.321 | 2605346.0331 | 1123768.9134 | 2605347.3408 | 1123781.1538
8 | 2605324.0682 | 1123759.5008 | 2605332.1206 | 1123755.6948 | 2605346.6035 | 1123750.9399
9 | 2605347.3408 | 1123781.1538 | 2605354.0723 | 1123781.3449
10 | 2605347.3408 | 1123781.1538 | 2605347.6916 | 1123789.3586
11 | 2605361.8601 | 1123745.9311 | 2605346.6035 | 1123750.9399
12 | 2605354.0723 | 1123781.3449 | 2605367.849 | 1123781.7359
13 | 2605347.9981 | 1123796.5286 | 2605347.6916 | 1123789.3586
14 | 2605407.3382 | 1123799.093 | 2605402.2958 | 1123790.4955 | 2605397.4534 | 1123782.5762
15 | 2605397.4534 | 1123782.5762 | 2605377.4502 | 1123782.0085
16 | 2605407.3382 | 1123799.093 | 2605379.5009 | 1123797.721
17 | 2605377.4502 | 1123782.0085 | 2605367.849 | 1123781.7359
18 | 2605391.1165 | 1123878.6623 | 2605389.6828 | 1123877.8492 | 2605388.9893 | 1123877.5078
19 | 2605415.1312 | 1123827.0246 | 2605417.5802 | 1123830.0727 | 2605420.0592 | 1123834.1658 | 2605420.9412 | 1123839.3469 | 2605420.7975 | 1123844.9495 | 2605420.4837 | 1123850.9855 | 2605406.6612 | 1123849.8728
20 | 2605415.1312 | 1123827.0246 | 2605408.8493 | 1123825.3405 | 2605388.3421 | 1123824.4575
21 | 2605406.6612 | 1123849.8728 | 2605395.1359 | 1123848.9399 | 2605383.981 | 1123847.7184 | 2605382.2306 | 1123848.017 | 2605381.2736 | 1123849.1612 | 2605379.8374 | 1123854.0364
22 | 2605388.3421 | 1123824.4575 | 2605378.3607 | 1123824.0278
23 | 2605255.7758 | 1123946.5887 | 2605277.8615 | 1123922.4292 | 2605280.6219 | 1123922.1204 | 2605284.0197 | 1123924.5245 | 2605291.3231 | 1123930.7116 | 2605293.3502 | 1123931.3358 | 2605295.8179 | 1123930.6487 | 2605295.8179 | 1123930.6487
24 | 2605255.7758 | 1123946.5887 | 2605234.2877 | 1123930.1846 | 2605237.4758 | 1123925.585 | 2605247.7998 | 1123906.6179 | 2605260.1392 | 1123884.0397 | 2605267.7839 | 1123869.9283 | 2605271.5691 | 1123861.3385 | 2605275.9349 | 1123849.9255 | 2605278.9419 | 1123840.7681 | 2605281.4879 | 1123829.6982 | 2605284.5605 | 1123815.9497 | 2605285.3268 | 1123812.5265 | 2605292.1719 | 1123813.7997
25 | 2605255.7758 | 1123946.5887 | 2605260.0533 | 1123948.1709 | 2605270.2595 | 1123958.4294
26 | 2605304.1454 | 1123923.5143 | 2605298.6182 | 1123928.6391 | 2605295.8179 | 1123930.6487
27 | 2605292.1719 | 1123813.7997 | 2605319.1409 | 1123818.4885
28 | 2605322.3451 | 1123819.0455 | 2605319.1409 | 1123818.4885
29 | 2605379.8374 | 1123854.0364 | 2605379.8146 | 1123854.1138
30 | 2605347.9981 | 1123796.5286 | 2605347.0312 | 1123814.2619
31 | 2605347.9981 | 1123796.5286 | 2605336.6572 | 1123796.263 | 2605327.3977 | 1123796.4304
32 | 2605387.1545 | 1123876.6045 | 2605388.9893 | 1123877.5078
33 | 2605375.5748 | 1123823.9079 | 2605378.3607 | 1123824.0278
34 | 2605323.5327 | 1123905.5383 | 2605304.1454 | 1123923.5143
35 | 2605322.3451 | 1123819.0455 | 2605322.567 | 1123819.0841 | 2605330.0225 | 1123820.1764
36 | 2605379.8146 | 1123854.1138 | 2605379.7003 | 1123854.5019
37 | 2605346.5956 | 1123822.251 | 2605347.0312 | 1123814.2619
38 | 2605346.5956 | 1123822.251 | 2605338.8553 | 1123821.3698
39 | 2605346.5956 | 1123822.251 | 2605350.8828 | 1123822.5444
40 | 2605338.8553 | 1123821.3698 | 2605337.9695 | 1123821.2689
41 | 2605351.5487 | 1123822.5899 | 2605350.8828 | 1123822.5444
42 | 2605375.5748 | 1123823.9079 | 2605362.7235 | 1123823.3545 | 2605362.6456 | 1123823.3492
43 | 2605362.6456 | 1123823.3492 | 2605351.5487 | 1123822.5899
44 | 2605337.9695 | 1123821.2689 | 2605336.91 | 1123821.1483
45 | 2605330.0225 | 1123820.1764 | 2605335.7722 | 1123821.0188 | 2605336.91 | 1123821.1483
46 | 2605379.7003 | 1123854.5019 | 2605376.7484 | 1123864.5218
47 | 2605376.3507 | 1123865.8718 | 2605376.7484 | 1123864.5218
48 | 2605376.3507 | 1123865.8718 | 2605376.2087 | 1123866.354 | 2605376.2457 | 1123868.0549 | 2605376.2457 | 1123868.0549
49 | 2605384.6772 | 1123875.3849 | 2605387.1545 | 1123876.6045
50 | 2605384.6772 | 1123875.3849 | 2605381.2906 | 1123873.7176 | 2605381.2869 | 1123873.7144
51 | 2605381.2869 | 1123873.7144 | 2605378.679 | 1123871.4698 | 2605376.8073 | 1123869.4894 | 2605376.2457 | 1123868.0549

## bus_geodata
| x | y | coords
0 | 2605362.7911 | 1123929.8644
1 | 2605380.3413 | 1123923.8381
2 | 2605354.7933 | 1123943.2172
3 | 2605404.534 | 1123936.3909
4 | 2605418.0335 | 1123892.9038
5 | 2605377.641 | 1123956.1213
6 | 2605324.0682 | 1123759.5008
7 | 2605347.3408 | 1123781.1538
8 | 2605346.6035 | 1123750.9399
9 | 2605354.0723 | 1123781.3449
10 | 2605347.6916 | 1123789.3586
11 | 2605397.4534 | 1123782.5762
12 | 2605407.3382 | 1123799.093
13 | 2605377.4502 | 1123782.0085
14 | 2605391.1165 | 1123878.6623
15 | 2605415.1312 | 1123827.0246
16 | 2605406.6612 | 1123849.8728
17 | 2605388.3421 | 1123824.4575
18 | 2605255.7758 | 1123946.5887
19 | 2605295.8179 | 1123930.6487
20 | 2605292.1719 | 1123813.7997
21 | 2605270.2595 | 1123958.4294
22 | 2605319.1409 | 1123818.4885
23 | 2605379.8374 | 1123854.0364
24 | 2605323.5196 | 1124001.4171
25 | 2605361.8601 | 1123745.9311
26 | 2605367.849 | 1123781.7359
27 | 2605347.9981 | 1123796.5286
28 | 2605379.5009 | 1123797.721
29 | 2605388.9893 | 1123877.5078
30 | 2605378.3607 | 1123824.0278
31 | 2605304.1454 | 1123923.5143
32 | 2605322.3451 | 1123819.0455
33 | 2605327.3977 | 1123796.4304
34 | 2605379.8146 | 1123854.1138
35 | 2605347.0312 | 1123814.2619
36 | 2605346.5956 | 1123822.251
37 | 2605338.8553 | 1123821.3698
38 | 2605350.8828 | 1123822.5444
39 | 2605375.5748 | 1123823.9079
40 | 2605362.6456 | 1123823.3492
41 | 2605351.5487 | 1123822.5899
42 | 2605337.9695 | 1123821.2689
43 | 2605336.91 | 1123821.1483
44 | 2605330.0225 | 1123820.1764
45 | 2605379.7003 | 1123854.5019
46 | 2605376.7484 | 1123864.5218
47 | 2605376.3507 | 1123865.8718
48 | 2605387.1545 | 1123876.6045
49 | 2605384.6772 | 1123875.3849
50 | 2605381.2869 | 1123873.7144
51 | 2605376.2457 | 1123868.0549
52 | 2605323.5327 | 1123905.5383
53 | 2605406.6612 | 1123849.8728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1