## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6238-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6238-11_0_4_node_139 | 0.4 | n |  | TRUE
2 | bus_LV_6238-11_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6238-11_0_4_node_140 | 0.4 | n |  | TRUE
4 | bus_LV_6238-11_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6238-11_0_4_node_1 | 0.4 | n |  | TRUE
6 | bus_LV_6238-11_0_4_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_6238-11_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6238-11_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6238-11_0_4_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_6238-11_0_4_node_112 | 0.4 | n |  | TRUE
11 | bus_LV_6238-11_0_4_node_111 | 0.4 | n |  | TRUE
12 | bus_LV_6238-11_0_4_node_110 | 0.4 | n |  | TRUE
13 | bus_LV_6238-11_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6238-11_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6238-11_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6238-11_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6238-11_0_4_node_104 | 0.4 | n |  | TRUE
18 | bus_LV_6238-11_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6238-11_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6238-11_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6238-11_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6238-11_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_6238-11_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_6238-11_0_4_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_6238-11_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6238-11_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_6238-11_0_4_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_6238-11_0_4_node_105 | 0.4 | n |  | TRUE
29 | bus_LV_6238-11_0_4_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_6238-11_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_6238-11_0_4_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_6238-11_0_4_node_107 | 0.4 | n |  | TRUE
33 | bus_LV_6238-11_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_6238-11_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_6238-11_0_4_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_6238-11_0_4_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_6238-11_0_4_node_147 | 0.4 | n |  | TRUE
38 | bus_LV_6238-11_0_4_node_144 | 0.4 | n |  | TRUE
39 | bus_LV_6238-11_0_4_node_153 | 0.4 | n |  | TRUE
40 | bus_LV_6238-11_0_4_node_156 | 0.4 | n |  | TRUE
41 | bus_LV_6238-11_0_4_node_145 | 0.4 | n |  | TRUE
42 | bus_LV_6238-11_0_4_node_134 | 0.4 | n |  | TRUE
43 | bus_LV_6238-11_0_4_node_108 | 0.4 | n |  | TRUE
44 | bus_LV_6238-11_0_4_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_6238-11_0_4_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_6238-11_0_4_node_114 | 0.4 | n |  | TRUE
47 | bus_LV_6238-11_0_4_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_6238-11_0_4_node_116 | 0.4 | n |  | TRUE
49 | bus_LV_6238-11_0_4_node_117 | 0.4 | n |  | TRUE
50 | bus_LV_6238-11_0_4_node_118 | 0.4 | n |  | TRUE
51 | bus_LV_6238-11_0_4_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_6238-11_0_4_node_135 | 0.4 | n |  | TRUE
53 | bus_LV_6238-11_0_4_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_6238-11_0_4_node_141 | 0.4 | n |  | TRUE
55 | bus_LV_6238-11_0_4_node_136 | 0.4 | n |  | TRUE
56 | bus_LV_6238-11_0_4_node_123 | 0.4 | n |  | TRUE
57 | bus_LV_6238-11_0_4_node_120 | 0.4 | n |  | TRUE
58 | bus_LV_6238-11_0_4_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_6238-11_0_4_node_122 | 0.4 | n |  | TRUE
60 | bus_LV_6238-11_0_4_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_6238-11_0_4_node_126 | 0.4 | n |  | TRUE
62 | bus_LV_6238-11_0_4_node_130 | 0.4 | n |  | TRUE
63 | bus_LV_6238-11_0_4_node_128 | 0.4 | n |  | TRUE
64 | bus_LV_6238-11_0_4_node_127 | 0.4 | n |  | TRUE
65 | bus_LV_6238-11_0_4_node_129 | 0.4 | n |  | TRUE
66 | bus_LV_6238-11_0_4_node_131 | 0.4 | n |  | TRUE
67 | bus_LV_6238-11_0_4_node_132 | 0.4 | n |  | TRUE
68 | bus_LV_6238-11_0_4_node_133 | 0.4 | n |  | TRUE
69 | bus_LV_6238-11_0_4_node_148 | 0.4 | n |  | TRUE
70 | bus_LV_6238-11_0_4_node_149 | 0.4 | n |  | TRUE
71 | bus_LV_6238-11_0_4_node_137 | 0.4 | n |  | TRUE
72 | bus_LV_6238-11_0_4_node_138 | 0.4 | n |  | TRUE
73 | bus_LV_6238-11_0_4_node_143 | 0.4 | n |  | TRUE
74 | bus_LV_6238-11_0_4_node_142 | 0.4 | n |  | TRUE
75 | bus_LV_6238-11_0_4_node_151 | 0.4 | n |  | TRUE
76 | bus_LV_6238-11_0_4_node_150 | 0.4 | n |  | TRUE
77 | bus_LV_6238-11_0_4_node_146 | 0.4 | n |  | TRUE
78 | bus_LV_6238-11_0_4_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_6238-11_0_4_node_155 | 0.4 | n |  | TRUE
80 | bus_LV_6238-11_0_4_node_157 | 0.4 | n |  | TRUE
81 | bus_LV_6238-11_0_4_node_158 | 0.4 | n |  | TRUE
82 | bus_LV_6238-11_0_4_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_6238-11_0_4_node_160 | 0.4 | n |  | TRUE
84 | bus_LV_6238-11_0_4_node_161 | 0.4 | n |  | TRUE
85 | bus_LV_6238-11_0_4_node_162 | 0.4 | n |  | TRUE
86 | bus_LV_6238-11_0_4_node_163 | 0.4 | n |  | TRUE
87 | bus_LV_6238-11_0_4_node_164 | 0.4 | n |  | TRUE
88 | bus_LV_6238-11_0_4_node_165 | 0.4 | n |  | TRUE
89 | bus_MV_113_1_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6238-11_0_4_load_0 | 0 | 0.002089 | 0.00052354 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6238-11_0_4_load_139 | 1 | 0.0020546 | 0.00051493 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6238-11_0_4_load_5 | 2 | 0.0020014 | 0.00050159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6238-11_0_4_load_140 | 3 | 0.0023713 | 0.00059431 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6238-11_0_4_load_6 | 4 | 0.0015175 | 0.00038032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6238-11_0_4_load_1 | 5 | 0.0025539 | 0.00064007 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6238-11_0_4_load_3 | 7 | 0.0015689 | 0.00039319 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6238-11_0_4_load_4 | 8 | 0.0017727 | 0.00044427 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6238-11_0_4_load_152 | 9 | 0.0013307 | 0.00033349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6238-11_0_4_load_112 | 10 | 0.0021328 | 0.00053452 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6238-11_0_4_load_111 | 11 | 0.0019694 | 0.00049358 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6238-11_0_4_load_110 | 12 | 0.0027223 | 0.00068227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6238-11_0_4_load_7 | 13 | 0.0017274 | 0.00043293 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6238-11_0_4_load_12 | 15 | 0.0024476 | 0.00061341 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6238-11_0_4_load_9 | 16 | 0.003093 | 0.00077519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6238-11_0_4_load_104 | 17 | 0.0020799 | 0.00052128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6238-11_0_4_load_14 | 18 | 0.0022968 | 0.00057563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6238-11_0_4_load_10 | 19 | 0.0018951 | 0.00047496 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6238-11_0_4_load_22 | 20 | 0.0036643 | 0.00091836 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6238-11_0_4_load_24 | 21 | 0.0022478 | 0.00056335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6238-11_0_4_load_20 | 22 | 0.0019255 | 0.00048258 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6238-11_0_4_load_11 | 23 | 0.0027823 | 0.00069731 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6238-11_0_4_load_103 | 24 | 0.0024327 | 0.0006097 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6238-11_0_4_load_38 | 25 | 0.0031749 | 0.00079571 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6238-11_0_4_load_39 | 26 | 0.0037318 | 0.00093527 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6238-11_0_4_load_74 | 27 | 0.0031949 | 0.00080073 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6238-11_0_4_load_105 | 28 | 0.0023977 | 0.00060092 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6238-11_0_4_load_66 | 29 | 0.0041258 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6238-11_0_4_load_67 | 30 | 0.0049575 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6238-11_0_4_load_106 | 31 | 0.0025327 | 0.00063475 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6238-11_0_4_load_107 | 32 | 0.0027109 | 0.00067941 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6238-11_0_4_load_70 | 33 | 0.0028608 | 0.00071699 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6238-11_0_4_load_73 | 36 | 0.004973 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6238-11_0_4_load_147 | 37 | 0.0022562 | 0.00056546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6238-11_0_4_load_153 | 39 | 0.0047193 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6238-11_0_4_load_156 | 40 | 0.0019342 | 0.00048476 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6238-11_0_4_load_145 | 41 | 0.0031659 | 0.00079345 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6238-11_0_4_load_134 | 42 | 0.0055172 | 0.0013827 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6238-11_0_4_load_109 | 44 | 0.0022972 | 0.00057573 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6238-11_0_4_load_113 | 45 | 0.002224 | 0.0005574 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6238-11_0_4_load_114 | 46 | 0.0015519 | 0.00038894 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6238-11_0_4_load_115 | 47 | 0.0021396 | 0.00053624 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6238-11_0_4_load_116 | 48 | 0.0014415 | 0.00036127 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6238-11_0_4_load_117 | 49 | 0.0021623 | 0.00054192 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6238-11_0_4_load_119 | 51 | 0.0032002 | 0.00080204 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6238-11_0_4_load_135 | 52 | 0.0042973 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6238-11_0_4_load_125 | 53 | 0.0021284 | 0.00053343 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6238-11_0_4_load_141 | 54 | 0.0019959 | 0.00050021 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6238-11_0_4_load_136 | 55 | 0.0035494 | 0.00088957 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6238-11_0_4_load_123 | 56 | 0.0012415 | 0.00031114 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6238-11_0_4_load_120 | 57 | 0.0019804 | 0.00049634 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6238-11_0_4_load_121 | 58 | 0.00159 | 0.00039849 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6238-11_0_4_load_122 | 59 | 0.001506 | 0.00037743 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6238-11_0_4_load_124 | 60 | 0.001738 | 0.00043559 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6238-11_0_4_load_126 | 61 | 0.0018495 | 0.00046353 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6238-11_0_4_load_130 | 62 | 0.0014739 | 0.0003694 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6238-11_0_4_load_128 | 63 | 0.001546 | 0.00038748 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6238-11_0_4_load_127 | 64 | 0.0021003 | 0.00052638 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6238-11_0_4_load_131 | 66 | 0.0014673 | 0.00036775 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6238-11_0_4_load_132 | 67 | 0.001644 | 0.00041203 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6238-11_0_4_load_133 | 68 | 0.0081774 | 0.0020494 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6238-11_0_4_load_148 | 69 | 0.0038524 | 0.00096551 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6238-11_0_4_load_149 | 70 | 0.0029781 | 0.00074638 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6238-11_0_4_load_137 | 71 | 0.0015838 | 0.00039694 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6238-11_0_4_load_138 | 72 | 0.0015075 | 0.00037781 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6238-11_0_4_load_143 | 73 | 0.0039961 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6238-11_0_4_load_142 | 74 | 0.0058099 | 0.0014561 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6238-11_0_4_load_151 | 75 | 0.0029845 | 0.000748 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6238-11_0_4_load_150 | 76 | 0.0033203 | 0.00083214 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6238-11_0_4_load_146 | 77 | 0.0015049 | 0.00037717 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6238-11_0_4_load_154 | 78 | 0.008378 | 0.0020997 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6238-11_0_4_load_155 | 79 | 0.0014011 | 0.00035116 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6238-11_0_4_load_158 | 81 | 0.0027489 | 0.00068895 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6238-11_0_4_load_159 | 82 | 0.0029452 | 0.00073814 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6238-11_0_4_load_160 | 83 | 0.0018956 | 0.00047509 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6238-11_0_4_load_161 | 84 | 0.0027917 | 0.00069966 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6238-11_0_4_load_162 | 85 | 0.002786 | 0.00069824 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6238-11_0_4_load_163 | 86 | 0.0030282 | 0.00075893 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6238-11_0_4_load_164 | 87 | 0.0038379 | 0.00096188 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6238-11_0_4_load_165 | 88 | 0.0037927 | 0.00095054 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6238-11_0_4_line_0 |  | 0 | 1 | 0.09909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_6238-11_0_4_line_1 |  | 0 | 2 | 0.13033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6238-11_0_4_line_2 |  | 1 | 3 | 0.0038105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6238-11_0_4_line_3 |  | 2 | 4 | 0.094636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6238-11_0_4_line_4 |  | 3 | 73 | 0.13981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6238-11_0_4_line_5 |  | 3 | 72 | 0.15378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6238-11_0_4_line_6 |  | 4 | 13 | 0.0078085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6238-11_0_4_line_7 |  | 5 | 6 | 0.0095982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6238-11_0_4_line_8 |  | 6 | 7 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6238-11_0_4_line_9 |  | 6 | 8 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6238-11_0_4_line_10 |  | 7 | 9 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6238-11_0_4_line_11 |  | 8 | 10 | 0.041767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6238-11_0_4_line_12 |  | 9 | 11 | 0.019882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6238-11_0_4_line_13 |  | 10 | 12 | 0.012519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6238-11_0_4_line_14 |  | 11 | 17 | 0.0048964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6238-11_0_4_line_15 |  | 12 | 44 | 0.012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6238-11_0_4_line_16 |  | 13 | 14 | 0.021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6238-11_0_4_line_17 |  | 14 | 15 | 0.037043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6238-11_0_4_line_18 |  | 14 | 16 | 0.0047327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6238-11_0_4_line_19 |  | 15 | 18 | 0.020644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6238-11_0_4_line_20 |  | 16 | 19 | 0.038931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6238-11_0_4_line_21 |  | 17 | 24 | 0.059436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6238-11_0_4_line_22 |  | 18 | 21 | 0.12015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6238-11_0_4_line_23 |  | 19 | 23 | 0.015645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6238-11_0_4_line_24 |  | 20 | 21 | 0.035123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6238-11_0_4_line_25 |  | 20 | 22 | 0.048776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6238-11_0_4_line_26 |  | 21 | 24 | 0.005692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6238-11_0_4_line_27 |  | 25 | 26 | 0.075006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6238-11_0_4_line_28 |  | 26 | 27 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6238-11_0_4_line_29 |  | 27 | 28 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6238-11_0_4_line_30 |  | 28 | 43 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6238-11_0_4_line_31 |  | 29 | 30 | 0.026799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6238-11_0_4_line_32 |  | 30 | 31 | 0.035438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6238-11_0_4_line_33 |  | 31 | 32 | 0.024331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6238-11_0_4_line_34 |  | 32 | 43 | 0.090225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6238-11_0_4_line_35 |  | 33 | 34 | 0.033342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6238-11_0_4_line_36 |  | 34 | 35 | 0.07371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6238-11_0_4_line_37 |  | 34 | 36 | 0.037565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6238-11_0_4_line_38 |  | 35 | 37 | 0.015539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6238-11_0_4_line_39 |  | 35 | 38 | 0.094636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6238-11_0_4_line_40 |  | 36 | 39 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6238-11_0_4_line_41 |  | 37 | 40 | 0.026709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6238-11_0_4_line_42 |  | 38 | 41 | 0.08568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6238-11_0_4_line_43 |  | 39 | 42 | 0.0090913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6238-11_0_4_line_44 |  | 40 | 80 | 0.040638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6238-11_0_4_line_45 |  | 41 | 77 | 0.022356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6238-11_0_4_line_46 |  | 42 | 67 | 0.057238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6238-11_0_4_line_47 |  | 43 | 44 | 0.029122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6238-11_0_4_line_48 |  | 45 | 46 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6238-11_0_4_line_49 |  | 45 | 47 | 0.01549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6238-11_0_4_line_50 |  | 46 | 48 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6238-11_0_4_line_51 |  | 47 | 49 | 0.022905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6238-11_0_4_line_52 |  | 48 | 50 | 0.0042979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6238-11_0_4_line_53 |  | 49 | 51 | 0.021343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6238-11_0_4_line_54 |  | 50 | 52 | 0.007541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6238-11_0_4_line_55 |  | 50 | 53 | 0.01369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6238-11_0_4_line_56 |  | 51 | 54 | 0.01807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6238-11_0_4_line_57 |  | 52 | 55 | 0.0070064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6238-11_0_4_line_58 |  | 53 | 56 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6238-11_0_4_line_59 |  | 55 | 69 | 0.006217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6238-11_0_4_line_60 |  | 56 | 58 | 0.0029638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6238-11_0_4_line_61 |  | 57 | 58 | 0.0024082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6238-11_0_4_line_62 |  | 57 | 59 | 0.0056984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6238-11_0_4_line_63 |  | 59 | 60 | 0.0016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6238-11_0_4_line_64 |  | 60 | 61 | 0.0068745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6238-11_0_4_line_65 |  | 61 | 62 | 0.0011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6238-11_0_4_line_66 |  | 62 | 63 | 0.0095492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6238-11_0_4_line_67 |  | 63 | 64 | 0.0034438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6238-11_0_4_line_68 |  | 64 | 65 | 0.0051768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6238-11_0_4_line_69 |  | 65 | 66 | 0.037085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6238-11_0_4_line_70 |  | 65 | 67 | 0.014454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6238-11_0_4_line_71 |  | 66 | 68 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6238-11_0_4_line_72 |  | 69 | 70 | 0.012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6238-11_0_4_line_73 |  | 70 | 76 | 0.0041306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6238-11_0_4_line_74 |  | 71 | 72 | 0.079212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6238-11_0_4_line_75 |  | 73 | 74 | 0.037183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_6238-11_0_4_line_76 |  | 74 | 75 | 0.12235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6238-11_0_4_line_77 |  | 75 | 76 | 0.025804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6238-11_0_4_line_78 |  | 77 | 78 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6238-11_0_4_line_79 |  | 78 | 79 | 0.072954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6238-11_0_4_line_80 |  | 80 | 81 | 0.0094349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6238-11_0_4_line_81 |  | 80 | 82 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6238-11_0_4_line_82 |  | 81 | 83 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6238-11_0_4_line_83 |  | 82 | 84 | 0.021841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6238-11_0_4_line_84 |  | 83 | 85 | 0.020382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6238-11_0_4_line_85 |  | 84 | 86 | 0.019799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6238-11_0_4_line_86 |  | 86 | 87 | 0.0055104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6238-11_0_4_line_87 |  | 87 | 88 | 0.037327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6238-11_0_4_trafo_130 | 0.63 MVA 20/0.4 kV | 89 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2602582.4415 | 1121349.5369 | 2602556.9693 | 1121253.7769
1 | 2602556.9693 | 1121253.7769 | 2602508.3116 | 1121132.8725
2 | 2602583.7322 | 1121353.1221 | 2602582.4415 | 1121349.5369
3 | 2602508.3116 | 1121132.8725 | 2602493.1416 | 1121128.2864 | 2602483.0086 | 1121122.8019 | 2602465.901 | 1121121.9614 | 2602444.8659 | 1121125.0324 | 2602426.3311 | 1121125.0251 | 2602416.3387 | 1121127.7029
4 | 2602583.7322 | 1121353.1221 | 2602603.1359 | 1121491.5792
5 | 2602583.7322 | 1121353.1221 | 2602736.0994 | 1121373.9308
6 | 2602408.674 | 1121129.0235 | 2602412.6619 | 1121128.6883 | 2602416.3387 | 1121127.7029
7 | 2602443.558 | 1121313.1905 | 2602452.9017 | 1121310.995
8 | 2602443.558 | 1121313.1905 | 2602428.013 | 1121312.761
9 | 2602443.558 | 1121313.1905 | 2602436.6747 | 1121321.5919 | 2602422.157 | 1121326.7221 | 2602420.0617 | 1121327.359
10 | 2602428.013 | 1121312.761 | 2602410.1774 | 1121312.2682
11 | 2602420.0617 | 1121327.359 | 2602380.1 | 1121339.5069
12 | 2602410.1774 | 1121312.2682 | 2602407.6468 | 1121312.1982 | 2602390.3266 | 1121311.175
13 | 2602380.1 | 1121339.5069 | 2602368.1222 | 1121343.148
14 | 2602385.4388 | 1121310.8862 | 2602390.3266 | 1121311.175
15 | 2602356.5209 | 1121346.6747 | 2602368.1222 | 1121343.148
16 | 2602387.7094 | 1121129.5124 | 2602394.3656 | 1121130.2264 | 2602408.674 | 1121129.0235
17 | 2602387.7094 | 1121129.5124 | 2602385.0694 | 1121155.0461 | 2602384.065 | 1121166.3752
18 | 2602387.7094 | 1121129.5124 | 2602383.0553 | 1121128.653
19 | 2602382.2419 | 1121186.9384 | 2602384.065 | 1121166.3752
20 | 2602383.0553 | 1121128.653 | 2602369.7929 | 1121126.204 | 2602344.5797 | 1121122.7817 | 2602344.5797 | 1121122.7817
21 | 2602385.4388 | 1121310.8862 | 2602370.5252 | 1121310.0052 | 2602343.2302 | 1121306.7266 | 2602329.8255 | 1121296.2635
22 | 2602325.3386 | 1121292.7612 | 2602382.2419 | 1121186.9384
23 | 2602344.5797 | 1121122.7817 | 2602329.6984 | 1121117.9521
24 | 2602295.4124 | 1121274.5368 | 2602300.6577 | 1121277.3297 | 2602318.124 | 1121287.1299 | 2602325.3386 | 1121292.7612
25 | 2602252.783 | 1121250.8499 | 2602262.4473 | 1121256.6279 | 2602284.2785 | 1121268.6083 | 2602295.4124 | 1121274.5368
26 | 2602329.8255 | 1121296.2635 | 2602325.3386 | 1121292.7612
27 | 2602234.1552 | 1121294.5197 | 2602256.6555 | 1121318.6672 | 2602277.975 | 1121337.4174 | 2602291.179 | 1121340.7122
28 | 2602306.4964 | 1121344.5343 | 2602291.179 | 1121340.7122
29 | 2602306.4964 | 1121344.5343 | 2602319.513 | 1121347.7822 | 2602319.513 | 1121347.7822
30 | 2602328.6577 | 1121355.1448 | 2602319.513 | 1121347.7822
31 | 2602168.321 | 1121336.6889 | 2602171.9512 | 1121342.5155 | 2602185.1953 | 1121357.4141
32 | 2602185.1953 | 1121357.4141 | 2602188.8744 | 1121361.5529 | 2602210.0276 | 1121371.065 | 2602216.717 | 1121371.5419
33 | 2602216.717 | 1121371.5419 | 2602240.9863 | 1121373.2721
34 | 2602328.6577 | 1121355.1448 | 2602275.8956 | 1121371.1776 | 2602250.3032 | 1121373.9364 | 2602240.9863 | 1121373.2721
35 | 2602212.5398 | 1121464.2559 | 2602190.6662 | 1121442.7933 | 2602189.4226 | 1121440.3999
36 | 2602212.5398 | 1121464.2559 | 2602230.4064 | 1121475.1454 | 2602270.0697 | 1121484.5754 | 2602282.279 | 1121484.4464
37 | 2602212.5398 | 1121464.2559 | 2602223.9054 | 1121451.1647 | 2602242.4306 | 1121453.6947 | 2602243.9605 | 1121453.7565
38 | 2602282.279 | 1121484.4464 | 2602267.7077 | 1121489.8437 | 2602267.7077 | 1121489.8437
39 | 2602282.279 | 1121484.4464 | 2602330.8618 | 1121483.953 | 2602368.168 | 1121484.9453 | 2602376.9752 | 1121486.8496
40 | 2602243.9605 | 1121453.7565 | 2602264.6522 | 1121454.592
41 | 2602267.7077 | 1121489.8437 | 2602241.0003 | 1121490.0897
42 | 2602376.9752 | 1121486.8496 | 2602343.8833 | 1121498.0425 | 2602339.1152 | 1121502.5207 | 2602341.3572 | 1121508.958 | 2602369.9699 | 1121533.025
43 | 2602273.6598 | 1121454.1162 | 2602270.4893 | 1121454.8276 | 2602264.6522 | 1121454.592
44 | 2602202.0394 | 1121495.6898 | 2602209.6151 | 1121490.3787 | 2602241.0003 | 1121490.0897
45 | 2602369.9699 | 1121533.025 | 2602369.9699 | 1121533.025 | 2602369.6901 | 1121538.6166 | 2602357.8178 | 1121550.4422
46 | 2602273.6598 | 1121454.1162 | 2602290.4208 | 1121450.355 | 2602308.5499 | 1121439.2117 | 2602321.1633 | 1121431.2792 | 2602324.8006 | 1121429.9278
47 | 2602328.6577 | 1121355.1448 | 2602356.5209 | 1121346.6747
48 | 2602411.9466 | 1121403.5477 | 2602422.5481 | 1121389.4292
49 | 2602436.1034 | 1121382.1546 | 2602436.1034 | 1121382.1546 | 2602423.1896 | 1121388.5749 | 2602422.5481 | 1121389.4292
50 | 2602411.9466 | 1121403.5477 | 2602405.367 | 1121412.3101
51 | 2602458.6321 | 1121378.0175 | 2602436.1034 | 1121382.1546
52 | 2602402.7863 | 1121415.747 | 2602405.367 | 1121412.3101
53 | 2602458.6321 | 1121378.0175 | 2602479.624 | 1121374.1626
54 | 2602402.7863 | 1121415.747 | 2602410.2402 | 1121414.6042
55 | 2602402.7863 | 1121415.747 | 2602389.2539 | 1121417.8208
56 | 2602479.624 | 1121374.1626 | 2602490.8303 | 1121372.1047 | 2602497.178 | 1121370.0363
57 | 2602410.2402 | 1121414.6042 | 2602417.1656 | 1121413.5424
58 | 2602376.8933 | 1121419.7151 | 2602389.2539 | 1121417.8208
59 | 2602423.3108 | 1121412.6003 | 2602417.1656 | 1121413.5424
60 | 2602376.8933 | 1121419.7151 | 2602373.9637 | 1121420.164
61 | 2602371.5833 | 1121420.5288 | 2602373.9637 | 1121420.164
62 | 2602365.9506 | 1121421.392 | 2602371.5833 | 1121420.5288
63 | 2602365.9506 | 1121421.392 | 2602364.7984 | 1121421.5686 | 2602364.3477 | 1121421.6253
64 | 2602364.3477 | 1121421.6253 | 2602357.5269 | 1121422.4828
65 | 2602356.3778 | 1121422.6272 | 2602357.5269 | 1121422.4828
66 | 2602346.9031 | 1121423.8183 | 2602356.3778 | 1121422.6272
67 | 2602346.9031 | 1121423.8183 | 2602343.4862 | 1121424.2479
68 | 2602338.3499 | 1121424.8936 | 2602343.4862 | 1121424.2479
69 | 2602338.3499 | 1121424.8936 | 2602327.3218 | 1121421.3878 | 2602311.1569 | 1121418.347 | 2602302.2979 | 1121416.4272
70 | 2602338.3499 | 1121424.8936 | 2602324.8006 | 1121429.9278
71 | 2602287.9817 | 1121413.3249 | 2602302.2979 | 1121416.4272
72 | 2602423.3108 | 1121412.6003 | 2602435.3724 | 1121410.7511
73 | 2602435.3724 | 1121410.7511 | 2602439.4553 | 1121410.1251
74 | 2602769.8675 | 1121302.2774 | 2602736.0994 | 1121373.9308
75 | 2602567.3046 | 1121481.8449 | 2602567.3046 | 1121481.8449 | 2602600.4886 | 1121491.3856 | 2602603.1359 | 1121491.5792
76 | 2602464.0749 | 1121416.163 | 2602567.3046 | 1121481.8449
77 | 2602439.4553 | 1121410.1251 | 2602439.4553 | 1121410.1251 | 2602456.4904 | 1121416.5572 | 2602464.0749 | 1121416.163
78 | 2602357.8178 | 1121550.4422 | 2602345.5481 | 1121562.6636 | 2602344.5119 | 1121562.9405
79 | 2602366.1995 | 1121598.7559 | 2602365.4563 | 1121598.4775 | 2602341.6043 | 1121590.3535 | 2602329.8206 | 1121586.9918 | 2602327.8595 | 1121572.1728 | 2602334.0397 | 1121565.7386 | 2602344.5119 | 1121562.9405
80 | 2602202.0394 | 1121495.6898 | 2602210.1547 | 1121500.502
81 | 2602202.0394 | 1121495.6898 | 2602192.4459 | 1121492.4569
82 | 2602228.0983 | 1121509.0287 | 2602219.9908 | 1121506.3347 | 2602210.1547 | 1121500.502
83 | 2602192.4459 | 1121492.4569 | 2602182.9526 | 1121489.2577 | 2602171.572 | 1121486.0528
84 | 2602247.7769 | 1121514.1706 | 2602237.674 | 1121512.2105 | 2602228.0983 | 1121509.0287
85 | 2602171.572 | 1121486.0528 | 2602163.0325 | 1121483.6481 | 2602152.1047 | 1121483.6443
86 | 2602152.1047 | 1121483.6443 | 2602151.5251 | 1121483.6441 | 2602147.8226 | 1121486.9006
87 | 2602147.8226 | 1121486.9006 | 2602146.7495 | 1121487.8445 | 2602147.8736 | 1121493.4365 | 2602153.7636 | 1121500.9867 | 2602166.3878 | 1121505.1931 | 2602173.2364 | 1121507.7545

## bus_geodata
| x | y | coords
0 | 2602556.9693 | 1121253.7769
1 | 2602582.4415 | 1121349.5369
2 | 2602508.3116 | 1121132.8725
3 | 2602583.7322 | 1121353.1221
4 | 2602416.3387 | 1121127.7029
5 | 2602452.9017 | 1121310.995
6 | 2602443.558 | 1121313.1905
7 | 2602428.013 | 1121312.761
8 | 2602420.0617 | 1121327.359
9 | 2602410.1774 | 1121312.2682
10 | 2602380.1 | 1121339.5069
11 | 2602390.3266 | 1121311.175
12 | 2602368.1222 | 1121343.148
13 | 2602408.674 | 1121129.0235
14 | 2602387.7094 | 1121129.5124
15 | 2602384.065 | 1121166.3752
16 | 2602383.0553 | 1121128.653
17 | 2602385.4388 | 1121310.8862
18 | 2602382.2419 | 1121186.9384
19 | 2602344.5797 | 1121122.7817
20 | 2602295.4124 | 1121274.5368
21 | 2602325.3386 | 1121292.7612
22 | 2602252.783 | 1121250.8499
23 | 2602329.6984 | 1121117.9521
24 | 2602329.8255 | 1121296.2635
25 | 2602234.1552 | 1121294.5197
26 | 2602291.179 | 1121340.7122
27 | 2602306.4964 | 1121344.5343
28 | 2602319.513 | 1121347.7822
29 | 2602168.321 | 1121336.6889
30 | 2602185.1953 | 1121357.4141
31 | 2602216.717 | 1121371.5419
32 | 2602240.9863 | 1121373.2721
33 | 2602189.4226 | 1121440.3999
34 | 2602212.5398 | 1121464.2559
35 | 2602282.279 | 1121484.4464
36 | 2602243.9605 | 1121453.7565
37 | 2602267.7077 | 1121489.8437
38 | 2602376.9752 | 1121486.8496
39 | 2602264.6522 | 1121454.592
40 | 2602241.0003 | 1121490.0897
41 | 2602369.9699 | 1121533.025
42 | 2602273.6598 | 1121454.1162
43 | 2602328.6577 | 1121355.1448
44 | 2602356.5209 | 1121346.6747
45 | 2602422.5481 | 1121389.4292
46 | 2602411.9466 | 1121403.5477
47 | 2602436.1034 | 1121382.1546
48 | 2602405.367 | 1121412.3101
49 | 2602458.6321 | 1121378.0175
50 | 2602402.7863 | 1121415.747
51 | 2602479.624 | 1121374.1626
52 | 2602410.2402 | 1121414.6042
53 | 2602389.2539 | 1121417.8208
54 | 2602497.178 | 1121370.0363
55 | 2602417.1656 | 1121413.5424
56 | 2602376.8933 | 1121419.7151
57 | 2602371.5833 | 1121420.5288
58 | 2602373.9637 | 1121420.164
59 | 2602365.9506 | 1121421.392
60 | 2602364.3477 | 1121421.6253
61 | 2602357.5269 | 1121422.4828
62 | 2602356.3778 | 1121422.6272
63 | 2602346.9031 | 1121423.8183
64 | 2602343.4862 | 1121424.2479
65 | 2602338.3499 | 1121424.8936
66 | 2602302.2979 | 1121416.4272
67 | 2602324.8006 | 1121429.9278
68 | 2602287.9817 | 1121413.3249
69 | 2602423.3108 | 1121412.6003
70 | 2602435.3724 | 1121410.7511
71 | 2602769.8675 | 1121302.2774
72 | 2602736.0994 | 1121373.9308
73 | 2602603.1359 | 1121491.5792
74 | 2602567.3046 | 1121481.8449
75 | 2602464.0749 | 1121416.163
76 | 2602439.4553 | 1121410.1251
77 | 2602357.8178 | 1121550.4422
78 | 2602344.5119 | 1121562.9405
79 | 2602366.1995 | 1121598.7559
80 | 2602202.0394 | 1121495.6898
81 | 2602210.1547 | 1121500.502
82 | 2602192.4459 | 1121492.4569
83 | 2602228.0983 | 1121509.0287
84 | 2602171.572 | 1121486.0528
85 | 2602247.7769 | 1121514.1706
86 | 2602152.1047 | 1121483.6443
87 | 2602147.8227 | 1121486.9006
88 | 2602173.2364 | 1121507.7545
89 | 2602356.3778 | 1121422.6272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1