## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6238-12_1_3_node_32 | 0.4 | n |  | TRUE
1 | bus_LV_6238-12_1_3_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_6238-12_1_3_node_34 | 0.4 | n |  | TRUE
3 | bus_LV_6238-12_1_3_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_6238-12_1_3_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_6238-12_1_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_6238-12_1_3_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_6238-12_1_3_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_6238-12_1_3_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_6238-12_1_3_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_6238-12_1_3_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_6238-12_1_3_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_6238-12_1_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_6238-12_1_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_6238-12_1_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_6238-12_1_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_6238-12_1_3_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6238-12_1_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_6238-12_1_3_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_6238-12_1_3_node_102 | 0.4 | n |  | TRUE
20 | bus_LV_6238-12_1_3_node_88 | 0.4 | n |  | TRUE
21 | bus_LV_6238-12_1_3_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_6238-12_1_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_6238-12_1_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_6238-12_1_3_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_6238-12_1_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_6238-12_1_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_6238-12_1_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_6238-12_1_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_6238-12_1_3_node_105 | 0.4 | n |  | TRUE
30 | bus_LV_6238-12_1_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_6238-12_1_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_6238-12_1_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_6238-12_1_3_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_6238-12_1_3_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_6238-12_1_3_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6238-12_1_3_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_6238-12_1_3_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_6238-12_1_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_6238-12_1_3_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_6238-12_1_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_6238-12_1_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_6238-12_1_3_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_6238-12_1_3_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_6238-12_1_3_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_6238-12_1_3_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_6238-12_1_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_6238-12_1_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_6238-12_1_3_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_6238-12_1_3_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_6238-12_1_3_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_6238-12_1_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_6238-12_1_3_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_6238-12_1_3_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_6238-12_1_3_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_6238-12_1_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_6238-12_1_3_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_6238-12_1_3_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_6238-12_1_3_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_6238-12_1_3_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_6238-12_1_3_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_6238-12_1_3_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_6238-12_1_3_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_6238-12_1_3_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_6238-12_1_3_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_6238-12_1_3_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_6238-12_1_3_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_6238-12_1_3_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_6238-12_1_3_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_6238-12_1_3_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_6238-12_1_3_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_6238-12_1_3_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_6238-12_1_3_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_6238-12_1_3_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_6238-12_1_3_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_6238-12_1_3_node_100 | 0.4 | n |  | TRUE
76 | bus_LV_6238-12_1_3_node_101 | 0.4 | n |  | TRUE
77 | bus_LV_6238-12_1_3_node_115 | 0.4 | n |  | TRUE
78 | bus_LV_6238-12_1_3_node_104 | 0.4 | n |  | TRUE
79 | bus_LV_6238-12_1_3_node_106 | 0.4 | n |  | TRUE
80 | bus_LV_6238-12_1_3_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_6238-12_1_3_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_6238-12_1_3_node_109 | 0.4 | n |  | TRUE
83 | bus_LV_6238-12_1_3_node_113 | 0.4 | n |  | TRUE
84 | bus_LV_6238-12_1_3_node_114 | 0.4 | n |  | TRUE
85 | bus_LV_6238-12_1_3_node_116 | 0.4 | n |  | TRUE
86 | bus_LV_6238-12_1_3_node_117 | 0.4 | n |  | TRUE
87 | bus_LV_6238-12_1_3_node_118 | 0.4 | n |  | TRUE
88 | bus_LV_6238-12_1_3_node_124 | 0.4 | n |  | TRUE
89 | bus_LV_6238-12_1_3_node_125 | 0.4 | n |  | TRUE
90 | bus_MV_113_1_node_222 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6238-12_1_3_load_32 | 0 | 0.0010005 | 0.00025074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6238-12_1_3_load_34 | 2 | 0.0014235 | 0.00035676 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6238-12_1_3_load_37 | 3 | 0.0026081 | 0.00065365 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6238-12_1_3_load_35 | 4 | 0.0029592 | 0.00074165 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6238-12_1_3_load_38 | 6 | 0.0022174 | 0.00055572 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6238-12_1_3_load_39 | 7 | 0.0023372 | 0.00058576 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6238-12_1_3_load_40 | 8 | 0.0019489 | 0.00048844 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6238-12_1_3_load_42 | 10 | 0.0017416 | 0.00043648 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6238-12_1_3_load_110 | 11 | 0.001816 | 0.00045512 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6238-12_1_3_load_43 | 12 | 0.001248 | 0.00031278 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6238-12_1_3_load_44 | 13 | 0.0016136 | 0.0004044 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6238-12_1_3_load_46 | 14 | 0.0019211 | 0.00048147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6238-12_1_3_load_48 | 17 | 0.0015049 | 0.00037717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6238-12_1_3_load_54 | 18 | 0.0010175 | 0.000255 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6238-12_1_3_load_102 | 19 | 0.0023199 | 0.00058142 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6238-12_1_3_load_49 | 21 | 0.0011403 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6238-12_1_3_load_50 | 22 | 0.0026011 | 0.0006519 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6238-12_1_3_load_51 | 23 | 0.0016238 | 0.00040696 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6238-12_1_3_load_111 | 24 | 0.0015227 | 0.00038163 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6238-12_1_3_load_53 | 26 | 0.0027801 | 0.00069676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6238-12_1_3_load_55 | 27 | 0.0016864 | 0.00042265 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6238-12_1_3_load_56 | 28 | 0.0019254 | 0.00048254 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6238-12_1_3_load_105 | 29 | 0.0030858 | 0.00077339 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6238-12_1_3_load_61 | 30 | 0.0010486 | 0.0002628 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6238-12_1_3_load_57 | 31 | 0.0025141 | 0.0006301 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6238-12_1_3_load_62 | 32 | 0.0080279 | 0.002012 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6238-12_1_3_load_60 | 35 | 0.0011285 | 0.00028282 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6238-12_1_3_load_66 | 37 | 0.0036513 | 0.00091509 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6238-12_1_3_load_63 | 38 | 0.0011162 | 0.00027973 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6238-12_1_3_load_79 | 41 | 0.0029154 | 0.00073068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6238-12_1_3_load_67 | 42 | 0.0045503 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6238-12_1_3_load_68 | 43 | 0.012579 | 0.0031527 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6238-12_1_3_load_69 | 44 | 0.0044462 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6238-12_1_3_load_70 | 45 | 0.0047495 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6238-12_1_3_load_72 | 46 | 0.0056548 | 0.0014172 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6238-12_1_3_load_73 | 47 | 0.0096392 | 0.0024158 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6238-12_1_3_load_74 | 48 | 0.0028003 | 0.00070182 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6238-12_1_3_load_75 | 49 | 0.0048716 | 0.0012209 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6238-12_1_3_load_76 | 50 | 0.0070554 | 0.0017683 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6238-12_1_3_load_77 | 51 | 0.0024988 | 0.00062625 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6238-12_1_3_load_78 | 52 | 0.0018267 | 0.00045781 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6238-12_1_3_load_80 | 53 | 0.0015442 | 0.00038701 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6238-12_1_3_load_81 | 54 | 0.0025531 | 0.00063988 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6238-12_1_3_load_82 | 55 | 0.0024714 | 0.00061938 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6238-12_1_3_load_83 | 56 | 0.0019564 | 0.00049033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6238-12_1_3_load_84 | 57 | 0.0021699 | 0.00054382 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6238-12_1_3_load_85 | 58 | 0.0035498 | 0.00088965 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6238-12_1_3_load_86 | 59 | 0.0017687 | 0.00044327 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6238-12_1_3_load_87 | 60 | 0.003286 | 0.00082354 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6238-12_1_3_load_89 | 61 | 0.0019347 | 0.00048489 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6238-12_1_3_load_90 | 62 | 0.0030887 | 0.00077411 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6238-12_1_3_load_92 | 64 | 0.0022337 | 0.00055981 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6238-12_1_3_load_93 | 65 | 0.0063605 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6238-12_1_3_load_94 | 67 | 0.0031162 | 0.00078099 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6238-12_1_3_load_95 | 68 | 0.0025134 | 0.00062991 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6238-12_1_3_load_96 | 69 | 0.0036772 | 0.0009216 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6238-12_1_3_load_97 | 70 | 0.0030657 | 0.00076833 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6238-12_1_3_load_98 | 71 | 0.012872 | 0.0032259 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6238-12_1_3_load_103 | 72 | 0.0028587 | 0.00071646 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6238-12_1_3_load_108 | 73 | 0.0010727 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6238-12_1_3_load_99 | 74 | 0.0037749 | 0.00094608 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6238-12_1_3_load_100 | 75 | 0.0031484 | 0.00078905 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6238-12_1_3_load_101 | 76 | 0.0035747 | 0.00089591 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6238-12_1_3_load_115 | 77 | 0.0043623 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6238-12_1_3_load_104 | 78 | 0.0032815 | 0.00082241 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6238-12_1_3_load_106 | 79 | 0.0027893 | 0.00069907 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6238-12_1_3_load_107 | 80 | 0.0011039 | 0.00027667 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6238-12_1_3_load_123 | 81 | 0.0031379 | 0.00078642 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6238-12_1_3_load_109 | 82 | 0.0013232 | 0.00033163 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6238-12_1_3_load_114 | 84 | 0.0039359 | 0.00098644 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6238-12_1_3_load_116 | 85 | 0.005477 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6238-12_1_3_load_117 | 86 | 0.0012788 | 0.00032049 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6238-12_1_3_load_118 | 87 | 0.001211 | 0.00030351 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6238-12_1_3_load_124 | 88 | 0.0025179 | 0.00063104 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6238-12_1_3_load_125 | 89 | 0.0015768 | 0.00039518 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6238-12_1_3_line_0 |  | 0 | 1 | 0.02886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6238-12_1_3_line_1 |  | 1 | 2 | 0.054555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6238-12_1_3_line_2 |  | 2 | 3 | 0.044675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6238-12_1_3_line_3 |  | 3 | 6 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6238-12_1_3_line_4 |  | 3 | 5 | 0.057037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6238-12_1_3_line_5 |  | 4 | 5 | 0.00048298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6238-12_1_3_line_6 |  | 6 | 7 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6238-12_1_3_line_7 |  | 7 | 8 | 0.02132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6238-12_1_3_line_8 |  | 8 | 9 | 0.01192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6238-12_1_3_line_9 |  | 9 | 10 | 0.029028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6238-12_1_3_line_10 |  | 10 | 11 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6238-12_1_3_line_11 |  | 11 | 24 | 0.032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6238-12_1_3_line_12 |  | 12 | 13 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6238-12_1_3_line_13 |  | 13 | 14 | 0.018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6238-12_1_3_line_14 |  | 14 | 18 | 0.026027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6238-12_1_3_line_15 |  | 15 | 16 | 0.002715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6238-12_1_3_line_16 |  | 15 | 17 | 0.068488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6238-12_1_3_line_17 |  | 16 | 19 | 0.057036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6238-12_1_3_line_18 |  | 17 | 20 | 0.025806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6238-12_1_3_line_19 |  | 18 | 30 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6238-12_1_3_line_20 |  | 19 | 78 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6238-12_1_3_line_21 |  | 20 | 61 | 0.033036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6238-12_1_3_line_22 |  | 20 | 57 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6238-12_1_3_line_23 |  | 20 | 60 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6238-12_1_3_line_24 |  | 21 | 22 | 0.031852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6238-12_1_3_line_25 |  | 21 | 23 | 0.060831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6238-12_1_3_line_26 |  | 21 | 24 | 0.11256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6238-12_1_3_line_27 |  | 22 | 25 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6238-12_1_3_line_28 |  | 23 | 26 | 0.024351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6238-12_1_3_line_29 |  | 25 | 27 | 0.0050234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6238-12_1_3_line_30 |  | 25 | 28 | 0.058003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6238-12_1_3_line_31 |  | 26 | 29 | 0.017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6238-12_1_3_line_32 |  | 27 | 31 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6238-12_1_3_line_33 |  | 28 | 32 | 0.036644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6238-12_1_3_line_34 |  | 29 | 79 | 0.007766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6238-12_1_3_line_35 |  | 30 | 36 | 0.049272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6238-12_1_3_line_36 |  | 31 | 33 | 0.05139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6238-12_1_3_line_37 |  | 33 | 34 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6238-12_1_3_line_38 |  | 33 | 35 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6238-12_1_3_line_39 |  | 34 | 36 | 0.070891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6238-12_1_3_line_40 |  | 34 | 37 | 0.010781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6238-12_1_3_line_41 |  | 35 | 38 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6238-12_1_3_line_42 |  | 36 | 39 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6238-12_1_3_line_43 |  | 37 | 42 | 0.017242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6238-12_1_3_line_44 |  | 39 | 40 | 0.00543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6238-12_1_3_line_45 |  | 39 | 41 | 0.029861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6238-12_1_3_line_46 |  | 40 | 47 | 0.040281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6238-12_1_3_line_47 |  | 40 | 44 | 0.036074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6238-12_1_3_line_48 |  | 41 | 51 | 0.0079524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6238-12_1_3_line_49 |  | 42 | 43 | 0.066076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6238-12_1_3_line_50 |  | 44 | 45 | 0.031929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6238-12_1_3_line_51 |  | 45 | 46 | 0.0060036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6238-12_1_3_line_52 |  | 47 | 48 | 0.033476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6238-12_1_3_line_53 |  | 48 | 49 | 0.0019739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6238-12_1_3_line_54 |  | 49 | 50 | 0.012653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6238-12_1_3_line_55 |  | 51 | 52 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6238-12_1_3_line_56 |  | 52 | 53 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6238-12_1_3_line_57 |  | 53 | 54 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6238-12_1_3_line_58 |  | 54 | 55 | 0.0033346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6238-12_1_3_line_59 |  | 55 | 56 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6238-12_1_3_line_60 |  | 56 | 57 | 0.042061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_6238-12_1_3_line_61 |  | 58 | 59 | 0.022907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6238-12_1_3_line_62 |  | 59 | 60 | 0.034088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6238-12_1_3_line_63 |  | 61 | 62 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6238-12_1_3_line_64 |  | 62 | 63 | 0.095779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6238-12_1_3_line_65 |  | 63 | 64 | 0.10675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6238-12_1_3_line_66 |  | 63 | 65 | 0.11796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6238-12_1_3_line_67 |  | 65 | 66 | 0.0051686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6238-12_1_3_line_68 |  | 66 | 83 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6238-12_1_3_line_69 |  | 66 | 84 | 0.027597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6238-12_1_3_line_70 |  | 67 | 68 | 0.020888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6238-12_1_3_line_71 |  | 67 | 69 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6238-12_1_3_line_72 |  | 68 | 70 | 0.0081252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6238-12_1_3_line_73 |  | 69 | 71 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6238-12_1_3_line_74 |  | 70 | 72 | 0.031883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6238-12_1_3_line_75 |  | 71 | 73 | 0.079886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6238-12_1_3_line_76 |  | 72 | 78 | 0.0095293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6238-12_1_3_line_77 |  | 73 | 82 | 0.021503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6238-12_1_3_line_78 |  | 74 | 75 | 0.028115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6238-12_1_3_line_79 |  | 75 | 76 | 0.0019526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6238-12_1_3_line_80 |  | 76 | 77 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6238-12_1_3_line_81 |  | 77 | 83 | 0.054923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6238-12_1_3_line_82 |  | 80 | 81 | 0.069511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6238-12_1_3_line_83 |  | 81 | 88 | 0.045847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6238-12_1_3_line_84 |  | 81 | 82 | 0.00024226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6238-12_1_3_line_85 |  | 83 | 85 | 0.033776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6238-12_1_3_line_86 |  | 85 | 86 | 0.06738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6238-12_1_3_line_87 |  | 86 | 87 | 0.039727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6238-12_1_3_line_88 |  | 88 | 89 | 0.0081797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6238-12_1_3_trafo_45 | 0.63 MVA 20/0.4 kV | 90 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2603504.0043 | 1121723.2885 | 2603499.4775 | 1121722.6634 | 2603490.7262 | 1121718.4453 | 2603480.0633 | 1121712.5253 | 2603478.1918 | 1121711.0563
1 | 2603504.0043 | 1121723.2885 | 2603551.4202 | 1121750.5067
2 | 2603551.4202 | 1121750.5067 | 2603587.55 | 1121724.2288
3 | 2603599.9791 | 1121729.3948 | 2603591.1221 | 1121726.6291 | 2603587.55 | 1121724.2288
4 | 2603587.55 | 1121724.2288 | 2603581.8938 | 1121667.4726
5 | 2603581.8938 | 1121667.4726 | 2603581.4127 | 1121667.5153
6 | 2603599.9791 | 1121729.3948 | 2603613.3067 | 1121733.5565 | 2603620.646 | 1121733.5608
7 | 2603620.646 | 1121733.5608 | 2603641.9661 | 1121733.5734 | 2603641.9661 | 1121733.5734
8 | 2603649.7581 | 1121742.5935 | 2603641.9661 | 1121733.5734
9 | 2603649.7581 | 1121742.5935 | 2603673.8305 | 1121752.1124 | 2603676.9476 | 1121752.5073
10 | 2603676.9476 | 1121752.5073 | 2603691.3749 | 1121754.3351 | 2603697.9748 | 1121755.1599
11 | 2603697.9748 | 1121755.1599 | 2603707.7317 | 1121756.3793 | 2603726.122 | 1121762.6823 | 2603729.3348 | 1121762.4706
12 | 2603778.7532 | 1121952.5562 | 2603796.314 | 1121951.7644
13 | 2603796.314 | 1121951.7644 | 2603814.9984 | 1121950.9219
14 | 2603814.9984 | 1121950.9219 | 2603819.9578 | 1121950.6983 | 2603840.8434 | 1121953.4224
15 | 2603687.2631 | 1121949.6948 | 2603689.9087 | 1121949.0516
16 | 2603689.9087 | 1121949.0516 | 2603723.8272 | 1121961.1001 | 2603739.9033 | 1121989.3383
17 | 2603687.2631 | 1121949.6948 | 2603682.2379 | 1121944.4892 | 2603672.0968 | 1121943.7495 | 2603643.3336 | 1121938.3743 | 2603633.7139 | 1121934.4969
18 | 2603752.6706 | 1122011.7645 | 2603739.9033 | 1121989.3383
19 | 2603840.8434 | 1121953.4224 | 2603851.7293 | 1121954.8423 | 2603856.1547 | 1121957.5816
20 | 2603633.7139 | 1121934.4969 | 2603626.5405 | 1121931.6055 | 2603621.513 | 1121929.6232
21 | 2603752.6706 | 1122011.7645 | 2603720.8287 | 1122020.566
22 | 2603752.6706 | 1122011.7645 | 2603767.3602 | 1122008.5929
23 | 2603752.6706 | 1122011.7645 | 2603756.0748 | 1122024.4034
24 | 2603748.8889 | 1121873.3176 | 2603748.8911 | 1121873.3168 | 2603763.8869 | 1121868.0901 | 2603779.6603 | 1121865.5987
25 | 2603748.8889 | 1121873.3176 | 2603728.4185 | 1121880.4523 | 2603710.1938 | 1121881.4307 | 2603690.4712 | 1121885.5542 | 2603689.74 | 1121885.3731
26 | 2603748.8889 | 1121873.3176 | 2603729.3348 | 1121762.4706
27 | 2603815.256 | 1121871.679 | 2603805.4796 | 1121867.2819 | 2603785.761 | 1121864.6351 | 2603779.6603 | 1121865.5987
28 | 2603666.1072 | 1121879.5013 | 2603671.0855 | 1121880.7514 | 2603689.74 | 1121885.3731
29 | 2603815.256 | 1121871.679 | 2603819.1275 | 1121874.8798
30 | 2603815.256 | 1121871.679 | 2603818.1805 | 1121869.1795 | 2603827.7727 | 1121872.098 | 2603834.4572 | 1121875.3482 | 2603870.6355 | 1121881.4981
31 | 2603666.1072 | 1121879.5013 | 2603649.145 | 1121875.2416
32 | 2603819.1275 | 1121874.8798 | 2603824.4597 | 1121879.2884 | 2603834.5803 | 1121886.7556
33 | 2603870.6355 | 1121881.4981 | 2603873.5773 | 1121881.9982 | 2603907.0411 | 1121885.6299
34 | 2603649.145 | 1121875.2416 | 2603641.6128 | 1121873.35
35 | 2603895.4831 | 1121986.9521 | 2603877.0769 | 1121970.5325 | 2603856.1547 | 1121957.5816
36 | 2603880.6261 | 1121906.8036 | 2603863.7767 | 1121903.9694 | 2603853.6834 | 1121900.8504 | 2603834.5803 | 1121886.7556
37 | 2603880.6261 | 1121906.8036 | 2603887.7745 | 1121908.0087 | 2603891.9078 | 1121908.8339 | 2603899.4543 | 1121914.7527 | 2603900.2473 | 1121916.9098
38 | 2603880.6261 | 1121906.8036 | 2603877.9259 | 1121908.3249 | 2603868.4317 | 1121909.8153
39 | 2603895.4831 | 1121986.9521 | 2603902.6647 | 1121923.4812 | 2603900.2473 | 1121916.9098
40 | 2603900.2473 | 1121916.9098 | 2603910.275 | 1121920.8682
41 | 2603850.5603 | 1121912.6209 | 2603868.4317 | 1121909.8153
42 | 2603895.4831 | 1121986.9521 | 2603908.6661 | 1121994.3752
43 | 2603910.275 | 1121920.8682 | 2603926.313 | 1121927.1992
44 | 2603908.6661 | 1121994.3752 | 2603913.4073 | 1121997.0462
45 | 2603908.6661 | 1121994.3752 | 2603878.9737 | 1121997.5451
46 | 2603913.4073 | 1121997.0462 | 2603914.9398 | 1122000.6156 | 2603922.9902 | 1122002.2215 | 2603945.1232 | 1122003.2361 | 2603951.0918 | 1122004.1059
47 | 2603913.4073 | 1121997.0462 | 2603943.5775 | 1121996.3762 | 2603949.2984 | 1121994.95
48 | 2603871.0703 | 1121997.509 | 2603875.0237 | 1121997.9668 | 2603878.9737 | 1121997.5451
49 | 2603990.1563 | 1121940.3344 | 2603971.4896 | 1121933.4523 | 2603943.3789 | 1121933.1007 | 2603932.9387 | 1121929.8147 | 2603926.313 | 1121927.1992
50 | 2603949.2984 | 1121994.95 | 2603977.2462 | 1121987.9826 | 2603979.5218 | 1121985.8399
51 | 2603979.5218 | 1121985.8399 | 2603983.8927 | 1121981.7242
52 | 2603974.686 | 1122023.3679 | 2603974.6888 | 1122019.0962 | 2603973.6805 | 1122016.0941 | 2603965.032 | 1122009.0628 | 2603954.7778 | 1122004.643 | 2603951.0918 | 1122004.1059
53 | 2603974.686 | 1122023.3679 | 2603974.6848 | 1122025.3418
54 | 2603970.852 | 1122037.147 | 2603974.6825 | 1122028.9232 | 2603974.6848 | 1122025.3418
55 | 2603871.0703 | 1121997.509 | 2603859.4381 | 1121996.1618
56 | 2603859.4381 | 1121996.1618 | 2603855.9145 | 1121995.7538 | 2603844.3483 | 1121992.5339 | 2603835.1306 | 1121994.3965
57 | 2603835.1306 | 1121994.3965 | 2603830.9662 | 1121995.238 | 2603823.031 | 1121996.9013
58 | 2603819.7673 | 1121997.5854 | 2603823.031 | 1121996.9013
59 | 2603819.7673 | 1121997.5854 | 2603808.5216 | 1121999.9426
60 | 2603808.5216 | 1121999.9426 | 2603770.8967 | 1122007.8293 | 2603767.3602 | 1122008.5929
61 | 2603804.2757 | 1122049.8481 | 2603782.6893 | 1122044.0987 | 2603782.1689 | 1122043.8716
62 | 2603782.1689 | 1122043.8716 | 2603764.7328 | 1122036.2616 | 2603757.1566 | 1122028.4199 | 2603756.0748 | 1122024.4034
63 | 2603720.8287 | 1122020.566 | 2603706.6096 | 1122024.4964
64 | 2603612.778 | 1122043.7077 | 2603706.3211 | 1122024.5761 | 2603706.6096 | 1122024.4964
65 | 2603612.778 | 1122043.7077 | 2603593.781 | 1122047.5986 | 2603540.7998 | 1122087.1539 | 2603526.4503 | 1122102.8132
66 | 2603612.778 | 1122043.7077 | 2603585.6995 | 1122033.1979 | 2603567.9856 | 1122031.9982 | 2603534.9266 | 1122040.9836 | 2603502.5567 | 1122045.3784 | 2603498.3972 | 1122046.1567
67 | 2603493.3167 | 1122047.1073 | 2603498.3972 | 1122046.1567
68 | 2603493.3167 | 1122047.1073 | 2603475.743 | 1122043.4956
69 | 2603493.3167 | 1122047.1073 | 2603514.0031 | 1122028.7768
70 | 2603552.7896 | 1121925.4061 | 2603554.9133 | 1121925.6498 | 2603569.4054 | 1121924.0463 | 2603573.5185 | 1121923.3595
71 | 2603552.7896 | 1121925.4061 | 2603543.5231 | 1121924.3426 | 2603542.6764 | 1121924.2447
72 | 2603581.5328 | 1121922.0214 | 2603573.5185 | 1121923.3595
73 | 2603522.1906 | 1121919.8292 | 2603532.989 | 1121923.1249 | 2603542.6764 | 1121924.2447
74 | 2603581.5328 | 1121922.0214 | 2603587.9164 | 1121920.9555 | 2603597.9726 | 1121921.7617 | 2603610.2484 | 1121925.1817 | 2603612.6479 | 1121926.1278
75 | 2603522.1906 | 1121919.8292 | 2603503.606 | 1121842.1355
76 | 2603612.6479 | 1121926.1278 | 2603621.513 | 1121929.6232
77 | 2603482.8186 | 1121836.6832 | 2603489.1621 | 1121838.692 | 2603503.606 | 1121842.1355
78 | 2603557.4961 | 1121983.974 | 2603536.5118 | 1122002.6852
79 | 2603535.0544 | 1122003.9846 | 2603536.5118 | 1122002.6852
80 | 2603535.0544 | 1122003.9846 | 2603529.1453 | 1122009.2536 | 2603521.9597 | 1122014.4384
81 | 2603475.743 | 1122043.4956 | 2603479.183 | 1122042.7528 | 2603484.0892 | 1122040.4211 | 2603493.0149 | 1122035.3236 | 2603521.9597 | 1122014.4384
82 | 2603434.7862 | 1121887.0753 | 2603482.5876 | 1121836.6101
83 | 2603482.5876 | 1121836.6101 | 2603442.1099 | 1121823.7917 | 2603438.8848 | 1121822.7522
84 | 2603482.8186 | 1121836.6832 | 2603482.5876 | 1121836.6101
85 | 2603475.743 | 1122043.4956 | 2603474.7736 | 1122039.4376 | 2603470.5429 | 1122033.7213 | 2603461.4948 | 1122023.3222 | 2603455.8867 | 1122016.6612
86 | 2603411.1678 | 1121966.327 | 2603426.3895 | 1121981.6267 | 2603443.7226 | 1122002.2131 | 2603455.8867 | 1122016.6612
87 | 2603411.1678 | 1121966.327 | 2603399.8976 | 1121954.9991 | 2603391.6887 | 1121946.7461 | 2603384.861 | 1121936.7479
88 | 2603431.0996 | 1121820.2428 | 2603438.8848 | 1121822.7522

## bus_geodata
| x | y | coords
0 | 2603478.1918 | 1121711.0563
1 | 2603504.0043 | 1121723.2885
2 | 2603551.4202 | 1121750.5067
3 | 2603587.55 | 1121724.2288
4 | 2603581.4127 | 1121667.5153
5 | 2603581.8938 | 1121667.4726
6 | 2603599.9791 | 1121729.3948
7 | 2603620.646 | 1121733.5608
8 | 2603641.9661 | 1121733.5734
9 | 2603649.7581 | 1121742.5935
10 | 2603676.9476 | 1121752.5073
11 | 2603697.9748 | 1121755.1599
12 | 2603778.7532 | 1121952.5562
13 | 2603796.314 | 1121951.7644
14 | 2603814.9984 | 1121950.9219
15 | 2603689.9087 | 1121949.0516
16 | 2603687.2631 | 1121949.6948
17 | 2603739.9033 | 1121989.3383
18 | 2603840.8434 | 1121953.4224
19 | 2603633.7139 | 1121934.4969
20 | 2603752.6706 | 1122011.7645
21 | 2603748.8889 | 1121873.3176
22 | 2603779.6603 | 1121865.5987
23 | 2603689.74 | 1121885.3731
24 | 2603729.3348 | 1121762.4706
25 | 2603815.256 | 1121871.679
26 | 2603666.1072 | 1121879.5013
27 | 2603819.1275 | 1121874.8798
28 | 2603870.6355 | 1121881.4981
29 | 2603649.145 | 1121875.2416
30 | 2603856.1547 | 1121957.5816
31 | 2603834.5803 | 1121886.7556
32 | 2603907.0411 | 1121885.63
33 | 2603880.6261 | 1121906.8036
34 | 2603900.2473 | 1121916.9098
35 | 2603868.4317 | 1121909.8153
36 | 2603895.4831 | 1121986.9521
37 | 2603910.275 | 1121920.8682
38 | 2603850.5603 | 1121912.6209
39 | 2603908.6661 | 1121994.3752
40 | 2603913.4073 | 1121997.0462
41 | 2603878.9737 | 1121997.5451
42 | 2603926.313 | 1121927.1992
43 | 2603990.1563 | 1121940.3344
44 | 2603949.2984 | 1121994.95
45 | 2603979.5218 | 1121985.8399
46 | 2603983.8927 | 1121981.7242
47 | 2603951.0918 | 1122004.1059
48 | 2603974.686 | 1122023.3679
49 | 2603974.6848 | 1122025.3418
50 | 2603970.852 | 1122037.147
51 | 2603871.0703 | 1121997.509
52 | 2603859.4381 | 1121996.1618
53 | 2603835.1306 | 1121994.3965
54 | 2603823.031 | 1121996.9013
55 | 2603819.7673 | 1121997.5854
56 | 2603808.5216 | 1121999.9426
57 | 2603767.3602 | 1122008.5929
58 | 2603804.2757 | 1122049.8481
59 | 2603782.1689 | 1122043.8716
60 | 2603756.0748 | 1122024.4034
61 | 2603720.8287 | 1122020.566
62 | 2603706.6096 | 1122024.4964
63 | 2603612.778 | 1122043.7077
64 | 2603526.4503 | 1122102.8132
65 | 2603498.3972 | 1122046.1567
66 | 2603493.3167 | 1122047.1073
67 | 2603552.7896 | 1121925.4061
68 | 2603573.5185 | 1121923.3595
69 | 2603542.6764 | 1121924.2447
70 | 2603581.5328 | 1121922.0214
71 | 2603522.1906 | 1121919.8292
72 | 2603612.6479 | 1121926.1278
73 | 2603503.606 | 1121842.1355
74 | 2603557.4961 | 1121983.974
75 | 2603536.5118 | 1122002.6852
76 | 2603535.0544 | 1122003.9847
77 | 2603521.9597 | 1122014.4384
78 | 2603621.513 | 1121929.6232
79 | 2603641.6128 | 1121873.35
80 | 2603434.7862 | 1121887.0753
81 | 2603482.5876 | 1121836.6101
82 | 2603482.8186 | 1121836.6832
83 | 2603475.743 | 1122043.4956
84 | 2603514.0031 | 1122028.7768
85 | 2603455.8867 | 1122016.6612
86 | 2603411.1678 | 1121966.327
87 | 2603384.861 | 1121936.7479
88 | 2603438.8848 | 1121822.7522
89 | 2603431.0996 | 1121820.2428
90 | 2603687.2631 | 1121949.6948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1