## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6238-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6238-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6238-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6238-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6238-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6238-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6238-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6238-3_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6238-3_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_6238-3_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_6238-3_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_6238-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6238-3_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6238-3_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6238-3_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6238-3_0_4_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_6238-3_0_4_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_6238-3_0_4_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_6238-3_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6238-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6238-3_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6238-3_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6238-3_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6238-3_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6238-3_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6238-3_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6238-3_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6238-3_0_4_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_6238-3_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_6238-3_0_4_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_6238-3_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6238-3_0_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_6238-3_0_4_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_6238-3_0_4_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_6238-3_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6238-3_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6238-3_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6238-3_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6238-3_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_6238-3_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6238-3_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6238-3_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6238-3_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6238-3_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6238-3_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6238-3_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6238-3_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6238-3_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_6238-3_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6238-3_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_6238-3_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6238-3_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6238-3_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6238-3_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6238-3_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6238-3_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_6238-3_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_6238-3_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_6238-3_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6238-3_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6238-3_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6238-3_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_6238-3_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_6238-3_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6238-3_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6238-3_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6238-3_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6238-3_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6238-3_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_6238-3_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_6238-3_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6238-3_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6238-3_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_6238-3_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_6238-3_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_6238-3_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_6238-3_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6238-3_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_6238-3_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_6238-3_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_6238-3_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_6238-3_0_4_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_6238-3_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_6238-3_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_6238-3_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6238-3_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_6238-3_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6238-3_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_6238-3_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_6238-3_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_6238-3_0_4_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_6238-3_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_6238-3_0_4_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_6238-3_0_4_node_98 | 0.4 | n |  | TRUE
94 | bus_LV_6238-3_0_4_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_6238-3_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_6238-3_0_4_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_6238-3_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_6238-3_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_6238-3_0_4_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_6238-3_0_4_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_6238-3_0_4_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_6238-3_0_4_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_6238-3_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_6238-3_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_6238-3_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_6238-3_0_4_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_6238-3_0_4_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_6238-3_0_4_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_6238-3_0_4_node_108 | 0.4 | n |  | TRUE
110 | bus_MV_113_1_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6238-3_0_4_load_0 | 0 | 0.002847 | 0.00071351 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6238-3_0_4_load_1 | 1 | 0.0027483 | 0.0006888 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6238-3_0_4_load_2 | 2 | 0.0013173 | 0.00033015 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6238-3_0_4_load_3 | 3 | 0.0027535 | 0.0006901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6238-3_0_4_load_4 | 4 | 0.0023092 | 0.00057875 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6238-3_0_4_load_7 | 7 | 0.0025773 | 0.00064592 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6238-3_0_4_load_35 | 8 | 0.0030348 | 0.0007606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6238-3_0_4_load_34 | 9 | 0.0029822 | 0.00074742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6238-3_0_4_load_18 | 10 | 0.0021413 | 0.00053666 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6238-3_0_4_load_8 | 11 | 0.0052344 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6238-3_0_4_load_10 | 13 | 0.0050651 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6238-3_0_4_load_11 | 14 | 0.0041257 | 0.001034 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6238-3_0_4_load_95 | 16 | 0.0027593 | 0.00069154 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6238-3_0_4_load_12 | 18 | 0.0032559 | 0.000816 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6238-3_0_4_load_13 | 19 | 0.0040376 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6238-3_0_4_load_14 | 20 | 0.0058937 | 0.0014771 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6238-3_0_4_load_17 | 22 | 0.0026703 | 0.00066924 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6238-3_0_4_load_19 | 24 | 0.0033572 | 0.0008414 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6238-3_0_4_load_21 | 26 | 0.0028929 | 0.00072502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6238-3_0_4_load_93 | 27 | 0.012988 | 0.0032551 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6238-3_0_4_load_73 | 28 | 0.0074194 | 0.0018595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6238-3_0_4_load_86 | 29 | 0.0040596 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6238-3_0_4_load_22 | 30 | 0.0065705 | 0.0016467 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6238-3_0_4_load_94 | 31 | 0.0018381 | 0.00046066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6238-3_0_4_load_69 | 32 | 0.0029165 | 0.00073094 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6238-3_0_4_load_85 | 33 | 0.0029319 | 0.00073481 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6238-3_0_4_load_23 | 34 | 0.0031628 | 0.00079267 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6238-3_0_4_load_24 | 35 | 0.0025051 | 0.00062784 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6238-3_0_4_load_32 | 37 | 0.0019223 | 0.00048178 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6238-3_0_4_load_33 | 38 | 0.0017495 | 0.00043846 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6238-3_0_4_load_25 | 39 | 0.0033559 | 0.00084107 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6238-3_0_4_load_26 | 40 | 0.0044932 | 0.0011261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6238-3_0_4_load_28 | 42 | 0.0042516 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6238-3_0_4_load_30 | 44 | 0.0032198 | 0.00080697 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6238-3_0_4_load_43 | 46 | 0.0022194 | 0.00055624 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6238-3_0_4_load_40 | 47 | 0.0018175 | 0.0004555 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6238-3_0_4_load_44 | 48 | 0.0016402 | 0.00041107 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6238-3_0_4_load_57 | 50 | 0.0016669 | 0.00041776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6238-3_0_4_load_47 | 51 | 0.0030323 | 0.00075997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6238-3_0_4_load_39 | 52 | 0.0017423 | 0.00043665 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6238-3_0_4_load_45 | 53 | 0.003398 | 0.00085163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6238-3_0_4_load_37 | 54 | 0.0043729 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6238-3_0_4_load_36 | 55 | 0.0019955 | 0.00050013 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6238-3_0_4_load_38 | 56 | 0.001751 | 0.00043884 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6238-3_0_4_load_41 | 57 | 0.0014455 | 0.00036227 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6238-3_0_4_load_42 | 58 | 0.0025645 | 0.00064272 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6238-3_0_4_load_46 | 59 | 0.0036694 | 0.00091965 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6238-3_0_4_load_48 | 60 | 0.0036746 | 0.00092093 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6238-3_0_4_load_49 | 61 | 0.0031563 | 0.00079105 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6238-3_0_4_load_50 | 62 | 0.0018265 | 0.00045776 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6238-3_0_4_load_51 | 63 | 0.0017487 | 0.00043827 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6238-3_0_4_load_52 | 64 | 0.0091413 | 0.002291 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6238-3_0_4_load_53 | 65 | 0.0036882 | 0.00092436 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6238-3_0_4_load_54 | 66 | 0.0032686 | 0.00081919 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6238-3_0_4_load_55 | 67 | 0.0036209 | 0.00090747 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6238-3_0_4_load_56 | 68 | 0.0015849 | 0.0003972 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6238-3_0_4_load_63 | 69 | 0.0050857 | 0.0012746 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6238-3_0_4_load_60 | 70 | 0.0013679 | 0.00034282 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6238-3_0_4_load_67 | 71 | 0.0095891 | 0.0024033 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6238-3_0_4_load_61 | 72 | 0.0037779 | 0.00094684 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6238-3_0_4_load_62 | 73 | 0.0014314 | 0.00035874 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6238-3_0_4_load_64 | 74 | 0.0023199 | 0.00058142 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6238-3_0_4_load_65 | 75 | 0.0011478 | 0.00028766 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6238-3_0_4_load_68 | 76 | 0.0051294 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6238-3_0_4_load_66 | 77 | 0.0012849 | 0.00032202 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6238-3_0_4_load_70 | 78 | 0.00093054 | 0.00023322 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6238-3_0_4_load_109 | 81 | 0.0057366 | 0.0014377 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6238-3_0_4_load_74 | 82 | 0.0043829 | 0.0010985 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6238-3_0_4_load_75 | 83 | 0.0054029 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6238-3_0_4_load_76 | 84 | 0.02328 | 0.0058346 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6238-3_0_4_load_77 | 85 | 0.0051695 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6238-3_0_4_load_78 | 86 | 0.023804 | 0.0059659 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6238-3_0_4_load_79 | 87 | 0.0060679 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6238-3_0_4_load_84 | 88 | 0.012959 | 0.0032477 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6238-3_0_4_load_80 | 89 | 0.0040741 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6238-3_0_4_load_82 | 91 | 0.0069883 | 0.0017514 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6238-3_0_4_load_83 | 92 | 0.018787 | 0.0047085 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6238-3_0_4_load_98 | 93 | 0.012711 | 0.0031856 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6238-3_0_4_load_100 | 94 | 0.0037312 | 0.00093512 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6238-3_0_4_load_91 | 95 | 0.0088048 | 0.0022067 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6238-3_0_4_load_99 | 96 | 0.01705 | 0.0042732 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6238-3_0_4_load_90 | 97 | 0.0065261 | 0.0016356 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6238-3_0_4_load_97 | 99 | 0.020431 | 0.0051204 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6238-3_0_4_load_101 | 100 | 0.0033448 | 0.00083829 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6238-3_0_4_load_87 | 101 | 0.0074741 | 0.0018732 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6238-3_0_4_load_88 | 102 | 0.010428 | 0.0026134 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6238-3_0_4_load_102 | 103 | 0.0047081 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6238-3_0_4_load_103 | 104 | 0.0040666 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6238-3_0_4_load_104 | 105 | 0.0052712 | 0.0013211 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6238-3_0_4_load_105 | 106 | 0.00608 | 0.0015238 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6238-3_0_4_load_106 | 107 | 0.0043278 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6238-3_0_4_load_107 | 108 | 0.0052174 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6238-3_0_4_load_108 | 109 | 0.0073597 | 0.0018445 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6238-3_0_4_line_0 |  | 0 | 1 | 0.0057538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6238-3_0_4_line_1 |  | 0 | 2 | 0.0058836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6238-3_0_4_line_2 |  | 1 | 3 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6238-3_0_4_line_3 |  | 2 | 4 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6238-3_0_4_line_4 |  | 3 | 5 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6238-3_0_4_line_5 |  | 5 | 6 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6238-3_0_4_line_6 |  | 5 | 7 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6238-3_0_4_line_7 |  | 6 | 8 | 0.027017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6238-3_0_4_line_8 |  | 6 | 9 | 0.0063213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6238-3_0_4_line_9 |  | 9 | 10 | 0.028131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6238-3_0_4_line_10 |  | 10 | 21 | 0.016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6238-3_0_4_line_11 |  | 11 | 12 | 0.022199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6238-3_0_4_line_12 |  | 11 | 13 | 0.018322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6238-3_0_4_line_13 |  | 12 | 14 | 0.049246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6238-3_0_4_line_14 |  | 14 | 15 | 0.032452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6238-3_0_4_line_15 |  | 15 | 16 | 0.025359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6238-3_0_4_line_16 |  | 15 | 17 | 0.001406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6238-3_0_4_line_17 |  | 16 | 31 | 0.0023526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6238-3_0_4_line_18 |  | 17 | 102 | 0.022946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6238-3_0_4_line_19 |  | 18 | 19 | 0.026084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6238-3_0_4_line_20 |  | 18 | 20 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6238-3_0_4_line_21 |  | 19 | 21 | 0.0010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6238-3_0_4_line_22 |  | 21 | 22 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6238-3_0_4_line_23 |  | 22 | 26 | 0.0062722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6238-3_0_4_line_24 |  | 23 | 24 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6238-3_0_4_line_25 |  | 23 | 25 | 0.005971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6238-3_0_4_line_26 |  | 24 | 27 | 0.030421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6238-3_0_4_line_27 |  | 25 | 28 | 0.0081885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6238-3_0_4_line_28 |  | 25 | 29 | 0.023583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6238-3_0_4_line_29 |  | 26 | 30 | 0.0058031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6238-3_0_4_line_30 |  | 27 | 31 | 0.0075216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6238-3_0_4_line_31 |  | 28 | 32 | 0.0092091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6238-3_0_4_line_32 |  | 29 | 33 | 0.0001664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6238-3_0_4_line_33 |  | 30 | 34 | 0.0056792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6238-3_0_4_line_34 |  | 32 | 76 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6238-3_0_4_line_35 |  | 33 | 88 | 0.0011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6238-3_0_4_line_36 |  | 34 | 35 | 0.0069599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6238-3_0_4_line_37 |  | 35 | 36 | 0.00011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6238-3_0_4_line_38 |  | 36 | 37 | 0.022813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6238-3_0_4_line_39 |  | 36 | 38 | 0.0076151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6238-3_0_4_line_40 |  | 37 | 54 | 0.0022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6238-3_0_4_line_41 |  | 38 | 53 | 0.0067294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6238-3_0_4_line_42 |  | 39 | 40 | 0.01582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6238-3_0_4_line_43 |  | 39 | 41 | 0.028736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6238-3_0_4_line_44 |  | 40 | 42 | 0.02673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6238-3_0_4_line_45 |  | 41 | 43 | 0.004136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6238-3_0_4_line_46 |  | 41 | 44 | 0.0074328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6238-3_0_4_line_47 |  | 42 | 45 | 0.0072935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6238-3_0_4_line_48 |  | 43 | 46 | 0.0077665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6238-3_0_4_line_49 |  | 43 | 47 | 0.018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6238-3_0_4_line_50 |  | 44 | 48 | 0.00060562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6238-3_0_4_line_51 |  | 45 | 49 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6238-3_0_4_line_52 |  | 45 | 50 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6238-3_0_4_line_53 |  | 46 | 51 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6238-3_0_4_line_54 |  | 47 | 52 | 0.0069382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6238-3_0_4_line_55 |  | 48 | 53 | 0.0089003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6238-3_0_4_line_56 |  | 49 | 69 | 0.029325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6238-3_0_4_line_57 |  | 49 | 70 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6238-3_0_4_line_58 |  | 50 | 68 | 0.004988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6238-3_0_4_line_59 |  | 51 | 60 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6238-3_0_4_line_60 |  | 52 | 57 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6238-3_0_4_line_61 |  | 54 | 55 | 0.0094465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6238-3_0_4_line_62 |  | 55 | 56 | 0.0096542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6238-3_0_4_line_63 |  | 57 | 58 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6238-3_0_4_line_64 |  | 58 | 59 | 0.0016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6238-3_0_4_line_65 |  | 60 | 61 | 0.0030869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6238-3_0_4_line_66 |  | 61 | 62 | 0.0054766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6238-3_0_4_line_67 |  | 62 | 63 | 0.0079983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6238-3_0_4_line_68 |  | 63 | 64 | 0.0089196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6238-3_0_4_line_69 |  | 65 | 66 | 0.015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6238-3_0_4_line_70 |  | 65 | 67 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6238-3_0_4_line_71 |  | 66 | 68 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6238-3_0_4_line_72 |  | 69 | 71 | 0.020332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_6238-3_0_4_line_73 |  | 70 | 72 | 0.0002617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6238-3_0_4_line_74 |  | 71 | 76 | 0.0027342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_6238-3_0_4_line_75 |  | 72 | 73 | 0.0024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6238-3_0_4_line_76 |  | 73 | 74 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6238-3_0_4_line_77 |  | 74 | 75 | 0.004846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6238-3_0_4_line_78 |  | 75 | 77 | 0.0036795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6238-3_0_4_line_79 |  | 77 | 78 | 0.00091787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6238-3_0_4_line_80 |  | 78 | 79 | 0.1705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6238-3_0_4_line_81 |  | 79 | 80 | 0.012766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6238-3_0_4_line_82 |  | 80 | 81 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6238-3_0_4_line_83 |  | 82 | 83 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_6238-3_0_4_line_84 |  | 82 | 84 | 0.017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_6238-3_0_4_line_85 |  | 83 | 85 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_6238-3_0_4_line_86 |  | 84 | 86 | 0.0012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_6238-3_0_4_line_87 |  | 85 | 87 | 0.0073704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_6238-3_0_4_line_88 |  | 86 | 88 | 0.033226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_6238-3_0_4_line_89 |  | 87 | 89 | 0.017498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6238-3_0_4_line_90 |  | 89 | 90 | 0.0028367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6238-3_0_4_line_91 |  | 90 | 91 | 0.028567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6238-3_0_4_line_92 |  | 90 | 92 | 0.019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6238-3_0_4_line_93 |  | 91 | 93 | 0.051367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6238-3_0_4_line_94 |  | 92 | 94 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6238-3_0_4_line_95 |  | 93 | 96 | 0.0059267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6238-3_0_4_line_96 |  | 94 | 100 | 0.0049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6238-3_0_4_line_97 |  | 95 | 96 | 0.044854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6238-3_0_4_line_98 |  | 95 | 97 | 0.024307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6238-3_0_4_line_99 |  | 96 | 98 | 0.076265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6238-3_0_4_line_100 |  | 98 | 99 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6238-3_0_4_line_101 |  | 100 | 103 | 0.020055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6238-3_0_4_line_102 |  | 101 | 102 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6238-3_0_4_line_103 |  | 103 | 104 | 0.0083409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6238-3_0_4_line_104 |  | 104 | 105 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6238-3_0_4_line_105 |  | 105 | 106 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6238-3_0_4_line_106 |  | 106 | 107 | 0.0068688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6238-3_0_4_line_107 |  | 107 | 108 | 0.000778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6238-3_0_4_line_108 |  | 108 | 109 | 0.0016685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6238-3_0_4_trafo_78 | 0.63 MVA 20/0.4 kV | 110 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2600515.1884 | 1121973.2523 | 2600520.3311 | 1121975.8328
1 | 2600515.1884 | 1121973.2523 | 2600509.9298 | 1121970.6135
2 | 2600532.9096 | 1121982.1446 | 2600520.3311 | 1121975.8328
3 | 2600509.9298 | 1121970.6135 | 2600500.7564 | 1121966.0103
4 | 2600543.4401 | 1121987.4288 | 2600532.9096 | 1121982.1446
5 | 2600558.8637 | 1121995.1671 | 2600543.4401 | 1121987.4288
6 | 2600529.4952 | 1122005.7144 | 2600543.4401 | 1121987.4288
7 | 2600541.9031 | 1122016.2316 | 2600558.8637 | 1121995.1671
8 | 2600558.8637 | 1121995.1671 | 2600564.5138 | 1121998.0017
9 | 2600588.5851 | 1122012.5542 | 2600565.357 | 1121998.4248 | 2600564.5138 | 1121998.0017
10 | 2600602.4963 | 1122022.0506 | 2600594.8387 | 1122016.3582 | 2600588.5851 | 1122012.5542
11 | 2600549.0562 | 1122063.7554 | 2600561.7898 | 1122049.8162 | 2600563.6872 | 1122047.0928
12 | 2600558.6833 | 1122031.7183 | 2600565.2688 | 1122038.7556 | 2600565.5694 | 1122041.8571 | 2600564.8288 | 1122044.2249 | 2600563.6872 | 1122047.0928
13 | 2600549.0562 | 1122063.7554 | 2600569.5068 | 1122083.6334 | 2600583.3892 | 1122099.0245
14 | 2600605.1249 | 1122123.1224 | 2600583.3892 | 1122099.0245
15 | 2600605.1249 | 1122123.1224 | 2600617.8049 | 1122105.7484 | 2600619.9724 | 1122102.5664
16 | 2600605.1249 | 1122123.1224 | 2600606.0425 | 1122124.1896
17 | 2600619.9724 | 1122102.5664 | 2600621.2969 | 1122100.622
18 | 2600606.0425 | 1122124.1896 | 2600621.2092 | 1122141.4086
19 | 2600624.0965 | 1122038.4851 | 2600617.3411 | 1122032.4792 | 2600603.394 | 1122022.6812
20 | 2600631.999 | 1122045.5109 | 2600624.0965 | 1122038.4851
21 | 2600602.4963 | 1122022.0506 | 2600603.394 | 1122022.6812
22 | 2600602.4963 | 1122022.0506 | 2600609.8156 | 1122010.2048
23 | 2600609.8156 | 1122010.2048 | 2600613.1126 | 1122004.869
24 | 2600654.5562 | 1122065.5655 | 2600647.1094 | 1122072.8978
25 | 2600654.5562 | 1122065.5655 | 2600659.0288 | 1122069.5345
26 | 2600625.9625 | 1122094.7307 | 2600630.4 | 1122089.3971 | 2600643.3574 | 1122076.592 | 2600647.1094 | 1122072.8978
27 | 2600659.0288 | 1122069.5345 | 2600666.5611 | 1122066.3226
28 | 2600659.0288 | 1122069.5345 | 2600676.5813 | 1122085.2851
29 | 2600616.3577 | 1122000.0681 | 2600615.0379 | 1122001.7529 | 2600613.1126 | 1122004.869
30 | 2600625.9625 | 1122094.7307 | 2600622.3633 | 1122099.0566 | 2600621.2969 | 1122100.622
31 | 2600675.0321 | 1122062.7103 | 2600666.5611 | 1122066.3226
32 | 2600676.7052 | 1122085.3962 | 2600676.5813 | 1122085.2851
33 | 2600616.3577 | 1122000.0681 | 2600619.8598 | 1121995.5972
34 | 2600694.498 | 1122052.8522 | 2600694.498 | 1122052.8522 | 2600688.2277 | 1122057.2537 | 2600677.5075 | 1122061.6547 | 2600675.0321 | 1122062.7103
35 | 2600677.5964 | 1122086.1054 | 2600676.7957 | 1122085.4774 | 2600676.7052 | 1122085.3962
36 | 2600624.1517 | 1121990.1182 | 2600619.8598 | 1121995.5972
37 | 2600624.2241 | 1121990.0258 | 2600624.1517 | 1121990.1182
38 | 2600624.2241 | 1121990.0258 | 2600605.5079 | 1121976.9817
39 | 2600624.2241 | 1121990.0258 | 2600628.9212 | 1121984.0319
40 | 2600603.6344 | 1121975.676 | 2600605.5079 | 1121976.9817
41 | 2600633.4365 | 1121979.0528 | 2600630.2171 | 1121982.3781 | 2600628.9212 | 1121984.0319
42 | 2600670.411 | 1121980.7076 | 2600684.2798 | 1121988.3183
43 | 2600645.2186 | 1121966.8831 | 2600670.411 | 1121980.7076
44 | 2600684.2798 | 1121988.3183 | 2600707.7131 | 1122001.1775
45 | 2600645.2186 | 1121966.8831 | 2600642.296 | 1121963.948
46 | 2600645.2186 | 1121966.8831 | 2600640.0486 | 1121972.2232
47 | 2600714.1071 | 1122004.6862 | 2600707.7131 | 1122001.1775
48 | 2600642.296 | 1121963.948 | 2600647.4728 | 1121958.1584
49 | 2600642.296 | 1121963.948 | 2600635.5717 | 1121957.2108 | 2600631.1235 | 1121949.1893
50 | 2600640.0486 | 1121972.2232 | 2600639.6274 | 1121972.6583
51 | 2600726.3531 | 1122011.3908 | 2600714.1071 | 1122004.6862
52 | 2600714.1071 | 1122004.6862 | 2600708.6791 | 1121991.8461
53 | 2600656.1023 | 1121947.9335 | 2600652.1455 | 1121952.9325 | 2600647.4728 | 1121958.1584
54 | 2600628.0109 | 1121943.0252 | 2600628.2232 | 1121943.9592 | 2600631.1235 | 1121949.1893
55 | 2600639.6274 | 1121972.6583 | 2600633.4365 | 1121979.0528
56 | 2600726.3531 | 1122011.3908 | 2600707.9578 | 1122034.2281
57 | 2600726.3531 | 1122011.3908 | 2600734.6445 | 1122003.6102 | 2600737.7014 | 1122000.4164
58 | 2600705.1039 | 1121988.3679 | 2600708.6791 | 1121991.8461 | 2600708.6791 | 1121991.8461
59 | 2600656.1023 | 1121947.9335 | 2600660.3985 | 1121942.506 | 2600665.5225 | 1121938.6856
60 | 2600628.0109 | 1121943.0252 | 2600625.4406 | 1121931.7214
61 | 2600595.8844 | 1121970.2747 | 2600603.6344 | 1121975.676
62 | 2600587.964 | 1121964.7547 | 2600595.8844 | 1121970.2747
63 | 2600625.4406 | 1121931.7214 | 2600624.6616 | 1121928.2957 | 2600623.6736 | 1121916.6335
64 | 2600623.6736 | 1121916.6335 | 2600623.5316 | 1121914.9583
65 | 2600665.5225 | 1121938.6856 | 2600667.9972 | 1121936.8405
66 | 2600667.9972 | 1121936.8405 | 2600672.3878 | 1121933.567
67 | 2600678.8 | 1121928.7862 | 2600672.3878 | 1121933.567
68 | 2600685.9508 | 1121923.4548 | 2600678.8 | 1121928.7862
69 | 2600702.4439 | 1121955.1386 | 2600702.4429 | 1121964.3653 | 2600701.2362 | 1121970.816
70 | 2600695.8046 | 1121946.3225 | 2600702.4439 | 1121955.1386
71 | 2600701.2362 | 1121970.816 | 2600700.2283 | 1121976.2042 | 2600700.428 | 1121983.8191 | 2600705.1039 | 1121988.3679
72 | 2600696.2736 | 1122050.7729 | 2600699.5191 | 1122046.972 | 2600703.8618 | 1122039.3132 | 2600707.9578 | 1122034.2281
73 | 2600737.7014 | 1122000.4164 | 2600737.8823 | 1122000.2273
74 | 2600696.2736 | 1122050.7729 | 2600694.498 | 1122052.8522
75 | 2600739.5479 | 1121998.4871 | 2600737.8823 | 1122000.2273
76 | 2600739.5479 | 1121998.4871 | 2600743.1982 | 1121994.6734 | 2600749.8241 | 1121987.4824
77 | 2600749.8241 | 1121987.4824 | 2600753.1079 | 1121983.9186
78 | 2600755.6012 | 1121981.2127 | 2600753.1079 | 1121983.9186
79 | 2600755.6012 | 1121981.2127 | 2600756.2232 | 1121980.5377
80 | 2600756.2232 | 1121980.5377 | 2600887.0068 | 1121871.1419
81 | 2600887.0068 | 1121871.1419 | 2600890.7247 | 1121867.0626 | 2600896.0236 | 1121862.0942
82 | 2600896.0236 | 1121862.0942 | 2600885.0579 | 1121853.9443 | 2600882.4866 | 1121847.6951
83 | 2600719.5639 | 1122116.7108 | 2600721.4676 | 1122117.9535 | 2600736.1148 | 1122126.0409
84 | 2600719.5639 | 1122116.7108 | 2600706.7851 | 1122108.3694 | 2600704.9773 | 1122107.0244
85 | 2600736.1148 | 1122126.0409 | 2600743.5379 | 1122130.1396 | 2600751.6411 | 1122134.0709
86 | 2600703.9868 | 1122106.2874 | 2600704.9773 | 1122107.0244
87 | 2600758.2724 | 1122137.288 | 2600751.6411 | 1122134.0709
88 | 2600703.9868 | 1122106.2874 | 2600691.185 | 1122096.7622 | 2600677.5964 | 1122086.1054
89 | 2600758.2724 | 1122137.288 | 2600766.5258 | 1122141.2921 | 2600773.9799 | 1122144.9992
90 | 2600776.5199 | 1122146.2623 | 2600773.9799 | 1122144.9992
91 | 2600776.5199 | 1122146.2623 | 2600761.8793 | 1122170.792
92 | 2600776.5199 | 1122146.2623 | 2600793.8956 | 1122154.8663
93 | 2600761.8793 | 1122170.792 | 2600746.6019 | 1122219.8347
94 | 2600807.261 | 1122161.4844 | 2600793.8956 | 1122154.8663
95 | 2600746.6019 | 1122219.8347 | 2600744.6723 | 1122225.4386
96 | 2600807.261 | 1122161.4844 | 2600811.6521 | 1122163.6587
97 | 2600700.1614 | 1122230.9724 | 2600744.6723 | 1122225.4386
98 | 2600684.0638 | 1122212.7596 | 2600700.1614 | 1122230.9724
99 | 2600744.6723 | 1122225.4386 | 2600761.4487 | 1122299.8356
100 | 2600761.4487 | 1122299.8356 | 2600766.4462 | 1122296.6791 | 2600770.8188 | 1122296.9686 | 2600775.1194 | 1122301.6173
101 | 2600811.6521 | 1122163.6587 | 2600811.977 | 1122163.8196 | 2600829.6383 | 1122172.5294
102 | 2600632.6869 | 1122154.4394 | 2600621.2092 | 1122141.4086
103 | 2600829.6383 | 1122172.5294 | 2600837.119 | 1122176.2185
104 | 2600847.7966 | 1122181.4843 | 2600837.119 | 1122176.2185
105 | 2600847.7966 | 1122181.4843 | 2600847.8273 | 1122181.4994 | 2600860.2794 | 1122187.6598
106 | 2600860.2794 | 1122187.6598 | 2600866.436 | 1122190.7056
107 | 2600867.1333 | 1122191.0506 | 2600866.436 | 1122190.7056
108 | 2600867.1333 | 1122191.0506 | 2600868.6289 | 1122191.7904

## bus_geodata
| x | y | coords
0 | 2600515.1884 | 1121973.2523
1 | 2600520.3311 | 1121975.8328
2 | 2600509.9298 | 1121970.6135
3 | 2600532.9096 | 1121982.1446
4 | 2600500.7564 | 1121966.0103
5 | 2600543.4401 | 1121987.4288
6 | 2600558.8637 | 1121995.1671
7 | 2600529.4952 | 1122005.7144
8 | 2600541.9031 | 1122016.2316
9 | 2600564.5138 | 1121998.0017
10 | 2600588.5851 | 1122012.5542
11 | 2600563.6872 | 1122047.0929
12 | 2600549.0562 | 1122063.7554
13 | 2600558.6833 | 1122031.7183
14 | 2600583.3892 | 1122099.0245
15 | 2600605.1249 | 1122123.1224
16 | 2600619.9724 | 1122102.5664
17 | 2600606.0425 | 1122124.1896
18 | 2600624.0965 | 1122038.4851
19 | 2600603.394 | 1122022.6812
20 | 2600631.999 | 1122045.5109
21 | 2600602.4963 | 1122022.0506
22 | 2600609.8156 | 1122010.2048
23 | 2600654.5562 | 1122065.5655
24 | 2600647.1094 | 1122072.8978
25 | 2600659.0288 | 1122069.5345
26 | 2600613.1126 | 1122004.869
27 | 2600625.9625 | 1122094.7307
28 | 2600666.5611 | 1122066.3226
29 | 2600676.5813 | 1122085.2851
30 | 2600616.3577 | 1122000.0681
31 | 2600621.2969 | 1122100.622
32 | 2600675.0321 | 1122062.7103
33 | 2600676.7052 | 1122085.3962
34 | 2600619.8598 | 1121995.5972
35 | 2600624.1517 | 1121990.1182
36 | 2600624.2241 | 1121990.0258
37 | 2600605.5079 | 1121976.9817
38 | 2600628.9212 | 1121984.0319
39 | 2600670.411 | 1121980.7076
40 | 2600684.2798 | 1121988.3183
41 | 2600645.2186 | 1121966.8831
42 | 2600707.7131 | 1122001.1775
43 | 2600642.296 | 1121963.948
44 | 2600640.0486 | 1121972.2232
45 | 2600714.1071 | 1122004.6862
46 | 2600647.4728 | 1121958.1584
47 | 2600631.1235 | 1121949.1893
48 | 2600639.6274 | 1121972.6583
49 | 2600726.3531 | 1122011.3908
50 | 2600708.6791 | 1121991.8461
51 | 2600656.1023 | 1121947.9335
52 | 2600628.0109 | 1121943.0252
53 | 2600633.4365 | 1121979.0528
54 | 2600603.6344 | 1121975.676
55 | 2600595.8844 | 1121970.2747
56 | 2600587.964 | 1121964.7547
57 | 2600625.4406 | 1121931.7214
58 | 2600623.6736 | 1121916.6335
59 | 2600623.5316 | 1121914.9583
60 | 2600665.5225 | 1121938.6856
61 | 2600667.9972 | 1121936.8405
62 | 2600672.3878 | 1121933.567
63 | 2600678.8 | 1121928.7862
64 | 2600685.9508 | 1121923.4548
65 | 2600702.4439 | 1121955.1386
66 | 2600701.2362 | 1121970.816
67 | 2600695.8046 | 1121946.3225
68 | 2600705.1039 | 1121988.3679
69 | 2600707.9578 | 1122034.2281
70 | 2600737.7014 | 1122000.4164
71 | 2600696.2736 | 1122050.7729
72 | 2600737.8823 | 1122000.2273
73 | 2600739.5479 | 1121998.4871
74 | 2600749.8241 | 1121987.4824
75 | 2600753.1079 | 1121983.9186
76 | 2600694.498 | 1122052.8522
77 | 2600755.6012 | 1121981.2127
78 | 2600756.2232 | 1121980.5377
79 | 2600887.0068 | 1121871.1419
80 | 2600896.0236 | 1121862.0942
81 | 2600882.4866 | 1121847.6951
82 | 2600719.5639 | 1122116.7108
83 | 2600736.1148 | 1122126.0409
84 | 2600704.9773 | 1122107.0244
85 | 2600751.6411 | 1122134.0709
86 | 2600703.9868 | 1122106.2874
87 | 2600758.2724 | 1122137.288
88 | 2600677.5964 | 1122086.1054
89 | 2600773.9799 | 1122144.9992
90 | 2600776.5199 | 1122146.2623
91 | 2600761.8793 | 1122170.792
92 | 2600793.8956 | 1122154.8663
93 | 2600746.6019 | 1122219.8347
94 | 2600807.261 | 1122161.4844
95 | 2600700.1614 | 1122230.9724
96 | 2600744.6723 | 1122225.4386
97 | 2600684.0638 | 1122212.7596
98 | 2600761.4487 | 1122299.8356
99 | 2600775.1194 | 1122301.6173
100 | 2600811.6521 | 1122163.6587
101 | 2600632.6869 | 1122154.4394
102 | 2600621.2092 | 1122141.4086
103 | 2600829.6383 | 1122172.5294
104 | 2600837.119 | 1122176.2185
105 | 2600847.7966 | 1122181.4843
106 | 2600860.2794 | 1122187.6598
107 | 2600866.436 | 1122190.7056
108 | 2600867.1333 | 1122191.0506
109 | 2600868.6289 | 1122191.7904
110 | 2600659.0288 | 1122069.5345

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1