## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6238-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6238-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6238-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6238-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6238-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6238-6_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6238-6_0_5_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_6238-6_0_5_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_6238-6_0_5_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_6238-6_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6238-6_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6238-6_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6238-6_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_6238-6_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6238-6_0_5_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_6238-6_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_6238-6_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6238-6_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6238-6_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6238-6_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6238-6_0_5_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_6238-6_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6238-6_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6238-6_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6238-6_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6238-6_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6238-6_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6238-6_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6238-6_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6238-6_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6238-6_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6238-6_0_5_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_6238-6_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6238-6_0_5_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_6238-6_0_5_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_6238-6_0_5_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_6238-6_0_5_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_6238-6_0_5_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_6238-6_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6238-6_0_5_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_6238-6_0_5_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_6238-6_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_6238-6_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_6238-6_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_6238-6_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_6238-6_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6238-6_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6238-6_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6238-6_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6238-6_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6238-6_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6238-6_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_6238-6_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_6238-6_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_6238-6_0_5_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6238-6_0_5_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6238-6_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6238-6_0_5_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_6238-6_0_5_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_6238-6_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_6238-6_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_6238-6_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_6238-6_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_6238-6_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_6238-6_0_5_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_6238-6_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6238-6_0_5_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_6238-6_0_5_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6238-6_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6238-6_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6238-6_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6238-6_0_5_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_6238-6_0_5_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_6238-6_0_5_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_6238-6_0_5_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6238-6_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6238-6_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_6238-6_0_5_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6238-6_0_5_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6238-6_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6238-6_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_6238-6_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_6238-6_0_5_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_6238-6_0_5_node_84 | 0.4 | n |  | TRUE
84 | bus_MV_113_1_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6238-6_0_5_load_0 | 0 | 0.0089285 | 0.0022377 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6238-6_0_5_load_1 | 1 | 0.0048405 | 0.0012131 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6238-6_0_5_load_2 | 2 | 0.0055236 | 0.0013843 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6238-6_0_5_load_3 | 3 | 0.0060844 | 0.0015249 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6238-6_0_5_load_4 | 4 | 0.0036474 | 0.00091411 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6238-6_0_5_load_6 | 5 | 0.0030603 | 0.00076698 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6238-6_0_5_load_65 | 7 | 0.0034559 | 0.00086614 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6238-6_0_5_load_63 | 8 | 0.0053172 | 0.0013326 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6238-6_0_5_load_7 | 9 | 0.0046733 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6238-6_0_5_load_8 | 10 | 0.0041121 | 0.0010306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6238-6_0_5_load_10 | 13 | 0.014846 | 0.0037209 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6238-6_0_5_load_29 | 14 | 0.010226 | 0.0025628 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6238-6_0_5_load_26 | 15 | 0.014531 | 0.0036418 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6238-6_0_5_load_11 | 16 | 0.024963 | 0.0062564 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6238-6_0_5_load_12 | 17 | 0.015671 | 0.0039275 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6238-6_0_5_load_14 | 18 | 0.0053205 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6238-6_0_5_load_15 | 19 | 0.0072379 | 0.001814 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6238-6_0_5_load_48 | 20 | 0.011708 | 0.0029342 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6238-6_0_5_load_27 | 21 | 0.0089899 | 0.0022531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6238-6_0_5_load_17 | 23 | 0.0068902 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6238-6_0_5_load_18 | 24 | 0.012197 | 0.0030568 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6238-6_0_5_load_19 | 25 | 0.0048982 | 0.0012276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6238-6_0_5_load_23 | 26 | 0.0080353 | 0.0020138 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6238-6_0_5_load_24 | 28 | 0.008844 | 0.0022165 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6238-6_0_5_load_21 | 29 | 0.0043186 | 0.0010823 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6238-6_0_5_load_22 | 30 | 0.0094827 | 0.0023766 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6238-6_0_5_load_62 | 31 | 0.0020039 | 0.00050222 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6238-6_0_5_load_74 | 34 | 0.006081 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6238-6_0_5_load_61 | 35 | 0.020693 | 0.0051861 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6238-6_0_5_load_58 | 36 | 0.0051976 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6238-6_0_5_load_73 | 37 | 0.0048093 | 0.0012053 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6238-6_0_5_load_28 | 38 | 0.013672 | 0.0034264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6238-6_0_5_load_77 | 39 | 0.01003 | 0.0025137 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6238-6_0_5_load_78 | 40 | 0.0097023 | 0.0024316 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6238-6_0_5_load_49 | 41 | 0.012738 | 0.0031925 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6238-6_0_5_load_30 | 42 | 0.0067899 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6238-6_0_5_load_31 | 43 | 0.0053053 | 0.0013296 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6238-6_0_5_load_33 | 45 | 0.0028451 | 0.00071306 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6238-6_0_5_load_35 | 47 | 0.0068778 | 0.0017237 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6238-6_0_5_load_36 | 48 | 0.010571 | 0.0026494 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6238-6_0_5_load_39 | 49 | 0.0049479 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6238-6_0_5_load_38 | 50 | 0.0055491 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6238-6_0_5_load_40 | 52 | 0.0075165 | 0.0018838 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6238-6_0_5_load_41 | 53 | 0.0076367 | 0.0019139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6238-6_0_5_load_42 | 54 | 0.004047 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6238-6_0_5_load_43 | 55 | 0.004525 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6238-6_0_5_load_46 | 56 | 0.0029607 | 0.00074202 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6238-6_0_5_load_70 | 57 | 0.0033477 | 0.00083901 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6238-6_0_5_load_69 | 58 | 0.0038591 | 0.00096719 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6238-6_0_5_load_44 | 59 | 0.0059757 | 0.0014976 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6238-6_0_5_load_45 | 60 | 0.0077177 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6238-6_0_5_load_50 | 61 | 0.0061989 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6238-6_0_5_load_51 | 62 | 0.0061072 | 0.0015306 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6238-6_0_5_load_66 | 63 | 0.016295 | 0.0040839 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6238-6_0_5_load_67 | 64 | 0.020485 | 0.0051339 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6238-6_0_5_load_52 | 65 | 0.0032987 | 0.00082674 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6238-6_0_5_load_55 | 68 | 0.008099 | 0.0020298 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6238-6_0_5_load_56 | 69 | 0.0058129 | 0.0014569 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6238-6_0_5_load_57 | 70 | 0.003502 | 0.00087769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6238-6_0_5_load_85 | 71 | 0.0028048 | 0.00070296 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6238-6_0_5_load_71 | 72 | 0.004124 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6238-6_0_5_load_72 | 74 | 0.0088182 | 0.00221 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6238-6_0_5_load_76 | 75 | 0.0083213 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6238-6_0_5_load_59 | 76 | 0.019134 | 0.0047955 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6238-6_0_5_load_68 | 77 | 0.0080206 | 0.0020101 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6238-6_0_5_load_79 | 78 | 0.0050132 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6238-6_0_5_load_80 | 79 | 0.0050076 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6238-6_0_5_load_81 | 80 | 0.0066576 | 0.0016686 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6238-6_0_5_load_82 | 81 | 0.0086065 | 0.002157 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6238-6_0_5_load_84 | 83 | 0.0096876 | 0.0024279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6238-6_0_5_line_0 |  | 0 | 1 | 0.0029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6238-6_0_5_line_1 |  | 0 | 2 | 0.0045946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6238-6_0_5_line_2 |  | 1 | 3 | 0.012374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6238-6_0_5_line_3 |  | 2 | 4 | 0.0017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6238-6_0_5_line_4 |  | 4 | 5 | 0.0034745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6238-6_0_5_line_5 |  | 5 | 9 | 0.0067425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6238-6_0_5_line_6 |  | 6 | 7 | 0.023312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6238-6_0_5_line_7 |  | 6 | 8 | 0.042472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6238-6_0_5_line_8 |  | 7 | 58 | 0.035232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6238-6_0_5_line_9 |  | 9 | 10 | 0.025141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6238-6_0_5_line_10 |  | 10 | 11 | 0.010105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6238-6_0_5_line_11 |  | 11 | 12 | 0.036682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6238-6_0_5_line_12 |  | 11 | 13 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6238-6_0_5_line_13 |  | 12 | 14 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6238-6_0_5_line_14 |  | 12 | 15 | 0.0038168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6238-6_0_5_line_15 |  | 13 | 16 | 0.02813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6238-6_0_5_line_16 |  | 14 | 20 | 0.0008154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6238-6_0_5_line_17 |  | 15 | 21 | 0.033454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6238-6_0_5_line_18 |  | 16 | 17 | 0.0027839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6238-6_0_5_line_19 |  | 17 | 18 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6238-6_0_5_line_20 |  | 18 | 19 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6238-6_0_5_line_21 |  | 19 | 22 | 0.0211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_6238-6_0_5_line_22 |  | 20 | 41 | 0.029382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6238-6_0_5_line_23 |  | 21 | 38 | 0.0012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6238-6_0_5_line_24 |  | 22 | 23 | 0.021661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6238-6_0_5_line_25 |  | 22 | 24 | 0.0034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6238-6_0_5_line_26 |  | 23 | 25 | 0.0033618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6238-6_0_5_line_27 |  | 24 | 26 | 0.0084469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6238-6_0_5_line_28 |  | 25 | 27 | 0.028629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6238-6_0_5_line_29 |  | 26 | 28 | 0.01378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6238-6_0_5_line_30 |  | 27 | 29 | 0.0096702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6238-6_0_5_line_31 |  | 27 | 30 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6238-6_0_5_line_32 |  | 28 | 32 | 0.0087947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6238-6_0_5_line_33 |  | 29 | 31 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6238-6_0_5_line_34 |  | 32 | 33 | 0.034751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6238-6_0_5_line_35 |  | 32 | 34 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6238-6_0_5_line_36 |  | 33 | 35 | 0.028553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6238-6_0_5_line_37 |  | 33 | 36 | 0.025204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6238-6_0_5_line_38 |  | 34 | 37 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6238-6_0_5_line_39 |  | 36 | 76 | 0.0057543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6238-6_0_5_line_40 |  | 37 | 73 | 0.0084658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6238-6_0_5_line_41 |  | 38 | 39 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6238-6_0_5_line_42 |  | 39 | 40 | 0.02435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6238-6_0_5_line_43 |  | 40 | 78 | 0.00036203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6238-6_0_5_line_44 |  | 41 | 61 | 0.014131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6238-6_0_5_line_45 |  | 42 | 43 | 0.0028996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6238-6_0_5_line_46 |  | 42 | 44 | 0.0082298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6238-6_0_5_line_47 |  | 43 | 45 | 0.0025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6238-6_0_5_line_48 |  | 44 | 46 | 0.004849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6238-6_0_5_line_49 |  | 44 | 47 | 0.019617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6238-6_0_5_line_50 |  | 45 | 48 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6238-6_0_5_line_51 |  | 46 | 49 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6238-6_0_5_line_52 |  | 46 | 50 | 0.017159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6238-6_0_5_line_53 |  | 48 | 51 | 0.011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6238-6_0_5_line_54 |  | 49 | 52 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6238-6_0_5_line_55 |  | 51 | 53 | 0.020419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6238-6_0_5_line_56 |  | 51 | 54 | 0.010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6238-6_0_5_line_57 |  | 52 | 57 | 0.050638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6238-6_0_5_line_58 |  | 53 | 55 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6238-6_0_5_line_59 |  | 54 | 56 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6238-6_0_5_line_60 |  | 55 | 59 | 0.0099922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6238-6_0_5_line_61 |  | 57 | 58 | 0.0096676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6238-6_0_5_line_62 |  | 58 | 62 | 0.055662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6238-6_0_5_line_63 |  | 59 | 60 | 0.017251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6238-6_0_5_line_64 |  | 61 | 62 | 0.0075951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_6238-6_0_5_line_65 |  | 62 | 63 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6238-6_0_5_line_66 |  | 63 | 64 | 0.0046844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6238-6_0_5_line_67 |  | 64 | 77 | 0.0033173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6238-6_0_5_line_68 |  | 65 | 66 | 0.024186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6238-6_0_5_line_69 |  | 65 | 67 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6238-6_0_5_line_70 |  | 66 | 68 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6238-6_0_5_line_71 |  | 67 | 69 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6238-6_0_5_line_72 |  | 67 | 70 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6238-6_0_5_line_73 |  | 68 | 71 | 0.00013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6238-6_0_5_line_74 |  | 69 | 72 | 0.029686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6238-6_0_5_line_75 |  | 70 | 73 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6238-6_0_5_line_76 |  | 72 | 74 | 0.03686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6238-6_0_5_line_77 |  | 73 | 75 | 0.034427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6238-6_0_5_line_78 |  | 78 | 79 | 0.0060267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6238-6_0_5_line_79 |  | 79 | 80 | 0.011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6238-6_0_5_line_80 |  | 80 | 81 | 0.0011215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6238-6_0_5_line_81 |  | 81 | 82 | 0.01183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6238-6_0_5_line_82 |  | 82 | 83 | 0.0023145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6238-6_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 84 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2601248.7343 | 1122225.2872 | 2601245.8062 | 1122225.7255
1 | 2601248.7343 | 1122225.2872 | 2601253.2783 | 1122224.6072
2 | 2601233.5689 | 1122227.5569 | 2601245.8062 | 1122225.7255
3 | 2601255.0511 | 1122224.3418 | 2601253.2783 | 1122224.6072
4 | 2601255.0511 | 1122224.3418 | 2601255.0511 | 1122224.3418 | 2601258.3524 | 1122223.2584
5 | 2601264.7587 | 1122221.156 | 2601258.3524 | 1122223.2584
6 | 2601224.1427 | 1122140.9173 | 2601246.6395 | 1122134.8076
7 | 2601224.1427 | 1122140.9173 | 2601222.3652 | 1122120.0068 | 2601243.2033 | 1122114.7703
8 | 2601272.5998 | 1122111.716 | 2601259.6757 | 1122119.347 | 2601246.6395 | 1122134.8076 | 2601246.6395 | 1122134.8076
9 | 2601288.6462 | 1122213.3167 | 2601264.7587 | 1122221.156
10 | 2601298.2478 | 1122210.1657 | 2601288.6462 | 1122213.3167
11 | 2601298.2478 | 1122210.1657 | 2601313.4179 | 1122205.411 | 2601323.5518 | 1122202.6784 | 2601333.6394 | 1122200.2015
12 | 2601298.2478 | 1122210.1657 | 2601300.1976 | 1122216.4581 | 2601301.4754 | 1122223.696
13 | 2601333.6394 | 1122200.2015 | 2601330.8416 | 1122187.6298
14 | 2601333.6394 | 1122200.2015 | 2601337.387 | 1122199.4782
15 | 2601306.366 | 1122251.3979 | 2601301.4754 | 1122223.696
16 | 2601330.6645 | 1122186.8339 | 2601330.8416 | 1122187.6298
17 | 2601337.387 | 1122199.4782 | 2601345.1459 | 1122197.9806 | 2601358.8349 | 1122195.7491 | 2601370.4201 | 1122194.2475
18 | 2601306.85 | 1122254.1394 | 2601306.366 | 1122251.3979
19 | 2601306.85 | 1122254.1394 | 2601309.4529 | 1122268.8829
20 | 2601309.4529 | 1122268.8829 | 2601310.3346 | 1122273.8771 | 2601313.5027 | 1122280.5254 | 2601314.5339 | 1122281.7609
21 | 2601330.8666 | 1122294.8471 | 2601324.4049 | 1122291.0328 | 2601317.6044 | 1122285.4398 | 2601314.5339 | 1122281.7609
22 | 2601330.6645 | 1122186.8339 | 2601325.3415 | 1122162.9149 | 2601324.8123 | 1122158.0663
23 | 2601371.6107 | 1122194.0932 | 2601370.4201 | 1122194.2475
24 | 2601330.8666 | 1122294.8471 | 2601327.264 | 1122300.7159 | 2601324.8856 | 1122315.2978
25 | 2601330.8666 | 1122294.8471 | 2601333.8221 | 1122296.5504
26 | 2601324.8856 | 1122315.2978 | 2601324.3444 | 1122318.6157
27 | 2601333.8221 | 1122296.5504 | 2601341.1407 | 1122300.768
28 | 2601316.3125 | 1122342.2561 | 2601320.3996 | 1122342.8017 | 2601324.3444 | 1122318.6157
29 | 2601341.1407 | 1122300.768 | 2601353.0796 | 1122307.6483
30 | 2601316.3125 | 1122342.2561 | 2601306.6945 | 1122341.2527
31 | 2601310.3478 | 1122360.0303 | 2601315.1153 | 1122351.7161 | 2601316.3125 | 1122342.2561
32 | 2601360.6995 | 1122312.0396 | 2601353.0796 | 1122307.6483
33 | 2601288.9672 | 1122341.2612 | 2601301.1517 | 1122340.6745 | 2601306.6945 | 1122341.2527
34 | 2601354.0834 | 1122345.8213 | 2601358.4701 | 1122315.5408 | 2601360.6995 | 1122312.0396
35 | 2601360.6995 | 1122312.0396 | 2601369.5809 | 1122317.4459
36 | 2601354.0834 | 1122345.8213 | 2601351.7022 | 1122374.268
37 | 2601354.0834 | 1122345.8213 | 2601349.8402 | 1122354.5803 | 2601343.2045 | 1122368.5562
38 | 2601388.3974 | 1122328.9 | 2601369.5809 | 1122317.4459
39 | 2601340.7364 | 1122373.7544 | 2601343.2045 | 1122368.5562
40 | 2601395.6288 | 1122333.3019 | 2601388.3974 | 1122328.9
41 | 2601383.731 | 1122192.861 | 2601374.5906 | 1122193.707 | 2601371.6107 | 1122194.0932
42 | 2601383.731 | 1122192.861 | 2601390.647 | 1122192.2209 | 2601402.8165 | 1122191.2342 | 2601407.9779 | 1122190.6424
43 | 2601407.9779 | 1122190.6424 | 2601408.3376 | 1122190.6012
44 | 2601324.8123 | 1122158.0663 | 2601323.2791 | 1122144.0184
45 | 2601369.0282 | 1122066.1173 | 2601370.903 | 1122068.3292
46 | 2601363.707 | 1122059.8393 | 2601369.0282 | 1122066.1173
47 | 2601372.5607 | 1122070.2849 | 2601370.903 | 1122068.3292
48 | 2601360.623 | 1122056.0924 | 2601361.7486 | 1122057.5266 | 2601363.707 | 1122059.8393
49 | 2601346.3145 | 1122069.0067 | 2601363.707 | 1122059.8393
50 | 2601372.5607 | 1122070.2849 | 2601375.0253 | 1122073.1927 | 2601390.2233 | 1122084.2236 | 2601391.4795 | 1122084.9985
51 | 2601360.623 | 1122056.0924 | 2601339.1363 | 1122059.2555
52 | 2601360.623 | 1122056.0924 | 2601350.0097 | 1122042.6095
53 | 2601400.8952 | 1122090.8069 | 2601391.4795 | 1122084.9985
54 | 2601339.1363 | 1122059.2555 | 2601307.7816 | 1122063.8713
55 | 2601400.8952 | 1122090.8069 | 2601390.9814 | 1122108.6579
56 | 2601400.8952 | 1122090.8069 | 2601405.9381 | 1122093.9207 | 2601410.1024 | 1122096.0099
57 | 2601307.7816 | 1122063.8713 | 2601280.9246 | 1122106.8007
58 | 2601390.9814 | 1122108.6579 | 2601390.9814 | 1122108.6579 | 2601394.4044 | 1122113.8723 | 2601399.2252 | 1122116.5821
59 | 2601410.1024 | 1122096.0099 | 2601419.2574 | 1122100.6032
60 | 2601399.2252 | 1122116.5821 | 2601407.9356 | 1122121.4781
61 | 2601280.9246 | 1122106.8007 | 2601272.5998 | 1122111.716
62 | 2601322.455 | 1122136.468 | 2601272.5998 | 1122111.716
63 | 2601422.9735 | 1122129.9309 | 2601407.9356 | 1122121.4781
64 | 2601322.455 | 1122136.468 | 2601323.2791 | 1122144.0184
65 | 2601333.074 | 1122123.1565 | 2601323.8213 | 1122130.3876 | 2601322.455 | 1122136.468 | 2601322.455 | 1122136.468
66 | 2601333.074 | 1122123.1565 | 2601336.765 | 1122120.272
67 | 2601339.3788 | 1122118.2293 | 2601336.765 | 1122120.272
68 | 2601452.356 | 1122366.1084 | 2601433.5575 | 1122355.4101 | 2601431.3446 | 1122354.1294
69 | 2601416.1083 | 1122345.3123 | 2601431.3446 | 1122354.1294
70 | 2601452.356 | 1122366.1084 | 2601460.3322 | 1122349.8022
71 | 2601416.1083 | 1122345.3123 | 2601420.1198 | 1122338.8656 | 2601422.0652 | 1122332.9498
72 | 2601416.1083 | 1122345.3123 | 2601406.5016 | 1122339.6784
73 | 2601460.3935 | 1122349.6769 | 2601460.3322 | 1122349.8022
74 | 2601429.7949 | 1122305.3679 | 2601430.2893 | 1122314.3004 | 2601429.3708 | 1122317.9241 | 2601425.5371 | 1122322.3921 | 2601422.0652 | 1122332.9498
75 | 2601395.6288 | 1122333.3019 | 2601406.5016 | 1122339.6784
76 | 2601438.8121 | 1122273.8492 | 2601432.0714 | 1122276.8603 | 2601429.5258 | 1122279.9945 | 2601429.0469 | 1122283.3516 | 2601428.83 | 1122287.9316 | 2601429.7949 | 1122305.3679
77 | 2601395.6288 | 1122333.3019 | 2601389.7663 | 1122340.871 | 2601388.0533 | 1122345.2061 | 2601387.0108 | 1122351.9425 | 2601385.828 | 1122365.271
78 | 2601408.3376 | 1122190.6012 | 2601414.3251 | 1122189.9147
79 | 2601425.9475 | 1122188.031 | 2601414.8164 | 1122189.8584 | 2601414.3251 | 1122189.9147
80 | 2601425.9475 | 1122188.031 | 2601426.7857 | 1122187.8934 | 2601427.0494 | 1122187.8265
81 | 2601438.516 | 1122184.9168 | 2601427.0494 | 1122187.8265
82 | 2601438.516 | 1122184.9168 | 2601440.6808 | 1122184.0977

## bus_geodata
| x | y | coords
0 | 2601248.7343 | 1122225.2872
1 | 2601245.8062 | 1122225.7255
2 | 2601253.2783 | 1122224.6072
3 | 2601233.5689 | 1122227.5569
4 | 2601255.0511 | 1122224.3418
5 | 2601258.3524 | 1122223.2584
6 | 2601224.1427 | 1122140.9173
7 | 2601246.6395 | 1122134.8076
8 | 2601243.2033 | 1122114.7703
9 | 2601264.7587 | 1122221.156
10 | 2601288.6462 | 1122213.3167
11 | 2601298.2478 | 1122210.1657
12 | 2601333.6394 | 1122200.2015
13 | 2601301.4754 | 1122223.696
14 | 2601330.8416 | 1122187.6298
15 | 2601337.387 | 1122199.4782
16 | 2601306.366 | 1122251.3979
17 | 2601306.85 | 1122254.1394
18 | 2601309.4529 | 1122268.8829
19 | 2601314.5339 | 1122281.7609
20 | 2601330.6645 | 1122186.8339
21 | 2601370.4201 | 1122194.2475
22 | 2601330.8666 | 1122294.8471
23 | 2601324.8856 | 1122315.2978
24 | 2601333.8221 | 1122296.5504
25 | 2601324.3444 | 1122318.6157
26 | 2601341.1407 | 1122300.768
27 | 2601316.3125 | 1122342.2561
28 | 2601353.0796 | 1122307.6483
29 | 2601306.6945 | 1122341.2527
30 | 2601310.3478 | 1122360.0303
31 | 2601288.9672 | 1122341.2612
32 | 2601360.6995 | 1122312.0396
33 | 2601354.0834 | 1122345.8213
34 | 2601369.5809 | 1122317.4459
35 | 2601351.7022 | 1122374.268
36 | 2601343.2045 | 1122368.5562
37 | 2601388.3974 | 1122328.9
38 | 2601371.6107 | 1122194.0932
39 | 2601383.731 | 1122192.861
40 | 2601407.9779 | 1122190.6424
41 | 2601324.8123 | 1122158.0663
42 | 2601369.0282 | 1122066.1173
43 | 2601370.903 | 1122068.3292
44 | 2601363.707 | 1122059.8393
45 | 2601372.5607 | 1122070.2849
46 | 2601360.623 | 1122056.0924
47 | 2601346.3145 | 1122069.0067
48 | 2601391.4795 | 1122084.9985
49 | 2601339.1363 | 1122059.2555
50 | 2601350.0097 | 1122042.6095
51 | 2601400.8952 | 1122090.8069
52 | 2601307.7816 | 1122063.8713
53 | 2601390.9814 | 1122108.6579
54 | 2601410.1024 | 1122096.0099
55 | 2601399.2252 | 1122116.5821
56 | 2601419.2574 | 1122100.6032
57 | 2601280.9246 | 1122106.8007
58 | 2601272.5998 | 1122111.716
59 | 2601407.9356 | 1122121.4781
60 | 2601422.9735 | 1122129.9309
61 | 2601323.2791 | 1122144.0184
62 | 2601322.455 | 1122136.468
63 | 2601333.074 | 1122123.1565
64 | 2601336.765 | 1122120.272
65 | 2601431.3445 | 1122354.1294
66 | 2601452.356 | 1122366.1084
67 | 2601416.1083 | 1122345.3123
68 | 2601460.3322 | 1122349.8022
69 | 2601422.0652 | 1122332.9498
70 | 2601406.5016 | 1122339.6784
71 | 2601460.3935 | 1122349.6769
72 | 2601429.7949 | 1122305.3679
73 | 2601395.6288 | 1122333.3019
74 | 2601438.8121 | 1122273.8492
75 | 2601385.828 | 1122365.271
76 | 2601340.7364 | 1122373.7544
77 | 2601339.3788 | 1122118.2293
78 | 2601408.3376 | 1122190.6012
79 | 2601414.3251 | 1122189.9147
80 | 2601425.9475 | 1122188.031
81 | 2601427.0494 | 1122187.8265
82 | 2601438.516 | 1122184.9168
83 | 2601440.6808 | 1122184.0977
84 | 2601333.6394 | 1122200.2015

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1