## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6239-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6239-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6239-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6239-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6239-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6239-4_0_6_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_6239-4_0_6_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_6239-4_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6239-4_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6239-4_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6239-4_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6239-4_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6239-4_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6239-4_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6239-4_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_6239-4_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6239-4_0_6_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_6239-4_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6239-4_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6239-4_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6239-4_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6239-4_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6239-4_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6239-4_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6239-4_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6239-4_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6239-4_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6239-4_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6239-4_0_6_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_6239-4_0_6_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_6239-4_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6239-4_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_6239-4_0_6_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6239-4_0_6_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6239-4_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6239-4_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6239-4_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6239-4_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6239-4_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6239-4_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6239-4_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6239-4_0_6_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_6239-4_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6239-4_0_6_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_6239-4_0_6_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_6239-4_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6239-4_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6239-4_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6239-4_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6239-4_0_6_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_6239-4_0_6_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_6239-4_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_6239-4_0_6_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_6239-4_0_6_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_6239-4_0_6_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6239-4_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6239-4_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6239-4_0_6_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_6239-4_0_6_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_6239-4_0_6_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_6239-4_0_6_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_6239-4_0_6_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_6239-4_0_6_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_6239-4_0_6_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_6239-4_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_6239-4_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6239-4_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_6239-4_0_6_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_6239-4_0_6_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_6239-4_0_6_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_6239-4_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_6239-4_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_6239-4_0_6_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_6239-4_0_6_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_6239-4_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_6239-4_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6239-4_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_6239-4_0_6_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_6239-4_0_6_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_6239-4_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6239-4_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_6239-4_0_6_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_6239-4_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_6239-4_0_6_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_6239-4_0_6_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_6239-4_0_6_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_6239-4_0_6_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_6239-4_0_6_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6239-4_0_6_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6239-4_0_6_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_6239-4_0_6_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_6239-4_0_6_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_6239-4_0_6_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_6239-4_0_6_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_6239-4_0_6_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_6239-4_0_6_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_6239-4_0_6_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_6239-4_0_6_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_6239-4_0_6_node_100 | 0.4 | n |  | TRUE
99 | bus_MV_95_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6239-4_0_6_load_0 | 0 | 0.0055391 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6239-4_0_6_load_1 | 1 | 0.0041316 | 0.0010355 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6239-4_0_6_load_2 | 2 | 0.0059007 | 0.0014789 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6239-4_0_6_load_3 | 3 | 0.0061091 | 0.0015311 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6239-4_0_6_load_4 | 4 | 0.015895 | 0.0039837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6239-4_0_6_load_55 | 5 | 0.0062099 | 0.0015563 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6239-4_0_6_load_5 | 7 | 0.0033681 | 0.00084412 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6239-4_0_6_load_6 | 8 | 0.0028661 | 0.00071832 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6239-4_0_6_load_8 | 10 | 0.0028103 | 0.00070433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6239-4_0_6_load_9 | 11 | 0.0087188 | 0.0021851 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6239-4_0_6_load_15 | 12 | 0.0030365 | 0.00076102 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6239-4_0_6_load_10 | 13 | 0.0080977 | 0.0020295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6239-4_0_6_load_16 | 14 | 0.0064513 | 0.0016168 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6239-4_0_6_load_11 | 15 | 0.0087941 | 0.002204 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6239-4_0_6_load_27 | 16 | 0.009774 | 0.0024496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6239-4_0_6_load_12 | 17 | 0.0089657 | 0.002247 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6239-4_0_6_load_13 | 18 | 0.0083359 | 0.0020892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6239-4_0_6_load_14 | 19 | 0.03419 | 0.0085688 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6239-4_0_6_load_24 | 21 | 0.0075097 | 0.0018821 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6239-4_0_6_load_19 | 22 | 0.011629 | 0.0029146 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6239-4_0_6_load_18 | 24 | 0.0049552 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6239-4_0_6_load_20 | 25 | 0.0029773 | 0.00074618 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6239-4_0_6_load_23 | 27 | 0.0027979 | 0.00070123 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6239-4_0_6_load_54 | 28 | 0.0089573 | 0.0022449 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6239-4_0_6_load_53 | 29 | 0.0043134 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6239-4_0_6_load_25 | 30 | 0.013215 | 0.0033119 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6239-4_0_6_load_26 | 31 | 0.005827 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6239-4_0_6_load_28 | 35 | 0.0058059 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6239-4_0_6_load_30 | 38 | 0.012094 | 0.0030309 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6239-4_0_6_load_31 | 39 | 0.010828 | 0.0027138 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6239-4_0_6_load_52 | 41 | 0.0036337 | 0.00091069 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6239-4_0_6_load_61 | 44 | 0.0023123 | 0.00057951 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6239-4_0_6_load_42 | 45 | 0.0064525 | 0.0016172 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6239-4_0_6_load_44 | 47 | 0.008055 | 0.0020188 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6239-4_0_6_load_43 | 48 | 0.0053939 | 0.0013518 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6239-4_0_6_load_58 | 49 | 0.0049735 | 0.0012465 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6239-4_0_6_load_59 | 50 | 0.0034126 | 0.00085528 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6239-4_0_6_load_63 | 51 | 0.0055922 | 0.0014015 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6239-4_0_6_load_65 | 53 | 0.0084729 | 0.0021235 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6239-4_0_6_load_48 | 55 | 0.002549 | 0.00063884 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6239-4_0_6_load_47 | 56 | 0.0033489 | 0.00083932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6239-4_0_6_load_69 | 59 | 0.0075345 | 0.0018883 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6239-4_0_6_load_60 | 60 | 0.012469 | 0.0031251 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6239-4_0_6_load_46 | 61 | 0.0074808 | 0.0018749 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6239-4_0_6_load_87 | 62 | 0.012969 | 0.0032503 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6239-4_0_6_load_49 | 64 | 0.0061202 | 0.0015339 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6239-4_0_6_load_50 | 65 | 0.0053436 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6239-4_0_6_load_51 | 66 | 0.014858 | 0.0037237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6239-4_0_6_load_79 | 67 | 0.0057491 | 0.0014409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6239-4_0_6_load_71 | 69 | 0.0029499 | 0.00073932 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6239-4_0_6_load_68 | 70 | 0.0033401 | 0.00083712 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6239-4_0_6_load_88 | 73 | 0.005999 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6239-4_0_6_load_76 | 75 | 0.0082946 | 0.0020788 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6239-4_0_6_load_78 | 76 | 0.014079 | 0.0035286 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6239-4_0_6_load_89 | 77 | 0.0054793 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6239-4_0_6_load_74 | 80 | 0.007886 | 0.0019764 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6239-4_0_6_load_81 | 82 | 0.0070346 | 0.001763 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6239-4_0_6_load_84 | 83 | 0.0046088 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6239-4_0_6_load_94 | 85 | 0.0078035 | 0.0019557 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6239-4_0_6_load_90 | 86 | 0.01092 | 0.0027369 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6239-4_0_6_load_85 | 87 | 0.0086739 | 0.0021739 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6239-4_0_6_load_86 | 88 | 0.008446 | 0.0021168 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6239-4_0_6_load_92 | 90 | 0.01213 | 0.0030402 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6239-4_0_6_load_101 | 94 | 0.0058924 | 0.0014768 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6239-4_0_6_load_95 | 96 | 0.012175 | 0.0030513 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6239-4_0_6_load_99 | 97 | 0.015541 | 0.0038949 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6239-4_0_6_load_100 | 98 | 0.0087531 | 0.0021937 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6239-4_0_6_line_0 |  | 0 | 1 | 0.026427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6239-4_0_6_line_1 |  | 0 | 2 | 3.0626e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6239-4_0_6_line_2 |  | 1 | 3 | 0.038499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6239-4_0_6_line_3 |  | 2 | 4 | 0.0051007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6239-4_0_6_line_4 |  | 3 | 5 | 0.0038939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6239-4_0_6_line_5 |  | 5 | 6 | 0.044655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6239-4_0_6_line_6 |  | 6 | 57 | 0.006665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6239-4_0_6_line_7 |  | 6 | 40 | 0.011195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6239-4_0_6_line_8 |  | 7 | 8 | 0.0025121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6239-4_0_6_line_9 |  | 7 | 9 | 0.075614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6239-4_0_6_line_10 |  | 8 | 10 | 0.0075971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6239-4_0_6_line_11 |  | 9 | 11 | 0.084262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6239-4_0_6_line_12 |  | 10 | 12 | 0.0050128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6239-4_0_6_line_13 |  | 11 | 13 | 0.033802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6239-4_0_6_line_14 |  | 12 | 14 | 0.0013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6239-4_0_6_line_15 |  | 13 | 15 | 0.025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6239-4_0_6_line_16 |  | 14 | 23 | 0.0090425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6239-4_0_6_line_17 |  | 15 | 16 | 0.035002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6239-4_0_6_line_18 |  | 17 | 18 | 0.016529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6239-4_0_6_line_19 |  | 18 | 19 | 0.0084353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6239-4_0_6_line_20 |  | 19 | 20 | 0.013498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6239-4_0_6_line_21 |  | 20 | 21 | 0.0094523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6239-4_0_6_line_22 |  | 20 | 22 | 0.01054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6239-4_0_6_line_23 |  | 22 | 23 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6239-4_0_6_line_24 |  | 23 | 24 | 0.0088844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6239-4_0_6_line_25 |  | 24 | 25 | 0.0092721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6239-4_0_6_line_26 |  | 25 | 26 | 0.0088497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6239-4_0_6_line_27 |  | 26 | 27 | 0.006076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6239-4_0_6_line_28 |  | 27 | 28 | 0.0018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6239-4_0_6_line_29 |  | 28 | 29 | 0.010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6239-4_0_6_line_30 |  | 29 | 66 | 0.0051397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6239-4_0_6_line_31 |  | 30 | 31 | 0.021445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6239-4_0_6_line_32 |  | 31 | 32 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6239-4_0_6_line_33 |  | 32 | 33 | 0.024303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6239-4_0_6_line_34 |  | 32 | 34 | 0.008709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6239-4_0_6_line_35 |  | 33 | 45 | 0.0029656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6239-4_0_6_line_36 |  | 33 | 42 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6239-4_0_6_line_37 |  | 34 | 39 | 0.033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6239-4_0_6_line_38 |  | 35 | 36 | 0.077052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6239-4_0_6_line_39 |  | 36 | 37 | 0.11394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6239-4_0_6_line_40 |  | 37 | 38 | 0.11744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6239-4_0_6_line_41 |  | 38 | 39 | 0.013551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6239-4_0_6_line_42 |  | 40 | 41 | 0.0046794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6239-4_0_6_line_43 |  | 41 | 55 | 0.015944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6239-4_0_6_line_44 |  | 42 | 43 | 0.020505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6239-4_0_6_line_45 |  | 42 | 44 | 0.014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6239-4_0_6_line_46 |  | 43 | 58 | 0.010853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6239-4_0_6_line_47 |  | 43 | 59 | 0.0048038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6239-4_0_6_line_48 |  | 44 | 60 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6239-4_0_6_line_49 |  | 45 | 48 | 0.0073142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6239-4_0_6_line_50 |  | 46 | 47 | 0.0030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6239-4_0_6_line_51 |  | 46 | 48 | 0.011765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6239-4_0_6_line_52 |  | 47 | 61 | 0.0096271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6239-4_0_6_line_53 |  | 49 | 50 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6239-4_0_6_line_54 |  | 50 | 60 | 0.010927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6239-4_0_6_line_55 |  | 51 | 52 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6239-4_0_6_line_56 |  | 52 | 53 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6239-4_0_6_line_57 |  | 53 | 70 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6239-4_0_6_line_58 |  | 54 | 55 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6239-4_0_6_line_59 |  | 54 | 56 | 0.0045792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6239-4_0_6_line_60 |  | 55 | 64 | 0.010124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6239-4_0_6_line_61 |  | 56 | 61 | 0.008715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6239-4_0_6_line_62 |  | 57 | 67 | 0.048815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6239-4_0_6_line_63 |  | 58 | 68 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6239-4_0_6_line_64 |  | 58 | 69 | 0.0072066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6239-4_0_6_line_65 |  | 59 | 70 | 0.0095785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6239-4_0_6_line_66 |  | 62 | 63 | 0.060254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6239-4_0_6_line_67 |  | 63 | 84 | 0.003848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6239-4_0_6_line_68 |  | 63 | 81 | 0.015311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6239-4_0_6_line_69 |  | 64 | 65 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6239-4_0_6_line_70 |  | 65 | 66 | 0.0062266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6239-4_0_6_line_71 |  | 68 | 78 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6239-4_0_6_line_72 |  | 68 | 75 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6239-4_0_6_line_73 |  | 71 | 72 | 0.020082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6239-4_0_6_line_74 |  | 71 | 73 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_6239-4_0_6_line_75 |  | 72 | 76 | 0.0062384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6239-4_0_6_line_76 |  | 72 | 74 | 0.004853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6239-4_0_6_line_77 |  | 73 | 77 | 0.0083643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6239-4_0_6_line_78 |  | 74 | 75 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_6239-4_0_6_line_79 |  | 77 | 86 | 0.033483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_6239-4_0_6_line_80 |  | 78 | 79 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6239-4_0_6_line_81 |  | 79 | 80 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6239-4_0_6_line_82 |  | 81 | 82 | 0.031114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6239-4_0_6_line_83 |  | 82 | 83 | 0.06661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_6239-4_0_6_line_84 |  | 83 | 87 | 0.048761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6239-4_0_6_line_85 |  | 84 | 85 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6239-4_0_6_line_86 |  | 84 | 86 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_6239-4_0_6_line_87 |  | 87 | 88 | 0.0047581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6239-4_0_6_line_88 |  | 88 | 89 | 0.030932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6239-4_0_6_line_89 |  | 89 | 90 | 0.01162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6239-4_0_6_line_90 |  | 90 | 91 | 0.037797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6239-4_0_6_line_91 |  | 91 | 95 | 0.058924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6239-4_0_6_line_92 |  | 92 | 93 | 0.06559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6239-4_0_6_line_93 |  | 92 | 94 | 0.082997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6239-4_0_6_line_94 |  | 93 | 95 | 0.063474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6239-4_0_6_line_95 |  | 93 | 96 | 0.03463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6239-4_0_6_line_96 |  | 95 | 97 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6239-4_0_6_line_97 |  | 97 | 98 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6239-4_0_6_trafo_45 | 0.63 MVA 20/0.4 kV | 99 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2599900.5665 | 1126699.1259 | 2599901.9253 | 1126693.452 | 2599904.2061 | 1126686.6375 | 2599907.2421 | 1126679.9898 | 2599910.2688 | 1126674.6959
1 | 2599900.5594 | 1126699.1556 | 2599900.5665 | 1126699.1259
2 | 2599930.8064 | 1126642.1697 | 2599921.6828 | 1126655.2107 | 2599914.5703 | 1126667.1722 | 2599910.2688 | 1126674.6959
3 | 2599899.4184 | 1126704.1255 | 2599899.5213 | 1126703.4903 | 2599900.5594 | 1126699.1556
4 | 2599933.0386 | 1126638.9791 | 2599930.8064 | 1126642.1697
5 | 2599961.6768 | 1126604.9075 | 2599954.5487 | 1126611.1218 | 2599945.8563 | 1126622.0162 | 2599933.4112 | 1126638.4467 | 2599933.0386 | 1126638.9791
6 | 2599961.6768 | 1126604.9075 | 2599960.2896 | 1126603.4402 | 2599957.8236 | 1126600.5944 | 2599957.3766 | 1126599.8274
7 | 2599970.9629 | 1126611.0548 | 2599968.0884 | 1126609.7098 | 2599966.0309 | 1126608.4647 | 2599964.3355 | 1126607.342 | 2599961.6768 | 1126604.9075
8 | 2600001.0631 | 1126726.2593 | 2600000.8291 | 1126723.7582
9 | 2599993.321 | 1126800.2021 | 2600001.8127 | 1126772.8999 | 2600004.3247 | 1126758.3261 | 2600002.5752 | 1126742.4183 | 2600001.0631 | 1126726.2593
10 | 2600000.8291 | 1126723.7582 | 2600000.1213 | 1126716.1941
11 | 2599993.321 | 1126800.2021 | 2600019.0356 | 1126773.4333 | 2600039.4564 | 1126749.0101 | 2600053.3504 | 1126742.5844
12 | 2600000.1213 | 1126716.1941 | 2599999.6543 | 1126711.2032
13 | 2600084.0316 | 1126728.3978 | 2600073.3475 | 1126733.3357 | 2600056.1861 | 1126741.273 | 2600053.3504 | 1126742.5844
14 | 2599999.6543 | 1126711.2032 | 2599999.6543 | 1126711.2032 | 2599999.7854 | 1126709.8223
15 | 2600084.0316 | 1126728.3978 | 2600107.1887 | 1126717.6951
16 | 2600000.6405 | 1126700.8203 | 2599999.7854 | 1126709.8223
17 | 2600138.9601 | 1126703.0083 | 2600120.1773 | 1126711.6921 | 2600107.1887 | 1126717.6951
18 | 2600031.8635 | 1126695.4463 | 2600032.4512 | 1126695.9732 | 2600037.4911 | 1126703.4546 | 2600040.2202 | 1126709.594
19 | 2600031.8635 | 1126695.4463 | 2600025.5827 | 1126689.8156
20 | 2600016.014 | 1126680.2991 | 2600024.2673 | 1126688.6364 | 2600025.5827 | 1126689.8156
21 | 2600016.014 | 1126680.2991 | 2600021.305 | 1126672.4664
22 | 2600016.014 | 1126680.2991 | 2600008.6653 | 1126687.8549
23 | 2600000.6405 | 1126700.8203 | 2600005.3103 | 1126691.3045 | 2600008.6653 | 1126687.8549
24 | 2600000.6405 | 1126700.8203 | 2600000.4854 | 1126691.9373
25 | 2600000.4854 | 1126691.9373 | 2600000.3235 | 1126682.6666
26 | 2600000.2934 | 1126673.8183 | 2600000.2318 | 1126677.42 | 2600000.3235 | 1126682.6666
27 | 2600000.2934 | 1126673.8183 | 2599996.45 | 1126669.1124
28 | 2599995.2785 | 1126667.6779 | 2599996.45 | 1126669.1124
29 | 2599995.2785 | 1126667.6779 | 2599988.5712 | 1126659.4654
30 | 2599985.7078 | 1126655.2062 | 2599987.7554 | 1126658.4665 | 2599988.5712 | 1126659.4654
31 | 2600047.2775 | 1126633.5575 | 2600039.24 | 1126645.9155 | 2600035.4877 | 1126651.4704
32 | 2600056.7946 | 1126618.9245 | 2600047.2775 | 1126633.5575
33 | 2600033.938 | 1126614.3112 | 2600036.3115 | 1126614.3446 | 2600050.7761 | 1126614.7892 | 2600051.8318 | 1126615.1115 | 2600052.6641 | 1126615.6896 | 2600053.2806 | 1126616.4566 | 2600053.6967 | 1126617.257 | 2600056.7946 | 1126618.9245
34 | 2600061.5493 | 1126611.6209 | 2600056.7946 | 1126618.9245
35 | 2600033.938 | 1126614.3112 | 2600030.9728 | 1126614.2599
36 | 2600033.938 | 1126614.3112 | 2600034.0844 | 1126609.5534 | 2600034.331 | 1126603.9062
37 | 2600061.5493 | 1126611.6209 | 2600072.0991 | 1126611.9322 | 2600086.8873 | 1126612.3546 | 2600094.642 | 1126612.4162
38 | 2600140.7776 | 1126542.6655 | 2600152.3366 | 1126577.1602 | 2600181.868 | 1126605.1268
39 | 2600140.7776 | 1126542.6655 | 2600139.2055 | 1126542.1764 | 2600134.944 | 1126537.7075 | 2600129.8964 | 1126530.9486 | 2600126.2283 | 1126524.3231 | 2600125.0493 | 1126519.2317 | 2600124.9414 | 1126515.9412 | 2600124.8489 | 1126513.1732 | 2600126.7602 | 1126507.4593 | 2600130.4438 | 1126502.2902 | 2600136.0695 | 1126496.6764 | 2600144.6545 | 1126488.4836 | 2600146.2266 | 1126486.4271 | 2600146.6428 | 1126484.1148 | 2600146.481 | 1126481.7359 | 2600144.9783 | 1126479.0012 | 2600142.4429 | 1126476.1776 | 2600136.586 | 1126481.1577 | 2600128.7332 | 1126488.9392 | 2600123.5082 | 1126495.2089 | 2600120.4025 | 1126499.7444
40 | 2600120.4025 | 1126499.7444 | 2600118.5221 | 1126502.479 | 2600113.5515 | 1126511.2166 | 2600110.5151 | 1126518.9203 | 2600107.6714 | 1126527.2911 | 2600105.8681 | 1126535.495 | 2600104.8586 | 1126544.3438 | 2600104.5657 | 1126552.7256 | 2600105.1744 | 1126560.9408 | 2600106.3534 | 1126568.5778 | 2600108.095 | 1126575.8703 | 2600109.8289 | 1126581.762 | 2600112.8651 | 1126589.2213 | 2600113.9825 | 1126592.6229 | 2600114.545 | 1126596.0246 | 2600114.3061 | 1126600.449 | 2600113.2965 | 1126604.4287 | 2600110.7612 | 1126608.0526 | 2600107.9021 | 1126610.2537
41 | 2600107.9021 | 1126610.2537 | 2600103.4634 | 1126611.7544 | 2600098.0844 | 1126612.4436 | 2600094.642 | 1126612.4162
42 | 2599970.9629 | 1126611.0548 | 2599970.5237 | 1126613.2337 | 2599971.035 | 1126615.6365
43 | 2599974.3539 | 1126631.2312 | 2599971.035 | 1126615.6365
44 | 2600014.1022 | 1126607.0523 | 2600016.2984 | 1126606.7188 | 2600019.4117 | 1126605.9962 | 2600021.9394 | 1126605.3736 | 2600025.7925 | 1126604.462 | 2600028.1737 | 1126604.0952 | 2600031.0635 | 1126603.795 | 2600034.331 | 1126603.9062
45 | 2600034.331 | 1126603.9062 | 2600040.0104 | 1126604.0506 | 2600042.7153 | 1126604.2063 | 2600045.6899 | 1126604.9288 | 2600048.2123 | 1126605.7228
46 | 2600014.1022 | 1126607.0523 | 2600003.275 | 1126608.1641
47 | 2600014.1022 | 1126607.0523 | 2600014.9267 | 1126604.8846 | 2600015.8078 | 1126602.5615
48 | 2600063.5328 | 1126608.2667 | 2600056.8254 | 1126608.1081 | 2600053.1958 | 1126607.2299 | 2600049.7511 | 1126606.2072 | 2600048.2123 | 1126605.7228
49 | 2600030.9728 | 1126614.2599 | 2600026.8791 | 1126614.189 | 2600023.6596 | 1126614.1409
50 | 2600011.9214 | 1126614.8672 | 2600011.0198 | 1126615.9011 | 2600009.5864 | 1126616.6792 | 2600009.5461 | 1126616.6938
51 | 2600011.9214 | 1126614.8672 | 2600017.4776 | 1126614.4447 | 2600022.4172 | 1126614.1223 | 2600023.6596 | 1126614.1409
52 | 2600009.5461 | 1126616.6938 | 2600007.1205 | 1126617.5686 | 2600004.3154 | 1126618.5802 | 2600000.5248 | 1126620.0528
53 | 2600089.3555 | 1126608.7209 | 2600079.5433 | 1126608.6528 | 2600074.4569 | 1126608.5281
54 | 2600074.4569 | 1126608.5281 | 2600070.9278 | 1126608.4416 | 2600063.5328 | 1126608.2667
55 | 2600045.2813 | 1126562.5526 | 2600053.9432 | 1126566.1655 | 2600056.677 | 1126566.9998
56 | 2600045.2813 | 1126562.5526 | 2600043.0927 | 1126566.2767 | 2600030.5855 | 1126571.5237 | 2600022.8654 | 1126582.8338
57 | 2600017.2787 | 1126593.5038 | 2600018.7026 | 1126588.9323 | 2600022.8654 | 1126582.8338
58 | 2599974.3539 | 1126631.2312 | 2599976.7968 | 1126630.1196 | 2599988.1633 | 1126624.9391
59 | 2599988.1633 | 1126624.9391 | 2599989.4348 | 1126624.361 | 2599992.4013 | 1126623.2086
60 | 2599974.3539 | 1126631.2312 | 2599978.2393 | 1126640.5802
61 | 2600000.5248 | 1126620.0528 | 2599992.4013 | 1126623.2086
62 | 2599957.3766 | 1126599.8274 | 2599957.0144 | 1126597.5485 | 2599956.1898 | 1126594.8805 | 2599954.3864 | 1126589.767 | 2599953.1842 | 1126586.1763 | 2599951.9896 | 1126582.5301 | 2599950.7334 | 1126578.3281 | 2599947.1267 | 1126566.8448 | 2599945.593 | 1126561.5645 | 2599944.6682 | 1126557.318 | 2599943.8953 | 1126552.9838
63 | 2599990.2821 | 1126593.0569 | 2600000.1076 | 1126597.7368 | 2600003.275 | 1126608.1641
64 | 2600003.275 | 1126608.1641 | 2599998.0733 | 1126608.4531 | 2599996.0823 | 1126608.6062
65 | 2600017.2787 | 1126593.5038 | 2600016.3446 | 1126596.5027 | 2600017.1615 | 1126598.9928 | 2600015.8078 | 1126602.5615
66 | 2599980.0313 | 1126495.276 | 2599974.6909 | 1126499.0002 | 2599969.2503 | 1126502.4019 | 2599963.0853 | 1126506.9598 | 2599958.0917 | 1126512.218 | 2599954.1307 | 1126518.1877 | 2599950.8249 | 1126525.4357 | 2599949.1912 | 1126531.3942 | 2599948.1818 | 1126537.6528 | 2599947.9335 | 1126542.4057
67 | 2599980.0313 | 1126495.276 | 2599982.5128 | 1126498.2219
68 | 2599980.0313 | 1126495.276 | 2599985.5413 | 1126491.0962 | 2599988.7625 | 1126487.6833 | 2599986.6278 | 1126485.8047 | 2599985.8803 | 1126485.3823
69 | 2599978.2393 | 1126640.5802 | 2599981.598 | 1126648.6618 | 2599982.3964 | 1126649.9331
70 | 2599985.7078 | 1126655.2062 | 2599982.3964 | 1126649.9331
71 | 2599990.2821 | 1126593.0569 | 2599975.6094 | 1126587.9101
72 | 2599990.2821 | 1126593.0569 | 2599994.7285 | 1126585.3308 | 2599992.7634 | 1126584.0969 | 2599993.4721 | 1126582.7788
73 | 2600004.0758 | 1126554.0043 | 2599997.9957 | 1126564.3539 | 2599994.0656 | 1126571.4241
74 | 2600004.0758 | 1126554.0043 | 2599997.4098 | 1126550.6139 | 2599997.1216 | 1126540.0278
75 | 2599994.0656 | 1126571.4241 | 2599988.4246 | 1126568.8451 | 2599988.4046 | 1126568.8748
76 | 2599998.489 | 1126573.4472 | 2599994.0656 | 1126571.4241
77 | 2599997.1216 | 1126540.0278 | 2599997.1014 | 1126539.2861 | 2600001.2423 | 1126532.8866
78 | 2599998.489 | 1126573.4472 | 2599993.4721 | 1126582.7788
79 | 2600001.2423 | 1126532.8866 | 2600003.4744 | 1126529.4368 | 2600008.1906 | 1126522.6557 | 2600007.181 | 1126514.9297 | 2599996.1504 | 1126507.4586
80 | 2599975.6094 | 1126587.9101 | 2599966.7319 | 1126596.9702
81 | 2599966.7319 | 1126596.9702 | 2599965.8457 | 1126595.9475 | 2599964.3506 | 1126593.8465 | 2599962.8941 | 1126590.934 | 2599962.108 | 1126588.922 | 2599959.9425 | 1126582.42
82 | 2599985.8803 | 1126485.3823 | 2599984.0924 | 1126484.3818 | 2599981.0792 | 1126483.8816 | 2599964.4797 | 1126484.182 | 2599955.1817 | 1126485.6182
83 | 2599911.7823 | 1126531.5549 | 2599931.1274 | 1126520.1113 | 2599943.3953 | 1126493.6759 | 2599950.3 | 1126486.3722 | 2599955.1817 | 1126485.6182
84 | 2599911.7823 | 1126531.5549 | 2599910.1357 | 1126532.529 | 2599875.766 | 1126544.0134 | 2599866.1386 | 1126548.4738
85 | 2599982.5128 | 1126498.2219 | 2599979.2916 | 1126500.2229 | 2599974.1746 | 1126503.6469 | 2599969.4353 | 1126506.9486 | 2599966.205 | 1126509.4186
86 | 2599982.5128 | 1126498.2219 | 2599996.1504 | 1126507.4586
87 | 2599861.8213 | 1126550.474 | 2599866.1386 | 1126548.4738
88 | 2599833.3204 | 1126562.4683 | 2599852.1543 | 1126554.9528 | 2599861.8213 | 1126550.474
89 | 2599833.3204 | 1126562.4683 | 2599830.5844 | 1126555.0315 | 2599828.7414 | 1126551.8274
90 | 2599826.2365 | 1126515.668 | 2599826.2135 | 1126520.1147 | 2599824.6109 | 1126525.7508 | 2599823.3166 | 1126534.9331 | 2599823.9874 | 1126543.7707 | 2599827.9564 | 1126550.4627 | 2599828.7414 | 1126551.8274
91 | 2599783.3368 | 1126546.4961 | 2599780.285 | 1126543.9505 | 2599785.1166 | 1126538.6477 | 2599791.1042 | 1126533.2781 | 2599798.055 | 1126527.6084 | 2599805.8921 | 1126523.0392 | 2599814.4305 | 1126519.2258 | 2599820.9731 | 1126517.0022 | 2599826.2365 | 1126515.668
92 | 2599743.5667 | 1126583.027 | 2599749.4159 | 1126586.5951 | 2599754.8104 | 1126589.7074 | 2599752.6991 | 1126593.476 | 2599751.4123 | 1126595.9996 | 2599750.7342 | 1126597.5226 | 2599750.2026 | 1126599.09 | 2599750.0717 | 1126600.9131 | 2599748.3303 | 1126604.1926 | 2599748.8774 | 1126604.5372 | 2599750.3495 | 1126607.7164 | 2599749.9798 | 1126611.8963 | 2599748.5776 | 1126618.6552 | 2599748.6473 | 1126624.3246 | 2599751.2369 | 1126629.9828 | 2599754.0036 | 1126633.5177 | 2599758.0494 | 1126636.2188
93 | 2599758.0494 | 1126636.2188 | 2599762.1805 | 1126647.4352 | 2599778.6573 | 1126668.2111 | 2599802.8516 | 1126705.5927
94 | 2599743.5667 | 1126583.027 | 2599749.4159 | 1126586.5951 | 2599754.9408 | 1126578.5464 | 2599755.4494 | 1126577.8127 | 2599780.285 | 1126543.9505 | 2599783.3368 | 1126546.4961
95 | 2599743.5667 | 1126583.027 | 2599753.2141 | 1126567.619 | 2599754.4855 | 1126566.674 | 2599758.2615 | 1126565.0841 | 2599760.5425 | 1126563.2831 | 2599762.5075 | 1126561.271 | 2599765.5349 | 1126557.2274
96 | 2599783.3368 | 1126546.4961 | 2599785.0939 | 1126547.9634 | 2599797.8158 | 1126556.899
97 | 2599800.4535 | 1126569.7955 | 2599802.1488 | 1126566.4716 | 2599802.6958 | 1126563.2033 | 2599801.6014 | 1126560.4242 | 2599798.6882 | 1126557.5118 | 2599797.8158 | 1126556.899

## bus_geodata
| x | y | coords
0 | 2599900.5665 | 1126699.1259
1 | 2599910.2688 | 1126674.6959
2 | 2599900.5594 | 1126699.1556
3 | 2599930.8064 | 1126642.1697
4 | 2599899.4184 | 1126704.1255
5 | 2599933.0386 | 1126638.9791
6 | 2599961.6768 | 1126604.9075
7 | 2600001.0631 | 1126726.2593
8 | 2600000.8291 | 1126723.7582
9 | 2599993.321 | 1126800.2021
10 | 2600000.1213 | 1126716.1941
11 | 2600053.3504 | 1126742.5844
12 | 2599999.6543 | 1126711.2032
13 | 2600084.0316 | 1126728.3978
14 | 2599999.7854 | 1126709.8223
15 | 2600107.1887 | 1126717.6951
16 | 2600138.9601 | 1126703.0083
17 | 2600040.2202 | 1126709.594
18 | 2600031.8635 | 1126695.4463
19 | 2600025.5827 | 1126689.8156
20 | 2600016.014 | 1126680.2991
21 | 2600021.305 | 1126672.4664
22 | 2600008.6653 | 1126687.8549
23 | 2600000.6405 | 1126700.8203
24 | 2600000.4854 | 1126691.9373
25 | 2600000.3235 | 1126682.6666
26 | 2600000.2934 | 1126673.8183
27 | 2599996.45 | 1126669.1124
28 | 2599995.2785 | 1126667.6779
29 | 2599988.5712 | 1126659.4654
30 | 2600035.4877 | 1126651.4704
31 | 2600047.2775 | 1126633.5575
32 | 2600056.7946 | 1126618.9245
33 | 2600033.938 | 1126614.3112
34 | 2600061.5493 | 1126611.6209
35 | 2600181.868 | 1126605.1268
36 | 2600140.7776 | 1126542.6655
37 | 2600120.4025 | 1126499.7444
38 | 2600107.9021 | 1126610.2537
39 | 2600094.642 | 1126612.4162
40 | 2599970.9629 | 1126611.0548
41 | 2599971.035 | 1126615.6365
42 | 2600034.331 | 1126603.9062
43 | 2600014.1022 | 1126607.0523
44 | 2600048.2123 | 1126605.7228
45 | 2600030.9728 | 1126614.2599
46 | 2600011.9214 | 1126614.8672
47 | 2600009.5461 | 1126616.6938
48 | 2600023.6596 | 1126614.1409
49 | 2600089.3555 | 1126608.7209
50 | 2600074.4569 | 1126608.5281
51 | 2600056.677 | 1126566.9998
52 | 2600045.2813 | 1126562.5526
53 | 2600022.8654 | 1126582.8338
54 | 2599988.1633 | 1126624.9391
55 | 2599974.3539 | 1126631.2312
56 | 2599992.4013 | 1126623.2086
57 | 2599957.3766 | 1126599.8274
58 | 2600003.275 | 1126608.1641
59 | 2600015.8078 | 1126602.5616
60 | 2600063.5328 | 1126608.2667
61 | 2600000.5248 | 1126620.0528
62 | 2599947.9335 | 1126542.4057
63 | 2599980.0313 | 1126495.276
64 | 2599978.2393 | 1126640.5802
65 | 2599982.3964 | 1126649.9331
66 | 2599985.7078 | 1126655.2062
67 | 2599943.8953 | 1126552.9838
68 | 2599990.2821 | 1126593.0569
69 | 2599996.0823 | 1126608.6062
70 | 2600017.2787 | 1126593.5038
71 | 2600004.0758 | 1126554.0043
72 | 2599994.0656 | 1126571.4241
73 | 2599997.1216 | 1126540.0278
74 | 2599998.489 | 1126573.4472
75 | 2599993.4721 | 1126582.7788
76 | 2599988.4046 | 1126568.8748
77 | 2600001.2423 | 1126532.8866
78 | 2599975.6093 | 1126587.9101
79 | 2599966.7319 | 1126596.9702
80 | 2599959.9425 | 1126582.42
81 | 2599985.8803 | 1126485.3823
82 | 2599955.1817 | 1126485.6182
83 | 2599911.7823 | 1126531.5549
84 | 2599982.5128 | 1126498.2219
85 | 2599966.205 | 1126509.4186
86 | 2599996.1504 | 1126507.4586
87 | 2599866.1386 | 1126548.4738
88 | 2599861.8213 | 1126550.474
89 | 2599833.3204 | 1126562.4683
90 | 2599828.7414 | 1126551.8274
91 | 2599826.2365 | 1126515.668
92 | 2599758.0494 | 1126636.2188
93 | 2599743.5667 | 1126583.027
94 | 2599802.8516 | 1126705.5927
95 | 2599783.3368 | 1126546.4961
96 | 2599765.5349 | 1126557.2274
97 | 2599797.8158 | 1126556.899
98 | 2599800.4535 | 1126569.7955
99 | 2599974.3539 | 1126631.2312

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1