## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6239-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6239-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6239-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6239-5_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6239-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6239-5_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6239-5_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6239-5_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6239-5_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_6239-5_0_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_6239-5_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_6239-5_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_6239-5_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_6239-5_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_6239-5_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6239-5_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6239-5_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6239-5_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6239-5_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6239-5_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6239-5_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6239-5_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6239-5_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6239-5_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6239-5_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6239-5_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6239-5_0_4_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_6239-5_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6239-5_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6239-5_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6239-5_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_6239-5_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_6239-5_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6239-5_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6239-5_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_6239-5_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6239-5_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6239-5_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_6239-5_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6239-5_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6239-5_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6239-5_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6239-5_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6239-5_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_6239-5_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6239-5_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6239-5_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6239-5_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_6239-5_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_6239-5_0_4_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_6239-5_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6239-5_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6239-5_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_6239-5_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_6239-5_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6239-5_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_6239-5_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_6239-5_0_4_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_6239-5_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_6239-5_0_4_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_6239-5_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_6239-5_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_6239-5_0_4_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_6239-5_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_6239-5_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_6239-5_0_4_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_6239-5_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6239-5_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_6239-5_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_6239-5_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_6239-5_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6239-5_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_6239-5_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_6239-5_0_4_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6239-5_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6239-5_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_6239-5_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_6239-5_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6239-5_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_6239-5_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6239-5_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6239-5_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_6239-5_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_6239-5_0_4_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_6239-5_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_6239-5_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_6239-5_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_6239-5_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_6239-5_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_6239-5_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_6239-5_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_6239-5_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_MV_95_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6239-5_0_4_load_0 | 0 | 0.0084464 | 0.0021169 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6239-5_0_4_load_1 | 1 | 0.0063296 | 0.0015863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6239-5_0_4_load_2 | 2 | 0.0067779 | 0.0016987 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6239-5_0_4_load_5 | 3 | 0.0078503 | 0.0019675 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6239-5_0_4_load_3 | 5 | 0.0050455 | 0.0012645 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6239-5_0_4_load_17 | 8 | 0.0064741 | 0.0016226 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6239-5_0_4_load_23 | 9 | 0.011798 | 0.0029568 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6239-5_0_4_load_24 | 10 | 0.0090756 | 0.0022745 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6239-5_0_4_load_21 | 11 | 0.0093538 | 0.0023443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6239-5_0_4_load_25 | 13 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6239-5_0_4_load_8 | 14 | 0.0031176 | 0.00078135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6239-5_0_4_load_9 | 15 | 0.0018013 | 0.00045144 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6239-5_0_4_load_11 | 17 | 0.0027983 | 0.00070132 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6239-5_0_4_load_12 | 18 | 0.0044285 | 0.0011099 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6239-5_0_4_load_13 | 19 | 0.0046773 | 0.0011722 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6239-5_0_4_load_14 | 20 | 0.0015937 | 0.00039943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6239-5_0_4_load_15 | 21 | 0.0024412 | 0.00061181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6239-5_0_4_load_16 | 22 | 0.0043571 | 0.001092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6239-5_0_4_load_22 | 25 | 0.017939 | 0.0044961 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6239-5_0_4_load_78 | 26 | 0.002798 | 0.00070125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6239-5_0_4_load_28 | 29 | 0.010304 | 0.0025823 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6239-5_0_4_load_29 | 30 | 0.0096296 | 0.0024134 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6239-5_0_4_load_30 | 31 | 0.0084483 | 0.0021173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6239-5_0_4_load_31 | 32 | 0.0094221 | 0.0023614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6239-5_0_4_load_47 | 33 | 0.0050697 | 0.0012706 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6239-5_0_4_load_48 | 34 | 0.0044034 | 0.0011036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6239-5_0_4_load_32 | 35 | 0.0049825 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6239-5_0_4_load_37 | 39 | 0.0037918 | 0.00095032 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6239-5_0_4_load_44 | 42 | 0.0048693 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6239-5_0_4_load_43 | 43 | 0.0062544 | 0.0015675 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6239-5_0_4_load_54 | 46 | 0.0060424 | 0.0015144 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6239-5_0_4_load_59 | 47 | 0.007873 | 0.0019731 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6239-5_0_4_load_87 | 49 | 0.0070033 | 0.0017552 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6239-5_0_4_load_46 | 50 | 0.0082091 | 0.0020574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6239-5_0_4_load_57 | 53 | 0.0061677 | 0.0015458 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6239-5_0_4_load_45 | 54 | 0.0053211 | 0.0013336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6239-5_0_4_load_56 | 56 | 0.0086878 | 0.0021774 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6239-5_0_4_load_91 | 57 | 0.0030664 | 0.00076852 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6239-5_0_4_load_62 | 58 | 0.0047566 | 0.0011921 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6239-5_0_4_load_65 | 61 | 0.0023865 | 0.0005981 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6239-5_0_4_load_68 | 64 | 0.004828 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6239-5_0_4_load_90 | 65 | 0.0078757 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6239-5_0_4_load_49 | 66 | 0.0051593 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6239-5_0_4_load_58 | 67 | 0.0066329 | 0.0016624 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6239-5_0_4_load_50 | 68 | 0.00716 | 0.0017945 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6239-5_0_4_load_51 | 69 | 0.0072846 | 0.0018257 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6239-5_0_4_load_52 | 70 | 0.012442 | 0.0031181 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6239-5_0_4_load_53 | 71 | 0.011203 | 0.0028078 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6239-5_0_4_load_76 | 72 | 0.0043677 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6239-5_0_4_load_77 | 73 | 0.0022868 | 0.00057313 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6239-5_0_4_load_61 | 75 | 0.0046319 | 0.0011609 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6239-5_0_4_load_74 | 76 | 0.0071296 | 0.0017868 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6239-5_0_4_load_75 | 77 | 0.014454 | 0.0036226 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6239-5_0_4_load_73 | 78 | 0.0036331 | 0.00091055 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6239-5_0_4_load_69 | 79 | 0.0023468 | 0.00058817 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6239-5_0_4_load_72 | 81 | 0.004343 | 0.0010885 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6239-5_0_4_load_89 | 83 | 0.0046679 | 0.0011699 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6239-5_0_4_load_80 | 85 | 0.0044609 | 0.001118 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6239-5_0_4_load_81 | 87 | 0.0052778 | 0.0013227 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6239-5_0_4_load_83 | 88 | 0.0043975 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6239-5_0_4_load_84 | 89 | 0.0031696 | 0.00079439 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6239-5_0_4_load_85 | 90 | 0.0058051 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6239-5_0_4_load_86 | 91 | 0.0080337 | 0.0020134 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6239-5_0_4_line_0 |  | 0 | 1 | 0.027351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6239-5_0_4_line_1 |  | 1 | 2 | 0.026889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6239-5_0_4_line_2 |  | 2 | 3 | 0.040222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6239-5_0_4_line_3 |  | 3 | 4 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6239-5_0_4_line_4 |  | 4 | 6 | 0.11095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6239-5_0_4_line_5 |  | 4 | 5 | 0.033249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6239-5_0_4_line_6 |  | 6 | 7 | 0.077335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6239-5_0_4_line_7 |  | 6 | 8 | 0.030165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6239-5_0_4_line_8 |  | 7 | 9 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6239-5_0_4_line_9 |  | 7 | 10 | 0.012949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6239-5_0_4_line_10 |  | 7 | 11 | 0.043547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6239-5_0_4_line_11 |  | 8 | 12 | 0.080509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6239-5_0_4_line_12 |  | 10 | 13 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6239-5_0_4_line_13 |  | 12 | 24 | 0.004239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6239-5_0_4_line_14 |  | 12 | 23 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6239-5_0_4_line_15 |  | 13 | 27 | 0.023008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6239-5_0_4_line_16 |  | 14 | 15 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6239-5_0_4_line_17 |  | 14 | 16 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6239-5_0_4_line_18 |  | 15 | 17 | 0.06173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6239-5_0_4_line_19 |  | 16 | 18 | 0.060373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6239-5_0_4_line_20 |  | 18 | 19 | 0.003535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6239-5_0_4_line_21 |  | 19 | 20 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6239-5_0_4_line_22 |  | 20 | 21 | 0.004359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6239-5_0_4_line_23 |  | 21 | 22 | 0.051415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6239-5_0_4_line_24 |  | 22 | 23 | 0.081332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6239-5_0_4_line_25 |  | 24 | 25 | 0.035904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6239-5_0_4_line_26 |  | 25 | 26 | 0.078873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6239-5_0_4_line_27 |  | 27 | 28 | 0.16426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6239-5_0_4_line_28 |  | 28 | 29 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6239-5_0_4_line_29 |  | 29 | 30 | 0.019282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6239-5_0_4_line_30 |  | 30 | 31 | 0.024549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6239-5_0_4_line_31 |  | 31 | 32 | 0.034519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6239-5_0_4_line_32 |  | 32 | 33 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6239-5_0_4_line_33 |  | 33 | 34 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6239-5_0_4_line_34 |  | 34 | 66 | 0.032634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6239-5_0_4_line_35 |  | 35 | 36 | 0.042417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6239-5_0_4_line_36 |  | 36 | 37 | 0.003307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6239-5_0_4_line_37 |  | 37 | 41 | 0.003499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6239-5_0_4_line_38 |  | 37 | 42 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6239-5_0_4_line_39 |  | 38 | 39 | 0.02609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6239-5_0_4_line_40 |  | 38 | 40 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6239-5_0_4_line_41 |  | 39 | 44 | 0.0031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6239-5_0_4_line_42 |  | 40 | 50 | 0.034261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6239-5_0_4_line_43 |  | 40 | 45 | 0.010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6239-5_0_4_line_44 |  | 41 | 43 | 0.0024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6239-5_0_4_line_45 |  | 42 | 54 | 0.035795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6239-5_0_4_line_46 |  | 44 | 47 | 0.019106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6239-5_0_4_line_47 |  | 44 | 48 | 0.016089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6239-5_0_4_line_48 |  | 45 | 46 | 0.055917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6239-5_0_4_line_49 |  | 46 | 52 | 0.010804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6239-5_0_4_line_50 |  | 47 | 55 | 0.043389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6239-5_0_4_line_51 |  | 48 | 49 | 0.013288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6239-5_0_4_line_52 |  | 50 | 54 | 0.02504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6239-5_0_4_line_53 |  | 51 | 52 | 0.003457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6239-5_0_4_line_54 |  | 51 | 53 | 0.014643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6239-5_0_4_line_55 |  | 52 | 56 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6239-5_0_4_line_56 |  | 53 | 57 | 0.040544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6239-5_0_4_line_57 |  | 55 | 75 | 0.032674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6239-5_0_4_line_58 |  | 55 | 67 | 0.002608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6239-5_0_4_line_59 |  | 57 | 63 | 0.061644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6239-5_0_4_line_60 |  | 58 | 59 | 0.030552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6239-5_0_4_line_61 |  | 58 | 60 | 0.0015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6239-5_0_4_line_62 |  | 59 | 61 | 0.009696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6239-5_0_4_line_63 |  | 59 | 62 | 0.002615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6239-5_0_4_line_64 |  | 60 | 63 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6239-5_0_4_line_65 |  | 60 | 64 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6239-5_0_4_line_66 |  | 62 | 65 | 0.035251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6239-5_0_4_line_67 |  | 63 | 74 | 0.029569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6239-5_0_4_line_68 |  | 66 | 67 | 0.036294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6239-5_0_4_line_69 |  | 68 | 69 | 0.059061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6239-5_0_4_line_70 |  | 68 | 70 | 0.011887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6239-5_0_4_line_71 |  | 69 | 71 | 0.030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6239-5_0_4_line_72 |  | 71 | 72 | 0.0048105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6239-5_0_4_line_73 |  | 72 | 73 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6239-5_0_4_line_74 |  | 73 | 86 | 0.049977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6239-5_0_4_line_75 |  | 74 | 78 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6239-5_0_4_line_76 |  | 74 | 79 | 0.035938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6239-5_0_4_line_77 |  | 75 | 76 | 0.032704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6239-5_0_4_line_78 |  | 76 | 77 | 0.035034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6239-5_0_4_line_79 |  | 77 | 84 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6239-5_0_4_line_80 |  | 79 | 80 | 0.040814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6239-5_0_4_line_81 |  | 80 | 81 | 0.019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6239-5_0_4_line_82 |  | 81 | 82 | 0.051975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6239-5_0_4_line_83 |  | 82 | 83 | 0.052093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6239-5_0_4_line_84 |  | 84 | 85 | 0.02453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6239-5_0_4_line_85 |  | 85 | 86 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6239-5_0_4_line_86 |  | 86 | 87 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6239-5_0_4_line_87 |  | 87 | 88 | 0.0098233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6239-5_0_4_line_88 |  | 88 | 89 | 0.0031432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6239-5_0_4_line_89 |  | 89 | 90 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6239-5_0_4_line_90 |  | 90 | 91 | 0.0069515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6239-5_0_4_trafo_48 | 0.63 MVA 20/0.4 kV | 92 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2600220.1755 | 1126570.2813 | 2600202.6953 | 1126549.2447
1 | 2600202.6953 | 1126549.2447 | 2600185.5107 | 1126528.5639
2 | 2600185.5107 | 1126528.5639 | 2600177.0824 | 1126518.4209 | 2600175.3022 | 1126516.8645 | 2600172.4894 | 1126516.4421 | 2600169.6381 | 1126517.1868 | 2600160.845 | 1126527.325 | 2600157.4079 | 1126531.5645
3 | 2600140.7776 | 1126542.6655 | 2600142.7889 | 1126543.2769 | 2600148.0446 | 1126541.0982 | 2600152.8149 | 1126537.2297 | 2600157.4079 | 1126531.5645
4 | 2600173.0069 | 1126449.4984 | 2600174.8949 | 1126452.6555 | 2600174.9796 | 1126455.1456 | 2600152.9774 | 1126489.5842 | 2600130.5593 | 1126512.1505 | 2600140.7776 | 1126542.6655
5 | 2600140.7776 | 1126542.6655 | 2600151.3417 | 1126574.1912
6 | 2600116.9655 | 1126497.232 | 2600120.4025 | 1126499.7444 | 2600123.5082 | 1126495.2089 | 2600128.7332 | 1126488.9392 | 2600136.586 | 1126481.1577 | 2600142.4429 | 1126476.1776 | 2600156.9696 | 1126464.939 | 2600166.0093 | 1126457.2353 | 2600173.0069 | 1126449.4984
7 | 2600173.0069 | 1126449.4984 | 2600176.9295 | 1126444.1958 | 2600180.2126 | 1126438.6932 | 2600182.4475 | 1126434.2466 | 2600187.1344 | 1126422.9993
8 | 2600116.9655 | 1126497.232 | 2600116.087 | 1126495.1532 | 2600114.8925 | 1126490.8511 | 2600113.9601 | 1126486.0599 | 2600113.9601 | 1126480.9463 | 2600115.6016 | 1126476.9666
9 | 2600116.9655 | 1126497.232 | 2600114.5688 | 1126501.0561 | 2600110.8312 | 1126506.9367 | 2600110.2224 | 1126508.2723
10 | 2600116.9655 | 1126497.232 | 2600118.4914 | 1126494.7753 | 2600121.5354 | 1126491.1291 | 2600124.8646 | 1126487.3606 | 2600128.3479 | 1126483.7478 | 2600131.4228 | 1126480.7575 | 2600136.1931 | 1126476.411 | 2600143.6991 | 1126470.4859 | 2600148.051 | 1126467.0373
11 | 2600236.9725 | 1126362.1572 | 2600234.1826 | 1126364.6028 | 2600230.0287 | 1126367.9043 | 2600221.9522 | 1126373.6958 | 2600218.7077 | 1126375.9412 | 2600215.4555 | 1126378.3979 | 2600212.08 | 1126381.4438 | 2600207.6563 | 1126385.8569 | 2600204.1806 | 1126389.9144 | 2600200.6895 | 1126394.4054 | 2600197.6145 | 1126399.4411 | 2600194.9094 | 1126404.4324 | 2600187.6265 | 1126421.8185 | 2600187.1344 | 1126422.9993
12 | 2600110.2224 | 1126508.2723 | 2600107.5328 | 1126514.1736 | 2600106.0686 | 1126518.3756 | 2600104.4579 | 1126523.4447 | 2600104.4329 | 1126523.5543
13 | 2600236.9725 | 1126362.1572 | 2600234.8841 | 1126359.8672 | 2600234.2907 | 1126358.8889
14 | 2600246.7833 | 1126346.4054 | 2600244.8334 | 1126351.0409 | 2600242.1822 | 1126356.0766 | 2600238.3443 | 1126360.7232 | 2600236.9725 | 1126362.1572
15 | 2600100.7973 | 1126546.2336 | 2600101.4524 | 1126539.9527 | 2600102.4774 | 1126531.7376 | 2600103.4715 | 1126527.7579 | 2600104.4329 | 1126523.5543
16 | 2600276.1783 | 1126522.9348 | 2600281.9886 | 1126517.1341 | 2600284.805 | 1126512.8697
17 | 2600259.8939 | 1126538.4882 | 2600271.7003 | 1126527.4054 | 2600276.1783 | 1126522.9348
18 | 2600284.805 | 1126512.8697 | 2600299.6602 | 1126490.3773 | 2600304.4876 | 1126455.9389
19 | 2600259.8939 | 1126538.4882 | 2600250.5232 | 1126532.4294 | 2600237.816 | 1126515.2985 | 2600231.0812 | 1126492.9986 | 2600231.2567 | 1126488.4119
20 | 2600231.2567 | 1126488.4119 | 2600231.3919 | 1126484.8794
21 | 2600231.3919 | 1126484.8794 | 2600232.0343 | 1126468.0884
22 | 2600232.201 | 1126463.7326 | 2600232.0343 | 1126468.0884
23 | 2600230.7978 | 1126412.4055 | 2600230.7828 | 1126413.9934 | 2600232.0076 | 1126432.0022 | 2600232.9243 | 1126444.8863 | 2600232.5465 | 1126454.7022 | 2600232.201 | 1126463.7326
24 | 2600246.7833 | 1126346.4054 | 2600252.9716 | 1126350.1963 | 2600257.8419 | 1126354.9877 | 2600258.5971 | 1126358.356 | 2600258.4043 | 1126362.5025 | 2600255.9458 | 1126365.4816 | 2600252.1387 | 1126369.061 | 2600245.1564 | 1126375.9197 | 2600239.0141 | 1126382.4338 | 2600235.2147 | 1126388.0587 | 2600233.1107 | 1126392.9944 | 2600231.4999 | 1126398.8527 | 2600230.86 | 1126405.8117 | 2600230.7978 | 1126412.4055
25 | 2600234.2907 | 1126358.8889 | 2600233.9285 | 1126358.2886 | 2600233.4739 | 1126355.7762 | 2600234.4373 | 1126350.4515 | 2600234.9847 | 1126341.5138 | 2600233.8135 | 1126336.1556 | 2600230.1454 | 1126327.329 | 2600228.951 | 1126324.3164
26 | 2600228.951 | 1126324.3164 | 2600228.951 | 1126324.3164 | 2600228.0109 | 1126319.9475 | 2600226.9013 | 1126313.3888 | 2600211.2122 | 1126247.4785
27 | 2600038.7538 | 1126499.0995 | 2600044.6414 | 1126499.4108 | 2600045.4737 | 1126493.1299 | 2600051.0993 | 1126486.3488 | 2600053.1646 | 1126483.8587 | 2600055.908 | 1126480.5571 | 2600056.9561 | 1126480.546 | 2600062.181 | 1126480.457 | 2600072.3534 | 1126486.2932 | 2600070.4577 | 1126527.9913 | 2600072.916 | 1126529.781 | 2600075.9831 | 1126532.6936 | 2600078.1486 | 1126536.1953 | 2600080.63 | 1126542.0315 | 2600082.1558 | 1126547.9899 | 2600094.532 | 1126566.0877 | 2600095.6494 | 1126568.7112 | 2600093.4224 | 1126549.6908 | 2600100.7973 | 1126546.2336
28 | 2600038.7538 | 1126499.0995 | 2600041.0271 | 1126494.6751 | 2600046.4086 | 1126485.0119
29 | 2600046.4086 | 1126485.0119 | 2600055.79 | 1126468.1659
30 | 2600055.79 | 1126468.1659 | 2600056.6093 | 1126466.6948 | 2600059.7304 | 1126461.092 | 2600064.6933 | 1126455.7339 | 2600067.9377 | 1126448.4525 | 2600068.3802 | 1126447.3619
31 | 2600068.3802 | 1126447.3619 | 2600080.8922 | 1126416.5259 | 2600081.0247 | 1126415.2919
32 | 2600081.0247 | 1126415.2919 | 2600083.05 | 1126396.4383 | 2600083.3979 | 1126394.0139
33 | 2600083.3979 | 1126394.0139 | 2600085.1613 | 1126381.7244
34 | 2600085.1613 | 1126381.7244 | 2600085.9323 | 1126376.3508 | 2600089.5313 | 1126358.053 | 2600093.2003 | 1126350.3222
35 | 2599995.7136 | 1126483.8036 | 2599999.1352 | 1126479.457 | 2600002.4412 | 1126474.8547 | 2600005.5005 | 1126470.6193 | 2600007.9974 | 1126466.2727 | 2600010.4248 | 1126461.537 | 2600013.8002 | 1126455.5674 | 2600015.7422 | 1126452.4103 | 2600018.8376 | 1126448.3631
36 | 2599993.0241 | 1126481.8693 | 2599995.7136 | 1126483.8036
37 | 2599993.0241 | 1126481.8693 | 2599990.296 | 1126479.6683
38 | 2599993.0241 | 1126481.8693 | 2599998.2951 | 1126474.1766 | 2600001.2801 | 1126469.6677
39 | 2600052.3551 | 1126381.8979 | 2600052.4861 | 1126378.6853 | 2600052.7327 | 1126374.5388 | 2600053.4416 | 1126362.9887 | 2600054.3538 | 1126355.8983
40 | 2600045.0185 | 1126393.7926 | 2600047.2842 | 1126389.5461 | 2600048.7947 | 1126385.0217 | 2600049.2108 | 1126381.4311 | 2600052.3551 | 1126381.8979
41 | 2600052.671 | 1126353.3285 | 2600054.3741 | 1126355.7407 | 2600054.3538 | 1126355.8983
42 | 2600045.0185 | 1126393.7926 | 2600048.0549 | 1126397.5167 | 2600049.6964 | 1126401.8521 | 2600049.8891 | 1126406.7545 | 2600049.026 | 1126411.1344 | 2600047.0377 | 1126414.9696 | 2600043.9243 | 1126418.7715 | 2600039.4437 | 1126423.0805
43 | 2600035.3315 | 1126389.6574 | 2600038.9458 | 1126390.0798 | 2600041.8049 | 1126391.2692 | 2600045.0185 | 1126393.7926
44 | 2599990.296 | 1126479.6683 | 2599991.7952 | 1126477.7145
45 | 2600001.2801 | 1126469.6677 | 2600003.3658 | 1126466.5173 | 2600006.7797 | 1126460.1364 | 2600010.2629 | 1126453.6443 | 2600013.3454 | 1126448.6196 | 2600017.1524 | 1126443.9951 | 2600021.2137 | 1126440.2449
46 | 2600052.671 | 1126353.3285 | 2600052.7095 | 1126353.0172 | 2600063.1595 | 1126337.3985
47 | 2600036.9496 | 1126350.1159 | 2600041.1959 | 1126351.0496 | 2600047.0606 | 1126352.8838 | 2600048.5634 | 1126353.1728 | 2600052.671 | 1126353.3285
48 | 2600035.3315 | 1126389.6574 | 2600030.6074 | 1126390.3688 | 2600026.9006 | 1126392.1364 | 2600024.3806 | 1126393.9262 | 2600022.0918 | 1126396.6609 | 2600018.254 | 1126401.7634 | 2600014.6089 | 1126407.0549 | 2600011.2643 | 1126411.4015 | 2600008.3899 | 1126414.4252 | 2600005.1146 | 1126416.9598 | 2600000.853 | 1126419.2498 | 2599996.9458 | 1126420.8951 | 2599992.5994 | 1126422.0402 | 2599992.4073 | 1126422.0764
49 | 2599981.7796 | 1126424.0191 | 2599983.8603 | 1126423.6856 | 2599992.4073 | 1126422.0764
50 | 2600094.98 | 1126312.3085 | 2600090.7028 | 1126324.1476 | 2600078.3569 | 1126332.1959 | 2600063.1595 | 1126337.3985
51 | 2600036.9496 | 1126350.1159 | 2600036.4332 | 1126343.0013 | 2600036.1249 | 1126336.8538
52 | 2600021.2137 | 1126440.2449 | 2600030.7926 | 1126431.3999 | 2600039.4437 | 1126423.0805
53 | 2599981.7796 | 1126424.0191 | 2599981.5175 | 1126420.573
54 | 2599981.5175 | 1126420.573 | 2599981.5406 | 1126418.8944 | 2599982.6118 | 1126417.1268 | 2599984.3226 | 1126415.9818 | 2599987.0276 | 1126414.9257 | 2599990.665 | 1126413.2137 | 2599992.3321 | 1126412.2711
55 | 2599976.9093 | 1126435.9361 | 2599981.2094 | 1126429.0215 | 2599981.8798 | 1126427.3096 | 2599981.7796 | 1126424.0191
56 | 2599992.3321 | 1126412.2711 | 2599978.072 | 1126374.3172
57 | 2600094.98 | 1126312.3085 | 2600094.5023 | 1126291.4761 | 2600095.1269 | 1126279.6569
58 | 2600094.98 | 1126312.3085 | 2600095.387 | 1126314.8846
59 | 2599978.072 | 1126374.3172 | 2599976.4459 | 1126372.9499 | 2599973.5174 | 1126371.4492 | 2599969.957 | 1126370.7711 | 2599966.7126 | 1126370.5822 | 2599963.2215 | 1126370.5823 | 2599960.0387 | 1126370.7713 | 2599954.1124 | 1126371.205 | 2599950.1821 | 1126371.205 | 2599947.3076 | 1126370.9605 | 2599944.1864 | 1126370.0824 | 2599942.753 | 1126368.9041 | 2599941.3812 | 1126367.1032 | 2599940.6336 | 1126365.1134 | 2599939.5084 | 1126360.5667 | 2599938.6991 | 1126354.4749 | 2599937.6354 | 1126349.6281 | 2599936.3253 | 1126347.5049 | 2599934.5836 | 1126346.082
60 | 2599897.9165 | 1126368.8163 | 2599905.1836 | 1126364.9253 | 2599920.7814 | 1126356.0094 | 2599924.44 | 1126353.6692
61 | 2599925.752 | 1126352.83 | 2599924.44 | 1126353.6692
62 | 2599891.15 | 1126361.9353 | 2599894.0246 | 1126365.6037 | 2599896.2056 | 1126367.4712 | 2599897.9165 | 1126368.8163
63 | 2599895.6046 | 1126370.0503 | 2599897.9165 | 1126368.8163
64 | 2599925.752 | 1126352.83 | 2599931.7322 | 1126349.0057 | 2599934.5836 | 1126346.082
65 | 2599929.6519 | 1126365.8584 | 2599930.0911 | 1126362.9904 | 2599929.5284 | 1126359.3886 | 2599925.752 | 1126352.83
66 | 2599895.6046 | 1126370.0503 | 2599892.9613 | 1126372.2625 | 2599890.2796 | 1126375.7421 | 2599889.0928 | 1126377.7431 | 2599888.5303 | 1126380.6 | 2599888.908 | 1126383.3347 | 2599889.594 | 1126385.6358 | 2599891.0891 | 1126387.6923 | 2599893.6477 | 1126389.9934 | 2599896.8922 | 1126392.35 | 2599902.757 | 1126396.2739
67 | 2599934.5836 | 1126346.082 | 2599935.4929 | 1126345.1482 | 2599937.4118 | 1126341.2796 | 2599938.822 | 1126335.8436 | 2599937.7352 | 1126329.6406 | 2599934.2362 | 1126318.6576 | 2599934.0974 | 1126318.1684
68 | 2600093.2003 | 1126350.3222 | 2600096.0048 | 1126344.413 | 2600097.446 | 1126327.9161 | 2600095.387 | 1126314.8846
69 | 2600141.7092 | 1126387.1508 | 2600144.571 | 1126381.5982 | 2600155.1291 | 1126369.2812 | 2600165.9107 | 1126358.9764 | 2600169.7332 | 1126353.1625 | 2600171.7525 | 1126344.6473 | 2600170.4039 | 1126338.8333
70 | 2600136.2633 | 1126397.7171 | 2600141.7092 | 1126387.1508
71 | 2600158.3501 | 1126310.9952 | 2600160.7325 | 1126317.0114 | 2600164.3082 | 1126326.0381 | 2600170.4039 | 1126338.8333 | 2600170.4039 | 1126338.8333
72 | 2600158.3501 | 1126310.9952 | 2600156.5789 | 1126306.5226
73 | 2600149.4125 | 1126288.4256 | 2600156.5789 | 1126306.5226
74 | 2600139.6173 | 1126239.8847 | 2600140.6036 | 1126256.2037 | 2600142.9385 | 1126272.0782 | 2600147.231 | 1126282.9168 | 2600149.4125 | 1126288.4256
75 | 2599920.0482 | 1126312.7106 | 2599920.2101 | 1126314.7338 | 2599921.0347 | 1126316.857 | 2599922.3449 | 1126318.102 | 2599923.9248 | 1126318.869 | 2599925.836 | 1126319.0802 | 2599928.6258 | 1126319.1357 | 2599934.0974 | 1126318.1684
76 | 2599934.0974 | 1126318.1684 | 2599930.5367 | 1126305.3956 | 2599929.9509 | 1126300.9046 | 2599929.9662 | 1126297.1916 | 2599930.9834 | 1126292.1892 | 2599934.9367 | 1126283.9073 | 2599935.016 | 1126283.7748
77 | 2600095.1269 | 1126279.6569 | 2600095.9281 | 1126264.4963 | 2600098.9562 | 1126247.238
78 | 2600098.9562 | 1126247.238 | 2600099.2497 | 1126245.5649 | 2600109.7001 | 1126228.0453 | 2600118.6903 | 1126218.7444
79 | 2600140.5657 | 1126205.3234 | 2600133.4446 | 1126207.6911 | 2600122.0463 | 1126215.2725 | 2600118.6903 | 1126218.7444
80 | 2599963.2888 | 1126255.2483 | 2599962.5567 | 1126256.3155 | 2599959.2737 | 1126259.1392 | 2599949.9257 | 1126265.1534 | 2599945.5715 | 1126268.5885 | 2599942.0496 | 1126272.8684 | 2599938.497 | 1126277.9599 | 2599935.016 | 1126283.7748
81 | 2599973.1613 | 1126271.8562 | 2599966.6644 | 1126257.9162 | 2599964.9843 | 1126256.4266 | 2599963.2888 | 1126255.2483
82 | 2600024.0636 | 1126261.3505 | 2599973.1613 | 1126271.8562
83 | 2600032.7333 | 1126214.7944 | 2600029.3886 | 1126215.995 | 2600026.7837 | 1126218.5963 | 2600023.6163 | 1126222.8651 | 2600021.8515 | 1126228.2344 | 2600021.104 | 1126233.059 | 2600020.9191 | 1126238.5283 | 2600021.5742 | 1126242.608 | 2600022.7842 | 1126248.2663 | 2600024.4566 | 1126252.5351 | 2600025.1039 | 1126255.5032 | 2600025.104 | 1126258.0933 | 2600024.0636 | 1126261.3505
84 | 2600140.5657 | 1126205.3234 | 2600142.4691 | 1126213.8498 | 2600140.7494 | 1126229.5497
85 | 2600139.6173 | 1126239.8847 | 2600140.7494 | 1126229.5497
86 | 2600139.6173 | 1126239.8847 | 2600143.5784 | 1126252.3352 | 2600150.0982 | 1126254.8032 | 2600154.5912 | 1126253.4581
87 | 2600160.6234 | 1126245.832 | 2600159.7548 | 1126247.8666 | 2600154.5912 | 1126253.4581 | 2600154.5912 | 1126253.4581
88 | 2600160.6234 | 1126245.832 | 2600161.8576 | 1126242.9413
89 | 2600168.386 | 1126226.1218 | 2600164.9184 | 1126235.7719 | 2600161.8576 | 1126242.9413
90 | 2600170.7367 | 1126219.5798 | 2600168.386 | 1126226.1218

## bus_geodata
| x | y | coords
0 | 2600220.1755 | 1126570.2813
1 | 2600202.6953 | 1126549.2447
2 | 2600185.5107 | 1126528.5639
3 | 2600157.4079 | 1126531.5645
4 | 2600140.7776 | 1126542.6655
5 | 2600151.3417 | 1126574.1912
6 | 2600173.0069 | 1126449.4984
7 | 2600116.9655 | 1126497.232
8 | 2600187.1344 | 1126422.9993
9 | 2600115.6016 | 1126476.9666
10 | 2600110.2224 | 1126508.2723
11 | 2600148.051 | 1126467.0373
12 | 2600236.9725 | 1126362.1572
13 | 2600104.4329 | 1126523.5543
14 | 2600276.1783 | 1126522.9348
15 | 2600284.805 | 1126512.8696
16 | 2600259.8939 | 1126538.4882
17 | 2600304.4876 | 1126455.9389
18 | 2600231.2567 | 1126488.4119
19 | 2600231.3919 | 1126484.8794
20 | 2600232.0343 | 1126468.0884
21 | 2600232.201 | 1126463.7326
22 | 2600230.7978 | 1126412.4055
23 | 2600246.7833 | 1126346.4054
24 | 2600234.2907 | 1126358.8889
25 | 2600228.951 | 1126324.3164
26 | 2600211.2122 | 1126247.4785
27 | 2600100.7973 | 1126546.2336
28 | 2600038.7538 | 1126499.0995
29 | 2600046.4086 | 1126485.0119
30 | 2600055.79 | 1126468.1659
31 | 2600068.3802 | 1126447.3619
32 | 2600081.0247 | 1126415.2919
33 | 2600083.3979 | 1126394.0139
34 | 2600085.1613 | 1126381.7244
35 | 2600018.8376 | 1126448.3631
36 | 2599995.7136 | 1126483.8036
37 | 2599993.0241 | 1126481.8693
38 | 2600052.3551 | 1126381.8979
39 | 2600054.3538 | 1126355.8983
40 | 2600045.0185 | 1126393.7926
41 | 2599990.296 | 1126479.6683
42 | 2600001.2801 | 1126469.6677
43 | 2599991.7952 | 1126477.7145
44 | 2600052.671 | 1126353.3285
45 | 2600035.3315 | 1126389.6574
46 | 2599992.4073 | 1126422.0764
47 | 2600063.1595 | 1126337.3985
48 | 2600036.9496 | 1126350.1159
49 | 2600036.1249 | 1126336.8538
50 | 2600039.4437 | 1126423.0805
51 | 2599981.5175 | 1126420.573
52 | 2599981.7796 | 1126424.0191
53 | 2599992.3321 | 1126412.2711
54 | 2600021.2137 | 1126440.2449
55 | 2600094.98 | 1126312.3085
56 | 2599976.9093 | 1126435.9361
57 | 2599978.072 | 1126374.3172
58 | 2599924.44 | 1126353.6692
59 | 2599897.9165 | 1126368.8163
60 | 2599925.752 | 1126352.83
61 | 2599891.15 | 1126361.9353
62 | 2599895.6046 | 1126370.0503
63 | 2599934.5836 | 1126346.082
64 | 2599929.6519 | 1126365.8584
65 | 2599902.757 | 1126396.2739
66 | 2600093.2003 | 1126350.3222
67 | 2600095.387 | 1126314.8846
68 | 2600141.7092 | 1126387.1508
69 | 2600170.4039 | 1126338.8333
70 | 2600136.2633 | 1126397.7171
71 | 2600158.3501 | 1126310.9952
72 | 2600156.5789 | 1126306.5226
73 | 2600149.4125 | 1126288.4256
74 | 2599934.0974 | 1126318.1684
75 | 2600095.1269 | 1126279.6569
76 | 2600098.9562 | 1126247.238
77 | 2600118.6903 | 1126218.7444
78 | 2599920.0482 | 1126312.7106
79 | 2599935.016 | 1126283.7748
80 | 2599963.2888 | 1126255.2483
81 | 2599973.1613 | 1126271.8562
82 | 2600024.0636 | 1126261.3505
83 | 2600032.7333 | 1126214.7944
84 | 2600140.5657 | 1126205.3234
85 | 2600140.7494 | 1126229.5497
86 | 2600139.6173 | 1126239.8847
87 | 2600154.5912 | 1126253.4581
88 | 2600160.6234 | 1126245.832
89 | 2600161.8576 | 1126242.9413
90 | 2600168.386 | 1126226.1218
91 | 2600170.7367 | 1126219.5798
92 | 2600094.98 | 1126312.3085

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1