## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_628-4_1_3_node_184 | 0.4 | n |  | TRUE
1 | bus_LV_628-4_1_3_node_185 | 0.4 | n |  | TRUE
2 | bus_LV_628-4_1_3_node_186 | 0.4 | n |  | TRUE
3 | bus_LV_628-4_1_3_node_187 | 0.4 | n |  | TRUE
4 | bus_LV_628-4_1_3_node_188 | 0.4 | n |  | TRUE
5 | bus_LV_628-4_1_3_node_189 | 0.4 | n |  | TRUE
6 | bus_LV_628-4_1_3_node_190 | 0.4 | n |  | TRUE
7 | bus_LV_628-4_1_3_node_191 | 0.4 | n |  | TRUE
8 | bus_LV_628-4_1_3_node_206 | 0.4 | n |  | TRUE
9 | bus_LV_628-4_1_3_node_199 | 0.4 | n |  | TRUE
10 | bus_LV_628-4_1_3_node_210 | 0.4 | n |  | TRUE
11 | bus_LV_628-4_1_3_node_207 | 0.4 | n |  | TRUE
12 | bus_LV_628-4_1_3_node_192 | 0.4 | n |  | TRUE
13 | bus_LV_628-4_1_3_node_193 | 0.4 | n |  | TRUE
14 | bus_LV_628-4_1_3_node_194 | 0.4 | n |  | TRUE
15 | bus_LV_628-4_1_3_node_195 | 0.4 | n |  | TRUE
16 | bus_LV_628-4_1_3_node_196 | 0.4 | n |  | TRUE
17 | bus_LV_628-4_1_3_node_197 | 0.4 | n |  | TRUE
18 | bus_LV_628-4_1_3_node_198 | 0.4 | n |  | TRUE
19 | bus_LV_628-4_1_3_node_257 | 0.4 | n |  | TRUE
20 | bus_LV_628-4_1_3_node_233 | 0.4 | n |  | TRUE
21 | bus_LV_628-4_1_3_node_200 | 0.4 | n |  | TRUE
22 | bus_LV_628-4_1_3_node_201 | 0.4 | n |  | TRUE
23 | bus_LV_628-4_1_3_node_202 | 0.4 | n |  | TRUE
24 | bus_LV_628-4_1_3_node_203 | 0.4 | n |  | TRUE
25 | bus_LV_628-4_1_3_node_204 | 0.4 | n |  | TRUE
26 | bus_LV_628-4_1_3_node_205 | 0.4 | n |  | TRUE
27 | bus_LV_628-4_1_3_node_219 | 0.4 | n |  | TRUE
28 | bus_LV_628-4_1_3_node_251 | 0.4 | n |  | TRUE
29 | bus_LV_628-4_1_3_node_208 | 0.4 | n |  | TRUE
30 | bus_LV_628-4_1_3_node_209 | 0.4 | n |  | TRUE
31 | bus_LV_628-4_1_3_node_211 | 0.4 | n |  | TRUE
32 | bus_LV_628-4_1_3_node_237 | 0.4 | n |  | TRUE
33 | bus_LV_628-4_1_3_node_212 | 0.4 | n |  | TRUE
34 | bus_LV_628-4_1_3_node_213 | 0.4 | n |  | TRUE
35 | bus_LV_628-4_1_3_node_214 | 0.4 | n |  | TRUE
36 | bus_LV_628-4_1_3_node_215 | 0.4 | n |  | TRUE
37 | bus_LV_628-4_1_3_node_216 | 0.4 | n |  | TRUE
38 | bus_LV_628-4_1_3_node_217 | 0.4 | n |  | TRUE
39 | bus_LV_628-4_1_3_node_218 | 0.4 | n |  | TRUE
40 | bus_LV_628-4_1_3_node_220 | 0.4 | n |  | TRUE
41 | bus_LV_628-4_1_3_node_221 | 0.4 | n |  | TRUE
42 | bus_LV_628-4_1_3_node_222 | 0.4 | n |  | TRUE
43 | bus_LV_628-4_1_3_node_223 | 0.4 | n |  | TRUE
44 | bus_LV_628-4_1_3_node_269 | 0.4 | n |  | TRUE
45 | bus_LV_628-4_1_3_node_253 | 0.4 | n |  | TRUE
46 | bus_LV_628-4_1_3_node_264 | 0.4 | n |  | TRUE
47 | bus_LV_628-4_1_3_node_252 | 0.4 | n |  | TRUE
48 | bus_LV_628-4_1_3_node_224 | 0.4 | n |  | TRUE
49 | bus_LV_628-4_1_3_node_225 | 0.4 | n |  | TRUE
50 | bus_LV_628-4_1_3_node_227 | 0.4 | n |  | TRUE
51 | bus_LV_628-4_1_3_node_240 | 0.4 | n |  | TRUE
52 | bus_LV_628-4_1_3_node_228 | 0.4 | n |  | TRUE
53 | bus_LV_628-4_1_3_node_238 | 0.4 | n |  | TRUE
54 | bus_LV_628-4_1_3_node_229 | 0.4 | n |  | TRUE
55 | bus_LV_628-4_1_3_node_230 | 0.4 | n |  | TRUE
56 | bus_LV_628-4_1_3_node_231 | 0.4 | n |  | TRUE
57 | bus_LV_628-4_1_3_node_232 | 0.4 | n |  | TRUE
58 | bus_LV_628-4_1_3_node_234 | 0.4 | n |  | TRUE
59 | bus_LV_628-4_1_3_node_235 | 0.4 | n |  | TRUE
60 | bus_LV_628-4_1_3_node_236 | 0.4 | n |  | TRUE
61 | bus_LV_628-4_1_3_node_255 | 0.4 | n |  | TRUE
62 | bus_LV_628-4_1_3_node_245 | 0.4 | n |  | TRUE
63 | bus_LV_628-4_1_3_node_258 | 0.4 | n |  | TRUE
64 | bus_LV_628-4_1_3_node_250 | 0.4 | n |  | TRUE
65 | bus_LV_628-4_1_3_node_239 | 0.4 | n |  | TRUE
66 | bus_LV_628-4_1_3_node_241 | 0.4 | n |  | TRUE
67 | bus_LV_628-4_1_3_node_271 | 0.4 | n |  | TRUE
68 | bus_LV_628-4_1_3_node_242 | 0.4 | n |  | TRUE
69 | bus_LV_628-4_1_3_node_243 | 0.4 | n |  | TRUE
70 | bus_LV_628-4_1_3_node_244 | 0.4 | n |  | TRUE
71 | bus_LV_628-4_1_3_node_246 | 0.4 | n |  | TRUE
72 | bus_LV_628-4_1_3_node_259 | 0.4 | n |  | TRUE
73 | bus_LV_628-4_1_3_node_301 | 0.4 | n |  | TRUE
74 | bus_LV_628-4_1_3_node_247 | 0.4 | n |  | TRUE
75 | bus_LV_628-4_1_3_node_248 | 0.4 | n |  | TRUE
76 | bus_LV_628-4_1_3_node_249 | 0.4 | n |  | TRUE
77 | bus_LV_628-4_1_3_node_262 | 0.4 | n |  | TRUE
78 | bus_LV_628-4_1_3_node_254 | 0.4 | n |  | TRUE
79 | bus_LV_628-4_1_3_node_261 | 0.4 | n |  | TRUE
80 | bus_LV_628-4_1_3_node_260 | 0.4 | n |  | TRUE
81 | bus_LV_628-4_1_3_node_263 | 0.4 | n |  | TRUE
82 | bus_LV_628-4_1_3_node_268 | 0.4 | n |  | TRUE
83 | bus_LV_628-4_1_3_node_265 | 0.4 | n |  | TRUE
84 | bus_LV_628-4_1_3_node_266 | 0.4 | n |  | TRUE
85 | bus_LV_628-4_1_3_node_267 | 0.4 | n |  | TRUE
86 | bus_LV_628-4_1_3_node_290 | 0.4 | n |  | TRUE
87 | bus_LV_628-4_1_3_node_273 | 0.4 | n |  | TRUE
88 | bus_LV_628-4_1_3_node_289 | 0.4 | n |  | TRUE
89 | bus_LV_628-4_1_3_node_270 | 0.4 | n |  | TRUE
90 | bus_LV_628-4_1_3_node_274 | 0.4 | n |  | TRUE
91 | bus_LV_628-4_1_3_node_275 | 0.4 | n |  | TRUE
92 | bus_LV_628-4_1_3_node_300 | 0.4 | n |  | TRUE
93 | bus_LV_628-4_1_3_node_280 | 0.4 | n |  | TRUE
94 | bus_LV_628-4_1_3_node_302 | 0.4 | n |  | TRUE
95 | bus_LV_628-4_1_3_node_281 | 0.4 | n |  | TRUE
96 | bus_LV_628-4_1_3_node_282 | 0.4 | n |  | TRUE
97 | bus_LV_628-4_1_3_node_285 | 0.4 | n |  | TRUE
98 | bus_LV_628-4_1_3_node_283 | 0.4 | n |  | TRUE
99 | bus_LV_628-4_1_3_node_288 | 0.4 | n |  | TRUE
100 | bus_MV_94_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_628-4_1_3_load_184 | 0 | 0.0023823 | 0.00059707 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_628-4_1_3_load_185 | 1 | 0.0028327 | 0.00070994 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_628-4_1_3_load_186 | 2 | 0.0031867 | 0.00079866 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_628-4_1_3_load_188 | 4 | 0.0033531 | 0.00084036 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_628-4_1_3_load_189 | 5 | 0.0093353 | 0.0023397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_628-4_1_3_load_190 | 6 | 0.0011452 | 0.00028702 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_628-4_1_3_load_206 | 8 | 0.0023763 | 0.00059556 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_628-4_1_3_load_210 | 10 | 0.0033194 | 0.00083193 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_628-4_1_3_load_207 | 11 | 0.0039318 | 0.00098541 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_628-4_1_3_load_192 | 12 | 0.0035288 | 0.00088441 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_628-4_1_3_load_193 | 13 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_628-4_1_3_load_195 | 15 | 0.0007405 | 0.00018559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_628-4_1_3_load_196 | 16 | 0.00063594 | 0.00015938 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_628-4_1_3_load_197 | 17 | 0.002613 | 0.00065488 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_628-4_1_3_load_257 | 19 | 0.00061077 | 0.00015307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_628-4_1_3_load_202 | 23 | 0.0018045 | 0.00045225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_628-4_1_3_load_203 | 24 | 0.0015894 | 0.00039834 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_628-4_1_3_load_205 | 26 | 0.0013139 | 0.00032929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_628-4_1_3_load_251 | 28 | 0.0011115 | 0.00027857 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_628-4_1_3_load_208 | 29 | 0.0032222 | 0.00080755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_628-4_1_3_load_209 | 30 | 0.0023779 | 0.00059595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_628-4_1_3_load_211 | 31 | 0.0014419 | 0.00036136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_628-4_1_3_load_237 | 32 | 0.0034939 | 0.00087565 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_628-4_1_3_load_212 | 33 | 0.002289 | 0.00057367 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_628-4_1_3_load_216 | 37 | 0.0024153 | 0.00060533 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_628-4_1_3_load_217 | 38 | 0.00044599 | 0.00011178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_628-4_1_3_load_220 | 40 | 0.0015101 | 0.00037847 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_628-4_1_3_load_221 | 41 | 0.00093295 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_628-4_1_3_load_222 | 42 | 0.00089659 | 0.00022471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_628-4_1_3_load_223 | 43 | 0.0011558 | 0.00028968 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_628-4_1_3_load_269 | 44 | 0.0030692 | 0.00076921 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_628-4_1_3_load_253 | 45 | 0.0013784 | 0.00034547 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_628-4_1_3_load_252 | 47 | 0.00064945 | 0.00016277 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_628-4_1_3_load_224 | 48 | 0.00028485 | 7.139e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_628-4_1_3_load_227 | 50 | 0.0012475 | 0.00031266 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_628-4_1_3_load_238 | 53 | 0.0010862 | 0.00027224 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_628-4_1_3_load_229 | 54 | 0.0003436 | 8.6115e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_628-4_1_3_load_231 | 56 | 0.00037401 | 9.3736e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_628-4_1_3_load_232 | 57 | 0.00091092 | 0.0002283 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_628-4_1_3_load_234 | 58 | 0.0004008 | 0.00010045 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_628-4_1_3_load_236 | 60 | 0.0060782 | 0.0015233 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_628-4_1_3_load_255 | 61 | 0.0016701 | 0.00041857 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_628-4_1_3_load_258 | 63 | 0.0025636 | 0.0006425 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_628-4_1_3_load_250 | 64 | 0.0038435 | 0.00096328 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_628-4_1_3_load_241 | 66 | 0.00061612 | 0.00015441 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_628-4_1_3_load_271 | 67 | 0.00072218 | 0.000181 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_628-4_1_3_load_242 | 68 | 0.0021886 | 0.0005485 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_628-4_1_3_load_246 | 71 | 0.0020407 | 0.00051145 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_628-4_1_3_load_259 | 72 | 0.00161 | 0.00040349 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_628-4_1_3_load_301 | 73 | 0.00083264 | 0.00020868 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_628-4_1_3_load_247 | 74 | 0.0051533 | 0.0012915 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_628-4_1_3_load_248 | 75 | 0.0042517 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_628-4_1_3_load_249 | 76 | 0.0042908 | 0.0010754 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_628-4_1_3_load_262 | 77 | 0.0011136 | 0.0002791 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_628-4_1_3_load_254 | 78 | 0.0020297 | 0.0005087 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_628-4_1_3_load_261 | 79 | 0.00042942 | 0.00010762 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_628-4_1_3_load_260 | 80 | 0.00060331 | 0.0001512 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_628-4_1_3_load_263 | 81 | 0.0030291 | 0.00075917 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_628-4_1_3_load_268 | 82 | 0.00040227 | 0.00010082 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_628-4_1_3_load_267 | 85 | 0.0030317 | 0.00075983 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_628-4_1_3_load_290 | 86 | 0.00037118 | 9.3026e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_628-4_1_3_load_289 | 88 | 0.0028409 | 0.00071199 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_628-4_1_3_load_270 | 89 | 0.00029445 | 7.3795e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_628-4_1_3_load_274 | 90 | 0.0027793 | 0.00069655 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_628-4_1_3_load_275 | 91 | 0.00076854 | 0.00019261 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_628-4_1_3_load_300 | 92 | 0.00089616 | 0.0002246 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_628-4_1_3_load_280 | 93 | 0.0026827 | 0.00067235 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_628-4_1_3_load_302 | 94 | 0.0010696 | 0.00026808 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_628-4_1_3_load_281 | 95 | 0.00068868 | 0.0001726 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_628-4_1_3_load_282 | 96 | 0.0011536 | 0.00028913 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_628-4_1_3_load_285 | 97 | 0.0014638 | 0.00036687 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_628-4_1_3_load_283 | 98 | 0.00061979 | 0.00015533 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_628-4_1_3_load_288 | 99 | 0.0020417 | 0.00051169 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_628-4_1_3_line_0 |  | 0 | 1 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_628-4_1_3_line_1 |  | 0 | 2 | 0.0088883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_628-4_1_3_line_2 |  | 1 | 3 | 0.041379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_628-4_1_3_line_3 |  | 2 | 4 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_628-4_1_3_line_4 |  | 3 | 5 | 0.043856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_628-4_1_3_line_5 |  | 3 | 6 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_628-4_1_3_line_6 |  | 4 | 7 | 0.0097006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_628-4_1_3_line_7 |  | 5 | 8 | 0.0069337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_628-4_1_3_line_8 |  | 6 | 9 | 0.049129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_628-4_1_3_line_9 |  | 7 | 10 | 0.028435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_628-4_1_3_line_10 |  | 7 | 11 | 0.0084363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_628-4_1_3_line_11 |  | 9 | 21 | 0.050216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_628-4_1_3_line_12 |  | 9 | 22 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_628-4_1_3_line_13 |  | 9 | 23 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_628-4_1_3_line_14 |  | 10 | 17 | 0.030595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_628-4_1_3_line_15 |  | 11 | 29 | 0.050917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_628-4_1_3_line_16 |  | 12 | 13 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_628-4_1_3_line_17 |  | 12 | 14 | 0.046071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_628-4_1_3_line_18 |  | 14 | 15 | 0.0086581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_628-4_1_3_line_19 |  | 14 | 16 | 0.02007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_628-4_1_3_line_20 |  | 15 | 17 | 0.014223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_628-4_1_3_line_21 |  | 16 | 18 | 0.018942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_628-4_1_3_line_22 |  | 18 | 19 | 0.028856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_628-4_1_3_line_23 |  | 18 | 20 | 0.046677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_628-4_1_3_line_24 |  | 19 | 65 | 0.0073323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_628-4_1_3_line_25 |  | 20 | 60 | 0.035381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_628-4_1_3_line_26 |  | 20 | 55 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_628-4_1_3_line_27 |  | 21 | 24 | 0.029193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_628-4_1_3_line_28 |  | 22 | 25 | 0.023226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_628-4_1_3_line_29 |  | 22 | 26 | 0.028408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_628-4_1_3_line_30 |  | 25 | 27 | 0.043067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_628-4_1_3_line_31 |  | 25 | 28 | 0.016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_628-4_1_3_line_32 |  | 27 | 45 | 0.038742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_628-4_1_3_line_33 |  | 27 | 39 | 0.027755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_628-4_1_3_line_34 |  | 28 | 77 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_628-4_1_3_line_35 |  | 29 | 30 | 0.0047919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_628-4_1_3_line_36 |  | 30 | 31 | 0.008287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_628-4_1_3_line_37 |  | 31 | 32 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_628-4_1_3_line_38 |  | 32 | 64 | 0.028698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_628-4_1_3_line_39 |  | 33 | 34 | 0.027165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_628-4_1_3_line_40 |  | 33 | 35 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_628-4_1_3_line_41 |  | 34 | 36 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_628-4_1_3_line_42 |  | 34 | 37 | 0.044724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_628-4_1_3_line_43 |  | 35 | 38 | 0.035866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_628-4_1_3_line_44 |  | 35 | 39 | 0.029775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_628-4_1_3_line_45 |  | 36 | 40 | 0.043395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_628-4_1_3_line_46 |  | 36 | 41 | 0.019263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_628-4_1_3_line_47 |  | 37 | 42 | 0.026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_628-4_1_3_line_48 |  | 38 | 43 | 0.0085033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_628-4_1_3_line_49 |  | 39 | 44 | 0.0086419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_628-4_1_3_line_50 |  | 40 | 46 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_628-4_1_3_line_51 |  | 41 | 47 | 0.057481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_628-4_1_3_line_52 |  | 45 | 78 | 0.0087363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_628-4_1_3_line_53 |  | 46 | 82 | 0.032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_628-4_1_3_line_54 |  | 48 | 49 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_628-4_1_3_line_55 |  | 49 | 50 | 0.0055099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_628-4_1_3_line_56 |  | 49 | 51 | 0.24856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_628-4_1_3_line_57 |  | 50 | 52 | 0.066873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_628-4_1_3_line_58 |  | 51 | 66 | 0.03499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_628-4_1_3_line_59 |  | 52 | 53 | 0.013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_628-4_1_3_line_60 |  | 53 | 65 | 0.048068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_628-4_1_3_line_61 |  | 54 | 55 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_628-4_1_3_line_62 |  | 55 | 56 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_628-4_1_3_line_63 |  | 55 | 57 | 0.0020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_628-4_1_3_line_64 |  | 56 | 58 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_628-4_1_3_line_65 |  | 57 | 59 | 0.013768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_628-4_1_3_line_66 |  | 58 | 61 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_628-4_1_3_line_67 |  | 59 | 62 | 0.008317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_628-4_1_3_line_68 |  | 59 | 63 | 0.031029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_628-4_1_3_line_69 |  | 62 | 72 | 0.018977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_628-4_1_3_line_70 |  | 62 | 70 | 0.036733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_628-4_1_3_line_71 |  | 64 | 76 | 0.00027565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_628-4_1_3_line_72 |  | 66 | 67 | 0.20599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_628-4_1_3_line_73 |  | 67 | 87 | 0.17203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_628-4_1_3_line_74 |  | 67 | 89 | 0.0074136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_628-4_1_3_line_75 |  | 68 | 69 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_628-4_1_3_line_76 |  | 69 | 70 | 0.022708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_628-4_1_3_line_77 |  | 70 | 71 | 0.029948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_628-4_1_3_line_78 |  | 71 | 73 | 0.0076692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_628-4_1_3_line_79 |  | 72 | 79 | 0.0041126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_628-4_1_3_line_80 |  | 74 | 75 | 0.011642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_628-4_1_3_line_81 |  | 74 | 76 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_628-4_1_3_line_82 |  | 77 | 81 | 0.0085865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_628-4_1_3_line_83 |  | 79 | 80 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_628-4_1_3_line_84 |  | 83 | 84 | 0.073143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_628-4_1_3_line_85 |  | 83 | 85 | 0.080296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_628-4_1_3_line_86 |  | 84 | 86 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_628-4_1_3_line_87 |  | 84 | 87 | 0.006028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_628-4_1_3_line_88 |  | 85 | 88 | 0.028208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_628-4_1_3_line_89 |  | 86 | 94 | 0.043331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_628-4_1_3_line_90 |  | 88 | 99 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_628-4_1_3_line_91 |  | 90 | 91 | 0.024293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_628-4_1_3_line_92 |  | 90 | 92 | 0.13835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_628-4_1_3_line_93 |  | 91 | 93 | 0.030627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_628-4_1_3_line_94 |  | 93 | 94 | 0.21604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_628-4_1_3_line_95 |  | 95 | 96 | 0.015447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_628-4_1_3_line_96 |  | 95 | 97 | 0.21035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_628-4_1_3_line_97 |  | 96 | 98 | 0.032891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_628-4_1_3_line_98 |  | 97 | 99 | 0.11451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_628-4_1_3_trafo_194 | 0.63 MVA 20/0.4 kV | 100 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2618110.9426 | 1192723.6348 | 2618106.9088 | 1192705.1328
1 | 2618110.9426 | 1192723.6348 | 2618112.836 | 1192732.3191
2 | 2618117.13 | 1192668.8748 | 2618111.3241 | 1192673.2262 | 2618107.7141 | 1192677.3397 | 2618105.4127 | 1192682.2576 | 2618104.4113 | 1192688.2689 | 2618104.4779 | 1192693.9832 | 2618106.9088 | 1192705.1328
3 | 2618118.9298 | 1192760.2695 | 2618112.836 | 1192732.3191
4 | 2618117.13 | 1192668.8748 | 2618130.8443 | 1192650.462 | 2618140.0881 | 1192643.464 | 2618144.778 | 1192635.4292
5 | 2618117.13 | 1192668.8748 | 2618123.1405 | 1192667.4255 | 2618128.7666 | 1192667.0756 | 2618132.8195 | 1192667.5621
6 | 2618120.2854 | 1192769.8712 | 2618119.1828 | 1192761.43 | 2618118.9298 | 1192760.2695
7 | 2618148.2734 | 1192629.441 | 2618144.778 | 1192635.4292
8 | 2618181.5985 | 1192673.4165 | 2618132.8195 | 1192667.5621
9 | 2618120.2854 | 1192769.8712 | 2618118.7437 | 1192783.1625 | 2618114.77 | 1192797.6835
10 | 2618120.2854 | 1192769.8712 | 2618125.782 | 1192763.4714
11 | 2618181.5985 | 1192673.4165 | 2618190.0989 | 1192657.734 | 2618195.1575 | 1192640.9404 | 2618195.7773 | 1192632.5823 | 2618194.0126 | 1192626.3625
12 | 2618181.5985 | 1192673.4165 | 2618204.8675 | 1192676.2552
13 | 2618181.5985 | 1192673.4165 | 2618170.8427 | 1192692.7307
14 | 2618106.6943 | 1192827.1938 | 2618114.77 | 1192797.6835
15 | 2618125.782 | 1192763.4714 | 2618129.0279 | 1192759.6922 | 2618138.7671 | 1192750.1499 | 2618151.4709 | 1192740.7055 | 2618157.2749 | 1192739.4668 | 2618162.8211 | 1192740.3285 | 2618167.4679 | 1192741.9536
16 | 2618142.3983 | 1192853.4611 | 2618165.0838 | 1192856.3836
17 | 2618096.7051 | 1192847.5746 | 2618142.3983 | 1192853.4611
18 | 2618096.7051 | 1192847.5746 | 2618101.1631 | 1192840.1523
19 | 2618096.7051 | 1192847.5746 | 2618088.7116 | 1192857.1 | 2618082.9031 | 1192862.055
20 | 2618101.1631 | 1192840.1523 | 2618104.8097 | 1192834.0808 | 2618106.6943 | 1192827.1938
21 | 2618068.4925 | 1192874.3482 | 2618082.9031 | 1192862.055
22 | 2618068.4925 | 1192874.3482 | 2618060.709 | 1192879.9722 | 2618044.9007 | 1192890.9625
23 | 2618068.4925 | 1192874.3482 | 2618076.6681 | 1192880.2538 | 2618091.7701 | 1192889.2485 | 2618106.2825 | 1192901.6655
24 | 2618038.8804 | 1192895.148 | 2618044.9007 | 1192890.9625
25 | 2618123.1665 | 1192873.3125 | 2618121.5575 | 1192883.6465 | 2618118.7349 | 1192892.0869 | 2618112.808 | 1192898.7058 | 2618106.2825 | 1192901.6655
26 | 2618122.0117 | 1192914.9644 | 2618106.2825 | 1192901.6655
27 | 2618194.0126 | 1192626.3625 | 2618182.0197 | 1192617.4215 | 2618170.0351 | 1192609.7415
28 | 2618228.0703 | 1192678.3045 | 2618204.8675 | 1192676.2552
29 | 2618204.8675 | 1192676.2552 | 2618192.4429 | 1192701.8022
30 | 2618228.0703 | 1192678.3045 | 2618271.0846 | 1192682.2151
31 | 2618228.0703 | 1192678.3045 | 2618222.216 | 1192693.2734
32 | 2618271.0846 | 1192682.2151 | 2618276.5045 | 1192694.5159 | 2618284.6409 | 1192718.4719
33 | 2618294.9385 | 1192673.2052 | 2618287.35 | 1192679.7078 | 2618279.7301 | 1192684.0202 | 2618277.7139 | 1192682.8134 | 2618271.0846 | 1192682.2151
34 | 2618222.216 | 1192693.2734 | 2618214.713 | 1192712.4579
35 | 2618167.4679 | 1192741.9536 | 2618171.9911 | 1192743.5354
36 | 2618171.9911 | 1192743.5354 | 2618172.8257 | 1192743.8273 | 2618175.7816 | 1192746.7934 | 2618176.954 | 1192749.7874
37 | 2618175.3248 | 1192760.049 | 2618177.0869 | 1192753.701 | 2618176.954 | 1192749.7874 | 2618176.954 | 1192749.7874
38 | 2618175.3248 | 1192760.049 | 2618167.6488 | 1192787.701
39 | 2618321.5343 | 1192734.7301 | 2618316.6882 | 1192724.2875 | 2618309.4521 | 1192710.4077
40 | 2618303.5832 | 1192700.2237 | 2618306.3902 | 1192704.5345 | 2618309.4521 | 1192710.4077
41 | 2618328.6963 | 1192743.0786 | 2618321.5343 | 1192734.7301
42 | 2618321.5343 | 1192734.7301 | 2618314.3858 | 1192746.9259 | 2618292.6576 | 1192768.4544
43 | 2618303.5832 | 1192700.2237 | 2618305.5295 | 1192696.8723 | 2618306.1541 | 1192691.9827 | 2618307.1937 | 1192688.5174 | 2618309.4496 | 1192686.0785 | 2618314.1509 | 1192684.0585 | 2618329.0337 | 1192682.1526
44 | 2618294.9385 | 1192673.2052 | 2618296.3387 | 1192683.9152 | 2618297.761 | 1192694.9254 | 2618303.5832 | 1192700.2237
45 | 2618328.6963 | 1192743.0786 | 2618340.5755 | 1192746.6723 | 2618352.1987 | 1192749.2648 | 2618357.9724 | 1192747.9595 | 2618370.2521 | 1192743.2383
46 | 2618328.6963 | 1192743.0786 | 2618327.5586 | 1192753.7141 | 2618324.5861 | 1192761.7488
47 | 2618273.6073 | 1192787.3296 | 2618292.6576 | 1192768.4544
48 | 2618337.4681 | 1192681.0725 | 2618329.0337 | 1192682.1526
49 | 2618294.9385 | 1192673.2052 | 2618294.3488 | 1192664.5834
50 | 2618384.5356 | 1192737.7465 | 2618370.2521 | 1192743.2383
51 | 2618326.9592 | 1192813.6621 | 2618318.5173 | 1192804.2244 | 2618315.8285 | 1192798.6466 | 2618314.908 | 1192793.1075 | 2618315.4927 | 1192786.3279 | 2618324.5861 | 1192761.7488
52 | 2618287.4505 | 1192726.7441 | 2618284.6409 | 1192718.4719
53 | 2618364.1562 | 1192717.3066 | 2618374.369 | 1192719.9838 | 2618378.9662 | 1192722.099 | 2618380.5919 | 1192723.8715 | 2618384.5356 | 1192737.7465
54 | 2617973.1608 | 1192782.3466 | 2617981.6444 | 1192774.5568 | 2617986.3729 | 1192771.0021
55 | 2617973.1608 | 1192782.3466 | 2617977.4423 | 1192785.8146
56 | 2617973.1608 | 1192782.3466 | 2617741.0331 | 1192871.2255
57 | 2618016.6313 | 1192837.206 | 2618005.5892 | 1192808.6133 | 2617977.4423 | 1192785.8146
58 | 2617741.0331 | 1192871.2255 | 2617735.1691 | 1192905.7153
59 | 2618016.6313 | 1192837.206 | 2618021.6785 | 1192850.2635
60 | 2618038.8804 | 1192895.148 | 2618026.1304 | 1192861.7809 | 2618021.6785 | 1192850.2635
61 | 2618122.0117 | 1192914.9644 | 2618111.1515 | 1192937.0481
62 | 2618122.0117 | 1192914.9644 | 2618099.0025 | 1192922.8505
63 | 2618122.0117 | 1192914.9644 | 2618123.7431 | 1192916.0016
64 | 2618088.2508 | 1192926.5354 | 2618088.2508 | 1192926.5354 | 2618099.0025 | 1192922.8505
65 | 2618135.5538 | 1192923.0763 | 2618123.7431 | 1192916.0016
66 | 2618088.2508 | 1192926.5354 | 2618077.9627 | 1192921.0793
67 | 2618135.5538 | 1192923.0763 | 2618142.1158 | 1192928.21
68 | 2618159.2866 | 1192908.3402 | 2618143.3363 | 1192910.2264 | 2618135.5538 | 1192923.0763
69 | 2618142.1158 | 1192928.21 | 2618131.4819 | 1192943.9275
70 | 2618142.1158 | 1192928.21 | 2618172.9609 | 1192948.2917
71 | 2618167.5751 | 1192787.9666 | 2618167.6488 | 1192787.701
72 | 2617621.4299 | 1193077.4618 | 2617735.1691 | 1192905.7153
73 | 2617773.5522 | 1193157.7847 | 2617621.4299 | 1193077.4618
74 | 2617614.096 | 1193078.1411 | 2617616.0455 | 1193078.3339 | 2617621.4299 | 1193077.4618
75 | 2618194.4085 | 1192955.7606 | 2618207.3146 | 1192954.8771 | 2618212.7411 | 1192954.8843
76 | 2618194.4085 | 1192955.7606 | 2618184.9194 | 1192953.2861 | 2618172.9609 | 1192948.2917
77 | 2618172.9609 | 1192948.2917 | 2618172.3079 | 1192962.5751 | 2618168.4359 | 1192977.7381 | 2618168.4359 | 1192977.7381
78 | 2618168.4359 | 1192977.7381 | 2618174.3594 | 1192982.6093
79 | 2618131.4819 | 1192943.9275 | 2618129.1773 | 1192947.3338
80 | 2618163.0943 | 1192804.1084 | 2618159.9804 | 1192815.3258
81 | 2618163.0943 | 1192804.1084 | 2618167.5751 | 1192787.9666
82 | 2618211.5855 | 1192720.4546 | 2618214.713 | 1192712.4579
83 | 2618123.0079 | 1192956.4525 | 2618129.1773 | 1192947.3338
84 | 2617828.4073 | 1193107.7209 | 2617817.9594 | 1193130.4352 | 2617809.6784 | 1193142.128 | 2617797.5049 | 1193150.5408 | 2617779.5599 | 1193157.1133
85 | 2617828.4073 | 1193107.7209 | 2617836.1587 | 1193115.3035 | 2617846.5511 | 1193129.2084 | 2617856.2126 | 1193145.379 | 2617861.734 | 1193162.1488 | 2617866.7693 | 1193176.9149
86 | 2617779.5599 | 1193157.1133 | 2617782.8136 | 1193172.7535 | 2617783.2086 | 1193173.5837
87 | 2617773.5522 | 1193157.7847 | 2617779.5599 | 1193157.1133
88 | 2617878.9848 | 1193202.2904 | 2617874.9042 | 1193195.25 | 2617867.597 | 1193179.342 | 2617866.7693 | 1193176.9149
89 | 2617797.8742 | 1193208.4504 | 2617801.5948 | 1193207.9945 | 2617801.4466 | 1193203.9808 | 2617789.5773 | 1193186.9699 | 2617783.2086 | 1193173.5837
90 | 2617878.9848 | 1193202.2904 | 2617884.9829 | 1193212.6392
91 | 2617581.9027 | 1193352.8027 | 2617584.9064 | 1193340.2038 | 2617584.9396 | 1193328.8632
92 | 2617581.9027 | 1193352.8027 | 2617651.7767 | 1193472.2131
93 | 2617584.9396 | 1193328.8632 | 2617615.1249 | 1193323.6794
94 | 2617797.8742 | 1193208.4504 | 2617615.1249 | 1193323.6794
95 | 2618098.8078 | 1193456.3219 | 2618102.6892 | 1193458.4835 | 2618106.286 | 1193463.6305 | 2618110.4931 | 1193465.7814
96 | 2617952.7413 | 1193304.9561 | 2618098.8078 | 1193456.3219
97 | 2618110.4931 | 1193465.7814 | 2618111.6886 | 1193466.3927 | 2618123.3916 | 1193472.3867 | 2618138.6474 | 1193482.6722
98 | 2617884.9829 | 1193212.6392 | 2617952.7413 | 1193304.9561

## bus_geodata
| x | y | coords
0 | 2618110.9426 | 1192723.6348
1 | 2618106.9088 | 1192705.1328
2 | 2618112.836 | 1192732.3191
3 | 2618117.13 | 1192668.8748
4 | 2618118.9298 | 1192760.2695
5 | 2618144.778 | 1192635.4292
6 | 2618132.8195 | 1192667.5621
7 | 2618120.2854 | 1192769.8712
8 | 2618148.2734 | 1192629.441
9 | 2618181.5985 | 1192673.4165
10 | 2618114.77 | 1192797.6835
11 | 2618125.782 | 1192763.4714
12 | 2618142.3983 | 1192853.4611
13 | 2618165.0838 | 1192856.3836
14 | 2618096.7051 | 1192847.5746
15 | 2618101.1631 | 1192840.1523
16 | 2618082.9031 | 1192862.055
17 | 2618106.6943 | 1192827.1938
18 | 2618068.4925 | 1192874.3482
19 | 2618044.9007 | 1192890.9625
20 | 2618106.2825 | 1192901.6655
21 | 2618194.0126 | 1192626.3625
22 | 2618204.8675 | 1192676.2552
23 | 2618170.8427 | 1192692.7307
24 | 2618170.0351 | 1192609.7415
25 | 2618228.0703 | 1192678.3045
26 | 2618192.4429 | 1192701.8022
27 | 2618271.0846 | 1192682.2151
28 | 2618222.216 | 1192693.2734
29 | 2618167.4679 | 1192741.9536
30 | 2618171.9911 | 1192743.5354
31 | 2618176.954 | 1192749.7874
32 | 2618175.3248 | 1192760.049
33 | 2618309.4521 | 1192710.4077
34 | 2618321.5343 | 1192734.7301
35 | 2618303.5832 | 1192700.2237
36 | 2618328.6963 | 1192743.0786
37 | 2618292.6576 | 1192768.4544
38 | 2618329.0337 | 1192682.1526
39 | 2618294.9385 | 1192673.2052
40 | 2618370.2521 | 1192743.2383
41 | 2618324.5861 | 1192761.7488
42 | 2618273.6073 | 1192787.3296
43 | 2618337.4681 | 1192681.0725
44 | 2618294.3488 | 1192664.5834
45 | 2618284.6409 | 1192718.4719
46 | 2618384.5356 | 1192737.7465
47 | 2618326.9592 | 1192813.6621
48 | 2617986.3729 | 1192771.0021
49 | 2617973.1608 | 1192782.3466
50 | 2617977.4423 | 1192785.8146
51 | 2617741.0331 | 1192871.2255
52 | 2618016.6313 | 1192837.206
53 | 2618021.6785 | 1192850.2635
54 | 2618111.1515 | 1192937.0481
55 | 2618122.0117 | 1192914.9644
56 | 2618099.0025 | 1192922.8505
57 | 2618123.7431 | 1192916.0016
58 | 2618088.2508 | 1192926.5354
59 | 2618135.5538 | 1192923.0763
60 | 2618123.1665 | 1192873.3125
61 | 2618077.9627 | 1192921.0793
62 | 2618142.1158 | 1192928.21
63 | 2618159.2866 | 1192908.3402
64 | 2618167.6488 | 1192787.701
65 | 2618038.8804 | 1192895.148
66 | 2617735.1691 | 1192905.7153
67 | 2617621.4299 | 1193077.4618
68 | 2618212.7411 | 1192954.8843
69 | 2618194.4085 | 1192955.7606
70 | 2618172.9609 | 1192948.2917
71 | 2618168.4359 | 1192977.7381
72 | 2618131.4819 | 1192943.9275
73 | 2618174.3594 | 1192982.6093
74 | 2618163.0943 | 1192804.1084
75 | 2618159.9804 | 1192815.3258
76 | 2618167.5751 | 1192787.9666
77 | 2618214.713 | 1192712.4579
78 | 2618287.4505 | 1192726.7441
79 | 2618129.1773 | 1192947.3338
80 | 2618123.0079 | 1192956.4525
81 | 2618211.5855 | 1192720.4546
82 | 2618364.1562 | 1192717.3066
83 | 2617828.4073 | 1193107.7209
84 | 2617779.5599 | 1193157.1133
85 | 2617866.7693 | 1193176.9149
86 | 2617783.2086 | 1193173.5837
87 | 2617773.5522 | 1193157.7847
88 | 2617878.9848 | 1193202.2904
89 | 2617614.096 | 1193078.1411
90 | 2617581.9027 | 1193352.8027
91 | 2617584.9396 | 1193328.8632
92 | 2617651.7767 | 1193472.2131
93 | 2617615.1249 | 1193323.6795
94 | 2617797.8742 | 1193208.4504
95 | 2618098.8078 | 1193456.3219
96 | 2618110.4931 | 1193465.7814
97 | 2617952.7413 | 1193304.9561
98 | 2618138.6474 | 1193482.6722
99 | 2617884.9829 | 1193212.6392
100 | 2618068.4925 | 1192874.3482

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1