## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6298-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6298-1_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6298-1_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6298-1_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6298-1_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6298-1_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6298-1_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6298-1_0_8_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6298-1_0_8_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_6298-1_0_8_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6298-1_0_8_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_6298-1_0_8_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_6298-1_0_8_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6298-1_0_8_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_6298-1_0_8_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6298-1_0_8_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_6298-1_0_8_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6298-1_0_8_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6298-1_0_8_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6298-1_0_8_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_6298-1_0_8_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_6298-1_0_8_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_6298-1_0_8_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_6298-1_0_8_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_6298-1_0_8_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_6298-1_0_8_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_6298-1_0_8_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6298-1_0_8_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6298-1_0_8_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6298-1_0_8_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_6298-1_0_8_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6298-1_0_8_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6298-1_0_8_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6298-1_0_8_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_6298-1_0_8_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_6298-1_0_8_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_6298-1_0_8_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6298-1_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6298-1_0_8_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6298-1_0_8_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_6298-1_0_8_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6298-1_0_8_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6298-1_0_8_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6298-1_0_8_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_6298-1_0_8_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_6298-1_0_8_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6298-1_0_8_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_6298-1_0_8_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_6298-1_0_8_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_6298-1_0_8_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_6298-1_0_8_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6298-1_0_8_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_6298-1_0_8_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_6298-1_0_8_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_6298-1_0_8_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_6298-1_0_8_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_6298-1_0_8_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6298-1_0_8_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6298-1_0_8_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6298-1_0_8_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_6298-1_0_8_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6298-1_0_8_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6298-1_0_8_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6298-1_0_8_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_6298-1_0_8_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_6298-1_0_8_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_6298-1_0_8_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_6298-1_0_8_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_6298-1_0_8_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_6298-1_0_8_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_6298-1_0_8_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_6298-1_0_8_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6298-1_0_8_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_6298-1_0_8_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_6298-1_0_8_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_6298-1_0_8_node_79 | 0.4 | n |  | TRUE
76 | bus_MV_108_1_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6298-1_0_8_load_0 | 0 | 0.02236 | 0.005604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6298-1_0_8_load_1 | 1 | 0.017119 | 0.0042904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6298-1_0_8_load_4 | 4 | 0.010157 | 0.0025456 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6298-1_0_8_load_5 | 5 | 0.012174 | 0.0030512 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6298-1_0_8_load_6 | 6 | 0.016485 | 0.0041314 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6298-1_0_8_load_7 | 7 | 0.01166 | 0.0029222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6298-1_0_8_load_8 | 9 | 0.0063782 | 0.0015985 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6298-1_0_8_load_42 | 10 | 0.024387 | 0.006112 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6298-1_0_8_load_37 | 11 | 0.012546 | 0.0031443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6298-1_0_8_load_40 | 13 | 0.020436 | 0.0051217 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6298-1_0_8_load_11 | 14 | 0.012065 | 0.0030237 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6298-1_0_8_load_10 | 16 | 0.0146 | 0.0036591 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6298-1_0_8_load_38 | 19 | 0.012377 | 0.0031019 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6298-1_0_8_load_33 | 20 | 0.008161 | 0.0020453 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6298-1_0_8_load_35 | 22 | 0.0071039 | 0.0017804 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6298-1_0_8_load_39 | 23 | 0.01987 | 0.0049798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6298-1_0_8_load_28 | 24 | 0.01041 | 0.002609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6298-1_0_8_load_20 | 27 | 0.0070336 | 0.0017628 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6298-1_0_8_load_17 | 28 | 0.017341 | 0.004346 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6298-1_0_8_load_34 | 29 | 0.010433 | 0.0026149 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6298-1_0_8_load_21 | 31 | 0.0090557 | 0.0022696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6298-1_0_8_load_65 | 35 | 0.0016682 | 0.00041808 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6298-1_0_8_load_24 | 36 | 0.016786 | 0.0042069 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6298-1_0_8_load_25 | 37 | 0.010408 | 0.0026085 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6298-1_0_8_load_26 | 38 | 0.015223 | 0.0038153 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6298-1_0_8_load_27 | 39 | 0.01933 | 0.0048445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6298-1_0_8_load_29 | 40 | 0.0089931 | 0.0022539 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6298-1_0_8_load_30 | 41 | 0.029656 | 0.0074325 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6298-1_0_8_load_32 | 42 | 0.0078645 | 0.001971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6298-1_0_8_load_69 | 43 | 0.0096365 | 0.0024151 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6298-1_0_8_load_66 | 44 | 0.0013148 | 0.00032952 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6298-1_0_8_load_44 | 45 | 0.0015044 | 0.00037703 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6298-1_0_8_load_45 | 46 | 0.0010515 | 0.00026353 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6298-1_0_8_load_53 | 48 | 0.001272 | 0.00031879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6298-1_0_8_load_62 | 52 | 0.001392 | 0.00034886 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6298-1_0_8_load_63 | 53 | 0.0012649 | 0.00031701 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6298-1_0_8_load_61 | 54 | 0.0016243 | 0.00040709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6298-1_0_8_load_55 | 55 | 0.0018833 | 0.00047201 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6298-1_0_8_load_50 | 56 | 0.001238 | 0.00031027 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6298-1_0_8_load_51 | 57 | 0.0015346 | 0.0003846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6298-1_0_8_load_52 | 58 | 0.0011429 | 0.00028643 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6298-1_0_8_load_56 | 59 | 0.0010615 | 0.00026603 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6298-1_0_8_load_59 | 61 | 0.0017164 | 0.00043018 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6298-1_0_8_load_64 | 63 | 0.0026434 | 0.00066251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6298-1_0_8_load_78 | 64 | 0.0029689 | 0.00074408 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6298-1_0_8_load_67 | 66 | 0.0018135 | 0.0004545 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6298-1_0_8_load_71 | 68 | 0.0022932 | 0.00057473 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6298-1_0_8_load_75 | 69 | 0.0018161 | 0.00045516 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6298-1_0_8_load_74 | 70 | 0.0033896 | 0.00084951 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6298-1_0_8_load_76 | 71 | 0.0025131 | 0.00062984 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6298-1_0_8_load_82 | 73 | 0.0036871 | 0.00092407 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6298-1_0_8_load_80 | 74 | 0.0016621 | 0.00041656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6298-1_0_8_load_79 | 75 | 0.0026704 | 0.00066926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6298-1_0_8_line_0 |  | 0 | 1 | 0.0027878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6298-1_0_8_line_1 |  | 0 | 2 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6298-1_0_8_line_2 |  | 1 | 3 | 0.015447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6298-1_0_8_line_3 |  | 2 | 4 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6298-1_0_8_line_4 |  | 3 | 5 | 0.008428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6298-1_0_8_line_5 |  | 3 | 6 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6298-1_0_8_line_6 |  | 5 | 7 | 0.050772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6298-1_0_8_line_7 |  | 6 | 8 | 0.030562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6298-1_0_8_line_8 |  | 7 | 9 | 0.02242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6298-1_0_8_line_9 |  | 8 | 10 | 0.016064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6298-1_0_8_line_10 |  | 8 | 11 | 0.01378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6298-1_0_8_line_11 |  | 9 | 12 | 0.0066437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6298-1_0_8_line_12 |  | 10 | 32 | 0.046181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6298-1_0_8_line_13 |  | 11 | 39 | 0.022003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6298-1_0_8_line_14 |  | 12 | 13 | 0.060767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6298-1_0_8_line_15 |  | 12 | 14 | 0.031065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6298-1_0_8_line_16 |  | 13 | 15 | 0.12754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6298-1_0_8_line_17 |  | 14 | 16 | 0.019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6298-1_0_8_line_18 |  | 15 | 33 | 0.84584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6298-1_0_8_line_19 |  | 17 | 18 | 0.005856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6298-1_0_8_line_20 |  | 17 | 19 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6298-1_0_8_line_21 |  | 18 | 20 | 0.02017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6298-1_0_8_line_22 |  | 19 | 21 | 0.03026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6298-1_0_8_line_23 |  | 20 | 25 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6298-1_0_8_line_24 |  | 21 | 22 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6298-1_0_8_line_25 |  | 22 | 42 | 0.0082319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6298-1_0_8_line_26 |  | 23 | 24 | 0.010521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6298-1_0_8_line_27 |  | 24 | 38 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6298-1_0_8_line_28 |  | 25 | 29 | 0.007643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6298-1_0_8_line_29 |  | 25 | 40 | 0.010255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6298-1_0_8_line_30 |  | 26 | 27 | 0.007216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6298-1_0_8_line_31 |  | 26 | 28 | 0.031856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6298-1_0_8_line_32 |  | 27 | 29 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6298-1_0_8_line_33 |  | 28 | 30 | 0.029695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6298-1_0_8_line_34 |  | 30 | 31 | 0.029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6298-1_0_8_line_35 |  | 31 | 32 | 0.012022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6298-1_0_8_line_36 |  | 33 | 34 | 0.26508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6298-1_0_8_line_37 |  | 33 | 35 | 0.35948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6298-1_0_8_line_38 |  | 34 | 43 | 0.23456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6298-1_0_8_line_39 |  | 35 | 44 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6298-1_0_8_line_40 |  | 36 | 37 | 0.0089132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6298-1_0_8_line_41 |  | 36 | 38 | 0.0047343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6298-1_0_8_line_42 |  | 37 | 39 | 0.014534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6298-1_0_8_line_43 |  | 41 | 42 | 0.00024001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6298-1_0_8_line_44 |  | 43 | 67 | 0.14054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6298-1_0_8_line_45 |  | 44 | 66 | 0.0027206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6298-1_0_8_line_46 |  | 45 | 46 | 0.097304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6298-1_0_8_line_47 |  | 46 | 47 | 0.25369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6298-1_0_8_line_48 |  | 47 | 48 | 0.061936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6298-1_0_8_line_49 |  | 47 | 49 | 0.11697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6298-1_0_8_line_50 |  | 48 | 53 | 0.022569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6298-1_0_8_line_51 |  | 49 | 54 | 0.087119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6298-1_0_8_line_52 |  | 50 | 51 | 0.085018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6298-1_0_8_line_53 |  | 50 | 52 | 0.23621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6298-1_0_8_line_54 |  | 51 | 55 | 0.082706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6298-1_0_8_line_55 |  | 52 | 53 | 0.0022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6298-1_0_8_line_56 |  | 54 | 58 | 0.04555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6298-1_0_8_line_57 |  | 55 | 59 | 0.011995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6298-1_0_8_line_58 |  | 56 | 57 | 0.098423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6298-1_0_8_line_59 |  | 57 | 58 | 0.026576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6298-1_0_8_line_60 |  | 59 | 60 | 0.061507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6298-1_0_8_line_61 |  | 60 | 61 | 0.20991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6298-1_0_8_line_62 |  | 60 | 62 | 0.77398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6298-1_0_8_line_63 |  | 61 | 63 | 0.11901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6298-1_0_8_line_64 |  | 62 | 64 | 0.24493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6298-1_0_8_line_65 |  | 64 | 65 | 0.028067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6298-1_0_8_line_66 |  | 65 | 69 | 0.038729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6298-1_0_8_line_67 |  | 65 | 67 | 0.20785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6298-1_0_8_line_68 |  | 67 | 68 | 0.21592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6298-1_0_8_line_69 |  | 69 | 70 | 0.0026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6298-1_0_8_line_70 |  | 70 | 71 | 0.33084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6298-1_0_8_line_71 |  | 71 | 72 | 0.14591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6298-1_0_8_line_72 |  | 72 | 73 | 0.06234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6298-1_0_8_line_73 |  | 73 | 74 | 0.0086034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6298-1_0_8_line_74 |  | 74 | 75 | 0.006321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6298-1_0_8_trafo_40 | 0.63 MVA 20/0.4 kV | 76 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60
0 | 2635905.6464 | 1123099.0796 | 2635904.6512 | 1123099.3165 | 2635902.9416 | 1123099.7543
1 | 2635918.1412 | 1123096.1059 | 2635905.6464 | 1123099.0796
2 | 2635887.9779 | 1123103.5865 | 2635902.9416 | 1123099.7543
3 | 2635928.0638 | 1123093.7524 | 2635918.1412 | 1123096.1059
4 | 2635887.9779 | 1123103.5865 | 2635887.0703 | 1123095.2075
5 | 2635887.9779 | 1123103.5865 | 2635887.5907 | 1123114.2785
6 | 2635866.3144 | 1123049.4082 | 2635871.2576 | 1123055.919 | 2635879.1432 | 1123073.2967 | 2635886.4572 | 1123089.5482 | 2635887.0703 | 1123095.2075
7 | 2635888.5568 | 1123143.8436 | 2635891.313 | 1123136.7564 | 2635891.4829 | 1123131.4992 | 2635888.5519 | 1123121.2433 | 2635887.5907 | 1123114.2785
8 | 2635852.757 | 1123031.5511 | 2635866.3144 | 1123049.4082
9 | 2635888.5568 | 1123143.8436 | 2635898.3359 | 1123150.0603 | 2635900.6901 | 1123153.8678
10 | 2635888.5568 | 1123143.8436 | 2635880.3433 | 1123140.1598 | 2635875.9631 | 1123138.2494
11 | 2635848.7396 | 1123026.2597 | 2635852.757 | 1123031.5511
12 | 2635920.18 | 1123195.7016 | 2635902.7581 | 1123157.2123 | 2635900.6901 | 1123153.8678
13 | 2635875.9631 | 1123138.2494 | 2635866.261 | 1123134.0178 | 2635855.3904 | 1123130.5225
14 | 2635848.7396 | 1123026.2597 | 2635861.6933 | 1123018.588 | 2635885.7909 | 1123005.4907 | 2635898.6272 | 1123008.5238 | 2635903.6346 | 1123007.5796
15 | 2635848.7396 | 1123026.2597 | 2635843.8356 | 1123026.2306 | 2635837.398 | 1123029.95 | 2635825.6529 | 1123039.2742 | 2635822.6411 | 1123041.4737
16 | 2636026.0239 | 1122988.7253 | 2636015.2988 | 1122987.2497 | 2636007.3716 | 1122989.8817 | 2635980.8147 | 1122989.8684 | 2635957.6412 | 1122990.1533 | 2635940.7973 | 1122995.8229 | 2635933.1413 | 1123000.8467 | 2635924.9447 | 1123000.7981 | 2635923.0903 | 1123004.022 | 2635917.4324 | 1123004.9779 | 2635903.6346 | 1123007.5796
17 | 2635822.6411 | 1123041.4737 | 2635815.4302 | 1123046.7397 | 2635806.2446 | 1123051.5275
18 | 2636026.0239 | 1122988.7253 | 2636024.2338 | 1123000.5874 | 2636029.0266 | 1123003.7619 | 2636030.5113 | 1123008.2508 | 2636031.0469 | 1123018.0256 | 2636032.6832 | 1123028.1293 | 2636038.3574 | 1123041.2808 | 2636048.1836 | 1123052.556 | 2636054.7869 | 1123057.2866 | 2636059.9802 | 1123061.8198 | 2636071.933 | 1123077.2432 | 2636076.3237 | 1123081.8939 | 2636086.4648 | 1123086.8679 | 2636102.7859 | 1123093.8464 | 2636108.5346 | 1123098.3385 | 2636119.7957 | 1123110.7563 | 2636124.1589 | 1123114.8399 | 2636131.8374 | 1123118.9767 | 2636179.4536 | 1123136.8476 | 2636186.7549 | 1123140.871 | 2636190.6311 | 1123146.4414 | 2636191.952 | 1123140.8909 | 2636191.4631 | 1123136.2412 | 2636188.5622 | 1123131.3437 | 2636178.9313 | 1123113.277 | 2636178.1521 | 1123087.526 | 2636173.2201 | 1123059.9048 | 2636170.172 | 1123046.0685 | 2636162.3419 | 1123036.3169 | 2636164.0126 | 1123026.4107 | 2636172.8025 | 1123012.3227 | 2636192.394 | 1122990.7844 | 2636203.5417 | 1122979.5897 | 2636209.502 | 1122969.3424 | 2636212.2081 | 1122962.9664 | 2636215.5058 | 1122954.3929 | 2636217.2089 | 1122942.964 | 2636213.059 | 1122919.9609 | 2636210.5472 | 1122906.7281 | 2636206.2142 | 1122900.1544 | 2636203.734 | 1122893.2361 | 2636207.2938 | 1122889.8223 | 2636222.4169 | 1122894.7596 | 2636238.1277 | 1122894.2533 | 2636247.5225 | 1122902.8472 | 2636259.0921 | 1122908.8194 | 2636273.6461 | 1122891.5755 | 2636293.4355 | 1122893.7507 | 2636307.2431 | 1122894.2892 | 2636320.4226 | 1122895.4021 | 2636332.6685 | 1122895.331 | 2636347.1503 | 1122891.4492 | 2636363.8136 | 1122895.4179 | 2636381.9052 | 1122891.38 | 2636393.2374 | 1122900.9084 | 2636413.2974 | 1122902.9521 | 2636430.9994 | 1122902.1692 | 2636441.9794 | 1122899.7229 | 2636457.363 | 1122894.6462 | 2636464.8712 | 1122879.706 | 2636479.9468 | 1122856.6295
19 | 2635772.6874 | 1123165.6585 | 2635774.3583 | 1123171.2712
20 | 2635772.6874 | 1123165.6585 | 2635771.7368 | 1123149.0445 | 2635770.9996 | 1123141.8135
21 | 2635774.3583 | 1123171.2712 | 2635780.4779 | 1123169.1507 | 2635790.0311 | 1123165.3163 | 2635793.2337 | 1123164.1759
22 | 2635762.4732 | 1123112.9604 | 2635765.7178 | 1123119.783 | 2635770.5415 | 1123137.3204 | 2635770.9996 | 1123141.8135
23 | 2635810.0826 | 1123158.2534 | 2635806.0972 | 1123159.3637 | 2635799.5819 | 1123161.9154 | 2635793.2337 | 1123164.1759
24 | 2635762.4732 | 1123112.9604 | 2635767.4216 | 1123113.3009 | 2635771.7395 | 1123119.8631 | 2635777.1182 | 1123125.5126
25 | 2635777.1182 | 1123125.5126 | 2635778.2534 | 1123126.705 | 2635782.0325 | 1123132.0983
26 | 2635816.9203 | 1123093.9585 | 2635823.1296 | 1123102.4517
27 | 2635823.1296 | 1123102.4517 | 2635830.8152 | 1123112.9641 | 2635832.5228 | 1123114.655
28 | 2635810.0826 | 1123158.2534 | 2635810.6483 | 1123159.0905 | 2635814.6072 | 1123164.4121
29 | 2635810.0826 | 1123158.2534 | 2635804.3005 | 1123149.7843
30 | 2635831.1339 | 1123180.3112 | 2635837.1088 | 1123184.3819
31 | 2635837.1088 | 1123184.3819 | 2635842.4993 | 1123186.8928 | 2635851.4812 | 1123187.0905 | 2635856.1738 | 1123188.9636 | 2635862.3816 | 1123199.0845
32 | 2635831.1339 | 1123180.3112 | 2635826.0617 | 1123177.4353 | 2635818.6808 | 1123169.8878 | 2635814.6072 | 1123164.4121
33 | 2635883.9544 | 1123216.5531 | 2635871.1451 | 1123212.9199 | 2635867.8967 | 1123208.076 | 2635862.3816 | 1123199.0845
34 | 2635883.9544 | 1123216.5531 | 2635893.4051 | 1123211.8178 | 2635907.5584 | 1123202.03 | 2635909.4337 | 1123201.0898
35 | 2635920.18 | 1123195.7016 | 2635909.4337 | 1123201.0898
36 | 2636479.9468 | 1122856.6295 | 2636491.908 | 1122848.7865 | 2636519.5868 | 1122868.7411 | 2636520.6659 | 1122882.8992 | 2636519.4412 | 1122895.4537 | 2636551.0823 | 1122905.3606 | 2636564.2725 | 1122874.0354 | 2636573.6251 | 1122846.1222 | 2636570.897 | 1122833.0658 | 2636565.5939 | 1122819.916 | 2636556.2758 | 1122807.6091 | 2636517.614 | 1122796.9151 | 2636507.4394 | 1122797.454
37 | 2636479.9468 | 1122856.6295 | 2636442.6956 | 1122863.998 | 2636413.2113 | 1122837.752 | 2636359.2544 | 1122821.2085 | 2636322.0286 | 1122825.6209 | 2636301.7251 | 1122819.1181 | 2636287.2357 | 1122812.6614 | 2636272.8468 | 1122789.408 | 2636240.1436 | 1122745.479 | 2636212.9118 | 1122682.2746
38 | 2636507.4394 | 1122797.454 | 2636498.6109 | 1122799.8576 | 2636491.5165 | 1122799.8482 | 2636483.1911 | 1122795.5404 | 2636472.985 | 1122788.5087 | 2636459.8614 | 1122780.648 | 2636442.3842 | 1122765.7909 | 2636430.0749 | 1122757.1348 | 2636414.5067 | 1122750.549 | 2636396.078 | 1122747.7257 | 2636388.7229 | 1122744.8912 | 2636381.389 | 1122739.8113 | 2636369.7419 | 1122730.0142 | 2636358.2596 | 1122718.4395 | 2636354.3801 | 1122714.6921 | 2636341.2795 | 1122702.9409 | 2636329.4451 | 1122696.0553 | 2636316.3132 | 1122689.4955 | 2636308.8831 | 1122686.4649
39 | 2636212.9118 | 1122682.2746 | 2636207.8074 | 1122670.4275
40 | 2635842.5421 | 1123123.835 | 2635840.7657 | 1123122.8168 | 2635835.887 | 1123117.9861
41 | 2635832.5228 | 1123114.655 | 2635835.887 | 1123117.9861
42 | 2635842.5421 | 1123123.835 | 2635852.7002 | 1123129.6576 | 2635855.3904 | 1123130.5225
43 | 2635782.0325 | 1123132.0983 | 2635782.1702 | 1123132.2949
44 | 2636309.1153 | 1122560.0869 | 2636301.7263 | 1122571.8709 | 2636294.7998 | 1122588.8491 | 2636291.2865 | 1122605.0473 | 2636285.9697 | 1122623.6583 | 2636284.2445 | 1122640.0229 | 2636285.9607 | 1122652.1837 | 2636291.7038 | 1122670.5385 | 2636295.9099 | 1122677.7007 | 2636300.574 | 1122683.0758 | 2636308.8831 | 1122686.4649
45 | 2636206.7309 | 1122667.929 | 2636207.8074 | 1122670.4275
46 | 2637136.5005 | 1122500.0889 | 2637135.2142 | 1122500.3957 | 2637122.9906 | 1122502.9999 | 2637111.172 | 1122507.4631 | 2637096.4439 | 1122514.7989 | 2637079.6555 | 1122519.8431 | 2637064.5439 | 1122521.8183 | 2637053.3702 | 1122522.9839 | 2637047.1398 | 1122526.6588 | 2637046.2642 | 1122529.6935
47 | 2636975.8039 | 1122710.2717 | 2636972.6321 | 1122704.3383 | 2636964.7818 | 1122701.8224 | 2636957.6557 | 1122684.2478 | 2636951.7607 | 1122667.1032 | 2636950.9807 | 1122658.4385 | 2636948.76 | 1122649.5538 | 2636937.0878 | 1122631.3401 | 2636933.4136 | 1122623.0691 | 2636934.2751 | 1122617.1046 | 2636937.409 | 1122611.5543 | 2636944.2838 | 1122603.3476 | 2636953.8512 | 1122594.9461 | 2636976.472 | 1122583.1336 | 2637014.8554 | 1122563.7804 | 2637029.3853 | 1122556.0319 | 2637036.8721 | 1122548.6517 | 2637043.7471 | 1122540.4562 | 2637045.241 | 1122533.2394 | 2637046.2642 | 1122529.6935
48 | 2636975.8039 | 1122710.2717 | 2636963.7141 | 1122709.9756 | 2636954.9565 | 1122708.288 | 2636948.6358 | 1122706.5819 | 2636938.442 | 1122701.3949 | 2636930.514 | 1122688.8514 | 2636925.5572 | 1122682.4446
49 | 2636975.8039 | 1122710.2717 | 2636992.7068 | 1122721.7362 | 2636999.2944 | 1122731.5036 | 2637011.0841 | 1122737.99 | 2637017.4935 | 1122742.8427 | 2637017.699 | 1122742.0214 | 2637017.4991 | 1122738.1515 | 2637017.9559 | 1122731.5398 | 2637021.5077 | 1122727.0037 | 2637025.8849 | 1122724.9627 | 2637030.4423 | 1122726.2357 | 2637040.3773 | 1122730.8431 | 2637055.2721 | 1122739.005 | 2637062.772 | 1122743.3308
50 | 2636911.6993 | 1122664.6319 | 2636912.9544 | 1122666.1551 | 2636925.5572 | 1122682.4446
51 | 2637062.772 | 1122743.3308 | 2637065.393 | 1122738.4444 | 2637067.4711 | 1122730.2641 | 2637068.2851 | 1122727.0452 | 2637064.5272 | 1122716.0944 | 2637053.2989 | 1122706.0874 | 2637047.0259 | 1122699.101 | 2637038.3074 | 1122685.9633 | 2637033.409 | 1122672.3598 | 2637033.0859 | 1122668.7944
52 | 2636937.1254 | 1122458.2527 | 2636939.5794 | 1122446.6062 | 2636951.4431 | 1122408.1924 | 2636959.0078 | 1122393.1309 | 2636965.9087 | 1122384.4797 | 2636970.1588 | 1122381.8154
53 | 2636937.1254 | 1122458.2527 | 2636932.2318 | 1122472.8747 | 2636921.2786 | 1122499.8549 | 2636901.236 | 1122533.9946 | 2636888.3055 | 1122552.6698 | 2636876.855 | 1122563.8502 | 2636871.6417 | 1122574.0125 | 2636869.8354 | 1122586.9748 | 2636870.3995 | 1122603.2531 | 2636878.3387 | 1122624.1453 | 2636910.2724 | 1122662.9002
54 | 2636970.1588 | 1122381.8154 | 2636963.4524 | 1122376.2716 | 2636960.3593 | 1122375.1189 | 2636954.2442 | 1122376.3155 | 2636923.6371 | 1122392.5261 | 2636903.8155 | 1122404.2557 | 2636898.2084 | 1122400.3988
55 | 2636910.2724 | 1122662.9002 | 2636911.6993 | 1122664.6319
56 | 2637069.5626 | 1122654.6755 | 2637041.6456 | 1122655.8574 | 2637034.4806 | 1122659.7933 | 2637032.6288 | 1122663.7507 | 2637033.0859 | 1122668.7944
57 | 2636898.2084 | 1122400.3988 | 2636892.1731 | 1122396.2474 | 2636888.9497 | 1122399.6263
58 | 2637179.0588 | 1122622.5072 | 2637169.8716 | 1122627.1835 | 2637160.683 | 1122635.398 | 2637149.8019 | 1122649.2383 | 2637141.6168 | 1122657.3033 | 2637132.1271 | 1122660.5468 | 2637123.8328 | 1122660.0068 | 2637110.5626 | 1122657.2797 | 2637096.0519 | 1122654.3468
59 | 2637096.0519 | 1122654.3468 | 2637092.8094 | 1122653.6914 | 2637069.5626 | 1122654.6755
60 | 2636843.8232 | 1122381.7348 | 2636857.3579 | 1122390.5438 | 2636858.9768 | 1122395.7118 | 2636860.2862 | 1122402.312 | 2636861.8294 | 1122403.4553 | 2636868.861 | 1122403.7094 | 2636881.1442 | 1122407.8084 | 2636888.9497 | 1122399.6263
61 | 2636843.8232 | 1122381.7348 | 2636841.9699 | 1122388.4714 | 2636841.6536 | 1122396.0956 | 2636844.4601 | 1122405.0839 | 2636847.4279 | 1122411.6275 | 2636849.3003 | 1122416.9527 | 2636848.7291 | 1122422.1185 | 2636845.4169 | 1122427.8123 | 2636830.059 | 1122439.8251 | 2636812.7797 | 1122453.3158 | 2636808.3819 | 1122458.7363 | 2636804.5165 | 1122465.3717 | 2636795.0355 | 1122476.064 | 2636785.8594 | 1122482.267 | 2636773.9408 | 1122489.2649 | 2636767.9232 | 1122492.2187 | 2636765.8471 | 1122496.2971 | 2636764.7268 | 1122501.7264 | 2636761.2055 | 1122519.0249 | 2636758.87 | 1122529.0047 | 2636756.0384 | 1122535.5908 | 2636750.2096 | 1122541.7364 | 2636746.2281 | 1122545.7137
62 | 2636434.0967 | 1122647.4812 | 2636435.7149 | 1122643.8336 | 2636436.468 | 1122637.8573 | 2636436.5302 | 1122627.5191 | 2636437.9155 | 1122617.7336 | 2636443.1676 | 1122606.1037 | 2636454.6714 | 1122593.5999 | 2636483.9804 | 1122559.5035 | 2636496.6858 | 1122544.7169 | 2636512.4972 | 1122522.5565 | 2636518.5485 | 1122510.1534 | 2636528.1959 | 1122497.3606 | 2636532.0264 | 1122493.893 | 2636538.6678 | 1122489.7977 | 2636546.3533 | 1122485.1972 | 2636559.4881 | 1122475.9607 | 2636564.299 | 1122469.7866 | 2636573.7665 | 1122449.7669 | 2636579.2171 | 1122441.1065 | 2636586.7508 | 1122431.0135 | 2636591.5742 | 1122422.7607 | 2636597.1955 | 1122420.3156 | 2636606.5442 | 1122418.7157 | 2636618.7866 | 1122420.6573 | 2636647.8212 | 1122424.557 | 2636665.8567 | 1122430.0467 | 2636673.5362 | 1122430.2933 | 2636687.8816 | 1122426.2447 | 2636699.1154 | 1122422.7999 | 2636710.5787 | 1122414.5874 | 2636723.4969 | 1122406.8061 | 2636736.8041 | 1122403.574 | 2636772.9062 | 1122406.8947 | 2636783.6961 | 1122407.994 | 2636790.7712 | 1122406.1805 | 2636797.4423 | 1122401.0406 | 2636802.2698 | 1122392.1766 | 2636804.4021 | 1122382.6625 | 2636806.9759 | 1122369.0267 | 2636810.7601 | 1122361.8016 | 2636817.4451 | 1122354.394 | 2636857.2506 | 1122329.6012 | 2636869.7453 | 1122323.0517 | 2636883.4451 | 1122323.7576 | 2636902.0977 | 1122329.2517 | 2636919.2007 | 1122332.124 | 2636929.2166 | 1122333.708 | 2636921.023 | 1122338.0826 | 2636908.033 | 1122341.1272 | 2636892.1921 | 1122343.7543 | 2636880.0272 | 1122346.804 | 2636869.3462 | 1122353.1422 | 2636858.3727 | 1122361.9133 | 2636850.6792 | 1122370.3041 | 2636844.0598 | 1122380.8692 | 2636843.8232 | 1122381.7348
63 | 2636737.2801 | 1122644.2321 | 2636731.5415 | 1122635.5374 | 2636726.8205 | 1122629.4279 | 2636722.6474 | 1122618.1635 | 2636720.2 | 1122612.2791 | 2636714.6701 | 1122603.4856 | 2636711.5085 | 1122595.8292 | 2636711.4526 | 1122588.514 | 2636712.6261 | 1122581.9178 | 2636716.5049 | 1122574.3152 | 2636728.5629 | 1122563.3605 | 2636746.2281 | 1122545.7137
64 | 2636434.0967 | 1122647.4812 | 2636430.3953 | 1122648.7374 | 2636424.2143 | 1122648.1221 | 2636420.5336 | 1122640.8186 | 2636419.6324 | 1122631.6641 | 2636416.518 | 1122618.661 | 2636412.9516 | 1122587.2014 | 2636412.1021 | 1122579.7036 | 2636411.0695 | 1122565.468 | 2636416.4264 | 1122537.6861 | 2636423.3639 | 1122516.3948 | 2636423.8199 | 1122494.4087 | 2636419.3273 | 1122432.2947 | 2636416.9958 | 1122416.8425
65 | 2636412.8083 | 1122389.0892 | 2636416.9958 | 1122416.8425
66 | 2636412.8083 | 1122389.0892 | 2636415.205 | 1122363.7241 | 2636415.2846 | 1122350.4734
67 | 2636412.8083 | 1122389.0892 | 2636403.6007 | 1122426.2527 | 2636391.2208 | 1122447.1889 | 2636376.0733 | 1122460.2935 | 2636354.7921 | 1122482.8661 | 2636343.428 | 1122506.7879 | 2636329.3991 | 1122541.7214 | 2636320.5215 | 1122557.3984 | 2636313.9937 | 1122560.5942 | 2636309.1153 | 1122560.0869
68 | 2636309.1153 | 1122560.0869 | 2636307.3486 | 1122556.3411 | 2636312.8168 | 1122539.5098 | 2636318.4625 | 1122520.0894 | 2636318.5782 | 1122500.8025 | 2636316.8167 | 1122469.176 | 2636311.4314 | 1122445.1538 | 2636301.2462 | 1122408.7744 | 2636290.8152 | 1122376.0731 | 2636287.9883 | 1122371.654 | 2636286.4713 | 1122362.2624 | 2636287.6807 | 1122350.9083
69 | 2636416.2493 | 1122348.0283 | 2636415.2846 | 1122350.4734
70 | 2636416.2493 | 1122348.0283 | 2636419.2316 | 1122340.4699 | 2636431.6325 | 1122328.9052 | 2636444.978 | 1122320.5812 | 2636457.6951 | 1122310.3081 | 2636467.8368 | 1122296.1397 | 2636476.0275 | 1122281.9596 | 2636486.1479 | 1122271.3485 | 2636492.6451 | 1122269.4533 | 2636524.4348 | 1122270.612 | 2636537.3786 | 1122275.2146 | 2636553.5827 | 1122277.5802 | 2636563.9627 | 1122277.6428 | 2636577.6147 | 1122273.5231 | 2636591.9555 | 1122262.6153 | 2636637.9775 | 1122216.003 | 2636644.2038 | 1122205.3686 | 2636645.5834 | 1122191.4811 | 2636648.9272 | 1122169.6479
71 | 2636670.1531 | 1122029.87 | 2636673.6926 | 1122033.7601 | 2636672.6819 | 1122040.2017 | 2636662.7255 | 1122054.1819 | 2636657.7898 | 1122068.1813 | 2636656.0863 | 1122082.0447 | 2636656.895 | 1122108.9855 | 2636654.1427 | 1122135.5934 | 2636648.9272 | 1122169.6479
72 | 2636670.1531 | 1122029.87 | 2636685.2436 | 1122016.2767 | 2636696.4518 | 1122009.5634 | 2636707.1358 | 1122005.337 | 2636718.4841 | 1122004.7722 | 2636724.4295 | 1122006.1927
73 | 2636724.4295 | 1122006.1927 | 2636732.7974 | 1122008.192
74 | 2636739.0576 | 1122008.4866 | 2636734.8107 | 1122008.6731 | 2636732.7974 | 1122008.192

## bus_geodata
| x | y | coords
0 | 2635905.6464 | 1123099.0796
1 | 2635902.9416 | 1123099.7543
2 | 2635918.1412 | 1123096.1059
3 | 2635887.9779 | 1123103.5865
4 | 2635928.0638 | 1123093.7524
5 | 2635887.0703 | 1123095.2075
6 | 2635887.5907 | 1123114.2785
7 | 2635866.3144 | 1123049.4082
8 | 2635888.5568 | 1123143.8436
9 | 2635852.757 | 1123031.5511
10 | 2635900.6901 | 1123153.8678
11 | 2635875.9631 | 1123138.2494
12 | 2635848.7396 | 1123026.2597
13 | 2635903.6346 | 1123007.5796
14 | 2635822.6411 | 1123041.4737
15 | 2636026.0239 | 1122988.7253
16 | 2635806.2446 | 1123051.5275
17 | 2635772.6874 | 1123165.6585
18 | 2635774.3583 | 1123171.2712
19 | 2635770.9996 | 1123141.8135
20 | 2635793.2337 | 1123164.1759
21 | 2635762.4732 | 1123112.9604
22 | 2635777.1182 | 1123125.5126
23 | 2635816.9203 | 1123093.9585
24 | 2635823.1296 | 1123102.4517
25 | 2635810.0826 | 1123158.2534
26 | 2635837.1088 | 1123184.3819
27 | 2635831.1339 | 1123180.3112
28 | 2635862.3816 | 1123199.0845
29 | 2635814.6072 | 1123164.4121
30 | 2635883.9544 | 1123216.5531
31 | 2635909.4337 | 1123201.0898
32 | 2635920.18 | 1123195.7016
33 | 2636479.9468 | 1122856.6295
34 | 2636507.4394 | 1122797.454
35 | 2636212.9118 | 1122682.2746
36 | 2635835.887 | 1123117.9861
37 | 2635842.5421 | 1123123.835
38 | 2635832.5228 | 1123114.655
39 | 2635855.3904 | 1123130.5225
40 | 2635804.3005 | 1123149.7843
41 | 2635782.1702 | 1123132.2949
42 | 2635782.0325 | 1123132.0983
43 | 2636308.8831 | 1122686.4649
44 | 2636207.8074 | 1122670.4275
45 | 2637136.5005 | 1122500.0889
46 | 2637046.2642 | 1122529.6935
47 | 2636975.8039 | 1122710.2717
48 | 2636925.5572 | 1122682.4446
49 | 2637062.772 | 1122743.3308
50 | 2636937.1254 | 1122458.2527
51 | 2636970.1588 | 1122381.8154
52 | 2636910.2724 | 1122662.9002
53 | 2636911.6993 | 1122664.6319
54 | 2637033.0859 | 1122668.7944
55 | 2636898.2084 | 1122400.3988
56 | 2637179.0588 | 1122622.5072
57 | 2637096.0519 | 1122654.3468
58 | 2637069.5626 | 1122654.6755
59 | 2636888.9497 | 1122399.6263
60 | 2636843.8232 | 1122381.7348
61 | 2636746.2281 | 1122545.7137
62 | 2636434.0967 | 1122647.4812
63 | 2636737.2801 | 1122644.2321
64 | 2636416.9958 | 1122416.8425
65 | 2636412.8083 | 1122389.0892
66 | 2636206.7309 | 1122667.929
67 | 2636309.1153 | 1122560.0869
68 | 2636287.6807 | 1122350.9083
69 | 2636415.2846 | 1122350.4734
70 | 2636416.2493 | 1122348.0283
71 | 2636648.9272 | 1122169.6479
72 | 2636670.1531 | 1122029.87
73 | 2636724.4295 | 1122006.1927
74 | 2636732.7974 | 1122008.192
75 | 2636739.0576 | 1122008.4866
76 | 2635848.7396 | 1123026.2597

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1