## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6298-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6298-7_0_5_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_6298-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6298-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6298-7_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6298-7_0_5_node_150 | 0.4 | n |  | TRUE
6 | bus_LV_6298-7_0_5_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_6298-7_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_6298-7_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6298-7_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6298-7_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6298-7_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6298-7_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6298-7_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6298-7_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6298-7_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6298-7_0_5_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_6298-7_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6298-7_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_6298-7_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6298-7_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6298-7_0_5_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_6298-7_0_5_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6298-7_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6298-7_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6298-7_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6298-7_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6298-7_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_6298-7_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6298-7_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6298-7_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6298-7_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6298-7_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6298-7_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6298-7_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_6298-7_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_6298-7_0_5_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_6298-7_0_5_node_149 | 0.4 | n |  | TRUE
38 | bus_LV_6298-7_0_5_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_6298-7_0_5_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_6298-7_0_5_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_6298-7_0_5_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_6298-7_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_6298-7_0_5_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_6298-7_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6298-7_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6298-7_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6298-7_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_6298-7_0_5_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_6298-7_0_5_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_6298-7_0_5_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6298-7_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6298-7_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_6298-7_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6298-7_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6298-7_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_6298-7_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6298-7_0_5_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6298-7_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6298-7_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_6298-7_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6298-7_0_5_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6298-7_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_6298-7_0_5_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6298-7_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6298-7_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_6298-7_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6298-7_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_6298-7_0_5_node_129 | 0.4 | n |  | TRUE
69 | bus_LV_6298-7_0_5_node_125 | 0.4 | n |  | TRUE
70 | bus_LV_6298-7_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6298-7_0_5_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_6298-7_0_5_node_147 | 0.4 | n |  | TRUE
73 | bus_LV_6298-7_0_5_node_142 | 0.4 | n |  | TRUE
74 | bus_LV_6298-7_0_5_node_126 | 0.4 | n |  | TRUE
75 | bus_LV_6298-7_0_5_node_106 | 0.4 | n |  | TRUE
76 | bus_LV_6298-7_0_5_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_6298-7_0_5_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_6298-7_0_5_node_146 | 0.4 | n |  | TRUE
79 | bus_LV_6298-7_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_6298-7_0_5_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_6298-7_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6298-7_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_6298-7_0_5_node_144 | 0.4 | n |  | TRUE
84 | bus_LV_6298-7_0_5_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_6298-7_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_6298-7_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_6298-7_0_5_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_6298-7_0_5_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_6298-7_0_5_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_6298-7_0_5_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_6298-7_0_5_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_6298-7_0_5_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_6298-7_0_5_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_6298-7_0_5_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_6298-7_0_5_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_6298-7_0_5_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_6298-7_0_5_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_6298-7_0_5_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_6298-7_0_5_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_6298-7_0_5_node_131 | 0.4 | n |  | TRUE
101 | bus_LV_6298-7_0_5_node_130 | 0.4 | n |  | TRUE
102 | bus_LV_6298-7_0_5_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_6298-7_0_5_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_6298-7_0_5_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_6298-7_0_5_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_6298-7_0_5_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_6298-7_0_5_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_6298-7_0_5_node_117 | 0.4 | n |  | TRUE
109 | bus_LV_6298-7_0_5_node_114 | 0.4 | n |  | TRUE
110 | bus_LV_6298-7_0_5_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_6298-7_0_5_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_6298-7_0_5_node_140 | 0.4 | n |  | TRUE
113 | bus_LV_6298-7_0_5_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_6298-7_0_5_node_119 | 0.4 | n |  | TRUE
115 | bus_LV_6298-7_0_5_node_98 | 0.4 | n |  | TRUE
116 | bus_LV_6298-7_0_5_node_99 | 0.4 | n |  | TRUE
117 | bus_LV_6298-7_0_5_node_102 | 0.4 | n |  | TRUE
118 | bus_LV_6298-7_0_5_node_103 | 0.4 | n |  | TRUE
119 | bus_LV_6298-7_0_5_node_104 | 0.4 | n |  | TRUE
120 | bus_LV_6298-7_0_5_node_127 | 0.4 | n |  | TRUE
121 | bus_LV_6298-7_0_5_node_128 | 0.4 | n |  | TRUE
122 | bus_LV_6298-7_0_5_node_108 | 0.4 | n |  | TRUE
123 | bus_LV_6298-7_0_5_node_109 | 0.4 | n |  | TRUE
124 | bus_LV_6298-7_0_5_node_110 | 0.4 | n |  | TRUE
125 | bus_LV_6298-7_0_5_node_111 | 0.4 | n |  | TRUE
126 | bus_LV_6298-7_0_5_node_112 | 0.4 | n |  | TRUE
127 | bus_LV_6298-7_0_5_node_113 | 0.4 | n |  | TRUE
128 | bus_LV_6298-7_0_5_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_6298-7_0_5_node_116 | 0.4 | n |  | TRUE
130 | bus_LV_6298-7_0_5_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_6298-7_0_5_node_120 | 0.4 | n |  | TRUE
132 | bus_LV_6298-7_0_5_node_121 | 0.4 | n |  | TRUE
133 | bus_LV_6298-7_0_5_node_123 | 0.4 | n |  | TRUE
134 | bus_LV_6298-7_0_5_node_138 | 0.4 | n |  | TRUE
135 | bus_LV_6298-7_0_5_node_139 | 0.4 | n |  | TRUE
136 | bus_LV_6298-7_0_5_node_143 | 0.4 | n |  | TRUE
137 | bus_LV_6298-7_0_5_node_148 | 0.4 | n |  | TRUE
138 | bus_LV_6298-7_0_5_node_141 | 0.4 | n |  | TRUE
139 | bus_LV_6298-7_0_5_node_132 | 0.4 | n |  | TRUE
140 | bus_LV_6298-7_0_5_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_6298-7_0_5_node_134 | 0.4 | n |  | TRUE
142 | bus_LV_6298-7_0_5_node_135 | 0.4 | n |  | TRUE
143 | bus_LV_6298-7_0_5_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_6298-7_0_5_node_137 | 0.4 | n |  | TRUE
145 | bus_MV_108_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6298-7_0_5_load_0 | 0 | 0.028694 | 0.0071913 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6298-7_0_5_load_5 | 1 | 0.0065289 | 0.0016363 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6298-7_0_5_load_4 | 4 | 0.0024623 | 0.00061711 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6298-7_0_5_load_150 | 5 | 0.0023648 | 0.00059268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6298-7_0_5_load_60 | 6 | 0.0019894 | 0.00049858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6298-7_0_5_load_6 | 8 | 0.0044987 | 0.0011275 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6298-7_0_5_load_7 | 9 | 0.0037536 | 0.00094074 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6298-7_0_5_load_8 | 10 | 0.0027145 | 0.00068032 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6298-7_0_5_load_9 | 11 | 0.0029897 | 0.0007493 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6298-7_0_5_load_10 | 12 | 0.0033695 | 0.00084448 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6298-7_0_5_load_13 | 15 | 0.002922 | 0.00073233 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6298-7_0_5_load_32 | 16 | 0.0035623 | 0.00089279 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6298-7_0_5_load_14 | 17 | 0.0020044 | 0.00050235 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6298-7_0_5_load_16 | 19 | 0.003756 | 0.00094133 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6298-7_0_5_load_35 | 21 | 0.005243 | 0.001314 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6298-7_0_5_load_26 | 22 | 0.0024933 | 0.00062487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6298-7_0_5_load_19 | 23 | 0.0048345 | 0.0012117 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6298-7_0_5_load_20 | 24 | 0.004017 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6298-7_0_5_load_21 | 25 | 0.0016611 | 0.00041632 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6298-7_0_5_load_22 | 26 | 0.0026833 | 0.00067249 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6298-7_0_5_load_27 | 27 | 0.0043312 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6298-7_0_5_load_23 | 28 | 0.0026282 | 0.00065869 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6298-7_0_5_load_24 | 29 | 0.0063426 | 0.0015896 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6298-7_0_5_load_28 | 31 | 0.0031608 | 0.00079216 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6298-7_0_5_load_29 | 32 | 0.0051313 | 0.001286 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6298-7_0_5_load_34 | 34 | 0.0034246 | 0.00085829 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6298-7_0_5_load_50 | 35 | 0.0052155 | 0.0013071 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6298-7_0_5_load_49 | 36 | 0.0017728 | 0.0004443 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6298-7_0_5_load_149 | 37 | 0.0025987 | 0.0006513 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6298-7_0_5_load_86 | 38 | 0.0046351 | 0.0011617 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6298-7_0_5_load_18 | 39 | 0.0047732 | 0.0011963 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6298-7_0_5_load_84 | 40 | 0.0029703 | 0.00074444 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6298-7_0_5_load_78 | 41 | 0.0051883 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6298-7_0_5_load_53 | 42 | 0.0019234 | 0.00048204 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6298-7_0_5_load_30 | 44 | 0.0016146 | 0.00040466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6298-7_0_5_load_31 | 45 | 0.0021992 | 0.00055116 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6298-7_0_5_load_37 | 46 | 0.0015766 | 0.00039513 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6298-7_0_5_load_36 | 47 | 0.0035051 | 0.00087847 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6298-7_0_5_load_65 | 48 | 0.0027827 | 0.00069741 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6298-7_0_5_load_51 | 51 | 0.0016983 | 0.00042563 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6298-7_0_5_load_39 | 53 | 0.0045229 | 0.0011335 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6298-7_0_5_load_41 | 54 | 0.00288 | 0.00072179 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6298-7_0_5_load_45 | 57 | 0.0033947 | 0.0008508 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6298-7_0_5_load_42 | 58 | 0.0049879 | 0.0012501 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6298-7_0_5_load_52 | 59 | 0.0018395 | 0.00046101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6298-7_0_5_load_43 | 60 | 0.0017592 | 0.00044091 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6298-7_0_5_load_63 | 61 | 0.0037754 | 0.00094622 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6298-7_0_5_load_61 | 62 | 0.0036655 | 0.00091867 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6298-7_0_5_load_54 | 63 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6298-7_0_5_load_55 | 64 | 0.0043021 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6298-7_0_5_load_57 | 66 | 0.0039281 | 0.00098448 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6298-7_0_5_load_129 | 68 | 0.0016378 | 0.00041047 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6298-7_0_5_load_125 | 69 | 0.0026273 | 0.00065846 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6298-7_0_5_load_147 | 72 | 0.0021974 | 0.00055073 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6298-7_0_5_load_83 | 76 | 0.0040341 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6298-7_0_5_load_81 | 77 | 0.0027128 | 0.00067989 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6298-7_0_5_load_146 | 78 | 0.0029718 | 0.00074481 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6298-7_0_5_load_62 | 79 | 0.0051546 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6298-7_0_5_load_69 | 81 | 0.0019453 | 0.00048755 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6298-7_0_5_load_70 | 82 | 0.0034195 | 0.000857 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6298-7_0_5_load_144 | 83 | 0.0023213 | 0.00058176 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6298-7_0_5_load_67 | 84 | 0.0042976 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6298-7_0_5_load_68 | 85 | 0.0015667 | 0.00039265 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6298-7_0_5_load_145 | 87 | 0.0032508 | 0.00081474 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6298-7_0_5_load_71 | 89 | 0.0020664 | 0.00051789 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6298-7_0_5_load_72 | 90 | 0.0020149 | 0.00050497 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6298-7_0_5_load_73 | 91 | 0.0022952 | 0.00057523 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6298-7_0_5_load_74 | 92 | 0.0066783 | 0.0016737 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6298-7_0_5_load_75 | 93 | 0.0051533 | 0.0012915 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6298-7_0_5_load_79 | 94 | 0.0043878 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6298-7_0_5_load_80 | 95 | 0.0031223 | 0.00078252 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6298-7_0_5_load_87 | 96 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6298-7_0_5_load_91 | 97 | 0.0033327 | 0.00083526 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6298-7_0_5_load_89 | 98 | 0.0079718 | 0.0019979 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6298-7_0_5_load_88 | 99 | 0.0018212 | 0.00045642 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6298-7_0_5_load_131 | 100 | 0.0049255 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6298-7_0_5_load_130 | 101 | 0.0037476 | 0.00093924 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6298-7_0_5_load_92 | 102 | 0.0086591 | 0.0021702 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6298-7_0_5_load_94 | 104 | 0.0052439 | 0.0013142 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6298-7_0_5_load_96 | 105 | 0.0083542 | 0.0020938 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6298-7_0_5_load_117 | 108 | 0.0073239 | 0.0018355 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6298-7_0_5_load_114 | 109 | 0.005279 | 0.001323 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6298-7_0_5_load_101 | 110 | 0.0080996 | 0.00203 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6298-7_0_5_load_140 | 112 | 0.0038286 | 0.00095954 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6298-7_0_5_load_119 | 114 | 0.0086417 | 0.0021658 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6298-7_0_5_load_98 | 115 | 0.0074817 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6298-7_0_5_load_99 | 116 | 0.0050015 | 0.0012535 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6298-7_0_5_load_102 | 117 | 0.0055 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6298-7_0_5_load_103 | 118 | 0.008011 | 0.0020077 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6298-7_0_5_load_104 | 119 | 0.0072655 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6298-7_0_5_load_127 | 120 | 0.003042 | 0.0007624 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6298-7_0_5_load_128 | 121 | 0.0022288 | 0.00055859 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6298-7_0_5_load_108 | 122 | 0.0039214 | 0.00098278 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6298-7_0_5_load_109 | 123 | 0.0033162 | 0.00083112 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6298-7_0_5_load_111 | 125 | 0.0034519 | 0.00086513 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6298-7_0_5_load_112 | 126 | 0.015912 | 0.0039879 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6298-7_0_5_load_113 | 127 | 0.0027181 | 0.00068122 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6298-7_0_5_load_118 | 128 | 0.016697 | 0.0041846 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6298-7_0_5_load_116 | 129 | 0.010442 | 0.0026171 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6298-7_0_5_load_115 | 130 | 0.0070305 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6298-7_0_5_load_120 | 131 | 0.0055298 | 0.0013859 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6298-7_0_5_load_121 | 132 | 0.0039365 | 0.00098658 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6298-7_0_5_load_138 | 134 | 0.0026032 | 0.00065243 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6298-7_0_5_load_139 | 135 | 0.0047544 | 0.0011916 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6298-7_0_5_load_143 | 136 | 0.002567 | 0.00064334 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6298-7_0_5_load_148 | 137 | 0.0022707 | 0.00056908 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6298-7_0_5_load_141 | 138 | 0.0037497 | 0.00093976 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6298-7_0_5_load_133 | 140 | 0.0026567 | 0.00066582 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6298-7_0_5_load_134 | 141 | 0.0039357 | 0.00098637 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6298-7_0_5_load_135 | 142 | 0.0032148 | 0.00080571 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6298-7_0_5_load_136 | 143 | 0.011952 | 0.0029956 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6298-7_0_5_load_137 | 144 | 0.0025386 | 0.00063624 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6298-7_0_5_line_0 |  | 0 | 1 | 0.066148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6298-7_0_5_line_1 |  | 1 | 8 | 0.0068219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6298-7_0_5_line_2 |  | 2 | 3 | 0.069893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6298-7_0_5_line_3 |  | 2 | 4 | 0.075813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6298-7_0_5_line_4 |  | 3 | 5 | 0.15088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6298-7_0_5_line_5 |  | 3 | 6 | 0.11533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6298-7_0_5_line_6 |  | 4 | 7 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6298-7_0_5_line_7 |  | 7 | 36 | 0.010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6298-7_0_5_line_8 |  | 7 | 35 | 0.019968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6298-7_0_5_line_9 |  | 8 | 9 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6298-7_0_5_line_10 |  | 9 | 10 | 0.052696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6298-7_0_5_line_11 |  | 10 | 11 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6298-7_0_5_line_12 |  | 11 | 12 | 0.0086786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6298-7_0_5_line_13 |  | 12 | 13 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6298-7_0_5_line_14 |  | 13 | 14 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6298-7_0_5_line_15 |  | 13 | 15 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6298-7_0_5_line_16 |  | 14 | 16 | 0.020543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6298-7_0_5_line_17 |  | 15 | 17 | 0.0041046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6298-7_0_5_line_18 |  | 16 | 33 | 0.0083768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6298-7_0_5_line_19 |  | 17 | 18 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6298-7_0_5_line_20 |  | 18 | 19 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6298-7_0_5_line_21 |  | 18 | 20 | 0.008663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6298-7_0_5_line_22 |  | 19 | 39 | 0.028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6298-7_0_5_line_23 |  | 20 | 21 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6298-7_0_5_line_24 |  | 20 | 22 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6298-7_0_5_line_25 |  | 21 | 42 | 0.013167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6298-7_0_5_line_26 |  | 22 | 29 | 0.0089094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6298-7_0_5_line_27 |  | 23 | 24 | 0.019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6298-7_0_5_line_28 |  | 24 | 25 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6298-7_0_5_line_29 |  | 25 | 26 | 0.012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6298-7_0_5_line_30 |  | 26 | 27 | 0.0057655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6298-7_0_5_line_31 |  | 27 | 30 | 0.0079926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6298-7_0_5_line_32 |  | 28 | 29 | 0.0026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6298-7_0_5_line_33 |  | 28 | 30 | 0.0076356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6298-7_0_5_line_34 |  | 30 | 31 | 0.036142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6298-7_0_5_line_35 |  | 30 | 32 | 0.020572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6298-7_0_5_line_36 |  | 31 | 44 | 0.0062345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6298-7_0_5_line_37 |  | 33 | 34 | 0.008698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6298-7_0_5_line_38 |  | 34 | 35 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6298-7_0_5_line_39 |  | 37 | 38 | 0.19216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6298-7_0_5_line_40 |  | 38 | 43 | 0.057078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6298-7_0_5_line_41 |  | 40 | 41 | 0.062408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6298-7_0_5_line_42 |  | 41 | 86 | 0.036254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6298-7_0_5_line_43 |  | 42 | 51 | 0.002882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6298-7_0_5_line_44 |  | 43 | 97 | 0.028486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6298-7_0_5_line_45 |  | 43 | 98 | 0.031533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6298-7_0_5_line_46 |  | 44 | 45 | 0.0083048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6298-7_0_5_line_47 |  | 45 | 46 | 0.0082329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6298-7_0_5_line_48 |  | 46 | 47 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6298-7_0_5_line_49 |  | 47 | 52 | 0.016515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6298-7_0_5_line_50 |  | 48 | 49 | 0.0098963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6298-7_0_5_line_51 |  | 48 | 50 | 0.15979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6298-7_0_5_line_52 |  | 49 | 84 | 0.026622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6298-7_0_5_line_53 |  | 49 | 85 | 0.042667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6298-7_0_5_line_54 |  | 50 | 57 | 0.030032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6298-7_0_5_line_55 |  | 51 | 59 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6298-7_0_5_line_56 |  | 52 | 53 | 0.0076726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6298-7_0_5_line_57 |  | 53 | 54 | 0.0011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6298-7_0_5_line_58 |  | 54 | 58 | 0.0017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6298-7_0_5_line_59 |  | 55 | 56 | 0.006294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6298-7_0_5_line_60 |  | 55 | 57 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6298-7_0_5_line_61 |  | 56 | 59 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6298-7_0_5_line_62 |  | 58 | 60 | 0.032497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6298-7_0_5_line_63 |  | 61 | 62 | 0.037823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6298-7_0_5_line_64 |  | 62 | 79 | 0.030553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6298-7_0_5_line_65 |  | 63 | 64 | 0.022788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6298-7_0_5_line_66 |  | 63 | 65 | 0.0099953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6298-7_0_5_line_67 |  | 64 | 66 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6298-7_0_5_line_68 |  | 65 | 67 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6298-7_0_5_line_69 |  | 66 | 68 | 0.0025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6298-7_0_5_line_70 |  | 67 | 69 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6298-7_0_5_line_71 |  | 68 | 73 | 0.0080173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6298-7_0_5_line_72 |  | 69 | 74 | 0.039639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_6298-7_0_5_line_73 |  | 70 | 71 | 0.006582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6298-7_0_5_line_74 |  | 70 | 72 | 0.016801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6298-7_0_5_line_75 |  | 71 | 76 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6298-7_0_5_line_76 |  | 71 | 77 | 0.057592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6298-7_0_5_line_77 |  | 72 | 78 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6298-7_0_5_line_78 |  | 73 | 137 | 0.0087599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6298-7_0_5_line_79 |  | 73 | 138 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6298-7_0_5_line_80 |  | 74 | 75 | 0.03451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6298-7_0_5_line_81 |  | 75 | 120 | 0.02765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6298-7_0_5_line_82 |  | 75 | 113 | 0.025699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6298-7_0_5_line_83 |  | 76 | 96 | 0.0089035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6298-7_0_5_line_84 |  | 77 | 88 | 0.020535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6298-7_0_5_line_85 |  | 78 | 137 | 0.0064254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6298-7_0_5_line_86 |  | 79 | 80 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6298-7_0_5_line_87 |  | 80 | 81 | 0.006432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6298-7_0_5_line_88 |  | 80 | 82 | 0.0077926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6298-7_0_5_line_89 |  | 82 | 83 | 0.011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6298-7_0_5_line_90 |  | 83 | 87 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6298-7_0_5_line_91 |  | 84 | 86 | 0.07449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6298-7_0_5_line_92 |  | 85 | 87 | 0.0030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6298-7_0_5_line_93 |  | 86 | 88 | 0.027378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_6298-7_0_5_line_94 |  | 88 | 95 | 0.015515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6298-7_0_5_line_95 |  | 89 | 90 | 0.00022139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6298-7_0_5_line_96 |  | 89 | 91 | 0.031157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6298-7_0_5_line_97 |  | 90 | 92 | 0.0055826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6298-7_0_5_line_98 |  | 91 | 93 | 0.041414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6298-7_0_5_line_99 |  | 93 | 94 | 0.002138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6298-7_0_5_line_100 |  | 94 | 95 | 0.036209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6298-7_0_5_line_101 |  | 97 | 100 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6298-7_0_5_line_102 |  | 98 | 99 | 0.028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6298-7_0_5_line_103 |  | 100 | 101 | 0.0011153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6298-7_0_5_line_104 |  | 101 | 139 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6298-7_0_5_line_105 |  | 102 | 103 | 0.037537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6298-7_0_5_line_106 |  | 102 | 104 | 0.086649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6298-7_0_5_line_107 |  | 103 | 105 | 0.01548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_6298-7_0_5_line_108 |  | 103 | 106 | 0.023393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_6298-7_0_5_line_109 |  | 105 | 107 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_6298-7_0_5_line_110 |  | 106 | 108 | 0.016905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_6298-7_0_5_line_111 |  | 106 | 109 | 0.022384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6298-7_0_5_line_112 |  | 107 | 112 | 0.035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6298-7_0_5_line_113 |  | 107 | 113 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_6298-7_0_5_line_114 |  | 108 | 114 | 0.022281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_6298-7_0_5_line_115 |  | 110 | 111 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6298-7_0_5_line_116 |  | 111 | 117 | 0.032512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6298-7_0_5_line_117 |  | 111 | 118 | 0.038044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6298-7_0_5_line_118 |  | 111 | 115 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6298-7_0_5_line_119 |  | 113 | 119 | 0.035122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6298-7_0_5_line_120 |  | 114 | 127 | 0.0018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6298-7_0_5_line_121 |  | 115 | 116 | 0.044313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6298-7_0_5_line_122 |  | 117 | 119 | 0.019735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6298-7_0_5_line_123 |  | 120 | 121 | 0.0060375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6298-7_0_5_line_124 |  | 122 | 123 | 0.0030422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6298-7_0_5_line_125 |  | 122 | 124 | 0.02742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6298-7_0_5_line_126 |  | 123 | 125 | 0.016213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6298-7_0_5_line_127 |  | 124 | 126 | 0.027112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6298-7_0_5_line_128 |  | 124 | 127 | 0.010895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6298-7_0_5_line_129 |  | 126 | 128 | 0.0056787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6298-7_0_5_line_130 |  | 128 | 129 | 0.05183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6298-7_0_5_line_131 |  | 129 | 130 | 0.064422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6298-7_0_5_line_132 |  | 131 | 132 | 0.036456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6298-7_0_5_line_133 |  | 132 | 133 | 0.020922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6298-7_0_5_line_134 |  | 133 | 134 | 0.015714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6298-7_0_5_line_135 |  | 133 | 135 | 0.014444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6298-7_0_5_line_136 |  | 135 | 136 | 0.002049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6298-7_0_5_line_137 |  | 136 | 144 | 0.0039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6298-7_0_5_line_138 |  | 138 | 141 | 0.002883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6298-7_0_5_line_139 |  | 139 | 140 | 0.0092364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6298-7_0_5_line_140 |  | 139 | 141 | 0.0064064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6298-7_0_5_line_141 |  | 140 | 142 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6298-7_0_5_line_142 |  | 142 | 143 | 0.0030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6298-7_0_5_line_143 |  | 143 | 144 | 0.0064235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6298-7_0_5_trafo_84 | 0.63 MVA 20/0.4 kV | 145 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2634734.1436 | 1124948.0147 | 2634769.5592 | 1124892.1459
1 | 2634769.5592 | 1124892.1459 | 2634769.141 | 1124890.2536 | 2634768.1157 | 1124885.4785
2 | 2634619.7955 | 1124733.5083 | 2634625.8311 | 1124744.3705 | 2634627.5395 | 1124755.6637 | 2634627.3167 | 1124763.6331 | 2634624.9716 | 1124777.3933 | 2634625.0303 | 1124788.6883 | 2634626.2139 | 1124801.4459
3 | 2634626.2139 | 1124801.4459 | 2634627.5113 | 1124795.6504 | 2634627.9525 | 1124788.5938 | 2634630.0187 | 1124788.55 | 2634631.8079 | 1124789.7609 | 2634630.4209 | 1124795.0667 | 2634631.0337 | 1124801.1399 | 2634631.7359 | 1124803.7119 | 2634632.7929 | 1124807.5977 | 2634638.0907 | 1124812.6528 | 2634639.5287 | 1124815.9738 | 2634646.2091 | 1124819.2025 | 2634650.3628 | 1124819.4263 | 2634654.7169 | 1124819.6625 | 2634657.9318 | 1124816.9017 | 2634660.2723 | 1124816.0702 | 2634662.5555 | 1124815.8276 | 2634666.9507 | 1124815.9181
4 | 2634619.7955 | 1124733.5083 | 2634536.9258 | 1124607.428
5 | 2634619.7955 | 1124733.5083 | 2634510.0175 | 1124768.8523
6 | 2634686.3294 | 1124817.1532 | 2634680.7155 | 1124817.4879 | 2634674.005 | 1124816.8269 | 2634667.0415 | 1124815.92 | 2634666.9507 | 1124815.9181
7 | 2634686.3294 | 1124817.1532 | 2634686.1033 | 1124806.8245
8 | 2634686.3294 | 1124817.1532 | 2634690.3855 | 1124816.9208 | 2634698.8726 | 1124816.9694 | 2634706.2901 | 1124816.8543
9 | 2634768.1157 | 1124885.4785 | 2634767.6544 | 1124883.3305 | 2634766.94 | 1124876.1894 | 2634767.3195 | 1124869.0497
10 | 2634767.3195 | 1124869.0497 | 2634767.4326 | 1124866.9209 | 2634768.4485 | 1124860.4902 | 2634770.6115 | 1124850.2974 | 2634773.7447 | 1124841.6444 | 2634776.6003 | 1124833.0009 | 2634777.9055 | 1124825.8715 | 2634777.5176 | 1124819.5883 | 2634776.9726 | 1124817.8883
11 | 2634776.9726 | 1124817.8883 | 2634775.4501 | 1124813.1398 | 2634772.8188 | 1124808.2334 | 2634772.2537 | 1124807.6107
12 | 2634772.2537 | 1124807.6107 | 2634766.4218 | 1124801.1836
13 | 2634752.2449 | 1124790.6398 | 2634760.6932 | 1124794.7459 | 2634765.4266 | 1124800.0868 | 2634766.4218 | 1124801.1836
14 | 2634752.2449 | 1124790.6398 | 2634751.761 | 1124795.7062 | 2634750.6425 | 1124801.2026
15 | 2634752.2449 | 1124790.6398 | 2634753.4819 | 1124777.7143
16 | 2634750.6425 | 1124801.2026 | 2634739.2305 | 1124797.6909 | 2634730.8491 | 1124795.7526
17 | 2634753.4819 | 1124777.7143 | 2634753.8729 | 1124773.6284
18 | 2634722.5321 | 1124795.2162 | 2634728.5834 | 1124795.2287 | 2634730.8491 | 1124795.7526
19 | 2634755.3201 | 1124758.5079 | 2634753.8729 | 1124773.6284
20 | 2634755.3201 | 1124758.5079 | 2634761.7834 | 1124761.9467 | 2634767.3624 | 1124762.3345 | 2634769.3373 | 1124763.4242 | 2634770.399 | 1124766.4873 | 2634775.9774 | 1124765.6189 | 2634778.8905 | 1124765.22
21 | 2634756.1404 | 1124749.8861 | 2634755.3201 | 1124758.5079
22 | 2634791.719 | 1124783.0292 | 2634789.9667 | 1124775.393 | 2634788.2114 | 1124766.9454 | 2634787.512 | 1124763.8954 | 2634782.2882 | 1124764.7547 | 2634778.8905 | 1124765.22
23 | 2634756.1404 | 1124749.8861 | 2634756.4109 | 1124747.0862 | 2634757.4849 | 1124737.2541 | 2634758.2341 | 1124730.8237
24 | 2634756.1404 | 1124749.8861 | 2634746.0467 | 1124747.7048 | 2634742.8771 | 1124747.8735
25 | 2634759.0838 | 1124717.7275 | 2634759.3171 | 1124721.5789 | 2634758.3444 | 1124729.8775 | 2634758.2341 | 1124730.8237
26 | 2634733.9763 | 1124747.7722 | 2634740.2016 | 1124748.0159 | 2634742.8771 | 1124747.8735
27 | 2634686.3127 | 1124752.7762 | 2634686.3127 | 1124752.7762 | 2634683.5578 | 1124753.2718 | 2634682.3474 | 1124754.6323 | 2634681.391 | 1124756.0831 | 2634678.8957 | 1124757.0137 | 2634674.9383 | 1124757.5024 | 2634670.7269 | 1124757.9119 | 2634668.4685 | 1124757.1671
28 | 2634686.3127 | 1124752.7762 | 2634689.1418 | 1124752.7925 | 2634691.8119 | 1124752.2853 | 2634692.7532 | 1124753.4913 | 2634693.9523 | 1124754.0984 | 2634696.4431 | 1124753.946 | 2634699.3657 | 1124753.7848 | 2634703.0408 | 1124753.8059
29 | 2634709.9543 | 1124746.7296 | 2634709.6357 | 1124746.7401 | 2634708.939 | 1124747.2475 | 2634708.7581 | 1124749.2141 | 2634708.5718 | 1124752.1256 | 2634707.3614 | 1124753.4971 | 2634704.091 | 1124753.8119 | 2634703.0408 | 1124753.8059
30 | 2634715.7167 | 1124746.5836 | 2634715.1023 | 1124746.5602 | 2634709.9543 | 1124746.7296
31 | 2634723.7034 | 1124746.8875 | 2634715.7167 | 1124746.5836
32 | 2634731.2957 | 1124747.6672 | 2634733.9763 | 1124747.7722
33 | 2634723.7034 | 1124746.8875 | 2634729.8895 | 1124747.6122 | 2634731.2957 | 1124747.6672
34 | 2634723.7034 | 1124746.8875 | 2634726.3219 | 1124736.575 | 2634728.4751 | 1124726.7491 | 2634728.7012 | 1124722.2704 | 2634727.6058 | 1124715.683 | 2634726.8549 | 1124711.4683
35 | 2634723.7034 | 1124746.8875 | 2634722.6664 | 1124748.9381 | 2634722.582 | 1124763.6673 | 2634722.5616 | 1124767.2115
36 | 2634726.8549 | 1124711.4683 | 2634725.7614 | 1124705.3304
37 | 2634722.5321 | 1124795.2162 | 2634721.0703 | 1124798.754 | 2634718.8935 | 1124803.1105
38 | 2634718.8935 | 1124803.1105 | 2634716.9216 | 1124807.0567 | 2634715.003 | 1124813.6268 | 2634713.2931 | 1124816.0626 | 2634708.2935 | 1124816.8233 | 2634706.2901 | 1124816.8543
39 | 2634944.931 | 1124848.8897 | 2634918.7316 | 1125039.2556
40 | 2635001.7738 | 1124854.0637 | 2634944.931 | 1124848.8897
41 | 2634965.2243 | 1124661.3002 | 2634967.9696 | 1124679.4472 | 2634967.5003 | 1124691.2949 | 2634959.3474 | 1124722.4434
42 | 2634978.9241 | 1124634.0542 | 2634973.6695 | 1124634.8687 | 2634966.3866 | 1124639.8514 | 2634963.3138 | 1124648.6715 | 2634965.2243 | 1124661.3002
43 | 2634758.9096 | 1124714.8508 | 2634759.0838 | 1124717.7275
44 | 2635001.7738 | 1124854.0637 | 2635003.439 | 1124852.706 | 2635005.614 | 1124849.8504 | 2635007.9854 | 1124845.0173 | 2635009.4694 | 1124837.6666 | 2635010.2163 | 1124832.4683 | 2635011.0709 | 1124827.9341
45 | 2635001.7738 | 1124854.0637 | 2634999.903 | 1124845.6487 | 2634998.4869 | 1124833.2342 | 2634998.046 | 1124822.8264
46 | 2634723.9511 | 1124697.232 | 2634725.1038 | 1124701.6394 | 2634725.7614 | 1124705.3304
47 | 2634723.9511 | 1124697.232 | 2634723.482 | 1124695.438 | 2634721.8607 | 1124690.4818 | 2634721.6075 | 1124689.3458
48 | 2634718.2319 | 1124673.9749 | 2634719.839 | 1124681.4101 | 2634721.6075 | 1124689.3458
49 | 2634719.9445 | 1124657.6321 | 2634719.3056 | 1124664.1873 | 2634718.4505 | 1124666.7726 | 2634718.2319 | 1124673.9749
50 | 2634918.0543 | 1124556.4529 | 2634908.6656 | 1124553.3241
51 | 2634908.6656 | 1124553.3241 | 2634767.6453 | 1124628.4576
52 | 2634918.0543 | 1124556.4529 | 2634920.7864 | 1124558.5808 | 2634925.8115 | 1124561.4779 | 2634937.3496 | 1124569.9042 | 2634939.527 | 1124572.0707
53 | 2634918.0543 | 1124556.4529 | 2634922.1424 | 1124552.0409 | 2634939.0157 | 1124533.6622 | 2634942.2934 | 1124522.4286
54 | 2634767.6453 | 1124628.4576 | 2634754.7755 | 1124642.513 | 2634749.3322 | 1124652.0422
55 | 2634758.9096 | 1124714.8508 | 2634758.8523 | 1124713.9057 | 2634758.5851 | 1124709.4241 | 2634754.4156 | 1124696.71
56 | 2634719.9445 | 1124657.6321 | 2634719.7987 | 1124649.9608
57 | 2634719.7987 | 1124649.9608 | 2634719.7769 | 1124648.8123
58 | 2634719.7428 | 1124647.0225 | 2634719.7769 | 1124648.8123
59 | 2634747.5994 | 1124675.922 | 2634747.6355 | 1124669.6302
60 | 2634747.6355 | 1124669.6302 | 2634747.6748 | 1124662.7825 | 2634749.3322 | 1124652.0422
61 | 2634747.5994 | 1124675.922 | 2634749.3041 | 1124681.1233 | 2634754.4156 | 1124696.71
62 | 2634719.7428 | 1124647.0225 | 2634719.7372 | 1124646.7254 | 2634719.5572 | 1124640.4656 | 2634719.5635 | 1124632.6506 | 2634721.324 | 1124628.1251 | 2634725.2555 | 1124622.756 | 2634729.3939 | 1124617.5994
63 | 2634902.6261 | 1124490.0072 | 2634897.2318 | 1124489.6104 | 2634889.8562 | 1124486.5663 | 2634886.4321 | 1124480.0989 | 2634886.2578 | 1124470.1929 | 2634887.9934 | 1124463.1953
64 | 2634902.6261 | 1124490.0072 | 2634907.3958 | 1124490.3582 | 2634917.1041 | 1124489.9472 | 2634926.1359 | 1124485.1635 | 2634931.5685 | 1124483.0387
65 | 2635026.5791 | 1124726.3472 | 2635026.2705 | 1124730.3874 | 2635027.1325 | 1124735.9507 | 2635029.7957 | 1124743.3254 | 2635028.5065 | 1124747.6312 | 2635028.3977 | 1124748.3946
66 | 2635025.403 | 1124716.442 | 2635026.6542 | 1124725.3649 | 2635026.5791 | 1124726.3472
67 | 2635028.3977 | 1124748.3946 | 2635027.3817 | 1124755.5176 | 2635026.6399 | 1124759.8155 | 2635025.3353 | 1124766.8003 | 2635024.898 | 1124768.7552
68 | 2635033.0536 | 1124705.1806 | 2635027.6396 | 1124710.9188 | 2635025.403 | 1124716.442
69 | 2635024.3473 | 1124771.2171 | 2635024.898 | 1124768.7552
70 | 2635033.0536 | 1124705.1806 | 2635044.2977 | 1124707.0688 | 2635048.8646 | 1124706.5171
71 | 2635020.8125 | 1124778.4023 | 2635024.2749 | 1124771.541 | 2635024.3473 | 1124771.2171
72 | 2635077.7911 | 1124679.4153 | 2635048.8646 | 1124706.5171
73 | 2635006.4684 | 1124740.7226 | 2635001.0943 | 1124736.9007
74 | 2635006.4684 | 1124740.7226 | 2635006.1414 | 1124747.9355 | 2635007.9081 | 1124757.0392 | 2635007.9693 | 1124757.3404
75 | 2635001.0943 | 1124736.9007 | 2634999.2079 | 1124748.0415
76 | 2635001.0943 | 1124736.9007 | 2634998.5275 | 1124731.5165 | 2634996.2575 | 1124710.793 | 2634989.9627 | 1124680.6639
77 | 2635007.9693 | 1124757.3404 | 2635009.1749 | 1124763.2718 | 2635011.7762 | 1124766.9854
78 | 2635020.8125 | 1124778.4023 | 2635018.2445 | 1124771.8953 | 2635016.7482 | 1124770.9602
79 | 2635020.8125 | 1124778.4023 | 2635020.0054 | 1124783.3334 | 2635018.8247 | 1124789.2237
80 | 2635095.594 | 1124705.4982 | 2635096.4731 | 1124702.7909 | 2635096.7216 | 1124698.5012 | 2635096.0602 | 1124695.5626 | 2635088.6105 | 1124689.4163 | 2635077.7911 | 1124679.4153
81 | 2635095.594 | 1124705.4982 | 2635089.1395 | 1124715.188 | 2635080.9487 | 1124727.858 | 2635080.4636 | 1124728.6405
82 | 2635095.594 | 1124705.4982 | 2635101.1848 | 1124710.5109 | 2635110.2104 | 1124717.4111 | 2635115.7993 | 1124721.4122
83 | 2634999.2079 | 1124748.0415 | 2634998.9712 | 1124749.4392 | 2634998.4449 | 1124756.9066
84 | 2634985.763 | 1124660.5626 | 2634989.9627 | 1124680.6639
85 | 2635016.7482 | 1124770.9602 | 2635014.043 | 1124769.2697 | 2635012.279 | 1124767.7031 | 2635011.7762 | 1124766.9854
86 | 2634948.6473 | 1124486.394 | 2634940.2464 | 1124482.0211 | 2634933.0822 | 1124482.4467 | 2634931.5685 | 1124483.0387
87 | 2634948.6473 | 1124486.394 | 2634948.8905 | 1124479.9666
88 | 2634948.6473 | 1124486.394 | 2634947.473 | 1124494.0975
89 | 2634945.6781 | 1124505.8722 | 2634947.473 | 1124494.0975
90 | 2634943.1605 | 1124519.4564 | 2634944.0963 | 1124516.2494 | 2634945.6781 | 1124505.8722
91 | 2634978.9241 | 1124634.0542 | 2634974.4079 | 1124620.488 | 2634965.5229 | 1124602.5165 | 2634952.4421 | 1124584.9211 | 2634939.527 | 1124572.0707
92 | 2634942.2934 | 1124522.4286 | 2634943.1605 | 1124519.4564
93 | 2634978.9241 | 1124634.0542 | 2634985.763 | 1124660.5626
94 | 2634985.763 | 1124660.5626 | 2634991.2358 | 1124656.6589 | 2634997.6841 | 1124650.682 | 2634997.6841 | 1124650.682
95 | 2634991.1944 | 1124545.0802 | 2634991.0837 | 1124545.272
96 | 2634991.0837 | 1124545.272 | 2634988.8427 | 1124549.1576 | 2634987.6486 | 1124559.6782 | 2634988.7384 | 1124567.1994 | 2634991.1683 | 1124575.328
97 | 2634994.75 | 1124540.7764 | 2634991.1944 | 1124545.0802
98 | 2634991.1683 | 1124575.328 | 2634991.3249 | 1124575.852 | 2634995.0402 | 1124585.2782 | 2634998.3985 | 1124592.4346 | 2635002.8572 | 1124602.6099 | 2635004.7002 | 1124610.5134 | 2635004.8699 | 1124614.1143
99 | 2635004.9706 | 1124616.2499 | 2635004.8699 | 1124614.1143
100 | 2635004.9706 | 1124616.2499 | 2635005.0367 | 1124617.6523 | 2635004.9802 | 1124627.4236 | 2635004.5438 | 1124637.5706 | 2635001.4863 | 1124645.0678 | 2634997.6841 | 1124650.682
101 | 2635013.4638 | 1124808.9121 | 2635012.1093 | 1124817.0492 | 2635011.3297 | 1124826.5606 | 2635011.0709 | 1124827.9341
102 | 2634998.046 | 1124822.8264 | 2634998.0805 | 1124816.8681 | 2634996.1289 | 1124810.4091 | 2634994.1773 | 1124803.9613 | 2634993.2202 | 1124797.508 | 2634993.5107 | 1124794.7503
103 | 2635013.6469 | 1124807.8119 | 2635013.4638 | 1124808.9121
104 | 2635016.7123 | 1124798.233 | 2635015.0226 | 1124802.4921 | 2635013.7066 | 1124807.4536 | 2635013.6469 | 1124807.8119
105 | 2635123.8513 | 1124755.2871 | 2635096.742 | 1124781.251
106 | 2635072.9899 | 1124861.5126 | 2635071.4893 | 1124855.7344 | 2635074.6066 | 1124845.903 | 2635076.2743 | 1124822.8344 | 2635080.1052 | 1124808.2492 | 2635089.7587 | 1124787.9393 | 2635096.742 | 1124781.251
107 | 2635123.8513 | 1124755.2871 | 2635122.7152 | 1124753.135 | 2635112.1049 | 1124745.5436
108 | 2635128.5646 | 1124773.3457 | 2635132.0257 | 1124765.3951 | 2635130.5831 | 1124764.2529 | 2635125.6048 | 1124762.6454 | 2635125.3982 | 1124759.7094 | 2635124.507 | 1124756.536 | 2635123.8513 | 1124755.2871
109 | 2635102.5852 | 1124738.8778 | 2635111.8753 | 1124745.3793 | 2635112.1049 | 1124745.5436
110 | 2635128.5646 | 1124773.3457 | 2635144.6539 | 1124778.5325
111 | 2635128.5646 | 1124773.3457 | 2635121.4424 | 1124794.5663
112 | 2635102.5852 | 1124738.8778 | 2635095.5885 | 1124746.3632 | 2635078.2524 | 1124765.2559
113 | 2635102.5852 | 1124738.8778 | 2635115.7993 | 1124721.4122
114 | 2635165.8607 | 1124785.3689 | 2635144.6539 | 1124778.5325
115 | 2635152.554 | 1124645.9206 | 2635159.3974 | 1124668.2549
116 | 2635152.554 | 1124645.9206 | 2635155.0343 | 1124660.8759 | 2635145.2166 | 1124675.184
117 | 2635152.554 | 1124645.9206 | 2635145.9989 | 1124622.4374 | 2635141.0672 | 1124609.6953
118 | 2635152.554 | 1124645.9206 | 2635156.7691 | 1124634.5112
119 | 2635115.7993 | 1124721.4122 | 2635129.0169 | 1124702.0124 | 2635134.5707 | 1124691.7741
120 | 2635167.6388 | 1124785.9421 | 2635165.8607 | 1124785.3689
121 | 2635156.7691 | 1124634.5112 | 2635160.0414 | 1124625.6539 | 2635166.6564 | 1124598.9899 | 2635170.6403 | 1124592.7559
122 | 2635145.2166 | 1124675.184 | 2635137.3546 | 1124686.6419 | 2635134.5707 | 1124691.7741
123 | 2635080.4636 | 1124728.6405 | 2635077.2825 | 1124733.772
124 | 2635186.9093 | 1124763.4059 | 2635187.6851 | 1124760.4643
125 | 2635178.0088 | 1124789.2851 | 2635183.9921 | 1124774.4679 | 2635186.9093 | 1124763.4059
126 | 2635191.8194 | 1124744.7873 | 2635187.6851 | 1124760.4643
127 | 2635178.0088 | 1124789.2851 | 2635176.2177 | 1124793.7103 | 2635166.004 | 1124813.5764
128 | 2635178.0088 | 1124789.2851 | 2635167.6388 | 1124785.9421
129 | 2635166.004 | 1124813.5764 | 2635163.4075 | 1124818.6266
130 | 2635141.8509 | 1124865.5047 | 2635142.1559 | 1124862.2249 | 2635146.6601 | 1124851.201 | 2635163.4075 | 1124818.6266
131 | 2635141.8509 | 1124865.5047 | 2635140.4375 | 1124880.702 | 2635138.7752 | 1124889.5302 | 2635135.9353 | 1124892.7264 | 2635129.8907 | 1124892.8915 | 2635128.9559 | 1124891.9189 | 2635122.274 | 1124885.0211 | 2635121.2684 | 1124881.6247 | 2635116.8996 | 1124866.9001
132 | 2635058.3514 | 1124877.9181 | 2635049.4879 | 1124842.556
133 | 2635056.032 | 1124822.6838 | 2635049.4879 | 1124842.556
134 | 2635056.032 | 1124822.6838 | 2635061.1018 | 1124807.8103
135 | 2635056.032 | 1124822.6838 | 2635055.0984 | 1124818.832 | 2635053.8519 | 1124815.7788 | 2635051.3396 | 1124814.3191 | 2635047.0648 | 1124814.186
136 | 2635045.0168 | 1124814.1222 | 2635047.0648 | 1124814.186
137 | 2635041.0702 | 1124813.7757 | 2635044.3258 | 1124814.1007 | 2635045.0168 | 1124814.1222
138 | 2635018.2763 | 1124792.0539 | 2635018.394 | 1124791.3726 | 2635018.8247 | 1124789.2237
139 | 2635016.7123 | 1124798.233 | 2635021.364 | 1124800.3387 | 2635024.7654 | 1124802.6818
140 | 2635016.7123 | 1124798.233 | 2635017.5884 | 1124796.037 | 2635018.2763 | 1124792.0539
141 | 2635031.888 | 1124811.6516 | 2635031.3747 | 1124811.5134 | 2635028.5025 | 1124810.9631 | 2635026.1767 | 1124807.9037 | 2635025.4692 | 1124806.2766 | 2635024.7654 | 1124802.6818
142 | 2635031.888 | 1124811.6516 | 2635034.7921 | 1124812.4336 | 2635034.7921 | 1124812.4336
143 | 2635041.0702 | 1124813.7757 | 2635040.543 | 1124813.723 | 2635034.7921 | 1124812.4336

## bus_geodata
| x | y | coords
0 | 2634734.1436 | 1124948.0147
1 | 2634769.5592 | 1124892.1459
2 | 2634626.2139 | 1124801.4459
3 | 2634619.7955 | 1124733.5083
4 | 2634666.9507 | 1124815.9181
5 | 2634536.9258 | 1124607.428
6 | 2634510.0175 | 1124768.8523
7 | 2634686.3294 | 1124817.1532
8 | 2634768.1157 | 1124885.4785
9 | 2634767.3195 | 1124869.0497
10 | 2634776.9726 | 1124817.8883
11 | 2634772.2537 | 1124807.6107
12 | 2634766.4218 | 1124801.1836
13 | 2634752.2449 | 1124790.6398
14 | 2634750.6425 | 1124801.2026
15 | 2634753.4819 | 1124777.7143
16 | 2634730.8491 | 1124795.7526
17 | 2634753.8729 | 1124773.6284
18 | 2634755.3201 | 1124758.5079
19 | 2634778.8905 | 1124765.22
20 | 2634756.1404 | 1124749.8861
21 | 2634758.2341 | 1124730.8237
22 | 2634742.8771 | 1124747.8735
23 | 2634668.4685 | 1124757.1671
24 | 2634686.3127 | 1124752.7762
25 | 2634703.0408 | 1124753.8059
26 | 2634709.9543 | 1124746.7296
27 | 2634715.7167 | 1124746.5836
28 | 2634731.2957 | 1124747.6672
29 | 2634733.9763 | 1124747.7722
30 | 2634723.7034 | 1124746.8875
31 | 2634726.8549 | 1124711.4683
32 | 2634722.5616 | 1124767.2115
33 | 2634722.5321 | 1124795.2162
34 | 2634718.8935 | 1124803.1105
35 | 2634706.2901 | 1124816.8543
36 | 2634686.1033 | 1124806.8245
37 | 2634918.7316 | 1125039.2556
38 | 2634944.931 | 1124848.8897
39 | 2634791.719 | 1124783.0292
40 | 2634959.3474 | 1124722.4434
41 | 2634965.2243 | 1124661.3002
42 | 2634759.0838 | 1124717.7275
43 | 2635001.7738 | 1124854.0637
44 | 2634725.7614 | 1124705.3304
45 | 2634723.9511 | 1124697.232
46 | 2634721.6075 | 1124689.3458
47 | 2634718.2319 | 1124673.9749
48 | 2634908.6656 | 1124553.3241
49 | 2634918.0543 | 1124556.4529
50 | 2634767.6453 | 1124628.4576
51 | 2634758.9096 | 1124714.8508
52 | 2634719.9445 | 1124657.6321
53 | 2634719.7987 | 1124649.9608
54 | 2634719.7769 | 1124648.8123
55 | 2634747.6356 | 1124669.6302
56 | 2634747.5994 | 1124675.922
57 | 2634749.3322 | 1124652.0422
58 | 2634719.7428 | 1124647.0225
59 | 2634754.4156 | 1124696.71
60 | 2634729.394 | 1124617.5994
61 | 2634887.9934 | 1124463.1953
62 | 2634902.6261 | 1124490.0072
63 | 2635026.5791 | 1124726.3472
64 | 2635028.3977 | 1124748.3946
65 | 2635025.403 | 1124716.442
66 | 2635024.898 | 1124768.7552
67 | 2635033.0536 | 1124705.1806
68 | 2635024.3473 | 1124771.2171
69 | 2635048.8646 | 1124706.5171
70 | 2635006.4684 | 1124740.7226
71 | 2635001.0943 | 1124736.9007
72 | 2635007.9693 | 1124757.3404
73 | 2635020.8125 | 1124778.4023
74 | 2635077.7911 | 1124679.4153
75 | 2635095.594 | 1124705.4982
76 | 2634999.2079 | 1124748.0415
77 | 2634989.9627 | 1124680.6639
78 | 2635011.7762 | 1124766.9854
79 | 2634931.5685 | 1124483.0387
80 | 2634948.6473 | 1124486.394
81 | 2634948.8905 | 1124479.9666
82 | 2634947.473 | 1124494.0975
83 | 2634945.6781 | 1124505.8722
84 | 2634939.527 | 1124572.0707
85 | 2634942.2934 | 1124522.4286
86 | 2634978.9241 | 1124634.0542
87 | 2634943.1605 | 1124519.4564
88 | 2634985.763 | 1124660.5626
89 | 2634991.0837 | 1124545.272
90 | 2634991.1944 | 1124545.0802
91 | 2634991.1683 | 1124575.328
92 | 2634994.75 | 1124540.7764
93 | 2635004.8699 | 1124614.1143
94 | 2635004.9706 | 1124616.2499
95 | 2634997.6841 | 1124650.682
96 | 2634998.4449 | 1124756.9066
97 | 2635011.0709 | 1124827.9341
98 | 2634998.046 | 1124822.8264
99 | 2634993.5107 | 1124794.7503
100 | 2635013.4638 | 1124808.9121
101 | 2635013.6469 | 1124807.8119
102 | 2635096.742 | 1124781.251
103 | 2635123.8513 | 1124755.2871
104 | 2635072.9899 | 1124861.5126
105 | 2635112.1049 | 1124745.5436
106 | 2635128.5646 | 1124773.3457
107 | 2635102.5852 | 1124738.8778
108 | 2635144.6539 | 1124778.5325
109 | 2635121.4424 | 1124794.5663
110 | 2635159.3974 | 1124668.2549
111 | 2635152.554 | 1124645.9206
112 | 2635078.2524 | 1124765.2559
113 | 2635115.7993 | 1124721.4122
114 | 2635165.8607 | 1124785.3689
115 | 2635156.7691 | 1124634.5112
116 | 2635170.6403 | 1124592.7559
117 | 2635145.2166 | 1124675.184
118 | 2635141.0672 | 1124609.6953
119 | 2635134.5706 | 1124691.7741
120 | 2635080.4636 | 1124728.6405
121 | 2635077.2825 | 1124733.772
122 | 2635186.9093 | 1124763.4059
123 | 2635187.6851 | 1124760.4643
124 | 2635178.0088 | 1124789.2851
125 | 2635191.8194 | 1124744.7873
126 | 2635166.004 | 1124813.5764
127 | 2635167.6388 | 1124785.9421
128 | 2635163.4075 | 1124818.6266
129 | 2635141.8509 | 1124865.5047
130 | 2635116.8996 | 1124866.9001
131 | 2635058.3514 | 1124877.9181
132 | 2635049.4879 | 1124842.556
133 | 2635056.032 | 1124822.6838
134 | 2635061.1018 | 1124807.8103
135 | 2635047.0648 | 1124814.186
136 | 2635045.0168 | 1124814.1222
137 | 2635016.7482 | 1124770.9602
138 | 2635018.8247 | 1124789.2237
139 | 2635016.7123 | 1124798.233
140 | 2635024.7654 | 1124802.6818
141 | 2635018.2763 | 1124792.0539
142 | 2635031.888 | 1124811.6516
143 | 2635034.7921 | 1124812.4336
144 | 2635041.0702 | 1124813.7757
145 | 2634978.9241 | 1124634.0542

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1