## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6298-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6298-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6298-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6298-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6298-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6298-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6298-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6298-8_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6298-8_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6298-8_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_6298-8_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6298-8_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_6298-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6298-8_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6298-8_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6298-8_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_6298-8_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_6298-8_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_6298-8_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_6298-8_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_6298-8_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6298-8_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6298-8_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6298-8_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_6298-8_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6298-8_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6298-8_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6298-8_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6298-8_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6298-8_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6298-8_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6298-8_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6298-8_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6298-8_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6298-8_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6298-8_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6298-8_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6298-8_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_MV_108_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6298-8_0_4_load_0 | 0 | 0.035869 | 0.0089897 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6298-8_0_4_load_1 | 1 | 0.034525 | 0.0086528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6298-8_0_4_load_2 | 2 | 0.0077721 | 0.0019479 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6298-8_0_4_load_5 | 5 | 0.0053675 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6298-8_0_4_load_6 | 6 | 0.075022 | 0.018802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6298-8_0_4_load_7 | 7 | 0.024505 | 0.0061416 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6298-8_0_4_load_12 | 8 | 0.015177 | 0.0038038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6298-8_0_4_load_26 | 9 | 0.0075631 | 0.0018955 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6298-8_0_4_load_27 | 11 | 0.011322 | 0.0028376 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6298-8_0_4_load_37 | 15 | 0.041052 | 0.010289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6298-8_0_4_load_17 | 16 | 0.058165 | 0.014578 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6298-8_0_4_load_38 | 18 | 0.010271 | 0.0025741 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6298-8_0_4_load_21 | 20 | 0.0040097 | 0.0010049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6298-8_0_4_load_13 | 21 | 0.02923 | 0.0073257 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6298-8_0_4_load_36 | 23 | 0.0017086 | 0.00042822 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6298-8_0_4_load_39 | 24 | 0.023497 | 0.005889 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6298-8_0_4_load_18 | 25 | 0.0034074 | 0.00085397 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6298-8_0_4_load_19 | 26 | 0.0029039 | 0.00072779 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6298-8_0_4_load_35 | 27 | 0.0043618 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6298-8_0_4_load_34 | 28 | 0.0067511 | 0.001692 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6298-8_0_4_load_24 | 29 | 0.003587 | 0.00089899 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6298-8_0_4_load_40 | 31 | 0.001578 | 0.0003955 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6298-8_0_4_load_28 | 32 | 0.008123 | 0.0020358 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6298-8_0_4_load_29 | 33 | 0.0041307 | 0.0010353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6298-8_0_4_load_32 | 36 | 0.0063976 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6298-8_0_4_load_33 | 37 | 0.005847 | 0.0014654 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6298-8_0_4_line_0 |  | 0 | 1 | 0.089375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6298-8_0_4_line_1 |  | 0 | 2 | 0.19929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6298-8_0_4_line_2 |  | 1 | 3 | 0.038319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6298-8_0_4_line_3 |  | 2 | 4 | 0.04709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6298-8_0_4_line_4 |  | 3 | 5 | 0.02695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6298-8_0_4_line_5 |  | 3 | 6 | 0.075642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6298-8_0_4_line_6 |  | 4 | 7 | 0.065443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6298-8_0_4_line_7 |  | 5 | 8 | 0.056019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6298-8_0_4_line_8 |  | 7 | 9 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6298-8_0_4_line_9 |  | 8 | 10 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6298-8_0_4_line_10 |  | 9 | 11 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6298-8_0_4_line_11 |  | 10 | 21 | 0.11449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6298-8_0_4_line_12 |  | 10 | 16 | 0.030699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6298-8_0_4_line_13 |  | 11 | 32 | 0.06283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6298-8_0_4_line_14 |  | 12 | 13 | 0.016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6298-8_0_4_line_15 |  | 12 | 14 | 0.12676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6298-8_0_4_line_16 |  | 12 | 15 | 0.10109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6298-8_0_4_line_17 |  | 13 | 16 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6298-8_0_4_line_18 |  | 14 | 17 | 0.15205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6298-8_0_4_line_19 |  | 15 | 18 | 0.10733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6298-8_0_4_line_20 |  | 17 | 19 | 0.19552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6298-8_0_4_line_21 |  | 17 | 20 | 0.18699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6298-8_0_4_line_22 |  | 18 | 24 | 0.0048449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6298-8_0_4_line_23 |  | 19 | 29 | 0.04983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6298-8_0_4_line_24 |  | 19 | 30 | 0.31576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6298-8_0_4_line_25 |  | 22 | 23 | 0.044538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6298-8_0_4_line_26 |  | 22 | 24 | 0.15213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6298-8_0_4_line_27 |  | 25 | 26 | 0.022098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6298-8_0_4_line_28 |  | 26 | 27 | 0.045223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6298-8_0_4_line_29 |  | 27 | 28 | 0.087711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6298-8_0_4_line_30 |  | 28 | 37 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6298-8_0_4_line_31 |  | 30 | 31 | 0.12035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6298-8_0_4_line_32 |  | 32 | 33 | 0.00014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6298-8_0_4_line_33 |  | 33 | 34 | 0.1155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6298-8_0_4_line_34 |  | 34 | 35 | 0.045885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6298-8_0_4_line_35 |  | 35 | 36 | 0.11273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6298-8_0_4_line_36 |  | 35 | 37 | 0.036594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6298-8_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 38 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2634288.7756 | 1125483.2551 | 2634313.238 | 1125461.2641 | 2634332.589 | 1125440.1408 | 2634338.098 | 1125416.0599 | 2634338.3268 | 1125412.9372
1 | 2634288.7756 | 1125483.2551 | 2634279.2969 | 1125491.7761 | 2634258.8923 | 1125532.9703 | 2634246.9838 | 1125561.5841 | 2634245.9335 | 1125582.3775 | 2634244.8218 | 1125604.5046 | 2634245.1663 | 1125634.8996 | 2634237.5243 | 1125660.0913 | 2634237.2729 | 1125660.9236 | 2634238.4323 | 1125669.8582
2 | 2634335.5392 | 1125375.2471 | 2634339.8943 | 1125391.5467 | 2634338.3268 | 1125412.9372
3 | 2634268.5271 | 1125704.5778 | 2634255.1464 | 1125693.73 | 2634239.112 | 1125675.0967 | 2634238.4323 | 1125669.8582
4 | 2634335.5392 | 1125375.2471 | 2634332.203 | 1125357.3303 | 2634329.1221 | 1125349.1666
5 | 2634335.5392 | 1125375.2471 | 2634330.83 | 1125384.6919 | 2634310.3436 | 1125388.4999 | 2634267.0795 | 1125379.2084
6 | 2634268.5271 | 1125704.5778 | 2634268.3008 | 1125700.9747 | 2634266.5851 | 1125690.9044 | 2634262.3839 | 1125678.7301 | 2634285.5557 | 1125678.2609 | 2634282.2891 | 1125663.0459
7 | 2634329.1221 | 1125349.1666 | 2634317.6604 | 1125318.7952 | 2634311.7317 | 1125295.9962
8 | 2634282.2891 | 1125663.0459 | 2634287.965 | 1125666.5798 | 2634293.0404 | 1125671.3665 | 2634294.0822 | 1125673.3825
9 | 2634306.0228 | 1125276.3301 | 2634307.3481 | 1125279.1391 | 2634311.7317 | 1125295.9962
10 | 2634302.0965 | 1125690.7744 | 2634301.1295 | 1125687.0202 | 2634294.0822 | 1125673.3825
11 | 2634306.0228 | 1125276.3301 | 2634410.7613 | 1125255.9694 | 2634416.9493 | 1125251.2277
12 | 2634306.0228 | 1125276.3301 | 2634275.3661 | 1125277.9463
13 | 2634322.4206 | 1125750.0217 | 2634320.2173 | 1125743.4789 | 2634313.1938 | 1125720.6943 | 2634306.1221 | 1125706.4026 | 2634302.0965 | 1125690.7744
14 | 2634261.83 | 1125257.604 | 2634260.0232 | 1125260.8732 | 2634258.0456 | 1125262.9964 | 2634255.6544 | 1125264.6615 | 2634257.8584 | 1125267.4754 | 2634260.1313 | 1125270.3786
15 | 2634231.6351 | 1125144.7765 | 2634235.0316 | 1125172.5652 | 2634236.9965 | 1125195.8659 | 2634240.2613 | 1125221.0192 | 2634244.7958 | 1125239.7431 | 2634251.1668 | 1125239.0232 | 2634254.2903 | 1125240.097 | 2634257.0258 | 1125241.6132 | 2634260.1149 | 1125244.6655 | 2634262.0818 | 1125248.523 | 2634262.6456 | 1125251.0608 | 2634262.708 | 1125253.6514 | 2634261.83 | 1125257.604
16 | 2634261.83 | 1125257.604 | 2634270.4384 | 1125256.541 | 2634296.6591 | 1125256.9896 | 2634313.4649 | 1125256.629 | 2634328.7229 | 1125256.0152 | 2634343.8219 | 1125254.8891 | 2634359.4496 | 1125252.9545 | 2634362.6113 | 1125252.3257
17 | 2634260.1313 | 1125270.3786 | 2634275.3661 | 1125277.9463
18 | 2634231.6351 | 1125144.7765 | 2634227.8781 | 1125126.2237 | 2634199.992 | 1124996.0786
19 | 2634362.6113 | 1125252.3257 | 2634382.4383 | 1125248.3826 | 2634455.3805 | 1125228.1201 | 2634466.2243 | 1125224.5698
20 | 2634199.992 | 1124996.0786 | 2634189.8025 | 1124950.8205 | 2634185.4201 | 1124917.3901 | 2634177.6596 | 1124802.2773
21 | 2634199.992 | 1124996.0786 | 2634208.5607 | 1125008.9223 | 2634215.8738 | 1125031.1525 | 2634223.281 | 1125047.636 | 2634231.6359 | 1125060.0895 | 2634241.1671 | 1125071.7381 | 2634251.5649 | 1125082.7802 | 2634266.9547 | 1125095.7293 | 2634280.3563 | 1125104.4762 | 2634296.9493 | 1125113.1967 | 2634321.9637 | 1125122.5764 | 2634325.1835 | 1125123.2305
22 | 2634470.8287 | 1125223.0623 | 2634466.2243 | 1125224.5698
23 | 2634177.6596 | 1124802.2773 | 2634182.4181 | 1124797.7907 | 2634184.6249 | 1124790.5884 | 2634185.6941 | 1124785.5475 | 2634185.8187 | 1124781.2238 | 2634184.7134 | 1124774.9255 | 2634184.9349 | 1124772.5589 | 2634186.7023 | 1124770.8124 | 2634189.9125 | 1124770.2191 | 2634192.6949 | 1124771.6689 | 2634197.7198 | 1124778.7119
24 | 2634177.6596 | 1124802.2773 | 2634174.4303 | 1124754.346 | 2634167.6538 | 1124686.1179 | 2634152.5053 | 1124589.1393 | 2634156.986 | 1124588.831 | 2634161.0207 | 1124589.6987 | 2634162.7082 | 1124591.1978 | 2634164.0827 | 1124593.529 | 2634165.0224 | 1124596.4024 | 2634165.6324 | 1124600.3189 | 2634165.7158 | 1124604.666 | 2634166.2023 | 1124612.7172 | 2634167.3453 | 1124617.8151 | 2634169.3214 | 1124625.5635 | 2634172.354 | 1124634.5852 | 2634180.2227 | 1124652.7387 | 2634184.2153 | 1124661.032 | 2634189.965 | 1124676.2722
25 | 2634499.0262 | 1125073.5685 | 2634523.225 | 1125079.9651 | 2634522.5021 | 1125071.5567 | 2634523.2332 | 1125065.002 | 2634520.0987 | 1125061.81
26 | 2634470.8287 | 1125223.0623 | 2634499.0262 | 1125073.5685
27 | 2634357.1548 | 1125593.6792 | 2634360.9809 | 1125580.7837 | 2634364.7607 | 1125573.007
28 | 2634356.495 | 1125637.7608 | 2634351.952 | 1125611.2144 | 2634357.1548 | 1125593.6792
29 | 2634368.7419 | 1125724.3457 | 2634368.1851 | 1125700.7293 | 2634363.6851 | 1125670.6442 | 2634357.5697 | 1125644.0406 | 2634356.495 | 1125637.7608
30 | 2634369.3586 | 1125751.1052 | 2634369.3219 | 1125748.9489 | 2634368.9741 | 1125734.1951 | 2634368.7419 | 1125724.3457
31 | 2634189.965 | 1124676.2722 | 2634190.7017 | 1124678.2329 | 2634203.0413 | 1124704.5713 | 2634212.2177 | 1124714.995 | 2634214.6741 | 1124719.5779 | 2634211.2104 | 1124747.2945 | 2634212.7301 | 1124771.6598 | 2634215.776 | 1124785.1504 | 2634216.4486 | 1124789.0035
32 | 2634322.4206 | 1125750.0217 | 2634322.4664 | 1125750.1577
33 | 2634417.9264 | 1125811.2118 | 2634401.9434 | 1125804.0285 | 2634381.2321 | 1125792.0271 | 2634361.9043 | 1125777.9993 | 2634347.3279 | 1125766.0328 | 2634324.5682 | 1125756.3989 | 2634322.4664 | 1125750.1577
34 | 2634417.9264 | 1125811.2118 | 2634414.9455 | 1125805.4475 | 2634382.6335 | 1125782.7748
35 | 2634382.6335 | 1125782.7748 | 2634399.4409 | 1125678.7735 | 2634401.8496 | 1125671.7961
36 | 2634382.6335 | 1125782.7748 | 2634374.2131 | 1125775.2899 | 2634369.6224 | 1125766.6262 | 2634369.3586 | 1125751.1052

## bus_geodata
| x | y | coords
0 | 2634288.7756 | 1125483.2551
1 | 2634338.3268 | 1125412.9372
2 | 2634238.4323 | 1125669.8582
3 | 2634335.5392 | 1125375.2471
4 | 2634268.5271 | 1125704.5778
5 | 2634329.1221 | 1125349.1666
6 | 2634267.0795 | 1125379.2084
7 | 2634282.2891 | 1125663.0459
8 | 2634311.7317 | 1125295.9962
9 | 2634294.0822 | 1125673.3825
10 | 2634306.0228 | 1125276.3301
11 | 2634302.0966 | 1125690.7744
12 | 2634261.83 | 1125257.604
13 | 2634260.1313 | 1125270.3786
14 | 2634231.6351 | 1125144.7765
15 | 2634362.6113 | 1125252.3257
16 | 2634275.3661 | 1125277.9463
17 | 2634199.992 | 1124996.0786
18 | 2634466.2243 | 1125224.5698
19 | 2634177.6596 | 1124802.2772
20 | 2634325.1835 | 1125123.2305
21 | 2634416.9493 | 1125251.2277
22 | 2634499.0262 | 1125073.5685
23 | 2634520.0987 | 1125061.81
24 | 2634470.8287 | 1125223.0623
25 | 2634364.7607 | 1125573.007
26 | 2634357.1548 | 1125593.6792
27 | 2634356.495 | 1125637.7608
28 | 2634368.7419 | 1125724.3457
29 | 2634197.7198 | 1124778.7119
30 | 2634189.965 | 1124676.2722
31 | 2634216.4486 | 1124789.0035
32 | 2634322.4206 | 1125750.0217
33 | 2634322.4664 | 1125750.1577
34 | 2634417.9264 | 1125811.2118
35 | 2634382.6335 | 1125782.7748
36 | 2634401.8496 | 1125671.7961
37 | 2634369.3586 | 1125751.1052
38 | 2634335.5392 | 1125375.2471

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1