## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_855-13_1_2_node_115 | 0.4 | n |  | TRUE
1 | bus_LV_855-13_1_2_node_116 | 0.4 | n |  | TRUE
2 | bus_LV_855-13_1_2_node_117 | 0.4 | n |  | TRUE
3 | bus_LV_855-13_1_2_node_118 | 0.4 | n |  | TRUE
4 | bus_LV_855-13_1_2_node_119 | 0.4 | n |  | TRUE
5 | bus_LV_855-13_1_2_node_120 | 0.4 | n |  | TRUE
6 | bus_LV_855-13_1_2_node_121 | 0.4 | n |  | TRUE
7 | bus_LV_855-13_1_2_node_122 | 0.4 | n |  | TRUE
8 | bus_LV_855-13_1_2_node_123 | 0.4 | n |  | TRUE
9 | bus_LV_855-13_1_2_node_124 | 0.4 | n |  | TRUE
10 | bus_LV_855-13_1_2_node_155 | 0.4 | n |  | TRUE
11 | bus_LV_855-13_1_2_node_152 | 0.4 | n |  | TRUE
12 | bus_LV_855-13_1_2_node_168 | 0.4 | n |  | TRUE
13 | bus_LV_855-13_1_2_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_855-13_1_2_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_855-13_1_2_node_126 | 0.4 | n |  | TRUE
16 | bus_LV_855-13_1_2_node_127 | 0.4 | n |  | TRUE
17 | bus_LV_855-13_1_2_node_128 | 0.4 | n |  | TRUE
18 | bus_LV_855-13_1_2_node_129 | 0.4 | n |  | TRUE
19 | bus_LV_855-13_1_2_node_134 | 0.4 | n |  | TRUE
20 | bus_LV_855-13_1_2_node_130 | 0.4 | n |  | TRUE
21 | bus_LV_855-13_1_2_node_131 | 0.4 | n |  | TRUE
22 | bus_LV_855-13_1_2_node_132 | 0.4 | n |  | TRUE
23 | bus_LV_855-13_1_2_node_133 | 0.4 | n |  | TRUE
24 | bus_LV_855-13_1_2_node_135 | 0.4 | n |  | TRUE
25 | bus_LV_855-13_1_2_node_136 | 0.4 | n |  | TRUE
26 | bus_LV_855-13_1_2_node_138 | 0.4 | n |  | TRUE
27 | bus_LV_855-13_1_2_node_141 | 0.4 | n |  | TRUE
28 | bus_LV_855-13_1_2_node_142 | 0.4 | n |  | TRUE
29 | bus_LV_855-13_1_2_node_144 | 0.4 | n |  | TRUE
30 | bus_LV_855-13_1_2_node_145 | 0.4 | n |  | TRUE
31 | bus_LV_855-13_1_2_node_146 | 0.4 | n |  | TRUE
32 | bus_LV_855-13_1_2_node_147 | 0.4 | n |  | TRUE
33 | bus_LV_855-13_1_2_node_148 | 0.4 | n |  | TRUE
34 | bus_LV_855-13_1_2_node_151 | 0.4 | n |  | TRUE
35 | bus_LV_855-13_1_2_node_150 | 0.4 | n |  | TRUE
36 | bus_LV_855-13_1_2_node_158 | 0.4 | n |  | TRUE
37 | bus_LV_855-13_1_2_node_230 | 0.4 | n |  | TRUE
38 | bus_LV_855-13_1_2_node_153 | 0.4 | n |  | TRUE
39 | bus_LV_855-13_1_2_node_154 | 0.4 | n |  | TRUE
40 | bus_LV_855-13_1_2_node_156 | 0.4 | n |  | TRUE
41 | bus_LV_855-13_1_2_node_157 | 0.4 | n |  | TRUE
42 | bus_LV_855-13_1_2_node_159 | 0.4 | n |  | TRUE
43 | bus_LV_855-13_1_2_node_160 | 0.4 | n |  | TRUE
44 | bus_LV_855-13_1_2_node_161 | 0.4 | n |  | TRUE
45 | bus_LV_855-13_1_2_node_165 | 0.4 | n |  | TRUE
46 | bus_LV_855-13_1_2_node_166 | 0.4 | n |  | TRUE
47 | bus_LV_855-13_1_2_node_162 | 0.4 | n |  | TRUE
48 | bus_LV_855-13_1_2_node_163 | 0.4 | n |  | TRUE
49 | bus_LV_855-13_1_2_node_164 | 0.4 | n |  | TRUE
50 | bus_LV_855-13_1_2_node_210 | 0.4 | n |  | TRUE
51 | bus_LV_855-13_1_2_node_167 | 0.4 | n |  | TRUE
52 | bus_LV_855-13_1_2_node_173 | 0.4 | n |  | TRUE
53 | bus_LV_855-13_1_2_node_169 | 0.4 | n |  | TRUE
54 | bus_LV_855-13_1_2_node_170 | 0.4 | n |  | TRUE
55 | bus_LV_855-13_1_2_node_218 | 0.4 | n |  | TRUE
56 | bus_LV_855-13_1_2_node_171 | 0.4 | n |  | TRUE
57 | bus_LV_855-13_1_2_node_207 | 0.4 | n |  | TRUE
58 | bus_LV_855-13_1_2_node_208 | 0.4 | n |  | TRUE
59 | bus_LV_855-13_1_2_node_205 | 0.4 | n |  | TRUE
60 | bus_LV_855-13_1_2_node_190 | 0.4 | n |  | TRUE
61 | bus_LV_855-13_1_2_node_191 | 0.4 | n |  | TRUE
62 | bus_LV_855-13_1_2_node_192 | 0.4 | n |  | TRUE
63 | bus_LV_855-13_1_2_node_195 | 0.4 | n |  | TRUE
64 | bus_LV_855-13_1_2_node_196 | 0.4 | n |  | TRUE
65 | bus_LV_855-13_1_2_node_206 | 0.4 | n |  | TRUE
66 | bus_LV_855-13_1_2_node_204 | 0.4 | n |  | TRUE
67 | bus_LV_855-13_1_2_node_209 | 0.4 | n |  | TRUE
68 | bus_LV_855-13_1_2_node_214 | 0.4 | n |  | TRUE
69 | bus_LV_855-13_1_2_node_217 | 0.4 | n |  | TRUE
70 | bus_LV_855-13_1_2_node_219 | 0.4 | n |  | TRUE
71 | bus_LV_855-13_1_2_node_220 | 0.4 | n |  | TRUE
72 | bus_LV_855-13_1_2_node_221 | 0.4 | n |  | TRUE
73 | bus_LV_855-13_1_2_node_222 | 0.4 | n |  | TRUE
74 | bus_LV_855-13_1_2_node_239 | 0.4 | n |  | TRUE
75 | bus_LV_855-13_1_2_node_229 | 0.4 | n |  | TRUE
76 | bus_LV_855-13_1_2_node_224 | 0.4 | n |  | TRUE
77 | bus_LV_855-13_1_2_node_225 | 0.4 | n |  | TRUE
78 | bus_LV_855-13_1_2_node_226 | 0.4 | n |  | TRUE
79 | bus_LV_855-13_1_2_node_227 | 0.4 | n |  | TRUE
80 | bus_LV_855-13_1_2_node_228 | 0.4 | n |  | TRUE
81 | bus_LV_855-13_1_2_node_240 | 0.4 | n |  | TRUE
82 | bus_MV_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_855-13_1_2_load_115 | 0 | 0.00053356 | 0.00013372 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_855-13_1_2_load_116 | 1 | 0.00029262 | 7.3339e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_855-13_1_2_load_118 | 3 | 0.0011047 | 0.00027686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_855-13_1_2_load_119 | 4 | 0.0017754 | 0.00044495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_855-13_1_2_load_120 | 5 | 0.00042215 | 0.0001058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_855-13_1_2_load_121 | 6 | 0.00068855 | 0.00017257 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_855-13_1_2_load_123 | 8 | 0.00024892 | 6.2385e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_855-13_1_2_load_124 | 9 | 0.00033802 | 8.4715e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_855-13_1_2_load_155 | 10 | 0.00095738 | 0.00023994 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_855-13_1_2_load_152 | 11 | 0.00083721 | 0.00020982 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_855-13_1_2_load_168 | 12 | 0.00083034 | 0.0002081 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_855-13_1_2_load_137 | 14 | 0.00077141 | 0.00019333 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_855-13_1_2_load_126 | 15 | 0.0014286 | 0.00035805 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_855-13_1_2_load_127 | 16 | 0.00060629 | 0.00015195 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_855-13_1_2_load_129 | 18 | 0.00042456 | 0.00010641 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_855-13_1_2_load_130 | 20 | 0.00036268 | 9.0896e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_855-13_1_2_load_131 | 21 | 0.00096895 | 0.00024284 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_855-13_1_2_load_133 | 23 | 0.0003681 | 9.2256e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_855-13_1_2_load_135 | 24 | 0.00029023 | 7.2739e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_855-13_1_2_load_136 | 25 | 0.00040807 | 0.00010227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_855-13_1_2_load_138 | 26 | 0.00086967 | 0.00021796 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_855-13_1_2_load_141 | 27 | 0.00011234 | 2.8155e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_855-13_1_2_load_144 | 29 | 0.00033561 | 8.4111e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_855-13_1_2_load_145 | 30 | 0.0003832 | 9.604e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_855-13_1_2_load_146 | 31 | 0.0001717 | 4.3031e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_855-13_1_2_load_148 | 33 | 0.00013706 | 3.435e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_855-13_1_2_load_151 | 34 | 0.00053356 | 0.00013372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_855-13_1_2_load_150 | 35 | 0.0022729 | 0.00056963 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_855-13_1_2_load_230 | 37 | 0.00026701 | 6.692e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_855-13_1_2_load_153 | 38 | 0.00048718 | 0.0001221 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_855-13_1_2_load_154 | 39 | 0.00039825 | 9.981e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_855-13_1_2_load_156 | 40 | 0.0017058 | 0.00042751 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_855-13_1_2_load_157 | 41 | 0.00046919 | 0.00011759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_855-13_1_2_load_159 | 42 | 0.00035195 | 8.8206e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_855-13_1_2_load_160 | 43 | 0.00029458 | 7.3828e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_855-13_1_2_load_163 | 48 | 0.00050019 | 0.00012536 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_855-13_1_2_load_210 | 50 | 0.00047445 | 0.00011891 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_855-13_1_2_load_167 | 51 | 0.00058183 | 0.00014582 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_855-13_1_2_load_173 | 52 | 0.0015534 | 0.00038933 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_855-13_1_2_load_169 | 53 | 0.00044245 | 0.00011089 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_855-13_1_2_load_171 | 56 | 0.00065842 | 0.00016502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_855-13_1_2_load_205 | 59 | 0.00013763 | 3.4494e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_855-13_1_2_load_191 | 61 | 0.00031457 | 7.8838e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_855-13_1_2_load_192 | 62 | 0.00016745 | 4.1968e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_855-13_1_2_load_195 | 63 | 0.00032619 | 8.175e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_855-13_1_2_load_196 | 64 | 0.0024079 | 0.00060348 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_855-13_1_2_load_206 | 65 | 0.00016828 | 4.2174e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_855-13_1_2_load_204 | 66 | 0.00053185 | 0.00013329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_855-13_1_2_load_209 | 67 | 0.00016203 | 4.0609e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_855-13_1_2_load_214 | 68 | 0.0011142 | 0.00027924 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_855-13_1_2_load_217 | 69 | 0.00020047 | 5.0242e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_855-13_1_2_load_219 | 70 | 7.1132e-05 | 1.7827e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_855-13_1_2_load_222 | 73 | 0.00015798 | 3.9594e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_855-13_1_2_load_229 | 75 | 0.00015618 | 3.9142e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_855-13_1_2_load_224 | 76 | 0.0001171 | 2.9348e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_855-13_1_2_load_225 | 77 | 0.0005265 | 0.00013195 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_855-13_1_2_load_227 | 79 | 0.00012073 | 3.0259e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_855-13_1_2_load_240 | 81 | 0.00038392 | 9.6219e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_855-13_1_2_line_0 |  | 0 | 1 | 0.065291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_855-13_1_2_line_1 |  | 0 | 2 | 0.016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_855-13_1_2_line_2 |  | 1 | 3 | 0.15576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_855-13_1_2_line_3 |  | 2 | 4 | 0.096738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_855-13_1_2_line_4 |  | 2 | 5 | 0.062404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_855-13_1_2_line_5 |  | 3 | 6 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_855-13_1_2_line_6 |  | 4 | 7 | 0.057282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_855-13_1_2_line_7 |  | 5 | 8 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_855-13_1_2_line_8 |  | 6 | 9 | 0.00050695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_855-13_1_2_line_9 |  | 7 | 10 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_855-13_1_2_line_10 |  | 7 | 11 | 0.0259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_855-13_1_2_line_11 |  | 8 | 12 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_855-13_1_2_line_12 |  | 9 | 13 | 0.07823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_855-13_1_2_line_13 |  | 10 | 41 | 0.025063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_855-13_1_2_line_14 |  | 11 | 38 | 0.0012901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_855-13_1_2_line_15 |  | 12 | 46 | 0.051631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_855-13_1_2_line_16 |  | 13 | 14 | 0.16779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_855-13_1_2_line_17 |  | 14 | 26 | 0.009505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_855-13_1_2_line_18 |  | 15 | 16 | 0.041298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_855-13_1_2_line_19 |  | 16 | 17 | 0.037269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_855-13_1_2_line_20 |  | 17 | 18 | 0.20632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_855-13_1_2_line_21 |  | 18 | 19 | 0.038173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_855-13_1_2_line_22 |  | 19 | 25 | 0.1665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_855-13_1_2_line_23 |  | 19 | 22 | 0.03135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_855-13_1_2_line_24 |  | 20 | 21 | 0.055167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_855-13_1_2_line_25 |  | 20 | 22 | 0.18529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_855-13_1_2_line_26 |  | 21 | 23 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_855-13_1_2_line_27 |  | 23 | 24 | 0.0088904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_855-13_1_2_line_28 |  | 24 | 26 | 0.0014371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_855-13_1_2_line_29 |  | 27 | 28 | 0.01996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_855-13_1_2_line_30 |  | 28 | 29 | 0.026348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_855-13_1_2_line_31 |  | 28 | 30 | 0.12048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_855-13_1_2_line_32 |  | 29 | 31 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_855-13_1_2_line_33 |  | 31 | 32 | 0.16208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_855-13_1_2_line_34 |  | 32 | 33 | 0.003106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_855-13_1_2_line_35 |  | 33 | 34 | 0.089912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_855-13_1_2_line_36 |  | 34 | 37 | 0.052841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_855-13_1_2_line_37 |  | 35 | 36 | 0.0099519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_855-13_1_2_line_38 |  | 36 | 41 | 0.070282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_855-13_1_2_line_39 |  | 37 | 69 | 0.15535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_855-13_1_2_line_40 |  | 37 | 79 | 0.22965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_855-13_1_2_line_41 |  | 38 | 39 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_855-13_1_2_line_42 |  | 39 | 40 | 0.0060633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_855-13_1_2_line_43 |  | 42 | 43 | 0.042103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_855-13_1_2_line_44 |  | 43 | 44 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_855-13_1_2_line_45 |  | 44 | 45 | 0.094333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_855-13_1_2_line_46 |  | 44 | 46 | 0.032116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_855-13_1_2_line_47 |  | 45 | 52 | 0.14647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_855-13_1_2_line_48 |  | 46 | 53 | 0.018189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_855-13_1_2_line_49 |  | 46 | 54 | 0.20347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_855-13_1_2_line_50 |  | 47 | 48 | 0.060874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_855-13_1_2_line_51 |  | 47 | 49 | 0.043415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_855-13_1_2_line_52 |  | 48 | 50 | 0.19479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_855-13_1_2_line_53 |  | 49 | 51 | 0.043398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_855-13_1_2_line_54 |  | 50 | 57 | 0.044786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_855-13_1_2_line_55 |  | 51 | 55 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_855-13_1_2_line_56 |  | 53 | 56 | 0.081908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_855-13_1_2_line_57 |  | 54 | 57 | 0.10074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_855-13_1_2_line_58 |  | 54 | 58 | 0.12742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_855-13_1_2_line_59 |  | 54 | 59 | 0.072972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_855-13_1_2_line_60 |  | 55 | 69 | 0.043387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_855-13_1_2_line_61 |  | 57 | 67 | 0.077487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_855-13_1_2_line_62 |  | 58 | 68 | 0.039981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_855-13_1_2_line_63 |  | 59 | 66 | 0.01568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_855-13_1_2_line_64 |  | 60 | 61 | 0.03267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_855-13_1_2_line_65 |  | 60 | 62 | 0.071375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_855-13_1_2_line_66 |  | 61 | 63 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_855-13_1_2_line_67 |  | 62 | 64 | 0.0094239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_855-13_1_2_line_68 |  | 63 | 65 | 0.0044749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_855-13_1_2_line_69 |  | 65 | 66 | 0.10716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_855-13_1_2_line_70 |  | 70 | 71 | 0.055386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_855-13_1_2_line_71 |  | 71 | 72 | 0.096188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_855-13_1_2_line_72 |  | 72 | 73 | 0.12481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_855-13_1_2_line_73 |  | 72 | 74 | 0.090581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_855-13_1_2_line_74 |  | 73 | 75 | 0.064627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_855-13_1_2_line_75 |  | 74 | 81 | 0.020268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_855-13_1_2_line_76 |  | 75 | 80 | 0.10089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_855-13_1_2_line_77 |  | 76 | 77 | 0.036032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_855-13_1_2_line_78 |  | 76 | 78 | 0.015477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_855-13_1_2_line_79 |  | 77 | 79 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_855-13_1_2_line_80 |  | 78 | 80 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_855-13_1_2_trafo_168 | 0.63 MVA 20/0.4 kV | 82 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2591552.3848 | 1183753.3405 | 2591538.5091 | 1183766.5101 | 2591536.3354 | 1183767.7694 | 2591533.9242 | 1183768.4065 | 2591531.5272 | 1183768.321 | 2591529.2823 | 1183767.835 | 2591526.6618 | 1183766.2491 | 2591518.2928 | 1183758.8572 | 2591513.7228 | 1183755.173 | 2591510.0252 | 1183753.0549 | 2591506.9632 | 1183752.3145 | 2591504.1388 | 1183752.2629 | 2591501.6135 | 1183753.2004 | 2591498.845 | 1183755.2257
1 | 2591564.1987 | 1183742.1276 | 2591552.3848 | 1183753.3405
2 | 2591376.851 | 1183850.7527 | 2591376.851 | 1183850.7527 | 2591378.2214 | 1183848.3162 | 2591383.8621 | 1183842.8607 | 2591390.4039 | 1183837.693 | 2591415.9981 | 1183821.8589 | 2591447.4837 | 1183799.602 | 2591452.0798 | 1183794.9152 | 2591456.2249 | 1183789.7844 | 2591463.9844 | 1183782.0136 | 2591478.3944 | 1183770.1869 | 2591498.845 | 1183755.2257
3 | 2591564.1987 | 1183742.1276 | 2591530.8416 | 1183705.0894 | 2591520.8633 | 1183693.4198 | 2591510.8764 | 1183681.0833 | 2591501.3377 | 1183668.6556
4 | 2591564.1987 | 1183742.1276 | 2591600.5909 | 1183782.6969 | 2591605.9251 | 1183788.53
5 | 2591376.851 | 1183850.7527 | 2591376.2506 | 1183852.599 | 2591373.8932 | 1183868.2475
6 | 2591469.8594 | 1183620.811 | 2591485.574 | 1183645.4679 | 2591493.8208 | 1183658.0292 | 2591501.0491 | 1183668.2797 | 2591501.3377 | 1183668.6556
7 | 2591618.1547 | 1183801.9034 | 2591605.9251 | 1183788.53
8 | 2591373.8177 | 1183868.7488 | 2591373.8932 | 1183868.2475
9 | 2591469.8594 | 1183620.811 | 2591481.5438 | 1183613.0601
10 | 2591469.8594 | 1183620.811 | 2591458.168 | 1183601.7736 | 2591456.3524 | 1183598.7119
11 | 2591618.1547 | 1183801.9034 | 2591631.021 | 1183815.9731
12 | 2591302.7562 | 1183882.5661 | 2591306.3943 | 1183880.5486 | 2591310.972 | 1183879.1078 | 2591317.2521 | 1183877.7202 | 2591323.1747 | 1183877.2224 | 2591328.854 | 1183877.3252 | 2591363.0373 | 1183878.6427 | 2591367.8301 | 1183878.0688 | 2591370.447 | 1183877.1979 | 2591372.063 | 1183875.6614 | 2591373.1433 | 1183873.2253 | 2591373.8177 | 1183868.7488
13 | 2591481.5438 | 1183613.0601 | 2591483.3121 | 1183611.8871 | 2591488.1378 | 1183607.4891 | 2591495.6748 | 1183598.7627 | 2591498.2261 | 1183594.6019
14 | 2591456.3524 | 1183598.7119 | 2591455.6944 | 1183597.6022
15 | 2591665.8643 | 1183854.0751 | 2591631.021 | 1183815.9731
16 | 2591302.7562 | 1183882.5661 | 2591227.1037 | 1184032.33
17 | 2591227.1037 | 1184032.33 | 2591227.5775 | 1184032.6429 | 2591235.4994 | 1184036.7802
18 | 2591172.0024 | 1184222.1543 | 2591176.8758 | 1184220.3148 | 2591183.2642 | 1184215.0026 | 2591186.543 | 1184207.7051 | 2591197.9724 | 1184191.5616
19 | 2591221.5801 | 1184163.0857 | 2591216.0142 | 1184167.1849 | 2591212.1965 | 1184171.4706 | 2591197.9724 | 1184191.5616
20 | 2591221.5801 | 1184163.0857 | 2591269.312 | 1184186.5274 | 2591278.7391 | 1184192.1165 | 2591285.0048 | 1184196.743 | 2591290.2019 | 1184201.3822 | 2591295.118 | 1184207.0112 | 2591308.2867 | 1184224.123 | 2591311.7652 | 1184227.9866 | 2591314.8599 | 1184230.3054 | 2591318.3361 | 1184232.6127 | 2591332.5684 | 1184241.1963 | 2591343.8503 | 1184246.9272 | 2591354.3593 | 1184251.3031 | 2591366.9666 | 1184255.2312 | 2591373.2649 | 1184256.1447 | 2591379.2258 | 1184256.0138 | 2591385.178 | 1184255.1047 | 2591397.7363 | 1184252.0936
21 | 2591434.8573 | 1184243.1933 | 2591397.7363 | 1184252.0936
22 | 2591434.8573 | 1184243.1933 | 2591584.8827 | 1184170.986
23 | 2591434.8573 | 1184243.1933 | 2591408.0656 | 1184226.7902
24 | 2591300.4527 | 1184080.664 | 2591299.2026 | 1184077.5941 | 2591295.385 | 1184071.5743 | 2591290.5239 | 1184067.1236 | 2591282.6771 | 1184061.8546 | 2591271.9821 | 1184055.8339 | 2591257.4378 | 1184048.2379
25 | 2591408.0656 | 1184226.7902 | 2591398.966 | 1184220.5113 | 2591389.7199 | 1184213.321 | 2591377.7601 | 1184203.311 | 2591366.4861 | 1184192.5218 | 2591356.1042 | 1184181.1088 | 2591346.5764 | 1184169.2388 | 2591337.2833 | 1184156.09 | 2591328.4785 | 1184142.796 | 2591320.1772 | 1184129.3234 | 2591312.3642 | 1184115.75 | 2591309.1019 | 1184108.4733 | 2591306.742 | 1184102.3291 | 2591303.5494 | 1184090.4943 | 2591301.7995 | 1184083.9713 | 2591300.4527 | 1184080.664
26 | 2591257.4378 | 1184048.2379 | 2591244.6536 | 1184041.5611
27 | 2591236.7732 | 1184037.4455 | 2591244.6536 | 1184041.5611
28 | 2591235.4994 | 1184036.7802 | 2591236.7732 | 1184037.4455
29 | 2592120.0208 | 1183316.8114 | 2592136.8957 | 1183308.3513 | 2592137.8585 | 1183307.8561
30 | 2592120.0208 | 1183316.8114 | 2592096.4634 | 1183328.6116
31 | 2592120.0208 | 1183316.8114 | 2592105.3743 | 1183313.2957 | 2592080.9887 | 1183299.6545 | 2592050.038 | 1183274.7942 | 2592025.0206 | 1183251.3491 | 2592022.5166 | 1183248.9131
32 | 2592080.1236 | 1183336.7015 | 2592083.6162 | 1183335.047 | 2592096.4634 | 1183328.6116
33 | 2592018.3438 | 1183463.4339 | 2592023.443 | 1183446.2848 | 2592028.841 | 1183412.8937 | 2592028.9152 | 1183405.6566 | 2592028.9051 | 1183398.1083 | 2592026.6303 | 1183381.1693 | 2592025.5964 | 1183372.9998 | 2592026.405 | 1183366.8733 | 2592028.0399 | 1183362.1798 | 2592031.3086 | 1183357.4841 | 2592035.3197 | 1183354.2993 | 2592043.5053 | 1183350.2085 | 2592068.0606 | 1183342.416 | 2592080.1236 | 1183336.7015
34 | 2592018.3438 | 1183463.4339 | 2592017.0835 | 1183466.2726
35 | 2592033.1585 | 1183512.806 | 2592032.3291 | 1183509.1386 | 2592029.0515 | 1183507.0975 | 2592022.7082 | 1183507.3061 | 2592012.2654 | 1183507.3202 | 2592005.7057 | 1183505.4947 | 2591998.7473 | 1183502.447 | 2591993.0086 | 1183498.1636 | 2591991.1572 | 1183495.109 | 2591992.1748 | 1183491.2279 | 2591995.2449 | 1183486.5324 | 2592000.5606 | 1183482.8456 | 2592005.8012 | 1183480.0704 | 2592010.3012 | 1183477.2073 | 2592014.2645 | 1183472.6218 | 2592017.0835 | 1183466.2726
36 | 2592033.1585 | 1183512.806 | 2592085.67 | 1183506.9105
37 | 2591510.3272 | 1183526.6157 | 2591509.6421 | 1183522.5812 | 2591507.5308 | 1183517.1151
38 | 2591510.3272 | 1183526.6157 | 2591510.2871 | 1183530.5733 | 2591509.7824 | 1183535.2987 | 2591509.5606 | 1183556.3321 | 2591509.1659 | 1183563.2806 | 2591508.5851 | 1183568.1395 | 2591507.7214 | 1183572.6764 | 2591506.545 | 1183577.4361 | 2591505.086 | 1183582.1073 | 2591503.0845 | 1183586.379 | 2591500.4575 | 1183590.9629 | 2591498.2261 | 1183594.6019
39 | 2592085.67 | 1183506.9105 | 2592118.6659 | 1183658.7114
40 | 2592085.67 | 1183506.9105 | 2592314.2776 | 1183528.7479
41 | 2591445.8627 | 1183581.0221 | 2591455.6944 | 1183597.6022
42 | 2591445.8627 | 1183581.0221 | 2591442.7701 | 1183575.8068
43 | 2591737.5724 | 1183832.5397 | 2591732.418 | 1183837.529 | 2591722.3937 | 1183847.1257 | 2591714.8254 | 1183849.8933 | 2591709.3979 | 1183849.6896 | 2591703.2027 | 1183845.3523
44 | 2591688.8163 | 1183831.5646 | 2591702.124 | 1183844.5972 | 2591703.2027 | 1183845.3523
45 | 2591716.8505 | 1183742.1238 | 2591713.7944 | 1183745.6743 | 2591711.5871 | 1183750.2242 | 2591709.7401 | 1183755.8519 | 2591699.1685 | 1183799.9227 | 2591695.0223 | 1183815.3476 | 2591690.4452 | 1183828.2273 | 2591688.8163 | 1183831.5646
46 | 2591665.8643 | 1183854.0751 | 2591686.7129 | 1183833.991 | 2591688.8163 | 1183831.5646
47 | 2591716.8505 | 1183742.1238 | 2591717.3261 | 1183732.9184 | 2591733.7946 | 1183680.5129 | 2591736.2179 | 1183655.6411 | 2591730.5753 | 1183638.1289 | 2591694.707 | 1183622.771
48 | 2591665.8643 | 1183854.0751 | 2591656.5036 | 1183868.6735 | 2591655.998 | 1183869.3532
49 | 2591665.8643 | 1183854.0751 | 2591682.5988 | 1183872.2276 | 2591725.8001 | 1183914.1777 | 2591741.8223 | 1183930.8529 | 2591751.8609 | 1183942.6006 | 2591759.8674 | 1183953.1393 | 2591765.9638 | 1183962.3912 | 2591770.6007 | 1183970.4889 | 2591774.2901 | 1183977.8876 | 2591777.0366 | 1183976.9055 | 2591779.1126 | 1183976.7581 | 2591782.0674 | 1183977.3655 | 2591809.5632 | 1183989.5004
50 | 2592004.4222 | 1183736.9379 | 2591996.0046 | 1183766.6645 | 2591995.3455 | 1183770.3562 | 2591995.465 | 1183774.0802 | 2591996.2711 | 1183777.4808 | 2591998.4067 | 1183781.8691 | 2592001.3902 | 1183786.7231 | 2592004.1804 | 1183789.6987 | 2592007.5123 | 1183792.5179
51 | 2592038.5882 | 1183719.1717 | 2592038.0518 | 1183723.3078 | 2592037.4906 | 1183726.0322 | 2592036.3109 | 1183728.6796 | 2592034.5045 | 1183730.6831 | 2592031.6059 | 1183732.2211 | 2592023.6091 | 1183734.3885 | 2592010.0248 | 1183736.708 | 2592004.4222 | 1183736.9379
52 | 2591820.3979 | 1183846.6457 | 2592007.5123 | 1183792.5179
53 | 2592038.5882 | 1183719.1717 | 2592053.373 | 1183712.7041 | 2592057.332 | 1183710.6644 | 2592059.6807 | 1183708.8714 | 2592061.6855 | 1183706.8344 | 2592062.7442 | 1183705.0876 | 2592063.6263 | 1183702.5184 | 2592064.545 | 1183698.8153 | 2592064.9341 | 1183693.0007 | 2592065.116 | 1183690.4148
54 | 2591821.1445 | 1183891.2894 | 2591822.5533 | 1183872.311 | 2591820.3979 | 1183846.6457
55 | 2592077.3783 | 1183671.4174 | 2592072.839 | 1183673.3578 | 2592069.8267 | 1183675.5296 | 2592067.5711 | 1183678.4674 | 2592066.3457 | 1183681.1705 | 2592065.4884 | 1183685.1181 | 2592065.116 | 1183690.4148
56 | 2591596.8664 | 1183923.1857 | 2591616.6936 | 1183915.2091 | 2591638.1348 | 1183893.3676 | 2591655.998 | 1183869.3532
57 | 2591809.5632 | 1183989.5004 | 2591813.4964 | 1183985.5929 | 2591816.5567 | 1183979.6746 | 2591817.3715 | 1183972.7254 | 2591817.9678 | 1183962.3192 | 2591821.1445 | 1183891.2894
58 | 2591809.5632 | 1183989.5004 | 2591782.0674 | 1183977.3655 | 2591779.1126 | 1183976.7581 | 2591777.0366 | 1183976.9055 | 2591774.2901 | 1183977.8876 | 2591778.0758 | 1183988.6879 | 2591780.3534 | 1183996.3554 | 2591781.9355 | 1184003.3346 | 2591782.5712 | 1184010.4485 | 2591782.8297 | 1184015.2061 | 2591782.9594 | 1184020.6532 | 2591782.6323 | 1184027.0014 | 2591781.8649 | 1184035.051 | 2591780.6608 | 1184041.9229 | 2591778.5727 | 1184049.8076 | 2591776.6598 | 1184057.4698 | 2591774.2429 | 1184065.0104
59 | 2591809.5632 | 1183989.5004 | 2591813.0307 | 1183991.0853 | 2591818.2832 | 1183991.7784 | 2591836.3134 | 1183992.4539 | 2591854.5253 | 1183992.0732 | 2591867.1324 | 1183995.7244 | 2591879.4967 | 1184003.2559
60 | 2592077.3783 | 1183671.4174 | 2592083.1147 | 1183668.4749 | 2592108.4699 | 1183660.4481 | 2592112.9802 | 1183659.5861 | 2592118.6659 | 1183658.7114
61 | 2591767.2261 | 1183837.8919 | 2591772.7675 | 1183848.7009 | 2591776.875 | 1183854.8206 | 2591784.8712 | 1183863.3806 | 2591797.5768 | 1183871.734 | 2591810.6871 | 1183880.287 | 2591817.862 | 1183885.5798 | 2591821.1445 | 1183891.2894
62 | 2591752.3458 | 1184033.3133 | 2591756.7999 | 1184036.2864 | 2591759.4672 | 1184038.7173 | 2591760.7446 | 1184040.6499 | 2591761.5876 | 1184043.0722 | 2591762.8687 | 1184047.6505 | 2591767.0119 | 1184057.5832 | 2591768.3585 | 1184059.9048 | 2591769.8194 | 1184062.0928 | 2591771.6535 | 1184063.6799 | 2591774.2429 | 1184065.0104
63 | 2591892.8884 | 1184011.4131 | 2591879.4967 | 1184003.2559
64 | 2591990.717 | 1184113.1835 | 2591997.888 | 1184104.625 | 2591997.5216 | 1184093.2752 | 2591992.6835 | 1184084.3536
65 | 2591990.717 | 1184113.1835 | 2592008.8689 | 1184108.1898 | 2592038.1234 | 1184095.066 | 2592051.2406 | 1184086.5885 | 2592053.1921 | 1184082.1295
66 | 2591984.0386 | 1184072.6936 | 2591991.3771 | 1184081.9443 | 2591992.6835 | 1184084.3536
67 | 2592056.9707 | 1184073.4963 | 2592053.1921 | 1184082.1295
68 | 2591984.0386 | 1184072.6936 | 2591981.2576 | 1184069.1878
69 | 2591892.8884 | 1184011.4131 | 2591907.4301 | 1184020.2709 | 2591939.1391 | 1184032.623 | 2591961.7463 | 1184048.3004 | 2591978.9295 | 1184066.2531 | 2591981.2576 | 1184069.1878
70 | 2592644.1621 | 1183678.4911 | 2592647.1662 | 1183669.5161 | 2592648.1606 | 1183665.0348 | 2592648.7505 | 1183660.5539 | 2592650.3678 | 1183641.2753 | 2592651.4123 | 1183634.1482 | 2592653.069 | 1183628.143 | 2592654.4452 | 1183624.3529
71 | 2592594.7847 | 1183760.4503 | 2592604.2704 | 1183746.2534 | 2592625.3411 | 1183717.7347 | 2592636.8963 | 1183697.9101 | 2592639.9264 | 1183691.4252 | 2592644.1621 | 1183678.4911
72 | 2592594.7847 | 1183760.4503 | 2592563.3974 | 1183718.6236 | 2592522.0961 | 1183666.4598 | 2592518.3148 | 1183661.8226
73 | 2592594.7847 | 1183760.4503 | 2592505.9014 | 1183777.9043
74 | 2592518.3148 | 1183661.8226 | 2592501.7749 | 1183641.5393 | 2592491.5244 | 1183630.491 | 2592481.5208 | 1183621.5769 | 2592473.5163 | 1183615.6083
75 | 2592497.0771 | 1183759.6505 | 2592505.9014 | 1183777.9043
76 | 2592393.1157 | 1183554.8886 | 2592410.2196 | 1183570.4969 | 2592462.9462 | 1183607.7266 | 2592473.5163 | 1183615.6083
77 | 2592364.314 | 1183545.037 | 2592334.0438 | 1183534.6765 | 2592330.1758 | 1183533.5163
78 | 2592378.9568 | 1183550.0487 | 2592364.314 | 1183545.037
79 | 2592330.1758 | 1183533.5163 | 2592314.2776 | 1183528.7479
80 | 2592393.1157 | 1183554.8886 | 2592378.9568 | 1183550.0487

## bus_geodata
| x | y | coords
0 | 2591552.3848 | 1183753.3405
1 | 2591498.845 | 1183755.2257
2 | 2591564.1987 | 1183742.1276
3 | 2591376.851 | 1183850.7527
4 | 2591501.3377 | 1183668.6556
5 | 2591605.9251 | 1183788.53
6 | 2591373.8932 | 1183868.2475
7 | 2591469.8594 | 1183620.811
8 | 2591618.1547 | 1183801.9034
9 | 2591373.8177 | 1183868.7488
10 | 2591481.5438 | 1183613.0601
11 | 2591456.3524 | 1183598.7119
12 | 2591631.021 | 1183815.9731
13 | 2591302.7562 | 1183882.5661
14 | 2591227.1037 | 1184032.33
15 | 2591172.0024 | 1184222.1543
16 | 2591197.9724 | 1184191.5616
17 | 2591221.5801 | 1184163.0857
18 | 2591397.7363 | 1184252.0936
19 | 2591434.8573 | 1184243.1933
20 | 2591300.4527 | 1184080.664
21 | 2591257.4378 | 1184048.2379
22 | 2591408.0656 | 1184226.7902
23 | 2591244.6536 | 1184041.5611
24 | 2591236.7732 | 1184037.4455
25 | 2591584.8827 | 1184170.986
26 | 2591235.4994 | 1184036.7802
27 | 2592137.8585 | 1183307.8561
28 | 2592120.0208 | 1183316.8114
29 | 2592096.4634 | 1183328.6116
30 | 2592022.5166 | 1183248.9131
31 | 2592080.1236 | 1183336.7015
32 | 2592018.3438 | 1183463.4339
33 | 2592017.0835 | 1183466.2726
34 | 2592033.1585 | 1183512.806
35 | 2591507.5308 | 1183517.1151
36 | 2591510.3272 | 1183526.6157
37 | 2592085.67 | 1183506.9105
38 | 2591455.6944 | 1183597.6022
39 | 2591445.8627 | 1183581.0221
40 | 2591442.7701 | 1183575.8068
41 | 2591498.2261 | 1183594.6019
42 | 2591737.5724 | 1183832.5397
43 | 2591703.2027 | 1183845.3523
44 | 2591688.8163 | 1183831.5646
45 | 2591716.8505 | 1183742.1238
46 | 2591665.8643 | 1183854.0751
47 | 2592004.4222 | 1183736.9379
48 | 2592007.5123 | 1183792.5179
49 | 2592038.5882 | 1183719.1717
50 | 2591820.3979 | 1183846.6457
51 | 2592065.116 | 1183690.4148
52 | 2591694.707 | 1183622.771
53 | 2591655.998 | 1183869.3532
54 | 2591809.5632 | 1183989.5004
55 | 2592077.3783 | 1183671.4174
56 | 2591596.8664 | 1183923.1857
57 | 2591821.1445 | 1183891.2894
58 | 2591774.2429 | 1184065.0104
59 | 2591879.4967 | 1184003.2559
60 | 2591990.717 | 1184113.1836
61 | 2591992.6835 | 1184084.3536
62 | 2592053.1921 | 1184082.1295
63 | 2591984.0386 | 1184072.6936
64 | 2592056.9707 | 1184073.4963
65 | 2591981.2576 | 1184069.1878
66 | 2591892.8884 | 1184011.4131
67 | 2591767.2261 | 1183837.8919
68 | 2591752.3458 | 1184033.3133
69 | 2592118.6659 | 1183658.7114
70 | 2592654.4452 | 1183624.3529
71 | 2592644.1621 | 1183678.4911
72 | 2592594.7847 | 1183760.4503
73 | 2592518.3148 | 1183661.8226
74 | 2592505.9014 | 1183777.9043
75 | 2592473.5163 | 1183615.6083
76 | 2592364.314 | 1183545.037
77 | 2592330.1758 | 1183533.5163
78 | 2592378.9568 | 1183550.0487
79 | 2592314.2776 | 1183528.7479
80 | 2592393.1157 | 1183554.8886
81 | 2592497.0771 | 1183759.6505
82 | 2591631.021 | 1183815.9731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1