## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_855-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_855-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_855-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_855-14_0_4_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_855-14_0_4_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_855-14_0_4_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_855-14_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_855-14_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_855-14_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_855-14_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_855-14_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_855-14_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_855-14_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_855-14_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_855-14_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_855-14_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_855-14_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_855-14_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_855-14_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_855-14_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_855-14_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_855-14_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_855-14_0_4_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_855-14_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_855-14_0_4_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_855-14_0_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_855-14_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_855-14_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_855-14_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_855-14_0_4_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_855-14_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_855-14_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_855-14_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_855-14_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_855-14_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_855-14_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_855-14_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_855-14_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_855-14_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_855-14_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_855-14_0_4_node_110 | 0.4 | n |  | TRUE
41 | bus_LV_855-14_0_4_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_855-14_0_4_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_855-14_0_4_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_855-14_0_4_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_855-14_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_855-14_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_855-14_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_855-14_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_855-14_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_855-14_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_855-14_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_855-14_0_4_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_855-14_0_4_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_855-14_0_4_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_855-14_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_855-14_0_4_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_855-14_0_4_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_855-14_0_4_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_855-14_0_4_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_855-14_0_4_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_855-14_0_4_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_855-14_0_4_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_855-14_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_855-14_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_855-14_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_855-14_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_855-14_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_855-14_0_4_node_119 | 0.4 | n |  | TRUE
69 | bus_LV_855-14_0_4_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_855-14_0_4_node_118 | 0.4 | n |  | TRUE
71 | bus_LV_855-14_0_4_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_855-14_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_855-14_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_855-14_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_855-14_0_4_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_855-14_0_4_node_113 | 0.4 | n |  | TRUE
77 | bus_LV_855-14_0_4_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_855-14_0_4_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_855-14_0_4_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_855-14_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_855-14_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_855-14_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_855-14_0_4_node_114 | 0.4 | n |  | TRUE
84 | bus_LV_855-14_0_4_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_855-14_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_855-14_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_855-14_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_855-14_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_855-14_0_4_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_855-14_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_855-14_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_855-14_0_4_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_855-14_0_4_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_855-14_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_855-14_0_4_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_855-14_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_855-14_0_4_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_855-14_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_855-14_0_4_node_111 | 0.4 | n |  | TRUE
100 | bus_LV_855-14_0_4_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_855-14_0_4_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_855-14_0_4_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_855-14_0_4_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_855-14_0_4_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_855-14_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_855-14_0_4_node_112 | 0.4 | n |  | TRUE
107 | bus_LV_855-14_0_4_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_855-14_0_4_node_94 | 0.4 | n |  | TRUE
109 | bus_LV_855-14_0_4_node_96 | 0.4 | n |  | TRUE
110 | bus_LV_855-14_0_4_node_98 | 0.4 | n |  | TRUE
111 | bus_LV_855-14_0_4_node_117 | 0.4 | n |  | TRUE
112 | bus_LV_855-14_0_4_node_101 | 0.4 | n |  | TRUE
113 | bus_MV_119_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_855-14_0_4_load_0 | 0 | 0.013748 | 0.0034455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_855-14_0_4_load_1 | 1 | 0.017029 | 0.004268 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_855-14_0_4_load_2 | 2 | 0.01131 | 0.0028345 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_855-14_0_4_load_70 | 4 | 0.0059143 | 0.0014823 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_855-14_0_4_load_3 | 6 | 0.014897 | 0.0037336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_855-14_0_4_load_4 | 7 | 0.0070379 | 0.0017639 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_855-14_0_4_load_5 | 8 | 0.0045071 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_855-14_0_4_load_60 | 13 | 0.0046148 | 0.0011566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_855-14_0_4_load_22 | 14 | 0.0016538 | 0.00041448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_855-14_0_4_load_18 | 15 | 0.0040019 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_855-14_0_4_load_8 | 16 | 0.0021999 | 0.00055136 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_855-14_0_4_load_9 | 17 | 0.0027083 | 0.00067876 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_855-14_0_4_load_10 | 18 | 0.0026136 | 0.00065502 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_855-14_0_4_load_11 | 19 | 0.0016534 | 0.00041438 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_855-14_0_4_load_12 | 20 | 0.002609 | 0.00065389 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_855-14_0_4_load_59 | 21 | 0.0019535 | 0.0004896 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_855-14_0_4_load_58 | 23 | 0.0029022 | 0.00072737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_855-14_0_4_load_69 | 24 | 0.0028502 | 0.00071434 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_855-14_0_4_load_52 | 25 | 0.0087242 | 0.0021865 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_855-14_0_4_load_14 | 26 | 0.010387 | 0.0026032 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_855-14_0_4_load_15 | 27 | 0.00031558 | 7.9092e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_855-14_0_4_load_17 | 28 | 0.00066061 | 0.00016556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_855-14_0_4_load_19 | 30 | 0.0015836 | 0.00039689 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_855-14_0_4_load_21 | 31 | 0.002543 | 0.00063735 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_855-14_0_4_load_23 | 32 | 0.0035257 | 0.00088363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_855-14_0_4_load_32 | 33 | 0.011652 | 0.0029202 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_855-14_0_4_load_24 | 34 | 0.0038043 | 0.00095345 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_855-14_0_4_load_33 | 35 | 0.0044015 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_855-14_0_4_load_25 | 36 | 0.0024121 | 0.00060454 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_855-14_0_4_load_26 | 37 | 0.006212 | 0.0015569 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_855-14_0_4_load_27 | 38 | 0.003917 | 0.0009817 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_855-14_0_4_load_110 | 40 | 0.011213 | 0.0028101 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_855-14_0_4_load_104 | 41 | 0.0042769 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_855-14_0_4_load_102 | 42 | 0.0042418 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_855-14_0_4_load_97 | 43 | 0.0037143 | 0.00093089 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_855-14_0_4_load_95 | 44 | 0.0037327 | 0.0009355 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_855-14_0_4_load_44 | 45 | 0.0027307 | 0.00068437 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_855-14_0_4_load_42 | 46 | 0.0017768 | 0.0004453 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_855-14_0_4_load_35 | 47 | 0.0071187 | 0.0017841 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_855-14_0_4_load_36 | 48 | 0.0014297 | 0.00035831 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_855-14_0_4_load_38 | 50 | 0.0040315 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_855-14_0_4_load_90 | 52 | 0.0022161 | 0.00055541 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_855-14_0_4_load_108 | 54 | 0.007353 | 0.0018428 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_855-14_0_4_load_109 | 56 | 0.0050007 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_855-14_0_4_load_107 | 57 | 0.0024844 | 0.00062264 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_855-14_0_4_load_88 | 59 | 0.0050348 | 0.0012618 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_855-14_0_4_load_106 | 61 | 0.0017174 | 0.00043043 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_855-14_0_4_load_116 | 62 | 0.003814 | 0.00095588 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_855-14_0_4_load_41 | 63 | 0.0024074 | 0.00060335 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_855-14_0_4_load_43 | 64 | 0.002962 | 0.00074234 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_855-14_0_4_load_45 | 65 | 0.0036783 | 0.00092188 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_855-14_0_4_load_46 | 66 | 0.0039508 | 0.00099017 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_855-14_0_4_load_118 | 70 | 0.0040219 | 0.001008 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_855-14_0_4_load_48 | 71 | 0.0042338 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_855-14_0_4_load_49 | 72 | 0.0036061 | 0.00090377 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_855-14_0_4_load_113 | 76 | 0.0089657 | 0.002247 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_855-14_0_4_load_57 | 77 | 0.0016639 | 0.00041701 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_855-14_0_4_load_53 | 78 | 0.0034357 | 0.00086107 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_855-14_0_4_load_54 | 79 | 0.0060622 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_855-14_0_4_load_65 | 80 | 0.013493 | 0.0033818 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_855-14_0_4_load_66 | 81 | 0.0029495 | 0.00073921 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_855-14_0_4_load_64 | 82 | 0.0047519 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_855-14_0_4_load_115 | 84 | 0.029281 | 0.0073386 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_855-14_0_4_load_71 | 85 | 0.0037439 | 0.00093832 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_855-14_0_4_load_77 | 89 | 0.0055183 | 0.001383 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_855-14_0_4_load_79 | 91 | 0.0060124 | 0.0015068 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_855-14_0_4_load_99 | 93 | 0.010825 | 0.0027129 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_855-14_0_4_load_89 | 94 | 0.0050746 | 0.0012718 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_855-14_0_4_load_78 | 95 | 0.0070043 | 0.0017554 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_855-14_0_4_load_83 | 96 | 0.0030928 | 0.00077513 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_855-14_0_4_load_80 | 97 | 0.0060289 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_855-14_0_4_load_100 | 98 | 0.0040838 | 0.0010235 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_855-14_0_4_load_111 | 99 | 0.0038995 | 0.0009773 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_855-14_0_4_load_87 | 100 | 0.0064983 | 0.0016286 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_855-14_0_4_load_81 | 101 | 0.0016499 | 0.00041351 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_855-14_0_4_load_84 | 102 | 0.0042458 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_855-14_0_4_load_85 | 103 | 0.0026649 | 0.00066789 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_855-14_0_4_load_92 | 104 | 0.003116 | 0.00078095 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_855-14_0_4_load_105 | 105 | 0.0013679 | 0.00034283 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_855-14_0_4_load_112 | 106 | 0.0061718 | 0.0015468 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_855-14_0_4_load_103 | 107 | 0.0019551 | 0.00049 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_855-14_0_4_load_94 | 108 | 0.0036097 | 0.00090468 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_855-14_0_4_load_96 | 109 | 0.0026295 | 0.00065901 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_855-14_0_4_load_98 | 110 | 0.0027011 | 0.00067696 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_855-14_0_4_load_117 | 111 | 0.0020534 | 0.00051463 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_855-14_0_4_load_101 | 112 | 0.0055055 | 0.0013798 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_855-14_0_4_line_0 |  | 0 | 1 | 0.020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_855-14_0_4_line_1 |  | 1 | 2 | 0.0026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_855-14_0_4_line_2 |  | 2 | 3 | 0.019617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_855-14_0_4_line_3 |  | 3 | 4 | 0.0077947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_855-14_0_4_line_4 |  | 3 | 5 | 0.014835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_855-14_0_4_line_5 |  | 4 | 22 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_855-14_0_4_line_6 |  | 5 | 25 | 0.032104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_855-14_0_4_line_7 |  | 6 | 7 | 0.0004547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_855-14_0_4_line_8 |  | 6 | 8 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_855-14_0_4_line_9 |  | 8 | 9 | 0.023982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_855-14_0_4_line_10 |  | 9 | 10 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_855-14_0_4_line_11 |  | 9 | 11 | 0.007282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_855-14_0_4_line_12 |  | 10 | 12 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_855-14_0_4_line_13 |  | 10 | 13 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_855-14_0_4_line_14 |  | 11 | 14 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_855-14_0_4_line_15 |  | 11 | 15 | 0.017311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_855-14_0_4_line_16 |  | 12 | 80 | 0.025837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_855-14_0_4_line_17 |  | 12 | 79 | 0.0025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_855-14_0_4_line_18 |  | 13 | 23 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_855-14_0_4_line_19 |  | 14 | 33 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_855-14_0_4_line_20 |  | 15 | 30 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_855-14_0_4_line_21 |  | 16 | 17 | 0.0022735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_855-14_0_4_line_22 |  | 16 | 18 | 0.0029174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_855-14_0_4_line_23 |  | 17 | 19 | 0.0033362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_855-14_0_4_line_24 |  | 18 | 20 | 0.0084238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_855-14_0_4_line_25 |  | 19 | 21 | 0.0030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_855-14_0_4_line_26 |  | 20 | 22 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_855-14_0_4_line_27 |  | 21 | 23 | 0.0079147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_855-14_0_4_line_28 |  | 22 | 24 | 0.0088471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_855-14_0_4_line_29 |  | 24 | 40 | 0.023289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_855-14_0_4_line_30 |  | 25 | 29 | 0.021432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_855-14_0_4_line_31 |  | 26 | 27 | 0.0063139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_855-14_0_4_line_32 |  | 27 | 28 | 0.016902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_855-14_0_4_line_33 |  | 28 | 29 | 0.0097874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_855-14_0_4_line_34 |  | 30 | 31 | 0.0095201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_855-14_0_4_line_35 |  | 31 | 32 | 0.0044397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_855-14_0_4_line_36 |  | 32 | 34 | 0.00086498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_855-14_0_4_line_37 |  | 33 | 35 | 0.04512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_855-14_0_4_line_38 |  | 34 | 36 | 0.0073887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_855-14_0_4_line_39 |  | 37 | 38 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_855-14_0_4_line_40 |  | 38 | 39 | 0.014872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_855-14_0_4_line_41 |  | 39 | 40 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_855-14_0_4_line_42 |  | 39 | 41 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_855-14_0_4_line_43 |  | 41 | 42 | 0.0050848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_855-14_0_4_line_44 |  | 42 | 112 | 0.0023119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_855-14_0_4_line_45 |  | 43 | 44 | 0.0099683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_855-14_0_4_line_46 |  | 44 | 108 | 0.0059172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_855-14_0_4_line_47 |  | 45 | 46 | 0.02711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_855-14_0_4_line_48 |  | 46 | 63 | 0.0083815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_855-14_0_4_line_49 |  | 47 | 48 | 0.0058561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_855-14_0_4_line_50 |  | 47 | 49 | 0.0031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_855-14_0_4_line_51 |  | 48 | 50 | 0.0068915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_855-14_0_4_line_52 |  | 49 | 51 | 0.026219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_855-14_0_4_line_53 |  | 50 | 52 | 0.0079564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_855-14_0_4_line_54 |  | 51 | 53 | 0.003654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_855-14_0_4_line_55 |  | 51 | 54 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_855-14_0_4_line_56 |  | 52 | 58 | 0.0044367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_855-14_0_4_line_57 |  | 53 | 59 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_855-14_0_4_line_58 |  | 53 | 60 | 0.010906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_855-14_0_4_line_59 |  | 54 | 61 | 0.009199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_855-14_0_4_line_60 |  | 55 | 56 | 0.0028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_855-14_0_4_line_61 |  | 55 | 57 | 0.014141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_855-14_0_4_line_62 |  | 56 | 62 | 0.012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_855-14_0_4_line_63 |  | 57 | 61 | 0.0079075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_855-14_0_4_line_64 |  | 58 | 69 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_855-14_0_4_line_65 |  | 58 | 67 | 0.028843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_855-14_0_4_line_66 |  | 59 | 100 | 0.020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_855-14_0_4_line_67 |  | 60 | 96 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_855-14_0_4_line_68 |  | 60 | 90 | 0.021938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_855-14_0_4_line_69 |  | 62 | 111 | 0.00072255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_855-14_0_4_line_70 |  | 63 | 64 | 0.0068915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_855-14_0_4_line_71 |  | 64 | 65 | 0.0090967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_855-14_0_4_line_72 |  | 65 | 66 | 0.0099786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_855-14_0_4_line_73 |  | 66 | 67 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_855-14_0_4_line_74 |  | 67 | 68 | 0.03884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_855-14_0_4_line_75 |  | 68 | 70 | 0.058402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_855-14_0_4_line_76 |  | 69 | 106 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_855-14_0_4_line_77 |  | 71 | 72 | 0.0007975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_855-14_0_4_line_78 |  | 72 | 73 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_855-14_0_4_line_79 |  | 73 | 74 | 0.061787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_855-14_0_4_line_80 |  | 73 | 75 | 0.006008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_855-14_0_4_line_81 |  | 74 | 76 | 0.0091939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_855-14_0_4_line_82 |  | 75 | 77 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_855-14_0_4_line_83 |  | 75 | 78 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_855-14_0_4_line_84 |  | 76 | 83 | 0.018134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_855-14_0_4_line_85 |  | 77 | 81 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_855-14_0_4_line_86 |  | 78 | 79 | 0.010099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_855-14_0_4_line_87 |  | 80 | 82 | 0.026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_855-14_0_4_line_88 |  | 83 | 84 | 0.033651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_855-14_0_4_line_89 |  | 85 | 86 | 0.029202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_855-14_0_4_line_90 |  | 85 | 87 | 0.00050144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_855-14_0_4_line_91 |  | 86 | 88 | 0.019515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_855-14_0_4_line_92 |  | 87 | 89 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_855-14_0_4_line_93 |  | 88 | 94 | 0.023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_855-14_0_4_line_94 |  | 88 | 92 | 0.037169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_855-14_0_4_line_95 |  | 89 | 95 | 0.0023412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_855-14_0_4_line_96 |  | 90 | 91 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_855-14_0_4_line_97 |  | 91 | 97 | 0.00071674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_855-14_0_4_line_98 |  | 92 | 93 | 0.0090572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_855-14_0_4_line_99 |  | 93 | 98 | 0.032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_855-14_0_4_line_100 |  | 94 | 99 | 0.010186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_855-14_0_4_line_101 |  | 96 | 102 | 0.019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
102 | LV_855-14_0_4_line_102 |  | 97 | 101 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_855-14_0_4_line_103 |  | 99 | 106 | 0.025647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_855-14_0_4_line_104 |  | 102 | 103 | 0.00024951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_855-14_0_4_line_105 |  | 103 | 104 | 0.0051959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_855-14_0_4_line_106 |  | 104 | 105 | 0.0077519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
107 | LV_855-14_0_4_line_107 |  | 105 | 107 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
108 | LV_855-14_0_4_line_108 |  | 107 | 112 | 0.003727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
109 | LV_855-14_0_4_line_109 |  | 108 | 109 | 0.0053916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_855-14_0_4_line_110 |  | 109 | 110 | 0.0041331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_855-14_0_4_line_111 |  | 110 | 111 | 0.0092432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_855-14_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 113 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2592654.6085 | 1185245.5531 | 2592661.9741 | 1185240.4413 | 2592673.4381 | 1185240.9716
1 | 2592673.4381 | 1185240.9716 | 2592676.0709 | 1185241.0933
2 | 2592695.6513 | 1185240.1773 | 2592679.0619 | 1185241.2317 | 2592676.0709 | 1185241.0933
3 | 2592695.6513 | 1185240.1773 | 2592697.2952 | 1185232.558
4 | 2592692.5251 | 1185254.6776 | 2592695.6513 | 1185240.1773
5 | 2592701.8432 | 1185211.4771 | 2592697.2952 | 1185232.558
6 | 2592692.5251 | 1185254.6776 | 2592690.3222 | 1185286.7062
7 | 2592813.418 | 1185248.157 | 2592813.2995 | 1185248.1043 | 2592813.0051 | 1185247.9664
8 | 2592813.0051 | 1185247.9664 | 2592795.2847 | 1185239.6684
9 | 2592773.0987 | 1185230.6108 | 2592787.0401 | 1185235.8076 | 2592795.2847 | 1185239.6684
10 | 2592773.0987 | 1185230.6108 | 2592770.8086 | 1185230.0466 | 2592768.4122 | 1185229.9829 | 2592765.4823 | 1185230.4089 | 2592763.659 | 1185230.9114 | 2592760.8676 | 1185232.3155
11 | 2592773.0987 | 1185230.6108 | 2592777.5026 | 1185224.8024
12 | 2592760.8676 | 1185232.3155 | 2592758.4202 | 1185234.2084 | 2592756.248 | 1185236.4788 | 2592753.6045 | 1185240.2507 | 2592748.3193 | 1185249.2396 | 2592744.4962 | 1185255.6142
13 | 2592760.8676 | 1185232.3155 | 2592751.1508 | 1185228.885
14 | 2592777.5026 | 1185224.8024 | 2592781.0007 | 1185220.9295 | 2592785.6051 | 1185216.7773 | 2592786.7996 | 1185215.9024
15 | 2592777.5026 | 1185224.8024 | 2592775.3878 | 1185217.768 | 2592774.1592 | 1185211.6108 | 2592773.95 | 1185207.9296
16 | 2592744.4962 | 1185255.6142 | 2592762.8456 | 1185264.7743 | 2592766.6278 | 1185268.5272
17 | 2592744.4962 | 1185255.6142 | 2592743.1914 | 1185257.8018
18 | 2592741.4434 | 1185225.4578 | 2592751.1508 | 1185228.885
19 | 2592799.9068 | 1185207.3183 | 2592790.6526 | 1185213.0804 | 2592786.7996 | 1185215.9024
20 | 2592773.95 | 1185207.9296 | 2592773.933 | 1185207.6312 | 2592774.2935 | 1185202.8394 | 2592775.2795 | 1185197.869 | 2592775.7685 | 1185196.4948
21 | 2592725.7821 | 1185219.9287 | 2592727.926 | 1185220.6855
22 | 2592725.7821 | 1185219.9287 | 2592723.0312 | 1185218.9575
23 | 2592731.0719 | 1185221.7962 | 2592727.926 | 1185220.6855
24 | 2592715.0879 | 1185216.1531 | 2592723.0312 | 1185218.9575
25 | 2592731.0719 | 1185221.7962 | 2592733.9801 | 1185222.8229
26 | 2592701.8432 | 1185211.4771 | 2592715.0879 | 1185216.1531
27 | 2592741.4434 | 1185225.4578 | 2592733.9801 | 1185222.8229
28 | 2592701.8432 | 1185211.4771 | 2592696.1696 | 1185208.716 | 2592693.9633 | 1185207.4629
29 | 2592675.8429 | 1185193.0663 | 2592675.8429 | 1185193.0663 | 2592686.9902 | 1185203.5024 | 2592693.9633 | 1185207.4629
30 | 2592688.8516 | 1185308.0875 | 2592690.3222 | 1185286.7062
31 | 2592662.875 | 1185302.3453 | 2592656.812 | 1185300.5829
32 | 2592662.875 | 1185302.3453 | 2592676.2957 | 1185306.2465 | 2592679.1564 | 1185306.8597
33 | 2592688.8516 | 1185308.0875 | 2592681.9673 | 1185307.4623 | 2592679.1564 | 1185306.8597
34 | 2592779.3793 | 1185187.7022 | 2592777.6144 | 1185191.3072 | 2592775.7685 | 1185196.4948
35 | 2592779.3793 | 1185187.7022 | 2592781.3314 | 1185183.7147
36 | 2592781.7117 | 1185182.9378 | 2592781.3314 | 1185183.7147
37 | 2592839.407 | 1185185.6978 | 2592839.2549 | 1185185.7518 | 2592833.6256 | 1185188.0042 | 2592828.2103 | 1185190.5231 | 2592822.9327 | 1185193.2976 | 2592817.7926 | 1185196.2832 | 2592807.7189 | 1185202.4541 | 2592799.9068 | 1185207.3183
38 | 2592784.9605 | 1185176.3016 | 2592781.7117 | 1185182.9378
39 | 2592653.4009 | 1185189.8605 | 2592651.7936 | 1185191.0173 | 2592650.3581 | 1185190.4076 | 2592643.788 | 1185183.2651
40 | 2592665.4723 | 1185181.173 | 2592653.4009 | 1185189.8605
41 | 2592665.4723 | 1185181.173 | 2592675.8429 | 1185193.0663
42 | 2592665.4723 | 1185181.173 | 2592677.9503 | 1185172.23
43 | 2592677.9503 | 1185172.23 | 2592682.0832 | 1185169.2679
44 | 2592683.9623 | 1185167.9211 | 2592682.0832 | 1185169.2679
45 | 2592632.6369 | 1185144.1504 | 2592641.4343 | 1185139.4629
46 | 2592646.6564 | 1185136.6805 | 2592641.4343 | 1185139.4629
47 | 2592644.802 | 1185088.9169 | 2592639.1406 | 1185092.7711 | 2592621.1657 | 1185102.1208
48 | 2592651.0007 | 1185083.3761 | 2592648.1383 | 1185086.6457 | 2592644.802 | 1185088.9169
49 | 2592696.4395 | 1185083.152 | 2592693.6225 | 1185088.2861
50 | 2592692.1248 | 1185091.0157 | 2592693.6225 | 1185088.2861
51 | 2592699.7545 | 1185077.1103 | 2592699.7545 | 1185077.1103 | 2592696.4395 | 1185083.152
52 | 2592692.1248 | 1185091.0157 | 2592702.4199 | 1185097.273 | 2592712.163 | 1185107.6219
53 | 2592699.7545 | 1185077.1103 | 2592702.0969 | 1185069.5064
54 | 2592714.6694 | 1185110.2868 | 2592712.163 | 1185107.6219
55 | 2592712.163 | 1185107.6219 | 2592700.0757 | 1185117.9663
56 | 2592703.4031 | 1185065.2663 | 2592702.0969 | 1185069.5064
57 | 2592714.6694 | 1185110.2868 | 2592732.092 | 1185102.3533
58 | 2592714.6694 | 1185110.2868 | 2592716.5105 | 1185111.8187 | 2592720.7045 | 1185115.2931 | 2592723.0804 | 1185117.2579
59 | 2592693.0868 | 1185123.9475 | 2592700.0757 | 1185117.9663
60 | 2592674.3805 | 1185115.139 | 2592672.3478 | 1185117.1195
61 | 2592674.3805 | 1185115.139 | 2592682.5535 | 1185120.9208 | 2592686.2658 | 1185122.7299
62 | 2592662.6492 | 1185125.7429 | 2592669.5479 | 1185119.8474 | 2592672.3478 | 1185117.1195
63 | 2592693.0868 | 1185123.9475 | 2592691.5184 | 1185125.2897 | 2592686.2658 | 1185122.7299
64 | 2592703.4031 | 1185065.2663 | 2592711.8453 | 1185047.8914
65 | 2592680.2735 | 1185048.2527 | 2592688.5332 | 1185056.2911 | 2592703.4031 | 1185065.2663
66 | 2592751.1231 | 1185094.6529 | 2592750.5648 | 1185094.8126 | 2592736.5294 | 1185100.3326 | 2592732.092 | 1185102.3533
67 | 2592723.0804 | 1185117.2579 | 2592714.112 | 1185122.4827 | 2592712.0435 | 1185124.7708
68 | 2592723.0804 | 1185117.2579 | 2592743.9519 | 1185110.3176
69 | 2592662.6492 | 1185125.7429 | 2592662.0999 | 1185126.2123
70 | 2592651.0007 | 1185083.3761 | 2592655.5401 | 1185078.1909
71 | 2592661.5017 | 1185071.3209 | 2592660.8042 | 1185072.178 | 2592655.5401 | 1185078.1909
72 | 2592661.5017 | 1185071.3209 | 2592667.7999 | 1185063.5811
73 | 2592680.2735 | 1185048.2527 | 2592667.7999 | 1185063.5811
74 | 2592658.9408 | 1185015.7623 | 2592680.2735 | 1185048.2527
75 | 2592658.9408 | 1185015.7623 | 2592630.7798 | 1185046.4576 | 2592619.9258 | 1185059.2095
76 | 2592711.8453 | 1185047.8914 | 2592723.48 | 1185054.3693
77 | 2592715.2132 | 1185276.2404 | 2592714.6352 | 1185275.691
78 | 2592726.1807 | 1185286.6638 | 2592715.2132 | 1185276.2404
79 | 2592738.2902 | 1185335.2074 | 2592732.5549 | 1185331.846 | 2592727.0167 | 1185327.3616 | 2592723.3861 | 1185322.6859 | 2592721.1203 | 1185317.0191 | 2592718.8755 | 1185309.907 | 2592717.9949 | 1185307.4735 | 2592714.6207 | 1185300.3295 | 2592718.3793 | 1185297.3011 | 2592721.8161 | 1185293.2948 | 2592726.1807 | 1185286.6638
80 | 2592726.1807 | 1185286.6638 | 2592729.204 | 1185281.4685
81 | 2592738.2902 | 1185335.2074 | 2592744.986 | 1185337.7783 | 2592746.8545 | 1185338.5498
82 | 2592729.204 | 1185281.4685 | 2592739.6254 | 1185291.3831 | 2592743.0004 | 1185292.9576
83 | 2592729.204 | 1185281.4685 | 2592735.5781 | 1185270.5662 | 2592738.0183 | 1185266.475
84 | 2592763.6158 | 1185345.4706 | 2592746.8545 | 1185338.5498
85 | 2592754.7977 | 1185287.8267 | 2592745.9453 | 1185292.3203 | 2592743.0004 | 1185292.9576
86 | 2592738.0183 | 1185266.475 | 2592743.1914 | 1185257.8018
87 | 2592785.2294 | 1185284.8909 | 2592769.6764 | 1185277.7949 | 2592768.4125 | 1185273.9611 | 2592766.6278 | 1185268.5272 | 2592766.6278 | 1185268.5272
88 | 2592763.6158 | 1185345.4706 | 2592775.4002 | 1185334.3727 | 2592787.8857 | 1185334.8911 | 2592792.5212 | 1185336.6753
89 | 2592787.8721 | 1185098.0577 | 2592799.1153 | 1185112.1513 | 2592808.18 | 1185118.6835
90 | 2592808.5868 | 1185118.9766 | 2592808.18 | 1185118.6835
91 | 2592774.9797 | 1185083.4436 | 2592781.4364 | 1185089.9947 | 2592782.4301 | 1185091.2385 | 2592786.1829 | 1185095.9364 | 2592787.8721 | 1185098.0577
92 | 2592808.5868 | 1185118.9766 | 2592818.7263 | 1185111.336
93 | 2592774.9797 | 1185083.4436 | 2592768.3658 | 1185079.3607 | 2592754.7881 | 1185071.8009
94 | 2592774.9797 | 1185083.4436 | 2592781.4364 | 1185089.9947 | 2592799.82 | 1185089.1052 | 2592803.7512 | 1185083.642 | 2592806.4824 | 1185082.8828
95 | 2592818.7263 | 1185111.336 | 2592820.5961 | 1185109.927
96 | 2592743.9519 | 1185110.3176 | 2592754.077 | 1185121.9787
97 | 2592754.5469 | 1185122.5199 | 2592754.077 | 1185121.9787
98 | 2592806.4824 | 1185082.8828 | 2592807.8142 | 1185079.8018 | 2592809.3546 | 1185074.3131
99 | 2592809.3546 | 1185074.3131 | 2592809.9115 | 1185072.3287 | 2592811.2697 | 1185065.8571 | 2592813.7029 | 1185058.4947 | 2592816.916 | 1185052.3432 | 2592819.9292 | 1185051.2612 | 2592823.6157 | 1185051.6125 | 2592825.9398 | 1185051.6734
100 | 2592745.8883 | 1185066.8457 | 2592754.7881 | 1185071.8009
101 | 2592712.0435 | 1185124.7708 | 2592705.6906 | 1185131.7979 | 2592702.4834 | 1185136.382 | 2592700.2391 | 1185140.6552
102 | 2592764.143 | 1185133.5716 | 2592754.5469 | 1185122.5199
103 | 2592745.8883 | 1185066.8457 | 2592723.48 | 1185054.3693
104 | 2592700.2391 | 1185140.6552 | 2592700.1231 | 1185140.8761 | 2592700.1231 | 1185140.8761
105 | 2592696.3977 | 1185144.4981 | 2592700.1231 | 1185140.8761
106 | 2592690.8397 | 1185149.9018 | 2592696.3977 | 1185144.4981
107 | 2592690.8397 | 1185149.9018 | 2592685.7549 | 1185154.8455 | 2592687.4299 | 1185164.0593 | 2592686.4523 | 1185165.148
108 | 2592683.9623 | 1185167.9211 | 2592683.9623 | 1185167.9211 | 2592686.4523 | 1185165.148
109 | 2592646.6564 | 1185136.6805 | 2592651.4147 | 1185134.1451
110 | 2592655.0623 | 1185132.2016 | 2592651.4147 | 1185134.1451
111 | 2592655.0623 | 1185132.2016 | 2592655.1395 | 1185132.1605 | 2592662.0999 | 1185126.2123

## bus_geodata
| x | y | coords
0 | 2592654.6085 | 1185245.5531
1 | 2592673.4381 | 1185240.9716
2 | 2592676.0709 | 1185241.0933
3 | 2592695.6513 | 1185240.1773
4 | 2592697.2952 | 1185232.558
5 | 2592692.5251 | 1185254.6776
6 | 2592813.0051 | 1185247.9664
7 | 2592813.418 | 1185248.157
8 | 2592795.2847 | 1185239.6684
9 | 2592773.0987 | 1185230.6108
10 | 2592760.8676 | 1185232.3155
11 | 2592777.5026 | 1185224.8024
12 | 2592744.4962 | 1185255.6142
13 | 2592751.1508 | 1185228.885
14 | 2592786.7996 | 1185215.9024
15 | 2592773.95 | 1185207.9296
16 | 2592725.7821 | 1185219.9287
17 | 2592727.926 | 1185220.6855
18 | 2592723.0312 | 1185218.9575
19 | 2592731.0719 | 1185221.7962
20 | 2592715.0879 | 1185216.1531
21 | 2592733.9801 | 1185222.8229
22 | 2592701.8432 | 1185211.4771
23 | 2592741.4434 | 1185225.4578
24 | 2592693.9633 | 1185207.4629
25 | 2592690.3222 | 1185286.7062
26 | 2592656.812 | 1185300.5829
27 | 2592662.875 | 1185302.3453
28 | 2592679.1564 | 1185306.8597
29 | 2592688.8516 | 1185308.0875
30 | 2592775.7685 | 1185196.4948
31 | 2592779.3793 | 1185187.7022
32 | 2592781.3314 | 1185183.7147
33 | 2592799.9068 | 1185207.3183
34 | 2592781.7117 | 1185182.9378
35 | 2592839.407 | 1185185.6978
36 | 2592784.9605 | 1185176.3016
37 | 2592643.788 | 1185183.2651
38 | 2592653.4009 | 1185189.8605
39 | 2592665.4723 | 1185181.173
40 | 2592675.8429 | 1185193.0663
41 | 2592677.9503 | 1185172.23
42 | 2592682.0832 | 1185169.2679
43 | 2592632.6369 | 1185144.1504
44 | 2592641.4343 | 1185139.4629
45 | 2592621.1657 | 1185102.1208
46 | 2592644.802 | 1185088.9169
47 | 2592693.6225 | 1185088.2861
48 | 2592696.4395 | 1185083.152
49 | 2592692.1248 | 1185091.0157
50 | 2592699.7545 | 1185077.1103
51 | 2592712.163 | 1185107.6219
52 | 2592702.0969 | 1185069.5064
53 | 2592714.6694 | 1185110.2868
54 | 2592700.0757 | 1185117.9663
55 | 2592674.3805 | 1185115.139
56 | 2592672.3478 | 1185117.1195
57 | 2592686.2658 | 1185122.7299
58 | 2592703.4031 | 1185065.2663
59 | 2592732.092 | 1185102.3533
60 | 2592723.0804 | 1185117.2579
61 | 2592693.0868 | 1185123.9475
62 | 2592662.6492 | 1185125.7429
63 | 2592651.0007 | 1185083.3761
64 | 2592655.5401 | 1185078.1909
65 | 2592661.5017 | 1185071.3209
66 | 2592667.7999 | 1185063.5811
67 | 2592680.2735 | 1185048.2527
68 | 2592658.9408 | 1185015.7623
69 | 2592711.8453 | 1185047.8914
70 | 2592619.9258 | 1185059.2095
71 | 2592714.6352 | 1185275.691
72 | 2592715.2132 | 1185276.2404
73 | 2592726.1807 | 1185286.6638
74 | 2592738.2902 | 1185335.2074
75 | 2592729.204 | 1185281.4685
76 | 2592746.8545 | 1185338.5498
77 | 2592743.0004 | 1185292.9576
78 | 2592738.0183 | 1185266.475
79 | 2592743.1914 | 1185257.8018
80 | 2592766.6278 | 1185268.5272
81 | 2592754.7977 | 1185287.8267
82 | 2592785.2294 | 1185284.8909
83 | 2592763.6158 | 1185345.4706
84 | 2592792.5212 | 1185336.6753
85 | 2592808.18 | 1185118.6835
86 | 2592787.8721 | 1185098.0577
87 | 2592808.5868 | 1185118.9766
88 | 2592774.9797 | 1185083.4436
89 | 2592818.7263 | 1185111.336
90 | 2592743.9519 | 1185110.3176
91 | 2592754.077 | 1185121.9787
92 | 2592806.4824 | 1185082.8828
93 | 2592809.3546 | 1185074.3131
94 | 2592754.7881 | 1185071.8009
95 | 2592820.5961 | 1185109.927
96 | 2592712.0435 | 1185124.7708
97 | 2592754.5469 | 1185122.5199
98 | 2592825.9398 | 1185051.6734
99 | 2592745.8883 | 1185066.8457
100 | 2592751.1231 | 1185094.6529
101 | 2592764.143 | 1185133.5716
102 | 2592700.2391 | 1185140.6552
103 | 2592700.1231 | 1185140.8761
104 | 2592696.3977 | 1185144.4981
105 | 2592690.8397 | 1185149.9018
106 | 2592723.48 | 1185054.3693
107 | 2592686.4523 | 1185165.148
108 | 2592646.6564 | 1185136.6805
109 | 2592651.4147 | 1185134.1451
110 | 2592655.0623 | 1185132.2016
111 | 2592662.0999 | 1185126.2123
112 | 2592683.9623 | 1185167.9211
113 | 2592701.8432 | 1185211.4771

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1