## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_855-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_855-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_855-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_855-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_855-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_855-15_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_855-15_0_5_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_855-15_0_5_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_855-15_0_5_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_855-15_0_5_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_855-15_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_855-15_0_5_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_855-15_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_855-15_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_855-15_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_855-15_0_5_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_855-15_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_855-15_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_855-15_0_5_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_855-15_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_855-15_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_855-15_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_855-15_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_855-15_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_855-15_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_855-15_0_5_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_855-15_0_5_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_855-15_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_855-15_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_855-15_0_5_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_855-15_0_5_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_855-15_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_855-15_0_5_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_855-15_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_855-15_0_5_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_855-15_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_855-15_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_855-15_0_5_node_99 | 0.4 | n |  | TRUE
38 | bus_LV_855-15_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_855-15_0_5_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_855-15_0_5_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_855-15_0_5_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_855-15_0_5_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_855-15_0_5_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_855-15_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_855-15_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_855-15_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_855-15_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_855-15_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_855-15_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_855-15_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_855-15_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_855-15_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_855-15_0_5_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_855-15_0_5_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_855-15_0_5_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_855-15_0_5_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_855-15_0_5_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_855-15_0_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_855-15_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_855-15_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_855-15_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_855-15_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_855-15_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_855-15_0_5_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_855-15_0_5_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_855-15_0_5_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_855-15_0_5_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_855-15_0_5_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_855-15_0_5_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_855-15_0_5_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_855-15_0_5_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_855-15_0_5_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_855-15_0_5_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_855-15_0_5_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_855-15_0_5_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_855-15_0_5_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_855-15_0_5_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_855-15_0_5_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_855-15_0_5_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_855-15_0_5_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_855-15_0_5_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_855-15_0_5_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_855-15_0_5_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_855-15_0_5_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_855-15_0_5_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_855-15_0_5_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_855-15_0_5_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_855-15_0_5_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_855-15_0_5_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_855-15_0_5_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_855-15_0_5_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_855-15_0_5_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_855-15_0_5_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_855-15_0_5_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_855-15_0_5_node_94 | 0.4 | n |  | TRUE
96 | bus_MV_119_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_855-15_0_5_load_0 | 0 | 0.00085283 | 0.00021374 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_855-15_0_5_load_1 | 1 | 0.00065491 | 0.00016414 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_855-15_0_5_load_3 | 3 | 0.00048681 | 0.00012201 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_855-15_0_5_load_4 | 4 | 0.0040218 | 0.001008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_855-15_0_5_load_5 | 5 | 0.00073154 | 0.00018334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_855-15_0_5_load_28 | 6 | 0.00052612 | 0.00013186 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_855-15_0_5_load_21 | 7 | 0.0013849 | 0.0003471 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_855-15_0_5_load_22 | 8 | 0.00061577 | 0.00015433 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_855-15_0_5_load_29 | 9 | 0.00046607 | 0.00011681 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_855-15_0_5_load_17 | 10 | 0.0080305 | 0.0020126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_855-15_0_5_load_23 | 11 | 0.0045365 | 0.0011369 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_855-15_0_5_load_6 | 12 | 0.0018015 | 0.00045151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_855-15_0_5_load_7 | 13 | 0.0047566 | 0.0011921 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_855-15_0_5_load_10 | 16 | 0.00097615 | 0.00024465 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_855-15_0_5_load_69 | 18 | 0.0031471 | 0.00078875 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_855-15_0_5_load_18 | 19 | 0.0090026 | 0.0022563 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_855-15_0_5_load_11 | 20 | 0.0042646 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_855-15_0_5_load_12 | 21 | 0.0015532 | 0.00038926 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_855-15_0_5_load_13 | 22 | 0.0082474 | 0.002067 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_855-15_0_5_load_14 | 23 | 0.01602 | 0.0040149 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_855-15_0_5_load_15 | 24 | 0.0038562 | 0.00096646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_855-15_0_5_load_95 | 25 | 0.0033354 | 0.00083593 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_855-15_0_5_load_93 | 26 | 0.00040015 | 0.00010029 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_855-15_0_5_load_41 | 27 | 0.019908 | 0.0049894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_855-15_0_5_load_19 | 28 | 0.0045399 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_855-15_0_5_load_57 | 29 | 0.0069829 | 0.0017501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_855-15_0_5_load_88 | 34 | 0.00089319 | 0.00022386 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_855-15_0_5_load_26 | 35 | 0.0012061 | 0.00030229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_855-15_0_5_load_27 | 36 | 0.015243 | 0.0038203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_855-15_0_5_load_99 | 37 | 0.0028701 | 0.00071932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_855-15_0_5_load_24 | 38 | 0.00060909 | 0.00015265 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_855-15_0_5_load_75 | 39 | 0.0004822 | 0.00012085 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_855-15_0_5_load_74 | 40 | 0.0017406 | 0.00043624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_855-15_0_5_load_67 | 41 | 0.0018236 | 0.00045704 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_855-15_0_5_load_66 | 42 | 0.0055915 | 0.0014014 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_855-15_0_5_load_30 | 44 | 0.0005374 | 0.00013469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_855-15_0_5_load_37 | 46 | 0.0022079 | 0.00055336 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_855-15_0_5_load_31 | 47 | 0.015963 | 0.0040007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_855-15_0_5_load_32 | 48 | 0.01586 | 0.0039748 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_855-15_0_5_load_34 | 50 | 0.0039664 | 0.00099408 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_855-15_0_5_load_36 | 52 | 0.0048263 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_855-15_0_5_load_79 | 53 | 0.015702 | 0.0039352 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_855-15_0_5_load_78 | 54 | 0.0047588 | 0.0011927 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_855-15_0_5_load_62 | 55 | 0.009291 | 0.0023286 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_855-15_0_5_load_80 | 56 | 0.0041334 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_855-15_0_5_load_97 | 57 | 0.0030208 | 0.00075708 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_855-15_0_5_load_61 | 58 | 0.0074586 | 0.0018693 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_855-15_0_5_load_76 | 59 | 0.03324 | 0.0083308 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_855-15_0_5_load_38 | 60 | 0.027937 | 0.0070016 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_855-15_0_5_load_42 | 61 | 0.0051035 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_855-15_0_5_load_72 | 64 | 0.0031385 | 0.00078657 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_855-15_0_5_load_73 | 65 | 0.0014844 | 0.00037203 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_855-15_0_5_load_70 | 66 | 0.0026542 | 0.00066521 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_855-15_0_5_load_45 | 67 | 0.0015107 | 0.00037861 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_855-15_0_5_load_46 | 68 | 0.00036425 | 9.129e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_855-15_0_5_load_47 | 69 | 0.0047947 | 0.0012017 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_855-15_0_5_load_91 | 72 | 0.0035166 | 0.00088134 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_855-15_0_5_load_98 | 73 | 0.00067181 | 0.00016837 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_855-15_0_5_load_89 | 74 | 0.0005765 | 0.00014449 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_855-15_0_5_load_49 | 75 | 0.0073182 | 0.0018341 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_855-15_0_5_load_53 | 77 | 0.0083762 | 0.0020993 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_855-15_0_5_load_60 | 79 | 0.049418 | 0.012385 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_855-15_0_5_load_87 | 80 | 0.0036149 | 0.00090598 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_855-15_0_5_load_86 | 81 | 0.0073989 | 0.0018543 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_855-15_0_5_load_84 | 83 | 0.0037612 | 0.00094266 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_855-15_0_5_load_55 | 84 | 0.018105 | 0.0045375 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_855-15_0_5_load_56 | 85 | 0.020342 | 0.0050982 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_855-15_0_5_load_64 | 87 | 0.012544 | 0.0031439 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_855-15_0_5_load_63 | 88 | 0.034937 | 0.008756 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_855-15_0_5_load_77 | 90 | 0.012775 | 0.0032016 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_855-15_0_5_load_82 | 92 | 0.011858 | 0.002972 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_855-15_0_5_load_81 | 93 | 0.0041932 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_855-15_0_5_load_96 | 94 | 0.0030251 | 0.00075817 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_855-15_0_5_load_94 | 95 | 0.00094418 | 0.00023663 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_855-15_0_5_line_0 |  | 0 | 1 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_855-15_0_5_line_1 |  | 0 | 2 | 0.017884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_855-15_0_5_line_2 |  | 1 | 3 | 0.019604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_855-15_0_5_line_3 |  | 2 | 4 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_855-15_0_5_line_4 |  | 2 | 5 | 0.0020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_855-15_0_5_line_5 |  | 3 | 6 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_855-15_0_5_line_6 |  | 4 | 7 | 0.0050805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_855-15_0_5_line_7 |  | 5 | 8 | 0.01855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_855-15_0_5_line_8 |  | 6 | 9 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_855-15_0_5_line_9 |  | 7 | 10 | 0.025067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_855-15_0_5_line_10 |  | 8 | 11 | 0.026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_855-15_0_5_line_11 |  | 9 | 44 | 0.010647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_855-15_0_5_line_12 |  | 10 | 32 | 0.037011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_855-15_0_5_line_13 |  | 10 | 17 | 0.024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_855-15_0_5_line_14 |  | 12 | 13 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_855-15_0_5_line_15 |  | 13 | 14 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_855-15_0_5_line_16 |  | 14 | 15 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_855-15_0_5_line_17 |  | 15 | 18 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_855-15_0_5_line_18 |  | 16 | 17 | 0.0059945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_855-15_0_5_line_19 |  | 17 | 19 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_855-15_0_5_line_20 |  | 18 | 91 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_855-15_0_5_line_21 |  | 19 | 33 | 0.026062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_855-15_0_5_line_22 |  | 20 | 21 | 0.020351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_855-15_0_5_line_23 |  | 20 | 22 | 0.01796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_855-15_0_5_line_24 |  | 21 | 23 | 0.0027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_855-15_0_5_line_25 |  | 22 | 24 | 0.0088822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_855-15_0_5_line_26 |  | 23 | 27 | 0.046785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_855-15_0_5_line_27 |  | 23 | 25 | 0.052133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_855-15_0_5_line_28 |  | 24 | 28 | 0.00083578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_855-15_0_5_line_29 |  | 25 | 26 | 0.004662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_855-15_0_5_line_30 |  | 26 | 95 | 0.007326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_855-15_0_5_line_31 |  | 28 | 31 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_855-15_0_5_line_32 |  | 29 | 30 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_855-15_0_5_line_33 |  | 30 | 59 | 0.028947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_855-15_0_5_line_34 |  | 30 | 52 | 0.018627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_855-15_0_5_line_35 |  | 31 | 36 | 0.013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_855-15_0_5_line_36 |  | 32 | 34 | 0.027583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_855-15_0_5_line_37 |  | 33 | 35 | 0.0095252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_855-15_0_5_line_38 |  | 34 | 74 | 0.027078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_855-15_0_5_line_39 |  | 35 | 41 | 0.012852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_855-15_0_5_line_40 |  | 36 | 37 | 0.031672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_855-15_0_5_line_41 |  | 37 | 43 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_855-15_0_5_line_42 |  | 38 | 39 | 0.034781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_855-15_0_5_line_43 |  | 39 | 40 | 0.0086315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_855-15_0_5_line_44 |  | 40 | 65 | 0.0091159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_855-15_0_5_line_45 |  | 41 | 42 | 0.022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_855-15_0_5_line_46 |  | 42 | 91 | 0.013043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_855-15_0_5_line_47 |  | 43 | 86 | 0.023532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_855-15_0_5_line_48 |  | 44 | 45 | 0.023872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_855-15_0_5_line_49 |  | 45 | 46 | 0.004442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_855-15_0_5_line_50 |  | 46 | 60 | 0.01673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_855-15_0_5_line_51 |  | 47 | 48 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_855-15_0_5_line_52 |  | 47 | 49 | 0.011994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_855-15_0_5_line_53 |  | 48 | 50 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_855-15_0_5_line_54 |  | 49 | 51 | 0.02337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_855-15_0_5_line_55 |  | 49 | 52 | 0.0098004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_855-15_0_5_line_56 |  | 50 | 53 | 0.006433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_855-15_0_5_line_57 |  | 51 | 54 | 0.0036266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_855-15_0_5_line_58 |  | 51 | 55 | 0.036798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_855-15_0_5_line_59 |  | 53 | 56 | 0.0095718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_855-15_0_5_line_60 |  | 54 | 57 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_855-15_0_5_line_61 |  | 55 | 58 | 0.018159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_855-15_0_5_line_62 |  | 57 | 71 | 0.036391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_855-15_0_5_line_63 |  | 58 | 79 | 0.00062591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_855-15_0_5_line_64 |  | 59 | 89 | 0.0018705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_855-15_0_5_line_65 |  | 61 | 62 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_855-15_0_5_line_66 |  | 62 | 63 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_855-15_0_5_line_67 |  | 63 | 64 | 0.019269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_855-15_0_5_line_68 |  | 63 | 65 | 0.031071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_855-15_0_5_line_69 |  | 64 | 66 | 0.0092593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_855-15_0_5_line_70 |  | 66 | 91 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_855-15_0_5_line_71 |  | 67 | 68 | 0.048574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_855-15_0_5_line_72 |  | 67 | 69 | 0.0063281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_855-15_0_5_line_73 |  | 68 | 70 | 0.024316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_855-15_0_5_line_74 |  | 70 | 71 | 0.029058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_855-15_0_5_line_75 |  | 70 | 72 | 0.0031329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_855-15_0_5_line_76 |  | 71 | 73 | 0.016696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_855-15_0_5_line_77 |  | 72 | 74 | 0.022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_855-15_0_5_line_78 |  | 73 | 94 | 0.0022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_855-15_0_5_line_79 |  | 75 | 76 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_855-15_0_5_line_80 |  | 76 | 77 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_855-15_0_5_line_81 |  | 76 | 78 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_855-15_0_5_line_82 |  | 77 | 79 | 0.0075473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_855-15_0_5_line_83 |  | 78 | 80 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_855-15_0_5_line_84 |  | 78 | 81 | 0.036763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_855-15_0_5_line_85 |  | 81 | 82 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_855-15_0_5_line_86 |  | 82 | 83 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_855-15_0_5_line_87 |  | 84 | 85 | 0.004506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_855-15_0_5_line_88 |  | 85 | 86 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_855-15_0_5_line_89 |  | 86 | 87 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_855-15_0_5_line_90 |  | 87 | 88 | 0.0063337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_855-15_0_5_line_91 |  | 89 | 92 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_855-15_0_5_line_92 |  | 89 | 90 | 0.0093365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_855-15_0_5_line_93 |  | 92 | 93 | 0.00426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_855-15_0_5_line_94 |  | 94 | 95 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_855-15_0_5_trafo_78 | 0.63 MVA 20/0.4 kV | 96 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2593125.3192 | 1185244.8065 | 2593115.619 | 1185242.0311 | 2593108.646 | 1185239.9645
1 | 2593142.5134 | 1185249.7261 | 2593125.3192 | 1185244.8065
2 | 2593108.646 | 1185239.9645 | 2593089.8504 | 1185234.3941
3 | 2593142.5134 | 1185249.7261 | 2593142.5506 | 1185270.9499
4 | 2593142.5134 | 1185249.7261 | 2593144.5321 | 1185250.1853
5 | 2593070.0768 | 1185228.5339 | 2593089.8504 | 1185234.3941
6 | 2593142.5506 | 1185270.9499 | 2593142.5595 | 1185276.0304
7 | 2593162.5522 | 1185254.5828 | 2593150.3911 | 1185251.5179 | 2593144.5321 | 1185250.1853
8 | 2593070.0768 | 1185228.5339 | 2593057.0564 | 1185224.6751
9 | 2593142.6034 | 1185301.097 | 2593142.5595 | 1185276.0304
10 | 2593162.5522 | 1185254.5828 | 2593172.3454 | 1185257.051 | 2593188.07 | 1185260.6334
11 | 2593057.0564 | 1185224.6751 | 2593049.8971 | 1185222.5533 | 2593046.861 | 1185221.6068
12 | 2593142.6034 | 1185301.097 | 2593128.5079 | 1185300.7798 | 2593105.4923 | 1185301.2401
13 | 2593167.1999 | 1185301.6577 | 2593155.8363 | 1185301.1595 | 2593142.6034 | 1185301.097
14 | 2593201.0964 | 1185349.4275 | 2593197.2819 | 1185371.6285
15 | 2593193.5875 | 1185393.1302 | 2593197.2819 | 1185371.6285
16 | 2593193.5875 | 1185393.1302 | 2593190.4873 | 1185411.4098
17 | 2593190.4873 | 1185411.4098 | 2593176.6757 | 1185408.625
18 | 2593167.1999 | 1185301.6577 | 2593173.1711 | 1185302.1855
19 | 2593167.1999 | 1185301.6577 | 2593165.2516 | 1185321.3968
20 | 2593155.5664 | 1185404.3687 | 2593176.6757 | 1185408.625
21 | 2593162.567 | 1185347.32 | 2593164.1525 | 1185332.5328 | 2593165.2516 | 1185321.3968
22 | 2592915.9726 | 1185358.406 | 2592935.2667 | 1185364.88
23 | 2592915.9726 | 1185358.406 | 2592910.0583 | 1185356.4215 | 2592904.0302 | 1185363.2989 | 2592903.5798 | 1185365.8351
24 | 2592937.9008 | 1185365.7639 | 2592935.2667 | 1185364.88
25 | 2592902.0269 | 1185374.5805 | 2592903.5798 | 1185365.8351
26 | 2592937.9008 | 1185365.7639 | 2592966.3755 | 1185402.8857
27 | 2592986.4589 | 1185346.7923 | 2592937.9008 | 1185365.7639
28 | 2592902.0269 | 1185374.5805 | 2592901.8808 | 1185375.4034
29 | 2592986.4589 | 1185346.7923 | 2592987.3512 | 1185342.2164
30 | 2592987.3512 | 1185342.2164 | 2592988.7533 | 1185335.0259
31 | 2592899.0349 | 1185391.4306 | 2592901.8808 | 1185375.4034
32 | 2592883.5926 | 1185273.4993 | 2592878.8448 | 1185286.3281
33 | 2592883.5926 | 1185273.4993 | 2592871.1272 | 1185270.7461 | 2592862.4014 | 1185268.2109 | 2592855.6952 | 1185265.8965
34 | 2592883.5926 | 1185273.4993 | 2592897.9354 | 1185276.3613 | 2592901.8591 | 1185277.1462
35 | 2592899.0349 | 1185391.4306 | 2592892.2822 | 1185392.2613 | 2592886.1401 | 1185393.0802 | 2592886.1401 | 1185393.0802
36 | 2593105.4923 | 1185301.2401 | 2593088.3994 | 1185302.4051 | 2593079.8604 | 1185302.7708 | 2593077.9572 | 1185302.8102
37 | 2593162.567 | 1185347.32 | 2593161.7258 | 1185356.808
38 | 2593077.9572 | 1185302.8102 | 2593071.3287 | 1185302.9475 | 2593055.4933 | 1185302.6437 | 2593050.8895 | 1185302.4099
39 | 2593161.7258 | 1185356.808 | 2593160.5909 | 1185369.6101
40 | 2592886.1401 | 1185393.0802 | 2592874.4719 | 1185393.0942 | 2592859.5238 | 1185388.0096 | 2592855.6212 | 1185386.4178
41 | 2592843.9255 | 1185381.6474 | 2592855.6212 | 1185386.4178
42 | 2593102.147 | 1185377.4723 | 2593096.1453 | 1185343.2134
43 | 2593102.147 | 1185377.4723 | 2593110.7781 | 1185377.5623
44 | 2593119.7163 | 1185379.3528 | 2593110.7781 | 1185377.5623
45 | 2593158.6086 | 1185391.9694 | 2593160.5909 | 1185369.6101
46 | 2593155.5664 | 1185404.3687 | 2593157.8664 | 1185400.3417 | 2593158.6086 | 1185391.9694
47 | 2592851.3161 | 1185359.3047 | 2592843.9255 | 1185381.6474
48 | 2593024.0704 | 1185214.5017 | 2593046.861 | 1185221.6068
49 | 2593024.0704 | 1185214.5017 | 2593019.8753 | 1185213.0414
50 | 2593019.8753 | 1185213.0414 | 2593011.4351 | 1185210.1032 | 2593004.2452 | 1185207.098
51 | 2592913.5638 | 1185267.2591 | 2592915.7292 | 1185255.0512 | 2592915.6804 | 1185252.5277 | 2592915.0982 | 1185250.7053 | 2592914.3566 | 1185249.5722 | 2592912.7603 | 1185248.4847 | 2592910.0344 | 1185247.4208
52 | 2592911.4691 | 1185279.0687 | 2592913.5638 | 1185267.2591
53 | 2592910.0344 | 1185247.4208 | 2592890.869 | 1185239.9406
54 | 2592911.4691 | 1185279.0687 | 2592923.789 | 1185281.4552 | 2592934.4602 | 1185283.6103
55 | 2592911.4691 | 1185279.0687 | 2592901.8591 | 1185277.1462
56 | 2592884.8763 | 1185237.6016 | 2592890.869 | 1185239.9406
57 | 2592934.4602 | 1185283.6103 | 2592936.0479 | 1185283.9308 | 2592938.0179 | 1185284.3135
58 | 2592934.4602 | 1185283.6103 | 2592941.6622 | 1185247.5238
59 | 2592875.9596 | 1185234.1214 | 2592884.8763 | 1185237.6016
60 | 2592938.0179 | 1185284.3135 | 2592960.7057 | 1185288.7215
61 | 2592941.6622 | 1185247.5238 | 2592945.2162 | 1185229.7163
62 | 2592996.426 | 1185295.6763 | 2592974.435 | 1185291.389 | 2592960.7057 | 1185288.7215
63 | 2592945.2162 | 1185229.7163 | 2592945.3387 | 1185229.1025
64 | 2592853.9271 | 1185265.2863 | 2592855.6952 | 1185265.8965
65 | 2593119.1294 | 1185419.3297 | 2593105.8832 | 1185417.0777
66 | 2593121.6288 | 1185409.5885 | 2593119.1294 | 1185419.3297
67 | 2593121.6288 | 1185409.5885 | 2593125.7255 | 1185401.9798 | 2593128.8752 | 1185400.253 | 2593135.8575 | 1185401.1182
68 | 2593121.6288 | 1185409.5885 | 2593121.9783 | 1185382.0071 | 2593119.7163 | 1185379.3528 | 2593119.7163 | 1185379.3528
69 | 2593144.9943 | 1185402.6182 | 2593136.1641 | 1185401.1561 | 2593135.8575 | 1185401.1182
70 | 2593155.5664 | 1185404.3687 | 2593144.9943 | 1185402.6182
71 | 2593032.7981 | 1185361.7064 | 2593020.0215 | 1185359.8038 | 2593019.2969 | 1185353.6904 | 2593022.5534 | 1185324.3707
72 | 2593039.0572 | 1185362.6384 | 2593032.7981 | 1185361.7064
73 | 2593025.2092 | 1185300.2002 | 2593024.1599 | 1185309.9065 | 2593022.5534 | 1185324.3707
74 | 2593025.2092 | 1185300.2002 | 2593010.8141 | 1185298.1828 | 2592996.426 | 1185295.6763
75 | 2593025.2092 | 1185300.2002 | 2593028.3176 | 1185300.5911
76 | 2592996.426 | 1185295.6763 | 2592993.2306 | 1185312.0639
77 | 2593028.3176 | 1185300.5911 | 2593030.552 | 1185300.8721 | 2593039.6573 | 1185301.8396 | 2593050.8895 | 1185302.4099
78 | 2592992.7955 | 1185314.2956 | 2592993.2306 | 1185312.0639
79 | 2592915.3198 | 1185212.6743 | 2592914.823 | 1185212.0301 | 2592914.3864 | 1185210.7299 | 2592914.4535 | 1185209.3514 | 2592915.5099 | 1185205.726 | 2592916.8186 | 1185202.4783 | 2592924.0178 | 1185191.2103
80 | 2592915.3198 | 1185212.6743 | 2592938.7179 | 1185225.4792
81 | 2592901.0851 | 1185211.0349 | 2592906.713 | 1185213.9296 | 2592909.5219 | 1185214.3932 | 2592912.1012 | 1185214.2678 | 2592913.6801 | 1185213.5545 | 2592915.3198 | 1185212.6743
82 | 2592945.3387 | 1185229.1025 | 2592945.3387 | 1185229.1025 | 2592938.7179 | 1185225.4792
83 | 2592901.0851 | 1185211.0349 | 2592898.9025 | 1185199.7538
84 | 2592901.0851 | 1185211.0349 | 2592896.3435 | 1185208.9728 | 2592868.6358 | 1185193.7957
85 | 2592850.6671 | 1185181.9916 | 2592856.3282 | 1185187.0541 | 2592868.6358 | 1185193.7957
86 | 2592850.6671 | 1185181.9916 | 2592844.8541 | 1185183.7662 | 2592839.2549 | 1185185.7518 | 2592833.6256 | 1185188.0042 | 2592830.3798 | 1185189.514
87 | 2592858.3945 | 1185340.4681 | 2592856.8094 | 1185344.6861
88 | 2592851.3161 | 1185359.3047 | 2592856.8094 | 1185344.6861
89 | 2592851.3161 | 1185359.3047 | 2592831.4439 | 1185351.6561
90 | 2592825.5329 | 1185349.381 | 2592831.4439 | 1185351.6561
91 | 2592853.9271 | 1185265.2863 | 2592845.6662 | 1185262.2169 | 2592837.6339 | 1185258.9249 | 2592837.0035 | 1185258.6445
92 | 2592853.9271 | 1185265.2863 | 2592860.3598 | 1185258.5195
93 | 2592833.111 | 1185256.9137 | 2592837.0035 | 1185258.6445
94 | 2592992.7955 | 1185314.2956 | 2592988.7533 | 1185335.0259

## bus_geodata
| x | y | coords
0 | 2593125.3192 | 1185244.8065
1 | 2593108.646 | 1185239.9646
2 | 2593142.5134 | 1185249.7261
3 | 2593089.8504 | 1185234.3941
4 | 2593142.5506 | 1185270.9499
5 | 2593144.5321 | 1185250.1853
6 | 2593070.0767 | 1185228.5339
7 | 2593142.5595 | 1185276.0304
8 | 2593162.5522 | 1185254.5828
9 | 2593057.0564 | 1185224.6751
10 | 2593142.6034 | 1185301.097
11 | 2593188.07 | 1185260.6334
12 | 2593201.0964 | 1185349.4275
13 | 2593197.2819 | 1185371.6285
14 | 2593193.5875 | 1185393.1302
15 | 2593190.4873 | 1185411.4098
16 | 2593173.1711 | 1185302.1855
17 | 2593167.1999 | 1185301.6577
18 | 2593176.6757 | 1185408.625
19 | 2593165.2516 | 1185321.3968
20 | 2592915.9726 | 1185358.406
21 | 2592935.2667 | 1185364.88
22 | 2592903.5798 | 1185365.8351
23 | 2592937.9008 | 1185365.7639
24 | 2592902.0269 | 1185374.5805
25 | 2592986.4589 | 1185346.7923
26 | 2592987.3512 | 1185342.2164
27 | 2592966.3755 | 1185402.8857
28 | 2592901.8808 | 1185375.4034
29 | 2592878.8448 | 1185286.3281
30 | 2592883.5926 | 1185273.4993
31 | 2592899.0349 | 1185391.4306
32 | 2593105.4923 | 1185301.2401
33 | 2593162.567 | 1185347.32
34 | 2593077.9572 | 1185302.8102
35 | 2593161.7258 | 1185356.808
36 | 2592886.1401 | 1185393.0802
37 | 2592855.6212 | 1185386.4178
38 | 2593096.1453 | 1185343.2134
39 | 2593102.147 | 1185377.4723
40 | 2593110.7781 | 1185377.5623
41 | 2593160.5909 | 1185369.6101
42 | 2593158.6086 | 1185391.9694
43 | 2592843.9255 | 1185381.6474
44 | 2593046.861 | 1185221.6068
45 | 2593024.0704 | 1185214.5017
46 | 2593019.8753 | 1185213.0414
47 | 2592913.5638 | 1185267.2591
48 | 2592910.0344 | 1185247.4208
49 | 2592911.4691 | 1185279.0687
50 | 2592890.869 | 1185239.9406
51 | 2592934.4602 | 1185283.6103
52 | 2592901.8591 | 1185277.1462
53 | 2592884.8763 | 1185237.6016
54 | 2592938.0179 | 1185284.3135
55 | 2592941.6622 | 1185247.5238
56 | 2592875.9596 | 1185234.1214
57 | 2592960.7057 | 1185288.7215
58 | 2592945.2162 | 1185229.7163
59 | 2592855.6952 | 1185265.8965
60 | 2593004.2452 | 1185207.098
61 | 2593105.8832 | 1185417.0777
62 | 2593119.1294 | 1185419.3297
63 | 2593121.6288 | 1185409.5885
64 | 2593135.8575 | 1185401.1182
65 | 2593119.7163 | 1185379.3528
66 | 2593144.9943 | 1185402.6182
67 | 2593032.7981 | 1185361.7064
68 | 2593022.5534 | 1185324.3707
69 | 2593039.0572 | 1185362.6384
70 | 2593025.2092 | 1185300.2002
71 | 2592996.426 | 1185295.6763
72 | 2593028.3176 | 1185300.5911
73 | 2592993.2306 | 1185312.0639
74 | 2593050.8895 | 1185302.4099
75 | 2592924.0178 | 1185191.2103
76 | 2592915.3198 | 1185212.6743
77 | 2592938.7179 | 1185225.4792
78 | 2592901.0851 | 1185211.0349
79 | 2592945.3387 | 1185229.1025
80 | 2592898.9025 | 1185199.7538
81 | 2592868.6358 | 1185193.7957
82 | 2592850.6671 | 1185181.9916
83 | 2592830.3798 | 1185189.514
84 | 2592858.3945 | 1185340.4681
85 | 2592856.8094 | 1185344.6861
86 | 2592851.3161 | 1185359.3047
87 | 2592831.4439 | 1185351.6561
88 | 2592825.5329 | 1185349.381
89 | 2592853.9271 | 1185265.2863
90 | 2592860.3598 | 1185258.5195
91 | 2593155.5664 | 1185404.3687
92 | 2592837.0035 | 1185258.6445
93 | 2592833.111 | 1185256.9137
94 | 2592992.7954 | 1185314.2956
95 | 2592988.7533 | 1185335.0259
96 | 2592934.4602 | 1185283.6103

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1