## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_855-1_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_855-1_0_1_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_855-1_0_1_node_225 | 0.4 | n |  | TRUE
3 | bus_LV_855-1_0_1_node_390 | 0.4 | n |  | TRUE
4 | bus_LV_855-1_0_1_node_289 | 0.4 | n |  | TRUE
5 | bus_LV_855-1_0_1_node_391 | 0.4 | n |  | TRUE
6 | bus_LV_855-1_0_1_node_392 | 0.4 | n |  | TRUE
7 | bus_LV_855-1_0_1_node_393 | 0.4 | n |  | TRUE
8 | bus_LV_855-1_0_1_node_396 | 0.4 | n |  | TRUE
9 | bus_LV_855-1_0_1_node_397 | 0.4 | n |  | TRUE
10 | bus_LV_855-1_0_1_node_395 | 0.4 | n |  | TRUE
11 | bus_LV_855-1_0_1_node_394 | 0.4 | n |  | TRUE
12 | bus_LV_855-1_0_1_node_378 | 0.4 | n |  | TRUE
13 | bus_LV_855-1_0_1_node_401 | 0.4 | n |  | TRUE
14 | bus_LV_855-1_0_1_node_377 | 0.4 | n |  | TRUE
15 | bus_LV_855-1_0_1_node_375 | 0.4 | n |  | TRUE
16 | bus_LV_855-1_0_1_node_376 | 0.4 | n |  | TRUE
17 | bus_LV_855-1_0_1_node_398 | 0.4 | n |  | TRUE
18 | bus_LV_855-1_0_1_node_399 | 0.4 | n |  | TRUE
19 | bus_LV_855-1_0_1_node_400 | 0.4 | n |  | TRUE
20 | bus_LV_855-1_0_1_node_272 | 0.4 | n |  | TRUE
21 | bus_LV_855-1_0_1_node_273 | 0.4 | n |  | TRUE
22 | bus_LV_855-1_0_1_node_366 | 0.4 | n |  | TRUE
23 | bus_LV_855-1_0_1_node_368 | 0.4 | n |  | TRUE
24 | bus_LV_855-1_0_1_node_276 | 0.4 | n |  | TRUE
25 | bus_LV_855-1_0_1_node_216 | 0.4 | n |  | TRUE
26 | bus_LV_855-1_0_1_node_277 | 0.4 | n |  | TRUE
27 | bus_LV_855-1_0_1_node_288 | 0.4 | n |  | TRUE
28 | bus_LV_855-1_0_1_node_360 | 0.4 | n |  | TRUE
29 | bus_LV_855-1_0_1_node_359 | 0.4 | n |  | TRUE
30 | bus_LV_855-1_0_1_node_362 | 0.4 | n |  | TRUE
31 | bus_LV_855-1_0_1_node_363 | 0.4 | n |  | TRUE
32 | bus_LV_855-1_0_1_node_280 | 0.4 | n |  | TRUE
33 | bus_LV_855-1_0_1_node_241 | 0.4 | n |  | TRUE
34 | bus_LV_855-1_0_1_node_281 | 0.4 | n |  | TRUE
35 | bus_LV_855-1_0_1_node_282 | 0.4 | n |  | TRUE
36 | bus_LV_855-1_0_1_node_283 | 0.4 | n |  | TRUE
37 | bus_LV_855-1_0_1_node_291 | 0.4 | n |  | TRUE
38 | bus_LV_855-1_0_1_node_284 | 0.4 | n |  | TRUE
39 | bus_LV_855-1_0_1_node_245 | 0.4 | n |  | TRUE
40 | bus_LV_855-1_0_1_node_255 | 0.4 | n |  | TRUE
41 | bus_LV_855-1_0_1_node_361 | 0.4 | n |  | TRUE
42 | bus_LV_855-1_0_1_node_364 | 0.4 | n |  | TRUE
43 | bus_LV_855-1_0_1_node_365 | 0.4 | n |  | TRUE
44 | bus_LV_855-1_0_1_node_367 | 0.4 | n |  | TRUE
45 | bus_LV_855-1_0_1_node_411 | 0.4 | n |  | TRUE
46 | bus_LV_855-1_0_1_node_248 | 0.4 | n |  | TRUE
47 | bus_LV_855-1_0_1_node_372 | 0.4 | n |  | TRUE
48 | bus_LV_855-1_0_1_node_369 | 0.4 | n |  | TRUE
49 | bus_LV_855-1_0_1_node_379 | 0.4 | n |  | TRUE
50 | bus_LV_855-1_0_1_node_213 | 0.4 | n |  | TRUE
51 | bus_LV_855-1_0_1_node_217 | 0.4 | n |  | TRUE
52 | bus_LV_855-1_0_1_node_373 | 0.4 | n |  | TRUE
53 | bus_LV_855-1_0_1_node_374 | 0.4 | n |  | TRUE
54 | bus_LV_855-1_0_1_node_380 | 0.4 | n |  | TRUE
55 | bus_LV_855-1_0_1_node_223 | 0.4 | n |  | TRUE
56 | bus_LV_855-1_0_1_node_232 | 0.4 | n |  | TRUE
57 | bus_LV_855-1_0_1_node_233 | 0.4 | n |  | TRUE
58 | bus_LV_855-1_0_1_node_234 | 0.4 | n |  | TRUE
59 | bus_LV_855-1_0_1_node_235 | 0.4 | n |  | TRUE
60 | bus_LV_855-1_0_1_node_236 | 0.4 | n |  | TRUE
61 | bus_LV_855-1_0_1_node_237 | 0.4 | n |  | TRUE
62 | bus_LV_855-1_0_1_node_238 | 0.4 | n |  | TRUE
63 | bus_LV_855-1_0_1_node_239 | 0.4 | n |  | TRUE
64 | bus_LV_855-1_0_1_node_240 | 0.4 | n |  | TRUE
65 | bus_LV_855-1_0_1_node_244 | 0.4 | n |  | TRUE
66 | bus_LV_855-1_0_1_node_242 | 0.4 | n |  | TRUE
67 | bus_LV_855-1_0_1_node_249 | 0.4 | n |  | TRUE
68 | bus_LV_855-1_0_1_node_243 | 0.4 | n |  | TRUE
69 | bus_LV_855-1_0_1_node_246 | 0.4 | n |  | TRUE
70 | bus_LV_855-1_0_1_node_247 | 0.4 | n |  | TRUE
71 | bus_LV_855-1_0_1_node_370 | 0.4 | n |  | TRUE
72 | bus_LV_855-1_0_1_node_371 | 0.4 | n |  | TRUE
73 | bus_MV_0_node_397 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_855-1_0_1_load_0 | 0 | 0.0062298 | 0.0015613 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_855-1_0_1_load_225 | 2 | 0.005403 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_855-1_0_1_load_390 | 3 | 0.00015573 | 3.903e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_855-1_0_1_load_289 | 4 | 0.00098464 | 0.00024677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_855-1_0_1_load_392 | 6 | 0.00011846 | 2.9688e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_855-1_0_1_load_396 | 8 | 0.00014571 | 3.6519e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_855-1_0_1_load_397 | 9 | 0.00020383 | 5.1084e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_855-1_0_1_load_395 | 10 | 0.00081452 | 0.00020414 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_855-1_0_1_load_394 | 11 | 0.00028498 | 7.1423e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_855-1_0_1_load_401 | 13 | 0.00011684 | 2.9282e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_855-1_0_1_load_377 | 14 | 0.00025329 | 6.3479e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_855-1_0_1_load_398 | 17 | 0.00059243 | 0.00014848 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_855-1_0_1_load_399 | 18 | 0.00019862 | 4.9779e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_855-1_0_1_load_400 | 19 | 0.00090461 | 0.00022672 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_855-1_0_1_load_272 | 20 | 0.00060059 | 0.00015052 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_855-1_0_1_load_273 | 21 | 0.0027973 | 0.00070107 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_855-1_0_1_load_366 | 22 | 0.0034231 | 0.00085792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_855-1_0_1_load_368 | 23 | 0.0002497 | 6.258e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_855-1_0_1_load_216 | 25 | 0.00021212 | 5.3161e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_855-1_0_1_load_288 | 27 | 0.00021424 | 5.3694e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_855-1_0_1_load_359 | 29 | 0.0012557 | 0.00031472 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_855-1_0_1_load_280 | 32 | 0.00031678 | 7.9393e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_855-1_0_1_load_241 | 33 | 0.00033169 | 8.313e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_855-1_0_1_load_281 | 34 | 0.00030491 | 7.6417e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_855-1_0_1_load_283 | 36 | 0.00072655 | 0.00018209 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_855-1_0_1_load_291 | 37 | 0.001149 | 0.00028796 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_855-1_0_1_load_245 | 39 | 0.00058174 | 0.0001458 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_855-1_0_1_load_255 | 40 | 0.00033017 | 8.2749e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_855-1_0_1_load_364 | 42 | 0.0015235 | 0.00038184 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_855-1_0_1_load_365 | 43 | 0.0051305 | 0.0012858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_855-1_0_1_load_367 | 44 | 0.00049749 | 0.00012468 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_855-1_0_1_load_411 | 45 | 0.00060503 | 0.00015164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_855-1_0_1_load_372 | 47 | 0.00013218 | 3.3128e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_855-1_0_1_load_369 | 48 | 0.001874 | 0.00046966 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_855-1_0_1_load_379 | 49 | 0.0015493 | 0.00038828 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_855-1_0_1_load_213 | 50 | 0.002735 | 0.00068545 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_855-1_0_1_load_217 | 51 | 0.00075513 | 0.00018925 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_855-1_0_1_load_373 | 52 | 0.00187 | 0.00046868 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_855-1_0_1_load_380 | 54 | 0.0034086 | 0.00085428 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_855-1_0_1_load_223 | 55 | 0.0054648 | 0.0013696 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_855-1_0_1_load_232 | 56 | 0.00062478 | 0.00015659 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_855-1_0_1_load_233 | 57 | 0.00024332 | 6.0982e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_855-1_0_1_load_238 | 62 | 0.00058332 | 0.00014619 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_855-1_0_1_load_240 | 64 | 0.0002882 | 7.2231e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_855-1_0_1_load_244 | 65 | 0.00050092 | 0.00012554 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_855-1_0_1_load_242 | 66 | 0.00035019 | 8.7765e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_855-1_0_1_load_249 | 67 | 0.00070512 | 0.00017672 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_855-1_0_1_load_246 | 69 | 0.00018769 | 4.7039e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_855-1_0_1_load_370 | 71 | 0.00023657 | 5.9291e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_855-1_0_1_load_371 | 72 | 0.0006083 | 0.00015245 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_855-1_0_1_line_0 |  | 0 | 1 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_855-1_0_1_line_1 |  | 1 | 2 | 0.084818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_855-1_0_1_line_2 |  | 2 | 55 | 0.021122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_855-1_0_1_line_3 |  | 3 | 4 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_855-1_0_1_line_4 |  | 3 | 5 | 0.04681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_855-1_0_1_line_5 |  | 4 | 26 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_855-1_0_1_line_6 |  | 5 | 6 | 0.060259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_855-1_0_1_line_7 |  | 6 | 7 | 0.039929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_855-1_0_1_line_8 |  | 7 | 8 | 0.03132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_855-1_0_1_line_9 |  | 7 | 9 | 0.004069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_855-1_0_1_line_10 |  | 7 | 10 | 0.022845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_855-1_0_1_line_11 |  | 8 | 13 | 0.0085924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_855-1_0_1_line_12 |  | 10 | 11 | 0.055075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_855-1_0_1_line_13 |  | 11 | 12 | 0.047809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_855-1_0_1_line_14 |  | 12 | 15 | 0.00381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_855-1_0_1_line_15 |  | 13 | 19 | 0.0015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_855-1_0_1_line_16 |  | 14 | 15 | 0.012378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_855-1_0_1_line_17 |  | 14 | 16 | 0.0073782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_855-1_0_1_line_18 |  | 15 | 49 | 0.028014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_855-1_0_1_line_19 |  | 15 | 52 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_855-1_0_1_line_20 |  | 16 | 53 | 0.026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_855-1_0_1_line_21 |  | 17 | 18 | 0.002775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_855-1_0_1_line_22 |  | 17 | 19 | 0.004299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_855-1_0_1_line_23 |  | 18 | 23 | 0.0047224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_855-1_0_1_line_24 |  | 20 | 21 | 3.719e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_855-1_0_1_line_25 |  | 21 | 22 | 0.38229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_855-1_0_1_line_26 |  | 22 | 30 | 0.049242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_855-1_0_1_line_27 |  | 23 | 42 | 0.030747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_855-1_0_1_line_28 |  | 24 | 25 | 0.35092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_855-1_0_1_line_29 |  | 24 | 26 | 0.11549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_855-1_0_1_line_30 |  | 25 | 51 | 0.001194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_855-1_0_1_line_31 |  | 26 | 27 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_855-1_0_1_line_32 |  | 27 | 47 | 0.16462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_855-1_0_1_line_33 |  | 28 | 29 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_855-1_0_1_line_34 |  | 28 | 30 | 0.049656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_855-1_0_1_line_35 |  | 28 | 31 | 0.055885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_855-1_0_1_line_36 |  | 29 | 41 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_855-1_0_1_line_37 |  | 30 | 44 | 0.018107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_855-1_0_1_line_38 |  | 31 | 36 | 0.1495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_855-1_0_1_line_39 |  | 32 | 33 | 0.00046111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_855-1_0_1_line_40 |  | 32 | 34 | 0.010851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_855-1_0_1_line_41 |  | 33 | 61 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_855-1_0_1_line_42 |  | 34 | 35 | 0.13469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_855-1_0_1_line_43 |  | 35 | 36 | 0.1294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_855-1_0_1_line_44 |  | 36 | 37 | 0.099205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_855-1_0_1_line_45 |  | 38 | 39 | 0.093405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_855-1_0_1_line_46 |  | 38 | 40 | 0.054513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_855-1_0_1_line_47 |  | 39 | 69 | 0.051252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_855-1_0_1_line_48 |  | 41 | 42 | 0.050321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_855-1_0_1_line_49 |  | 41 | 43 | 0.044826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_855-1_0_1_line_50 |  | 43 | 48 | 0.03758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_855-1_0_1_line_51 |  | 45 | 46 | 0.092007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_855-1_0_1_line_52 |  | 46 | 68 | 0.12686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_855-1_0_1_line_53 |  | 46 | 70 | 0.025077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_855-1_0_1_line_54 |  | 47 | 72 | 0.034801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_855-1_0_1_line_55 |  | 50 | 51 | 0.15373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_855-1_0_1_line_56 |  | 53 | 54 | 0.3308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_855-1_0_1_line_57 |  | 54 | 55 | 0.090422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_855-1_0_1_line_58 |  | 56 | 57 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_855-1_0_1_line_59 |  | 56 | 58 | 0.01062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_855-1_0_1_line_60 |  | 58 | 59 | 0.028813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_855-1_0_1_line_61 |  | 58 | 60 | 0.061863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_855-1_0_1_line_62 |  | 59 | 61 | 0.043222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_855-1_0_1_line_63 |  | 59 | 62 | 0.03446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_855-1_0_1_line_64 |  | 60 | 63 | 0.092754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_855-1_0_1_line_65 |  | 60 | 64 | 0.023952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_855-1_0_1_line_66 |  | 62 | 65 | 0.13903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_855-1_0_1_line_67 |  | 63 | 66 | 0.08489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_855-1_0_1_line_68 |  | 64 | 67 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_855-1_0_1_line_69 |  | 65 | 68 | 0.061587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_855-1_0_1_line_70 |  | 69 | 70 | 0.050284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_855-1_0_1_line_71 |  | 71 | 72 | 0.02523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_855-1_0_1_trafo_397 | 0.63 MVA 20/0.4 kV | 73 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2594184.0811 | 1190217.2808 | 2594188.4382 | 1190220.5226 | 2594200.1464 | 1190225.0718
1 | 2594204.4736 | 1190134.951 | 2594184.0811 | 1190217.2808
2 | 2594204.4736 | 1190134.951 | 2594207.0301 | 1190137.0718 | 2594218.4393 | 1190123.4091
3 | 2594407.8044 | 1189641.375 | 2594394.2867 | 1189644.3894 | 2594388.0072 | 1189642.6509
4 | 2594345.0047 | 1189624.337 | 2594362.6439 | 1189632.9357 | 2594383.4018 | 1189641.3759 | 2594388.0072 | 1189642.6509
5 | 2594433.2151 | 1189634.8476 | 2594422.5564 | 1189637.17 | 2594407.8044 | 1189641.375
6 | 2594345.0047 | 1189624.337 | 2594330.6853 | 1189618.381 | 2594312.2524 | 1189609.1605 | 2594294.0576 | 1189601.8076 | 2594290.072 | 1189603.9304
7 | 2594261.5774 | 1189631.4879 | 2594278.9376 | 1189611.8385 | 2594286.2375 | 1189605.9729 | 2594290.072 | 1189603.9304
8 | 2594261.5774 | 1189631.4879 | 2594240.509 | 1189608.3131
9 | 2594261.5774 | 1189631.4879 | 2594259.4983 | 1189634.3247 | 2594259.853 | 1189634.7474
10 | 2594261.5774 | 1189631.4879 | 2594268.9752 | 1189640.1519 | 2594277.114 | 1189648.2089
11 | 2594234.6932 | 1189601.9883 | 2594237.2019 | 1189604.6754 | 2594240.509 | 1189608.3131
12 | 2594319.4386 | 1189683.259 | 2594319.4386 | 1189683.259 | 2594303.4414 | 1189669.1225 | 2594285.2872 | 1189656.3001 | 2594277.114 | 1189648.2089
13 | 2594345.6485 | 1189723.2436 | 2594319.4386 | 1189683.259
14 | 2594345.6485 | 1189723.2436 | 2594342.4859 | 1189725.3811
15 | 2594234.6932 | 1189601.9883 | 2594233.6221 | 1189600.841
16 | 2594342.4859 | 1189725.3811 | 2594347.7379 | 1189736.5901
17 | 2594350.8684 | 1189743.2713 | 2594347.7379 | 1189736.5901
18 | 2594342.4859 | 1189725.3811 | 2594329.1051 | 1189703.9827 | 2594327.3331 | 1189701.8453
19 | 2594342.4859 | 1189725.3811 | 2594318.4882 | 1189741.6348
20 | 2594350.8684 | 1189743.2713 | 2594344.7597 | 1189758.5962 | 2594339.3688 | 1189767.0947
21 | 2594230.6883 | 1189597.6986 | 2594229.1864 | 1189596.0898 | 2594228.7346 | 1189595.7357
22 | 2594230.6883 | 1189597.6986 | 2594233.6221 | 1189600.841
23 | 2594228.7346 | 1189595.7357 | 2594225.0179 | 1189592.8225
24 | 2594369.5547 | 1189141.5247 | 2594369.5586 | 1189141.5617
25 | 2594146.2417 | 1189451.8406 | 2594369.5586 | 1189141.5617
26 | 2594146.2417 | 1189451.8406 | 2594139.9501 | 1189474.8811 | 2594158.529 | 1189492.1939
27 | 2594225.0179 | 1189592.8225 | 2594213.5337 | 1189583.821 | 2594199.7608 | 1189575.3758
28 | 2594464.4099 | 1189534.6549 | 2594812.922 | 1189493.6279
29 | 2594464.4099 | 1189534.6549 | 2594466.5412 | 1189554.8523 | 2594465.8743 | 1189575.5748 | 2594465.5122 | 1189596.0303 | 2594459.2914 | 1189614.3235 | 2594453.4288 | 1189624.2675 | 2594446.4872 | 1189630.1326 | 2594433.2151 | 1189634.8476
30 | 2594814.0615 | 1189493.2713 | 2594812.922 | 1189493.6279
31 | 2594433.2151 | 1189634.8476 | 2594440.9621 | 1189642.1107 | 2594445.1901 | 1189644.9844
32 | 2594445.1901 | 1189644.9844 | 2594553.3577 | 1189769.0792
33 | 2594127.3314 | 1189530.8895 | 2594141.6006 | 1189539.659
34 | 2594127.3314 | 1189530.8895 | 2594158.529 | 1189492.1939
35 | 2594127.3314 | 1189530.8895 | 2594102.952 | 1189516.3951 | 2594080.6144 | 1189500.1312
36 | 2594156.877 | 1189549.0475 | 2594141.6006 | 1189539.659
37 | 2594158.529 | 1189492.1939 | 2594163.0694 | 1189487.4648 | 2594168.7903 | 1189477.4295
38 | 2594080.6144 | 1189500.1312 | 2594055.1468 | 1189472.987 | 2594039.4684 | 1189451.0691 | 2594027.639 | 1189427.013 | 2594019.1026 | 1189401.7084 | 2594010.5171 | 1189371.0688
39 | 2593808.9901 | 1189218.6286 | 2593809.4314 | 1189218.7622
40 | 2593809.4314 | 1189218.7622 | 2593819.8171 | 1189221.9062
41 | 2593798.3062 | 1189215.3943 | 2593808.9901 | 1189218.6286
42 | 2593949.4134 | 1189258.5824 | 2593819.8171 | 1189221.9062
43 | 2593949.4134 | 1189258.5824 | 2593975.2008 | 1189291.3065 | 2593992.9168 | 1189321.4598 | 2594003.1673 | 1189344.8393 | 2594010.5171 | 1189371.0688
44 | 2594010.5171 | 1189371.0688 | 2593911.3551 | 1189373.9928
45 | 2593558.0278 | 1189133.1869 | 2593492.4642 | 1189199.7146
46 | 2593492.4642 | 1189199.7146 | 2593487.5118 | 1189197.0854 | 2593485.2368 | 1189194.9757 | 2593483.5327 | 1189191.8315 | 2593472.3602 | 1189164.3294 | 2593465.9519 | 1189153.5476
47 | 2593558.0278 | 1189133.1869 | 2593553.3158 | 1189116.3601 | 2593555.031 | 1189101.6728 | 2593555.3253 | 1189082.6846
48 | 2594156.877 | 1189549.0475 | 2594161.9819 | 1189552.2107 | 2594199.7608 | 1189575.3758
49 | 2594156.877 | 1189549.0475 | 2594151.8726 | 1189554.9221 | 2594142.3413 | 1189555.9877 | 2594132.9866 | 1189558.3649 | 2594123.3585 | 1189569.5136 | 2594121.6804 | 1189572.1626
50 | 2594109.1198 | 1189606.5329 | 2594114.3142 | 1189600.1497 | 2594118.0592 | 1189577.8788 | 2594121.6804 | 1189572.1626
51 | 2593477.5563 | 1189014.4567 | 2593483.492 | 1189016.4957 | 2593486.1497 | 1189019.75 | 2593490.9222 | 1189025.092 | 2593497.0039 | 1189028.0979 | 2593504.1671 | 1189029.7243 | 2593512.1442 | 1189029.5043 | 2593521.5528 | 1189027.0482 | 2593531.6439 | 1189021.0785 | 2593554.2898 | 1189009.4033 | 2593559.8187 | 1189009.0193
52 | 2593559.8187 | 1189009.0193 | 2593686.6734 | 1189010.0275
53 | 2593551.6764 | 1189032.7405 | 2593559.8187 | 1189009.0193
54 | 2594569.4894 | 1189799.9158 | 2594553.3577 | 1189769.0792
55 | 2594814.0615 | 1189493.2713 | 2594963.2785 | 1189456.3116
56 | 2594339.3688 | 1189767.0947 | 2594166.6977 | 1190049.2545
57 | 2594218.4393 | 1190123.4091 | 2594166.6977 | 1190049.2545
58 | 2593724.1136 | 1189223.9362 | 2593716.7252 | 1189220.8054 | 2593712.6483 | 1189216.6743 | 2593710.7165 | 1189211.0765
59 | 2593733.8922 | 1189228.0799 | 2593724.1136 | 1189223.9362
60 | 2593755.4405 | 1189210.0922 | 2593741.7967 | 1189217.1214 | 2593733.8922 | 1189228.0799
61 | 2593733.8922 | 1189228.0799 | 2593728.5872 | 1189252.4538 | 2593724.8026 | 1189264.9087 | 2593711.035 | 1189284.4669
62 | 2593755.4405 | 1189210.0922 | 2593790.1969 | 1189212.9459 | 2593798.3062 | 1189215.3943
63 | 2593755.4405 | 1189210.0922 | 2593748.6227 | 1189176.3134
64 | 2593711.035 | 1189284.4669 | 2593703.8065 | 1189285.6196 | 2593693.5303 | 1189282.1843 | 2593674.1585 | 1189266.986 | 2593664.2067 | 1189260.3598 | 2593649.2171 | 1189256.7074 | 2593626.4886 | 1189254.7308
65 | 2593711.035 | 1189284.4669 | 2593708.9989 | 1189298.8877 | 2593705.0572 | 1189307.4087
66 | 2593748.6227 | 1189176.3134 | 2593738.0757 | 1189037.6873
67 | 2593626.4886 | 1189254.7308 | 2593643.2965 | 1189247.1976 | 2593651.9433 | 1189238.7061 | 2593658.2536 | 1189227.6158 | 2593659.5891 | 1189214.2074 | 2593655.1659 | 1189193.0233 | 2593654.0152 | 1189186.6504
68 | 2593700.0054 | 1189318.3296 | 2593705.0572 | 1189307.4087
69 | 2593686.6734 | 1189010.0275 | 2593709.9803 | 1189024.2657 | 2593717.2937 | 1189023.7687 | 2593731.1779 | 1189027.3448 | 2593736.8433 | 1189033.4864 | 2593738.0757 | 1189037.6873
70 | 2593551.6764 | 1189032.7405 | 2593553.9201 | 1189041.0424 | 2593555.4942 | 1189071.7901 | 2593555.3253 | 1189082.6846
71 | 2594581.0964 | 1189822.3083 | 2594580.7483 | 1189821.8413 | 2594571.1762 | 1189803.1403 | 2594569.4894 | 1189799.9158

## bus_geodata
| x | y | coords
0 | 2594200.1464 | 1190225.0718
1 | 2594184.0811 | 1190217.2808
2 | 2594204.4736 | 1190134.951
3 | 2594388.0072 | 1189642.6509
4 | 2594407.8044 | 1189641.375
5 | 2594345.0047 | 1189624.337
6 | 2594290.072 | 1189603.9304
7 | 2594261.5774 | 1189631.4879
8 | 2594240.509 | 1189608.3131
9 | 2594259.853 | 1189634.7474
10 | 2594277.114 | 1189648.2089
11 | 2594319.4386 | 1189683.259
12 | 2594345.6485 | 1189723.2436
13 | 2594234.6932 | 1189601.9883
14 | 2594347.7379 | 1189736.5901
15 | 2594342.4859 | 1189725.3811
16 | 2594350.8684 | 1189743.2713
17 | 2594230.6883 | 1189597.6986
18 | 2594228.7346 | 1189595.7357
19 | 2594233.6221 | 1189600.841
20 | 2594369.5547 | 1189141.5247
21 | 2594369.5586 | 1189141.5617
22 | 2594146.2417 | 1189451.8406
23 | 2594225.0179 | 1189592.8225
24 | 2594464.4099 | 1189534.6549
25 | 2594812.922 | 1189493.6279
26 | 2594433.2151 | 1189634.8476
27 | 2594445.1901 | 1189644.9844
28 | 2594127.3314 | 1189530.8895
29 | 2594141.6006 | 1189539.659
30 | 2594158.529 | 1189492.1939
31 | 2594080.6144 | 1189500.1312
32 | 2593809.4314 | 1189218.7622
33 | 2593808.9901 | 1189218.6286
34 | 2593819.8171 | 1189221.9062
35 | 2593949.4134 | 1189258.5824
36 | 2594010.5171 | 1189371.0688
37 | 2593911.3551 | 1189373.9928
38 | 2593492.4642 | 1189199.7146
39 | 2593558.0278 | 1189133.1869
40 | 2593465.9519 | 1189153.5476
41 | 2594156.877 | 1189549.0475
42 | 2594199.7608 | 1189575.3758
43 | 2594121.6804 | 1189572.1626
44 | 2594168.7903 | 1189477.4295
45 | 2593477.5563 | 1189014.4567
46 | 2593559.8187 | 1189009.0193
47 | 2594553.3577 | 1189769.0792
48 | 2594109.1198 | 1189606.5329
49 | 2594327.3331 | 1189701.8453
50 | 2594963.2785 | 1189456.3116
51 | 2594814.0615 | 1189493.2713
52 | 2594318.4882 | 1189741.6348
53 | 2594339.3688 | 1189767.0947
54 | 2594166.6977 | 1190049.2545
55 | 2594218.4393 | 1190123.4091
56 | 2593724.1136 | 1189223.9362
57 | 2593710.7165 | 1189211.0765
58 | 2593733.8922 | 1189228.0799
59 | 2593755.4405 | 1189210.0922
60 | 2593711.035 | 1189284.4669
61 | 2593798.3062 | 1189215.3943
62 | 2593748.6227 | 1189176.3134
63 | 2593626.4886 | 1189254.7308
64 | 2593705.0572 | 1189307.4087
65 | 2593738.0757 | 1189037.6873
66 | 2593654.0152 | 1189186.6504
67 | 2593700.0054 | 1189318.3296
68 | 2593686.6734 | 1189010.0275
69 | 2593555.3253 | 1189082.6846
70 | 2593551.6764 | 1189032.7405
71 | 2594581.0964 | 1189822.3083
72 | 2594569.4894 | 1189799.9158
73 | 2594259.853 | 1189634.7474

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1