## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_923-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_923-3_0_2_node_189 | 0.4 | n |  | TRUE
2 | bus_LV_923-3_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_923-3_0_2_node_199 | 0.4 | n |  | TRUE
4 | bus_LV_923-3_0_2_node_186 | 0.4 | n |  | TRUE
5 | bus_LV_923-3_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_923-3_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_923-3_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_923-3_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_923-3_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_923-3_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_923-3_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_923-3_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_923-3_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_923-3_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_923-3_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_923-3_0_2_node_213 | 0.4 | n |  | TRUE
17 | bus_LV_923-3_0_2_node_183 | 0.4 | n |  | TRUE
18 | bus_LV_923-3_0_2_node_236 | 0.4 | n |  | TRUE
19 | bus_LV_923-3_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_923-3_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_923-3_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_923-3_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_923-3_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_923-3_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_923-3_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_923-3_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_923-3_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_923-3_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_923-3_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_923-3_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_923-3_0_2_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_923-3_0_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_923-3_0_2_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_923-3_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_923-3_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_923-3_0_2_node_133 | 0.4 | n |  | TRUE
37 | bus_LV_923-3_0_2_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_923-3_0_2_node_193 | 0.4 | n |  | TRUE
39 | bus_LV_923-3_0_2_node_227 | 0.4 | n |  | TRUE
40 | bus_LV_923-3_0_2_node_253 | 0.4 | n |  | TRUE
41 | bus_LV_923-3_0_2_node_196 | 0.4 | n |  | TRUE
42 | bus_LV_923-3_0_2_node_127 | 0.4 | n |  | TRUE
43 | bus_LV_923-3_0_2_node_128 | 0.4 | n |  | TRUE
44 | bus_LV_923-3_0_2_node_130 | 0.4 | n |  | TRUE
45 | bus_LV_923-3_0_2_node_129 | 0.4 | n |  | TRUE
46 | bus_LV_923-3_0_2_node_131 | 0.4 | n |  | TRUE
47 | bus_LV_923-3_0_2_node_132 | 0.4 | n |  | TRUE
48 | bus_LV_923-3_0_2_node_134 | 0.4 | n |  | TRUE
49 | bus_LV_923-3_0_2_node_135 | 0.4 | n |  | TRUE
50 | bus_LV_923-3_0_2_node_235 | 0.4 | n |  | TRUE
51 | bus_LV_923-3_0_2_node_167 | 0.4 | n |  | TRUE
52 | bus_LV_923-3_0_2_node_169 | 0.4 | n |  | TRUE
53 | bus_LV_923-3_0_2_node_171 | 0.4 | n |  | TRUE
54 | bus_LV_923-3_0_2_node_179 | 0.4 | n |  | TRUE
55 | bus_LV_923-3_0_2_node_211 | 0.4 | n |  | TRUE
56 | bus_LV_923-3_0_2_node_180 | 0.4 | n |  | TRUE
57 | bus_LV_923-3_0_2_node_182 | 0.4 | n |  | TRUE
58 | bus_LV_923-3_0_2_node_228 | 0.4 | n |  | TRUE
59 | bus_LV_923-3_0_2_node_184 | 0.4 | n |  | TRUE
60 | bus_LV_923-3_0_2_node_185 | 0.4 | n |  | TRUE
61 | bus_LV_923-3_0_2_node_188 | 0.4 | n |  | TRUE
62 | bus_LV_923-3_0_2_node_187 | 0.4 | n |  | TRUE
63 | bus_LV_923-3_0_2_node_190 | 0.4 | n |  | TRUE
64 | bus_LV_923-3_0_2_node_191 | 0.4 | n |  | TRUE
65 | bus_LV_923-3_0_2_node_192 | 0.4 | n |  | TRUE
66 | bus_LV_923-3_0_2_node_202 | 0.4 | n |  | TRUE
67 | bus_LV_923-3_0_2_node_194 | 0.4 | n |  | TRUE
68 | bus_LV_923-3_0_2_node_225 | 0.4 | n |  | TRUE
69 | bus_LV_923-3_0_2_node_195 | 0.4 | n |  | TRUE
70 | bus_LV_923-3_0_2_node_197 | 0.4 | n |  | TRUE
71 | bus_LV_923-3_0_2_node_198 | 0.4 | n |  | TRUE
72 | bus_LV_923-3_0_2_node_200 | 0.4 | n |  | TRUE
73 | bus_LV_923-3_0_2_node_201 | 0.4 | n |  | TRUE
74 | bus_LV_923-3_0_2_node_226 | 0.4 | n |  | TRUE
75 | bus_LV_923-3_0_2_node_208 | 0.4 | n |  | TRUE
76 | bus_LV_923-3_0_2_node_209 | 0.4 | n |  | TRUE
77 | bus_LV_923-3_0_2_node_210 | 0.4 | n |  | TRUE
78 | bus_LV_923-3_0_2_node_212 | 0.4 | n |  | TRUE
79 | bus_LV_923-3_0_2_node_214 | 0.4 | n |  | TRUE
80 | bus_LV_923-3_0_2_node_215 | 0.4 | n |  | TRUE
81 | bus_LV_923-3_0_2_node_216 | 0.4 | n |  | TRUE
82 | bus_LV_923-3_0_2_node_229 | 0.4 | n |  | TRUE
83 | bus_LV_923-3_0_2_node_230 | 0.4 | n |  | TRUE
84 | bus_LV_923-3_0_2_node_231 | 0.4 | n |  | TRUE
85 | bus_LV_923-3_0_2_node_232 | 0.4 | n |  | TRUE
86 | bus_LV_923-3_0_2_node_233 | 0.4 | n |  | TRUE
87 | bus_LV_923-3_0_2_node_234 | 0.4 | n |  | TRUE
88 | bus_MV_107_0_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_923-3_0_2_load_0 | 0 | 0.00066252 | 0.00016604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_923-3_0_2_load_189 | 1 | 0.00059838 | 0.00014997 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_923-3_0_2_load_1 | 2 | 0.0012007 | 0.00030093 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_923-3_0_2_load_186 | 4 | 0.00020101 | 5.0378e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_923-3_0_2_load_3 | 5 | 0.0023573 | 0.00059079 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_923-3_0_2_load_4 | 6 | 0.0073863 | 0.0018512 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_923-3_0_2_load_5 | 7 | 0.0014772 | 0.00037021 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_923-3_0_2_load_8 | 10 | 0.0072167 | 0.0018087 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_923-3_0_2_load_9 | 11 | 0.0018483 | 0.00046323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_923-3_0_2_load_10 | 12 | 0.0093857 | 0.0023523 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_923-3_0_2_load_12 | 14 | 0.0025662 | 0.00064315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_923-3_0_2_load_23 | 15 | 0.0021391 | 0.00053612 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_923-3_0_2_load_213 | 16 | 0.0011625 | 0.00029134 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_923-3_0_2_load_183 | 17 | 0.00068403 | 0.00017143 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_923-3_0_2_load_236 | 18 | 0.010912 | 0.0027349 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_923-3_0_2_load_13 | 19 | 0.00095397 | 0.00023909 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_923-3_0_2_load_14 | 20 | 0.00087337 | 0.00021889 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_923-3_0_2_load_17 | 23 | 0.00013805 | 3.4599e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_923-3_0_2_load_18 | 24 | 8.6539e-05 | 2.1689e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_923-3_0_2_load_26 | 26 | 0.00032213 | 8.0733e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_923-3_0_2_load_27 | 27 | 0.00016993 | 4.2588e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_923-3_0_2_load_22 | 30 | 0.0073476 | 0.0018415 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_923-3_0_2_load_49 | 32 | 0.00092674 | 0.00023226 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_923-3_0_2_load_47 | 33 | 0.0065165 | 0.0016332 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_923-3_0_2_load_24 | 34 | 0.00042631 | 0.00010684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_923-3_0_2_load_25 | 35 | 0.00040476 | 0.00010144 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_923-3_0_2_load_133 | 36 | 0.00075214 | 0.00018851 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_923-3_0_2_load_46 | 37 | 0.0016971 | 0.00042534 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_923-3_0_2_load_193 | 38 | 0.00022641 | 5.6745e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_923-3_0_2_load_227 | 39 | 0.0002616 | 6.5562e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_923-3_0_2_load_253 | 40 | 0.017736 | 0.0044452 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_923-3_0_2_load_196 | 41 | 0.00030697 | 7.6934e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_923-3_0_2_load_127 | 42 | 0.00059831 | 0.00014995 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_923-3_0_2_load_128 | 43 | 0.00082291 | 0.00020624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_923-3_0_2_load_129 | 45 | 0.0018474 | 0.00046301 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_923-3_0_2_load_131 | 46 | 0.0082312 | 0.0020629 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_923-3_0_2_load_132 | 47 | 0.0010363 | 0.00025971 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_923-3_0_2_load_134 | 48 | 0.0019256 | 0.00048261 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_923-3_0_2_load_135 | 49 | 0.0097452 | 0.0024424 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_923-3_0_2_load_235 | 50 | 0.0020119 | 0.00050423 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_923-3_0_2_load_167 | 51 | 0.0008728 | 0.00021874 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_923-3_0_2_load_169 | 52 | 0.00027486 | 6.8886e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_923-3_0_2_load_211 | 55 | 0.00047172 | 0.00011822 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_923-3_0_2_load_182 | 57 | 0.0015567 | 0.00039015 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_923-3_0_2_load_228 | 58 | 0.00096889 | 0.00024283 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_923-3_0_2_load_184 | 59 | 0.00010902 | 2.7323e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_923-3_0_2_load_187 | 62 | 0.00043087 | 0.00010799 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_923-3_0_2_load_190 | 63 | 0.0012165 | 0.00030487 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_923-3_0_2_load_191 | 64 | 9.4627e-05 | 2.3716e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_923-3_0_2_load_192 | 65 | 0.00032384 | 8.1161e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_923-3_0_2_load_202 | 66 | 0.0010124 | 0.00025373 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_923-3_0_2_load_194 | 67 | 9.3541e-05 | 2.3444e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_923-3_0_2_load_195 | 69 | 0.0001437 | 3.6014e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_923-3_0_2_load_197 | 70 | 0.00074467 | 0.00018663 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_923-3_0_2_load_201 | 73 | 0.00027833 | 6.9756e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_923-3_0_2_load_226 | 74 | 0.0005853 | 0.00014669 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_923-3_0_2_load_208 | 75 | 0.002211 | 0.00055414 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_923-3_0_2_load_209 | 76 | 0.00023145 | 5.8007e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_923-3_0_2_load_212 | 78 | 0.00047758 | 0.00011969 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_923-3_0_2_load_214 | 79 | 0.0017893 | 0.00044844 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_923-3_0_2_load_216 | 81 | 0.0062615 | 0.0015693 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_923-3_0_2_load_231 | 84 | 0.00054748 | 0.00013721 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_923-3_0_2_load_232 | 85 | 0.0039919 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_923-3_0_2_load_233 | 86 | 0.0012294 | 0.00030811 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_923-3_0_2_load_234 | 87 | 0.005055 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_923-3_0_2_line_0 |  | 0 | 1 | 0.046919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_923-3_0_2_line_1 |  | 1 | 27 | 0.025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_923-3_0_2_line_2 |  | 1 | 60 | 0.095426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_923-3_0_2_line_3 |  | 2 | 3 | 0.086175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_923-3_0_2_line_4 |  | 2 | 4 | 0.14391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_923-3_0_2_line_5 |  | 3 | 5 | 0.050556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_923-3_0_2_line_6 |  | 3 | 70 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_923-3_0_2_line_7 |  | 4 | 62 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_923-3_0_2_line_8 |  | 6 | 7 | 0.018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_923-3_0_2_line_9 |  | 6 | 8 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_923-3_0_2_line_10 |  | 7 | 9 | 0.07433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_923-3_0_2_line_11 |  | 8 | 10 | 0.098534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_923-3_0_2_line_12 |  | 8 | 11 | 0.12904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_923-3_0_2_line_13 |  | 9 | 12 | 0.047616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_923-3_0_2_line_14 |  | 10 | 13 | 0.04527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_923-3_0_2_line_15 |  | 11 | 14 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_923-3_0_2_line_16 |  | 12 | 15 | 0.031499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_923-3_0_2_line_17 |  | 13 | 16 | 0.0071884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_923-3_0_2_line_18 |  | 13 | 17 | 0.039914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_923-3_0_2_line_19 |  | 14 | 18 | 0.034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_923-3_0_2_line_20 |  | 15 | 28 | 0.18475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_923-3_0_2_line_21 |  | 16 | 79 | 0.012657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_923-3_0_2_line_22 |  | 17 | 56 | 0.12657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_923-3_0_2_line_23 |  | 18 | 50 | 0.0050828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_923-3_0_2_line_24 |  | 19 | 20 | 0.052364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_923-3_0_2_line_25 |  | 19 | 21 | 0.050399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_923-3_0_2_line_26 |  | 20 | 22 | 0.012755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_923-3_0_2_line_27 |  | 21 | 23 | 0.040936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_923-3_0_2_line_28 |  | 22 | 24 | 0.019602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_923-3_0_2_line_29 |  | 22 | 25 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_923-3_0_2_line_30 |  | 24 | 26 | 0.038184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_923-3_0_2_line_31 |  | 25 | 27 | 0.027925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_923-3_0_2_line_32 |  | 26 | 38 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_923-3_0_2_line_33 |  | 28 | 29 | 0.060058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_923-3_0_2_line_34 |  | 28 | 30 | 0.017683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_923-3_0_2_line_35 |  | 29 | 31 | 0.024146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_923-3_0_2_line_36 |  | 29 | 32 | 0.10351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_923-3_0_2_line_37 |  | 30 | 33 | 0.036549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_923-3_0_2_line_38 |  | 31 | 40 | 0.049806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_923-3_0_2_line_39 |  | 32 | 41 | 0.02828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_923-3_0_2_line_40 |  | 34 | 35 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_923-3_0_2_line_41 |  | 34 | 36 | 0.17782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_923-3_0_2_line_42 |  | 35 | 37 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_923-3_0_2_line_43 |  | 36 | 45 | 0.025064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_923-3_0_2_line_44 |  | 37 | 39 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_923-3_0_2_line_45 |  | 38 | 67 | 0.098834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_923-3_0_2_line_46 |  | 38 | 68 | 0.1812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_923-3_0_2_line_47 |  | 40 | 87 | 0.16975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_923-3_0_2_line_48 |  | 41 | 69 | 0.017713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_923-3_0_2_line_49 |  | 42 | 43 | 4.1974e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_923-3_0_2_line_50 |  | 42 | 44 | 0.17661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_923-3_0_2_line_51 |  | 43 | 45 | 0.040821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_923-3_0_2_line_52 |  | 44 | 46 | 0.11759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_923-3_0_2_line_53 |  | 44 | 47 | 0.0083417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_923-3_0_2_line_54 |  | 46 | 48 | 0.0098537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_923-3_0_2_line_55 |  | 47 | 49 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_923-3_0_2_line_56 |  | 49 | 50 | 0.0077863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_923-3_0_2_line_57 |  | 51 | 52 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_923-3_0_2_line_58 |  | 52 | 53 | 0.13219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_923-3_0_2_line_59 |  | 53 | 54 | 0.018166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_923-3_0_2_line_60 |  | 53 | 55 | 0.1143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_923-3_0_2_line_61 |  | 54 | 56 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_923-3_0_2_line_62 |  | 54 | 57 | 0.023988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_923-3_0_2_line_63 |  | 55 | 77 | 0.0076449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_923-3_0_2_line_64 |  | 57 | 58 | 0.056042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_923-3_0_2_line_65 |  | 58 | 82 | 0.062821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_923-3_0_2_line_66 |  | 59 | 60 | 0.067055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_923-3_0_2_line_67 |  | 60 | 61 | 0.085699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_923-3_0_2_line_68 |  | 61 | 64 | 0.066499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_923-3_0_2_line_69 |  | 61 | 65 | 0.007834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_923-3_0_2_line_70 |  | 62 | 63 | 0.023972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_923-3_0_2_line_71 |  | 64 | 66 | 0.0096346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_923-3_0_2_line_72 |  | 67 | 69 | 0.0042094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_923-3_0_2_line_73 |  | 68 | 74 | 0.15209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_923-3_0_2_line_74 |  | 70 | 71 | 0.031043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_923-3_0_2_line_75 |  | 71 | 72 | 0.059693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_923-3_0_2_line_76 |  | 72 | 73 | 0.010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_923-3_0_2_line_77 |  | 73 | 74 | 0.15745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_923-3_0_2_line_78 |  | 75 | 76 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_923-3_0_2_line_79 |  | 75 | 77 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_923-3_0_2_line_80 |  | 77 | 78 | 0.077261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_923-3_0_2_line_81 |  | 79 | 80 | 0.056715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_923-3_0_2_line_82 |  | 80 | 81 | 0.032686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_923-3_0_2_line_83 |  | 82 | 83 | 0.06512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_923-3_0_2_line_84 |  | 82 | 84 | 0.037086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_923-3_0_2_line_85 |  | 83 | 85 | 0.094121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_923-3_0_2_line_86 |  | 84 | 86 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_923-3_0_2_trafo_7 | 0.63 MVA 20/0.4 kV | 88 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2618385.9082 | 1185984.1255 | 2618432.6328 | 1185988.3872
1 | 2618385.9082 | 1185984.1255 | 2618363.6447 | 1185972.0604
2 | 2618469.8064 | 1186029.5918 | 2618385.9082 | 1185984.1255
3 | 2618730.1303 | 1185945.7317 | 2618672.5055 | 1186009.8054
4 | 2618672.5055 | 1186009.8054 | 2618670.5893 | 1186153.6995
5 | 2618730.1303 | 1185945.7317 | 2618774.0423 | 1185956.1742 | 2618779.065 | 1185958.2107
6 | 2618730.1303 | 1185945.7317 | 2618721.5539 | 1185938.2566 | 2618713.6567 | 1185925.8811 | 2618713.0992 | 1185924.5228
7 | 2618684.8734 | 1186171.0031 | 2618680.4022 | 1186163.9018 | 2618672.1051 | 1186155.0492 | 2618670.5893 | 1186153.6995
8 | 2617924.2812 | 1185428.5747 | 2617941.038 | 1185436.0549
9 | 2617903.4898 | 1185419.2934 | 2617924.2812 | 1185428.5747
10 | 2618007.9981 | 1185468.2756 | 2617975.1879 | 1185451.6687 | 2617969.0007 | 1185448.5375 | 2617941.038 | 1185436.0549
11 | 2617903.4898 | 1185419.2934 | 2617836.3201 | 1185388.222 | 2617813.4792 | 1185379.2888
12 | 2617903.4898 | 1185419.2934 | 2617914.2395 | 1185397.1917 | 2617924.5329 | 1185387.384 | 2617942.2892 | 1185380.2777 | 2617968.0239 | 1185379.6542 | 2617998.773 | 1185371.1641 | 2618011.4122 | 1185366.4873
13 | 2618007.9981 | 1185468.2756 | 2618012.8641 | 1185466.656 | 2618039.5941 | 1185462.2561 | 2618054.5506 | 1185465.9152
14 | 2617768.9182 | 1185373.5036 | 2617805.0147 | 1185375.9783 | 2617813.4792 | 1185379.2888
15 | 2618011.4122 | 1185366.4873 | 2618023.2553 | 1185362.1051
16 | 2618054.5506 | 1185465.9152 | 2618075.892 | 1185471.1364 | 2618084.8861 | 1185474.2822
17 | 2617768.9182 | 1185373.5036 | 2617772.7661 | 1185379.5754
18 | 2617768.9182 | 1185373.5036 | 2617739.2902 | 1185372.0153 | 2617729.1664 | 1185370.4232
19 | 2618049.7241 | 1185342.1782 | 2618043.4248 | 1185350.5316 | 2618033.6717 | 1185358.2508 | 2618023.2553 | 1185362.1051
20 | 2618084.8861 | 1185474.2822 | 2618097.9232 | 1185658.567
21 | 2617772.7661 | 1185379.5754 | 2617776.5976 | 1185385.6215 | 2617779.8603 | 1185390.0486
22 | 2617607.3486 | 1185336.8424 | 2617703.4854 | 1185366.3846 | 2617729.1664 | 1185370.4232
23 | 2618049.7241 | 1185342.1782 | 2618052.7844 | 1185338.1199
24 | 2618303.712 | 1185892.4121 | 2618306.3397 | 1185894.021 | 2618309.0696 | 1185897.142 | 2618310.6625 | 1185900.2596 | 2618312.9478 | 1185909.0267 | 2618315.155 | 1185930.9337 | 2618315.8661 | 1185935.4382 | 2618317.0561 | 1185938.0655 | 2618318.874 | 1185939.972 | 2618319.3462 | 1185940.0518
25 | 2618277.27 | 1185923.0698 | 2618285.3983 | 1185917.5028 | 2618285.8912 | 1185916.0035 | 2618284.6301 | 1185911.6641 | 2618284.8818 | 1185909.2191 | 2618286.4341 | 1185908.1233 | 2618288.9684 | 1185907.8419 | 2618296.8178 | 1185908.644 | 2618299.1466 | 1185908.1842 | 2618300.6756 | 1185907.2217 | 2618301.8819 | 1185904.5017 | 2618302.0509 | 1185901.6341 | 2618301.7829 | 1185896.9419 | 2618303.712 | 1185892.4121
26 | 2618331.8439 | 1185938.1662 | 2618321.2841 | 1185940.3796 | 2618319.3462 | 1185940.0518
27 | 2618277.27 | 1185923.0698 | 2618291.5559 | 1185935.1529 | 2618297.3078 | 1185956.6215
28 | 2618331.8439 | 1185938.1662 | 2618330.8902 | 1185935.6397 | 2618329.8263 | 1185924.1861 | 2618329.2317 | 1185918.8201
29 | 2618341.5129 | 1185955.3268 | 2618334.6976 | 1185945.7344 | 2618331.8439 | 1185938.1662
30 | 2618329.2317 | 1185918.8201 | 2618327.851 | 1185906.3596 | 2618325.0597 | 1185890.8541 | 2618322.1974 | 1185881.3849
31 | 2618341.5129 | 1185955.3268 | 2618348.5115 | 1185962.3852 | 2618358.3189 | 1185969.1743 | 2618363.6447 | 1185972.0604
32 | 2618315.3083 | 1185867.1086 | 2618316.5965 | 1185868.6056 | 2618321.2825 | 1185878.3583 | 2618322.1974 | 1185881.3849
33 | 2618097.9232 | 1185658.567 | 2618103.0625 | 1185675.0689 | 2618108.1092 | 1185694.4386 | 2618114.2771 | 1185708.9314 | 2618117.0659 | 1185715.3654
34 | 2618097.9232 | 1185658.567 | 2618081.2093 | 1185664.3419
35 | 2618096.3756 | 1185703.6859 | 2618108.9834 | 1185713.2955 | 2618117.0659 | 1185715.3654
36 | 2618117.0659 | 1185715.3654 | 2618119.9001 | 1185721.9107 | 2618128.8217 | 1185734.1884 | 2618140.6825 | 1185746.0081 | 2618153.4938 | 1185756.3967 | 2618176.8714 | 1185775.1327 | 2618191.23 | 1185785.9966
37 | 2618045.8214 | 1185661.8344 | 2618055.9313 | 1185665.7778 | 2618058.4616 | 1185664.2735 | 2618068.8251 | 1185664.049 | 2618081.2093 | 1185664.3419
38 | 2618049.7751 | 1185698.1206 | 2618068.6903 | 1185708.883 | 2618096.3756 | 1185703.6859
39 | 2618191.23 | 1185785.9966 | 2618203.3659 | 1185795.1789 | 2618214.7009 | 1185801.6689
40 | 2618313.0408 | 1185563.9199 | 2618325.7209 | 1185569.5324
41 | 2618310.0078 | 1185386.1292 | 2618313.0408 | 1185563.9199
42 | 2618325.7209 | 1185569.5324 | 2618339.8795 | 1185575.7994
43 | 2618310.0078 | 1185386.1292 | 2618286.4453 | 1185377.5857
44 | 2618339.8795 | 1185575.7994 | 2618341.2507 | 1185576.4063 | 2618349.0941 | 1185583.2291
45 | 2618233.7259 | 1185812.5618 | 2618266.8046 | 1185831.5014 | 2618291.1661 | 1185845.1493 | 2618306.9093 | 1185857.348 | 2618315.3083 | 1185867.1086
46 | 2618315.3083 | 1185867.1086 | 2618450.5468 | 1185746.5073
47 | 2618049.7751 | 1185698.1206 | 2617934.8586 | 1185823.0514
48 | 2618214.7009 | 1185801.6689 | 2618230.0729 | 1185810.4702
49 | 2618248.0693 | 1185363.6711 | 2618248.0299 | 1185363.6568
50 | 2618079.9886 | 1185309.309 | 2618248.0299 | 1185363.6568
51 | 2618248.0693 | 1185363.6711 | 2618286.4453 | 1185377.5857
52 | 2618079.9886 | 1185309.309 | 2618072.8113 | 1185295.3468 | 2618053.2145 | 1185277.3341 | 2618030.1343 | 1185262.9795 | 2618024.0173 | 1185254.1899 | 2618017.7402 | 1185230.0919 | 2618016.6345 | 1185217.6561
53 | 2618079.9886 | 1185309.309 | 2618073.957 | 1185315.0711
54 | 2618015.7617 | 1185207.8411 | 2618016.6345 | 1185217.6561
55 | 2618057.4725 | 1185331.9031 | 2618060.3959 | 1185328.0265 | 2618073.957 | 1185315.0711
56 | 2618057.4725 | 1185331.9031 | 2618052.7844 | 1185338.1199
57 | 2617443.2593 | 1185318.7329 | 2617448.8631 | 1185317.5257 | 2617458.0364 | 1185317.1234
58 | 2617588.4518 | 1185332.1402 | 2617536.0165 | 1185319.1135 | 2617493.5505 | 1185315.5657 | 2617458.0364 | 1185317.1234
59 | 2617595.6986 | 1185348.8034 | 2617588.4518 | 1185332.1402
60 | 2617588.4518 | 1185332.1402 | 2617618.8161 | 1185221.9511
61 | 2617607.3486 | 1185336.8424 | 2617595.6986 | 1185348.8034
62 | 2617595.6986 | 1185348.8034 | 2617586.928 | 1185371.1309
63 | 2617613.7309 | 1185216.2428 | 2617618.8161 | 1185221.9511
64 | 2617586.928 | 1185371.1309 | 2617584.4886 | 1185377.341 | 2617584.0979 | 1185393.4704 | 2617589.102 | 1185426.3274
65 | 2617619.6024 | 1185478.074 | 2617599.4252 | 1185457.3708 | 2617592.7009 | 1185449.9583 | 2617589.102 | 1185426.3274
66 | 2618469.8064 | 1186029.5918 | 2618491.2418 | 1186044.032 | 2618515.4903 | 1186064.206 | 2618522.7824 | 1186070.5509
67 | 2618469.8064 | 1186029.5918 | 2618461.5548 | 1186028.099 | 2618456.8444 | 1186028.8961 | 2618445.7829 | 1186030.4963 | 2618432.8964 | 1186030.0454 | 2618420.12 | 1186028.5054 | 2618396.6847 | 1186024.2203 | 2618386.4504 | 1186024.8004 | 2618384.7172 | 1186025.1397
68 | 2618384.7172 | 1186025.1397 | 2618374.2726 | 1186027.1421 | 2618368.2291 | 1186027.2015 | 2618362.5005 | 1186026.5614 | 2618360.3648 | 1186026.2881 | 2618356.8935 | 1186023.6205 | 2618347.4981 | 1186016.855 | 2618342.3962 | 1186010.9252 | 2618340.0448 | 1186006.3045 | 2618340.4706 | 1186001.8146 | 2618342.7328 | 1185998.1418 | 2618346.4239 | 1185996.3188
69 | 2618384.7172 | 1186025.1397 | 2618385.2082 | 1186029.2878 | 2618386.8387 | 1186032.5612
70 | 2618697.3672 | 1186191.4523 | 2618695.046 | 1186188.0377 | 2618687.6609 | 1186175.4304 | 2618684.8734 | 1186171.0031
71 | 2618353.979 | 1186001.0332 | 2618349.6974 | 1185996.3288 | 2618346.4239 | 1185996.3188
72 | 2618230.0729 | 1185810.4702 | 2618233.7259 | 1185812.5618
73 | 2618450.5468 | 1185746.5073 | 2618475.036 | 1185733.5091 | 2618532.3297 | 1185708.4058 | 2618558.4259 | 1185706.4297 | 2618594.3512 | 1185709.2089
74 | 2618701.3124 | 1185895.8048 | 2618713.0992 | 1185924.5228
75 | 2618701.3124 | 1185895.8048 | 2618686.9344 | 1185884.1429 | 2618655.9566 | 1185870.9731 | 2618650.1728 | 1185865.9747
76 | 2618650.1728 | 1185865.9747 | 2618642.3215 | 1185859.1761
77 | 2618642.3215 | 1185859.1761 | 2618594.3512 | 1185709.2089
78 | 2617616.3473 | 1185198.4523 | 2617640.9606 | 1185189.2623
79 | 2617613.7309 | 1185216.2428 | 2617616.3473 | 1185198.4523 | 2617616.3473 | 1185198.4523
80 | 2617613.7309 | 1185216.2428 | 2617609.7679 | 1185211.7955 | 2617603.6391 | 1185206.8417 | 2617598.2331 | 1185200.0001 | 2617594.4755 | 1185193.1633 | 2617593.3464 | 1185190.4141 | 2617592.5987 | 1185187.7439 | 2617591.68 | 1185180.9154 | 2617591.2269 | 1185174.0883 | 2617590.0571 | 1185169.6048 | 2617588.6535 | 1185164.1867 | 2617588.1934 | 1185159.7164 | 2617586.8002 | 1185153.3534 | 2617585.8718 | 1185147.2364
81 | 2617805.1893 | 1185440.6347 | 2617799.9953 | 1185429.3913 | 2617789.933 | 1185407.6279 | 2617784.7837 | 1185396.7293 | 2617779.8603 | 1185390.0486
82 | 2617805.1893 | 1185440.6347 | 2617813.9032 | 1185435.8358 | 2617827.2088 | 1185431.7843 | 2617833.0286 | 1185425.0536
83 | 2617619.6024 | 1185478.074 | 2617639.9583 | 1185497.6772 | 2617667.4417 | 1185522.3819
84 | 2617619.6024 | 1185478.074 | 2617630.1073 | 1185497.3926 | 2617629.9371 | 1185503.3619 | 2617625.0372 | 1185503.6143 | 2617620.8789 | 1185502.9103
85 | 2617667.4417 | 1185522.3819 | 2617676.7476 | 1185531.5474 | 2617713.3799 | 1185571.9763 | 2617729.0546 | 1185593.3474
86 | 2617599.4356 | 1185499.2798 | 2617620.8789 | 1185502.9103

## bus_geodata
| x | y | coords
0 | 2618432.6328 | 1185988.3872
1 | 2618385.9082 | 1185984.1255
2 | 2618672.5055 | 1186009.8054
3 | 2618730.1303 | 1185945.7317
4 | 2618670.5893 | 1186153.6995
5 | 2618779.065 | 1185958.2107
6 | 2617924.2812 | 1185428.5747
7 | 2617941.038 | 1185436.0549
8 | 2617903.4898 | 1185419.2934
9 | 2618007.9981 | 1185468.2756
10 | 2617813.4792 | 1185379.2888
11 | 2618011.4122 | 1185366.4873
12 | 2618054.5506 | 1185465.9152
13 | 2617768.9182 | 1185373.5036
14 | 2618023.2553 | 1185362.1051
15 | 2618084.8861 | 1185474.2823
16 | 2617772.7661 | 1185379.5754
17 | 2617729.1664 | 1185370.4232
18 | 2618049.7241 | 1185342.1782
19 | 2618303.712 | 1185892.4121
20 | 2618319.3462 | 1185940.0518
21 | 2618277.27 | 1185923.0698
22 | 2618331.8439 | 1185938.1662
23 | 2618297.3078 | 1185956.6215
24 | 2618329.2317 | 1185918.8201
25 | 2618341.5129 | 1185955.3268
26 | 2618322.1974 | 1185881.3849
27 | 2618363.6447 | 1185972.0604
28 | 2618097.9232 | 1185658.567
29 | 2618117.0659 | 1185715.3654
30 | 2618081.2093 | 1185664.3419
31 | 2618096.3756 | 1185703.6859
32 | 2618191.23 | 1185785.9966
33 | 2618045.8214 | 1185661.8344
34 | 2618313.0408 | 1185563.9199
35 | 2618325.7209 | 1185569.5324
36 | 2618310.0078 | 1185386.1292
37 | 2618339.8795 | 1185575.7994
38 | 2618315.3083 | 1185867.1086
39 | 2618349.0941 | 1185583.2291
40 | 2618049.7751 | 1185698.1206
41 | 2618214.7009 | 1185801.6689
42 | 2618248.0299 | 1185363.6568
43 | 2618248.0693 | 1185363.6711
44 | 2618079.9886 | 1185309.309
45 | 2618286.4453 | 1185377.5857
46 | 2618016.6345 | 1185217.6561
47 | 2618073.957 | 1185315.0712
48 | 2618015.7617 | 1185207.8411
49 | 2618057.4725 | 1185331.9031
50 | 2618052.7844 | 1185338.1199
51 | 2617443.2593 | 1185318.7329
52 | 2617458.0364 | 1185317.1234
53 | 2617588.4518 | 1185332.1402
54 | 2617595.6986 | 1185348.8034
55 | 2617618.8161 | 1185221.9511
56 | 2617607.3486 | 1185336.8424
57 | 2617586.928 | 1185371.1309
58 | 2617589.102 | 1185426.3274
59 | 2618522.7824 | 1186070.5509
60 | 2618469.8064 | 1186029.5918
61 | 2618384.7172 | 1186025.1397
62 | 2618684.8734 | 1186171.0031
63 | 2618697.3672 | 1186191.4523
64 | 2618346.4239 | 1185996.3188
65 | 2618386.8387 | 1186032.5612
66 | 2618353.979 | 1186001.0332
67 | 2618233.7259 | 1185812.5618
68 | 2618450.5468 | 1185746.5073
69 | 2618230.0729 | 1185810.4702
70 | 2618713.0992 | 1185924.5228
71 | 2618701.3124 | 1185895.8048
72 | 2618650.1728 | 1185865.9747
73 | 2618642.3215 | 1185859.1761
74 | 2618594.3512 | 1185709.2089
75 | 2617616.3473 | 1185198.4523
76 | 2617640.9606 | 1185189.2623
77 | 2617613.7309 | 1185216.2428
78 | 2617585.8718 | 1185147.2364
79 | 2617779.8603 | 1185390.0486
80 | 2617805.1893 | 1185440.6347
81 | 2617833.0286 | 1185425.0536
82 | 2617619.6024 | 1185478.074
83 | 2617667.4417 | 1185522.3819
84 | 2617620.8789 | 1185502.9103
85 | 2617729.0546 | 1185593.3474
86 | 2617599.4356 | 1185499.2798
87 | 2617934.8586 | 1185823.0514
88 | 2617903.4898 | 1185419.2934

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1