## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_924-1_2_3_node_26 | 0.4 | n |  | TRUE
1 | bus_LV_924-1_2_3_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_924-1_2_3_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_924-1_2_3_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_924-1_2_3_node_237 | 0.4 | n |  | TRUE
5 | bus_LV_924-1_2_3_node_243 | 0.4 | n |  | TRUE
6 | bus_LV_924-1_2_3_node_109 | 0.4 | n |  | TRUE
7 | bus_LV_924-1_2_3_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_924-1_2_3_node_111 | 0.4 | n |  | TRUE
9 | bus_LV_924-1_2_3_node_112 | 0.4 | n |  | TRUE
10 | bus_LV_924-1_2_3_node_113 | 0.4 | n |  | TRUE
11 | bus_LV_924-1_2_3_node_114 | 0.4 | n |  | TRUE
12 | bus_LV_924-1_2_3_node_263 | 0.4 | n |  | TRUE
13 | bus_LV_924-1_2_3_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_924-1_2_3_node_117 | 0.4 | n |  | TRUE
15 | bus_LV_924-1_2_3_node_118 | 0.4 | n |  | TRUE
16 | bus_LV_924-1_2_3_node_116 | 0.4 | n |  | TRUE
17 | bus_LV_924-1_2_3_node_264 | 0.4 | n |  | TRUE
18 | bus_LV_924-1_2_3_node_252 | 0.4 | n |  | TRUE
19 | bus_LV_924-1_2_3_node_292 | 0.4 | n |  | TRUE
20 | bus_LV_924-1_2_3_node_307 | 0.4 | n |  | TRUE
21 | bus_LV_924-1_2_3_node_233 | 0.4 | n |  | TRUE
22 | bus_LV_924-1_2_3_node_234 | 0.4 | n |  | TRUE
23 | bus_LV_924-1_2_3_node_235 | 0.4 | n |  | TRUE
24 | bus_LV_924-1_2_3_node_238 | 0.4 | n |  | TRUE
25 | bus_LV_924-1_2_3_node_240 | 0.4 | n |  | TRUE
26 | bus_LV_924-1_2_3_node_280 | 0.4 | n |  | TRUE
27 | bus_LV_924-1_2_3_node_241 | 0.4 | n |  | TRUE
28 | bus_LV_924-1_2_3_node_242 | 0.4 | n |  | TRUE
29 | bus_LV_924-1_2_3_node_284 | 0.4 | n |  | TRUE
30 | bus_LV_924-1_2_3_node_244 | 0.4 | n |  | TRUE
31 | bus_LV_924-1_2_3_node_245 | 0.4 | n |  | TRUE
32 | bus_LV_924-1_2_3_node_266 | 0.4 | n |  | TRUE
33 | bus_LV_924-1_2_3_node_246 | 0.4 | n |  | TRUE
34 | bus_LV_924-1_2_3_node_247 | 0.4 | n |  | TRUE
35 | bus_LV_924-1_2_3_node_250 | 0.4 | n |  | TRUE
36 | bus_LV_924-1_2_3_node_253 | 0.4 | n |  | TRUE
37 | bus_LV_924-1_2_3_node_293 | 0.4 | n |  | TRUE
38 | bus_LV_924-1_2_3_node_295 | 0.4 | n |  | TRUE
39 | bus_LV_924-1_2_3_node_254 | 0.4 | n |  | TRUE
40 | bus_LV_924-1_2_3_node_255 | 0.4 | n |  | TRUE
41 | bus_LV_924-1_2_3_node_256 | 0.4 | n |  | TRUE
42 | bus_LV_924-1_2_3_node_257 | 0.4 | n |  | TRUE
43 | bus_LV_924-1_2_3_node_258 | 0.4 | n |  | TRUE
44 | bus_LV_924-1_2_3_node_259 | 0.4 | n |  | TRUE
45 | bus_LV_924-1_2_3_node_260 | 0.4 | n |  | TRUE
46 | bus_LV_924-1_2_3_node_309 | 0.4 | n |  | TRUE
47 | bus_LV_924-1_2_3_node_311 | 0.4 | n |  | TRUE
48 | bus_LV_924-1_2_3_node_273 | 0.4 | n |  | TRUE
49 | bus_LV_924-1_2_3_node_261 | 0.4 | n |  | TRUE
50 | bus_LV_924-1_2_3_node_262 | 0.4 | n |  | TRUE
51 | bus_LV_924-1_2_3_node_265 | 0.4 | n |  | TRUE
52 | bus_LV_924-1_2_3_node_270 | 0.4 | n |  | TRUE
53 | bus_LV_924-1_2_3_node_271 | 0.4 | n |  | TRUE
54 | bus_LV_924-1_2_3_node_272 | 0.4 | n |  | TRUE
55 | bus_LV_924-1_2_3_node_310 | 0.4 | n |  | TRUE
56 | bus_LV_924-1_2_3_node_275 | 0.4 | n |  | TRUE
57 | bus_LV_924-1_2_3_node_274 | 0.4 | n |  | TRUE
58 | bus_LV_924-1_2_3_node_277 | 0.4 | n |  | TRUE
59 | bus_LV_924-1_2_3_node_279 | 0.4 | n |  | TRUE
60 | bus_LV_924-1_2_3_node_291 | 0.4 | n |  | TRUE
61 | bus_LV_924-1_2_3_node_281 | 0.4 | n |  | TRUE
62 | bus_LV_924-1_2_3_node_282 | 0.4 | n |  | TRUE
63 | bus_LV_924-1_2_3_node_283 | 0.4 | n |  | TRUE
64 | bus_LV_924-1_2_3_node_287 | 0.4 | n |  | TRUE
65 | bus_LV_924-1_2_3_node_285 | 0.4 | n |  | TRUE
66 | bus_LV_924-1_2_3_node_286 | 0.4 | n |  | TRUE
67 | bus_LV_924-1_2_3_node_290 | 0.4 | n |  | TRUE
68 | bus_LV_924-1_2_3_node_289 | 0.4 | n |  | TRUE
69 | bus_LV_924-1_2_3_node_288 | 0.4 | n |  | TRUE
70 | bus_LV_924-1_2_3_node_306 | 0.4 | n |  | TRUE
71 | bus_LV_924-1_2_3_node_298 | 0.4 | n |  | TRUE
72 | bus_LV_924-1_2_3_node_308 | 0.4 | n |  | TRUE
73 | bus_LV_924-1_2_3_node_296 | 0.4 | n |  | TRUE
74 | bus_LV_924-1_2_3_node_297 | 0.4 | n |  | TRUE
75 | bus_MV_0_node_286 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_924-1_2_3_load_26 | 0 | 0.0083275 | 0.0020871 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_924-1_2_3_load_27 | 1 | 0.004794 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_924-1_2_3_load_29 | 2 | 0.0046095 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_924-1_2_3_load_243 | 5 | 0.00099982 | 0.00025058 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_924-1_2_3_load_109 | 6 | 0.00066716 | 0.00016721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_924-1_2_3_load_110 | 7 | 0.00022035 | 5.5226e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_924-1_2_3_load_111 | 8 | 0.00057777 | 0.0001448 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_924-1_2_3_load_113 | 10 | 0.0003882 | 9.7292e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_924-1_2_3_load_114 | 11 | 0.00014287 | 3.5805e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_924-1_2_3_load_263 | 12 | 0.0004176 | 0.00010466 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_924-1_2_3_load_117 | 14 | 0.001002 | 0.00025112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_924-1_2_3_load_264 | 17 | 0.00056701 | 0.00014211 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_924-1_2_3_load_252 | 18 | 0.00038348 | 9.6108e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_924-1_2_3_load_307 | 20 | 0.0004238 | 0.00010622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_924-1_2_3_load_233 | 21 | 0.0027404 | 0.0006868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_924-1_2_3_load_234 | 22 | 0.00090374 | 0.0002265 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_924-1_2_3_load_238 | 24 | 0.002978 | 0.00074635 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_924-1_2_3_load_240 | 25 | 0.0020888 | 0.00052351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_924-1_2_3_load_280 | 26 | 0.00074508 | 0.00018673 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_924-1_2_3_load_241 | 27 | 0.001698 | 0.00042556 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_924-1_2_3_load_242 | 28 | 0.0020077 | 0.00050319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_924-1_2_3_load_245 | 31 | 0.0011066 | 0.00027734 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_924-1_2_3_load_266 | 32 | 0.00045185 | 0.00011324 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_924-1_2_3_load_246 | 33 | 0.00059087 | 0.00014809 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_924-1_2_3_load_250 | 35 | 0.00059745 | 0.00014974 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_924-1_2_3_load_253 | 36 | 0.00037937 | 9.508e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_924-1_2_3_load_293 | 37 | 0.0015551 | 0.00038974 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_924-1_2_3_load_254 | 39 | 0.00033319 | 8.3506e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_924-1_2_3_load_255 | 40 | 0.00030256 | 7.5828e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_924-1_2_3_load_256 | 41 | 0.00032214 | 8.0735e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_924-1_2_3_load_257 | 42 | 0.0019088 | 0.00047839 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_924-1_2_3_load_260 | 45 | 0.00095679 | 0.00023979 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_924-1_2_3_load_309 | 46 | 0.00090079 | 0.00022576 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_924-1_2_3_load_273 | 48 | 0.00025602 | 6.4165e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_924-1_2_3_load_261 | 49 | 0.00033239 | 8.3306e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_924-1_2_3_load_265 | 51 | 0.0014106 | 0.00035353 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_924-1_2_3_load_272 | 54 | 0.0012107 | 0.00030344 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_924-1_2_3_load_310 | 55 | 0.00029233 | 7.3266e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_924-1_2_3_load_275 | 56 | 0.00034244 | 8.5824e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_924-1_2_3_load_274 | 57 | 0.00033487 | 8.3926e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_924-1_2_3_load_291 | 60 | 0.00045678 | 0.00011448 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_924-1_2_3_load_281 | 61 | 0.00068507 | 0.0001717 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_924-1_2_3_load_282 | 62 | 0.00095565 | 0.00023951 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_924-1_2_3_load_283 | 63 | 0.0013546 | 0.00033949 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_924-1_2_3_load_287 | 64 | 0.0013257 | 0.00033226 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_924-1_2_3_load_290 | 67 | 0.0048373 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_924-1_2_3_load_289 | 68 | 0.0014222 | 0.00035645 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_924-1_2_3_load_288 | 69 | 0.00051161 | 0.00012822 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_924-1_2_3_load_306 | 70 | 0.00075162 | 0.00018837 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_924-1_2_3_load_298 | 71 | 0.00119 | 0.00029824 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_924-1_2_3_load_308 | 72 | 0.00021713 | 5.4417e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_924-1_2_3_load_297 | 74 | 0.0011401 | 0.00028573 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_924-1_2_3_line_0 |  | 0 | 1 | 0.098459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_924-1_2_3_line_1 |  | 1 | 2 | 0.022618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_924-1_2_3_line_2 |  | 2 | 3 | 0.12036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_924-1_2_3_line_3 |  | 3 | 4 | 0.021372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_924-1_2_3_line_4 |  | 3 | 5 | 0.037932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_924-1_2_3_line_5 |  | 4 | 25 | 0.051666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_924-1_2_3_line_6 |  | 4 | 23 | 0.071654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_924-1_2_3_line_7 |  | 5 | 30 | 0.1262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_924-1_2_3_line_8 |  | 6 | 7 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_924-1_2_3_line_9 |  | 6 | 8 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_924-1_2_3_line_10 |  | 7 | 9 | 0.046039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_924-1_2_3_line_11 |  | 8 | 10 | 0.0068318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_924-1_2_3_line_12 |  | 9 | 11 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_924-1_2_3_line_13 |  | 9 | 12 | 0.11199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_924-1_2_3_line_14 |  | 10 | 13 | 0.032698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_924-1_2_3_line_15 |  | 11 | 14 | 0.10914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_924-1_2_3_line_16 |  | 12 | 50 | 0.10685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_924-1_2_3_line_17 |  | 13 | 15 | 0.11688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_924-1_2_3_line_18 |  | 15 | 19 | 0.008472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_924-1_2_3_line_19 |  | 15 | 20 | 0.22721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_924-1_2_3_line_20 |  | 16 | 17 | 0.047489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_924-1_2_3_line_21 |  | 16 | 18 | 0.032732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_924-1_2_3_line_22 |  | 17 | 49 | 0.15329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_924-1_2_3_line_23 |  | 19 | 72 | 0.065858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_924-1_2_3_line_24 |  | 19 | 59 | 0.051556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_924-1_2_3_line_25 |  | 20 | 70 | 0.18271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_924-1_2_3_line_26 |  | 21 | 22 | 0.0061609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_924-1_2_3_line_27 |  | 21 | 23 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_924-1_2_3_line_28 |  | 23 | 24 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_924-1_2_3_line_29 |  | 25 | 26 | 0.09132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_924-1_2_3_line_30 |  | 26 | 61 | 0.052333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_924-1_2_3_line_31 |  | 27 | 28 | 0.025391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_924-1_2_3_line_32 |  | 28 | 29 | 0.058503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_924-1_2_3_line_33 |  | 29 | 65 | 0.005911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_924-1_2_3_line_34 |  | 29 | 66 | 0.14228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_924-1_2_3_line_35 |  | 30 | 31 | 0.066387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_924-1_2_3_line_36 |  | 31 | 32 | 0.13888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_924-1_2_3_line_37 |  | 32 | 51 | 0.066224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_924-1_2_3_line_38 |  | 33 | 34 | 0.10787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_924-1_2_3_line_39 |  | 34 | 35 | 0.047087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_924-1_2_3_line_40 |  | 35 | 36 | 0.14939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_924-1_2_3_line_41 |  | 36 | 37 | 0.34588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_924-1_2_3_line_42 |  | 36 | 38 | 0.35674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_924-1_2_3_line_43 |  | 38 | 73 | 0.036279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_924-1_2_3_line_44 |  | 39 | 40 | 0.0094033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_924-1_2_3_line_45 |  | 39 | 41 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_924-1_2_3_line_46 |  | 40 | 42 | 0.0057937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_924-1_2_3_line_47 |  | 41 | 43 | 0.087573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_924-1_2_3_line_48 |  | 43 | 44 | 0.17661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_924-1_2_3_line_49 |  | 43 | 45 | 0.17871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_924-1_2_3_line_50 |  | 44 | 46 | 0.008149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_924-1_2_3_line_51 |  | 45 | 47 | 0.013335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_924-1_2_3_line_52 |  | 45 | 48 | 0.16206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_924-1_2_3_line_53 |  | 46 | 74 | 0.029569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_924-1_2_3_line_54 |  | 47 | 55 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_924-1_2_3_line_55 |  | 48 | 56 | 0.21397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_924-1_2_3_line_56 |  | 49 | 50 | 0.061491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_924-1_2_3_line_57 |  | 52 | 53 | 0.026024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_924-1_2_3_line_58 |  | 52 | 54 | 0.029053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_924-1_2_3_line_59 |  | 53 | 55 | 0.24486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_924-1_2_3_line_60 |  | 55 | 57 | 0.17269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_924-1_2_3_line_61 |  | 56 | 58 | 0.14795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_924-1_2_3_line_62 |  | 58 | 59 | 0.072127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_924-1_2_3_line_63 |  | 59 | 60 | 0.029911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_924-1_2_3_line_64 |  | 61 | 62 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_924-1_2_3_line_65 |  | 62 | 63 | 0.053008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_924-1_2_3_line_66 |  | 63 | 64 | 0.0060352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_924-1_2_3_line_67 |  | 64 | 69 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_924-1_2_3_line_68 |  | 65 | 67 | 0.0071543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_924-1_2_3_line_69 |  | 66 | 68 | 0.12527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_924-1_2_3_line_70 |  | 66 | 69 | 0.062811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_924-1_2_3_line_71 |  | 67 | 71 | 0.064207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_924-1_2_3_line_72 |  | 68 | 70 | 0.010769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_924-1_2_3_line_73 |  | 73 | 74 | 0.010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_924-1_2_3_trafo_286 | 0.63 MVA 20/0.4 kV | 75 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2622853.2545 | 1181903.3519 | 2622849.9789 | 1181903.728 | 2622829.8449 | 1181905.33 | 2622804.3753 | 1181906.4561 | 2622788.52 | 1181907.3409 | 2622777.0074 | 1181908.7758 | 2622755.3804 | 1181912.7437
1 | 2622853.2545 | 1181903.3519 | 2622864.6919 | 1181902.0386 | 2622875.6717 | 1181900.3705
2 | 2622978.9275 | 1181853.0601 | 2622977.7235 | 1181858.3916 | 2622975.8279 | 1181862.8867 | 2622973.1623 | 1181867.0675 | 2622969.2584 | 1181871.5772 | 2622963.1078 | 1181876.5562 | 2622956.2576 | 1181880.7767 | 2622949.8785 | 1181883.5983 | 2622939.1832 | 1181886.9592 | 2622906.8694 | 1181894.6954 | 2622891.9598 | 1181897.8958 | 2622875.6717 | 1181900.3705
3 | 2622976.5951 | 1181832.0069 | 2622978.7371 | 1181840.942 | 2622979.3307 | 1181845.4577 | 2622979.3465 | 1181849.3153 | 2622978.9275 | 1181853.0601
4 | 2622978.9275 | 1181853.0601 | 2622993.8555 | 1181851.0939 | 2622997.7193 | 1181851.0754 | 2623001.1612 | 1181851.5666 | 2623003.8609 | 1181852.4329 | 2623006.7568 | 1181853.9448 | 2623009.5209 | 1181855.9564 | 2623010.5951 | 1181858.5953 | 2623011.0831 | 1181861.7217
5 | 2622976.5951 | 1181832.0069 | 2622973.3766 | 1181819.0212 | 2622972.2595 | 1181811.6353 | 2622971.987 | 1181807.0096 | 2622972.5022 | 1181802.0757 | 2622973.6426 | 1181797.3888 | 2622975.4144 | 1181793.3268 | 2622977.4745 | 1181789.7661 | 2622979.922 | 1181786.7072 | 2622982.9918 | 1181784.2427
6 | 2622946.1951 | 1181774.4497 | 2622945.2672 | 1181777.4922 | 2622945.2966 | 1181781.7946 | 2622946.177 | 1181787.1785 | 2622947.526 | 1181791.8639 | 2622960.1167 | 1181822.0499 | 2622962.817 | 1181826.796 | 2622964.8924 | 1181829.194 | 2622967.2526 | 1181831.0151 | 2622970.0815 | 1181832.0487 | 2622972.7681 | 1181832.3814 | 2622976.5951 | 1181832.0069
7 | 2622936.443 | 1181954.6505 | 2622938.315 | 1181952.312 | 2622940.0537 | 1181948.9058 | 2622946.3176 | 1181936.2342 | 2622962.3463 | 1181907.9474 | 2622969.9661 | 1181896.1704 | 2622976.1429 | 1181888.3233 | 2622979.7749 | 1181885.0355 | 2622984.1457 | 1181882.2174 | 2622988.3678 | 1181880.3437 | 2622994.8037 | 1181878.6563 | 2623002.0567 | 1181876.9276 | 2623006.6298 | 1181875.1331 | 2623008.9581 | 1181873.2966 | 2623010.2432 | 1181870.7113 | 2623011.1729 | 1181867.2019 | 2623011.2584 | 1181862.8445 | 2623011.0831 | 1181861.7217
8 | 2623872.9575 | 1181735.5297 | 2623877.6486 | 1181736.982 | 2623890.5227 | 1181742.1908
9 | 2623872.9575 | 1181735.5297 | 2623868.9543 | 1181734.2905 | 2623861.6484 | 1181733.839 | 2623857.3336 | 1181734.6824
10 | 2623932.4318 | 1181753.6086 | 2623927.5822 | 1181755.7237 | 2623922.9885 | 1181756.8393 | 2623918.7819 | 1181756.6225 | 2623915.428 | 1181755.1306 | 2623907.765 | 1181750.4309 | 2623899.6812 | 1181745.8964 | 2623890.5227 | 1181742.1908
11 | 2623851.1301 | 1181737.2311 | 2623854.0676 | 1181735.3208 | 2623857.3336 | 1181734.6824
12 | 2623932.4318 | 1181753.6086 | 2623917.1608 | 1181738.779
13 | 2623932.4318 | 1181753.6086 | 2624008.1747 | 1181671.1235
14 | 2623836.7347 | 1181765.8678 | 2623841.037 | 1181757.3694 | 2623844.8047 | 1181745.0224 | 2623848.4099 | 1181739.0002 | 2623851.1301 | 1181737.2311
15 | 2623851.4257 | 1181654.535 | 2623860.5452 | 1181680.9405 | 2623862.1356 | 1181684.2596 | 2623864.9914 | 1181688.1174 | 2623917.1608 | 1181738.779
16 | 2624022.191 | 1181630.0248 | 2624029.918 | 1181643.5739 | 2624035.1888 | 1181650.732 | 2624038.9332 | 1181653.8597 | 2624043.9182 | 1181656.1142 | 2624049.1726 | 1181657.8361 | 2624054.8387 | 1181659.7153 | 2624057.6173 | 1181661.872 | 2624058.5898 | 1181664.9997 | 2624057.4772 | 1181668.2414 | 2624055.1538 | 1181670.6667 | 2624050.7049 | 1181671.8384 | 2624033.6446 | 1181672.1369 | 2624008.1747 | 1181671.1235
17 | 2623722.8308 | 1181744.1168 | 2623765.2819 | 1181758.9034 | 2623772.5289 | 1181760.733 | 2623778.9462 | 1181761.8701 | 2623787.2282 | 1181762.6589 | 2623814.6027 | 1181764.6906 | 2623836.7347 | 1181765.8678
18 | 2623722.8308 | 1181744.1168 | 2623728.8013 | 1181750.1435
19 | 2623722.8308 | 1181744.1168 | 2623681.7478 | 1181730.9034 | 2623675.4459 | 1181729.5335 | 2623667.8744 | 1181728.6476 | 2623652.9853 | 1181728.3555 | 2623645.2901 | 1181727.8694 | 2623639.4068 | 1181726.8457 | 2623634.5184 | 1181725.2479 | 2623629.3593 | 1181722.5817 | 2623624.2821 | 1181718.5041 | 2623616.5333 | 1181710.3027 | 2623611.6266 | 1181705.581 | 2623607.7903 | 1181702.4421 | 2623603.3191 | 1181699.623 | 2623598.4561 | 1181697.3694 | 2623592.7515 | 1181695.5572 | 2623585.786 | 1181693.9735 | 2623578.5131 | 1181692.8666 | 2623571.3069 | 1181692.3047 | 2623564.145 | 1181692.1209 | 2623556.8966 | 1181692.5594 | 2623549.0578 | 1181693.6292 | 2623509.7696 | 1181702.1478
20 | 2624109.6519 | 1181767.8357 | 2624078.3232 | 1181803.5953
21 | 2624078.3232 | 1181803.5953 | 2624095.3913 | 1181803.1301 | 2624105.9336 | 1181803.8617 | 2624110.8996 | 1181804.9773
22 | 2624109.6519 | 1181767.8357 | 2624062.1578 | 1181622.0883
23 | 2623728.8013 | 1181750.1435 | 2623664.3359 | 1181736.6698
24 | 2623728.8013 | 1181750.1435 | 2623736.2636 | 1181753.5192 | 2623760.7392 | 1181766.4671 | 2623764.9815 | 1181769.2187 | 2623767.8499 | 1181771.8314 | 2623770.4197 | 1181774.643 | 2623772.2657 | 1181777.0516
25 | 2623509.7696 | 1181702.1478 | 2623501.3148 | 1181703.981 | 2623494.4043 | 1181705.9216 | 2623489.0578 | 1181708.1908 | 2623484.5635 | 1181711.2415 | 2623480.4565 | 1181714.8384 | 2623476.5593 | 1181719.4811 | 2623463.4235 | 1181737.5392 | 2623457.749 | 1181743.6424 | 2623453.8197 | 1181746.7065 | 2623449.7194 | 1181748.6137 | 2623444.7586 | 1181749.895 | 2623440.1826 | 1181750.433 | 2623435.212 | 1181750.3246 | 2623429.2206 | 1181749.5787 | 2623417.4108 | 1181746.8423 | 2623410.3852 | 1181745.014 | 2623402.0189 | 1181742.3244 | 2623395.8055 | 1181739.7878 | 2623387.2698 | 1181735.519 | 2623376.234 | 1181728.1167 | 2623361.7737 | 1181717.7217 | 2623355.0583 | 1181713.9872
26 | 2622942.7103 | 1181757.6057 | 2622939.8874 | 1181752.1296
27 | 2622946.1951 | 1181774.4497 | 2622943.5995 | 1181760.3103 | 2622942.9513 | 1181758.0733 | 2622942.7103 | 1181757.6057
28 | 2622946.1951 | 1181774.4497 | 2622948.0987 | 1181771.8557 | 2622953.6972 | 1181767.5081 | 2622955.3771 | 1181766.5111
29 | 2623071.8224 | 1181778.9015 | 2623068.1181 | 1181780.4975 | 2623059.6627 | 1181783.1108 | 2623054.2984 | 1181784.1241 | 2623048.9137 | 1181784.4814 | 2623040.8667 | 1181784.1393 | 2623002.5613 | 1181779.0677 | 2622997.7974 | 1181778.8271 | 2622994.3683 | 1181778.9807 | 2622991.3572 | 1181779.6251 | 2622987.3955 | 1181781.2774 | 2622983.6292 | 1181783.731 | 2622982.9918 | 1181784.2427
30 | 2623071.8224 | 1181778.9015 | 2623073.9234 | 1181777.9963 | 2623078.9996 | 1181774.4695 | 2623083.038 | 1181770.7497 | 2623085.9757 | 1181767.3481 | 2623089.2614 | 1181762.7917 | 2623097.2531 | 1181747.7146 | 2623100.5172 | 1181742.8469 | 2623103.8361 | 1181738.6683
31 | 2623118.3269 | 1181680.0087 | 2623137.752 | 1181663.658
32 | 2623185.8684 | 1181631.1287 | 2623183.5445 | 1181631.7757 | 2623177.9393 | 1181633.8218 | 2623165.5387 | 1181641.6224 | 2623148.4906 | 1181654.619 | 2623137.752 | 1181663.658
33 | 2623191.6829 | 1181630.2507 | 2623188.9032 | 1181630.2956 | 2623185.8684 | 1181631.1287
34 | 2623237.6941 | 1181751.7027 | 2623230.8113 | 1181746.5067 | 2623222.5982 | 1181743.6957 | 2623215.9406 | 1181739.49 | 2623212.8573 | 1181733.1303 | 2623208.8627 | 1181723.521 | 2623206.1068 | 1181713.4496 | 2623207.2323 | 1181702.7817 | 2623208.5081 | 1181694.738 | 2623203.3004 | 1181676.9309 | 2623198.3093 | 1181642.5605 | 2623195.6816 | 1181638.8373 | 2623190.4177 | 1181635.5597 | 2623185.8684 | 1181631.1287
35 | 2622936.443 | 1181954.6505 | 2622939.539 | 1181953.7174 | 2622942.3599 | 1181952.8499 | 2622944.7241 | 1181951.6139 | 2622992.0163 | 1181918.622
36 | 2622992.0163 | 1181918.622 | 2623119.2004 | 1181974.4099
37 | 2623179.518 | 1181987.896 | 2623150.603 | 1181972.2699 | 2623139.2541 | 1181968.8911 | 2623129.6415 | 1181968.6984 | 2623122.5711 | 1181972.5954 | 2623119.2004 | 1181974.4099
38 | 2624306.7431 | 1182000.084 | 2624310.0796 | 1182002.0429 | 2624314.0732 | 1182003.8934 | 2624318.0622 | 1182004.9879 | 2624322.6425 | 1182005.2621 | 2624326.5615 | 1182004.8 | 2624331.7915 | 1182003.0091 | 2624336.5212 | 1182000.3491 | 2624339.9679 | 1181997.7061 | 2624342.6372 | 1181994.7265 | 2624347.2894 | 1181988.5755 | 2624363.0416 | 1181960.4025 | 2624367.0515 | 1181954.4823 | 2624370.3873 | 1181950.9829 | 2624373.1701 | 1181948.2484 | 2624377.2602 | 1181945.1522 | 2624381.3181 | 1181942.4562 | 2624382.8965 | 1181941.6993
39 | 2624306.7431 | 1182000.084 | 2624303.1188 | 1182001.3255 | 2624300.0689 | 1182002.1136 | 2624296.3039 | 1182002.2762 | 2624289.9409 | 1182001.0054 | 2624285.3755 | 1181998.9303 | 2624281.4482 | 1181995.7905 | 2624275.016 | 1181988.9721 | 2624266.6582 | 1181995.2146
40 | 2624252.3115 | 1182110.8327 | 2624252.0558 | 1182107.9857 | 2624252.4202 | 1182104.7077 | 2624256.7508 | 1182093.0747 | 2624267.2684 | 1182071.4393 | 2624274.2246 | 1182048.7222 | 2624274.781 | 1182043.2994 | 2624272.2968 | 1182040.1766 | 2624268.3022 | 1182036.692 | 2624247.0403 | 1182024.5221 | 2624242.5147 | 1182020.1571 | 2624241.0064 | 1182017.394 | 2624241.2801 | 1182015.7943 | 2624243.4346 | 1182013.5796 | 2624259.3537 | 1182000.6705 | 2624266.6582 | 1181995.2146
41 | 2624252.3115 | 1182110.8327 | 2624514.9322 | 1182335.9104
42 | 2624252.3115 | 1182110.8327 | 2624045.3167 | 1182401.374
43 | 2624045.3167 | 1182401.374 | 2624023.7083 | 1182386.3464 | 2624014.855 | 1182381.6308
44 | 2623931.7995 | 1182215.7135 | 2623940.1114 | 1182211.3165
45 | 2623931.7995 | 1182215.7135 | 2623918.8271 | 1182222.576 | 2623911.1782 | 1182228.2039
46 | 2623945.2326 | 1182208.6073 | 2623940.1114 | 1182211.3165
47 | 2623833.7478 | 1182256.7334 | 2623852.8234 | 1182258.032 | 2623862.3827 | 1182258.0589 | 2623869.3422 | 1182257.1305 | 2623876.184 | 1182255.09 | 2623882.9064 | 1182252.3375 | 2623889.134 | 1182249.2162 | 2623894.1286 | 1182245.1117 | 2623904.74 | 1182234.037 | 2623909.6301 | 1182229.3429 | 2623911.1782 | 1182228.2039
48 | 2623833.7478 | 1182256.7334 | 2623861.4172 | 1182274.3191 | 2623877.0716 | 1182283.4193 | 2623887.0089 | 1182288.2169 | 2623898.4218 | 1182292.5312 | 2623915.495 | 1182298.1132 | 2623934.9172 | 1182306.2836 | 2623946.6976 | 1182312.2337 | 2623954.5652 | 1182317.1565 | 2623962.2961 | 1182323.8019 | 2623984.3429 | 1182345.7902
49 | 2623833.7478 | 1182256.7334 | 2623816.0192 | 1182250.7822 | 2623759.9013 | 1182238.7093 | 2623745.5116 | 1182236.0288 | 2623737.8225 | 1182234.1863 | 2623729.7697 | 1182231.6087 | 2623722.5467 | 1182227.7226 | 2623712.8644 | 1182220.136 | 2623685.0243 | 1182195.3578 | 2623676.1949 | 1182188.3415 | 2623674.0498 | 1182186.9399
50 | 2623984.3429 | 1182345.7902 | 2623990.9225 | 1182350.5981
51 | 2623662.4902 | 1182180.35 | 2623667.9622 | 1182182.9619 | 2623674.0498 | 1182186.9399
52 | 2623790.1516 | 1182073.8778 | 2623674.0498 | 1182186.9399
53 | 2624008.8426 | 1182373.4086 | 2624006.2579 | 1182368.2339 | 2624003.2735 | 1182362.2633 | 2623997.4373 | 1182355.3586 | 2623990.9225 | 1182350.5981
54 | 2623662.4902 | 1182180.35 | 2623656.8463 | 1182178.7381 | 2623651.5273 | 1182177.9945 | 2623643.5381 | 1182178.1834
55 | 2623790.1516 | 1182073.8778 | 2623792.7385 | 1182081.3352 | 2623794.5536 | 1182083.8103 | 2623798.3174 | 1182085.893 | 2623800.7969 | 1182086.4031 | 2623803.1051 | 1182083.9109 | 2623802.2925 | 1182077.0264 | 2623803.1141 | 1182075.8512 | 2623805.8168 | 1182075.9286 | 2623812.2239 | 1182081.5014 | 2623817.3594 | 1182080.3767 | 2623853.5235 | 1182054.8847 | 2623803.6478 | 1182006.7174 | 2623787.3144 | 1181954.848
56 | 2624022.191 | 1181630.0248 | 2624036.9134 | 1181643.4018 | 2624040.7924 | 1181645.3294 | 2624044.9496 | 1181646.4466 | 2624048.8449 | 1181646.251 | 2624052.877 | 1181644.2883 | 2624055.9068 | 1181640.8987 | 2624058.3901 | 1181636.7065 | 2624060.83 | 1181630.0016 | 2624062.1578 | 1181622.0883
57 | 2623418.6164 | 1182215.0014 | 2623408.5114 | 1182202.1664 | 2623402.6853 | 1182194.3953
58 | 2623402.6853 | 1182194.3953 | 2623412.7152 | 1182181.4721 | 2623415.5064 | 1182176.4692 | 2623417.4493 | 1182169.7803
59 | 2623418.6164 | 1182215.0014 | 2623432.0232 | 1182213.2972 | 2623462.3021 | 1182214.1047 | 2623471.6797 | 1182215.7199 | 2623480.2972 | 1182218.3883 | 2623486.1805 | 1182221.2684 | 2623499.665 | 1182228.9696 | 2623511.8156 | 1182234.1198 | 2623516.9278 | 1182235.0069 | 2623523.564 | 1182234.7439 | 2623534.0245 | 1182232.7949 | 2623562.4581 | 1182225.1357 | 2623571.3846 | 1182221.0575 | 2623579.421 | 1182216.1532 | 2623600.9158 | 1182200.3293 | 2623616.732 | 1182187.8517 | 2623624.8482 | 1182182.1028 | 2623633.7796 | 1182178.7584 | 2623641.8523 | 1182178.2232 | 2623643.5381 | 1182178.1834
60 | 2623661.3395 | 1182006.4089 | 2623643.5381 | 1182178.1834
61 | 2623773.9371 | 1181846.7166 | 2623771.7241 | 1181857.9359 | 2623770.6316 | 1181873.5174 | 2623771.8079 | 1181890.7644 | 2623773.3948 | 1181900.7648 | 2623774.3591 | 1181907.9279 | 2623775.8506 | 1181915.0041 | 2623776.8455 | 1181920.2219 | 2623776.9989 | 1181923.891 | 2623776.4708 | 1181928.0578 | 2623774.3951 | 1181933.5413 | 2623773.2583 | 1181937.1609 | 2623771.6303 | 1181943.3577 | 2623771.5622 | 1181948.9937 | 2623772.3472 | 1181958.9909 | 2623774.0677 | 1181968.0135 | 2623775.287 | 1181970.553 | 2623776.9401 | 1181971.5378 | 2623778.6374 | 1181970.9887 | 2623784.3359 | 1181958.8382 | 2623787.3144 | 1181954.848
62 | 2623773.9371 | 1181846.7166 | 2623774.528 | 1181842.1165 | 2623774.4142 | 1181838.0695 | 2623773.109 | 1181830.2159 | 2623772.9271 | 1181826.0352 | 2623774.0963 | 1181818.069 | 2623775.1154 | 1181813.3372 | 2623777.8531 | 1181804.588 | 2623779.0753 | 1181798.6897 | 2623779.2459 | 1181794.1881 | 2623778.3843 | 1181790.0158 | 2623776.6407 | 1181784.8729 | 2623775.4835 | 1181782.078 | 2623774.0206 | 1181779.3486 | 2623772.2657 | 1181777.0516
63 | 2623752.3591 | 1181788.5677 | 2623757.3919 | 1181784.5077 | 2623764.4283 | 1181779.7331 | 2623765.4527 | 1181779.4258 | 2623766.6809 | 1181779.742 | 2623769.8948 | 1181783.7901 | 2623770.5602 | 1181783.5371 | 2623771.2832 | 1181782.2059 | 2623772.2657 | 1181777.0516
64 | 2623103.8361 | 1181738.6683 | 2623104.2233 | 1181738.1809 | 2623108.0016 | 1181734.6047 | 2623112.1989 | 1181731.2858 | 2623116.9443 | 1181728.4248 | 2623116.964 | 1181728.416
65 | 2623116.964 | 1181728.416 | 2623129.8177 | 1181722.7158 | 2623145.4085 | 1181717.2619 | 2623152.5695 | 1181715.7109 | 2623160.7521 | 1181714.553 | 2623166.6402 | 1181714.3756 | 2623167.5851 | 1181714.4535
66 | 2623173.5999 | 1181714.9494 | 2623167.5851 | 1181714.4535
67 | 2623173.5999 | 1181714.9494 | 2623173.8539 | 1181714.9704 | 2623178.217 | 1181716.21 | 2623181.4111 | 1181717.6009 | 2623186.2406 | 1181720.6433 | 2623186.2469 | 1181720.6491
68 | 2623191.6829 | 1181630.2507 | 2623189.9719 | 1181628.3987 | 2623188.2589 | 1181627.0803 | 2623185.8557 | 1181626.5041 | 2623185.8557 | 1181626.5041
69 | 2623237.6941 | 1181751.7027 | 2623245.3822 | 1181750.076 | 2623251.0032 | 1181747.8855 | 2623255.1348 | 1181745.767 | 2623259.8137 | 1181742.3389 | 2623264.0985 | 1181738.1311 | 2623268.3794 | 1181732.9561 | 2623271.949 | 1181728.0896 | 2623276.0296 | 1181721.4353 | 2623278.3781 | 1181718.3539 | 2623281.0542 | 1181715.485 | 2623284.4322 | 1181712.7745 | 2623289.2626 | 1181709.6694 | 2623293.3549 | 1181707.8621 | 2623296.8867 | 1181706.8419 | 2623302.3259 | 1181706.2405 | 2623308.0757 | 1181706.2739 | 2623321.9071 | 1181707.5949 | 2623340.2037 | 1181709.3891 | 2623344.9604 | 1181710.331
70 | 2623237.6941 | 1181751.7027 | 2623231.264 | 1181751.8556 | 2623223.6554 | 1181750.7145 | 2623217.6466 | 1181748.5457 | 2623212.1904 | 1181745.6676 | 2623206.5561 | 1181741.4325 | 2623198.8808 | 1181733.8212 | 2623190.768 | 1181724.7963 | 2623186.2469 | 1181720.6491
71 | 2623185.8557 | 1181626.5041 | 2623183.1459 | 1181626.2379 | 2623172.6242 | 1181626.0083 | 2623165.667 | 1181628.1493 | 2623159.7985 | 1181631.1504 | 2623140.8949 | 1181640.1601 | 2623127.4293 | 1181649.0745
72 | 2623344.9604 | 1181710.331 | 2623345.8729 | 1181710.5117 | 2623350.815 | 1181712.0651 | 2623354.9694 | 1181713.9377 | 2623355.0583 | 1181713.9872
73 | 2624014.855 | 1182381.6308 | 2624012.3243 | 1182378.6969 | 2624009.9468 | 1182375.6191 | 2624008.8426 | 1182373.4086

## bus_geodata
| x | y | coords
0 | 2622755.3804 | 1181912.7437
1 | 2622853.2545 | 1181903.3519
2 | 2622875.6717 | 1181900.3705
3 | 2622978.9275 | 1181853.0601
4 | 2622976.5951 | 1181832.0069
5 | 2623011.0831 | 1181861.7217
6 | 2623872.9575 | 1181735.5297
7 | 2623890.5227 | 1181742.1908
8 | 2623857.3336 | 1181734.6824
9 | 2623932.4318 | 1181753.6086
10 | 2623851.1301 | 1181737.2311
11 | 2623917.1608 | 1181738.779
12 | 2624008.1747 | 1181671.1235
13 | 2623836.7347 | 1181765.8678
14 | 2623851.4257 | 1181654.535
15 | 2623722.8308 | 1181744.1168
16 | 2624078.3232 | 1181803.5953
17 | 2624109.6519 | 1181767.8357
18 | 2624110.8996 | 1181804.9773
19 | 2623728.8013 | 1181750.1435
20 | 2623509.7696 | 1181702.1478
21 | 2622942.7103 | 1181757.6057
22 | 2622939.8874 | 1181752.1296
23 | 2622946.1951 | 1181774.4497
24 | 2622955.3771 | 1181766.5111
25 | 2622982.9918 | 1181784.2427
26 | 2623071.8224 | 1181778.9015
27 | 2623118.3269 | 1181680.0087
28 | 2623137.752 | 1181663.658
29 | 2623185.8684 | 1181631.1287
30 | 2622936.443 | 1181954.6505
31 | 2622992.0163 | 1181918.622
32 | 2623119.2004 | 1181974.4099
33 | 2624382.8965 | 1181941.6993
34 | 2624306.7431 | 1182000.084
35 | 2624266.6582 | 1181995.2146
36 | 2624252.3115 | 1182110.8327
37 | 2624514.9322 | 1182335.9104
38 | 2624045.3167 | 1182401.374
39 | 2623931.7995 | 1182215.7135
40 | 2623940.1114 | 1182211.3165
41 | 2623911.1782 | 1182228.2039
42 | 2623945.2326 | 1182208.6073
43 | 2623833.7478 | 1182256.7334
44 | 2623984.3429 | 1182345.7902
45 | 2623674.0498 | 1182186.9399
46 | 2623990.9225 | 1182350.5981
47 | 2623662.4902 | 1182180.35
48 | 2623790.1516 | 1182073.8778
49 | 2624062.1578 | 1181622.0883
50 | 2624022.191 | 1181630.0248
51 | 2623179.518 | 1181987.896
52 | 2623402.6853 | 1182194.3953
53 | 2623418.6164 | 1182215.0014
54 | 2623417.4493 | 1182169.7803
55 | 2623643.5381 | 1182178.1834
56 | 2623787.3144 | 1181954.848
57 | 2623661.3395 | 1182006.4089
58 | 2623773.9371 | 1181846.7166
59 | 2623772.2657 | 1181777.0516
60 | 2623752.3591 | 1181788.5677
61 | 2623103.8361 | 1181738.6683
62 | 2623116.964 | 1181728.416
63 | 2623167.5851 | 1181714.4535
64 | 2623173.5999 | 1181714.9494
65 | 2623191.6829 | 1181630.2507
66 | 2623237.6941 | 1181751.7026
67 | 2623185.8557 | 1181626.5041
68 | 2623344.9604 | 1181710.331
69 | 2623186.2469 | 1181720.6491
70 | 2623355.0583 | 1181713.9872
71 | 2623127.4293 | 1181649.0745
72 | 2623664.3359 | 1181736.6698
73 | 2624014.855 | 1182381.6308
74 | 2624008.8426 | 1182373.4086
75 | 2623237.6941 | 1181751.7026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1