## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_927-1_1_3_node_80 | 0.4 | n |  | TRUE
1 | bus_LV_927-1_1_3_node_81 | 0.4 | n |  | TRUE
2 | bus_LV_927-1_1_3_node_82 | 0.4 | n |  | TRUE
3 | bus_LV_927-1_1_3_node_105 | 0.4 | n |  | TRUE
4 | bus_LV_927-1_1_3_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_927-1_1_3_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_927-1_1_3_node_96 | 0.4 | n |  | TRUE
7 | bus_LV_927-1_1_3_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_927-1_1_3_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_927-1_1_3_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_927-1_1_3_node_112 | 0.4 | n |  | TRUE
11 | bus_LV_927-1_1_3_node_111 | 0.4 | n |  | TRUE
12 | bus_LV_927-1_1_3_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_927-1_1_3_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_927-1_1_3_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_927-1_1_3_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_927-1_1_3_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_927-1_1_3_node_93 | 0.4 | n |  | TRUE
18 | bus_LV_927-1_1_3_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_927-1_1_3_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_927-1_1_3_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_927-1_1_3_node_114 | 0.4 | n |  | TRUE
22 | bus_LV_927-1_1_3_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_927-1_1_3_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_927-1_1_3_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_927-1_1_3_node_100 | 0.4 | n |  | TRUE
26 | bus_LV_927-1_1_3_node_101 | 0.4 | n |  | TRUE
27 | bus_LV_927-1_1_3_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_927-1_1_3_node_103 | 0.4 | n |  | TRUE
29 | bus_LV_927-1_1_3_node_104 | 0.4 | n |  | TRUE
30 | bus_LV_927-1_1_3_node_107 | 0.4 | n |  | TRUE
31 | bus_LV_927-1_1_3_node_207 | 0.4 | n |  | TRUE
32 | bus_LV_927-1_1_3_node_108 | 0.4 | n |  | TRUE
33 | bus_LV_927-1_1_3_node_110 | 0.4 | n |  | TRUE
34 | bus_LV_927-1_1_3_node_230 | 0.4 | n |  | TRUE
35 | bus_LV_927-1_1_3_node_211 | 0.4 | n |  | TRUE
36 | bus_LV_927-1_1_3_node_113 | 0.4 | n |  | TRUE
37 | bus_LV_927-1_1_3_node_115 | 0.4 | n |  | TRUE
38 | bus_LV_927-1_1_3_node_201 | 0.4 | n |  | TRUE
39 | bus_LV_927-1_1_3_node_156 | 0.4 | n |  | TRUE
40 | bus_LV_927-1_1_3_node_157 | 0.4 | n |  | TRUE
41 | bus_LV_927-1_1_3_node_158 | 0.4 | n |  | TRUE
42 | bus_LV_927-1_1_3_node_159 | 0.4 | n |  | TRUE
43 | bus_LV_927-1_1_3_node_160 | 0.4 | n |  | TRUE
44 | bus_LV_927-1_1_3_node_224 | 0.4 | n |  | TRUE
45 | bus_LV_927-1_1_3_node_166 | 0.4 | n |  | TRUE
46 | bus_LV_927-1_1_3_node_164 | 0.4 | n |  | TRUE
47 | bus_LV_927-1_1_3_node_165 | 0.4 | n |  | TRUE
48 | bus_LV_927-1_1_3_node_167 | 0.4 | n |  | TRUE
49 | bus_LV_927-1_1_3_node_168 | 0.4 | n |  | TRUE
50 | bus_LV_927-1_1_3_node_180 | 0.4 | n |  | TRUE
51 | bus_LV_927-1_1_3_node_227 | 0.4 | n |  | TRUE
52 | bus_LV_927-1_1_3_node_228 | 0.4 | n |  | TRUE
53 | bus_LV_927-1_1_3_node_169 | 0.4 | n |  | TRUE
54 | bus_LV_927-1_1_3_node_170 | 0.4 | n |  | TRUE
55 | bus_LV_927-1_1_3_node_172 | 0.4 | n |  | TRUE
56 | bus_LV_927-1_1_3_node_171 | 0.4 | n |  | TRUE
57 | bus_LV_927-1_1_3_node_173 | 0.4 | n |  | TRUE
58 | bus_LV_927-1_1_3_node_174 | 0.4 | n |  | TRUE
59 | bus_LV_927-1_1_3_node_179 | 0.4 | n |  | TRUE
60 | bus_LV_927-1_1_3_node_175 | 0.4 | n |  | TRUE
61 | bus_LV_927-1_1_3_node_181 | 0.4 | n |  | TRUE
62 | bus_LV_927-1_1_3_node_184 | 0.4 | n |  | TRUE
63 | bus_LV_927-1_1_3_node_182 | 0.4 | n |  | TRUE
64 | bus_LV_927-1_1_3_node_176 | 0.4 | n |  | TRUE
65 | bus_LV_927-1_1_3_node_178 | 0.4 | n |  | TRUE
66 | bus_LV_927-1_1_3_node_177 | 0.4 | n |  | TRUE
67 | bus_LV_927-1_1_3_node_187 | 0.4 | n |  | TRUE
68 | bus_LV_927-1_1_3_node_183 | 0.4 | n |  | TRUE
69 | bus_LV_927-1_1_3_node_229 | 0.4 | n |  | TRUE
70 | bus_LV_927-1_1_3_node_186 | 0.4 | n |  | TRUE
71 | bus_LV_927-1_1_3_node_188 | 0.4 | n |  | TRUE
72 | bus_LV_927-1_1_3_node_217 | 0.4 | n |  | TRUE
73 | bus_LV_927-1_1_3_node_190 | 0.4 | n |  | TRUE
74 | bus_LV_927-1_1_3_node_192 | 0.4 | n |  | TRUE
75 | bus_LV_927-1_1_3_node_195 | 0.4 | n |  | TRUE
76 | bus_LV_927-1_1_3_node_208 | 0.4 | n |  | TRUE
77 | bus_LV_927-1_1_3_node_209 | 0.4 | n |  | TRUE
78 | bus_LV_927-1_1_3_node_212 | 0.4 | n |  | TRUE
79 | bus_LV_927-1_1_3_node_213 | 0.4 | n |  | TRUE
80 | bus_LV_927-1_1_3_node_214 | 0.4 | n |  | TRUE
81 | bus_LV_927-1_1_3_node_216 | 0.4 | n |  | TRUE
82 | bus_LV_927-1_1_3_node_215 | 0.4 | n |  | TRUE
83 | bus_LV_927-1_1_3_node_231 | 0.4 | n |  | TRUE
84 | bus_LV_927-1_1_3_node_232 | 0.4 | n |  | TRUE
85 | bus_MV_107_1_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_927-1_1_3_load_80 | 0 | 0.0053495 | 0.0013407 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_927-1_1_3_load_81 | 1 | 0.00077318 | 0.00019378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_927-1_1_3_load_84 | 5 | 0.00092078 | 0.00023077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_927-1_1_3_load_96 | 6 | 0.0082165 | 0.0020592 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_927-1_1_3_load_85 | 7 | 0.002264 | 0.00056742 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_927-1_1_3_load_86 | 8 | 0.010156 | 0.0025452 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_927-1_1_3_load_111 | 11 | 0.0062691 | 0.0015712 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_927-1_1_3_load_88 | 12 | 0.0015458 | 0.00038742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_927-1_1_3_load_89 | 13 | 0.00085197 | 0.00021352 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_927-1_1_3_load_91 | 15 | 0.0026166 | 0.00065578 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_927-1_1_3_load_92 | 16 | 0.0020175 | 0.00050562 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_927-1_1_3_load_93 | 17 | 0.0026266 | 0.00065829 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_927-1_1_3_load_109 | 20 | 0.00045272 | 0.00011346 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_927-1_1_3_load_97 | 22 | 0.00078624 | 0.00019705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_927-1_1_3_load_98 | 23 | 0.0017967 | 0.0004503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_927-1_1_3_load_99 | 24 | 0.00078534 | 0.00019683 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_927-1_1_3_load_101 | 26 | 0.0012268 | 0.00030746 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_927-1_1_3_load_103 | 28 | 0.0060837 | 0.0015247 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_927-1_1_3_load_107 | 30 | 0.00056602 | 0.00014186 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_927-1_1_3_load_207 | 31 | 0.00089632 | 0.00022464 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_927-1_1_3_load_108 | 32 | 0.0018912 | 0.00047397 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_927-1_1_3_load_110 | 33 | 0.0016081 | 0.00040303 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_927-1_1_3_load_230 | 34 | 0.0043716 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_927-1_1_3_load_211 | 35 | 0.003885 | 0.00097367 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_927-1_1_3_load_113 | 36 | 0.006963 | 0.0017451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_927-1_1_3_load_115 | 37 | 0.00064295 | 0.00016114 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_927-1_1_3_load_201 | 38 | 0.00014926 | 3.7408e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_927-1_1_3_load_156 | 39 | 0.00061985 | 0.00015535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_927-1_1_3_load_158 | 41 | 0.00094914 | 0.00023788 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_927-1_1_3_load_160 | 43 | 0.00066392 | 0.00016639 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_927-1_1_3_load_224 | 44 | 0.0002394 | 5.9999e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_927-1_1_3_load_164 | 46 | 0.001722 | 0.00043157 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_927-1_1_3_load_165 | 47 | 0.0015355 | 0.00038482 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_927-1_1_3_load_167 | 48 | 0.00039906 | 0.00010001 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_927-1_1_3_load_227 | 51 | 0.0009346 | 0.00023423 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_927-1_1_3_load_228 | 52 | 0.00037479 | 9.393e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_927-1_1_3_load_169 | 53 | 0.0026144 | 0.00065522 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_927-1_1_3_load_170 | 54 | 0.0007852 | 0.00019679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_927-1_1_3_load_173 | 57 | 0.0017735 | 0.00044449 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_927-1_1_3_load_181 | 61 | 0.0042984 | 0.0010773 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_927-1_1_3_load_182 | 63 | 0.0032864 | 0.00082365 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_927-1_1_3_load_176 | 64 | 0.00103 | 0.00025814 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_927-1_1_3_load_177 | 66 | 0.0023357 | 0.00058537 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_927-1_1_3_load_187 | 67 | 0.00083943 | 0.00021038 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_927-1_1_3_load_183 | 68 | 0.0039918 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_927-1_1_3_load_229 | 69 | 0.0030786 | 0.00077158 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_927-1_1_3_load_186 | 70 | 0.0021972 | 0.00055068 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_927-1_1_3_load_217 | 72 | 0.0017909 | 0.00044884 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_927-1_1_3_load_190 | 73 | 0.00081754 | 0.00020489 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_927-1_1_3_load_195 | 75 | 0.0001304 | 3.2682e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_927-1_1_3_load_208 | 76 | 0.0015318 | 0.00038391 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_927-1_1_3_load_209 | 77 | 0.00092927 | 0.0002329 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_927-1_1_3_load_213 | 79 | 0.0080134 | 0.0020083 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_927-1_1_3_load_214 | 80 | 0.0046909 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_927-1_1_3_load_216 | 81 | 0.0034943 | 0.00087575 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_927-1_1_3_load_215 | 82 | 0.0032125 | 0.00080512 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_927-1_1_3_load_232 | 84 | 0.00021972 | 5.5067e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_927-1_1_3_line_0 |  | 0 | 1 | 0.026036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_927-1_1_3_line_1 |  | 0 | 2 | 0.0059683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_927-1_1_3_line_2 |  | 1 | 3 | 0.27242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_927-1_1_3_line_3 |  | 2 | 4 | 0.0044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_927-1_1_3_line_4 |  | 2 | 5 | 0.024852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_927-1_1_3_line_5 |  | 3 | 27 | 0.006841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_927-1_1_3_line_6 |  | 4 | 6 | 0.1322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_927-1_1_3_line_7 |  | 5 | 7 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_927-1_1_3_line_8 |  | 7 | 8 | 0.12407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_927-1_1_3_line_9 |  | 8 | 9 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_927-1_1_3_line_10 |  | 9 | 10 | 0.10109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_927-1_1_3_line_11 |  | 9 | 11 | 0.023291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_927-1_1_3_line_12 |  | 10 | 35 | 0.012349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_927-1_1_3_line_13 |  | 11 | 34 | 0.052396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_927-1_1_3_line_14 |  | 11 | 15 | 0.077831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_927-1_1_3_line_15 |  | 12 | 13 | 0.010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_927-1_1_3_line_16 |  | 12 | 14 | 0.040917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_927-1_1_3_line_17 |  | 13 | 15 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_927-1_1_3_line_18 |  | 14 | 16 | 0.0087746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_927-1_1_3_line_19 |  | 14 | 17 | 0.0068951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_927-1_1_3_line_20 |  | 17 | 18 | 0.008156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_927-1_1_3_line_21 |  | 18 | 19 | 0.009757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_927-1_1_3_line_22 |  | 19 | 20 | 0.005578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_927-1_1_3_line_23 |  | 19 | 21 | 0.062769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_927-1_1_3_line_24 |  | 20 | 32 | 0.022674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_927-1_1_3_line_25 |  | 21 | 37 | 0.021451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_927-1_1_3_line_26 |  | 21 | 36 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_927-1_1_3_line_27 |  | 22 | 23 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_927-1_1_3_line_28 |  | 22 | 24 | 0.0086499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_927-1_1_3_line_29 |  | 23 | 25 | 0.031754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_927-1_1_3_line_30 |  | 24 | 26 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_927-1_1_3_line_31 |  | 25 | 27 | 0.079055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_927-1_1_3_line_32 |  | 27 | 28 | 0.03599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_927-1_1_3_line_33 |  | 28 | 29 | 0.038691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_927-1_1_3_line_34 |  | 29 | 30 | 0.016404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_927-1_1_3_line_35 |  | 30 | 31 | 0.031561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_927-1_1_3_line_36 |  | 31 | 76 | 0.036571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_927-1_1_3_line_37 |  | 32 | 33 | 0.011071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_927-1_1_3_line_38 |  | 35 | 78 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_927-1_1_3_line_39 |  | 37 | 38 | 0.10461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_927-1_1_3_line_40 |  | 38 | 75 | 0.088356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_927-1_1_3_line_41 |  | 39 | 40 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_927-1_1_3_line_42 |  | 40 | 41 | 0.00036077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_927-1_1_3_line_43 |  | 40 | 42 | 0.013507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_927-1_1_3_line_44 |  | 41 | 43 | 0.13598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_927-1_1_3_line_45 |  | 42 | 44 | 0.0098922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_927-1_1_3_line_46 |  | 43 | 45 | 0.15641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_927-1_1_3_line_47 |  | 45 | 49 | 0.003731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_927-1_1_3_line_48 |  | 45 | 46 | 0.017438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_927-1_1_3_line_49 |  | 46 | 47 | 0.1705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_927-1_1_3_line_50 |  | 47 | 48 | 0.044473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_927-1_1_3_line_51 |  | 48 | 50 | 0.0059454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_927-1_1_3_line_52 |  | 49 | 51 | 0.035588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_927-1_1_3_line_53 |  | 49 | 52 | 0.040366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_927-1_1_3_line_54 |  | 50 | 65 | 0.006024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_927-1_1_3_line_55 |  | 52 | 83 | 0.089455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_927-1_1_3_line_56 |  | 53 | 54 | 0.004772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_927-1_1_3_line_57 |  | 54 | 55 | 0.0097758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_927-1_1_3_line_58 |  | 55 | 59 | 0.013857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_927-1_1_3_line_59 |  | 55 | 58 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_927-1_1_3_line_60 |  | 56 | 57 | 0.0017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_927-1_1_3_line_61 |  | 56 | 58 | 0.018381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_927-1_1_3_line_62 |  | 58 | 60 | 0.045408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_927-1_1_3_line_63 |  | 58 | 61 | 0.055585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_927-1_1_3_line_64 |  | 59 | 67 | 0.06449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_927-1_1_3_line_65 |  | 59 | 66 | 0.025013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_927-1_1_3_line_66 |  | 60 | 62 | 0.037303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_927-1_1_3_line_67 |  | 60 | 63 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_927-1_1_3_line_68 |  | 61 | 65 | 0.070509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_927-1_1_3_line_69 |  | 62 | 69 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_927-1_1_3_line_70 |  | 63 | 68 | 0.024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_927-1_1_3_line_71 |  | 64 | 65 | 0.031072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_927-1_1_3_line_72 |  | 67 | 70 | 0.024987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_927-1_1_3_line_73 |  | 70 | 71 | 0.0021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_927-1_1_3_line_74 |  | 71 | 72 | 0.17597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_927-1_1_3_line_75 |  | 72 | 82 | 0.017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_927-1_1_3_line_76 |  | 73 | 74 | 0.004944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_927-1_1_3_line_77 |  | 74 | 75 | 0.0070165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_927-1_1_3_line_78 |  | 76 | 77 | 0.010494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_927-1_1_3_line_79 |  | 78 | 79 | 0.021274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_927-1_1_3_line_80 |  | 78 | 80 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_927-1_1_3_line_81 |  | 80 | 81 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_927-1_1_3_line_82 |  | 81 | 82 | 0.022307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_927-1_1_3_line_83 |  | 83 | 84 | 0.041406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_927-1_1_3_trafo_91 | 0.63 MVA 20/0.4 kV | 85 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2618297.7506 | 1177929.8312 | 2618295.5516 | 1177931.7521 | 2618288.7507 | 1177936.9564 | 2618276.7437 | 1177945.1791
1 | 2618271.6696 | 1177948.3103 | 2618274.4479 | 1177946.7512 | 2618276.7437 | 1177945.1791
2 | 2618297.7506 | 1177929.8312 | 2618303.8972 | 1177657.4815
3 | 2618271.6696 | 1177948.3103 | 2618272.5728 | 1177950.2807 | 2618272.7527 | 1177951.4485 | 2618272.6349 | 1177952.4931
4 | 2618271.6696 | 1177948.3103 | 2618249.8454 | 1177960.1986
5 | 2618303.8972 | 1177657.4815 | 2618304.2524 | 1177656.2486 | 2618306.4497 | 1177652.3533 | 2618307.178 | 1177651.544
6 | 2618272.6349 | 1177952.4931 | 2618272.0476 | 1177954.648 | 2618270.5516 | 1177956.6556 | 2618265.7496 | 1177960.354 | 2618262.3535 | 1177964.0456 | 2618256.253 | 1177972.6537 | 2618246.3484 | 1177988.454 | 2618236.8468 | 1178004.9559 | 2618232.6517 | 1178015.1484 | 2618231.3505 | 1178020.9474 | 2618230.848 | 1178032.952 | 2618232.6537 | 1178047.2537 | 2618236.8509 | 1178071.6456
7 | 2618249.8454 | 1177960.1986 | 2618244.0483 | 1177963.3564 | 2618238.802 | 1177966.5747
8 | 2618238.802 | 1177966.5747 | 2618237.0516 | 1177967.6485 | 2618228.0534 | 1177974.3469 | 2618217.9495 | 1177982.854 | 2618211.1528 | 1177989.2478 | 2618205.3484 | 1177995.9559 | 2618198.951 | 1178004.2519 | 2618191.5505 | 1178015.7465 | 2618178.1471 | 1178039.0513 | 2618165.0735 | 1178064.2105
9 | 2618156.7204 | 1178080.2855 | 2618165.0735 | 1178064.2105
10 | 2618156.7204 | 1178080.2855 | 2618155.1602 | 1178083.3157 | 2618151.6497 | 1178092.054 | 2618148.2514 | 1178106.6512 | 2618147.2539 | 1178115.6528 | 2618147.6044 | 1178138.7435 | 2618142.8777 | 1178137.8399 | 2618143.7779 | 1178148.4258 | 2618143.927 | 1178162.3223 | 2618143.4292 | 1178167.7791 | 2618141.5849 | 1178173.8211
11 | 2618156.7204 | 1178080.2855 | 2618151.5062 | 1178076.3011 | 2618141.5124 | 1178068.6448 | 2618138.2092 | 1178066.1506
12 | 2618141.5849 | 1178173.8211 | 2618139.8525 | 1178173.1489 | 2618133.7494 | 1178170.0511 | 2618130.5112 | 1178168.374
13 | 2618138.2092 | 1178066.1506 | 2618089.6723 | 1178085.8864
14 | 2618082.1459 | 1178012.6956 | 2618083.6521 | 1178014.554 | 2618089.988 | 1178021.5878 | 2618090.9475 | 1178022.6468 | 2618103.3497 | 1178037.4472 | 2618118.4966 | 1178051.6223 | 2618134.2398 | 1178063.1534 | 2618138.2092 | 1178066.1506
15 | 2618073.1838 | 1178001.3673 | 2618072.1659 | 1178000.0121 | 2618068.0487 | 1177994.5525 | 2618066.8132 | 1177993.0374
16 | 2618040.8401 | 1177961.4205 | 2618059.6519 | 1177984.2553 | 2618066.8132 | 1177993.0374
17 | 2618082.1459 | 1178012.6956 | 2618075.9482 | 1178005.0482 | 2618073.1838 | 1178001.3673
18 | 2618040.8401 | 1177961.4205 | 2618032.611 | 1177964.4661
19 | 2618040.8401 | 1177961.4205 | 2618039.4468 | 1177959.7488 | 2618036.2451 | 1177956.2823
20 | 2618030.305 | 1177950.7057 | 2618034.6487 | 1177954.554 | 2618036.2451 | 1177956.2823
21 | 2618022.8743 | 1177944.358 | 2618030.305 | 1177950.7057
22 | 2618022.8743 | 1177944.358 | 2618023.7251 | 1177938.8452
23 | 2617974.0452 | 1177904.925 | 2617975.4474 | 1177906.1521 | 2618003.8119 | 1177928.5706 | 2618007.7527 | 1177931.7507 | 2618022.8743 | 1177944.358
24 | 2618023.7251 | 1177938.8452 | 2618025.4535 | 1177927.646 | 2618026.1495 | 1177924.8467 | 2618027.4471 | 1177922.7495 | 2618029.3471 | 1177921.0543 | 2618032.4142 | 1177919.4858
25 | 2617974.0452 | 1177904.925 | 2617961.5543 | 1177894.0488 | 2617958.3502 | 1177892.3495 | 2617957.1722 | 1177891.8976
26 | 2617974.0452 | 1177904.925 | 2617974.3738 | 1177915.1313 | 2617974.159 | 1177917.7191
27 | 2618384.8677 | 1177584.1497 | 2618383.352 | 1177591.8457 | 2618380.7437 | 1177602.9059
28 | 2618386.5392 | 1177575.6628 | 2618384.8677 | 1177584.1497
29 | 2618381.0107 | 1177632.8595 | 2618378.3531 | 1177629.8498 | 2618377.1522 | 1177627.7562 | 2618376.5516 | 1177624.2526 | 2618377.1534 | 1177619.8522 | 2618378.3509 | 1177613.0523 | 2618380.7437 | 1177602.9059
30 | 2618392.2714 | 1177559.271 | 2618389.0527 | 1177566.7502 | 2618387.0543 | 1177573.0473 | 2618386.5392 | 1177575.6628
31 | 2618307.178 | 1177651.544 | 2618309.1485 | 1177649.3489 | 2618312.4476 | 1177647.4468 | 2618316.7536 | 1177646.1481 | 2618322.1501 | 1177645.5532 | 2618352.5519 | 1177646.3462 | 2618357.4523 | 1177645.5496 | 2618361.85 | 1177644.2513 | 2618367.2514 | 1177642.0555 | 2618373.0538 | 1177638.6493 | 2618379.6469 | 1177634.0559 | 2618381.0107 | 1177632.8595
32 | 2618307.178 | 1177651.544 | 2618307.0481 | 1177649.0534 | 2618307.751 | 1177646.5543 | 2618309.3486 | 1177643.8467 | 2618312.3522 | 1177641.1544 | 2618317.9498 | 1177637.2472 | 2618327.849 | 1177630.9519 | 2618329.2532 | 1177629.0552 | 2618329.3512 | 1177626.9545 | 2618329.0652 | 1177626.3133
33 | 2618294.0499 | 1177611.5503 | 2618297.9476 | 1177613.8522 | 2618305.9522 | 1177617.4561 | 2618325.1538 | 1177622.7506 | 2618327.0534 | 1177623.7458 | 2618328.5468 | 1177625.1511 | 2618329.0652 | 1177626.3133
34 | 2618294.0499 | 1177611.5503 | 2618308.7577 | 1177604.2861
35 | 2618336.4409 | 1177589.1334 | 2618310.6487 | 1177603.3521 | 2618308.7577 | 1177604.2861
36 | 2618336.4409 | 1177589.1334 | 2618340.9513 | 1177586.6469 | 2618346.4483 | 1177583.1508 | 2618350.4481 | 1177579.55 | 2618353.1488 | 1177575.9564 | 2618355.6526 | 1177571.7508 | 2618359.8289 | 1177562.5175
37 | 2618042.5532 | 1177915.0464 | 2618033.6479 | 1177918.8549 | 2618032.4142 | 1177919.4858
38 | 2618116.196 | 1178160.9603 | 2618130.5112 | 1178168.374
39 | 2617957.1722 | 1177891.8976 | 2617953.6488 | 1177890.5457 | 2617934.2533 | 1177883.8511 | 2617901.3489 | 1177874.5484 | 2617883.7485 | 1177870.5495 | 2617875.8529 | 1177868.8474 | 2617869.6526 | 1177867.4505 | 2617860.7514 | 1177864.7561 | 2617856.7526 | 1177863.0544 | 2617856.7526 | 1177863.0544
40 | 2617791.6304 | 1177804.8036 | 2617800.053 | 1177817.9523 | 2617804.7515 | 1177823.3467 | 2617812.9504 | 1177831.0527 | 2617847.5531 | 1177857.8467 | 2617856.7526 | 1177863.0544
41 | 2617306.1482 | 1178126.4474 | 2617307.2468 | 1178129.6522 | 2617308.4489 | 1178131.4455 | 2617310.5531 | 1178133.0524 | 2617328.5535 | 1178141.2528 | 2617329.152 | 1178141.6435
42 | 2617306.4962 | 1178126.3523 | 2617306.1482 | 1178126.4474
43 | 2617293.277 | 1178130.657 | 2617306.1482 | 1178126.4474
44 | 2617433.5805 | 1178147.1532 | 2617424.0495 | 1178144.9526 | 2617418.1489 | 1178143.0457 | 2617413.9515 | 1178141.3549 | 2617409.9469 | 1178139.0533 | 2617387.3525 | 1178123.6467 | 2617380.6536 | 1178120.3479 | 2617373.1505 | 1178117.7471 | 2617367.0497 | 1178116.351 | 2617359.1513 | 1178115.6501 | 2617352.8476 | 1178115.7542 | 2617347.3523 | 1178116.3498 | 2617325.1499 | 1178121.255 | 2617306.4962 | 1178126.3523
45 | 2617293.277 | 1178130.657 | 2617292.2516 | 1178128.553 | 2617290.3528 | 1178127.2469 | 2617285.5546 | 1178125.1238
46 | 2617519.3501 | 1178016.3524 | 2617433.5805 | 1178147.1532
47 | 2617519.3501 | 1178016.3524 | 2617522.3365 | 1178014.1043
48 | 2617519.3501 | 1178016.3524 | 2617531.0468 | 1178024.6462 | 2617533.6012 | 1178026.4009
49 | 2617533.6012 | 1178026.4009 | 2617542.5535 | 1178032.5505 | 2617562.4493 | 1178048.45 | 2617595.7506 | 1178073.4489 | 2617610.652 | 1178085.7544 | 2617619.3512 | 1178094.7511 | 2617624.5501 | 1178101.4475 | 2617632.9498 | 1178110.9548 | 2617647.7518 | 1178125.8502 | 2617660.2836 | 1178139.5016
50 | 2617660.2836 | 1178139.5016 | 2617663.4487 | 1178142.9495 | 2617672.6509 | 1178152.348 | 2617676.3483 | 1178155.1492 | 2617688.6516 | 1178162.2556 | 2617695.2509 | 1178165.5545 | 2617695.6351 | 1178165.7108
51 | 2617701.1424 | 1178167.9508 | 2617695.6351 | 1178165.7108
52 | 2617522.3365 | 1178014.1043 | 2617512.7535 | 1178004.1491 | 2617507.853 | 1177999.8549 | 2617503.8507 | 1177996.7528 | 2617501.05 | 1177995.5551 | 2617493.8513 | 1177995.9455
53 | 2617558.8472 | 1177997.2466 | 2617540.8511 | 1178003.2527 | 2617525.0473 | 1178012.0556 | 2617522.3365 | 1178014.1043
54 | 2617704.8034 | 1178172.7418 | 2617701.1424 | 1178167.9508
55 | 2617594.998 | 1177915.4214 | 2617558.8472 | 1177997.2466
56 | 2617822.0924 | 1178227.4142 | 2617817.4081 | 1178226.5039
57 | 2617807.8118 | 1178224.639 | 2617817.4081 | 1178226.5039
58 | 2617811.4271 | 1178211.2762 | 2617808.5488 | 1178220.8504 | 2617807.8118 | 1178224.639
59 | 2617805.8176 | 1178240.13 | 2617806.1485 | 1178236.7514 | 2617807.253 | 1178227.55 | 2617807.8118 | 1178224.639
60 | 2617820.3177 | 1178248.3438 | 2617821.9139 | 1178249.1009
61 | 2617805.8176 | 1178240.13 | 2617805.5886 | 1178242.6528 | 2617807.9483 | 1178243.0489 | 2617820.3177 | 1178248.3438
62 | 2617800.6721 | 1178285.2045 | 2617801.6468 | 1178281.1498 | 2617802.5517 | 1178274.8492 | 2617805.5886 | 1178242.6528 | 2617805.8176 | 1178240.13
63 | 2617805.8176 | 1178240.13 | 2617786.1532 | 1178236.8479 | 2617775.4511 | 1178233.5479 | 2617765.3482 | 1178229.1492 | 2617756.0475 | 1178224.7528 | 2617753.3783 | 1178223.0941
64 | 2617811.4271 | 1178211.2762 | 2617812.7534 | 1178207.1558 | 2617818.8514 | 1178193.956 | 2617823.1538 | 1178185.9535 | 2617827.0527 | 1178180.0509 | 2617832.2516 | 1178173.752 | 2617836.8484 | 1178169.5524 | 2617842.2529 | 1178166.0555 | 2617847.2499 | 1178163.4467 | 2617850.0304 | 1178162.3367
65 | 2617811.4271 | 1178211.2762 | 2617808.0521 | 1178210.5548 | 2617805.6513 | 1178211.148 | 2617788.8075 | 1178220.129
66 | 2617783.7502 | 1178318.2936 | 2617799.651 | 1178289.4481 | 2617800.3704 | 1178286.4598 | 2617800.6721 | 1178285.2045
67 | 2617800.6721 | 1178285.2045 | 2617793.7481 | 1178283.2497 | 2617788.9491 | 1178280.9454 | 2617787.7256 | 1178280.1556
68 | 2617704.8034 | 1178172.7418 | 2617716.949 | 1178189.2527 | 2617728.6508 | 1178203.35 | 2617734.9527 | 1178209.0492 | 2617749.4506 | 1178220.6535 | 2617753.3783 | 1178223.0941
69 | 2617804.5486 | 1178310.0509 | 2617783.7502 | 1178318.2936
70 | 2617768.1516 | 1178265.5539 | 2617779.3482 | 1178274.7472 | 2617787.7256 | 1178280.1556
71 | 2617704.8034 | 1178172.7418 | 2617718.9518 | 1178173.3505 | 2617723.1517 | 1178174.1521 | 2617728.7516 | 1178176.9478 | 2617733.8701 | 1178180.7492
72 | 2617874.7515 | 1178160.4059 | 2617873.3518 | 1178160.2559 | 2617866.6517 | 1178160.047 | 2617858.0469 | 1178160.5551 | 2617852.2528 | 1178161.4494 | 2617850.0304 | 1178162.3367
73 | 2617876.8729 | 1178160.6332 | 2617874.7515 | 1178160.4059
74 | 2618049.3478 | 1178125.7524 | 2617876.8729 | 1178160.6332
75 | 2618049.3478 | 1178125.7524 | 2618064.9514 | 1178133.9706
76 | 2617787.8457 | 1177798.8953 | 2617785.1792 | 1177794.732
77 | 2617787.8457 | 1177798.8953 | 2617791.6304 | 1177804.8036
78 | 2618364.1536 | 1177552.956 | 2618359.8289 | 1177562.5175
79 | 2618116.196 | 1178160.9603 | 2618105.6499 | 1178179.4491
80 | 2618116.196 | 1178160.9603 | 2618105.8191 | 1178155.4949
81 | 2618105.8191 | 1178155.4949 | 2618084.6884 | 1178144.3657
82 | 2618064.9514 | 1178133.9706 | 2618084.6884 | 1178144.3657
83 | 2617594.998 | 1177915.4214 | 2617601.5511 | 1177916.3521 | 2617636.4491 | 1177915.5539

## bus_geodata
| x | y | coords
0 | 2618276.7437 | 1177945.1791
1 | 2618297.7506 | 1177929.8312
2 | 2618271.6696 | 1177948.3103
3 | 2618303.8972 | 1177657.4815
4 | 2618272.6349 | 1177952.4931
5 | 2618249.8454 | 1177960.1986
6 | 2618236.8509 | 1178071.6456
7 | 2618238.802 | 1177966.5747
8 | 2618165.0735 | 1178064.2105
9 | 2618156.7204 | 1178080.2855
10 | 2618141.5849 | 1178173.8211
11 | 2618138.2092 | 1178066.1506
12 | 2618066.8132 | 1177993.0374
13 | 2618073.1838 | 1178001.3673
14 | 2618040.8401 | 1177961.4205
15 | 2618082.1459 | 1178012.6956
16 | 2618032.611 | 1177964.4661
17 | 2618036.2451 | 1177956.2823
18 | 2618030.305 | 1177950.7057
19 | 2618022.8743 | 1177944.358
20 | 2618023.7251 | 1177938.8452
21 | 2617974.0452 | 1177904.925
22 | 2618384.8677 | 1177584.1497
23 | 2618380.7437 | 1177602.9059
24 | 2618386.5392 | 1177575.6628
25 | 2618381.0107 | 1177632.8595
26 | 2618392.2714 | 1177559.271
27 | 2618307.178 | 1177651.544
28 | 2618329.0652 | 1177626.3133
29 | 2618294.0499 | 1177611.5503
30 | 2618308.7577 | 1177604.2861
31 | 2618336.4409 | 1177589.1334
32 | 2618032.4142 | 1177919.4858
33 | 2618042.5532 | 1177915.0464
34 | 2618089.6723 | 1178085.8864
35 | 2618130.5112 | 1178168.374
36 | 2617974.159 | 1177917.7191
37 | 2617957.1722 | 1177891.8976
38 | 2617856.7526 | 1177863.0544
39 | 2617329.152 | 1178141.6435
40 | 2617306.1482 | 1178126.4474
41 | 2617306.4962 | 1178126.3523
42 | 2617293.277 | 1178130.657
43 | 2617433.5805 | 1178147.1532
44 | 2617285.5546 | 1178125.1238
45 | 2617519.3501 | 1178016.3524
46 | 2617533.6013 | 1178026.4009
47 | 2617660.2836 | 1178139.5016
48 | 2617695.6351 | 1178165.7108
49 | 2617522.3365 | 1178014.1043
50 | 2617701.1424 | 1178167.9508
51 | 2617493.8513 | 1177995.9455
52 | 2617558.8472 | 1177997.2466
53 | 2617822.0924 | 1178227.4142
54 | 2617817.4081 | 1178226.5039
55 | 2617807.8118 | 1178224.639
56 | 2617820.3177 | 1178248.3438
57 | 2617821.9139 | 1178249.1009
58 | 2617805.8176 | 1178240.13
59 | 2617811.4271 | 1178211.2762
60 | 2617800.6721 | 1178285.2045
61 | 2617753.3783 | 1178223.0941
62 | 2617783.7502 | 1178318.2936
63 | 2617787.7256 | 1178280.1556
64 | 2617733.8701 | 1178180.7492
65 | 2617704.8034 | 1178172.7418
66 | 2617788.8075 | 1178220.129
67 | 2617850.0304 | 1178162.3367
68 | 2617768.1516 | 1178265.5539
69 | 2617804.5486 | 1178310.0509
70 | 2617874.7515 | 1178160.4059
71 | 2617876.8729 | 1178160.6332
72 | 2618049.3478 | 1178125.7524
73 | 2617785.1792 | 1177794.732
74 | 2617787.8457 | 1177798.8953
75 | 2617791.6304 | 1177804.8036
76 | 2618359.8289 | 1177562.5175
77 | 2618364.1536 | 1177552.956
78 | 2618116.196 | 1178160.9603
79 | 2618105.6499 | 1178179.4491
80 | 2618105.8191 | 1178155.4949
81 | 2618084.6884 | 1178144.3657
82 | 2618064.9514 | 1178133.9706
83 | 2617594.998 | 1177915.4214
84 | 2617636.4491 | 1177915.5539
85 | 2618040.8401 | 1177961.4205

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1