## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_938-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_938-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_938-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_938-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_938-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_938-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_938-11_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_938-11_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_938-11_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_938-11_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_938-11_0_3_node_211 | 0.4 | n |  | TRUE
11 | bus_LV_938-11_0_3_node_208 | 0.4 | n |  | TRUE
12 | bus_LV_938-11_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_938-11_0_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_938-11_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_938-11_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_938-11_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_938-11_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_938-11_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_938-11_0_3_node_215 | 0.4 | n |  | TRUE
20 | bus_LV_938-11_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_938-11_0_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_938-11_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_938-11_0_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_938-11_0_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_938-11_0_3_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_938-11_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_938-11_0_3_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_938-11_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_938-11_0_3_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_938-11_0_3_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_938-11_0_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_938-11_0_3_node_181 | 0.4 | n |  | TRUE
33 | bus_LV_938-11_0_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_938-11_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_938-11_0_3_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_938-11_0_3_node_237 | 0.4 | n |  | TRUE
37 | bus_LV_938-11_0_3_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_938-11_0_3_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_938-11_0_3_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_938-11_0_3_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_938-11_0_3_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_938-11_0_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_938-11_0_3_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_938-11_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_938-11_0_3_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_938-11_0_3_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_938-11_0_3_node_199 | 0.4 | n |  | TRUE
48 | bus_LV_938-11_0_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_938-11_0_3_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_938-11_0_3_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_938-11_0_3_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_938-11_0_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_938-11_0_3_node_183 | 0.4 | n |  | TRUE
54 | bus_LV_938-11_0_3_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_938-11_0_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_938-11_0_3_node_205 | 0.4 | n |  | TRUE
57 | bus_LV_938-11_0_3_node_179 | 0.4 | n |  | TRUE
58 | bus_LV_938-11_0_3_node_180 | 0.4 | n |  | TRUE
59 | bus_LV_938-11_0_3_node_182 | 0.4 | n |  | TRUE
60 | bus_LV_938-11_0_3_node_186 | 0.4 | n |  | TRUE
61 | bus_LV_938-11_0_3_node_184 | 0.4 | n |  | TRUE
62 | bus_LV_938-11_0_3_node_185 | 0.4 | n |  | TRUE
63 | bus_LV_938-11_0_3_node_203 | 0.4 | n |  | TRUE
64 | bus_LV_938-11_0_3_node_187 | 0.4 | n |  | TRUE
65 | bus_LV_938-11_0_3_node_188 | 0.4 | n |  | TRUE
66 | bus_LV_938-11_0_3_node_192 | 0.4 | n |  | TRUE
67 | bus_LV_938-11_0_3_node_191 | 0.4 | n |  | TRUE
68 | bus_LV_938-11_0_3_node_189 | 0.4 | n |  | TRUE
69 | bus_LV_938-11_0_3_node_216 | 0.4 | n |  | TRUE
70 | bus_LV_938-11_0_3_node_217 | 0.4 | n |  | TRUE
71 | bus_LV_938-11_0_3_node_193 | 0.4 | n |  | TRUE
72 | bus_LV_938-11_0_3_node_194 | 0.4 | n |  | TRUE
73 | bus_LV_938-11_0_3_node_201 | 0.4 | n |  | TRUE
74 | bus_LV_938-11_0_3_node_195 | 0.4 | n |  | TRUE
75 | bus_LV_938-11_0_3_node_240 | 0.4 | n |  | TRUE
76 | bus_LV_938-11_0_3_node_218 | 0.4 | n |  | TRUE
77 | bus_LV_938-11_0_3_node_196 | 0.4 | n |  | TRUE
78 | bus_LV_938-11_0_3_node_197 | 0.4 | n |  | TRUE
79 | bus_LV_938-11_0_3_node_198 | 0.4 | n |  | TRUE
80 | bus_LV_938-11_0_3_node_200 | 0.4 | n |  | TRUE
81 | bus_LV_938-11_0_3_node_202 | 0.4 | n |  | TRUE
82 | bus_LV_938-11_0_3_node_204 | 0.4 | n |  | TRUE
83 | bus_LV_938-11_0_3_node_219 | 0.4 | n |  | TRUE
84 | bus_LV_938-11_0_3_node_207 | 0.4 | n |  | TRUE
85 | bus_LV_938-11_0_3_node_209 | 0.4 | n |  | TRUE
86 | bus_LV_938-11_0_3_node_210 | 0.4 | n |  | TRUE
87 | bus_LV_938-11_0_3_node_212 | 0.4 | n |  | TRUE
88 | bus_LV_938-11_0_3_node_213 | 0.4 | n |  | TRUE
89 | bus_MV_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_938-11_0_3_load_0 | 0 | 0.00094407 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_938-11_0_3_load_3 | 3 | 0.00079559 | 0.00019939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_938-11_0_3_load_5 | 5 | 0.0072736 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_938-11_0_3_load_11 | 6 | 0.0009075 | 0.00022744 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_938-11_0_3_load_6 | 7 | 0.00095601 | 0.0002396 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_938-11_0_3_load_7 | 8 | 0.00083242 | 0.00020862 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_938-11_0_3_load_211 | 10 | 0.00028622 | 7.1735e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_938-11_0_3_load_208 | 11 | 0.0007173 | 0.00017977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_938-11_0_3_load_10 | 12 | 0.00035246 | 8.8334e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_938-11_0_3_load_55 | 13 | 0.0011078 | 0.00027763 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_938-11_0_3_load_17 | 14 | 0.0033862 | 0.00084867 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_938-11_0_3_load_13 | 15 | 0.0018791 | 0.00047094 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_938-11_0_3_load_14 | 16 | 0.00053432 | 0.00013391 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_938-11_0_3_load_15 | 17 | 0.00037827 | 9.4802e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_938-11_0_3_load_30 | 18 | 0.00022764 | 5.7051e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_938-11_0_3_load_51 | 20 | 0.00092661 | 0.00023223 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_938-11_0_3_load_57 | 22 | 0.0004723 | 0.00011837 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_938-11_0_3_load_58 | 24 | 0.0011457 | 0.00028713 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_938-11_0_3_load_59 | 26 | 0.00052409 | 0.00013135 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_938-11_0_3_load_60 | 27 | 0.0019354 | 0.00048506 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_938-11_0_3_load_61 | 28 | 0.00028948 | 7.255e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_938-11_0_3_load_62 | 29 | 0.00038758 | 9.7136e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_938-11_0_3_load_63 | 30 | 0.00056354 | 0.00014124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_938-11_0_3_load_84 | 31 | 0.00098146 | 0.00024598 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_938-11_0_3_load_181 | 32 | 0.00081435 | 0.0002041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_938-11_0_3_load_65 | 33 | 0.00046551 | 0.00011667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_938-11_0_3_load_237 | 36 | 0.0010629 | 0.0002664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_938-11_0_3_load_67 | 37 | 0.00047834 | 0.00011988 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_938-11_0_3_load_71 | 41 | 0.00053169 | 0.00013325 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_938-11_0_3_load_72 | 42 | 0.00047397 | 0.00011879 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_938-11_0_3_load_73 | 43 | 0.00021789 | 5.461e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_938-11_0_3_load_85 | 44 | 0.00062116 | 0.00015568 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_938-11_0_3_load_74 | 45 | 0.00070289 | 0.00017616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_938-11_0_3_load_78 | 46 | 0.00033512 | 8.3988e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_938-11_0_3_load_199 | 47 | 0.00015817 | 3.9641e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_938-11_0_3_load_77 | 48 | 0.00032788 | 8.2175e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_938-11_0_3_load_79 | 49 | 0.0003891 | 9.7518e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_938-11_0_3_load_80 | 50 | 0.0002769 | 6.9398e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_938-11_0_3_load_81 | 51 | 0.00033782 | 8.4665e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_938-11_0_3_load_82 | 52 | 0.00016974 | 4.254e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_938-11_0_3_load_183 | 53 | 0.00036384 | 9.1187e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_938-11_0_3_load_86 | 54 | 0.00093156 | 0.00023347 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_938-11_0_3_load_87 | 55 | 0.00067815 | 0.00016996 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_938-11_0_3_load_205 | 56 | 0.00028794 | 7.2165e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_938-11_0_3_load_179 | 57 | 0.00098177 | 0.00024605 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_938-11_0_3_load_180 | 58 | 0.00085139 | 0.00021338 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_938-11_0_3_load_182 | 59 | 0.00054482 | 0.00013654 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_938-11_0_3_load_186 | 60 | 0.0011397 | 0.00028564 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_938-11_0_3_load_185 | 62 | 0.00017178 | 4.3053e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_938-11_0_3_load_203 | 63 | 0.00061312 | 0.00015366 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_938-11_0_3_load_187 | 64 | 0.0021452 | 0.00053763 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_938-11_0_3_load_189 | 68 | 0.00030902 | 7.7448e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_938-11_0_3_load_216 | 69 | 0.0003074 | 7.7042e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_938-11_0_3_load_217 | 70 | 0.00032884 | 8.2416e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_938-11_0_3_load_193 | 71 | 0.0035573 | 0.00089155 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_938-11_0_3_load_201 | 73 | 0.00055612 | 0.00013938 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_938-11_0_3_load_240 | 75 | 0.00023423 | 5.8704e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_938-11_0_3_load_196 | 77 | 0.00016057 | 4.0242e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_938-11_0_3_load_197 | 78 | 0.00059963 | 0.00015028 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_938-11_0_3_load_198 | 79 | 0.00032715 | 8.1992e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_938-11_0_3_load_200 | 80 | 0.00039549 | 9.9119e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_938-11_0_3_load_202 | 81 | 0.0012459 | 0.00031224 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_938-11_0_3_load_204 | 82 | 0.0011002 | 0.00027573 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_938-11_0_3_load_219 | 83 | 0.00039855 | 9.9886e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_938-11_0_3_load_207 | 84 | 0.00043775 | 0.00010971 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_938-11_0_3_load_209 | 85 | 0.00032613 | 8.1736e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_938-11_0_3_load_210 | 86 | 0.00028848 | 7.23e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_938-11_0_3_load_212 | 87 | 0.00039886 | 9.9963e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_938-11_0_3_load_213 | 88 | 0.00032566 | 8.1618e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_938-11_0_3_line_0 |  | 0 | 1 | 0.0044137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_938-11_0_3_line_1 |  | 0 | 2 | 0.026115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_938-11_0_3_line_2 |  | 1 | 3 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_938-11_0_3_line_3 |  | 2 | 4 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_938-11_0_3_line_4 |  | 2 | 5 | 0.05642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_938-11_0_3_line_5 |  | 3 | 6 | 0.10237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_938-11_0_3_line_6 |  | 4 | 7 | 0.08572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_938-11_0_3_line_7 |  | 6 | 14 | 0.13285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_938-11_0_3_line_8 |  | 7 | 8 | 0.099599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_938-11_0_3_line_9 |  | 8 | 9 | 0.045811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_938-11_0_3_line_10 |  | 9 | 10 | 0.033603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_938-11_0_3_line_11 |  | 9 | 11 | 0.035421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_938-11_0_3_line_12 |  | 10 | 88 | 0.13542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_938-11_0_3_line_13 |  | 11 | 84 | 0.078244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_938-11_0_3_line_14 |  | 12 | 13 | 0.0019754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_938-11_0_3_line_15 |  | 13 | 21 | 0.031306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_938-11_0_3_line_16 |  | 14 | 17 | 0.01096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_938-11_0_3_line_17 |  | 15 | 16 | 0.033661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_938-11_0_3_line_18 |  | 15 | 17 | 0.0033323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_938-11_0_3_line_19 |  | 18 | 19 | 0.17009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_938-11_0_3_line_20 |  | 19 | 20 | 0.14983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_938-11_0_3_line_21 |  | 19 | 60 | 0.28924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_938-11_0_3_line_22 |  | 21 | 22 | 0.054089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_938-11_0_3_line_23 |  | 22 | 23 | 0.020976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_938-11_0_3_line_24 |  | 23 | 33 | 0.012873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_938-11_0_3_line_25 |  | 23 | 34 | 0.001541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_938-11_0_3_line_26 |  | 24 | 25 | 0.027464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_938-11_0_3_line_27 |  | 25 | 31 | 0.011446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_938-11_0_3_line_28 |  | 25 | 33 | 0.053884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_938-11_0_3_line_29 |  | 26 | 27 | 0.043725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_938-11_0_3_line_30 |  | 26 | 28 | 0.024384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_938-11_0_3_line_31 |  | 27 | 29 | 0.029251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_938-11_0_3_line_32 |  | 28 | 30 | 0.04493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_938-11_0_3_line_33 |  | 29 | 31 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_938-11_0_3_line_34 |  | 30 | 32 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_938-11_0_3_line_35 |  | 32 | 57 | 0.0061464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_938-11_0_3_line_36 |  | 34 | 35 | 0.007909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_938-11_0_3_line_37 |  | 34 | 36 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_938-11_0_3_line_38 |  | 35 | 45 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_938-11_0_3_line_39 |  | 37 | 38 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_938-11_0_3_line_40 |  | 37 | 39 | 0.0086687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_938-11_0_3_line_41 |  | 38 | 40 | 0.025732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_938-11_0_3_line_42 |  | 38 | 41 | 0.052919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_938-11_0_3_line_43 |  | 39 | 42 | 0.017989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_938-11_0_3_line_44 |  | 39 | 43 | 0.067398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_938-11_0_3_line_45 |  | 40 | 44 | 0.015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_938-11_0_3_line_46 |  | 41 | 45 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_938-11_0_3_line_47 |  | 42 | 46 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_938-11_0_3_line_48 |  | 43 | 47 | 0.081139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_938-11_0_3_line_49 |  | 44 | 54 | 0.093934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_938-11_0_3_line_50 |  | 46 | 48 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_938-11_0_3_line_51 |  | 47 | 78 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_938-11_0_3_line_52 |  | 48 | 49 | 0.003681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_938-11_0_3_line_53 |  | 49 | 50 | 0.002133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_938-11_0_3_line_54 |  | 51 | 52 | 0.0036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_938-11_0_3_line_55 |  | 52 | 53 | 0.011665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_938-11_0_3_line_56 |  | 53 | 61 | 0.0047814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_938-11_0_3_line_57 |  | 54 | 55 | 0.029436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_938-11_0_3_line_58 |  | 55 | 56 | 0.0065051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_938-11_0_3_line_59 |  | 56 | 83 | 0.16671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_938-11_0_3_line_60 |  | 57 | 58 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_938-11_0_3_line_61 |  | 58 | 59 | 0.020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_938-11_0_3_line_62 |  | 59 | 60 | 0.065459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_938-11_0_3_line_63 |  | 60 | 64 | 0.040129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_938-11_0_3_line_64 |  | 61 | 62 | 0.064092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_938-11_0_3_line_65 |  | 62 | 63 | 0.14627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_938-11_0_3_line_66 |  | 63 | 82 | 0.0099748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_938-11_0_3_line_67 |  | 64 | 65 | 0.041552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_938-11_0_3_line_68 |  | 65 | 66 | 0.020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_938-11_0_3_line_69 |  | 65 | 67 | 0.037965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_938-11_0_3_line_70 |  | 66 | 69 | 0.070162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_938-11_0_3_line_71 |  | 66 | 70 | 0.06742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_938-11_0_3_line_72 |  | 67 | 68 | 0.040814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_938-11_0_3_line_73 |  | 69 | 87 | 0.044201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_938-11_0_3_line_74 |  | 71 | 72 | 0.039036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_938-11_0_3_line_75 |  | 71 | 73 | 0.14395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_938-11_0_3_line_76 |  | 72 | 74 | 0.090215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_938-11_0_3_line_77 |  | 73 | 81 | 0.041867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_938-11_0_3_line_78 |  | 74 | 75 | 0.055795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_938-11_0_3_line_79 |  | 74 | 76 | 0.032257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_938-11_0_3_line_80 |  | 76 | 80 | 0.031518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_938-11_0_3_line_81 |  | 76 | 82 | 0.013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_938-11_0_3_line_82 |  | 77 | 78 | 0.015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_938-11_0_3_line_83 |  | 77 | 79 | 0.052675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_938-11_0_3_line_84 |  | 79 | 80 | 0.003678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_938-11_0_3_line_85 |  | 84 | 85 | 0.022857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_938-11_0_3_line_86 |  | 85 | 86 | 0.035382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_938-11_0_3_line_87 |  | 86 | 87 | 0.057741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_938-11_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 89 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2619239.3896 | 1175830.0874 | 2619243.4385 | 1175828.3303
1 | 2619268.0312 | 1175820.1073 | 2619259.0454 | 1175821.5571 | 2619243.4385 | 1175828.3303
2 | 2619239.3896 | 1175830.0874 | 2619231.7899 | 1175836.9063
3 | 2619268.0312 | 1175820.1073 | 2619280.2595 | 1175818.1343
4 | 2619268.0312 | 1175820.1073 | 2619218.1622 | 1175793.7205
5 | 2619172.9285 | 1175919.7801 | 2619175.4383 | 1175913.4148 | 2619179.5454 | 1175905.4127 | 2619186.3362 | 1175894.7511 | 2619214.4313 | 1175854.7314 | 2619219.513 | 1175847.9219 | 2619231.7899 | 1175836.9063
6 | 2619280.2595 | 1175818.1343 | 2619303.7232 | 1175821.1111 | 2619322.4108 | 1175828.497 | 2619333.3896 | 1175839.5491 | 2619341.9434 | 1175853.5726 | 2619350.6742 | 1175858.3857
7 | 2619172.9285 | 1175919.7801 | 2619041.9936 | 1175942.2418
8 | 2619350.6742 | 1175858.3857 | 2619366.6491 | 1175867.1923 | 2619396.037 | 1175893.6561 | 2619426.6287 | 1175922.1564
9 | 2619460.493 | 1175952.9945 | 2619452.0397 | 1175945.8301 | 2619426.6287 | 1175922.1564
10 | 2619460.493 | 1175952.9945 | 2619451.7485 | 1175960.2699 | 2619441.1155 | 1175962.9703 | 2619429.9313 | 1175961.6901
11 | 2619460.493 | 1175952.9945 | 2619479.98 | 1175965.8974 | 2619491.1585 | 1175970.3964
12 | 2619342.8267 | 1176034.5501 | 2619354.1316 | 1176004.2109 | 2619367.036 | 1175970.1795 | 2619372.4768 | 1175963.438 | 2619380.6786 | 1175960.9187 | 2619411.2334 | 1175959.5498 | 2619429.9313 | 1175961.6901
13 | 2619564.3828 | 1175997.9166 | 2619526.0931 | 1175984.4564 | 2619491.1585 | 1175970.3964
14 | 2619413.9093 | 1175819.9556 | 2619411.9619 | 1175819.6239
15 | 2619444.771 | 1175825.2117 | 2619413.9093 | 1175819.9556
16 | 2619031.3079 | 1175942.0497 | 2619031.3079 | 1175942.0497 | 2619040.3084 | 1175943.112 | 2619041.9936 | 1175942.2418
17 | 2619028.2073 | 1175940.8289 | 2619025.3306 | 1175939.6962 | 2619018.0713 | 1175936.6829 | 2619011.8705 | 1175937.308 | 2619006.0931 | 1175939.4131 | 2619001.5937 | 1175943.4565 | 2618999.751 | 1175947.3182
18 | 2619031.3079 | 1175942.0497 | 2619028.2073 | 1175940.8289
19 | 2620003.6567 | 1175756.3862 | 2619989.6648 | 1175720.8326 | 2619984.964 | 1175707.021 | 2619978.2988 | 1175667.8567 | 2619971.4661 | 1175623.9004 | 2619960.9696 | 1175599.0307 | 2619959.443 | 1175593.1342
20 | 2620003.6567 | 1175756.3862 | 2620126.6941 | 1175841.8865
21 | 2619800.6788 | 1175962.4506 | 2620003.6567 | 1175756.3862
22 | 2619444.771 | 1175825.2117 | 2619450.367 | 1175822.5506 | 2619466.7037 | 1175824.1598 | 2619475.4426 | 1175823.41 | 2619483.854 | 1175819.9799 | 2619487.3411 | 1175814.744 | 2619491.6516 | 1175808.8138
23 | 2619505.0987 | 1175792.9905 | 2619501.2148 | 1175795.657 | 2619491.6516 | 1175808.8138
24 | 2619505.0987 | 1175792.9905 | 2619508.1153 | 1175796.1685 | 2619514.6553 | 1175799.3914 | 2619515.7811 | 1175799.8063
25 | 2619505.0987 | 1175792.9905 | 2619504.1932 | 1175791.7424
26 | 2619559.3152 | 1175825.6609 | 2619549.5806 | 1175834.0891 | 2619535.0051 | 1175833.4984
27 | 2619559.3152 | 1175825.6609 | 2619570.5517 | 1175827.843
28 | 2619559.3152 | 1175825.6609 | 2619558.2143 | 1175818.6982 | 2619550.5294 | 1175812.6146 | 2619515.7811 | 1175799.8063
29 | 2619646.8331 | 1175868.8703 | 2619609.5118 | 1175846.0887
30 | 2619667.4267 | 1175881.925 | 2619651.773 | 1175871.8857 | 2619646.8331 | 1175868.8703
31 | 2619583.1553 | 1175833.4876 | 2619604.6074 | 1175843.095 | 2619609.5118 | 1175846.0887
32 | 2619667.4267 | 1175881.925 | 2619689.5975 | 1175896.144 | 2619707.275 | 1175901.8997
33 | 2619570.5517 | 1175827.843 | 2619570.5517 | 1175827.843 | 2619583.1553 | 1175833.4876
34 | 2619707.275 | 1175901.8997 | 2619717.434 | 1175905.2075
35 | 2619723.2784 | 1175907.1104 | 2619717.434 | 1175905.2075
36 | 2619504.1932 | 1175791.7424 | 2619502.6361 | 1175783.989
37 | 2619480.3661 | 1175790.0533 | 2619490.4315 | 1175792.765 | 2619499.0226 | 1175792.8485 | 2619504.1932 | 1175791.7424
38 | 2619502.6361 | 1175783.989 | 2619501.1241 | 1175776.4803 | 2619499.6372 | 1175774.2747
39 | 2619452.4227 | 1175730.5103 | 2619447.9333 | 1175726.5715 | 2619444.4534 | 1175720.1125 | 2619443.3965 | 1175713.6725
40 | 2619446.7244 | 1175705.6681 | 2619443.3965 | 1175713.6725
41 | 2619452.4227 | 1175730.5103 | 2619452.3782 | 1175725.3742 | 2619454.7399 | 1175720.6905 | 2619458.6326 | 1175717.6905 | 2619469.0617 | 1175716.7126
42 | 2619452.4227 | 1175730.5103 | 2619455.6128 | 1175734.4004 | 2619490.4134 | 1175760.593 | 2619492.8351 | 1175764.1851
43 | 2619446.7244 | 1175705.6681 | 2619435.7794 | 1175693.6266 | 2619434.4649 | 1175692.5228
44 | 2619446.7244 | 1175705.6681 | 2619446.2174 | 1175696.9953 | 2619443.7634 | 1175682.9358 | 2619423.6596 | 1175643.3053
45 | 2619469.0617 | 1175716.7126 | 2619477.523 | 1175719.1523 | 2619483.4837 | 1175721.5957
46 | 2619499.6372 | 1175774.2747 | 2619492.8351 | 1175764.1851
47 | 2619421.3326 | 1175681.4959 | 2619434.4649 | 1175692.5228
48 | 2619423.6596 | 1175643.3053 | 2619422.2761 | 1175640.5781 | 2619399.4345 | 1175581.9856 | 2619398.0735 | 1175566.8533
49 | 2619572.413 | 1175721.8385 | 2619567.5967 | 1175723.5357 | 2619546.2393 | 1175733.2823 | 2619528.5828 | 1175735.5373 | 2619511.9119 | 1175733.2487 | 2619483.4837 | 1175721.5957
50 | 2619407.9645 | 1175670.271 | 2619421.3326 | 1175681.4959
51 | 2619398.0735 | 1175566.8533 | 2619396.5482 | 1175549.8936
52 | 2619407.9645 | 1175670.271 | 2619405.1454 | 1175667.9039
53 | 2619405.1454 | 1175667.9039 | 2619403.5119 | 1175666.5323
54 | 2619207.8265 | 1175424.7522 | 2619206.5897 | 1175423.6196 | 2619204.6474 | 1175423.1326
55 | 2619193.5331 | 1175422.4943 | 2619196.5764 | 1175421.1086 | 2619204.6474 | 1175423.1326
56 | 2619189.1815 | 1175424.4757 | 2619193.5331 | 1175422.4943
57 | 2619572.413 | 1175721.8385 | 2619598.5125 | 1175712.6418 | 2619600.2757 | 1175712.6324
58 | 2619606.7389 | 1175712.8026 | 2619606.271 | 1175712.6004 | 2619600.2757 | 1175712.6324
59 | 2619606.7389 | 1175712.8026 | 2619642.3164 | 1175549.9372
60 | 2619723.2784 | 1175907.1104 | 2619732.7444 | 1175910.1925 | 2619734.6413 | 1175911.1682
61 | 2619753.1461 | 1175920.6864 | 2619734.6413 | 1175911.1682
62 | 2619753.1461 | 1175920.6864 | 2619765.0672 | 1175926.8182 | 2619781.9356 | 1175936.2673 | 2619794.8024 | 1175949.2941 | 2619800.6788 | 1175962.4506
63 | 2619800.6788 | 1175962.4506 | 2619803.3155 | 1175968.354 | 2619806.2798 | 1175989.6414 | 2619805.2601 | 1176001.7692
64 | 2619222.7508 | 1175473.3522 | 2619205.045 | 1175466.9146 | 2619189.1815 | 1175424.4757
65 | 2619364.0667 | 1175435.6023 | 2619222.7508 | 1175473.3522
66 | 2619364.0667 | 1175435.6023 | 2619372.8533 | 1175440.3237
67 | 2619806.9216 | 1176043.0819 | 2619803.8934 | 1176018.0258 | 2619805.2601 | 1176001.7692
68 | 2619787.9754 | 1176047.3106 | 2619794.3142 | 1176048.8545 | 2619801.5195 | 1176047.2329 | 2619806.9216 | 1176043.0819
69 | 2619824.2907 | 1176076.7785 | 2619815.0472 | 1176061.3847 | 2619806.9216 | 1176043.0819
70 | 2619787.9754 | 1176047.3106 | 2619772.7623 | 1176038.9452 | 2619751.7662 | 1176034.3517 | 2619720.6478 | 1176030.9105
71 | 2619787.9754 | 1176047.3106 | 2619784.9122 | 1176051.4471 | 2619775.4318 | 1176059.2755 | 2619730.8194 | 1176081.8042
72 | 2619824.2907 | 1176076.7785 | 2619848.4159 | 1176096.6238 | 2619852.5134 | 1176105.2778
73 | 2619676.7738 | 1176025.7332 | 2619678.9371 | 1176026.2978 | 2619720.6478 | 1176030.9105
74 | 2619356.3723 | 1175329.2291 | 2619349.8428 | 1175317.7689 | 2619336.368 | 1175300.5613 | 2619333.3903 | 1175297.9047
75 | 2619333.3903 | 1175297.9047 | 2619209.7625 | 1175224.1611
76 | 2619356.3723 | 1175329.2291 | 2619359.9462 | 1175363.5803 | 2619381.9263 | 1175414.7439
77 | 2619173.0077 | 1175220.32 | 2619184.1012 | 1175212.5958 | 2619201.7169 | 1175218.7774 | 2619209.7625 | 1175224.1611
78 | 2619381.9263 | 1175414.7439 | 2619387.2789 | 1175409.4473 | 2619406.155 | 1175403.7941 | 2619434.8568 | 1175404.287
79 | 2619381.9263 | 1175414.7439 | 2619384.9951 | 1175446.8479
80 | 2619384.9951 | 1175446.8479 | 2619389.6615 | 1175478.0187
81 | 2619384.9951 | 1175446.8479 | 2619372.8533 | 1175440.3237
82 | 2619395.1273 | 1175534.0949 | 2619396.5482 | 1175549.8936
83 | 2619395.1273 | 1175534.0949 | 2619390.7195 | 1175485.0859 | 2619390.2061 | 1175481.6562
84 | 2619389.6615 | 1175478.0187 | 2619390.2061 | 1175481.6562
85 | 2619564.3828 | 1175997.9166 | 2619585.9459 | 1176005.4969
86 | 2619585.9459 | 1176005.4969 | 2619587.8873 | 1176006.1794 | 2619620.6345 | 1176012.3521
87 | 2619676.7738 | 1176025.7332 | 2619638.1797 | 1176015.6593 | 2619620.6345 | 1176012.3521

## bus_geodata
| x | y | coords
0 | 2619243.4385 | 1175828.3303
1 | 2619239.3896 | 1175830.0874
2 | 2619268.0312 | 1175820.1073
3 | 2619231.7899 | 1175836.9063
4 | 2619280.2595 | 1175818.1343
5 | 2619218.1622 | 1175793.7205
6 | 2619172.9285 | 1175919.7801
7 | 2619350.6742 | 1175858.3857
8 | 2619426.6287 | 1175922.1564
9 | 2619460.493 | 1175952.9945
10 | 2619429.9313 | 1175961.6901
11 | 2619491.1585 | 1175970.3964
12 | 2619411.9619 | 1175819.6239
13 | 2619413.9093 | 1175819.9556
14 | 2619041.9936 | 1175942.2418
15 | 2619028.2073 | 1175940.8289
16 | 2618999.751 | 1175947.3182
17 | 2619031.3079 | 1175942.0497
18 | 2619959.443 | 1175593.1342
19 | 2620003.6567 | 1175756.3862
20 | 2620126.6941 | 1175841.8865
21 | 2619444.771 | 1175825.2117
22 | 2619491.6516 | 1175808.8138
23 | 2619505.0987 | 1175792.9905
24 | 2619535.0051 | 1175833.4984
25 | 2619559.3152 | 1175825.6609
26 | 2619646.8331 | 1175868.8703
27 | 2619609.5118 | 1175846.0887
28 | 2619667.4267 | 1175881.925
29 | 2619583.1553 | 1175833.4876
30 | 2619707.275 | 1175901.8997
31 | 2619570.5517 | 1175827.843
32 | 2619717.434 | 1175905.2075
33 | 2619515.7811 | 1175799.8063
34 | 2619504.1932 | 1175791.7424
35 | 2619502.6361 | 1175783.989
36 | 2619480.3661 | 1175790.0533
37 | 2619443.3965 | 1175713.6725
38 | 2619452.4227 | 1175730.5103
39 | 2619446.7244 | 1175705.6681
40 | 2619469.0617 | 1175716.7126
41 | 2619492.8351 | 1175764.1851
42 | 2619434.4649 | 1175692.5228
43 | 2619423.6596 | 1175643.3053
44 | 2619483.4837 | 1175721.5957
45 | 2619499.6372 | 1175774.2747
46 | 2619421.3326 | 1175681.4959
47 | 2619398.0735 | 1175566.8533
48 | 2619407.9645 | 1175670.271
49 | 2619405.1454 | 1175667.9039
50 | 2619403.5119 | 1175666.5323
51 | 2619207.8265 | 1175424.7522
52 | 2619204.6474 | 1175423.1326
53 | 2619193.5331 | 1175422.4943
54 | 2619572.413 | 1175721.8385
55 | 2619600.2757 | 1175712.6324
56 | 2619606.7389 | 1175712.8026
57 | 2619723.2784 | 1175907.1104
58 | 2619734.6413 | 1175911.1682
59 | 2619753.1461 | 1175920.6864
60 | 2619800.6788 | 1175962.4506
61 | 2619189.1815 | 1175424.4757
62 | 2619222.7508 | 1175473.3522
63 | 2619364.0667 | 1175435.6023
64 | 2619805.2601 | 1176001.7692
65 | 2619806.9216 | 1176043.0819
66 | 2619787.9754 | 1176047.3106
67 | 2619824.2907 | 1176076.7785
68 | 2619852.5134 | 1176105.2778
69 | 2619720.6478 | 1176030.9105
70 | 2619730.8194 | 1176081.8042
71 | 2619333.3903 | 1175297.9047
72 | 2619356.3723 | 1175329.2291
73 | 2619209.7625 | 1175224.1611
74 | 2619381.9263 | 1175414.7439
75 | 2619434.8568 | 1175404.287
76 | 2619384.9951 | 1175446.8479
77 | 2619395.1273 | 1175534.0949
78 | 2619396.5482 | 1175549.8936
79 | 2619390.2061 | 1175481.6562
80 | 2619389.6615 | 1175478.0187
81 | 2619173.0077 | 1175220.32
82 | 2619372.8533 | 1175440.3237
83 | 2619642.3164 | 1175549.9372
84 | 2619564.3828 | 1175997.9166
85 | 2619585.9459 | 1176005.4969
86 | 2619620.6345 | 1176012.3521
87 | 2619676.7738 | 1176025.7332
88 | 2619342.8267 | 1176034.5501
89 | 2619452.4227 | 1175730.5103

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1