## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_938-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_938-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_938-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_938-3_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_938-3_0_3_node_212 | 0.4 | n |  | TRUE
5 | bus_LV_938-3_0_3_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_938-3_0_3_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_938-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_938-3_0_3_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_938-3_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_938-3_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_938-3_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_938-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_938-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_938-3_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_938-3_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_938-3_0_3_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_938-3_0_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_938-3_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_938-3_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_938-3_0_3_node_211 | 0.4 | n |  | TRUE
21 | bus_LV_938-3_0_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_938-3_0_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_938-3_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_938-3_0_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_938-3_0_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_938-3_0_3_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_938-3_0_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_938-3_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_938-3_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_938-3_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_938-3_0_3_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_938-3_0_3_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_938-3_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_938-3_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_938-3_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_938-3_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_938-3_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_938-3_0_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_938-3_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_938-3_0_3_node_173 | 0.4 | n |  | TRUE
41 | bus_LV_938-3_0_3_node_174 | 0.4 | n |  | TRUE
42 | bus_LV_938-3_0_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_938-3_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_938-3_0_3_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_938-3_0_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_938-3_0_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_938-3_0_3_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_938-3_0_3_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_938-3_0_3_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_938-3_0_3_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_938-3_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_938-3_0_3_node_189 | 0.4 | n |  | TRUE
53 | bus_LV_938-3_0_3_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_938-3_0_3_node_175 | 0.4 | n |  | TRUE
55 | bus_LV_938-3_0_3_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_938-3_0_3_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_938-3_0_3_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_938-3_0_3_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_938-3_0_3_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_938-3_0_3_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_938-3_0_3_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_938-3_0_3_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_938-3_0_3_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_938-3_0_3_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_938-3_0_3_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_938-3_0_3_node_119 | 0.4 | n |  | TRUE
67 | bus_LV_938-3_0_3_node_197 | 0.4 | n |  | TRUE
68 | bus_LV_938-3_0_3_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_938-3_0_3_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_938-3_0_3_node_109 | 0.4 | n |  | TRUE
71 | bus_LV_938-3_0_3_node_204 | 0.4 | n |  | TRUE
72 | bus_LV_938-3_0_3_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_938-3_0_3_node_116 | 0.4 | n |  | TRUE
74 | bus_LV_938-3_0_3_node_117 | 0.4 | n |  | TRUE
75 | bus_LV_938-3_0_3_node_157 | 0.4 | n |  | TRUE
76 | bus_LV_938-3_0_3_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_938-3_0_3_node_121 | 0.4 | n |  | TRUE
78 | bus_LV_938-3_0_3_node_123 | 0.4 | n |  | TRUE
79 | bus_LV_938-3_0_3_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_938-3_0_3_node_124 | 0.4 | n |  | TRUE
81 | bus_LV_938-3_0_3_node_125 | 0.4 | n |  | TRUE
82 | bus_LV_938-3_0_3_node_148 | 0.4 | n |  | TRUE
83 | bus_LV_938-3_0_3_node_184 | 0.4 | n |  | TRUE
84 | bus_LV_938-3_0_3_node_147 | 0.4 | n |  | TRUE
85 | bus_LV_938-3_0_3_node_149 | 0.4 | n |  | TRUE
86 | bus_LV_938-3_0_3_node_150 | 0.4 | n |  | TRUE
87 | bus_LV_938-3_0_3_node_191 | 0.4 | n |  | TRUE
88 | bus_LV_938-3_0_3_node_158 | 0.4 | n |  | TRUE
89 | bus_LV_938-3_0_3_node_159 | 0.4 | n |  | TRUE
90 | bus_LV_938-3_0_3_node_160 | 0.4 | n |  | TRUE
91 | bus_LV_938-3_0_3_node_202 | 0.4 | n |  | TRUE
92 | bus_LV_938-3_0_3_node_177 | 0.4 | n |  | TRUE
93 | bus_LV_938-3_0_3_node_178 | 0.4 | n |  | TRUE
94 | bus_LV_938-3_0_3_node_179 | 0.4 | n |  | TRUE
95 | bus_LV_938-3_0_3_node_180 | 0.4 | n |  | TRUE
96 | bus_LV_938-3_0_3_node_183 | 0.4 | n |  | TRUE
97 | bus_LV_938-3_0_3_node_190 | 0.4 | n |  | TRUE
98 | bus_LV_938-3_0_3_node_195 | 0.4 | n |  | TRUE
99 | bus_LV_938-3_0_3_node_196 | 0.4 | n |  | TRUE
100 | bus_LV_938-3_0_3_node_198 | 0.4 | n |  | TRUE
101 | bus_MV_123_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_938-3_0_3_load_0 | 0 | 0.0014573 | 0.00036523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_938-3_0_3_load_212 | 4 | 0.0060743 | 0.0015224 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_938-3_0_3_load_33 | 6 | 0.0023977 | 0.00060092 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_938-3_0_3_load_59 | 10 | 0.0010849 | 0.0002719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_938-3_0_3_load_8 | 11 | 0.0017195 | 0.00043095 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_938-3_0_3_load_9 | 12 | 0.0016436 | 0.00041192 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_938-3_0_3_load_12 | 15 | 0.00058819 | 0.00014741 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_938-3_0_3_load_93 | 16 | 0.0039576 | 0.00099186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_938-3_0_3_load_36 | 18 | 0.0026679 | 0.00066864 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_938-3_0_3_load_42 | 19 | 0.00068938 | 0.00017278 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_938-3_0_3_load_211 | 20 | 0.0017332 | 0.00043439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_938-3_0_3_load_38 | 21 | 0.0065285 | 0.0016362 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_938-3_0_3_load_40 | 23 | 0.050978 | 0.012776 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_938-3_0_3_load_58 | 27 | 0.01014 | 0.0025414 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_938-3_0_3_load_44 | 29 | 0.0012025 | 0.00030138 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_938-3_0_3_load_45 | 30 | 0.0052944 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_938-3_0_3_load_77 | 31 | 0.0014603 | 0.00036598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_938-3_0_3_load_99 | 32 | 0.0037214 | 0.00093266 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_938-3_0_3_load_46 | 33 | 0.027871 | 0.0069851 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_938-3_0_3_load_49 | 36 | 0.0054714 | 0.0013713 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_938-3_0_3_load_50 | 37 | 0.0021651 | 0.00054264 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_938-3_0_3_load_52 | 38 | 0.011403 | 0.0028578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_938-3_0_3_load_53 | 39 | 0.0063822 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_938-3_0_3_load_173 | 40 | 0.0055738 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_938-3_0_3_load_174 | 41 | 0.006925 | 0.0017356 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_938-3_0_3_load_54 | 42 | 0.0017513 | 0.00043892 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_938-3_0_3_load_57 | 43 | 0.0045684 | 0.0011449 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_938-3_0_3_load_78 | 44 | 0.0025553 | 0.00064042 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_938-3_0_3_load_85 | 46 | 0.0030264 | 0.00075849 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_938-3_0_3_load_80 | 48 | 0.0013267 | 0.00033251 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_938-3_0_3_load_81 | 49 | 0.0020693 | 0.00051862 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_938-3_0_3_load_83 | 50 | 0.0049037 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_938-3_0_3_load_84 | 51 | 0.0015241 | 0.00038198 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_938-3_0_3_load_175 | 54 | 0.0023801 | 0.00059651 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_938-3_0_3_load_86 | 55 | 0.0031709 | 0.00079471 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_938-3_0_3_load_87 | 56 | 0.0056006 | 0.0014036 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_938-3_0_3_load_88 | 57 | 0.017884 | 0.0044822 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_938-3_0_3_load_89 | 58 | 0.0035179 | 0.00088168 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_938-3_0_3_load_90 | 59 | 0.0012466 | 0.00031243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_938-3_0_3_load_91 | 60 | 0.0016582 | 0.00041557 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_938-3_0_3_load_92 | 61 | 0.00064936 | 0.00016275 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_938-3_0_3_load_100 | 62 | 0.002118 | 0.00053083 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_938-3_0_3_load_97 | 63 | 0.0011655 | 0.00029209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_938-3_0_3_load_118 | 64 | 0.00065436 | 0.000164 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_938-3_0_3_load_197 | 67 | 0.0018425 | 0.00046178 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_938-3_0_3_load_107 | 68 | 0.00076963 | 0.00019289 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_938-3_0_3_load_108 | 69 | 0.00051538 | 0.00012917 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_938-3_0_3_load_109 | 70 | 0.0018107 | 0.0004538 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_938-3_0_3_load_115 | 72 | 0.00051863 | 0.00012998 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_938-3_0_3_load_116 | 73 | 0.00052859 | 0.00013248 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_938-3_0_3_load_157 | 75 | 0.0014361 | 0.00035991 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_938-3_0_3_load_120 | 76 | 0.0019075 | 0.00047806 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_938-3_0_3_load_121 | 77 | 0.001312 | 0.00032881 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_938-3_0_3_load_123 | 78 | 0.0013755 | 0.00034474 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_938-3_0_3_load_124 | 80 | 0.0010521 | 0.00026368 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_938-3_0_3_load_125 | 81 | 0.0042102 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_938-3_0_3_load_148 | 82 | 0.0041404 | 0.0010377 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_938-3_0_3_load_184 | 83 | 0.002637 | 0.0006609 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_938-3_0_3_load_147 | 84 | 0.0011299 | 0.00028317 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_938-3_0_3_load_149 | 85 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_938-3_0_3_load_150 | 86 | 0.0080488 | 0.0020172 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_938-3_0_3_load_191 | 87 | 0.0081649 | 0.0020463 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_938-3_0_3_load_158 | 88 | 0.00087485 | 0.00021926 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_938-3_0_3_load_159 | 89 | 0.0057235 | 0.0014344 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_938-3_0_3_load_160 | 90 | 0.00090093 | 0.00022579 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_938-3_0_3_load_202 | 91 | 0.0020069 | 0.00050298 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_938-3_0_3_load_177 | 92 | 0.0029437 | 0.00073777 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_938-3_0_3_load_178 | 93 | 0.0029355 | 0.00073572 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_938-3_0_3_load_179 | 94 | 0.0036687 | 0.00091947 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_938-3_0_3_load_180 | 95 | 0.0026387 | 0.00066133 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_938-3_0_3_load_183 | 96 | 0.0020163 | 0.00050534 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_938-3_0_3_load_190 | 97 | 0.0033678 | 0.00084405 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_938-3_0_3_load_195 | 98 | 0.0014005 | 0.00035101 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_938-3_0_3_load_196 | 99 | 0.0014926 | 0.00037407 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_938-3_0_3_load_198 | 100 | 0.0013841 | 0.00034688 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_938-3_0_3_line_0 |  | 0 | 1 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_938-3_0_3_line_1 |  | 1 | 2 | 0.017638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_938-3_0_3_line_2 |  | 1 | 3 | 0.008123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_938-3_0_3_line_3 |  | 2 | 4 | 0.004292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_938-3_0_3_line_4 |  | 3 | 5 | 0.006024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_938-3_0_3_line_5 |  | 3 | 6 | 0.0094297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_938-3_0_3_line_6 |  | 5 | 20 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_938-3_0_3_line_7 |  | 6 | 17 | 0.038162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_938-3_0_3_line_8 |  | 7 | 8 | 0.062963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_938-3_0_3_line_9 |  | 7 | 9 | 0.009241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_938-3_0_3_line_10 |  | 7 | 10 | 0.02368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_938-3_0_3_line_11 |  | 8 | 17 | 0.027888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_938-3_0_3_line_12 |  | 9 | 42 | 0.004689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_938-3_0_3_line_13 |  | 10 | 43 | 0.012448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_938-3_0_3_line_14 |  | 11 | 12 | 0.021991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_938-3_0_3_line_15 |  | 11 | 13 | 0.063953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_938-3_0_3_line_16 |  | 12 | 14 | 0.01246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_938-3_0_3_line_17 |  | 13 | 15 | 0.036557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_938-3_0_3_line_18 |  | 14 | 16 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_938-3_0_3_line_19 |  | 16 | 32 | 0.034722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_938-3_0_3_line_20 |  | 17 | 18 | 0.016785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_938-3_0_3_line_21 |  | 18 | 19 | 0.020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_938-3_0_3_line_22 |  | 19 | 28 | 0.010954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_938-3_0_3_line_23 |  | 21 | 22 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_938-3_0_3_line_24 |  | 22 | 23 | 0.048678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_938-3_0_3_line_25 |  | 23 | 24 | 0.060879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_938-3_0_3_line_26 |  | 24 | 38 | 0.026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_938-3_0_3_line_27 |  | 24 | 39 | 0.0081641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_938-3_0_3_line_28 |  | 25 | 26 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_938-3_0_3_line_29 |  | 25 | 27 | 0.025645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_938-3_0_3_line_30 |  | 26 | 36 | 0.067881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_938-3_0_3_line_31 |  | 27 | 43 | 0.021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_938-3_0_3_line_32 |  | 28 | 29 | 0.0078586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_938-3_0_3_line_33 |  | 28 | 30 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_938-3_0_3_line_34 |  | 29 | 31 | 0.0080204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_938-3_0_3_line_35 |  | 30 | 32 | 0.00028201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_938-3_0_3_line_36 |  | 31 | 44 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_938-3_0_3_line_37 |  | 33 | 34 | 0.023968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_938-3_0_3_line_38 |  | 33 | 35 | 0.016757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_938-3_0_3_line_39 |  | 34 | 36 | 0.038229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_938-3_0_3_line_40 |  | 35 | 37 | 0.050151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_938-3_0_3_line_41 |  | 38 | 40 | 0.02803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_938-3_0_3_line_42 |  | 39 | 41 | 0.011175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_938-3_0_3_line_43 |  | 41 | 54 | 0.025078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_938-3_0_3_line_44 |  | 44 | 45 | 0.0028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_938-3_0_3_line_45 |  | 45 | 46 | 0.031661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_938-3_0_3_line_46 |  | 45 | 47 | 0.040988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_938-3_0_3_line_47 |  | 46 | 54 | 0.039327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_938-3_0_3_line_48 |  | 47 | 51 | 0.0040375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_938-3_0_3_line_49 |  | 47 | 48 | 0.028369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_938-3_0_3_line_50 |  | 48 | 49 | 0.036651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_938-3_0_3_line_51 |  | 49 | 50 | 0.032737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_938-3_0_3_line_52 |  | 50 | 52 | 0.014879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_938-3_0_3_line_53 |  | 51 | 53 | 0.02423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_938-3_0_3_line_54 |  | 52 | 97 | 0.063171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_938-3_0_3_line_55 |  | 52 | 87 | 0.0063204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_938-3_0_3_line_56 |  | 53 | 65 | 0.006211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_938-3_0_3_line_57 |  | 53 | 62 | 0.027349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_938-3_0_3_line_58 |  | 55 | 56 | 0.0095744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_938-3_0_3_line_59 |  | 55 | 57 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_938-3_0_3_line_60 |  | 56 | 58 | 0.012233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_938-3_0_3_line_61 |  | 58 | 59 | 0.010011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_938-3_0_3_line_62 |  | 59 | 60 | 0.0067949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_938-3_0_3_line_63 |  | 60 | 61 | 0.012477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_938-3_0_3_line_64 |  | 61 | 62 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_938-3_0_3_line_65 |  | 63 | 64 | 0.008209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_938-3_0_3_line_66 |  | 64 | 73 | 0.0012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_938-3_0_3_line_67 |  | 65 | 66 | 0.048241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_938-3_0_3_line_68 |  | 65 | 67 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_938-3_0_3_line_69 |  | 66 | 75 | 0.065585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_938-3_0_3_line_70 |  | 66 | 74 | 0.036419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_938-3_0_3_line_71 |  | 67 | 98 | 0.021828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_938-3_0_3_line_72 |  | 68 | 69 | 0.017909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_938-3_0_3_line_73 |  | 69 | 70 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_938-3_0_3_line_74 |  | 70 | 71 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_938-3_0_3_line_75 |  | 71 | 88 | 0.14709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_938-3_0_3_line_76 |  | 71 | 93 | 0.13742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_938-3_0_3_line_77 |  | 72 | 73 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_938-3_0_3_line_78 |  | 72 | 74 | 0.052023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_938-3_0_3_line_79 |  | 75 | 78 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_938-3_0_3_line_80 |  | 76 | 77 | 0.046184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_938-3_0_3_line_81 |  | 77 | 78 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_938-3_0_3_line_82 |  | 79 | 80 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_938-3_0_3_line_83 |  | 79 | 81 | 0.017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_938-3_0_3_line_84 |  | 80 | 82 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_938-3_0_3_line_85 |  | 81 | 83 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_938-3_0_3_line_86 |  | 82 | 84 | 0.016076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_938-3_0_3_line_87 |  | 83 | 96 | 0.0086406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_938-3_0_3_line_88 |  | 84 | 85 | 0.046984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_938-3_0_3_line_89 |  | 85 | 86 | 0.028061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_938-3_0_3_line_90 |  | 86 | 87 | 0.026313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_938-3_0_3_line_91 |  | 88 | 89 | 0.035155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_938-3_0_3_line_92 |  | 89 | 90 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_938-3_0_3_line_93 |  | 90 | 91 | 0.052332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_938-3_0_3_line_94 |  | 92 | 93 | 0.023795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_938-3_0_3_line_95 |  | 92 | 94 | 0.011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_938-3_0_3_line_96 |  | 94 | 95 | 0.011777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_938-3_0_3_line_97 |  | 95 | 96 | 6.7746e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_938-3_0_3_line_98 |  | 98 | 99 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_938-3_0_3_line_99 |  | 99 | 100 | 0.0094952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_938-3_0_3_trafo_53 | 0.63 MVA 20/0.4 kV | 101 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2620858.0356 | 1173997.5113 | 2620864.2281 | 1174007.5049
1 | 2620858.0356 | 1173997.5113 | 2620852.3413 | 1173994.7569 | 2620841.0575 | 1173994.3398 | 2620841.0419 | 1173994.4064
2 | 2620865.6835 | 1173994.7142 | 2620858.0356 | 1173997.5113
3 | 2620840.1023 | 1173998.5942 | 2620841.0419 | 1173994.4064
4 | 2620871.6988 | 1173995.2798 | 2620865.6835 | 1173994.7142
5 | 2620865.6835 | 1173994.7142 | 2620859.4082 | 1173991.9355 | 2620857.1493 | 1173990.7167
6 | 2620890.3184 | 1173999.1241 | 2620871.6988 | 1173995.2798
7 | 2620820.6907 | 1173987.199 | 2620825.5748 | 1173985.4594 | 2620828.016 | 1173984.812 | 2620839.7681 | 1173984.7193 | 2620844.63 | 1173984.9696 | 2620849.1437 | 1173986.3971 | 2620857.1493 | 1173990.7167
8 | 2620807.5952 | 1174010.9658 | 2620809.3125 | 1174016.2633 | 2620813.5032 | 1174027.0834 | 2620821.9976 | 1174044.7773 | 2620822.3511 | 1174046.4572 | 2620827.3527 | 1174070.3867
9 | 2620827.3527 | 1174070.3867 | 2620830.7253 | 1174078.9916
10 | 2620827.3527 | 1174070.3867 | 2620804.1294 | 1174075.0141
11 | 2620807.5952 | 1174010.9658 | 2620808.0719 | 1174005.7759 | 2620810.4837 | 1174000.3815 | 2620814.9821 | 1173992.9933 | 2620820.6907 | 1173987.199
12 | 2620830.7253 | 1174078.9916 | 2620831.8782 | 1174083.5366
13 | 2620804.1294 | 1174075.0141 | 2620791.9215 | 1174077.4467
14 | 2620929.7011 | 1173922.6815 | 2620924.6574 | 1173928.3518 | 2620919.6911 | 1173941.8704
15 | 2620974.8621 | 1173877.5229 | 2620965.8678 | 1173884.8508 | 2620939.9864 | 1173911.1185 | 2620929.7011 | 1173922.6815
16 | 2620915.3946 | 1173953.5658 | 2620919.6911 | 1173941.8704
17 | 2620974.8621 | 1173877.5229 | 2620963.4912 | 1173842.7767
18 | 2620915.3946 | 1173953.5658 | 2620888.4332 | 1173951.087
19 | 2620888.4332 | 1173951.087 | 2620874.0511 | 1173949.7648 | 2620854.19 | 1173945.669
20 | 2620820.6907 | 1173987.199 | 2620820.8579 | 1173970.4147
21 | 2620821.2434 | 1173949.6603 | 2620820.9601 | 1173960.1528 | 2620820.8579 | 1173970.4147
22 | 2620821.539 | 1173938.7105 | 2620821.2434 | 1173949.6603
23 | 2620727.9235 | 1174011.5579 | 2620736.4878 | 1174004.6283 | 2620745.7092 | 1174000.975
24 | 2620727.9235 | 1174011.5579 | 2620723.6636 | 1173996.3577 | 2620722.8542 | 1173993.8425 | 2620692.6061 | 1173994.1497
25 | 2620675.1009 | 1173953.0019 | 2620673.226 | 1173966.8358 | 2620673.439 | 1173978.2868 | 2620692.4181 | 1173977.674 | 2620692.6061 | 1173994.1497
26 | 2620675.1009 | 1173953.0019 | 2620650.0627 | 1173962.6208
27 | 2620675.1009 | 1173953.0019 | 2620682.7225 | 1173950.0754
28 | 2620721.96 | 1174093.6125 | 2620739.9647 | 1174089.4613 | 2620745.8522 | 1174087.1693
29 | 2620745.8522 | 1174087.1693 | 2620764.1782 | 1174082.9748 | 2620770.8912 | 1174081.6372
30 | 2620721.96 | 1174093.6125 | 2620677.3959 | 1174099.4511 | 2620654.4885 | 1174098.3013
31 | 2620791.9215 | 1174077.4467 | 2620770.8912 | 1174081.6372
32 | 2620821.539 | 1173938.7105 | 2620814.1804 | 1173935.9521
33 | 2620821.539 | 1173938.7105 | 2620851.0228 | 1173945.0158 | 2620853.9138 | 1173945.612
34 | 2620814.1804 | 1173935.9521 | 2620806.6703 | 1173933.1368
35 | 2620854.19 | 1173945.669 | 2620853.9138 | 1173945.612
36 | 2620806.6703 | 1173933.1368 | 2620788.7945 | 1173926.4357
37 | 2620618.1918 | 1174087.0194 | 2620599.7004 | 1174071.7707
38 | 2620586.7724 | 1174061.1098 | 2620599.7004 | 1174071.7707
39 | 2620618.1918 | 1174087.0194 | 2620632.1539 | 1174093.415 | 2620653.8588 | 1174098.2697 | 2620654.4885 | 1174098.3013
40 | 2620586.7724 | 1174061.1098 | 2620575.6646 | 1174038.3268 | 2620568.8941 | 1174017.1262 | 2620570.131 | 1174014.897
41 | 2620650.0627 | 1173962.6208 | 2620630.0148 | 1173970.3227 | 2620624.3468 | 1173973.6116
42 | 2620682.7225 | 1173950.0754 | 2620693.1545 | 1173946.0699
43 | 2620716.5656 | 1173937.0807 | 2620693.1545 | 1173946.0699
44 | 2620786.1001 | 1173925.4257 | 2620788.7945 | 1173926.4357
45 | 2620786.1001 | 1173925.4257 | 2620754.5653 | 1173928.2447
46 | 2620753.1926 | 1173900.8663 | 2620786.1001 | 1173925.4257
47 | 2620716.5656 | 1173937.0807 | 2620733.2945 | 1173930.6574 | 2620752.4552 | 1173928.4334 | 2620754.5653 | 1173928.2447
48 | 2620753.1926 | 1173900.8663 | 2620750.4092 | 1173897.9416
49 | 2620753.1926 | 1173900.8663 | 2620728.1425 | 1173903.6258 | 2620725.1187 | 1173904.5689
50 | 2620690.1299 | 1173915.4805 | 2620725.1187 | 1173904.5689
51 | 2620690.1299 | 1173915.4805 | 2620669.9325 | 1173921.7793 | 2620658.9904 | 1173925.5708
52 | 2620644.9311 | 1173930.4424 | 2620658.9904 | 1173925.5708
53 | 2620735.8962 | 1173879.0289 | 2620738.0777 | 1173884.9839 | 2620750.4092 | 1173897.9416
54 | 2620644.9311 | 1173930.4424 | 2620635.8823 | 1173938.2153 | 2620593.1113 | 1173960.4468 | 2620591.3437 | 1173963.0754
55 | 2620644.9311 | 1173930.4424 | 2620638.8024 | 1173931.9871
56 | 2620730.4474 | 1173876.0197 | 2620735.8962 | 1173879.0289
57 | 2620735.8962 | 1173879.0289 | 2620738.236 | 1173874.568 | 2620744.931 | 1173870.9781 | 2620759.4577 | 1173868.6316
58 | 2620823.3456 | 1173857.0577 | 2620813.9368 | 1173858.831
59 | 2620836.5183 | 1173854.5751 | 2620823.3456 | 1173857.0577
60 | 2620801.9153 | 1173861.0968 | 2620813.9368 | 1173858.831
61 | 2620801.9153 | 1173861.0968 | 2620792.0775 | 1173862.9509
62 | 2620792.0775 | 1173862.9509 | 2620785.4002 | 1173864.2094
63 | 2620773.1223 | 1173866.4243 | 2620776.8021 | 1173865.8299 | 2620785.4002 | 1173864.2094
64 | 2620759.4577 | 1173868.6316 | 2620773.1223 | 1173866.4243
65 | 2620763.8005 | 1173770.4337 | 2620758.094 | 1173772.2621 | 2620756.0947 | 1173773.2196
66 | 2620756.0947 | 1173773.2196 | 2620754.9314 | 1173773.7768
67 | 2620700.7747 | 1173840.0437 | 2620706.9132 | 1173855.9396 | 2620710.8145 | 1173859.855 | 2620721.4433 | 1173866.2948 | 2620726.8317 | 1173871.316 | 2620730.4474 | 1173876.0197
68 | 2620730.4474 | 1173876.0197 | 2620724.1573 | 1173875.2532 | 2620702.8955 | 1173882.1147
69 | 2620700.7747 | 1173840.0437 | 2620693.1922 | 1173839.3506 | 2620679.7281 | 1173839.1487 | 2620667.9631 | 1173845.1891 | 2620655.2645 | 1173849.2031 | 2620643.0253 | 1173855.2531 | 2620639.2293 | 1173857.2926
70 | 2620686.8599 | 1173806.3787 | 2620700.7747 | 1173840.0437
71 | 2620702.8955 | 1173882.1147 | 2620682.1221 | 1173888.8185
72 | 2620363.8501 | 1173905.8988 | 2620359.2252 | 1173910.1588 | 2620351.6664 | 1173918.9852
73 | 2620375.117 | 1173895.1598 | 2620372.8853 | 1173897.5764 | 2620363.8501 | 1173905.8988
74 | 2620387.9803 | 1173881.2303 | 2620375.117 | 1173895.1598
75 | 2620387.9803 | 1173881.2303 | 2620416.4838 | 1173736.9284
76 | 2620489.4213 | 1173973.9335 | 2620387.9803 | 1173881.2303
77 | 2620733.779 | 1173783.9075 | 2620754.9314 | 1173773.7768
78 | 2620686.8599 | 1173806.3787 | 2620733.779 | 1173783.9075
79 | 2620626.4017 | 1173863.2884 | 2620634.3081 | 1173859.9367 | 2620639.2293 | 1173857.2926
80 | 2620577.8747 | 1173866.0275 | 2620584.392 | 1173865.224 | 2620594.0392 | 1173877.0075 | 2620616.493 | 1173867.4889
81 | 2620626.4017 | 1173863.2884 | 2620616.493 | 1173867.4889
82 | 2620564.5823 | 1173918.5835 | 2620571.0774 | 1173915.2707 | 2620575.6324 | 1173914.4369
83 | 2620564.5823 | 1173918.5835 | 2620550.9054 | 1173930.2004
84 | 2620575.6324 | 1173914.4369 | 2620580.855 | 1173913.481 | 2620588.3424 | 1173910.6718 | 2620590.2599 | 1173908.9483
85 | 2620535.2577 | 1173943.4914 | 2620550.9054 | 1173930.2004
86 | 2620603.0744 | 1173900.0279 | 2620599.6167 | 1173900.5385 | 2620590.2599 | 1173908.9483
87 | 2620527.2571 | 1173946.638 | 2620534.6917 | 1173943.9721 | 2620535.2577 | 1173943.4914
88 | 2620586.7097 | 1173940.9261 | 2620587.2576 | 1173937.2149 | 2620605.1763 | 1173906.9275 | 2620605.5898 | 1173902.2821 | 2620603.0744 | 1173900.0279 | 2620603.0744 | 1173900.0279
89 | 2620613.2876 | 1173938.4178 | 2620594.279 | 1173943.2087 | 2620588.8279 | 1173943.0566 | 2620586.7097 | 1173940.9261 | 2620586.7097 | 1173940.9261
90 | 2620638.8024 | 1173931.9871 | 2620613.2876 | 1173938.4178
91 | 2620442.6484 | 1173714.5745 | 2620421.1615 | 1173728.7763 | 2620416.4838 | 1173736.9284
92 | 2620442.6484 | 1173714.5745 | 2620457.8483 | 1173704.5281
93 | 2620507.6172 | 1173693.7465 | 2620501.8243 | 1173696.4673 | 2620467.4793 | 1173698.1624 | 2620457.8483 | 1173704.5281
94 | 2620508.4256 | 1173959.6148 | 2620489.4213 | 1173973.9335
95 | 2620517.3321 | 1173952.9043 | 2620508.4256 | 1173959.6148
96 | 2620527.1934 | 1173946.6608 | 2620524.1886 | 1173947.7382 | 2620517.3321 | 1173952.9043
97 | 2620527.1934 | 1173946.6608 | 2620527.2571 | 1173946.638
98 | 2620664.1042 | 1173894.6331 | 2620682.1221 | 1173888.8185
99 | 2620655.0679 | 1173897.5493 | 2620664.1042 | 1173894.6331

## bus_geodata
| x | y | coords
0 | 2620864.2281 | 1174007.5049
1 | 2620858.0356 | 1173997.5113
2 | 2620841.0419 | 1173994.4064
3 | 2620865.6835 | 1173994.7142
4 | 2620840.1023 | 1173998.5942
5 | 2620871.6988 | 1173995.2798
6 | 2620857.1493 | 1173990.7167
7 | 2620827.3527 | 1174070.3867
8 | 2620807.5952 | 1174010.9658
9 | 2620830.7253 | 1174078.9916
10 | 2620804.1294 | 1174075.0141
11 | 2620929.7011 | 1173922.6815
12 | 2620919.6911 | 1173941.8704
13 | 2620974.8621 | 1173877.5229
14 | 2620915.3946 | 1173953.5658
15 | 2620963.4912 | 1173842.7767
16 | 2620888.4332 | 1173951.087
17 | 2620820.6907 | 1173987.199
18 | 2620820.8579 | 1173970.4147
19 | 2620821.2434 | 1173949.6603
20 | 2620890.3184 | 1173999.1241
21 | 2620745.7092 | 1174000.975
22 | 2620727.9235 | 1174011.5579
23 | 2620692.6061 | 1173994.1497
24 | 2620675.1009 | 1173953.0019
25 | 2620745.8522 | 1174087.1693
26 | 2620721.96 | 1174093.6125
27 | 2620770.8912 | 1174081.6372
28 | 2620821.539 | 1173938.7105
29 | 2620814.1804 | 1173935.9521
30 | 2620853.9138 | 1173945.612
31 | 2620806.6703 | 1173933.1368
32 | 2620854.19 | 1173945.669
33 | 2620599.7004 | 1174071.7707
34 | 2620618.1918 | 1174087.0194
35 | 2620586.7724 | 1174061.1098
36 | 2620654.4885 | 1174098.3013
37 | 2620570.131 | 1174014.897
38 | 2620650.0627 | 1173962.6208
39 | 2620682.7225 | 1173950.0754
40 | 2620624.3468 | 1173973.6116
41 | 2620693.1545 | 1173946.0699
42 | 2620831.8782 | 1174083.5366
43 | 2620791.9215 | 1174077.4467
44 | 2620788.7945 | 1173926.4357
45 | 2620786.1001 | 1173925.4257
46 | 2620754.5653 | 1173928.2447
47 | 2620753.1926 | 1173900.8663
48 | 2620725.1187 | 1173904.5689
49 | 2620690.1299 | 1173915.4805
50 | 2620658.9904 | 1173925.5708
51 | 2620750.4092 | 1173897.9416
52 | 2620644.9311 | 1173930.4424
53 | 2620735.8962 | 1173879.0289
54 | 2620716.5656 | 1173937.0807
55 | 2620823.3456 | 1173857.0577
56 | 2620813.9368 | 1173858.831
57 | 2620836.5183 | 1173854.5751
58 | 2620801.9153 | 1173861.0968
59 | 2620792.0775 | 1173862.9509
60 | 2620785.4002 | 1173864.2094
61 | 2620773.1223 | 1173866.4243
62 | 2620759.4577 | 1173868.6316
63 | 2620763.8005 | 1173770.4337
64 | 2620756.0947 | 1173773.2196
65 | 2620730.4473 | 1173876.0197
66 | 2620700.7747 | 1173840.0437
67 | 2620702.8955 | 1173882.1147
68 | 2620351.6664 | 1173918.9852
69 | 2620363.8501 | 1173905.8988
70 | 2620375.117 | 1173895.1598
71 | 2620387.9803 | 1173881.2303
72 | 2620733.779 | 1173783.9075
73 | 2620754.9314 | 1173773.7768
74 | 2620686.8599 | 1173806.3787
75 | 2620639.2293 | 1173857.2926
76 | 2620577.8747 | 1173866.0275
77 | 2620616.493 | 1173867.4888
78 | 2620626.4017 | 1173863.2884
79 | 2620564.5823 | 1173918.5835
80 | 2620575.6324 | 1173914.4369
81 | 2620550.9054 | 1173930.2004
82 | 2620590.2599 | 1173908.9483
83 | 2620535.2577 | 1173943.4914
84 | 2620603.0744 | 1173900.0279
85 | 2620586.7097 | 1173940.9261
86 | 2620613.2876 | 1173938.4178
87 | 2620638.8024 | 1173931.9871
88 | 2620416.4838 | 1173736.9284
89 | 2620442.6484 | 1173714.5745
90 | 2620457.8483 | 1173704.5281
91 | 2620507.6172 | 1173693.7465
92 | 2620508.4256 | 1173959.6148
93 | 2620489.4213 | 1173973.9335
94 | 2620517.3321 | 1173952.9043
95 | 2620527.1934 | 1173946.6608
96 | 2620527.2571 | 1173946.638
97 | 2620591.3437 | 1173963.0754
98 | 2620682.1221 | 1173888.8185
99 | 2620664.1042 | 1173894.6331
100 | 2620655.0679 | 1173897.5493
101 | 2620675.1009 | 1173953.0019

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1