## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_938-5_1_4_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_938-5_1_4_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_938-5_1_4_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_938-5_1_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_938-5_1_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_938-5_1_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_938-5_1_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_938-5_1_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_938-5_1_4_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_938-5_1_4_node_112 | 0.4 | n |  | TRUE
10 | bus_LV_938-5_1_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_938-5_1_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_938-5_1_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_938-5_1_4_node_126 | 0.4 | n |  | TRUE
14 | bus_LV_938-5_1_4_node_124 | 0.4 | n |  | TRUE
15 | bus_LV_938-5_1_4_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_938-5_1_4_node_122 | 0.4 | n |  | TRUE
17 | bus_LV_938-5_1_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_938-5_1_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_938-5_1_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_938-5_1_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_938-5_1_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_938-5_1_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_938-5_1_4_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_938-5_1_4_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_938-5_1_4_node_96 | 0.4 | n |  | TRUE
26 | bus_LV_938-5_1_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_938-5_1_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_938-5_1_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_938-5_1_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_938-5_1_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_938-5_1_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_938-5_1_4_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_938-5_1_4_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_938-5_1_4_node_139 | 0.4 | n |  | TRUE
35 | bus_LV_938-5_1_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_938-5_1_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_938-5_1_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_938-5_1_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_938-5_1_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_938-5_1_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_938-5_1_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_938-5_1_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_938-5_1_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_938-5_1_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_938-5_1_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_938-5_1_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_938-5_1_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_938-5_1_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_938-5_1_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_938-5_1_4_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_938-5_1_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_938-5_1_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_938-5_1_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_938-5_1_4_node_149 | 0.4 | n |  | TRUE
55 | bus_LV_938-5_1_4_node_133 | 0.4 | n |  | TRUE
56 | bus_LV_938-5_1_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_938-5_1_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_938-5_1_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_938-5_1_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_938-5_1_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_938-5_1_4_node_119 | 0.4 | n |  | TRUE
62 | bus_LV_938-5_1_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_938-5_1_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_938-5_1_4_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_938-5_1_4_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_938-5_1_4_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_938-5_1_4_node_114 | 0.4 | n |  | TRUE
68 | bus_LV_938-5_1_4_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_938-5_1_4_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_938-5_1_4_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_938-5_1_4_node_118 | 0.4 | n |  | TRUE
72 | bus_LV_938-5_1_4_node_153 | 0.4 | n |  | TRUE
73 | bus_LV_938-5_1_4_node_152 | 0.4 | n |  | TRUE
74 | bus_LV_938-5_1_4_node_120 | 0.4 | n |  | TRUE
75 | bus_LV_938-5_1_4_node_121 | 0.4 | n |  | TRUE
76 | bus_LV_938-5_1_4_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_938-5_1_4_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_938-5_1_4_node_128 | 0.4 | n |  | TRUE
79 | bus_LV_938-5_1_4_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_938-5_1_4_node_137 | 0.4 | n |  | TRUE
81 | bus_LV_938-5_1_4_node_138 | 0.4 | n |  | TRUE
82 | bus_LV_938-5_1_4_node_136 | 0.4 | n |  | TRUE
83 | bus_LV_938-5_1_4_node_130 | 0.4 | n |  | TRUE
84 | bus_LV_938-5_1_4_node_131 | 0.4 | n |  | TRUE
85 | bus_LV_938-5_1_4_node_132 | 0.4 | n |  | TRUE
86 | bus_LV_938-5_1_4_node_134 | 0.4 | n |  | TRUE
87 | bus_LV_938-5_1_4_node_135 | 0.4 | n |  | TRUE
88 | bus_LV_938-5_1_4_node_144 | 0.4 | n |  | TRUE
89 | bus_LV_938-5_1_4_node_143 | 0.4 | n |  | TRUE
90 | bus_LV_938-5_1_4_node_150 | 0.4 | n |  | TRUE
91 | bus_LV_938-5_1_4_node_145 | 0.4 | n |  | TRUE
92 | bus_LV_938-5_1_4_node_141 | 0.4 | n |  | TRUE
93 | bus_LV_938-5_1_4_node_142 | 0.4 | n |  | TRUE
94 | bus_MV_123_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_938-5_1_4_load_9 | 0 | 0.0017764 | 0.00044521 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_938-5_1_4_load_11 | 2 | 0.00084661 | 0.00021218 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_938-5_1_4_load_12 | 3 | 0.0017941 | 0.00044964 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_938-5_1_4_load_113 | 8 | 0.0014166 | 0.00035504 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_938-5_1_4_load_28 | 10 | 0.0019413 | 0.00048655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_938-5_1_4_load_126 | 13 | 0.052065 | 0.013049 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_938-5_1_4_load_124 | 14 | 0.0024935 | 0.00062492 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_938-5_1_4_load_83 | 15 | 0.0052214 | 0.0013086 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_938-5_1_4_load_23 | 17 | 0.0034895 | 0.00087455 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_938-5_1_4_load_24 | 18 | 0.0034601 | 0.00086719 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_938-5_1_4_load_25 | 19 | 0.0026241 | 0.00065765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_938-5_1_4_load_27 | 20 | 0.0075708 | 0.0018974 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_938-5_1_4_load_48 | 22 | 0.0033027 | 0.00082775 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_938-5_1_4_load_97 | 23 | 0.0050432 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_938-5_1_4_load_81 | 24 | 0.0075661 | 0.0018962 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_938-5_1_4_load_96 | 25 | 0.0022864 | 0.00057304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_938-5_1_4_load_30 | 26 | 0.0067827 | 0.0016999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_938-5_1_4_load_31 | 27 | 0.007671 | 0.0019225 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_938-5_1_4_load_32 | 28 | 0.0031255 | 0.00078333 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_938-5_1_4_load_33 | 29 | 0.0025388 | 0.00063628 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_938-5_1_4_load_34 | 30 | 0.0029485 | 0.00073896 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_938-5_1_4_load_51 | 31 | 0.0083854 | 0.0021016 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_938-5_1_4_load_125 | 32 | 0.0017622 | 0.00044164 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_938-5_1_4_load_52 | 33 | 0.0055534 | 0.0013918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_938-5_1_4_load_139 | 34 | 0.0036055 | 0.00090362 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_938-5_1_4_load_35 | 35 | 0.0047272 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_938-5_1_4_load_36 | 36 | 0.0039333 | 0.00098578 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_938-5_1_4_load_37 | 37 | 0.0021883 | 0.00054843 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_938-5_1_4_load_38 | 38 | 0.0058636 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_938-5_1_4_load_39 | 39 | 0.0056831 | 0.0014243 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_938-5_1_4_load_46 | 40 | 0.0032364 | 0.00081111 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_938-5_1_4_load_47 | 41 | 0.0070541 | 0.0017679 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_938-5_1_4_load_45 | 42 | 0.0058638 | 0.0014696 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_938-5_1_4_load_49 | 43 | 0.0085913 | 0.0021532 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_938-5_1_4_load_40 | 44 | 0.0037289 | 0.00093456 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_938-5_1_4_load_41 | 45 | 0.0031636 | 0.00079287 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_938-5_1_4_load_43 | 47 | 0.0019031 | 0.00047697 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_938-5_1_4_load_44 | 48 | 0.010484 | 0.0026274 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_938-5_1_4_load_50 | 49 | 0.0085041 | 0.0021313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_938-5_1_4_load_79 | 50 | 0.0042486 | 0.0010648 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_938-5_1_4_load_54 | 51 | 0.0075648 | 0.0018959 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_938-5_1_4_load_55 | 52 | 0.0025456 | 0.00063799 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_938-5_1_4_load_53 | 53 | 0.0081648 | 0.0020463 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_938-5_1_4_load_149 | 54 | 0.0087507 | 0.0021931 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_938-5_1_4_load_133 | 55 | 0.0022057 | 0.0005528 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_938-5_1_4_load_61 | 56 | 0.0041442 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_938-5_1_4_load_62 | 57 | 0.0038572 | 0.00096671 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_938-5_1_4_load_71 | 58 | 0.0031917 | 0.00079992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_938-5_1_4_load_72 | 59 | 0.0038572 | 0.00096669 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_938-5_1_4_load_73 | 60 | 0.0042103 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_938-5_1_4_load_119 | 61 | 0.0031738 | 0.00079542 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_938-5_1_4_load_78 | 62 | 0.0075686 | 0.0018969 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_938-5_1_4_load_95 | 64 | 0.0019708 | 0.00049393 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_938-5_1_4_load_110 | 65 | 0.0014695 | 0.00036829 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_938-5_1_4_load_111 | 66 | 0.0015057 | 0.00037736 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_938-5_1_4_load_114 | 67 | 0.0010149 | 0.00025435 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_938-5_1_4_load_116 | 69 | 0.0012978 | 0.00032526 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_938-5_1_4_load_117 | 70 | 0.0013992 | 0.00035068 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_938-5_1_4_load_118 | 71 | 0.0019282 | 0.00048326 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_938-5_1_4_load_153 | 72 | 0.0013188 | 0.00033052 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_938-5_1_4_load_152 | 73 | 0.0018146 | 0.00045479 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_938-5_1_4_load_120 | 74 | 0.0050554 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_938-5_1_4_load_121 | 75 | 0.0076091 | 0.001907 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_938-5_1_4_load_123 | 76 | 0.006856 | 0.0017183 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_938-5_1_4_load_127 | 77 | 0.0086352 | 0.0021642 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_938-5_1_4_load_128 | 78 | 0.0068511 | 0.001717 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_938-5_1_4_load_140 | 79 | 0.0044629 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_938-5_1_4_load_138 | 81 | 0.0035498 | 0.00088965 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_938-5_1_4_load_136 | 82 | 0.0051219 | 0.0012837 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_938-5_1_4_load_130 | 83 | 0.0034407 | 0.00086232 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_938-5_1_4_load_131 | 84 | 0.0039406 | 0.0009876 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_938-5_1_4_load_134 | 86 | 0.0015689 | 0.00039319 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_938-5_1_4_load_135 | 87 | 0.0015348 | 0.00038466 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_938-5_1_4_load_144 | 88 | 0.0026223 | 0.00065722 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_938-5_1_4_load_143 | 89 | 0.0033373 | 0.0008364 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_938-5_1_4_load_150 | 90 | 0.0033047 | 0.00082823 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_938-5_1_4_load_145 | 91 | 0.0036209 | 0.00090749 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_938-5_1_4_load_141 | 92 | 0.003673 | 0.00092055 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_938-5_1_4_load_142 | 93 | 0.0039295 | 0.00098482 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_938-5_1_4_line_0 |  | 0 | 1 | 0.0028092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_938-5_1_4_line_1 |  | 1 | 2 | 0.020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_938-5_1_4_line_2 |  | 1 | 3 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_938-5_1_4_line_3 |  | 2 | 4 | 0.0091648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_938-5_1_4_line_4 |  | 3 | 5 | 0.046047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_938-5_1_4_line_5 |  | 4 | 6 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_938-5_1_4_line_6 |  | 5 | 7 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_938-5_1_4_line_7 |  | 6 | 8 | 0.0089862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_938-5_1_4_line_8 |  | 7 | 10 | 0.0572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_938-5_1_4_line_9 |  | 8 | 9 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_938-5_1_4_line_10 |  | 9 | 67 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_938-5_1_4_line_11 |  | 9 | 66 | 0.017265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_938-5_1_4_line_12 |  | 10 | 11 | 0.044417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_938-5_1_4_line_13 |  | 11 | 21 | 0.05297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_938-5_1_4_line_14 |  | 11 | 18 | 0.012393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_938-5_1_4_line_15 |  | 12 | 13 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_938-5_1_4_line_16 |  | 12 | 14 | 0.02969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_938-5_1_4_line_17 |  | 13 | 15 | 0.05031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_938-5_1_4_line_18 |  | 14 | 16 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_938-5_1_4_line_19 |  | 15 | 63 | 0.0012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_938-5_1_4_line_20 |  | 16 | 74 | 0.038997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_938-5_1_4_line_21 |  | 16 | 61 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_938-5_1_4_line_22 |  | 17 | 18 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_938-5_1_4_line_23 |  | 17 | 19 | 0.0014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_938-5_1_4_line_24 |  | 19 | 20 | 0.01738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_938-5_1_4_line_25 |  | 20 | 22 | 0.015727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_938-5_1_4_line_26 |  | 21 | 23 | 0.034471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_938-5_1_4_line_27 |  | 22 | 24 | 0.0092083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_938-5_1_4_line_28 |  | 23 | 25 | 0.059561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_938-5_1_4_line_29 |  | 24 | 50 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_938-5_1_4_line_30 |  | 25 | 64 | 0.015778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_938-5_1_4_line_31 |  | 26 | 27 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_938-5_1_4_line_32 |  | 26 | 28 | 0.00023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_938-5_1_4_line_33 |  | 27 | 29 | 0.0032187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_938-5_1_4_line_34 |  | 28 | 30 | 0.0087192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_938-5_1_4_line_35 |  | 29 | 31 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_938-5_1_4_line_36 |  | 30 | 32 | 0.017197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_938-5_1_4_line_37 |  | 31 | 33 | 0.0057818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_938-5_1_4_line_38 |  | 32 | 34 | 0.00013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_938-5_1_4_line_39 |  | 33 | 53 | 0.0054255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_938-5_1_4_line_40 |  | 34 | 79 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_938-5_1_4_line_41 |  | 35 | 36 | 0.0012175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_938-5_1_4_line_42 |  | 35 | 37 | 0.0074623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_938-5_1_4_line_43 |  | 36 | 38 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_938-5_1_4_line_44 |  | 37 | 39 | 0.0071864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_938-5_1_4_line_45 |  | 38 | 40 | 0.0065461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_938-5_1_4_line_46 |  | 39 | 41 | 0.0081276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_938-5_1_4_line_47 |  | 40 | 42 | 0.01748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_938-5_1_4_line_48 |  | 41 | 43 | 0.01723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_938-5_1_4_line_49 |  | 42 | 47 | 0.0010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_938-5_1_4_line_50 |  | 43 | 49 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_938-5_1_4_line_51 |  | 44 | 45 | 0.0025595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_938-5_1_4_line_52 |  | 44 | 46 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_938-5_1_4_line_53 |  | 46 | 47 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_938-5_1_4_line_54 |  | 46 | 48 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_938-5_1_4_line_55 |  | 49 | 51 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_938-5_1_4_line_56 |  | 50 | 62 | 0.011457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_938-5_1_4_line_57 |  | 51 | 52 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_938-5_1_4_line_58 |  | 52 | 56 | 0.0067028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_938-5_1_4_line_59 |  | 53 | 54 | 0.0088052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_938-5_1_4_line_60 |  | 54 | 55 | 0.0091705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_938-5_1_4_line_61 |  | 55 | 84 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_938-5_1_4_line_62 |  | 56 | 57 | 0.0087458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_938-5_1_4_line_63 |  | 57 | 58 | 0.00065746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_938-5_1_4_line_64 |  | 58 | 59 | 0.020202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_938-5_1_4_line_65 |  | 59 | 60 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_938-5_1_4_line_66 |  | 60 | 61 | 0.00032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_938-5_1_4_line_67 |  | 62 | 63 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_938-5_1_4_line_68 |  | 65 | 66 | 0.023687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_938-5_1_4_line_69 |  | 67 | 68 | 0.0055674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_938-5_1_4_line_70 |  | 68 | 69 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_938-5_1_4_line_71 |  | 68 | 70 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_938-5_1_4_line_72 |  | 69 | 71 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_938-5_1_4_line_73 |  | 70 | 72 | 0.0060856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_938-5_1_4_line_74 |  | 72 | 73 | 0.0045036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_938-5_1_4_line_75 |  | 74 | 75 | 0.0096014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_938-5_1_4_line_76 |  | 75 | 76 | 0.0076033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_938-5_1_4_line_77 |  | 76 | 77 | 0.013805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_938-5_1_4_line_78 |  | 77 | 78 | 0.0040739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_938-5_1_4_line_79 |  | 78 | 80 | 0.053663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_938-5_1_4_line_80 |  | 79 | 92 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_938-5_1_4_line_81 |  | 80 | 81 | 0.03144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_938-5_1_4_line_82 |  | 80 | 82 | 0.03922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_938-5_1_4_line_83 |  | 81 | 90 | 0.022785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_938-5_1_4_line_84 |  | 83 | 84 | 0.0089778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_938-5_1_4_line_85 |  | 83 | 85 | 0.021861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_938-5_1_4_line_86 |  | 85 | 86 | 0.0087027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_938-5_1_4_line_87 |  | 85 | 87 | 0.019356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_938-5_1_4_line_88 |  | 86 | 88 | 0.022369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_938-5_1_4_line_89 |  | 88 | 89 | 0.0026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_938-5_1_4_line_90 |  | 89 | 93 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_938-5_1_4_line_91 |  | 90 | 91 | 0.0042803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_938-5_1_4_line_92 |  | 91 | 92 | 0.026597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_938-5_1_4_trafo_54 | 0.63 MVA 20/0.4 kV | 94 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2621289.9189 | 1173725.4628 | 2621291.9122 | 1173723.4832
1 | 2621289.9189 | 1173725.4628 | 2621278.2885 | 1173736.4272 | 2621274.1885 | 1173738.8036
2 | 2621289.9189 | 1173725.4628 | 2621306.5061 | 1173740.7067
3 | 2621266.2593 | 1173743.3994 | 2621274.1885 | 1173738.8036
4 | 2621340.4104 | 1173771.8652 | 2621306.5061 | 1173740.7067
5 | 2621255.7575 | 1173740.105 | 2621266.2593 | 1173743.3994
6 | 2621327.9579 | 1173786.095 | 2621339.2361 | 1173773.1284 | 2621340.4104 | 1173771.8652
7 | 2621255.7575 | 1173740.105 | 2621251.2188 | 1173732.3492
8 | 2621327.9579 | 1173786.095 | 2621315.9428 | 1173799.8928 | 2621289.9102 | 1173827.2924 | 2621289.0102 | 1173827.9406
9 | 2621242.1604 | 1173716.8896 | 2621247.5111 | 1173726.0132 | 2621251.2188 | 1173732.3492
10 | 2621242.1604 | 1173716.8896 | 2621234.7746 | 1173701.6002 | 2621234.5668 | 1173700.3991
11 | 2621242.1604 | 1173716.8896 | 2621255.6831 | 1173706.1557
12 | 2621253.2057 | 1173854.2209 | 2621266.0702 | 1173844.4613 | 2621289.0102 | 1173827.9406
13 | 2621253.2057 | 1173854.2209 | 2621250.3955 | 1173851.0538 | 2621246.7216 | 1173847.7947 | 2621239.9531 | 1173846.1144 | 2621230.9021 | 1173847.7388 | 2621212.1213 | 1173854.854 | 2621204.773 | 1173857.1515
14 | 2621253.2057 | 1173854.2209 | 2621254.2504 | 1173857.1705 | 2621255.6768 | 1173862.4671 | 2621256.1358 | 1173866.2174
15 | 2621180.6841 | 1173990.6903 | 2621183.394 | 1173998.4594 | 2621180.2137 | 1174004.8514
16 | 2621180.2137 | 1174004.8514 | 2621169.0033 | 1174018.3522 | 2621169.9462 | 1174019.8229 | 2621180.0701 | 1174017.4649
17 | 2621180.6841 | 1173990.6903 | 2621181.2079 | 1173940.3826
18 | 2621202.6654 | 1174014.7133 | 2621199.2385 | 1174013.0004 | 2621180.0701 | 1174017.4649
19 | 2621182.1489 | 1173939.5027 | 2621181.2079 | 1173940.3826
20 | 2621202.6654 | 1174014.7133 | 2621196.1814 | 1174023.4727 | 2621189.1059 | 1174037.3993 | 2621182.0297 | 1174047.6772
21 | 2621202.6654 | 1174014.7133 | 2621208.3428 | 1174007.0294 | 2621209.5277 | 1174005.9585
22 | 2621256.1358 | 1173866.2174 | 2621256.2267 | 1173866.9602 | 2621254.6146 | 1173873.1021 | 2621249.6574 | 1173878.7509
23 | 2621248.6973 | 1173879.845 | 2621249.6574 | 1173878.7509
24 | 2621248.6973 | 1173879.845 | 2621244.3736 | 1173884.7719 | 2621236.0922 | 1173891.7424
25 | 2621236.0922 | 1173891.7424 | 2621224.06 | 1173901.87
26 | 2621204.773 | 1173857.1515 | 2621208.3796 | 1173844.8024 | 2621216.6802 | 1173841.2965 | 2621229.1895 | 1173839.8277
27 | 2621224.06 | 1173901.87 | 2621217.0151 | 1173907.7998
28 | 2621221.6 | 1173807.6085 | 2621225.7472 | 1173804.821 | 2621231.4924 | 1173806.153 | 2621245.5963 | 1173828.681 | 2621244.4373 | 1173834.2797 | 2621233.2255 | 1173839.3539 | 2621229.1895 | 1173839.8277
29 | 2621206.1395 | 1173917.0635 | 2621207.3105 | 1173915.9682 | 2621217.0151 | 1173907.7998
30 | 2621208.5051 | 1173816.4104 | 2621221.6 | 1173807.6085
31 | 2621323.7108 | 1174045.0665 | 2621337.0542 | 1174037.6216
32 | 2621323.7108 | 1174045.0665 | 2621323.5049 | 1174045.1814
33 | 2621339.865 | 1174036.0534 | 2621337.0542 | 1174037.6216
34 | 2621315.8907 | 1174049.4296 | 2621323.5049 | 1174045.1814
35 | 2621349.8748 | 1174030.3645 | 2621340.6368 | 1174035.6228 | 2621339.865 | 1174036.0534
36 | 2621315.8907 | 1174049.4296 | 2621300.8726 | 1174057.8088
37 | 2621354.8996 | 1174027.5044 | 2621349.8748 | 1174030.3645
38 | 2621300.8726 | 1174057.8088 | 2621300.7511 | 1174057.8766
39 | 2621359.6148 | 1174024.8205 | 2621354.8996 | 1174027.5044
40 | 2621300.7511 | 1174057.8766 | 2621286.5659 | 1174065.7911 | 2621286.4653 | 1174065.8485
41 | 2621309.5789 | 1173916.5777 | 2621310.4914 | 1173915.7716
42 | 2621309.5789 | 1173916.5777 | 2621303.9863 | 1173921.5182
43 | 2621310.4914 | 1173915.7716 | 2621318.5926 | 1173908.6151
44 | 2621303.9863 | 1173921.5182 | 2621298.6005 | 1173926.276
45 | 2621323.4986 | 1173904.2812 | 2621318.5926 | 1173908.6151
46 | 2621292.5092 | 1173931.6569 | 2621298.6005 | 1173926.276
47 | 2621323.4986 | 1173904.2812 | 2621336.5991 | 1173892.7083
48 | 2621292.5092 | 1173931.6569 | 2621279.5959 | 1173943.0645
49 | 2621337.4099 | 1173891.9921 | 2621336.5991 | 1173892.7083
50 | 2621271.432 | 1173950.2764 | 2621279.5959 | 1173943.0645
51 | 2621364.5446 | 1173880.4492 | 2621366.815 | 1173879.2676
52 | 2621349.5099 | 1173885.8779 | 2621359.4289 | 1173883.1117 | 2621364.5446 | 1173880.4492
53 | 2621349.5099 | 1173885.8779 | 2621341.9328 | 1173887.9965 | 2621337.4099 | 1173891.9921
54 | 2621349.5099 | 1173885.8779 | 2621354.8065 | 1173875.6804 | 2621354.6566 | 1173870.5439 | 2621352.0871 | 1173868.4893
55 | 2621271.432 | 1173950.2764 | 2621260.1903 | 1173960.2072
56 | 2621197.772 | 1173924.8899 | 2621206.1395 | 1173917.0635
57 | 2621247.8548 | 1173971.321 | 2621258.5068 | 1173961.6944 | 2621260.1903 | 1173960.2072
58 | 2621247.8548 | 1173971.321 | 2621242.8819 | 1173975.8152
59 | 2621359.6148 | 1174024.8205 | 2621367.2672 | 1174020.4647
60 | 2621375.2371 | 1174015.9283 | 2621367.2672 | 1174020.4647
61 | 2621375.2371 | 1174015.9283 | 2621377.2042 | 1174014.8086 | 2621393.0599 | 1174005.8897
62 | 2621242.8819 | 1173975.8152 | 2621236.3932 | 1173981.6792
63 | 2621236.3932 | 1173981.6792 | 2621235.9054 | 1173982.12
64 | 2621235.9054 | 1173982.12 | 2621220.9175 | 1173995.6652
65 | 2621209.7688 | 1174005.7407 | 2621220.9175 | 1173995.6652
66 | 2621209.7688 | 1174005.7407 | 2621209.5277 | 1174005.9585
67 | 2621182.1489 | 1173939.5027 | 2621197.772 | 1173924.8899
68 | 2621274.2359 | 1173691.4291 | 2621255.6831 | 1173706.1557
69 | 2621234.4081 | 1173694.9511 | 2621233.9279 | 1173696.7058 | 2621234.5668 | 1173700.3991
70 | 2621234.4081 | 1173694.9511 | 2621235.4072 | 1173691.3417 | 2621246.796 | 1173684.4118
71 | 2621234.4081 | 1173694.9511 | 2621231.5405 | 1173688.5377 | 2621230.0322 | 1173677.0192
72 | 2621261.0008 | 1173675.7685 | 2621246.796 | 1173684.4118
73 | 2621229.2421 | 1173670.9852 | 2621230.0322 | 1173677.0192
74 | 2621228.6574 | 1173666.5197 | 2621229.2421 | 1173670.9852
75 | 2621182.0297 | 1174047.6772 | 2621176.5849 | 1174055.5856
76 | 2621172.2732 | 1174061.8481 | 2621176.5849 | 1174055.5856
77 | 2621164.4446 | 1174073.2188 | 2621172.2732 | 1174061.8481
78 | 2621164.4446 | 1174073.2188 | 2621163.1918 | 1174075.0385 | 2621162.2123 | 1174076.6251
79 | 2621162.2123 | 1174076.6251 | 2621191.7305 | 1174121.4403
80 | 2621264.9689 | 1174078.1199 | 2621286.4653 | 1174065.8485
81 | 2621191.7305 | 1174121.4403 | 2621201.4146 | 1174115.7716 | 2621218.6096 | 1174105.1351
82 | 2621191.7305 | 1174121.4403 | 2621202.061 | 1174125.4343 | 2621223.8546 | 1174130.9806 | 2621228.8677 | 1174133.5995
83 | 2621238.1531 | 1174093.4278 | 2621230.1488 | 1174097.9971 | 2621218.6096 | 1174105.1351
84 | 2621400.8847 | 1174001.4883 | 2621393.0599 | 1174005.8897
85 | 2621419.9383 | 1173990.7705 | 2621400.8847 | 1174001.4883
86 | 2621419.9383 | 1173990.7705 | 2621423.5283 | 1173982.8428
87 | 2621419.9383 | 1173990.7705 | 2621436.2721 | 1173981.5796 | 2621436.8011 | 1173981.2682
88 | 2621432.2998 | 1173962.2791 | 2621429.9953 | 1173968.5617 | 2621423.5283 | 1173982.8428
89 | 2621432.2998 | 1173962.2791 | 2621433.202 | 1173959.8196
90 | 2621439.7656 | 1173942.9239 | 2621437.8552 | 1173947.1343 | 2621433.202 | 1173959.8196
91 | 2621238.1531 | 1174093.4278 | 2621241.8704 | 1174091.3057
92 | 2621264.9689 | 1174078.1199 | 2621241.8704 | 1174091.3057

## bus_geodata
| x | y | coords
0 | 2621291.9122 | 1173723.4832
1 | 2621289.9189 | 1173725.4628
2 | 2621274.1885 | 1173738.8036
3 | 2621306.5061 | 1173740.7067
4 | 2621266.2593 | 1173743.3994
5 | 2621340.4104 | 1173771.8652
6 | 2621255.7575 | 1173740.105
7 | 2621327.9579 | 1173786.095
8 | 2621251.2188 | 1173732.3492
9 | 2621242.1604 | 1173716.8896
10 | 2621289.0102 | 1173827.9406
11 | 2621253.2057 | 1173854.2209
12 | 2621180.2137 | 1174004.8514
13 | 2621180.6841 | 1173990.6903
14 | 2621180.0701 | 1174017.4649
15 | 2621181.2079 | 1173940.3826
16 | 2621202.6654 | 1174014.7133
17 | 2621249.6574 | 1173878.7509
18 | 2621256.1358 | 1173866.2174
19 | 2621248.6973 | 1173879.845
20 | 2621236.0922 | 1173891.7424
21 | 2621204.773 | 1173857.1515
22 | 2621224.06 | 1173901.87
23 | 2621229.1895 | 1173839.8277
24 | 2621217.0151 | 1173907.7998
25 | 2621221.6 | 1173807.6085
26 | 2621323.7108 | 1174045.0665
27 | 2621337.0542 | 1174037.6216
28 | 2621323.5049 | 1174045.1814
29 | 2621339.865 | 1174036.0534
30 | 2621315.8907 | 1174049.4296
31 | 2621349.8748 | 1174030.3645
32 | 2621300.8726 | 1174057.8088
33 | 2621354.8996 | 1174027.5044
34 | 2621300.7511 | 1174057.8766
35 | 2621309.5789 | 1173916.5777
36 | 2621310.4914 | 1173915.7716
37 | 2621303.9863 | 1173921.5182
38 | 2621318.5926 | 1173908.6151
39 | 2621298.6005 | 1173926.276
40 | 2621323.4986 | 1173904.2812
41 | 2621292.5092 | 1173931.6569
42 | 2621336.5991 | 1173892.7083
43 | 2621279.5959 | 1173943.0645
44 | 2621364.5446 | 1173880.4492
45 | 2621366.815 | 1173879.2676
46 | 2621349.5099 | 1173885.8779
47 | 2621337.4099 | 1173891.9921
48 | 2621352.0871 | 1173868.4893
49 | 2621271.432 | 1173950.2764
50 | 2621206.1395 | 1173917.0635
51 | 2621260.1903 | 1173960.2072
52 | 2621247.8548 | 1173971.321
53 | 2621359.6148 | 1174024.8205
54 | 2621367.2672 | 1174020.4647
55 | 2621375.2371 | 1174015.9283
56 | 2621242.8819 | 1173975.8152
57 | 2621236.3932 | 1173981.6792
58 | 2621235.9054 | 1173982.12
59 | 2621220.9175 | 1173995.6652
60 | 2621209.7688 | 1174005.7407
61 | 2621209.5277 | 1174005.9585
62 | 2621197.772 | 1173924.8899
63 | 2621182.1489 | 1173939.5027
64 | 2621208.5051 | 1173816.4104
65 | 2621274.2359 | 1173691.4291
66 | 2621255.6831 | 1173706.1557
67 | 2621234.5668 | 1173700.3991
68 | 2621234.4081 | 1173694.9511
69 | 2621246.796 | 1173684.4118
70 | 2621230.0322 | 1173677.0192
71 | 2621261.0008 | 1173675.7685
72 | 2621229.2421 | 1173670.9852
73 | 2621228.6574 | 1173666.5197
74 | 2621182.0297 | 1174047.6772
75 | 2621176.5849 | 1174055.5856
76 | 2621172.2732 | 1174061.8481
77 | 2621164.4446 | 1174073.2188
78 | 2621162.2123 | 1174076.6251
79 | 2621286.4653 | 1174065.8485
80 | 2621191.7305 | 1174121.4403
81 | 2621218.6096 | 1174105.1351
82 | 2621228.8677 | 1174133.5995
83 | 2621400.8847 | 1174001.4883
84 | 2621393.0599 | 1174005.8897
85 | 2621419.9383 | 1173990.7705
86 | 2621423.5283 | 1173982.8428
87 | 2621436.8011 | 1173981.2682
88 | 2621432.2998 | 1173962.2791
89 | 2621433.202 | 1173959.8196
90 | 2621238.1531 | 1174093.4278
91 | 2621241.8704 | 1174091.3057
92 | 2621264.9689 | 1174078.1199
93 | 2621439.7656 | 1173942.9239
94 | 2621202.6654 | 1174014.7133

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1