## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_944-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_944-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_944-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_944-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_944-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_944-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_944-13_0_4_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_944-13_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_944-13_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_944-13_0_4_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_944-13_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_944-13_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_944-13_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_944-13_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_944-13_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_944-13_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_944-13_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_944-13_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_944-13_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_944-13_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_944-13_0_4_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_944-13_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_944-13_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_944-13_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_944-13_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_944-13_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_944-13_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_944-13_0_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_944-13_0_4_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_944-13_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_944-13_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_944-13_0_4_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_944-13_0_4_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_944-13_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_944-13_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_944-13_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_944-13_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_944-13_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_944-13_0_4_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_944-13_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_944-13_0_4_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_944-13_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_944-13_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_944-13_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_944-13_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_944-13_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_944-13_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_944-13_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_944-13_0_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_944-13_0_4_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_944-13_0_4_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_944-13_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_944-13_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_944-13_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_944-13_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_944-13_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_944-13_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_944-13_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_944-13_0_4_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_944-13_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_944-13_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_944-13_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_944-13_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_944-13_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_944-13_0_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_944-13_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_944-13_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_944-13_0_4_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_944-13_0_4_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_944-13_0_4_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_944-13_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_944-13_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_944-13_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_944-13_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_944-13_0_4_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_944-13_0_4_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_944-13_0_4_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_944-13_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_944-13_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_944-13_0_4_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_944-13_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_944-13_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_944-13_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_944-13_0_4_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_944-13_0_4_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_944-13_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_944-13_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_944-13_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_944-13_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_944-13_0_4_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_944-13_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_944-13_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_122_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_944-13_0_4_load_0 | 0 | 0.0041563 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_944-13_0_4_load_1 | 1 | 0.0031412 | 0.00078727 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_944-13_0_4_load_3 | 3 | 0.0056647 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_944-13_0_4_load_4 | 4 | 0.0032586 | 0.00081667 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_944-13_0_4_load_85 | 6 | 0.0012085 | 0.00030288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_944-13_0_4_load_26 | 7 | 0.0019987 | 0.00050092 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_944-13_0_4_load_83 | 9 | 0.00174 | 0.00043609 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_944-13_0_4_load_16 | 11 | 0.0025347 | 0.00063525 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_944-13_0_4_load_7 | 12 | 0.0015458 | 0.00038741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_944-13_0_4_load_14 | 13 | 0.00097712 | 0.00024489 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_944-13_0_4_load_6 | 14 | 0.0082775 | 0.0020745 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_944-13_0_4_load_10 | 15 | 0.0030476 | 0.0007638 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_944-13_0_4_load_11 | 16 | 0.047735 | 0.011963 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_944-13_0_4_load_12 | 17 | 0.0019445 | 0.00048735 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_944-13_0_4_load_13 | 18 | 0.021172 | 0.0053062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_944-13_0_4_load_15 | 19 | 0.010434 | 0.002615 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_944-13_0_4_load_84 | 20 | 0.01758 | 0.004406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_944-13_0_4_load_17 | 21 | 0.0069939 | 0.0017528 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_944-13_0_4_load_18 | 22 | 0.0018247 | 0.00045732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_944-13_0_4_load_21 | 25 | 0.0022661 | 0.00056795 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_944-13_0_4_load_22 | 26 | 0.00059593 | 0.00014936 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_944-13_0_4_load_73 | 27 | 0.009544 | 0.002392 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_944-13_0_4_load_74 | 28 | 0.0024003 | 0.00060157 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_944-13_0_4_load_24 | 30 | 0.002901 | 0.00072707 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_944-13_0_4_load_80 | 31 | 0.0039676 | 0.00099437 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_944-13_0_4_load_78 | 32 | 0.0053214 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_944-13_0_4_load_31 | 33 | 0.0010579 | 0.00026512 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_944-13_0_4_load_62 | 34 | 0.0038088 | 0.00095457 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_944-13_0_4_load_56 | 35 | 0.0043488 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_944-13_0_4_load_29 | 36 | 0.0026186 | 0.00065627 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_944-13_0_4_load_55 | 38 | 0.0050541 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_944-13_0_4_load_67 | 39 | 0.0021042 | 0.00052737 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_944-13_0_4_load_28 | 41 | 0.0049456 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_944-13_0_4_load_30 | 42 | 0.0094946 | 0.0023796 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_944-13_0_4_load_32 | 43 | 0.0074533 | 0.001868 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_944-13_0_4_load_33 | 44 | 0.0051958 | 0.0013022 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_944-13_0_4_load_34 | 45 | 0.00266 | 0.00066665 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_944-13_0_4_load_36 | 47 | 0.0030247 | 0.00075807 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_944-13_0_4_load_79 | 48 | 0.0043486 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_944-13_0_4_load_81 | 49 | 0.0035595 | 0.00089211 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_944-13_0_4_load_82 | 50 | 0.0047543 | 0.0011915 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_944-13_0_4_load_60 | 52 | 0.0059427 | 0.0014894 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_944-13_0_4_load_61 | 53 | 0.0011283 | 0.00028279 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_944-13_0_4_load_59 | 54 | 0.0036348 | 0.00091096 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_944-13_0_4_load_52 | 56 | 0.0028483 | 0.00071385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_944-13_0_4_load_86 | 58 | 0.0059612 | 0.001494 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_944-13_0_4_load_39 | 59 | 0.0034762 | 0.00087122 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_944-13_0_4_load_40 | 60 | 0.0060808 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_944-13_0_4_load_42 | 61 | 0.0026846 | 0.00067282 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_944-13_0_4_load_70 | 62 | 0.003982 | 0.00099799 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_944-13_0_4_load_71 | 64 | 0.0035951 | 0.00090101 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_944-13_0_4_load_69 | 65 | 0.004794 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_944-13_0_4_load_45 | 66 | 0.0074068 | 0.0018563 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_944-13_0_4_load_88 | 67 | 0.0025567 | 0.00064076 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_944-13_0_4_load_89 | 69 | 0.0054653 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_944-13_0_4_load_46 | 70 | 0.0027782 | 0.00069628 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_944-13_0_4_load_47 | 71 | 0.0026445 | 0.00066277 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_944-13_0_4_load_68 | 72 | 0.0023105 | 0.00057906 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_944-13_0_4_load_51 | 73 | 0.008812 | 0.0022085 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_944-13_0_4_load_48 | 74 | 0.0020194 | 0.00050611 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_944-13_0_4_load_49 | 75 | 0.0017076 | 0.00042795 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_944-13_0_4_load_50 | 76 | 0.0039291 | 0.00098472 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_944-13_0_4_load_54 | 77 | 0.0044448 | 0.001114 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_944-13_0_4_load_57 | 78 | 0.0062679 | 0.0015709 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_944-13_0_4_load_58 | 79 | 0.0025438 | 0.00063755 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_944-13_0_4_load_63 | 80 | 0.0019613 | 0.00049155 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_944-13_0_4_load_64 | 81 | 0.0019074 | 0.00047804 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_944-13_0_4_load_66 | 82 | 0.00199 | 0.00049875 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_944-13_0_4_load_94 | 83 | 0.0027728 | 0.00069494 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_944-13_0_4_load_92 | 84 | 0.0028424 | 0.00071236 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_944-13_0_4_load_75 | 85 | 0.0040998 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_944-13_0_4_load_76 | 86 | 0.0029866 | 0.00074852 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_944-13_0_4_load_77 | 87 | 0.0030245 | 0.00075801 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_944-13_0_4_load_90 | 88 | 0.0022356 | 0.00056029 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_944-13_0_4_load_95 | 89 | 0.0022755 | 0.0005703 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_944-13_0_4_load_91 | 90 | 0.0032812 | 0.00082233 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_944-13_0_4_load_93 | 91 | 0.0025186 | 0.00063123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_944-13_0_4_line_0 |  | 0 | 1 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_944-13_0_4_line_1 |  | 0 | 2 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_944-13_0_4_line_2 |  | 1 | 3 | 0.033802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_944-13_0_4_line_3 |  | 2 | 4 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_944-13_0_4_line_4 |  | 2 | 5 | 0.025929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_944-13_0_4_line_5 |  | 3 | 6 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_944-13_0_4_line_6 |  | 4 | 7 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_944-13_0_4_line_7 |  | 5 | 8 | 0.009723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_944-13_0_4_line_8 |  | 5 | 9 | 0.036467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_944-13_0_4_line_9 |  | 7 | 10 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_944-13_0_4_line_10 |  | 8 | 11 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_944-13_0_4_line_11 |  | 8 | 12 | 0.042028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_944-13_0_4_line_12 |  | 9 | 13 | 0.0020303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_944-13_0_4_line_13 |  | 10 | 39 | 0.024198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_944-13_0_4_line_14 |  | 11 | 15 | 0.023329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_944-13_0_4_line_15 |  | 12 | 14 | 0.0037685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_944-13_0_4_line_16 |  | 13 | 17 | 0.017609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_944-13_0_4_line_17 |  | 16 | 17 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_944-13_0_4_line_18 |  | 16 | 18 | 0.0044957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_944-13_0_4_line_19 |  | 18 | 19 | 0.015968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_944-13_0_4_line_20 |  | 19 | 20 | 0.001727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_944-13_0_4_line_21 |  | 21 | 22 | 0.040545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_944-13_0_4_line_22 |  | 21 | 23 | 0.0036761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_944-13_0_4_line_23 |  | 22 | 24 | 0.02493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_944-13_0_4_line_24 |  | 23 | 25 | 0.050052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_944-13_0_4_line_25 |  | 23 | 26 | 0.033227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_944-13_0_4_line_26 |  | 24 | 29 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_944-13_0_4_line_27 |  | 24 | 30 | 0.030759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_944-13_0_4_line_28 |  | 27 | 28 | 0.013568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_944-13_0_4_line_29 |  | 28 | 85 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_944-13_0_4_line_30 |  | 29 | 33 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_944-13_0_4_line_31 |  | 29 | 34 | 0.0047397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_944-13_0_4_line_32 |  | 30 | 35 | 0.02773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_944-13_0_4_line_33 |  | 31 | 32 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_944-13_0_4_line_34 |  | 32 | 48 | 0.024373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_944-13_0_4_line_35 |  | 33 | 36 | 0.0052398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_944-13_0_4_line_36 |  | 34 | 37 | 0.04197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_944-13_0_4_line_37 |  | 35 | 38 | 0.010068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_944-13_0_4_line_38 |  | 36 | 41 | 0.0081727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_944-13_0_4_line_39 |  | 37 | 52 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_944-13_0_4_line_40 |  | 37 | 46 | 0.012715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_944-13_0_4_line_41 |  | 38 | 77 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_944-13_0_4_line_42 |  | 39 | 40 | 0.0031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_944-13_0_4_line_43 |  | 40 | 80 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_944-13_0_4_line_44 |  | 41 | 42 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_944-13_0_4_line_45 |  | 43 | 44 | 0.0079933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_944-13_0_4_line_46 |  | 43 | 45 | 0.027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_944-13_0_4_line_47 |  | 44 | 46 | 0.019872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_944-13_0_4_line_48 |  | 45 | 47 | 0.002335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_944-13_0_4_line_49 |  | 46 | 51 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_944-13_0_4_line_50 |  | 47 | 50 | 0.0012401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_944-13_0_4_line_51 |  | 48 | 49 | 0.021273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_944-13_0_4_line_52 |  | 48 | 50 | 0.034257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_944-13_0_4_line_53 |  | 49 | 58 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_944-13_0_4_line_54 |  | 51 | 53 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_944-13_0_4_line_55 |  | 52 | 54 | 0.002816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_944-13_0_4_line_56 |  | 54 | 79 | 0.021771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_944-13_0_4_line_57 |  | 55 | 56 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_944-13_0_4_line_58 |  | 55 | 57 | 0.00474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_944-13_0_4_line_59 |  | 56 | 73 | 0.0053889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_944-13_0_4_line_60 |  | 57 | 59 | 0.016588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_944-13_0_4_line_61 |  | 58 | 63 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_944-13_0_4_line_62 |  | 59 | 60 | 0.0040008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_944-13_0_4_line_63 |  | 60 | 61 | 0.027664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_944-13_0_4_line_64 |  | 61 | 66 | 0.0077752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_944-13_0_4_line_65 |  | 62 | 63 | 0.033196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_944-13_0_4_line_66 |  | 62 | 64 | 0.018304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_944-13_0_4_line_67 |  | 62 | 65 | 0.030502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_944-13_0_4_line_68 |  | 63 | 68 | 0.038941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_944-13_0_4_line_69 |  | 63 | 69 | 0.020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_944-13_0_4_line_70 |  | 64 | 76 | 0.0039637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_944-13_0_4_line_71 |  | 65 | 72 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_944-13_0_4_line_72 |  | 66 | 67 | 0.0022264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_944-13_0_4_line_73 |  | 67 | 69 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_944-13_0_4_line_74 |  | 68 | 83 | 0.0071298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_944-13_0_4_line_75 |  | 68 | 84 | 0.032519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_944-13_0_4_line_76 |  | 70 | 71 | 3.9591e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_944-13_0_4_line_77 |  | 71 | 74 | 0.00086659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_944-13_0_4_line_78 |  | 72 | 82 | 0.00062547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_944-13_0_4_line_79 |  | 74 | 75 | 3.7265e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_944-13_0_4_line_80 |  | 75 | 76 | 0.029502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_944-13_0_4_line_81 |  | 78 | 79 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_944-13_0_4_line_82 |  | 80 | 81 | 0.0088636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_944-13_0_4_line_83 |  | 81 | 82 | 0.0083474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_944-13_0_4_line_84 |  | 83 | 89 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_944-13_0_4_line_85 |  | 84 | 90 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_944-13_0_4_line_86 |  | 85 | 86 | 0.0094436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_944-13_0_4_line_87 |  | 86 | 87 | 0.0071372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_944-13_0_4_line_88 |  | 87 | 88 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_944-13_0_4_line_89 |  | 88 | 89 | 0.023009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_944-13_0_4_line_90 |  | 90 | 91 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_944-13_0_4_trafo_89 | 0.63 MVA 20/0.4 kV | 92 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2610163.7656 | 1180695.1029 | 2610175.6499 | 1180696.9536 | 2610184.744 | 1180697.4208
1 | 2610145.1242 | 1180692.1998 | 2610163.7656 | 1180695.1029
2 | 2610218.502 | 1180699.1547 | 2610184.744 | 1180697.4208
3 | 2610145.1242 | 1180692.1998 | 2610144.7476 | 1180674.762
4 | 2610145.7527 | 1180718.1141 | 2610145.3 | 1180701.1936 | 2610145.1242 | 1180692.1998
5 | 2610218.502 | 1180699.1547 | 2610232.8334 | 1180699.8908
6 | 2610144.268 | 1180652.5593 | 2610144.7476 | 1180674.762
7 | 2610145.7527 | 1180718.1141 | 2610146.4619 | 1180727.8092
8 | 2610145.7527 | 1180718.1141 | 2610181.7984 | 1180723.6387
9 | 2610143.8701 | 1180634.1346 | 2610144.268 | 1180652.5593
10 | 2610146.4619 | 1180727.8092 | 2610147.9368 | 1180740.885 | 2610148.4116 | 1180743.5738
11 | 2610146.4619 | 1180727.8092 | 2610134.4222 | 1180739.0058 | 2610132.2118 | 1180740.9364 | 2610129.0869 | 1180741.6871 | 2610119.6145 | 1180743.0497 | 2610117.3059 | 1180744.3242 | 2610116.2721 | 1180745.99 | 2610115.756 | 1180748.6127 | 2610115.629 | 1180751.207
12 | 2610181.7984 | 1180723.6387 | 2610183.8052 | 1180723.9463
13 | 2610143.8701 | 1180634.1346 | 2610167.7198 | 1180638.2231
14 | 2610154.1605 | 1180766.1476 | 2610151.2168 | 1180756.8876 | 2610149.4801 | 1180749.6254 | 2610148.4116 | 1180743.5738
15 | 2610115.1879 | 1180754.9483 | 2610115.6058 | 1180751.6807 | 2610115.629 | 1180751.207
16 | 2610201.2112 | 1180726.6141 | 2610183.8052 | 1180723.9463
17 | 2610220.3353 | 1180729.5452 | 2610201.2112 | 1180726.6141
18 | 2610220.3353 | 1180729.5452 | 2610224.779 | 1180730.2263
19 | 2610224.779 | 1180730.2263 | 2610240.5625 | 1180732.6454
20 | 2610242.2696 | 1180732.907 | 2610240.5625 | 1180732.6454
21 | 2610510.6161 | 1180648.5997 | 2610471.5966 | 1180637.5816
22 | 2610514.1539 | 1180649.5987 | 2610510.6161 | 1180648.5997
23 | 2610447.6045 | 1180630.8068 | 2610471.5966 | 1180637.5816
24 | 2610514.1539 | 1180649.5987 | 2610562.1717 | 1180663.7225
25 | 2610514.1539 | 1180649.5987 | 2610505.8903 | 1180681.7818
26 | 2610418.3141 | 1180622.6409 | 2610436.9021 | 1180627.7867 | 2610447.6045 | 1180630.8068
27 | 2610447.6045 | 1180630.8068 | 2610446.0393 | 1180621.7105 | 2610447.4776 | 1180600.2295
28 | 2610404.5505 | 1180730.9834 | 2610403.3492 | 1180739.6861 | 2610398.6698 | 1180738.6946
29 | 2610388.1477 | 1180736.4653 | 2610398.6698 | 1180738.6946
30 | 2610418.3141 | 1180622.6409 | 2610416.1399 | 1180641.5266
31 | 2610418.3141 | 1180622.6409 | 2610413.719 | 1180621.4791
32 | 2610449.3303 | 1180572.5611 | 2610447.4776 | 1180600.2295
33 | 2610389.7145 | 1180710.0029 | 2610368.681 | 1180705.549
34 | 2610368.681 | 1180705.549 | 2610344.8366 | 1180700.4998
35 | 2610416.1399 | 1180641.5266 | 2610415.5407 | 1180646.732
36 | 2610372.9138 | 1180611.6681 | 2610395.603 | 1180616.8987 | 2610413.719 | 1180621.4791
37 | 2610450.0029 | 1180562.516 | 2610449.3303 | 1180572.5611
38 | 2610414.6059 | 1180654.8511 | 2610415.5407 | 1180646.732
39 | 2610372.9138 | 1180611.6681 | 2610381.2472 | 1180606.6243 | 2610381.8772 | 1180596.3934
40 | 2610360.4389 | 1180609.0342 | 2610372.9138 | 1180611.6681
41 | 2610451.9815 | 1180532.9672 | 2610450.0029 | 1180562.516
42 | 2610170.8526 | 1180638.7602 | 2610167.7198 | 1180638.2231
43 | 2610170.8526 | 1180638.7602 | 2610182.3608 | 1180640.9767
44 | 2610412.6948 | 1180671.4516 | 2610414.6059 | 1180654.8511
45 | 2610356.4929 | 1180636.6184 | 2610357.6248 | 1180628.7057
46 | 2610356.4929 | 1180636.6184 | 2610352.6486 | 1180663.4915
47 | 2610360.4389 | 1180609.0342 | 2610357.6248 | 1180628.7057
48 | 2610352.3179 | 1180665.8029 | 2610352.6486 | 1180663.4915
49 | 2610347.8949 | 1180606.5892 | 2610360.4389 | 1180609.0342
50 | 2610352.1423 | 1180667.0306 | 2610352.3179 | 1180665.8029
51 | 2610324.0252 | 1180696.0929 | 2610344.8366 | 1180700.4998
52 | 2610344.8366 | 1180700.4998 | 2610352.1423 | 1180667.0306
53 | 2610298.4936 | 1180690.6864 | 2610324.0252 | 1180696.0929
54 | 2610347.8949 | 1180606.5892 | 2610349.3814 | 1180584.9372
55 | 2610382.0503 | 1180593.5827 | 2610381.8772 | 1180596.3934
56 | 2610383.3884 | 1180571.8525 | 2610382.0503 | 1180593.5827
57 | 2610306.2247 | 1180598.0913 | 2610308.8304 | 1180580.713
58 | 2610306.2247 | 1180598.0913 | 2610301.5445 | 1180597.2607
59 | 2610309.6295 | 1180575.3837 | 2610308.8304 | 1180580.713
60 | 2610301.5445 | 1180597.2607 | 2610298.5943 | 1180613.5845
61 | 2610272.7468 | 1180685.2344 | 2610298.4936 | 1180690.6864
62 | 2610298.5943 | 1180613.5845 | 2610297.8827 | 1180617.5215
63 | 2610297.8827 | 1180617.5215 | 2610292.9628 | 1180644.7443
64 | 2610291.58 | 1180652.3956 | 2610292.9628 | 1180644.7443
65 | 2610272.7468 | 1180685.2344 | 2610268.3334 | 1180680.191 | 2610263.6984 | 1180675.2583 | 2610253.916 | 1180665.7257 | 2610249.1507 | 1180661.9718
66 | 2610249.1507 | 1180661.9718 | 2610248.7296 | 1180643.6723
67 | 2610222.16 | 1180648.6728 | 2610224.0214 | 1180649.0331 | 2610229.9757 | 1180650.7107 | 2610235.9825 | 1180652.8887 | 2610242.7576 | 1180656.9356 | 2610249.1507 | 1180661.9718
68 | 2610295.5435 | 1180716.845 | 2610272.7468 | 1180685.2344
69 | 2610272.7468 | 1180685.2344 | 2610288.0131 | 1180672.1315
70 | 2610248.7296 | 1180643.6723 | 2610249.3311 | 1180639.7545
71 | 2610199.8736 | 1180644.3595 | 2610222.16 | 1180648.6728
72 | 2610291.58 | 1180652.3956 | 2610291.184 | 1180654.5864
73 | 2610288.0131 | 1180672.1315 | 2610291.184 | 1180654.5864
74 | 2610295.5435 | 1180716.845 | 2610302.5184 | 1180718.3228
75 | 2610295.5435 | 1180716.845 | 2610311.7719 | 1180739.6066 | 2610314.4317 | 1180743.3162
76 | 2610253.9459 | 1180609.7005 | 2610253.9519 | 1180609.6614
77 | 2610253.8144 | 1180610.557 | 2610253.9459 | 1180609.7005
78 | 2610199.8736 | 1180644.3595 | 2610199.2595 | 1180644.2406
79 | 2610253.8087 | 1180610.5939 | 2610253.8144 | 1180610.557
80 | 2610249.3311 | 1180639.7545 | 2610253.8087 | 1180610.5939
81 | 2610384.2438 | 1180557.96 | 2610383.3884 | 1180571.8525
82 | 2610182.3608 | 1180640.9767 | 2610189.4281 | 1180642.3378 | 2610191.0642 | 1180642.6545
83 | 2610191.0642 | 1180642.6545 | 2610199.2595 | 1180644.2406
84 | 2610325.7295 | 1180723.2406 | 2610302.5184 | 1180718.3228
85 | 2610326.8446 | 1180760.6282 | 2610314.4317 | 1180743.3162
86 | 2610388.1477 | 1180736.4653 | 2610378.9092 | 1180734.5079
87 | 2610378.9092 | 1180734.5079 | 2610371.927 | 1180733.0286
88 | 2610371.927 | 1180733.0286 | 2610348.2387 | 1180728.0097
89 | 2610348.2387 | 1180728.0097 | 2610325.7295 | 1180723.2406
90 | 2610334.6364 | 1180771.4954 | 2610326.8446 | 1180760.6282

## bus_geodata
| x | y | coords
0 | 2610163.7656 | 1180695.1029
1 | 2610184.744 | 1180697.4208
2 | 2610145.1242 | 1180692.1998
3 | 2610218.502 | 1180699.1547
4 | 2610144.7476 | 1180674.762
5 | 2610145.7527 | 1180718.1141
6 | 2610232.8334 | 1180699.8908
7 | 2610144.268 | 1180652.5593
8 | 2610146.4619 | 1180727.8092
9 | 2610181.7984 | 1180723.6387
10 | 2610143.8701 | 1180634.1346
11 | 2610148.4116 | 1180743.5738
12 | 2610115.629 | 1180751.207
13 | 2610183.8052 | 1180723.9463
14 | 2610115.1879 | 1180754.9483
15 | 2610154.1605 | 1180766.1476
16 | 2610220.3353 | 1180729.5452
17 | 2610201.2112 | 1180726.6141
18 | 2610224.779 | 1180730.2263
19 | 2610240.5625 | 1180732.6454
20 | 2610242.2696 | 1180732.907
21 | 2610510.6161 | 1180648.5997
22 | 2610471.5966 | 1180637.5816
23 | 2610514.1539 | 1180649.5987
24 | 2610447.6045 | 1180630.8068
25 | 2610562.1717 | 1180663.7225
26 | 2610505.8903 | 1180681.7818
27 | 2610404.5505 | 1180730.9834
28 | 2610398.6698 | 1180738.6946
29 | 2610418.3141 | 1180622.6409
30 | 2610447.4776 | 1180600.2295
31 | 2610389.7145 | 1180710.0029
32 | 2610368.681 | 1180705.549
33 | 2610416.1399 | 1180641.5266
34 | 2610413.719 | 1180621.4791
35 | 2610449.3303 | 1180572.5611
36 | 2610415.5407 | 1180646.732
37 | 2610372.9138 | 1180611.6681
38 | 2610450.0029 | 1180562.516
39 | 2610167.7198 | 1180638.2231
40 | 2610170.8526 | 1180638.7602
41 | 2610414.6059 | 1180654.8511
42 | 2610412.6948 | 1180671.4516
43 | 2610356.4929 | 1180636.6184
44 | 2610357.6248 | 1180628.7057
45 | 2610352.6486 | 1180663.4915
46 | 2610360.4389 | 1180609.0342
47 | 2610352.3179 | 1180665.8029
48 | 2610344.8366 | 1180700.4998
49 | 2610324.0252 | 1180696.0929
50 | 2610352.1423 | 1180667.0306
51 | 2610347.8949 | 1180606.5892
52 | 2610381.8772 | 1180596.3934
53 | 2610349.3814 | 1180584.9372
54 | 2610382.0503 | 1180593.5827
55 | 2610306.2247 | 1180598.0913
56 | 2610308.8304 | 1180580.713
57 | 2610301.5445 | 1180597.2607
58 | 2610298.4936 | 1180690.6864
59 | 2610298.5943 | 1180613.5845
60 | 2610297.8827 | 1180617.5215
61 | 2610292.9628 | 1180644.7443
62 | 2610249.1507 | 1180661.9718
63 | 2610272.7468 | 1180685.2344
64 | 2610248.7296 | 1180643.6723
65 | 2610222.16 | 1180648.6728
66 | 2610291.58 | 1180652.3956
67 | 2610291.184 | 1180654.5864
68 | 2610295.5435 | 1180716.845
69 | 2610288.0131 | 1180672.1315
70 | 2610253.9519 | 1180609.6614
71 | 2610253.9459 | 1180609.7005
72 | 2610199.8736 | 1180644.3595
73 | 2610309.6295 | 1180575.3837
74 | 2610253.8144 | 1180610.557
75 | 2610253.8087 | 1180610.5939
76 | 2610249.3311 | 1180639.7545
77 | 2610451.9815 | 1180532.9672
78 | 2610384.2438 | 1180557.96
79 | 2610383.3884 | 1180571.8525
80 | 2610182.3608 | 1180640.9767
81 | 2610191.0642 | 1180642.6545
82 | 2610199.2595 | 1180644.2406
83 | 2610302.5184 | 1180718.3228
84 | 2610314.4317 | 1180743.3162
85 | 2610388.1477 | 1180736.4653
86 | 2610378.9092 | 1180734.5079
87 | 2610371.927 | 1180733.0286
88 | 2610348.2387 | 1180728.0097
89 | 2610325.7295 | 1180723.2406
90 | 2610326.8446 | 1180760.6282
91 | 2610334.6364 | 1180771.4954
92 | 2610301.5445 | 1180597.2607

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1