## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_944-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_944-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_944-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_944-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_944-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_944-14_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_944-14_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_944-14_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_944-14_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_944-14_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_944-14_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_944-14_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_944-14_0_3_node_126 | 0.4 | n |  | TRUE
13 | bus_LV_944-14_0_3_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_944-14_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_944-14_0_3_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_944-14_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_944-14_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_944-14_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_944-14_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_944-14_0_3_node_127 | 0.4 | n |  | TRUE
21 | bus_LV_944-14_0_3_node_124 | 0.4 | n |  | TRUE
22 | bus_LV_944-14_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_944-14_0_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_944-14_0_3_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_944-14_0_3_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_944-14_0_3_node_212 | 0.4 | n |  | TRUE
27 | bus_LV_944-14_0_3_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_944-14_0_3_node_215 | 0.4 | n |  | TRUE
29 | bus_LV_944-14_0_3_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_944-14_0_3_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_944-14_0_3_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_944-14_0_3_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_944-14_0_3_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_944-14_0_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_944-14_0_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_944-14_0_3_node_148 | 0.4 | n |  | TRUE
37 | bus_LV_944-14_0_3_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_944-14_0_3_node_149 | 0.4 | n |  | TRUE
39 | bus_LV_944-14_0_3_node_153 | 0.4 | n |  | TRUE
40 | bus_LV_944-14_0_3_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_944-14_0_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_944-14_0_3_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_944-14_0_3_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_944-14_0_3_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_944-14_0_3_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_944-14_0_3_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_944-14_0_3_node_170 | 0.4 | n |  | TRUE
48 | bus_LV_944-14_0_3_node_174 | 0.4 | n |  | TRUE
49 | bus_LV_944-14_0_3_node_172 | 0.4 | n |  | TRUE
50 | bus_LV_944-14_0_3_node_138 | 0.4 | n |  | TRUE
51 | bus_LV_944-14_0_3_node_167 | 0.4 | n |  | TRUE
52 | bus_LV_944-14_0_3_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_944-14_0_3_node_169 | 0.4 | n |  | TRUE
54 | bus_LV_944-14_0_3_node_168 | 0.4 | n |  | TRUE
55 | bus_LV_944-14_0_3_node_173 | 0.4 | n |  | TRUE
56 | bus_LV_944-14_0_3_node_139 | 0.4 | n |  | TRUE
57 | bus_LV_944-14_0_3_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_944-14_0_3_node_137 | 0.4 | n |  | TRUE
59 | bus_LV_944-14_0_3_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_944-14_0_3_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_944-14_0_3_node_214 | 0.4 | n |  | TRUE
62 | bus_LV_944-14_0_3_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_944-14_0_3_node_213 | 0.4 | n |  | TRUE
64 | bus_LV_944-14_0_3_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_944-14_0_3_node_171 | 0.4 | n |  | TRUE
66 | bus_LV_944-14_0_3_node_108 | 0.4 | n |  | TRUE
67 | bus_LV_944-14_0_3_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_944-14_0_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_944-14_0_3_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_944-14_0_3_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_944-14_0_3_node_113 | 0.4 | n |  | TRUE
72 | bus_LV_944-14_0_3_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_944-14_0_3_node_115 | 0.4 | n |  | TRUE
74 | bus_LV_944-14_0_3_node_116 | 0.4 | n |  | TRUE
75 | bus_LV_944-14_0_3_node_117 | 0.4 | n |  | TRUE
76 | bus_LV_944-14_0_3_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_944-14_0_3_node_119 | 0.4 | n |  | TRUE
78 | bus_LV_944-14_0_3_node_120 | 0.4 | n |  | TRUE
79 | bus_LV_944-14_0_3_node_154 | 0.4 | n |  | TRUE
80 | bus_LV_944-14_0_3_node_161 | 0.4 | n |  | TRUE
81 | bus_LV_944-14_0_3_node_162 | 0.4 | n |  | TRUE
82 | bus_LV_944-14_0_3_node_160 | 0.4 | n |  | TRUE
83 | bus_LV_944-14_0_3_node_121 | 0.4 | n |  | TRUE
84 | bus_LV_944-14_0_3_node_122 | 0.4 | n |  | TRUE
85 | bus_LV_944-14_0_3_node_123 | 0.4 | n |  | TRUE
86 | bus_LV_944-14_0_3_node_125 | 0.4 | n |  | TRUE
87 | bus_LV_944-14_0_3_node_208 | 0.4 | n |  | TRUE
88 | bus_LV_944-14_0_3_node_209 | 0.4 | n |  | TRUE
89 | bus_LV_944-14_0_3_node_141 | 0.4 | n |  | TRUE
90 | bus_LV_944-14_0_3_node_128 | 0.4 | n |  | TRUE
91 | bus_LV_944-14_0_3_node_129 | 0.4 | n |  | TRUE
92 | bus_LV_944-14_0_3_node_130 | 0.4 | n |  | TRUE
93 | bus_LV_944-14_0_3_node_131 | 0.4 | n |  | TRUE
94 | bus_LV_944-14_0_3_node_132 | 0.4 | n |  | TRUE
95 | bus_LV_944-14_0_3_node_133 | 0.4 | n |  | TRUE
96 | bus_LV_944-14_0_3_node_135 | 0.4 | n |  | TRUE
97 | bus_LV_944-14_0_3_node_134 | 0.4 | n |  | TRUE
98 | bus_LV_944-14_0_3_node_136 | 0.4 | n |  | TRUE
99 | bus_LV_944-14_0_3_node_143 | 0.4 | n |  | TRUE
100 | bus_LV_944-14_0_3_node_142 | 0.4 | n |  | TRUE
101 | bus_LV_944-14_0_3_node_175 | 0.4 | n |  | TRUE
102 | bus_LV_944-14_0_3_node_166 | 0.4 | n |  | TRUE
103 | bus_LV_944-14_0_3_node_147 | 0.4 | n |  | TRUE
104 | bus_LV_944-14_0_3_node_165 | 0.4 | n |  | TRUE
105 | bus_LV_944-14_0_3_node_144 | 0.4 | n |  | TRUE
106 | bus_LV_944-14_0_3_node_151 | 0.4 | n |  | TRUE
107 | bus_LV_944-14_0_3_node_155 | 0.4 | n |  | TRUE
108 | bus_LV_944-14_0_3_node_156 | 0.4 | n |  | TRUE
109 | bus_LV_944-14_0_3_node_157 | 0.4 | n |  | TRUE
110 | bus_LV_944-14_0_3_node_158 | 0.4 | n |  | TRUE
111 | bus_LV_944-14_0_3_node_159 | 0.4 | n |  | TRUE
112 | bus_LV_944-14_0_3_node_163 | 0.4 | n |  | TRUE
113 | bus_LV_944-14_0_3_node_164 | 0.4 | n |  | TRUE
114 | bus_MV_93_0_node_200 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_944-14_0_3_load_0 | 0 | 0.00096162 | 0.00024101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_944-14_0_3_load_1 | 1 | 0.0029076 | 0.00072871 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_944-14_0_3_load_2 | 2 | 0.00095533 | 0.00023943 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_944-14_0_3_load_3 | 3 | 0.002686 | 0.00067318 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_944-14_0_3_load_4 | 4 | 0.00093351 | 0.00023396 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_944-14_0_3_load_5 | 6 | 0.0028752 | 0.00072059 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_944-14_0_3_load_18 | 7 | 0.0082376 | 0.0020645 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_944-14_0_3_load_16 | 8 | 0.0023464 | 0.00058806 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_944-14_0_3_load_6 | 9 | 0.0031103 | 0.00077951 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_944-14_0_3_load_7 | 10 | 0.0012758 | 0.00031974 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_944-14_0_3_load_10 | 14 | 0.0010673 | 0.00026748 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_944-14_0_3_load_145 | 15 | 0.0046709 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_944-14_0_3_load_9 | 16 | 0.0011217 | 0.00028112 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_944-14_0_3_load_11 | 17 | 0.0026739 | 0.00067014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_944-14_0_3_load_13 | 18 | 0.0027739 | 0.00069521 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_944-14_0_3_load_14 | 19 | 0.0047795 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_944-14_0_3_load_127 | 20 | 0.0024496 | 0.00061392 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_944-14_0_3_load_124 | 21 | 0.0021786 | 0.000546 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_944-14_0_3_load_15 | 22 | 0.0022913 | 0.00057426 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_944-14_0_3_load_70 | 25 | 0.0060264 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_944-14_0_3_load_212 | 26 | 0.0075344 | 0.0018883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_944-14_0_3_load_77 | 27 | 0.0029588 | 0.00074155 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_944-14_0_3_load_215 | 28 | 0.0020528 | 0.00051448 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_944-14_0_3_load_78 | 29 | 0.0035082 | 0.00087924 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_944-14_0_3_load_71 | 30 | 0.001856 | 0.00046516 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_944-14_0_3_load_72 | 31 | 0.0027348 | 0.0006854 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_944-14_0_3_load_74 | 33 | 0.0043837 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_944-14_0_3_load_75 | 34 | 0.0050058 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_944-14_0_3_load_148 | 36 | 0.0022317 | 0.00055932 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_944-14_0_3_load_149 | 38 | 0.0035569 | 0.00089144 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_944-14_0_3_load_153 | 39 | 0.0019959 | 0.00050021 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_944-14_0_3_load_150 | 40 | 0.0029451 | 0.00073811 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_944-14_0_3_load_83 | 41 | 0.0025806 | 0.00064675 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_944-14_0_3_load_86 | 44 | 0.0015155 | 0.00037981 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_944-14_0_3_load_170 | 47 | 0.0014922 | 0.00037399 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_944-14_0_3_load_174 | 48 | 0.0026254 | 0.00065798 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_944-14_0_3_load_172 | 49 | 0.0027053 | 0.000678 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_944-14_0_3_load_167 | 51 | 0.0021149 | 0.00053004 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_944-14_0_3_load_95 | 52 | 0.0021162 | 0.00053037 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_944-14_0_3_load_169 | 53 | 0.0019945 | 0.00049987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_944-14_0_3_load_168 | 54 | 0.001974 | 0.00049472 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_944-14_0_3_load_173 | 55 | 0.0036675 | 0.00091916 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_944-14_0_3_load_137 | 58 | 0.0028319 | 0.00070974 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_944-14_0_3_load_91 | 59 | 0.002637 | 0.00066091 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_944-14_0_3_load_92 | 60 | 0.00098255 | 0.00024625 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_944-14_0_3_load_214 | 61 | 0.004949 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_944-14_0_3_load_93 | 62 | 0.0013189 | 0.00033055 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_944-14_0_3_load_94 | 64 | 0.00085975 | 0.00021547 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_944-14_0_3_load_171 | 65 | 0.002117 | 0.00053058 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_944-14_0_3_load_108 | 66 | 0.0022664 | 0.00056802 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_944-14_0_3_load_109 | 67 | 0.0047084 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_944-14_0_3_load_110 | 68 | 0.0021961 | 0.0005504 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_944-14_0_3_load_111 | 69 | 0.0023371 | 0.00058573 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_944-14_0_3_load_112 | 70 | 0.0025418 | 0.00063704 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_944-14_0_3_load_113 | 71 | 0.0046678 | 0.0011699 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_944-14_0_3_load_114 | 72 | 0.0014119 | 0.00035386 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_944-14_0_3_load_115 | 73 | 0.001464 | 0.00036692 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_944-14_0_3_load_116 | 74 | 0.0026733 | 0.00066999 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_944-14_0_3_load_118 | 76 | 0.0026242 | 0.00065769 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_944-14_0_3_load_119 | 77 | 0.0023776 | 0.00059588 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_944-14_0_3_load_120 | 78 | 0.0024705 | 0.00061916 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_944-14_0_3_load_154 | 79 | 0.002116 | 0.00053033 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_944-14_0_3_load_162 | 81 | 0.0023882 | 0.00059853 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_944-14_0_3_load_160 | 82 | 0.0031563 | 0.00079103 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_944-14_0_3_load_121 | 83 | 0.0048196 | 0.0012079 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_944-14_0_3_load_122 | 84 | 0.0020962 | 0.00052535 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_944-14_0_3_load_123 | 85 | 0.0014411 | 0.00036118 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_944-14_0_3_load_125 | 86 | 0.0015 | 0.00037595 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_944-14_0_3_load_208 | 87 | 0.0015635 | 0.00039185 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_944-14_0_3_load_209 | 88 | 0.0015885 | 0.00039811 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_944-14_0_3_load_141 | 89 | 0.0028398 | 0.00071171 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_944-14_0_3_load_128 | 90 | 0.0027066 | 0.00067834 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_944-14_0_3_load_129 | 91 | 0.0016509 | 0.00041374 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_944-14_0_3_load_130 | 92 | 0.0016946 | 0.0004247 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_944-14_0_3_load_131 | 93 | 0.012211 | 0.0030603 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_944-14_0_3_load_132 | 94 | 0.0025803 | 0.00064668 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_944-14_0_3_load_135 | 96 | 0.0017178 | 0.00043052 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_944-14_0_3_load_136 | 98 | 0.0022117 | 0.0005543 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_944-14_0_3_load_143 | 99 | 0.0015041 | 0.00037698 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_944-14_0_3_load_142 | 100 | 0.0016831 | 0.00042182 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_944-14_0_3_load_175 | 101 | 0.002558 | 0.00064109 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_944-14_0_3_load_166 | 102 | 0.0021588 | 0.00054104 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_944-14_0_3_load_147 | 103 | 0.0022078 | 0.00055333 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_944-14_0_3_load_165 | 104 | 0.0019866 | 0.0004979 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_944-14_0_3_load_144 | 105 | 0.0045735 | 0.0011462 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_944-14_0_3_load_151 | 106 | 0.0022554 | 0.00056527 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_944-14_0_3_load_155 | 107 | 0.0023272 | 0.00058324 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_944-14_0_3_load_156 | 108 | 0.0025566 | 0.00064074 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_944-14_0_3_load_157 | 109 | 0.0023622 | 0.00059203 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_944-14_0_3_load_158 | 110 | 0.0069096 | 0.0017317 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_944-14_0_3_load_159 | 111 | 0.0025323 | 0.00063467 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_944-14_0_3_load_163 | 112 | 0.0023966 | 0.00060064 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_944-14_0_3_load_164 | 113 | 0.0022344 | 0.00055998 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_944-14_0_3_line_0 |  | 0 | 1 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_944-14_0_3_line_1 |  | 0 | 2 | 0.0037539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_944-14_0_3_line_2 |  | 1 | 3 | 0.00057076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_944-14_0_3_line_3 |  | 2 | 4 | 0.027043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_944-14_0_3_line_4 |  | 3 | 5 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_944-14_0_3_line_5 |  | 4 | 6 | 0.0061718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_944-14_0_3_line_6 |  | 5 | 7 | 0.012651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_944-14_0_3_line_7 |  | 5 | 8 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_944-14_0_3_line_8 |  | 6 | 9 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_944-14_0_3_line_9 |  | 8 | 22 | 0.0054375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_944-14_0_3_line_10 |  | 9 | 10 | 0.0080843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_944-14_0_3_line_11 |  | 11 | 12 | 0.05943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_944-14_0_3_line_12 |  | 11 | 13 | 0.025969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_944-14_0_3_line_13 |  | 11 | 14 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_944-14_0_3_line_14 |  | 12 | 20 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_944-14_0_3_line_15 |  | 12 | 21 | 0.030823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_944-14_0_3_line_16 |  | 13 | 15 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_944-14_0_3_line_17 |  | 14 | 16 | 0.0059864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_944-14_0_3_line_18 |  | 16 | 17 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_944-14_0_3_line_19 |  | 17 | 18 | 0.0060138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_944-14_0_3_line_20 |  | 18 | 19 | 0.016587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_944-14_0_3_line_21 |  | 19 | 22 | 0.015169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_944-14_0_3_line_22 |  | 20 | 56 | 0.029048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_944-14_0_3_line_23 |  | 21 | 84 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_944-14_0_3_line_24 |  | 23 | 24 | 0.028364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_944-14_0_3_line_25 |  | 23 | 25 | 0.027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_944-14_0_3_line_26 |  | 24 | 26 | 0.052079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_944-14_0_3_line_27 |  | 25 | 27 | 0.044807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_944-14_0_3_line_28 |  | 26 | 28 | 0.033431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_944-14_0_3_line_29 |  | 27 | 29 | 0.0053911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_944-14_0_3_line_30 |  | 28 | 63 | 0.04395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_944-14_0_3_line_31 |  | 29 | 35 | 0.0089743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_944-14_0_3_line_32 |  | 30 | 31 | 0.002578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_944-14_0_3_line_33 |  | 30 | 32 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_944-14_0_3_line_34 |  | 31 | 33 | 0.05556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_944-14_0_3_line_35 |  | 32 | 34 | 0.029001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_944-14_0_3_line_36 |  | 32 | 35 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_944-14_0_3_line_37 |  | 33 | 36 | 0.0098387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_944-14_0_3_line_38 |  | 35 | 37 | 0.023237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_944-14_0_3_line_39 |  | 36 | 38 | 0.013161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_944-14_0_3_line_40 |  | 37 | 39 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_944-14_0_3_line_41 |  | 37 | 40 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_944-14_0_3_line_42 |  | 40 | 106 | 0.00071396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_944-14_0_3_line_43 |  | 41 | 42 | 0.038743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_944-14_0_3_line_44 |  | 41 | 43 | 0.0093274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_944-14_0_3_line_45 |  | 42 | 44 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_944-14_0_3_line_46 |  | 43 | 45 | 0.007375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_944-14_0_3_line_47 |  | 43 | 46 | 0.003161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_944-14_0_3_line_48 |  | 44 | 47 | 0.039195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_944-14_0_3_line_49 |  | 45 | 48 | 0.016144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_944-14_0_3_line_50 |  | 45 | 49 | 0.023005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_944-14_0_3_line_51 |  | 46 | 50 | 0.05916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_944-14_0_3_line_52 |  | 46 | 51 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_944-14_0_3_line_53 |  | 47 | 52 | 0.028168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_944-14_0_3_line_54 |  | 49 | 55 | 0.011952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_944-14_0_3_line_55 |  | 50 | 56 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_944-14_0_3_line_56 |  | 50 | 57 | 0.030129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_944-14_0_3_line_57 |  | 50 | 58 | 0.014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_944-14_0_3_line_58 |  | 51 | 54 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_944-14_0_3_line_59 |  | 52 | 65 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_944-14_0_3_line_60 |  | 52 | 64 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_944-14_0_3_line_61 |  | 53 | 54 | 0.0041745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_944-14_0_3_line_62 |  | 55 | 73 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_944-14_0_3_line_63 |  | 56 | 89 | 0.008364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_944-14_0_3_line_64 |  | 57 | 101 | 0.004043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_944-14_0_3_line_65 |  | 57 | 102 | 0.0074067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_944-14_0_3_line_66 |  | 58 | 98 | 0.00865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_944-14_0_3_line_67 |  | 59 | 60 | 0.0020231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_944-14_0_3_line_68 |  | 59 | 61 | 0.063309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_944-14_0_3_line_69 |  | 60 | 62 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_944-14_0_3_line_70 |  | 61 | 63 | 0.02617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_944-14_0_3_line_71 |  | 62 | 64 | 0.0028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_944-14_0_3_line_72 |  | 66 | 67 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_944-14_0_3_line_73 |  | 66 | 68 | 0.0080333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_944-14_0_3_line_74 |  | 67 | 69 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_944-14_0_3_line_75 |  | 68 | 70 | 0.0035157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_944-14_0_3_line_76 |  | 70 | 71 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_944-14_0_3_line_77 |  | 71 | 72 | 0.0054082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_944-14_0_3_line_78 |  | 72 | 73 | 0.0070627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_944-14_0_3_line_79 |  | 74 | 75 | 0.0020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_944-14_0_3_line_80 |  | 74 | 76 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_944-14_0_3_line_81 |  | 75 | 77 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_944-14_0_3_line_82 |  | 75 | 78 | 0.013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_944-14_0_3_line_83 |  | 77 | 79 | 0.016608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_944-14_0_3_line_84 |  | 78 | 80 | 0.011707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_944-14_0_3_line_85 |  | 80 | 81 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_944-14_0_3_line_86 |  | 80 | 82 | 0.0010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_944-14_0_3_line_87 |  | 81 | 112 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_944-14_0_3_line_88 |  | 82 | 111 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_944-14_0_3_line_89 |  | 83 | 84 | 0.027474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_944-14_0_3_line_90 |  | 83 | 85 | 0.022671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_944-14_0_3_line_91 |  | 85 | 86 | 0.0070477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_944-14_0_3_line_92 |  | 86 | 87 | 0.043495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_944-14_0_3_line_93 |  | 87 | 88 | 6.2702e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_944-14_0_3_line_94 |  | 89 | 103 | 0.033258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_944-14_0_3_line_95 |  | 90 | 91 | 0.00063637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_944-14_0_3_line_96 |  | 90 | 92 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_944-14_0_3_line_97 |  | 91 | 93 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_944-14_0_3_line_98 |  | 92 | 94 | 0.0039359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_944-14_0_3_line_99 |  | 93 | 95 | 0.034736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_944-14_0_3_line_100 |  | 94 | 96 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_944-14_0_3_line_101 |  | 95 | 97 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_944-14_0_3_line_102 |  | 96 | 98 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_944-14_0_3_line_103 |  | 97 | 99 | 0.017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_944-14_0_3_line_104 |  | 99 | 100 | 0.0096364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_944-14_0_3_line_105 |  | 100 | 105 | 0.0010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_944-14_0_3_line_106 |  | 102 | 104 | 0.0069705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_944-14_0_3_line_107 |  | 104 | 113 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_944-14_0_3_line_108 |  | 107 | 108 | 0.0072597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_944-14_0_3_line_109 |  | 107 | 109 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_944-14_0_3_line_110 |  | 108 | 110 | 0.0078998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_944-14_0_3_line_111 |  | 109 | 111 | 0.0070022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_944-14_0_3_line_112 |  | 112 | 113 | 0.0072083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_944-14_0_3_trafo_118 | 0.63 MVA 20/0.4 kV | 114 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2612138.3629 | 1180418.0897 | 2612141.4392 | 1180404.7861 | 2612141.4392 | 1180404.7861
1 | 2612145.0235 | 1180403.6706 | 2612141.4392 | 1180404.7861
2 | 2612138.2343 | 1180418.6458 | 2612138.3629 | 1180418.0897
3 | 2612145.0235 | 1180403.6706 | 2612145.0235 | 1180403.6706 | 2612169.3905 | 1180409.7451 | 2612171.2284 | 1180410.3356
4 | 2612135.9765 | 1180428.4095 | 2612138.2343 | 1180418.6458
5 | 2612177.1042 | 1180412.2238 | 2612171.2284 | 1180410.3356
6 | 2612123.6709 | 1180425.3276 | 2612135.9765 | 1180428.4095
7 | 2612135.9765 | 1180428.4095 | 2612146.3115 | 1180431.0459
8 | 2612177.1042 | 1180412.2238 | 2612190.143 | 1180416.4138
9 | 2612151.5803 | 1180432.3899 | 2612146.3115 | 1180431.0459
10 | 2612197.893 | 1180418.6682 | 2612195.7994 | 1180418.2695 | 2612190.1742 | 1180416.4238 | 2612190.143 | 1180416.4138
11 | 2612192.9298 | 1180500.2279 | 2612194.9785 | 1180495.5519 | 2612196.3973 | 1180492.631 | 2612198.2515 | 1180489.711 | 2612212.7252 | 1180470.5861 | 2612220.1913 | 1180460.9407 | 2612226.8626 | 1180451.5939
12 | 2612226.8626 | 1180451.5939 | 2612230.1477 | 1180447.3873 | 2612234.5091 | 1180458.4685 | 2612237.6622 | 1180466.6013
13 | 2612226.8626 | 1180451.5939 | 2612206.8679 | 1180446.4934
14 | 2612192.9298 | 1180500.2279 | 2612178.0629 | 1180519.8795
15 | 2612192.9298 | 1180500.2279 | 2612163.0038 | 1180492.8466
16 | 2612237.6622 | 1180466.6013 | 2612241.2605 | 1180476.4568
17 | 2612206.8679 | 1180446.4934 | 2612201.0672 | 1180445.0137
18 | 2612188.1788 | 1180441.7259 | 2612201.0672 | 1180445.0137
19 | 2612188.1788 | 1180441.7259 | 2612182.3516 | 1180440.2394
20 | 2612182.3516 | 1180440.2394 | 2612166.279 | 1180436.1394
21 | 2612151.5803 | 1180432.3899 | 2612166.279 | 1180436.1394
22 | 2612159.7666 | 1180542.4381 | 2612175.9674 | 1180522.6495 | 2612178.0629 | 1180519.8795
23 | 2612141.0203 | 1180487.4244 | 2612163.0038 | 1180492.8466
24 | 2611899.743 | 1180437.5654 | 2611882.4148 | 1180460.0538
25 | 2611899.743 | 1180437.5654 | 2611906.0293 | 1180441.1685 | 2611911.3487 | 1180443.1578 | 2611926.1173 | 1180445.7722
26 | 2611926.8572 | 1180483.4647 | 2611924.1829 | 1180484.0597 | 2611920.8308 | 1180483.6529 | 2611903.505 | 1180477.8934 | 2611898.9575 | 1180475.65 | 2611896.0983 | 1180473.1875 | 2611892.0583 | 1180469.1775 | 2611882.4148 | 1180460.0538
27 | 2611970.2386 | 1180453.5829 | 2611926.1173 | 1180445.7722
28 | 2611926.8572 | 1180483.4647 | 2611911.9202 | 1180513.3727
29 | 2611970.2386 | 1180453.5829 | 2611975.5471 | 1180454.5226
30 | 2611911.9202 | 1180513.3727 | 2611901.1884 | 1180529.4153 | 2611895.1534 | 1180553.3267
31 | 2611984.384 | 1180456.087 | 2611975.5471 | 1180454.5226
32 | 2611988.4715 | 1180423.4852 | 2611988.7294 | 1180420.9202
33 | 2611987.461 | 1180433.5371 | 2611988.4715 | 1180423.4852
34 | 2612034.4661 | 1180413.3034 | 2611995.2937 | 1180408.4065 | 2611992.6426 | 1180408.8348 | 2611990.593 | 1180410.2314 | 2611989.4947 | 1180413.3086 | 2611988.7294 | 1180420.9202
35 | 2611987.461 | 1180433.5371 | 2612016.1201 | 1180437.976
36 | 2611984.384 | 1180456.087 | 2611987.461 | 1180433.5371
37 | 2612044.2288 | 1180414.5238 | 2612034.4661 | 1180413.3034
38 | 2611984.384 | 1180456.087 | 2611987.2533 | 1180457.3267 | 2611989.1731 | 1180459.7317 | 2611989.7846 | 1180463.357 | 2611987.5664 | 1180476.5371
39 | 2612057.288 | 1180416.1564 | 2612044.2288 | 1180414.5238
40 | 2611987.5664 | 1180476.5371 | 2612005.7183 | 1180480.4886
41 | 2611987.5664 | 1180476.5371 | 2611986.3559 | 1180478.4135 | 2611984.2367 | 1180480.2102 | 2611983.1022 | 1180482.3201 | 2611982.1264 | 1180488.3679
42 | 2611982.0126 | 1180489.0727 | 2611982.1264 | 1180488.3679
43 | 2612084.2188 | 1180644.2828 | 2612107.53 | 1180613.3379
44 | 2612113.1422 | 1180605.8878 | 2612107.53 | 1180613.3379
45 | 2612084.2188 | 1180644.2828 | 2612057.8999 | 1180638.582
46 | 2612113.1422 | 1180605.8878 | 2612105.9821 | 1180604.0391
47 | 2612114.9956 | 1180603.3236 | 2612113.1422 | 1180605.8878
48 | 2612057.8999 | 1180638.582 | 2612027.1851 | 1180631.929 | 2612019.5891 | 1180630.3062
49 | 2612105.9821 | 1180604.0391 | 2612107.486 | 1180596.7718 | 2612106.663 | 1180592.0566 | 2612104.1717 | 1180589.0056
50 | 2612105.9821 | 1180604.0391 | 2612083.517 | 1180599.0857
51 | 2612114.9956 | 1180603.3236 | 2612116.9732 | 1180599.7368 | 2612118.9828 | 1180595.5053 | 2612122.0625 | 1180590.7869 | 2612141.6734 | 1180565.191 | 2612149.3613 | 1180555.3348
52 | 2612114.9956 | 1180603.3236 | 2612131.641 | 1180607.1333
53 | 2612019.5891 | 1180630.3062 | 2611992.0431 | 1180624.4212
54 | 2612083.517 | 1180599.0857 | 2612071.8453 | 1180596.5121
55 | 2612149.3613 | 1180555.3348 | 2612154.3051 | 1180550.32 | 2612159.7666 | 1180542.4381
56 | 2612149.3613 | 1180555.3348 | 2612141.6734 | 1180565.191 | 2612124.7435 | 1180560.2767
57 | 2612149.3613 | 1180555.3348 | 2612163.1497 | 1180558.7042
58 | 2612149.4963 | 1180611.2199 | 2612131.641 | 1180607.1333
59 | 2611992.0431 | 1180624.4212 | 2611993.915 | 1180647.6274
60 | 2611969.9107 | 1180619.6928 | 2611992.0431 | 1180624.4212
61 | 2612153.3237 | 1180612.8167 | 2612153.3237 | 1180612.8167 | 2612150.7678 | 1180611.5109 | 2612149.4963 | 1180611.2199
62 | 2612049.7344 | 1180591.6367 | 2612071.8453 | 1180596.5121
63 | 2612159.7666 | 1180542.4381 | 2612151.6333 | 1180540.4871
64 | 2612124.7435 | 1180560.2767 | 2612125.8511 | 1180556.388
65 | 2612124.7435 | 1180560.2767 | 2612117.5182 | 1180558.6474
66 | 2612171.5524 | 1180560.7574 | 2612163.1497 | 1180558.7042
67 | 2611948.8005 | 1180615.1827 | 2611950.7789 | 1180615.6054
68 | 2611948.8005 | 1180615.1827 | 2611920.9122 | 1180558.3468
69 | 2611967.1637 | 1180619.1059 | 2611950.7789 | 1180615.6054
70 | 2611920.9122 | 1180558.3468 | 2611895.1534 | 1180553.3267
71 | 2611967.1637 | 1180619.1059 | 2611969.9107 | 1180619.6928
72 | 2612004.3622 | 1180581.6323 | 2611988.6723 | 1180578.1727
73 | 2612012.2071 | 1180583.3621 | 2612004.3622 | 1180581.6323
74 | 2611975.6437 | 1180592.0282 | 2611977.9979 | 1180591.1101 | 2611979.9486 | 1180589.4798 | 2611983.0368 | 1180584.2833 | 2611984.0669 | 1180580.917 | 2611985.0439 | 1180577.3727 | 2611988.6723 | 1180578.1727
75 | 2612012.2071 | 1180583.3621 | 2612015.6403 | 1180584.1191
76 | 2612037.556 | 1180588.9514 | 2612015.6403 | 1180584.1191
77 | 2612037.556 | 1180588.9514 | 2612042.8374 | 1180590.1159
78 | 2612049.7344 | 1180591.6367 | 2612042.8374 | 1180590.1159
79 | 2612068.5483 | 1180521.6885 | 2612070.5705 | 1180522.0749
80 | 2612087.543 | 1180525.3173 | 2612070.5705 | 1180522.0749
81 | 2612068.5483 | 1180521.6885 | 2612063.8631 | 1180519.5892 | 2612052.3177 | 1180517.0752
82 | 2612068.5483 | 1180521.6885 | 2612068.6171 | 1180525.4795 | 2612066.4605 | 1180535.1335
83 | 2612036.09 | 1180513.5417 | 2612052.3177 | 1180517.0752
84 | 2612063.9084 | 1180546.5587 | 2612066.4605 | 1180535.1335
85 | 2612063.9084 | 1180546.5587 | 2612081.1246 | 1180550.4408
86 | 2612063.9084 | 1180546.5587 | 2612062.8967 | 1180546.3254
87 | 2612081.1246 | 1180550.4408 | 2612092.9335 | 1180553.1037
88 | 2612051.8495 | 1180543.7781 | 2612062.8967 | 1180546.3254
89 | 2612114.3457 | 1180480.8451 | 2612141.0203 | 1180487.4244
90 | 2612092.3341 | 1180475.4159 | 2612114.3457 | 1180480.8451
91 | 2612092.3341 | 1180475.4159 | 2612085.4914 | 1180473.7282
92 | 2612085.4914 | 1180473.7282 | 2612061.0571 | 1180467.7014 | 2612052.4146 | 1180477.5447 | 2612051.171 | 1180482.6245
93 | 2612051.156 | 1180482.6854 | 2612051.171 | 1180482.6245
94 | 2612119.2923 | 1180532.7293 | 2612151.6333 | 1180540.4871
95 | 2612213.1369 | 1180570.9191 | 2612213.7551 | 1180571.0701
96 | 2612213.1369 | 1180570.9191 | 2612195.2274 | 1180566.5427
97 | 2612232.6214 | 1180575.6803 | 2612213.7551 | 1180571.0701
98 | 2612191.404 | 1180565.6084 | 2612195.2274 | 1180566.5427
99 | 2612258.4705 | 1180558.6241 | 2612252.3759 | 1180558.6228 | 2612248.8928 | 1180558.8158 | 2612245.0943 | 1180560.131 | 2612241.7153 | 1180561.7583 | 2612238.3271 | 1180564.1082 | 2612235.0438 | 1180567.4699 | 2612232.6214 | 1180575.6803 | 2612232.6214 | 1180575.6803
100 | 2612191.404 | 1180565.6084 | 2612181.6491 | 1180563.2247
101 | 2612258.3597 | 1180545.5283 | 2612258.402 | 1180554.7442 | 2612258.4705 | 1180558.6241
102 | 2612171.5524 | 1180560.7574 | 2612181.6491 | 1180563.2247
103 | 2612258.3597 | 1180545.5283 | 2612241.1779 | 1180540.5331
104 | 2612231.9246 | 1180537.8429 | 2612241.1779 | 1180540.5331
105 | 2612230.904 | 1180537.5462 | 2612231.9246 | 1180537.8429
106 | 2612117.5182 | 1180558.6474 | 2612110.7184 | 1180557.1141
107 | 2612099.9652 | 1180554.6893 | 2612110.7184 | 1180557.1141
108 | 2612034.0829 | 1180539.6815 | 2612027.0088 | 1180538.0504
109 | 2612034.0829 | 1180539.6815 | 2612045.0263 | 1180542.2048
110 | 2612019.3109 | 1180536.2754 | 2612027.0088 | 1180538.0504
111 | 2612051.8495 | 1180543.7781 | 2612045.0263 | 1180542.2048
112 | 2612099.9652 | 1180554.6893 | 2612092.9335 | 1180553.1037

## bus_geodata
| x | y | coords
0 | 2612141.4392 | 1180404.7861
1 | 2612138.3629 | 1180418.0897
2 | 2612145.0235 | 1180403.6706
3 | 2612138.2343 | 1180418.6458
4 | 2612171.2284 | 1180410.3356
5 | 2612135.9765 | 1180428.4095
6 | 2612177.1042 | 1180412.2238
7 | 2612123.6709 | 1180425.3276
8 | 2612146.3115 | 1180431.0459
9 | 2612190.143 | 1180416.4138
10 | 2612197.893 | 1180418.6682
11 | 2612226.8626 | 1180451.5939
12 | 2612192.9298 | 1180500.2279
13 | 2612237.6622 | 1180466.6013
14 | 2612206.8679 | 1180446.4934
15 | 2612241.2605 | 1180476.4568
16 | 2612201.0672 | 1180445.0137
17 | 2612188.1788 | 1180441.7259
18 | 2612182.3516 | 1180440.2394
19 | 2612166.279 | 1180436.1394
20 | 2612178.0629 | 1180519.8795
21 | 2612163.0038 | 1180492.8466
22 | 2612151.5803 | 1180432.3899
23 | 2611899.743 | 1180437.5654
24 | 2611882.4148 | 1180460.0538
25 | 2611926.1173 | 1180445.7722
26 | 2611926.8572 | 1180483.4647
27 | 2611970.2386 | 1180453.5829
28 | 2611911.9202 | 1180513.3727
29 | 2611975.5471 | 1180454.5226
30 | 2611988.4715 | 1180423.4852
31 | 2611988.7294 | 1180420.9202
32 | 2611987.461 | 1180433.5371
33 | 2612034.4661 | 1180413.3034
34 | 2612016.1201 | 1180437.976
35 | 2611984.384 | 1180456.087
36 | 2612044.2288 | 1180414.5238
37 | 2611987.5664 | 1180476.5371
38 | 2612057.288 | 1180416.1564
39 | 2612005.7183 | 1180480.4886
40 | 2611982.1264 | 1180488.3679
41 | 2612107.53 | 1180613.3379
42 | 2612084.2188 | 1180644.2828
43 | 2612113.1422 | 1180605.8878
44 | 2612057.8999 | 1180638.582
45 | 2612105.9821 | 1180604.0391
46 | 2612114.9956 | 1180603.3236
47 | 2612019.5891 | 1180630.3062
48 | 2612104.1717 | 1180589.0056
49 | 2612083.517 | 1180599.0857
50 | 2612149.3613 | 1180555.3348
51 | 2612131.641 | 1180607.1333
52 | 2611992.0431 | 1180624.4212
53 | 2612153.3237 | 1180612.8167
54 | 2612149.4963 | 1180611.2199
55 | 2612071.8453 | 1180596.5121
56 | 2612159.7666 | 1180542.4381
57 | 2612124.7435 | 1180560.2767
58 | 2612163.1497 | 1180558.7042
59 | 2611948.8005 | 1180615.1827
60 | 2611950.7789 | 1180615.6054
61 | 2611920.9122 | 1180558.3468
62 | 2611967.1637 | 1180619.1059
63 | 2611895.1534 | 1180553.3267
64 | 2611969.9107 | 1180619.6928
65 | 2611993.915 | 1180647.6274
66 | 2612004.3622 | 1180581.6323
67 | 2611988.6723 | 1180578.1727
68 | 2612012.2071 | 1180583.3621
69 | 2611975.6437 | 1180592.0282
70 | 2612015.6403 | 1180584.1191
71 | 2612037.556 | 1180588.9514
72 | 2612042.8374 | 1180590.1159
73 | 2612049.7344 | 1180591.6367
74 | 2612070.5705 | 1180522.0749
75 | 2612068.5483 | 1180521.6885
76 | 2612087.543 | 1180525.3173
77 | 2612052.3177 | 1180517.0752
78 | 2612066.4605 | 1180535.1335
79 | 2612036.09 | 1180513.5417
80 | 2612063.9084 | 1180546.5587
81 | 2612081.1246 | 1180550.4408
82 | 2612062.8967 | 1180546.3254
83 | 2612114.3457 | 1180480.8451
84 | 2612141.0203 | 1180487.4244
85 | 2612092.3341 | 1180475.4159
86 | 2612085.4914 | 1180473.7282
87 | 2612051.171 | 1180482.6245
88 | 2612051.156 | 1180482.6854
89 | 2612151.6333 | 1180540.4871
90 | 2612213.1369 | 1180570.9191
91 | 2612213.7551 | 1180571.0701
92 | 2612195.2274 | 1180566.5427
93 | 2612232.6214 | 1180575.6803
94 | 2612191.404 | 1180565.6084
95 | 2612258.4705 | 1180558.6241
96 | 2612181.6491 | 1180563.2247
97 | 2612258.3597 | 1180545.5283
98 | 2612171.5524 | 1180560.7574
99 | 2612241.1779 | 1180540.5331
100 | 2612231.9246 | 1180537.8429
101 | 2612125.8511 | 1180556.388
102 | 2612117.5182 | 1180558.6474
103 | 2612119.2923 | 1180532.7293
104 | 2612110.7184 | 1180557.1141
105 | 2612230.904 | 1180537.5462
106 | 2611982.0126 | 1180489.0727
107 | 2612034.0829 | 1180539.6815
108 | 2612027.0088 | 1180538.0504
109 | 2612045.0263 | 1180542.2048
110 | 2612019.3109 | 1180536.2754
111 | 2612051.8495 | 1180543.7781
112 | 2612092.9335 | 1180553.1037
113 | 2612099.9652 | 1180554.6893
114 | 2612068.5483 | 1180521.6885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1