## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_944-14_1_3_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_944-14_1_3_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_944-14_1_3_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_944-14_1_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_944-14_1_3_node_216 | 0.4 | n |  | TRUE
5 | bus_LV_944-14_1_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_944-14_1_3_node_178 | 0.4 | n |  | TRUE
7 | bus_LV_944-14_1_3_node_184 | 0.4 | n |  | TRUE
8 | bus_LV_944-14_1_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_944-14_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_944-14_1_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_944-14_1_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_944-14_1_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_944-14_1_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_944-14_1_3_node_176 | 0.4 | n |  | TRUE
15 | bus_LV_944-14_1_3_node_198 | 0.4 | n |  | TRUE
16 | bus_LV_944-14_1_3_node_201 | 0.4 | n |  | TRUE
17 | bus_LV_944-14_1_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_944-14_1_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_944-14_1_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_944-14_1_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_944-14_1_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_944-14_1_3_node_191 | 0.4 | n |  | TRUE
23 | bus_LV_944-14_1_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_944-14_1_3_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_944-14_1_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_944-14_1_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_944-14_1_3_node_211 | 0.4 | n |  | TRUE
28 | bus_LV_944-14_1_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_944-14_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_944-14_1_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_944-14_1_3_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_944-14_1_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_944-14_1_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_944-14_1_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_944-14_1_3_node_192 | 0.4 | n |  | TRUE
36 | bus_LV_944-14_1_3_node_217 | 0.4 | n |  | TRUE
37 | bus_LV_944-14_1_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_944-14_1_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_944-14_1_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_944-14_1_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_944-14_1_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_944-14_1_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_944-14_1_3_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_944-14_1_3_node_179 | 0.4 | n |  | TRUE
45 | bus_LV_944-14_1_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_944-14_1_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_944-14_1_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_944-14_1_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_944-14_1_3_node_180 | 0.4 | n |  | TRUE
50 | bus_LV_944-14_1_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_944-14_1_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_944-14_1_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_944-14_1_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_944-14_1_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_944-14_1_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_944-14_1_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_944-14_1_3_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_944-14_1_3_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_944-14_1_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_944-14_1_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_944-14_1_3_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_944-14_1_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_944-14_1_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_944-14_1_3_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_944-14_1_3_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_944-14_1_3_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_944-14_1_3_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_944-14_1_3_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_944-14_1_3_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_944-14_1_3_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_944-14_1_3_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_944-14_1_3_node_187 | 0.4 | n |  | TRUE
73 | bus_LV_944-14_1_3_node_104 | 0.4 | n |  | TRUE
74 | bus_LV_944-14_1_3_node_105 | 0.4 | n |  | TRUE
75 | bus_LV_944-14_1_3_node_106 | 0.4 | n |  | TRUE
76 | bus_LV_944-14_1_3_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_944-14_1_3_node_177 | 0.4 | n |  | TRUE
78 | bus_LV_944-14_1_3_node_181 | 0.4 | n |  | TRUE
79 | bus_LV_944-14_1_3_node_182 | 0.4 | n |  | TRUE
80 | bus_LV_944-14_1_3_node_183 | 0.4 | n |  | TRUE
81 | bus_LV_944-14_1_3_node_185 | 0.4 | n |  | TRUE
82 | bus_LV_944-14_1_3_node_186 | 0.4 | n |  | TRUE
83 | bus_LV_944-14_1_3_node_188 | 0.4 | n |  | TRUE
84 | bus_LV_944-14_1_3_node_189 | 0.4 | n |  | TRUE
85 | bus_LV_944-14_1_3_node_190 | 0.4 | n |  | TRUE
86 | bus_LV_944-14_1_3_node_193 | 0.4 | n |  | TRUE
87 | bus_LV_944-14_1_3_node_218 | 0.4 | n |  | TRUE
88 | bus_LV_944-14_1_3_node_194 | 0.4 | n |  | TRUE
89 | bus_LV_944-14_1_3_node_195 | 0.4 | n |  | TRUE
90 | bus_LV_944-14_1_3_node_196 | 0.4 | n |  | TRUE
91 | bus_LV_944-14_1_3_node_197 | 0.4 | n |  | TRUE
92 | bus_LV_944-14_1_3_node_199 | 0.4 | n |  | TRUE
93 | bus_LV_944-14_1_3_node_205 | 0.4 | n |  | TRUE
94 | bus_LV_944-14_1_3_node_200 | 0.4 | n |  | TRUE
95 | bus_LV_944-14_1_3_node_207 | 0.4 | n |  | TRUE
96 | bus_LV_944-14_1_3_node_203 | 0.4 | n |  | TRUE
97 | bus_LV_944-14_1_3_node_202 | 0.4 | n |  | TRUE
98 | bus_LV_944-14_1_3_node_204 | 0.4 | n |  | TRUE
99 | bus_LV_944-14_1_3_node_206 | 0.4 | n |  | TRUE
100 | bus_LV_944-14_1_3_node_210 | 0.4 | n |  | TRUE
101 | bus_MV_93_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_944-14_1_3_load_19 | 0 | 0.0039812 | 0.00099778 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_944-14_1_3_load_20 | 1 | 0.0026756 | 0.00067056 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_944-14_1_3_load_21 | 2 | 0.0045443 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_944-14_1_3_load_22 | 3 | 0.0031026 | 0.00077757 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_944-14_1_3_load_216 | 4 | 0.00032508 | 8.1472e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_944-14_1_3_load_23 | 5 | 0.0063025 | 0.0015796 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_944-14_1_3_load_178 | 6 | 0.0032098 | 0.00080445 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_944-14_1_3_load_184 | 7 | 0.0017747 | 0.00044477 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_944-14_1_3_load_24 | 8 | 0.0063236 | 0.0015848 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_944-14_1_3_load_25 | 9 | 0.0035234 | 0.00088306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_944-14_1_3_load_28 | 12 | 0.00023963 | 6.0058e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_944-14_1_3_load_176 | 14 | 0.001345 | 0.00033709 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_944-14_1_3_load_201 | 16 | 0.00018507 | 4.6383e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_944-14_1_3_load_30 | 17 | 0.0035186 | 0.00088186 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_944-14_1_3_load_31 | 18 | 0.0023346 | 0.00058511 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_944-14_1_3_load_32 | 19 | 0.0043397 | 0.0010876 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_944-14_1_3_load_33 | 20 | 0.0056337 | 0.0014119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_944-14_1_3_load_34 | 21 | 0.0021308 | 0.00053403 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_944-14_1_3_load_191 | 22 | 0.0034761 | 0.00087118 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_944-14_1_3_load_63 | 23 | 0.0046225 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_944-14_1_3_load_68 | 24 | 0.0019187 | 0.00048088 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_944-14_1_3_load_35 | 25 | 0.0027954 | 0.0007006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_944-14_1_3_load_38 | 29 | 0.00153 | 0.00038346 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_944-14_1_3_load_39 | 30 | 0.0014152 | 0.00035468 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_944-14_1_3_load_61 | 31 | 0.0028908 | 0.00072451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_944-14_1_3_load_41 | 33 | 0.0014982 | 0.00037548 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_944-14_1_3_load_217 | 36 | 0.0031594 | 0.00079182 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_944-14_1_3_load_43 | 37 | 0.0025955 | 0.0006505 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_944-14_1_3_load_44 | 38 | 0.0064544 | 0.0016176 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_944-14_1_3_load_48 | 42 | 0.0037849 | 0.00094859 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_944-14_1_3_load_179 | 44 | 0.0034385 | 0.00086177 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_944-14_1_3_load_51 | 45 | 0.0052801 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_944-14_1_3_load_49 | 46 | 0.0080428 | 0.0020157 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_944-14_1_3_load_50 | 47 | 0.0034275 | 0.00085901 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_944-14_1_3_load_52 | 48 | 0.0026624 | 0.00066725 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_944-14_1_3_load_180 | 49 | 0.0031298 | 0.0007844 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_944-14_1_3_load_53 | 50 | 0.0058924 | 0.0014768 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_944-14_1_3_load_54 | 51 | 0.0023165 | 0.00058057 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_944-14_1_3_load_56 | 53 | 0.0017819 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_944-14_1_3_load_57 | 54 | 0.0027771 | 0.00069601 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_944-14_1_3_load_58 | 55 | 0.0052387 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_944-14_1_3_load_59 | 56 | 0.0030556 | 0.00076581 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_944-14_1_3_load_103 | 58 | 0.0023755 | 0.00059536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_944-14_1_3_load_64 | 59 | 0.0020966 | 0.00052546 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_944-14_1_3_load_62 | 60 | 0.0032076 | 0.00080389 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_944-14_1_3_load_80 | 61 | 0.0021037 | 0.00052723 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_944-14_1_3_load_65 | 62 | 0.0052522 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_944-14_1_3_load_66 | 63 | 0.0021425 | 0.00053697 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_944-14_1_3_load_79 | 64 | 0.0033183 | 0.00083164 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_944-14_1_3_load_81 | 65 | 0.0014797 | 0.00037084 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_944-14_1_3_load_82 | 66 | 0.0023123 | 0.00057952 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_944-14_1_3_load_96 | 67 | 0.0024143 | 0.00060508 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_944-14_1_3_load_97 | 68 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_944-14_1_3_load_100 | 69 | 0.0025784 | 0.0006462 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_944-14_1_3_load_99 | 70 | 0.0015914 | 0.00039884 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_944-14_1_3_load_102 | 71 | 0.0043105 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_944-14_1_3_load_187 | 72 | 0.0033754 | 0.00084596 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_944-14_1_3_load_104 | 73 | 0.0014319 | 0.00035886 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_944-14_1_3_load_105 | 74 | 0.001139 | 0.00028546 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_944-14_1_3_load_106 | 75 | 0.0011149 | 0.00027943 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_944-14_1_3_load_107 | 76 | 0.0017476 | 0.00043799 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_944-14_1_3_load_181 | 78 | 0.0013294 | 0.00033317 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_944-14_1_3_load_182 | 79 | 0.0050091 | 0.0012554 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_944-14_1_3_load_183 | 80 | 0.0037337 | 0.00093574 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_944-14_1_3_load_185 | 81 | 0.0043032 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_944-14_1_3_load_186 | 82 | 0.0034395 | 0.00086202 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_944-14_1_3_load_188 | 83 | 0.0029721 | 0.00074487 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_944-14_1_3_load_189 | 84 | 0.0025869 | 0.00064833 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_944-14_1_3_load_190 | 85 | 0.0029945 | 0.00075049 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_944-14_1_3_load_218 | 87 | 0.0028195 | 0.00070664 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_944-14_1_3_load_194 | 88 | 0.00013842 | 3.4691e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_944-14_1_3_load_195 | 89 | 0.00015143 | 3.7952e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_944-14_1_3_load_197 | 91 | 8.3591e-05 | 2.095e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_944-14_1_3_load_205 | 93 | 0.00028385 | 7.114e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_944-14_1_3_load_207 | 95 | 9.1193e-05 | 2.2855e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_944-14_1_3_load_203 | 96 | 0.00026414 | 6.62e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_944-14_1_3_load_202 | 97 | 0.00011048 | 2.7688e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_944-14_1_3_load_204 | 98 | 0.00043152 | 0.00010815 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_944-14_1_3_load_206 | 99 | 0.006984 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_944-14_1_3_load_210 | 100 | 0.0043472 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_944-14_1_3_line_0 |  | 0 | 1 | 0.032312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_944-14_1_3_line_1 |  | 0 | 2 | 0.029343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_944-14_1_3_line_2 |  | 1 | 3 | 0.035327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_944-14_1_3_line_3 |  | 1 | 4 | 0.032291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_944-14_1_3_line_4 |  | 2 | 5 | 0.028679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_944-14_1_3_line_5 |  | 3 | 6 | 0.036835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_944-14_1_3_line_6 |  | 5 | 7 | 0.002813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_944-14_1_3_line_7 |  | 6 | 77 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_944-14_1_3_line_8 |  | 8 | 9 | 0.04076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_944-14_1_3_line_9 |  | 8 | 10 | 0.035617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_944-14_1_3_line_10 |  | 9 | 11 | 0.0047014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_944-14_1_3_line_11 |  | 10 | 12 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_944-14_1_3_line_12 |  | 10 | 13 | 0.018862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_944-14_1_3_line_13 |  | 11 | 14 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_944-14_1_3_line_14 |  | 13 | 15 | 0.05756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_944-14_1_3_line_15 |  | 13 | 16 | 0.0099204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_944-14_1_3_line_16 |  | 14 | 77 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_944-14_1_3_line_17 |  | 15 | 93 | 0.061327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_944-14_1_3_line_18 |  | 15 | 90 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_944-14_1_3_line_19 |  | 16 | 97 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_944-14_1_3_line_20 |  | 17 | 18 | 0.03428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_944-14_1_3_line_21 |  | 17 | 19 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_944-14_1_3_line_22 |  | 18 | 20 | 0.0017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_944-14_1_3_line_23 |  | 19 | 21 | 0.0061461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_944-14_1_3_line_24 |  | 20 | 22 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_944-14_1_3_line_25 |  | 21 | 23 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_944-14_1_3_line_26 |  | 21 | 24 | 0.0052791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_944-14_1_3_line_27 |  | 22 | 84 | 0.0095446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_944-14_1_3_line_28 |  | 23 | 60 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_944-14_1_3_line_29 |  | 24 | 63 | 0.010702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_944-14_1_3_line_30 |  | 25 | 26 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_944-14_1_3_line_31 |  | 25 | 27 | 0.055004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_944-14_1_3_line_32 |  | 26 | 28 | 0.010309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_944-14_1_3_line_33 |  | 26 | 29 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_944-14_1_3_line_34 |  | 27 | 100 | 0.0087494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_944-14_1_3_line_35 |  | 28 | 30 | 0.016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_944-14_1_3_line_36 |  | 29 | 31 | 0.031071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_944-14_1_3_line_37 |  | 30 | 32 | 0.007559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_944-14_1_3_line_38 |  | 31 | 39 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_944-14_1_3_line_39 |  | 32 | 33 | 0.0096547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_944-14_1_3_line_40 |  | 32 | 34 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_944-14_1_3_line_41 |  | 33 | 35 | 0.020408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_944-14_1_3_line_42 |  | 34 | 36 | 0.002625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_944-14_1_3_line_43 |  | 35 | 86 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_944-14_1_3_line_44 |  | 35 | 41 | 0.018436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_944-14_1_3_line_45 |  | 37 | 38 | 0.0063798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_944-14_1_3_line_46 |  | 38 | 39 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_944-14_1_3_line_47 |  | 39 | 43 | 0.015002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_944-14_1_3_line_48 |  | 40 | 41 | 0.028911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_944-14_1_3_line_49 |  | 40 | 42 | 0.025711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_944-14_1_3_line_50 |  | 41 | 44 | 0.0074327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_944-14_1_3_line_51 |  | 42 | 45 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_944-14_1_3_line_52 |  | 43 | 59 | 0.037717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_944-14_1_3_line_53 |  | 43 | 60 | 0.0095609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_944-14_1_3_line_54 |  | 43 | 56 | 0.025115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_944-14_1_3_line_55 |  | 44 | 77 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_944-14_1_3_line_56 |  | 45 | 46 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_944-14_1_3_line_57 |  | 46 | 47 | 0.0039208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_944-14_1_3_line_58 |  | 47 | 48 | 0.026321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_944-14_1_3_line_59 |  | 48 | 49 | 0.024504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_944-14_1_3_line_60 |  | 49 | 78 | 0.032528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_944-14_1_3_line_61 |  | 50 | 51 | 0.037791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_944-14_1_3_line_62 |  | 50 | 52 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_944-14_1_3_line_63 |  | 51 | 53 | 0.0010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_944-14_1_3_line_64 |  | 52 | 54 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_944-14_1_3_line_65 |  | 52 | 55 | 0.024468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_944-14_1_3_line_66 |  | 53 | 56 | 0.025491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_944-14_1_3_line_67 |  | 54 | 57 | 0.009683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_944-14_1_3_line_68 |  | 55 | 58 | 0.013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_944-14_1_3_line_69 |  | 57 | 71 | 0.021464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_944-14_1_3_line_70 |  | 57 | 70 | 0.04138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_944-14_1_3_line_71 |  | 58 | 73 | 0.0044533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_944-14_1_3_line_72 |  | 59 | 61 | 0.0050844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_944-14_1_3_line_73 |  | 61 | 64 | 0.0083293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_944-14_1_3_line_74 |  | 62 | 63 | 0.028237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_944-14_1_3_line_75 |  | 64 | 65 | 0.0029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_944-14_1_3_line_76 |  | 65 | 66 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_944-14_1_3_line_77 |  | 67 | 68 | 0.060107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_944-14_1_3_line_78 |  | 67 | 69 | 0.053897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_944-14_1_3_line_79 |  | 68 | 70 | 0.018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_944-14_1_3_line_80 |  | 71 | 72 | 0.02171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_944-14_1_3_line_81 |  | 73 | 74 | 0.03189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_944-14_1_3_line_82 |  | 74 | 75 | 0.0016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_944-14_1_3_line_83 |  | 75 | 76 | 0.0035511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_944-14_1_3_line_84 |  | 78 | 79 | 0.028587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_944-14_1_3_line_85 |  | 79 | 80 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_944-14_1_3_line_86 |  | 79 | 81 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_944-14_1_3_line_87 |  | 81 | 82 | 0.0026259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_944-14_1_3_line_88 |  | 83 | 84 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_944-14_1_3_line_89 |  | 83 | 85 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_944-14_1_3_line_90 |  | 86 | 87 | 0.002684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_944-14_1_3_line_91 |  | 88 | 89 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_944-14_1_3_line_92 |  | 88 | 90 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_944-14_1_3_line_93 |  | 89 | 91 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_944-14_1_3_line_94 |  | 90 | 92 | 0.020035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_944-14_1_3_line_95 |  | 92 | 94 | 0.040006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_944-14_1_3_line_96 |  | 92 | 95 | 0.054304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_944-14_1_3_line_97 |  | 93 | 99 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_944-14_1_3_line_98 |  | 94 | 96 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_944-14_1_3_line_99 |  | 96 | 98 | 0.019148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_944-14_1_3_trafo_51 | 0.63 MVA 20/0.4 kV | 101 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2612169.1491 | 1180196.3149 | 2612167.9805 | 1180196.5552 | 2612141.8781 | 1180202.1721 | 2612137.5244 | 1180202.9301
1 | 2612169.1491 | 1180196.3149 | 2612183.6141 | 1180193.3407 | 2612198.0843 | 1180191.5947
2 | 2612102.661 | 1180208.5896 | 2612111.0714 | 1180207.5351 | 2612137.5244 | 1180202.9301
3 | 2612137.5244 | 1180202.9301 | 2612144.369 | 1180171.3725
4 | 2612198.0843 | 1180191.5947 | 2612203.0955 | 1180190.99 | 2612226.5869 | 1180188.425
5 | 2612066.1592 | 1180213.492 | 2612073.7204 | 1180212.2181 | 2612102.661 | 1180208.5896
6 | 2612229.3833 | 1180188.1196 | 2612226.5869 | 1180188.425
7 | 2612045.282 | 1180217.3972 | 2612060.6782 | 1180214.4154 | 2612066.1592 | 1180213.492
8 | 2612060.1229 | 1180193.2855 | 2612070.9301 | 1180175.3603 | 2612075.6365 | 1180166.9988 | 2612080.0988 | 1180158.5256 | 2612080.3788 | 1180157.9302
9 | 2612094.2578 | 1180125.1481 | 2612090.9327 | 1180134.0237 | 2612087.3788 | 1180142.7544 | 2612083.7961 | 1180150.6624 | 2612080.3788 | 1180157.9302
10 | 2612057.6955 | 1180197.3118 | 2612060.1229 | 1180193.2855
11 | 2612094.2578 | 1180125.1481 | 2612110.3233 | 1180123.724
12 | 2612100.8238 | 1180107.4633 | 2612094.2578 | 1180125.1481
13 | 2612057.6955 | 1180197.3118 | 2612053.366 | 1180204.3511 | 2612050.9847 | 1180208.1317
14 | 2612129.3142 | 1180057.8174 | 2612125.042 | 1180062.8558 | 2612120.2707 | 1180069.2161 | 2612115.9575 | 1180075.6552 | 2612111.3741 | 1180083.5611 | 2612107.3249 | 1180091.6794 | 2612103.9637 | 1180099.5211 | 2612100.8238 | 1180107.4633
15 | 2612100.8238 | 1180107.4633 | 2612090.9465 | 1180108.3876
16 | 2612045.282 | 1180217.3972 | 2612050.4007 | 1180209.0587 | 2612050.9847 | 1180208.1317
17 | 2612129.3142 | 1180057.8174 | 2612120.7274 | 1180043.4372 | 2612076.8701 | 1180051.4238
18 | 2612146.2113 | 1180041.8099 | 2612142.3323 | 1180045.0593 | 2612138.0166 | 1180048.9192 | 2612133.4554 | 1180053.3456 | 2612129.3142 | 1180057.8174
19 | 2612073.3753 | 1180110.0318 | 2612090.9465 | 1180108.3876
20 | 2611965.0762 | 1180378.4759 | 2611999.0822 | 1180382.8051
21 | 2611965.0762 | 1180378.4759 | 2611953.872 | 1180377.0496
22 | 2611999.0822 | 1180382.8051 | 2612000.8218 | 1180383.0266
23 | 2611947.7751 | 1180376.2734 | 2611953.872 | 1180377.0496
24 | 2612000.8218 | 1180383.0266 | 2612017.8557 | 1180385.1951 | 2612023.2003 | 1180385.7104
25 | 2611947.7751 | 1180376.2734 | 2611954.7447 | 1180366.5489 | 2611962.7914 | 1180354.0174
26 | 2611947.7751 | 1180376.2734 | 2611944.5195 | 1180380.4291
27 | 2612032.7009 | 1180386.6265 | 2612023.2003 | 1180385.7104
28 | 2611969.3812 | 1180342.7775 | 2611963.2641 | 1180353.2812 | 2611962.7914 | 1180354.0174
29 | 2611944.5195 | 1180380.4291 | 2611937.9195 | 1180388.8538
30 | 2611959.1484 | 1180271.9981 | 2611941.6816 | 1180273.9297
31 | 2611941.6816 | 1180273.9297 | 2611913.4417 | 1180226.7289
32 | 2611957.4347 | 1180261.834 | 2611959.1484 | 1180271.9981
33 | 2611959.1484 | 1180271.9981 | 2611961.6634 | 1180285.4198
34 | 2611913.4417 | 1180226.7289 | 2611912.5729 | 1180218.0227
35 | 2611957.4347 | 1180261.834 | 2611973.2089 | 1180257.966
36 | 2611967.3862 | 1180315.9592 | 2611961.6634 | 1180285.4198
37 | 2611980.5504 | 1180256.1658 | 2611973.2089 | 1180257.966
38 | 2611981.7112 | 1180321.5238 | 2611967.3862 | 1180315.9592 | 2611967.3862 | 1180315.9592
39 | 2611980.5504 | 1180256.1658 | 2611989.94 | 1180253.919
40 | 2611978.5794 | 1180241.0319 | 2611979.285 | 1180247.2365 | 2611980.5504 | 1180256.1658
41 | 2612009.8472 | 1180249.4318 | 2611999.2566 | 1180251.6896 | 2611989.94 | 1180253.919
42 | 2611978.5794 | 1180241.0319 | 2611975.9516 | 1180241.1935
43 | 2612007.2279 | 1180230.0389 | 2612007.7895 | 1180235.6651 | 2612008.4744 | 1180240.758 | 2612009.8472 | 1180249.4318
44 | 2612027.9487 | 1180245.6771 | 2612009.8472 | 1180249.4318
45 | 2611993.606 | 1180301.9397 | 2611990.2941 | 1180307.3925
46 | 2611981.7112 | 1180321.5238 | 2611990.2941 | 1180307.3925
47 | 2611974.1927 | 1180334.5156 | 2611981.7112 | 1180321.5238
48 | 2612012.8072 | 1180270.3262 | 2612027.9487 | 1180245.6771
49 | 2612012.8072 | 1180270.3262 | 2612038.3459 | 1180267.3581
50 | 2612027.9487 | 1180245.6771 | 2612031.8328 | 1180239.34
51 | 2612038.3459 | 1180267.3581 | 2612051.5249 | 1180265.8265
52 | 2611974.1927 | 1180334.5156 | 2611948.4576 | 1180332.519 | 2611936.6215 | 1180331.2442
53 | 2611974.1927 | 1180334.5156 | 2611969.3812 | 1180342.7775
54 | 2611974.1927 | 1180334.5156 | 2611981.685 | 1180334.6639 | 2611987.3219 | 1180334.5306 | 2611994.9075 | 1180333.8898 | 2611999.2454 | 1180333.3618
55 | 2612045.282 | 1180217.3972 | 2612031.8328 | 1180239.34
56 | 2612051.5249 | 1180265.8265 | 2612070.6039 | 1180263.6092
57 | 2612074.4985 | 1180263.1566 | 2612070.6039 | 1180263.6092
58 | 2612074.4985 | 1180263.1566 | 2612089.1647 | 1180261.4521 | 2612100.6249 | 1180259.9673
59 | 2612100.6249 | 1180259.9673 | 2612114.5135 | 1180258.168 | 2612124.9338 | 1180256.8804
60 | 2612124.9338 | 1180256.8804 | 2612157.2164 | 1180252.8916
61 | 2612062.0309 | 1180320.7464 | 2612055.6792 | 1180323.2055 | 2612049.0836 | 1180325.3268 | 2612042.4961 | 1180327.2034 | 2612036.3605 | 1180328.4919 | 2612030.2252 | 1180329.5913 | 2612025.5602 | 1180330.1591
62 | 2612071.2654 | 1180316.789 | 2612063.5063 | 1180320.1752 | 2612062.0309 | 1180320.7464
63 | 2612024.5501 | 1180330.282 | 2612025.5602 | 1180330.1591
64 | 2612071.2654 | 1180316.789 | 2612085.2638 | 1180310.1983
65 | 2612071.2654 | 1180316.789 | 2612070.1464 | 1180341.2315
66 | 2612024.5501 | 1180330.282 | 2611999.2454 | 1180333.3618
67 | 2612094.0244 | 1180306.0736 | 2612085.2638 | 1180310.1983
68 | 2612070.1464 | 1180341.2315 | 2612069.5323 | 1180354.6448
69 | 2612094.0244 | 1180306.0736 | 2612096.4778 | 1180297.6631 | 2612098.9418 | 1180295.3224 | 2612107.63 | 1180291.9933
70 | 2612094.0244 | 1180306.0736 | 2612103.4662 | 1180301.5346 | 2612110.1469 | 1180298.8578 | 2612117.8495 | 1180296.9946 | 2612124.5494 | 1180296.2521 | 2612131.3474 | 1180296.0323 | 2612133.5838 | 1180296.1571
71 | 2612069.3286 | 1180359.0935 | 2612069.5323 | 1180354.6448
72 | 2611931.5663 | 1180330.6997 | 2611936.6215 | 1180331.2442
73 | 2611931.5663 | 1180330.6997 | 2611930.1616 | 1180330.5484 | 2611923.2823 | 1180329.8331
74 | 2611920.5099 | 1180411.0852 | 2611922.3232 | 1180408.773 | 2611922.8363 | 1180408.107 | 2611937.9195 | 1180388.8538
75 | 2611920.3218 | 1180329.5253 | 2611923.2823 | 1180329.8331
76 | 2611906.2227 | 1180328.0593 | 2611920.3218 | 1180329.5253
77 | 2612151.9404 | 1180299.1066 | 2612157.5505 | 1180300.8431 | 2612162.2359 | 1180302.9092 | 2612166.722 | 1180305.3084 | 2612171.7715 | 1180308.6536 | 2612182.6175 | 1180315.9904 | 2612188.5189 | 1180321.0383 | 2612193.9917 | 1180326.5077 | 2612198.1068 | 1180331.085 | 2612199.9751 | 1180333.7029
78 | 2612199.9751 | 1180333.7029 | 2612184.8753 | 1180385.4417
79 | 2612133.5838 | 1180296.1571 | 2612137.961 | 1180296.4014 | 2612144.5657 | 1180297.3596 | 2612151.1159 | 1180298.8514 | 2612151.9404 | 1180299.1066
80 | 2612128.4007 | 1180285.8343 | 2612127.7781 | 1180285.8977 | 2612119.2427 | 1180287.8816 | 2612112.0736 | 1180290.2906 | 2612107.63 | 1180291.9933
81 | 2612097.9905 | 1180366.4347 | 2612074.6362 | 1180365.0316 | 2612071.2791 | 1180363.3017 | 2612069.3005 | 1180359.707 | 2612069.3286 | 1180359.0935
82 | 2612097.9905 | 1180366.4347 | 2612099.6147 | 1180366.5322
83 | 2612103.1595 | 1180366.7452 | 2612099.6147 | 1180366.5322
84 | 2612185.5876 | 1180249.3861 | 2612157.2164 | 1180252.8916
85 | 2612204.6317 | 1180247.033 | 2612185.5876 | 1180249.3861
86 | 2612185.5876 | 1180249.3861 | 2612176.7766 | 1180267.83
87 | 2612176.7766 | 1180267.83 | 2612177.3125 | 1180270.4007
88 | 2612053.6307 | 1180388.6948 | 2612049.4084 | 1180388.2374 | 2612032.7009 | 1180386.6265
89 | 2612068.4373 | 1180390.2988 | 2612053.6307 | 1180388.6948
90 | 2612007.2279 | 1180230.0389 | 2612004.5465 | 1180230.2781
91 | 2612148.8931 | 1180058.639 | 2612151.6632 | 1180076.0225
92 | 2612146.2113 | 1180041.8099 | 2612148.8931 | 1180058.639
93 | 2612153.6257 | 1180088.3375 | 2612151.6632 | 1180076.0225
94 | 2612146.2113 | 1180041.8099 | 2612152.3003 | 1180037.3309 | 2612158.0674 | 1180033.385 | 2612162.7248 | 1180030.4818
95 | 2612143.2588 | 1180002.2059 | 2612153.3513 | 1180023.6928 | 2612158.0674 | 1180033.385 | 2612162.7248 | 1180030.4818
96 | 2612162.7248 | 1180030.4818 | 2612188.1626 | 1180078.4591
97 | 2612066.928 | 1180053.2342 | 2612076.8701 | 1180051.4238
98 | 2612143.2588 | 1180002.2059 | 2612135.1888 | 1180004.2573 | 2612127.0941 | 1180005.9202
99 | 2612108.2769 | 1180009.4614 | 2612123.2379 | 1180006.7123 | 2612127.0941 | 1180005.9202

## bus_geodata
| x | y | coords
0 | 2612169.1491 | 1180196.3149
1 | 2612137.5244 | 1180202.9301
2 | 2612198.0843 | 1180191.5947
3 | 2612102.661 | 1180208.5896
4 | 2612144.369 | 1180171.3725
5 | 2612226.5869 | 1180188.425
6 | 2612066.1592 | 1180213.492
7 | 2612229.3833 | 1180188.1196
8 | 2612080.3788 | 1180157.9302
9 | 2612060.1229 | 1180193.2855
10 | 2612094.2578 | 1180125.1481
11 | 2612057.6955 | 1180197.3118
12 | 2612110.3233 | 1180123.724
13 | 2612100.8238 | 1180107.4633
14 | 2612050.9847 | 1180208.1317
15 | 2612129.3142 | 1180057.8174
16 | 2612090.9465 | 1180108.3876
17 | 2611965.0762 | 1180378.4759
18 | 2611999.0822 | 1180382.8051
19 | 2611953.872 | 1180377.0496
20 | 2612000.8218 | 1180383.0266
21 | 2611947.7751 | 1180376.2734
22 | 2612023.2003 | 1180385.7104
23 | 2611962.7914 | 1180354.0174
24 | 2611944.5195 | 1180380.4291
25 | 2611941.6816 | 1180273.9297
26 | 2611959.1484 | 1180271.9981
27 | 2611913.4417 | 1180226.7289
28 | 2611957.4347 | 1180261.834
29 | 2611961.6634 | 1180285.4198
30 | 2611973.2089 | 1180257.966
31 | 2611967.3862 | 1180315.9592
32 | 2611980.5504 | 1180256.1658
33 | 2611989.94 | 1180253.919
34 | 2611978.5794 | 1180241.0319
35 | 2612009.8472 | 1180249.4318
36 | 2611975.9516 | 1180241.1935
37 | 2611993.606 | 1180301.9397
38 | 2611990.2941 | 1180307.3925
39 | 2611981.7112 | 1180321.5238
40 | 2612012.8072 | 1180270.3262
41 | 2612027.9487 | 1180245.6771
42 | 2612038.3459 | 1180267.3581
43 | 2611974.1927 | 1180334.5156
44 | 2612031.8328 | 1180239.34
45 | 2612051.5249 | 1180265.8265
46 | 2612070.6039 | 1180263.6092
47 | 2612074.4985 | 1180263.1566
48 | 2612100.6249 | 1180259.9673
49 | 2612124.9338 | 1180256.8804
50 | 2612062.0309 | 1180320.7464
51 | 2612025.5602 | 1180330.1591
52 | 2612071.2654 | 1180316.789
53 | 2612024.5501 | 1180330.282
54 | 2612085.2638 | 1180310.1983
55 | 2612070.1464 | 1180341.2315
56 | 2611999.2454 | 1180333.3618
57 | 2612094.0244 | 1180306.0736
58 | 2612069.5323 | 1180354.6448
59 | 2611936.6215 | 1180331.2442
60 | 2611969.3812 | 1180342.7775
61 | 2611931.5663 | 1180330.6997
62 | 2611920.5099 | 1180411.0852
63 | 2611937.9195 | 1180388.8538
64 | 2611923.2823 | 1180329.8331
65 | 2611920.3218 | 1180329.5253
66 | 2611906.2227 | 1180328.0593
67 | 2612199.9751 | 1180333.7029
68 | 2612151.9404 | 1180299.1066
69 | 2612184.8753 | 1180385.4417
70 | 2612133.5838 | 1180296.1571
71 | 2612107.63 | 1180291.9933
72 | 2612128.4007 | 1180285.8343
73 | 2612069.3286 | 1180359.0935
74 | 2612097.9905 | 1180366.4347
75 | 2612099.6147 | 1180366.5322
76 | 2612103.1595 | 1180366.7452
77 | 2612045.282 | 1180217.3972
78 | 2612157.2164 | 1180252.8916
79 | 2612185.5876 | 1180249.3861
80 | 2612204.6317 | 1180247.033
81 | 2612176.7766 | 1180267.83
82 | 2612177.3125 | 1180270.4007
83 | 2612053.6307 | 1180388.6948
84 | 2612032.7009 | 1180386.6265
85 | 2612068.4373 | 1180390.2988
86 | 2612007.2279 | 1180230.0389
87 | 2612004.5465 | 1180230.2781
88 | 2612148.8931 | 1180058.639
89 | 2612151.6632 | 1180076.0225
90 | 2612146.2113 | 1180041.8099
91 | 2612153.6257 | 1180088.3375
92 | 2612162.7248 | 1180030.4818
93 | 2612076.8701 | 1180051.4238
94 | 2612143.2588 | 1180002.2059
95 | 2612188.1626 | 1180078.4591
96 | 2612127.0941 | 1180005.9202
97 | 2612073.3753 | 1180110.0318
98 | 2612108.2769 | 1180009.4614
99 | 2612066.928 | 1180053.2342
100 | 2611912.5729 | 1180218.0227
101 | 2612012.8072 | 1180270.3262

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1