## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_944-16_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_944-16_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_944-16_0_6_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_944-16_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_944-16_0_6_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_944-16_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_944-16_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_944-16_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_944-16_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_944-16_0_6_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_944-16_0_6_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_944-16_0_6_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_944-16_0_6_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_944-16_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_944-16_0_6_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_944-16_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_944-16_0_6_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_944-16_0_6_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_944-16_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_944-16_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_944-16_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_944-16_0_6_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_944-16_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_944-16_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_944-16_0_6_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_944-16_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_944-16_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_944-16_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_944-16_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_944-16_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_944-16_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_944-16_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_944-16_0_6_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_944-16_0_6_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_944-16_0_6_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_944-16_0_6_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_944-16_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_944-16_0_6_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_944-16_0_6_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_944-16_0_6_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_944-16_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_944-16_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_944-16_0_6_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_944-16_0_6_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_944-16_0_6_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_944-16_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_944-16_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_944-16_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_944-16_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_944-16_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_944-16_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_944-16_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_944-16_0_6_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_944-16_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_944-16_0_6_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_944-16_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_944-16_0_6_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_944-16_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_944-16_0_6_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_944-16_0_6_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_944-16_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_944-16_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_944-16_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_944-16_0_6_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_944-16_0_6_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_944-16_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_944-16_0_6_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_944-16_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_944-16_0_6_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_944-16_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_944-16_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_944-16_0_6_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_944-16_0_6_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_944-16_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_944-16_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_944-16_0_6_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_944-16_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_944-16_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_944-16_0_6_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_944-16_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_944-16_0_6_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_944-16_0_6_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_944-16_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_944-16_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_944-16_0_6_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_944-16_0_6_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_944-16_0_6_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_944-16_0_6_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_944-16_0_6_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_944-16_0_6_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_944-16_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_944-16_0_6_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_944-16_0_6_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_944-16_0_6_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_944-16_0_6_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_944-16_0_6_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_944-16_0_6_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_944-16_0_6_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_944-16_0_6_node_94 | 0.4 | n |  | TRUE
99 | bus_MV_122_0_node_191 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_944-16_0_6_load_0 | 0 | 0.00063644 | 0.00015951 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_944-16_0_6_load_1 | 1 | 0.00064867 | 0.00016257 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_944-16_0_6_load_5 | 2 | 0.0031704 | 0.00079457 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_944-16_0_6_load_2 | 3 | 0.0005868 | 0.00014707 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_944-16_0_6_load_3 | 5 | 0.0020554 | 0.00051513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_944-16_0_6_load_6 | 6 | 0.005479 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_944-16_0_6_load_57 | 9 | 0.0014378 | 0.00036034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_944-16_0_6_load_54 | 10 | 0.0012314 | 0.00030863 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_944-16_0_6_load_55 | 12 | 0.0018534 | 0.0004645 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_944-16_0_6_load_34 | 13 | 0.0062987 | 0.0015786 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_944-16_0_6_load_31 | 14 | 0.0021068 | 0.000528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_944-16_0_6_load_8 | 15 | 0.0099688 | 0.0024984 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_944-16_0_6_load_17 | 16 | 0.03268 | 0.0081905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_944-16_0_6_load_9 | 18 | 0.0045437 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_944-16_0_6_load_10 | 19 | 0.0014678 | 0.00036787 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_944-16_0_6_load_11 | 20 | 0.0029205 | 0.00073196 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_944-16_0_6_load_28 | 21 | 0.0028789 | 0.00072152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_944-16_0_6_load_27 | 23 | 0.0023649 | 0.0005927 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_944-16_0_6_load_23 | 24 | 0.0037038 | 0.00092826 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_944-16_0_6_load_24 | 25 | 0.0059686 | 0.0014959 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_944-16_0_6_load_13 | 28 | 0.0021287 | 0.00053349 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_944-16_0_6_load_14 | 29 | 0.0038705 | 0.00097004 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_944-16_0_6_load_15 | 30 | 0.0023708 | 0.00059417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_944-16_0_6_load_68 | 33 | 0.0024585 | 0.00061615 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_944-16_0_6_load_65 | 34 | 0.004341 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_944-16_0_6_load_20 | 35 | 0.0010086 | 0.00025279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_944-16_0_6_load_44 | 37 | 0.002112 | 0.00052931 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_944-16_0_6_load_74 | 38 | 0.0024452 | 0.00061281 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_944-16_0_6_load_42 | 39 | 0.064533 | 0.016173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_944-16_0_6_load_22 | 40 | 0.0032806 | 0.00082219 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_944-16_0_6_load_26 | 41 | 0.0074364 | 0.0018637 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_944-16_0_6_load_52 | 42 | 0.0054288 | 0.0013606 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_944-16_0_6_load_53 | 43 | 0.0043333 | 0.001086 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_944-16_0_6_load_66 | 44 | 0.0082093 | 0.0020574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_944-16_0_6_load_32 | 45 | 0.0022691 | 0.0005687 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_944-16_0_6_load_35 | 46 | 0.0031125 | 0.00078007 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_944-16_0_6_load_40 | 50 | 0.014393 | 0.0036073 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_944-16_0_6_load_41 | 51 | 0.0068429 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_944-16_0_6_load_43 | 53 | 0.010922 | 0.0027374 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_944-16_0_6_load_56 | 57 | 0.0018227 | 0.00045681 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_944-16_0_6_load_85 | 58 | 0.0024508 | 0.00061423 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_944-16_0_6_load_84 | 59 | 0.0080359 | 0.002014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_944-16_0_6_load_46 | 60 | 0.0087475 | 0.0021923 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_944-16_0_6_load_47 | 61 | 0.0059659 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_944-16_0_6_load_49 | 63 | 0.008662 | 0.0021709 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_944-16_0_6_load_50 | 64 | 0.002596 | 0.00065062 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_944-16_0_6_load_59 | 65 | 0.017229 | 0.0043179 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_944-16_0_6_load_86 | 68 | 0.009708 | 0.0024331 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_944-16_0_6_load_67 | 69 | 0.0076404 | 0.0019149 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_944-16_0_6_load_58 | 70 | 0.0092418 | 0.0023162 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_944-16_0_6_load_82 | 71 | 0.0077526 | 0.001943 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_944-16_0_6_load_63 | 73 | 0.00087215 | 0.00021858 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_944-16_0_6_load_61 | 75 | 0.0039879 | 0.00099945 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_944-16_0_6_load_62 | 76 | 0.0011919 | 0.00029871 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_944-16_0_6_load_70 | 77 | 0.0065139 | 0.0016325 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_944-16_0_6_load_69 | 79 | 0.011841 | 0.0029676 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_944-16_0_6_load_95 | 80 | 0.0077672 | 0.0019466 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_944-16_0_6_load_91 | 81 | 0.0031314 | 0.0007848 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_944-16_0_6_load_98 | 85 | 0.007488 | 0.0018767 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_944-16_0_6_load_99 | 86 | 0.013099 | 0.0032829 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_944-16_0_6_load_97 | 87 | 0.00084475 | 0.00021171 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_944-16_0_6_load_75 | 88 | 0.012134 | 0.0030411 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_944-16_0_6_load_76 | 89 | 0.005372 | 0.0013464 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_944-16_0_6_load_77 | 90 | 0.011915 | 0.0029862 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_944-16_0_6_load_78 | 91 | 0.0046054 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_944-16_0_6_load_83 | 92 | 0.0030374 | 0.00076126 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_944-16_0_6_load_100 | 93 | 0.008989 | 0.0022528 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_944-16_0_6_load_90 | 94 | 0.0084645 | 0.0021214 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_944-16_0_6_load_88 | 95 | 0.0074215 | 0.00186 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_944-16_0_6_load_87 | 96 | 0.0085956 | 0.0021543 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_944-16_0_6_load_92 | 97 | 0.0010783 | 0.00027024 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_944-16_0_6_load_94 | 98 | 0.0030946 | 0.00077558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_944-16_0_6_line_0 |  | 0 | 1 | 0.0037778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_944-16_0_6_line_1 |  | 0 | 2 | 0.08098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_944-16_0_6_line_2 |  | 1 | 3 | 0.0004794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_944-16_0_6_line_3 |  | 2 | 4 | 0.031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_944-16_0_6_line_4 |  | 2 | 5 | 0.048337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_944-16_0_6_line_5 |  | 3 | 6 | 0.0072165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_944-16_0_6_line_6 |  | 4 | 13 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_944-16_0_6_line_7 |  | 4 | 14 | 0.015775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_944-16_0_6_line_8 |  | 5 | 8 | 0.03095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_944-16_0_6_line_9 |  | 6 | 7 | 0.010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_944-16_0_6_line_10 |  | 7 | 15 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_944-16_0_6_line_11 |  | 8 | 9 | 0.015759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_944-16_0_6_line_12 |  | 8 | 10 | 0.031638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_944-16_0_6_line_13 |  | 9 | 11 | 0.026463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_944-16_0_6_line_14 |  | 10 | 12 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_944-16_0_6_line_15 |  | 11 | 73 | 0.0085314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_944-16_0_6_line_16 |  | 12 | 57 | 0.033743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_944-16_0_6_line_17 |  | 14 | 45 | 0.049488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_944-16_0_6_line_18 |  | 16 | 17 | 0.023692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_944-16_0_6_line_19 |  | 17 | 36 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_944-16_0_6_line_20 |  | 18 | 19 | 0.005958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_944-16_0_6_line_21 |  | 18 | 20 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_944-16_0_6_line_22 |  | 19 | 21 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_944-16_0_6_line_23 |  | 20 | 22 | 0.015733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_944-16_0_6_line_24 |  | 21 | 23 | 0.0031768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_944-16_0_6_line_25 |  | 22 | 24 | 0.02211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_944-16_0_6_line_26 |  | 22 | 25 | 0.019025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_944-16_0_6_line_27 |  | 24 | 26 | 0.0047375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_944-16_0_6_line_28 |  | 25 | 27 | 0.028111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_944-16_0_6_line_29 |  | 26 | 35 | 0.0086531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_944-16_0_6_line_30 |  | 26 | 31 | 0.034255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_944-16_0_6_line_31 |  | 27 | 41 | 0.029318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_944-16_0_6_line_32 |  | 28 | 29 | 0.0088824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_944-16_0_6_line_33 |  | 28 | 30 | 0.0062361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_944-16_0_6_line_34 |  | 29 | 31 | 0.014605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_944-16_0_6_line_35 |  | 31 | 32 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_944-16_0_6_line_36 |  | 32 | 33 | 0.039948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_944-16_0_6_line_37 |  | 32 | 34 | 0.026981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_944-16_0_6_line_38 |  | 33 | 38 | 0.0070561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_944-16_0_6_line_39 |  | 34 | 44 | 0.029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_944-16_0_6_line_40 |  | 35 | 40 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_944-16_0_6_line_41 |  | 36 | 37 | 0.018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_944-16_0_6_line_42 |  | 36 | 38 | 0.03735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_944-16_0_6_line_43 |  | 37 | 39 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_944-16_0_6_line_44 |  | 39 | 53 | 0.0071247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_944-16_0_6_line_45 |  | 41 | 42 | 0.017336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_944-16_0_6_line_46 |  | 42 | 43 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_944-16_0_6_line_47 |  | 44 | 69 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_944-16_0_6_line_48 |  | 46 | 47 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_944-16_0_6_line_49 |  | 46 | 48 | 0.030651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_944-16_0_6_line_50 |  | 47 | 49 | 0.002802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_944-16_0_6_line_51 |  | 48 | 50 | 0.03251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_944-16_0_6_line_52 |  | 48 | 51 | 0.0055014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_944-16_0_6_line_53 |  | 49 | 52 | 0.041432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_944-16_0_6_line_54 |  | 49 | 53 | 0.020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_944-16_0_6_line_55 |  | 51 | 54 | 0.034588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_944-16_0_6_line_56 |  | 52 | 56 | 0.022041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_944-16_0_6_line_57 |  | 54 | 55 | 0.01141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_944-16_0_6_line_58 |  | 55 | 57 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_944-16_0_6_line_59 |  | 55 | 58 | 0.016367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_944-16_0_6_line_60 |  | 56 | 94 | 0.017239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_944-16_0_6_line_61 |  | 56 | 95 | 0.001907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_944-16_0_6_line_62 |  | 58 | 59 | 0.01364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_944-16_0_6_line_63 |  | 59 | 92 | 0.0083585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_944-16_0_6_line_64 |  | 60 | 61 | 0.034104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_944-16_0_6_line_65 |  | 60 | 62 | 0.030268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_944-16_0_6_line_66 |  | 61 | 63 | 0.0083226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_944-16_0_6_line_67 |  | 62 | 64 | 0.037643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_944-16_0_6_line_68 |  | 63 | 65 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_944-16_0_6_line_69 |  | 64 | 66 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_944-16_0_6_line_70 |  | 65 | 70 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_944-16_0_6_line_71 |  | 66 | 71 | 0.021817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_944-16_0_6_line_72 |  | 66 | 72 | 0.026725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_944-16_0_6_line_73 |  | 67 | 68 | 0.017298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_944-16_0_6_line_74 |  | 67 | 69 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_944-16_0_6_line_75 |  | 70 | 74 | 0.0046802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_944-16_0_6_line_76 |  | 71 | 96 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_944-16_0_6_line_77 |  | 72 | 93 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_944-16_0_6_line_78 |  | 72 | 89 | 0.004356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_944-16_0_6_line_79 |  | 74 | 75 | 0.02342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_944-16_0_6_line_80 |  | 74 | 76 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_944-16_0_6_line_81 |  | 75 | 77 | 0.00038475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_944-16_0_6_line_82 |  | 76 | 78 | 0.037826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_944-16_0_6_line_83 |  | 77 | 79 | 0.028855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_944-16_0_6_line_84 |  | 78 | 80 | 0.025254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_944-16_0_6_line_85 |  | 78 | 81 | 0.0094896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_944-16_0_6_line_86 |  | 79 | 82 | 0.062312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_944-16_0_6_line_87 |  | 81 | 97 | 0.0052033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_944-16_0_6_line_88 |  | 82 | 83 | 0.061801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_944-16_0_6_line_89 |  | 82 | 84 | 0.074653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_944-16_0_6_line_90 |  | 83 | 85 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_944-16_0_6_line_91 |  | 83 | 86 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_944-16_0_6_line_92 |  | 84 | 87 | 0.038246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_944-16_0_6_line_93 |  | 88 | 89 | 0.01926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_944-16_0_6_line_94 |  | 88 | 90 | 0.024819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_944-16_0_6_line_95 |  | 91 | 92 | 0.00099019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_944-16_0_6_line_96 |  | 95 | 96 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_944-16_0_6_line_97 |  | 97 | 98 | 0.0089792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_944-16_0_6_trafo_80 | 0.63 MVA 20/0.4 kV | 99 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610253.7132 | 1179955.6053 | 2610257.1513 | 1179957.1708
1 | 2610193.7523 | 1179901.1768 | 2610253.7132 | 1179955.6053
2 | 2610257.5876 | 1179957.3695 | 2610257.1513 | 1179957.1708
3 | 2610208.8134 | 1179874.2554 | 2610207.7795 | 1179880.379 | 2610193.7523 | 1179901.1768
4 | 2610168.0863 | 1179942.0546 | 2610174.0255 | 1179930.4254 | 2610193.7523 | 1179901.1768
5 | 2610263.4756 | 1179961.5419 | 2610257.5876 | 1179957.3695 | 2610257.5876 | 1179957.3695
6 | 2610208.8134 | 1179874.2554 | 2610214.73 | 1179862.1868
7 | 2610208.8134 | 1179874.2554 | 2610205.9545 | 1179870.9822 | 2610195.4519 | 1179866.4738
8 | 2610154.1687 | 1179969.712 | 2610168.0863 | 1179942.0546
9 | 2610272.2124 | 1179967.733 | 2610263.4756 | 1179961.5419
10 | 2610272.2124 | 1179967.733 | 2610281.9081 | 1179971.7453
11 | 2610154.1687 | 1179969.712 | 2610139.4775 | 1179964.01
12 | 2610154.1687 | 1179969.712 | 2610143.3701 | 1179999.4506
13 | 2610116.4125 | 1179951.9729 | 2610121.4605 | 1179957.0172 | 2610139.4775 | 1179964.01
14 | 2610143.3701 | 1179999.4506 | 2610137.587 | 1180015.3766
15 | 2610116.4125 | 1179951.9729 | 2610119.1391 | 1179943.8889
16 | 2610137.587 | 1180015.3766 | 2610131.3549 | 1180032.5391 | 2610126.1837 | 1180047.1338
17 | 2610195.4519 | 1179866.4738 | 2610184.4531 | 1179861.7523 | 2610181.1845 | 1179856.8443 | 2610190.7484 | 1179826.7031
18 | 2610230.9769 | 1180092.0154 | 2610240.3194 | 1180077.8018 | 2610243.2737 | 1180071.8078
19 | 2610223.9315 | 1180102.8979 | 2610230.9769 | 1180092.0154
20 | 2610306.8034 | 1180140.7924 | 2610308.854 | 1180135.1984
21 | 2610300.9577 | 1180156.7388 | 2610306.8034 | 1180140.7924
22 | 2610308.854 | 1180135.1984 | 2610316.4063 | 1180115.395
23 | 2610295.5428 | 1180171.5103 | 2610300.9577 | 1180156.7388
24 | 2610318.116 | 1180112.7176 | 2610316.4063 | 1180115.395
25 | 2610295.5428 | 1180171.5103 | 2610281.0482 | 1180170.2405 | 2610273.4887 | 1180170.2003
26 | 2610295.5428 | 1180171.5103 | 2610312.8372 | 1180179.4387
27 | 2610268.7513 | 1180170.1751 | 2610273.4887 | 1180170.2003
28 | 2610334.988 | 1180196.5017 | 2610317.2785 | 1180181.4748 | 2610312.8372 | 1180179.4387
29 | 2610268.7513 | 1180170.1751 | 2610271.3521 | 1180161.9221
30 | 2610268.7513 | 1180170.1751 | 2610261.2254 | 1180171.6853 | 2610234.86 | 1180175.7426
31 | 2610334.988 | 1180196.5017 | 2610307.4463 | 1180206.551
32 | 2610240.4749 | 1180162.2601 | 2610243.8897 | 1180154.0604
33 | 2610246.2871 | 1180148.3035 | 2610243.8897 | 1180154.0604
34 | 2610234.86 | 1180175.7426 | 2610240.4749 | 1180162.2601
35 | 2610225.1381 | 1180179.5725 | 2610229.2802 | 1180178.2122 | 2610234.86 | 1180175.7426
36 | 2610225.1381 | 1180179.5725 | 2610215.8924 | 1180172.8423 | 2610211.804 | 1180165.0758 | 2610210.1878 | 1180154.2453 | 2610212.2178 | 1180145.6986
37 | 2610225.1381 | 1180179.5725 | 2610202.2171 | 1180193.8064
38 | 2610213.8483 | 1180138.8334 | 2610212.2178 | 1180145.6986
39 | 2610202.2171 | 1180193.8064 | 2610184.7906 | 1180204.6282 | 2610177.1054 | 1180209.0642
40 | 2610278.0895 | 1180140.5425 | 2610271.3521 | 1180161.9221
41 | 2610223.9315 | 1180102.8979 | 2610206.8896 | 1180096.1615
42 | 2610223.9315 | 1180102.8979 | 2610217.8575 | 1180121.9529 | 2610213.8483 | 1180138.8334
43 | 2610197.3165 | 1180092.3774 | 2610206.8896 | 1180096.1615
44 | 2610197.3165 | 1180092.3774 | 2610190.6907 | 1180089.7583
45 | 2610291.1602 | 1180212.4935 | 2610307.4463 | 1180206.551
46 | 2610291.1602 | 1180212.4935 | 2610280.8285 | 1180216.2633
47 | 2610159.4876 | 1180219.2332 | 2610177.1054 | 1180209.0642
48 | 2610169.0127 | 1180081.1829 | 2610171.6847 | 1180070.056
49 | 2610163.4031 | 1180042.3536 | 2610169.0414 | 1180050.5784 | 2610173.7279 | 1180061.5475 | 2610171.6847 | 1180070.056
50 | 2610169.0127 | 1180081.1829 | 2610171.6232 | 1180082.2212
51 | 2610163.4031 | 1180042.3536 | 2610166.541 | 1180038.6014 | 2610175.6667 | 1180012.5257
52 | 2610163.4031 | 1180042.3536 | 2610159.0151 | 1180045.6719
53 | 2610155.1788 | 1180118.3342 | 2610154.6779 | 1180116.4323 | 2610155.0681 | 1180111.486 | 2610159.2267 | 1180109.3919 | 2610171.6232 | 1180082.2212
54 | 2610171.6232 | 1180082.2212 | 2610190.6907 | 1180089.7583
55 | 2610131.4277 | 1180066.5344 | 2610159.0151 | 1180045.6719
56 | 2610147.3839 | 1180138.9538 | 2610155.1788 | 1180118.3342
57 | 2610120.864 | 1180062.1478 | 2610131.4277 | 1180066.5344
58 | 2610120.864 | 1180062.1478 | 2610126.1837 | 1180047.1338
59 | 2610120.864 | 1180062.1478 | 2610120.3874 | 1180063.959 | 2610115.633 | 1180077.6508
60 | 2610147.3839 | 1180138.9538 | 2610164.6228 | 1180138.9606
61 | 2610147.3839 | 1180138.9538 | 2610145.4778 | 1180139.0103
62 | 2610115.633 | 1180077.6508 | 2610111.1586 | 1180090.5362
63 | 2610108.4167 | 1180098.4322 | 2610111.1586 | 1180090.5362
64 | 2610062.427 | 1180199.5706 | 2610037.6837 | 1180176.1007
65 | 2610084.3874 | 1180220.401 | 2610062.427 | 1180199.5706
66 | 2610031.6454 | 1180170.3731 | 2610037.6837 | 1180176.1007
67 | 2610084.3874 | 1180220.401 | 2610091.3946 | 1180209.3292 | 2610094.1015 | 1180202.9194 | 2610094.6388 | 1180201.3083 | 2610096.1761 | 1180195.508 | 2610097.158 | 1180185.6735
68 | 2610031.6454 | 1180170.3731 | 2610016.5149 | 1180156.0212
69 | 2610098.5298 | 1180171.9332 | 2610097.158 | 1180185.6735
70 | 2610003.131 | 1180142.2127 | 2610005.315 | 1180145.3977 | 2610016.5149 | 1180156.0212
71 | 2610098.5298 | 1180171.9332 | 2610112.7351 | 1180155.3748
72 | 2610100.209 | 1180145.2668 | 2610098.5298 | 1180171.9332
73 | 2610137.3392 | 1180212.1744 | 2610144.1941 | 1180228.0607
74 | 2610144.1941 | 1180228.0607 | 2610159.4876 | 1180219.2332
75 | 2610000.4842 | 1180138.3527 | 2610003.131 | 1180142.2127
76 | 2610132.1198 | 1180139.4061 | 2610128.9221 | 1180139.5008 | 2610122.4845 | 1180143.3365 | 2610115.986 | 1180151.5853 | 2610112.7351 | 1180155.3748
77 | 2610100.209 | 1180145.2668 | 2610081.978 | 1180144.7916
78 | 2610100.209 | 1180145.2668 | 2610100.4836 | 1180140.9206
79 | 2610000.4842 | 1180138.3527 | 2609993.8686 | 1180115.887
80 | 2610000.4842 | 1180138.3527 | 2609997.793 | 1180139.938 | 2609986.9901 | 1180146.2678 | 2609984.0594 | 1180148.9018
81 | 2609993.76 | 1180115.5179 | 2609993.8686 | 1180115.887
82 | 2609955.9264 | 1180174.1863 | 2609984.0594 | 1180148.9018
83 | 2609986.5579 | 1180087.6079 | 2609988.4609 | 1180097.523 | 2609993.76 | 1180115.5179
84 | 2609955.9264 | 1180174.1863 | 2609957.3861 | 1180182.882 | 2609956.5121 | 1180199.2953
85 | 2609955.9264 | 1180174.1863 | 2609947.1247 | 1180177.7336
86 | 2609984.577 | 1180025.9911 | 2609981.123 | 1180059.2913 | 2609986.5579 | 1180087.6079
87 | 2609947.1247 | 1180177.7336 | 2609942.2986 | 1180179.6787
88 | 2609984.577 | 1180025.9911 | 2609989.6572 | 1180025.5104 | 2609992.5066 | 1180025.2483 | 2609997.7051 | 1180022.4889 | 2610006.6614 | 1180015.1889 | 2610041.9115 | 1180024.2521
89 | 2609984.577 | 1180025.9911 | 2609989.6572 | 1180025.5104 | 2609992.5066 | 1180025.2483 | 2609997.7051 | 1180022.4889 | 2610006.6614 | 1180015.1889 | 2610008.2064 | 1180013.9241 | 2610027.6711 | 1179970.8677
90 | 2610041.9115 | 1180024.2521 | 2610046.186 | 1180021.3466 | 2610054.7248 | 1180021.6943 | 2610058.1298 | 1180022.656
91 | 2610046.3343 | 1180042.3464 | 2610047.4776 | 1180034.6666 | 2610047.89 | 1180030.065 | 2610044.8891 | 1180025.013 | 2610041.9115 | 1180024.2521
92 | 2610027.6711 | 1179970.8677 | 2610037.5939 | 1179970.384 | 2610054.0767 | 1179975.1917 | 2610064.5648 | 1179979.2446
93 | 2610100.4836 | 1180140.9206 | 2610081.401 | 1180138.3164
94 | 2610067.7639 | 1180126.414 | 2610066.6705 | 1180136.3062 | 2610081.401 | 1180138.3164
95 | 2610108.0919 | 1180099.3676 | 2610108.4167 | 1180098.4322
96 | 2610132.1198 | 1180139.4061 | 2610145.4778 | 1180139.0103
97 | 2609933.7246 | 1180182.1625 | 2609937.8507 | 1180181.4713 | 2609942.2986 | 1180179.6787

## bus_geodata
| x | y | coords
0 | 2610253.7132 | 1179955.6053
1 | 2610257.1513 | 1179957.1708
2 | 2610193.7523 | 1179901.1768
3 | 2610257.5876 | 1179957.3695
4 | 2610208.8134 | 1179874.2554
5 | 2610168.0863 | 1179942.0546
6 | 2610263.4756 | 1179961.5419
7 | 2610272.2124 | 1179967.733
8 | 2610154.1687 | 1179969.712
9 | 2610139.4775 | 1179964.01
10 | 2610143.3701 | 1179999.4506
11 | 2610116.4125 | 1179951.9729
12 | 2610137.587 | 1180015.3766
13 | 2610214.73 | 1179862.1868
14 | 2610195.4519 | 1179866.4738
15 | 2610281.9081 | 1179971.7453
16 | 2610243.2737 | 1180071.8078
17 | 2610230.9769 | 1180092.0154
18 | 2610306.8034 | 1180140.7924
19 | 2610308.854 | 1180135.1984
20 | 2610300.9577 | 1180156.7388
21 | 2610316.4063 | 1180115.395
22 | 2610295.5428 | 1180171.5103
23 | 2610318.116 | 1180112.7176
24 | 2610273.4887 | 1180170.2003
25 | 2610312.8372 | 1180179.4387
26 | 2610268.7513 | 1180170.1751
27 | 2610334.988 | 1180196.5017
28 | 2610243.8897 | 1180154.0604
29 | 2610240.4749 | 1180162.2601
30 | 2610246.2871 | 1180148.3035
31 | 2610234.86 | 1180175.7426
32 | 2610225.1381 | 1180179.5725
33 | 2610212.2178 | 1180145.6986
34 | 2610202.2171 | 1180193.8064
35 | 2610271.3521 | 1180161.9221
36 | 2610223.9315 | 1180102.8979
37 | 2610206.8896 | 1180096.1615
38 | 2610213.8483 | 1180138.8334
39 | 2610197.3165 | 1180092.3774
40 | 2610278.0895 | 1180140.5425
41 | 2610307.4463 | 1180206.551
42 | 2610291.1602 | 1180212.4935
43 | 2610280.8285 | 1180216.2633
44 | 2610177.1054 | 1180209.0642
45 | 2610190.7484 | 1179826.7031
46 | 2610171.6847 | 1180070.056
47 | 2610169.0127 | 1180081.1829
48 | 2610163.4031 | 1180042.3536
49 | 2610171.6232 | 1180082.2212
50 | 2610175.6667 | 1180012.5257
51 | 2610159.0151 | 1180045.6719
52 | 2610155.1788 | 1180118.3342
53 | 2610190.6907 | 1180089.7583
54 | 2610131.4277 | 1180066.5344
55 | 2610120.864 | 1180062.1478
56 | 2610147.3839 | 1180138.9538
57 | 2610126.1837 | 1180047.1338
58 | 2610115.633 | 1180077.6508
59 | 2610111.1586 | 1180090.5362
60 | 2610062.427 | 1180199.5706
61 | 2610037.6837 | 1180176.1007
62 | 2610084.3874 | 1180220.401
63 | 2610031.6454 | 1180170.3731
64 | 2610097.158 | 1180185.6735
65 | 2610016.5149 | 1180156.0212
66 | 2610098.5298 | 1180171.9332
67 | 2610144.1941 | 1180228.0607
68 | 2610137.3392 | 1180212.1744
69 | 2610159.4876 | 1180219.2332
70 | 2610003.131 | 1180142.2127
71 | 2610112.7351 | 1180155.3748
72 | 2610100.209 | 1180145.2668
73 | 2610119.1391 | 1179943.8889
74 | 2610000.4842 | 1180138.3527
75 | 2609993.8686 | 1180115.887
76 | 2609984.0594 | 1180148.9018
77 | 2609993.76 | 1180115.5179
78 | 2609955.9264 | 1180174.1863
79 | 2609986.5579 | 1180087.6079
80 | 2609956.5121 | 1180199.2953
81 | 2609947.1247 | 1180177.7336
82 | 2609984.577 | 1180025.9911
83 | 2610041.9115 | 1180024.2521
84 | 2610027.6711 | 1179970.8677
85 | 2610058.1298 | 1180022.656
86 | 2610046.3343 | 1180042.3464
87 | 2610064.5648 | 1179979.2446
88 | 2610081.401 | 1180138.3164
89 | 2610100.4836 | 1180140.9206
90 | 2610067.7639 | 1180126.414
91 | 2610108.0919 | 1180099.3676
92 | 2610108.4167 | 1180098.4322
93 | 2610081.978 | 1180144.7916
94 | 2610164.6228 | 1180138.9606
95 | 2610145.4778 | 1180139.0103
96 | 2610132.1198 | 1180139.4061
97 | 2609942.2986 | 1180179.6787
98 | 2609933.7246 | 1180182.1625
99 | 2610147.3839 | 1180138.9538

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1