## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_944-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_944-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_944-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_944-4_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_944-4_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_944-4_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_944-4_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_944-4_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_944-4_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_944-4_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_944-4_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_944-4_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_944-4_0_2_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_944-4_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_944-4_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_944-4_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_944-4_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_944-4_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_944-4_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_944-4_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_944-4_0_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_944-4_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_944-4_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_944-4_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_944-4_0_2_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_944-4_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_944-4_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_944-4_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_944-4_0_2_node_253 | 0.4 | n |  | TRUE
29 | bus_LV_944-4_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_944-4_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_944-4_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_944-4_0_2_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_944-4_0_2_node_251 | 0.4 | n |  | TRUE
34 | bus_LV_944-4_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_944-4_0_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_944-4_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_944-4_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_944-4_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_944-4_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_944-4_0_2_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_944-4_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_944-4_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_944-4_0_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_944-4_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_944-4_0_2_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_944-4_0_2_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_944-4_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_944-4_0_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_944-4_0_2_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_944-4_0_2_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_944-4_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_944-4_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_944-4_0_2_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_944-4_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_944-4_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_944-4_0_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_944-4_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_944-4_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_944-4_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_944-4_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_944-4_0_2_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_944-4_0_2_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_944-4_0_2_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_944-4_0_2_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_944-4_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_944-4_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_944-4_0_2_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_944-4_0_2_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_944-4_0_2_node_227 | 0.4 | n |  | TRUE
70 | bus_LV_944-4_0_2_node_226 | 0.4 | n |  | TRUE
71 | bus_LV_944-4_0_2_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_944-4_0_2_node_249 | 0.4 | n |  | TRUE
73 | bus_LV_944-4_0_2_node_245 | 0.4 | n |  | TRUE
74 | bus_LV_944-4_0_2_node_246 | 0.4 | n |  | TRUE
75 | bus_LV_944-4_0_2_node_247 | 0.4 | n |  | TRUE
76 | bus_LV_944-4_0_2_node_248 | 0.4 | n |  | TRUE
77 | bus_LV_944-4_0_2_node_255 | 0.4 | n |  | TRUE
78 | bus_LV_944-4_0_2_node_252 | 0.4 | n |  | TRUE
79 | bus_LV_944-4_0_2_node_254 | 0.4 | n |  | TRUE
80 | bus_MV_122_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_944-4_0_2_load_0 | 0 | 0.00042848 | 0.00010739 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_944-4_0_2_load_1 | 1 | 0.00073891 | 0.00018519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_944-4_0_2_load_2 | 2 | 0.00036298 | 9.0971e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_944-4_0_2_load_5 | 3 | 0.0020552 | 0.00051507 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_944-4_0_2_load_3 | 4 | 0.00088791 | 0.00022253 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_944-4_0_2_load_4 | 5 | 0.0021235 | 0.0005322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_944-4_0_2_load_6 | 6 | 0.001095 | 0.00027443 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_944-4_0_2_load_8 | 8 | 0.0022235 | 0.00055725 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_944-4_0_2_load_9 | 9 | 0.00092899 | 0.00023283 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_944-4_0_2_load_10 | 10 | 0.00042279 | 0.00010596 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_944-4_0_2_load_11 | 11 | 0.0013623 | 0.00034143 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_944-4_0_2_load_54 | 12 | 0.00033841 | 8.4813e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_944-4_0_2_load_12 | 13 | 0.0014987 | 0.00037561 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_944-4_0_2_load_13 | 14 | 0.00075181 | 0.00018842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_944-4_0_2_load_15 | 16 | 0.0047469 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_944-4_0_2_load_18 | 18 | 0.0012221 | 0.00030629 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_944-4_0_2_load_49 | 20 | 0.0011833 | 0.00029655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_944-4_0_2_load_21 | 21 | 0.0032169 | 0.00080623 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_944-4_0_2_load_19 | 22 | 0.0014345 | 0.00035953 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_944-4_0_2_load_20 | 23 | 0.00084875 | 0.00021272 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_944-4_0_2_load_44 | 24 | 0.00097882 | 0.00024532 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_944-4_0_2_load_22 | 25 | 0.002885 | 0.00072304 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_944-4_0_2_load_253 | 28 | 0.00073787 | 0.00018493 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_944-4_0_2_load_25 | 29 | 0.0026683 | 0.00066874 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_944-4_0_2_load_26 | 30 | 0.00068277 | 0.00017112 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_944-4_0_2_load_28 | 31 | 0.0012852 | 0.00032211 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_944-4_0_2_load_67 | 32 | 0.00064978 | 0.00016285 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_944-4_0_2_load_251 | 33 | 0.00059349 | 0.00014874 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_944-4_0_2_load_34 | 34 | 0.0011638 | 0.00029168 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_944-4_0_2_load_66 | 35 | 0.00034292 | 8.5944e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_944-4_0_2_load_36 | 37 | 0.001236 | 0.00030977 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_944-4_0_2_load_37 | 38 | 0.00036125 | 9.0538e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_944-4_0_2_load_63 | 40 | 0.001787 | 0.00044786 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_944-4_0_2_load_38 | 41 | 0.0020535 | 0.00051465 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_944-4_0_2_load_39 | 42 | 0.00043468 | 0.00010894 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_944-4_0_2_load_41 | 43 | 0.0013172 | 0.00033011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_944-4_0_2_load_42 | 44 | 0.0012494 | 0.00031312 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_944-4_0_2_load_64 | 45 | 0.0010373 | 0.00025997 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_944-4_0_2_load_60 | 46 | 0.0020681 | 0.0005183 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_944-4_0_2_load_43 | 47 | 0.0016989 | 0.00042578 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_944-4_0_2_load_45 | 48 | 0.0022409 | 0.00056163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_944-4_0_2_load_46 | 49 | 0.00065793 | 0.00016489 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_944-4_0_2_load_52 | 50 | 0.00046829 | 0.00011736 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_944-4_0_2_load_47 | 51 | 0.0011281 | 0.00028273 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_944-4_0_2_load_48 | 52 | 0.00048408 | 0.00012132 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_944-4_0_2_load_50 | 53 | 0.00098987 | 0.00024809 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_944-4_0_2_load_51 | 54 | 0.0006792 | 0.00017022 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_944-4_0_2_load_56 | 57 | 0.0002609 | 6.5388e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_944-4_0_2_load_62 | 61 | 0.00059236 | 0.00014846 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_944-4_0_2_load_61 | 62 | 0.00088453 | 0.00022168 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_944-4_0_2_load_76 | 63 | 0.0005913 | 0.00014819 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_944-4_0_2_load_65 | 64 | 0.0024846 | 0.00062271 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_944-4_0_2_load_68 | 65 | 0.001128 | 0.0002827 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_944-4_0_2_load_69 | 66 | 0.00060393 | 0.00015136 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_944-4_0_2_load_70 | 67 | 0.00056096 | 0.00014059 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_944-4_0_2_load_227 | 69 | 0.0018866 | 0.00047284 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_944-4_0_2_load_226 | 70 | 0.00083614 | 0.00020956 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_944-4_0_2_load_75 | 71 | 0.0022348 | 0.00056011 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_944-4_0_2_load_245 | 73 | 0.0013048 | 0.00032701 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_944-4_0_2_load_246 | 74 | 0.00027473 | 6.8853e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_944-4_0_2_load_247 | 75 | 0.0004115 | 0.00010313 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_944-4_0_2_load_252 | 78 | 0.0005359 | 0.00013431 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_944-4_0_2_line_0 |  | 0 | 1 | 0.054252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_944-4_0_2_line_1 |  | 1 | 2 | 0.0082522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_944-4_0_2_line_2 |  | 2 | 3 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_944-4_0_2_line_3 |  | 3 | 4 | 0.0019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_944-4_0_2_line_4 |  | 4 | 5 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_944-4_0_2_line_5 |  | 5 | 6 | 0.0093317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_944-4_0_2_line_6 |  | 6 | 7 | 0.0079898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_944-4_0_2_line_7 |  | 7 | 8 | 0.026105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_944-4_0_2_line_8 |  | 8 | 9 | 0.1317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_944-4_0_2_line_9 |  | 9 | 10 | 0.016876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_944-4_0_2_line_10 |  | 10 | 11 | 0.07751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_944-4_0_2_line_11 |  | 11 | 12 | 0.020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_944-4_0_2_line_12 |  | 12 | 56 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_944-4_0_2_line_13 |  | 13 | 14 | 0.03628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_944-4_0_2_line_14 |  | 13 | 15 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_944-4_0_2_line_15 |  | 14 | 16 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_944-4_0_2_line_16 |  | 15 | 17 | 0.022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_944-4_0_2_line_17 |  | 16 | 18 | 0.029904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_944-4_0_2_line_18 |  | 17 | 21 | 0.02005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_944-4_0_2_line_19 |  | 17 | 19 | 0.014133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_944-4_0_2_line_20 |  | 18 | 22 | 0.052064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_944-4_0_2_line_21 |  | 19 | 20 | 0.0062537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_944-4_0_2_line_22 |  | 20 | 52 | 0.016726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_944-4_0_2_line_23 |  | 22 | 23 | 0.037213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_944-4_0_2_line_24 |  | 23 | 24 | 0.025208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_944-4_0_2_line_25 |  | 24 | 47 | 0.05984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_944-4_0_2_line_26 |  | 25 | 26 | 0.025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_944-4_0_2_line_27 |  | 26 | 27 | 0.035968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_944-4_0_2_line_28 |  | 27 | 28 | 0.056878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_944-4_0_2_line_29 |  | 28 | 33 | 0.034799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_944-4_0_2_line_30 |  | 29 | 30 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_944-4_0_2_line_31 |  | 30 | 31 | 0.03025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_944-4_0_2_line_32 |  | 31 | 32 | 0.0064049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_944-4_0_2_line_33 |  | 31 | 33 | 0.073447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_944-4_0_2_line_34 |  | 33 | 78 | 0.01296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_944-4_0_2_line_35 |  | 34 | 35 | 0.26396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_944-4_0_2_line_36 |  | 35 | 65 | 0.033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_944-4_0_2_line_37 |  | 35 | 64 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_944-4_0_2_line_38 |  | 36 | 37 | 0.0034595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_944-4_0_2_line_39 |  | 36 | 38 | 0.017828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_944-4_0_2_line_40 |  | 37 | 39 | 0.023718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_944-4_0_2_line_41 |  | 38 | 40 | 0.115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_944-4_0_2_line_42 |  | 39 | 44 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_944-4_0_2_line_43 |  | 39 | 41 | 0.0089983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_944-4_0_2_line_44 |  | 40 | 63 | 0.19488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_944-4_0_2_line_45 |  | 40 | 61 | 0.065509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_944-4_0_2_line_46 |  | 41 | 42 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_944-4_0_2_line_47 |  | 42 | 43 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_944-4_0_2_line_48 |  | 43 | 45 | 0.030637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_944-4_0_2_line_49 |  | 44 | 46 | 0.0036923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_944-4_0_2_line_50 |  | 45 | 64 | 0.00079047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_944-4_0_2_line_51 |  | 46 | 62 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_944-4_0_2_line_52 |  | 47 | 48 | 0.025948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_944-4_0_2_line_53 |  | 48 | 49 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_944-4_0_2_line_54 |  | 49 | 50 | 0.020444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_944-4_0_2_line_55 |  | 50 | 53 | 0.042081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_944-4_0_2_line_56 |  | 51 | 52 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_944-4_0_2_line_57 |  | 53 | 54 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_944-4_0_2_line_58 |  | 54 | 55 | 0.035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_944-4_0_2_line_59 |  | 55 | 56 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_944-4_0_2_line_60 |  | 56 | 57 | 0.0062436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_944-4_0_2_line_61 |  | 57 | 58 | 0.010848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_944-4_0_2_line_62 |  | 58 | 59 | 0.059965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_944-4_0_2_line_63 |  | 59 | 60 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_944-4_0_2_line_64 |  | 60 | 61 | 0.035117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_944-4_0_2_line_65 |  | 63 | 71 | 0.0355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_944-4_0_2_line_66 |  | 65 | 66 | 0.00036486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_944-4_0_2_line_67 |  | 66 | 67 | 0.088045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_944-4_0_2_line_68 |  | 67 | 68 | 0.088687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_944-4_0_2_line_69 |  | 68 | 69 | 0.039485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_944-4_0_2_line_70 |  | 68 | 70 | 0.058235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_944-4_0_2_line_71 |  | 69 | 72 | 0.053668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_944-4_0_2_line_72 |  | 72 | 77 | 0.22764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_944-4_0_2_line_73 |  | 72 | 76 | 0.047369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_944-4_0_2_line_74 |  | 73 | 74 | 0.010755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_944-4_0_2_line_75 |  | 73 | 75 | 0.022077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_944-4_0_2_line_76 |  | 74 | 76 | 0.01866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_944-4_0_2_line_77 |  | 77 | 79 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_944-4_0_2_line_78 |  | 78 | 79 | 0.02811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_944-4_0_2_trafo_37 | 0.63 MVA 20/0.4 kV | 80 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2609227.2626 | 1179168.0032 | 2609174.1104 | 1179178.8735
1 | 2609174.1104 | 1179178.8735 | 2609166.0256 | 1179180.527
2 | 2609151.8532 | 1179183.4254 | 2609166.0256 | 1179180.527
3 | 2609149.9648 | 1179183.8116 | 2609151.8532 | 1179183.4254
4 | 2609149.9648 | 1179183.8116 | 2609139.5559 | 1179185.9404
5 | 2609139.5559 | 1179185.9404 | 2609130.4135 | 1179187.8101
6 | 2609122.7968 | 1179190.1228 | 2609126.7944 | 1179188.5503 | 2609130.4135 | 1179187.8101
7 | 2609122.7968 | 1179190.1228 | 2609123.1878 | 1179216.2248
8 | 2609141.1359 | 1179346.6995 | 2609123.1878 | 1179216.2248
9 | 2609140.6787 | 1179363.5692 | 2609141.1359 | 1179346.6995
10 | 2609140.6787 | 1179363.5692 | 2609138.5788 | 1179441.0509
11 | 2609138.021 | 1179461.6308 | 2609138.5788 | 1179441.0509
12 | 2609137.4164 | 1179483.9393 | 2609138.021 | 1179461.6308
13 | 2608819.5925 | 1179306.9046 | 2608805.0836 | 1179290.0579 | 2608793.0898 | 1179282.7454
14 | 2608780.7749 | 1179275.2372 | 2608793.0898 | 1179282.7454
15 | 2608829.6625 | 1179318.5972 | 2608819.5925 | 1179306.9046
16 | 2608761.1189 | 1179265.2035 | 2608780.7749 | 1179275.2372
17 | 2608829.6625 | 1179318.5972 | 2608837.0991 | 1179326.4121 | 2608847.3251 | 1179342.5635
18 | 2608761.1189 | 1179265.2035 | 2608748.4119 | 1179249.6942
19 | 2608761.1189 | 1179265.2035 | 2608758.0891 | 1179279.0062
20 | 2608847.3251 | 1179342.5635 | 2608855.0778 | 1179354.8084 | 2608864.0847 | 1179375.221 | 2608873.2557 | 1179387.417
21 | 2608758.0891 | 1179279.0062 | 2608752.5617 | 1179281.9313
22 | 2608752.5617 | 1179281.9313 | 2608748.4106 | 1179284.1281 | 2608738.61 | 1179291.1028
23 | 2608902.5549 | 1179408.5563 | 2608882.0774 | 1179399.1485 | 2608873.2557 | 1179387.417
24 | 2608902.5549 | 1179408.5563 | 2608925.4611 | 1179419.0798
25 | 2608982.0769 | 1179438.2388 | 2608935.0705 | 1179423.4946 | 2608925.4611 | 1179419.0798
26 | 2608746.0949 | 1180492.5198 | 2608755.743 | 1180485.9638 | 2608769.4839 | 1180484.1923
27 | 2608734.2232 | 1180462.9319 | 2608737.7509 | 1180489.962 | 2608746.0949 | 1180492.5198
28 | 2608734.2232 | 1180462.9319 | 2608737.0142 | 1180460.657 | 2608740.4411 | 1180446.5103 | 2608745.6062 | 1180439.7365 | 2608758.3945 | 1180437.654 | 2608775.3545 | 1180434.5215
29 | 2608780.8816 | 1180400.2202 | 2608780.9925 | 1180401.9463 | 2608778.9941 | 1180415.8839 | 2608775.3545 | 1180434.5215 | 2608775.3545 | 1180434.5215
30 | 2608853.6885 | 1180435.9766 | 2608853.8089 | 1180425.3827
31 | 2608853.8089 | 1180425.3827 | 2608854.1525 | 1180395.1352
32 | 2608854.2253 | 1180388.7307 | 2608854.1525 | 1180395.1352
33 | 2608780.8816 | 1180400.2202 | 2608854.1525 | 1180395.1352
34 | 2608780.8816 | 1180400.2202 | 2608780.4921 | 1180394.1638 | 2608779.5735 | 1180387.3347
35 | 2608994.4524 | 1179888.2542 | 2608801.5284 | 1179708.1013
36 | 2608970.5048 | 1179911.873 | 2608994.4524 | 1179888.2542
37 | 2609004.9053 | 1179877.9448 | 2608994.4524 | 1179888.2542
38 | 2609064.6943 | 1179784.7277 | 2609063.7607 | 1179788.0589
39 | 2609064.6943 | 1179784.7277 | 2609072.9263 | 1179768.9146
40 | 2609057.3603 | 1179810.8968 | 2609063.7607 | 1179788.0589
41 | 2609123.1222 | 1179665.453 | 2609072.9263 | 1179768.9146
42 | 2609057.3603 | 1179810.8968 | 2609070.3235 | 1179818.1623
43 | 2609057.3603 | 1179810.8968 | 2609052.5704 | 1179818.5143
44 | 2609123.1222 | 1179665.453 | 2609312.3855 | 1179711.889
45 | 2609133.0241 | 1179601.019 | 2609130.6844 | 1179616.7414 | 2609127.4281 | 1179653.6108 | 2609123.1222 | 1179665.453
46 | 2609052.5704 | 1179818.5143 | 2609041.4264 | 1179836.2368
47 | 2609027.2806 | 1179855.8766 | 2609032.0094 | 1179851.2127 | 2609041.4264 | 1179836.2368
48 | 2609005.4681 | 1179877.3897 | 2609027.2806 | 1179855.8766
49 | 2609073.5826 | 1179819.8898 | 2609072.8531 | 1179819.58 | 2609070.3235 | 1179818.1623
50 | 2609004.9053 | 1179877.9448 | 2609005.4681 | 1179877.3897
51 | 2609073.5826 | 1179819.8898 | 2609093.561 | 1179828.3731
52 | 2608982.0769 | 1179438.2388 | 2608986.5629 | 1179439.6459 | 2609006.3288 | 1179447.4384
53 | 2609006.3288 | 1179447.4384 | 2609021.1009 | 1179453.2621
54 | 2609040.4196 | 1179459.8913 | 2609030.323 | 1179456.8978 | 2609021.1009 | 1179453.2621
55 | 2609081.0688 | 1179470.739 | 2609075.1219 | 1179468.8821 | 2609044.9448 | 1179461.233 | 2609040.4196 | 1179459.8913
56 | 2608722.905 | 1179302.2792 | 2608738.61 | 1179291.1028
57 | 2609081.0688 | 1179470.739 | 2609092.7592 | 1179474.3892 | 2609094.4271 | 1179475.239
58 | 2609126.1761 | 1179491.415 | 2609094.4271 | 1179475.239
59 | 2609137.4164 | 1179483.9393 | 2609131.7644 | 1179488.5553 | 2609126.1761 | 1179491.415
60 | 2609137.4164 | 1179483.9393 | 2609137.2479 | 1179490.1806
61 | 2609136.9552 | 1179501.0251 | 2609137.2479 | 1179490.1806
62 | 2609136.9552 | 1179501.0251 | 2609139.1608 | 1179522.4727 | 2609140.3306 | 1179531.9015 | 2609158.9508 | 1179554.0077
63 | 2609138.1779 | 1179566.2825 | 2609145.1257 | 1179558.4001 | 2609158.9508 | 1179554.0077
64 | 2609138.1779 | 1179566.2825 | 2609133.8716 | 1179595.3241 | 2609133.0241 | 1179601.019
65 | 2609312.3855 | 1179711.889 | 2609319.8504 | 1179718.46 | 2609339.0622 | 1179735.3118
66 | 2608970.245 | 1179912.1292 | 2608970.5048 | 1179911.873
67 | 2608895.9344 | 1179956.4051 | 2608900.8263 | 1179951.4359 | 2608918.1603 | 1179944.3134 | 2608935.9043 | 1179938.8368 | 2608950.4752 | 1179930.3874 | 2608964.2347 | 1179918.057 | 2608970.245 | 1179912.1292
68 | 2608866.2803 | 1180038.8631 | 2608881.1004 | 1179990.6046 | 2608885.3304 | 1179970.9119 | 2608891.7998 | 1179960.605 | 2608895.9344 | 1179956.4051
69 | 2608866.2803 | 1180038.8631 | 2608853.2192 | 1180076.1249
70 | 2608866.2803 | 1180038.8631 | 2608892.6002 | 1180044.6492 | 2608921.582 | 1180056.4361
71 | 2608833.1183 | 1180125.8701 | 2608849.4903 | 1180086.7629 | 2608853.2192 | 1180076.1249
72 | 2608780.7511 | 1180347.407 | 2608833.1183 | 1180125.8701
73 | 2608833.1183 | 1180125.8701 | 2608829.8227 | 1180107.4558 | 2608828.1884 | 1180102.1396 | 2608825.9429 | 1180096.8225 | 2608824.5219 | 1180086.6152 | 2608822.5611 | 1180079.8756
74 | 2608827.8387 | 1180050.9373 | 2608825.9085 | 1180061.5181
75 | 2608831.8009 | 1180029.2188 | 2608827.8387 | 1180050.9373
76 | 2608822.5611 | 1180079.8756 | 2608824.5323 | 1180069.0618 | 2608825.9085 | 1180061.5181
77 | 2608780.7511 | 1180347.407 | 2608779.8708 | 1180359.2784
78 | 2608779.8708 | 1180359.2784 | 2608779.0017 | 1180373.8958 | 2608779.185 | 1180384.4459 | 2608779.5735 | 1180387.3347

## bus_geodata
| x | y | coords
0 | 2609227.2626 | 1179168.0032
1 | 2609174.1104 | 1179178.8735
2 | 2609166.0256 | 1179180.527
3 | 2609151.8532 | 1179183.4254
4 | 2609149.9648 | 1179183.8116
5 | 2609139.5559 | 1179185.9404
6 | 2609130.4135 | 1179187.8101
7 | 2609122.7967 | 1179190.1228
8 | 2609123.1878 | 1179216.2248
9 | 2609141.1359 | 1179346.6995
10 | 2609140.6787 | 1179363.5692
11 | 2609138.5788 | 1179441.0509
12 | 2609138.021 | 1179461.6308
13 | 2608793.0898 | 1179282.7454
14 | 2608819.5925 | 1179306.9046
15 | 2608780.7749 | 1179275.2372
16 | 2608829.6625 | 1179318.5972
17 | 2608761.1189 | 1179265.2035
18 | 2608847.3251 | 1179342.5635
19 | 2608758.0891 | 1179279.0062
20 | 2608752.5617 | 1179281.9313
21 | 2608748.4119 | 1179249.6942
22 | 2608873.2557 | 1179387.417
23 | 2608902.5549 | 1179408.5563
24 | 2608925.4611 | 1179419.0798
25 | 2608769.4839 | 1180484.1923
26 | 2608746.0949 | 1180492.5198
27 | 2608734.2232 | 1180462.9319
28 | 2608775.3545 | 1180434.5215
29 | 2608853.6885 | 1180435.9766
30 | 2608853.8089 | 1180425.3827
31 | 2608854.1525 | 1180395.1352
32 | 2608854.2253 | 1180388.7307
33 | 2608780.8816 | 1180400.2202
34 | 2608801.5284 | 1179708.1013
35 | 2608994.4524 | 1179888.2542
36 | 2609064.6942 | 1179784.7277
37 | 2609063.7607 | 1179788.0589
38 | 2609072.9263 | 1179768.9146
39 | 2609057.3603 | 1179810.8968
40 | 2609123.1222 | 1179665.453
41 | 2609052.5704 | 1179818.5143
42 | 2609041.4264 | 1179836.2368
43 | 2609027.2806 | 1179855.8766
44 | 2609070.3235 | 1179818.1623
45 | 2609005.4681 | 1179877.3897
46 | 2609073.5826 | 1179819.8898
47 | 2608982.0769 | 1179438.2388
48 | 2609006.3288 | 1179447.4384
49 | 2609021.1009 | 1179453.2621
50 | 2609040.4196 | 1179459.8913
51 | 2608722.905 | 1179302.2792
52 | 2608738.61 | 1179291.1028
53 | 2609081.0688 | 1179470.739
54 | 2609094.4271 | 1179475.239
55 | 2609126.1761 | 1179491.415
56 | 2609137.4164 | 1179483.9393
57 | 2609137.2479 | 1179490.1806
58 | 2609136.9552 | 1179501.0251
59 | 2609158.9508 | 1179554.0077
60 | 2609138.1779 | 1179566.2825
61 | 2609133.0241 | 1179601.019
62 | 2609093.561 | 1179828.3731
63 | 2609312.3855 | 1179711.889
64 | 2609004.9053 | 1179877.9448
65 | 2608970.5048 | 1179911.873
66 | 2608970.245 | 1179912.1292
67 | 2608895.9344 | 1179956.4051
68 | 2608866.2803 | 1180038.8631
69 | 2608853.2192 | 1180076.1249
70 | 2608921.582 | 1180056.4361
71 | 2609339.0622 | 1179735.3118
72 | 2608833.1183 | 1180125.8701
73 | 2608827.8387 | 1180050.9373
74 | 2608825.9085 | 1180061.5181
75 | 2608831.8009 | 1180029.2188
76 | 2608822.5611 | 1180079.8756
77 | 2608780.7511 | 1180347.407
78 | 2608779.5735 | 1180387.3347
79 | 2608779.8708 | 1180359.2784
80 | 2609064.6942 | 1179784.7277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1