## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_944-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_944-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_944-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_944-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_944-9_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_944-9_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_944-9_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_944-9_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_944-9_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_944-9_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_944-9_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_944-9_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_944-9_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_944-9_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_944-9_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_944-9_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_944-9_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_944-9_0_4_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_944-9_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_944-9_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_944-9_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_944-9_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_944-9_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_944-9_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_944-9_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_944-9_0_4_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_944-9_0_4_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_944-9_0_4_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_944-9_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_944-9_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_944-9_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_944-9_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_944-9_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_944-9_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_944-9_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_944-9_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_944-9_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_944-9_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_944-9_0_4_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_944-9_0_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_944-9_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_944-9_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_944-9_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_944-9_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_944-9_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_944-9_0_4_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_944-9_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_944-9_0_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_944-9_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_944-9_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_944-9_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_944-9_0_4_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_944-9_0_4_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_944-9_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_944-9_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_944-9_0_4_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_944-9_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_944-9_0_4_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_944-9_0_4_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_944-9_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_944-9_0_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_944-9_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_944-9_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_944-9_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_944-9_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_944-9_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_944-9_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_944-9_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_944-9_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_944-9_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_944-9_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_944-9_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_944-9_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_944-9_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_944-9_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_944-9_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_944-9_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_944-9_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_944-9_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_944-9_0_4_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_944-9_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_944-9_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_944-9_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_944-9_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_944-9_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_944-9_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_944-9_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_944-9_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_MV_122_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_944-9_0_4_load_0 | 0 | 0.0032696 | 0.00081945 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_944-9_0_4_load_1 | 1 | 0.0063034 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_944-9_0_4_load_2 | 2 | 0.0026284 | 0.00065874 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_944-9_0_4_load_6 | 4 | 0.0032074 | 0.00080385 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_944-9_0_4_load_4 | 5 | 0.0033942 | 0.00085067 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_944-9_0_4_load_23 | 6 | 0.0078671 | 0.0019717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_944-9_0_4_load_7 | 8 | 0.019877 | 0.0049817 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_944-9_0_4_load_8 | 9 | 0.0037044 | 0.00092842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_944-9_0_4_load_33 | 10 | 0.017518 | 0.0043903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_944-9_0_4_load_16 | 11 | 0.010628 | 0.0026636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_944-9_0_4_load_9 | 12 | 0.020541 | 0.005148 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_944-9_0_4_load_24 | 13 | 0.0034727 | 0.00087035 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_944-9_0_4_load_14 | 14 | 0.0050121 | 0.0012562 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_944-9_0_4_load_10 | 15 | 0.0013266 | 0.00033247 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_944-9_0_4_load_11 | 16 | 0.00021083 | 5.2838e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_944-9_0_4_load_38 | 18 | 0.0006068 | 0.00015208 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_944-9_0_4_load_12 | 19 | 0.011336 | 0.002841 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_944-9_0_4_load_13 | 20 | 0.0080424 | 0.0020156 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_944-9_0_4_load_15 | 21 | 0.015655 | 0.0039236 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_944-9_0_4_load_17 | 22 | 0.008779 | 0.0022002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_944-9_0_4_load_70 | 23 | 0.0043944 | 0.0011014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_944-9_0_4_load_71 | 24 | 0.0026232 | 0.00065744 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_944-9_0_4_load_84 | 25 | 0.0043469 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_944-9_0_4_load_69 | 26 | 0.0037276 | 0.00093422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_944-9_0_4_load_72 | 27 | 0.0085434 | 0.0021412 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_944-9_0_4_load_73 | 28 | 0.015106 | 0.003786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_944-9_0_4_load_18 | 29 | 0.0046118 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_944-9_0_4_load_19 | 30 | 0.0030618 | 0.00076737 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_944-9_0_4_load_20 | 31 | 0.006777 | 0.0016985 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_944-9_0_4_load_22 | 33 | 0.0020189 | 0.00050598 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_944-9_0_4_load_32 | 35 | 0.0015271 | 0.00038274 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_944-9_0_4_load_26 | 36 | 0.0028554 | 0.00071563 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_944-9_0_4_load_57 | 37 | 0.0013772 | 0.00034516 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_944-9_0_4_load_54 | 38 | 0.0077849 | 0.0019511 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_944-9_0_4_load_74 | 39 | 0.0014473 | 0.00036274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_944-9_0_4_load_25 | 41 | 0.0019121 | 0.00047922 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_944-9_0_4_load_29 | 42 | 0.0018918 | 0.00047413 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_944-9_0_4_load_28 | 43 | 0.0021136 | 0.00052973 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_944-9_0_4_load_65 | 45 | 0.0049026 | 0.0012287 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_944-9_0_4_load_64 | 46 | 0.006205 | 0.0015551 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_944-9_0_4_load_88 | 47 | 0.0075541 | 0.0018932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_944-9_0_4_load_53 | 48 | 0.02034 | 0.0050977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_944-9_0_4_load_66 | 49 | 0.0069853 | 0.0017507 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_944-9_0_4_load_55 | 50 | 0.0048021 | 0.0012035 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_944-9_0_4_load_75 | 51 | 0.001441 | 0.00036114 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_944-9_0_4_load_34 | 52 | 0.00025204 | 6.3167e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_944-9_0_4_load_35 | 53 | 0.004313 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_944-9_0_4_load_85 | 57 | 0.0026523 | 0.00066474 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_944-9_0_4_load_60 | 58 | 0.0026257 | 0.00065807 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_944-9_0_4_load_58 | 59 | 0.0019145 | 0.00047983 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_944-9_0_4_load_86 | 60 | 0.018595 | 0.0046604 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_944-9_0_4_load_39 | 61 | 0.0047184 | 0.0011825 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_944-9_0_4_load_40 | 62 | 0.0080211 | 0.0020103 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_944-9_0_4_load_42 | 64 | 0.040796 | 0.010225 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_944-9_0_4_load_43 | 65 | 0.0025415 | 0.00063696 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_944-9_0_4_load_44 | 66 | 0.0044531 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_944-9_0_4_load_45 | 67 | 0.0026703 | 0.00066925 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_944-9_0_4_load_56 | 68 | 0.0019649 | 0.00049246 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_944-9_0_4_load_46 | 69 | 0.00251 | 0.00062907 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_944-9_0_4_load_61 | 70 | 0.009192 | 0.0023037 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_944-9_0_4_load_62 | 71 | 0.0025608 | 0.00064181 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_944-9_0_4_load_47 | 72 | 0.0064688 | 0.0016212 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_944-9_0_4_load_48 | 73 | 0.011437 | 0.0028665 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_944-9_0_4_load_49 | 74 | 0.0096574 | 0.0024204 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_944-9_0_4_load_50 | 75 | 0.0067193 | 0.001684 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_944-9_0_4_load_52 | 77 | 0.019264 | 0.0048281 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_944-9_0_4_load_63 | 78 | 0.0025615 | 0.00064198 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_944-9_0_4_load_67 | 79 | 0.0032203 | 0.00080707 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_944-9_0_4_load_68 | 80 | 0.0025561 | 0.00064062 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_944-9_0_4_load_79 | 81 | 0.0026199 | 0.0006566 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_944-9_0_4_load_81 | 82 | 0.0047031 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_944-9_0_4_load_77 | 83 | 0.0031919 | 0.00079996 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_944-9_0_4_load_82 | 84 | 0.0014493 | 0.00036322 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_944-9_0_4_load_80 | 85 | 0.0035657 | 0.00089364 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_944-9_0_4_load_76 | 86 | 0.0097272 | 0.0024379 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_944-9_0_4_line_0 |  | 0 | 1 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_944-9_0_4_line_1 |  | 0 | 2 | 0.027646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_944-9_0_4_line_2 |  | 2 | 3 | 0.033503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_944-9_0_4_line_3 |  | 3 | 4 | 0.022741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_944-9_0_4_line_4 |  | 3 | 5 | 0.017554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_944-9_0_4_line_5 |  | 4 | 6 | 0.003766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_944-9_0_4_line_6 |  | 5 | 7 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_944-9_0_4_line_7 |  | 6 | 13 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_944-9_0_4_line_8 |  | 7 | 8 | 0.035214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_944-9_0_4_line_9 |  | 7 | 9 | 0.041246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_944-9_0_4_line_10 |  | 8 | 10 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_944-9_0_4_line_11 |  | 8 | 11 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_944-9_0_4_line_12 |  | 9 | 12 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_944-9_0_4_line_13 |  | 11 | 14 | 0.0054037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_944-9_0_4_line_14 |  | 13 | 41 | 0.027677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_944-9_0_4_line_15 |  | 14 | 19 | 0.027721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_944-9_0_4_line_16 |  | 15 | 16 | 0.028845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_944-9_0_4_line_17 |  | 15 | 17 | 0.13166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_944-9_0_4_line_18 |  | 17 | 18 | 0.028404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_944-9_0_4_line_19 |  | 18 | 54 | 0.052007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_944-9_0_4_line_20 |  | 19 | 20 | 0.0016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_944-9_0_4_line_21 |  | 20 | 21 | 0.02006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_944-9_0_4_line_22 |  | 21 | 22 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_944-9_0_4_line_23 |  | 23 | 24 | 0.026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_944-9_0_4_line_24 |  | 23 | 25 | 0.035424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_944-9_0_4_line_25 |  | 23 | 26 | 0.027438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_944-9_0_4_line_26 |  | 24 | 27 | 0.00016203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_944-9_0_4_line_27 |  | 25 | 85 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_944-9_0_4_line_28 |  | 27 | 28 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_944-9_0_4_line_29 |  | 29 | 30 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_944-9_0_4_line_30 |  | 29 | 31 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_944-9_0_4_line_31 |  | 30 | 32 | 0.020592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_944-9_0_4_line_32 |  | 31 | 33 | 0.00071829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_944-9_0_4_line_33 |  | 32 | 34 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_944-9_0_4_line_34 |  | 32 | 35 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_944-9_0_4_line_35 |  | 33 | 36 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_944-9_0_4_line_36 |  | 34 | 37 | 0.037419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_944-9_0_4_line_37 |  | 34 | 38 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_944-9_0_4_line_38 |  | 35 | 39 | 0.005626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_944-9_0_4_line_39 |  | 36 | 40 | 0.004318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_944-9_0_4_line_40 |  | 37 | 49 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_944-9_0_4_line_41 |  | 38 | 50 | 0.023981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_944-9_0_4_line_42 |  | 39 | 51 | 0.007335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_944-9_0_4_line_43 |  | 40 | 44 | 0.036464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_944-9_0_4_line_44 |  | 40 | 43 | 0.0045572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_944-9_0_4_line_45 |  | 41 | 42 | 0.0031197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_944-9_0_4_line_46 |  | 42 | 43 | 0.002545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_944-9_0_4_line_47 |  | 44 | 45 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_944-9_0_4_line_48 |  | 44 | 46 | 0.0046771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_944-9_0_4_line_49 |  | 45 | 47 | 0.004904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_944-9_0_4_line_50 |  | 46 | 48 | 0.029717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_944-9_0_4_line_51 |  | 48 | 76 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_944-9_0_4_line_52 |  | 50 | 68 | 0.00018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_944-9_0_4_line_53 |  | 51 | 84 | 0.0074005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_944-9_0_4_line_54 |  | 52 | 53 | 0.026194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_944-9_0_4_line_55 |  | 52 | 54 | 0.02172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_944-9_0_4_line_56 |  | 54 | 55 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_944-9_0_4_line_57 |  | 55 | 56 | 0.046485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_944-9_0_4_line_58 |  | 55 | 57 | 0.026016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_944-9_0_4_line_59 |  | 56 | 58 | 0.030525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_944-9_0_4_line_60 |  | 56 | 59 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_944-9_0_4_line_61 |  | 57 | 60 | 0.007637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_944-9_0_4_line_62 |  | 58 | 64 | 0.0058363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_944-9_0_4_line_63 |  | 61 | 62 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_944-9_0_4_line_64 |  | 61 | 63 | 0.012565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_944-9_0_4_line_65 |  | 62 | 64 | 0.016572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_944-9_0_4_line_66 |  | 63 | 65 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_944-9_0_4_line_67 |  | 63 | 66 | 0.046128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_944-9_0_4_line_68 |  | 65 | 67 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_944-9_0_4_line_69 |  | 66 | 68 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_944-9_0_4_line_70 |  | 67 | 69 | 0.0080834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_944-9_0_4_line_71 |  | 69 | 70 | 0.01279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_944-9_0_4_line_72 |  | 70 | 71 | 0.0087309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_944-9_0_4_line_73 |  | 71 | 78 | 0.015651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_944-9_0_4_line_74 |  | 72 | 73 | 0.0041871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_944-9_0_4_line_75 |  | 73 | 74 | 0.0099802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_944-9_0_4_line_76 |  | 74 | 75 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_944-9_0_4_line_77 |  | 75 | 76 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_944-9_0_4_line_78 |  | 76 | 77 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_944-9_0_4_line_79 |  | 79 | 80 | 0.0021897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_944-9_0_4_line_80 |  | 79 | 81 | 0.062909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_944-9_0_4_line_81 |  | 81 | 82 | 0.067933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_944-9_0_4_line_82 |  | 81 | 83 | 0.033109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_944-9_0_4_line_83 |  | 82 | 84 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_944-9_0_4_line_84 |  | 83 | 86 | 0.010763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_944-9_0_4_line_85 |  | 85 | 87 | 0.0033438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_944-9_0_4_line_86 |  | 86 | 87 | 0.015996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_944-9_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 88 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610872.8183 | 1179911.1125 | 2610873.2405 | 1179910.8461 | 2610881.7734 | 1179906.048 | 2610888.6063 | 1179902.3654
1 | 2610872.8183 | 1179911.1125 | 2610864.6835 | 1179916.2446 | 2610857.7982 | 1179922.302 | 2610852.6932 | 1179928.029 | 2610851.9434 | 1179928.9464
2 | 2610835.1712 | 1179957.7572 | 2610838.7065 | 1179949.904 | 2610842.6624 | 1179941.8069 | 2610847.8935 | 1179933.9012 | 2610851.9434 | 1179928.9464
3 | 2610835.1712 | 1179957.7572 | 2610832.5462 | 1179964.8005 | 2610830.3857 | 1179972.7118 | 2610828.8619 | 1179979.5682
4 | 2610835.1712 | 1179957.7572 | 2610824.6057 | 1179954.5366 | 2610818.3167 | 1179952.8599
5 | 2610828.0448 | 1179983.2445 | 2610828.8619 | 1179979.5682
6 | 2610792.1131 | 1179945.8739 | 2610818.3167 | 1179952.8599
7 | 2610828.0448 | 1179983.2445 | 2610825.7833 | 1179993.4201
8 | 2610792.1131 | 1179945.8739 | 2610757.7172 | 1179937.8862
9 | 2610792.1131 | 1179945.8739 | 2610801.3626 | 1179911.9398 | 2610803.0302 | 1179906.0994
10 | 2610757.7172 | 1179937.8862 | 2610765.9823 | 1179924.7609
11 | 2610757.7172 | 1179937.8862 | 2610750.259 | 1179935.4494 | 2610745.5883 | 1179933.2955 | 2610741.3924 | 1179930.431 | 2610739.4309 | 1179928.3081
12 | 2610803.0302 | 1179906.0994 | 2610806.8881 | 1179892.5876
13 | 2610739.4309 | 1179928.3081 | 2610736.9479 | 1179925.6207 | 2610735.9047 | 1179924.222
14 | 2610819.6267 | 1180020.4026 | 2610821.2454 | 1180013.8387 | 2610825.7833 | 1179993.4201
15 | 2610720.1757 | 1179901.4024 | 2610732.0329 | 1179919.0308 | 2610735.9047 | 1179924.222
16 | 2611241.7808 | 1180225.9148 | 2611213.0254 | 1180223.648
17 | 2611081.4822 | 1180218.1713 | 2611213.0254 | 1180223.648
18 | 2611081.4822 | 1180218.1713 | 2611053.1001 | 1180217.0662
19 | 2611001.1217 | 1180215.4116 | 2611021.5598 | 1180215.8381 | 2611053.1001 | 1180217.0662
20 | 2610720.1757 | 1179901.4024 | 2610719.256 | 1179900.0351
21 | 2610719.256 | 1179900.0351 | 2610710.3823 | 1179886.8425 | 2610708.5102 | 1179883.1271
22 | 2610703.3481 | 1179869.2655 | 2610703.3481 | 1179869.2655 | 2610705.8915 | 1179877.93 | 2610708.5102 | 1179883.1271
23 | 2610679.6031 | 1179980.5188 | 2610664.249 | 1180002.3309 | 2610664.249 | 1180002.3309
24 | 2610683.4291 | 1180032.1134 | 2610664.249 | 1180002.3309
25 | 2610643.0178 | 1180019.7047 | 2610655.1766 | 1180010.0522 | 2610664.249 | 1180002.3309
26 | 2610679.6963 | 1179980.3863 | 2610679.6031 | 1179980.5188
27 | 2610683.4291 | 1180032.1134 | 2610679.8423 | 1180042.5283
28 | 2610685.3846 | 1179971.6638 | 2610681.2714 | 1179978.1487 | 2610679.6963 | 1179980.3863
29 | 2610801.4382 | 1180061.5499 | 2610799.6463 | 1180064.1479 | 2610794.5628 | 1180070.7866 | 2610793.5736 | 1180071.8577
30 | 2610801.4382 | 1180061.5499 | 2610804.0879 | 1180057.7081 | 2610809.0149 | 1180048.9458 | 2610809.782 | 1180047.3168
31 | 2610778.8466 | 1180086.222 | 2610787.767 | 1180078.1449 | 2610793.5736 | 1180071.8577
32 | 2610809.782 | 1180047.3168 | 2610810.0881 | 1180046.667
33 | 2610778.8466 | 1180086.222 | 2610787.3138 | 1180096.6869 | 2610789.5622 | 1180099.3479
34 | 2610778.8466 | 1180086.222 | 2610770.5031 | 1180092.0545 | 2610768.8836 | 1180092.9701
35 | 2610810.0881 | 1180046.667 | 2610813.1629 | 1180040.1376 | 2610815.3178 | 1180034.2804
36 | 2610789.5622 | 1180099.3479 | 2610781.511 | 1180108.3158 | 2610779.4894 | 1180111.2248 | 2610777.7875 | 1180114.6902 | 2610772.1699 | 1180131.7533
37 | 2610789.5622 | 1180099.3479 | 2610799.5835 | 1180111.9945 | 2610801.9464 | 1180114.5434
38 | 2610768.8836 | 1180092.9701 | 2610763.986 | 1180095.7389
39 | 2610816.8088 | 1180030.228 | 2610815.3178 | 1180034.2804
40 | 2610766.9055 | 1180147.7432 | 2610772.1699 | 1180131.7533
41 | 2610801.9464 | 1180114.5434 | 2610803.723 | 1180116.4597 | 2610809.0535 | 1180121.1717 | 2610816.1321 | 1180126.3871 | 2610820.7151 | 1180129.3572
42 | 2610763.986 | 1180095.7389 | 2610761.7411 | 1180097.0081 | 2610757.4583 | 1180099.0765
43 | 2610816.8088 | 1180030.228 | 2610829.1027 | 1180032.1399 | 2610853.097 | 1180034.6732
44 | 2610816.8088 | 1180030.228 | 2610818.0754 | 1180025.8503
45 | 2610818.7827 | 1180023.4056 | 2610819.4834 | 1180020.9836 | 2610819.6267 | 1180020.4026
46 | 2610818.0754 | 1180025.8503 | 2610818.7827 | 1180023.4056
47 | 2610853.097 | 1180034.6732 | 2610854.4564 | 1180021.9438
48 | 2610853.097 | 1180034.6732 | 2610857.7246 | 1180035.352
49 | 2610854.9771 | 1180017.0676 | 2610854.4564 | 1180021.9438
50 | 2610857.7246 | 1180035.352 | 2610887.1271 | 1180039.6647
51 | 2610900.2879 | 1180041.5952 | 2610887.1271 | 1180039.6647
52 | 2610820.8681 | 1180129.4564 | 2610820.7151 | 1180129.3572
53 | 2610757.4583 | 1180099.0765 | 2610753.9895 | 1180100.7517 | 2610750.709 | 1180102.1045
54 | 2611009.7546 | 1180168.2811 | 2611005.0351 | 1180194.0466
55 | 2611001.1217 | 1180215.4116 | 2611005.0351 | 1180194.0466
56 | 2611001.1217 | 1180215.4116 | 2610986.7409 | 1180214.7184
57 | 2610942.0576 | 1180203.0979 | 2610949.6288 | 1180206.1799 | 2610956.872 | 1180208.9945 | 2610965.9255 | 1180211.7568 | 2610975.1178 | 1180213.7745 | 2610983.8617 | 1180214.5798 | 2610986.7409 | 1180214.7184
58 | 2610986.7409 | 1180214.7184 | 2610988.0527 | 1180207.3615 | 2610991.3157 | 1180189.1078
59 | 2610942.0576 | 1180203.0979 | 2610926.8655 | 1180194.8995 | 2610915.3957 | 1180188.2428
60 | 2610942.0576 | 1180203.0979 | 2610926.9377 | 1180223.2285
61 | 2610992.6595 | 1180181.59 | 2610991.3157 | 1180189.1078
62 | 2610910.3478 | 1180185.3132 | 2610915.3957 | 1180188.2428
63 | 2610883.8643 | 1180169.7142 | 2610896.0346 | 1180176.9602
64 | 2610873.0678 | 1180163.2861 | 2610883.8643 | 1180169.7142
65 | 2610896.0346 | 1180176.9602 | 2610899.1003 | 1180178.7854 | 2610910.3478 | 1180185.3132
66 | 2610873.0678 | 1180163.2861 | 2610876.802 | 1180145.2076
67 | 2610873.0678 | 1180163.2861 | 2610834.3582 | 1180138.1991
68 | 2610876.802 | 1180145.2076 | 2610879.9872 | 1180129.7872
69 | 2610834.3582 | 1180138.1991 | 2610820.8681 | 1180129.4564
70 | 2610879.9872 | 1180129.7872 | 2610881.6223 | 1180121.8709
71 | 2610881.6223 | 1180121.8709 | 2610884.2096 | 1180109.3452
72 | 2610875.8172 | 1180106.9376 | 2610884.2096 | 1180109.3452 | 2610884.2096 | 1180109.3452
73 | 2610860.7731 | 1180102.6218 | 2610875.8172 | 1180106.9376
74 | 2610948.3269 | 1180048.63 | 2610944.1839 | 1180048.0233
75 | 2610944.1839 | 1180048.0233 | 2610934.3091 | 1180046.5772
76 | 2610913.0309 | 1180043.4613 | 2610934.3091 | 1180046.5772
77 | 2610900.2879 | 1180041.5952 | 2610913.0309 | 1180043.4613
78 | 2610900.2879 | 1180041.5952 | 2610897.9484 | 1180055.4981
79 | 2610602.5364 | 1180075.1528 | 2610601.5154 | 1180077.0899
80 | 2610659.2847 | 1180102.3043 | 2610602.5364 | 1180075.1528
81 | 2610726.8545 | 1180109.3205 | 2610659.2847 | 1180102.3043
82 | 2610670.0516 | 1180070.9945 | 2610659.2847 | 1180102.3043
83 | 2610726.8545 | 1180109.3205 | 2610737.5337 | 1180107.059 | 2610745.9637 | 1180104.0613 | 2610750.709 | 1180102.1045
84 | 2610673.5515 | 1180060.8168 | 2610670.0516 | 1180070.9945
85 | 2610678.7534 | 1180045.6899 | 2610679.8423 | 1180042.5283
86 | 2610678.7534 | 1180045.6899 | 2610673.5515 | 1180060.8168

## bus_geodata
| x | y | coords
0 | 2610872.8183 | 1179911.1125
1 | 2610888.6063 | 1179902.3654
2 | 2610851.9434 | 1179928.9464
3 | 2610835.1712 | 1179957.7572
4 | 2610828.8619 | 1179979.5682
5 | 2610818.3167 | 1179952.8599
6 | 2610828.0448 | 1179983.2445
7 | 2610792.1131 | 1179945.8739
8 | 2610757.7172 | 1179937.8862
9 | 2610803.0302 | 1179906.0994
10 | 2610765.9823 | 1179924.7609
11 | 2610739.4309 | 1179928.3081
12 | 2610806.8881 | 1179892.5876
13 | 2610825.7833 | 1179993.4201
14 | 2610735.9047 | 1179924.222
15 | 2611213.0254 | 1180223.648
16 | 2611241.7808 | 1180225.9148
17 | 2611081.4822 | 1180218.1713
18 | 2611053.1001 | 1180217.0662
19 | 2610720.1756 | 1179901.4024
20 | 2610719.256 | 1179900.0351
21 | 2610708.5102 | 1179883.1271
22 | 2610703.3481 | 1179869.2655
23 | 2610664.249 | 1180002.3309
24 | 2610679.6031 | 1179980.5188
25 | 2610683.4291 | 1180032.1134
26 | 2610643.0178 | 1180019.7047
27 | 2610679.6963 | 1179980.3863
28 | 2610685.3846 | 1179971.6638
29 | 2610801.4382 | 1180061.5499
30 | 2610793.5736 | 1180071.8577
31 | 2610809.782 | 1180047.3168
32 | 2610778.8466 | 1180086.222
33 | 2610810.0881 | 1180046.667
34 | 2610789.5622 | 1180099.3479
35 | 2610768.8836 | 1180092.9701
36 | 2610815.3178 | 1180034.2804
37 | 2610772.1699 | 1180131.7533
38 | 2610801.9464 | 1180114.5434
39 | 2610763.986 | 1180095.7389
40 | 2610816.8088 | 1180030.228
41 | 2610819.6267 | 1180020.4026
42 | 2610818.7827 | 1180023.4056
43 | 2610818.0754 | 1180025.8503
44 | 2610853.097 | 1180034.6732
45 | 2610854.4564 | 1180021.9438
46 | 2610857.7246 | 1180035.352
47 | 2610854.9771 | 1180017.0676
48 | 2610887.1271 | 1180039.6647
49 | 2610766.9055 | 1180147.7432
50 | 2610820.7151 | 1180129.3572
51 | 2610757.4583 | 1180099.0765
52 | 2611005.0351 | 1180194.0466
53 | 2611009.7546 | 1180168.2811
54 | 2611001.1217 | 1180215.4116
55 | 2610986.7409 | 1180214.7184
56 | 2610942.0576 | 1180203.0979
57 | 2610991.3157 | 1180189.1078
58 | 2610915.3957 | 1180188.2428
59 | 2610926.9377 | 1180223.2285
60 | 2610992.6595 | 1180181.59
61 | 2610883.8643 | 1180169.7142
62 | 2610896.0346 | 1180176.9602
63 | 2610873.0678 | 1180163.2861
64 | 2610910.3478 | 1180185.3132
65 | 2610876.802 | 1180145.2076
66 | 2610834.3582 | 1180138.1991
67 | 2610879.9872 | 1180129.7872
68 | 2610820.8681 | 1180129.4564
69 | 2610881.6223 | 1180121.8709
70 | 2610884.2096 | 1180109.3452
71 | 2610875.8172 | 1180106.9376
72 | 2610948.3269 | 1180048.63
73 | 2610944.1839 | 1180048.0233
74 | 2610934.3091 | 1180046.5772
75 | 2610913.0309 | 1180043.4613
76 | 2610900.2879 | 1180041.5952
77 | 2610897.9484 | 1180055.4981
78 | 2610860.7731 | 1180102.6218
79 | 2610602.5364 | 1180075.1528
80 | 2610601.5154 | 1180077.0899
81 | 2610659.2847 | 1180102.3043
82 | 2610726.8545 | 1180109.3205
83 | 2610670.0516 | 1180070.9945
84 | 2610750.709 | 1180102.1045
85 | 2610679.8423 | 1180042.5283
86 | 2610673.5515 | 1180060.8168
87 | 2610678.7534 | 1180045.6899
88 | 2610816.8088 | 1180030.228

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1