## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1001-1_1_3_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_1001-1_1_3_node_22 | 0.4 | n |  | TRUE
2 | bus_LV_1001-1_1_3_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_1001-1_1_3_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_1001-1_1_3_node_142 | 0.4 | n |  | TRUE
5 | bus_LV_1001-1_1_3_node_104 | 0.4 | n |  | TRUE
6 | bus_LV_1001-1_1_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1001-1_1_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1001-1_1_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1001-1_1_3_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_1001-1_1_3_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_1001-1_1_3_node_144 | 0.4 | n |  | TRUE
12 | bus_LV_1001-1_1_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1001-1_1_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1001-1_1_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1001-1_1_3_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_1001-1_1_3_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_1001-1_1_3_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_1001-1_1_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_1001-1_1_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_1001-1_1_3_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_1001-1_1_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_1001-1_1_3_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_1001-1_1_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_1001-1_1_3_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_1001-1_1_3_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_1001-1_1_3_node_99 | 0.4 | n |  | TRUE
27 | bus_MV_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1001-1_1_3_load_130 | 0 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1001-1_1_3_load_131 | 2 | 0.00051178 | 0.00012826 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1001-1_1_3_load_142 | 4 | 0.00032886 | 8.2421e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1001-1_1_3_load_104 | 5 | 0.0012398 | 0.00031073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1001-1_1_3_load_15 | 6 | 0.0019579 | 0.00049069 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1001-1_1_3_load_17 | 8 | 0.00059958 | 0.00015027 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1001-1_1_3_load_84 | 9 | 0.00037582 | 9.4191e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1001-1_1_3_load_144 | 11 | 0.00065055 | 0.00016304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1001-1_1_3_load_20 | 12 | 0.0014367 | 0.00036007 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1001-1_1_3_load_21 | 13 | 0.00074171 | 0.00018589 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1001-1_1_3_load_23 | 14 | 0.00066743 | 0.00016727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1001-1_1_3_load_98 | 15 | 0.00054689 | 0.00013706 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1001-1_1_3_load_55 | 16 | 0.0004814 | 0.00012065 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1001-1_1_3_load_57 | 18 | 0.00071036 | 0.00017803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1001-1_1_3_load_58 | 19 | 0.00019175 | 4.8058e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1001-1_1_3_load_90 | 20 | 0.00029485 | 7.3895e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1001-1_1_3_load_91 | 22 | 0.00066368 | 0.00016633 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1001-1_1_3_load_92 | 23 | 0.00030724 | 7.7002e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1001-1_1_3_load_93 | 24 | 0.0011458 | 0.00028717 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1001-1_1_3_load_99 | 26 | 0.0020115 | 0.00050413 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1001-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.098739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1001-1_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1001-1_1_3_line_2 | NAYY 4x150 SE | 1 | 14 | 0.041854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1001-1_1_3_line_3 | NAYY 4x150 SE | 1 | 12 | 0.057588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1001-1_1_3_line_4 | NAYY 4x150 SE | 2 | 3 | 0.22689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1001-1_1_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.19215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1001-1_1_3_line_6 | NAYY 4x150 SE | 3 | 16 | 0.36948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1001-1_1_3_line_7 | NAYY 4x150 SE | 4 | 5 | 0.038773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1001-1_1_3_line_8 | NAYY 4x150 SE | 5 | 25 | 0.022866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1001-1_1_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.17289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1001-1_1_3_line_10 | NAYY 4x150 SE | 6 | 8 | 0.015328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1001-1_1_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.14097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1001-1_1_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.083509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1001-1_1_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.016822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1001-1_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.008796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1001-1_1_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.032994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1001-1_1_3_line_16 | NAYY 4x150 SE | 15 | 26 | 0.012981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1001-1_1_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.015767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1001-1_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.023064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1001-1_1_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.045909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1001-1_1_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0035305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1001-1_1_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.062017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1001-1_1_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.01987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1001-1_1_3_line_23 | NAYY 4x150 SE | 21 | 25 | 0.027608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1001-1_1_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0053102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1001-1_1_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.030008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1001-1_1_3_trafo_59 | 0.25 MVA 20/0.4 kV | 27 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2645642.4034 | 1207494.8001 | 2645612.92 | 1207400.5657
1 | 2645612.92 | 1207400.5657 | 2645618.5756 | 1207397.0728 | 2645620.0984 | 1207395.8059 | 2645623.0808 | 1207392.5824 | 2645624.6698 | 1207391.605 | 2645630.4791 | 1207389.5567
2 | 2645642.4034 | 1207494.8001 | 2645643.1777 | 1207502.9218 | 2645655.1337 | 1207532.308 | 2645656.0339 | 1207534.0604
3 | 2645642.4034 | 1207494.8001 | 2645632.1001 | 1207494.8659 | 2645624.5931 | 1207496.176 | 2645603.4192 | 1207500.9171 | 2645593.0336 | 1207501.8161 | 2645585.4966 | 1207501.5645
4 | 2645630.4791 | 1207389.5567 | 2645856.2314 | 1207412.2566
5 | 2645856.2314 | 1207412.2566 | 2645860.0113 | 1207418.0779 | 2645878.4179 | 1207448.9704 | 2645882.3059 | 1207453.5807 | 2645885.1721 | 1207455.6039 | 2645889.1695 | 1207457.8581 | 2645893.2812 | 1207459.0793 | 2645897.4507 | 1207459.7117 | 2645902.6544 | 1207459.3292 | 2645918.8606 | 1207456.9524 | 2645926.1478 | 1207456.5637 | 2645932.5822 | 1207457.3136 | 2645938.2896 | 1207458.6805 | 2645941.7808 | 1207460.4973 | 2645945.5889 | 1207463.6284 | 2645949.3411 | 1207468.0932 | 2645952.2703 | 1207472.7962 | 2645954.171 | 1207476.7687 | 2645955.0959 | 1207481.0672 | 2645959.0185 | 1207537.4744
6 | 2645856.2314 | 1207412.2566 | 2645903.5335 | 1207045.8207
7 | 2645971.4511 | 1206874.6872 | 2645967.3532 | 1206876.5567 | 2645964.5109 | 1206878.3137 | 2645954.1137 | 1206886.494 | 2645944.7704 | 1206895.0826 | 2645940.9478 | 1206898.316
8 | 2645921.7023 | 1206910.4919 | 2645928.4881 | 1206907.1533 | 2645937.0857 | 1206901.5828 | 2645940.9478 | 1206898.316
9 | 2646061.1119 | 1207708.6931 | 2646060.1141 | 1207704.9833 | 2646058.7273 | 1207703.3939 | 2646056.4472 | 1207702.2979 | 2646051.8566 | 1207701.084 | 2646046.0919 | 1207700.2947 | 2646038.7084 | 1207699.404 | 2646034.0555 | 1207698.3897 | 2646028.5949 | 1207696.6022 | 2646023.444 | 1207694.1055 | 2646005.9318 | 1207684.4873 | 2645930.6971 | 1207631.1886 | 2645920.0972 | 1207621.4237 | 2645918.2335 | 1207618.3633
10 | 2645910.261 | 1207605.2721 | 2645918.2335 | 1207618.3633
11 | 2646061.1119 | 1207708.6931 | 2646195.9313 | 1207667.5038
12 | 2645910.261 | 1207605.2721 | 2645959.0185 | 1207537.4744
13 | 2645959.0185 | 1207537.4744 | 2645961.86 | 1207541.7099 | 2645964.2015 | 1207543.7402 | 2645966.4375 | 1207544.6468 | 2645969.2319 | 1207545.1241 | 2645972.5968 | 1207544.583
14 | 2645585.4966 | 1207501.5645 | 2645584.3983 | 1207501.5278 | 2645576.9183 | 1207499.7128
15 | 2645656.0339 | 1207534.0604 | 2645671.1087 | 1207563.4087
16 | 2645677.0399 | 1207574.9556 | 2645671.1087 | 1207563.4087
17 | 2645903.0348 | 1207030.0619 | 2645903.5335 | 1207045.8207
18 | 2645903.0348 | 1207030.0619 | 2645889.4269 | 1207028.6232 | 2645885.7219 | 1207027.8721 | 2645883.6979 | 1207026.0666 | 2645882.5042 | 1207023.4376
19 | 2645903.0348 | 1207030.0619 | 2645901.693 | 1206984.1725
20 | 2645882.5042 | 1207023.4376 | 2645882.2846 | 1207022.954 | 2645881.6329 | 1207020.0262
21 | 2645896.8568 | 1206922.6747 | 2645898.8036 | 1206927.6147 | 2645899.7658 | 1206932.0247 | 2645900.1471 | 1206935.8409 | 2645900.4096 | 1206940.2788 | 2645901.693 | 1206984.1725
22 | 2645879.2265 | 1207000.3619 | 2645879.9693 | 1207012.5524 | 2645881.6329 | 1207020.0262
23 | 2645896.8568 | 1206922.6747 | 2645921.7023 | 1206910.4919
24 | 2645915.4642 | 1206876.9992 | 2645917.3211 | 1206878.9956 | 2645918.6417 | 1206881.2162
25 | 2645921.7023 | 1206910.4919 | 2645922.5462 | 1206901.6044 | 2645922.5207 | 1206896.0232 | 2645921.7196 | 1206889.4577 | 2645920.3765 | 1206884.1332 | 2645918.6417 | 1206881.2162

## bus_geodata
| x | y | coords
0 | 2645612.92 | 1207400.5657
1 | 2645642.4034 | 1207494.8001
2 | 2645630.4791 | 1207389.5567
3 | 2645856.2314 | 1207412.2566
4 | 2645971.4511 | 1206874.6872
5 | 2645940.9478 | 1206898.316
6 | 2645918.2335 | 1207618.3633
7 | 2646061.1119 | 1207708.6931
8 | 2645910.261 | 1207605.2721
9 | 2646195.9313 | 1207667.5038
10 | 2645959.0185 | 1207537.4744
11 | 2645972.5968 | 1207544.583
12 | 2645585.4966 | 1207501.5645
13 | 2645576.9183 | 1207499.7128
14 | 2645656.0339 | 1207534.0604
15 | 2645671.1087 | 1207563.4087
16 | 2645903.5335 | 1207045.8207
17 | 2645903.0348 | 1207030.0619
18 | 2645882.5042 | 1207023.4376
19 | 2645901.693 | 1206984.1725
20 | 2645881.6329 | 1207020.0262
21 | 2645896.8568 | 1206922.6747
22 | 2645879.2265 | 1207000.3619
23 | 2645915.4642 | 1206876.9992
24 | 2645918.6417 | 1206881.2162
25 | 2645921.7023 | 1206910.4919
26 | 2645677.0399 | 1207574.9556
27 | 2645856.2314 | 1207412.2566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99729 | -0.019081 | 0.0017809 | 0.00044633
1 | 0.99652 | -0.024459 | 0 | 0
2 | 0.9975 | -0.017558 | 0.00051178 | 0.00012826
3 | 1 | 0 | -0.017492 | -0.0041665
4 | 0.99639 | -0.0255 | 0.00032886 | 8.2421e-05
5 | 0.99641 | -0.025371 | 0.0012398 | 0.00031073
6 | 0.99862 | -0.0098215 | 0.0019579 | 0.00049069
7 | 0.99852 | -0.01051 | 0 | 0
8 | 0.99867 | -0.0094588 | 0.00059958 | 0.00015027
9 | 0.99845 | -0.01105 | 0.00037582 | 9.4191e-05
10 | 0.99902 | -0.0069781 | 0 | 0
11 | 0.999 | -0.0070877 | 0.00065055 | 0.00016304
12 | 0.99634 | -0.025722 | 0.0014367 | 0.00036007
13 | 0.99633 | -0.025788 | 0.00074171 | 0.00018589
14 | 0.99633 | -0.025819 | 0.00066743 | 0.00016727
15 | 0.99621 | -0.026669 | 0.00054689 | 0.00013706
16 | 0.99717 | -0.020008 | 0.0004814 | 0.00012065
17 | 0.99706 | -0.020785 | 0 | 0
18 | 0.997 | -0.021172 | 0.00071036 | 0.00017803
19 | 0.99685 | -0.022276 | 0.00019175 | 4.8058e-05
20 | 0.997 | -0.021206 | 0.00029485 | 7.3895e-05
21 | 0.99658 | -0.024168 | 0 | 0
22 | 0.99698 | -0.021339 | 0.00066368 | 0.00016633
23 | 0.99639 | -0.025464 | 0.00030724 | 7.7002e-05
24 | 0.9964 | -0.025448 | 0.0011458 | 0.00028717
25 | 0.99646 | -0.025009 | 0 | 0
26 | 0.99617 | -0.026931 | 0.0020115 | 0.00050413
27 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0054096 | 0.0013532 | -0.0054056 | -0.0013529 | 4.0134e-06 | 2.5622e-07 | 0.0080706 | 0.008071 | 0.008071 | 0.99729 | -0.019081 | 0.99652 | -0.024459 | 2.9893
1 | -0.0071905 | -0.0017995 | 0.007192 | 0.0017998 | 1.5113e-06 | 3.0661e-07 | 0.010728 | 0.010728 | 0.010728 | 0.99729 | -0.019081 | 0.9975 | -0.017558 | 3.9733
2 | 0.0032268 | 0.00080771 | -0.0032262 | -0.00080802 | 6.0627e-07 | -3.12e-07 | 0.004818 | 0.0048182 | 0.0048182 | 0.99652 | -0.024459 | 0.99633 | -0.025819 | 1.7845
3 | 0.0021788 | 0.00054524 | -0.0021784 | -0.00054585 | 3.8031e-07 | -6.0386e-07 | 0.0032531 | 0.0032534 | 0.0032534 | 0.99652 | -0.024459 | 0.99634 | -0.025722 | 1.2049
4 | -0.0077038 | -0.0019281 | 0.0077225 | 0.0019323 | 1.8693e-05 | 4.2205e-06 | 0.011491 | 0.01149 | 0.011491 | 0.9975 | -0.017558 | 1 | 0 | 4.256
5 | 0.0035884 | 0.00089182 | -0.003585 | -0.00089303 | 3.4158e-06 | -1.2046e-06 | 0.005337 | 0.0053379 | 0.0053379 | 1 | 0 | 0.99902 | -0.0069781 | 1.977
6 | 0.0053812 | 0.0013423 | -0.0053664 | -0.0013414 | 1.4777e-05 | 8.4994e-07 | 0.008005 | 0.0080067 | 0.0080067 | 1 | 0 | 0.99717 | -0.020008 | 2.9655
7 | -0.00032886 | -8.2421e-05 | 0.00032887 | 8.1918e-05 | 5.8337e-09 | -5.0277e-07 | 0.00049113 | 0.00049095 | 0.00049113 | 0.99639 | -0.0255 | 0.99641 | -0.025371 | 0.1819
8 | -0.0015687 | -0.00039264 | 0.0015688 | 0.00039238 | 7.8287e-08 | -2.6773e-07 | 0.0023425 | 0.0023424 | 0.0023425 | 0.99641 | -0.025371 | 0.99646 | -0.025009 | 0.86758
9 | 0.00037589 | 9.0109e-05 | -0.00037585 | -9.2357e-05 | 3.3721e-08 | -2.2488e-06 | 0.00055869 | 0.00055946 | 0.00055946 | 0.99862 | -0.0098215 | 0.99852 | -0.01051 | 0.20721
10 | -0.0023338 | -0.0005808 | 0.0023339 | 0.00058064 | 1.1557e-07 | -1.561e-07 | 0.003476 | 0.003476 | 0.003476 | 0.99862 | -0.0098215 | 0.99867 | -0.0094588 | 1.2874
11 | 0.00037585 | 9.2357e-05 | -0.00037582 | -9.4191e-05 | 2.7564e-08 | -1.8332e-06 | 0.00055946 | 0.0005601 | 0.0005601 | 0.99852 | -0.01051 | 0.99845 | -0.01105 | 0.20745
12 | -0.0029335 | -0.00073091 | 0.0029345 | 0.0007302 | 9.9476e-07 | -7.1045e-07 | 0.0043694 | 0.004369 | 0.0043694 | 0.99867 | -0.0094588 | 0.99902 | -0.0069781 | 1.6183
13 | 0.00065056 | 0.00016283 | -0.00065055 | -0.00016304 | 9.8553e-09 | -2.1647e-07 | 0.00096892 | 0.00096899 | 0.00096899 | 0.99902 | -0.0069781 | 0.999 | -0.0070877 | 0.35889
14 | 0.00074172 | 0.00018578 | -0.00074171 | -0.00018589 | 6.7349e-09 | -1.1196e-07 | 0.0011077 | 0.0011077 | 0.0011077 | 0.99634 | -0.025722 | 0.99633 | -0.025788 | 0.41028
15 | 0.0025588 | 0.00064074 | -0.0025585 | -0.00064106 | 3.0065e-07 | -3.1399e-07 | 0.0038213 | 0.0038215 | 0.0038215 | 0.99633 | -0.025819 | 0.99621 | -0.026669 | 1.4154
16 | 0.0020116 | 0.00050399 | -0.0020115 | -0.00050413 | 7.3128e-08 | -1.4088e-07 | 0.0030046 | 0.0030047 | 0.0030047 | 0.99621 | -0.026669 | 0.99617 | -0.026931 | 1.1128
17 | 0.004885 | 0.0012208 | -0.0048845 | -0.0012208 | 5.2262e-07 | -4.6463e-09 | 0.0072883 | 0.0072884 | 0.0072884 | 0.99717 | -0.020008 | 0.99706 | -0.020785 | 2.6994
18 | 0.001669 | 0.0004177 | -0.0016689 | -0.00041796 | 8.9278e-08 | -2.6645e-07 | 0.0024906 | 0.0024907 | 0.0024907 | 0.99706 | -0.020785 | 0.997 | -0.021172 | 0.92249
19 | 0.0032155 | 0.00080311 | -0.0032148 | -0.00080345 | 6.5946e-07 | -3.4499e-07 | 0.0047978 | 0.004798 | 0.004798 | 0.99706 | -0.020785 | 0.99685 | -0.022276 | 1.777
20 | 0.00095854 | 0.00023993 | -0.00095854 | -0.00023998 | 4.5083e-09 | -4.4307e-08 | 0.0014305 | 0.0014305 | 0.0014305 | 0.997 | -0.021172 | 0.997 | -0.021206 | 0.52982
21 | 0.0030231 | 0.00075539 | -0.0030223 | -0.0007559 | 7.8781e-07 | -5.0527e-07 | 0.0045118 | 0.0045121 | 0.0045121 | 0.99685 | -0.022276 | 0.99658 | -0.024168 | 1.6711
22 | 0.00066369 | 0.00016608 | -0.00066368 | -0.00016633 | 1.2165e-08 | -2.5443e-07 | 0.00099047 | 0.00099056 | 0.00099056 | 0.997 | -0.021206 | 0.99698 | -0.021339 | 0.36688
23 | 0.0030223 | 0.0007559 | -0.0030219 | -0.00075612 | 3.5074e-07 | -2.2478e-07 | 0.0045121 | 0.0045122 | 0.0045122 | 0.99658 | -0.024168 | 0.99646 | -0.025009 | 1.6712
24 | -0.00030724 | -7.7002e-05 | 0.00030724 | 7.6933e-05 | 6.9755e-10 | -6.8896e-08 | 0.00045883 | 0.00045881 | 0.00045883 | 0.99639 | -0.025464 | 0.9964 | -0.025448 | 0.16994
25 | -0.0014531 | -0.0003641 | 0.0014532 | 0.00036375 | 8.8167e-08 | -3.5697e-07 | 0.00217 | 0.0021698 | 0.00217 | 0.9964 | -0.025448 | 0.99646 | -0.025009 | 0.8037

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.017492 | 0.0041665

## res_load
| p_mw | q_mvar
0 | 0.0017809 | 0.00044633
1 | 0.00051178 | 0.00012826
2 | 0.00032886 | 8.2421e-05
3 | 0.0012398 | 0.00031073
4 | 0.0019579 | 0.00049069
5 | 0.00059958 | 0.00015027
6 | 0.00037582 | 9.4191e-05
7 | 0.00065055 | 0.00016304
8 | 0.0014367 | 0.00036007
9 | 0.00074171 | 0.00018589
10 | 0.00066743 | 0.00016727
11 | 0.00054689 | 0.00013706
12 | 0.0004814 | 0.00012065
13 | 0.00071036 | 0.00017803
14 | 0.00019175 | 4.8058e-05
15 | 0.00029485 | 7.3895e-05
16 | 0.00066368 | 0.00016633
17 | 0.00030724 | 7.7002e-05
18 | 0.0011458 | 0.00028717
19 | 0.0020115 | 0.00050413

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1