## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1002-17_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1002-17_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1002-17_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1002-17_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1002-17_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1002-17_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1002-17_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1002-17_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1002-17_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1002-17_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1002-17_0_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1002-17_0_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1002-17_0_2_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_1002-17_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1002-17_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1002-17_0_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1002-17_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1002-17_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1002-17_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1002-17_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1002-17_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1002-17_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1002-17_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1002-17_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1002-17_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1002-17_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1002-17_0_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1002-17_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1002-17_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1002-17_0_2_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1002-17_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1002-17_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1002-17_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1002-17_0_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1002-17_0_2_node_37 | 0.4 | n |  | TRUE
35 | bus_MV_125_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1002-17_0_2_load_0 | 0 | 0.0014451 | 0.00036219 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1002-17_0_2_load_1 | 1 | 0.0011084 | 0.00027778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1002-17_0_2_load_3 | 3 | 0.0028828 | 0.0007225 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1002-17_0_2_load_4 | 4 | 0.00085897 | 0.00021528 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1002-17_0_2_load_6 | 5 | 0.0015211 | 0.00038123 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1002-17_0_2_load_10 | 6 | 0.0016872 | 0.00042284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1002-17_0_2_load_9 | 9 | 0.014557 | 0.0036483 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1002-17_0_2_load_30 | 10 | 0.0013144 | 0.00032942 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1002-17_0_2_load_27 | 11 | 0.068542 | 0.017178 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1002-17_0_2_load_12 | 13 | 0.0035787 | 0.0008969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1002-17_0_2_load_13 | 14 | 0.0022125 | 0.00055451 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1002-17_0_2_load_20 | 15 | 0.0010776 | 0.00027006 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1002-17_0_2_load_18 | 17 | 0.0029888 | 0.00074906 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1002-17_0_2_load_22 | 18 | 0.0035321 | 0.00088524 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1002-17_0_2_load_14 | 20 | 0.0034003 | 0.00085221 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1002-17_0_2_load_15 | 21 | 0.020576 | 0.0051568 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1002-17_0_2_load_17 | 23 | 0.020259 | 0.0050774 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1002-17_0_2_load_19 | 24 | 0.0012264 | 0.00030735 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1002-17_0_2_load_24 | 25 | 0.0011183 | 0.00028026 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1002-17_0_2_load_29 | 26 | 0.00044078 | 0.00011047 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1002-17_0_2_load_28 | 28 | 0.040801 | 0.010226 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1002-17_0_2_load_31 | 30 | 0.0061811 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1002-17_0_2_load_32 | 31 | 0.0010887 | 0.00027286 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1002-17_0_2_load_34 | 32 | 0.00068319 | 0.00017122 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1002-17_0_2_load_36 | 33 | 0.0010746 | 0.00026931 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1002-17_0_2_load_37 | 34 | 0.00030962 | 7.7598e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1002-17_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1002-17_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1002-17_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1002-17_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1002-17_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1002-17_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.00075324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1002-17_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.03257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1002-17_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0092882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1002-17_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0087058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1002-17_0_2_line_9 | NAYY 4x150 SE | 8 | 13 | 0.010675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1002-17_0_2_line_10 | NAYY 4x150 SE | 8 | 14 | 0.050637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1002-17_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.021113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1002-17_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.01955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1002-17_0_2_line_13 | NAYY 4x150 SE | 12 | 23 | 0.010145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1002-17_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0017911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1002-17_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.014041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1002-17_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.011323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1002-17_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.011511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1002-17_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.024129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1002-17_0_2_line_19 | NAYY 4x150 SE | 17 | 22 | 0.022062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1002-17_0_2_line_20 | NAYY 4x150 SE | 18 | 25 | 0.011009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1002-17_0_2_line_21 | NAYY 4x150 SE | 19 | 26 | 0.016643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1002-17_0_2_line_22 | NAYY 4x150 SE | 19 | 27 | 0.058708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1002-17_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.021887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1002-17_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1002-17_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.030353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1002-17_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0015793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1002-17_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.030202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1002-17_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.078076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1002-17_0_2_line_29 | NAYY 4x150 SE | 27 | 30 | 0.01837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1002-17_0_2_line_30 | NAYY 4x150 SE | 29 | 33 | 0.039173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1002-17_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.060645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1002-17_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.010541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1002-17_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.020521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1002-17_0_2_trafo_15 | 0.25 MVA 20/0.4 kV | 35 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2647457.0663 | 1204754.823 | 2647462.907 | 1204763.9473
1 | 2647447.1516 | 1204735.6788 | 2647449.5493 | 1204742.2016 | 2647455.7938 | 1204752.8351 | 2647457.0663 | 1204754.823
2 | 2647469.6776 | 1204774.1392 | 2647468.4545 | 1204772.6137 | 2647462.907 | 1204763.9473
3 | 2647447.1516 | 1204735.6788 | 2647438.2111 | 1204738.8319 | 2647432.2515 | 1204742.884
4 | 2647469.6776 | 1204774.1392 | 2647478.2239 | 1204784.7983 | 2647482.0852 | 1204790.4812
5 | 2647432.2515 | 1204742.884 | 2647431.6286 | 1204743.3076
6 | 2647495.3139 | 1204818.6425 | 2647496.2318 | 1204811.3011 | 2647482.0852 | 1204790.4812
7 | 2647424.4146 | 1204749.0394 | 2647425.9279 | 1204747.1837 | 2647431.6286 | 1204743.3076
8 | 2647495.3139 | 1204818.6425 | 2647492.537 | 1204815.8188 | 2647489.4662 | 1204812.2008
9 | 2647424.4146 | 1204749.0394 | 2647422.8168 | 1204753.8739 | 2647424.1444 | 1204759.2967
10 | 2647424.4146 | 1204749.0394 | 2647418.8641 | 1204749.6735 | 2647385.7971 | 1204752.4573 | 2647382.7944 | 1204754.1122 | 2647380.5717 | 1204762.2523
11 | 2647489.4662 | 1204812.2008 | 2647488.49 | 1204811.0505 | 2647484.5607 | 1204805.8274 | 2647477.6957 | 1204794.7082
12 | 2647451.879 | 1204858.765 | 2647462.8359 | 1204860.3084 | 2647471.3173 | 1204860.0527
13 | 2647451.879 | 1204858.765 | 2647452.2402 | 1204851.597 | 2647452.1263 | 1204848.6314
14 | 2647424.1444 | 1204759.2967 | 2647424.5704 | 1204761.0364
15 | 2647375.916 | 1204775.4255 | 2647378.172 | 1204771.0408 | 2647380.5717 | 1204762.2523
16 | 2647429.001 | 1204771.4562 | 2647424.5704 | 1204761.0364 | 2647424.5704 | 1204761.0364
17 | 2647375.916 | 1204775.4255 | 2647372.6928 | 1204773.232 | 2647365.5509 | 1204770.5971
18 | 2647382.4333 | 1204796.7561 | 2647383.3977 | 1204793.1283 | 2647383.6398 | 1204790.4175 | 2647383.5749 | 1204788.049 | 2647383.3106 | 1204785.8901 | 2647382.7876 | 1204783.7403 | 2647381.6039 | 1204781.4407 | 2647379.7528 | 1204778.8912 | 2647375.916 | 1204775.4255
19 | 2647443.2548 | 1204787.6445 | 2647434.3842 | 1204781.0591 | 2647429.3421 | 1204772.2585 | 2647429.001 | 1204771.4562
20 | 2647355.2017 | 1204766.8452 | 2647359.9124 | 1204768.5169 | 2647365.5509 | 1204770.5971
21 | 2647382.4333 | 1204796.7561 | 2647384.6256 | 1204798.4856 | 2647386.4716 | 1204800.7126 | 2647388.2151 | 1204803.4057 | 2647389.9798 | 1204807.2442 | 2647391.07 | 1204810.5962
22 | 2647336.5146 | 1204826.8984 | 2647342.8366 | 1204820.1001 | 2647362.3514 | 1204800.5324 | 2647365.8879 | 1204797.7477 | 2647368.9433 | 1204796.1599 | 2647372.8316 | 1204795.0568 | 2647375.594 | 1204794.9119 | 2647378.0414 | 1204795.1759 | 2647380.1588 | 1204795.793 | 2647382.4333 | 1204796.7561
23 | 2647438.0656 | 1204799.0669 | 2647437.7993 | 1204801.2201 | 2647437.9683 | 1204804.8457 | 2647438.5086 | 1204807.6961 | 2647439.3446 | 1204810.66 | 2647442.2331 | 1204816.6753 | 2647443.6809 | 1204819.79
24 | 2647443.2548 | 1204787.6445 | 2647441.8243 | 1204789.612 | 2647440.3365 | 1204792.0905 | 2647439.0134 | 1204794.8927 | 2647438.1976 | 1204797.9992 | 2647438.0656 | 1204799.0669
25 | 2647452.1263 | 1204848.6314 | 2647452.0133 | 1204845.6919 | 2647451.382 | 1204839.9391 | 2647449.8312 | 1204834.0678 | 2647446.6159 | 1204826.1044 | 2647443.6809 | 1204819.79
26 | 2647443.2548 | 1204787.6445 | 2647444.3748 | 1204786.5309
27 | 2647400.7783 | 1204839.1878 | 2647399.2872 | 1204835.4898 | 2647392.1259 | 1204813.8428 | 2647391.07 | 1204810.5962
28 | 2647336.5146 | 1204826.8984 | 2647276.4357 | 1204857.585 | 2647277.8362 | 1204860.3643 | 2647278.7586 | 1204867.8092
29 | 2647336.5146 | 1204826.8984 | 2647339.2751 | 1204831.8009 | 2647342.8713 | 1204836.8323 | 2647346.9365 | 1204841.2448 | 2647347.3597 | 1204841.6111
30 | 2647278.7586 | 1204867.8092 | 2647280.5357 | 1204873.9379 | 2647283.4596 | 1204882.2214 | 2647292.8654 | 1204904.3099
31 | 2647347.3597 | 1204841.6111 | 2647351.8624 | 1204845.5085 | 2647358.0219 | 1204850.5602 | 2647370.872 | 1204859.9008 | 2647376.1523 | 1204864.5453 | 2647381.3518 | 1204869.8006 | 2647388.6791 | 1204879.1419 | 2647391.2664 | 1204882.8723
32 | 2647396.9715 | 1204891.7165 | 2647395.6961 | 1204889.2589 | 2647391.2664 | 1204882.8723
33 | 2647292.8654 | 1204904.3099 | 2647296.4987 | 1204912.8422 | 2647298.5387 | 1204923.9032

## bus_geodata
| x | y | coords
0 | 2647457.0663 | 1204754.823
1 | 2647462.907 | 1204763.9473
2 | 2647447.1516 | 1204735.6788
3 | 2647469.6776 | 1204774.1392
4 | 2647432.2515 | 1204742.884
5 | 2647482.0852 | 1204790.4812
6 | 2647431.6286 | 1204743.3076
7 | 2647495.3139 | 1204818.6425
8 | 2647424.4146 | 1204749.0394
9 | 2647489.4662 | 1204812.2008
10 | 2647477.6957 | 1204794.7082
11 | 2647471.3173 | 1204860.0527
12 | 2647451.879 | 1204858.765
13 | 2647424.1444 | 1204759.2967
14 | 2647380.5717 | 1204762.2523
15 | 2647424.5704 | 1204761.0364
16 | 2647375.916 | 1204775.4255
17 | 2647429.001 | 1204771.4562
18 | 2647365.5509 | 1204770.5971
19 | 2647382.4333 | 1204796.7561
20 | 2647438.0656 | 1204799.0669
21 | 2647443.6809 | 1204819.79
22 | 2647443.2548 | 1204787.6445
23 | 2647452.1263 | 1204848.6314
24 | 2647444.3748 | 1204786.5309
25 | 2647355.2017 | 1204766.8452
26 | 2647391.07 | 1204810.5962
27 | 2647336.5146 | 1204826.8984
28 | 2647400.7783 | 1204839.1878
29 | 2647278.7586 | 1204867.8092
30 | 2647347.3597 | 1204841.6111
31 | 2647391.2664 | 1204882.8723
32 | 2647396.9715 | 1204891.7165
33 | 2647292.8654 | 1204904.3099
34 | 2647298.5387 | 1204923.9032
35 | 2647443.2548 | 1204787.6445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98782 | -0.084924 | 0.0014451 | 0.00036219
1 | 0.98749 | -0.087295 | 0.0011084 | 0.00027778
2 | 0.98854 | -0.079872 | 0 | 0
3 | 0.98713 | -0.089838 | 0.0028828 | 0.0007225
4 | 0.98909 | -0.075982 | 0.00085897 | 0.00021528
5 | 0.98661 | -0.0935 | 0.0015211 | 0.00038123
6 | 0.98912 | -0.0758 | 0.0016872 | 0.00042284
7 | 0.98587 | -0.098805 | 0 | 0
8 | 0.98946 | -0.073395 | 0 | 0
9 | 0.98567 | -0.10022 | 0.014557 | 0.0036483
10 | 0.98563 | -0.10051 | 0.0013144 | 0.00032942
11 | 0.99321 | -0.047538 | 0.068542 | 0.017178
12 | 0.99514 | -0.034007 | 0 | 0
13 | 0.99074 | -0.064388 | 0.0035787 | 0.0008969
14 | 0.98523 | -0.10319 | 0.0022125 | 0.00055451
15 | 0.99096 | -0.062814 | 0.0010776 | 0.00027006
16 | 0.9841 | -0.11118 | 0 | 0
17 | 0.9924 | -0.052756 | 0.0029888 | 0.00074906
18 | 0.98402 | -0.11173 | 0.0035321 | 0.00088524
19 | 0.98232 | -0.12379 | 0 | 0
20 | 0.99698 | -0.020848 | 0.0034003 | 0.00085221
21 | 1 | 0 | -0.18675 | -0.04687
22 | 0.99529 | -0.032577 | 0 | 0
23 | 0.99613 | -0.027006 | 0.020259 | 0.0050774
24 | 0.99529 | -0.032596 | 0.0012264 | 0.00030735
25 | 0.984 | -0.11186 | 0.0011183 | 0.00028026
26 | 0.98133 | -0.1309 | 0.00044078 | 0.00011047
27 | 0.98153 | -0.12948 | 0 | 0
28 | 0.97953 | -0.14369 | 0.040801 | 0.010226
29 | 0.98137 | -0.13061 | 0 | 0
30 | 0.98132 | -0.13099 | 0.0061811 | 0.0015491
31 | 0.98116 | -0.13211 | 0.0010887 | 0.00027286
32 | 0.98115 | -0.13218 | 0.00068319 | 0.00017122
33 | 0.98129 | -0.13117 | 0.0010746 | 0.00026931
34 | 0.98128 | -0.13124 | 0.00030962 | 7.7598e-05
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.021422 | 0.0053725 | -0.021414 | -0.0053699 | 7.0396e-06 | 2.5689e-06 | 0.03227 | 0.03227 | 0.03227 | 0.98782 | -0.084924 | 0.98749 | -0.087295 | 11.9518
1 | -0.022867 | -0.0057346 | 0.022883 | 0.0057405 | 1.6024e-05 | 5.8857e-06 | 0.034447 | 0.034447 | 0.034447 | 0.98782 | -0.084924 | 0.98854 | -0.079872 | 12.758
2 | 0.020306 | 0.0050921 | -0.020299 | -0.0050895 | 7.1545e-06 | 2.5951e-06 | 0.0306 | 0.0306 | 0.0306 | 0.98749 | -0.087295 | 0.98713 | -0.089838 | 11.3332
3 | -0.022883 | -0.0057405 | 0.022895 | 0.0057451 | 1.2355e-05 | 4.538e-06 | 0.034447 | 0.034446 | 0.034447 | 0.98854 | -0.079872 | 0.98909 | -0.075982 | 12.758
4 | 0.017416 | 0.004367 | -0.017407 | -0.0043639 | 8.8314e-06 | 3.1343e-06 | 0.026254 | 0.026254 | 0.026254 | 0.98713 | -0.089838 | 0.98661 | -0.0935 | 9.7238
5 | -0.023754 | -0.0059603 | 0.023755 | 0.0059606 | 6.0034e-07 | 2.2123e-07 | 0.035739 | 0.035739 | 0.035739 | 0.98909 | -0.075982 | 0.98912 | -0.0758 | 13.2366
6 | 0.015886 | 0.0039826 | -0.015875 | -0.0039786 | 1.1668e-05 | 4.0719e-06 | 0.02396 | 0.02396 | 0.02396 | 0.98661 | -0.0935 | 0.98587 | -0.098805 | 8.8741
7 | -0.025442 | -0.0063834 | 0.02545 | 0.0063866 | 8.4916e-06 | 3.1467e-06 | 0.038277 | 0.038277 | 0.038277 | 0.98912 | -0.0758 | 0.98946 | -0.073395 | 14.1766
8 | 0.015875 | 0.0039786 | -0.015871 | -0.0039775 | 3.1187e-06 | 1.0885e-06 | 0.02396 | 0.02396 | 0.02396 | 0.98587 | -0.098805 | 0.98567 | -0.10022 | 8.8742
9 | -0.083405 | -0.020975 | 0.08351 | 0.021015 | 0.00010484 | 4.0186e-05 | 0.12546 | 0.12546 | 0.12546 | 0.98946 | -0.073395 | 0.99074 | -0.064388 | 46.4653
10 | 0.057955 | 0.014588 | -0.057715 | -0.014496 | 0.00024015 | 9.1719e-05 | 0.08718 | 0.08718 | 0.08718 | 0.98946 | -0.073395 | 0.98523 | -0.10319 | 32.2888
11 | 0.0013144 | 0.00032917 | -0.0013144 | -0.00032942 | 5.1873e-08 | -2.4914e-07 | 0.0019843 | 0.0019844 | 0.0019844 | 0.98567 | -0.10022 | 0.98563 | -0.10051 | 0.73495
12 | -0.068542 | -0.017178 | 0.06867 | 0.017227 | 0.00012864 | 4.9224e-05 | 0.10269 | 0.10269 | 0.10269 | 0.99321 | -0.047538 | 0.99514 | -0.034007 | 38.0326
13 | -0.06867 | -0.017227 | 0.068737 | 0.017253 | 6.6753e-05 | 2.5542e-05 | 0.10269 | 0.10269 | 0.10269 | 0.99514 | -0.034007 | 0.99613 | -0.027006 | 38.0326
14 | -0.087089 | -0.021912 | 0.087108 | 0.021919 | 1.9131e-05 | 7.3349e-06 | 0.13083 | 0.13083 | 0.13083 | 0.99074 | -0.064388 | 0.99096 | -0.062814 | 48.456
15 | 0.055502 | 0.013942 | -0.055441 | -0.013918 | 6.1585e-05 | 2.3508e-05 | 0.083838 | 0.083838 | 0.083838 | 0.98523 | -0.10319 | 0.9841 | -0.11118 | 31.0512
16 | -0.088186 | -0.022189 | 0.08831 | 0.022237 | 0.00012395 | 4.7525e-05 | 0.13245 | 0.13245 | 0.13245 | 0.99096 | -0.062814 | 0.9924 | -0.052756 | 49.0553
17 | 0.0046508 | 0.0011654 | -0.0046504 | -0.0011654 | 3.5521e-07 | -9.6235e-09 | 0.0070322 | 0.0070322 | 0.0070322 | 0.9841 | -0.11118 | 0.98402 | -0.11173 | 2.6045
18 | 0.05079 | 0.012753 | -0.050701 | -0.012719 | 8.8821e-05 | 3.3856e-05 | 0.076806 | 0.076806 | 0.076806 | 0.9841 | -0.11118 | 0.98232 | -0.12379 | 28.4468
19 | -0.091298 | -0.022986 | 0.091556 | 0.023085 | 0.00025813 | 9.8995e-05 | 0.13693 | 0.13693 | 0.13693 | 0.9924 | -0.052756 | 0.99529 | -0.032577 | 50.7151
20 | 0.0011183 | 0.00028013 | -0.0011183 | -0.00028026 | 1.9643e-08 | -1.3229e-07 | 0.001691 | 0.001691 | 0.001691 | 0.98402 | -0.11173 | 0.984 | -0.11186 | 0.62631
21 | 0.041354 | 0.010379 | -0.041314 | -0.010364 | 4.076e-05 | 1.5466e-05 | 0.062649 | 0.062649 | 0.062649 | 0.98232 | -0.12379 | 0.98133 | -0.1309 | 23.2032
22 | 0.0093468 | 0.0023402 | -0.0093394 | -0.0023381 | 7.3429e-06 | 2.0816e-06 | 0.014158 | 0.014158 | 0.014158 | 0.98232 | -0.12379 | 0.98153 | -0.12948 | 5.2437
23 | -0.096336 | -0.024303 | 0.096618 | 0.024411 | 0.00028257 | 0.0001084 | 0.14384 | 0.14384 | 0.14384 | 0.99698 | -0.020848 | 1 | 0 | 53.2737
24 | 0.092936 | 0.023451 | -0.092783 | -0.023392 | 0.00015271 | 5.8571e-05 | 0.13876 | 0.13876 | 0.13876 | 0.99698 | -0.020848 | 0.99529 | -0.032577 | 51.3941
25 | 0.089331 | 0.022459 | -0.088996 | -0.02233 | 0.00033479 | 0.00012837 | 0.13295 | 0.13295 | 0.13295 | 1 | 0 | 0.99613 | -0.027006 | 49.2411
26 | 0.0012264 | 0.00030734 | -0.0012264 | -0.00030735 | 3.3129e-09 | -1.9251e-08 | 0.0018335 | 0.0018335 | 0.0018335 | 0.99529 | -0.032577 | 0.99529 | -0.032596 | 0.67906
27 | 0.040873 | 0.010253 | -0.040801 | -0.010226 | 7.2399e-05 | 2.7465e-05 | 0.06198 | 0.06198 | 0.06198 | 0.98133 | -0.1309 | 0.97953 | -0.14369 | 22.9557
28 | 0.0013845 | 0.00034529 | -0.0013843 | -0.0003462 | 2.1455e-07 | -9.0414e-07 | 0.0020983 | 0.0020987 | 0.0020987 | 0.98153 | -0.12948 | 0.98137 | -0.13061 | 0.77729
29 | 0.0079549 | 0.0019928 | -0.0079533 | -0.0019924 | 1.6671e-06 | 4.0906e-07 | 0.01206 | 0.01206 | 0.01206 | 0.98153 | -0.12948 | 0.98132 | -0.13099 | 4.4665
30 | 0.0013843 | 0.0003462 | -0.0013842 | -0.00034665 | 1.0767e-07 | -4.535e-07 | 0.0020987 | 0.0020989 | 0.0020989 | 0.98137 | -0.13061 | 0.98129 | -0.13117 | 0.77735
31 | 0.0017722 | 0.00044329 | -0.0017719 | -0.00044395 | 2.7323e-07 | -6.6095e-07 | 0.0026869 | 0.0026872 | 0.0026872 | 0.98132 | -0.13099 | 0.98116 | -0.13211 | 0.99526
32 | 0.0006832 | 0.00017109 | -0.00068319 | -0.00017122 | 7.0614e-09 | -1.3041e-07 | 0.0010361 | 0.0010361 | 0.0010361 | 0.98116 | -0.13211 | 0.98115 | -0.13218 | 0.38375
33 | 0.00030962 | 7.734e-05 | -0.00030962 | -7.7598e-05 | 2.8222e-09 | -2.5816e-07 | 0.00046941 | 0.00046951 | 0.00046951 | 0.98129 | -0.13117 | 0.98128 | -0.13124 | 0.17389

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20733 | 0.052027

## res_load
| p_mw | q_mvar
0 | 0.0014451 | 0.00036219
1 | 0.0011084 | 0.00027778
2 | 0.0028828 | 0.0007225
3 | 0.00085897 | 0.00021528
4 | 0.0015211 | 0.00038123
5 | 0.0016872 | 0.00042284
6 | 0.014557 | 0.0036483
7 | 0.0013144 | 0.00032942
8 | 0.068542 | 0.017178
9 | 0.0035787 | 0.0008969
10 | 0.0022125 | 0.00055451
11 | 0.0010776 | 0.00027006
12 | 0.0029888 | 0.00074906
13 | 0.0035321 | 0.00088524
14 | 0.0034003 | 0.00085221
15 | 0.020576 | 0.0051568
16 | 0.020259 | 0.0050774
17 | 0.0012264 | 0.00030735
18 | 0.0011183 | 0.00028026
19 | 0.00044078 | 0.00011047
20 | 0.040801 | 0.010226
21 | 0.0061811 | 0.0015491
22 | 0.0010887 | 0.00027286
23 | 0.00068319 | 0.00017122
24 | 0.0010746 | 0.00026931
25 | 0.00030962 | 7.7598e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1