## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1002-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1002-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1002-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1002-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1002-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1002-1_0_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_1002-1_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1002-1_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1002-1_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1002-1_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1002-1_0_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1002-1_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1002-1_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1002-1_0_2_node_177 | 0.4 | n |  | TRUE
14 | bus_LV_1002-1_0_2_node_206 | 0.4 | n |  | TRUE
15 | bus_LV_1002-1_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1002-1_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1002-1_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1002-1_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1002-1_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1002-1_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1002-1_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1002-1_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1002-1_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1002-1_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1002-1_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1002-1_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1002-1_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1002-1_0_2_node_164 | 0.4 | n |  | TRUE
29 | bus_LV_1002-1_0_2_node_165 | 0.4 | n |  | TRUE
30 | bus_LV_1002-1_0_2_node_171 | 0.4 | n |  | TRUE
31 | bus_LV_1002-1_0_2_node_166 | 0.4 | n |  | TRUE
32 | bus_LV_1002-1_0_2_node_167 | 0.4 | n |  | TRUE
33 | bus_LV_1002-1_0_2_node_168 | 0.4 | n |  | TRUE
34 | bus_LV_1002-1_0_2_node_196 | 0.4 | n |  | TRUE
35 | bus_LV_1002-1_0_2_node_169 | 0.4 | n |  | TRUE
36 | bus_LV_1002-1_0_2_node_170 | 0.4 | n |  | TRUE
37 | bus_LV_1002-1_0_2_node_181 | 0.4 | n |  | TRUE
38 | bus_LV_1002-1_0_2_node_174 | 0.4 | n |  | TRUE
39 | bus_LV_1002-1_0_2_node_175 | 0.4 | n |  | TRUE
40 | bus_LV_1002-1_0_2_node_176 | 0.4 | n |  | TRUE
41 | bus_LV_1002-1_0_2_node_185 | 0.4 | n |  | TRUE
42 | bus_LV_1002-1_0_2_node_178 | 0.4 | n |  | TRUE
43 | bus_LV_1002-1_0_2_node_179 | 0.4 | n |  | TRUE
44 | bus_LV_1002-1_0_2_node_180 | 0.4 | n |  | TRUE
45 | bus_LV_1002-1_0_2_node_182 | 0.4 | n |  | TRUE
46 | bus_LV_1002-1_0_2_node_198 | 0.4 | n |  | TRUE
47 | bus_LV_1002-1_0_2_node_183 | 0.4 | n |  | TRUE
48 | bus_LV_1002-1_0_2_node_184 | 0.4 | n |  | TRUE
49 | bus_LV_1002-1_0_2_node_186 | 0.4 | n |  | TRUE
50 | bus_LV_1002-1_0_2_node_187 | 0.4 | n |  | TRUE
51 | bus_LV_1002-1_0_2_node_188 | 0.4 | n |  | TRUE
52 | bus_LV_1002-1_0_2_node_189 | 0.4 | n |  | TRUE
53 | bus_LV_1002-1_0_2_node_190 | 0.4 | n |  | TRUE
54 | bus_LV_1002-1_0_2_node_191 | 0.4 | n |  | TRUE
55 | bus_LV_1002-1_0_2_node_192 | 0.4 | n |  | TRUE
56 | bus_LV_1002-1_0_2_node_197 | 0.4 | n |  | TRUE
57 | bus_LV_1002-1_0_2_node_194 | 0.4 | n |  | TRUE
58 | bus_LV_1002-1_0_2_node_193 | 0.4 | n |  | TRUE
59 | bus_LV_1002-1_0_2_node_205 | 0.4 | n |  | TRUE
60 | bus_LV_1002-1_0_2_node_195 | 0.4 | n |  | TRUE
61 | bus_LV_1002-1_0_2_node_199 | 0.4 | n |  | TRUE
62 | bus_MV_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1002-1_0_2_load_0 | 0 | 0.0012285 | 0.00030789 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1002-1_0_2_load_1 | 1 | 0.00018114 | 4.5399e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1002-1_0_2_load_3 | 3 | 0.00014344 | 3.595e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1002-1_0_2_load_4 | 4 | 0.00015937 | 3.9941e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1002-1_0_2_load_19 | 5 | 0.00010673 | 2.6748e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1002-1_0_2_load_6 | 7 | 0.00031052 | 7.7823e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1002-1_0_2_load_7 | 8 | 0.00027409 | 6.8694e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1002-1_0_2_load_11 | 10 | 0.00013267 | 3.325e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1002-1_0_2_load_9 | 11 | 0.00017454 | 4.3743e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1002-1_0_2_load_206 | 14 | 0.0005969 | 0.0001496 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1002-1_0_2_load_13 | 15 | 0.00030875 | 7.7381e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1002-1_0_2_load_12 | 16 | 0.00013646 | 3.4199e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1002-1_0_2_load_14 | 17 | 0.00016063 | 4.0257e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1002-1_0_2_load_15 | 18 | 0.0002044 | 5.1228e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1002-1_0_2_load_16 | 19 | 0.00034854 | 8.7353e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1002-1_0_2_load_17 | 20 | 0.001422 | 0.0003564 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1002-1_0_2_load_18 | 21 | 0.00014199 | 3.5586e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1002-1_0_2_load_21 | 22 | 0.0012355 | 0.00030965 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1002-1_0_2_load_20 | 23 | 0.0012831 | 0.00032158 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1002-1_0_2_load_23 | 25 | 0.0014303 | 0.00035848 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1002-1_0_2_load_24 | 26 | 0.0026138 | 0.00065509 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1002-1_0_2_load_25 | 27 | 0.0020645 | 0.00051742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1002-1_0_2_load_164 | 28 | 0.0004834 | 0.00012115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1002-1_0_2_load_166 | 31 | 0.00028138 | 7.052e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1002-1_0_2_load_167 | 32 | 0.00010672 | 2.6747e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1002-1_0_2_load_168 | 33 | 0.00037211 | 9.326e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1002-1_0_2_load_169 | 35 | 0.0003297 | 8.263e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1002-1_0_2_load_170 | 36 | 0.00054424 | 0.0001364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1002-1_0_2_load_181 | 37 | 0.00018486 | 4.633e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1002-1_0_2_load_174 | 38 | 0.00020614 | 5.1663e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1002-1_0_2_load_175 | 39 | 0.00024157 | 6.0544e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1002-1_0_2_load_178 | 42 | 0.00022775 | 5.7079e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1002-1_0_2_load_179 | 43 | 0.00026682 | 6.6872e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1002-1_0_2_load_180 | 44 | 0.00050657 | 0.00012696 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1002-1_0_2_load_183 | 47 | 0.00029259 | 7.3329e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1002-1_0_2_load_184 | 48 | 0.00012139 | 3.0424e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1002-1_0_2_load_186 | 49 | 0.00024639 | 6.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1002-1_0_2_load_187 | 50 | 0.00050954 | 0.0001277 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1002-1_0_2_load_188 | 51 | 0.0013219 | 0.0003313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1002-1_0_2_load_190 | 53 | 0.00080676 | 0.00020219 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1002-1_0_2_load_192 | 55 | 0.00015948 | 3.9969e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1002-1_0_2_load_197 | 56 | 0.00013191 | 3.3061e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1002-1_0_2_load_193 | 58 | 0.00042502 | 0.00010652 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1002-1_0_2_load_205 | 59 | 0.0011018 | 0.00027613 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1002-1_0_2_load_195 | 60 | 0.00016987 | 4.2573e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1002-1_0_2_load_199 | 61 | 0.00026924 | 6.7477e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1002-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.08624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1002-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1002-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0074657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1002-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.050619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1002-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1002-1_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.068201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1002-1_0_2_line_6 | NAYY 4x150 SE | 5 | 21 | 0.0049317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1002-1_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.023898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1002-1_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.038245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1002-1_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.11078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1002-1_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.028692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1002-1_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.098454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1002-1_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.13955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1002-1_0_2_line_13 | NAYY 4x150 SE | 10 | 16 | 0.018621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1002-1_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.072958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1002-1_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1002-1_0_2_line_16 | NAYY 4x150 SE | 12 | 15 | 0.17179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1002-1_0_2_line_17 | NAYY 4x150 SE | 13 | 42 | 0.041952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1002-1_0_2_line_18 | NAYY 4x150 SE | 13 | 40 | 0.035898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1002-1_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.026352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1002-1_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0095269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1002-1_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.028032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1002-1_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 4.5418e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1002-1_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.02475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1002-1_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1002-1_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1002-1_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.029141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1002-1_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0080452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1002-1_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.016127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1002-1_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.014604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1002-1_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.31363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1002-1_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.044474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1002-1_0_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.058322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1002-1_0_2_line_33 | NAYY 4x150 SE | 30 | 35 | 0.10579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1002-1_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.13943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1002-1_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.40596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1002-1_0_2_line_36 | NAYY 4x150 SE | 34 | 60 | 0.016944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1002-1_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.038097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1002-1_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.26186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1002-1_0_2_line_39 | NAYY 4x150 SE | 37 | 44 | 0.012862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1002-1_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.013862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1002-1_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.20354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1002-1_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.24753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1002-1_0_2_line_43 | NAYY 4x150 SE | 41 | 47 | 0.031602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1002-1_0_2_line_44 | NAYY 4x150 SE | 41 | 48 | 0.019684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1002-1_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0049555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1002-1_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.069834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1002-1_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.27449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1002-1_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.054768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1002-1_0_2_line_49 | NAYY 4x150 SE | 46 | 61 | 0.067472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1002-1_0_2_line_50 | NAYY 4x150 SE | 46 | 56 | 0.0099778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1002-1_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.029057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1002-1_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.1005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1002-1_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.050616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1002-1_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.04119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1002-1_0_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.043381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1002-1_0_2_line_56 | NAYY 4x150 SE | 52 | 55 | 0.022571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1002-1_0_2_line_57 | NAYY 4x150 SE | 53 | 56 | 0.00029416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1002-1_0_2_line_58 | NAYY 4x150 SE | 54 | 57 | 0.06408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1002-1_0_2_line_59 | NAYY 4x150 SE | 54 | 58 | 0.032141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1002-1_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1002-1_0_2_trafo_9 | 0.25 MVA 20/0.4 kV | 62 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2652426.8522 | 1200775.0234 | 2652426.9021 | 1200774.9204 | 2652430.3867 | 1200761.2431 | 2652435.0247 | 1200754.0574 | 2652443.6967 | 1200751.2541 | 2652469.0462 | 1200752.8996 | 2652477.6615 | 1200750.4961 | 2652492.2744 | 1200739.5291 | 2652493.6721 | 1200738.5143
1 | 2652406.7783 | 1200802.3709 | 2652411.6301 | 1200799.4451 | 2652420.8087 | 1200787.4854 | 2652426.8522 | 1200775.0234
2 | 2652493.6721 | 1200738.5143 | 2652499.7134 | 1200734.128
3 | 2652406.7783 | 1200802.3709 | 2652401.648 | 1200820.5698 | 2652387.5441 | 1200848.9715
4 | 2652508.1331 | 1200728.0148 | 2652499.7134 | 1200734.128
5 | 2652365.115 | 1200912.9251 | 2652366.7531 | 1200903.1894 | 2652369.5447 | 1200891.2626 | 2652372.2674 | 1200881.9811 | 2652376.0766 | 1200872.0643 | 2652387.5441 | 1200848.9715
6 | 2652512.1238 | 1200725.1173 | 2652508.1331 | 1200728.0148
7 | 2652365.115 | 1200912.9251 | 2652363.9307 | 1200929.9357 | 2652364.1614 | 1200936.7785
8 | 2652365.115 | 1200912.9251 | 2652371.9525 | 1200910.0945 | 2652373.802 | 1200908.3875 | 2652376.0938 | 1200905.7171 | 2652378.7165 | 1200901.7601 | 2652384.9845 | 1200882.7023
9 | 2652393.0567 | 1201042.5112 | 2652393.0136 | 1201032.6718 | 2652392.0627 | 1201025.6595 | 2652390.5563 | 1201020.3654 | 2652384.9922 | 1201008.1875 | 2652373.2132 | 1200981.6468 | 2652369.1479 | 1200968.6815 | 2652366.1862 | 1200954.8587 | 2652364.3053 | 1200941.0454 | 2652364.1614 | 1200936.7785
10 | 2652384.9845 | 1200882.7023 | 2652388.805 | 1200871.0863 | 2652390.3394 | 1200867.9758 | 2652392.0814 | 1200866.379 | 2652395.1069 | 1200865.9719 | 2652402.2823 | 1200868.4124
11 | 2652393.0567 | 1201042.5112 | 2652392.3091 | 1201047.9078 | 2652390.5842 | 1201053.6404 | 2652388.6529 | 1201059.4824 | 2652385.8675 | 1201064.6276 | 2652382.3947 | 1201070.0448 | 2652376.5552 | 1201076.2639 | 2652369.9062 | 1201081.92 | 2652362.9256 | 1201086.3281 | 2652330.092 | 1201099.8151 | 2652323.2822 | 1201103.1197
12 | 2652526.4609 | 1201046.9731 | 2652523.0329 | 1201044.675 | 2652519.0969 | 1201043.8844 | 2652514.4626 | 1201044.5997 | 2652509.0805 | 1201046.3979 | 2652502.4582 | 1201048.9968 | 2652484.5826 | 1201056.2663 | 2652473.1198 | 1201058.8005 | 2652470.0952 | 1201059.1074 | 2652463.7156 | 1201058.3399 | 2652457.9855 | 1201057.289 | 2652453.4311 | 1201055.8371 | 2652424.4946 | 1201043.2761 | 2652413.0256 | 1201041.2966 | 2652393.0567 | 1201042.5112
13 | 2652402.2823 | 1200868.4124 | 2652412.3198 | 1200871.8262 | 2652420.0561 | 1200873.9379
14 | 2652270.5836 | 1201152.8473 | 2652293.3968 | 1201126.6428 | 2652302.4349 | 1201117.6166 | 2652312.6505 | 1201109.7126 | 2652321.2706 | 1201104.0959 | 2652323.2822 | 1201103.1197
15 | 2652526.4609 | 1201046.9731 | 2652527.6239 | 1201049.7516 | 2652528.0159 | 1201053.6573 | 2652527.3426 | 1201057.5092 | 2652524.2993 | 1201066.0096 | 2652522.2045 | 1201073.1064 | 2652520.8175 | 1201080.2316 | 2652517.5554 | 1201127.4746
16 | 2652526.4609 | 1201046.9731 | 2652660.9279 | 1200940.0638
17 | 2652270.5836 | 1201152.8473 | 2652262.9065 | 1201145.5315 | 2652245.4602 | 1201119.488
18 | 2652246.9787 | 1201179.9455 | 2652270.5836 | 1201152.8473
19 | 2652519.8698 | 1200719.4933 | 2652542.3755 | 1200705.7843
20 | 2652512.1606 | 1200725.0906 | 2652519.8698 | 1200719.4933 | 2652519.8698 | 1200719.4933
21 | 2652566.316 | 1200691.2014 | 2652542.3755 | 1200705.7843
22 | 2652512.1606 | 1200725.0906 | 2652512.1238 | 1200725.1173
23 | 2652566.316 | 1200691.2014 | 2652573.6111 | 1200686.7578 | 2652585.7336 | 1200675.9998
24 | 2652585.7336 | 1200675.9998 | 2652597.5024 | 1200665.5557 | 2652611.8344 | 1200652.3838
25 | 2652623.3116 | 1200641.8358 | 2652611.8344 | 1200652.3838
26 | 2652623.3116 | 1200641.8358 | 2652649.6701 | 1200654.2629
27 | 2652623.3116 | 1200641.8358 | 2652628.8695 | 1200636.019
28 | 2652640.0104 | 1200624.3594 | 2652628.8695 | 1200636.019
29 | 2652223.3607 | 1202095.9453 | 2652230.8783 | 1202083.4247
30 | 2652230.8783 | 1202083.4247 | 2652134.2526 | 1201785.0548
31 | 2652223.3607 | 1202095.9453 | 2652247.9095 | 1202092.7691 | 2652254.1732 | 1202091.0006 | 2652260.8151 | 1202087.7568 | 2652265.9115 | 1202084.9451
32 | 2652223.3607 | 1202095.9453 | 2652222.1406 | 1202103.1944 | 2652222.5065 | 1202109.2122 | 2652223.6617 | 1202114.6254 | 2652225.2579 | 1202120.0758 | 2652228.9216 | 1202130.1692 | 2652236.0956 | 1202146.1411 | 2652237.4343 | 1202151.4559
33 | 2652134.2526 | 1201785.0548 | 2652155.1016 | 1201771.6622 | 2652161.88 | 1201765.8958 | 2652191.0281 | 1201732.1085 | 2652209.1871 | 1201711.4717
34 | 2652265.9115 | 1202084.9451 | 2652404.6148 | 1202099.1555
35 | 2652237.4343 | 1202151.4559 | 2652337.7488 | 1202544.8274
36 | 2652337.7488 | 1202544.8274 | 2652337.5983 | 1202550.7183 | 2652335.7889 | 1202556.5948 | 2652333.7106 | 1202561.0347
37 | 2652209.1871 | 1201711.4717 | 2652215.3661 | 1201704.4495 | 2652212.9608 | 1201689.6755 | 2652218.7473 | 1201681.588 | 2652222.226 | 1201679.9855
38 | 2652051.0047 | 1201481.8546 | 2652222.226 | 1201679.9855
39 | 2652051.0047 | 1201481.8546 | 2652045.4926 | 1201472.4234 | 2652044.4626 | 1201470.7818
40 | 2652407.5728 | 1201310.6596 | 2652396.1139 | 1201318.4598
41 | 2652246.9787 | 1201179.9455 | 2652396.1139 | 1201318.4598
42 | 2652077.5231 | 1201360.3822 | 2652246.9787 | 1201179.9455
43 | 2652077.5231 | 1201360.3822 | 2652052.3712 | 1201379.5146
44 | 2652077.5231 | 1201360.3822 | 2652091.7211 | 1201374.0163
45 | 2652242.7022 | 1201115.3709 | 2652245.4602 | 1201119.488
46 | 2652008.9588 | 1201412.9045 | 2652022.3219 | 1201447.285 | 2652025.1917 | 1201453.3691 | 2652027.8957 | 1201456.6389 | 2652030.3938 | 1201459.0843 | 2652033.1912 | 1201461.2432 | 2652040.6297 | 1201466.2219 | 2652043.1429 | 1201468.6786 | 2652044.4626 | 1201470.7818
47 | 2652044.4626 | 1201470.7818 | 2651799.3821 | 1201594.3897
48 | 2652008.9588 | 1201412.9045 | 2652045.2423 | 1201384.9375 | 2652052.3712 | 1201379.5146
49 | 2651799.3821 | 1201594.3897 | 2651823.7765 | 1201634.6687 | 2651835.1017 | 1201651.6144
50 | 2651799.3821 | 1201594.3897 | 2651792.0716 | 1201601.1804
51 | 2651690.2688 | 1201699.7576 | 2651687.0553 | 1201701.9239 | 2651669.3796 | 1201711.0764 | 2651664.5808 | 1201713.2702
52 | 2651690.2688 | 1201699.7576 | 2651696.9388 | 1201695.2611 | 2651705.9676 | 1201687.9683 | 2651717.2511 | 1201676.9596 | 2651757.3578 | 1201633.426 | 2651761.6775 | 1201629.4134
53 | 2651618.1624 | 1201733.4358 | 2651645.4168 | 1201722.0313 | 2651664.5808 | 1201713.2702
54 | 2651761.6775 | 1201629.4134 | 2651791.8561 | 1201601.3805
55 | 2651618.1624 | 1201733.4358 | 2651577.7391 | 1201749.4739
56 | 2651618.1624 | 1201733.4358 | 2651628.0021 | 1201753.7488
57 | 2651791.8561 | 1201601.3805 | 2651792.0716 | 1201601.1804
58 | 2651516.9764 | 1201770.3176 | 2651541.9796 | 1201762.2173 | 2651561.3699 | 1201755.4362 | 2651577.7391 | 1201749.4739
59 | 2651577.7391 | 1201749.4739 | 2651591.4293 | 1201778.5533
60 | 2651516.9764 | 1201770.3176 | 2651515.8479 | 1201747.6059 | 2651515.2775 | 1201740.4969 | 2651514.0423 | 1201734.5717 | 2651512.2638 | 1201729.8759 | 2651509.1982 | 1201725.2802 | 2651503.3953 | 1201719.4824 | 2651467.313 | 1201688.4094 | 2651464.8218 | 1201686.031 | 2651463.3639 | 1201683.8728 | 2651462.1871 | 1201680.8831 | 2651461.4798 | 1201676.3967

## bus_geodata
| x | y | coords
0 | 2652426.8522 | 1200775.0234
1 | 2652493.6721 | 1200738.5143
2 | 2652406.7783 | 1200802.3709
3 | 2652499.7134 | 1200734.128
4 | 2652387.5441 | 1200848.9715
5 | 2652508.1331 | 1200728.0148
6 | 2652365.115 | 1200912.9251
7 | 2652364.1614 | 1200936.7785
8 | 2652384.9845 | 1200882.7023
9 | 2652393.0567 | 1201042.5112
10 | 2652402.2823 | 1200868.4124
11 | 2652323.2822 | 1201103.1197
12 | 2652526.4609 | 1201046.9731
13 | 2652270.5836 | 1201152.8473
14 | 2652517.5554 | 1201127.4746
15 | 2652660.9279 | 1200940.0638
16 | 2652420.0561 | 1200873.9379
17 | 2652519.8698 | 1200719.4933
18 | 2652542.3755 | 1200705.7843
19 | 2652512.1606 | 1200725.0906
20 | 2652566.316 | 1200691.2014
21 | 2652512.1238 | 1200725.1173
22 | 2652585.7336 | 1200675.9998
23 | 2652611.8344 | 1200652.3838
24 | 2652623.3116 | 1200641.8358
25 | 2652649.6701 | 1200654.2629
26 | 2652628.8695 | 1200636.019
27 | 2652640.0104 | 1200624.3594
28 | 2652230.8783 | 1202083.4247
29 | 2652223.3607 | 1202095.9453
30 | 2652134.2526 | 1201785.0548
31 | 2652265.9115 | 1202084.9451
32 | 2652237.4343 | 1202151.4559
33 | 2652404.6148 | 1202099.1555
34 | 2652337.7488 | 1202544.8274
35 | 2652209.1871 | 1201711.4717
36 | 2652222.226 | 1201679.9855
37 | 2652051.0047 | 1201481.8546
38 | 2652396.1139 | 1201318.4598
39 | 2652407.5728 | 1201310.6596
40 | 2652246.9787 | 1201179.9455
41 | 2652077.5231 | 1201360.3822
42 | 2652245.4602 | 1201119.488
43 | 2652242.7022 | 1201115.3709
44 | 2652044.4626 | 1201470.7818
45 | 2652008.9588 | 1201412.9045
46 | 2651799.3821 | 1201594.3897
47 | 2652052.3712 | 1201379.5146
48 | 2652091.7211 | 1201374.0163
49 | 2651690.2688 | 1201699.7576
50 | 2651664.5808 | 1201713.2702
51 | 2651761.6775 | 1201629.4134
52 | 2651618.1624 | 1201733.4358
53 | 2651791.8561 | 1201601.3805
54 | 2651577.7391 | 1201749.4739
55 | 2651628.0021 | 1201753.7488
56 | 2651792.0716 | 1201601.1804
57 | 2651516.9764 | 1201770.3176
58 | 2651591.4293 | 1201778.5533
59 | 2651461.4798 | 1201676.3967
60 | 2652333.7106 | 1202561.0347
61 | 2651835.1017 | 1201651.6144
62 | 2652323.2822 | 1201103.1197

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99254 | -0.052386 | 0.0012285 | 0.00030789
1 | 0.99113 | -0.062326 | 0.00018114 | 4.5399e-05
2 | 0.99316 | -0.047975 | 0 | 0
3 | 0.99101 | -0.063174 | 0.00014344 | 3.595e-05
4 | 0.99408 | -0.041527 | 0.00015937 | 3.9941e-05
5 | 0.99084 | -0.064341 | 0.00010673 | 2.6748e-05
6 | 0.99533 | -0.032746 | 0 | 0
7 | 0.99578 | -0.029541 | 0.00031052 | 7.7823e-05
8 | 0.9953 | -0.032958 | 0.00027409 | 6.8694e-05
9 | 0.99795 | -0.014367 | 0 | 0
10 | 0.99529 | -0.033037 | 0.00013267 | 3.325e-05
11 | 1 | 0 | -0.024792 | -0.0059851
12 | 0.99777 | -0.015678 | 0 | 0
13 | 0.99903 | -0.0069965 | 0 | 0
14 | 0.9977 | -0.016172 | 0.0005969 | 0.0001496
15 | 0.99769 | -0.016225 | 0.00030875 | 7.7381e-05
16 | 0.99528 | -0.033062 | 0.00013646 | 3.4199e-05
17 | 0.99062 | -0.065904 | 0.00016063 | 4.0257e-05
18 | 0.99023 | -0.068658 | 0.0002044 | 5.1228e-05
19 | 0.99076 | -0.064893 | 0.00034854 | 8.7353e-05
20 | 0.98983 | -0.07153 | 0.001422 | 0.0003564
21 | 0.99076 | -0.064888 | 0.00014199 | 3.5586e-05
22 | 0.98952 | -0.073708 | 0.0012355 | 0.00030965
23 | 0.98914 | -0.076365 | 0.0012831 | 0.00032158
24 | 0.98901 | -0.077337 | 0 | 0
25 | 0.98895 | -0.077763 | 0.0014303 | 0.00035848
26 | 0.98895 | -0.077721 | 0.0026138 | 0.00065509
27 | 0.9889 | -0.078061 | 0.0020645 | 0.00051742
28 | 0.99196 | -0.058447 | 0.0004834 | 0.00012115
29 | 0.99194 | -0.058594 | 0 | 0
30 | 0.99259 | -0.053697 | 0 | 0
31 | 0.9919 | -0.058896 | 0.00028138 | 7.052e-05
32 | 0.99191 | -0.058784 | 0.00010672 | 2.6747e-05
33 | 0.99182 | -0.059432 | 0.00037211 | 9.326e-05
34 | 0.99182 | -0.05957 | 0 | 0
35 | 0.99281 | -0.052075 | 0.0003297 | 8.263e-05
36 | 0.9929 | -0.051361 | 0.00054424 | 0.0001364
37 | 0.99376 | -0.044978 | 0.00018486 | 4.633e-05
38 | 0.99844 | -0.011198 | 0.00020614 | 5.1663e-05
39 | 0.99844 | -0.011232 | 0.00024157 | 6.0544e-05
40 | 0.99857 | -0.010263 | 0 | 0
41 | 0.9956 | -0.031663 | 0 | 0
42 | 0.999 | -0.007205 | 0.00022775 | 5.7079e-05
43 | 0.99899 | -0.0072182 | 0.00026682 | 6.6872e-05
44 | 0.99381 | -0.044639 | 0.00050657 | 0.00012696
45 | 0.9946 | -0.038877 | 0 | 0
46 | 0.99184 | -0.058649 | 0 | 0
47 | 0.99523 | -0.034361 | 0.00029259 | 7.3329e-05
48 | 0.9956 | -0.031687 | 0.00012139 | 3.0424e-05
49 | 0.9912 | -0.063269 | 0.00024639 | 6.1752e-05
50 | 0.99111 | -0.063927 | 0.00050954 | 0.0001277
51 | 0.99155 | -0.060736 | 0.0013219 | 0.0003313
52 | 0.99098 | -0.064809 | 0 | 0
53 | 0.99177 | -0.059144 | 0.00080676 | 0.00020219
54 | 0.99089 | -0.065492 | 0 | 0
55 | 0.99098 | -0.064846 | 0.00015948 | 3.9969e-05
56 | 0.99178 | -0.05913 | 0.00013191 | 3.3061e-05
57 | 0.99079 | -0.066219 | 0 | 0
58 | 0.99087 | -0.065632 | 0.00042502 | 0.00010652
59 | 0.9906 | -0.067525 | 0.0011018 | 0.00027613
60 | 0.99181 | -0.0596 | 0.00016987 | 4.2573e-05
61 | 0.99182 | -0.058835 | 0.00026924 | 6.7477e-05
62 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011372 | 0.0028509 | -0.011356 | -0.002846 | 1.5642e-05 | 4.9032e-06 | 0.017049 | 0.017049 | 0.017049 | 0.99254 | -0.052386 | 0.99113 | -0.062326 | 6.3146
1 | -0.0126 | -0.0031588 | 0.012608 | 0.0031613 | 7.7028e-06 | 2.5153e-06 | 0.018891 | 0.018891 | 0.018891 | 0.99254 | -0.052386 | 0.99316 | -0.047975 | 6.9965
2 | 0.011175 | 0.0028006 | -0.011174 | -0.0028002 | 1.3113e-06 | 4.0814e-07 | 0.016777 | 0.016777 | 0.016777 | 0.99113 | -0.062326 | 0.99101 | -0.063174 | 6.2139
3 | -0.012608 | -0.0031613 | 0.012619 | 0.003165 | 1.1271e-05 | 3.6795e-06 | 0.018891 | 0.01889 | 0.018891 | 0.99316 | -0.047975 | 0.99408 | -0.041527 | 6.9965
4 | 0.01103 | 0.0027642 | -0.011028 | -0.0027637 | 1.781e-06 | 5.5094e-07 | 0.016562 | 0.016562 | 0.016562 | 0.99101 | -0.063174 | 0.99084 | -0.064341 | 6.1341
5 | -0.012779 | -0.0032049 | 0.012794 | 0.00321 | 1.5572e-05 | 5.1039e-06 | 0.019129 | 0.019129 | 0.019129 | 0.99408 | -0.041527 | 0.99533 | -0.032746 | 7.0848
6 | 0.010922 | 0.0027369 | -0.010921 | -0.0027367 | 8.2787e-07 | 2.549e-07 | 0.016402 | 0.016402 | 0.016402 | 0.99084 | -0.064341 | 0.99076 | -0.064888 | 6.0747
7 | -0.013337 | -0.0033451 | 0.013343 | 0.003347 | 5.9294e-06 | 1.9698e-06 | 0.01994 | 0.01994 | 0.01994 | 0.99533 | -0.032746 | 0.99578 | -0.029541 | 7.3853
8 | 0.00054324 | 0.00013504 | -0.00054322 | -0.00013553 | 1.5729e-08 | -4.9101e-07 | 0.00081175 | 0.00081192 | 0.00081192 | 0.99533 | -0.032746 | 0.9953 | -0.032958 | 0.30071
9 | -0.013654 | -0.0034249 | 0.013683 | 0.0034345 | 2.8779e-05 | 9.6246e-06 | 0.020404 | 0.020404 | 0.020404 | 0.99578 | -0.029541 | 0.99795 | -0.014367 | 7.5571
10 | 0.00026913 | 6.6835e-05 | -0.00026912 | -6.7207e-05 | 2.8963e-09 | -3.7176e-07 | 0.00040214 | 0.00040227 | 0.00040227 | 0.9953 | -0.032958 | 0.99529 | -0.033037 | 0.14899
11 | -0.014588 | -0.0036564 | 0.014618 | 0.0036663 | 2.9069e-05 | 9.8914e-06 | 0.021753 | 0.021752 | 0.021753 | 0.99795 | -0.014367 | 1 | 0 | 8.0565
12 | 0.00090587 | 0.00022193 | -0.00090572 | -0.00022369 | 1.5853e-07 | -1.762e-06 | 0.0013489 | 0.0013496 | 0.0013496 | 0.99795 | -0.014367 | 0.99777 | -0.015678 | 0.49984
13 | 0.00013646 | 3.3957e-05 | -0.00013646 | -3.4199e-05 | 4.8342e-10 | -2.4182e-07 | 0.00020393 | 0.00020401 | 0.00020401 | 0.99529 | -0.033037 | 0.99528 | -0.033062 | 0.07556
14 | 0.0093741 | 0.0023187 | -0.0093653 | -0.0023163 | 8.8446e-06 | 2.4455e-06 | 0.013938 | 0.013938 | 0.013938 | 1 | 0 | 0.99903 | -0.0069965 | 5.1624
15 | 0.00059694 | 0.00014854 | -0.0005969 | -0.0001496 | 4.0486e-08 | -1.054e-06 | 0.00088987 | 0.00089024 | 0.00089024 | 0.99777 | -0.015678 | 0.9977 | -0.016172 | 0.32972
16 | 0.00030878 | 7.5146e-05 | -0.00030875 | -7.7381e-05 | 2.2692e-08 | -2.2348e-06 | 0.00045971 | 0.00046049 | 0.00046049 | 0.99777 | -0.015678 | 0.99769 | -0.016225 | 0.17055
17 | 0.00049458 | 0.00012334 | -0.00049457 | -0.00012389 | 1.4202e-08 | -5.4383e-07 | 0.00073645 | 0.00073664 | 0.00073664 | 0.99903 | -0.0069965 | 0.999 | -0.007205 | 0.27283
18 | 0.0088707 | 0.0021929 | -0.0088668 | -0.0021919 | 3.9043e-06 | 1.0318e-06 | 0.013202 | 0.013202 | 0.013202 | 0.99903 | -0.0069965 | 0.99857 | -0.010263 | 4.8897
19 | 0.010268 | 0.002573 | -0.010264 | -0.0025719 | 3.9119e-06 | 1.1655e-06 | 0.015424 | 0.015424 | 0.015424 | 0.99062 | -0.065904 | 0.99023 | -0.068658 | 5.7126
20 | -0.010429 | -0.0026133 | 0.01043 | 0.0026137 | 1.4588e-06 | 4.3842e-07 | 0.015665 | 0.015665 | 0.015665 | 0.99062 | -0.065904 | 0.99076 | -0.064893 | 5.8019
21 | 0.01006 | 0.0025207 | -0.010056 | -0.0025195 | 3.9973e-06 | 1.177e-06 | 0.015117 | 0.015117 | 0.015117 | 0.99023 | -0.068658 | 0.98983 | -0.07153 | 5.5989
22 | -0.010779 | -0.0027011 | 0.010779 | 0.0027011 | 7.4284e-09 | 2.2709e-09 | 0.016189 | 0.016189 | 0.016189 | 0.99076 | -0.064893 | 0.99076 | -0.064888 | 5.9958
23 | 0.0086339 | 0.0021631 | -0.0086313 | -0.0021624 | 2.6017e-06 | 6.8262e-07 | 0.012979 | 0.012979 | 0.012979 | 0.98983 | -0.07153 | 0.98952 | -0.073708 | 4.8072
24 | 0.0073958 | 0.0018527 | -0.0073931 | -0.0018522 | 2.7168e-06 | 5.9291e-07 | 0.011121 | 0.011122 | 0.011122 | 0.98952 | -0.073708 | 0.98914 | -0.076365 | 4.1191
25 | 0.00611 | 0.0015306 | -0.0061091 | -0.0015305 | 8.2173e-07 | 1.1599e-07 | 0.0091913 | 0.0091913 | 0.0091913 | 0.98914 | -0.076365 | 0.98901 | -0.077337 | 3.4042
26 | 0.0014304 | 0.00035813 | -0.0014303 | -0.00035848 | 8.422e-08 | -3.4154e-07 | 0.002152 | 0.0021522 | 0.0021522 | 0.98901 | -0.077337 | 0.98895 | -0.077763 | 0.7971
27 | 0.0046787 | 0.0011723 | -0.0046785 | -0.0011723 | 2.4876e-07 | -7.5563e-09 | 0.0070393 | 0.0070393 | 0.0070393 | 0.98901 | -0.077337 | 0.98895 | -0.077721 | 2.6072
28 | 0.0020646 | 0.00051725 | -0.0020645 | -0.00051742 | 9.7111e-08 | -1.6956e-07 | 0.0031065 | 0.0031065 | 0.0031065 | 0.98895 | -0.077721 | 0.9889 | -0.078061 | 1.1506
29 | 0.00093017 | 0.00022436 | -0.00093016 | -0.00022454 | 1.7666e-08 | -1.8173e-07 | 0.0013923 | 0.0013924 | 0.0013924 | 0.99196 | -0.058447 | 0.99194 | -0.058594 | 0.51569
30 | -0.0014136 | -0.00034551 | 0.0014145 | 0.0003418 | 8.7684e-07 | -3.714e-06 | 0.0021174 | 0.002116 | 0.0021174 | 0.99196 | -0.058447 | 0.99259 | -0.053697 | 0.78423
31 | 0.00065354 | 0.00016143 | -0.00065352 | -0.00016199 | 2.6634e-08 | -5.6383e-07 | 0.00097956 | 0.00097976 | 0.00097976 | 0.99194 | -0.058594 | 0.9919 | -0.058896 | 0.36287
32 | 0.00027661 | 6.3118e-05 | -0.00027661 | -6.3868e-05 | 6.2066e-09 | -7.5045e-07 | 0.00041285 | 0.00041309 | 0.00041309 | 0.99194 | -0.058594 | 0.99191 | -0.058784 | 0.153
33 | -0.0014145 | -0.0003418 | 0.0014147 | 0.00034055 | 2.9551e-07 | -1.254e-06 | 0.002116 | 0.0021156 | 0.002116 | 0.99259 | -0.053697 | 0.99281 | -0.052075 | 0.78371
34 | 0.00037214 | 9.1471e-05 | -0.00037211 | -9.326e-05 | 2.7086e-08 | -1.7891e-06 | 0.00055765 | 0.00055828 | 0.00055828 | 0.9919 | -0.058896 | 0.99182 | -0.059432 | 0.20677
35 | 0.00016989 | 3.7121e-05 | -0.00016987 | -4.2355e-05 | 1.6328e-08 | -5.2333e-06 | 0.00025304 | 0.00025478 | 0.00025478 | 0.99191 | -0.058784 | 0.99182 | -0.05957 | 0.094362
36 | 0.00016987 | 4.2355e-05 | -0.00016987 | -4.2573e-05 | 6.8651e-10 | -2.184e-07 | 0.00025478 | 0.00025485 | 0.00025485 | 0.99182 | -0.05957 | 0.99181 | -0.0596 | 0.09439
37 | -0.0017444 | -0.00042318 | 0.0017446 | 0.00042275 | 1.6189e-07 | -4.3042e-07 | 0.0026097 | 0.0026095 | 0.0026097 | 0.99281 | -0.052075 | 0.9929 | -0.051361 | 0.96655
38 | -0.0022889 | -0.00055915 | 0.0022908 | 0.00055649 | 1.9163e-06 | -2.6528e-06 | 0.0034251 | 0.003424 | 0.0034251 | 0.9929 | -0.051361 | 0.99376 | -0.044978 | 1.2686
39 | -0.0024756 | -0.00060282 | 0.0024757 | 0.0006027 | 1.0992e-07 | -1.2437e-07 | 0.0037008 | 0.0037007 | 0.0037008 | 0.99376 | -0.044978 | 0.99381 | -0.044639 | 1.3707
40 | 0.00024157 | 6.0363e-05 | -0.00024157 | -6.0544e-05 | 1.121e-09 | -1.8086e-07 | 0.00035996 | 0.00036003 | 0.00036003 | 0.99844 | -0.011198 | 0.99844 | -0.011232 | 0.13334
41 | -0.00044771 | -0.00011203 | 0.00044777 | 0.00010939 | 5.6456e-08 | -2.6406e-06 | 0.00066718 | 0.00066626 | 0.00066718 | 0.99844 | -0.011198 | 0.99857 | -0.010263 | 0.2471
42 | 0.008419 | 0.0020825 | -0.0083947 | -0.0020764 | 2.4276e-05 | 6.1082e-06 | 0.012536 | 0.012537 | 0.012537 | 0.99857 | -0.010263 | 0.9956 | -0.031663 | 4.6434
43 | 0.0082733 | 0.0020462 | -0.0082703 | -0.0020455 | 3.0105e-06 | 7.4708e-07 | 0.012356 | 0.012356 | 0.012356 | 0.9956 | -0.031663 | 0.99523 | -0.034361 | 4.5762
44 | 0.00012139 | 3.0168e-05 | -0.00012139 | -3.0424e-05 | 4.0413e-10 | -2.5582e-07 | 0.00018134 | 0.00018143 | 0.00018143 | 0.9956 | -0.031663 | 0.9956 | -0.031687 | 0.067197
45 | 0.00026682 | 6.6807e-05 | -0.00026682 | -6.6872e-05 | 4.8839e-10 | -6.4694e-08 | 0.00039741 | 0.00039743 | 0.00039743 | 0.999 | -0.007205 | 0.99899 | -0.0072182 | 0.1472
46 | -0.0079667 | -0.0019695 | 0.0079729 | 0.001971 | 6.1904e-06 | 1.4753e-06 | 0.011919 | 0.011919 | 0.011919 | 0.99381 | -0.044639 | 0.9946 | -0.038877 | 4.4144
47 | 0.0049844 | 0.0012399 | -0.0049749 | -0.0012398 | 9.5331e-06 | 1.1699e-07 | 0.0074598 | 0.0074611 | 0.0074611 | 0.99381 | -0.044639 | 0.99184 | -0.058649 | 2.7634
48 | -0.0079729 | -0.001971 | 0.0079778 | 0.0019722 | 4.8546e-06 | 1.1559e-06 | 0.011919 | 0.011918 | 0.011919 | 0.9946 | -0.038877 | 0.99523 | -0.034361 | 4.4143
49 | 0.00026924 | 6.6609e-05 | -0.00026924 | -6.7477e-05 | 6.8644e-09 | -8.6814e-07 | 0.00040363 | 0.00040393 | 0.00040393 | 0.99184 | -0.058649 | 0.99182 | -0.058835 | 0.14961
50 | 0.0047056 | 0.0011731 | -0.0047053 | -0.0011732 | 3.1011e-07 | -9.4935e-09 | 0.0070574 | 0.0070575 | 0.0070575 | 0.99184 | -0.058649 | 0.99178 | -0.05913 | 2.6139
51 | 0.0021967 | 0.00054605 | -0.0021965 | -0.00054634 | 1.97e-07 | -2.9872e-07 | 0.0032961 | 0.0032963 | 0.0032963 | 0.9912 | -0.063269 | 0.99111 | -0.063927 | 1.2208
52 | -0.0024431 | -0.0006078 | 0.0024439 | 0.00060683 | 8.4275e-07 | -9.7174e-07 | 0.003666 | 0.0036656 | 0.003666 | 0.9912 | -0.063269 | 0.99155 | -0.060736 | 1.3578
53 | 0.0016869 | 0.00041864 | -0.0016867 | -0.00041922 | 2.0239e-07 | -5.7437e-07 | 0.0025313 | 0.0025315 | 0.0025315 | 0.99111 | -0.063927 | 0.99098 | -0.064809 | 0.93759
54 | -0.0037658 | -0.00093812 | 0.0037666 | 0.00093791 | 8.2026e-07 | -2.1592e-07 | 0.0056493 | 0.0056491 | 0.0056493 | 0.99155 | -0.060736 | 0.99177 | -0.059144 | 2.0923
55 | 0.0015273 | 0.00037954 | -0.0015271 | -0.00038004 | 1.4223e-07 | -5.0415e-07 | 0.0022921 | 0.0022923 | 0.0022923 | 0.99098 | -0.064809 | 0.99089 | -0.065492 | 0.84901
56 | 0.00015948 | 3.9678e-05 | -0.00015948 | -3.9969e-05 | 8.0729e-10 | -2.9048e-07 | 0.00023936 | 0.00023947 | 0.00023947 | 0.99098 | -0.064809 | 0.99098 | -0.064846 | 0.088691
57 | -0.0045734 | -0.0011401 | 0.0045734 | 0.0011401 | 8.6365e-09 | -4.7415e-10 | 0.0068596 | 0.0068596 | 0.0068596 | 0.99177 | -0.059144 | 0.99178 | -0.05913 | 2.5406
58 | 0.0011021 | 0.00027393 | -0.001102 | -0.00027472 | 1.0944e-07 | -7.8326e-07 | 0.0016542 | 0.0016545 | 0.0016545 | 0.99089 | -0.065492 | 0.99079 | -0.066219 | 0.61278
59 | 0.00042503 | 0.00010611 | -0.00042502 | -0.00010652 | 8.1685e-09 | -4.1087e-07 | 0.00063812 | 0.00063826 | 0.00063826 | 0.99089 | -0.065492 | 0.99087 | -0.065632 | 0.23639
60 | 0.001102 | 0.00027472 | -0.0011018 | -0.00027613 | 1.982e-07 | -1.4174e-06 | 0.0016545 | 0.001655 | 0.001655 | 0.99079 | -0.066219 | 0.9906 | -0.067525 | 0.61298

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.024966 | 0.0060289

## res_load
| p_mw | q_mvar
0 | 0.0012285 | 0.00030789
1 | 0.00018114 | 4.5399e-05
2 | 0.00014344 | 3.595e-05
3 | 0.00015937 | 3.9941e-05
4 | 0.00010673 | 2.6748e-05
5 | 0.00031052 | 7.7823e-05
6 | 0.00027409 | 6.8694e-05
7 | 0.00013267 | 3.325e-05
8 | 0.00017454 | 4.3743e-05
9 | 0.0005969 | 0.0001496
10 | 0.00030875 | 7.7381e-05
11 | 0.00013646 | 3.4199e-05
12 | 0.00016063 | 4.0257e-05
13 | 0.0002044 | 5.1228e-05
14 | 0.00034854 | 8.7353e-05
15 | 0.001422 | 0.0003564
16 | 0.00014199 | 3.5586e-05
17 | 0.0012355 | 0.00030965
18 | 0.0012831 | 0.00032158
19 | 0.0014303 | 0.00035848
20 | 0.0026138 | 0.00065509
21 | 0.0020645 | 0.00051742
22 | 0.0004834 | 0.00012115
23 | 0.00028138 | 7.052e-05
24 | 0.00010672 | 2.6747e-05
25 | 0.00037211 | 9.326e-05
26 | 0.0003297 | 8.263e-05
27 | 0.00054424 | 0.0001364
28 | 0.00018486 | 4.633e-05
29 | 0.00020614 | 5.1663e-05
30 | 0.00024157 | 6.0544e-05
31 | 0.00022775 | 5.7079e-05
32 | 0.00026682 | 6.6872e-05
33 | 0.00050657 | 0.00012696
34 | 0.00029259 | 7.3329e-05
35 | 0.00012139 | 3.0424e-05
36 | 0.00024639 | 6.1752e-05
37 | 0.00050954 | 0.0001277
38 | 0.0013219 | 0.0003313
39 | 0.00080676 | 0.00020219
40 | 0.00015948 | 3.9969e-05
41 | 0.00013191 | 3.3061e-05
42 | 0.00042502 | 0.00010652
43 | 0.0011018 | 0.00027613
44 | 0.00016987 | 4.2573e-05
45 | 0.00026924 | 6.7477e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1