## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1002-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1002-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1002-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1002-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1002-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1002-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1002-4_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1002-4_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1002-4_0_5_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1002-4_0_5_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_1002-4_0_5_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_1002-4_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1002-4_0_5_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1002-4_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1002-4_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1002-4_0_5_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_1002-4_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1002-4_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1002-4_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1002-4_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1002-4_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1002-4_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1002-4_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1002-4_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1002-4_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1002-4_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1002-4_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1002-4_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1002-4_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_1002-4_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1002-4_0_5_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_1002-4_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1002-4_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1002-4_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_1002-4_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1002-4_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1002-4_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1002-4_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1002-4_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_1002-4_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1002-4_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1002-4_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1002-4_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1002-4_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1002-4_0_5_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1002-4_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1002-4_0_5_node_46 | 0.4 | n |  | TRUE
47 | bus_MV_125_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1002-4_0_5_load_0 | 0 | 0.0014386 | 0.00036054 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1002-4_0_5_load_1 | 1 | 0.0066208 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1002-4_0_5_load_4 | 4 | 0.022638 | 0.0056735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1002-4_0_5_load_5 | 5 | 0.0073062 | 0.0018311 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1002-4_0_5_load_25 | 8 | 0.00086538 | 0.00021688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1002-4_0_5_load_42 | 9 | 7.6009e-05 | 1.905e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1002-4_0_5_load_40 | 10 | 7.7211e-05 | 1.9351e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1002-4_0_5_load_24 | 12 | 0.00094064 | 0.00023575 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1002-4_0_5_load_43 | 13 | 0.00063831 | 0.00015998 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1002-4_0_5_load_29 | 16 | 0.02472 | 0.0061954 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1002-4_0_5_load_8 | 17 | 0.023646 | 0.0059262 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1002-4_0_5_load_9 | 18 | 0.0019394 | 0.00048605 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1002-4_0_5_load_10 | 19 | 0.002775 | 0.00069548 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1002-4_0_5_load_11 | 20 | 0.0007831 | 0.00019626 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1002-4_0_5_load_12 | 21 | 0.0059216 | 0.0014841 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1002-4_0_5_load_13 | 22 | 0.007843 | 0.0019656 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1002-4_0_5_load_16 | 24 | 0.0041063 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1002-4_0_5_load_23 | 27 | 0.0062607 | 0.0015691 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1002-4_0_5_load_47 | 28 | 0.0013531 | 0.00033913 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1002-4_0_5_load_38 | 30 | 0.0020764 | 0.00052039 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1002-4_0_5_load_30 | 31 | 0.0042299 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1002-4_0_5_load_39 | 33 | 0.068566 | 0.017184 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1002-4_0_5_load_36 | 34 | 0.0030239 | 0.00075787 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1002-4_0_5_load_32 | 37 | 0.0029134 | 0.00073018 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1002-4_0_5_load_48 | 38 | 0.013695 | 0.0034324 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1002-4_0_5_load_34 | 39 | 0.0024876 | 0.00062344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1002-4_0_5_load_37 | 40 | 0.0091096 | 0.0022831 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1002-4_0_5_load_33 | 42 | 0.0038146 | 0.00095602 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1002-4_0_5_load_44 | 43 | 7.1742e-05 | 1.798e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1002-4_0_5_load_35 | 44 | 0.0077556 | 0.0019437 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1002-4_0_5_load_45 | 45 | 0.00024053 | 6.0283e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1002-4_0_5_load_46 | 46 | 0.00011628 | 2.9143e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1002-4_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1002-4_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1002-4_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.060333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1002-4_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0033418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1002-4_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.045553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1002-4_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.13881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1002-4_0_5_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1002-4_0_5_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0050996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1002-4_0_5_line_8 | NAYY 4x150 SE | 6 | 9 | 0.085831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1002-4_0_5_line_9 | NAYY 4x150 SE | 6 | 10 | 0.040109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1002-4_0_5_line_10 | NAYY 4x150 SE | 7 | 11 | 0.038324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1002-4_0_5_line_11 | NAYY 4x150 SE | 8 | 12 | 0.035104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1002-4_0_5_line_12 | NAYY 4x150 SE | 9 | 13 | 0.044141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1002-4_0_5_line_13 | NAYY 4x150 SE | 10 | 14 | 0.099594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1002-4_0_5_line_14 | NAYY 4x150 SE | 11 | 16 | 0.011274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1002-4_0_5_line_15 | NAYY 4x150 SE | 12 | 20 | 0.027782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1002-4_0_5_line_16 | NAYY 4x150 SE | 14 | 15 | 0.078076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1002-4_0_5_line_17 | NAYY 4x150 SE | 15 | 43 | 0.088985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1002-4_0_5_line_18 | NAYY 4x150 SE | 16 | 26 | 0.074234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1002-4_0_5_line_19 | NAYY 4x150 SE | 17 | 18 | 0.012633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1002-4_0_5_line_20 | NAYY 4x150 SE | 18 | 19 | 0.010068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1002-4_0_5_line_21 | NAYY 4x150 SE | 19 | 20 | 0.019787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1002-4_0_5_line_22 | NAYY 4x150 SE | 21 | 22 | 0.047532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1002-4_0_5_line_23 | NAYY 4x150 SE | 21 | 23 | 0.019374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1002-4_0_5_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0057228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1002-4_0_5_line_25 | NAYY 4x150 SE | 23 | 25 | 0.10271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1002-4_0_5_line_26 | NAYY 4x150 SE | 23 | 26 | 0.051771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1002-4_0_5_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0098301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1002-4_0_5_line_28 | NAYY 4x150 SE | 25 | 28 | 0.007221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1002-4_0_5_line_29 | NAYY 4x150 SE | 25 | 29 | 0.041995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1002-4_0_5_line_30 | NAYY 4x150 SE | 26 | 31 | 0.021097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1002-4_0_5_line_31 | NAYY 4x150 SE | 27 | 39 | 0.021451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1002-4_0_5_line_32 | NAYY 4x150 SE | 29 | 30 | 0.012677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1002-4_0_5_line_33 | NAYY 4x150 SE | 30 | 40 | 0.0050249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1002-4_0_5_line_34 | NAYY 4x150 SE | 31 | 41 | 0.035345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1002-4_0_5_line_35 | NAYY 4x150 SE | 32 | 33 | 0.004706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1002-4_0_5_line_36 | NAYY 4x150 SE | 32 | 34 | 0.00060578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1002-4_0_5_line_37 | NAYY 4x150 SE | 34 | 40 | 0.010462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1002-4_0_5_line_38 | NAYY 4x150 SE | 35 | 36 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1002-4_0_5_line_39 | NAYY 4x150 SE | 35 | 37 | 0.019758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1002-4_0_5_line_40 | NAYY 4x150 SE | 36 | 38 | 0.007241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1002-4_0_5_line_41 | NAYY 4x150 SE | 37 | 42 | 0.024696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1002-4_0_5_line_42 | NAYY 4x150 SE | 39 | 42 | 0.011814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1002-4_0_5_line_43 | NAYY 4x150 SE | 41 | 44 | 0.0073985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1002-4_0_5_line_44 | NAYY 4x150 SE | 43 | 45 | 0.01914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1002-4_0_5_line_45 | NAYY 4x150 SE | 45 | 46 | 0.039277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1002-4_0_5_trafo_19 | 0.25 MVA 20/0.4 kV | 47 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2647462.3782 | 1204928.3159 | 2647470.2776 | 1204945.1954
1 | 2647454.1741 | 1204909.7903 | 2647460.4643 | 1204924.2264 | 2647462.3782 | 1204928.3159
2 | 2647495.8508 | 1204999.8399 | 2647470.2776 | 1204945.1954
3 | 2647454.1741 | 1204909.7903 | 2647452.9256 | 1204906.6905
4 | 2647495.8508 | 1204999.8399 | 2647505.5913 | 1204998.3832 | 2647521.8989 | 1204990.8863 | 2647523.8786 | 1204988.723 | 2647524.6473 | 1204985.8052 | 2647523.9285 | 1204982.4532 | 2647520.8001 | 1204976.0246 | 2647520.7028 | 1204974.8002
5 | 2647495.8508 | 1204999.8399 | 2647480.2111 | 1205011.3556 | 2647472.1869 | 1205015.0718 | 2647470.4843 | 1205015.8698 | 2647469.0413 | 1205016.5477 | 2647467.7815 | 1205017.138 | 2647460.2794 | 1205022.1591 | 2647452.2616 | 1205017.426 | 2647449.0389 | 1205012.3197 | 2647429.4679 | 1204969.0839 | 2647415.1826 | 1204938.3973
6 | 2647446.7218 | 1204891.2872 | 2647452.9256 | 1204906.6905
7 | 2647520.2988 | 1204969.7166 | 2647520.7028 | 1204974.8002
8 | 2647415.1826 | 1204938.3973 | 2647407.202 | 1204944.293 | 2647403.1729 | 1204954.5225 | 2647404.2159 | 1204965.9151 | 2647416.0116 | 1204989.1998 | 2647415.5307 | 1204997.0783 | 2647411.7965 | 1205005.6203 | 2647402.4673 | 1205009.6359
9 | 2647415.1826 | 1204938.3973 | 2647402.1606 | 1204902.8402 | 2647401.2653 | 1204900.7838
10 | 2647451.879 | 1204858.765 | 2647451.1432 | 1204863.2951 | 2647450.1568 | 1204866.8115 | 2647448.7733 | 1204869.5688 | 2647446.746 | 1204871.9652 | 2647444.0082 | 1204873.8 | 2647440.9637 | 1204874.9765 | 2647441.7986 | 1204877.1288 | 2647446.7218 | 1204891.2872
11 | 2647520.2988 | 1204969.7166 | 2647520.1778 | 1204968.1929 | 2647520.4449 | 1204934.6189
12 | 2647402.4673 | 1205009.6359 | 2647391.2796 | 1205014.4515 | 2647374.0365 | 1205019.0953 | 2647359.9815 | 1205020.2568
13 | 2647336.5146 | 1204826.8984 | 2647339.2751 | 1204831.8009 | 2647342.8713 | 1204836.8323 | 2647346.9365 | 1204841.2448 | 2647351.8624 | 1204845.5085 | 2647358.0219 | 1204850.5602 | 2647370.872 | 1204859.9008 | 2647376.1523 | 1204864.5453 | 2647381.3518 | 1204869.8006 | 2647388.6791 | 1204879.1419 | 2647395.6961 | 1204889.2589 | 2647399.12 | 1204895.8565 | 2647401.2653 | 1204900.7838
14 | 2647451.879 | 1204858.765 | 2647462.8359 | 1204860.3084 | 2647463.0449 | 1204860.3021
15 | 2647520.4449 | 1204934.6189 | 2647520.5832 | 1204917.2334 | 2647519.2487 | 1204912.8648 | 2647517.022 | 1204907.4787
16 | 2647336.5146 | 1204826.8984 | 2647276.4357 | 1204857.585 | 2647277.8362 | 1204860.3643 | 2647278.7586 | 1204867.8092
17 | 2647278.7586 | 1204867.8092 | 2647280.5357 | 1204873.9379 | 2647283.4596 | 1204882.2214 | 2647296.4987 | 1204912.8422 | 2647300.8603 | 1204936.4903 | 2647302.9329 | 1204952.8506
18 | 2647536.942 | 1204856.4952 | 2647530.2391 | 1204858.5653 | 2647513.8979 | 1204858.7688 | 2647463.0449 | 1204860.3021
19 | 2647500.7888 | 1204868.214 | 2647505.6155 | 1204879.8888
20 | 2647509.462 | 1204889.1926 | 2647505.6155 | 1204879.8888
21 | 2647509.462 | 1204889.1926 | 2647517.022 | 1204907.4787
22 | 2647583.8437 | 1204858.9361 | 2647595.6398 | 1204857.0628 | 2647610.8604 | 1204855.2607 | 2647611.8356 | 1204835.0235
23 | 2647564.7092 | 1204861.9749 | 2647583.8437 | 1204858.9361
24 | 2647564.7092 | 1204861.9749 | 2647563.9375 | 1204856.3043
25 | 2647564.7092 | 1204861.9749 | 2647564.2922 | 1204866.5742 | 2647562.1673 | 1204870.7152 | 2647558.9725 | 1204875.4814 | 2647556.3386 | 1204877.6395 | 2647550.5319 | 1204879.8835 | 2647552.9635 | 1204886.8958 | 2647554.5053 | 1204892.9337 | 2647555.6952 | 1204898.2574 | 2647556.804 | 1204902.3019 | 2647558.1683 | 1204905.7814 | 2647559.9278 | 1204909.3196 | 2647562.2509 | 1204912.7623 | 2647564.7581 | 1204916.0064 | 2647568.1849 | 1204919.3578 | 2647571.616 | 1204922.1645 | 2647575.6133 | 1204924.5644 | 2647578.8483 | 1204926.2133 | 2647582.0864 | 1204927.462 | 2647581.6523 | 1204917.9753 | 2647575.3133 | 1204912.5662
26 | 2647536.942 | 1204856.4952 | 2647540.6269 | 1204861.8387 | 2647544.1155 | 1204866.9806 | 2647546.9736 | 1204872.0284 | 2647549.0755 | 1204876.4922 | 2647550.5319 | 1204879.8835 | 2647556.3386 | 1204877.6395 | 2647558.9725 | 1204875.4814 | 2647562.1673 | 1204870.7152 | 2647564.2922 | 1204866.5742 | 2647564.7092 | 1204861.9749
27 | 2647563.9375 | 1204856.3043 | 2647563.2144 | 1204850.99 | 2647561.9056 | 1204846.7192
28 | 2647575.3133 | 1204912.5662 | 2647578.514 | 1204907.0663 | 2647577.772 | 1204906.6268
29 | 2647575.3133 | 1204912.5662 | 2647581.6523 | 1204917.9753 | 2647582.0864 | 1204927.462 | 2647587.6621 | 1204929.3853 | 2647592.7342 | 1204930.5486 | 2647599.8443 | 1204931.7837 | 2647605.6342 | 1204932.597
30 | 2647536.942 | 1204856.4952 | 2647531.6778 | 1204849.8384 | 2647527.4755 | 1204845.4692 | 2647522.8088 | 1204841.1518 | 2647522.6605 | 1204841.032
31 | 2647561.9056 | 1204846.7192 | 2647555.7557 | 1204826.65 | 2647555.6951 | 1204826.1929
32 | 2647605.6342 | 1204932.597 | 2647608.6869 | 1204920.2931
33 | 2647609.897 | 1204915.416 | 2647608.6869 | 1204920.2931
34 | 2647495.3139 | 1204818.6425 | 2647502.9832 | 1204825.1405 | 2647522.6605 | 1204841.032
35 | 2647607.227 | 1204903.593 | 2647611.8521 | 1204904.5303
36 | 2647611.758 | 1204905.1288 | 2647611.8521 | 1204904.5303
37 | 2647611.758 | 1204905.1288 | 2647610.5619 | 1204912.7359 | 2647609.897 | 1204915.416
38 | 2647559.2798 | 1204770.9682 | 2647560.9575 | 1204766.6235 | 2647569.8309 | 1204768.0838
39 | 2647559.2798 | 1204770.9682 | 2647555.4112 | 1204782.0104 | 2647553.9284 | 1204789.9309
40 | 2647571.2806 | 1204775.1772 | 2647569.8309 | 1204768.0838
41 | 2647554.1444 | 1204814.481 | 2647553.0075 | 1204805.8939 | 2647553.1708 | 1204793.9772 | 2647553.9284 | 1204789.9309
42 | 2647554.1444 | 1204814.481 | 2647555.6951 | 1204826.1929
43 | 2647495.3139 | 1204818.6425 | 2647496.2318 | 1204811.3011
44 | 2647302.9329 | 1204952.8506 | 2647305.0842 | 1204969.8318 | 2647305.5419 | 1204971.8027
45 | 2647305.5419 | 1204971.8027 | 2647307.2542 | 1204979.1766 | 2647308.2904 | 1204990.4913 | 2647307.0524 | 1205004.6563 | 2647305.3371 | 1205010.5375

## bus_geodata
| x | y | coords
0 | 2647462.3782 | 1204928.3159
1 | 2647470.2776 | 1204945.1954
2 | 2647454.1741 | 1204909.7903
3 | 2647495.8508 | 1204999.8399
4 | 2647452.9256 | 1204906.6905
5 | 2647520.7028 | 1204974.8002
6 | 2647415.1826 | 1204938.3973
7 | 2647446.7218 | 1204891.2872
8 | 2647520.2988 | 1204969.7166
9 | 2647402.4673 | 1205009.6359
10 | 2647401.2653 | 1204900.7838
11 | 2647451.879 | 1204858.765
12 | 2647520.4449 | 1204934.6189
13 | 2647359.9815 | 1205020.2568
14 | 2647336.5146 | 1204826.8984
15 | 2647278.7586 | 1204867.8092
16 | 2647463.0449 | 1204860.3021
17 | 2647500.7888 | 1204868.214
18 | 2647505.6155 | 1204879.8888
19 | 2647509.462 | 1204889.1926
20 | 2647517.022 | 1204907.4787
21 | 2647583.8437 | 1204858.9361
22 | 2647611.8356 | 1204835.0235
23 | 2647564.7092 | 1204861.9749
24 | 2647563.9375 | 1204856.3043
25 | 2647575.3133 | 1204912.5662
26 | 2647536.942 | 1204856.4952
27 | 2647561.9056 | 1204846.7192
28 | 2647577.772 | 1204906.6268
29 | 2647605.6342 | 1204932.597
30 | 2647608.6869 | 1204920.2931
31 | 2647522.6605 | 1204841.032
32 | 2647611.8521 | 1204904.5303
33 | 2647607.227 | 1204903.593
34 | 2647611.758 | 1204905.1288
35 | 2647559.2798 | 1204770.9682
36 | 2647569.8309 | 1204768.0838
37 | 2647553.9284 | 1204789.9309
38 | 2647571.2806 | 1204775.1772
39 | 2647555.6951 | 1204826.1929
40 | 2647609.897 | 1204915.416
41 | 2647495.3139 | 1204818.6425
42 | 2647554.1444 | 1204814.481
43 | 2647302.9329 | 1204952.8506
44 | 2647496.2318 | 1204811.3011
45 | 2647305.5419 | 1204971.8027
46 | 2647305.3371 | 1205010.5375
47 | 2647550.5319 | 1204879.8835

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98651 | -0.094096 | 0.0014386 | 0.00036054
1 | 0.98526 | -0.10293 | 0.0066208 | 0.0016593
2 | 0.98792 | -0.084216 | 0 | 0
3 | 0.98178 | -0.12755 | 0 | 0
4 | 0.98815 | -0.082589 | 0.022638 | 0.0056735
5 | 0.97924 | -0.14565 | 0.0073062 | 0.0018311
6 | 0.98154 | -0.12938 | 0 | 0
7 | 0.98984 | -0.070684 | 0 | 0
8 | 0.97901 | -0.14729 | 0.00086538 | 0.00021688
9 | 0.98145 | -0.13003 | 7.6009e-05 | 1.905e-05
10 | 0.98151 | -0.12961 | 7.7211e-05 | 1.9351e-05
11 | 0.99375 | -0.043365 | 0 | 0
12 | 0.97746 | -0.15831 | 0.00094064 | 0.00023575
13 | 0.98141 | -0.13032 | 0.00063831 | 0.00015998
14 | 0.98145 | -0.13008 | 0 | 0
15 | 0.9814 | -0.13044 | 0 | 0
16 | 0.9949 | -0.035368 | 0.02472 | 0.0061954
17 | 0.97464 | -0.1785 | 0.023646 | 0.0059262
18 | 0.97508 | -0.17536 | 0.0019394 | 0.00048605
19 | 0.97546 | -0.17266 | 0.002775 | 0.00069548
20 | 0.97628 | -0.16678 | 0.0007831 | 0.00019626
21 | 0.99468 | -0.036756 | 0.0059216 | 0.0014841
22 | 0.99415 | -0.040519 | 0.007843 | 0.0019656
23 | 0.99506 | -0.034066 | 0 | 0
24 | 0.99479 | -0.035987 | 0.0041063 | 0.0010291
25 | 0.98242 | -0.12229 | 0 | 0
26 | 1 | 0 | -0.24278 | -0.061151
27 | 0.99438 | -0.038881 | 0.0062607 | 0.0015691
28 | 0.9824 | -0.12239 | 0.0013531 | 0.00033913
29 | 0.97733 | -0.15843 | 0 | 0
30 | 0.97579 | -0.16941 | 0.0020764 | 0.00052039
31 | 0.99964 | -0.0025256 | 0.0042299 | 0.0010601
32 | 0.97404 | -0.18197 | 0 | 0
33 | 0.97357 | -0.18536 | 0.068566 | 0.017184
34 | 0.9741 | -0.18153 | 0.0030239 | 0.00075787
35 | 0.99235 | -0.053182 | 0 | 0
36 | 0.99208 | -0.055077 | 0 | 0
37 | 0.99274 | -0.05044 | 0.0029134 | 0.00073018
38 | 0.99194 | -0.056083 | 0.013695 | 0.0034324
39 | 0.99367 | -0.043847 | 0.0024876 | 0.00062344
40 | 0.9752 | -0.17366 | 0.0091096 | 0.0022831
41 | 0.99925 | -0.0052653 | 0 | 0
42 | 0.99333 | -0.046287 | 0.0038146 | 0.00095602
43 | 0.98134 | -0.13084 | 7.1742e-05 | 1.798e-05
44 | 0.99917 | -0.005839 | 0.0077556 | 0.0019437
45 | 0.98133 | -0.13091 | 0.00024053 | 6.0283e-05
46 | 0.98133 | -0.13096 | 0.00011628 | 2.9143e-05
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.046518 | 0.011704 | -0.04646 | -0.011682 | 5.7279e-05 | 2.1793e-05 | 0.070181 | 0.070182 | 0.070182 | 0.98651 | -0.094096 | 0.98526 | -0.10293 | 25.9932
1 | -0.047956 | -0.012064 | 0.048022 | 0.01209 | 6.6186e-05 | 2.5197e-05 | 0.072351 | 0.072351 | 0.072351 | 0.98651 | -0.094096 | 0.98792 | -0.084216 | 26.7968
2 | 0.03984 | 0.010023 | -0.039703 | -0.0099711 | 0.00013636 | 5.1679e-05 | 0.060182 | 0.060183 | 0.060183 | 0.98526 | -0.10293 | 0.98178 | -0.12755 | 22.2899
3 | -0.048022 | -0.01209 | 0.048033 | 0.012094 | 1.0916e-05 | 4.1557e-06 | 0.072351 | 0.072351 | 0.072351 | 0.98792 | -0.084216 | 0.98815 | -0.082589 | 26.7968
4 | 0.038483 | 0.0096732 | -0.038386 | -0.0096365 | 9.6732e-05 | 3.663e-05 | 0.058336 | 0.058336 | 0.058336 | 0.98178 | -0.12755 | 0.97924 | -0.14565 | 21.6058
5 | 0.0012206 | 0.00029795 | -0.0012203 | -0.00029959 | 2.9563e-07 | -1.6413e-06 | 0.0018471 | 0.0018477 | 0.0018477 | 0.98178 | -0.12755 | 0.98154 | -0.12938 | 0.68434
6 | -0.070671 | -0.017767 | 0.070788 | 0.017812 | 0.0001174 | 4.4939e-05 | 0.10644 | 0.10644 | 0.10644 | 0.98815 | -0.082589 | 0.98984 | -0.070684 | 39.4224
7 | 0.03108 | 0.0078054 | -0.031073 | -0.0078028 | 7.0994e-06 | 2.6664e-06 | 0.047233 | 0.047234 | 0.047234 | 0.97924 | -0.14565 | 0.97901 | -0.14729 | 17.4939
8 | 0.00071441 | 0.00017742 | -0.00071435 | -0.00017848 | 6.278e-08 | -1.0606e-06 | 0.0010825 | 0.0010829 | 0.0010829 | 0.98154 | -0.12938 | 0.98145 | -0.13003 | 0.40106
9 | 0.00050585 | 0.00012218 | -0.00050584 | -0.00012268 | 1.4661e-08 | -5.013e-07 | 0.00076526 | 0.00076544 | 0.00076544 | 0.98154 | -0.12938 | 0.98151 | -0.12961 | 0.2835
10 | -0.070788 | -0.017812 | 0.071059 | 0.017916 | 0.00027093 | 0.00010371 | 0.10644 | 0.10644 | 0.10644 | 0.98984 | -0.070684 | 0.99375 | -0.043365 | 39.4223
11 | 0.030207 | 0.0075859 | -0.030161 | -0.0075686 | 4.6186e-05 | 1.7323e-05 | 0.045918 | 0.045918 | 0.045918 | 0.97901 | -0.14729 | 0.97746 | -0.15831 | 17.0068
12 | 0.00063834 | 0.00015943 | -0.00063831 | -0.00015998 | 2.5794e-08 | -5.4786e-07 | 0.00096762 | 0.00096782 | 0.00096782 | 0.98145 | -0.13003 | 0.98141 | -0.13032 | 0.35845
13 | 0.00042863 | 0.00010333 | -0.0004286 | -0.00010458 | 2.6144e-08 | -1.2486e-06 | 0.00064839 | 0.00064882 | 0.00064882 | 0.98151 | -0.12961 | 0.98145 | -0.13008 | 0.2403
14 | -0.071059 | -0.017916 | 0.071139 | 0.017946 | 7.9704e-05 | 3.0509e-05 | 0.10644 | 0.10644 | 0.10644 | 0.99375 | -0.043365 | 0.9949 | -0.035368 | 39.4223
15 | 0.02922 | 0.0073328 | -0.029186 | -0.00732 | 3.4309e-05 | 1.2848e-05 | 0.044486 | 0.044487 | 0.044487 | 0.97746 | -0.15831 | 0.97628 | -0.16678 | 16.4765
16 | 0.0004286 | 0.00010458 | -0.00042858 | -0.00010555 | 2.052e-08 | -9.7871e-07 | 0.00064882 | 0.00064917 | 0.00064917 | 0.98145 | -0.13008 | 0.9814 | -0.13044 | 0.24043
17 | 0.00042858 | 0.00010555 | -0.00042856 | -0.00010667 | 2.3414e-08 | -1.1153e-06 | 0.00064917 | 0.00064956 | 0.00064956 | 0.9814 | -0.13044 | 0.98134 | -0.13084 | 0.24058
18 | -0.095859 | -0.024142 | 0.096335 | 0.024323 | 0.00047635 | 0.00018127 | 0.14341 | 0.14341 | 0.14341 | 0.9949 | -0.035368 | 1 | 0 | 26.5578
19 | -0.023646 | -0.0059262 | 0.023656 | 0.0059299 | 1.0274e-05 | 3.7939e-06 | 0.0361 | 0.0361 | 0.0361 | 0.97464 | -0.1785 | 0.97508 | -0.17536 | 13.3705
20 | -0.025595 | -0.006416 | 0.025605 | 0.0064196 | 9.5846e-06 | 3.5608e-06 | 0.03906 | 0.03906 | 0.03906 | 0.97508 | -0.17536 | 0.97546 | -0.17266 | 14.4666
21 | -0.02838 | -0.007115 | 0.028403 | 0.0071237 | 2.3142e-05 | 8.6536e-06 | 0.043293 | 0.043293 | 0.043293 | 0.97546 | -0.17266 | 0.97628 | -0.16678 | 16.0345
22 | 0.007847 | 0.0019666 | -0.007843 | -0.0019656 | 4.0873e-06 | 9.5539e-07 | 0.011739 | 0.011739 | 0.011739 | 0.99468 | -0.036756 | 0.99415 | -0.040519 | 4.3478
23 | -0.013769 | -0.0034507 | 0.013774 | 0.0034524 | 5.1291e-06 | 1.7211e-06 | 0.020598 | 0.020597 | 0.020598 | 0.99468 | -0.036756 | 0.99506 | -0.034066 | 7.6287
24 | 0.033341 | 0.0083632 | -0.033333 | -0.0083599 | 8.8781e-06 | 3.3403e-06 | 0.049861 | 0.049861 | 0.049861 | 0.99506 | -0.034066 | 0.99479 | -0.035987 | 18.4671
25 | 0.085896 | 0.021762 | -0.084837 | -0.021356 | 0.0010588 | 0.00040589 | 0.12853 | 0.12853 | 0.12853 | 0.99506 | -0.034066 | 0.98242 | -0.12229 | 47.6042
26 | -0.13301 | -0.033577 | 0.13365 | 0.033822 | 0.00063958 | 0.00024464 | 0.19899 | 0.19899 | 0.19899 | 0.99506 | -0.034066 | 1 | 0 | 36.8499
27 | 0.029226 | 0.0073307 | -0.029215 | -0.0073263 | 1.1724e-05 | 4.3818e-06 | 0.043719 | 0.043719 | 0.043719 | 0.99479 | -0.035987 | 0.99438 | -0.038881 | 16.1922
28 | 0.0013532 | 0.00033904 | -0.0013531 | -0.00033913 | 1.8927e-08 | -8.4151e-08 | 0.0020495 | 0.0020495 | 0.0020495 | 0.98242 | -0.12229 | 0.9824 | -0.12239 | 0.75909
29 | 0.083484 | 0.021017 | -0.083064 | -0.020856 | 0.00041922 | 0.00016071 | 0.12648 | 0.12648 | 0.12648 | 0.98242 | -0.12229 | 0.97733 | -0.15843 | 46.8452
30 | 0.011993 | 0.003006 | -0.011989 | -0.0030047 | 4.1928e-06 | 1.3359e-06 | 0.017846 | 0.017846 | 0.017846 | 1 | 0 | 0.99964 | -0.0025256 | 6.6098
31 | 0.022954 | 0.0057573 | -0.022938 | -0.0057515 | 1.5794e-05 | 5.7967e-06 | 0.03435 | 0.03435 | 0.03435 | 0.99438 | -0.038881 | 0.99367 | -0.043847 | 12.7224
32 | 0.083064 | 0.020856 | -0.082938 | -0.020808 | 0.00012655 | 4.8514e-05 | 0.12648 | 0.12648 | 0.12648 | 0.97733 | -0.15843 | 0.97579 | -0.16941 | 46.8452
33 | 0.080861 | 0.020287 | -0.080814 | -0.020269 | 4.7681e-05 | 1.8276e-05 | 0.12332 | 0.12332 | 0.12332 | 0.97579 | -0.16941 | 0.9752 | -0.17366 | 45.6725
34 | 0.0077591 | 0.0019445 | -0.0077562 | -0.0019439 | 2.9422e-06 | 6.6843e-07 | 0.01155 | 0.01155 | 0.01155 | 0.99964 | -0.0025256 | 0.99925 | -0.0052653 | 4.2778
35 | 0.068598 | 0.017197 | -0.068566 | -0.017184 | 3.225e-05 | 1.2345e-05 | 0.1048 | 0.1048 | 0.1048 | 0.97404 | -0.18197 | 0.97357 | -0.18536 | 38.8136
36 | -0.068598 | -0.017197 | 0.068602 | 0.017198 | 4.1514e-06 | 1.5892e-06 | 0.1048 | 0.1048 | 0.1048 | 0.97404 | -0.18197 | 0.9741 | -0.18153 | 38.8136
37 | -0.071626 | -0.017956 | 0.071704 | 0.017986 | 7.8155e-05 | 2.9929e-05 | 0.10942 | 0.10942 | 0.10942 | 0.9741 | -0.18153 | 0.9752 | -0.17366 | 40.5244
38 | 0.013701 | 0.0034342 | -0.013697 | -0.003433 | 3.5951e-06 | 1.2064e-06 | 0.020544 | 0.020544 | 0.020544 | 0.99235 | -0.053182 | 0.99208 | -0.055077 | 7.6091
39 | -0.013701 | -0.0034342 | 0.013706 | 0.003436 | 5.2038e-06 | 1.7461e-06 | 0.020544 | 0.020544 | 0.020544 | 0.99235 | -0.053182 | 0.99274 | -0.05044 | 7.609
40 | 0.013697 | 0.003433 | -0.013695 | -0.0034324 | 1.9071e-06 | 6.4002e-07 | 0.020544 | 0.020545 | 0.020545 | 0.99208 | -0.055077 | 0.99194 | -0.056083 | 7.6091
41 | -0.016619 | -0.0041661 | 0.016629 | 0.0041695 | 9.5633e-06 | 3.3587e-06 | 0.024911 | 0.024911 | 0.024911 | 0.99274 | -0.05044 | 0.99333 | -0.046287 | 9.2264
42 | 0.020451 | 0.005128 | -0.020444 | -0.0051255 | 6.9143e-06 | 2.5064e-06 | 0.030625 | 0.030625 | 0.030625 | 0.99367 | -0.043847 | 0.99333 | -0.046287 | 11.3428
43 | 0.0077562 | 0.0019439 | -0.0077556 | -0.0019437 | 6.1588e-07 | 1.3997e-07 | 0.01155 | 0.01155 | 0.01155 | 0.99925 | -0.0052653 | 0.99917 | -0.005839 | 4.2778
44 | 0.00035682 | 8.8689e-05 | -0.00035681 | -8.893e-05 | 3.4934e-09 | -2.4048e-07 | 0.00054078 | 0.00054087 | 0.00054087 | 0.98134 | -0.13084 | 0.98133 | -0.13091 | 0.20032
45 | 0.00011628 | 2.8647e-05 | -0.00011628 | -2.9143e-05 | 7.612e-10 | -4.9594e-07 | 0.00017614 | 0.00017632 | 0.00017632 | 0.98133 | -0.13091 | 0.98133 | -0.13096 | 0.065304

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24278 | 0.061151

## res_load
| p_mw | q_mvar
0 | 0.0014386 | 0.00036054
1 | 0.0066208 | 0.0016593
2 | 0.022638 | 0.0056735
3 | 0.0073062 | 0.0018311
4 | 0.00086538 | 0.00021688
5 | 7.6009e-05 | 1.905e-05
6 | 7.7211e-05 | 1.9351e-05
7 | 0.00094064 | 0.00023575
8 | 0.00063831 | 0.00015998
9 | 0.02472 | 0.0061954
10 | 0.023646 | 0.0059262
11 | 0.0019394 | 0.00048605
12 | 0.002775 | 0.00069548
13 | 0.0007831 | 0.00019626
14 | 0.0059216 | 0.0014841
15 | 0.007843 | 0.0019656
16 | 0.0041063 | 0.0010291
17 | 0.0062607 | 0.0015691
18 | 0.0013531 | 0.00033913
19 | 0.0020764 | 0.00052039
20 | 0.0042299 | 0.0010601
21 | 0.068566 | 0.017184
22 | 0.0030239 | 0.00075787
23 | 0.0029134 | 0.00073018
24 | 0.013695 | 0.0034324
25 | 0.0024876 | 0.00062344
26 | 0.0091096 | 0.0022831
27 | 0.0038146 | 0.00095602
28 | 7.1742e-05 | 1.798e-05
29 | 0.0077556 | 0.0019437
30 | 0.00024053 | 6.0283e-05
31 | 0.00011628 | 2.9143e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1