## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1002-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1002-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1002-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1002-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1002-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1002-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1002-6_0_3_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1002-6_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1002-6_0_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1002-6_0_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_1002-6_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1002-6_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1002-6_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1002-6_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1002-6_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1002-6_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1002-6_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1002-6_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1002-6_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1002-6_0_3_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_1002-6_0_3_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_1002-6_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1002-6_0_3_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_1002-6_0_3_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1002-6_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1002-6_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1002-6_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1002-6_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1002-6_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1002-6_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1002-6_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1002-6_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1002-6_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1002-6_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1002-6_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1002-6_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1002-6_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_1002-6_0_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_1002-6_0_3_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_1002-6_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1002-6_0_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1002-6_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1002-6_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_1002-6_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1002-6_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1002-6_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_1002-6_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1002-6_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1002-6_0_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_1002-6_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1002-6_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1002-6_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1002-6_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1002-6_0_3_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_1002-6_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_1002-6_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1002-6_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_1002-6_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_1002-6_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1002-6_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1002-6_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1002-6_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1002-6_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1002-6_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_1002-6_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1002-6_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1002-6_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1002-6_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_MV_125_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1002-6_0_3_load_0 | 0 | 0.002516 | 0.00063058 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1002-6_0_3_load_1 | 1 | 0.0010006 | 0.00025078 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1002-6_0_3_load_3 | 3 | 0.00050293 | 0.00012605 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1002-6_0_3_load_5 | 5 | 0.00032025 | 8.0263e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1002-6_0_3_load_25 | 7 | 0.0006572 | 0.00016471 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1002-6_0_3_load_42 | 8 | 0.00032024 | 8.0258e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1002-6_0_3_load_30 | 10 | 0.0099324 | 0.0024893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1002-6_0_3_load_37 | 13 | 0.00053506 | 0.0001341 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1002-6_0_3_load_6 | 14 | 0.0016064 | 0.0004026 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1002-6_0_3_load_10 | 16 | 0.0050767 | 0.0012723 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1002-6_0_3_load_11 | 17 | 0.00030448 | 7.6309e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1002-6_0_3_load_64 | 19 | 0.0010663 | 0.00026724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1002-6_0_3_load_41 | 21 | 0.059288 | 0.014859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1002-6_0_3_load_63 | 22 | 0.0013275 | 0.00033269 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1002-6_0_3_load_69 | 23 | 0.00065883 | 0.00016512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1002-6_0_3_load_23 | 24 | 0.0066997 | 0.0016791 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1002-6_0_3_load_12 | 25 | 0.0068986 | 0.0017289 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1002-6_0_3_load_15 | 28 | 0.00097556 | 0.0002445 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1002-6_0_3_load_20 | 30 | 0.021241 | 0.0053236 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1002-6_0_3_load_21 | 31 | 0.00037795 | 9.4723e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1002-6_0_3_load_40 | 33 | 0.013281 | 0.0033287 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1002-6_0_3_load_24 | 34 | 0.00096617 | 0.00024215 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1002-6_0_3_load_22 | 35 | 0.024111 | 0.0060428 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1002-6_0_3_load_54 | 38 | 0.00085266 | 0.0002137 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1002-6_0_3_load_58 | 40 | 0.0020139 | 0.00050472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1002-6_0_3_load_38 | 41 | 0.0052565 | 0.0013174 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1002-6_0_3_load_55 | 42 | 0.0005331 | 0.00013361 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1002-6_0_3_load_33 | 44 | 0.0020552 | 0.00051509 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1002-6_0_3_load_29 | 45 | 0.0024815 | 0.00062193 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1002-6_0_3_load_53 | 46 | 0.0029472 | 0.00073864 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1002-6_0_3_load_51 | 47 | 0.0041021 | 0.0010281 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1002-6_0_3_load_59 | 48 | 0.0018279 | 0.00045812 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1002-6_0_3_load_47 | 49 | 0.0021039 | 0.00052729 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1002-6_0_3_load_44 | 50 | 0.00044449 | 0.0001114 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1002-6_0_3_load_45 | 51 | 0.0013208 | 0.00033102 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1002-6_0_3_load_39 | 52 | 0.0019138 | 0.00047964 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1002-6_0_3_load_68 | 53 | 0.00028695 | 7.1917e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1002-6_0_3_load_66 | 54 | 0.0020221 | 0.0005068 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1002-6_0_3_load_34 | 55 | 0.00046752 | 0.00011717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1002-6_0_3_load_35 | 56 | 0.0015818 | 0.00039643 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1002-6_0_3_load_36 | 57 | 0.00257 | 0.00064409 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1002-6_0_3_load_65 | 58 | 0.00050892 | 0.00012755 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1002-6_0_3_load_48 | 59 | 0.0031798 | 0.00079694 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1002-6_0_3_load_49 | 60 | 0.00033372 | 8.3639e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1002-6_0_3_load_50 | 61 | 0.010015 | 0.00251 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1002-6_0_3_load_57 | 63 | 0.0010353 | 0.00025948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1002-6_0_3_load_61 | 65 | 0.0010562 | 0.00026471 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1002-6_0_3_load_62 | 66 | 0.00089481 | 0.00022426 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1002-6_0_3_load_67 | 67 | 0.0013027 | 0.00032649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1002-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1002-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1002-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0034048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1002-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.005385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1002-6_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.018209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1002-6_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.13474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1002-6_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.025533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1002-6_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 1.0469e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1002-6_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.17632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1002-6_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.10594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1002-6_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.016271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1002-6_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.030485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1002-6_0_3_line_12 | NAYY 4x150 SE | 9 | 53 | 0.024286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1002-6_0_3_line_13 | NAYY 4x150 SE | 9 | 54 | 0.024042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1002-6_0_3_line_14 | NAYY 4x150 SE | 10 | 45 | 0.035384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1002-6_0_3_line_15 | NAYY 4x150 SE | 11 | 12 | 0.010763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1002-6_0_3_line_16 | NAYY 4x150 SE | 12 | 49 | 0.013925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1002-6_0_3_line_17 | NAYY 4x150 SE | 12 | 50 | 0.011755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1002-6_0_3_line_18 | NAYY 4x150 SE | 13 | 56 | 0.0068117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1002-6_0_3_line_19 | NAYY 4x150 SE | 14 | 15 | 0.073074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1002-6_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.030922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1002-6_0_3_line_21 | NAYY 4x150 SE | 15 | 17 | 0.025553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1002-6_0_3_line_22 | NAYY 4x150 SE | 16 | 21 | 0.0071123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1002-6_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.17588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1002-6_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.14563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1002-6_0_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.013148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1002-6_0_3_line_26 | NAYY 4x150 SE | 20 | 23 | 0.080326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1002-6_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.010801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1002-6_0_3_line_28 | NAYY 4x150 SE | 22 | 66 | 0.013023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1002-6_0_3_line_29 | NAYY 4x150 SE | 24 | 32 | 0.014478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1002-6_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.02393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1002-6_0_3_line_31 | NAYY 4x150 SE | 25 | 27 | 0.032354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1002-6_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.0043199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1002-6_0_3_line_33 | NAYY 4x150 SE | 26 | 29 | 0.0084402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1002-6_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.043893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1002-6_0_3_line_35 | NAYY 4x150 SE | 27 | 31 | 0.059504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1002-6_0_3_line_36 | NAYY 4x150 SE | 27 | 32 | 0.013652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1002-6_0_3_line_37 | NAYY 4x150 SE | 28 | 33 | 0.058047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1002-6_0_3_line_38 | NAYY 4x150 SE | 29 | 34 | 0.0090347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1002-6_0_3_line_39 | NAYY 4x150 SE | 31 | 39 | 0.017435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1002-6_0_3_line_40 | NAYY 4x150 SE | 32 | 35 | 0.028987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1002-6_0_3_line_41 | NAYY 4x150 SE | 33 | 41 | 0.076601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1002-6_0_3_line_42 | NAYY 4x150 SE | 34 | 42 | 0.028184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1002-6_0_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.026023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1002-6_0_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.015864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1002-6_0_3_line_45 | NAYY 4x150 SE | 37 | 46 | 0.020141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1002-6_0_3_line_46 | NAYY 4x150 SE | 37 | 47 | 0.037133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1002-6_0_3_line_47 | NAYY 4x150 SE | 38 | 42 | 0.039907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1002-6_0_3_line_48 | NAYY 4x150 SE | 39 | 40 | 0.026689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1002-6_0_3_line_49 | NAYY 4x150 SE | 40 | 48 | 0.020061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1002-6_0_3_line_50 | NAYY 4x150 SE | 41 | 52 | 0.033099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1002-6_0_3_line_51 | NAYY 4x150 SE | 43 | 44 | 0.051358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1002-6_0_3_line_52 | NAYY 4x150 SE | 43 | 45 | 0.044082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1002-6_0_3_line_53 | NAYY 4x150 SE | 44 | 52 | 0.024559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1002-6_0_3_line_54 | NAYY 4x150 SE | 46 | 62 | 0.19269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1002-6_0_3_line_55 | NAYY 4x150 SE | 47 | 60 | 0.0073276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1002-6_0_3_line_56 | NAYY 4x150 SE | 50 | 51 | 0.057414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1002-6_0_3_line_57 | NAYY 4x150 SE | 54 | 58 | 0.020357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1002-6_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.024719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1002-6_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.16007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1002-6_0_3_line_60 | NAYY 4x150 SE | 58 | 67 | 0.0098135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1002-6_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.015876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1002-6_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.024859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1002-6_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.019195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1002-6_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.04076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1002-6_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.018133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1002-6_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.020773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1002-6_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 68 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2647782.3534 | 1205917.7091 | 2647787.5952 | 1205922.2647 | 2647798.9338 | 1205927.3565
1 | 2647780.218 | 1205902.2831 | 2647780.3419 | 1205910.5555 | 2647782.3534 | 1205917.7091
2 | 2647798.9338 | 1205927.3565 | 2647802.0399 | 1205928.7513
3 | 2647782.9248 | 1205897.6242 | 2647780.218 | 1205902.2831
4 | 2647780.218 | 1205902.2831 | 2647768.3242 | 1205898.319 | 2647762.6621 | 1205897.9807
5 | 2647887.0706 | 1206030.0568 | 2647876.889 | 1206020.314 | 2647868.4635 | 1206013.5092 | 2647856.3253 | 1206000.2154 | 2647850.7561 | 1205990.0316 | 2647840.3901 | 1205966.2682 | 2647830.1373 | 1205952.1001 | 2647818.741 | 1205940.1687 | 2647805.0632 | 1205930.109 | 2647802.0399 | 1205928.7513
6 | 2647782.9248 | 1205897.6242 | 2647779.1115 | 1205890.3896 | 2647775.9091 | 1205876.178 | 2647775.8851 | 1205873.3909
7 | 2647762.6516 | 1205897.9801 | 2647762.6621 | 1205897.9807
8 | 2647887.0706 | 1206030.0568 | 2647882.9936 | 1206039.5963 | 2647880.1582 | 1206060.2966 | 2647877.916 | 1206074.3535 | 2647867.8501 | 1206099.5207 | 2647857.3633 | 1206122.1831 | 2647856.4647 | 1206125.1777 | 2647855.8538 | 1206128.3302 | 2647855.9282 | 1206131.3881 | 2647852.6084 | 1206134.719 | 2647850.3153 | 1206138.0581 | 2647829.1681 | 1206184.2043 | 2647825.7859 | 1206193.4382
9 | 2647887.0706 | 1206030.0568 | 2647895.6148 | 1206027.735 | 2647909.456 | 1206029.7138 | 2647943.9888 | 1206044.3326 | 2647962.0729 | 1206049.2583 | 2647979.3882 | 1206050.4647 | 2647988.8863 | 1206050.0582
10 | 2647778.1861 | 1205857.7522 | 2647775.7869 | 1205861.991 | 2647775.8851 | 1205873.3909
11 | 2647762.6516 | 1205897.9801 | 2647750.0644 | 1205897.228 | 2647733.1878 | 1205903.1201
12 | 2647801.7959 | 1206197.6375 | 2647825.7859 | 1206193.4382
13 | 2647825.7859 | 1206193.4382 | 2647824.4514 | 1206199.5866 | 2647823.4673 | 1206207.5611 | 2647823.466 | 1206214.365 | 2647823.6813 | 1206217.2681
14 | 2647988.8863 | 1206050.0582 | 2648024.2382 | 1206048.5452
15 | 2647778.1861 | 1205857.7522 | 2647773.7927 | 1205847.9225
16 | 2647773.7927 | 1205847.9225 | 2647771.8187 | 1205834.1386
17 | 2647773.7927 | 1205847.9225 | 2647762.8183 | 1205852.1355
18 | 2647726.7567 | 1205905.3654 | 2647733.1878 | 1205903.1201
19 | 2648088.6409 | 1205700.8298 | 2648131.8195 | 1205669.6372 | 2648139.0464 | 1205665.7042 | 2648149.1831 | 1205664.9966 | 2648150.5759 | 1205664.7293
20 | 2648088.6409 | 1205700.8298 | 2648066.0738 | 1205721.9702
21 | 2648088.6409 | 1205700.8298 | 2648080.739 | 1205690.3601 | 2648071.6553 | 1205681.8671
22 | 2648066.0738 | 1205721.9702 | 2648060.8833 | 1205726.8326
23 | 2648329.8801 | 1205598.6615 | 2648327.5454 | 1205602.3781 | 2648326.3827 | 1205606.9602 | 2648324.6058 | 1205652.6501 | 2648324.639 | 1205674.8743 | 2648325.7444 | 1205697.1072 | 2648327.2456 | 1205711.7945 | 2648329.3945 | 1205722.5737 | 2648338.1011 | 1205749.1372 | 2648340.4524 | 1205758.3949 | 2648343.0685 | 1205771.4307
24 | 2648329.8801 | 1205598.6615 | 2648452.6545 | 1205677.5236
25 | 2648345.6555 | 1205784.3219 | 2648343.0685 | 1205771.4307
26 | 2648452.6545 | 1205677.5236 | 2648462.1174 | 1205664.2482 | 2648467.9185 | 1205658.8922 | 2648473.4709 | 1205656.0689 | 2648477.0483 | 1205655.7533 | 2648480.7313 | 1205656.4725 | 2648485.9051 | 1205658.1266 | 2648507.1586 | 1205666.226 | 2648511.8713 | 1205667.5205 | 2648516.2482 | 1205668.023 | 2648521.3329 | 1205668.1398
27 | 2648060.8833 | 1205726.8326 | 2648060.8833 | 1205726.8326 | 2648057.2739 | 1205729.2494 | 2648052.3437 | 1205731.3554 | 2648051.2994 | 1205731.6881
28 | 2648345.6555 | 1205784.3219 | 2648348.2179 | 1205797.09
29 | 2648037.5048 | 1205736.0833 | 2648051.2994 | 1205731.6881
30 | 2648043.0866 | 1205799.5315 | 2648041.705 | 1205791.638 | 2648038.3417 | 1205776.0804
31 | 2648030.9486 | 1205744.591 | 2648034.0055 | 1205756.0222 | 2648038.3417 | 1205776.0804
32 | 2648043.0866 | 1205799.5315 | 2648043.832 | 1205803.7866
33 | 2648043.0866 | 1205799.5315 | 2648043.9548 | 1205799.3828 | 2648047.2224 | 1205798.7976 | 2648050.3528 | 1205798.2336 | 2648051.3963 | 1205798.053
34 | 2648030.9486 | 1205744.591 | 2648026.2863 | 1205747.4219 | 2648021.8178 | 1205750.7545 | 2648011.8189 | 1205758.9345 | 2648004.5164 | 1205762.8447 | 2647993.7358 | 1205767.2921
35 | 2648030.9486 | 1205744.591 | 2648027.5372 | 1205731.8563 | 2648025.4791 | 1205724.8468 | 2648020.0453 | 1205706.3369 | 2648018.2019 | 1205700.0629 | 2648014.4366 | 1205687.4274
36 | 2648030.9486 | 1205744.591 | 2648034.6172 | 1205742.3748 | 2648033.4709 | 1205737.3738 | 2648037.5048 | 1205736.0833
37 | 2648051.4494 | 1205861.3129 | 2648049.9967 | 1205846.2696 | 2648045.7116 | 1205814.5168 | 2648043.832 | 1205803.7866
38 | 2648051.3963 | 1205798.053 | 2648052.808 | 1205806.9767
39 | 2648009.4172 | 1205670.7309 | 2648012.4401 | 1205680.7276 | 2648014.4366 | 1205687.4274
40 | 2648037.5048 | 1205736.0833 | 2648042.5342 | 1205756.6356 | 2648044.2266 | 1205764.2791
41 | 2648051.4494 | 1205861.3129 | 2648058.4284 | 1205933.5879 | 2648058.7753 | 1205937.5624
42 | 2648057.2933 | 1205834.7981 | 2648056.9214 | 1205831.6502 | 2648053.2418 | 1205809.719 | 2648052.808 | 1205806.9767
43 | 2648062.6175 | 1205890.3077 | 2648088.2059 | 1205885.1884
44 | 2648062.6175 | 1205890.3077 | 2648061.6069 | 1205877.9035 | 2648061.3039 | 1205874.4987
45 | 2648088.2059 | 1205885.1884 | 2648107.7909 | 1205880.4881
46 | 2648088.2059 | 1205885.1884 | 2648085.1425 | 1205848.1815
47 | 2648061.3039 | 1205874.4987 | 2648059.2285 | 1205851.18 | 2648057.2933 | 1205834.7981
48 | 2648009.4172 | 1205670.7309 | 2648001.4404 | 1205673.3572 | 2647995.4555 | 1205677.9785 | 2647990.2089 | 1205686.3189 | 2647990.0113 | 1205687.1725
49 | 2647989.5018 | 1205707.1141 | 2647989.027 | 1205691.4235 | 2647990.0113 | 1205687.1725
50 | 2648061.653 | 1205970.5358 | 2648058.7753 | 1205937.5624
51 | 2648068.2536 | 1206046.1654 | 2648063.7883 | 1205995.002
52 | 2648068.2536 | 1206046.1654 | 2648044.9919 | 1206047.6569 | 2648024.2382 | 1206048.5452
53 | 2648063.7883 | 1205995.002 | 2648061.653 | 1205970.5358
54 | 2648296.2955 | 1205840.8856 | 2648199.6687 | 1205858.4377 | 2648107.7909 | 1205880.4881
55 | 2648085.1425 | 1205848.1815 | 2648084.538 | 1205840.8789
56 | 2647762.8183 | 1205852.1355 | 2647760.2892 | 1205853.1064 | 2647745.954 | 1205859.5956 | 2647728.7411 | 1205856.9232 | 2647710.8499 | 1205849.6539 | 2647708.9797 | 1205848.4242
57 | 2647826.1873 | 1206237.4547 | 2647824.2622 | 1206225.0998 | 2647823.6813 | 1206217.2681
58 | 2647726.7567 | 1205905.3654 | 2647726.0627 | 1205905.6077 | 2647715.5627 | 1205910.9047 | 2647706.6541 | 1205913.1238 | 2647703.8118 | 1205914.2103
59 | 2647576.6672 | 1206008.1393 | 2647592.8122 | 1205995.4746 | 2647610.7529 | 1205976.4621 | 2647627.5092 | 1205958.1517 | 2647648.5075 | 1205941.9987 | 2647681.1586 | 1205922.8703 | 2647703.8118 | 1205914.2103
60 | 2647827.6981 | 1206247.1512 | 2647826.1873 | 1206237.4547
61 | 2648083.2282 | 1205825.0573 | 2648084.538 | 1205840.8789
62 | 2648081.1774 | 1205800.2827 | 2648083.2282 | 1205825.0573
63 | 2648296.2955 | 1205840.8856 | 2648315.1568 | 1205837.323
64 | 2648355.726 | 1205835.263 | 2648353.7128 | 1205834.9687 | 2648344.855 | 1205834.6302 | 2648321.9201 | 1205836.0455 | 2648315.1568 | 1205837.323
65 | 2648355.726 | 1205835.263 | 2648355.052 | 1205831.144 | 2648352.3052 | 1205817.4572
66 | 2648352.3052 | 1205817.4572 | 2648348.2179 | 1205797.09

## bus_geodata
| x | y | coords
0 | 2647782.3534 | 1205917.7091
1 | 2647798.9338 | 1205927.3565
2 | 2647780.218 | 1205902.2831
3 | 2647802.0399 | 1205928.7513
4 | 2647782.9248 | 1205897.6242
5 | 2647762.6621 | 1205897.9807
6 | 2647887.0706 | 1206030.0568
7 | 2647775.8851 | 1205873.3909
8 | 2647762.6516 | 1205897.9801
9 | 2647825.7859 | 1206193.4382
10 | 2647988.8863 | 1206050.0582
11 | 2647778.1861 | 1205857.7522
12 | 2647773.7927 | 1205847.9225
13 | 2647733.1878 | 1205903.1201
14 | 2648150.5759 | 1205664.7293
15 | 2648088.6409 | 1205700.8298
16 | 2648066.0738 | 1205721.9702
17 | 2648071.6553 | 1205681.8671
18 | 2648329.8801 | 1205598.6615
19 | 2648343.0685 | 1205771.4307
20 | 2648452.6545 | 1205677.5236
21 | 2648060.8833 | 1205726.8326
22 | 2648345.6555 | 1205784.3219
23 | 2648521.3329 | 1205668.1398
24 | 2648051.2994 | 1205731.6881
25 | 2648038.3417 | 1205776.0804
26 | 2648043.0866 | 1205799.5315
27 | 2648030.9486 | 1205744.591
28 | 2648043.832 | 1205803.7866
29 | 2648051.3963 | 1205798.053
30 | 2647993.7358 | 1205767.2921
31 | 2648014.4366 | 1205687.4274
32 | 2648037.5048 | 1205736.0833
33 | 2648051.4494 | 1205861.3129
34 | 2648052.808 | 1205806.9767
35 | 2648044.2266 | 1205764.2791
36 | 2648062.6175 | 1205890.3077
37 | 2648088.2059 | 1205885.1884
38 | 2648061.3039 | 1205874.4987
39 | 2648009.4172 | 1205670.7309
40 | 2647990.0113 | 1205687.1725
41 | 2648058.7753 | 1205937.5624
42 | 2648057.2933 | 1205834.798
43 | 2648068.2536 | 1206046.1654
44 | 2648063.7883 | 1205995.002
45 | 2648024.2382 | 1206048.5452
46 | 2648107.7909 | 1205880.4881
47 | 2648085.1425 | 1205848.1815
48 | 2647989.5018 | 1205707.1141
49 | 2647771.8187 | 1205834.1386
50 | 2647762.8183 | 1205852.1355
51 | 2647708.9797 | 1205848.4242
52 | 2648061.653 | 1205970.5358
53 | 2647801.7959 | 1206197.6375
54 | 2647823.6813 | 1206217.2681
55 | 2647703.8118 | 1205914.2103
56 | 2647726.7567 | 1205905.3654
57 | 2647576.6672 | 1206008.1393
58 | 2647826.1873 | 1206237.4547
59 | 2648083.2282 | 1205825.0573
60 | 2648084.538 | 1205840.8789
61 | 2648081.1774 | 1205800.2827
62 | 2648296.2955 | 1205840.8856
63 | 2648315.1568 | 1205837.323
64 | 2648355.726 | 1205835.263
65 | 2648352.3052 | 1205817.4572
66 | 2648348.2179 | 1205797.09
67 | 2647827.6981 | 1206247.1512
68 | 2648043.0866 | 1205799.5315

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97634 | -0.16678 | 0.002516 | 0.00063058
1 | 0.9767 | -0.16417 | 0.0010006 | 0.00025078
2 | 0.9761 | -0.16848 | 0 | 0
3 | 0.97677 | -0.16368 | 0.00050293 | 0.00012605
4 | 0.97606 | -0.16874 | 0 | 0
5 | 0.97595 | -0.16959 | 0.00032025 | 8.0263e-05
6 | 0.97959 | -0.14346 | 0 | 0
7 | 0.9759 | -0.16995 | 0.0006572 | 0.00016471
8 | 0.97595 | -0.16959 | 0.00032024 | 8.0258e-05
9 | 0.97853 | -0.15105 | 0 | 0
10 | 0.98245 | -0.12309 | 0.0099324 | 0.0024893
11 | 0.9758 | -0.17062 | 0 | 0
12 | 0.97574 | -0.17105 | 0 | 0
13 | 0.97572 | -0.17125 | 0.00053506 | 0.0001341
14 | 0.98964 | -0.072612 | 0.0016064 | 0.0004026
15 | 0.98981 | -0.071414 | 0 | 0
16 | 0.9899 | -0.070808 | 0.0050767 | 0.0012723
17 | 0.9898 | -0.071493 | 0.00030448 | 7.6309e-05
18 | 0.99158 | -0.059379 | 0 | 0
19 | 0.99175 | -0.058149 | 0.0010663 | 0.00026724
20 | 0.99144 | -0.060375 | 0 | 0
21 | 0.98997 | -0.070301 | 0.059288 | 0.014859
22 | 0.99178 | -0.057914 | 0.0013275 | 0.00033269
23 | 0.99137 | -0.060915 | 0.00065883 | 0.00016512
24 | 0.991 | -0.063018 | 0.0066997 | 0.0016791
25 | 0.99728 | -0.018933 | 0.0068986 | 0.0017289
26 | 0.99951 | -0.0034197 | 0 | 0
27 | 0.99443 | -0.03889 | 0 | 0
28 | 1 | 0 | -0.21468 | -0.053847
29 | 0.99916 | -0.0058709 | 0 | 0
30 | 0.99309 | -0.048313 | 0.021241 | 0.0053236
31 | 0.99407 | -0.04143 | 0.00037795 | 9.4723e-05
32 | 0.99252 | -0.052295 | 0 | 0
33 | 0.99552 | -0.031132 | 0.013281 | 0.0033287
34 | 0.99878 | -0.0084965 | 0.00096617 | 0.00024215
35 | 0.99152 | -0.059383 | 0.024111 | 0.0060428
36 | 0.99547 | -0.031734 | 0 | 0
37 | 0.99448 | -0.038738 | 0 | 0
38 | 0.99608 | -0.02747 | 0.00085266 | 0.0002137
39 | 0.99397 | -0.042108 | 0 | 0
40 | 0.99383 | -0.043145 | 0.0020139 | 0.00050472
41 | 0.99105 | -0.062288 | 0.0052565 | 0.0013174
42 | 0.99765 | -0.016427 | 0.0005331 | 0.00013361
43 | 0.98589 | -0.098636 | 0 | 0
44 | 0.9882 | -0.082342 | 0.0020552 | 0.00051509
45 | 0.98391 | -0.11268 | 0.0024815 | 0.00062193
46 | 0.99422 | -0.040579 | 0.0029472 | 0.00073864
47 | 0.99354 | -0.045353 | 0.0041021 | 0.0010281
48 | 0.99377 | -0.043515 | 0.0018279 | 0.00045812
49 | 0.9757 | -0.17136 | 0.0021039 | 0.00052729
50 | 0.97571 | -0.17127 | 0.00044449 | 0.0001114
51 | 0.9756 | -0.17207 | 0.0013208 | 0.00033102
52 | 0.98938 | -0.074061 | 0.0019138 | 0.00047964
53 | 0.97852 | -0.15112 | 0.00028695 | 7.1917e-05
54 | 0.9784 | -0.15201 | 0.0020221 | 0.0005068
55 | 0.97556 | -0.17237 | 0.00046752 | 0.00011717
56 | 0.97567 | -0.17158 | 0.0015818 | 0.00039643
57 | 0.97496 | -0.1767 | 0.00257 | 0.00064409
58 | 0.97835 | -0.1524 | 0.00050892 | 0.00012755
59 | 0.99309 | -0.048476 | 0.0031798 | 0.00079694
60 | 0.99339 | -0.046356 | 0.00033372 | 8.3639e-05
61 | 0.99274 | -0.050996 | 0.010015 | 0.00251
62 | 0.99254 | -0.052465 | 0 | 0
63 | 0.99238 | -0.053649 | 0.0010353 | 0.00025948
64 | 0.99208 | -0.055736 | 0 | 0
65 | 0.99195 | -0.056664 | 0.0010562 | 0.00026471
66 | 0.99184 | -0.057505 | 0.00089481 | 0.00022426
67 | 0.97833 | -0.15253 | 0.0013027 | 0.00032649
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012846 | -0.0032156 | 0.01285 | 0.0032171 | 4.6331e-06 | 1.5396e-06 | 0.019576 | 0.019576 | 0.019576 | 0.97634 | -0.16678 | 0.9767 | -0.16417 | 7.2505
1 | 0.01033 | 0.002585 | -0.010327 | -0.0025843 | 2.4283e-06 | 7.3763e-07 | 0.015742 | 0.015742 | 0.015742 | 0.97634 | -0.16678 | 0.9761 | -0.16848 | 5.8303
2 | -0.013851 | -0.0034679 | 0.013852 | 0.0034682 | 9.4596e-07 | 3.2122e-07 | 0.021101 | 0.021101 | 0.021101 | 0.9767 | -0.16417 | 0.97677 | -0.16368 | 7.8151
3 | 0.0045282 | 0.0011333 | -0.004528 | -0.0011334 | 1.6009e-07 | -5.7336e-09 | 0.0069024 | 0.0069025 | 0.0069025 | 0.9761 | -0.16848 | 0.97606 | -0.16874 | 2.5565
4 | 0.005799 | 0.0014509 | -0.0057981 | -0.0014508 | 8.8781e-07 | 1.1389e-07 | 0.0088393 | 0.0088394 | 0.0088394 | 0.9761 | -0.16848 | 0.97595 | -0.16959 | 3.2739
5 | -0.014355 | -0.0035943 | 0.014395 | 0.003608 | 4.0201e-05 | 1.3771e-05 | 0.021867 | 0.021866 | 0.021867 | 0.97677 | -0.16368 | 0.97959 | -0.14346 | 8.0988
6 | 0.004528 | 0.0011334 | -0.0045273 | -0.0011334 | 7.5911e-07 | -2.7113e-08 | 0.0069025 | 0.0069026 | 0.0069026 | 0.97606 | -0.16874 | 0.9759 | -0.16995 | 2.5565
7 | 0.0054778 | 0.0013705 | -0.0054778 | -0.0013705 | 4.552e-10 | 4.386e-11 | 0.0083511 | 0.0083511 | 0.0083511 | 0.97595 | -0.16959 | 0.97595 | -0.16959 | 3.093
8 | 0.0041257 | 0.0010315 | -0.0041214 | -0.001032 | 4.3206e-06 | -5.5563e-07 | 0.0062661 | 0.0062669 | 0.0062669 | 0.97959 | -0.14346 | 0.97853 | -0.15105 | 2.3211
9 | -0.018521 | -0.0046395 | 0.018573 | 0.0046583 | 5.2319e-05 | 1.8785e-05 | 0.028132 | 0.028132 | 0.028132 | 0.97959 | -0.14346 | 0.98245 | -0.12309 | 10.4194
10 | 0.0038701 | 0.00096867 | -0.0038697 | -0.00096874 | 3.535e-07 | -6.732e-08 | 0.0059005 | 0.0059006 | 0.0059006 | 0.9759 | -0.16995 | 0.9758 | -0.17062 | 2.1854
11 | 0.0051576 | 0.0012903 | -0.0051564 | -0.0012902 | 1.1761e-06 | 7.1502e-08 | 0.0078629 | 0.007863 | 0.007863 | 0.97595 | -0.16959 | 0.97572 | -0.17125 | 2.9122
12 | 0.00028696 | 7.1613e-05 | -0.00028695 | -7.1917e-05 | 2.8849e-09 | -3.0397e-07 | 0.00043625 | 0.00043636 | 0.00043636 | 0.97853 | -0.15105 | 0.97852 | -0.15112 | 0.16162
13 | 0.0038344 | 0.0009604 | -0.0038339 | -0.0009605 | 5.1002e-07 | -1.0581e-07 | 0.0058306 | 0.0058307 | 0.0058307 | 0.97853 | -0.15105 | 0.9784 | -0.15201 | 2.1595
14 | -0.028505 | -0.0071476 | 0.028547 | 0.007163 | 4.1159e-05 | 1.5382e-05 | 0.043176 | 0.043175 | 0.043176 | 0.98245 | -0.12309 | 0.98391 | -0.11268 | 15.9909
15 | 0.0038697 | 0.00096874 | -0.0038695 | -0.00096878 | 2.3384e-07 | -4.4508e-08 | 0.0059006 | 0.0059006 | 0.0059006 | 0.9758 | -0.17062 | 0.97574 | -0.17105 | 2.1854
16 | 0.002104 | 0.00052715 | -0.0021039 | -0.00052729 | 8.9452e-08 | -1.3951e-07 | 0.0032085 | 0.0032086 | 0.0032086 | 0.97574 | -0.17105 | 0.9757 | -0.17136 | 1.1884
17 | 0.0017655 | 0.00044164 | -0.0017654 | -0.00044176 | 5.3162e-08 | -1.2638e-07 | 0.0026921 | 0.0026921 | 0.0026921 | 0.97574 | -0.17105 | 0.97571 | -0.17127 | 0.99709
18 | 0.0046214 | 0.0011561 | -0.0046211 | -0.0011561 | 2.1108e-07 | -3.8872e-09 | 0.007047 | 0.0070471 | 0.0070471 | 0.97572 | -0.17125 | 0.97567 | -0.17158 | 2.61
19 | -0.0016064 | -0.0004026 | 0.0016067 | 0.00040176 | 2.6598e-07 | -8.3679e-07 | 0.0024153 | 0.002415 | 0.0024153 | 0.98964 | -0.072612 | 0.98981 | -0.071414 | 0.89457
20 | -0.0019111 | -0.00047774 | 0.0019113 | 0.00047741 | 1.5922e-07 | -3.3625e-07 | 0.0028726 | 0.0028725 | 0.0028726 | 0.98981 | -0.071414 | 0.9899 | -0.070808 | 1.0639
21 | 0.00030448 | 7.5982e-05 | -0.00030448 | -7.6309e-05 | 3.3399e-09 | -3.2715e-07 | 0.00045762 | 0.00045773 | 0.00045773 | 0.98981 | -0.071414 | 0.9898 | -0.071493 | 0.16953
22 | -0.006988 | -0.0017498 | 0.0069885 | 0.0017499 | 4.8965e-07 | 9.6888e-08 | 0.010504 | 0.010504 | 0.010504 | 0.9899 | -0.070808 | 0.98997 | -0.070301 | 3.8903
23 | -0.00065897 | -0.00016226 | 0.00065907 | 0.00016003 | 1.0702e-07 | -2.228e-06 | 0.00098786 | 0.00098708 | 0.00098786 | 0.99158 | -0.059379 | 0.99175 | -0.058149 | 0.36587
24 | 0.00065897 | 0.00016226 | -0.00065888 | -0.0001641 | 8.8736e-08 | -1.8441e-06 | 0.00098786 | 0.00098852 | 0.00098852 | 0.99158 | -0.059379 | 0.99144 | -0.060375 | 0.36612
25 | -0.0017254 | -0.00042727 | 0.0017254 | 0.00042712 | 5.4905e-08 | -1.4855e-07 | 0.0025869 | 0.0025869 | 0.0025869 | 0.99175 | -0.058149 | 0.99178 | -0.057914 | 0.95812
26 | 0.00065888 | 0.0001641 | -0.00065883 | -0.00016512 | 4.8997e-08 | -1.0169e-06 | 0.00098852 | 0.00098889 | 0.00098889 | 0.99144 | -0.060375 | 0.99137 | -0.060915 | 0.36625
27 | -0.066277 | -0.016609 | 0.066344 | 0.016634 | 6.6886e-05 | 2.5586e-05 | 0.099619 | 0.099619 | 0.099619 | 0.98997 | -0.070301 | 0.991 | -0.063018 | 36.8961
28 | -0.0030529 | -0.00075981 | 0.0030531 | 0.00075971 | 1.7035e-07 | -1.0254e-07 | 0.0045785 | 0.0045785 | 0.0045785 | 0.99178 | -0.057914 | 0.99184 | -0.057505 | 1.6957
29 | -0.073043 | -0.018314 | 0.073152 | 0.018355 | 0.00010868 | 4.1612e-05 | 0.10968 | 0.10968 | 0.10968 | 0.991 | -0.063018 | 0.99252 | -0.052295 | 40.6219
30 | -0.1302 | -0.032726 | 0.13048 | 0.032834 | 0.00028187 | 0.00010779 | 0.1943 | 0.1943 | 0.1943 | 0.99728 | -0.018933 | 0.99951 | -0.0034197 | 35.9816
31 | 0.1233 | 0.030997 | -0.12296 | -0.030867 | 0.00034179 | 0.00013062 | 0.18401 | 0.18401 | 0.18401 | 0.99728 | -0.018933 | 0.99443 | -0.03889 | 34.0755
32 | -0.15963 | -0.04015 | 0.1597 | 0.040179 | 7.615e-05 | 2.9175e-05 | 0.2377 | 0.2377 | 0.2377 | 0.99951 | -0.0034197 | 1 | 0 | 44.0176
33 | 0.029146 | 0.007316 | -0.029136 | -0.0073123 | 9.9177e-06 | 3.7039e-06 | 0.043395 | 0.043395 | 0.043395 | 0.99951 | -0.0034197 | 0.99916 | -0.0058709 | 16.0721
34 | 0.021269 | 0.0053337 | -0.021241 | -0.0053236 | 2.7745e-05 | 1.0102e-05 | 0.031827 | 0.031827 | 0.031827 | 0.99443 | -0.03889 | 0.99309 | -0.048313 | 11.7879
35 | 0.0042222 | 0.0010569 | -0.0042208 | -0.0010571 | 1.482e-06 | -2.0171e-07 | 0.0063175 | 0.0063178 | 0.0063178 | 0.99443 | -0.03889 | 0.99407 | -0.04143 | 2.3399
36 | 0.097468 | 0.024476 | -0.097287 | -0.024407 | 0.00018125 | 6.9534e-05 | 0.14586 | 0.14586 | 0.14586 | 0.99443 | -0.03889 | 0.99252 | -0.052295 | 54.0234
37 | 0.054174 | 0.013668 | -0.053939 | -0.013578 | 0.00023557 | 8.9845e-05 | 0.080644 | 0.080645 | 0.080645 | 1 | 0 | 0.99552 | -0.031132 | 29.8684
38 | 0.029136 | 0.0073123 | -0.029125 | -0.0073083 | 1.0616e-05 | 3.9649e-06 | 0.043395 | 0.043395 | 0.043395 | 0.99916 | -0.0058709 | 0.99878 | -0.0084965 | 16.0721
39 | 0.0038428 | 0.0009624 | -0.0038424 | -0.00096249 | 3.5995e-07 | -8.756e-08 | 0.005752 | 0.0057521 | 0.0057521 | 0.99407 | -0.04143 | 0.99397 | -0.042108 | 2.1304
40 | 0.024135 | 0.0060515 | -0.024111 | -0.0060428 | 2.3683e-05 | 8.7345e-06 | 0.036184 | 0.036184 | 0.036184 | 0.99252 | -0.052295 | 0.99152 | -0.059383 | 13.4016
41 | 0.040657 | 0.010249 | -0.040481 | -0.010182 | 0.00017665 | 6.6952e-05 | 0.060793 | 0.060793 | 0.060793 | 0.99552 | -0.031132 | 0.99105 | -0.062288 | 22.5159
42 | 0.028159 | 0.0070661 | -0.028128 | -0.0070546 | 3.0957e-05 | 1.1538e-05 | 0.041955 | 0.041955 | 0.041955 | 0.99878 | -0.0084965 | 0.99765 | -0.016427 | 15.539
43 | 0.026684 | 0.0066857 | -0.026658 | -0.0066761 | 2.5834e-05 | 9.5983e-06 | 0.039887 | 0.039887 | 0.039887 | 0.99547 | -0.031734 | 0.99448 | -0.038738 | 14.7729
44 | -0.026684 | -0.0066857 | 0.0267 | 0.0066916 | 1.5749e-05 | 5.8508e-06 | 0.039887 | 0.039887 | 0.039887 | 0.99547 | -0.031734 | 0.99608 | -0.02747 | 14.7728
45 | 0.0090023 | 0.0022488 | -0.009 | -0.0022482 | 2.2795e-06 | 6.1546e-07 | 0.013467 | 0.013467 | 0.013467 | 0.99448 | -0.038738 | 0.99422 | -0.040579 | 4.9879
46 | 0.017656 | 0.0044274 | -0.01764 | -0.0044216 | 1.6173e-05 | 5.7392e-06 | 0.026419 | 0.02642 | 0.02642 | 0.99448 | -0.038738 | 0.99354 | -0.045353 | 9.785
47 | -0.027553 | -0.0069053 | 0.027595 | 0.006921 | 4.2188e-05 | 1.5706e-05 | 0.04116 | 0.04116 | 0.04116 | 0.99608 | -0.02747 | 0.99765 | -0.016427 | 15.2446
48 | 0.0038424 | 0.00096249 | -0.0038419 | -0.00096262 | 5.5104e-07 | -1.3395e-07 | 0.0057521 | 0.0057522 | 0.0057522 | 0.99397 | -0.042108 | 0.99383 | -0.043145 | 2.1305
49 | 0.001828 | 0.0004579 | -0.0018279 | -0.00045812 | 9.3775e-08 | -2.2387e-07 | 0.0027369 | 0.002737 | 0.002737 | 0.99383 | -0.043145 | 0.99377 | -0.043515 | 1.0137
50 | 0.035224 | 0.0088651 | -0.035167 | -0.0088433 | 5.7799e-05 | 2.1805e-05 | 0.052901 | 0.052901 | 0.052901 | 0.99105 | -0.062288 | 0.98938 | -0.074061 | 19.5929
51 | -0.031089 | -0.0078076 | 0.031159 | 0.0078341 | 7.0576e-05 | 2.6488e-05 | 0.046928 | 0.046928 | 0.046928 | 0.98589 | -0.098636 | 0.9882 | -0.082342 | 17.3808
52 | 0.031089 | 0.0078076 | -0.031028 | -0.0077849 | 6.0578e-05 | 2.2738e-05 | 0.046928 | 0.046928 | 0.046928 | 0.98589 | -0.098636 | 0.98391 | -0.11268 | 17.3808
53 | -0.033214 | -0.0083492 | 0.033253 | 0.0083636 | 3.8347e-05 | 1.4434e-05 | 0.050023 | 0.050023 | 0.050023 | 0.9882 | -0.082342 | 0.98938 | -0.074061 | 18.5269
54 | 0.0060528 | 0.0015095 | -0.0060429 | -0.0015082 | 9.863e-06 | 1.2988e-06 | 0.0090564 | 0.0090573 | 0.0090573 | 0.99422 | -0.040579 | 0.99254 | -0.052465 | 3.3545
55 | 0.013538 | 0.0033935 | -0.013536 | -0.0033929 | 1.8798e-06 | 6.2812e-07 | 0.020276 | 0.020276 | 0.020276 | 0.99354 | -0.045353 | 0.99339 | -0.046356 | 7.5096
56 | 0.0013209 | 0.00033036 | -0.0013208 | -0.00033102 | 1.4537e-07 | -6.6109e-07 | 0.0020143 | 0.0020145 | 0.0020145 | 0.97571 | -0.17127 | 0.9756 | -0.17207 | 0.74612
57 | 0.0018118 | 0.0004537 | -0.0018117 | -0.00045392 | 9.644e-08 | -2.1855e-07 | 0.0027553 | 0.0027554 | 0.0027554 | 0.9784 | -0.15201 | 0.97835 | -0.1524 | 1.0205
58 | -0.003039 | -0.00075986 | 0.0030394 | 0.00075968 | 3.3133e-07 | -1.8124e-07 | 0.0046348 | 0.0046347 | 0.0046348 | 0.97556 | -0.17237 | 0.97567 | -0.17158 | 1.7166
59 | 0.0025715 | 0.00064269 | -0.00257 | -0.00064409 | 1.5364e-06 | -1.4064e-06 | 0.0039217 | 0.0039224 | 0.0039224 | 0.97556 | -0.17237 | 0.97496 | -0.1767 | 1.4527
60 | 0.0013027 | 0.00032638 | -0.0013027 | -0.00032649 | 2.4041e-08 | -1.1398e-07 | 0.0019814 | 0.0019814 | 0.0019814 | 0.97835 | -0.1524 | 0.97833 | -0.15253 | 0.73385
61 | -0.013198 | -0.003308 | 0.013202 | 0.0033093 | 3.8744e-06 | 1.2847e-06 | 0.019776 | 0.019776 | 0.019776 | 0.99309 | -0.048476 | 0.99339 | -0.046356 | 7.3245
62 | 0.010019 | 0.0025111 | -0.010015 | -0.00251 | 3.4957e-06 | 1.023e-06 | 0.015012 | 0.015012 | 0.015012 | 0.99309 | -0.048476 | 0.99274 | -0.050996 | 5.5599
63 | 0.0060429 | 0.0015082 | -0.0060419 | -0.0015081 | 9.8257e-07 | 1.2987e-07 | 0.0090573 | 0.0090574 | 0.0090574 | 0.99254 | -0.052465 | 0.99238 | -0.053649 | 3.3546
64 | 0.0050066 | 0.0012486 | -0.0050052 | -0.0012486 | 1.4326e-06 | 2.4533e-08 | 0.0075049 | 0.0075051 | 0.0075051 | 0.99238 | -0.053649 | 0.99208 | -0.055736 | 2.7797
65 | 0.0050052 | 0.0012486 | -0.0050045 | -0.0012486 | 6.3736e-07 | 1.1023e-08 | 0.0075051 | 0.0075052 | 0.0075052 | 0.99208 | -0.055736 | 0.99195 | -0.056664 | 2.7797
66 | 0.0039483 | 0.00098388 | -0.0039479 | -0.00098397 | 4.5442e-07 | -9.3353e-08 | 0.0059208 | 0.0059209 | 0.0059209 | 0.99195 | -0.056664 | 0.99184 | -0.057505 | 2.1929

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21565 | 0.054092

## res_load
| p_mw | q_mvar
0 | 0.002516 | 0.00063058
1 | 0.0010006 | 0.00025078
2 | 0.00050293 | 0.00012605
3 | 0.00032025 | 8.0263e-05
4 | 0.0006572 | 0.00016471
5 | 0.00032024 | 8.0258e-05
6 | 0.0099324 | 0.0024893
7 | 0.00053506 | 0.0001341
8 | 0.0016064 | 0.0004026
9 | 0.0050767 | 0.0012723
10 | 0.00030448 | 7.6309e-05
11 | 0.0010663 | 0.00026724
12 | 0.059288 | 0.014859
13 | 0.0013275 | 0.00033269
14 | 0.00065883 | 0.00016512
15 | 0.0066997 | 0.0016791
16 | 0.0068986 | 0.0017289
17 | 0.00097556 | 0.0002445
18 | 0.021241 | 0.0053236
19 | 0.00037795 | 9.4723e-05
20 | 0.013281 | 0.0033287
21 | 0.00096617 | 0.00024215
22 | 0.024111 | 0.0060428
23 | 0.00085266 | 0.0002137
24 | 0.0020139 | 0.00050472
25 | 0.0052565 | 0.0013174
26 | 0.0005331 | 0.00013361
27 | 0.0020552 | 0.00051509
28 | 0.0024815 | 0.00062193
29 | 0.0029472 | 0.00073864
30 | 0.0041021 | 0.0010281
31 | 0.0018279 | 0.00045812
32 | 0.0021039 | 0.00052729
33 | 0.00044449 | 0.0001114
34 | 0.0013208 | 0.00033102
35 | 0.0019138 | 0.00047964
36 | 0.00028695 | 7.1917e-05
37 | 0.0020221 | 0.0005068
38 | 0.00046752 | 0.00011717
39 | 0.0015818 | 0.00039643
40 | 0.00257 | 0.00064409
41 | 0.00050892 | 0.00012755
42 | 0.0031798 | 0.00079694
43 | 0.00033372 | 8.3639e-05
44 | 0.010015 | 0.00251
45 | 0.0010353 | 0.00025948
46 | 0.0010562 | 0.00026471
47 | 0.00089481 | 0.00022426
48 | 0.0013027 | 0.00032649

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1