## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1002-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1002-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1002-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1002-7_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1002-7_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1002-7_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1002-7_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1002-7_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1002-7_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1002-7_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1002-7_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1002-7_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1002-7_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1002-7_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1002-7_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1002-7_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1002-7_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1002-7_0_3_node_113 | 0.4 | n |  | TRUE
18 | bus_LV_1002-7_0_3_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_1002-7_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1002-7_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1002-7_0_3_node_99 | 0.4 | n |  | TRUE
22 | bus_LV_1002-7_0_3_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_1002-7_0_3_node_101 | 0.4 | n |  | TRUE
24 | bus_LV_1002-7_0_3_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_1002-7_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1002-7_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1002-7_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1002-7_0_3_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_1002-7_0_3_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_1002-7_0_3_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_1002-7_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1002-7_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1002-7_0_3_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_1002-7_0_3_node_109 | 0.4 | n |  | TRUE
35 | bus_LV_1002-7_0_3_node_102 | 0.4 | n |  | TRUE
36 | bus_LV_1002-7_0_3_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_1002-7_0_3_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_1002-7_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1002-7_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1002-7_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1002-7_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1002-7_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1002-7_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1002-7_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1002-7_0_3_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_1002-7_0_3_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_1002-7_0_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_1002-7_0_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_1002-7_0_3_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_1002-7_0_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_1002-7_0_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_1002-7_0_3_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_1002-7_0_3_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_1002-7_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_1002-7_0_3_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_1002-7_0_3_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_1002-7_0_3_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_1002-7_0_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_1002-7_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_1002-7_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_1002-7_0_3_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_1002-7_0_3_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_1002-7_0_3_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_1002-7_0_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_1002-7_0_3_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_1002-7_0_3_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_1002-7_0_3_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_1002-7_0_3_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_1002-7_0_3_node_107 | 0.4 | n |  | TRUE
70 | bus_LV_1002-7_0_3_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_1002-7_0_3_node_106 | 0.4 | n |  | TRUE
72 | bus_MV_125_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1002-7_0_3_load_0 | 0 | 0.00024266 | 6.0817e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1002-7_0_3_load_5 | 3 | 0.0035631 | 0.000893 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1002-7_0_3_load_3 | 4 | 0.00038512 | 9.652e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1002-7_0_3_load_7 | 5 | 0.0024217 | 0.00060694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1002-7_0_3_load_4 | 6 | 0.00083092 | 0.00020825 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1002-7_0_3_load_6 | 7 | 0.0012515 | 0.00031365 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1002-7_0_3_load_8 | 8 | 0.001791 | 0.00044887 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1002-7_0_3_load_9 | 9 | 0.00098777 | 0.00024756 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1002-7_0_3_load_16 | 10 | 0.0020736 | 0.00051968 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1002-7_0_3_load_10 | 12 | 0.00072341 | 0.0001813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1002-7_0_3_load_113 | 17 | 0.0039916 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1002-7_0_3_load_91 | 18 | 0.001787 | 0.00044786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1002-7_0_3_load_12 | 19 | 0.00068591 | 0.0001719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1002-7_0_3_load_99 | 21 | 0.0084182 | 0.0021098 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1002-7_0_3_load_100 | 22 | 0.00059798 | 0.00014987 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1002-7_0_3_load_101 | 23 | 0.0007572 | 0.00018977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1002-7_0_3_load_98 | 24 | 0.0018668 | 0.00046787 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1002-7_0_3_load_87 | 28 | 0.0033643 | 0.00084317 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1002-7_0_3_load_86 | 29 | 0.0022804 | 0.00057153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1002-7_0_3_load_90 | 30 | 0.0017031 | 0.00042684 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1002-7_0_3_load_103 | 33 | 0.0045801 | 0.0011479 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1002-7_0_3_load_102 | 35 | 0.0016966 | 0.00042521 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1002-7_0_3_load_104 | 36 | 0.0018242 | 0.00045719 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1002-7_0_3_load_111 | 37 | 0.0019369 | 0.00048543 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1002-7_0_3_load_20 | 38 | 0.0051985 | 0.0013029 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1002-7_0_3_load_21 | 39 | 0.0029394 | 0.00073668 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1002-7_0_3_load_22 | 40 | 0.0045018 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1002-7_0_3_load_23 | 41 | 0.0033859 | 0.00084858 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1002-7_0_3_load_25 | 44 | 0.0052854 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1002-7_0_3_load_94 | 45 | 0.0076656 | 0.0019212 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1002-7_0_3_load_92 | 46 | 0.0027545 | 0.00069034 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1002-7_0_3_load_84 | 47 | 0.0064681 | 0.0016211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1002-7_0_3_load_108 | 48 | 0.0037656 | 0.00094376 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1002-7_0_3_load_83 | 49 | 0.0023617 | 0.0005919 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1002-7_0_3_load_88 | 50 | 0.0021939 | 0.00054985 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1002-7_0_3_load_85 | 51 | 0.0042072 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1002-7_0_3_load_110 | 53 | 0.00053571 | 0.00013426 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1002-7_0_3_load_72 | 54 | 0.0055707 | 0.0013962 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1002-7_0_3_load_73 | 55 | 0.0054079 | 0.0013553 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1002-7_0_3_load_74 | 56 | 0.0026094 | 0.00065397 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1002-7_0_3_load_75 | 57 | 0.0032758 | 0.00082098 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1002-7_0_3_load_79 | 58 | 0.0027458 | 0.00068817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1002-7_0_3_load_76 | 60 | 0.0050565 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1002-7_0_3_load_77 | 61 | 0.0030688 | 0.0007691 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1002-7_0_3_load_80 | 62 | 0.0032006 | 0.00080216 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1002-7_0_3_load_81 | 63 | 0.0018358 | 0.0004601 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1002-7_0_3_load_82 | 64 | 0.0020599 | 0.00051627 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1002-7_0_3_load_89 | 65 | 0.0018972 | 0.00047547 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1002-7_0_3_load_95 | 66 | 0.0023798 | 0.00059643 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1002-7_0_3_load_96 | 67 | 0.0033736 | 0.00084551 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1002-7_0_3_load_97 | 68 | 0.0034251 | 0.0008584 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1002-7_0_3_load_105 | 70 | 0.0020405 | 0.0005114 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1002-7_0_3_load_106 | 71 | 0.0013246 | 0.00033198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1002-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1002-7_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.079641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1002-7_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1002-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1002-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.084415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1002-7_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1002-7_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1002-7_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0079602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1002-7_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.011131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1002-7_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.011639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1002-7_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.011802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1002-7_0_3_line_11 | NAYY 4x150 SE | 11 | 31 | 0.047019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1002-7_0_3_line_12 | NAYY 4x150 SE | 11 | 32 | 0.054425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1002-7_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.034104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1002-7_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0090858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1002-7_0_3_line_15 | NAYY 4x150 SE | 14 | 18 | 0.010976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1002-7_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.057628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1002-7_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.068565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1002-7_0_3_line_18 | NAYY 4x150 SE | 16 | 28 | 0.024709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1002-7_0_3_line_19 | NAYY 4x150 SE | 16 | 29 | 0.016058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1002-7_0_3_line_20 | NAYY 4x150 SE | 16 | 26 | 0.030814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1002-7_0_3_line_21 | NAYY 4x150 SE | 18 | 30 | 0.022409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1002-7_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.019452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1002-7_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.024291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1002-7_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.008464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1002-7_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.00024884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1002-7_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.010216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1002-7_0_3_line_27 | NAYY 4x150 SE | 23 | 35 | 0.029137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1002-7_0_3_line_28 | NAYY 4x150 SE | 24 | 68 | 0.0085426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1002-7_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.004078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1002-7_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.020647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1002-7_0_3_line_31 | NAYY 4x150 SE | 26 | 47 | 0.009083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1002-7_0_3_line_32 | NAYY 4x150 SE | 27 | 48 | 0.023851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1002-7_0_3_line_33 | NAYY 4x150 SE | 27 | 45 | 0.024158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1002-7_0_3_line_34 | NAYY 4x150 SE | 28 | 50 | 0.023336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1002-7_0_3_line_35 | NAYY 4x150 SE | 29 | 51 | 0.0037557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1002-7_0_3_line_36 | NAYY 4x150 SE | 30 | 65 | 0.024414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1002-7_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1002-7_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.006536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1002-7_0_3_line_39 | NAYY 4x150 SE | 32 | 35 | 0.061278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1002-7_0_3_line_40 | NAYY 4x150 SE | 33 | 36 | 0.024796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1002-7_0_3_line_41 | NAYY 4x150 SE | 34 | 37 | 0.047737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1002-7_0_3_line_42 | NAYY 4x150 SE | 36 | 69 | 0.13436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1002-7_0_3_line_43 | NAYY 4x150 SE | 37 | 53 | 0.11729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1002-7_0_3_line_44 | NAYY 4x150 SE | 38 | 39 | 0.031502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1002-7_0_3_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0052553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1002-7_0_3_line_46 | NAYY 4x150 SE | 39 | 41 | 0.0039913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1002-7_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.029682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1002-7_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.004608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1002-7_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.0095231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1002-7_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.013843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1002-7_0_3_line_51 | NAYY 4x150 SE | 43 | 46 | 0.045011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1002-7_0_3_line_52 | NAYY 4x150 SE | 46 | 52 | 0.011502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1002-7_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.031511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1002-7_0_3_line_54 | NAYY 4x150 SE | 49 | 64 | 0.022829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1002-7_0_3_line_55 | NAYY 4x150 SE | 50 | 65 | 0.024769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1002-7_0_3_line_56 | NAYY 4x150 SE | 51 | 62 | 0.0062728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1002-7_0_3_line_57 | NAYY 4x150 SE | 52 | 66 | 0.029224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1002-7_0_3_line_58 | NAYY 4x150 SE | 52 | 67 | 0.047278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1002-7_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.033329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1002-7_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.030588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1002-7_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.024021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1002-7_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.029412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1002-7_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.0056344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1002-7_0_3_line_64 | NAYY 4x150 SE | 59 | 62 | 0.0072287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1002-7_0_3_line_65 | NAYY 4x150 SE | 59 | 61 | 0.086252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1002-7_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.025858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1002-7_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.018008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1002-7_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.027187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1002-7_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1002-7_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.030576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1002-7_0_3_trafo_93 | 0.25 MVA 20/0.4 kV | 72 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2648088.6409 | 1205700.8298 | 2648080.739 | 1205690.3601 | 2648071.0838 | 1205681.3328 | 2648069.9365 | 1205680.3268
1 | 2648157.1892 | 1205663.4602 | 2648149.1831 | 1205664.9966 | 2648139.0464 | 1205665.7042 | 2648131.8195 | 1205669.6372 | 2648088.6409 | 1205700.8298
2 | 2648157.1892 | 1205663.4602 | 2648164.4268 | 1205658.2044 | 2648171.3769 | 1205647.0276
3 | 2648157.1892 | 1205663.4602 | 2648151.9325 | 1205653.2862
4 | 2648171.3769 | 1205647.0276 | 2648175.7698 | 1205639.9631 | 2648188.9205 | 1205628.6404 | 2648241.1981 | 1205601.8488
5 | 2648151.9325 | 1205653.2862 | 2648146.9967 | 1205643.7334 | 2648146.6511 | 1205640.3731 | 2648147.957 | 1205625.7117
6 | 2648254.4869 | 1205595.0386 | 2648241.1981 | 1205601.8488
7 | 2648254.4869 | 1205595.0386 | 2648254.7637 | 1205594.8967 | 2648261.3548 | 1205591.0151
8 | 2648261.3548 | 1205591.0151 | 2648270.9459 | 1205585.3667
9 | 2648280.9754 | 1205579.4602 | 2648270.9459 | 1205585.3667
10 | 2648290.5542 | 1205572.7174 | 2648288.0232 | 1205575.3096 | 2648280.9754 | 1205579.4602
11 | 2648290.5542 | 1205572.7174 | 2648329.8801 | 1205598.6615
12 | 2648290.5542 | 1205572.7174 | 2648263.4405 | 1205554.6213 | 2648252.5274 | 1205547.8514 | 2648244.4764 | 1205543.6173
13 | 2648012.0742 | 1205664.7377 | 2648020.3164 | 1205661.2797 | 2648042.2201 | 1205648.8876
14 | 2648009.4172 | 1205670.7309 | 2648013.4286 | 1205669.4068 | 2648012.0742 | 1205664.7377
15 | 2648009.4172 | 1205670.7309 | 2648006.236 | 1205660.2258
16 | 2647969.9693 | 1205546.231 | 2647974.0785 | 1205545.0411 | 2647989.4222 | 1205591.1354 | 2647990.8231 | 1205595.6937
17 | 2647990.8231 | 1205595.6937 | 2648022.1091 | 1205585.895 | 2648026.2517 | 1205585.2724 | 2648029.459 | 1205585.5761 | 2648032.4566 | 1205587.3679 | 2648035.2116 | 1205590.9365 | 2648041.4417 | 1205605.017 | 2648043.8788 | 1205609.3502
18 | 2647969.9693 | 1205546.231 | 2647974.7028 | 1205560.1215 | 2647977.8218 | 1205569.659
19 | 2647969.9693 | 1205546.231 | 2647954.541 | 1205550.6846
20 | 2647969.9693 | 1205546.231 | 2647968.0522 | 1205540.6013 | 2647963.8692 | 1205528.2495 | 2647959.8818 | 1205517.111
21 | 2647999.7682 | 1205638.7705 | 2648005.2829 | 1205657.0787 | 2648006.236 | 1205660.2258
22 | 2648133.0649 | 1205517.9485 | 2648126.9395 | 1205536.4111
23 | 2648133.0649 | 1205517.9485 | 2648157.0653 | 1205521.6952
24 | 2648133.0649 | 1205517.9485 | 2648124.7004 | 1205516.6547
25 | 2648157.0653 | 1205521.6952 | 2648157.3112 | 1205521.7336
26 | 2648124.7004 | 1205516.6547 | 2648114.6047 | 1205515.0932
27 | 2648157.3112 | 1205521.7336 | 2648186.0998 | 1205526.2279
28 | 2648106.1624 | 1205513.7874 | 2648114.6047 | 1205515.0932
29 | 2647959.8818 | 1205517.111 | 2647960.6598 | 1205516.8393 | 2647963.7339 | 1205515.7412
30 | 2647956.9996 | 1205496.2203 | 2647963.7339 | 1205515.7412
31 | 2647959.8818 | 1205517.111 | 2647956.8445 | 1205508.5509
32 | 2647956.9996 | 1205496.2203 | 2647948.9037 | 1205473.7858
33 | 2647956.9996 | 1205496.2203 | 2647959.7671 | 1205495.4087 | 2647962.5422 | 1205494.5972 | 2647966.2811 | 1205494.0602 | 2647971.5313 | 1205493.8133 | 2647980.8159 | 1205494.9097
34 | 2647977.8218 | 1205569.659 | 2647982.4382 | 1205583.7751 | 2647985.1195 | 1205591.8242
35 | 2647950.9326 | 1205551.7262 | 2647954.541 | 1205550.6846
36 | 2647992.6972 | 1205615.403 | 2647997.7265 | 1205631.9924 | 2647999.7682 | 1205638.7705
37 | 2648329.8801 | 1205598.6615 | 2648327.5454 | 1205602.3781 | 2648326.3827 | 1205606.9602 | 2648326.268 | 1205609.9091
38 | 2648245.8894 | 1205537.2362 | 2648244.4764 | 1205543.6173
39 | 2648244.4764 | 1205543.6173 | 2648236.5921 | 1205539.4624 | 2648226.2881 | 1205535.4213 | 2648213.6172 | 1205531.5613 | 2648201.2509 | 1205528.5931 | 2648186.0998 | 1205526.2279
40 | 2648326.268 | 1205609.9091 | 2648325.3044 | 1205634.6862
41 | 2648205.2913 | 1205516.1519 | 2648213.382 | 1205521.1311 | 2648217.9248 | 1205522.7687 | 2648237.0958 | 1205527.9487 | 2648241.8836 | 1205530.322 | 2648245.0598 | 1205533.5384 | 2648245.8894 | 1205537.2362
42 | 2648325.3044 | 1205634.6862 | 2648452.6545 | 1205677.5236
43 | 2648205.2913 | 1205516.1519 | 2648263.2062 | 1205414.1629
44 | 2648022.3048 | 1205561.6071 | 2648009.3177 | 1205538.3536 | 2648007.4141 | 1205533.8731
45 | 2648005.3591 | 1205529.0362 | 2648007.4141 | 1205533.8731
46 | 2648022.3048 | 1205561.6071 | 2648024.251 | 1205565.0918
47 | 2647995.8895 | 1205500.9464 | 2648001.8007 | 1205520.6608 | 2648005.3591 | 1205529.0362
48 | 2647995.8895 | 1205500.9464 | 2647994.5635 | 1205496.5332
49 | 2647995.8895 | 1205500.9464 | 2647986.4954 | 1205499.3847
50 | 2647994.5635 | 1205496.5332 | 2647980.8159 | 1205494.9097
51 | 2647994.5635 | 1205496.5332 | 2648039.0465 | 1205503.408
52 | 2648050.4139 | 1205505.1648 | 2648039.0465 | 1205503.408
53 | 2647946.3075 | 1205478.854 | 2647956.8445 | 1205508.5509
54 | 2647938.6737 | 1205457.3394 | 2647946.3075 | 1205478.854
55 | 2647985.1195 | 1205591.8242 | 2647989.8947 | 1205606.159 | 2647992.6972 | 1205615.403
56 | 2647950.9326 | 1205551.7262 | 2647948.7603 | 1205552.3532 | 2647944.8365 | 1205553.1889
57 | 2648050.4139 | 1205505.1648 | 2648079.2944 | 1205509.6317
58 | 2648050.4139 | 1205505.1648 | 2648052.7356 | 1205492.6429 | 2648053.0914 | 1205487.187 | 2648051.7232 | 1205482.351 | 2648049.5616 | 1205478.7427 | 2648035.8262 | 1205464.4219
59 | 2647876.4638 | 1205446.546 | 2647880.5 | 1205457.0286 | 2647884.1933 | 1205465.9745 | 2647888.2272 | 1205474.1782 | 2647889.8273 | 1205477.037
60 | 2647889.8273 | 1205477.037 | 2647892.6214 | 1205482.0291 | 2647905.4039 | 1205503.3591
61 | 2647917.7514 | 1205523.9633 | 2647905.4039 | 1205503.3591
62 | 2647917.7514 | 1205523.9633 | 2647918.891 | 1205525.865 | 2647930.1331 | 1205544.7772 | 2647933.128 | 1205548.8036 | 2647933.255 | 1205548.9248
63 | 2647937.7167 | 1205552.3091 | 2647935.2415 | 1205550.8217 | 2647933.255 | 1205548.9248
64 | 2647937.7167 | 1205552.3091 | 2647941.4516 | 1205553.2173 | 2647944.8365 | 1205553.1889
65 | 2647937.7167 | 1205552.3091 | 2647936.622 | 1205547.4975 | 2647935.689 | 1205543.3988 | 2647927.5692 | 1205521.1652 | 2647927.2235 | 1205517.805 | 2647927.2739 | 1205503.9418 | 2647926.7204 | 1205498.034 | 2647925.7884 | 1205493.8018 | 2647923.624 | 1205487.7032 | 2647915.8437 | 1205469.8621
66 | 2647899.2081 | 1205455.9493 | 2647901.6984 | 1205455.1197 | 2647904.2659 | 1205454.5844 | 2647906.0832 | 1205454.6545 | 2647907.927 | 1205455.2252 | 2647909.2427 | 1205456.1919 | 2647910.2891 | 1205457.5344 | 2647911.2857 | 1205459.4101 | 2647915.8437 | 1205469.8621
67 | 2647932.5044 | 1205440.4217 | 2647938.3494 | 1205456.4254 | 2647938.6737 | 1205457.3394
68 | 2648079.2944 | 1205509.6317 | 2648106.1624 | 1205513.7874
69 | 2648452.6545 | 1205677.5236 | 2648462.1174 | 1205664.2482 | 2648464.2457 | 1205662.2832
70 | 2648464.2457 | 1205662.2832 | 2648467.9185 | 1205658.8922 | 2648473.4709 | 1205656.0689 | 2648477.0483 | 1205655.7533 | 2648480.7313 | 1205656.4725 | 2648485.9051 | 1205658.1266 | 2648492.0471 | 1205660.4672

## bus_geodata
| x | y | coords
0 | 2648069.9365 | 1205680.3268
1 | 2648088.6409 | 1205700.8298
2 | 2648157.1892 | 1205663.4602
3 | 2648171.3769 | 1205647.0276
4 | 2648151.9325 | 1205653.2862
5 | 2648241.1981 | 1205601.8488
6 | 2648147.957 | 1205625.7117
7 | 2648254.4869 | 1205595.0386
8 | 2648261.3548 | 1205591.0151
9 | 2648270.9459 | 1205585.3667
10 | 2648280.9754 | 1205579.4602
11 | 2648290.5542 | 1205572.7174
12 | 2648042.2201 | 1205648.8876
13 | 2648012.0742 | 1205664.7377
14 | 2648009.4172 | 1205670.7309
15 | 2647990.8231 | 1205595.6937
16 | 2647969.9693 | 1205546.231
17 | 2648043.8788 | 1205609.3502
18 | 2648006.236 | 1205660.2258
19 | 2648126.9395 | 1205536.4111
20 | 2648133.0649 | 1205517.9485
21 | 2648157.0653 | 1205521.6952
22 | 2648124.7004 | 1205516.6547
23 | 2648157.3112 | 1205521.7336
24 | 2648114.6047 | 1205515.0932
25 | 2647963.7339 | 1205515.7412
26 | 2647959.8818 | 1205517.111
27 | 2647956.9996 | 1205496.2203
28 | 2647977.8218 | 1205569.659
29 | 2647954.541 | 1205550.6846
30 | 2647999.7682 | 1205638.7705
31 | 2648329.8801 | 1205598.6615
32 | 2648244.4764 | 1205543.6173
33 | 2648326.268 | 1205609.9092
34 | 2648245.8894 | 1205537.2362
35 | 2648186.0998 | 1205526.2279
36 | 2648325.3044 | 1205634.6862
37 | 2648205.2913 | 1205516.1519
38 | 2648007.4141 | 1205533.8731
39 | 2648022.3048 | 1205561.6071
40 | 2648005.3591 | 1205529.0362
41 | 2648024.251 | 1205565.0918
42 | 2647995.8895 | 1205500.9464
43 | 2647994.5635 | 1205496.5332
44 | 2647986.4954 | 1205499.3847
45 | 2647980.8159 | 1205494.9097
46 | 2648039.0465 | 1205503.408
47 | 2647956.8445 | 1205508.5509
48 | 2647948.9037 | 1205473.7858
49 | 2647946.3075 | 1205478.854
50 | 2647985.1195 | 1205591.8242
51 | 2647950.9326 | 1205551.7262
52 | 2648050.4139 | 1205505.1648
53 | 2648263.2062 | 1205414.1629
54 | 2647876.4638 | 1205446.546
55 | 2647889.8273 | 1205477.037
56 | 2647905.4039 | 1205503.3591
57 | 2647917.7514 | 1205523.9633
58 | 2647933.255 | 1205548.9248
59 | 2647937.7167 | 1205552.3091
60 | 2647899.2081 | 1205455.9493
61 | 2647915.8437 | 1205469.8621
62 | 2647944.8365 | 1205553.1889
63 | 2647932.5044 | 1205440.4217
64 | 2647938.6737 | 1205457.3394
65 | 2647992.6972 | 1205615.403
66 | 2648079.2944 | 1205509.6317
67 | 2648035.8262 | 1205464.4219
68 | 2648106.1624 | 1205513.7874
69 | 2648452.6545 | 1205677.5236
70 | 2648464.2457 | 1205662.2832
71 | 2648492.0471 | 1205660.4672
72 | 2648033.4426 | 1205461.9367

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98678 | -0.093025 | 0.00024266 | 6.0817e-05
1 | 0.98679 | -0.092955 | 0 | 0
2 | 0.98681 | -0.092752 | 0 | 0
3 | 0.98686 | -0.092418 | 0.0035631 | 0.000893
4 | 0.98679 | -0.092895 | 0.00038512 | 9.652e-05
5 | 0.98747 | -0.088059 | 0.0024217 | 0.00060694
6 | 0.98676 | -0.093141 | 0.00083092 | 0.00020825
7 | 0.98763 | -0.086918 | 0.0012515 | 0.00031365
8 | 0.98773 | -0.086208 | 0.001791 | 0.00044887
9 | 0.9879 | -0.085011 | 0.00098777 | 0.00024756
10 | 0.98809 | -0.083642 | 0.0020736 | 0.00051968
11 | 0.98833 | -0.082004 | 0 | 0
12 | 0.98196 | -0.12662 | 0.00072341 | 0.0001813
13 | 0.98199 | -0.12636 | 0 | 0
14 | 0.982 | -0.12629 | 0 | 0
15 | 0.98283 | -0.12038 | 0 | 0
16 | 0.98317 | -0.118 | 0 | 0
17 | 0.98243 | -0.12322 | 0.0039916 | 0.0010004
18 | 0.98202 | -0.12621 | 0.001787 | 0.00044786
19 | 0.99487 | -0.03585 | 0.00068591 | 0.0001719
20 | 0.99489 | -0.035716 | 0 | 0
21 | 0.9936 | -0.044728 | 0.0084182 | 0.0021098
22 | 0.99534 | -0.032522 | 0.00059798 | 0.00014987
23 | 0.99359 | -0.044799 | 0.0007572 | 0.00018977
24 | 0.9959 | -0.02861 | 0.0018668 | 0.00046787
25 | 0.98593 | -0.098379 | 0 | 0
26 | 0.98554 | -0.10114 | 0 | 0
27 | 0.9879 | -0.084442 | 0 | 0
28 | 0.98275 | -0.12099 | 0.0033643 | 0.00084317
29 | 0.98229 | -0.12422 | 0.0022804 | 0.00057153
30 | 0.9821 | -0.12563 | 0.0017031 | 0.00042684
31 | 0.98766 | -0.086712 | 0 | 0
32 | 0.99016 | -0.06903 | 0 | 0
33 | 0.98749 | -0.087921 | 0.0045801 | 0.0011479
34 | 0.99013 | -0.069196 | 0 | 0
35 | 0.99244 | -0.05293 | 0.0016966 | 0.00042521
36 | 0.98731 | -0.089243 | 0.0018242 | 0.00045719
37 | 0.98996 | -0.070404 | 0.0019369 | 0.00048543
38 | 0.99098 | -0.062849 | 0.0051985 | 0.0013029
39 | 0.99069 | -0.064876 | 0.0029394 | 0.00073668
40 | 0.99107 | -0.062234 | 0.0045018 | 0.0011283
41 | 0.99067 | -0.065013 | 0.0033859 | 0.00084858
42 | 0.99175 | -0.057402 | 0 | 0
43 | 0.99189 | -0.056406 | 0 | 0
44 | 0.99168 | -0.057913 | 0.0052854 | 0.0013246
45 | 0.99034 | -0.067279 | 0.0076656 | 0.0019212
46 | 0.99831 | -0.011659 | 0.0027545 | 0.00069034
47 | 0.98537 | -0.10233 | 0.0064681 | 0.0016211
48 | 0.98777 | -0.085361 | 0.0037656 | 0.00094376
49 | 0.98509 | -0.10436 | 0.0023617 | 0.0005919
50 | 0.98247 | -0.12299 | 0.0021939 | 0.00054985
51 | 0.9821 | -0.12558 | 0.0042072 | 0.0010544
52 | 1 | 0 | -0.15299 | -0.038372
53 | 0.98987 | -0.071051 | 0.00053571 | 0.00013426
54 | 0.97941 | -0.14478 | 0.0055707 | 0.0013962
55 | 0.97968 | -0.14285 | 0.0054079 | 0.0013553
56 | 0.98017 | -0.13936 | 0.0026094 | 0.00065397
57 | 0.98064 | -0.13596 | 0.0032758 | 0.00082098
58 | 0.98137 | -0.13082 | 0.0027458 | 0.00068817
59 | 0.98153 | -0.12967 | 0 | 0
60 | 0.98032 | -0.1383 | 0.0050565 | 0.0012673
61 | 0.98051 | -0.13695 | 0.0030688 | 0.0007691
62 | 0.98182 | -0.12759 | 0.0032006 | 0.00080216
63 | 0.98491 | -0.10561 | 0.0018358 | 0.0004601
64 | 0.98496 | -0.10527 | 0.0020599 | 0.00051627
65 | 0.98225 | -0.12456 | 0.0018972 | 0.00047547
66 | 0.99808 | -0.013359 | 0.0023798 | 0.00059643
67 | 0.99977 | -0.0015933 | 0.0033736 | 0.00084551
68 | 0.99639 | -0.025181 | 0.0034251 | 0.0008584
69 | 0.98665 | -0.093891 | 0 | 0
70 | 0.98656 | -0.094554 | 0.0020405 | 0.0005114
71 | 0.9865 | -0.09497 | 0.0013246 | 0.00033198
72 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00024266 | -6.0817e-05 | 0.00024267 | 6.0462e-05 | 2.3271e-09 | -3.5502e-07 | 0.00036593 | 0.0003658 | 0.00036593 | 0.98678 | -0.093025 | 0.98679 | -0.092955 | 0.13553
1 | -0.00024267 | -6.0462e-05 | 0.00024267 | 5.9447e-05 | 6.6433e-09 | -1.0149e-06 | 0.0003658 | 0.00036544 | 0.0003658 | 0.98679 | -0.092955 | 0.98681 | -0.092752 | 0.13548
2 | -0.0014588 | -0.00036372 | 0.0014588 | 0.00036346 | 6.67e-08 | -2.5678e-07 | 0.002199 | 0.0021989 | 0.002199 | 0.98681 | -0.092752 | 0.98686 | -0.092418 | 0.81444
3 | 0.0012161 | 0.00030427 | -0.0012161 | -0.00030441 | 2.4025e-08 | -1.3706e-07 | 0.0018336 | 0.0018336 | 0.0018336 | 0.98681 | -0.092752 | 0.98679 | -0.092895 | 0.67911
4 | -0.0050219 | -0.0012565 | 0.005025 | 0.0012565 | 3.0196e-06 | 8.214e-08 | 0.0075715 | 0.0075711 | 0.0075715 | 0.98686 | -0.092418 | 0.98747 | -0.088059 | 2.8042
5 | 0.00083095 | 0.00020789 | -0.00083092 | -0.00020825 | 2.8261e-08 | -3.5768e-07 | 0.0012529 | 0.001253 | 0.001253 | 0.98679 | -0.092895 | 0.98676 | -0.093141 | 0.46408
6 | -0.0074467 | -0.0018635 | 0.0074478 | 0.0018637 | 1.173e-06 | 2.6012e-07 | 0.01122 | 0.01122 | 0.01122 | 0.98747 | -0.088059 | 0.98763 | -0.086918 | 4.1557
7 | -0.0086993 | -0.0021774 | 0.0087002 | 0.0021776 | 8.5317e-07 | 2.2627e-07 | 0.013106 | 0.013106 | 0.013106 | 0.98763 | -0.086918 | 0.98773 | -0.086208 | 4.854
8 | -0.010491 | -0.0026265 | 0.010493 | 0.002627 | 1.7348e-06 | 5.2472e-07 | 0.015804 | 0.015804 | 0.015804 | 0.98773 | -0.086208 | 0.9879 | -0.085011 | 5.8533
9 | -0.011481 | -0.0028746 | 0.011483 | 0.0028753 | 2.1717e-06 | 6.8619e-07 | 0.017292 | 0.017292 | 0.017292 | 0.9879 | -0.085011 | 0.98809 | -0.083642 | 6.4043
10 | -0.013556 | -0.0033949 | 0.013559 | 0.003396 | 3.0691e-06 | 1.0292e-06 | 0.020414 | 0.020414 | 0.020414 | 0.98809 | -0.083642 | 0.98833 | -0.082004 | 7.5609
11 | 0.0097809 | 0.0024494 | -0.0097745 | -0.0024476 | 6.3621e-06 | 1.8448e-06 | 0.014725 | 0.014726 | 0.014726 | 0.98833 | -0.082004 | 0.98766 | -0.086712 | 5.4539
12 | -0.02334 | -0.0058454 | 0.023382 | 0.0058608 | 4.1935e-05 | 1.543e-05 | 0.03514 | 0.035139 | 0.03514 | 0.98833 | -0.082004 | 0.99016 | -0.06903 | 13.0147
13 | -0.00072341 | -0.0001813 | 0.00072344 | 0.00018088 | 2.557e-08 | -4.2161e-07 | 0.0010962 | 0.0010961 | 0.0010962 | 0.98196 | -0.12662 | 0.98199 | -0.12636 | 0.40601
14 | -0.00072344 | -0.00018088 | 0.00072345 | 0.00018077 | 6.811e-09 | -1.1233e-07 | 0.0010961 | 0.001096 | 0.0010961 | 0.98199 | -0.12636 | 0.982 | -0.12629 | 0.40595
15 | -0.00072345 | -0.00018077 | 0.00072345 | 0.00018063 | 8.2274e-09 | -1.357e-07 | 0.001096 | 0.001096 | 0.001096 | 0.982 | -0.12629 | 0.98202 | -0.12621 | 0.40594
16 | -0.0039932 | -0.0010001 | 0.0039945 | 0.0009999 | 1.3142e-06 | -2.2509e-07 | 0.0060455 | 0.0060452 | 0.0060455 | 0.98283 | -0.12038 | 0.98317 | -0.118 | 2.2391
17 | 0.0039932 | 0.0010001 | -0.0039916 | -0.0010004 | 1.5638e-06 | -2.671e-07 | 0.0060455 | 0.0060458 | 0.0060458 | 0.98283 | -0.12038 | 0.98243 | -0.12322 | 2.2392
18 | 0.011678 | 0.0029259 | -0.011673 | -0.0029243 | 4.8167e-06 | 1.5393e-06 | 0.017675 | 0.017675 | 0.017675 | 0.98317 | -0.118 | 0.98275 | -0.12099 | 6.5462
19 | 0.037516 | 0.0094115 | -0.037484 | -0.0093993 | 3.231e-05 | 1.2223e-05 | 0.056784 | 0.056784 | 0.056784 | 0.98317 | -0.118 | 0.98229 | -0.12422 | 21.031
20 | -0.053189 | -0.013337 | 0.053313 | 0.013385 | 0.00012461 | 4.7536e-05 | 0.080504 | 0.080503 | 0.080504 | 0.98317 | -0.118 | 0.98554 | -0.10114 | 29.8161
21 | -0.0025104 | -0.00062849 | 0.0025106 | 0.00062829 | 2.0231e-07 | -2.0572e-07 | 0.0038037 | 0.0038036 | 0.0038037 | 0.98202 | -0.12621 | 0.9821 | -0.12563 | 1.4088
22 | -0.00068591 | -0.0001719 | 0.00068592 | 0.00017166 | 1.2774e-08 | -2.4768e-07 | 0.0010259 | 0.0010258 | 0.0010259 | 0.99487 | -0.03585 | 0.99489 | -0.035716 | 0.37996
23 | 0.036863 | 0.0092538 | -0.036817 | -0.0092364 | 4.6085e-05 | 1.741e-05 | 0.05514 | 0.05514 | 0.05514 | 0.99489 | -0.035716 | 0.9936 | -0.044728 | 20.4221
24 | -0.037549 | -0.0094255 | 0.037565 | 0.0094318 | 1.6661e-05 | 6.298e-06 | 0.056165 | 0.056165 | 0.056165 | 0.99489 | -0.035716 | 0.99534 | -0.032522 | 20.802
25 | 0.028398 | 0.0071266 | -0.028398 | -0.0071265 | 2.809e-07 | 1.0482e-07 | 0.042533 | 0.042533 | 0.042533 | 0.9936 | -0.044728 | 0.99359 | -0.044799 | 15.7528
26 | -0.038163 | -0.0095817 | 0.038184 | 0.0095895 | 2.0754e-05 | 7.8496e-06 | 0.057059 | 0.057059 | 0.057059 | 0.99534 | -0.032522 | 0.9959 | -0.02861 | 21.1331
27 | 0.027641 | 0.0069368 | -0.02761 | -0.0069251 | 3.1161e-05 | 1.1608e-05 | 0.041399 | 0.041399 | 0.041399 | 0.99359 | -0.044799 | 0.99244 | -0.05293 | 15.3329
28 | -0.040051 | -0.010057 | 0.04007 | 0.010065 | 1.9093e-05 | 7.2324e-06 | 0.059849 | 0.059849 | 0.059849 | 0.9959 | -0.02861 | 0.99639 | -0.025181 | 22.1661
29 | 0.066069 | 0.016585 | -0.066043 | -0.016575 | 2.5306e-05 | 9.6812e-06 | 0.099724 | 0.099724 | 0.099724 | 0.98593 | -0.098379 | 0.98554 | -0.10114 | 36.9347
30 | -0.066069 | -0.016585 | 0.066197 | 0.016634 | 0.00012813 | 4.9015e-05 | 0.099724 | 0.099723 | 0.099724 | 0.98593 | -0.098379 | 0.9879 | -0.084442 | 36.9347
31 | 0.01273 | 0.00319 | -0.012728 | -0.0031893 | 2.0938e-06 | 6.8958e-07 | 0.01922 | 0.01922 | 0.01922 | 0.98554 | -0.10114 | 0.98537 | -0.10233 | 7.1186
32 | 0.0037661 | 0.00094363 | -0.0037656 | -0.00094376 | 4.7891e-07 | -1.2114e-07 | 0.0056726 | 0.0056727 | 0.0056727 | 0.9879 | -0.084442 | 0.98777 | -0.085361 | 2.101
33 | -0.069963 | -0.017577 | 0.07013 | 0.017641 | 0.00016745 | 6.4094e-05 | 0.1054 | 0.1054 | 0.1054 | 0.9879 | -0.084442 | 0.99034 | -0.067279 | 39.0356
34 | 0.0083091 | 0.0020812 | -0.0083068 | -0.0020806 | 2.3047e-06 | 5.9083e-07 | 0.012581 | 0.012581 | 0.012581 | 0.98275 | -0.12099 | 0.98247 | -0.12299 | 4.6595
35 | 0.035203 | 0.0088278 | -0.035197 | -0.0088252 | 6.6652e-06 | 2.516e-06 | 0.053329 | 0.053329 | 0.053329 | 0.98229 | -0.12422 | 0.9821 | -0.12558 | 19.7516
36 | -0.0042137 | -0.0010551 | 0.0042144 | 0.0010551 | 6.2089e-07 | -7.0172e-08 | 0.0063841 | 0.006384 | 0.0063841 | 0.9821 | -0.12563 | 0.98225 | -0.12456 | 2.3645
37 | 0.0097745 | 0.0024476 | -0.0097729 | -0.0024471 | 1.6329e-06 | 4.7362e-07 | 0.014726 | 0.014726 | 0.014726 | 0.98766 | -0.086712 | 0.98749 | -0.087921 | 5.454
38 | 0.0024731 | 0.00061768 | -0.0024731 | -0.00061775 | 5.6314e-08 | -6.2407e-08 | 0.0037159 | 0.0037159 | 0.0037159 | 0.99016 | -0.06903 | 0.99013 | -0.069196 | 1.3763
39 | -0.025855 | -0.0064785 | 0.025913 | 0.0064999 | 5.7728e-05 | 2.1413e-05 | 0.038855 | 0.038855 | 0.038855 | 0.99016 | -0.06903 | 0.99244 | -0.05293 | 14.3908
40 | 0.0051928 | 0.0012992 | -0.0051918 | -0.0012992 | 9.4718e-07 | 4.7143e-08 | 0.0078241 | 0.0078242 | 0.0078242 | 0.98749 | -0.087921 | 0.98731 | -0.089243 | 2.8978
41 | 0.0024731 | 0.00061775 | -0.0024726 | -0.0006182 | 4.1133e-07 | -4.5567e-07 | 0.0037159 | 0.0037161 | 0.0037161 | 0.99013 | -0.069196 | 0.98996 | -0.070404 | 1.3763
42 | 0.0033677 | 0.000842 | -0.0033655 | -0.00084289 | 2.1595e-06 | -8.8654e-07 | 0.0050748 | 0.0050754 | 0.0050754 | 0.98731 | -0.089243 | 0.98665 | -0.093891 | 1.8798
43 | 0.00053576 | 0.00013277 | -0.00053571 | -0.00013426 | 4.7431e-08 | -1.4896e-06 | 0.00080477 | 0.0008053 | 0.0008053 | 0.98996 | -0.070404 | 0.98987 | -0.071051 | 0.29826
44 | 0.0063271 | 0.0015855 | -0.0063253 | -0.0015852 | 1.7743e-06 | 2.7667e-07 | 0.0095005 | 0.0095006 | 0.0095006 | 0.99098 | -0.062849 | 0.99069 | -0.064876 | 3.5187
45 | -0.011526 | -0.0028884 | 0.011527 | 0.0028887 | 9.8217e-07 | 3.1005e-07 | 0.017306 | 0.017306 | 0.017306 | 0.99098 | -0.062849 | 0.99107 | -0.062234 | 6.4097
46 | 0.0033859 | 0.00084855 | -0.0033859 | -0.00084858 | 6.4416e-08 | -2.6617e-08 | 0.0050856 | 0.0050856 | 0.0050856 | 0.99069 | -0.064876 | 0.99067 | -0.065013 | 1.8836
47 | -0.016028 | -0.0040169 | 0.016039 | 0.0040207 | 1.0726e-05 | 3.7428e-06 | 0.024065 | 0.024065 | 0.024065 | 0.99107 | -0.062234 | 0.99175 | -0.057402 | 8.9131
48 | -0.021325 | -0.0053453 | 0.021328 | 0.0053464 | 2.9436e-06 | 1.0727e-06 | 0.031996 | 0.031996 | 0.031996 | 0.99175 | -0.057402 | 0.99189 | -0.056406 | 11.8503
49 | 0.0052857 | 0.0013247 | -0.0052854 | -0.0013246 | 3.7375e-07 | 2.0875e-08 | 0.0079306 | 0.0079307 | 0.0079307 | 0.99175 | -0.057402 | 0.99168 | -0.057913 | 2.9373
50 | 0.077914 | 0.019608 | -0.077796 | -0.019562 | 0.00011807 | 4.5234e-05 | 0.11691 | 0.11691 | 0.11691 | 0.99189 | -0.056406 | 0.99034 | -0.067279 | 43.3014
51 | -0.099242 | -0.024954 | 0.099865 | 0.025193 | 0.0006228 | 0.00023895 | 0.14891 | 0.14891 | 0.14891 | 0.99189 | -0.056406 | 0.99831 | -0.011659 | 55.1517
52 | -0.10262 | -0.025883 | 0.10279 | 0.025948 | 0.00016805 | 6.4484e-05 | 0.15301 | 0.15301 | 0.15301 | 0.99831 | -0.011659 | 1 | 0 | 56.6722
53 | 0.0062598 | 0.0015682 | -0.006258 | -0.001568 | 1.757e-06 | 2.7448e-07 | 0.0094527 | 0.0094528 | 0.0094528 | 0.98537 | -0.10233 | 0.98509 | -0.10436 | 3.5011
54 | 0.0038963 | 0.00097607 | -0.0038958 | -0.00097617 | 4.9343e-07 | -1.0081e-07 | 0.0058854 | 0.0058855 | 0.0058855 | 0.98509 | -0.10436 | 0.98496 | -0.10527 | 2.1798
55 | 0.0061128 | 0.0015307 | -0.0061115 | -0.0015305 | 1.3247e-06 | 1.9592e-07 | 0.0092579 | 0.009258 | 0.009258 | 0.98247 | -0.12299 | 0.98225 | -0.12456 | 3.4289
56 | 0.03099 | 0.0077708 | -0.030981 | -0.0077676 | 8.63e-06 | 3.2399e-06 | 0.046955 | 0.046955 | 0.046955 | 0.9821 | -0.12558 | 0.98182 | -0.12759 | 17.3907
57 | 0.046032 | 0.011579 | -0.045946 | -0.011547 | 8.5595e-05 | 3.2538e-05 | 0.068511 | 0.068511 | 0.068511 | 1 | 0 | 0.99808 | -0.013359 | 25.3746
58 | 0.0033744 | 0.00084518 | -0.0033736 | -0.00084551 | 7.4376e-07 | -3.3405e-07 | 0.0050209 | 0.0050212 | 0.0050212 | 1 | 0 | 0.99977 | -0.0015933 | 1.8597
59 | -0.0055707 | -0.0013962 | 0.0055722 | 0.0013963 | 1.4897e-06 | 1.5343e-07 | 0.0084636 | 0.0084635 | 0.0084636 | 0.97941 | -0.14478 | 0.97968 | -0.14285 | 3.1347
60 | -0.01098 | -0.0027517 | 0.010985 | 0.0027533 | 5.3086e-06 | 1.6564e-06 | 0.016677 | 0.016677 | 0.016677 | 0.97968 | -0.14285 | 0.98017 | -0.13936 | 6.1768
61 | -0.013595 | -0.0034073 | 0.013601 | 0.0034094 | 6.3845e-06 | 2.1527e-06 | 0.020639 | 0.020639 | 0.020639 | 0.98017 | -0.13936 | 0.98064 | -0.13596 | 7.6439
62 | -0.016877 | -0.0042304 | 0.016889 | 0.0042347 | 1.2036e-05 | 4.258e-06 | 0.025609 | 0.025609 | 0.025609 | 0.98064 | -0.13596 | 0.98137 | -0.13082 | 9.4848
63 | -0.019635 | -0.0049228 | 0.019638 | 0.004924 | 3.1164e-06 | 1.1274e-06 | 0.029772 | 0.029772 | 0.029772 | 0.98137 | -0.13082 | 0.98153 | -0.12967 | 11.0268
64 | -0.027772 | -0.0069624 | 0.02778 | 0.0069654 | 7.9964e-06 | 2.9842e-06 | 0.042104 | 0.042104 | 0.042104 | 0.98153 | -0.12967 | 0.98182 | -0.12759 | 15.5941
65 | 0.0081343 | 0.0020385 | -0.0081262 | -0.0020364 | 8.185e-06 | 2.0591e-06 | 0.012332 | 0.012332 | 0.012332 | 0.98153 | -0.12967 | 0.98051 | -0.13695 | 4.5675
66 | -0.0050565 | -0.0012673 | 0.0050574 | 0.0012673 | 9.5048e-07 | 3.9493e-08 | 0.0076752 | 0.007675 | 0.0076752 | 0.98032 | -0.1383 | 0.98051 | -0.13695 | 2.8427
67 | -0.0018358 | -0.0004601 | 0.0018359 | 0.0004599 | 8.6437e-08 | -1.9594e-07 | 0.0027736 | 0.0027735 | 0.0027736 | 0.98491 | -0.10561 | 0.98496 | -0.10527 | 1.0272
68 | 0.043567 | 0.01095 | -0.043495 | -0.010923 | 7.1597e-05 | 2.7182e-05 | 0.064963 | 0.064964 | 0.064964 | 0.99808 | -0.013359 | 0.99639 | -0.025181 | 24.0606
69 | 0.0033655 | 0.00084289 | -0.0033652 | -0.00084301 | 3.0863e-07 | -1.2648e-07 | 0.0050754 | 0.0050755 | 0.0050755 | 0.98665 | -0.093891 | 0.98656 | -0.094554 | 1.8798
70 | 0.0013247 | 0.00033161 | -0.0013246 | -0.00033198 | 7.616e-08 | -3.6111e-07 | 0.0019979 | 0.001998 | 0.001998 | 0.98656 | -0.094554 | 0.9865 | -0.09497 | 0.74

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15299 | 0.038372

## res_load
| p_mw | q_mvar
0 | 0.00024266 | 6.0817e-05
1 | 0.0035631 | 0.000893
2 | 0.00038512 | 9.652e-05
3 | 0.0024217 | 0.00060694
4 | 0.00083092 | 0.00020825
5 | 0.0012515 | 0.00031365
6 | 0.001791 | 0.00044887
7 | 0.00098777 | 0.00024756
8 | 0.0020736 | 0.00051968
9 | 0.00072341 | 0.0001813
10 | 0.0039916 | 0.0010004
11 | 0.001787 | 0.00044786
12 | 0.00068591 | 0.0001719
13 | 0.0084182 | 0.0021098
14 | 0.00059798 | 0.00014987
15 | 0.0007572 | 0.00018977
16 | 0.0018668 | 0.00046787
17 | 0.0033643 | 0.00084317
18 | 0.0022804 | 0.00057153
19 | 0.0017031 | 0.00042684
20 | 0.0045801 | 0.0011479
21 | 0.0016966 | 0.00042521
22 | 0.0018242 | 0.00045719
23 | 0.0019369 | 0.00048543
24 | 0.0051985 | 0.0013029
25 | 0.0029394 | 0.00073668
26 | 0.0045018 | 0.0011283
27 | 0.0033859 | 0.00084858
28 | 0.0052854 | 0.0013246
29 | 0.0076656 | 0.0019212
30 | 0.0027545 | 0.00069034
31 | 0.0064681 | 0.0016211
32 | 0.0037656 | 0.00094376
33 | 0.0023617 | 0.0005919
34 | 0.0021939 | 0.00054985
35 | 0.0042072 | 0.0010544
36 | 0.00053571 | 0.00013426
37 | 0.0055707 | 0.0013962
38 | 0.0054079 | 0.0013553
39 | 0.0026094 | 0.00065397
40 | 0.0032758 | 0.00082098
41 | 0.0027458 | 0.00068817
42 | 0.0050565 | 0.0012673
43 | 0.0030688 | 0.0007691
44 | 0.0032006 | 0.00080216
45 | 0.0018358 | 0.0004601
46 | 0.0020599 | 0.00051627
47 | 0.0018972 | 0.00047547
48 | 0.0023798 | 0.00059643
49 | 0.0033736 | 0.00084551
50 | 0.0034251 | 0.0008584
51 | 0.0020405 | 0.0005114
52 | 0.0013246 | 0.00033198

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1