## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1004-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1004-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1004-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1004-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1004-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1004-10_0_3_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_1004-10_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_1004-10_0_3_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_1004-10_0_3_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_1004-10_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1004-10_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1004-10_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1004-10_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1004-10_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1004-10_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1004-10_0_3_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1004-10_0_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_1004-10_0_3_node_270 | 0.4 | n |  | TRUE
18 | bus_LV_1004-10_0_3_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_1004-10_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1004-10_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1004-10_0_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1004-10_0_3_node_310 | 0.4 | n |  | TRUE
23 | bus_LV_1004-10_0_3_node_311 | 0.4 | n |  | TRUE
24 | bus_LV_1004-10_0_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_1004-10_0_3_node_289 | 0.4 | n |  | TRUE
26 | bus_LV_1004-10_0_3_node_294 | 0.4 | n |  | TRUE
27 | bus_LV_1004-10_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_1004-10_0_3_node_291 | 0.4 | n |  | TRUE
29 | bus_LV_1004-10_0_3_node_292 | 0.4 | n |  | TRUE
30 | bus_LV_1004-10_0_3_node_293 | 0.4 | n |  | TRUE
31 | bus_LV_1004-10_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1004-10_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1004-10_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_1004-10_0_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1004-10_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1004-10_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_1004-10_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_1004-10_0_3_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1004-10_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_1004-10_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_1004-10_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1004-10_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_1004-10_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_1004-10_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1004-10_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_1004-10_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_1004-10_0_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_1004-10_0_3_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_1004-10_0_3_node_333 | 0.4 | n |  | TRUE
50 | bus_LV_1004-10_0_3_node_219 | 0.4 | n |  | TRUE
51 | bus_LV_1004-10_0_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_1004-10_0_3_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_1004-10_0_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_1004-10_0_3_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_1004-10_0_3_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_1004-10_0_3_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_1004-10_0_3_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_1004-10_0_3_node_342 | 0.4 | n |  | TRUE
59 | bus_LV_1004-10_0_3_node_341 | 0.4 | n |  | TRUE
60 | bus_LV_1004-10_0_3_node_220 | 0.4 | n |  | TRUE
61 | bus_LV_1004-10_0_3_node_217 | 0.4 | n |  | TRUE
62 | bus_LV_1004-10_0_3_node_218 | 0.4 | n |  | TRUE
63 | bus_MV_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1004-10_0_3_load_0 | 0 | 0.0017608 | 0.00044129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1004-10_0_3_load_3 | 3 | 5.1594e-05 | 1.2931e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1004-10_0_3_load_48 | 6 | 0.00024212 | 6.068e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1004-10_0_3_load_70 | 7 | 7.2625e-05 | 1.8201e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1004-10_0_3_load_69 | 8 | 7.6386e-05 | 1.9144e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1004-10_0_3_load_9 | 9 | 6.779e-05 | 1.699e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1004-10_0_3_load_12 | 12 | 0.00031525 | 7.9009e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1004-10_0_3_load_14 | 13 | 0.00013027 | 3.2648e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1004-10_0_3_load_44 | 15 | 0.00019848 | 4.9744e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1004-10_0_3_load_74 | 16 | 9.4252e-05 | 2.3622e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1004-10_0_3_load_270 | 17 | 0.00026073 | 6.5346e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1004-10_0_3_load_23 | 19 | 0.0002831 | 7.0953e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1004-10_0_3_load_53 | 21 | 0.00026386 | 6.6129e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1004-10_0_3_load_310 | 22 | 0.00018394 | 4.6101e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1004-10_0_3_load_311 | 23 | 0.00031359 | 7.8592e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1004-10_0_3_load_76 | 24 | 0.00012604 | 3.1589e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1004-10_0_3_load_289 | 25 | 7.8158e-05 | 1.9588e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1004-10_0_3_load_294 | 26 | 0.00011367 | 2.8489e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1004-10_0_3_load_79 | 27 | 6.9225e-05 | 1.735e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1004-10_0_3_load_291 | 28 | 0.00011358 | 2.8465e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1004-10_0_3_load_292 | 29 | 0.00011357 | 2.8464e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1004-10_0_3_load_293 | 30 | 0.00011367 | 2.8489e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1004-10_0_3_load_51 | 31 | 0.00017295 | 4.3345e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1004-10_0_3_load_45 | 32 | 0.00019437 | 4.8713e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1004-10_0_3_load_46 | 34 | 0.00018277 | 4.5807e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1004-10_0_3_load_50 | 36 | 5.2125e-05 | 1.3064e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1004-10_0_3_load_49 | 37 | 0.00025929 | 6.4983e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1004-10_0_3_load_64 | 38 | 0.000175 | 4.386e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1004-10_0_3_load_61 | 39 | 5.9279e-05 | 1.4857e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1004-10_0_3_load_59 | 40 | 0.00016621 | 4.1656e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1004-10_0_3_load_55 | 41 | 0.00010206 | 2.558e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1004-10_0_3_load_56 | 42 | 0.00012073 | 3.0258e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1004-10_0_3_load_57 | 43 | 8.6269e-05 | 2.1621e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1004-10_0_3_load_58 | 44 | 0.00029079 | 7.2879e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1004-10_0_3_load_60 | 45 | 7.1181e-05 | 1.784e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1004-10_0_3_load_66 | 47 | 0.00010882 | 2.7272e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1004-10_0_3_load_68 | 48 | 0.00013849 | 3.471e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1004-10_0_3_load_333 | 49 | 7.8135e-05 | 1.9583e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1004-10_0_3_load_219 | 50 | 0.00010873 | 2.725e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1004-10_0_3_load_71 | 51 | 0.00065865 | 0.00016507 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1004-10_0_3_load_72 | 52 | 8.4547e-05 | 2.119e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1004-10_0_3_load_82 | 54 | 0.00015663 | 3.9255e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1004-10_0_3_load_80 | 55 | 0.00070026 | 0.0001755 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1004-10_0_3_load_84 | 56 | 0.0003528 | 8.8419e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1004-10_0_3_load_342 | 58 | 0.00012758 | 3.1975e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1004-10_0_3_load_341 | 59 | 9.7078e-05 | 2.433e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1004-10_0_3_load_217 | 61 | 9.5402e-05 | 2.391e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1004-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1004-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.20746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1004-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.27973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1004-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1004-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.14203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1004-10_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.16889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1004-10_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.056512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1004-10_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.15031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1004-10_0_3_line_8 | NAYY 4x150 SE | 5 | 38 | 0.099966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1004-10_0_3_line_9 | NAYY 4x150 SE | 6 | 34 | 0.025669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1004-10_0_3_line_10 | NAYY 4x150 SE | 7 | 50 | 0.042421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1004-10_0_3_line_11 | NAYY 4x150 SE | 8 | 48 | 0.28671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1004-10_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.31646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1004-10_0_3_line_13 | NAYY 4x150 SE | 9 | 11 | 0.098112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1004-10_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.18054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1004-10_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0087756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1004-10_0_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.27096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1004-10_0_3_line_17 | NAYY 4x150 SE | 12 | 15 | 0.35503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1004-10_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.10829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1004-10_0_3_line_19 | NAYY 4x150 SE | 15 | 32 | 0.13055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1004-10_0_3_line_20 | NAYY 4x150 SE | 16 | 52 | 0.093392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1004-10_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.32952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1004-10_0_3_line_22 | NAYY 4x150 SE | 18 | 57 | 0.020973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1004-10_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.027404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1004-10_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 1.5143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1004-10_0_3_line_25 | NAYY 4x150 SE | 21 | 41 | 0.39402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1004-10_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.038155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1004-10_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.26717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1004-10_0_3_line_28 | NAYY 4x150 SE | 24 | 53 | 0.3357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1004-10_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.11506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1004-10_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.24614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1004-10_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.17538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1004-10_0_3_line_32 | NAYY 4x150 SE | 26 | 30 | 0.02181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1004-10_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.022359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1004-10_0_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.021852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1004-10_0_3_line_35 | NAYY 4x150 SE | 31 | 37 | 0.031618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1004-10_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.044869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1004-10_0_3_line_37 | NAYY 4x150 SE | 33 | 41 | 0.080792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1004-10_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.12393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1004-10_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1004-10_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.11244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1004-10_0_3_line_41 | NAYY 4x150 SE | 36 | 40 | 0.33427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1004-10_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.17784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1004-10_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.072419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1004-10_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.25889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1004-10_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.35702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1004-10_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.02215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1004-10_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.031517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1004-10_0_3_line_48 | NAYY 4x150 SE | 46 | 54 | 0.18943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1004-10_0_3_line_49 | NAYY 4x150 SE | 46 | 53 | 0.017365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1004-10_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.13499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1004-10_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.22499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1004-10_0_3_line_52 | NAYY 4x150 SE | 50 | 62 | 0.010754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1004-10_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.033458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1004-10_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.049817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1004-10_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.011848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1004-10_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.020787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1004-10_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.64091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1004-10_0_3_line_58 | NAYY 4x150 SE | 58 | 60 | 0.073137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1004-10_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0089598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1004-10_0_3_line_60 | NAYY 4x150 SE | 60 | 62 | 0.12471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1004-10_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.010369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1004-10_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 63 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46
0 | 2644142.5448 | 1190135.1649 | 2644128.3179 | 1190095.5161 | 2644113.1271 | 1190056.2494 | 2644087.0401 | 1190007.4973 | 2644069.9115 | 1189974.4865 | 2644065.3735 | 1189963.1802 | 2644064.5971 | 1189960.9698
1 | 2644051.9593 | 1189754.8562 | 2644051.2856 | 1189764.5455 | 2644050.6986 | 1189791.467 | 2644052.156 | 1189849.4095 | 2644053.7461 | 1189899.6821 | 2644054.7904 | 1189918.4001 | 2644056.5794 | 1189931.2536 | 2644060.5857 | 1189949.5486 | 2644064.5971 | 1189960.9698
2 | 2644142.5448 | 1190135.1649 | 2644157.8706 | 1190190.1969 | 2644173.0655 | 1190269.1301 | 2644181.3384 | 1190318.8295 | 2644185.7104 | 1190354.6369 | 2644188.0544 | 1190387.2944 | 2644188.0227 | 1190410.3189
3 | 2644059.7023 | 1189645.6755 | 2644058.9641 | 1189661.0229 | 2644054.7128 | 1189715.3993 | 2644051.9593 | 1189754.8562
4 | 2644180.2426 | 1190552.094 | 2644186.6388 | 1190462.3585 | 2644188.0002 | 1190426.6712 | 2644188.0227 | 1190410.3189
5 | 2644188.0227 | 1190410.3189 | 2644354.1129 | 1190379.695
6 | 2644059.7023 | 1189645.6755 | 2644058.823 | 1189636.6641 | 2644057.1715 | 1189626.8688 | 2644054.2547 | 1189616.9864 | 2644048.6239 | 1189603.8711 | 2644042.091 | 1189592.6932
7 | 2644059.7023 | 1189645.6755 | 2644069.1758 | 1189644.4111 | 2644079.1698 | 1189644.9516 | 2644086.1307 | 1189646.2369 | 2644090.9317 | 1189647.7397 | 2644100.1183 | 1189652.2876 | 2644106.9878 | 1189656.6627 | 2644110.7542 | 1189660.9372 | 2644113.3589 | 1189664.5139 | 2644115.2571 | 1189669.7864 | 2644119.1205 | 1189682.633 | 2644121.5953 | 1189693.4794 | 2644123.6341 | 1189700.3648 | 2644125.676 | 1189707.8729 | 2644126.4203 | 1189712.4364 | 2644125.8313 | 1189717.8461 | 2644121.8567 | 1189741.8411 | 2644120.8934 | 1189746.3143 | 2644121.423 | 1189748.953 | 2644123.0257 | 1189751.8997
8 | 2644180.2426 | 1190552.094 | 2644258.7093 | 1190551.4394 | 2644264.3434 | 1190552.5817 | 2644269.8148 | 1190555.1124 | 2644274.6578 | 1190557.027 | 2644279.3553 | 1190557.9956
9 | 2644354.1129 | 1190379.695 | 2644356.7216 | 1190391.9322 | 2644357.9411 | 1190394.0646 | 2644359.8425 | 1190395.7574 | 2644362.1919 | 1190396.6753 | 2644365.79 | 1190396.8131 | 2644367.8047 | 1190396.549
10 | 2644020.6855 | 1189556.0683 | 2644042.091 | 1189592.6932
11 | 2644123.0257 | 1189751.8997 | 2644398.9951 | 1189674.1734
12 | 2645367.7175 | 1190334.8046 | 2645376.2291 | 1190328.5433 | 2645383.3168 | 1190325.0395 | 2645389.9908 | 1190323.7894 | 2645396.9897 | 1190323.9537 | 2645402.366 | 1190324.906 | 2645411.1567 | 1190329.1083 | 2645418.8613 | 1190334.7476 | 2645443.993 | 1190357.0393 | 2645446.4021 | 1190360.126 | 2645448.6698 | 1190363.7452 | 2645451.8292 | 1190370.4506 | 2645456.297 | 1190379.5673 | 2645461.4735 | 1190386.7439 | 2645468.6721 | 1190394.7362 | 2645477.6162 | 1190401.8192 | 2645487.1825 | 1190407.2837 | 2645496.2 | 1190410.7096 | 2645507.1111 | 1190412.8047 | 2645555.7446 | 1190418.8777 | 2645565.5793 | 1190421.1315 | 2645572.1558 | 1190423.6718 | 2645578.7222 | 1190427.535 | 2645584.9692 | 1190432.2963 | 2645590.9432 | 1190437.8559 | 2645599.2693 | 1190446.9465 | 2645615.758 | 1190464.5818 | 2645621.86 | 1190469.342 | 2645624.5939 | 1190471.2291
13 | 2645661.783 | 1190547.6671 | 2645656.0022 | 1190547.7898 | 2645651.3088 | 1190546.3087 | 2645646.0671 | 1190542.7335 | 2645641.4973 | 1190538.0405 | 2645637.4089 | 1190531.2167 | 2645636.1142 | 1190527.0157 | 2645635.5132 | 1190522.8199 | 2645637.619 | 1190512.6525 | 2645639.3446 | 1190505.3505 | 2645640.1885 | 1190498.6755 | 2645640.1834 | 1190493.3392 | 2645638.9716 | 1190488.2605 | 2645636.5328 | 1190483.0946 | 2645633.1171 | 1190478.0436 | 2645629.286 | 1190474.468 | 2645624.5939 | 1190471.2291
14 | 2645367.7175 | 1190334.8046 | 2645363.8866 | 1190302.9914 | 2645361.6709 | 1190294.5032 | 2645355.968 | 1190284.31 | 2645348.9667 | 1190276.4082 | 2645323.7188 | 1190247.2122 | 2645315.2021 | 1190240.0327 | 2645301.0049 | 1190230.7647 | 2645282.9498 | 1190220.4114 | 2645278.6296 | 1190216.9324 | 2645275.2592 | 1190211.8708 | 2645273.4307 | 1190206.6207 | 2645273.7412 | 1190200.8532 | 2645275.422 | 1190194.0428
15 | 2645661.783 | 1190547.6671 | 2645668.0357 | 1190546.6475 | 2645670.3732 | 1190545.9467
16 | 2645460.9587 | 1190671.4747 | 2645489.7061 | 1190679.3194 | 2645530.5624 | 1190681.0641 | 2645554.566 | 1190683.0255 | 2645571.7507 | 1190668.248 | 2645588.8858 | 1190653.9816 | 2645611.137 | 1190633.7621 | 2645619.8654 | 1190619.0315 | 2645631.415 | 1190603.3331 | 2645637.2639 | 1190586.2571 | 2645651.6748 | 1190573.3153 | 2645661.783 | 1190547.6671
17 | 2645275.422 | 1190194.0428 | 2645279.4759 | 1190177.6171 | 2645279.8831 | 1190170.1494 | 2645279.9657 | 1190164.2801 | 2645279.1038 | 1190160.2714 | 2645268.3628 | 1190137.6222 | 2645266.5904 | 1190133.0063 | 2645265.7033 | 1190124.2615 | 2645266.7499 | 1190108.8831 | 2645266.4527 | 1190102.7998 | 2645265.928 | 1190099.5829 | 2645264.2573 | 1190095.6348 | 2645261.9999 | 1190092.6383 | 2645259.0436 | 1190090.2925 | 2645254.2294 | 1190087.5879 | 2645240.4918 | 1190081.0139 | 2645235.4121 | 1190078.1184 | 2645231.6293 | 1190075.1549 | 2645228.9908 | 1190072.1222 | 2645226.528 | 1190068.0458 | 2645223.7149 | 1190061.8878 | 2645216.8119 | 1190042.9253 | 2645215.5041 | 1190040.4029 | 2645213.7617 | 1190037.8662 | 2645209.3989 | 1190033.9422 | 2645202.1919 | 1190027.9734 | 2645198.408 | 1190025.1433 | 2645195.623 | 1190022.3207 | 2645193.7712 | 1190019.1272 | 2645191.8615 | 1190014.5103 | 2645190.4753 | 1190009.2303 | 2645188.8307 | 1190000.8021 | 2645188.1603 | 1189994.6492 | 2645188.2971 | 1189988.647 | 2645188.9247 | 1189983.2932 | 2645190.282 | 1189978.2562 | 2645193.0918 | 1189971.7294 | 2645197.1967 | 1189964.3674 | 2645206.1621 | 1189951.5725 | 2645217.7924 | 1189938.3307 | 2645232.7392 | 1189924.1802 | 2645239.6844 | 1189916.3617 | 2645244.616 | 1189909.6174 | 2645247.4576 | 1189904.9474 | 2645249.2781 | 1189900.1808 | 2645250.238 | 1189896.2636 | 2645250.238 | 1189896.2636
18 | 2645460.9587 | 1190671.4747 | 2645461.1376 | 1190676.023 | 2645460.4177 | 1190681.465 | 2645458.1146 | 1190687.5397 | 2645454.1575 | 1190694.5469 | 2645413.8304 | 1190745.6804 | 2645408.3943 | 1190750.6419 | 2645401.9771 | 1190755.2958 | 2645399.1085 | 1190756.9205
19 | 2645195.5015 | 1189784.8751 | 2645193.803 | 1189796.6607 | 2645194.2747 | 1189806.9032 | 2645196.5103 | 1189814.8356 | 2645199.7723 | 1189822.1642 | 2645204.4253 | 1189830.1037 | 2645211.2338 | 1189837.3701 | 2645233.0418 | 1189859.8916 | 2645240.8644 | 1189869.1891 | 2645246.9571 | 1189878.329 | 2645248.9419 | 1189883.1022 | 2645249.9925 | 1189887.3791 | 2645250.3952 | 1189891.6067 | 2645250.238 | 1189896.2636
20 | 2645319.7318 | 1190805.9865 | 2645324.3804 | 1190803.4904 | 2645330.9309 | 1190799.3487 | 2645365.4652 | 1190775.9751 | 2645399.1085 | 1190756.9205
21 | 2643231.1069 | 1189537.9479 | 2643124.4724 | 1189849.739
22 | 2643252.1271 | 1189538.7222 | 2643231.1069 | 1189537.9479
23 | 2646404.9804 | 1188593.968 | 2646411.9926 | 1188585.7733 | 2646412.0233 | 1188581.8158 | 2646421.2782 | 1188573.1759
24 | 2645080.1093 | 1189327.2346 | 2646404.9804 | 1188593.968
25 | 2645170.0358 | 1189710.8523 | 2645080.1093 | 1189327.2346
26 | 2645486.298 | 1191143.557 | 2645491.2498 | 1191143.4761 | 2645499.9893 | 1191144.2096 | 2645524.0532 | 1191148.4377
27 | 2645552.5343 | 1190882.7852 | 2645524.0532 | 1191148.4377
28 | 2645242.4372 | 1190836.7671 | 2645249.7275 | 1190841.6693 | 2645276.9477 | 1190856.8055 | 2645294.4009 | 1190863.8191 | 2645306.1427 | 1190867.8768 | 2645314.4764 | 1190869.9076 | 2645321.8282 | 1190870.697 | 2645327.6162 | 1190870.5852 | 2645332.2115 | 1190869.8862 | 2645338.1555 | 1190868.3081 | 2645347.1454 | 1190865.23 | 2645352.792 | 1190863.6497 | 2645358.3363 | 1190863.5027 | 2645364.7157 | 1190864.8295 | 2645377.5224 | 1190869.2178 | 2645383.9752 | 1190869.9226 | 2645389.3192 | 1190869.0293 | 2645394.8726 | 1190866.6701 | 2645410.9206 | 1190856.8863 | 2645417.8079 | 1190854.5817 | 2645422.6101 | 1190853.751 | 2645428.2695 | 1190854.5165 | 2645439.481 | 1190858.1147 | 2645447.8786 | 1190858.7454 | 2645458.3164 | 1190856.7902 | 2645474.919 | 1190851.2909 | 2645486.9802 | 1190849.4259 | 2645496.7894 | 1190849.934 | 2645508.0766 | 1190852.5879 | 2645514.7512 | 1190856.2184 | 2645520.9993 | 1190862.7806 | 2645530.1753 | 1190871.3439 | 2645542.7251 | 1190879.4104 | 2645552.5343 | 1190882.7852
29 | 2644602.5718 | 1190713.8679 | 2644602.5718 | 1190713.8679 | 2644602.2721 | 1190717.2564 | 2644602.3738 | 1190718.9581 | 2644603.0254 | 1190720.5305 | 2644604.268 | 1190721.5847 | 2644606.4951 | 1190722.5241 | 2644609.7882 | 1190723.6603 | 2644635.8614 | 1190730.3137 | 2644639.3704 | 1190732.1409 | 2644641.1514 | 1190733.5994 | 2644642.4651 | 1190735.3435 | 2644643.1892 | 1190737.4167 | 2644643.6639 | 1190740.2218 | 2644643.7253 | 1190743.2461 | 2644641.7775 | 1190779.496 | 2644642.3555 | 1190800.487
30 | 2644885.5038 | 1190762.1965 | 2644642.3555 | 1190800.487
31 | 2644430.5096 | 1190679.904 | 2644602.5718 | 1190713.8679
32 | 2644606.6633 | 1190692.4453 | 2644602.5718 | 1190713.8679
33 | 2644614.9573 | 1190649.0191 | 2644610.7627 | 1190670.9812
34 | 2644610.7627 | 1190670.9812 | 2644606.6633 | 1190692.4453
35 | 2644432.349 | 1190648.6559 | 2644433.1452 | 1190658.6785 | 2644433.1091 | 1190665.5931 | 2644433.1025 | 1190667.5164 | 2644432.445 | 1190673.915 | 2644430.5096 | 1190679.904 | 2644430.5096 | 1190679.904
36 | 2645228.4434 | 1189756.8891 | 2645221.8975 | 1189762.2982 | 2645205.4711 | 1189771.3681 | 2645199.9376 | 1189775.0062 | 2645197.2545 | 1189778.8769 | 2645195.8068 | 1189782.7571 | 2645195.5015 | 1189784.8751
37 | 2645228.4434 | 1189756.8891 | 2645222.478 | 1189746.027 | 2645218.6228 | 1189741.5065 | 2645212.9174 | 1189738.6174 | 2645203.5181 | 1189737.1124 | 2645193.9129 | 1189735.6169 | 2645185.9641 | 1189731.8882 | 2645180.8764 | 1189728.9927 | 2645175.1849 | 1189724.2583 | 2645172.7525 | 1189721.1827 | 2645170.5383 | 1189716.4745 | 2645169.9606 | 1189711.1672 | 2645170.0358 | 1189710.8523
38 | 2644485.4969 | 1190414.555 | 2644473.7708 | 1190412.2889 | 2644470.2955 | 1190411.0291 | 2644446.6905 | 1190397.3019 | 2644437.9603 | 1190393.0904 | 2644432.243 | 1190390.8134 | 2644427.7603 | 1190389.6573 | 2644420.7944 | 1190389.1609 | 2644413.7068 | 1190389.6642 | 2644386.8181 | 1190394.0563 | 2644367.8047 | 1190396.549
39 | 2644485.4969 | 1190414.555 | 2644483.5785 | 1190374.0963 | 2644483.8095 | 1190353.2643 | 2644485.3313 | 1190340.3574 | 2644488.0068 | 1190327.1478 | 2644491.6852 | 1190312.3892 | 2644499.4177 | 1190282.5747 | 2644502.7493 | 1190272.4161 | 2644505.8887 | 1190266.5695 | 2644511.0183 | 1190260.7266 | 2644517.2345 | 1190255.3921 | 2644526.4858 | 1190249.024 | 2644544.1119 | 1190241.3508 | 2644557.3616 | 1190236.6801 | 2644571.5157 | 1190233.4392 | 2644598.3962 | 1190228.2364 | 2644608.8891 | 1190225.1239 | 2644618.5971 | 1190220.9272 | 2644633.0532 | 1190212.9972 | 2644646.2406 | 1190203.4013 | 2644652.5658 | 1190196.7781
40 | 2644652.5658 | 1190196.7781 | 2644653.7642 | 1190193.5519 | 2644653.4892 | 1190189.5254 | 2644652.5936 | 1190187.9401 | 2644649.8393 | 1190185.0624 | 2644646.6041 | 1190184.3046 | 2644641.3914 | 1190184.8994 | 2644624.9035 | 1190193.2923 | 2644617.7036 | 1190196.5516 | 2644611.8791 | 1190198.4092 | 2644605.4672 | 1190199.2731 | 2644598.167 | 1190198.5961 | 2644592.0168 | 1190197.094 | 2644585.88 | 1190194.8137 | 2644579.6988 | 1190190.2875 | 2644570.7483 | 1190179.7929 | 2644563.7366 | 1190172.7435
41 | 2644984.2319 | 1190155.13 | 2644652.5658 | 1190196.7781
42 | 2644279.3553 | 1190557.9956 | 2644432.349 | 1190648.6559
43 | 2645016.0414 | 1190220.1886 | 2644984.2319 | 1190155.13
44 | 2645112.5669 | 1190452.9339 | 2645103.8523 | 1190441.7489 | 2645096.8715 | 1190431.1016 | 2645094.8015 | 1190426.5168 | 2645093.1534 | 1190420.5789 | 2645092.5624 | 1190415.0158 | 2645094.48 | 1190374.0299 | 2645093.9514 | 1190366.255 | 2645092.3768 | 1190360.6845 | 2645089.7051 | 1190355.9952 | 2645084.9353 | 1190349.4335 | 2645078.2824 | 1190341.8125 | 2645072.1555 | 1190334.2067 | 2645066.4375 | 1190322.9241 | 2645057.1923 | 1190305.1115 | 2645048.1401 | 1190290.024 | 2645040.5959 | 1190275.1702 | 2645018.4092 | 1190225.0314 | 2645016.0414 | 1190220.1886
45 | 2645112.5669 | 1190452.9339 | 2645127.264 | 1190471.7973 | 2645131.1702 | 1190478.5971 | 2645133.2212 | 1190483.682 | 2645135.2628 | 1190490.012 | 2645140.3083 | 1190513.5852 | 2645145.5031 | 1190531.512 | 2645158.7309 | 1190578.2486 | 2645160.4156 | 1190588.4113 | 2645161.2822 | 1190595.8442 | 2645161.1674 | 1190603.9811 | 2645161.4364 | 1190609.7752 | 2645163.0687 | 1190616.7692 | 2645164.8301 | 1190621.8297 | 2645208.9532 | 1190710.0444 | 2645217.0945 | 1190732.5294 | 2645223.9504 | 1190758.6288 | 2645226.3253 | 1190774.2999 | 2645226.32 | 1190786.4372
46 | 2645225.9295 | 1190808.5837 | 2645226.3196 | 1190787.1625 | 2645226.32 | 1190786.4372
47 | 2645225.3556 | 1190840.0955 | 2645225.9295 | 1190808.5837
48 | 2645225.3556 | 1190840.0955 | 2645200.8778 | 1190843.4459 | 2645182.6884 | 1190847.0774 | 2645171.5034 | 1190850.0391 | 2645159.9542 | 1190853.7985 | 2645147.625 | 1190858.8528 | 2645065.9714 | 1190902.5176 | 2645058.4459 | 1190905.5627 | 2645052.0084 | 1190906.8817 | 2645050.1624 | 1190906.7524
49 | 2645242.4372 | 1190836.7671 | 2645234.379 | 1190838.6406 | 2645225.3556 | 1190840.0955
50 | 2644398.9951 | 1189674.1734 | 2644418.2793 | 1189700.2084 | 2644420.982 | 1189705.9538 | 2644422.1865 | 1189712.1884 | 2644423.6165 | 1189720.9149 | 2644425.8218 | 1189726.9012 | 2644430.7335 | 1189738.1437 | 2644431.9084 | 1189748.3581 | 2644431.3164 | 1189760.3047 | 2644427.7611 | 1189768.7385 | 2644421.9488 | 1189778.1561 | 2644416.1513 | 1189785.5839 | 2644414.3752 | 1189788.5612 | 2644414.1072 | 1189791.7944 | 2644416.0811 | 1189795.0441
51 | 2644416.0811 | 1189795.0441 | 2644623.7127 | 1189708.3837
52 | 2644015.2591 | 1189546.7836 | 2644020.6855 | 1189556.0683
53 | 2645289.119 | 1190819.4657 | 2645294.1643 | 1190817.4918 | 2645318.7456 | 1190806.5161 | 2645319.7318 | 1190805.9865
54 | 2645242.4372 | 1190836.7671 | 2645252.0426 | 1190833.9714 | 2645289.119 | 1190819.4657
55 | 2645050.1624 | 1190906.7524 | 2645045.2489 | 1190906.4084 | 2645038.6308 | 1190904.3797
56 | 2643252.1271 | 1189538.7222 | 2643250.2279 | 1189523.9782 | 2643248.099 | 1189518.4528
57 | 2643892.899 | 1189525.352 | 2643252.1271 | 1189538.7222
58 | 2643923.7469 | 1189463.0551 | 2643921.8782 | 1189465.1759 | 2643916.4944 | 1189471.3509 | 2643906.3124 | 1189481.8487 | 2643895.8539 | 1189494.7013 | 2643894.2342 | 1189499.2586 | 2643892.899 | 1189525.352
59 | 2643923.7469 | 1189463.0551 | 2643922.1283 | 1189459.1411 | 2643921.0486 | 1189454.5417
60 | 2644015.2591 | 1189546.7836 | 2644008.3845 | 1189537.8837 | 2644001.9918 | 1189530.8663 | 2643992.519 | 1189521.6361 | 2643966.735 | 1189501.7915 | 2643940.5433 | 1189481.366 | 2643938.8978 | 1189480.0866 | 2643931.7178 | 1189473.2858 | 2643927.3533 | 1189468.3844 | 2643924.0616 | 1189463.8245 | 2643923.7469 | 1189463.0551
61 | 2644015.2591 | 1189546.7836 | 2644016.1135 | 1189557.1177

## bus_geodata
| x | y | coords
0 | 2644064.5971 | 1189960.9698
1 | 2644142.5448 | 1190135.1649
2 | 2644051.9593 | 1189754.8562
3 | 2644188.0227 | 1190410.3189
4 | 2644059.7023 | 1189645.6755
5 | 2644180.2426 | 1190552.094
6 | 2644354.1129 | 1190379.695
7 | 2644042.091 | 1189592.6932
8 | 2644123.0257 | 1189751.8997
9 | 2645624.5939 | 1190471.2291
10 | 2645367.7175 | 1190334.8046
11 | 2645661.783 | 1190547.6671
12 | 2645275.422 | 1190194.0428
13 | 2645670.3732 | 1190545.9467
14 | 2645460.9587 | 1190671.4747
15 | 2645250.238 | 1189896.2636
16 | 2645399.1085 | 1190756.9205
17 | 2643124.4724 | 1189849.739
18 | 2643231.1069 | 1189537.9479
19 | 2646421.2782 | 1188573.1759
20 | 2646404.9804 | 1188593.968
21 | 2645080.1093 | 1189327.2346
22 | 2645486.298 | 1191143.557
23 | 2645524.0532 | 1191148.4377
24 | 2645552.5343 | 1190882.7852
25 | 2644642.3555 | 1190800.487
26 | 2644602.5718 | 1190713.8679
27 | 2644885.5038 | 1190762.1965
28 | 2644614.9573 | 1190649.0191
29 | 2644610.7627 | 1190670.9812
30 | 2644606.6633 | 1190692.4453
31 | 2644430.5096 | 1190679.904
32 | 2645195.5015 | 1189784.8751
33 | 2645228.4434 | 1189756.8891
34 | 2644367.8047 | 1190396.549
35 | 2644485.4969 | 1190414.555
36 | 2644652.5658 | 1190196.7781
37 | 2644432.349 | 1190648.6559
38 | 2644279.3553 | 1190557.9956
39 | 2644563.7366 | 1190172.7435
40 | 2644984.2319 | 1190155.13
41 | 2645170.0358 | 1189710.8523
42 | 2645112.5669 | 1190452.9339
43 | 2645016.0414 | 1190220.1886
44 | 2645226.32 | 1190786.4372
45 | 2645225.9295 | 1190808.5837
46 | 2645225.3556 | 1190840.0955
47 | 2644416.0811 | 1189795.0441
48 | 2644398.9951 | 1189674.1734
49 | 2644623.7127 | 1189708.3837
50 | 2644020.6855 | 1189556.0683
51 | 2645289.119 | 1190819.4657
52 | 2645319.7318 | 1190805.9865
53 | 2645242.4372 | 1190836.7671
54 | 2645050.1624 | 1190906.7524
55 | 2645038.6308 | 1190904.3797
56 | 2643248.099 | 1189518.4528
57 | 2643252.1271 | 1189538.7222
58 | 2643892.899 | 1189525.352
59 | 2643921.0486 | 1189454.5417
60 | 2643923.7469 | 1189463.0551
61 | 2644016.1135 | 1189557.1177
62 | 2644015.2591 | 1189546.7836
63 | 2644652.5658 | 1190196.7781

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99339 | -0.050305 | 0.0017608 | 0.00044129
1 | 0.99429 | -0.043496 | 0 | 0
2 | 0.99295 | -0.053964 | 0 | 0
3 | 0.9956 | -0.033496 | 5.1594e-05 | 1.2931e-05
4 | 0.99271 | -0.055879 | 0 | 0
5 | 0.99536 | -0.035361 | 0 | 0
6 | 0.9967 | -0.02512 | 0.00024212 | 6.068e-05
7 | 0.99262 | -0.05659 | 7.2625e-05 | 1.8201e-05
8 | 0.99262 | -0.056597 | 7.6386e-05 | 1.9144e-05
9 | 0.99168 | -0.066151 | 6.779e-05 | 1.699e-05
10 | 0.99107 | -0.071402 | 0 | 0
11 | 0.99188 | -0.064437 | 0 | 0
12 | 0.99072 | -0.074356 | 0.00031525 | 7.9009e-05
13 | 0.99188 | -0.064449 | 0.00013027 | 3.2648e-05
14 | 0.99248 | -0.059299 | 0 | 0
15 | 0.99019 | -0.07894 | 0.00019848 | 4.9744e-05
16 | 0.99272 | -0.057227 | 9.4252e-05 | 2.3622e-05
17 | 0.99162 | -0.064437 | 0.00026073 | 6.5346e-05
18 | 0.99174 | -0.063512 | 0 | 0
19 | 0.98899 | -0.089883 | 0.0002831 | 7.0953e-05
20 | 0.989 | -0.089804 | 0 | 0
21 | 0.98961 | -0.084272 | 0.00026386 | 6.6129e-05
22 | 0.99269 | -0.056989 | 0.00018394 | 4.6101e-05
23 | 0.9927 | -0.056917 | 0.00031359 | 7.8592e-05
24 | 0.99289 | -0.055526 | 0.00012604 | 3.1589e-05
25 | 0.99471 | -0.040267 | 7.8158e-05 | 1.9588e-05
26 | 0.99474 | -0.040062 | 0.00011367 | 2.8489e-05
27 | 0.99469 | -0.040468 | 6.9225e-05 | 1.735e-05
28 | 0.99472 | -0.040214 | 0.00011358 | 2.8465e-05
29 | 0.99472 | -0.040188 | 0.00011357 | 2.8464e-05
30 | 0.99473 | -0.040138 | 0.00011367 | 2.8489e-05
31 | 0.99489 | -0.038909 | 0.00017295 | 4.3345e-05
32 | 0.99003 | -0.080332 | 0.00019437 | 4.8713e-05
33 | 0.98999 | -0.080718 | 0 | 0
34 | 0.99687 | -0.023784 | 0.00018277 | 4.5807e-05
35 | 0.99775 | -0.017103 | 0 | 0
36 | 1 | 0 | -0.010496 | -0.0023046
37 | 0.99492 | -0.038643 | 0.00025929 | 6.4983e-05
38 | 0.99519 | -0.036663 | 0.000175 | 4.386e-05
39 | 0.99999 | -7.2703e-05 | 5.9279e-05 | 1.4857e-05
40 | 0.9978 | -0.01717 | 0.00016621 | 4.1656e-05
41 | 0.98992 | -0.081407 | 0.00010206 | 2.558e-05
42 | 0.99573 | -0.033377 | 0.00012073 | 3.0258e-05
43 | 0.99734 | -0.020765 | 8.6269e-05 | 2.1621e-05
44 | 0.99357 | -0.050291 | 0.00029079 | 7.2879e-05
45 | 0.99344 | -0.051274 | 7.1181e-05 | 1.784e-05
46 | 0.99327 | -0.052649 | 0 | 0
47 | 0.99245 | -0.057978 | 0.00010882 | 2.7272e-05
48 | 0.99249 | -0.057683 | 0.00013849 | 3.471e-05
49 | 0.99243 | -0.05818 | 7.8135e-05 | 1.9583e-05
50 | 0.99256 | -0.05709 | 0.00010873 | 2.725e-05
51 | 0.99302 | -0.054637 | 0.00065865 | 0.00016507
52 | 0.99294 | -0.055342 | 8.4547e-05 | 2.119e-05
53 | 0.99319 | -0.053252 | 0 | 0
54 | 0.99303 | -0.054311 | 0.00015663 | 3.9255e-05
55 | 0.99302 | -0.054395 | 0.00070026 | 0.0001755
56 | 0.99174 | -0.063524 | 0.0003528 | 8.8419e-05
57 | 0.99175 | -0.063449 | 0 | 0
58 | 0.99231 | -0.059029 | 0.00012758 | 3.1975e-05
59 | 0.99239 | -0.058413 | 9.7078e-05 | 2.433e-05
60 | 0.99239 | -0.058404 | 0 | 0
61 | 0.99254 | -0.057215 | 9.5402e-05 | 2.391e-05
62 | 0.99254 | -0.057205 | 0 | 0
63 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0032794 | -0.00079044 | 0.0032822 | 0.00078907 | 2.8662e-06 | -1.3757e-06 | 0.0049013 | 0.0049005 | 0.0049013 | 0.99339 | -0.050305 | 0.99429 | -0.043496 | 1.8153
1 | 0.0015186 | 0.00034915 | -0.0015179 | -0.00035158 | 6.6383e-07 | -2.4293e-06 | 0.0022641 | 0.0022649 | 0.0022649 | 0.99339 | -0.050305 | 0.99295 | -0.053964 | 0.83886
2 | -0.0032822 | -0.00078907 | 0.0032864 | 0.00078704 | 4.1907e-06 | -2.0211e-06 | 0.0049005 | 0.0048992 | 0.0049005 | 0.99429 | -0.043496 | 0.9956 | -0.033496 | 1.815
3 | 0.0015179 | 0.00035158 | -0.0015176 | -0.00035286 | 3.5054e-07 | -1.281e-06 | 0.0022649 | 0.0022654 | 0.0022654 | 0.99295 | -0.053964 | 0.99271 | -0.055879 | 0.83904
4 | 0.00121 | 0.00028968 | -0.0012097 | -0.00029142 | 2.8845e-07 | -1.7356e-06 | 0.0018038 | 0.0018044 | 0.0018044 | 0.9956 | -0.033496 | 0.99536 | -0.035361 | 0.66829
5 | -0.004548 | -0.0010897 | 0.0045529 | 0.0010893 | 4.8441e-06 | -3.3558e-07 | 0.0067801 | 0.0067793 | 0.0067801 | 0.9956 | -0.033496 | 0.9967 | -0.02512 | 2.5111
6 | 0.0011157 | 0.00026242 | -0.0011156 | -0.00026311 | 9.794e-08 | -6.9288e-07 | 0.0016664 | 0.0016667 | 0.0016667 | 0.99271 | -0.055879 | 0.99262 | -0.05659 | 0.61729
7 | 0.00040192 | 9.0441e-05 | -0.00040188 | -9.2371e-05 | 3.3686e-08 | -1.9301e-06 | 0.00059899 | 0.00059962 | 0.00059962 | 0.99271 | -0.055879 | 0.99262 | -0.056597 | 0.22208
8 | 0.0012097 | 0.00029142 | -0.0012095 | -0.00029264 | 2.0314e-07 | -1.221e-06 | 0.0018044 | 0.0018048 | 0.0018048 | 0.99536 | -0.035361 | 0.99519 | -0.036663 | 0.66845
9 | -0.004795 | -0.00115 | 0.0047958 | 0.00115 | 8.1674e-07 | -2.047e-08 | 0.0071408 | 0.0071407 | 0.0071408 | 0.9967 | -0.02512 | 0.99687 | -0.023784 | 2.6447
10 | 0.0010429 | 0.00024491 | -0.0010429 | -0.00024544 | 6.4247e-08 | -5.2361e-07 | 0.0015578 | 0.001558 | 0.001558 | 0.99262 | -0.05659 | 0.99256 | -0.05709 | 0.57704
11 | 0.0003255 | 7.3227e-05 | -0.00032545 | -7.6916e-05 | 4.221e-08 | -3.6894e-06 | 0.00048514 | 0.00048635 | 0.00048635 | 0.99262 | -0.056597 | 0.99249 | -0.057683 | 0.18013
12 | 0.0013595 | 0.0003019 | -0.0013587 | -0.00030567 | 8.118e-07 | -3.7682e-06 | 0.0020269 | 0.0020282 | 0.0020282 | 0.99168 | -0.066151 | 0.99107 | -0.071402 | 0.75118
13 | -0.0014273 | -0.00031889 | 0.0014275 | 0.00031773 | 2.7733e-07 | -1.1594e-06 | 0.0021286 | 0.0021282 | 0.0021286 | 0.99168 | -0.066151 | 0.99188 | -0.064437 | 0.78836
14 | 0.0013587 | 0.00030567 | -0.0013582 | -0.00030782 | 4.6358e-07 | -2.1473e-06 | 0.0020282 | 0.0020289 | 0.0020289 | 0.99107 | -0.071402 | 0.99072 | -0.074356 | 0.75146
15 | 0.00013027 | 3.2535e-05 | -0.00013027 | -3.2648e-05 | 2.0909e-10 | -1.1319e-07 | 0.00019539 | 0.00019543 | 0.00019543 | 0.99188 | -0.064437 | 0.99188 | -0.064449 | 0.07238
16 | -0.0015578 | -0.00035027 | 0.0015587 | 0.00034712 | 9.1235e-07 | -3.1485e-06 | 0.0023235 | 0.0023224 | 0.0023235 | 0.99188 | -0.064437 | 0.99248 | -0.059299 | 0.86056
17 | 0.0010429 | 0.00022881 | -0.0010424 | -0.00023317 | 5.366e-07 | -4.3629e-06 | 0.0015556 | 0.001557 | 0.001557 | 0.99072 | -0.074356 | 0.99019 | -0.07894 | 0.57668
18 | -0.0015587 | -0.00034712 | 0.0015591 | 0.00034586 | 3.6439e-07 | -1.2596e-06 | 0.0023224 | 0.0023219 | 0.0023224 | 0.99248 | -0.059299 | 0.99272 | -0.057227 | 0.86014
19 | 0.00084393 | 0.00018343 | -0.0008438 | -0.00018506 | 1.2916e-07 | -1.6293e-06 | 0.0012589 | 0.0012594 | 0.0012594 | 0.99019 | -0.07894 | 0.99003 | -0.080332 | 0.46645
20 | -0.0016533 | -0.00036948 | 0.0016537 | 0.00036841 | 3.5352e-07 | -1.0718e-06 | 0.0024632 | 0.0024628 | 0.0024632 | 0.99272 | -0.057227 | 0.99294 | -0.055342 | 0.91229
21 | -0.00026073 | -6.5346e-05 | 0.00026077 | 6.1107e-05 | 3.1358e-08 | -4.2394e-06 | 0.00039126 | 0.0003898 | 0.00039126 | 0.99162 | -0.064437 | 0.99174 | -0.063512 | 0.14491
22 | -0.00026077 | -6.1107e-05 | 0.00026077 | 6.0837e-05 | 1.988e-09 | -2.6986e-07 | 0.0003898 | 0.00038971 | 0.0003898 | 0.99174 | -0.063512 | 0.99175 | -0.063449 | 0.14437
23 | -0.0002831 | -7.0952e-05 | 0.00028311 | 7.0602e-05 | 3.1017e-09 | -3.5046e-07 | 0.00042595 | 0.00042583 | 0.00042595 | 0.98899 | -0.089883 | 0.989 | -0.089804 | 0.15776
24 | -0.00028311 | -7.0602e-05 | 0.00028328 | 5.1224e-05 | 1.6877e-07 | -1.9378e-05 | 0.00042583 | 0.00041987 | 0.00042583 | 0.989 | -0.089804 | 0.98961 | -0.084272 | 0.15771
25 | -0.00054713 | -0.00011735 | 0.0005473 | 0.00011235 | 1.6347e-07 | -5.0011e-06 | 0.00081616 | 0.00081464 | 0.00081616 | 0.98961 | -0.084272 | 0.98992 | -0.081407 | 0.30228
26 | -0.00018394 | -4.6101e-05 | 0.00018395 | 4.5608e-05 | 1.8089e-09 | -4.9259e-07 | 0.00027573 | 0.00027555 | 0.00027573 | 0.99269 | -0.056989 | 0.9927 | -0.056917 | 0.10212
27 | -0.00049753 | -0.0001242 | 0.00049762 | 0.00012078 | 9.2532e-08 | -3.4192e-06 | 0.0007456 | 0.0007444 | 0.0007456 | 0.9927 | -0.056917 | 0.99289 | -0.055526 | 0.27615
28 | -0.00062366 | -0.00015237 | 0.00062385 | 0.0001481 | 1.8217e-07 | -4.273e-06 | 0.00093329 | 0.00093181 | 0.00093329 | 0.99289 | -0.055526 | 0.99319 | -0.053252 | 0.34566
29 | -0.00014739 | -3.3743e-05 | 0.00014739 | 3.2251e-05 | 3.4483e-09 | -1.4922e-06 | 0.0002194 | 0.00021892 | 0.0002194 | 0.99471 | -0.040267 | 0.99474 | -0.040062 | 0.081258
30 | 6.9227e-05 | 1.4155e-05 | -6.9225e-05 | -1.735e-05 | 1.6301e-09 | -3.1945e-06 | 0.00010253 | 0.00010356 | 0.00010356 | 0.99471 | -0.040267 | 0.99469 | -0.040468 | 0.038355
31 | -0.00060189 | -0.0001453 | 0.00060197 | 0.00014306 | 8.8261e-08 | -2.2431e-06 | 0.00089843 | 0.00089766 | 0.00089843 | 0.99474 | -0.040062 | 0.99489 | -0.038909 | 0.33275
32 | 0.00034082 | 8.4562e-05 | -0.00034082 | -8.4844e-05 | 3.534e-09 | -2.8176e-07 | 0.00050954 | 0.00050963 | 0.00050963 | 0.99474 | -0.040062 | 0.99473 | -0.040138 | 0.18875
33 | -0.00011358 | -2.8465e-05 | 0.00011358 | 2.8174e-05 | 4.0249e-10 | -2.9009e-07 | 0.0001699 | 0.0001698 | 0.0001699 | 0.99472 | -0.040214 | 0.99472 | -0.040188 | 0.062926
34 | -0.00022715 | -5.6638e-05 | 0.00022715 | 5.6355e-05 | 1.573e-09 | -2.8306e-07 | 0.00033969 | 0.00033959 | 0.00033969 | 0.99472 | -0.040188 | 0.99473 | -0.040138 | 0.12581
35 | -0.00077492 | -0.0001864 | 0.00077495 | 0.000186 | 2.6377e-08 | -4.0045e-07 | 0.0011563 | 0.0011562 | 0.0011563 | 0.99489 | -0.038909 | 0.99492 | -0.038643 | 0.42827
36 | 0.00064943 | 0.00013634 | -0.00064941 | -0.00013691 | 2.621e-08 | -5.6687e-07 | 0.00096745 | 0.00096763 | 0.00096763 | 0.99003 | -0.080332 | 0.98999 | -0.080718 | 0.35838
37 | 0.00064941 | 0.00013691 | -0.00064936 | -0.00013793 | 4.7218e-08 | -1.0206e-06 | 0.00096763 | 0.00096794 | 0.00096794 | 0.98999 | -0.080718 | 0.98992 | -0.081407 | 0.3585
38 | -0.0049786 | -0.0011958 | 0.0049828 | 0.0011958 | 4.2499e-06 | 1.7413e-08 | 0.0074135 | 0.0074129 | 0.0074135 | 0.99687 | -0.023784 | 0.99775 | -0.017103 | 2.7457
39 | -0.0049828 | -0.0011958 | 0.0049937 | 0.0011958 | 1.0868e-05 | 3.046e-08 | 0.0074129 | 0.0074115 | 0.0074129 | 0.99775 | -0.017103 | 1 | 0 | 2.7455
40 | 5.9279e-05 | 1.3382e-05 | -5.9279e-05 | -1.4857e-05 | 5.4282e-10 | -1.475e-06 | 8.7715e-05 | 8.8209e-05 | 8.8209e-05 | 1 | 0 | 0.99999 | -7.2703e-05 | 0.03267
41 | 0.0046426 | 0.0010953 | -0.0046327 | -0.0010959 | 9.8895e-06 | -5.721e-07 | 0.0068849 | 0.0068864 | 0.0068864 | 1 | 0 | 0.9978 | -0.01717 | 2.5505
42 | -0.0010342 | -0.00025099 | 0.0010345 | 0.00024878 | 2.644e-07 | -2.2084e-06 | 0.001544 | 0.0015432 | 0.001544 | 0.99492 | -0.038643 | 0.99519 | -0.036663 | 0.57184
43 | 0.0044665 | 0.0010542 | -0.0044645 | -0.0010544 | 1.9916e-06 | -1.7947e-07 | 0.0066385 | 0.0066389 | 0.0066389 | 0.9978 | -0.01717 | 0.99734 | -0.020765 | 2.4588
44 | -0.0043714 | -0.0010335 | 0.0043782 | 0.0010328 | 6.848e-06 | -7.3915e-07 | 0.0065113 | 0.0065102 | 0.0065113 | 0.99573 | -0.033377 | 0.99734 | -0.020765 | 2.4116
45 | 0.0042506 | 0.0010033 | -0.0042417 | -0.0010044 | 8.9311e-06 | -1.1987e-06 | 0.0063309 | 0.0063324 | 0.0063324 | 0.99573 | -0.033377 | 0.99357 | -0.050291 | 2.3453
46 | 0.0039509 | 0.00093157 | -0.0039504 | -0.00093167 | 4.8064e-07 | -1.0197e-07 | 0.005897 | 0.0058971 | 0.0058971 | 0.99357 | -0.050291 | 0.99344 | -0.051274 | 2.1841
47 | 0.0038792 | 0.00091383 | -0.0038786 | -0.00091399 | 6.5942e-07 | -1.5438e-07 | 0.0057904 | 0.0057906 | 0.0057906 | 0.99344 | -0.051274 | 0.99327 | -0.052649 | 2.1447
48 | 0.00085709 | 0.00021223 | -0.0008569 | -0.00021461 | 1.9474e-07 | -2.3764e-06 | 0.0012831 | 0.001284 | 0.001284 | 0.99327 | -0.052649 | 0.99303 | -0.054311 | 0.47554
49 | 0.0030215 | 0.00070176 | -0.0030213 | -0.0007019 | 2.2017e-07 | -1.4006e-07 | 0.0045076 | 0.0045077 | 0.0045077 | 0.99327 | -0.052649 | 0.99319 | -0.053252 | 1.6695
50 | -0.00018695 | -4.3948e-05 | 0.00018696 | 4.2206e-05 | 6.5577e-09 | -1.7419e-06 | 0.00027931 | 0.00027874 | 0.00027931 | 0.99245 | -0.057978 | 0.99249 | -0.057683 | 0.10345
51 | 7.8137e-05 | 1.6676e-05 | -7.8135e-05 | -1.9582e-05 | 1.9106e-09 | -2.9065e-06 | 0.0001162 | 0.00011715 | 0.00011715 | 0.99245 | -0.057978 | 0.99243 | -0.05818 | 0.04339
52 | 0.00093416 | 0.00021819 | -0.00093414 | -0.00021832 | 1.306e-08 | -1.3397e-07 | 0.001395 | 0.0013951 | 0.0013951 | 0.99256 | -0.05709 | 0.99254 | -0.057205 | 0.51669
53 | 0.0017384 | 0.00038922 | -0.0017382 | -0.0003896 | 1.3998e-07 | -3.7896e-07 | 0.0025893 | 0.0025895 | 0.0025895 | 0.99302 | -0.054637 | 0.99294 | -0.055342 | 0.95906
54 | -0.002397 | -0.00055429 | 0.0023974 | 0.0005538 | 3.9751e-07 | -4.917e-07 | 0.0035761 | 0.0035759 | 0.0035761 | 0.99302 | -0.054637 | 0.99319 | -0.053252 | 1.3245
55 | 0.00070027 | 0.00017535 | -0.00070026 | -0.0001755 | 8.1397e-09 | -1.5014e-07 | 0.0010493 | 0.0010493 | 0.0010493 | 0.99303 | -0.054311 | 0.99302 | -0.054395 | 0.38864
56 | -0.0003528 | -8.8419e-05 | 0.0003528 | 8.8152e-05 | 3.6338e-09 | -2.6683e-07 | 0.00052934 | 0.00052924 | 0.00052934 | 0.99174 | -0.063524 | 0.99175 | -0.063449 | 0.19605
57 | -0.00061357 | -0.00014899 | 0.0006139 | 0.00014084 | 3.3668e-07 | -8.1454e-06 | 0.00091892 | 0.00091616 | 0.00091892 | 0.99175 | -0.063449 | 0.99231 | -0.059029 | 0.34034
58 | -0.00074149 | -0.00017282 | 0.00074154 | 0.0001719 | 5.5955e-08 | -9.2337e-07 | 0.0011074 | 0.0011071 | 0.0011074 | 0.99231 | -0.059029 | 0.99239 | -0.058404 | 0.41016
59 | -9.7078e-05 | -2.433e-05 | 9.7078e-05 | 2.4214e-05 | 1.1843e-10 | -1.1572e-07 | 0.00014556 | 0.00014552 | 0.00014556 | 0.99239 | -0.058413 | 0.99239 | -0.058404 | 0.053912
60 | -0.00083862 | -0.00019611 | 0.00083874 | 0.00019454 | 1.2205e-07 | -1.5646e-06 | 0.0012526 | 0.0012521 | 0.0012526 | 0.99239 | -0.058404 | 0.99254 | -0.057205 | 0.46394
61 | -9.5402e-05 | -2.391e-05 | 9.5402e-05 | 2.3776e-05 | 1.3232e-10 | -1.3397e-07 | 0.00014303 | 0.00014298 | 0.00014303 | 0.99254 | -0.057215 | 0.99254 | -0.057205 | 0.052973

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.010548 | 0.0023177

## res_load
| p_mw | q_mvar
0 | 0.0017608 | 0.00044129
1 | 5.1594e-05 | 1.2931e-05
2 | 0.00024212 | 6.068e-05
3 | 7.2625e-05 | 1.8201e-05
4 | 7.6386e-05 | 1.9144e-05
5 | 6.779e-05 | 1.699e-05
6 | 0.00031525 | 7.9009e-05
7 | 0.00013027 | 3.2648e-05
8 | 0.00019848 | 4.9744e-05
9 | 9.4252e-05 | 2.3622e-05
10 | 0.00026073 | 6.5346e-05
11 | 0.0002831 | 7.0953e-05
12 | 0.00026386 | 6.6129e-05
13 | 0.00018394 | 4.6101e-05
14 | 0.00031359 | 7.8592e-05
15 | 0.00012604 | 3.1589e-05
16 | 7.8158e-05 | 1.9588e-05
17 | 0.00011367 | 2.8489e-05
18 | 6.9225e-05 | 1.735e-05
19 | 0.00011358 | 2.8465e-05
20 | 0.00011357 | 2.8464e-05
21 | 0.00011367 | 2.8489e-05
22 | 0.00017295 | 4.3345e-05
23 | 0.00019437 | 4.8713e-05
24 | 0.00018277 | 4.5807e-05
25 | 5.2125e-05 | 1.3064e-05
26 | 0.00025929 | 6.4983e-05
27 | 0.000175 | 4.386e-05
28 | 5.9279e-05 | 1.4857e-05
29 | 0.00016621 | 4.1656e-05
30 | 0.00010206 | 2.558e-05
31 | 0.00012073 | 3.0258e-05
32 | 8.6269e-05 | 2.1621e-05
33 | 0.00029079 | 7.2879e-05
34 | 7.1181e-05 | 1.784e-05
35 | 0.00010882 | 2.7272e-05
36 | 0.00013849 | 3.471e-05
37 | 7.8135e-05 | 1.9583e-05
38 | 0.00010873 | 2.725e-05
39 | 0.00065865 | 0.00016507
40 | 8.4547e-05 | 2.119e-05
41 | 0.00015663 | 3.9255e-05
42 | 0.00070026 | 0.0001755
43 | 0.0003528 | 8.8419e-05
44 | 0.00012758 | 3.1975e-05
45 | 9.7078e-05 | 2.433e-05
46 | 9.5402e-05 | 2.391e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1