## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1004-10_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1004-10_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_1004-10_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_1004-10_1_2_node_348 | 0.4 | n |  | TRUE
4 | bus_LV_1004-10_1_2_node_338 | 0.4 | n |  | TRUE
5 | bus_LV_1004-10_1_2_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1004-10_1_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1004-10_1_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1004-10_1_2_node_212 | 0.4 | n |  | TRUE
9 | bus_LV_1004-10_1_2_node_216 | 0.4 | n |  | TRUE
10 | bus_LV_1004-10_1_2_node_272 | 0.4 | n |  | TRUE
11 | bus_LV_1004-10_1_2_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1004-10_1_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1004-10_1_2_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_1004-10_1_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1004-10_1_2_node_273 | 0.4 | n |  | TRUE
16 | bus_LV_1004-10_1_2_node_274 | 0.4 | n |  | TRUE
17 | bus_LV_1004-10_1_2_node_275 | 0.4 | n |  | TRUE
18 | bus_LV_1004-10_1_2_node_276 | 0.4 | n |  | TRUE
19 | bus_LV_1004-10_1_2_node_277 | 0.4 | n |  | TRUE
20 | bus_LV_1004-10_1_2_node_346 | 0.4 | n |  | TRUE
21 | bus_LV_1004-10_1_2_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_1004-10_1_2_node_215 | 0.4 | n |  | TRUE
23 | bus_LV_1004-10_1_2_node_213 | 0.4 | n |  | TRUE
24 | bus_LV_1004-10_1_2_node_214 | 0.4 | n |  | TRUE
25 | bus_LV_1004-10_1_2_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_1004-10_1_2_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_1004-10_1_2_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_1004-10_1_2_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_1004-10_1_2_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_1004-10_1_2_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_1004-10_1_2_node_347 | 0.4 | n |  | TRUE
32 | bus_LV_1004-10_1_2_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_1004-10_1_2_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_1004-10_1_2_node_351 | 0.4 | n |  | TRUE
35 | bus_LV_1004-10_1_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_1004-10_1_2_node_349 | 0.4 | n |  | TRUE
37 | bus_MV_0_node_216 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1004-10_1_2_load_6 | 0 | 0.00057703 | 0.00014462 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1004-10_1_2_load_7 | 1 | 0.0013839 | 0.00034685 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1004-10_1_2_load_15 | 5 | 0.0010795 | 0.00027055 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1004-10_1_2_load_17 | 7 | 0.00043437 | 0.00010886 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1004-10_1_2_load_212 | 8 | 0.00096607 | 0.00024212 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1004-10_1_2_load_216 | 9 | 0.00050474 | 0.0001265 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1004-10_1_2_load_272 | 10 | 0.00025578 | 6.4106e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1004-10_1_2_load_77 | 13 | 6.9846e-05 | 1.7505e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1004-10_1_2_load_20 | 14 | 0.0011354 | 0.00028456 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1004-10_1_2_load_273 | 15 | 0.00016073 | 4.0284e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1004-10_1_2_load_276 | 18 | 6.5483e-05 | 1.6412e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1004-10_1_2_load_277 | 19 | 8.7196e-05 | 2.1853e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1004-10_1_2_load_78 | 21 | 0.00041098 | 0.000103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1004-10_1_2_load_215 | 22 | 0.00021471 | 5.3811e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1004-10_1_2_load_213 | 23 | 0.00035344 | 8.858e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1004-10_1_2_load_87 | 25 | 0.00029159 | 7.3081e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1004-10_1_2_load_347 | 31 | 0.0011519 | 0.00028869 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1004-10_1_2_load_93 | 33 | 0.00080865 | 0.00020267 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1004-10_1_2_load_351 | 34 | 0.00017484 | 4.3819e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1004-10_1_2_load_95 | 35 | 0.00015413 | 3.8628e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1004-10_1_2_load_349 | 36 | 0.00031363 | 7.8603e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1004-10_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.097575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1004-10_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1004-10_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.23837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1004-10_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.66362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1004-10_1_2_line_4 | NAYY 4x150 SE | 3 | 36 | 0.008997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1004-10_1_2_line_5 | NAYY 4x150 SE | 4 | 22 | 0.27244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1004-10_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.023738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1004-10_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.02977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1004-10_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.39963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1004-10_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0094338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1004-10_1_2_line_10 | NAYY 4x150 SE | 8 | 23 | 0.025647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1004-10_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.14138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1004-10_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.97872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1004-10_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.60024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1004-10_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.014599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1004-10_1_2_line_15 | NAYY 4x150 SE | 13 | 21 | 0.023623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1004-10_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.056935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1004-10_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.020263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1004-10_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.01247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1004-10_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.19066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1004-10_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.037108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1004-10_1_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.17408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1004-10_1_2_line_22 | NAYY 4x150 SE | 20 | 29 | 0.41213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1004-10_1_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.35145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1004-10_1_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.22464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1004-10_1_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.022761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1004-10_1_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.011888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1004-10_1_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.21496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1004-10_1_2_line_28 | NAYY 4x150 SE | 27 | 33 | 0.02573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1004-10_1_2_line_29 | NAYY 4x150 SE | 28 | 34 | 0.1165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1004-10_1_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.37538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1004-10_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.016079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1004-10_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.010432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1004-10_1_2_line_33 | NAYY 4x150 SE | 32 | 35 | 0.21945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1004-10_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.36904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1004-10_1_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.77694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1004-10_1_2_trafo_216 | 0.25 MVA 20/0.4 kV | 37 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2647436.4636 | 1191595.3638 | 2647438.2455 | 1191600.0879 | 2647439.8937 | 1191606.6379 | 2647440.9648 | 1191615.7848 | 2647444.9697 | 1191639.5297 | 2647451.0728 | 1191664.0139 | 2647453.796 | 1191669.5941 | 2647456.2362 | 1191674.3161 | 2647458.5035 | 1191677.7804 | 2647459.9388 | 1191680.4044 | 2647460.7006 | 1191683.3676 | 2647460.4147 | 1191688.8934
1 | 2647424.8522 | 1191572.9334 | 2647434.9227 | 1191591.2789 | 2647436.4636 | 1191595.3638
2 | 2647424.8522 | 1191572.9334 | 2647187.8338 | 1191598.2643
3 | 2647379.7137 | 1190910.8535 | 2647424.8522 | 1191572.9334
4 | 2647179.123 | 1191595.9166 | 2647187.8338 | 1191598.2643
5 | 2647379.7137 | 1190910.8535 | 2647382.2318 | 1190904.8256 | 2647386.3511 | 1190892.0622 | 2647387.0681 | 1190886.2425 | 2647386.993 | 1190881.2836 | 2647386.2635 | 1190876.1527 | 2647384.6278 | 1190870.8813 | 2647380.8035 | 1190862.7577 | 2647345.1891 | 1190799.9969 | 2647342.8044 | 1190794.9308 | 2647341.1289 | 1190789.8703 | 2647340.1266 | 1190784.5149 | 2647340.3292 | 1190780.1141 | 2647342.0567 | 1190772.8126 | 2647345.9863 | 1190764.7503 | 2647349.8867 | 1190759.4115 | 2647355.3015 | 1190754.4405 | 2647359.5176 | 1190751.6167 | 2647370.1328 | 1190745.6528 | 2647374.7937 | 1190742.4991 | 2647378.1057 | 1190739.2568 | 2647380.2196 | 1190736.1385 | 2647381.4435 | 1190733.7135 | 2647382.0513 | 1190731.1057 | 2647382.2842 | 1190727.6834 | 2647381.6026 | 1190725.1767 | 2647380.3905 | 1190723.2104 | 2647378.2864 | 1190721.2371 | 2647375.4731 | 1190719.2694 | 2647368.3922 | 1190715.0888 | 2647363.4286 | 1190711.203 | 2647357.9208 | 1190705.7453 | 2647348.3262 | 1190694.4854 | 2647341.9294 | 1190686.5248
6 | 2646912.2286 | 1190914.9764 | 2646899.2378 | 1190920.6111 | 2646891.6128 | 1190914.8149
7 | 2646912.2286 | 1190914.9764 | 2646913.7483 | 1190929.2628 | 2646902.5065 | 1190939.7924
8 | 2647124.0864 | 1190576.1215 | 2646912.2286 | 1190914.9764
9 | 2646895.6212 | 1190946.2414 | 2646902.5065 | 1190939.7924
10 | 2647124.0864 | 1190576.1215 | 2647129.7311 | 1190563.1667 | 2647134.8995 | 1190552.8756
11 | 2646123.2637 | 1190506.8242 | 2646201.7391 | 1190528.9189 | 2646245.0893 | 1190540.5931 | 2646255.8071 | 1190541.9767 | 2646259.9622 | 1190541.888
12 | 2646259.9622 | 1190541.888 | 2646552.6093 | 1189607.9491
13 | 2645881.5689 | 1191056.2486 | 2646123.2637 | 1190506.8242
14 | 2646552.6093 | 1189607.9491 | 2646541.9079 | 1189598.0191
15 | 2645896.3521 | 1191073.0719 | 2645892.6472 | 1191064.0385 | 2645890.9736 | 1191061.5576 | 2645888.0027 | 1191059.2225 | 2645882.4793 | 1191056.6787 | 2645881.5689 | 1191056.2486
16 | 2645802.5722 | 1191235.4326 | 2645799.8933 | 1191234.8007 | 2645767.1146 | 1191227.1126 | 2645747.2194 | 1191222.1116
17 | 2645727.5674 | 1191217.1717 | 2645747.2194 | 1191222.1116
18 | 2645802.5722 | 1191235.4326 | 2645809.2763 | 1191240.0976 | 2645813.2434 | 1191241.7622
19 | 2645727.5674 | 1191217.1717 | 2645709.7684 | 1191212.7001 | 2645702.58 | 1191210.544 | 2645694.0372 | 1191207.0214 | 2645674.8758 | 1191197.2365 | 2645665.4435 | 1191193.3847 | 2645659.3664 | 1191191.4595 | 2645654.7443 | 1191190.6905 | 2645649.6118 | 1191190.8737 | 2645637.0027 | 1191192.6786 | 2645629.2563 | 1191193.698 | 2645623.8658 | 1191193.7236 | 2645619.358 | 1191192.9666 | 2645616.6262 | 1191192.2676 | 2645613.5264 | 1191190.8321 | 2645610.3545 | 1191188.8624 | 2645606.6937 | 1191186.0108 | 2645601.0626 | 1191180.576 | 2645596.5128 | 1191177.3174 | 2645590.504 | 1191173.425 | 2645583.0778 | 1191169.4441 | 2645560.2905 | 1191159.1984 | 2645552.1879 | 1191156.4743
20 | 2645850.1816 | 1191240.9221 | 2645840.2372 | 1191242.2245 | 2645828.3362 | 1191241.1773 | 2645820.9655 | 1191241.9213 | 2645813.2434 | 1191241.7622
21 | 2645850.1816 | 1191240.9221 | 2645896.3521 | 1191073.0719
22 | 2645850.1816 | 1191240.9221 | 2646249.4504 | 1191343.0815
23 | 2647207.2275 | 1190405.2229 | 2647209.0141 | 1190410.74 | 2647211.4832 | 1190415.7622 | 2647214.929 | 1190420.7032 | 2647219.3778 | 1190425.1296 | 2647228.9979 | 1190433.2433 | 2647235.344 | 1190437.8403 | 2647263.4646 | 1190455.4052 | 2647266.6911 | 1190458.1655 | 2647276.422 | 1190467.6809 | 2647285.0135 | 1190474.7192 | 2647294.3189 | 1190481.1407 | 2647309.7759 | 1190489.7342 | 2647315.2614 | 1190494.18 | 2647319.9871 | 1190499.2534 | 2647323.9842 | 1190505.8109 | 2647327.5534 | 1190512.4872 | 2647330.1734 | 1190520.5902 | 2647331.4712 | 1190526.1813 | 2647333.1149 | 1190533.3649 | 2647333.682 | 1190538.7835 | 2647333.777 | 1190543.1645 | 2647333.0713 | 1190547.5502 | 2647331.3693 | 1190553.5401 | 2647325.7138 | 1190567.7143 | 2647314.3507 | 1190601.699 | 2647311.9448 | 1190611.8634 | 2647311.3611 | 1190617.2173 | 2647311.3896 | 1190624.2214 | 2647312.3829 | 1190631.6778 | 2647314.2727 | 1190641.487 | 2647317.5664 | 1190651.174 | 2647320.7027 | 1190658.5806 | 2647324.3755 | 1190664.6797 | 2647341.9294 | 1190686.5248
24 | 2647207.2275 | 1190405.2229 | 2647204.1062 | 1190407.4773 | 2647203.2231 | 1190409.238 | 2647202.6969 | 1190411.1794 | 2647202.8694 | 1190413.482 | 2647203.5437 | 1190415.9665 | 2647206.0314 | 1190420.5664 | 2647209.0591 | 1190425.3373 | 2647215.8509 | 1190435.3075 | 2647224.1092 | 1190444.9557 | 2647233.998 | 1190455.7396 | 2647237.562 | 1190461.1485 | 2647239.649 | 1190465.3117 | 2647241.1412 | 1190470.4374 | 2647244.7197 | 1190478.8481 | 2647238.3128 | 1190487.7691 | 2647217.9935 | 1190497.1919 | 2647150.434 | 1190531.123 | 2647140.9482 | 1190540.8315 | 2647134.8995 | 1190552.8756
25 | 2646392.8124 | 1191963.9896 | 2646398.0796 | 1191954.2249 | 2646401.8012 | 1191953.0531 | 2646402.3951 | 1191945.311
26 | 2646392.8124 | 1191963.9896 | 2646391.7378 | 1191952.1525
27 | 2646392.8124 | 1191963.9896 | 2646393.2003 | 1191972.9531 | 2646394.0959 | 1191978.3853 | 2646396.2641 | 1191984.8612 | 2646399.7212 | 1191992.2476 | 2646404.6524 | 1192001.2353 | 2646406.6279 | 1192006.9871 | 2646408.602 | 1192011.9496 | 2646410.7867 | 1192014.3234 | 2646414.1495 | 1192017.151 | 2646422.8361 | 1192021.5875 | 2646427.3123 | 1192024.357 | 2646430.6837 | 1192027.0513 | 2646437.0933 | 1192033.1488 | 2646440.1639 | 1192035.3183 | 2646443.0546 | 1192036.1078 | 2646445.4051 | 1192035.7703 | 2646448.2061 | 1192034.369 | 2646450.1415 | 1192032.5163 | 2646452.6367 | 1192030.2455 | 2646456.2529 | 1192026.9384 | 2646459.6622 | 1192025.7309 | 2646463.1263 | 1192025.3242 | 2646466.3834 | 1192026.0499 | 2646473.6366 | 1192029.5303 | 2646478.4863 | 1192031.3245 | 2646493.1308 | 1192034.2286 | 2646496.3181 | 1192036.0877 | 2646498.3882 | 1192038.494 | 2646502.5246 | 1192044.763 | 2646509.8844 | 1192058.0608 | 2646526.4012 | 1192090.7739
28 | 2646391.7378 | 1191952.1525 | 2646391.3959 | 1191950.0375 | 2646390.1679 | 1191947.1709 | 2646388.0861 | 1191944.2976 | 2646380.8977 | 1191938.3497 | 2646376.284 | 1191933.6336 | 2646375.6801 | 1191932.8452
29 | 2646526.4012 | 1192090.7739 | 2646532.1882 | 1192094.5543 | 2646553.4999 | 1192114.4977 | 2646574.8092 | 1192133.7407 | 2646578.7006 | 1192134.2601 | 2646581.1662 | 1192132.8452 | 2646582.2146 | 1192129.3959 | 2646578.0376 | 1192088.185
30 | 2646249.4504 | 1191343.0815 | 2646240.306 | 1191352.3715 | 2646237.3306 | 1191367.4347 | 2646231.5076 | 1191380.03 | 2646209.29 | 1191396.9791 | 2646181.3313 | 1191415.9295 | 2646148.1257 | 1191439.0753 | 2646133.5225 | 1191463.2539 | 2646127.2487 | 1191481.9604 | 2646117.6717 | 1191503.9099 | 2646118.852 | 1191510.0335 | 2646130.1139 | 1191534.5783 | 2646145.1489 | 1191547.3345 | 2646156.5364 | 1191555.5712 | 2646162.2144 | 1191561.7295 | 2646187.9422 | 1191566.008 | 2646207.4969 | 1191575.9421 | 2646216.4169 | 1191585.7941 | 2646220.4351 | 1191595.6083 | 2646219.6402 | 1191607.72
31 | 2646209.9198 | 1191594.8935 | 2646219.6402 | 1191607.72
32 | 2646225.9494 | 1191616.04 | 2646219.6402 | 1191607.72
33 | 2646225.9494 | 1191616.04 | 2646201.1358 | 1191642.4965 | 2646189.8454 | 1191660.2415 | 2646179.7639 | 1191668.5239 | 2646166.9738 | 1191671.1823 | 2646148.2347 | 1191673.1723 | 2646129.9693 | 1191670.0855 | 2646104.6867 | 1191660.5077 | 2646082.4228 | 1191657.8905 | 2646057.9352 | 1191662.8938 | 2646042.6778 | 1191667.1678 | 2646037.143 | 1191669.1597 | 2646035.7963 | 1191671.2532
34 | 2646225.9494 | 1191616.04 | 2646267.0704 | 1191677.3915 | 2646303.573 | 1191720.6864 | 2646322.903 | 1191741.8254 | 2646342.7129 | 1191768.9158 | 2646355.2663 | 1191788.9352 | 2646369.1524 | 1191816.0132 | 2646372.395 | 1191823.5536 | 2646373.4445 | 1191828.798 | 2646373.9594 | 1191833.1933 | 2646373.3125 | 1191837.9687 | 2646361.1823 | 1191873.5612 | 2646360.4924 | 1191877.0133 | 2646360.7644 | 1191880.2839 | 2646365.5961 | 1191895.2407 | 2646371.0958 | 1191924.3439 | 2646373.1746 | 1191929.574 | 2646375.6801 | 1191932.8452
35 | 2647179.123 | 1191595.9166 | 2646578.0376 | 1192088.185

## bus_geodata
| x | y | coords
0 | 2647436.4636 | 1191595.3638
1 | 2647460.4147 | 1191688.8934
2 | 2647424.8522 | 1191572.9334
3 | 2647187.8338 | 1191598.2643
4 | 2647379.7137 | 1190910.8535
5 | 2646891.6128 | 1190914.8149
6 | 2646912.2286 | 1190914.9764
7 | 2646902.5065 | 1190939.7924
8 | 2647124.0864 | 1190576.1215
9 | 2646895.6212 | 1190946.2414
10 | 2646259.9622 | 1190541.888
11 | 2646123.2637 | 1190506.8242
12 | 2646552.6093 | 1189607.9491
13 | 2645881.5689 | 1191056.2486
14 | 2646541.9079 | 1189598.0191
15 | 2645747.2194 | 1191222.1116
16 | 2645802.5722 | 1191235.4326
17 | 2645727.5674 | 1191217.1717
18 | 2645813.2434 | 1191241.7622
19 | 2645552.1879 | 1191156.4743
20 | 2645850.1816 | 1191240.9221
21 | 2645896.3521 | 1191073.0719
22 | 2647341.9294 | 1190686.5248
23 | 2647134.8995 | 1190552.8756
24 | 2647207.2275 | 1190405.2229
25 | 2646402.3951 | 1191945.311
26 | 2646392.8124 | 1191963.9896
27 | 2646391.7378 | 1191952.1525
28 | 2646526.4012 | 1192090.7739
29 | 2646249.4504 | 1191343.0815
30 | 2646219.6402 | 1191607.72
31 | 2646209.9198 | 1191594.8935
32 | 2646225.9494 | 1191616.04
33 | 2646375.6801 | 1191932.8452
34 | 2646578.0376 | 1192088.185
35 | 2646035.7963 | 1191671.2532
36 | 2647179.123 | 1191595.9166
37 | 2646895.6212 | 1190946.2414

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98924 | -0.081781 | 0.00057703 | 0.00014462
1 | 0.98904 | -0.083163 | 0.0013839 | 0.00034685
2 | 0.98931 | -0.081273 | 0 | 0
3 | 0.98755 | -0.09477 | 0 | 0
4 | 0.9927 | -0.055677 | 0 | 0
5 | 0.99969 | -0.0023357 | 0.0010795 | 0.00027055
6 | 0.99972 | -0.0020795 | 0 | 0
7 | 0.99993 | -0.00051596 | 0.00043437 | 0.00010886
8 | 0.99725 | -0.020877 | 0.00096607 | 0.00024212
9 | 1 | 0 | -0.011032 | -0.0024668
10 | 0.97318 | -0.20661 | 0.00025578 | 6.4106e-05
11 | 0.97347 | -0.20439 | 0 | 0
12 | 0.97155 | -0.21882 | 0 | 0
13 | 0.97469 | -0.19477 | 6.9846e-05 | 1.7505e-05
14 | 0.97153 | -0.219 | 0.0011354 | 0.00028456
15 | 0.97517 | -0.19096 | 0.00016073 | 4.0284e-05
16 | 0.97519 | -0.1908 | 0 | 0
17 | 0.97517 | -0.19099 | 0 | 0
18 | 0.9752 | -0.19077 | 6.5483e-05 | 1.6412e-05
19 | 0.97514 | -0.19118 | 8.7196e-05 | 2.1853e-05
20 | 0.97521 | -0.19063 | 0 | 0
21 | 0.97474 | -0.19437 | 0.00041098 | 0.000103
22 | 0.99409 | -0.045095 | 0.00021471 | 5.3811e-05
23 | 0.99711 | -0.021957 | 0.00035344 | 8.858e-05
24 | 0.99593 | -0.031001 | 0 | 0
25 | 0.97987 | -0.15379 | 0.00029159 | 7.3081e-05
26 | 0.97988 | -0.15372 | 0 | 0
27 | 0.97981 | -0.1543 | 0 | 0
28 | 0.98132 | -0.14268 | 0 | 0
29 | 0.97653 | -0.18021 | 0 | 0
30 | 0.97772 | -0.1706 | 0 | 0
31 | 0.97769 | -0.17079 | 0.0011519 | 0.00028869
32 | 0.97777 | -0.1702 | 0 | 0
33 | 0.97965 | -0.15554 | 0.00080865 | 0.00020267
34 | 0.9821 | -0.1367 | 0.00017484 | 4.3819e-05
35 | 0.97772 | -0.17058 | 0.00015413 | 3.8628e-05
36 | 0.98748 | -0.095279 | 0.00031363 | 7.8603e-05
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0013842 | 0.0003457 | -0.0013839 | -0.00034685 | 2.639e-07 | -1.151e-06 | 0.0020817 | 0.0020821 | 0.0020821 | 0.98924 | -0.081781 | 0.98904 | -0.083163 | 0.77116
1 | -0.0019612 | -0.00049031 | 0.0019614 | 0.00049004 | 1.3732e-07 | -2.7194e-07 | 0.0029497 | 0.0029495 | 0.0029497 | 0.98924 | -0.081781 | 0.98931 | -0.081273 | 1.0925
2 | 0.005143 | 0.0012338 | -0.0051341 | -0.0012335 | 8.8576e-06 | 3.5147e-07 | 0.0077163 | 0.0077174 | 0.0077174 | 0.98931 | -0.081273 | 0.98755 | -0.09477 | 2.8583
3 | -0.0071043 | -0.0017239 | 0.0071279 | 0.0017158 | 2.3541e-05 | -8.0464e-06 | 0.010666 | 0.01066 | 0.010666 | 0.98931 | -0.081273 | 0.9927 | -0.055677 | 1.9751
4 | 0.0051341 | 0.0012335 | -0.0051338 | -0.0012335 | 3.3437e-07 | 1.3497e-08 | 0.0077174 | 0.0077174 | 0.0077174 | 0.98755 | -0.09477 | 0.98748 | -0.095279 | 2.8583
5 | -0.0071279 | -0.0017158 | 0.0071375 | 0.0017125 | 9.657e-06 | -3.3401e-06 | 0.01066 | 0.010658 | 0.01066 | 0.9927 | -0.055677 | 0.99409 | -0.045095 | 1.9741
6 | -0.0010795 | -0.00027055 | 0.0010795 | 0.00027025 | 3.8242e-08 | -2.9654e-07 | 0.0016068 | 0.0016067 | 0.0016068 | 0.99969 | -0.0023357 | 0.99972 | -0.0020795 | 0.59512
7 | -0.0097949 | -0.0023579 | 0.0097968 | 0.0023579 | 1.9651e-06 | -2.5041e-08 | 0.014546 | 0.014545 | 0.014546 | 0.99972 | -0.0020795 | 0.99993 | -0.00051596 | 2.6936
8 | 0.0087153 | 0.0020876 | -0.0086945 | -0.0020901 | 2.088e-05 | -2.4233e-06 | 0.012939 | 0.012942 | 0.012942 | 0.99972 | -0.0020795 | 0.99725 | -0.020877 | 2.3968
9 | -0.010231 | -0.0024667 | 0.010232 | 0.0024668 | 6.7928e-07 | 1.375e-08 | 0.015192 | 0.015192 | 0.015192 | 0.99993 | -0.00051596 | 1 | 0 | 2.8133
10 | 0.0077284 | 0.0018479 | -0.0077273 | -0.0018482 | 1.0585e-06 | -2.6205e-07 | 0.011501 | 0.011501 | 0.011501 | 0.99725 | -0.020877 | 0.99711 | -0.021957 | 2.1299
11 | -0.001393 | -0.00033706 | 0.0013934 | 0.00033546 | 3.9854e-07 | -1.6039e-06 | 0.0021257 | 0.0021251 | 0.0021257 | 0.97318 | -0.20661 | 0.97347 | -0.20439 | 0.7873
12 | 0.0011373 | 0.00027295 | -0.0011354 | -0.00028439 | 1.8421e-06 | -1.1432e-05 | 0.0017346 | 0.0017389 | 0.0017389 | 0.97318 | -0.20661 | 0.97155 | -0.21882 | 0.64405
13 | -0.0013934 | -0.00033546 | 0.0013951 | 0.00032863 | 1.6894e-06 | -6.8219e-06 | 0.0021251 | 0.0021225 | 0.0021251 | 0.97347 | -0.20439 | 0.97469 | -0.19477 | 0.78708
14 | 0.0011354 | 0.00028439 | -0.0011354 | -0.00028456 | 2.7547e-08 | -1.7018e-07 | 0.0017389 | 0.001739 | 0.001739 | 0.97155 | -0.21882 | 0.97153 | -0.219 | 0.64407
15 | -0.001465 | -0.00034614 | 0.0014651 | 0.00034587 | 7.3246e-08 | -2.6627e-07 | 0.0022292 | 0.0022291 | 0.0022292 | 0.97469 | -0.19477 | 0.97474 | -0.19437 | 0.82562
16 | -0.00024793 | -5.9507e-05 | 0.00024794 | 5.8798e-05 | 5.0567e-09 | -7.0838e-07 | 0.00037739 | 0.00037715 | 0.00037739 | 0.97517 | -0.19096 | 0.97519 | -0.1908 | 0.13978
17 | 8.7198e-05 | 1.9223e-05 | -8.7198e-05 | -1.9476e-05 | 2.2099e-10 | -2.5272e-07 | 0.00013216 | 0.00013224 | 0.00013224 | 0.97517 | -0.19096 | 0.97517 | -0.19099 | 0.048979
18 | -0.00024794 | -5.8798e-05 | 0.00024794 | 5.8643e-05 | 1.1066e-09 | -1.5515e-07 | 0.00037715 | 0.0003771 | 0.00037715 | 0.97519 | -0.1908 | 0.9752 | -0.19077 | 0.13968
19 | 8.7198e-05 | 1.9476e-05 | -8.7196e-05 | -2.1853e-05 | 2.0931e-09 | -2.3778e-06 | 0.00013224 | 0.00013306 | 0.00013306 | 0.97517 | -0.19099 | 0.97514 | -0.19118 | 0.04928
20 | -0.00031342 | -7.5055e-05 | 0.00031343 | 7.4594e-05 | 5.2669e-09 | -4.6096e-07 | 0.00047701 | 0.00047685 | 0.00047701 | 0.9752 | -0.19077 | 0.97521 | -0.19063 | 0.17667
21 | 0.0018769 | 0.00044704 | -0.001876 | -0.00044887 | 8.8608e-07 | -1.8302e-06 | 0.0028557 | 0.0028564 | 0.0028564 | 0.97521 | -0.19063 | 0.97474 | -0.19437 | 1.0579
22 | -0.0021903 | -0.00052164 | 0.0021932 | 0.00051759 | 2.8545e-06 | -4.0512e-06 | 0.0033325 | 0.0033308 | 0.0033325 | 0.97521 | -0.19063 | 0.97653 | -0.18021 | 1.2343
23 | -0.0073522 | -0.0017663 | 0.0073654 | 0.0017622 | 1.3214e-05 | -4.0477e-06 | 0.010979 | 0.010976 | 0.010979 | 0.99409 | -0.045095 | 0.99593 | -0.031001 | 2.0331
24 | 0.0073739 | 0.0017596 | -0.0073654 | -0.0017622 | 8.4418e-06 | -2.6064e-06 | 0.010974 | 0.010976 | 0.010976 | 0.99711 | -0.021957 | 0.99593 | -0.031001 | 2.0326
25 | -0.00029159 | -7.3081e-05 | 0.0002916 | 7.2795e-05 | 2.7843e-09 | -2.8564e-07 | 0.00044281 | 0.00044271 | 0.00044281 | 0.97987 | -0.15379 | 0.97988 | -0.15372 | 0.164
26 | 0.0043182 | 0.0010386 | -0.0043178 | -0.0010387 | 3.1749e-07 | -2.7628e-08 | 0.0065421 | 0.0065421 | 0.0065421 | 0.97988 | -0.15372 | 0.97981 | -0.1543 | 2.423
27 | -0.0046098 | -0.0011114 | 0.0046163 | 0.0011112 | 6.5432e-06 | -1.9516e-07 | 0.0069848 | 0.0069838 | 0.0069848 | 0.97988 | -0.15372 | 0.98132 | -0.14268 | 2.587
28 | 0.0043178 | 0.0010387 | -0.0043172 | -0.0010387 | 6.8718e-07 | -5.9712e-08 | 0.0065421 | 0.0065422 | 0.0065422 | 0.97981 | -0.1543 | 0.97965 | -0.15554 | 2.4231
29 | -0.0046163 | -0.0011112 | 0.0046198 | 0.0011111 | 3.5454e-06 | -1.0937e-07 | 0.0069838 | 0.0069833 | 0.0069838 | 0.98132 | -0.14268 | 0.9821 | -0.1367 | 2.5866
30 | -0.0021932 | -0.00051759 | 0.0021958 | 0.00051388 | 2.5973e-06 | -3.7029e-06 | 0.0033308 | 0.0033292 | 0.0033308 | 0.97653 | -0.18021 | 0.97772 | -0.1706 | 1.2336
31 | 0.0011519 | 0.0002885 | -0.0011519 | -0.00028869 | 3.0835e-08 | -1.8979e-07 | 0.001753 | 0.0017531 | 0.0017531 | 0.97772 | -0.1706 | 0.97769 | -0.17079 | 0.6493
32 | -0.0033477 | -0.00080238 | 0.0033479 | 0.00080231 | 1.6812e-07 | -6.6174e-08 | 0.0050821 | 0.005082 | 0.0050821 | 0.97772 | -0.1706 | 0.97777 | -0.1702 | 1.8822
33 | 0.00015413 | 3.5878e-05 | -0.00015413 | -3.8628e-05 | 7.5033e-09 | -2.7494e-06 | 0.00023361 | 0.00023457 | 0.00023457 | 0.97777 | -0.1702 | 0.97772 | -0.17058 | 0.086877
34 | -0.003502 | -0.00083819 | 0.0035085 | 0.00083605 | 6.5049e-06 | -2.1358e-06 | 0.0053156 | 0.005314 | 0.0053156 | 0.97777 | -0.1702 | 0.97965 | -0.15554 | 1.9687
35 | -0.0047947 | -0.0011549 | 0.0048201 | 0.0011549 | 2.5458e-05 | -9.3544e-08 | 0.0072482 | 0.0072448 | 0.0072482 | 0.9821 | -0.1367 | 0.98748 | -0.095279 | 2.6845

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.011537 | 0.0025933

## res_load
| p_mw | q_mvar
0 | 0.00057703 | 0.00014462
1 | 0.0013839 | 0.00034685
2 | 0.0010795 | 0.00027055
3 | 0.00043437 | 0.00010886
4 | 0.00096607 | 0.00024212
5 | 0.00050474 | 0.0001265
6 | 0.00025578 | 6.4106e-05
7 | 6.9846e-05 | 1.7505e-05
8 | 0.0011354 | 0.00028456
9 | 0.00016073 | 4.0284e-05
10 | 6.5483e-05 | 1.6412e-05
11 | 8.7196e-05 | 2.1853e-05
12 | 0.00041098 | 0.000103
13 | 0.00021471 | 5.3811e-05
14 | 0.00035344 | 8.858e-05
15 | 0.00029159 | 7.3081e-05
16 | 0.0011519 | 0.00028869
17 | 0.00080865 | 0.00020267
18 | 0.00017484 | 4.3819e-05
19 | 0.00015413 | 3.8628e-05
20 | 0.00031363 | 7.8603e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1