## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1004-10_4_3_node_150 | 0.4 | n |  | TRUE
1 | bus_LV_1004-10_4_3_node_118 | 0.4 | n |  | TRUE
2 | bus_LV_1004-10_4_3_node_154 | 0.4 | n |  | TRUE
3 | bus_LV_1004-10_4_3_node_155 | 0.4 | n |  | TRUE
4 | bus_LV_1004-10_4_3_node_156 | 0.4 | n |  | TRUE
5 | bus_LV_1004-10_4_3_node_157 | 0.4 | n |  | TRUE
6 | bus_LV_1004-10_4_3_node_200 | 0.4 | n |  | TRUE
7 | bus_LV_1004-10_4_3_node_158 | 0.4 | n |  | TRUE
8 | bus_LV_1004-10_4_3_node_159 | 0.4 | n |  | TRUE
9 | bus_LV_1004-10_4_3_node_160 | 0.4 | n |  | TRUE
10 | bus_LV_1004-10_4_3_node_161 | 0.4 | n |  | TRUE
11 | bus_LV_1004-10_4_3_node_162 | 0.4 | n |  | TRUE
12 | bus_LV_1004-10_4_3_node_172 | 0.4 | n |  | TRUE
13 | bus_LV_1004-10_4_3_node_163 | 0.4 | n |  | TRUE
14 | bus_LV_1004-10_4_3_node_164 | 0.4 | n |  | TRUE
15 | bus_LV_1004-10_4_3_node_165 | 0.4 | n |  | TRUE
16 | bus_LV_1004-10_4_3_node_166 | 0.4 | n |  | TRUE
17 | bus_LV_1004-10_4_3_node_167 | 0.4 | n |  | TRUE
18 | bus_LV_1004-10_4_3_node_178 | 0.4 | n |  | TRUE
19 | bus_LV_1004-10_4_3_node_179 | 0.4 | n |  | TRUE
20 | bus_LV_1004-10_4_3_node_198 | 0.4 | n |  | TRUE
21 | bus_LV_1004-10_4_3_node_168 | 0.4 | n |  | TRUE
22 | bus_LV_1004-10_4_3_node_169 | 0.4 | n |  | TRUE
23 | bus_LV_1004-10_4_3_node_170 | 0.4 | n |  | TRUE
24 | bus_LV_1004-10_4_3_node_171 | 0.4 | n |  | TRUE
25 | bus_LV_1004-10_4_3_node_182 | 0.4 | n |  | TRUE
26 | bus_LV_1004-10_4_3_node_173 | 0.4 | n |  | TRUE
27 | bus_LV_1004-10_4_3_node_174 | 0.4 | n |  | TRUE
28 | bus_LV_1004-10_4_3_node_201 | 0.4 | n |  | TRUE
29 | bus_LV_1004-10_4_3_node_210 | 0.4 | n |  | TRUE
30 | bus_LV_1004-10_4_3_node_183 | 0.4 | n |  | TRUE
31 | bus_LV_1004-10_4_3_node_175 | 0.4 | n |  | TRUE
32 | bus_LV_1004-10_4_3_node_176 | 0.4 | n |  | TRUE
33 | bus_LV_1004-10_4_3_node_177 | 0.4 | n |  | TRUE
34 | bus_LV_1004-10_4_3_node_180 | 0.4 | n |  | TRUE
35 | bus_LV_1004-10_4_3_node_181 | 0.4 | n |  | TRUE
36 | bus_LV_1004-10_4_3_node_184 | 0.4 | n |  | TRUE
37 | bus_LV_1004-10_4_3_node_191 | 0.4 | n |  | TRUE
38 | bus_LV_1004-10_4_3_node_185 | 0.4 | n |  | TRUE
39 | bus_LV_1004-10_4_3_node_186 | 0.4 | n |  | TRUE
40 | bus_LV_1004-10_4_3_node_187 | 0.4 | n |  | TRUE
41 | bus_LV_1004-10_4_3_node_188 | 0.4 | n |  | TRUE
42 | bus_LV_1004-10_4_3_node_189 | 0.4 | n |  | TRUE
43 | bus_LV_1004-10_4_3_node_199 | 0.4 | n |  | TRUE
44 | bus_LV_1004-10_4_3_node_190 | 0.4 | n |  | TRUE
45 | bus_LV_1004-10_4_3_node_192 | 0.4 | n |  | TRUE
46 | bus_LV_1004-10_4_3_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_1004-10_4_3_node_193 | 0.4 | n |  | TRUE
48 | bus_LV_1004-10_4_3_node_194 | 0.4 | n |  | TRUE
49 | bus_LV_1004-10_4_3_node_195 | 0.4 | n |  | TRUE
50 | bus_LV_1004-10_4_3_node_196 | 0.4 | n |  | TRUE
51 | bus_LV_1004-10_4_3_node_197 | 0.4 | n |  | TRUE
52 | bus_LV_1004-10_4_3_node_202 | 0.4 | n |  | TRUE
53 | bus_LV_1004-10_4_3_node_208 | 0.4 | n |  | TRUE
54 | bus_LV_1004-10_4_3_node_203 | 0.4 | n |  | TRUE
55 | bus_LV_1004-10_4_3_node_204 | 0.4 | n |  | TRUE
56 | bus_LV_1004-10_4_3_node_205 | 0.4 | n |  | TRUE
57 | bus_LV_1004-10_4_3_node_206 | 0.4 | n |  | TRUE
58 | bus_LV_1004-10_4_3_node_207 | 0.4 | n |  | TRUE
59 | bus_LV_1004-10_4_3_node_209 | 0.4 | n |  | TRUE
60 | bus_LV_1004-10_4_3_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_1004-10_4_3_node_211 | 0.4 | n |  | TRUE
62 | bus_LV_1004-10_4_3_node_350 | 0.4 | n |  | TRUE
63 | bus_LV_1004-10_4_3_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_1004-10_4_3_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_1004-10_4_3_node_113 | 0.4 | n |  | TRUE
66 | bus_LV_1004-10_4_3_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_1004-10_4_3_node_116 | 0.4 | n |  | TRUE
68 | bus_MV_126_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1004-10_4_3_load_150 | 0 | 0.0019506 | 0.00048886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1004-10_4_3_load_118 | 1 | 0.0016167 | 0.00040519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1004-10_4_3_load_154 | 2 | 0.0032977 | 0.00082648 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1004-10_4_3_load_155 | 3 | 0.0032171 | 0.00080628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1004-10_4_3_load_156 | 4 | 0.005039 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1004-10_4_3_load_157 | 5 | 0.0033843 | 0.00084818 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1004-10_4_3_load_200 | 6 | 0.0055422 | 0.001389 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1004-10_4_3_load_158 | 7 | 0.00079071 | 0.00019817 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1004-10_4_3_load_159 | 8 | 0.00092188 | 0.00023105 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1004-10_4_3_load_160 | 9 | 0.00070837 | 0.00017754 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1004-10_4_3_load_161 | 10 | 0.0009271 | 0.00023235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1004-10_4_3_load_162 | 11 | 0.0010472 | 0.00026244 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1004-10_4_3_load_163 | 13 | 0.0011285 | 0.00028282 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1004-10_4_3_load_164 | 14 | 0.0009224 | 0.00023118 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1004-10_4_3_load_165 | 15 | 0.0037653 | 0.00094367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1004-10_4_3_load_167 | 17 | 0.0041832 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1004-10_4_3_load_178 | 18 | 0.001213 | 0.000304 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1004-10_4_3_load_179 | 19 | 0.0013603 | 0.00034092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1004-10_4_3_load_198 | 20 | 0.0025143 | 0.00063015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1004-10_4_3_load_168 | 21 | 0.00032954 | 8.2591e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1004-10_4_3_load_170 | 23 | 0.00041373 | 0.00010369 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1004-10_4_3_load_171 | 24 | 0.00062987 | 0.00015786 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1004-10_4_3_load_201 | 28 | 0.00083174 | 0.00020845 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1004-10_4_3_load_210 | 29 | 0.0011367 | 0.00028488 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1004-10_4_3_load_183 | 30 | 0.00041938 | 0.00010511 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1004-10_4_3_load_175 | 31 | 0.0015154 | 0.0003798 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1004-10_4_3_load_176 | 32 | 0.00097796 | 0.0002451 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1004-10_4_3_load_177 | 33 | 0.0030466 | 0.00076356 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1004-10_4_3_load_180 | 34 | 0.0021029 | 0.00052704 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1004-10_4_3_load_181 | 35 | 0.0035204 | 0.00088228 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1004-10_4_3_load_184 | 36 | 0.00056513 | 0.00014163 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1004-10_4_3_load_191 | 37 | 0.0022194 | 0.00055625 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1004-10_4_3_load_185 | 38 | 0.0021384 | 0.00053593 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1004-10_4_3_load_186 | 39 | 0.0027229 | 0.00068243 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1004-10_4_3_load_187 | 40 | 0.0022726 | 0.00056957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1004-10_4_3_load_188 | 41 | 0.0026751 | 0.00067044 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1004-10_4_3_load_189 | 42 | 0.0017708 | 0.00044381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1004-10_4_3_load_199 | 43 | 0.004344 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1004-10_4_3_load_190 | 44 | 0.0031776 | 0.00079637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1004-10_4_3_load_193 | 47 | 0.0012812 | 0.00032111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1004-10_4_3_load_194 | 48 | 0.0015688 | 0.00039317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1004-10_4_3_load_196 | 50 | 0.001229 | 0.00030803 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1004-10_4_3_load_203 | 54 | 0.00078161 | 0.00019589 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1004-10_4_3_load_204 | 55 | 0.00017543 | 4.3967e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1004-10_4_3_load_205 | 56 | 0.00015705 | 3.9362e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1004-10_4_3_load_206 | 57 | 0.001216 | 0.00030476 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1004-10_4_3_load_207 | 58 | 0.0011176 | 0.00028009 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1004-10_4_3_load_209 | 59 | 0.0049462 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1004-10_4_3_load_211 | 61 | 0.00078528 | 0.00019681 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1004-10_4_3_load_350 | 62 | 0.0013131 | 0.00032909 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1004-10_4_3_load_110 | 63 | 0.0018275 | 0.00045801 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1004-10_4_3_load_113 | 65 | 0.00078368 | 0.00019641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1004-10_4_3_load_116 | 67 | 0.0036561 | 0.00091632 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1004-10_4_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.37848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1004-10_4_3_line_1 | NAYY 4x150 SE | 1 | 67 | 0.015514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1004-10_4_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0038822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1004-10_4_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1004-10_4_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1004-10_4_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.001688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1004-10_4_3_line_6 | NAYY 4x150 SE | 6 | 51 | 0.013245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1004-10_4_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0060749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1004-10_4_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.015991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1004-10_4_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.025082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1004-10_4_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.010719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1004-10_4_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.055894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1004-10_4_3_line_12 | NAYY 4x150 SE | 12 | 26 | 0.05502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1004-10_4_3_line_13 | NAYY 4x150 SE | 12 | 27 | 0.11559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1004-10_4_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.072355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1004-10_4_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.033393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1004-10_4_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0091375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1004-10_4_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0089999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1004-10_4_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.014096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1004-10_4_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.033648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1004-10_4_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.014219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1004-10_4_3_line_21 | NAYY 4x150 SE | 18 | 32 | 0.023576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1004-10_4_3_line_22 | NAYY 4x150 SE | 20 | 49 | 0.033223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1004-10_4_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.051671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1004-10_4_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.059988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1004-10_4_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.027606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1004-10_4_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.078013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1004-10_4_3_line_27 | NAYY 4x150 SE | 25 | 36 | 0.14538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1004-10_4_3_line_28 | NAYY 4x150 SE | 25 | 34 | 0.014458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1004-10_4_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.10447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1004-10_4_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.032398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1004-10_4_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.077927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1004-10_4_3_line_32 | NAYY 4x150 SE | 28 | 50 | 0.023558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1004-10_4_3_line_33 | NAYY 4x150 SE | 29 | 61 | 0.0087825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1004-10_4_3_line_34 | NAYY 4x150 SE | 30 | 35 | 0.010813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1004-10_4_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.025516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1004-10_4_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.029736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1004-10_4_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.080944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1004-10_4_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.02205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1004-10_4_3_line_39 | NAYY 4x150 SE | 37 | 44 | 0.03258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1004-10_4_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.019274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1004-10_4_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.010847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1004-10_4_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0093587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1004-10_4_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.015118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1004-10_4_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.021181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1004-10_4_3_line_45 | NAYY 4x150 SE | 43 | 52 | 0.018565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1004-10_4_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.070329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1004-10_4_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.095451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1004-10_4_3_line_48 | NAYY 4x150 SE | 46 | 56 | 0.17178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1004-10_4_3_line_49 | NAYY 4x150 SE | 46 | 66 | 0.26265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1004-10_4_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.02505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1004-10_4_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.011968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1004-10_4_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.012506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_1004-10_4_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.068599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1004-10_4_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.020792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1004-10_4_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1004-10_4_3_line_56 | NAYY 4x150 SE | 53 | 60 | 0.15691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1004-10_4_3_line_57 | NAYY 4x150 SE | 53 | 57 | 0.021015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1004-10_4_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.014545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1004-10_4_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.081689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1004-10_4_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.011965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1004-10_4_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.022494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1004-10_4_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.057691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1004-10_4_3_line_63 | NAYY 4x150 SE | 60 | 64 | 0.12669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1004-10_4_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.16064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1004-10_4_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.012927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1004-10_4_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.017676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1004-10_4_3_trafo_178 | 0.25 MVA 20/0.4 kV | 68 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2644576.9154 | 1192068.3192 | 2644638.7956 | 1192441.7023
1 | 2644639.711 | 1192457.1891 | 2644638.7956 | 1192441.7023
2 | 2644232.0945 | 1192661.1246 | 2644234.0212 | 1192657.7543
3 | 2644247.8245 | 1192633.609 | 2644234.0212 | 1192657.7543
4 | 2644232.0945 | 1192661.1246 | 2644220.3152 | 1192681.7294
5 | 2644219.4775 | 1192683.1949 | 2644220.3152 | 1192681.7294
6 | 2644212.904 | 1192694.6935 | 2644219.4775 | 1192683.1949
7 | 2644331.8285 | 1192879.8113 | 2644334.4732 | 1192874.3423
8 | 2644341.4348 | 1192859.9462 | 2644334.4732 | 1192874.3423
9 | 2644331.8285 | 1192879.8113 | 2644320.9093 | 1192902.3916
10 | 2644341.4348 | 1192859.9462 | 2644339.8822 | 1192849.3399
11 | 2644293.9195 | 1192950.4446 | 2644301.5662 | 1192944.0198 | 2644312.3687 | 1192920.0532 | 2644320.9093 | 1192902.3916
12 | 2644293.9195 | 1192950.4446 | 2644288.5768 | 1192941.1222 | 2644284.2929 | 1192933.9643 | 2644276.7736 | 1192926.2489 | 2644255.9797 | 1192911.954
13 | 2644323.6197 | 1193061.9705 | 2644318.8768 | 1193047.8498 | 2644311.4626 | 1193008.462 | 2644293.9195 | 1192950.4446
14 | 2644293.6893 | 1192661.9708 | 2644303.3885 | 1192650.4377 | 2644308.0973 | 1192647.5932 | 2644315.3134 | 1192645.8567 | 2644323.2399 | 1192646.9938 | 2644329.3593 | 1192650.2631 | 2644333.1468 | 1192655.5163 | 2644336.4563 | 1192662.5335 | 2644337.8171 | 1192673.3162 | 2644337.7851 | 1192677.6301
15 | 2644278.8853 | 1192691.7078 | 2644280.6055 | 1192686.4558 | 2644291.0306 | 1192665.1322 | 2644293.6893 | 1192661.9708
16 | 2644337.7174 | 1192686.7674 | 2644337.7851 | 1192677.6301
17 | 2644276.0841 | 1192700.2607 | 2644278.8853 | 1192691.7078
18 | 2644337.7174 | 1192686.7674 | 2644337.613 | 1192700.8628
19 | 2644337.7174 | 1192686.7674 | 2644361.6919 | 1192682.3647 | 2644359.9085 | 1192673.2649
20 | 2644276.0841 | 1192700.2607 | 2644271.6582 | 1192713.7738
21 | 2644333.6474 | 1192724.0378 | 2644337.583 | 1192704.9209 | 2644337.613 | 1192700.8628
22 | 2644259.0561 | 1192744.3285 | 2644264.9463 | 1192734.2664 | 2644271.6582 | 1192713.7738
23 | 2644488.2667 | 1193056.9108 | 2644490.5392 | 1193060.8521 | 2644498.1912 | 1193070.1363 | 2644512.9153 | 1193088.756 | 2644519.1863 | 1193098.219
24 | 2644488.2667 | 1193056.9108 | 2644485.7609 | 1193052.5787 | 2644479.9506 | 1193037.5161 | 2644471.7339 | 1193006.7825 | 2644470.1332 | 1192999.9409
25 | 2644490.8522 | 1193084.3785 | 2644489.5872 | 1193066.915 | 2644488.2667 | 1193056.9108
26 | 2644441.9623 | 1192929.83 | 2644446.8862 | 1192932.9016 | 2644451.0355 | 1192936.6122 | 2644454.4058 | 1192941.5622 | 2644458.3701 | 1192949.6628 | 2644470.1332 | 1192999.9409
27 | 2644441.9623 | 1192929.83 | 2644446.6423 | 1192913.4001 | 2644450.7907 | 1192902.8695 | 2644458.6705 | 1192888.6979 | 2644466.0778 | 1192874.5118 | 2644484.2066 | 1192814.5688 | 2644493.5079 | 1192794.4798
28 | 2644441.9623 | 1192929.83 | 2644435.1088 | 1192942.5608
29 | 2644255.9797 | 1192911.954 | 2644249.4188 | 1192905.5353 | 2644245.2579 | 1192897.1888 | 2644243.6084 | 1192886.2706 | 2644244.2477 | 1192873.0013 | 2644246.1611 | 1192862.6541 | 2644254.1313 | 1192839.289 | 2644263.7343 | 1192814.6654
30 | 2644255.9797 | 1192911.954 | 2644274.2042 | 1192885.1679
31 | 2644323.6197 | 1193061.9705 | 2644328.3299 | 1193050.6658 | 2644340.2556 | 1193043.8058 | 2644382.3952 | 1193020.4161 | 2644385.4186 | 1193018.2367
32 | 2644269.959 | 1192792.0952 | 2644269.8368 | 1192795.4697 | 2644267.2695 | 1192805.6008 | 2644263.7343 | 1192814.6654
33 | 2644274.2042 | 1192885.1679 | 2644279.1446 | 1192877.9067
34 | 2644385.4186 | 1193018.2367 | 2644394.1899 | 1193011.9138
35 | 2644333.6474 | 1192724.0378 | 2644328.5024 | 1192749.03
36 | 2644325.5057 | 1192778.4721 | 2644325.6201 | 1192763.0311 | 2644328.5024 | 1192749.03
37 | 2644394.1899 | 1193011.9138 | 2644397.8129 | 1193009.3021 | 2644409.5874 | 1192989.9676 | 2644435.1088 | 1192942.5608
38 | 2644502.7723 | 1192774.4703 | 2644493.5079 | 1192794.4798
39 | 2644517.7421 | 1192745.5667 | 2644509.3676 | 1192760.2257 | 2644502.7723 | 1192774.4703
40 | 2644213.9493 | 1192729.6367 | 2644218.7101 | 1192737.2821 | 2644224.0408 | 1192746.0572
41 | 2644229.6726 | 1192755.3282 | 2644224.0408 | 1192746.0572
42 | 2644213.9493 | 1192729.6367 | 2644209.0022 | 1192721.6924
43 | 2644237.5217 | 1192768.2492 | 2644229.6726 | 1192755.3282
44 | 2644209.0022 | 1192721.6924 | 2644203.5765 | 1192712.9792 | 2644199.5257 | 1192702.8419
45 | 2644194.4533 | 1192685.0075 | 2644198.2254 | 1192699.5878 | 2644199.5257 | 1192702.8419
46 | 2644561.7713 | 1192691.5329 | 2644560.217 | 1192695.5347 | 2644557.1235 | 1192701.5261 | 2644552.6866 | 1192707.7632 | 2644547.7294 | 1192713.2405 | 2644537.0075 | 1192723.1329 | 2644529.0775 | 1192730.6781 | 2644517.9939 | 1192745.1259 | 2644517.7421 | 1192745.5667
47 | 2644561.7713 | 1192691.5329 | 2644563.2887 | 1192686.3302 | 2644564.5066 | 1192678.3682 | 2644578.2335 | 1192680.5494 | 2644590.7418 | 1192682.5881 | 2644604.394 | 1192687.637 | 2644603.7927 | 1192680.3507 | 2644611.4676 | 1192683.5318 | 2644616.945 | 1192682.9167 | 2644625.8835 | 1192691.4325 | 2644633.2423 | 1192690.9982
48 | 2644633.2423 | 1192690.9982 | 2644655.4287 | 1192747.4949 | 2644653.6231 | 1192759.6437 | 2644644.5782 | 1192771.5384 | 2644630.9781 | 1192779.9861 | 2644622.7393 | 1192786.0058 | 2644616.1673 | 1192798.4971 | 2644614.2427 | 1192816.3927 | 2644617.5521 | 1192841.7043
49 | 2644633.2423 | 1192690.9982 | 2644637.3067 | 1192686.6928 | 2644638.347 | 1192678.018 | 2644636.3057 | 1192667.597 | 2644631.9884 | 1192654.7132 | 2644626.1543 | 1192642.8521 | 2644622.1694 | 1192635.4739 | 2644619.9756 | 1192628.1201 | 2644620.4267 | 1192621.7978 | 2644622.5119 | 1192617.133 | 2644628.3045 | 1192608.0044 | 2644629.087 | 1192600.1726 | 2644628.2081 | 1192593.3289 | 2644623.8205 | 1192578.6214 | 2644623.9932 | 1192570.785 | 2644625.9152 | 1192559.3819 | 2644625.1483 | 1192552.8615 | 2644622.2554 | 1192541.1112 | 2644618.3705 | 1192514.1785 | 2644617.7266 | 1192491.1388 | 2644620.121 | 1192471.5902 | 2644624.0499 | 1192462.9814 | 2644627.1545 | 1192460.6366 | 2644630.6272 | 1192461.0738 | 2644634.1967 | 1192464.8803 | 2644638.4064 | 1192472.7938 | 2644640.7541 | 1192474.8347
50 | 2644263.2985 | 1192755.5194 | 2644264.2672 | 1192758.0746 | 2644268.7091 | 1192771.7149 | 2644269.667 | 1192779.6287
51 | 2644259.0561 | 1192744.3285 | 2644263.2985 | 1192755.5194
52 | 2644269.959 | 1192792.0952 | 2644270.2392 | 1192784.3555 | 2644269.667 | 1192779.6287
53 | 2644259.0561 | 1192744.3285 | 2644248.1806 | 1192727.6278 | 2644237.9896 | 1192714.2228 | 2644230.505 | 1192706.9413 | 2644222.8964 | 1192700.9485 | 2644212.904 | 1192694.6935
54 | 2644194.4533 | 1192685.0075 | 2644212.904 | 1192694.6935
55 | 2644185.0005 | 1192679.9905 | 2644194.4533 | 1192685.0075
56 | 2644166.5557 | 1192563.0788 | 2644166.7193 | 1192571.9071 | 2644165.6986 | 1192586.263 | 2644164.4136 | 1192594.1023 | 2644163.8766 | 1192597.667 | 2644162.1147 | 1192600.9114 | 2644159.8444 | 1192603.8518 | 2644156.6571 | 1192606.074 | 2644143.8315 | 1192612.9054 | 2644137.0588 | 1192615.5125 | 2644139.621 | 1192624.6698 | 2644140.149 | 1192630.5992 | 2644140.6645 | 1192645.4445 | 2644141.6647 | 1192650.3879 | 2644143.0966 | 1192653.6336 | 2644145.411 | 1192657.1193 | 2644148.6185 | 1192660.4336 | 2644154.4126 | 1192664.4119 | 2644182.2364 | 1192678.5805 | 2644185.0005 | 1192679.9905
57 | 2644185.0005 | 1192679.9905 | 2644195.8465 | 1192661.9903
58 | 2644630.028 | 1192937.1261 | 2644628.1423 | 1192922.7038
59 | 2644617.5521 | 1192841.7043 | 2644628.1423 | 1192922.7038
60 | 2644195.8465 | 1192661.9903 | 2644202.0214 | 1192651.7422
61 | 2644213.6304 | 1192632.4756 | 2644202.0214 | 1192651.7422
62 | 2644166.5557 | 1192563.0788 | 2644173.5181 | 1192563.7083 | 2644190.2386 | 1192571.3692 | 2644203.5968 | 1192576.0481 | 2644215.7352 | 1192579.7064 | 2644220.6158 | 1192582.4995
63 | 2644166.5557 | 1192563.0788 | 2644163.4165 | 1192548.4476 | 2644159.0089 | 1192536.2861 | 2644150.6061 | 1192511.8662 | 2644149.1296 | 1192504.3178 | 2644148.8479 | 1192500.1357 | 2644149.3609 | 1192495.6926 | 2644152.4905 | 1192492.0136 | 2644156.1916 | 1192489.3839 | 2644160.5856 | 1192488.916 | 2644164.8823 | 1192489.2479 | 2644168.6479 | 1192491.3101 | 2644171.2831 | 1192493.6753 | 2644172.7987 | 1192496.955 | 2644173.9973 | 1192500.8326 | 2644176.1887 | 1192508.5975 | 2644180.3739 | 1192522.9919
64 | 2644180.3739 | 1192522.9919 | 2644199.8619 | 1192519.2558 | 2644207.2272 | 1192518.999 | 2644225.0674 | 1192525.7566 | 2644231.6973 | 1192528.0513 | 2644234.9491 | 1192530.5211 | 2644236.4518 | 1192534.5011 | 2644239.1726 | 1192539.7241 | 2644242.2224 | 1192541.681 | 2644246.2042 | 1192542.3219 | 2644251.3224 | 1192541.8483 | 2644288.2486 | 1192525.0009 | 2644305.2039 | 1192513.3087 | 2644314.4468 | 1192507.5628 | 2644320.5878 | 1192505.8851 | 2644322.4673 | 1192505.899
65 | 2644640.7541 | 1192474.8347 | 2644646.4342 | 1192479.7797 | 2644650.7405 | 1192483.0312
66 | 2644640.7541 | 1192474.8347 | 2644639.711 | 1192457.1891

## bus_geodata
| x | y | coords
0 | 2644576.9154 | 1192068.3192
1 | 2644638.7956 | 1192441.7023
2 | 2644234.0212 | 1192657.7543
3 | 2644232.0945 | 1192661.1246
4 | 2644247.8245 | 1192633.609
5 | 2644220.3152 | 1192681.7294
6 | 2644219.4775 | 1192683.1949
7 | 2644334.4732 | 1192874.3423
8 | 2644331.8285 | 1192879.8113
9 | 2644341.4348 | 1192859.9462
10 | 2644320.9093 | 1192902.3916
11 | 2644339.8822 | 1192849.3399
12 | 2644293.9195 | 1192950.4446
13 | 2644293.6893 | 1192661.9708
14 | 2644337.7851 | 1192677.6301
15 | 2644278.8853 | 1192691.7078
16 | 2644337.7174 | 1192686.7674
17 | 2644276.0841 | 1192700.2607
18 | 2644337.613 | 1192700.8628
19 | 2644359.9085 | 1192673.2649
20 | 2644271.6582 | 1192713.7738
21 | 2644519.1863 | 1193098.219
22 | 2644488.2667 | 1193056.9108
23 | 2644470.1332 | 1192999.9409
24 | 2644490.8522 | 1193084.3785
25 | 2644441.9623 | 1192929.83
26 | 2644255.9797 | 1192911.954
27 | 2644323.6197 | 1193061.9705
28 | 2644263.7343 | 1192814.6654
29 | 2644274.2042 | 1192885.1679
30 | 2644385.4186 | 1193018.2367
31 | 2644328.5024 | 1192749.03
32 | 2644333.6474 | 1192724.0378
33 | 2644325.5057 | 1192778.4721
34 | 2644435.1088 | 1192942.5608
35 | 2644394.1899 | 1193011.9138
36 | 2644493.5079 | 1192794.4798
37 | 2644502.7723 | 1192774.4703
38 | 2644224.0408 | 1192746.0572
39 | 2644213.9493 | 1192729.6367
40 | 2644229.6726 | 1192755.3282
41 | 2644209.0022 | 1192721.6924
42 | 2644237.5217 | 1192768.2492
43 | 2644199.5257 | 1192702.8419
44 | 2644517.7421 | 1192745.5667
45 | 2644561.7713 | 1192691.5329
46 | 2644633.2423 | 1192690.9982
47 | 2644263.2985 | 1192755.5194
48 | 2644269.667 | 1192779.6287
49 | 2644259.0561 | 1192744.3285
50 | 2644269.959 | 1192792.0952
51 | 2644212.904 | 1192694.6935
52 | 2644194.4533 | 1192685.0075
53 | 2644185.0005 | 1192679.9905
54 | 2644630.028 | 1192937.1261
55 | 2644628.1423 | 1192922.7038
56 | 2644617.5521 | 1192841.7043
57 | 2644195.8465 | 1192661.9903
58 | 2644202.0214 | 1192651.7422
59 | 2644213.6304 | 1192632.4756
60 | 2644166.5557 | 1192563.0788
61 | 2644279.1446 | 1192877.9067
62 | 2644220.6158 | 1192582.4995
63 | 2644322.4673 | 1192505.899
64 | 2644180.3739 | 1192522.9919
65 | 2644650.7405 | 1192483.0312
66 | 2644640.7541 | 1192474.8347
67 | 2644639.711 | 1192457.1891
68 | 2644337.7174 | 1192686.7674

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9701 | -0.21235 | 0.0019506 | 0.00048886
1 | 0.97118 | -0.20446 | 0.0016167 | 0.00040519
2 | 0.98246 | -0.12313 | 0.0032977 | 0.00082648
3 | 0.98251 | -0.12279 | 0.0032171 | 0.00080628
4 | 0.98226 | -0.12458 | 0.005039 | 0.0012629
5 | 0.98291 | -0.11996 | 0.0033843 | 0.00084818
6 | 0.98294 | -0.1197 | 0.0055422 | 0.001389
7 | 0.98254 | -0.12265 | 0.00079071 | 0.00019817
8 | 0.98256 | -0.12249 | 0.00092188 | 0.00023105
9 | 0.9825 | -0.12294 | 0.00070837 | 0.00017754
10 | 0.98269 | -0.12159 | 0.0009271 | 0.00023235
11 | 0.98248 | -0.12306 | 0.0010472 | 0.00026244
12 | 0.98305 | -0.11905 | 0 | 0
13 | 0.99358 | -0.044627 | 0.0011285 | 0.00028282
14 | 0.99842 | -0.010949 | 0.0009224 | 0.00023118
15 | 0.99137 | -0.060087 | 0.0037653 | 0.00094367
16 | 0.99903 | -0.0066764 | 0 | 0
17 | 0.9908 | -0.064094 | 0.0041832 | 0.0010484
18 | 1 | 0 | -0.10242 | -0.025635
19 | 0.99897 | -0.0071347 | 0.0013603 | 0.00034092
20 | 0.98994 | -0.07013 | 0.0025143 | 0.00063015
21 | 0.97815 | -0.15413 | 0.00032954 | 8.2591e-05
22 | 0.97818 | -0.15395 | 0 | 0
23 | 0.97826 | -0.15334 | 0.00041373 | 0.00010369
24 | 0.97815 | -0.15413 | 0.00062987 | 0.00015786
25 | 0.97842 | -0.15221 | 0 | 0
26 | 0.98413 | -0.11135 | 0 | 0
27 | 0.98115 | -0.13263 | 0 | 0
28 | 0.98632 | -0.095732 | 0.00083174 | 0.00020845
29 | 0.98404 | -0.11199 | 0.0011367 | 0.00028488
30 | 0.97987 | -0.14181 | 0.00041938 | 0.00010511
31 | 0.99965 | -0.0024688 | 0.0015154 | 0.0003798
32 | 0.99981 | -0.0013053 | 0.00097796 | 0.0002451
33 | 0.99952 | -0.0033741 | 0.0030466 | 0.00076356
34 | 0.97859 | -0.15096 | 0.0021029 | 0.00052704
35 | 0.97969 | -0.14306 | 0.0035204 | 0.00088228
36 | 0.97681 | -0.16376 | 0.00056513 | 0.00014163
37 | 0.97658 | -0.16545 | 0.0022194 | 0.00055625
38 | 0.98146 | -0.13026 | 0.0021384 | 0.00053593
39 | 0.98164 | -0.12903 | 0.0027229 | 0.00068243
40 | 0.9814 | -0.13072 | 0.0022726 | 0.00056957
41 | 0.98176 | -0.12817 | 0.0026751 | 0.00067044
42 | 0.98136 | -0.131 | 0.0017708 | 0.00044381
43 | 0.98211 | -0.12563 | 0.004344 | 0.0010887
44 | 0.97629 | -0.16757 | 0.0031776 | 0.00079637
45 | 0.97582 | -0.17096 | 0 | 0
46 | 0.97454 | -0.18019 | 0 | 0
47 | 0.9877 | -0.085927 | 0.0012812 | 0.00032111
48 | 0.98711 | -0.090122 | 0.0015688 | 0.00039317
49 | 0.988 | -0.083845 | 0 | 0
50 | 0.98683 | -0.092118 | 0.001229 | 0.00030803
51 | 0.98334 | -0.11689 | 0 | 0
52 | 0.98254 | -0.12257 | 0 | 0
53 | 0.98238 | -0.12372 | 0 | 0
54 | 0.97413 | -0.18318 | 0.00078161 | 0.00019589
55 | 0.97415 | -0.18306 | 0.00017543 | 4.3967e-05
56 | 0.97426 | -0.18224 | 0.00015705 | 3.9362e-05
57 | 0.98216 | -0.12531 | 0.001216 | 0.00030476
58 | 0.98205 | -0.12606 | 0.0011176 | 0.00028009
59 | 0.98189 | -0.12721 | 0.0049462 | 0.0012396
60 | 0.98166 | -0.12889 | 0 | 0
61 | 0.98403 | -0.11206 | 0.00078528 | 0.00019681
62 | 0.98155 | -0.12967 | 0.0013131 | 0.00032909
63 | 0.9809 | -0.13437 | 0.0018275 | 0.00045801
64 | 0.98133 | -0.13131 | 0 | 0
65 | 0.97144 | -0.20261 | 0.00078368 | 0.00019641
66 | 0.97145 | -0.20251 | 0 | 0
67 | 0.97127 | -0.20387 | 0.0036561 | 0.00091632
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019506 | -0.00048886 | 0.0019527 | 0.00048499 | 2.1129e-06 | -3.8654e-06 | 0.0029919 | 0.0029902 | 0.0029919 | 0.9701 | -0.21235 | 0.97118 | -0.20446 | 1.1081
1 | -0.0035694 | -0.00089018 | 0.0035697 | 0.0008901 | 2.8937e-07 | -8.069e-08 | 0.0054673 | 0.0054673 | 0.0054673 | 0.97118 | -0.20446 | 0.97127 | -0.20387 | 2.0249
2 | -0.0083377 | -0.0020894 | 0.0083381 | 0.0020895 | 3.863e-07 | 9.9415e-08 | 0.012628 | 0.012628 | 0.012628 | 0.98246 | -0.12313 | 0.98251 | -0.12279 | 4.677
3 | 0.00504 | 0.0012629 | -0.005039 | -0.0012629 | 1.0113e-06 | 3.6826e-08 | 0.0076334 | 0.0076335 | 0.0076335 | 0.98246 | -0.12313 | 0.98226 | -0.12458 | 2.8272
4 | -0.011555 | -0.0028958 | 0.01156 | 0.0028972 | 4.5357e-06 | 1.4438e-06 | 0.0175 | 0.0175 | 0.0175 | 0.98251 | -0.12279 | 0.98291 | -0.11996 | 6.4816
5 | -0.014944 | -0.0037454 | 0.014945 | 0.0037456 | 5.3911e-07 | 1.8596e-07 | 0.022624 | 0.022624 | 0.022624 | 0.98291 | -0.11996 | 0.98294 | -0.1197 | 8.3791
6 | -0.020487 | -0.0051346 | 0.020495 | 0.0051375 | 7.9495e-06 | 2.8895e-06 | 0.031014 | 0.031014 | 0.031014 | 0.98294 | -0.1197 | 0.98334 | -0.11689 | 11.4866
7 | -0.0025463 | -0.00063784 | 0.0025464 | 0.00063779 | 5.6369e-08 | -5.5262e-08 | 0.0038562 | 0.0038562 | 0.0038562 | 0.98254 | -0.12265 | 0.98256 | -0.12249 | 1.4282
8 | 0.0017556 | 0.00043967 | -0.0017555 | -0.00043985 | 7.0535e-08 | -1.7539e-07 | 0.0026587 | 0.0026588 | 0.0026588 | 0.98254 | -0.12265 | 0.9825 | -0.12294 | 0.98473
9 | -0.0034683 | -0.00086883 | 0.0034687 | 0.00086868 | 4.3175e-07 | -1.5167e-07 | 0.0052523 | 0.0052522 | 0.0052523 | 0.98256 | -0.12249 | 0.98269 | -0.12159 | 1.9453
10 | 0.0010472 | 0.00026231 | -0.0010472 | -0.00026244 | 1.6824e-08 | -1.2928e-07 | 0.0015859 | 0.001586 | 0.001586 | 0.9825 | -0.12294 | 0.98248 | -0.12306 | 0.58739
11 | -0.0043958 | -0.001101 | 0.0043973 | 0.0011009 | 1.5451e-06 | -1.1411e-07 | 0.006656 | 0.0066558 | 0.006656 | 0.98269 | -0.12159 | 0.98305 | -0.11905 | 2.4652
12 | -0.027071 | -0.0067766 | 0.0271 | 0.0067863 | 2.8819e-05 | 9.6875e-06 | 0.040974 | 0.040973 | 0.040974 | 0.98305 | -0.11905 | 0.98413 | -0.11135 | 7.5877
13 | 0.022673 | 0.0056757 | -0.022631 | -0.0056623 | 4.2473e-05 | 1.3411e-05 | 0.034318 | 0.034319 | 0.034319 | 0.98305 | -0.11905 | 0.98115 | -0.13263 | 6.3553
14 | -0.093208 | -0.023452 | 0.093648 | 0.02362 | 0.0004401 | 0.00016738 | 0.13962 | 0.13962 | 0.13962 | 0.99358 | -0.044627 | 0.99842 | -0.010949 | 25.8564
15 | 0.09208 | 0.023169 | -0.091882 | -0.023094 | 0.00019822 | 7.5377e-05 | 0.13793 | 0.13793 | 0.13793 | 0.99358 | -0.044627 | 0.99137 | -0.060087 | 25.5435
16 | -0.094571 | -0.023851 | 0.094628 | 0.023872 | 5.6677e-05 | 2.156e-05 | 0.141 | 0.141 | 0.141 | 0.99842 | -0.010949 | 0.99903 | -0.0066764 | 26.1109
17 | 0.088116 | 0.02215 | -0.088067 | -0.022132 | 4.9136e-05 | 1.8667e-05 | 0.13228 | 0.13228 | 0.13228 | 0.99137 | -0.060087 | 0.9908 | -0.064094 | 24.4969
18 | -0.095988 | -0.024213 | 0.096078 | 0.024247 | 8.9963e-05 | 3.4232e-05 | 0.14302 | 0.14302 | 0.14302 | 0.99903 | -0.0066764 | 1 | 0 | 26.486
19 | 0.0013604 | 0.00034051 | -0.0013603 | -0.00034092 | 8.6196e-08 | -4.0741e-07 | 0.0020261 | 0.0020262 | 0.0020262 | 0.99903 | -0.0066764 | 0.99897 | -0.0071347 | 0.75045
20 | 0.083884 | 0.021083 | -0.083814 | -0.021057 | 7.0434e-05 | 2.6724e-05 | 0.126 | 0.126 | 0.126 | 0.9908 | -0.064094 | 0.98994 | -0.07013 | 23.3335
21 | 0.0055421 | 0.0013882 | -0.0055411 | -0.0013882 | 1.0005e-06 | 7.5549e-08 | 0.0082465 | 0.0082466 | 0.0082466 | 1 | 0 | 0.99981 | -0.0013053 | 3.0543
22 | 0.081299 | 0.020426 | -0.081144 | -0.020368 | 0.00015484 | 5.8702e-05 | 0.12222 | 0.12222 | 0.12222 | 0.98994 | -0.07013 | 0.988 | -0.083845 | 22.6337
23 | -0.00032954 | -8.2591e-05 | 0.00032955 | 8.1946e-05 | 8.0994e-09 | -6.4549e-07 | 0.00050132 | 0.00050108 | 0.00050132 | 0.97815 | -0.15413 | 0.97818 | -0.15395 | 0.18567
24 | -0.00095943 | -0.00023946 | 0.00095951 | 0.00023874 | 7.9684e-08 | -7.2245e-07 | 0.0014591 | 0.0014589 | 0.0014591 | 0.97818 | -0.15395 | 0.97826 | -0.15334 | 0.54042
25 | 0.00062988 | 0.00015752 | -0.00062987 | -0.00015786 | 1.5814e-08 | -3.4045e-07 | 0.00095806 | 0.00095819 | 0.00095819 | 0.97818 | -0.15395 | 0.97815 | -0.15413 | 0.35488
26 | -0.0013732 | -0.00034243 | 0.0013735 | 0.00034153 | 2.1223e-07 | -8.9799e-07 | 0.0020882 | 0.0020878 | 0.0020882 | 0.97826 | -0.15334 | 0.97842 | -0.15221 | 0.7734
27 | 0.015159 | 0.0037896 | -0.015135 | -0.003784 | 2.4103e-05 | 5.6248e-06 | 0.023051 | 0.023053 | 0.023053 | 0.97842 | -0.15221 | 0.97681 | -0.16376 | 4.269
28 | -0.016533 | -0.0041311 | 0.016536 | 0.0041319 | 2.8508e-06 | 7.3323e-07 | 0.025139 | 0.025139 | 0.025139 | 0.97842 | -0.15221 | 0.97859 | -0.15096 | 4.6554
29 | -0.029022 | -0.0072676 | 0.029084 | 0.007289 | 6.2756e-05 | 2.1476e-05 | 0.043879 | 0.043878 | 0.043879 | 0.98413 | -0.11135 | 0.98632 | -0.095732 | 8.1258
30 | 0.0019221 | 0.00048123 | -0.001922 | -0.00048158 | 1.7074e-07 | -3.4594e-07 | 0.0029061 | 0.0029063 | 0.0029063 | 0.98413 | -0.11135 | 0.98404 | -0.11199 | 1.0764
31 | 0.022631 | 0.0056623 | -0.022602 | -0.0056533 | 2.8636e-05 | 9.0482e-06 | 0.034319 | 0.03432 | 0.03432 | 0.98115 | -0.13263 | 0.97987 | -0.14181 | 6.3555
32 | -0.029916 | -0.0074975 | 0.029931 | 0.0075027 | 1.4972e-05 | 5.1567e-06 | 0.045133 | 0.045133 | 0.045133 | 0.98632 | -0.095732 | 0.98683 | -0.092118 | 8.358
33 | 0.00078529 | 0.0001967 | -0.00078528 | -0.00019681 | 7.7275e-09 | -1.086e-07 | 0.0011874 | 0.0011875 | 0.0011875 | 0.98404 | -0.11199 | 0.98403 | -0.11206 | 0.43981
34 | 0.022183 | 0.0055482 | -0.022179 | -0.005547 | 3.8274e-06 | 1.1997e-06 | 0.033683 | 0.033683 | 0.033683 | 0.97987 | -0.14181 | 0.97969 | -0.14306 | 6.2375
35 | -0.0045624 | -0.0011431 | 0.0045631 | 0.0011431 | 7.3433e-07 | -5.2142e-08 | 0.0067912 | 0.0067911 | 0.0067912 | 0.99965 | -0.0024688 | 0.99981 | -0.0013053 | 2.5153
36 | 0.003047 | 0.00076331 | -0.0030466 | -0.00076356 | 3.817e-07 | -2.4298e-07 | 0.0045355 | 0.0045356 | 0.0045356 | 0.99965 | -0.0024688 | 0.99952 | -0.0033741 | 1.6799
37 | -0.018638 | -0.0046589 | 0.018659 | 0.0046647 | 2.0278e-05 | 5.763e-06 | 0.028337 | 0.028336 | 0.028337 | 0.97859 | -0.15096 | 0.97969 | -0.14306 | 5.2475
38 | 0.01457 | 0.0036423 | -0.014567 | -0.0036416 | 3.388e-06 | 7.5118e-07 | 0.022192 | 0.022192 | 0.022192 | 0.97681 | -0.16376 | 0.97658 | -0.16545 | 4.1096
39 | 0.012347 | 0.0030854 | -0.012344 | -0.0030848 | 3.5966e-06 | 5.6827e-07 | 0.01881 | 0.01881 | 0.01881 | 0.97658 | -0.16545 | 0.97629 | -0.16757 | 3.4834
40 | -0.0061822 | -0.0015491 | 0.0061832 | 0.0015493 | 1.0565e-06 | 1.6275e-07 | 0.0093728 | 0.0093727 | 0.0093728 | 0.98146 | -0.13026 | 0.98164 | -0.12903 | 3.4714
41 | 0.0040438 | 0.0010132 | -0.0040435 | -0.0010132 | 2.5441e-07 | -3.9223e-08 | 0.0061307 | 0.0061308 | 0.0061308 | 0.98146 | -0.13026 | 0.9814 | -0.13072 | 2.2707
42 | -0.0089062 | -0.0022317 | 0.0089072 | 0.002232 | 1.0644e-06 | 2.9104e-07 | 0.0135 | 0.0135 | 0.0135 | 0.98164 | -0.12903 | 0.98176 | -0.12817 | 5.0001
43 | 0.0017709 | 0.00044364 | -0.0017708 | -0.00044381 | 6.8012e-08 | -1.6487e-07 | 0.002685 | 0.0026851 | 0.0026851 | 0.9814 | -0.13072 | 0.98136 | -0.131 | 0.99447
44 | -0.011582 | -0.0029024 | 0.011586 | 0.0029037 | 4.0731e-06 | 1.2986e-06 | 0.017555 | 0.017555 | 0.017555 | 0.98176 | -0.12817 | 0.98211 | -0.12563 | 6.5018
45 | -0.01593 | -0.0039924 | 0.015937 | 0.0039948 | 6.7486e-06 | 2.3606e-06 | 0.024136 | 0.024136 | 0.024136 | 0.98211 | -0.12563 | 0.98254 | -0.12257 | 8.9394
46 | 0.009166 | 0.0022884 | -0.0091617 | -0.0022885 | 4.2809e-06 | -1.1152e-07 | 0.013967 | 0.013968 | 0.013968 | 0.97629 | -0.16757 | 0.97582 | -0.17096 | 2.5866
47 | 0.0091617 | 0.0022885 | -0.0091501 | -0.0022852 | 1.1621e-05 | 3.2787e-06 | 0.013968 | 0.013968 | 0.013968 | 0.97582 | -0.17096 | 0.97454 | -0.18019 | 5.1734
48 | 0.0011145 | 0.00027605 | -0.0011142 | -0.00027807 | 3.1013e-07 | -2.0204e-06 | 0.0017006 | 0.0017013 | 0.0017013 | 0.97454 | -0.18019 | 0.97426 | -0.18224 | 0.63013
49 | 0.0080356 | 0.0020092 | -0.0080109 | -0.002003 | 2.4668e-05 | 6.2255e-06 | 0.012268 | 0.012269 | 0.012269 | 0.97454 | -0.18019 | 0.97145 | -0.20251 | 4.544
50 | 0.032757 | 0.0082135 | -0.032738 | -0.0082068 | 1.9034e-05 | 6.6801e-06 | 0.04935 | 0.049351 | 0.049351 | 0.9877 | -0.085927 | 0.98711 | -0.090122 | 9.139
51 | -0.034038 | -0.0085346 | 0.034048 | 0.0085381 | 9.8194e-06 | 3.4703e-06 | 0.051281 | 0.051281 | 0.051281 | 0.9877 | -0.085927 | 0.988 | -0.083845 | 9.4964
52 | 0.031169 | 0.0078137 | -0.03116 | -0.0078107 | 8.6141e-06 | 2.9935e-06 | 0.046986 | 0.046986 | 0.046986 | 0.98711 | -0.090122 | 0.98683 | -0.092118 | 8.7011
53 | 0.047097 | 0.01183 | -0.046881 | -0.011748 | 0.00021543 | 8.1983e-05 | 0.070941 | 0.070942 | 0.070942 | 0.988 | -0.083845 | 0.98334 | -0.11689 | 26.2747
54 | 0.026387 | 0.0066101 | -0.026366 | -0.0066025 | 2.0684e-05 | 7.6919e-06 | 0.039928 | 0.039928 | 0.039928 | 0.98334 | -0.11689 | 0.98254 | -0.12257 | 14.7882
55 | 0.010429 | 0.0026077 | -0.010427 | -0.0026072 | 1.6617e-06 | 5.0388e-07 | 0.015792 | 0.015792 | 0.015792 | 0.98254 | -0.12257 | 0.98238 | -0.12372 | 5.8488
56 | 0.0031443 | 0.0007822 | -0.0031421 | -0.00078333 | 2.2194e-06 | -1.1316e-06 | 0.0047606 | 0.0047613 | 0.0047613 | 0.98238 | -0.12372 | 0.98166 | -0.12889 | 1.7635
57 | 0.0072828 | 0.001825 | -0.0072812 | -0.0018246 | 1.5958e-06 | 3.4775e-07 | 0.011031 | 0.011031 | 0.011031 | 0.98238 | -0.12372 | 0.98216 | -0.12531 | 4.0857
58 | -0.00078161 | -0.00019589 | 0.00078162 | 0.00019571 | 1.2937e-08 | -1.761e-07 | 0.0011939 | 0.0011939 | 0.0011939 | 0.97413 | -0.18318 | 0.97415 | -0.18306 | 0.4422
59 | -0.00095705 | -0.00023968 | 0.00095716 | 0.0002387 | 1.089e-07 | -9.7523e-07 | 0.0014618 | 0.0014615 | 0.0014618 | 0.97415 | -0.18306 | 0.97426 | -0.18224 | 0.54142
60 | 0.0060652 | 0.0015198 | -0.0060646 | -0.0015198 | 6.3041e-07 | 9.1065e-08 | 0.009189 | 0.0091891 | 0.0091891 | 0.98216 | -0.12531 | 0.98205 | -0.12606 | 3.4034
61 | 0.004947 | 0.0012397 | -0.0049462 | -0.0012396 | 7.8864e-07 | 1.8763e-08 | 0.0074957 | 0.0074958 | 0.0074958 | 0.98205 | -0.12606 | 0.98189 | -0.12721 | 2.7762
62 | 0.0013132 | 0.00032842 | -0.0013131 | -0.00032909 | 1.4263e-07 | -6.7443e-07 | 0.0019903 | 0.0019906 | 0.0019906 | 0.98166 | -0.12889 | 0.98155 | -0.12967 | 0.73726
63 | 0.0018289 | 0.00045491 | -0.0018283 | -0.00045628 | 6.0713e-07 | -1.3676e-06 | 0.002771 | 0.0027716 | 0.0027716 | 0.98166 | -0.12889 | 0.98133 | -0.13131 | 1.0265
64 | -0.0018275 | -0.00045801 | 0.0018283 | 0.00045628 | 7.7021e-07 | -1.7324e-06 | 0.0027723 | 0.0027716 | 0.0027723 | 0.9809 | -0.13437 | 0.98133 | -0.13131 | 1.0268
65 | -0.00078368 | -0.00019641 | 0.00078369 | 0.00019625 | 1.1623e-08 | -1.5558e-07 | 0.0012004 | 0.0012004 | 0.0012004 | 0.97144 | -0.20261 | 0.97145 | -0.20251 | 0.4446
66 | 0.0072272 | 0.0018067 | -0.0072258 | -0.0018064 | 1.3513e-06 | 3.0094e-07 | 0.011069 | 0.011069 | 0.011069 | 0.97145 | -0.20251 | 0.97127 | -0.20387 | 4.0995

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10363 | 0.025939

## res_load
| p_mw | q_mvar
0 | 0.0019506 | 0.00048886
1 | 0.0016167 | 0.00040519
2 | 0.0032977 | 0.00082648
3 | 0.0032171 | 0.00080628
4 | 0.005039 | 0.0012629
5 | 0.0033843 | 0.00084818
6 | 0.0055422 | 0.001389
7 | 0.00079071 | 0.00019817
8 | 0.00092188 | 0.00023105
9 | 0.00070837 | 0.00017754
10 | 0.0009271 | 0.00023235
11 | 0.0010472 | 0.00026244
12 | 0.0011285 | 0.00028282
13 | 0.0009224 | 0.00023118
14 | 0.0037653 | 0.00094367
15 | 0.0041832 | 0.0010484
16 | 0.001213 | 0.000304
17 | 0.0013603 | 0.00034092
18 | 0.0025143 | 0.00063015
19 | 0.00032954 | 8.2591e-05
20 | 0.00041373 | 0.00010369
21 | 0.00062987 | 0.00015786
22 | 0.00083174 | 0.00020845
23 | 0.0011367 | 0.00028488
24 | 0.00041938 | 0.00010511
25 | 0.0015154 | 0.0003798
26 | 0.00097796 | 0.0002451
27 | 0.0030466 | 0.00076356
28 | 0.0021029 | 0.00052704
29 | 0.0035204 | 0.00088228
30 | 0.00056513 | 0.00014163
31 | 0.0022194 | 0.00055625
32 | 0.0021384 | 0.00053593
33 | 0.0027229 | 0.00068243
34 | 0.0022726 | 0.00056957
35 | 0.0026751 | 0.00067044
36 | 0.0017708 | 0.00044381
37 | 0.004344 | 0.0010887
38 | 0.0031776 | 0.00079637
39 | 0.0012812 | 0.00032111
40 | 0.0015688 | 0.00039317
41 | 0.001229 | 0.00030803
42 | 0.00078161 | 0.00019589
43 | 0.00017543 | 4.3967e-05
44 | 0.00015705 | 3.9362e-05
45 | 0.001216 | 0.00030476
46 | 0.0011176 | 0.00028009
47 | 0.0049462 | 0.0012396
48 | 0.00078528 | 0.00019681
49 | 0.0013131 | 0.00032909
50 | 0.0018275 | 0.00045801
51 | 0.00078368 | 0.00019641
52 | 0.0036561 | 0.00091632

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1