## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1004-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1004-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1004-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1004-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1004-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1004-3_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1004-3_0_3_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_1004-3_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1004-3_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1004-3_0_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_1004-3_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1004-3_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1004-3_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1004-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1004-3_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1004-3_0_3_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_1004-3_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1004-3_0_3_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_1004-3_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1004-3_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1004-3_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1004-3_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1004-3_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1004-3_0_3_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_1004-3_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1004-3_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1004-3_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1004-3_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1004-3_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1004-3_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1004-3_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1004-3_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1004-3_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1004-3_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1004-3_0_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_1004-3_0_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1004-3_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1004-3_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1004-3_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1004-3_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1004-3_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1004-3_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1004-3_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1004-3_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1004-3_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1004-3_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1004-3_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1004-3_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1004-3_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1004-3_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1004-3_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1004-3_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1004-3_0_3_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_1004-3_0_3_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_1004-3_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1004-3_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1004-3_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_1004-3_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1004-3_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1004-3_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1004-3_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1004-3_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1004-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_1004-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_1004-3_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1004-3_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1004-3_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1004-3_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_MV_82_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1004-3_0_3_load_0 | 0 | 0.0043901 | 0.0011003 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1004-3_0_3_load_1 | 1 | 0.012892 | 0.003231 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1004-3_0_3_load_2 | 2 | 0.0015875 | 0.00039787 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1004-3_0_3_load_3 | 3 | 0.055485 | 0.013906 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1004-3_0_3_load_4 | 4 | 0.0055219 | 0.0013839 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1004-3_0_3_load_57 | 6 | 0.0064046 | 0.0016051 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1004-3_0_3_load_11 | 7 | 0.0088206 | 0.0022106 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1004-3_0_3_load_58 | 9 | 0.011308 | 0.0028341 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1004-3_0_3_load_5 | 10 | 0.0042795 | 0.0010725 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1004-3_0_3_load_6 | 11 | 0.0018185 | 0.00045576 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1004-3_0_3_load_68 | 15 | 0.0036364 | 0.00091136 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1004-3_0_3_load_23 | 16 | 0.052929 | 0.013265 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1004-3_0_3_load_70 | 17 | 0.0025538 | 0.00064005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1004-3_0_3_load_13 | 19 | 0.0010259 | 0.00025711 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1004-3_0_3_load_15 | 21 | 0.0018727 | 0.00046935 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1004-3_0_3_load_69 | 23 | 0.0021319 | 0.0005343 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1004-3_0_3_load_22 | 25 | 0.00093969 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1004-3_0_3_load_20 | 26 | 0.004306 | 0.0010792 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1004-3_0_3_load_18 | 27 | 0.0027504 | 0.00068931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1004-3_0_3_load_21 | 28 | 0.00097604 | 0.00024462 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1004-3_0_3_load_27 | 29 | 0.00075031 | 0.00018805 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1004-3_0_3_load_30 | 31 | 0.0011497 | 0.00028813 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1004-3_0_3_load_25 | 32 | 0.00030601 | 7.6693e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1004-3_0_3_load_26 | 33 | 0.0018958 | 0.00047512 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1004-3_0_3_load_65 | 34 | 0.0020336 | 0.00050967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1004-3_0_3_load_31 | 36 | 0.0018784 | 0.00047077 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1004-3_0_3_load_32 | 37 | 0.0015785 | 0.00039562 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1004-3_0_3_load_33 | 38 | 0.0010349 | 0.00025936 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1004-3_0_3_load_34 | 39 | 0.0016623 | 0.0004166 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1004-3_0_3_load_35 | 40 | 0.00070591 | 0.00017692 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1004-3_0_3_load_36 | 41 | 0.0021172 | 0.00053063 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1004-3_0_3_load_45 | 42 | 0.0013701 | 0.00034338 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1004-3_0_3_load_37 | 43 | 0.0029517 | 0.00073976 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1004-3_0_3_load_44 | 44 | 0.001658 | 0.00041554 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1004-3_0_3_load_38 | 45 | 0.0010679 | 0.00026764 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1004-3_0_3_load_39 | 46 | 0.0011149 | 0.00027941 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1004-3_0_3_load_41 | 48 | 0.002354 | 0.00058997 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1004-3_0_3_load_42 | 49 | 0.0019337 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1004-3_0_3_load_43 | 50 | 0.0016442 | 0.00041207 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1004-3_0_3_load_61 | 53 | 0.0018026 | 0.00045177 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1004-3_0_3_load_48 | 54 | 0.0015494 | 0.00038831 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1004-3_0_3_load_66 | 55 | 0.0010816 | 0.00027106 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1004-3_0_3_load_47 | 57 | 0.0018309 | 0.00045888 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1004-3_0_3_load_53 | 58 | 0.00226 | 0.0005664 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1004-3_0_3_load_49 | 60 | 0.0026206 | 0.0006568 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1004-3_0_3_load_50 | 61 | 0.0010048 | 0.00025184 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1004-3_0_3_load_51 | 62 | 0.0037279 | 0.00093431 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1004-3_0_3_load_52 | 63 | 0.002135 | 0.00053508 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1004-3_0_3_load_63 | 65 | 0.0018391 | 0.00046091 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1004-3_0_3_load_62 | 66 | 0.00062399 | 0.00015639 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1004-3_0_3_load_55 | 67 | 0.00092541 | 0.00023193 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1004-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1004-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0035838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1004-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1004-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0083329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1004-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1004-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0096172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1004-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1004-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.051485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1004-3_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0088975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1004-3_0_3_line_9 | NAYY 4x150 SE | 8 | 14 | 0.027295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1004-3_0_3_line_10 | NAYY 4x150 SE | 8 | 16 | 0.032909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1004-3_0_3_line_11 | NAYY 4x150 SE | 9 | 66 | 0.02281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1004-3_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.030549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1004-3_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.026529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1004-3_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.009688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1004-3_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1004-3_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.04932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1004-3_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.004149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1004-3_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.025196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1004-3_0_3_line_19 | NAYY 4x150 SE | 18 | 23 | 0.0076916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1004-3_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.060329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1004-3_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.088045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1004-3_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0028307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1004-3_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.073468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1004-3_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.13843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1004-3_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.086152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1004-3_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.040237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1004-3_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.02736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1004-3_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0095932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1004-3_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.019727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1004-3_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.18088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1004-3_0_3_line_31 | NAYY 4x150 SE | 31 | 33 | 0.52198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1004-3_0_3_line_32 | NAYY 4x150 SE | 31 | 34 | 0.22734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1004-3_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.52736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1004-3_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.051751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1004-3_0_3_line_35 | NAYY 4x150 SE | 35 | 67 | 0.15067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1004-3_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.019278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1004-3_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.0064784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1004-3_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0032627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1004-3_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0099625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1004-3_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.023826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1004-3_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.016899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1004-3_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.010058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1004-3_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0030151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1004-3_0_3_line_44 | NAYY 4x150 SE | 44 | 56 | 0.014896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1004-3_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.019094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1004-3_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.017285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1004-3_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.017254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1004-3_0_3_line_48 | NAYY 4x150 SE | 47 | 49 | 0.021821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1004-3_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.013966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1004-3_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.0041402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1004-3_0_3_line_51 | NAYY 4x150 SE | 50 | 52 | 0.018443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1004-3_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.024154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1004-3_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.015225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1004-3_0_3_line_54 | NAYY 4x150 SE | 52 | 55 | 0.053883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1004-3_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.015708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1004-3_0_3_line_56 | NAYY 4x150 SE | 55 | 65 | 0.026063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1004-3_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.013142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1004-3_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.031884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1004-3_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.017212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1004-3_0_3_line_60 | NAYY 4x150 SE | 59 | 67 | 0.0051458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1004-3_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0046805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1004-3_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.0033505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1004-3_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.022495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1004-3_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.038431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1004-3_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.011444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1004-3_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.011814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1004-3_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 68 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2645369.3444 | 1185984.7446 | 2645367.6994 | 1185976.2497 | 2645364.0625 | 1185976.8723
1 | 2645369.3444 | 1185984.7446 | 2645369.3444 | 1185984.7446 | 2645372.9251 | 1185984.5943
2 | 2645364.0625 | 1185976.8723 | 2645354.328 | 1185978.5387 | 2645348.0417 | 1185979.8132
3 | 2645381.2507 | 1185984.2448 | 2645372.9251 | 1185984.5943
4 | 2645329.1149 | 1185983.6508 | 2645348.0417 | 1185979.8132
5 | 2645381.2507 | 1185984.2448 | 2645385.2752 | 1185984.0759 | 2645390.5763 | 1185982.305
6 | 2645329.1149 | 1185983.6508 | 2645310.0526 | 1185988.7317
7 | 2645329.1149 | 1185983.6508 | 2645315.9353 | 1185973.7013 | 2645295.8378 | 1185954.2054 | 2645294.8532 | 1185953.2197 | 2645290.9073 | 1185949.2766
8 | 2645398.8612 | 1185979.117 | 2645396.4369 | 1185980.3472 | 2645390.5763 | 1185982.305
9 | 2645277.3398 | 1185962.359 | 2645283.0214 | 1185958.7778 | 2645295.8378 | 1185954.2054 | 2645294.8532 | 1185953.2197 | 2645290.9073 | 1185949.2766
10 | 2645290.9073 | 1185949.2766 | 2645314.1226 | 1185939.9358 | 2645321.0394 | 1185936.1507
11 | 2645398.8612 | 1185979.117 | 2645408.6323 | 1185974.1584 | 2645416.9302 | 1185965.6945
12 | 2645238.0109 | 1185966.3902 | 2645208.9683 | 1185975.8661
13 | 2645263.2314 | 1185958.1613 | 2645238.0109 | 1185966.3902
14 | 2645263.2314 | 1185958.1613 | 2645265.6223 | 1185962.8931 | 2645267.6073 | 1185966.8102
15 | 2645267.6073 | 1185966.8102 | 2645272.9548 | 1185965.0163 | 2645277.3398 | 1185962.359
16 | 2645267.6073 | 1185966.8102 | 2645273.534 | 1185979.2617 | 2645274.7719 | 1185984.0848 | 2645274.6287 | 1185988.8975 | 2645273.2161 | 1185994.0674 | 2645270.6355 | 1185998.2836 | 2645264.7571 | 1186003.6866 | 2645258.7031 | 1186008.0269
17 | 2645277.3398 | 1185962.359 | 2645279.6795 | 1185965.7897
18 | 2645238.2259 | 1186022.7078 | 2645258.7031 | 1186008.0269
19 | 2645238.2259 | 1186022.7078 | 2645230.5969 | 1186023.6875
20 | 2645195.1993 | 1186063.6834 | 2645202.1889 | 1186050.5623 | 2645238.2259 | 1186022.7078
21 | 2645195.1993 | 1186063.6834 | 2645208.0901 | 1186064.381 | 2645253.862 | 1186062.0472 | 2645258.8392 | 1186059.7724 | 2645277.5304 | 1186044.9885
22 | 2645279.7505 | 1186043.2324 | 2645277.5304 | 1186044.9885
23 | 2645195.1993 | 1186063.6834 | 2645191.0055 | 1186079.4493 | 2645189.8529 | 1186099.7294 | 2645183.8413 | 1186129.9005 | 2645181.9893 | 1186135.6786
24 | 2645181.9893 | 1186135.6786 | 2645176.2067 | 1186153.7004 | 2645172.5319 | 1186166.4352 | 2645178.9264 | 1186170.4745 | 2645186.7655 | 1186170.1556 | 2645193.7428 | 1186167.7625 | 2645201.3104 | 1186162.9613 | 2645228.7773 | 1186141.2011 | 2645247.2997 | 1186129.7235 | 2645264.0683 | 1186124.1581
25 | 2645181.9893 | 1186135.6786 | 2645192.8559 | 1186128.5344 | 2645216.8329 | 1186111.1724 | 2645231.4342 | 1186101.5884 | 2645254.7504 | 1186089.9077
26 | 2645302.3487 | 1186111.4292 | 2645264.0683 | 1186124.1581
27 | 2645264.0683 | 1186124.1581 | 2645277.451 | 1186148.0222
28 | 2645263.3275 | 1186085.6109 | 2645254.7504 | 1186089.9077
29 | 2645385.6443 | 1186419.9053 | 2645385.9517 | 1186423.6541 | 2645385.2292 | 1186438.4456 | 2645384.9567 | 1186439.5693
30 | 2645385.6443 | 1186419.9053 | 2645564.9877 | 1186396.3476
31 | 2645564.9877 | 1186396.3476 | 2646051.0998 | 1186586.4948
32 | 2645656.4029 | 1186188.2014 | 2645564.9877 | 1186396.3476
33 | 2646051.0998 | 1186586.4948 | 2646210.5739 | 1187089.1625
34 | 2645689.9055 | 1186149.6467 | 2645684.6255 | 1186160.6013 | 2645678.7359 | 1186167.438 | 2645662.4032 | 1186180.8431 | 2645656.4029 | 1186188.2014
35 | 2645612.7842 | 1186020.2145 | 2645689.9055 | 1186149.6467
36 | 2645519.549 | 1186025.2274 | 2645510.6351 | 1186031.3964 | 2645502.4652 | 1186033.5049
37 | 2645519.549 | 1186025.2274 | 2645519.549 | 1186025.2274 | 2645523.9815 | 1186020.5028
38 | 2645499.3059 | 1186034.3202 | 2645502.4652 | 1186033.5049
39 | 2645523.9815 | 1186020.5028 | 2645530.7979 | 1186013.2372
40 | 2645499.3059 | 1186034.3202 | 2645497.4536 | 1186034.7982 | 2645476.0172 | 1186039.3445
41 | 2645530.7979 | 1186013.2372 | 2645542.3599 | 1186000.9133
42 | 2645466.1779 | 1186041.4312 | 2645476.0172 | 1186039.3445
43 | 2645544.4229 | 1185998.7144 | 2645542.3599 | 1186000.9133
44 | 2645554.6146 | 1185987.8511 | 2645544.4229 | 1185998.7144
45 | 2645507.495 | 1185948.9536 | 2645490.6883 | 1185958.0162
46 | 2645522.709 | 1185940.7498 | 2645507.495 | 1185948.9536
47 | 2645475.5014 | 1185966.2054 | 2645490.6883 | 1185958.0162
48 | 2645522.709 | 1185940.7498 | 2645534.7187 | 1185958.9689
49 | 2645522.709 | 1185940.7498 | 2645515.0237 | 1185929.0883
50 | 2645536.9973 | 1185962.4257 | 2645534.7187 | 1185958.9689
51 | 2645504.8749 | 1185913.6885 | 2645515.0237 | 1185929.0883
52 | 2645536.9973 | 1185962.4257 | 2645556.5328 | 1185948.2204
53 | 2645536.9973 | 1185962.4257 | 2645545.713 | 1185974.9094
54 | 2645504.8749 | 1185913.6885 | 2645481.981 | 1185928.8786 | 2645467.727 | 1185936.8304 | 2645458.7669 | 1185941.4614
55 | 2645554.6146 | 1185987.8511 | 2645548.8111 | 1185979.3468 | 2645545.713 | 1185974.9094
56 | 2645435.9611 | 1185954.0383 | 2645443.2425 | 1185949.485 | 2645458.7669 | 1185941.4614
57 | 2645554.6146 | 1185987.8511 | 2645564.9988 | 1185995.9058
58 | 2645591.5041 | 1186013.5397 | 2645586.7542 | 1186011.1526 | 2645566.4111 | 1185997.0013 | 2645564.9988 | 1185995.9058
59 | 2645607.8413 | 1186018.7838 | 2645594.6829 | 1186015.1373 | 2645591.5041 | 1186013.5397
60 | 2645607.8413 | 1186018.7838 | 2645612.7842 | 1186020.2145
61 | 2645421.4666 | 1186003.2237 | 2645425.2268 | 1186000.4367
62 | 2645418.7749 | 1186005.2189 | 2645421.4666 | 1186003.2237
63 | 2645425.2268 | 1186000.4367 | 2645427.4158 | 1185998.8142 | 2645434.7024 | 1185992.8995 | 2645443.3556 | 1185987.1574
64 | 2645427.7376 | 1185961.4073 | 2645433.5515 | 1185962.5298 | 2645440.2489 | 1185966.8829 | 2645445.1274 | 1185971.6114 | 2645447.5457 | 1185976.7325 | 2645447.2917 | 1185983.0562 | 2645444.6574 | 1185986.2936 | 2645443.3556 | 1185987.1574
65 | 2645427.7376 | 1185961.4073 | 2645429.173 | 1185958.2832 | 2645435.9611 | 1185954.0383
66 | 2645427.7376 | 1185961.4073 | 2645423.5897 | 1185961.9762 | 2645416.9302 | 1185965.6945

## bus_geodata
| x | y | coords
0 | 2645369.3444 | 1185984.7446
1 | 2645364.0625 | 1185976.8723
2 | 2645372.9251 | 1185984.5943
3 | 2645348.0417 | 1185979.8132
4 | 2645381.2507 | 1185984.2448
5 | 2645329.1149 | 1185983.6508
6 | 2645390.5763 | 1185982.305
7 | 2645310.0526 | 1185988.7317
8 | 2645290.9073 | 1185949.2766
9 | 2645398.8612 | 1185979.117
10 | 2645238.0109 | 1185966.3902
11 | 2645208.9683 | 1185975.8661
12 | 2645263.2314 | 1185958.1613
13 | 2645267.6073 | 1185966.8102
14 | 2645277.3398 | 1185962.359
15 | 2645258.7031 | 1186008.0269
16 | 2645321.0394 | 1185936.1507
17 | 2645279.6795 | 1185965.7897
18 | 2645238.2259 | 1186022.7078
19 | 2645277.5304 | 1186044.9885
20 | 2645195.1993 | 1186063.6834
21 | 2645279.7505 | 1186043.2324
22 | 2645181.9893 | 1186135.6786
23 | 2645230.5969 | 1186023.6875
24 | 2645264.0683 | 1186124.1581
25 | 2645254.7504 | 1186089.9077
26 | 2645302.3487 | 1186111.4292
27 | 2645277.451 | 1186148.0222
28 | 2645263.3275 | 1186085.6109
29 | 2645384.9567 | 1186439.5693
30 | 2645385.6443 | 1186419.9053
31 | 2645564.9877 | 1186396.3476
32 | 2646210.5739 | 1187089.1625
33 | 2646051.0998 | 1186586.4948
34 | 2645656.4029 | 1186188.2014
35 | 2645689.9055 | 1186149.6467
36 | 2645519.549 | 1186025.2274
37 | 2645502.4652 | 1186033.5049
38 | 2645523.9815 | 1186020.5028
39 | 2645499.3059 | 1186034.3202
40 | 2645530.7979 | 1186013.2372
41 | 2645476.0172 | 1186039.3445
42 | 2645542.3599 | 1186000.9133
43 | 2645466.1779 | 1186041.4312
44 | 2645544.4229 | 1185998.7144
45 | 2645507.495 | 1185948.9536
46 | 2645490.6883 | 1185958.0162
47 | 2645522.709 | 1185940.7498
48 | 2645475.5014 | 1185966.2054
49 | 2645534.7187 | 1185958.9689
50 | 2645515.0237 | 1185929.0883
51 | 2645536.9973 | 1185962.4257
52 | 2645504.8749 | 1185913.6885
53 | 2645556.5328 | 1185948.2204
54 | 2645545.713 | 1185974.9094
55 | 2645458.7669 | 1185941.4614
56 | 2645554.6146 | 1185987.8511
57 | 2645564.9988 | 1185995.9058
58 | 2645591.5041 | 1186013.5397
59 | 2645607.8413 | 1186018.7838
60 | 2645421.4666 | 1186003.2237
61 | 2645425.2268 | 1186000.4367
62 | 2645418.7749 | 1186005.2189
63 | 2645443.3556 | 1185987.1574
64 | 2645427.7376 | 1185961.4073
65 | 2645435.9611 | 1185954.0383
66 | 2645416.9302 | 1185965.6945
67 | 2645612.7842 | 1186020.2145
68 | 2645329.1149 | 1185983.6508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99959 | -0.0028786 | 0.0043901 | 0.0011003
1 | 0.9982 | -0.012539 | 0.012892 | 0.003231
2 | 1 | 0 | -0.23754 | -0.059573
3 | 0.99651 | -0.024275 | 0.055485 | 0.013906
4 | 0.99911 | -0.0061642 | 0.0055219 | 0.0013839
5 | 0.99406 | -0.04142 | 0 | 0
6 | 0.99817 | -0.01276 | 0.0064046 | 0.0016051
7 | 0.99381 | -0.043174 | 0.0088206 | 0.0022106
8 | 0.98815 | -0.082899 | 0 | 0
9 | 0.99738 | -0.018301 | 0.011308 | 0.0028341
10 | 0.98643 | -0.095146 | 0.0042795 | 0.0010725
11 | 0.98635 | -0.095717 | 0.0018185 | 0.00045576
12 | 0.98666 | -0.093486 | 0 | 0
13 | 0.98675 | -0.09288 | 0 | 0
14 | 0.98712 | -0.09026 | 0 | 0
15 | 0.98549 | -0.10184 | 0.0036364 | 0.00091136
16 | 0.98564 | -0.10075 | 0.052929 | 0.013265
17 | 0.9871 | -0.090369 | 0.0025538 | 0.00064005
18 | 0.98497 | -0.10548 | 0 | 0
19 | 0.98356 | -0.11552 | 0.0010259 | 0.00025711
20 | 0.98393 | -0.11288 | 0 | 0
21 | 0.98356 | -0.11557 | 0.0018727 | 0.00046935
22 | 0.98298 | -0.11971 | 0 | 0
23 | 0.98495 | -0.10565 | 0.0021319 | 0.0005343
24 | 0.98156 | -0.12983 | 0 | 0
25 | 0.98274 | -0.12142 | 0.00093969 | 0.00023551
26 | 0.98131 | -0.13163 | 0.004306 | 0.0010792
27 | 0.98145 | -0.13061 | 0.0027504 | 0.00068931
28 | 0.98272 | -0.12151 | 0.00097604 | 0.00024462
29 | 0.98145 | -0.13162 | 0.00075031 | 0.00018805
30 | 0.98148 | -0.13146 | 0 | 0
31 | 0.98167 | -0.13004 | 0.0011497 | 0.00028813
32 | 0.97977 | -0.14418 | 0.00030601 | 7.6693e-05
33 | 0.98 | -0.14236 | 0.0018958 | 0.00047512
34 | 0.98303 | -0.12009 | 0.0020336 | 0.00050967
35 | 0.98349 | -0.11674 | 0 | 0
36 | 0.98477 | -0.10729 | 0.0018784 | 0.00047077
37 | 0.98454 | -0.10894 | 0.0015785 | 0.00039562
38 | 0.98487 | -0.10661 | 0.0010349 | 0.00025936
39 | 0.98451 | -0.10917 | 0.0016623 | 0.0004166
40 | 0.98503 | -0.10546 | 0.00070591 | 0.00017692
41 | 0.98433 | -0.11041 | 0.0021172 | 0.00053063
42 | 0.98532 | -0.10339 | 0.0013701 | 0.00034338
43 | 0.98429 | -0.11072 | 0.0029517 | 0.00073976
44 | 0.98538 | -0.10297 | 0.001658 | 0.00041554
45 | 0.98796 | -0.084593 | 0.0010679 | 0.00026764
46 | 0.98786 | -0.085271 | 0.0011149 | 0.00027941
47 | 0.98807 | -0.083791 | 0 | 0
48 | 0.9878 | -0.085687 | 0.002354 | 0.00058997
49 | 0.98708 | -0.090842 | 0.0019337 | 0.00048464
50 | 0.9888 | -0.078638 | 0.0016442 | 0.00041207
51 | 0.9869 | -0.092099 | 0 | 0
52 | 0.9898 | -0.071535 | 0 | 0
53 | 0.98684 | -0.092545 | 0.0018026 | 0.00045177
54 | 0.98629 | -0.096444 | 0.0015494 | 0.00038831
55 | 0.99273 | -0.050864 | 0.0010816 | 0.00027106
56 | 0.9857 | -0.10068 | 0 | 0
57 | 0.98549 | -0.10221 | 0.0018309 | 0.00045888
58 | 0.98506 | -0.10532 | 0.00226 | 0.0005664
59 | 0.98488 | -0.1066 | 0 | 0
60 | 0.99405 | -0.041576 | 0.0026206 | 0.0006568
61 | 0.9941 | -0.041276 | 0.0010048 | 0.00025184
62 | 0.99404 | -0.041702 | 0.0037279 | 0.00093431
63 | 0.99433 | -0.039606 | 0.002135 | 0.00053508
64 | 0.99486 | -0.035925 | 0 | 0
65 | 0.99419 | -0.040624 | 0.0018391 | 0.00046091
66 | 0.99571 | -0.029951 | 0.00062399 | 0.00015639
67 | 0.98483 | -0.10698 | 0.00092541 | 0.00023193
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.15777 | 0.039712 | -0.15756 | -0.03963 | 0.00021253 | 8.1419e-05 | 0.23492 | 0.23492 | 0.23492 | 0.99959 | -0.0028786 | 0.9982 | -0.012539 | 43.5046
1 | -0.16216 | -0.040812 | 0.16223 | 0.040837 | 6.5192e-05 | 2.498e-05 | 0.24146 | 0.24146 | 0.24146 | 0.99959 | -0.0028786 | 1 | 0 | 44.7148
2 | 0.14467 | 0.036399 | -0.14443 | -0.036309 | 0.00023649 | 9.0533e-05 | 0.21571 | 0.21571 | 0.21571 | 0.9982 | -0.012539 | 0.99651 | -0.024275 | 39.9458
3 | 0.074514 | 0.018737 | -0.07445 | -0.018712 | 6.3951e-05 | 2.4487e-05 | 0.1109 | 0.1109 | 0.1109 | 1 | 0 | 0.99911 | -0.0061642 | 41.0742
4 | 0.088946 | 0.022403 | -0.088734 | -0.022321 | 0.0002127 | 8.1557e-05 | 0.13286 | 0.13286 | 0.13286 | 0.99651 | -0.024275 | 0.99406 | -0.04142 | 49.2058
5 | 0.068929 | 0.017328 | -0.068865 | -0.017304 | 6.3266e-05 | 2.4207e-05 | 0.10268 | 0.10268 | 0.10268 | 0.99911 | -0.0061642 | 0.99817 | -0.01276 | 38.0283
6 | 0.0088227 | 0.0022112 | -0.0088206 | -0.0022106 | 2.1414e-06 | 5.6862e-07 | 0.013207 | 0.013207 | 0.013207 | 0.99406 | -0.04142 | 0.99381 | -0.043174 | 4.8915
7 | 0.079911 | 0.02011 | -0.079451 | -0.019934 | 0.00045992 | 0.00017623 | 0.11965 | 0.11965 | 0.11965 | 0.99406 | -0.04142 | 0.98815 | -0.082899 | 44.3145
8 | 0.062461 | 0.015699 | -0.062413 | -0.01568 | 4.8153e-05 | 1.8404e-05 | 0.093129 | 0.093129 | 0.093129 | 0.99817 | -0.01276 | 0.99738 | -0.018301 | 34.4922
9 | 0.026391 | 0.0066185 | -0.026364 | -0.0066085 | 2.6902e-05 | 9.9975e-06 | 0.039742 | 0.039742 | 0.039742 | 0.98815 | -0.082899 | 0.98712 | -0.09026 | 14.7194
10 | 0.05306 | 0.013315 | -0.052929 | -0.013265 | 0.00013112 | 5.001e-05 | 0.079907 | 0.079907 | 0.079907 | 0.98815 | -0.082899 | 0.98564 | -0.10075 | 29.5952
11 | 0.051105 | 0.012846 | -0.051022 | -0.012815 | 8.2773e-05 | 3.1539e-05 | 0.076258 | 0.076258 | 0.076258 | 0.99738 | -0.018301 | 0.99571 | -0.029951 | 28.2438
12 | 0.0018186 | 0.00045542 | -0.0018185 | -0.00045576 | 1.4346e-07 | -3.3477e-07 | 0.0027433 | 0.0027434 | 0.0027434 | 0.98643 | -0.095146 | 0.98635 | -0.095717 | 1.0161
13 | -0.0060981 | -0.001528 | 0.0060995 | 0.0015282 | 1.4008e-06 | 2.0001e-07 | 0.0091988 | 0.0091987 | 0.0091988 | 0.98643 | -0.095146 | 0.98666 | -0.093486 | 3.407
14 | -0.0060995 | -0.0015282 | 0.0061 | 0.0015282 | 5.1153e-07 | 7.2998e-08 | 0.0091987 | 0.0091986 | 0.0091987 | 0.98666 | -0.093486 | 0.98675 | -0.09288 | 3.4069
15 | -0.023801 | -0.0059653 | 0.02381 | 0.0059685 | 8.6362e-06 | 3.1843e-06 | 0.035893 | 0.035893 | 0.035893 | 0.98675 | -0.09288 | 0.98712 | -0.09026 | 13.2936
16 | 0.017701 | 0.004437 | -0.017679 | -0.0044292 | 2.193e-05 | 7.8055e-06 | 0.026694 | 0.026694 | 0.026694 | 0.98675 | -0.09288 | 0.98549 | -0.10184 | 9.8868
17 | 0.0025539 | 0.00064001 | -0.0025538 | -0.00064005 | 3.8371e-08 | -3.828e-08 | 0.0038498 | 0.0038498 | 0.0038498 | 0.98712 | -0.09026 | 0.9871 | -0.090369 | 1.4258
18 | 0.014043 | 0.0035179 | -0.014036 | -0.0035155 | 7.0687e-06 | 2.3979e-06 | 0.021204 | 0.021204 | 0.021204 | 0.98549 | -0.10184 | 0.98497 | -0.10548 | 7.8532
19 | 0.0021319 | 0.00053422 | -0.0021319 | -0.0005343 | 4.9787e-08 | -7.8748e-08 | 0.0032207 | 0.0032208 | 0.0032208 | 0.98497 | -0.10548 | 0.98495 | -0.10565 | 1.1929
20 | 0.011904 | 0.0029813 | -0.011892 | -0.0029773 | 1.2174e-05 | 3.9153e-06 | 0.017983 | 0.017983 | 0.017983 | 0.98497 | -0.10548 | 0.98393 | -0.11288 | 6.6605
21 | -0.0028986 | -0.00072642 | 0.0028997 | 0.00072571 | 1.0564e-06 | -7.1153e-07 | 0.0043852 | 0.0043848 | 0.0043852 | 0.98356 | -0.11552 | 0.98393 | -0.11288 | 1.6242
22 | 0.0018727 | 0.00046932 | -0.0018727 | -0.00046935 | 1.4179e-08 | -3.0472e-08 | 0.0028332 | 0.0028332 | 0.0028332 | 0.98356 | -0.11552 | 0.98356 | -0.11557 | 1.0493
23 | 0.0089923 | 0.0022516 | -0.0089838 | -0.0022493 | 8.4775e-06 | 2.3284e-06 | 0.013598 | 0.013599 | 0.013599 | 0.98393 | -0.11288 | 0.98298 | -0.11971 | 5.0366
24 | 0.0070676 | 0.0017702 | -0.0070577 | -0.0017682 | 9.8873e-06 | 2.0505e-06 | 0.010698 | 0.010699 | 0.010699 | 0.98298 | -0.11971 | 0.98156 | -0.12983 | 3.9626
25 | 0.0019162 | 0.00047909 | -0.0019157 | -0.00048001 | 4.5227e-07 | -9.1788e-07 | 0.0029003 | 0.0029007 | 0.0029007 | 0.98298 | -0.11971 | 0.98274 | -0.12142 | 1.0743
26 | 0.004307 | 0.0010791 | -0.004306 | -0.0010792 | 1.0704e-06 | -9.6769e-08 | 0.0065292 | 0.0065294 | 0.0065294 | 0.98156 | -0.12983 | 0.98131 | -0.13163 | 2.4183
27 | 0.0027507 | 0.00068908 | -0.0027504 | -0.00068931 | 2.9686e-07 | -2.3161e-07 | 0.0041698 | 0.00417 | 0.00417 | 0.98156 | -0.12983 | 0.98145 | -0.13061 | 1.5444
28 | 0.00097605 | 0.0002445 | -0.00097604 | -0.00024462 | 1.3074e-08 | -1.1652e-07 | 0.0014779 | 0.0014779 | 0.0014779 | 0.98274 | -0.12142 | 0.98272 | -0.12151 | 0.54737
29 | -0.00075031 | -0.00018805 | 0.00075033 | 0.0001878 | 1.5928e-08 | -2.4317e-07 | 0.0011376 | 0.0011375 | 0.0011376 | 0.98145 | -0.13162 | 0.98148 | -0.13146 | 0.42132
30 | -0.00075033 | -0.0001878 | 0.00075047 | 0.00018557 | 1.4594e-07 | -2.2303e-06 | 0.0011375 | 0.0011367 | 0.0011375 | 0.98148 | -0.13146 | 0.98167 | -0.13004 | 0.42129
31 | 0.0022055 | 0.00054001 | -0.0022018 | -0.0005452 | 3.6329e-06 | -5.1908e-06 | 0.0033385 | 0.0033409 | 0.0033409 | 0.98167 | -0.13004 | 0.98 | -0.14236 | 1.2374
32 | -0.0041056 | -0.0010137 | 0.0041111 | 0.0010129 | 5.4835e-06 | -7.6908e-07 | 0.0062178 | 0.0062168 | 0.0062178 | 0.98167 | -0.13004 | 0.98303 | -0.12009 | 2.3029
33 | -0.00030601 | -7.6693e-05 | 0.00030608 | 7.0077e-05 | 7.072e-08 | -6.6159e-06 | 0.00046475 | 0.00046247 | 0.00046475 | 0.97977 | -0.14418 | 0.98 | -0.14236 | 0.17213
34 | -0.0061447 | -0.0015226 | 0.0061475 | 0.001523 | 2.79e-06 | 4.1668e-07 | 0.0092951 | 0.0092949 | 0.0092951 | 0.98303 | -0.12009 | 0.98349 | -0.11674 | 3.4426
35 | -0.0061475 | -0.001523 | 0.0061556 | 0.0015242 | 8.1219e-06 | 1.2093e-06 | 0.0092949 | 0.0092942 | 0.0092949 | 0.98349 | -0.11674 | 0.98483 | -0.10698 | 3.4425
36 | 0.0083128 | 0.0020831 | -0.0083109 | -0.0020826 | 1.8979e-06 | 4.8477e-07 | 0.012561 | 0.012561 | 0.012561 | 0.98477 | -0.10729 | 0.98454 | -0.10894 | 4.6522
37 | -0.010191 | -0.0025539 | 0.010192 | 0.0025541 | 9.5861e-07 | 2.8627e-07 | 0.015399 | 0.015399 | 0.015399 | 0.98477 | -0.10729 | 0.98487 | -0.10661 | 5.7034
38 | 0.0067324 | 0.001687 | -0.0067322 | -0.0016869 | 2.1079e-07 | 3.9582e-08 | 0.010175 | 0.010175 | 0.010175 | 0.98454 | -0.10894 | 0.98451 | -0.10917 | 3.7686
39 | -0.011227 | -0.0028135 | 0.011229 | 0.0028141 | 1.7887e-06 | 5.6117e-07 | 0.016963 | 0.016963 | 0.016963 | 0.98487 | -0.10661 | 0.98503 | -0.10546 | 6.2825
40 | 0.0050699 | 0.0012703 | -0.005069 | -0.0012703 | 8.73e-07 | 3.2851e-08 | 0.0076627 | 0.0076628 | 0.0076628 | 0.98451 | -0.10917 | 0.98433 | -0.11041 | 2.8381
41 | -0.011935 | -0.002991 | 0.011938 | 0.0029921 | 3.4275e-06 | 1.1031e-06 | 0.018029 | 0.018029 | 0.018029 | 0.98503 | -0.10546 | 0.98532 | -0.10339 | 6.6774
42 | 0.0029518 | 0.00073968 | -0.0029517 | -0.00073976 | 1.2497e-07 | -7.9782e-08 | 0.0044622 | 0.0044623 | 0.0044623 | 0.98433 | -0.11041 | 0.98429 | -0.11072 | 1.6527
43 | -0.013308 | -0.0033355 | 0.013309 | 0.0033357 | 7.5996e-07 | 2.5389e-07 | 0.020098 | 0.020098 | 0.020098 | 0.98532 | -0.10339 | 0.98538 | -0.10297 | 7.4437
44 | -0.014967 | -0.0037513 | 0.014972 | 0.0037529 | 4.7482e-06 | 1.6364e-06 | 0.022602 | 0.022602 | 0.022602 | 0.98538 | -0.10297 | 0.9857 | -0.10068 | 8.371
45 | 0.0034694 | 0.0008691 | -0.003469 | -0.00086922 | 3.2532e-07 | -1.1936e-07 | 0.0052252 | 0.0052253 | 0.0052253 | 0.98796 | -0.084593 | 0.98786 | -0.085271 | 1.9353
46 | -0.0045373 | -0.0011367 | 0.0045378 | 0.0011367 | 5.0368e-07 | -2.764e-08 | 0.0068337 | 0.0068336 | 0.0068337 | 0.98796 | -0.084593 | 0.98807 | -0.083791 | 2.531
47 | 0.0023542 | 0.00058981 | -0.002354 | -0.00058997 | 1.3538e-07 | -1.6882e-07 | 0.003546 | 0.0035461 | 0.0035461 | 0.98786 | -0.085271 | 0.9878 | -0.085687 | 1.3134
48 | 0.031505 | 0.0078863 | -0.031474 | -0.0078748 | 3.0648e-05 | 1.1509e-05 | 0.047443 | 0.047443 | 0.047443 | 0.98807 | -0.083791 | 0.98708 | -0.090842 | 17.5714
49 | -0.036043 | -0.009023 | 0.036069 | 0.0090327 | 2.5673e-05 | 9.6953e-06 | 0.054276 | 0.054276 | 0.054276 | 0.98807 | -0.083791 | 0.9888 | -0.078638 | 20.1023
50 | 0.029541 | 0.0073901 | -0.029536 | -0.0073882 | 5.1222e-06 | 1.9172e-06 | 0.044528 | 0.044528 | 0.044528 | 0.98708 | -0.090842 | 0.9869 | -0.092099 | 16.4917
51 | -0.037713 | -0.0094447 | 0.03775 | 0.0094588 | 3.7065e-05 | 1.4019e-05 | 0.05675 | 0.05675 | 0.05675 | 0.9888 | -0.078638 | 0.9898 | -0.071535 | 21.0187
52 | 0.0018027 | 0.00045151 | -0.0018026 | -0.00045177 | 1.1135e-07 | -2.6579e-07 | 0.002718 | 0.0027181 | 0.0027181 | 0.9869 | -0.092099 | 0.98684 | -0.092545 | 1.0067
53 | 0.027733 | 0.0069367 | -0.027716 | -0.0069305 | 1.6608e-05 | 6.1931e-06 | 0.04181 | 0.04181 | 0.04181 | 0.9869 | -0.092099 | 0.98629 | -0.096444 | 15.4851
54 | -0.03775 | -0.0094588 | 0.037858 | 0.0094997 | 0.00010829 | 4.0954e-05 | 0.05675 | 0.05675 | 0.05675 | 0.9898 | -0.071535 | 0.99273 | -0.050864 | 21.0186
55 | 0.026167 | 0.0065422 | -0.026152 | -0.0065365 | 1.5271e-05 | 5.6733e-06 | 0.039472 | 0.039472 | 0.039472 | 0.98629 | -0.096444 | 0.9857 | -0.10068 | 14.6194
56 | -0.03894 | -0.0097708 | 0.038995 | 0.0097918 | 5.5413e-05 | 2.0975e-05 | 0.058371 | 0.058371 | 0.058371 | 0.99273 | -0.050864 | 0.99419 | -0.040624 | 21.619
57 | 0.01118 | 0.0027836 | -0.011177 | -0.0027829 | 2.334e-06 | 7.3022e-07 | 0.016871 | 0.016871 | 0.016871 | 0.9857 | -0.10068 | 0.98549 | -0.10221 | 6.2484
58 | 0.0093465 | 0.002324 | -0.0093426 | -0.0023229 | 3.9589e-06 | 1.1166e-06 | 0.014106 | 0.014106 | 0.014106 | 0.98549 | -0.10221 | 0.98506 | -0.10532 | 5.2245
59 | 0.0070826 | 0.0017565 | -0.0070814 | -0.0017562 | 1.2279e-06 | 2.532e-07 | 0.010692 | 0.010692 | 0.010692 | 0.98506 | -0.10532 | 0.98488 | -0.1066 | 3.9601
60 | 0.0070814 | 0.0017562 | -0.007081 | -0.0017562 | 3.671e-07 | 7.5714e-08 | 0.010692 | 0.010692 | 0.010692 | 0.98488 | -0.1066 | 0.98483 | -0.10698 | 3.9602
61 | -0.0063486 | -0.0015911 | 0.0063489 | 0.0015911 | 2.6377e-07 | 4.0772e-08 | 0.0095034 | 0.0095033 | 0.0095034 | 0.99405 | -0.041576 | 0.9941 | -0.041276 | 3.5198
62 | 0.003728 | 0.00093429 | -0.0037279 | -0.00093431 | 6.5109e-08 | -1.8393e-08 | 0.0055805 | 0.0055805 | 0.0055805 | 0.99405 | -0.041576 | 0.99404 | -0.041702 | 2.0668
63 | -0.0073537 | -0.001843 | 0.0073555 | 0.0018433 | 1.7007e-06 | 3.6242e-07 | 0.011007 | 0.011007 | 0.011007 | 0.9941 | -0.041276 | 0.99433 | -0.039606 | 4.0768
64 | -0.0094904 | -0.0023784 | 0.0094953 | 0.0023798 | 4.8371e-06 | 1.3617e-06 | 0.014202 | 0.014202 | 0.014202 | 0.99433 | -0.039606 | 0.99486 | -0.035925 | 5.2601
65 | 0.040861 | 0.010263 | -0.040834 | -0.010253 | 2.668e-05 | 1.0113e-05 | 0.061124 | 0.061124 | 0.061124 | 0.99486 | -0.035925 | 0.99419 | -0.040624 | 22.6384
66 | -0.050356 | -0.012643 | 0.050398 | 0.012658 | 4.1828e-05 | 1.5934e-05 | 0.075326 | 0.075326 | 0.075326 | 0.99486 | -0.035925 | 0.99571 | -0.029951 | 27.8984

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23913 | 0.059971

## res_load
| p_mw | q_mvar
0 | 0.0043901 | 0.0011003
1 | 0.012892 | 0.003231
2 | 0.0015875 | 0.00039787
3 | 0.055485 | 0.013906
4 | 0.0055219 | 0.0013839
5 | 0.0064046 | 0.0016051
6 | 0.0088206 | 0.0022106
7 | 0.011308 | 0.0028341
8 | 0.0042795 | 0.0010725
9 | 0.0018185 | 0.00045576
10 | 0.0036364 | 0.00091136
11 | 0.052929 | 0.013265
12 | 0.0025538 | 0.00064005
13 | 0.0010259 | 0.00025711
14 | 0.0018727 | 0.00046935
15 | 0.0021319 | 0.0005343
16 | 0.00093969 | 0.00023551
17 | 0.004306 | 0.0010792
18 | 0.0027504 | 0.00068931
19 | 0.00097604 | 0.00024462
20 | 0.00075031 | 0.00018805
21 | 0.0011497 | 0.00028813
22 | 0.00030601 | 7.6693e-05
23 | 0.0018958 | 0.00047512
24 | 0.0020336 | 0.00050967
25 | 0.0018784 | 0.00047077
26 | 0.0015785 | 0.00039562
27 | 0.0010349 | 0.00025936
28 | 0.0016623 | 0.0004166
29 | 0.00070591 | 0.00017692
30 | 0.0021172 | 0.00053063
31 | 0.0013701 | 0.00034338
32 | 0.0029517 | 0.00073976
33 | 0.001658 | 0.00041554
34 | 0.0010679 | 0.00026764
35 | 0.0011149 | 0.00027941
36 | 0.002354 | 0.00058997
37 | 0.0019337 | 0.00048464
38 | 0.0016442 | 0.00041207
39 | 0.0018026 | 0.00045177
40 | 0.0015494 | 0.00038831
41 | 0.0010816 | 0.00027106
42 | 0.0018309 | 0.00045888
43 | 0.00226 | 0.0005664
44 | 0.0026206 | 0.0006568
45 | 0.0010048 | 0.00025184
46 | 0.0037279 | 0.00093431
47 | 0.002135 | 0.00053508
48 | 0.0018391 | 0.00046091
49 | 0.00062399 | 0.00015639
50 | 0.00092541 | 0.00023193

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1