## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1004-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1004-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1004-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1004-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1004-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1004-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1004-5_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1004-5_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1004-5_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1004-5_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1004-5_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1004-5_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1004-5_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1004-5_0_2_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_1004-5_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1004-5_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1004-5_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1004-5_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1004-5_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1004-5_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1004-5_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1004-5_0_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1004-5_0_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_1004-5_0_2_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_1004-5_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1004-5_0_2_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1004-5_0_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1004-5_0_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1004-5_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1004-5_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1004-5_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1004-5_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1004-5_0_2_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1004-5_0_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1004-5_0_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_1004-5_0_2_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1004-5_0_2_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_1004-5_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1004-5_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1004-5_0_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1004-5_0_2_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_1004-5_0_2_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_1004-5_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1004-5_0_2_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1004-5_0_2_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_1004-5_0_2_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_1004-5_0_2_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_1004-5_0_2_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_1004-5_0_2_node_118 | 0.4 | n |  | TRUE
49 | bus_LV_1004-5_0_2_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_1004-5_0_2_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_1004-5_0_2_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_1004-5_0_2_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_1004-5_0_2_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_1004-5_0_2_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_1004-5_0_2_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_1004-5_0_2_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_1004-5_0_2_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_1004-5_0_2_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_1004-5_0_2_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_1004-5_0_2_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_1004-5_0_2_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_1004-5_0_2_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_1004-5_0_2_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_1004-5_0_2_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_1004-5_0_2_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_1004-5_0_2_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_1004-5_0_2_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_1004-5_0_2_node_100 | 0.4 | n |  | TRUE
69 | bus_LV_1004-5_0_2_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_1004-5_0_2_node_125 | 0.4 | n |  | TRUE
71 | bus_LV_1004-5_0_2_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_1004-5_0_2_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_1004-5_0_2_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_1004-5_0_2_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_1004-5_0_2_node_104 | 0.4 | n |  | TRUE
76 | bus_LV_1004-5_0_2_node_110 | 0.4 | n |  | TRUE
77 | bus_LV_1004-5_0_2_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_1004-5_0_2_node_112 | 0.4 | n |  | TRUE
79 | bus_MV_82_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1004-5_0_2_load_0 | 0 | 0.0016773 | 0.00042037 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1004-5_0_2_load_3 | 3 | 0.0016362 | 0.00041008 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1004-5_0_2_load_4 | 4 | 0.00090627 | 0.00022713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1004-5_0_2_load_5 | 5 | 0.0010693 | 0.000268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1004-5_0_2_load_6 | 6 | 0.00089296 | 0.0002238 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1004-5_0_2_load_9 | 7 | 0.0011614 | 0.00029107 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1004-5_0_2_load_22 | 8 | 0.0005491 | 0.00013762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1004-5_0_2_load_8 | 12 | 0.00085278 | 0.00021373 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1004-5_0_2_load_45 | 13 | 0.001226 | 0.00030727 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1004-5_0_2_load_46 | 14 | 0.0012413 | 0.0003111 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1004-5_0_2_load_11 | 15 | 0.00060327 | 0.00015119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1004-5_0_2_load_12 | 16 | 0.00089168 | 0.00022348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1004-5_0_2_load_16 | 17 | 0.0020755 | 0.00052016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1004-5_0_2_load_20 | 19 | 0.0015423 | 0.00038653 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1004-5_0_2_load_21 | 20 | 0.00075563 | 0.00018938 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1004-5_0_2_load_55 | 22 | 0.00075625 | 0.00018954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1004-5_0_2_load_56 | 23 | 0.0026483 | 0.00066373 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1004-5_0_2_load_40 | 25 | 0.0021992 | 0.00055117 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1004-5_0_2_load_34 | 26 | 0.0012237 | 0.00030669 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1004-5_0_2_load_39 | 27 | 0.0013477 | 0.00033776 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1004-5_0_2_load_24 | 28 | 0.00092046 | 0.00023069 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1004-5_0_2_load_25 | 29 | 0.00092838 | 0.00023267 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1004-5_0_2_load_26 | 30 | 0.0010607 | 0.00026584 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1004-5_0_2_load_27 | 31 | 0.00072659 | 0.0001821 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1004-5_0_2_load_48 | 33 | 0.001977 | 0.00049548 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1004-5_0_2_load_88 | 34 | 0.0010596 | 0.00026557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1004-5_0_2_load_47 | 35 | 0.0011361 | 0.00028474 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1004-5_0_2_load_35 | 37 | 0.0010922 | 0.00027374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1004-5_0_2_load_42 | 39 | 0.00080004 | 0.00020051 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1004-5_0_2_load_63 | 40 | 0.01341 | 0.003361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1004-5_0_2_load_62 | 41 | 0.0016901 | 0.00042358 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1004-5_0_2_load_41 | 42 | 0.002034 | 0.00050978 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1004-5_0_2_load_51 | 43 | 0.00070581 | 0.00017689 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1004-5_0_2_load_85 | 44 | 0.0008247 | 0.00020669 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1004-5_0_2_load_86 | 45 | 0.0011662 | 0.00029229 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1004-5_0_2_load_64 | 46 | 0.0009205 | 0.0002307 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1004-5_0_2_load_65 | 47 | 0.0013166 | 0.00032998 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1004-5_0_2_load_118 | 48 | 0.0032621 | 0.00081757 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1004-5_0_2_load_66 | 49 | 0.0012124 | 0.00030385 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1004-5_0_2_load_67 | 50 | 0.0012681 | 0.00031782 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1004-5_0_2_load_68 | 51 | 0.0012216 | 0.00030617 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1004-5_0_2_load_69 | 52 | 0.0018471 | 0.00046292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1004-5_0_2_load_70 | 53 | 0.0011421 | 0.00028623 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1004-5_0_2_load_83 | 54 | 0.0010573 | 0.00026499 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1004-5_0_2_load_94 | 55 | 0.00071469 | 0.00017912 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1004-5_0_2_load_103 | 56 | 0.0024286 | 0.00060865 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1004-5_0_2_load_82 | 57 | 0.0076628 | 0.0019205 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1004-5_0_2_load_93 | 58 | 0.0010034 | 0.00025148 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1004-5_0_2_load_101 | 59 | 0.0033948 | 0.00085081 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1004-5_0_2_load_71 | 60 | 0.0012986 | 0.00032546 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1004-5_0_2_load_72 | 61 | 0.00218 | 0.00054635 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1004-5_0_2_load_73 | 62 | 0.0011658 | 0.00029218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1004-5_0_2_load_99 | 63 | 0.0032893 | 0.00082437 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1004-5_0_2_load_87 | 65 | 0.00088552 | 0.00022193 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1004-5_0_2_load_90 | 66 | 0.0017934 | 0.00044947 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1004-5_0_2_load_91 | 67 | 0.0021645 | 0.00054248 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1004-5_0_2_load_100 | 68 | 0.0016447 | 0.0004122 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1004-5_0_2_load_125 | 70 | 0.0024296 | 0.00060892 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1004-5_0_2_load_95 | 71 | 0.0017071 | 0.00042783 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1004-5_0_2_load_96 | 72 | 0.0016233 | 0.00040685 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1004-5_0_2_load_98 | 73 | 0.0016004 | 0.00040109 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1004-5_0_2_load_102 | 74 | 0.0018966 | 0.00047534 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1004-5_0_2_load_104 | 75 | 0.0028324 | 0.00070986 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1004-5_0_2_load_110 | 76 | 0.003417 | 0.00085639 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1004-5_0_2_load_111 | 77 | 0.002015 | 0.00050502 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1004-5_0_2_load_112 | 78 | 0.006577 | 0.0016484 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1004-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1004-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1004-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1004-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1004-5_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.037268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1004-5_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.021533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1004-5_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.040454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1004-5_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0039856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1004-5_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.010571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1004-5_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.032993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1004-5_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0094682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1004-5_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.029494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1004-5_0_2_line_12 | NAYY 4x150 SE | 10 | 15 | 0.02059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1004-5_0_2_line_13 | NAYY 4x150 SE | 10 | 16 | 0.0097287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1004-5_0_2_line_14 | NAYY 4x150 SE | 11 | 24 | 0.010027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1004-5_0_2_line_15 | NAYY 4x150 SE | 11 | 25 | 0.033148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1004-5_0_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.0014439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1004-5_0_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.019991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1004-5_0_2_line_18 | NAYY 4x150 SE | 14 | 43 | 0.0041835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1004-5_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0091486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1004-5_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.013066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1004-5_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0092019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1004-5_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.037131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1004-5_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0083641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1004-5_0_2_line_24 | NAYY 4x150 SE | 21 | 38 | 0.011265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1004-5_0_2_line_25 | NAYY 4x150 SE | 21 | 39 | 0.016225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1004-5_0_2_line_26 | NAYY 4x150 SE | 21 | 37 | 0.0051345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1004-5_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.0031602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1004-5_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0047864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1004-5_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.00041869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1004-5_0_2_line_30 | NAYY 4x150 SE | 26 | 37 | 0.025595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1004-5_0_2_line_31 | NAYY 4x150 SE | 27 | 42 | 0.0012101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1004-5_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.010481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1004-5_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.011416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1004-5_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0070439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1004-5_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0059335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1004-5_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.011644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1004-5_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0027601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1004-5_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.016044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1004-5_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.016752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1004-5_0_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.0062126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1004-5_0_2_line_41 | NAYY 4x150 SE | 36 | 66 | 0.029373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1004-5_0_2_line_42 | NAYY 4x150 SE | 36 | 67 | 0.021739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1004-5_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.035538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1004-5_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0084566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1004-5_0_2_line_45 | NAYY 4x150 SE | 41 | 46 | 0.0022191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1004-5_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1004-5_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.00027738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1004-5_0_2_line_48 | NAYY 4x150 SE | 45 | 65 | 0.020748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1004-5_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0053499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1004-5_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0099722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1004-5_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.01848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1004-5_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0053355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1004-5_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.001904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_1004-5_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.019622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1004-5_0_2_line_55 | NAYY 4x150 SE | 51 | 54 | 0.12693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1004-5_0_2_line_56 | NAYY 4x150 SE | 52 | 55 | 0.0084656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1004-5_0_2_line_57 | NAYY 4x150 SE | 53 | 56 | 0.0098445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1004-5_0_2_line_58 | NAYY 4x150 SE | 54 | 57 | 0.042999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1004-5_0_2_line_59 | NAYY 4x150 SE | 55 | 58 | 0.011132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_1004-5_0_2_line_60 | NAYY 4x150 SE | 56 | 59 | 0.017101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1004-5_0_2_line_61 | NAYY 4x150 SE | 58 | 65 | 0.0011508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_1004-5_0_2_line_62 | NAYY 4x150 SE | 59 | 74 | 0.011187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1004-5_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.0025807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_1004-5_0_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0063625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_1004-5_0_2_line_65 | NAYY 4x150 SE | 62 | 63 | 0.022545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_1004-5_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.015137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_1004-5_0_2_line_67 | NAYY 4x150 SE | 64 | 68 | 0.013474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_1004-5_0_2_line_68 | NAYY 4x150 SE | 64 | 71 | 0.018616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1004-5_0_2_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0067353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_1004-5_0_2_line_70 | NAYY 4x150 SE | 67 | 69 | 0.029825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1004-5_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.008323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1004-5_0_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.029975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1004-5_0_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.001178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1004-5_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.015494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1004-5_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.014653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1004-5_0_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.0067698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1004-5_0_2_line_77 | NAYY 4x150 SE | 77 | 78 | 0.018435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1004-5_0_2_trafo_71 | 0.25 MVA 20/0.4 kV | 79 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2646350.139 | 1185345.4201 | 2646342.0326 | 1185332.626
1 | 2646328.41 | 1185313.0345 | 2646334.8635 | 1185321.3111 | 2646342.0326 | 1185332.626
2 | 2646350.139 | 1185345.4201 | 2646359.5409 | 1185360.0697
3 | 2646328.41 | 1185313.0345 | 2646323.4491 | 1185306.148 | 2646319.4342 | 1185301.7074
4 | 2646328.41 | 1185313.0345 | 2646298.3297 | 1185335.0364
5 | 2646371.9137 | 1185377.6863 | 2646362.2571 | 1185364.3019 | 2646359.5409 | 1185360.0697
6 | 2646319.4342 | 1185301.7074 | 2646317.963 | 1185300.0801 | 2646307.0855 | 1185290.4797 | 2646296.2243 | 1185281.7355 | 2646287.7589 | 1185276.7824
7 | 2646295.1128 | 1185337.3894 | 2646298.3297 | 1185335.0364
8 | 2646378.0986 | 1185386.2586 | 2646371.9137 | 1185377.6863
9 | 2646263.9271 | 1185255.9388 | 2646266.1195 | 1185262.6038 | 2646270.7119 | 1185266.8082 | 2646287.7589 | 1185276.7824
10 | 2646287.4707 | 1185342.9791 | 2646295.1128 | 1185337.3894
11 | 2646378.0986 | 1185386.2586 | 2646379.7765 | 1185392.3082 | 2646379.8411 | 1185397.7673 | 2646376.3668 | 1185409.8359 | 2646373.9042 | 1185414.4134
12 | 2646263.9271 | 1185255.9388 | 2646273.6263 | 1185253.0899 | 2646283.4934 | 1185249.5539
13 | 2646263.9271 | 1185255.9388 | 2646254.4289 | 1185258.0439
14 | 2646287.4707 | 1185342.9791 | 2646279.2978 | 1185348.8192
15 | 2646287.4707 | 1185342.9791 | 2646265.6147 | 1185318.0569
16 | 2646373.9042 | 1185414.4134 | 2646373.2201 | 1185415.6849
17 | 2646373.2201 | 1185415.6849 | 2646371.8759 | 1185418.1835 | 2646366.3331 | 1185425.3779 | 2646360.1789 | 1185430.6007
18 | 2646360.1789 | 1185430.6007 | 2646356.9892 | 1185433.3077
19 | 2646212.4866 | 1185341.2887 | 2646207.3404 | 1185333.7247
20 | 2646212.4866 | 1185341.2887 | 2646225.5784 | 1185341.8455
21 | 2646212.4866 | 1185341.2887 | 2646205.8035 | 1185347.6142
22 | 2646250.3973 | 1185369.463 | 2646225.5784 | 1185341.8455
23 | 2646199.7289 | 1185353.3637 | 2646205.8035 | 1185347.6142
24 | 2646250.3973 | 1185369.463 | 2646257.1274 | 1185378.5088
25 | 2646250.3973 | 1185369.463 | 2646237.0522 | 1185378.6909
26 | 2646250.3973 | 1185369.463 | 2646254.5754 | 1185366.4786
27 | 2646197.4338 | 1185355.536 | 2646199.7289 | 1185353.3637
28 | 2646279.2978 | 1185348.8192 | 2646275.403 | 1185351.6014
29 | 2646265.3386 | 1185317.7421 | 2646265.6147 | 1185318.0569
30 | 2646275.403 | 1185351.6014 | 2646254.5754 | 1185366.4786
31 | 2646264.5408 | 1185316.8323 | 2646265.3386 | 1185317.7421
32 | 2646194.7544 | 1185407.9388 | 2646203.3748 | 1185401.9781
33 | 2646194.7544 | 1185407.9388 | 2646185.365 | 1185414.4314
34 | 2646203.3748 | 1185401.9781 | 2646209.1685 | 1185397.9719
35 | 2646180.4846 | 1185417.8061 | 2646185.365 | 1185414.4314
36 | 2646218.7461 | 1185391.3492 | 2646209.1685 | 1185397.9719
37 | 2646180.4846 | 1185417.8061 | 2646178.4321 | 1185419.6513
38 | 2646231.9423 | 1185382.2243 | 2646218.7461 | 1185391.3492
39 | 2646168.0768 | 1185432.5074 | 2646171.8161 | 1185425.5991 | 2646178.4321 | 1185419.6513
40 | 2646231.9423 | 1185382.2243 | 2646237.0522 | 1185378.6909
41 | 2646168.0768 | 1185432.5074 | 2646169.2583 | 1185438.631 | 2646177.0359 | 1185460.4214
42 | 2646168.0768 | 1185432.5074 | 2646163.0168 | 1185438.4828 | 2646150.207 | 1185443.902
43 | 2646257.1274 | 1185378.5088 | 2646270.4819 | 1185398.4005 | 2646278.4993 | 1185406.7558
44 | 2646286.1308 | 1185410.3991 | 2646278.4993 | 1185406.7558 | 2646278.4993 | 1185406.7558
45 | 2646286.1308 | 1185410.3991 | 2646288.1335 | 1185411.3552
46 | 2646339.4103 | 1185448.2263 | 2646356.9892 | 1185433.3077
47 | 2646339.4103 | 1185448.2263 | 2646339.1988 | 1185448.4058
48 | 2646339.1988 | 1185448.4058 | 2646339.0464 | 1185448.5351 | 2646323.0216 | 1185461.397
49 | 2646292.9614 | 1185413.6601 | 2646288.1335 | 1185411.3552
50 | 2646300.6123 | 1185420.056 | 2646292.9614 | 1185413.6601
51 | 2646290.944 | 1185487.1434 | 2646305.356 | 1185475.5759
52 | 2646290.944 | 1185487.1434 | 2646286.783 | 1185490.4831
53 | 2646306.8408 | 1185474.3841 | 2646305.356 | 1185475.5759
54 | 2646271.1335 | 1185502.2517 | 2646274.4028 | 1185500.4197 | 2646286.783 | 1185490.4831
55 | 2646286.783 | 1185490.4831 | 2646359.4417 | 1185594.5605
56 | 2646306.8408 | 1185474.3841 | 2646313.4429 | 1185469.0851
57 | 2646261.7841 | 1185505.2899 | 2646270.5475 | 1185502.58 | 2646271.1335 | 1185502.2517
58 | 2646399.735 | 1185581.8891 | 2646393.2893 | 1185584.9068 | 2646389.2055 | 1185586.0091 | 2646381.5909 | 1185585.8057 | 2646376.5497 | 1185586.3892 | 2646359.4417 | 1185594.5605
59 | 2646322.1241 | 1185462.1174 | 2646313.4429 | 1185469.0851
60 | 2646245.7178 | 1185511.0755 | 2646248.0771 | 1185509.9107 | 2646254.9036 | 1185507.4175 | 2646261.7841 | 1185505.2899
61 | 2646322.1241 | 1185462.1174 | 2646323.0216 | 1185461.397
62 | 2646245.7178 | 1185511.0755 | 2646237.1912 | 1185515.2852 | 2646235.827 | 1185516.2611
63 | 2646221.5251 | 1185454.2849 | 2646219.4712 | 1185455.8474
64 | 2646219.4712 | 1185455.8474 | 2646214.4074 | 1185459.6996
65 | 2646196.4648 | 1185473.3494 | 2646214.4074 | 1185459.6996
66 | 2646183.2675 | 1185479.5501 | 2646186.9533 | 1185479.5785 | 2646189.7244 | 1185478.477 | 2646196.4648 | 1185473.3494
67 | 2646183.2675 | 1185479.5501 | 2646183.2801 | 1185477.916 | 2646179.3 | 1185466.7648
68 | 2646183.2675 | 1185479.5501 | 2646183.0932 | 1185483.3508 | 2646181.1304 | 1185487.5046 | 2646177.6396 | 1185491.8801 | 2646173.9115 | 1185494.6084
69 | 2646179.3 | 1185466.7648 | 2646177.0359 | 1185460.4214
70 | 2646131.0526 | 1185461.6606 | 2646130.2185 | 1185457.0072 | 2646131.4746 | 1185453.4482 | 2646133.6462 | 1185450.908 | 2646150.207 | 1185443.902
71 | 2646133.6016 | 1185469.5845 | 2646131.0526 | 1185461.6606
72 | 2646173.9115 | 1185494.6084 | 2646149.7219 | 1185512.3105
73 | 2646149.7219 | 1185512.3105 | 2646148.7713 | 1185513.0061
74 | 2646223.2263 | 1185525.2763 | 2646235.827 | 1185516.2611
75 | 2646211.3092 | 1185533.8023 | 2646223.2263 | 1185525.2763
76 | 2646211.3092 | 1185533.8023 | 2646205.8033 | 1185537.7414
77 | 2646190.8105 | 1185548.468 | 2646205.8033 | 1185537.7414

## bus_geodata
| x | y | coords
0 | 2646342.0326 | 1185332.626
1 | 2646350.139 | 1185345.4201
2 | 2646328.41 | 1185313.0345
3 | 2646359.541 | 1185360.0697
4 | 2646319.4342 | 1185301.7074
5 | 2646298.3297 | 1185335.0364
6 | 2646371.9137 | 1185377.6863
7 | 2646287.7589 | 1185276.7824
8 | 2646295.1128 | 1185337.3894
9 | 2646378.0986 | 1185386.2586
10 | 2646263.9271 | 1185255.9388
11 | 2646287.4707 | 1185342.9791
12 | 2646373.9042 | 1185414.4134
13 | 2646373.2201 | 1185415.6849
14 | 2646360.1789 | 1185430.6007
15 | 2646283.4934 | 1185249.5539
16 | 2646254.4289 | 1185258.0439
17 | 2646207.3404 | 1185333.7247
18 | 2646212.4866 | 1185341.2887
19 | 2646225.5784 | 1185341.8455
20 | 2646205.8035 | 1185347.6142
21 | 2646250.3973 | 1185369.463
22 | 2646199.7289 | 1185353.3637
23 | 2646197.4338 | 1185355.536
24 | 2646279.2978 | 1185348.8192
25 | 2646265.6147 | 1185318.0569
26 | 2646275.4029 | 1185351.6014
27 | 2646265.3386 | 1185317.7421
28 | 2646194.7544 | 1185407.9388
29 | 2646203.3748 | 1185401.9781
30 | 2646185.365 | 1185414.4314
31 | 2646209.1685 | 1185397.9719
32 | 2646180.4846 | 1185417.8061
33 | 2646218.7461 | 1185391.3492
34 | 2646178.4321 | 1185419.6513
35 | 2646231.9423 | 1185382.2243
36 | 2646168.0768 | 1185432.5074
37 | 2646254.5754 | 1185366.4786
38 | 2646257.1274 | 1185378.5088
39 | 2646237.0522 | 1185378.6909
40 | 2646278.4993 | 1185406.7558
41 | 2646286.1308 | 1185410.3991
42 | 2646264.5408 | 1185316.8323
43 | 2646356.9892 | 1185433.3077
44 | 2646339.4103 | 1185448.2263
45 | 2646339.1988 | 1185448.4058
46 | 2646288.1335 | 1185411.3552
47 | 2646292.9614 | 1185413.6601
48 | 2646300.6123 | 1185420.056
49 | 2646290.944 | 1185487.1434
50 | 2646305.356 | 1185475.5759
51 | 2646286.783 | 1185490.4831
52 | 2646306.8408 | 1185474.3841
53 | 2646271.1335 | 1185502.2517
54 | 2646359.4417 | 1185594.5605
55 | 2646313.4429 | 1185469.0851
56 | 2646261.7841 | 1185505.2899
57 | 2646399.735 | 1185581.8891
58 | 2646322.1241 | 1185462.1174
59 | 2646245.7178 | 1185511.0755
60 | 2646221.5251 | 1185454.2849
61 | 2646219.4712 | 1185455.8474
62 | 2646214.4074 | 1185459.6996
63 | 2646196.4648 | 1185473.3494
64 | 2646183.2675 | 1185479.5501
65 | 2646323.0216 | 1185461.397
66 | 2646177.0359 | 1185460.4214
67 | 2646150.207 | 1185443.902
68 | 2646179.3 | 1185466.7648
69 | 2646131.0526 | 1185461.6606
70 | 2646133.6016 | 1185469.5845
71 | 2646173.9115 | 1185494.6084
72 | 2646149.7219 | 1185512.3105
73 | 2646148.7713 | 1185513.0061
74 | 2646235.827 | 1185516.2611
75 | 2646223.2263 | 1185525.2763
76 | 2646211.3092 | 1185533.8023
77 | 2646205.8033 | 1185537.7414
78 | 2646190.8105 | 1185548.468
79 | 2646228.192 | 1185449.2131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97984 | -0.14101 | 0.0016773 | 0.00042037
1 | 0.97929 | -0.14488 | 0 | 0
2 | 0.98073 | -0.1347 | 0 | 0
3 | 0.97867 | -0.14934 | 0.0016362 | 0.00041008
4 | 0.98065 | -0.13523 | 0.00090627 | 0.00022713
5 | 0.98221 | -0.12419 | 0.0010693 | 0.000268
6 | 0.97792 | -0.15468 | 0.00089296 | 0.0002238
7 | 0.9805 | -0.13635 | 0.0011614 | 0.00029107
8 | 0.98237 | -0.12304 | 0.0005491 | 0.00013762
9 | 0.97756 | -0.15725 | 0 | 0
10 | 0.98043 | -0.13687 | 0 | 0
11 | 0.98276 | -0.1203 | 0 | 0
12 | 0.97655 | -0.16444 | 0.00085278 | 0.00021373
13 | 0.9765 | -0.16479 | 0.001226 | 0.00030727
14 | 0.97585 | -0.16945 | 0.0012413 | 0.0003111
15 | 0.98041 | -0.137 | 0.00060327 | 0.00015119
16 | 0.98041 | -0.13696 | 0.00089168 | 0.00022348
17 | 0.98428 | -0.10961 | 0.0020755 | 0.00052016
18 | 0.98431 | -0.10941 | 0 | 0
19 | 0.98443 | -0.10857 | 0.0015423 | 0.00038653
20 | 0.98425 | -0.10981 | 0.00075563 | 0.00018938
21 | 0.98484 | -0.1056 | 0 | 0
22 | 0.98421 | -0.1101 | 0.00075625 | 0.00018954
23 | 0.9842 | -0.11019 | 0.0026483 | 0.00066373
24 | 0.98321 | -0.1171 | 0 | 0
25 | 0.98249 | -0.12221 | 0.0021992 | 0.00055117
26 | 0.98343 | -0.11558 | 0.0012237 | 0.00030669
27 | 0.98249 | -0.12222 | 0.0013477 | 0.00033776
28 | 0.98952 | -0.072712 | 0.00092046 | 0.00023069
29 | 0.98877 | -0.077947 | 0.00092838 | 0.00023267
30 | 0.99034 | -0.066964 | 0.0010607 | 0.00026584
31 | 0.98828 | -0.081437 | 0.00072659 | 0.0001821
32 | 0.99077 | -0.063948 | 0 | 0
33 | 0.98746 | -0.087171 | 0.001977 | 0.00049548
34 | 0.99097 | -0.062546 | 0.0010596 | 0.00026557
35 | 0.98636 | -0.094924 | 0.0011361 | 0.00028474
36 | 0.99221 | -0.05396 | 0 | 0
37 | 0.9846 | -0.10729 | 0.0010922 | 0.00027374
38 | 0.98451 | -0.10799 | 0 | 0
39 | 0.98594 | -0.097894 | 0.00080004 | 0.00020051
40 | 0.98345 | -0.11553 | 0.01341 | 0.003361
41 | 0.98336 | -0.11616 | 0.0016901 | 0.00042358
42 | 0.98249 | -0.12225 | 0.002034 | 0.00050978
43 | 0.97572 | -0.1704 | 0.00070581 | 0.00017689
44 | 0.975 | -0.17556 | 0.0008247 | 0.00020669
45 | 0.97499 | -0.17562 | 0.0011662 | 0.00029229
46 | 0.98334 | -0.11629 | 0.0009205 | 0.0002307
47 | 0.98331 | -0.11654 | 0.0013166 | 0.00032998
48 | 0.98326 | -0.11688 | 0.0032621 | 0.00081757
49 | 0.97326 | -0.188 | 0.0012124 | 0.00030385
50 | 0.97373 | -0.18461 | 0.0012681 | 0.00031782
51 | 0.973 | -0.18989 | 0.0012216 | 0.00030617
52 | 0.97378 | -0.18424 | 0.0018471 | 0.00046292
53 | 0.97231 | -0.1948 | 0.0011421 | 0.00028623
54 | 0.97137 | -0.20159 | 0.0010573 | 0.00026499
55 | 0.97402 | -0.18255 | 0.00071469 | 0.00017912
56 | 0.97199 | -0.19715 | 0.0024286 | 0.00060865
57 | 0.97089 | -0.20508 | 0.0076628 | 0.0019205
58 | 0.97434 | -0.18028 | 0.0010034 | 0.00025148
59 | 0.97148 | -0.20079 | 0.0033948 | 0.00085081
60 | 1 | 0 | -0.12352 | -0.031036
61 | 0.99977 | -0.0015538 | 0.00218 | 0.00054635
62 | 0.99923 | -0.0053183 | 0.0011658 | 0.00029218
63 | 0.99731 | -0.018558 | 0.0032893 | 0.00082437
64 | 0.99605 | -0.027225 | 0 | 0
65 | 0.97437 | -0.18004 | 0.00088552 | 0.00022193
66 | 0.99446 | -0.038272 | 0.0017934 | 0.00044947
67 | 0.99206 | -0.054973 | 0.0021645 | 0.00054248
68 | 0.99499 | -0.034624 | 0.0016447 | 0.0004122
69 | 0.99196 | -0.055709 | 0 | 0
70 | 0.99193 | -0.055914 | 0.0024296 | 0.00060892
71 | 0.99592 | -0.02815 | 0.0017071 | 0.00042783
72 | 0.99578 | -0.029123 | 0.0016233 | 0.00040685
73 | 0.99578 | -0.029142 | 0.0016004 | 0.00040109
74 | 0.97121 | -0.20277 | 0.0018966 | 0.00047534
75 | 0.97087 | -0.2052 | 0.0028324 | 0.00070986
76 | 0.97061 | -0.20707 | 0.003417 | 0.00085639
77 | 0.97053 | -0.20768 | 0.002015 | 0.00050502
78 | 0.97035 | -0.20897 | 0.006577 | 0.0016484
79 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.049487 | 0.012443 | -0.049461 | -0.012433 | 2.67e-05 | 9.8881e-06 | 0.075168 | 0.075168 | 0.075168 | 0.97984 | -0.14101 | 0.97929 | -0.14488 | 13.92
1 | -0.051165 | -0.012863 | 0.05121 | 0.01288 | 4.5017e-05 | 1.6712e-05 | 0.077715 | 0.077715 | 0.077715 | 0.97984 | -0.14101 | 0.98073 | -0.1347 | 14.3917
2 | 0.049461 | 0.012433 | -0.04943 | -0.012422 | 3.0686e-05 | 1.1365e-05 | 0.075168 | 0.075168 | 0.075168 | 0.97929 | -0.14488 | 0.97867 | -0.14934 | 13.92
3 | 0.0035634 | 0.00089168 | -0.0035631 | -0.00089177 | 2.6396e-07 | -8.1101e-08 | 0.0054061 | 0.0054061 | 0.0054061 | 0.98073 | -0.1347 | 0.98065 | -0.13523 | 2.0023
4 | -0.054773 | -0.013772 | 0.054854 | 0.013802 | 8.0336e-05 | 2.9956e-05 | 0.083121 | 0.08312 | 0.083121 | 0.98073 | -0.1347 | 0.98221 | -0.12419 | 15.3927
5 | 0.047794 | 0.012012 | -0.047758 | -0.011999 | 3.5489e-05 | 1.3109e-05 | 0.07268 | 0.07268 | 0.07268 | 0.97867 | -0.14934 | 0.97792 | -0.15468 | 13.4593
6 | 0.0026569 | 0.00066463 | -0.0026564 | -0.00066499 | 4.1019e-07 | -3.5254e-07 | 0.004031 | 0.0040312 | 0.0040312 | 0.98065 | -0.13523 | 0.9805 | -0.13635 | 1.493
7 | -0.055923 | -0.01407 | 0.055932 | 0.014073 | 8.9296e-06 | 3.3336e-06 | 0.08474 | 0.08474 | 0.08474 | 0.98221 | -0.12419 | 0.98237 | -0.12304 | 15.6927
8 | 0.046865 | 0.011775 | -0.046849 | -0.011769 | 1.6776e-05 | 6.1873e-06 | 0.071322 | 0.071322 | 0.071322 | 0.97792 | -0.15468 | 0.97756 | -0.15725 | 13.2077
9 | 0.0014951 | 0.00037392 | -0.001495 | -0.0003743 | 1.0597e-07 | -3.7534e-07 | 0.0022687 | 0.0022688 | 0.0022688 | 0.9805 | -0.13635 | 0.98043 | -0.13687 | 0.8403
10 | -0.056481 | -0.014211 | 0.056503 | 0.014219 | 2.1631e-05 | 8.0799e-06 | 0.085572 | 0.085572 | 0.085572 | 0.98237 | -0.12304 | 0.98276 | -0.1203 | 15.8467
11 | 0.046849 | 0.011769 | -0.046802 | -0.011751 | 4.681e-05 | 1.7265e-05 | 0.071322 | 0.071322 | 0.071322 | 0.97756 | -0.15725 | 0.97655 | -0.16444 | 13.2078
12 | 0.00060328 | 0.00015094 | -0.00060327 | -0.00015119 | 1.077e-08 | -2.5551e-07 | 0.00091552 | 0.00091561 | 0.00091561 | 0.98043 | -0.13687 | 0.98041 | -0.137 | 0.33912
13 | 0.00089169 | 0.00022336 | -0.00089168 | -0.00022348 | 1.1118e-08 | -1.1841e-07 | 0.0013533 | 0.0013533 | 0.0013533 | 0.98043 | -0.13687 | 0.98041 | -0.13696 | 0.50124
14 | -0.062085 | -0.015618 | 0.062113 | 0.015628 | 2.7657e-05 | 1.0383e-05 | 0.094024 | 0.094024 | 0.094024 | 0.98276 | -0.1203 | 0.98321 | -0.1171 | 17.4119
15 | 0.0055824 | 0.0013988 | -0.0055809 | -0.0013987 | 1.4778e-06 | 1.4846e-07 | 0.0084523 | 0.0084524 | 0.0084524 | 0.98276 | -0.1203 | 0.98249 | -0.12221 | 3.1305
16 | 0.045949 | 0.011538 | -0.045947 | -0.011537 | 2.2089e-06 | 8.1344e-07 | 0.070023 | 0.070023 | 0.070023 | 0.97655 | -0.16444 | 0.9765 | -0.16479 | 12.9672
17 | 0.044721 | 0.011229 | -0.044692 | -0.011219 | 2.8972e-05 | 1.0643e-05 | 0.068154 | 0.068155 | 0.068155 | 0.9765 | -0.16479 | 0.97585 | -0.16945 | 12.6212
18 | 0.043451 | 0.010908 | -0.043445 | -0.010906 | 5.7309e-06 | 2.0997e-06 | 0.066262 | 0.066262 | 0.066262 | 0.97585 | -0.16945 | 0.97572 | -0.1704 | 12.2707
19 | -0.0020755 | -0.00052016 | 0.0020755 | 0.00052007 | 5.6202e-08 | -9.4667e-08 | 0.0031377 | 0.0031376 | 0.0031377 | 0.98428 | -0.10961 | 0.98431 | -0.10941 | 1.1621
20 | -0.0062361 | -0.0015626 | 0.0062368 | 0.0015627 | 7.246e-07 | 1.1259e-07 | 0.0094273 | 0.0094272 | 0.0094273 | 0.98431 | -0.10941 | 0.98443 | -0.10857 | 3.4916
21 | 0.0041606 | 0.0010425 | -0.0041604 | -0.0010426 | 2.2715e-07 | -2.9591e-08 | 0.0062896 | 0.0062897 | 0.0062897 | 0.98431 | -0.10941 | 0.98425 | -0.10981 | 2.3295
22 | -0.0077791 | -0.0019492 | 0.0077823 | 0.00195 | 3.2034e-06 | 7.5981e-07 | 0.011758 | 0.011758 | 0.011758 | 0.98443 | -0.10857 | 0.98484 | -0.1056 | 4.355
23 | 0.0034047 | 0.00085318 | -0.0034046 | -0.00085323 | 1.3828e-07 | -5.3112e-08 | 0.0051473 | 0.0051473 | 0.0051473 | 0.98425 | -0.10981 | 0.98421 | -0.1101 | 1.9064
24 | 0.020629 | 0.0051732 | -0.020622 | -0.0051707 | 6.8295e-06 | 2.4834e-06 | 0.03117 | 0.03117 | 0.03117 | 0.98484 | -0.1056 | 0.98451 | -0.10799 | 11.5445
25 | -0.092942 | -0.02337 | 0.093042 | 0.023408 | 9.9863e-05 | 3.7996e-05 | 0.14045 | 0.14045 | 0.14045 | 0.98484 | -0.1056 | 0.98594 | -0.097894 | 26.0101
26 | 0.06453 | 0.016247 | -0.064515 | -0.016241 | 1.5237e-05 | 5.7297e-06 | 0.097526 | 0.097526 | 0.097526 | 0.98484 | -0.1056 | 0.9846 | -0.10729 | 18.0604
27 | 0.0026483 | 0.0006637 | -0.0026483 | -0.00066373 | 3.1614e-08 | -2.8001e-08 | 0.004004 | 0.004004 | 0.004004 | 0.98421 | -0.1101 | 0.9842 | -0.11019 | 1.483
28 | -0.062113 | -0.015628 | 0.062126 | 0.015633 | 1.3202e-05 | 4.9563e-06 | 0.094024 | 0.094024 | 0.094024 | 0.98321 | -0.1171 | 0.98343 | -0.11558 | 17.4119
29 | 0.0033817 | 0.00084752 | -0.0033817 | -0.00084753 | 6.8536e-09 | -2.6663e-09 | 0.0051217 | 0.0051217 | 0.0051217 | 0.98249 | -0.12221 | 0.98249 | -0.12222 | 1.8969
30 | -0.063349 | -0.01594 | 0.063423 | 0.015967 | 7.3406e-05 | 2.7583e-05 | 0.095876 | 0.095876 | 0.095876 | 0.98343 | -0.11558 | 0.9846 | -0.10729 | 17.7548
31 | 0.002034 | 0.00050976 | -0.002034 | -0.00050978 | 7.166e-09 | -1.2568e-08 | 0.0030806 | 0.0030806 | 0.0030806 | 0.98249 | -0.12222 | 0.98249 | -0.12225 | 1.141
32 | 0.09895 | 0.024933 | -0.098877 | -0.024905 | 7.2445e-05 | 2.7595e-05 | 0.14885 | 0.14885 | 0.14885 | 0.98952 | -0.072712 | 0.98877 | -0.077947 | 27.564
33 | -0.09987 | -0.025163 | 0.099951 | 0.025194 | 8.0383e-05 | 3.0623e-05 | 0.15023 | 0.15023 | 0.15023 | 0.98952 | -0.072712 | 0.99034 | -0.066964 | 27.8203
34 | 0.097949 | 0.024672 | -0.097901 | -0.024654 | 4.778e-05 | 1.8196e-05 | 0.14745 | 0.14745 | 0.14745 | 0.98877 | -0.077947 | 0.98828 | -0.081437 | 27.3053
35 | -0.10101 | -0.02546 | 0.10105 | 0.025476 | 4.2672e-05 | 1.626e-05 | 0.15182 | 0.15182 | 0.15182 | 0.99034 | -0.066964 | 0.99077 | -0.063948 | 28.1154
36 | 0.097174 | 0.024472 | -0.097097 | -0.024442 | 7.7818e-05 | 2.9632e-05 | 0.14635 | 0.14635 | 0.14635 | 0.98828 | -0.081437 | 0.98746 | -0.087171 | 27.1027
37 | -0.10105 | -0.025476 | 0.10107 | 0.025484 | 1.985e-05 | 7.5634e-06 | 0.15182 | 0.15182 | 0.15182 | 0.99077 | -0.063948 | 0.99097 | -0.062546 | 28.1154
38 | 0.09512 | 0.023947 | -0.095017 | -0.023908 | 0.0001029 | 3.9167e-05 | 0.14338 | 0.14338 | 0.14338 | 0.98746 | -0.087171 | 0.98636 | -0.094924 | 26.551
39 | -0.10213 | -0.025749 | 0.10226 | 0.025796 | 0.00012301 | 4.688e-05 | 0.15341 | 0.15341 | 0.15341 | 0.99097 | -0.062546 | 0.99221 | -0.05396 | 28.4101
40 | 0.093881 | 0.023623 | -0.093842 | -0.023608 | 3.8898e-05 | 1.4802e-05 | 0.14166 | 0.14166 | 0.14166 | 0.98636 | -0.094924 | 0.98594 | -0.097894 | 26.2337
41 | -0.10685 | -0.026947 | 0.10709 | 0.027037 | 0.00023551 | 8.9819e-05 | 0.16031 | 0.1603 | 0.16031 | 0.99221 | -0.05396 | 0.99446 | -0.038272 | 29.6862
42 | 0.0045951 | 0.001151 | -0.0045945 | -0.001151 | 6.4417e-07 | -3.2971e-08 | 0.0068911 | 0.0068912 | 0.0068912 | 0.99221 | -0.05396 | 0.99206 | -0.054973 | 2.5523
43 | 0.020622 | 0.0051707 | -0.020601 | -0.0051629 | 2.1546e-05 | 7.8354e-06 | 0.03117 | 0.03117 | 0.03117 | 0.98451 | -0.10799 | 0.98345 | -0.11553 | 11.5445
44 | 0.0071904 | 0.0018019 | -0.0071898 | -0.0018018 | 6.2459e-07 | 1.3294e-07 | 0.010879 | 0.01088 | 0.01088 | 0.98345 | -0.11553 | 0.98336 | -0.11616 | 4.0294
45 | 0.0054997 | 0.0013782 | -0.0054996 | -0.0013782 | 9.5902e-08 | 8.7333e-09 | 0.008322 | 0.008322 | 0.008322 | 0.98336 | -0.11616 | 0.98334 | -0.11629 | 3.0822
46 | 0.042739 | 0.010729 | -0.042708 | -0.010718 | 3.0566e-05 | 1.1181e-05 | 0.065185 | 0.065186 | 0.065186 | 0.97572 | -0.1704 | 0.975 | -0.17556 | 12.0714
47 | 0.041884 | 0.010511 | -0.041883 | -0.010511 | 3.5367e-07 | 1.2911e-07 | 0.063927 | 0.063927 | 0.063927 | 0.975 | -0.17556 | 0.97499 | -0.17562 | 11.8383
48 | 0.040717 | 0.010218 | -0.040692 | -0.010209 | 2.5002e-05 | 9.0989e-06 | 0.062147 | 0.062147 | 0.062147 | 0.97499 | -0.17562 | 0.97437 | -0.18004 | 11.5087
49 | 0.0045791 | 0.0011475 | -0.0045789 | -0.0011475 | 1.6028e-07 | -6.2181e-09 | 0.0069291 | 0.0069291 | 0.0069291 | 0.98334 | -0.11629 | 0.98331 | -0.11654 | 2.5664
50 | 0.0032623 | 0.0008175 | -0.0032621 | -0.00081757 | 1.5165e-07 | -6.8162e-08 | 0.0049367 | 0.0049368 | 0.0049368 | 0.98331 | -0.11654 | 0.98326 | -0.11688 | 1.8284
51 | -0.034933 | -0.0087614 | 0.034949 | 0.0087673 | 1.6448e-05 | 5.8666e-06 | 0.053411 | 0.053411 | 0.053411 | 0.97326 | -0.188 | 0.97373 | -0.18461 | 9.8909
52 | 0.03372 | 0.0084576 | -0.033711 | -0.0084542 | 8.8498e-06 | 3.3375e-06 | 0.051557 | 0.051557 | 0.051557 | 0.97326 | -0.188 | 0.973 | -0.18989 | 19.0952
53 | -0.036217 | -0.0090851 | 0.036219 | 0.0090857 | 1.8198e-06 | 6.5257e-07 | 0.055348 | 0.055348 | 0.055348 | 0.97373 | -0.18461 | 0.97378 | -0.18424 | 10.2497
54 | 0.023752 | 0.0059578 | -0.023736 | -0.0059519 | 1.6157e-05 | 5.9707e-06 | 0.036326 | 0.036326 | 0.036326 | 0.973 | -0.18989 | 0.97231 | -0.1948 | 13.454
55 | 0.008738 | 0.0021902 | -0.0087238 | -0.0021864 | 1.4145e-05 | 3.8663e-06 | 0.013363 | 0.013364 | 0.013364 | 0.973 | -0.18989 | 0.97137 | -0.20159 | 4.9495
56 | -0.038066 | -0.0095487 | 0.038075 | 0.0095519 | 8.9377e-06 | 3.2269e-06 | 0.058171 | 0.058171 | 0.058171 | 0.97378 | -0.18424 | 0.97402 | -0.18255 | 10.7724
57 | 0.022594 | 0.0056656 | -0.022586 | -0.0056629 | 7.3448e-06 | 2.7029e-06 | 0.034578 | 0.034578 | 0.034578 | 0.97231 | -0.1948 | 0.97199 | -0.19715 | 12.8067
58 | 0.0076665 | 0.0019214 | -0.0076628 | -0.0019205 | 3.7007e-06 | 8.9132e-07 | 0.011744 | 0.011744 | 0.011744 | 0.97137 | -0.20159 | 0.97089 | -0.20508 | 4.3497
59 | -0.03879 | -0.009731 | 0.038802 | 0.0097354 | 1.2198e-05 | 4.4142e-06 | 0.059263 | 0.059263 | 0.059263 | 0.97402 | -0.18255 | 0.97434 | -0.18028 | 10.9746
60 | 0.020158 | 0.0050543 | -0.020147 | -0.0050506 | 1.0162e-05 | 3.6968e-06 | 0.03086 | 0.03086 | 0.03086 | 0.97199 | -0.19715 | 0.97148 | -0.20079 | 11.4297
61 | -0.039805 | -0.0099869 | 0.039807 | 0.0099874 | 1.3271e-06 | 4.8174e-07 | 0.060795 | 0.060795 | 0.060795 | 0.97434 | -0.18028 | 0.97437 | -0.18004 | 11.2583
62 | 0.016753 | 0.0041998 | -0.016748 | -0.0041981 | 4.5963e-06 | 1.6293e-06 | 0.02566 | 0.025661 | 0.025661 | 0.97148 | -0.20079 | 0.97121 | -0.20277 | 9.5039
63 | 0.12272 | 0.031036 | -0.12269 | -0.031025 | 2.6877e-05 | 1.027e-05 | 0.1827 | 0.1827 | 0.1827 | 1 | 0 | 0.99977 | -0.0015538 | 33.834
64 | 0.12051 | 0.030479 | -0.12045 | -0.030455 | 6.3931e-05 | 2.4422e-05 | 0.17946 | 0.17946 | 0.17946 | 0.99977 | -0.0015538 | 0.99923 | -0.0053183 | 33.2331
65 | 0.11928 | 0.030162 | -0.11906 | -0.030078 | 0.00022217 | 8.486e-05 | 0.17772 | 0.17772 | 0.17772 | 0.99923 | -0.0053183 | 0.99731 | -0.018558 | 32.9117
66 | 0.11577 | 0.029253 | -0.11563 | -0.029199 | 0.00014105 | 5.3854e-05 | 0.17282 | 0.17282 | 0.17282 | 0.99731 | -0.018558 | 0.99605 | -0.027225 | 32.0029
67 | 0.1107 | 0.027964 | -0.11058 | -0.02792 | 0.00011508 | 4.391e-05 | 0.16545 | 0.16545 | 0.16545 | 0.99605 | -0.027225 | 0.99499 | -0.034624 | 30.6385
68 | 0.0049318 | 0.0012355 | -0.0049312 | -0.0012355 | 6.3056e-07 | 2.4773e-10 | 0.0073676 | 0.0073676 | 0.0073676 | 0.99605 | -0.027225 | 0.99592 | -0.02815 | 2.7288
69 | -0.10888 | -0.027486 | 0.10894 | 0.027508 | 5.5825e-05 | 2.1296e-05 | 0.16299 | 0.16299 | 0.16299 | 0.99446 | -0.038272 | 0.99499 | -0.034624 | 30.183
70 | 0.0024299 | 0.00060855 | -0.0024297 | -0.00060884 | 2.4722e-07 | -2.8998e-07 | 0.0036446 | 0.0036447 | 0.0036447 | 0.99206 | -0.054973 | 0.99196 | -0.055709 | 1.3499
71 | 0.0024297 | 0.00060884 | -0.0024296 | -0.00060892 | 6.8991e-08 | -8.0904e-08 | 0.0036447 | 0.0036447 | 0.0036447 | 0.99196 | -0.055709 | 0.99193 | -0.055914 | 1.3499
72 | 0.0032242 | 0.0008077 | -0.0032237 | -0.00080793 | 4.3404e-07 | -2.2306e-07 | 0.0048171 | 0.0048173 | 0.0048173 | 0.99592 | -0.02815 | 0.99578 | -0.029123 | 1.7842
73 | 0.0016004 | 0.00040108 | -0.0016004 | -0.00040109 | 4.2039e-09 | -1.3707e-08 | 0.0023915 | 0.0023915 | 0.0023915 | 0.99578 | -0.029123 | 0.99578 | -0.029142 | 0.88574
74 | 0.014851 | 0.0037228 | -0.014846 | -0.0037211 | 5.0058e-06 | 1.7337e-06 | 0.022755 | 0.022755 | 0.022755 | 0.97121 | -0.20277 | 0.97087 | -0.2052 | 8.4277
75 | 0.012014 | 0.0030112 | -0.012011 | -0.0030102 | 3.1002e-06 | 1.0112e-06 | 0.018414 | 0.018414 | 0.018414 | 0.97087 | -0.2052 | 0.97061 | -0.20707 | 6.8199
76 | 0.008594 | 0.0021538 | -0.0085933 | -0.0021536 | 7.3329e-07 | 1.9837e-07 | 0.013175 | 0.013175 | 0.013175 | 0.97061 | -0.20707 | 0.97053 | -0.20768 | 4.8797
77 | 0.0065782 | 0.0016486 | -0.006577 | -0.0016484 | 1.1702e-06 | 2.2229e-07 | 0.010086 | 0.010086 | 0.010086 | 0.97053 | -0.20768 | 0.97035 | -0.20897 | 3.7355

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12482 | 0.031361

## res_load
| p_mw | q_mvar
0 | 0.0016773 | 0.00042037
1 | 0.0016362 | 0.00041008
2 | 0.00090627 | 0.00022713
3 | 0.0010693 | 0.000268
4 | 0.00089296 | 0.0002238
5 | 0.0011614 | 0.00029107
6 | 0.0005491 | 0.00013762
7 | 0.00085278 | 0.00021373
8 | 0.001226 | 0.00030727
9 | 0.0012413 | 0.0003111
10 | 0.00060327 | 0.00015119
11 | 0.00089168 | 0.00022348
12 | 0.0020755 | 0.00052016
13 | 0.0015423 | 0.00038653
14 | 0.00075563 | 0.00018938
15 | 0.00075625 | 0.00018954
16 | 0.0026483 | 0.00066373
17 | 0.0021992 | 0.00055117
18 | 0.0012237 | 0.00030669
19 | 0.0013477 | 0.00033776
20 | 0.00092046 | 0.00023069
21 | 0.00092838 | 0.00023267
22 | 0.0010607 | 0.00026584
23 | 0.00072659 | 0.0001821
24 | 0.001977 | 0.00049548
25 | 0.0010596 | 0.00026557
26 | 0.0011361 | 0.00028474
27 | 0.0010922 | 0.00027374
28 | 0.00080004 | 0.00020051
29 | 0.01341 | 0.003361
30 | 0.0016901 | 0.00042358
31 | 0.002034 | 0.00050978
32 | 0.00070581 | 0.00017689
33 | 0.0008247 | 0.00020669
34 | 0.0011662 | 0.00029229
35 | 0.0009205 | 0.0002307
36 | 0.0013166 | 0.00032998
37 | 0.0032621 | 0.00081757
38 | 0.0012124 | 0.00030385
39 | 0.0012681 | 0.00031782
40 | 0.0012216 | 0.00030617
41 | 0.0018471 | 0.00046292
42 | 0.0011421 | 0.00028623
43 | 0.0010573 | 0.00026499
44 | 0.00071469 | 0.00017912
45 | 0.0024286 | 0.00060865
46 | 0.0076628 | 0.0019205
47 | 0.0010034 | 0.00025148
48 | 0.0033948 | 0.00085081
49 | 0.0012986 | 0.00032546
50 | 0.00218 | 0.00054635
51 | 0.0011658 | 0.00029218
52 | 0.0032893 | 0.00082437
53 | 0.00088552 | 0.00022193
54 | 0.0017934 | 0.00044947
55 | 0.0021645 | 0.00054248
56 | 0.0016447 | 0.0004122
57 | 0.0024296 | 0.00060892
58 | 0.0017071 | 0.00042783
59 | 0.0016233 | 0.00040685
60 | 0.0016004 | 0.00040109
61 | 0.0018966 | 0.00047534
62 | 0.0028324 | 0.00070986
63 | 0.003417 | 0.00085639
64 | 0.002015 | 0.00050502
65 | 0.006577 | 0.0016484

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1