## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1005-1_1_2_node_331 | 0.4 | n |  | TRUE
1 | bus_LV_1005-1_1_2_node_232 | 0.4 | n |  | TRUE
2 | bus_LV_1005-1_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1005-1_1_2_node_149 | 0.4 | n |  | TRUE
4 | bus_LV_1005-1_1_2_node_147 | 0.4 | n |  | TRUE
5 | bus_LV_1005-1_1_2_node_332 | 0.4 | n |  | TRUE
6 | bus_LV_1005-1_1_2_node_202 | 0.4 | n |  | TRUE
7 | bus_LV_1005-1_1_2_node_148 | 0.4 | n |  | TRUE
8 | bus_LV_1005-1_1_2_node_150 | 0.4 | n |  | TRUE
9 | bus_LV_1005-1_1_2_node_151 | 0.4 | n |  | TRUE
10 | bus_LV_1005-1_1_2_node_152 | 0.4 | n |  | TRUE
11 | bus_LV_1005-1_1_2_node_220 | 0.4 | n |  | TRUE
12 | bus_LV_1005-1_1_2_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_1005-1_1_2_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1005-1_1_2_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_1005-1_1_2_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_1005-1_1_2_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1005-1_1_2_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_1005-1_1_2_node_199 | 0.4 | n |  | TRUE
19 | bus_LV_1005-1_1_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1005-1_1_2_node_187 | 0.4 | n |  | TRUE
21 | bus_LV_1005-1_1_2_node_188 | 0.4 | n |  | TRUE
22 | bus_LV_1005-1_1_2_node_189 | 0.4 | n |  | TRUE
23 | bus_LV_1005-1_1_2_node_190 | 0.4 | n |  | TRUE
24 | bus_LV_1005-1_1_2_node_191 | 0.4 | n |  | TRUE
25 | bus_LV_1005-1_1_2_node_193 | 0.4 | n |  | TRUE
26 | bus_LV_1005-1_1_2_node_194 | 0.4 | n |  | TRUE
27 | bus_LV_1005-1_1_2_node_195 | 0.4 | n |  | TRUE
28 | bus_LV_1005-1_1_2_node_201 | 0.4 | n |  | TRUE
29 | bus_LV_1005-1_1_2_node_196 | 0.4 | n |  | TRUE
30 | bus_LV_1005-1_1_2_node_229 | 0.4 | n |  | TRUE
31 | bus_LV_1005-1_1_2_node_197 | 0.4 | n |  | TRUE
32 | bus_LV_1005-1_1_2_node_358 | 0.4 | n |  | TRUE
33 | bus_LV_1005-1_1_2_node_198 | 0.4 | n |  | TRUE
34 | bus_LV_1005-1_1_2_node_200 | 0.4 | n |  | TRUE
35 | bus_LV_1005-1_1_2_node_203 | 0.4 | n |  | TRUE
36 | bus_LV_1005-1_1_2_node_204 | 0.4 | n |  | TRUE
37 | bus_LV_1005-1_1_2_node_205 | 0.4 | n |  | TRUE
38 | bus_LV_1005-1_1_2_node_206 | 0.4 | n |  | TRUE
39 | bus_LV_1005-1_1_2_node_207 | 0.4 | n |  | TRUE
40 | bus_LV_1005-1_1_2_node_365 | 0.4 | n |  | TRUE
41 | bus_LV_1005-1_1_2_node_208 | 0.4 | n |  | TRUE
42 | bus_LV_1005-1_1_2_node_209 | 0.4 | n |  | TRUE
43 | bus_LV_1005-1_1_2_node_213 | 0.4 | n |  | TRUE
44 | bus_LV_1005-1_1_2_node_222 | 0.4 | n |  | TRUE
45 | bus_LV_1005-1_1_2_node_219 | 0.4 | n |  | TRUE
46 | bus_LV_1005-1_1_2_node_210 | 0.4 | n |  | TRUE
47 | bus_LV_1005-1_1_2_node_211 | 0.4 | n |  | TRUE
48 | bus_LV_1005-1_1_2_node_212 | 0.4 | n |  | TRUE
49 | bus_LV_1005-1_1_2_node_214 | 0.4 | n |  | TRUE
50 | bus_LV_1005-1_1_2_node_215 | 0.4 | n |  | TRUE
51 | bus_LV_1005-1_1_2_node_216 | 0.4 | n |  | TRUE
52 | bus_LV_1005-1_1_2_node_217 | 0.4 | n |  | TRUE
53 | bus_LV_1005-1_1_2_node_218 | 0.4 | n |  | TRUE
54 | bus_LV_1005-1_1_2_node_221 | 0.4 | n |  | TRUE
55 | bus_LV_1005-1_1_2_node_223 | 0.4 | n |  | TRUE
56 | bus_LV_1005-1_1_2_node_224 | 0.4 | n |  | TRUE
57 | bus_LV_1005-1_1_2_node_329 | 0.4 | n |  | TRUE
58 | bus_LV_1005-1_1_2_node_225 | 0.4 | n |  | TRUE
59 | bus_LV_1005-1_1_2_node_226 | 0.4 | n |  | TRUE
60 | bus_LV_1005-1_1_2_node_227 | 0.4 | n |  | TRUE
61 | bus_LV_1005-1_1_2_node_231 | 0.4 | n |  | TRUE
62 | bus_LV_1005-1_1_2_node_228 | 0.4 | n |  | TRUE
63 | bus_LV_1005-1_1_2_node_230 | 0.4 | n |  | TRUE
64 | bus_MV_125_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1005-1_1_2_load_331 | 0 | 0.0003293 | 8.2531e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1005-1_1_2_load_232 | 1 | 0.00068611 | 0.00017195 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1005-1_1_2_load_147 | 4 | 0.0012825 | 0.00032141 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1005-1_1_2_load_332 | 5 | 0.0010574 | 0.00026502 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1005-1_1_2_load_202 | 6 | 0.00027449 | 6.8794e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1005-1_1_2_load_148 | 7 | 0.0018518 | 0.0004641 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1005-1_1_2_load_150 | 8 | 0.0083951 | 0.002104 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1005-1_1_2_load_152 | 10 | 0.00093258 | 0.00023373 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1005-1_1_2_load_42 | 12 | 0.005902 | 0.0014792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1005-1_1_2_load_65 | 15 | 6.5034e-05 | 1.6299e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1005-1_1_2_load_199 | 18 | 0.0038168 | 0.00095658 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1005-1_1_2_load_66 | 19 | 0.0012411 | 0.00031105 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1005-1_1_2_load_187 | 20 | 0.00079 | 0.00019799 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1005-1_1_2_load_188 | 21 | 0.00044283 | 0.00011098 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1005-1_1_2_load_189 | 22 | 0.00019292 | 4.8351e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1005-1_1_2_load_191 | 24 | 0.00056097 | 0.00014059 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1005-1_1_2_load_194 | 26 | 0.0008999 | 0.00022554 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1005-1_1_2_load_195 | 27 | 0.00029489 | 7.3907e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1005-1_1_2_load_201 | 28 | 0.00043573 | 0.0001092 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1005-1_1_2_load_197 | 31 | 0.00067049 | 0.00016804 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1005-1_1_2_load_358 | 32 | 0.00021497 | 5.3876e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1005-1_1_2_load_198 | 33 | 0.0011404 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1005-1_1_2_load_203 | 35 | 0.00078599 | 0.00019699 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1005-1_1_2_load_205 | 37 | 0.0006818 | 0.00017088 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1005-1_1_2_load_206 | 38 | 0.00032745 | 8.2066e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1005-1_1_2_load_365 | 40 | 0.0020095 | 0.00050364 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1005-1_1_2_load_208 | 41 | 0.0065225 | 0.0016347 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1005-1_1_2_load_213 | 43 | 0.00030059 | 7.5336e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1005-1_1_2_load_222 | 44 | 0.0092062 | 0.0023073 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1005-1_1_2_load_219 | 45 | 0.0033115 | 0.00082993 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1005-1_1_2_load_210 | 46 | 0.00024351 | 6.1029e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1005-1_1_2_load_211 | 47 | 0.0037923 | 0.00095043 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1005-1_1_2_load_212 | 48 | 0.00026486 | 6.638e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1005-1_1_2_load_214 | 49 | 0.00041305 | 0.00010352 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1005-1_1_2_load_215 | 50 | 0.00020737 | 5.1973e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1005-1_1_2_load_217 | 52 | 0.0043511 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1005-1_1_2_load_218 | 53 | 0.0029684 | 0.00074395 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1005-1_1_2_load_223 | 55 | 0.0028836 | 0.0007227 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1005-1_1_2_load_224 | 56 | 0.00046609 | 0.00011681 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1005-1_1_2_load_329 | 57 | 0.0011201 | 0.00028071 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1005-1_1_2_load_225 | 58 | 0.0014658 | 0.00036736 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1005-1_1_2_load_226 | 59 | 0.00048317 | 0.00012109 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1005-1_1_2_load_227 | 60 | 0.00023234 | 5.8229e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1005-1_1_2_load_228 | 62 | 0.00038027 | 9.5306e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1005-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1005-1_1_2_line_1 | NAYY 4x150 SE | 1 | 61 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1005-1_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.043724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1005-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.035485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1005-1_1_2_line_4 | NAYY 4x150 SE | 3 | 8 | 0.028599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1005-1_1_2_line_5 | NAYY 4x150 SE | 3 | 9 | 0.053104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1005-1_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1005-1_1_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.010834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1005-1_1_2_line_8 | NAYY 4x150 SE | 6 | 34 | 0.010718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1005-1_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0076293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1005-1_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.032923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1005-1_1_2_line_11 | NAYY 4x150 SE | 11 | 54 | 0.003458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1005-1_1_2_line_12 | NAYY 4x150 SE | 11 | 45 | 0.039604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1005-1_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.045577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1005-1_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.26226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1005-1_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.24172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1005-1_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.36084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1005-1_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.047657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1005-1_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.018276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1005-1_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.070363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1005-1_1_2_line_20 | NAYY 4x150 SE | 18 | 33 | 0.2543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1005-1_1_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.021793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1005-1_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0003772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1005-1_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.06221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1005-1_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.094577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1005-1_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.090972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1005-1_1_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.09833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1005-1_1_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.014567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1005-1_1_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.037181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1005-1_1_2_line_29 | NAYY 4x150 SE | 26 | 29 | 0.25855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1005-1_1_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.02387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1005-1_1_2_line_31 | NAYY 4x150 SE | 28 | 34 | 0.016318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1005-1_1_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.048276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1005-1_1_2_line_33 | NAYY 4x150 SE | 30 | 63 | 0.027833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1005-1_1_2_line_34 | NAYY 4x150 SE | 30 | 62 | 0.099701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1005-1_1_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.20891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1005-1_1_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.34986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1005-1_1_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.034005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1005-1_1_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.018535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1005-1_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.045517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1005-1_1_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.021714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1005-1_1_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.013466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1005-1_1_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.014813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1005-1_1_2_line_43 | NAYY 4x150 SE | 39 | 42 | 0.030055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1005-1_1_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.02573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1005-1_1_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.026147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1005-1_1_2_line_46 | NAYY 4x150 SE | 42 | 45 | 0.035938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1005-1_1_2_line_47 | NAYY 4x150 SE | 43 | 47 | 0.00022492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1005-1_1_2_line_48 | NAYY 4x150 SE | 44 | 56 | 0.02614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1005-1_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.014395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1005-1_1_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.018828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1005-1_1_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.024998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1005-1_1_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.040632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1005-1_1_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.015167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1005-1_1_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.020608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1005-1_1_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.023666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1005-1_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.011184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1005-1_1_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.030431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1005-1_1_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.030348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1005-1_1_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.050532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1005-1_1_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0051315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1005-1_1_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.11551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1005-1_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.014488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1005-1_1_2_trafo_227 | 0.25 MVA 20/0.4 kV | 64 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2646344.4922 | 1203765.5207 | 2646345.7337 | 1203768.404 | 2646349.0833 | 1203774.4642
1 | 2646342.1961 | 1203750.722 | 2646340.9316 | 1203752.8801 | 2646340.5074 | 1203754.6001 | 2646340.8684 | 1203757.1043 | 2646344.4922 | 1203765.5207
2 | 2646493.6704 | 1203395.6729 | 2646489.8436 | 1203407.3498 | 2646488.3981 | 1203415.1542 | 2646487.3993 | 1203424.2183 | 2646487.855 | 1203429.2247 | 2646489.1316 | 1203433.3369 | 2646491.4402 | 1203437.8241
3 | 2646493.6704 | 1203395.6729 | 2646481.9339 | 1203394.2142 | 2646458.5428 | 1203390.6687
4 | 2646491.4402 | 1203437.8241 | 2646469.2943 | 1203455.9201
5 | 2646509.8266 | 1203487.1732 | 2646506.2922 | 1203470.0915 | 2646504.7082 | 1203464.4092 | 2646501.1911 | 1203455.8659 | 2646497.9887 | 1203448.9036 | 2646491.4402 | 1203437.8241
6 | 2646458.5428 | 1203390.6687 | 2646436.6369 | 1203387.3484
7 | 2646002.0236 | 1203598.4519 | 2646002.3671 | 1203605.2251 | 2646004.3216 | 1203608.7743
8 | 2646011.2953 | 1203616.6336 | 2646006.6216 | 1203612.9511 | 2646004.3216 | 1203608.7743
9 | 2646509.8266 | 1203487.1732 | 2646512.7492 | 1203494.2205
10 | 2646533.0301 | 1203519.7613 | 2646530.5185 | 1203514.9834 | 2646516.7042 | 1203500.9346 | 2646513.6056 | 1203496.2856 | 2646512.7492 | 1203494.2205
11 | 2646533.0301 | 1203519.7613 | 2646536.4902 | 1203519.9995
12 | 2646533.0301 | 1203519.7613 | 2646519.2725 | 1203538.4983 | 2646512.7485 | 1203544.8067 | 2646507.1902 | 1203549.5141
13 | 2645815.3181 | 1204315.9061 | 2645784.6 | 1204303.8416 | 2645773.0756 | 1204298.811
14 | 2645601.1284 | 1204150.3957 | 2645614.1087 | 1204151.1952 | 2645639.6301 | 1204150.5341 | 2645645.7169 | 1204151.4589 | 2645651.2922 | 1204153.6027 | 2645655.849 | 1204156.617 | 2645659.806 | 1204160.4716 | 2645662.4686 | 1204164.472 | 2645664.1738 | 1204169.2989 | 2645665.0668 | 1204175.8873 | 2645664.9646 | 1204183.2908 | 2645662.3434 | 1204205.728 | 2645662.3407 | 1204213.0544 | 2645663.4632 | 1204220.4672 | 2645666.4783 | 1204229.0952 | 2645671.0193 | 1204237.1678 | 2645675.6478 | 1204243.7292 | 2645680.6083 | 1204248.6588 | 2645686.859 | 1204253.9874 | 2645695.9298 | 1204260.6272 | 2645707.3953 | 1204268.4749 | 2645718.204 | 1204274.6611 | 2645733.2997 | 1204282.3143 | 2645765.2351 | 1204295.3885 | 2645773.0756 | 1204298.811
15 | 2645815.3181 | 1204315.9061 | 2646056.721 | 1204328.3331
16 | 2645601.1284 | 1204150.3957 | 2645588.7425 | 1204148.4668 | 2645581.8306 | 1204143.0221 | 2645559.9336 | 1204138.2746 | 2645557.571 | 1204133.8319 | 2645557.7841 | 1204125.84 | 2645562.0098 | 1204114.4324 | 2645566.4404 | 1204108.0625 | 2645572.6214 | 1204105.6193 | 2645577.8097 | 1204102.6572 | 2645585.0658 | 1204093.9186 | 2645598.1198 | 1204081.0887 | 2645599.7436 | 1204075.6646 | 2645600.6599 | 1204063.2645 | 2645605.7529 | 1204056.8553 | 2645612.8378 | 1204051.6063 | 2645619.271 | 1204049.0206 | 2645627.9892 | 1204051.0661 | 2645636.0416 | 1204051.639 | 2645655.3134 | 1204059.4684 | 2645660.2608 | 1204060.1622 | 2645666.3859 | 1204060.0533 | 2645675.8431 | 1204057.9911 | 2645680.8836 | 1204058.441 | 2645691.5026 | 1204064.6257 | 2645693.7425 | 1204065.1987 | 2645696.3033 | 1204064.6068 | 2645700.4495 | 1204061.6368 | 2645705.8237 | 1204059.2432 | 2645721.1525 | 1204056.4032 | 2645730.2868 | 1204055.7616 | 2645753.3929 | 1204055.6384 | 2645767.8865 | 1204055.5493 | 2645787.161 | 1204056.0528 | 2645795.3805 | 1204055.6599 | 2645801.6645 | 1204054.6853 | 2645810.0908 | 1204053.1268 | 2645812.9687 | 1204051.8481
17 | 2645804.5828 | 1204098.7551 | 2645812.9687 | 1204051.8481
18 | 2645812.9687 | 1204051.8481 | 2645814.7857 | 1204047.0593 | 2645825.0149 | 1204038.7889
19 | 2645804.5828 | 1204098.7551 | 2645812.0333 | 1204087.5169 | 2645822.8127 | 1204076.7267 | 2645842.6504 | 1204064.305 | 2645859.1436 | 1204072.05
20 | 2645989.1018 | 1203939.781 | 2645986.1785 | 1203948.9081 | 2645988.3037 | 1203964.3889 | 2645985.075 | 1203985.5206 | 2645982.7726 | 1203994.0522 | 2645978.1513 | 1204010.2926 | 2645972.3661 | 1204019.5979 | 2645969.4908 | 1204021.5102 | 2645954.5633 | 1204025.5644 | 2645936.2714 | 1204024.9012 | 2645916.7531 | 1204013.5447 | 2645892.5543 | 1203999.4175 | 2645879.629 | 1203997.3615 | 2645870.2095 | 1203998.4677 | 2645853.2453 | 1204012.1453 | 2645830.4639 | 1204034.3833 | 2645825.0149 | 1204038.7889
21 | 2646186.0262 | 1203700.182 | 2646166.9164 | 1203710.6579
22 | 2646186.0262 | 1203700.182 | 2646186.357 | 1203700.0007
23 | 2646119.2291 | 1203687.517 | 2646131.6742 | 1203704.5561 | 2646137.2867 | 1203711.7591 | 2646146.773 | 1203715.868 | 2646150.2886 | 1203716.7846 | 2646153.2256 | 1203716.7628 | 2646156.1142 | 1203716.107 | 2646160.9241 | 1203713.9429 | 2646166.9164 | 1203710.6579
24 | 2646186.357 | 1203700.0007 | 2646191.8613 | 1203696.9833 | 2646198.5316 | 1203694.3222 | 2646206.5944 | 1203691.6385 | 2646212.463 | 1203690.3165 | 2646216.5044 | 1203690.1476 | 2646219.8867 | 1203690.5851 | 2646222.9507 | 1203691.8429 | 2646225.6655 | 1203693.9873 | 2646238.8345 | 1203705.9182 | 2646243.8807 | 1203709.6038 | 2646249.465 | 1203712.582 | 2646255.7088 | 1203714.8872 | 2646261.6013 | 1203716.3781 | 2646270.757 | 1203717.99
25 | 2646119.2291 | 1203687.517 | 2646115.9138 | 1203686.2796 | 2646114.3189 | 1203684.9332 | 2646112.0103 | 1203682.3917 | 2646108.0139 | 1203670.8321 | 2646104.4629 | 1203663.6561 | 2646091.9751 | 1203646.2165 | 2646076.6912 | 1203627.299 | 2646070.3271 | 1203622.814 | 2646063.1374 | 1203618.8341
26 | 2646119.2291 | 1203687.517 | 2646124.2164 | 1203740.2412 | 2646125.1881 | 1203747.4195 | 2646127.3378 | 1203753.773 | 2646129.9534 | 1203759.8967 | 2646134.062 | 1203766.7768 | 2646143.3951 | 1203780.6819
27 | 2646284.7239 | 1203721.9387 | 2646280.0992 | 1203720.0456 | 2646273.8872 | 1203718.5411 | 2646270.757 | 1203717.99
28 | 2646063.1374 | 1203618.8341 | 2646060.5616 | 1203617.4024 | 2646050.6552 | 1203614.4577 | 2646042.0278 | 1203614.3912 | 2646027.0466 | 1203617.353
29 | 2646261.1956 | 1204007.5194 | 2646257.1064 | 1204003.0852 | 2646254.0842 | 1203999.393 | 2646251.4191 | 1203994.7809 | 2646249.7726 | 1203990.2767 | 2646247.0127 | 1203977.2701 | 2646244.7818 | 1203968.659 | 2646242.2666 | 1203962.3582 | 2646238.1504 | 1203953.5546 | 2646220.4269 | 1203922.6554 | 2646213.7767 | 1203912.9206 | 2646207.1203 | 1203903.9863 | 2646189.3318 | 1203881.4581 | 2646184.0411 | 1203873.0013 | 2646180.9714 | 1203867.5634 | 2646178.4224 | 1203860.7175 | 2646170.7795 | 1203831.7419 | 2646167.3577 | 1203822.6325 | 2646161.8566 | 1203809.8827 | 2646153.1144 | 1203795.1623 | 2646143.3951 | 1203780.6819
30 | 2646306.3385 | 1203732.0446 | 2646290.1483 | 1203724.1591 | 2646284.7239 | 1203721.9387
31 | 2646011.2953 | 1203616.6336 | 2646015.5939 | 1203618.6234 | 2646020.4326 | 1203618.6607 | 2646027.0466 | 1203617.353
32 | 2646261.1956 | 1204007.5194 | 2646271.037 | 1204005.9725 | 2646275.4711 | 1204006.1513 | 2646279.3954 | 1204007.3046 | 2646282.2897 | 1204008.8501 | 2646284.9711 | 1204011.3612 | 2646286.2866 | 1204013.4059 | 2646287.181 | 1204015.8031 | 2646288.0723 | 1204019.5788 | 2646289.3618 | 1204024.9808 | 2646290.6686 | 1204027.1699 | 2646293.7047 | 1204030.0506 | 2646295.1417 | 1204030.908
33 | 2646306.3385 | 1203732.0446 | 2646327.6853 | 1203749.9758
34 | 2646306.3385 | 1203732.0446 | 2646311.4694 | 1203721.8563 | 2646310.1922 | 1203711.9074 | 2646301.9204 | 1203686.5955 | 2646292.7784 | 1203668.4921 | 2646276.2225 | 1203644.9393 | 2646274.658 | 1203642.9087
35 | 2646295.1417 | 1204030.908 | 2646502.0107 | 1204001.7659
36 | 2646011.2953 | 1203616.6336 | 2646009.8484 | 1203617.7898 | 2646004.5835 | 1203622.7077 | 2645996.9177 | 1203634.1107 | 2645966.989 | 1203667.3662 | 2645962.7736 | 1203675.3272 | 2645964.1401 | 1203710.3244 | 2645963.9461 | 1203735.5484 | 2645973.5746 | 1203756.7791 | 2645983.1229 | 1203789.4045 | 2645991.192 | 1203801.6736 | 2645998.3644 | 1203823.6969 | 2646000.482 | 1203866.8379 | 2645994.6621 | 1203880.6344 | 2645987.7277 | 1203933.4668 | 2645989.1018 | 1203939.781 | 2645989.1018 | 1203939.781
37 | 2646501.19 | 1203631.9555 | 2646489.8509 | 1203635.2136 | 2646480.1818 | 1203639.9522 | 2646478.1469 | 1203642.3489 | 2646477.7587 | 1203645.3031 | 2646478.6964 | 1203650.5351
38 | 2646501.19 | 1203631.9555 | 2646501.1215 | 1203627.0633 | 2646500.7991 | 1203623.5254 | 2646499.9261 | 1203620.339 | 2646496.8807 | 1203614.2743
39 | 2646501.19 | 1203631.9555 | 2646520.9095 | 1203636.0557 | 2646525.1466 | 1203638.1121 | 2646528.64 | 1203640.8964 | 2646529.5404 | 1203642.5155 | 2646529.6547 | 1203644.4508 | 2646528.5926 | 1203646.9884 | 2646526.8669 | 1203648.7538 | 2646523.2169 | 1203650.4486 | 2646520.1246 | 1203651.1149
40 | 2646487.1367 | 1203594.8694 | 2646496.8807 | 1203614.2743
41 | 2646506.7436 | 1203652.5549 | 2646518.8347 | 1203651.3928 | 2646520.1246 | 1203651.1149
42 | 2646487.1367 | 1203594.8694 | 2646500.9022 | 1203589.3973
43 | 2646475.8952 | 1203566.9883 | 2646487.1367 | 1203594.8694
44 | 2646519.2975 | 1203598.032 | 2646516.087 | 1203590.9479 | 2646514.6599 | 1203588.5688 | 2646513.3093 | 1203587.113 | 2646511.0193 | 1203586.128 | 2646508.2852 | 1203586.4624 | 2646500.9022 | 1203589.3973
45 | 2646475.8952 | 1203566.9883 | 2646468.5187 | 1203570.4218 | 2646464.3219 | 1203572.9573 | 2646453.9248 | 1203580.9385
46 | 2646475.8952 | 1203566.9883 | 2646494.7678 | 1203557.7408 | 2646501.0584 | 1203554.0432 | 2646506.583 | 1203550.0283 | 2646507.1902 | 1203549.5141
47 | 2646519.3903 | 1203598.2369 | 2646519.2975 | 1203598.032
48 | 2646433.1893 | 1203596.8559 | 2646453.9248 | 1203580.9385
49 | 2646525.3323 | 1203611.3481 | 2646519.3903 | 1203598.2369
50 | 2646525.3323 | 1203611.3481 | 2646533.1042 | 1203628.4972
51 | 2646571.596 | 1203596.8391 | 2646580.7753 | 1203620.0906
52 | 2646556.6758 | 1203559.0456 | 2646571.596 | 1203596.8391
53 | 2646556.6758 | 1203559.0456 | 2646549.7193 | 1203564.2278 | 2646545.3146 | 1203569.0296
54 | 2646556.6758 | 1203559.0456 | 2646551.8614 | 1203545.1446 | 2646549.4226 | 1203539.7761
55 | 2646536.4902 | 1203519.9995 | 2646548.2933 | 1203537.2901 | 2646549.4226 | 1203539.7761
56 | 2646536.4902 | 1203519.9995 | 2646540.4831 | 1203519.2301 | 2646546.3022 | 1203515.1307
57 | 2646568.3939 | 1203494.4448 | 2646567.3948 | 1203495.7707 | 2646556.1913 | 1203507.9571 | 2646548.6309 | 1203513.4903 | 2646546.3022 | 1203515.1307
58 | 2646433.1893 | 1203596.8559 | 2646409.1159 | 1203615.3356
59 | 2646409.1159 | 1203615.3356 | 2646405.6529 | 1203617.9939 | 2646392.1979 | 1203627.2392 | 2646376.0349 | 1203637.3863 | 2646366.7912 | 1203642.8872
60 | 2646362.3815 | 1203645.5113 | 2646366.7912 | 1203642.8872
61 | 2646342.1961 | 1203750.722 | 2646347.8444 | 1203744.4511 | 2646349.3666 | 1203741.439 | 2646349.785 | 1203737.5289 | 2646349.7389 | 1203732.6813 | 2646342.5255 | 1203679.8174 | 2646342.4475 | 1203675.1585 | 2646343.4534 | 1203670.0412 | 2646344.3233 | 1203667.7577 | 2646349.4651 | 1203658.1365 | 2646353.3983 | 1203652.297 | 2646356.425 | 1203649.5411 | 2646360.8392 | 1203646.4292 | 2646362.3815 | 1203645.5113
62 | 2646342.1961 | 1203750.722 | 2646327.6853 | 1203749.9758

## bus_geodata
| x | y | coords
0 | 2646349.0833 | 1203774.4642
1 | 2646344.4922 | 1203765.5207
2 | 2646493.6704 | 1203395.6729
3 | 2646491.4402 | 1203437.8241
4 | 2646458.5428 | 1203390.6687
5 | 2646002.0236 | 1203598.4519
6 | 2646004.3216 | 1203608.7743
7 | 2646436.6369 | 1203387.3484
8 | 2646469.2943 | 1203455.9201
9 | 2646509.8266 | 1203487.1732
10 | 2646512.7492 | 1203494.2205
11 | 2646533.0301 | 1203519.7613
12 | 2645773.0756 | 1204298.811
13 | 2645815.3181 | 1204315.9061
14 | 2645601.1284 | 1204150.3957
15 | 2646056.721 | 1204328.3331
16 | 2645812.9687 | 1204051.8481
17 | 2645804.5828 | 1204098.7551
18 | 2645825.0149 | 1204038.7889
19 | 2645859.1436 | 1204072.05
20 | 2646186.0262 | 1203700.182
21 | 2646166.9164 | 1203710.6579
22 | 2646186.357 | 1203700.0007
23 | 2646119.2291 | 1203687.517
24 | 2646270.757 | 1203717.99
25 | 2646063.1374 | 1203618.8341
26 | 2646143.3951 | 1203780.6819
27 | 2646284.7239 | 1203721.9387
28 | 2646027.0466 | 1203617.353
29 | 2646261.1956 | 1204007.5194
30 | 2646306.3385 | 1203732.0446
31 | 2646295.1417 | 1204030.908
32 | 2646502.0107 | 1204001.7659
33 | 2645989.1018 | 1203939.781
34 | 2646011.2953 | 1203616.6336
35 | 2646478.6964 | 1203650.5351
36 | 2646501.19 | 1203631.9555
37 | 2646496.8807 | 1203614.2743
38 | 2646520.1246 | 1203651.1149
39 | 2646487.1367 | 1203594.8694
40 | 2646506.7436 | 1203652.5549
41 | 2646500.9022 | 1203589.3973
42 | 2646475.8952 | 1203566.9883
43 | 2646519.2975 | 1203598.032
44 | 2646453.9248 | 1203580.9385
45 | 2646507.1902 | 1203549.5141
46 | 2646525.3323 | 1203611.3481
47 | 2646519.3903 | 1203598.2369
48 | 2646533.1042 | 1203628.4972
49 | 2646571.596 | 1203596.839
50 | 2646580.7753 | 1203620.0906
51 | 2646556.6758 | 1203559.0456
52 | 2646545.3146 | 1203569.0296
53 | 2646549.4226 | 1203539.7761
54 | 2646536.4902 | 1203519.9995
55 | 2646546.3022 | 1203515.1307
56 | 2646433.1893 | 1203596.8559
57 | 2646568.3939 | 1203494.4448
58 | 2646409.1159 | 1203615.3356
59 | 2646366.7912 | 1203642.8872
60 | 2646362.3815 | 1203645.5113
61 | 2646342.1961 | 1203750.722
62 | 2646274.658 | 1203642.9087
63 | 2646327.6853 | 1203749.9758
64 | 2646362.3815 | 1203645.5113

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99672 | -0.022943 | 0.0003293 | 8.2531e-05
1 | 0.99672 | -0.02291 | 0.00068611 | 0.00017195
2 | 0.98518 | -0.10414 | 0 | 0
3 | 0.98538 | -0.10273 | 0 | 0
4 | 0.98502 | -0.10529 | 0.0012825 | 0.00032141
5 | 0.98734 | -0.089085 | 0.0010574 | 0.00026502
6 | 0.98736 | -0.088968 | 0.00027449 | 6.8794e-05
7 | 0.98496 | -0.10571 | 0.0018518 | 0.0004641
8 | 0.98503 | -0.1052 | 0.0083951 | 0.002104
9 | 0.98626 | -0.096432 | 0 | 0
10 | 0.98639 | -0.095528 | 0.00093258 | 0.00023373
11 | 0.98698 | -0.091315 | 0 | 0
12 | 0.97141 | -0.2035 | 0.005902 | 0.0014792
13 | 0.97141 | -0.20355 | 0 | 0
14 | 0.97371 | -0.18689 | 0 | 0
15 | 0.97138 | -0.20374 | 6.5034e-05 | 1.6299e-05
16 | 0.97686 | -0.16404 | 0 | 0
17 | 0.97678 | -0.16466 | 0 | 0
18 | 0.97706 | -0.16264 | 0.0038168 | 0.00095658
19 | 0.97665 | -0.16558 | 0.0012411 | 0.00031105
20 | 0.99225 | -0.054401 | 0.00079 | 0.00019799
21 | 0.99173 | -0.058025 | 0.00044283 | 0.00011098
22 | 0.99226 | -0.054335 | 0.00019292 | 4.8351e-05
23 | 0.99031 | -0.068108 | 0 | 0
24 | 0.99461 | -0.037707 | 0.00056097 | 0.00014059
25 | 0.98846 | -0.081185 | 0 | 0
26 | 0.99006 | -0.069949 | 0.0008999 | 0.00022554
27 | 0.99499 | -0.035069 | 0.00029489 | 7.3907e-05
28 | 0.9877 | -0.086541 | 0.00043573 | 0.0001092
29 | 0.98973 | -0.072379 | 0 | 0
30 | 0.99561 | -0.030681 | 0 | 0
31 | 0.98967 | -0.072825 | 0.00067049 | 0.00016804
32 | 0.9896 | -0.073304 | 0.00021497 | 5.3876e-05
33 | 0.98116 | -0.13316 | 0.0011404 | 0.0002858
34 | 0.98738 | -0.088821 | 0 | 0
35 | 0.98893 | -0.077524 | 0.00078599 | 0.00019699
36 | 0.98897 | -0.077251 | 0 | 0
37 | 0.98906 | -0.076659 | 0.0006818 | 0.00017088
38 | 0.98882 | -0.078338 | 0.00032745 | 8.2066e-05
39 | 0.98917 | -0.075813 | 0 | 0
40 | 0.98878 | -0.078615 | 0.0020095 | 0.00050364
41 | 0.98894 | -0.077495 | 0.0065225 | 0.0016347
42 | 0.98982 | -0.071233 | 0 | 0
43 | 0.98877 | -0.078705 | 0.00030059 | 7.5336e-05
44 | 0.99143 | -0.059875 | 0.0092062 | 0.0023073
45 | 0.98838 | -0.081411 | 0.0033115 | 0.00082993
46 | 0.98875 | -0.07879 | 0.00024351 | 6.1029e-05
47 | 0.98877 | -0.078715 | 0.0037923 | 0.00095043
48 | 0.98875 | -0.078841 | 0.00026486 | 6.638e-05
49 | 0.98647 | -0.09498 | 0.00041305 | 0.00010352
50 | 0.98646 | -0.095034 | 0.00020737 | 5.1973e-05
51 | 0.98651 | -0.09472 | 0 | 0
52 | 0.98641 | -0.095397 | 0.0043511 | 0.0010905
53 | 0.98665 | -0.093668 | 0.0029684 | 0.00074395
54 | 0.98692 | -0.091739 | 0 | 0
55 | 0.98686 | -0.092198 | 0.0028836 | 0.0007227
56 | 0.99339 | -0.046121 | 0.00046609 | 0.00011681
57 | 0.98681 | -0.092548 | 0.0011201 | 0.00028071
58 | 0.99568 | -0.030077 | 0.0014658 | 0.00036736
59 | 0.9996 | -0.0027844 | 0.00048317 | 0.00012109
60 | 1 | 0 | -0.075456 | -0.018796
61 | 0.99675 | -0.022746 | 0 | 0
62 | 0.99556 | -0.031067 | 0.00038027 | 9.5306e-05
63 | 0.99636 | -0.025461 | 0 | 0
64 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0003293 | -8.2531e-05 | 0.00032931 | 8.2401e-05 | 1.5176e-09 | -1.3058e-07 | 0.00049162 | 0.00049158 | 0.00049162 | 0.99672 | -0.022943 | 0.99672 | -0.02291 | 0.18208
1 | -0.0010154 | -0.00025436 | 0.0010154 | 0.00025416 | 2.2892e-08 | -1.993e-07 | 0.0015159 | 0.0015158 | 0.0015159 | 0.99672 | -0.02291 | 0.99675 | -0.022746 | 0.56143
2 | -0.0031348 | -0.00078501 | 0.0031354 | 0.00078469 | 6.1159e-07 | -3.2164e-07 | 0.0047346 | 0.0047344 | 0.0047346 | 0.98518 | -0.10414 | 0.98538 | -0.10273 | 1.7536
3 | 0.0031348 | 0.00078501 | -0.0031343 | -0.00078527 | 4.9638e-07 | -2.6085e-07 | 0.0047346 | 0.0047348 | 0.0047348 | 0.98518 | -0.10414 | 0.98502 | -0.10529 | 1.7536
4 | 0.008398 | 0.0021048 | -0.0083951 | -0.002104 | 2.8701e-06 | 7.3972e-07 | 0.012682 | 0.012682 | 0.012682 | 0.98538 | -0.10273 | 0.98503 | -0.1052 | 4.697
5 | -0.011533 | -0.0028894 | 0.011544 | 0.0028926 | 1.0051e-05 | 3.1888e-06 | 0.017416 | 0.017416 | 0.017416 | 0.98538 | -0.10273 | 0.98626 | -0.096432 | 6.4505
6 | 0.0018519 | 0.00046386 | -0.0018518 | -0.0004641 | 1.082e-07 | -2.404e-07 | 0.0027974 | 0.0027975 | 0.0027975 | 0.98502 | -0.10529 | 0.98496 | -0.10571 | 1.0361
7 | -0.0010574 | -0.00026502 | 0.0010574 | 0.00026489 | 1.7168e-08 | -1.3195e-07 | 0.0015936 | 0.0015936 | 0.0015936 | 0.98734 | -0.089085 | 0.98736 | -0.088968 | 0.59024
8 | -0.0013319 | -0.00033368 | 0.001332 | 0.00033355 | 2.6947e-08 | -1.2672e-07 | 0.0020073 | 0.0020072 | 0.0020073 | 0.98736 | -0.088968 | 0.98738 | -0.088821 | 0.74343
9 | -0.011544 | -0.0028926 | 0.011545 | 0.0028931 | 1.444e-06 | 4.5801e-07 | 0.017416 | 0.017416 | 0.017416 | 0.98626 | -0.096432 | 0.98639 | -0.095528 | 6.4504
10 | -0.012478 | -0.0031268 | 0.012485 | 0.0031292 | 7.2787e-06 | 2.379e-06 | 0.018823 | 0.018823 | 0.018823 | 0.98639 | -0.095528 | 0.98698 | -0.091315 | 6.9714
11 | 0.011948 | 0.0029928 | -0.011947 | -0.0029926 | 7.001e-07 | 2.2508e-07 | 0.018013 | 0.018013 | 0.018013 | 0.98698 | -0.091315 | 0.98692 | -0.091739 | 6.6713
12 | -0.024433 | -0.006122 | 0.024466 | 0.0061344 | 3.3531e-05 | 1.239e-05 | 0.036835 | 0.036835 | 0.036835 | 0.98698 | -0.091315 | 0.98838 | -0.081411 | 13.6427
13 | 6.5036e-05 | 1.2743e-05 | -6.5036e-05 | -1.3307e-05 | 2.7623e-10 | -5.6413e-07 | 9.8471e-05 | 9.8636e-05 | 9.8636e-05 | 0.97141 | -0.2035 | 0.97141 | -0.20355 | 0.036532
14 | -0.0059671 | -0.0014919 | 0.0059807 | 0.0014939 | 1.3667e-05 | 2.0021e-06 | 0.0091391 | 0.0091379 | 0.0091391 | 0.97141 | -0.2035 | 0.97371 | -0.18689 | 3.3849
15 | 6.5036e-05 | 1.3307e-05 | -6.5034e-05 | -1.6299e-05 | 1.4815e-09 | -2.9918e-06 | 9.8636e-05 | 9.9623e-05 | 9.9623e-05 | 0.97141 | -0.20355 | 0.97138 | -0.20374 | 0.036897
16 | -0.0059807 | -0.0014939 | 0.0059995 | 0.0014967 | 1.8799e-05 | 2.7273e-06 | 0.0091379 | 0.0091363 | 0.0091379 | 0.97371 | -0.18689 | 0.97686 | -0.16404 | 3.3844
17 | 0.0012414 | 0.00030967 | -0.0012412 | -0.00031023 | 1.0628e-07 | -5.557e-07 | 0.0018904 | 0.0018906 | 0.0018906 | 0.97686 | -0.16404 | 0.97678 | -0.16466 | 0.70022
18 | -0.0072409 | -0.0018063 | 0.0072423 | 0.0018066 | 1.3866e-06 | 3.0447e-07 | 0.011027 | 0.011027 | 0.011027 | 0.97686 | -0.16404 | 0.97706 | -0.16264 | 4.084
19 | 0.0012412 | 0.00031023 | -0.0012411 | -0.00031105 | 1.5696e-07 | -8.2025e-07 | 0.0018906 | 0.0018909 | 0.0018909 | 0.97678 | -0.16466 | 0.97665 | -0.16558 | 0.70034
20 | -0.011059 | -0.0027632 | 0.011104 | 0.0027773 | 4.4994e-05 | 1.4107e-05 | 0.016839 | 0.016838 | 0.016839 | 0.97706 | -0.16264 | 0.98116 | -0.13316 | 6.2368
21 | 0.016387 | 0.0041055 | -0.016379 | -0.0041026 | 8.2123e-06 | 2.8772e-06 | 0.024574 | 0.024574 | 0.024574 | 0.99225 | -0.054401 | 0.99173 | -0.058025 | 9.1016
22 | -0.017177 | -0.0043035 | 0.017177 | 0.0043036 | 1.5618e-07 | 5.5197e-08 | 0.025759 | 0.025759 | 0.025759 | 0.99225 | -0.054401 | 0.99226 | -0.054335 | 9.5404
23 | 0.015936 | 0.0039916 | -0.015914 | -0.0039839 | 2.2193e-05 | 7.734e-06 | 0.02391 | 0.02391 | 0.02391 | 0.99173 | -0.058025 | 0.99031 | -0.068108 | 8.8557
24 | -0.01737 | -0.0043519 | 0.01741 | 0.0043661 | 4.0043e-05 | 1.4177e-05 | 0.026048 | 0.026048 | 0.026048 | 0.99226 | -0.054335 | 0.99461 | -0.037707 | 9.6475
25 | 0.014128 | 0.003544 | -0.014102 | -0.0035354 | 2.5584e-05 | 8.6717e-06 | 0.021229 | 0.02123 | 0.02123 | 0.99031 | -0.068108 | 0.98846 | -0.081185 | 7.8628
26 | 0.0017861 | 0.00043986 | -0.0017857 | -0.00044096 | 4.4113e-07 | -1.0951e-06 | 0.0026811 | 0.0026815 | 0.0026815 | 0.99031 | -0.068108 | 0.99006 | -0.069949 | 0.99316
27 | -0.017971 | -0.0045067 | 0.017978 | 0.004509 | 6.5712e-06 | 2.3383e-06 | 0.026887 | 0.026887 | 0.026887 | 0.99461 | -0.037707 | 0.99499 | -0.035069 | 9.9582
28 | 0.014102 | 0.0035354 | -0.014092 | -0.0035318 | 1.0457e-05 | 3.5455e-06 | 0.02123 | 0.02123 | 0.02123 | 0.98846 | -0.081185 | 0.9877 | -0.086541 | 7.8629
29 | 0.00088581 | 0.00021542 | -0.00088552 | -0.00021864 | 2.8521e-07 | -3.214e-06 | 0.001329 | 0.0013302 | 0.0013302 | 0.99006 | -0.069949 | 0.98973 | -0.072379 | 0.49266
30 | -0.018273 | -0.0045829 | 0.018284 | 0.0045869 | 1.1124e-05 | 3.9681e-06 | 0.027328 | 0.027328 | 0.027328 | 0.99499 | -0.035069 | 0.99561 | -0.030681 | 10.1215
31 | 0.013656 | 0.0034226 | -0.013652 | -0.0034212 | 4.3098e-06 | 1.4488e-06 | 0.020573 | 0.020573 | 0.020573 | 0.9877 | -0.086541 | 0.98738 | -0.088821 | 7.6198
32 | 0.00088552 | 0.00021864 | -0.00088547 | -0.00021924 | 5.3311e-08 | -5.9986e-07 | 0.0013302 | 0.0013304 | 0.0013304 | 0.98973 | -0.072379 | 0.98967 | -0.072825 | 0.49274
33 | -0.018664 | -0.0046809 | 0.018678 | 0.0046857 | 1.3515e-05 | 4.836e-06 | 0.027896 | 0.027896 | 0.027896 | 0.99561 | -0.030681 | 0.99636 | -0.025461 | 10.3318
34 | 0.00038029 | 9.4017e-05 | -0.00038027 | -9.5306e-05 | 2.0082e-08 | -1.2888e-06 | 0.00056792 | 0.00056838 | 0.00056838 | 0.99561 | -0.030681 | 0.99556 | -0.031067 | 0.21051
35 | 0.00021498 | 5.1197e-05 | -0.00021497 | -5.3876e-05 | 1.3581e-08 | -2.679e-06 | 0.00032231 | 0.00032324 | 0.00032324 | 0.98967 | -0.072825 | 0.9896 | -0.073304 | 0.11972
36 | -0.012244 | -0.0030631 | 0.01232 | 0.0030876 | 7.526e-05 | 2.4499e-05 | 0.018568 | 0.018566 | 0.018568 | 0.98116 | -0.13316 | 0.98738 | -0.088821 | 6.877
37 | -0.00078599 | -0.00019699 | 0.00078602 | 0.00019656 | 2.9674e-08 | -4.249e-07 | 0.0011827 | 0.0011825 | 0.0011827 | 0.98893 | -0.077524 | 0.98897 | -0.077251 | 0.43802
38 | -0.0031234 | -0.00078167 | 0.0031237 | 0.00078153 | 2.554e-07 | -1.3963e-07 | 0.0046991 | 0.0046991 | 0.0046991 | 0.98897 | -0.077251 | 0.98906 | -0.076659 | 1.7404
39 | 0.0023374 | 0.00058511 | -0.0023371 | -0.00058556 | 3.5127e-07 | -4.4886e-07 | 0.0035166 | 0.0035168 | 0.0035168 | 0.98897 | -0.077251 | 0.98882 | -0.078338 | 1.3025
40 | -0.0038055 | -0.00095241 | 0.0038059 | 0.0009523 | 4.4406e-07 | -1.0791e-07 | 0.0057248 | 0.0057247 | 0.0057248 | 0.98906 | -0.076659 | 0.98917 | -0.075813 | 2.1203
41 | 0.0020096 | 0.00050349 | -0.0020095 | -0.00050364 | 7.6848e-08 | -1.4318e-07 | 0.0030241 | 0.0030242 | 0.0030242 | 0.98882 | -0.078338 | 0.98878 | -0.078615 | 1.1201
42 | 0.011127 | 0.0027882 | -0.011125 | -0.0027874 | 2.5898e-06 | 8.0596e-07 | 0.016738 | 0.016738 | 0.016738 | 0.98917 | -0.075813 | 0.98894 | -0.077495 | 6.1994
43 | -0.014933 | -0.0037405 | 0.014943 | 0.0037438 | 9.4632e-06 | 3.2536e-06 | 0.022463 | 0.022463 | 0.022463 | 0.98917 | -0.075813 | 0.98982 | -0.071233 | 8.3197
44 | 0.004602 | 0.0011527 | -0.0046012 | -0.0011528 | 7.698e-07 | -3.3999e-08 | 0.0069242 | 0.0069244 | 0.0069244 | 0.98894 | -0.077495 | 0.98877 | -0.078705 | 2.5646
45 | -0.042759 | -0.010723 | 0.042827 | 0.010748 | 6.7422e-05 | 2.5595e-05 | 0.064283 | 0.064283 | 0.064283 | 0.98982 | -0.071233 | 0.99143 | -0.059875 | 23.8086
46 | 0.027817 | 0.006979 | -0.027778 | -0.0069643 | 3.9221e-05 | 1.4624e-05 | 0.04182 | 0.04182 | 0.04182 | 0.98982 | -0.071233 | 0.98838 | -0.081411 | 15.489
47 | 0.0043007 | 0.0010774 | -0.0043006 | -0.0010774 | 5.8789e-09 | -6.2404e-10 | 0.006472 | 0.006472 | 0.006472 | 0.98877 | -0.078705 | 0.98877 | -0.078715 | 2.397
48 | -0.052033 | -0.013056 | 0.052133 | 0.013094 | 9.9496e-05 | 3.793e-05 | 0.0781 | 0.0781 | 0.0781 | 0.99143 | -0.059875 | 0.99339 | -0.046121 | 28.9261
49 | -0.00050837 | -0.00012717 | 0.00050837 | 0.00012698 | 5.2559e-09 | -1.8261e-07 | 0.00076497 | 0.00076491 | 0.00076497 | 0.98875 | -0.07879 | 0.98877 | -0.078715 | 0.28332
50 | 0.00026486 | 6.6139e-05 | -0.00026486 | -6.638e-05 | 1.8662e-09 | -2.4077e-07 | 0.00039851 | 0.0003986 | 0.0003986 | 0.98875 | -0.07879 | 0.98875 | -0.078841 | 0.14763
51 | 0.00020737 | 5.1654e-05 | -0.00020737 | -5.1973e-05 | 1.5258e-09 | -3.1855e-07 | 0.0003127 | 0.00031281 | 0.00031281 | 0.98647 | -0.09498 | 0.98646 | -0.095034 | 0.11586
52 | -0.00062042 | -0.00015517 | 0.00062044 | 0.00015466 | 2.2196e-08 | -5.1022e-07 | 0.00093575 | 0.00093556 | 0.00093575 | 0.98647 | -0.09498 | 0.98651 | -0.09472 | 0.34657
53 | 0.0043515 | 0.0010904 | -0.0043511 | -0.0010905 | 4.0773e-07 | -3.6807e-08 | 0.0065636 | 0.0065637 | 0.0065637 | 0.98651 | -0.09472 | 0.98641 | -0.095397 | 2.431
54 | -0.0049719 | -0.0012451 | 0.0049727 | 0.0012451 | 7.2316e-07 | 1.499e-08 | 0.0074992 | 0.0074991 | 0.0074992 | 0.98651 | -0.09472 | 0.98665 | -0.093668 | 2.7775
55 | -0.0079411 | -0.0019891 | 0.0079432 | 0.0019896 | 2.1179e-06 | 5.1227e-07 | 0.011976 | 0.011976 | 0.011976 | 0.98665 | -0.093668 | 0.98692 | -0.091739 | 4.4355
56 | 0.004004 | 0.001003 | -0.0040037 | -0.001003 | 2.5434e-07 | -4.5089e-08 | 0.0060368 | 0.0060368 | 0.0060368 | 0.98692 | -0.091739 | 0.98686 | -0.092198 | 2.2359
57 | 0.0011201 | 0.00028035 | -0.0011201 | -0.00028071 | 5.4163e-08 | -3.6796e-07 | 0.0016888 | 0.0016889 | 0.0016889 | 0.98686 | -0.092198 | 0.98681 | -0.092548 | 0.62554
58 | -0.052599 | -0.01321 | 0.052716 | 0.013255 | 0.00011759 | 4.4832e-05 | 0.078799 | 0.078798 | 0.078799 | 0.99339 | -0.046121 | 0.99568 | -0.030077 | 29.1846
59 | -0.054182 | -0.013623 | 0.054389 | 0.013701 | 0.00020682 | 7.8887e-05 | 0.080989 | 0.080989 | 0.080989 | 0.99568 | -0.030077 | 0.9996 | -0.0027844 | 29.9959
60 | -0.054872 | -0.013823 | 0.054893 | 0.013831 | 2.1377e-05 | 8.1548e-06 | 0.081708 | 0.081708 | 0.081708 | 0.9996 | -0.0027844 | 1 | 0 | 30.2622
61 | 0.019762 | 0.0049649 | -0.0197 | -0.0049424 | 6.2347e-05 | 2.2469e-05 | 0.029411 | 0.029412 | 0.029412 | 1 | 0 | 0.99675 | -0.022746 | 10.8932
62 | 0.018685 | 0.0046883 | -0.018678 | -0.0046857 | 7.0351e-06 | 2.517e-06 | 0.027896 | 0.027896 | 0.027896 | 0.99675 | -0.022746 | 0.99636 | -0.025461 | 10.3318

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.075688 | 0.018854

## res_load
| p_mw | q_mvar
0 | 0.0003293 | 8.2531e-05
1 | 0.00068611 | 0.00017195
2 | 0.0012825 | 0.00032141
3 | 0.0010574 | 0.00026502
4 | 0.00027449 | 6.8794e-05
5 | 0.0018518 | 0.0004641
6 | 0.0083951 | 0.002104
7 | 0.00093258 | 0.00023373
8 | 0.005902 | 0.0014792
9 | 6.5034e-05 | 1.6299e-05
10 | 0.0038168 | 0.00095658
11 | 0.0012411 | 0.00031105
12 | 0.00079 | 0.00019799
13 | 0.00044283 | 0.00011098
14 | 0.00019292 | 4.8351e-05
15 | 0.00056097 | 0.00014059
16 | 0.0008999 | 0.00022554
17 | 0.00029489 | 7.3907e-05
18 | 0.00043573 | 0.0001092
19 | 0.00067049 | 0.00016804
20 | 0.00021497 | 5.3876e-05
21 | 0.0011404 | 0.0002858
22 | 0.00078599 | 0.00019699
23 | 0.0006818 | 0.00017088
24 | 0.00032745 | 8.2066e-05
25 | 0.0020095 | 0.00050364
26 | 0.0065225 | 0.0016347
27 | 0.00030059 | 7.5336e-05
28 | 0.0092062 | 0.0023073
29 | 0.0033115 | 0.00082993
30 | 0.00024351 | 6.1029e-05
31 | 0.0037923 | 0.00095043
32 | 0.00026486 | 6.638e-05
33 | 0.00041305 | 0.00010352
34 | 0.00020737 | 5.1973e-05
35 | 0.0043511 | 0.0010905
36 | 0.0029684 | 0.00074395
37 | 0.0028836 | 0.0007227
38 | 0.00046609 | 0.00011681
39 | 0.0011201 | 0.00028071
40 | 0.0014658 | 0.00036736
41 | 0.00048317 | 0.00012109
42 | 0.00023234 | 5.8229e-05
43 | 0.00038027 | 9.5306e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1