## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1005-1_3_2_node_47 | 0.4 | n |  | TRUE
1 | bus_LV_1005-1_3_2_node_48 | 0.4 | n |  | TRUE
2 | bus_LV_1005-1_3_2_node_49 | 0.4 | n |  | TRUE
3 | bus_LV_1005-1_3_2_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_1005-1_3_2_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_1005-1_3_2_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_1005-1_3_2_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_1005-1_3_2_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_1005-1_3_2_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_1005-1_3_2_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_1005-1_3_2_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_1005-1_3_2_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1005-1_3_2_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_1005-1_3_2_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_1005-1_3_2_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_1005-1_3_2_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_1005-1_3_2_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_1005-1_3_2_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_1005-1_3_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_1005-1_3_2_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1005-1_3_2_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_1005-1_3_2_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_1005-1_3_2_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_1005-1_3_2_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_1005-1_3_2_node_368 | 0.4 | n |  | TRUE
25 | bus_LV_1005-1_3_2_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_1005-1_3_2_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_1005-1_3_2_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_1005-1_3_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_1005-1_3_2_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_1005-1_3_2_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_1005-1_3_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_1005-1_3_2_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_1005-1_3_2_node_366 | 0.4 | n |  | TRUE
34 | bus_LV_1005-1_3_2_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_1005-1_3_2_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_1005-1_3_2_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_1005-1_3_2_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_1005-1_3_2_node_370 | 0.4 | n |  | TRUE
39 | bus_LV_1005-1_3_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_1005-1_3_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_1005-1_3_2_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_1005-1_3_2_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_1005-1_3_2_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_1005-1_3_2_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_1005-1_3_2_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_1005-1_3_2_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_1005-1_3_2_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_1005-1_3_2_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_1005-1_3_2_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_1005-1_3_2_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_1005-1_3_2_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_1005-1_3_2_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_1005-1_3_2_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_1005-1_3_2_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_1005-1_3_2_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_1005-1_3_2_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_1005-1_3_2_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_1005-1_3_2_node_106 | 0.4 | n |  | TRUE
59 | bus_LV_1005-1_3_2_node_369 | 0.4 | n |  | TRUE
60 | bus_MV_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1005-1_3_2_load_47 | 0 | 0.00022914 | 5.7429e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1005-1_3_2_load_48 | 1 | 9.4495e-05 | 2.3683e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1005-1_3_2_load_50 | 3 | 0.000283 | 7.0925e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1005-1_3_2_load_53 | 6 | 0.00023274 | 5.833e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1005-1_3_2_load_59 | 7 | 0.00018904 | 4.7378e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1005-1_3_2_load_58 | 8 | 0.00020077 | 5.0317e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1005-1_3_2_load_63 | 9 | 0.00039151 | 9.8121e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1005-1_3_2_load_54 | 10 | 0.00014708 | 3.6862e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1005-1_3_2_load_57 | 11 | 0.00062482 | 0.00015659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1005-1_3_2_load_64 | 13 | 0.00015476 | 3.8786e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1005-1_3_2_load_61 | 15 | 0.00054172 | 0.00013577 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1005-1_3_2_load_62 | 16 | 8.4406e-05 | 2.1154e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1005-1_3_2_load_67 | 17 | 0.00023385 | 5.8608e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1005-1_3_2_load_68 | 18 | 0.00078727 | 0.00019731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1005-1_3_2_load_70 | 20 | 0.00012518 | 3.1373e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1005-1_3_2_load_71 | 21 | 0.0010352 | 0.00025943 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1005-1_3_2_load_72 | 22 | 0.00026818 | 6.7211e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1005-1_3_2_load_74 | 23 | 0.00071658 | 0.00017959 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1005-1_3_2_load_75 | 25 | 0.0004456 | 0.00011168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1005-1_3_2_load_76 | 26 | 0.00031817 | 7.9741e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1005-1_3_2_load_77 | 27 | 9.2608e-05 | 2.321e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1005-1_3_2_load_78 | 28 | 0.00023021 | 5.7695e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1005-1_3_2_load_82 | 32 | 0.00073768 | 0.00018488 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1005-1_3_2_load_366 | 33 | 0.00013429 | 3.3657e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1005-1_3_2_load_83 | 34 | 0.0041782 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1005-1_3_2_load_84 | 35 | 0.0010142 | 0.00025418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1005-1_3_2_load_370 | 38 | 0.00087562 | 0.00021945 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1005-1_3_2_load_87 | 40 | 0.00053269 | 0.0001335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1005-1_3_2_load_88 | 42 | 0.0011311 | 0.00028349 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1005-1_3_2_load_92 | 45 | 0.0012127 | 0.00030394 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1005-1_3_2_load_94 | 47 | 0.00040993 | 0.00010274 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1005-1_3_2_load_97 | 48 | 0.0012194 | 0.00030561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1005-1_3_2_load_98 | 50 | 0.00030872 | 7.7373e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1005-1_3_2_load_104 | 51 | 0.0012718 | 0.00031875 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1005-1_3_2_load_99 | 52 | 0.00056431 | 0.00014143 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1005-1_3_2_load_100 | 53 | 0.00060829 | 0.00015245 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1005-1_3_2_load_101 | 54 | 0.00050446 | 0.00012643 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1005-1_3_2_load_102 | 55 | 0.00062586 | 0.00015686 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1005-1_3_2_load_103 | 56 | 0.00029886 | 7.4901e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1005-1_3_2_load_106 | 58 | 0.00040785 | 0.00010222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1005-1_3_2_load_369 | 59 | 0.00027115 | 6.7956e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1005-1_3_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1005-1_3_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1005-1_3_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.03942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1005-1_3_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.031652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1005-1_3_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.016503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1005-1_3_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0046223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1005-1_3_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.00035128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1005-1_3_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.033518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1005-1_3_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.019706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1005-1_3_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.028715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1005-1_3_2_line_10 | NAYY 4x150 SE | 7 | 14 | 0.0074152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1005-1_3_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.011538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1005-1_3_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.021433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1005-1_3_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.031617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1005-1_3_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.039342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1005-1_3_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.044493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1005-1_3_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.015471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1005-1_3_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.022999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1005-1_3_2_line_18 | NAYY 4x150 SE | 18 | 19 | 0.016917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1005-1_3_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.040365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1005-1_3_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.012195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1005-1_3_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.033115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1005-1_3_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.094868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1005-1_3_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.26688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1005-1_3_2_line_24 | NAYY 4x150 SE | 24 | 33 | 0.24512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1005-1_3_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.095252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1005-1_3_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.073755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1005-1_3_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.034869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1005-1_3_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.1806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1005-1_3_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.14472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1005-1_3_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.32721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1005-1_3_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.056702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1005-1_3_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.004218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1005-1_3_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.032098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1005-1_3_2_line_34 | NAYY 4x150 SE | 33 | 59 | 0.018789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1005-1_3_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.020597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1005-1_3_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.052041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1005-1_3_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.15571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1005-1_3_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.33955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1005-1_3_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.005674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1005-1_3_2_line_40 | NAYY 4x150 SE | 39 | 43 | 0.10813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1005-1_3_2_line_41 | NAYY 4x150 SE | 39 | 42 | 0.12774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1005-1_3_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.033938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1005-1_3_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.080782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1005-1_3_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.083379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1005-1_3_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.028499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1005-1_3_2_line_46 | NAYY 4x150 SE | 44 | 51 | 0.070848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1005-1_3_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.021017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1005-1_3_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.028935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1005-1_3_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.01059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1005-1_3_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.043315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1005-1_3_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.12077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1005-1_3_2_line_52 | NAYY 4x150 SE | 51 | 55 | 0.030387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1005-1_3_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.058516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1005-1_3_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.22169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1005-1_3_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0098439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1005-1_3_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0077211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1005-1_3_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.28307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1005-1_3_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.25405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1005-1_3_2_trafo_80 | 0.25 MVA 20/0.4 kV | 60 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2646025.8037 | 1204389.7949 | 2646006.3873 | 1204373.4289 | 2646004.2046 | 1204371.7211
1 | 2646037.4824 | 1204399.6389 | 2646025.8037 | 1204389.7949
2 | 2646037.4824 | 1204399.6389 | 2646011.9563 | 1204429.6782
3 | 2646060.7095 | 1204421.1413 | 2646042.3854 | 1204404.0904 | 2646037.4824 | 1204399.6389
4 | 2646049.9128 | 1204397.6891 | 2646042.3854 | 1204404.0904 | 2646037.4824 | 1204399.6389
5 | 2646011.9563 | 1204429.6782 | 2646008.9631 | 1204433.2006
6 | 2646060.7095 | 1204421.1413 | 2646060.9685 | 1204421.3786
7 | 2646060.7095 | 1204421.1413 | 2646057.4835 | 1204424.1626 | 2646047.1147 | 1204430.075 | 2646038.1649 | 1204437.4325 | 2646034.8506 | 1204441.9166
8 | 2646049.9128 | 1204397.6891 | 2646048.3645 | 1204389.328 | 2646045.6695 | 1204378.4541
9 | 2646008.9631 | 1204433.2006 | 2646004.9703 | 1204437.8994 | 2645998.1362 | 1204443.1832 | 2645990.316 | 1204446.1247 | 2645985.0017 | 1204447.7441
10 | 2646066.4355 | 1204426.3884 | 2646060.9685 | 1204421.3786
11 | 2646043.2099 | 1204367.1867 | 2646044.1959 | 1204372.5084 | 2646045.6695 | 1204378.4541
12 | 2645964.1313 | 1204452.3924 | 2645975.7975 | 1204450.5488 | 2645985.0017 | 1204447.7441
13 | 2646043.2099 | 1204367.1867 | 2646044.0986 | 1204363.4247 | 2646046.6959 | 1204361.0433 | 2646053.3311 | 1204358.871 | 2646059.1114 | 1204356.0917 | 2646060.2439 | 1204353.2655 | 2646060.6341 | 1204348.0433 | 2646060.0935 | 1204345.5506
14 | 2646066.4355 | 1204426.3884 | 2646064.0514 | 1204434.6637 | 2646064.1753 | 1204437.344 | 2646064.7935 | 1204441.0286 | 2646070.4533 | 1204452.879 | 2646071.2408 | 1204457.2988 | 2646070.8099 | 1204460.8864 | 2646069.8663 | 1204463.8131
15 | 2646066.4355 | 1204426.3884 | 2646081.6284 | 1204439.0906 | 2646087.2129 | 1204445.8931 | 2646090.2685 | 1204451.1642 | 2646093.9751 | 1204458.8082 | 2646094.505 | 1204459.9956
16 | 2646069.8663 | 1204463.8131 | 2646067.2559 | 1204471.9097 | 2646065.9216 | 1204474.2786 | 2646062.7492 | 1204476.2664 | 2646062.2636 | 1204476.3898
17 | 2646103.8772 | 1204480.9979 | 2646094.505 | 1204459.9956
18 | 2646112.2532 | 1204495.5814 | 2646109.878 | 1204492.8504 | 2646106.3064 | 1204486.4414 | 2646103.8772 | 1204480.9979
19 | 2646112.2532 | 1204495.5814 | 2646116.0549 | 1204498.7904 | 2646121.5914 | 1204501.9682 | 2646129.8024 | 1204505.5559 | 2646138.0112 | 1204508.4431 | 2646148.999 | 1204511.2627
20 | 2646112.2532 | 1204495.5814 | 2646112.0386 | 1204497.7588 | 2646112.7404 | 1204500.4657 | 2646117.4697 | 1204505.9083
21 | 2646181.0748 | 1204519.4936 | 2646148.999 | 1204511.2627
22 | 2646117.4697 | 1204505.9083 | 2646135.6931 | 1204526.8802 | 2646158.9082 | 1204545.8815 | 2646190.1878 | 1204565.8027
23 | 2646181.0748 | 1204519.4936 | 2646377.1204 | 1204338.4073
24 | 2646377.1204 | 1204338.4073 | 2646369.7307 | 1204336.8046 | 2646361.56 | 1204337.8085 | 2646357.6369 | 1204338.4895 | 2646355.0952 | 1204339.5705 | 2646353.5637 | 1204340.8482 | 2646352.3869 | 1204342.5067 | 2646352.1167 | 1204344.9727 | 2646352.2445 | 1204347.1305 | 2646356.2091 | 1204359.7351 | 2646358.0219 | 1204363.3735 | 2646361.194 | 1204367.3226 | 2646376.6711 | 1204381.573 | 2646399.8941 | 1204396.6063 | 2646427.1236 | 1204410.9705 | 2646471.8443 | 1204432.9195 | 2646509.9691 | 1204449.003 | 2646528.6401 | 1204459.421
25 | 2646549.734 | 1204207.2941 | 2646549.7001 | 1204209.1526 | 2646550.6828 | 1204213.8629 | 2646555.1703 | 1204220.8241 | 2646563.3228 | 1204229.9817 | 2646566.919 | 1204235.1572 | 2646568.6965 | 1204240.374 | 2646569.6809 | 1204245.8515 | 2646570.5964 | 1204255.2751 | 2646571.5614 | 1204259.3294 | 2646573.3898 | 1204262.9013 | 2646576.0578 | 1204266.1128 | 2646582.4632 | 1204270.0539 | 2646591.8818 | 1204272.9289 | 2646596.7761 | 1204275.513 | 2646601.6029 | 1204278.9637
26 | 2646601.6029 | 1204278.9637 | 2646601.6029 | 1204278.9637 | 2646605.9334 | 1204283.6113 | 2646611.6526 | 1204291.6271 | 2646625.164 | 1204314.9792 | 2646637.1578 | 1204343.1051
27 | 2646637.1578 | 1204343.1051 | 2646650.8355 | 1204375.1798
28 | 2646725.05 | 1204539.7883 | 2646698.2267 | 1204478.499 | 2646661.8828 | 1204402.0157 | 2646651.2593 | 1204376.1735 | 2646650.8355 | 1204375.1798
29 | 2646794.3871 | 1204658.6657 | 2646782.972 | 1204646.6027 | 2646770.3144 | 1204634.8636 | 2646757.8278 | 1204624.5933 | 2646749.9923 | 1204617.7948 | 2646746.3619 | 1204614.1421 | 2646743.8294 | 1204610.1644 | 2646742.9705 | 1204607.156 | 2646742.8605 | 1204601.7742 | 2646744.1305 | 1204589.1881 | 2646743.4079 | 1204581.389 | 2646741.5177 | 1204575.0484 | 2646738.8033 | 1204568.0676 | 2646732.0908 | 1204554.8297 | 2646725.05 | 1204539.7883
30 | 2646725.05 | 1204539.7883 | 2646722.8715 | 1204544.0404 | 2646723.3915 | 1204553.4276 | 2646728.0771 | 1204566.1271 | 2646731.8377 | 1204581.343 | 2646730.4424 | 1204587.5912 | 2646719.0687 | 1204590.6263 | 2646697.4 | 1204591.0572 | 2646681.3787 | 1204595.9904 | 2646665.344 | 1204601.6684 | 2646642.7807 | 1204602.6929 | 2646612.6629 | 1204595.0091 | 2646602.9469 | 1204586.4395 | 2646599.5737 | 1204578.0751 | 2646591.8908 | 1204567.2979 | 2646572.5892 | 1204532.4385 | 2646561.6792 | 1204514.043 | 2646542.0051 | 1204488.8642 | 2646532.5952 | 1204469.2797 | 2646530.2148 | 1204463.3355
31 | 2646794.3871 | 1204658.6657 | 2646818.139 | 1204683.5882 | 2646827.4987 | 1204691.9441 | 2646835.2422 | 1204697.8304
32 | 2646528.6401 | 1204459.421 | 2646530.2148 | 1204463.3355
33 | 2646835.2422 | 1204697.8304 | 2646843.6292 | 1204702.1653 | 2646864.0451 | 1204711.989
34 | 2646528.6401 | 1204459.421 | 2646539.65 | 1204465.021 | 2646546.0772 | 1204464.1706
35 | 2646864.0451 | 1204711.989 | 2646882.6057 | 1204720.9199
36 | 2646913.3918 | 1204759.5455 | 2646905.8527 | 1204753.8052 | 2646902.2831 | 1204750.1751 | 2646900.695 | 1204747.0387 | 2646898.3228 | 1204737.2033 | 2646896.6098 | 1204731.5644 | 2646894.1864 | 1204728.2434 | 2646889.9941 | 1204724.4751 | 2646882.6057 | 1204720.9199
37 | 2646913.3918 | 1204759.5455 | 2646915.678 | 1204755.1387 | 2646919.4372 | 1204750.132 | 2646924.4827 | 1204745.9914 | 2646929.407 | 1204743.7288 | 2646934.7364 | 1204742.192 | 2646940.789 | 1204741.5503 | 2646946.2952 | 1204742.6831 | 2646953.2504 | 1204745.2836 | 2646962.6667 | 1204751.2388 | 2647016.6784 | 1204793.51 | 2647033.6825 | 1204802.8492 | 2647042.1236 | 1204806.0841
38 | 2646848.8747 | 1204544.5048 | 2646854.6995 | 1204551.5878 | 2646856.3769 | 1204554.9807 | 2646860.7677 | 1204578.0728 | 2646862.6771 | 1204584.8695 | 2646868.0788 | 1204595.4624 | 2646873.0843 | 1204607.0972 | 2646888.6875 | 1204650.6001 | 2646898.2803 | 1204676.7237 | 2646915.3838 | 1204695.7467 | 2646928.8853 | 1204706.5367 | 2646952.0397 | 1204720.2709 | 2646996.8636 | 1204753.7091 | 2647016.0846 | 1204768.4465 | 2647026.1532 | 1204784.2904 | 2647039.7717 | 1204797.5607 | 2647043.0124 | 1204800.4435 | 2647042.1236 | 1204806.0841
39 | 2647047.4323 | 1204808.1271 | 2647042.1236 | 1204806.0841
40 | 2647150.4037 | 1204840.4016 | 2647143.4213 | 1204835.4882 | 2647137.8119 | 1204832.9869 | 2647056.2429 | 1204810.8091 | 2647047.4323 | 1204808.1271
41 | 2647047.4323 | 1204808.1271 | 2647040.9624 | 1204833.7576 | 2647039.9823 | 1204853.8837 | 2647038.8669 | 1204866.0819 | 2647044.0545 | 1204881.5761 | 2647038.7728 | 1204904.1141 | 2647041.0666 | 1204923.8658 | 2647042.9259 | 1204933.2131
42 | 2646983.877 | 1204975.3455 | 2646974.663 | 1204942.6823
43 | 2646983.877 | 1204975.3455 | 2646994.3686 | 1204971.2367 | 2647045.3325 | 1204945.3117 | 2647042.9259 | 1204933.2131
44 | 2647138.3746 | 1204759.7604 | 2647152.9537 | 1204812.2389 | 2647154.8195 | 1204822.5707 | 2647153.6826 | 1204829.7658 | 2647150.4037 | 1204840.4016
45 | 2647150.4037 | 1204840.4016 | 2647157.2133 | 1204846.9702 | 2647163.5682 | 1204856.2035 | 2647167.9268 | 1204862.7072
46 | 2647138.3746 | 1204759.7604 | 2647128.7252 | 1204743.8529 | 2647127.2948 | 1204739.0611 | 2647127.4049 | 1204717.3939 | 2647128.7615 | 1204694.9028 | 2647129.2674 | 1204691.9029
47 | 2647179.6272 | 1204880.1662 | 2647167.9268 | 1204862.7072
48 | 2647179.6272 | 1204880.1662 | 2647175.7246 | 1204881.1582 | 2647183.1186 | 1204891.7338 | 2647192.561 | 1204899.1459 | 2647192.561 | 1204899.1459
49 | 2647192.561 | 1204899.1459 | 2647201.5574 | 1204904.2755 | 2647201.7842 | 1204904.3322
50 | 2647240.3138 | 1204890.8518 | 2647218.6719 | 1204905.3335 | 2647210.9257 | 1204906.6175 | 2647201.7842 | 1204904.3322
51 | 2647240.3138 | 1204890.8518 | 2647253.776 | 1204912.2372 | 2647260.3865 | 1204930.4777 | 2647190.8989 | 1204961.5108
52 | 2647136.8113 | 1204662.7337 | 2647136.4862 | 1204669.3935 | 2647130.2538 | 1204686.0539 | 2647129.2674 | 1204691.9029
53 | 2647146.822 | 1204595.7176 | 2647145.1589 | 1204598.9548 | 2647141.4665 | 1204608.9647 | 2647139.3104 | 1204619.9874 | 2647137.3697 | 1204652.9057
54 | 2647146.822 | 1204595.7176 | 2647152.6222 | 1204584.4275 | 2647155.5324 | 1204576.1791 | 2647157.3201 | 1204567.5104 | 2647159.5591 | 1204553.709 | 2647159.1523 | 1204541.6322 | 2647149.2001 | 1204514.8939 | 2647145.5181 | 1204501.4015 | 2647140.8774 | 1204473.4822 | 2647128.6852 | 1204379.7546
55 | 2647137.3697 | 1204652.9057 | 2647136.9126 | 1204660.6585 | 2647136.8113 | 1204662.7337
56 | 2647128.6852 | 1204379.7546 | 2647127.6892 | 1204372.098
57 | 2647090.6373 | 1204091.4668 | 2647103.9173 | 1204195.1199 | 2647110.9035 | 1204243.058 | 2647127.6892 | 1204372.098
58 | 2647090.6373 | 1204091.4668 | 2646839.0802 | 1204126.9676

## bus_geodata
| x | y | coords
0 | 2646025.8037 | 1204389.7949
1 | 2646004.2046 | 1204371.7211
2 | 2646037.4824 | 1204399.6389
3 | 2646011.9563 | 1204429.6782
4 | 2646060.7095 | 1204421.1413
5 | 2646049.9128 | 1204397.6891
6 | 2646008.9631 | 1204433.2006
7 | 2646060.9685 | 1204421.3786
8 | 2646034.8506 | 1204441.9166
9 | 2646045.6695 | 1204378.4541
10 | 2645985.0017 | 1204447.7441
11 | 2645964.1313 | 1204452.3924
12 | 2646043.2099 | 1204367.1867
13 | 2646060.0935 | 1204345.5506
14 | 2646066.4355 | 1204426.3884
15 | 2646069.8663 | 1204463.8131
16 | 2646094.505 | 1204459.9956
17 | 2646062.2636 | 1204476.3898
18 | 2646103.8772 | 1204480.9979
19 | 2646112.2532 | 1204495.5814
20 | 2646148.999 | 1204511.2627
21 | 2646117.4697 | 1204505.9083
22 | 2646181.0748 | 1204519.4936
23 | 2646190.1878 | 1204565.8027
24 | 2646377.1204 | 1204338.4073
25 | 2646549.734 | 1204207.2941
26 | 2646601.6029 | 1204278.9637
27 | 2646637.1578 | 1204343.1051
28 | 2646650.8355 | 1204375.1798
29 | 2646725.05 | 1204539.7883
30 | 2646794.3871 | 1204658.6657
31 | 2646530.2148 | 1204463.3355
32 | 2646835.2422 | 1204697.8304
33 | 2646528.6401 | 1204459.421
34 | 2646864.0451 | 1204711.989
35 | 2646882.6057 | 1204720.9199
36 | 2646913.3918 | 1204759.5455
37 | 2647042.1236 | 1204806.0841
38 | 2646848.8747 | 1204544.5048
39 | 2647047.4323 | 1204808.1271
40 | 2646974.663 | 1204942.6823
41 | 2646983.877 | 1204975.3455
42 | 2647042.9259 | 1204933.2131
43 | 2647150.4037 | 1204840.4016
44 | 2647138.3746 | 1204759.7604
45 | 2647167.9268 | 1204862.7072
46 | 2647179.6272 | 1204880.1662
47 | 2647192.561 | 1204899.1459
48 | 2647201.7842 | 1204904.3322
49 | 2647240.3138 | 1204890.8518
50 | 2647190.8989 | 1204961.5108
51 | 2647129.2674 | 1204691.9029
52 | 2647146.822 | 1204595.7176
53 | 2647137.3697 | 1204652.9057
54 | 2647128.6852 | 1204379.7546
55 | 2647136.8113 | 1204662.7337
56 | 2647127.6892 | 1204372.098
57 | 2647090.6373 | 1204091.4668
58 | 2646839.0802 | 1204126.9676
59 | 2646546.0772 | 1204464.1706
60 | 2646794.3871 | 1204658.6657

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98929 | -0.07632 | 0.00022914 | 5.7429e-05
1 | 0.98928 | -0.076348 | 9.4495e-05 | 2.3683e-05
2 | 0.98929 | -0.07627 | 0 | 0
3 | 0.98922 | -0.07679 | 0.000283 | 7.0925e-05
4 | 0.98939 | -0.075566 | 0 | 0
5 | 0.98928 | -0.076363 | 0 | 0
6 | 0.98921 | -0.076838 | 0.00023274 | 5.833e-05
7 | 0.98939 | -0.075557 | 0.00018904 | 4.7378e-05
8 | 0.98938 | -0.075635 | 0.00020077 | 5.0317e-05
9 | 0.98926 | -0.076473 | 0.00039151 | 9.8121e-05
10 | 0.98918 | -0.077065 | 0.00014708 | 3.6862e-05
11 | 0.98916 | -0.077202 | 0.00062482 | 0.00015659
12 | 0.98926 | -0.076492 | 0 | 0
13 | 0.98925 | -0.076542 | 0.00015476 | 3.8786e-05
14 | 0.98942 | -0.075363 | 0 | 0
15 | 0.98938 | -0.075675 | 0.00054172 | 0.00013577
16 | 0.98963 | -0.07384 | 8.4406e-05 | 2.1154e-05
17 | 0.98937 | -0.075712 | 0.00023385 | 5.8608e-05
18 | 0.98975 | -0.073032 | 0.00078727 | 0.00019731
19 | 0.98985 | -0.072303 | 0 | 0
20 | 0.99019 | -0.069837 | 0.00012518 | 3.1373e-05
21 | 0.98982 | -0.072521 | 0.0010352 | 0.00025943
22 | 0.99048 | -0.067771 | 0.00026818 | 6.7211e-05
23 | 0.98972 | -0.073218 | 0.00071658 | 0.00017959
24 | 0.99292 | -0.050408 | 0 | 0
25 | 0.99791 | -0.014926 | 0.0004456 | 0.00011168
26 | 0.99797 | -0.014497 | 0.00031817 | 7.9741e-05
27 | 0.99805 | -0.013923 | 9.2608e-05 | 2.321e-05
28 | 0.99809 | -0.013617 | 0.00023021 | 5.7695e-05
29 | 0.99837 | -0.0116 | 0 | 0
30 | 1 | 0 | -0.024681 | -0.0059494
31 | 0.9952 | -0.034183 | 0 | 0
32 | 0.99871 | -0.0091341 | 0.00073768 | 0.00018488
33 | 0.99516 | -0.034475 | 0.00013429 | 3.3657e-05
34 | 0.99801 | -0.014076 | 0.0041782 | 0.0010472
35 | 0.99769 | -0.016388 | 0.0010142 | 0.00025418
36 | 0.99694 | -0.021704 | 0 | 0
37 | 0.99472 | -0.03764 | 0 | 0
38 | 0.99429 | -0.040697 | 0.00087562 | 0.00021945
39 | 0.99464 | -0.03817 | 0 | 0
40 | 0.99425 | -0.04096 | 0.00053269 | 0.0001335
41 | 0.99428 | -0.040777 | 0 | 0
42 | 0.99434 | -0.040337 | 0.0011311 | 0.00028349
43 | 0.99349 | -0.046426 | 0 | 0
44 | 0.99298 | -0.050117 | 0 | 0
45 | 0.99336 | -0.047341 | 0.0012127 | 0.00030394
46 | 0.9933 | -0.047758 | 0 | 0
47 | 0.99322 | -0.04833 | 0.00040993 | 0.00010274
48 | 0.9932 | -0.048496 | 0.0012194 | 0.00030561
49 | 0.99318 | -0.048637 | 0 | 0
50 | 0.99313 | -0.049021 | 0.00030872 | 7.7373e-05
51 | 0.99254 | -0.053251 | 0.0012718 | 0.00031875
52 | 0.99223 | -0.055547 | 0.00056431 | 0.00014143
53 | 0.99238 | -0.054449 | 0.00060829 | 0.00015245
54 | 0.99184 | -0.058412 | 0.00050446 | 0.00012643
55 | 0.99241 | -0.054203 | 0.00062586 | 0.00015686
56 | 0.99184 | -0.058472 | 0.00029886 | 7.4901e-05
57 | 0.99167 | -0.059753 | 0 | 0
58 | 0.99152 | -0.060836 | 0.00040785 | 0.00010222
59 | 0.99515 | -0.034526 | 0.00027115 | 6.7956e-05
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 9.4495e-05 | 2.3321e-05 | -9.4495e-05 | -2.3683e-05 | 3.5473e-10 | -3.6149e-07 | 0.00014201 | 0.00014213 | 0.00014213 | 0.98929 | -0.07632 | 0.98928 | -0.076348 | 0.052642
1 | -0.00032364 | -8.0749e-05 | 0.00032364 | 8.0554e-05 | 2.257e-09 | -1.9525e-07 | 0.00048667 | 0.0004866 | 0.00048667 | 0.98929 | -0.07632 | 0.98929 | -0.07627 | 0.18025
2 | 0.0012878 | 0.00032155 | -0.0012877 | -0.00032202 | 9.2256e-08 | -4.7063e-07 | 0.0019365 | 0.0019367 | 0.0019367 | 0.98929 | -0.07627 | 0.98922 | -0.07679 | 0.7173
3 | -0.0021577 | -0.000538 | 0.0021579 | 0.00053767 | 2.079e-07 | -3.2649e-07 | 0.0032444 | 0.0032443 | 0.0032444 | 0.98929 | -0.07627 | 0.98939 | -0.075566 | 1.2016
4 | 0.00054628 | 0.00013589 | -0.00054628 | -0.0001361 | 6.9473e-09 | -2.0923e-07 | 0.00082132 | 0.00082139 | 0.00082139 | 0.98929 | -0.07627 | 0.98928 | -0.076363 | 0.30422
5 | 0.0010047 | 0.0002511 | -0.0010047 | -0.00025115 | 6.5855e-09 | -5.6808e-08 | 0.001511 | 0.001511 | 0.001511 | 0.98922 | -0.07679 | 0.98921 | -0.076838 | 0.55965
6 | -0.0023587 | -0.00058756 | 0.0023587 | 0.00058756 | 2.7563e-09 | -3.4512e-09 | 0.0035461 | 0.0035461 | 0.0035461 | 0.98939 | -0.075566 | 0.98939 | -0.075557 | 1.3134
7 | 0.00020077 | 4.9887e-05 | -0.00020077 | -5.0317e-05 | 1.906e-09 | -4.2971e-07 | 0.0003018 | 0.00030195 | 0.00030195 | 0.98939 | -0.075566 | 0.98938 | -0.075635 | 0.11183
8 | 0.00054628 | 0.0001361 | -0.00054627 | -0.00013635 | 8.2972e-09 | -2.4982e-07 | 0.00082139 | 0.00082148 | 0.00082148 | 0.98928 | -0.076363 | 0.98926 | -0.076473 | 0.30425
9 | 0.00077193 | 0.00019282 | -0.00077191 | -0.00019318 | 2.4153e-08 | -3.5934e-07 | 0.0011609 | 0.0011611 | 0.0011611 | 0.98921 | -0.076838 | 0.98918 | -0.077065 | 0.43003
10 | -0.0025477 | -0.00063493 | 0.0025478 | 0.00063487 | 6.7889e-08 | -6.9121e-08 | 0.0038304 | 0.0038304 | 0.0038304 | 0.98939 | -0.075557 | 0.98942 | -0.075363 | 1.4187
11 | 0.00015476 | 3.8232e-05 | -0.00015476 | -3.838e-05 | 3.8957e-10 | -1.4799e-07 | 0.00023259 | 0.00023264 | 0.00023264 | 0.98926 | -0.076473 | 0.98926 | -0.076492 | 0.086163
12 | 0.00062483 | 0.00015632 | -0.00062482 | -0.00015659 | 1.1814e-08 | -2.7059e-07 | 0.00093983 | 0.00093993 | 0.00093993 | 0.98918 | -0.077065 | 0.98916 | -0.077202 | 0.34812
13 | 0.00015476 | 3.838e-05 | -0.00015476 | -3.8786e-05 | 1.0684e-09 | -4.0552e-07 | 0.00023264 | 0.00023278 | 0.00023278 | 0.98926 | -0.076492 | 0.98925 | -0.076542 | 0.086216
14 | 0.0007756 | 0.00019368 | -0.00077557 | -0.00019418 | 3.3393e-08 | -4.924e-07 | 0.0011662 | 0.0011664 | 0.0011664 | 0.98942 | -0.075363 | 0.98938 | -0.075675 | 0.43199
15 | -0.0033234 | -0.00082855 | 0.0033241 | 0.00082825 | 6.9311e-07 | -3.0497e-07 | 0.0049966 | 0.0049964 | 0.0049966 | 0.98942 | -0.075363 | 0.98963 | -0.07384 | 1.8506
16 | 0.00023385 | 5.841e-05 | -0.00023385 | -5.8608e-05 | 1.1939e-09 | -1.9821e-07 | 0.00035164 | 0.00035171 | 0.00035171 | 0.98938 | -0.075675 | 0.98937 | -0.075712 | 0.13026
17 | -0.0034085 | -0.0008494 | 0.0034089 | 0.00084925 | 3.7668e-07 | -1.5066e-07 | 0.0051233 | 0.0051232 | 0.0051233 | 0.98963 | -0.07384 | 0.98975 | -0.073032 | 1.8975
18 | -0.0041961 | -0.0010466 | 0.0041966 | 0.0010465 | 4.1989e-07 | -5.5943e-08 | 0.0063068 | 0.0063067 | 0.0063068 | 0.98975 | -0.073032 | 0.98985 | -0.072303 | 2.3359
19 | -0.0059484 | -0.0014842 | 0.0059504 | 0.0014845 | 2.0129e-06 | 2.5517e-07 | 0.0089398 | 0.0089396 | 0.0089398 | 0.98985 | -0.072303 | 0.99019 | -0.069837 | 3.311
20 | 0.0017519 | 0.00043769 | -0.0017518 | -0.00043783 | 5.2757e-08 | -1.3646e-07 | 0.002633 | 0.0026331 | 0.0026331 | 0.98985 | -0.072303 | 0.98982 | -0.072521 | 0.97522
21 | -0.0060756 | -0.0015158 | 0.0060773 | 0.0015161 | 1.7216e-06 | 2.3605e-07 | 0.0091277 | 0.0091275 | 0.0091277 | 0.99019 | -0.069837 | 0.99048 | -0.067771 | 3.3806
22 | 0.00071664 | 0.0001784 | -0.00071658 | -0.00017959 | 6.8682e-08 | -1.1928e-06 | 0.0010769 | 0.0010774 | 0.0010774 | 0.98982 | -0.072521 | 0.98972 | -0.073218 | 0.39902
23 | -0.0063455 | -0.0015833 | 0.0063606 | 0.0015856 | 1.5124e-05 | 2.3736e-06 | 0.0095304 | 0.0095292 | 0.0095304 | 0.99048 | -0.067771 | 0.99292 | -0.050408 | 3.5298
24 | -0.0063606 | -0.0015856 | 0.0063745 | 0.0015878 | 1.3888e-05 | 2.1638e-06 | 0.0095292 | 0.0095281 | 0.0095292 | 0.99292 | -0.050408 | 0.99516 | -0.034475 | 3.5293
25 | -0.0004456 | -0.00011168 | 0.00044562 | 0.00011044 | 2.6224e-08 | -1.2344e-06 | 0.00066445 | 0.00066401 | 0.00066445 | 0.99791 | -0.014926 | 0.99797 | -0.014497 | 0.24609
26 | -0.00076379 | -0.00019018 | 0.00076385 | 0.00018924 | 5.9628e-08 | -9.4083e-07 | 0.0011384 | 0.0011381 | 0.0011384 | 0.99797 | -0.014497 | 0.99805 | -0.013923 | 0.42164
27 | -0.00085646 | -0.00021245 | 0.0008565 | 0.00021201 | 3.5431e-08 | -4.4207e-07 | 0.0012762 | 0.001276 | 0.0012762 | 0.99805 | -0.013923 | 0.99809 | -0.013617 | 0.47265
28 | -0.0010867 | -0.00026971 | 0.001087 | 0.00026746 | 2.9532e-07 | -2.2474e-06 | 0.0016192 | 0.0016184 | 0.0016192 | 0.99809 | -0.013617 | 0.99837 | -0.0116 | 0.5997
29 | -0.0078882 | -0.0019605 | 0.0079007 | 0.0019634 | 1.2469e-05 | 2.9004e-06 | 0.011751 | 0.01175 | 0.011751 | 0.99837 | -0.0116 | 1 | 0 | 4.3523
30 | 0.0068012 | 0.001693 | -0.0067802 | -0.0016892 | 2.0966e-05 | 3.7989e-06 | 0.010133 | 0.010134 | 0.010134 | 0.99837 | -0.0116 | 0.9952 | -0.034183 | 3.7534
31 | 0.01598 | 0.003986 | -0.01596 | -0.003979 | 1.9995e-05 | 6.9476e-06 | 0.023772 | 0.023773 | 0.023773 | 1 | 0 | 0.99871 | -0.0091341 | 8.8047
32 | 0.0067802 | 0.0016892 | -0.0067799 | -0.0016892 | 2.7032e-07 | 4.9164e-08 | 0.010134 | 0.010134 | 0.010134 | 0.9952 | -0.034183 | 0.99516 | -0.034475 | 3.7534
33 | 0.015223 | 0.0037942 | -0.015212 | -0.0037906 | 1.0297e-05 | 3.5405e-06 | 0.022673 | 0.022674 | 0.022674 | 0.99871 | -0.0091341 | 0.99801 | -0.014076 | 8.3976
34 | 0.00027115 | 6.7712e-05 | -0.00027115 | -6.7955e-05 | 1.9268e-09 | -2.4337e-07 | 0.00040535 | 0.00040544 | 0.00040544 | 0.99516 | -0.034475 | 0.99515 | -0.034526 | 0.15016
35 | 0.011034 | 0.0027434 | -0.011031 | -0.0027424 | 3.4755e-06 | 1.0677e-06 | 0.016444 | 0.016444 | 0.016444 | 0.99801 | -0.014076 | 0.99769 | -0.016388 | 6.0904
36 | 0.010016 | 0.0024882 | -0.010009 | -0.0024861 | 7.24e-06 | 2.1055e-06 | 0.014931 | 0.014932 | 0.014932 | 0.99769 | -0.016388 | 0.99694 | -0.021704 | 5.5303
37 | 0.010009 | 0.0024861 | -0.0099876 | -0.0024798 | 2.1665e-05 | 6.3067e-06 | 0.014932 | 0.014932 | 0.014932 | 0.99694 | -0.021704 | 0.99472 | -0.03764 | 5.5305
38 | 0.00087598 | 0.00021518 | -0.00087562 | -0.00021945 | 3.634e-07 | -4.266e-06 | 0.0013089 | 0.0013104 | 0.0013104 | 0.99472 | -0.03764 | 0.99429 | -0.040697 | 0.48534
39 | 0.0091116 | 0.0022646 | -0.0091109 | -0.0022644 | 6.5713e-07 | 1.7909e-07 | 0.013624 | 0.013624 | 0.013624 | 0.99472 | -0.03764 | 0.99464 | -0.03817 | 5.0458
40 | 0.0074466 | 0.0018504 | -0.0074382 | -0.0018486 | 8.3662e-06 | 1.8159e-06 | 0.011135 | 0.011135 | 0.011135 | 0.99464 | -0.03817 | 0.99349 | -0.046426 | 4.1241
41 | 0.0016644 | 0.00041406 | -0.0016639 | -0.00041552 | 4.9386e-07 | -1.4675e-06 | 0.0024889 | 0.0024894 | 0.0024894 | 0.99464 | -0.03817 | 0.99434 | -0.040337 | 0.92201
42 | -0.00053269 | -0.0001335 | 0.0005327 | 0.00013307 | 1.3457e-08 | -4.3497e-07 | 0.00079723 | 0.00079707 | 0.00079723 | 0.99425 | -0.04096 | 0.99428 | -0.040777 | 0.29527
43 | -0.0005327 | -0.00013307 | 0.00053273 | 0.00013203 | 3.2011e-08 | -1.0355e-06 | 0.00079707 | 0.00079671 | 0.00079707 | 0.99428 | -0.040777 | 0.99434 | -0.040337 | 0.29521
44 | 0.0042867 | 0.0010619 | -0.0042846 | -0.0010621 | 2.142e-06 | -2.5529e-07 | 0.0064161 | 0.0064165 | 0.0064165 | 0.99349 | -0.046426 | 0.99298 | -0.050117 | 2.3765
45 | 0.0031515 | 0.00078666 | -0.0031511 | -0.00078687 | 3.9605e-07 | -2.1667e-07 | 0.0047191 | 0.0047192 | 0.0047192 | 0.99349 | -0.046426 | 0.99336 | -0.047341 | 1.7479
46 | 0.0042846 | 0.0010621 | -0.0042827 | -0.0010624 | 1.8202e-06 | -2.1597e-07 | 0.0064165 | 0.0064168 | 0.0064168 | 0.99298 | -0.050117 | 0.99254 | -0.053251 | 2.3766
47 | 0.0019384 | 0.00048294 | -0.0019383 | -0.00048317 | 1.105e-07 | -2.2957e-07 | 0.0029026 | 0.0029027 | 0.0029027 | 0.99336 | -0.047341 | 0.9933 | -0.047758 | 1.0751
48 | 0.0019383 | 0.00048317 | -0.0019381 | -0.00048348 | 1.5213e-07 | -3.1599e-07 | 0.0029027 | 0.0029028 | 0.0029028 | 0.9933 | -0.047758 | 0.99322 | -0.04833 | 1.0751
49 | 0.0015282 | 0.00038074 | -0.0015281 | -0.00038087 | 3.4614e-08 | -1.2374e-07 | 0.0022887 | 0.0022887 | 0.0022887 | 0.99322 | -0.04833 | 0.9932 | -0.048496 | 0.84767
50 | 0.00030874 | 7.5258e-05 | -0.00030874 | -7.5816e-05 | 5.767e-09 | -5.5833e-07 | 0.00046182 | 0.00046201 | 0.00046201 | 0.9932 | -0.048496 | 0.99318 | -0.048637 | 0.17112
51 | 0.00030874 | 7.5816e-05 | -0.00030872 | -7.7373e-05 | 1.6106e-08 | -1.5566e-06 | 0.00046201 | 0.00046256 | 0.00046256 | 0.99318 | -0.048637 | 0.99313 | -0.049021 | 0.17132
52 | 0.0030109 | 0.00074362 | -0.0030105 | -0.00074386 | 3.8571e-07 | -2.4433e-07 | 0.0045101 | 0.0045103 | 0.0045103 | 0.99254 | -0.053251 | 0.99241 | -0.054203 | 1.6705
53 | -0.0017761 | -0.00043531 | 0.0017763 | 0.00043465 | 2.5834e-07 | -6.5655e-07 | 0.0026601 | 0.0026598 | 0.0026601 | 0.99223 | -0.055547 | 0.99238 | -0.054449 | 0.98521
54 | 0.0012117 | 0.00029388 | -0.0012113 | -0.00029657 | 4.5536e-07 | -2.6872e-06 | 0.0018138 | 0.0018148 | 0.0018148 | 0.99223 | -0.055547 | 0.99184 | -0.058412 | 0.67214
55 | -0.0023846 | -0.0005871 | 0.0023847 | 0.00058701 | 7.8369e-08 | -9.7046e-08 | 0.0035719 | 0.0035719 | 0.0035719 | 0.99238 | -0.054449 | 0.99241 | -0.054203 | 1.3229
56 | 0.00070684 | 0.00017014 | -0.00070683 | -0.00017023 | 5.3932e-09 | -9.7575e-08 | 0.001058 | 0.001058 | 0.001058 | 0.99184 | -0.058412 | 0.99184 | -0.058472 | 0.39186
57 | 0.00040797 | 9.5334e-05 | -0.0004079 | -9.8961e-05 | 6.5793e-08 | -3.6274e-06 | 0.0006097 | 0.00061093 | 0.00061093 | 0.99184 | -0.058472 | 0.99167 | -0.059753 | 0.22627
58 | 0.0004079 | 9.8961e-05 | -0.00040785 | -0.00010222 | 5.9277e-08 | -3.2544e-06 | 0.00061093 | 0.00061207 | 0.00061207 | 0.99167 | -0.059753 | 0.99152 | -0.060836 | 0.22669

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.024681 | 0.0059494

## res_load
| p_mw | q_mvar
0 | 0.00022914 | 5.7429e-05
1 | 9.4495e-05 | 2.3683e-05
2 | 0.000283 | 7.0925e-05
3 | 0.00023274 | 5.833e-05
4 | 0.00018904 | 4.7378e-05
5 | 0.00020077 | 5.0317e-05
6 | 0.00039151 | 9.8121e-05
7 | 0.00014708 | 3.6862e-05
8 | 0.00062482 | 0.00015659
9 | 0.00015476 | 3.8786e-05
10 | 0.00054172 | 0.00013577
11 | 8.4406e-05 | 2.1154e-05
12 | 0.00023385 | 5.8608e-05
13 | 0.00078727 | 0.00019731
14 | 0.00012518 | 3.1373e-05
15 | 0.0010352 | 0.00025943
16 | 0.00026818 | 6.7211e-05
17 | 0.00071658 | 0.00017959
18 | 0.0004456 | 0.00011168
19 | 0.00031817 | 7.9741e-05
20 | 9.2608e-05 | 2.321e-05
21 | 0.00023021 | 5.7695e-05
22 | 0.00073768 | 0.00018488
23 | 0.00013429 | 3.3657e-05
24 | 0.0041782 | 0.0010472
25 | 0.0010142 | 0.00025418
26 | 0.00087562 | 0.00021945
27 | 0.00053269 | 0.0001335
28 | 0.0011311 | 0.00028349
29 | 0.0012127 | 0.00030394
30 | 0.00040993 | 0.00010274
31 | 0.0012194 | 0.00030561
32 | 0.00030872 | 7.7373e-05
33 | 0.0012718 | 0.00031875
34 | 0.00056431 | 0.00014143
35 | 0.00060829 | 0.00015245
36 | 0.00050446 | 0.00012643
37 | 0.00062586 | 0.00015686
38 | 0.00029886 | 7.4901e-05
39 | 0.00040785 | 0.00010222
40 | 0.00027115 | 6.7956e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1