## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1005-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1005-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1005-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1005-6_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1005-6_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1005-6_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1005-6_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1005-6_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1005-6_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1005-6_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1005-6_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1005-6_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1005-6_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1005-6_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1005-6_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1005-6_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1005-6_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1005-6_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1005-6_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1005-6_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1005-6_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1005-6_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1005-6_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_1005-6_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1005-6_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1005-6_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1005-6_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1005-6_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1005-6_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1005-6_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1005-6_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1005-6_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1005-6_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1005-6_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1005-6_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1005-6_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1005-6_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1005-6_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1005-6_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1005-6_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1005-6_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1005-6_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1005-6_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1005-6_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1005-6_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1005-6_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1005-6_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1005-6_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1005-6_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1005-6_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1005-6_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1005-6_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1005-6_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1005-6_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1005-6_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_MV_125_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1005-6_0_3_load_0 | 0 | 0.0050941 | 0.0012767 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1005-6_0_3_load_1 | 1 | 0.0022736 | 0.00056982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1005-6_0_3_load_2 | 2 | 0.010805 | 0.002708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1005-6_0_3_load_8 | 3 | 0.0068443 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1005-6_0_3_load_12 | 4 | 0.002998 | 0.00075138 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1005-6_0_3_load_13 | 5 | 0.0041613 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1005-6_0_3_load_6 | 6 | 0.014081 | 0.003529 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1005-6_0_3_load_3 | 7 | 0.0071212 | 0.0017847 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1005-6_0_3_load_4 | 8 | 0.010043 | 0.002517 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1005-6_0_3_load_5 | 9 | 0.0053852 | 0.0013497 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1005-6_0_3_load_7 | 10 | 0.016049 | 0.0040222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1005-6_0_3_load_10 | 11 | 0.023201 | 0.0058146 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1005-6_0_3_load_9 | 13 | 0.015861 | 0.0039751 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1005-6_0_3_load_20 | 15 | 0.0046024 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1005-6_0_3_load_27 | 16 | 0.0085358 | 0.0021393 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1005-6_0_3_load_26 | 17 | 0.0085186 | 0.002135 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1005-6_0_3_load_33 | 18 | 0.0017401 | 0.00043611 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1005-6_0_3_load_25 | 19 | 0.001054 | 0.00026416 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1005-6_0_3_load_16 | 21 | 0.010662 | 0.0026721 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1005-6_0_3_load_54 | 22 | 0.0061198 | 0.0015338 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1005-6_0_3_load_19 | 23 | 0.0071174 | 0.0017838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1005-6_0_3_load_24 | 27 | 0.00086042 | 0.00021564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1005-6_0_3_load_22 | 28 | 0.00049819 | 0.00012486 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1005-6_0_3_load_44 | 29 | 0.0012201 | 0.00030578 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1005-6_0_3_load_23 | 30 | 0.00086084 | 0.00021575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1005-6_0_3_load_28 | 32 | 0.00054751 | 0.00013722 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1005-6_0_3_load_29 | 33 | 0.001605 | 0.00040224 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1005-6_0_3_load_31 | 35 | 0.0012489 | 0.00031301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1005-6_0_3_load_35 | 38 | 0.00075395 | 0.00018896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1005-6_0_3_load_43 | 39 | 0.00077069 | 0.00019315 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1005-6_0_3_load_41 | 40 | 0.003243 | 0.00081277 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1005-6_0_3_load_36 | 41 | 0.0017245 | 0.0004322 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1005-6_0_3_load_40 | 44 | 0.0004887 | 0.00012248 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1005-6_0_3_load_57 | 45 | 0.016517 | 0.0041395 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1005-6_0_3_load_42 | 47 | 0.0011 | 0.00027569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1005-6_0_3_load_47 | 49 | 0.0055553 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1005-6_0_3_load_46 | 50 | 0.00085604 | 0.00021454 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1005-6_0_3_load_55 | 53 | 0.001911 | 0.00047895 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1005-6_0_3_load_56 | 54 | 0.00095272 | 0.00023877 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1005-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0036113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1005-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.025129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1005-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.061409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1005-6_0_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.023145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1005-6_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.022775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1005-6_0_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.015465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1005-6_0_3_line_6 | NAYY 4x150 SE | 3 | 6 | 0.02546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1005-6_0_3_line_7 | NAYY 4x150 SE | 4 | 14 | 0.016149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1005-6_0_3_line_8 | NAYY 4x150 SE | 5 | 15 | 0.033461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1005-6_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.0051863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1005-6_0_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.01148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1005-6_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.017137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1005-6_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.0020281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1005-6_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.025173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1005-6_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.020675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1005-6_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.01331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1005-6_0_3_line_16 | NAYY 4x150 SE | 12 | 17 | 0.013976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1005-6_0_3_line_17 | NAYY 4x150 SE | 14 | 20 | 0.011675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1005-6_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.026814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1005-6_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.011014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1005-6_0_3_line_20 | NAYY 4x150 SE | 18 | 31 | 0.021926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1005-6_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.030869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1005-6_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.029111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1005-6_0_3_line_23 | NAYY 4x150 SE | 21 | 25 | 0.0041885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1005-6_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.038657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1005-6_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.009266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1005-6_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.022163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1005-6_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.014486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1005-6_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.01865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1005-6_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.029237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1005-6_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0024409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1005-6_0_3_line_31 | NAYY 4x150 SE | 31 | 36 | 0.09783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1005-6_0_3_line_32 | NAYY 4x150 SE | 31 | 34 | 0.037078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1005-6_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0069451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1005-6_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0067475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1005-6_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.017814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1005-6_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.052413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1005-6_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.048674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1005-6_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.054049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1005-6_0_3_line_39 | NAYY 4x150 SE | 37 | 40 | 0.020746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1005-6_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.026418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1005-6_0_3_line_41 | NAYY 4x150 SE | 39 | 46 | 0.026458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1005-6_0_3_line_42 | NAYY 4x150 SE | 40 | 47 | 0.018646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1005-6_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.023071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1005-6_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.023681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1005-6_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.029532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1005-6_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.017706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1005-6_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.088079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1005-6_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.025392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1005-6_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.024393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1005-6_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.055367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1005-6_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.095357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1005-6_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.052612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1005-6_0_3_line_53 | NAYY 4x150 SE | 52 | 54 | 0.027207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1005-6_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 55 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2646593.3237 | 1203288.6628 | 2646594.5303 | 1203289.5086 | 2646596.51 | 1203290.3155
1 | 2646620.7322 | 1203296.6537 | 2646603.4575 | 1203293.147 | 2646596.51 | 1203290.3155
2 | 2646571.8449 | 1203346.5534 | 2646596.51 | 1203290.3155
3 | 2646620.7322 | 1203296.6537 | 2646643.4146 | 1203301.2583
4 | 2646571.8449 | 1203346.5534 | 2646550.5971 | 1203338.3542
5 | 2646571.8449 | 1203346.5534 | 2646564.8603 | 1203360.3514
6 | 2646571.8449 | 1203346.5534 | 2646595.6066 | 1203355.4103 | 2646595.7015 | 1203355.4456
7 | 2646535.5308 | 1203332.5403 | 2646550.5971 | 1203338.3542
8 | 2646583.1869 | 1203381.0615 | 2646566.0439 | 1203375.2579 | 2646564.7615 | 1203371.8905 | 2646564.0476 | 1203361.957 | 2646564.8603 | 1203360.3514
9 | 2646600.5622 | 1203357.254 | 2646595.7015 | 1203355.4456
10 | 2646654.665 | 1203303.5421 | 2646643.4146 | 1203301.2583
11 | 2646616.7244 | 1203362.932 | 2646611.5084 | 1203361.3265 | 2646600.5622 | 1203357.254
12 | 2646616.7244 | 1203362.932 | 2646618.6627 | 1203363.5286
13 | 2646663.7967 | 1203370.9733 | 2646657.6451 | 1203370.4694 | 2646646.7041 | 1203369.4501 | 2646638.8064 | 1203368.0964
14 | 2646638.8064 | 1203368.0964 | 2646634.7439 | 1203367.4001 | 2646623.1447 | 1203364.9082 | 2646618.6627 | 1203363.5286
15 | 2646663.7967 | 1203370.9733 | 2646677.0621 | 1203372.0585
16 | 2646663.7967 | 1203370.9733 | 2646663.1359 | 1203378.617 | 2646663.4264 | 1203383.3108 | 2646663.087 | 1203384.8757 | 2646663.087 | 1203384.8757
17 | 2646535.5308 | 1203332.5403 | 2646532.4215 | 1203338.0526 | 2646528.4672 | 1203341.6683
18 | 2646703.714 | 1203374.9377 | 2646699.0832 | 1203374.2618 | 2646686.9353 | 1203372.8662 | 2646677.0621 | 1203372.0585
19 | 2646652.651 | 1203386.476 | 2646661.0515 | 1203386.3607 | 2646662.4255 | 1203385.7822 | 2646663.087 | 1203384.8757
20 | 2646725.3061 | 1203378.7249 | 2646710.2705 | 1203375.8946 | 2646703.714 | 1203374.9377
21 | 2646528.4672 | 1203341.6683 | 2646514.2056 | 1203351.7854 | 2646508.6729 | 1203357.8013 | 2646506.174 | 1203362.3734
22 | 2646528.4672 | 1203341.6683 | 2646501.3792 | 1203331.007
23 | 2646504.1652 | 1203366.0487 | 2646506.174 | 1203362.3734
24 | 2646497.0094 | 1203387.0273 | 2646517.2081 | 1203386.3729 | 2646523.6823 | 1203385.5117 | 2646527.3535 | 1203384.0395 | 2646532.884 | 1203378.3126
25 | 2646493.6704 | 1203395.6729 | 2646497.0094 | 1203387.0273
26 | 2646504.1652 | 1203366.0487 | 2646497.0094 | 1203387.0273
27 | 2646493.6704 | 1203395.6729 | 2646489.8436 | 1203407.3498 | 2646489.4433 | 1203409.5111
28 | 2646493.6704 | 1203395.6729 | 2646481.9339 | 1203394.2142 | 2646475.188 | 1203393.1917
29 | 2646491.4402 | 1203437.8241 | 2646489.1316 | 1203433.3369 | 2646487.855 | 1203429.2247 | 2646487.3993 | 1203424.2183 | 2646488.3981 | 1203415.1542 | 2646489.4433 | 1203409.5111
30 | 2646475.188 | 1203393.1917 | 2646472.7747 | 1203392.8259
31 | 2646784.7601 | 1203426.4394 | 2646788.4603 | 1203406.7015 | 2646791.1082 | 1203397.9617 | 2646784.9163 | 1203395.812 | 2646769.0171 | 1203390.5623 | 2646768.5085 | 1203390.4027 | 2646756.8418 | 1203386.8428 | 2646747.6577 | 1203383.9693 | 2646734.1484 | 1203380.5506 | 2646725.3061 | 1203378.7249
32 | 2646725.3061 | 1203378.7249 | 2646721.799 | 1203415.6297
33 | 2646715.0767 | 1203416.2118 | 2646708.1574 | 1203416.8111
34 | 2646721.799 | 1203415.6297 | 2646715.0767 | 1203416.2118
35 | 2646708.1574 | 1203416.8111 | 2646705.315 | 1203417.0572 | 2646699.0423 | 1203416.4857 | 2646691.4495 | 1203412.3153
36 | 2646784.7601 | 1203426.4394 | 2646781.4489 | 1203466.4586 | 2646782.0151 | 1203478.6923
37 | 2646784.7601 | 1203426.4394 | 2646773.8832 | 1203430.8457 | 2646737.4547 | 1203436.4417 | 2646737.3721 | 1203436.4498
38 | 2646782.0151 | 1203478.6923 | 2646784.5332 | 1203497.2003 | 2646791.7746 | 1203530.4761 | 2646791.9771 | 1203531.7766
39 | 2646782.0151 | 1203478.6923 | 2646761.5333 | 1203481.992
40 | 2646737.3721 | 1203436.4498 | 2646721.0912 | 1203438.037 | 2646711.231 | 1203437.9487 | 2646711.0339 | 1203437.9222
41 | 2646794.5713 | 1203558.0916 | 2646793.0641 | 1203538.7576 | 2646791.9771 | 1203531.7766
42 | 2646746.0488 | 1203473.8748 | 2646757.073 | 1203482.7105 | 2646761.5333 | 1203481.992
43 | 2646688.2816 | 1203434.2674 | 2646693.1794 | 1203435.5174 | 2646711.0339 | 1203437.9222
44 | 2646688.2816 | 1203434.2674 | 2646687.9264 | 1203447.5833 | 2646688.1574 | 1203450.1644 | 2646688.9644 | 1203457.8862
45 | 2646688.2816 | 1203434.2674 | 2646683.3926 | 1203431.8834 | 2646663.6247 | 1203420.2668 | 2646662.5449 | 1203419.8304
46 | 2646688.9644 | 1203457.8862 | 2646680.8068 | 1203473.6093
47 | 2646794.5713 | 1203558.0916 | 2646746.8659 | 1203568.78 | 2646720.409 | 1203539.8677
48 | 2646720.409 | 1203539.8677 | 2646710.893 | 1203536.647 | 2646707.2509 | 1203536.3406 | 2646704.218 | 1203536.9506 | 2646701.568 | 1203538.2084 | 2646697.0788 | 1203541.6616
49 | 2646677.3621 | 1203553.2057 | 2646681.6034 | 1203549.8591 | 2646681.896 | 1203550.3839 | 2646683.6713 | 1203549.0971 | 2646684.1304 | 1203548.7671 | 2646686.3723 | 1203547.1504 | 2646689.1063 | 1203547.7943 | 2646697.0788 | 1203541.6616
50 | 2646642.2635 | 1203510.385 | 2646677.3621 | 1203553.2057
51 | 2646583.6092 | 1203468.3925 | 2646599.8577 | 1203490.3095 | 2646609.2506 | 1203501.5113 | 2646612.5723 | 1203504.8502 | 2646614.3632 | 1203505.4646 | 2646617.6693 | 1203505.9239 | 2646622.0036 | 1203513.0841 | 2646631.0704 | 1203525.1172 | 2646637.5896 | 1203520.4209 | 2646639.7862 | 1203516.8138 | 2646638.9077 | 1203516.2844 | 2646641.0422 | 1203512.8435 | 2646642.2635 | 1203510.385
52 | 2646583.6092 | 1203468.3925 | 2646564.2582 | 1203432.5546 | 2646562.9546 | 1203428.9757 | 2646562.7142 | 1203425.6497 | 2646563.1012 | 1203420.9056
53 | 2646583.6092 | 1203468.3925 | 2646597.8131 | 1203445.1677

## bus_geodata
| x | y | coords
0 | 2646593.3237 | 1203288.6628
1 | 2646596.51 | 1203290.3155
2 | 2646620.7322 | 1203296.6537
3 | 2646571.8449 | 1203346.5534
4 | 2646550.5971 | 1203338.3542
5 | 2646564.8603 | 1203360.3514
6 | 2646595.7015 | 1203355.4456
7 | 2646643.4146 | 1203301.2583
8 | 2646654.665 | 1203303.5421
9 | 2646600.5622 | 1203357.254
10 | 2646616.7244 | 1203362.932
11 | 2646638.8064 | 1203368.0964
12 | 2646663.7967 | 1203370.9733
13 | 2646618.6627 | 1203363.5286
14 | 2646535.5308 | 1203332.5403
15 | 2646583.1869 | 1203381.0615
16 | 2646677.0621 | 1203372.0585
17 | 2646663.087 | 1203384.8757
18 | 2646703.714 | 1203374.9377
19 | 2646652.651 | 1203386.476
20 | 2646528.4672 | 1203341.6683
21 | 2646506.174 | 1203362.3734
22 | 2646501.3792 | 1203331.007
23 | 2646532.884 | 1203378.3126
24 | 2646497.0094 | 1203387.0273
25 | 2646504.1652 | 1203366.0487
26 | 2646493.6704 | 1203395.6729
27 | 2646489.4433 | 1203409.5111
28 | 2646475.188 | 1203393.1917
29 | 2646491.4402 | 1203437.8241
30 | 2646472.7747 | 1203392.8259
31 | 2646725.3061 | 1203378.7249
32 | 2646715.0767 | 1203416.2118
33 | 2646708.1574 | 1203416.8111
34 | 2646721.799 | 1203415.6297
35 | 2646691.4495 | 1203412.3153
36 | 2646784.7601 | 1203426.4394
37 | 2646782.0151 | 1203478.6923
38 | 2646737.3721 | 1203436.4498
39 | 2646791.9771 | 1203531.7766
40 | 2646761.5333 | 1203481.992
41 | 2646711.0339 | 1203437.9222
42 | 2646688.2816 | 1203434.2674
43 | 2646688.9644 | 1203457.8862
44 | 2646662.5449 | 1203419.8304
45 | 2646680.8068 | 1203473.6093
46 | 2646794.5713 | 1203558.0916
47 | 2646746.0488 | 1203473.8748
48 | 2646720.409 | 1203539.8677
49 | 2646697.0788 | 1203541.6616
50 | 2646677.3621 | 1203553.2057
51 | 2646642.2635 | 1203510.385
52 | 2646583.6092 | 1203468.3925
53 | 2646563.1012 | 1203420.9056
54 | 2646597.8131 | 1203445.1677
55 | 2646663.7967 | 1203370.9733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99051 | -0.0665 | 0.0050941 | 0.0012767
1 | 0.99053 | -0.066313 | 0.0022736 | 0.00056982
2 | 0.98952 | -0.073471 | 0.010805 | 0.002708
3 | 0.99366 | -0.044304 | 0.0068443 | 0.0017154
4 | 0.99267 | -0.0513 | 0.002998 | 0.00075138
5 | 0.99347 | -0.045675 | 0.0041613 | 0.0010429
6 | 0.99664 | -0.023438 | 0.014081 | 0.003529
7 | 0.98895 | -0.077523 | 0.0071212 | 0.0017847
8 | 0.98878 | -0.0787 | 0.010043 | 0.002517
9 | 0.99735 | -0.01847 | 0.0053852 | 0.0013497
10 | 0.99983 | -0.0011827 | 0.016049 | 0.0040222
11 | 0.99761 | -0.016634 | 0.023201 | 0.0058146
12 | 0.99554 | -0.031107 | 0 | 0
13 | 1 | 0 | -0.19944 | -0.04997
14 | 0.99203 | -0.055778 | 0 | 0
15 | 0.99324 | -0.047233 | 0.0046024 | 0.0011535
16 | 0.99462 | -0.037498 | 0.0085358 | 0.0021393
17 | 0.99535 | -0.032455 | 0.0085186 | 0.002135
18 | 0.99311 | -0.048092 | 0.0017401 | 0.00043611
19 | 0.99533 | -0.032572 | 0.001054 | 0.00026416
20 | 0.99157 | -0.059019 | 0 | 0
21 | 0.99063 | -0.065678 | 0.010662 | 0.0026721
22 | 0.99132 | -0.060828 | 0.0061198 | 0.0015338
23 | 0.98983 | -0.071314 | 0.0071174 | 0.0017838
24 | 0.99023 | -0.068512 | 0 | 0
25 | 0.99057 | -0.066129 | 0 | 0
26 | 0.99018 | -0.068837 | 0 | 0
27 | 0.99014 | -0.069144 | 0.00086042 | 0.00021564
28 | 0.99015 | -0.069095 | 0.00049819 | 0.00012486
29 | 0.99009 | -0.069508 | 0.0012201 | 0.00030578
30 | 0.99014 | -0.069117 | 0.00086084 | 0.00021575
31 | 0.99193 | -0.05639 | 0 | 0
32 | 0.99171 | -0.057905 | 0.00054751 | 0.00013722
33 | 0.99168 | -0.058106 | 0.001605 | 0.00040224
34 | 0.99174 | -0.057672 | 0 | 0
35 | 0.99165 | -0.058332 | 0.0012489 | 0.00031301
36 | 0.98712 | -0.090239 | 0 | 0
37 | 0.98603 | -0.097998 | 0 | 0
38 | 0.98575 | -0.099972 | 0.00075395 | 0.00018896
39 | 0.98525 | -0.1036 | 0.00077069 | 0.00019315
40 | 0.9859 | -0.098923 | 0.003243 | 0.00081277
41 | 0.98503 | -0.10506 | 0.0017245 | 0.0004322
42 | 0.98447 | -0.1091 | 0 | 0
43 | 0.9839 | -0.11313 | 0 | 0
44 | 0.98444 | -0.10925 | 0.0004887 | 0.00012248
45 | 0.98347 | -0.11615 | 0.016517 | 0.0041395
46 | 0.98489 | -0.10613 | 0 | 0
47 | 0.98587 | -0.099134 | 0.0011 | 0.00027569
48 | 0.98371 | -0.11457 | 0 | 0
49 | 0.98336 | -0.11701 | 0.0055553 | 0.0013923
50 | 0.98323 | -0.11795 | 0.00085604 | 0.00021454
51 | 0.983 | -0.1196 | 0 | 0
52 | 0.98261 | -0.12244 | 0 | 0
53 | 0.98246 | -0.12348 | 0.001911 | 0.00047895
54 | 0.98257 | -0.1227 | 0.00095272 | 0.00023877
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0050941 | -0.0012767 | 0.0050942 | 0.0012767 | 1.3197e-07 | 4.2748e-09 | 0.0076528 | 0.0076527 | 0.0076528 | 0.99051 | -0.0665 | 0.99053 | -0.066313 | 2.8344
1 | 0.028008 | 0.0070239 | -0.02798 | -0.0070136 | 2.7761e-05 | 1.0354e-05 | 0.042076 | 0.042076 | 0.042076 | 0.99053 | -0.066313 | 0.98952 | -0.073471 | 15.5838
2 | -0.035376 | -0.0088705 | 0.035484 | 0.0089113 | 0.00010823 | 4.0832e-05 | 0.053145 | 0.053144 | 0.053145 | 0.99053 | -0.066313 | 0.99366 | -0.044304 | 19.6832
3 | 0.017175 | 0.0043056 | -0.017166 | -0.0043022 | 9.6345e-06 | 3.4084e-06 | 0.025828 | 0.025828 | 0.025828 | 0.98952 | -0.073471 | 0.98895 | -0.077523 | 9.566
4 | 0.030424 | 0.0076334 | -0.030394 | -0.0076223 | 2.9503e-05 | 1.1053e-05 | 0.045563 | 0.045563 | 0.045563 | 0.99366 | -0.044304 | 0.99267 | -0.0513 | 16.8752
5 | 0.0087663 | 0.0021968 | -0.0087647 | -0.0021963 | 1.6631e-06 | 4.3935e-07 | 0.013128 | 0.013128 | 0.013128 | 0.99366 | -0.044304 | 0.99347 | -0.045675 | 4.8621
6 | -0.081519 | -0.020457 | 0.081755 | 0.020548 | 0.00023679 | 9.0742e-05 | 0.12208 | 0.12208 | 0.12208 | 0.99366 | -0.044304 | 0.99664 | -0.023438 | 45.2163
7 | 0.027396 | 0.006871 | -0.027379 | -0.0068646 | 1.6997e-05 | 6.3285e-06 | 0.041069 | 0.041069 | 0.041069 | 0.99267 | -0.0513 | 0.99203 | -0.055778 | 15.2107
8 | 0.0046034 | 0.0011534 | -0.0046024 | -0.0011535 | 9.9262e-07 | -5.1389e-08 | 0.0068949 | 0.006895 | 0.006895 | 0.99347 | -0.045675 | 0.99324 | -0.047233 | 2.5537
9 | -0.095836 | -0.024077 | 0.095902 | 0.024102 | 6.6277e-05 | 2.5423e-05 | 0.14311 | 0.14311 | 0.14311 | 0.99664 | -0.023438 | 0.99735 | -0.01847 | 53.0026
10 | 0.010044 | 0.0025175 | -0.010043 | -0.002517 | 1.6362e-06 | 4.8205e-07 | 0.015113 | 0.015113 | 0.015113 | 0.98895 | -0.077523 | 0.98878 | -0.0787 | 5.5976
11 | -0.10129 | -0.025452 | 0.10153 | 0.025545 | 0.00024427 | 9.3728e-05 | 0.15114 | 0.15114 | 0.15114 | 0.99735 | -0.01847 | 0.99983 | -0.0011827 | 55.9784
12 | -0.11758 | -0.029567 | 0.1176 | 0.029575 | 1.9384e-05 | 7.4022e-06 | 0.17503 | 0.17503 | 0.17503 | 0.99983 | -0.0011827 | 1 | 0 | 32.4123
13 | 0.057655 | 0.014508 | -0.057539 | -0.014464 | 0.00011623 | 4.4374e-05 | 0.086017 | 0.086018 | 0.086018 | 0.99761 | -0.016634 | 0.99554 | -0.031107 | 31.8584
14 | -0.080855 | -0.020323 | 0.081043 | 0.020395 | 0.00018771 | 7.1926e-05 | 0.12062 | 0.12062 | 0.12062 | 0.99761 | -0.016634 | 1 | 0 | 44.6752
15 | 0.047964 | 0.012064 | -0.047921 | -0.012048 | 4.2705e-05 | 1.6252e-05 | 0.071707 | 0.071707 | 0.071707 | 0.99554 | -0.031107 | 0.99462 | -0.037498 | 26.5581
16 | 0.0095744 | 0.0023995 | -0.0095726 | -0.002399 | 1.7861e-06 | 5.0527e-07 | 0.014311 | 0.014311 | 0.014311 | 0.99554 | -0.031107 | 0.99535 | -0.032455 | 5.3003
17 | 0.027379 | 0.0068646 | -0.027367 | -0.00686 | 1.2288e-05 | 4.5754e-06 | 0.041069 | 0.041069 | 0.041069 | 0.99203 | -0.055778 | 0.99157 | -0.059019 | 15.2108
18 | 0.039386 | 0.009909 | -0.039328 | -0.009887 | 5.8119e-05 | 2.2006e-05 | 0.058937 | 0.058937 | 0.058937 | 0.99462 | -0.037498 | 0.99311 | -0.048092 | 21.8285
19 | 0.001054 | 0.00026402 | -0.001054 | -0.00026416 | 1.7065e-08 | -1.3659e-07 | 0.0015757 | 0.0015757 | 0.0015757 | 0.99535 | -0.032455 | 0.99533 | -0.032572 | 0.58361
20 | 0.037587 | 0.0094508 | -0.037544 | -0.0094344 | 4.3412e-05 | 1.6414e-05 | 0.05633 | 0.05633 | 0.05633 | 0.99311 | -0.048092 | 0.99193 | -0.05639 | 20.8629
21 | 0.021246 | 0.0053261 | -0.021226 | -0.0053189 | 1.9581e-05 | 7.1333e-06 | 0.031883 | 0.031883 | 0.031883 | 0.99157 | -0.059019 | 0.99063 | -0.065678 | 11.8086
22 | 0.0061213 | 0.001534 | -0.0061198 | -0.0015338 | 1.5328e-06 | 2.1415e-07 | 0.009186 | 0.0091861 | 0.0091861 | 0.99157 | -0.059019 | 0.99132 | -0.060828 | 3.4023
23 | 0.010564 | 0.0026468 | -0.010564 | -0.0026466 | 6.581e-07 | 1.9919e-07 | 0.015868 | 0.015868 | 0.015868 | 0.99063 | -0.065678 | 0.99057 | -0.066129 | 5.8771
24 | -0.0071174 | -0.0017838 | 0.0071202 | 0.0017844 | 2.7615e-06 | 5.6502e-07 | 0.0107 | 0.010699 | 0.0107 | 0.98983 | -0.071314 | 0.99023 | -0.068512 | 3.9628
25 | 0.0034399 | 0.0008612 | -0.0034397 | -0.00086126 | 1.5447e-07 | -5.9781e-08 | 0.0051687 | 0.0051688 | 0.0051688 | 0.99023 | -0.068512 | 0.99018 | -0.068837 | 1.9144
26 | -0.01056 | -0.0026456 | 0.010564 | 0.0026466 | 3.4823e-06 | 1.0541e-06 | 0.015868 | 0.015868 | 0.015868 | 0.99023 | -0.068512 | 0.99057 | -0.066129 | 5.8771
27 | 0.0020806 | 0.00052091 | -0.0020805 | -0.00052106 | 8.8361e-08 | -1.5234e-07 | 0.0031265 | 0.0031266 | 0.0031266 | 0.99018 | -0.068837 | 0.99014 | -0.069144 | 1.158
28 | 0.0013591 | 0.00034035 | -0.001359 | -0.00034057 | 4.8541e-08 | -2.2121e-07 | 0.0020423 | 0.0020424 | 0.0020424 | 0.99018 | -0.068837 | 0.99015 | -0.069095 | 0.75643
29 | 0.0012201 | 0.00030542 | -0.0012201 | -0.00030578 | 6.1336e-08 | -3.5243e-07 | 0.0018335 | 0.0018336 | 0.0018336 | 0.99014 | -0.069144 | 0.99009 | -0.069508 | 0.67913
30 | 0.00086084 | 0.00021572 | -0.00086084 | -0.00021575 | 2.5492e-09 | -3.0415e-08 | 0.0012937 | 0.0012937 | 0.0012937 | 0.99015 | -0.069095 | 0.99014 | -0.069117 | 0.47915
31 | 0.034142 | 0.0085825 | -0.033982 | -0.0085222 | 0.00016019 | 6.0356e-05 | 0.051226 | 0.051227 | 0.051227 | 0.99193 | -0.05639 | 0.98712 | -0.090239 | 18.9729
32 | 0.0034022 | 0.0008519 | -0.0034016 | -0.00085215 | 6.0263e-07 | -2.4674e-07 | 0.0051035 | 0.0051037 | 0.0051037 | 0.99193 | -0.05639 | 0.99174 | -0.057672 | 1.8902
33 | 0.002854 | 0.00071498 | -0.0028539 | -0.00071504 | 7.9469e-08 | -5.9043e-08 | 0.0042822 | 0.0042822 | 0.0042822 | 0.99171 | -0.057905 | 0.99168 | -0.058106 | 1.586
34 | -0.0034015 | -0.0008522 | 0.0034016 | 0.00085215 | 1.0967e-07 | -4.4882e-08 | 0.0051037 | 0.0051037 | 0.0051037 | 0.99171 | -0.057905 | 0.99174 | -0.057672 | 1.8903
35 | 0.001249 | 0.00031279 | -0.0012489 | -0.00031301 | 3.904e-08 | -2.1482e-07 | 0.001874 | 0.0018741 | 0.0018741 | 0.99168 | -0.058106 | 0.99165 | -0.058332 | 0.6941
36 | 0.014432 | 0.0036161 | -0.014417 | -0.0036108 | 1.548e-05 | 5.2844e-06 | 0.021755 | 0.021756 | 0.021756 | 0.98712 | -0.090239 | 0.98603 | -0.097998 | 8.0576
37 | 0.019549 | 0.0049061 | -0.019523 | -0.0048966 | 2.6381e-05 | 9.5251e-06 | 0.029471 | 0.029472 | 0.029472 | 0.98712 | -0.090239 | 0.98575 | -0.099972 | 10.9154
38 | 0.010073 | 0.0025226 | -0.010065 | -0.0025203 | 7.7932e-06 | 2.3085e-06 | 0.015201 | 0.015201 | 0.015201 | 0.98603 | -0.097998 | 0.98525 | -0.1036 | 5.63
39 | 0.0043436 | 0.0010882 | -0.004343 | -0.0010882 | 5.5621e-07 | -5.0661e-08 | 0.0065547 | 0.0065548 | 0.0065548 | 0.98603 | -0.097998 | 0.9859 | -0.098923 | 2.4277
40 | 0.018769 | 0.0047076 | -0.018756 | -0.0047029 | 1.3234e-05 | 4.7533e-06 | 0.028333 | 0.028334 | 0.028334 | 0.98575 | -0.099972 | 0.98503 | -0.10506 | 10.4939
41 | 0.0092948 | 0.0023271 | -0.0092916 | -0.0023262 | 3.2531e-06 | 9.1437e-07 | 0.014037 | 0.014037 | 0.014037 | 0.98525 | -0.1036 | 0.98489 | -0.10613 | 5.199
42 | 0.0011 | 0.00027546 | -0.0011 | -0.00027569 | 3.2071e-08 | -2.2543e-07 | 0.0016602 | 0.0016603 | 0.0016603 | 0.9859 | -0.098923 | 0.98587 | -0.099134 | 0.61492
43 | 0.017031 | 0.0042707 | -0.017022 | -0.0042673 | 9.5296e-06 | 3.3717e-06 | 0.025729 | 0.025729 | 0.025729 | 0.98503 | -0.10506 | 0.98447 | -0.1091 | 9.5291
44 | 0.016533 | 0.0041452 | -0.016524 | -0.0041419 | 9.2283e-06 | 3.2484e-06 | 0.02499 | 0.02499 | 0.02499 | 0.98447 | -0.1091 | 0.9839 | -0.11313 | 9.2556
45 | 0.00048871 | 0.00012211 | -0.0004887 | -0.00012248 | 1.0054e-08 | -3.7163e-07 | 0.00073855 | 0.00073869 | 0.00073869 | 0.98447 | -0.1091 | 0.98444 | -0.10925 | 0.27359
46 | 0.016524 | 0.0041419 | -0.016517 | -0.0041395 | 6.8999e-06 | 2.429e-06 | 0.02499 | 0.02499 | 0.02499 | 0.9839 | -0.11313 | 0.98347 | -0.11615 | 9.2557
47 | 0.0092916 | 0.0023262 | -0.0092807 | -0.0023232 | 1.083e-05 | 3.0459e-06 | 0.014037 | 0.014038 | 0.014038 | 0.98489 | -0.10613 | 0.98371 | -0.11457 | 5.1991
48 | 0.0092807 | 0.0023232 | -0.0092776 | -0.0023223 | 3.1223e-06 | 8.7863e-07 | 0.014038 | 0.014038 | 0.014038 | 0.98371 | -0.11457 | 0.98336 | -0.11701 | 5.1992
49 | 0.0037223 | 0.00093002 | -0.0037219 | -0.00093014 | 4.8274e-07 | -1.2374e-07 | 0.0056316 | 0.0056317 | 0.0056317 | 0.98336 | -0.11701 | 0.98323 | -0.11795 | 2.0858
50 | 0.0028658 | 0.0007156 | -0.0028652 | -0.00071605 | 6.4965e-07 | -4.522e-07 | 0.0043362 | 0.0043364 | 0.0043364 | 0.98323 | -0.11795 | 0.983 | -0.1196 | 1.6061
51 | 0.0028652 | 0.00071605 | -0.0028641 | -0.00071683 | 1.119e-06 | -7.7796e-07 | 0.0043364 | 0.0043369 | 0.0043369 | 0.983 | -0.1196 | 0.98261 | -0.12244 | 1.6062
52 | 0.0019113 | 0.00047839 | -0.001911 | -0.00047895 | 2.7501e-07 | -5.6056e-07 | 0.0028942 | 0.0028944 | 0.0028944 | 0.98261 | -0.12244 | 0.98246 | -0.12348 | 1.072
53 | 0.00095275 | 0.00023844 | -0.00095272 | -0.00023877 | 3.5338e-08 | -3.3102e-07 | 0.0014427 | 0.0014428 | 0.0014428 | 0.98261 | -0.12244 | 0.98257 | -0.1227 | 0.53437

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2153 | 0.053945

## res_load
| p_mw | q_mvar
0 | 0.0050941 | 0.0012767
1 | 0.0022736 | 0.00056982
2 | 0.010805 | 0.002708
3 | 0.0068443 | 0.0017154
4 | 0.002998 | 0.00075138
5 | 0.0041613 | 0.0010429
6 | 0.014081 | 0.003529
7 | 0.0071212 | 0.0017847
8 | 0.010043 | 0.002517
9 | 0.0053852 | 0.0013497
10 | 0.016049 | 0.0040222
11 | 0.023201 | 0.0058146
12 | 0.015861 | 0.0039751
13 | 0.0046024 | 0.0011535
14 | 0.0085358 | 0.0021393
15 | 0.0085186 | 0.002135
16 | 0.0017401 | 0.00043611
17 | 0.001054 | 0.00026416
18 | 0.010662 | 0.0026721
19 | 0.0061198 | 0.0015338
20 | 0.0071174 | 0.0017838
21 | 0.00086042 | 0.00021564
22 | 0.00049819 | 0.00012486
23 | 0.0012201 | 0.00030578
24 | 0.00086084 | 0.00021575
25 | 0.00054751 | 0.00013722
26 | 0.001605 | 0.00040224
27 | 0.0012489 | 0.00031301
28 | 0.00075395 | 0.00018896
29 | 0.00077069 | 0.00019315
30 | 0.003243 | 0.00081277
31 | 0.0017245 | 0.0004322
32 | 0.0004887 | 0.00012248
33 | 0.016517 | 0.0041395
34 | 0.0011 | 0.00027569
35 | 0.0055553 | 0.0013923
36 | 0.00085604 | 0.00021454
37 | 0.001911 | 0.00047895
38 | 0.00095272 | 0.00023877

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1