## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1007-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1007-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1007-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1007-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1007-1_0_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_1007-1_0_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1007-1_0_2_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1007-1_0_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1007-1_0_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1007-1_0_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1007-1_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1007-1_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1007-1_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1007-1_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1007-1_0_2_node_4 | 0.4 | n |  | TRUE
15 | bus_LV_1007-1_0_2_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_1007-1_0_2_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1007-1_0_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1007-1_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1007-1_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1007-1_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1007-1_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1007-1_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1007-1_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1007-1_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1007-1_0_2_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1007-1_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1007-1_0_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1007-1_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1007-1_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1007-1_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1007-1_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1007-1_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1007-1_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1007-1_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1007-1_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1007-1_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1007-1_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1007-1_0_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1007-1_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1007-1_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_MV_125_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1007-1_0_2_load_0 | 0 | 0.0035999 | 0.00090223 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1007-1_0_2_load_1 | 1 | 0.028606 | 0.0071693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1007-1_0_2_load_2 | 2 | 0.039211 | 0.0098273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1007-1_0_2_load_18 | 5 | 0.0010834 | 0.00027153 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1007-1_0_2_load_19 | 6 | 0.0014643 | 0.00036699 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1007-1_0_2_load_25 | 7 | 0.0011645 | 0.00029184 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1007-1_0_2_load_13 | 8 | 0.0012091 | 0.00030302 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1007-1_0_2_load_22 | 9 | 0.0056244 | 0.0014096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1007-1_0_2_load_8 | 12 | 0.010734 | 0.0026901 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1007-1_0_2_load_7 | 13 | 0.0025441 | 0.00063762 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1007-1_0_2_load_4 | 14 | 0.0034074 | 0.00085398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1007-1_0_2_load_5 | 15 | 0.0027795 | 0.00069661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1007-1_0_2_load_6 | 16 | 0.0025178 | 0.00063102 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1007-1_0_2_load_20 | 17 | 0.0033218 | 0.00083252 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1007-1_0_2_load_23 | 19 | 0.0018925 | 0.0004743 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1007-1_0_2_load_24 | 20 | 0.0014053 | 0.00035221 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1007-1_0_2_load_17 | 23 | 0.045247 | 0.01134 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1007-1_0_2_load_32 | 25 | 0.012355 | 0.0030966 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1007-1_0_2_load_33 | 26 | 0.00057696 | 0.0001446 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1007-1_0_2_load_40 | 27 | 0.00072592 | 0.00018193 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1007-1_0_2_load_28 | 28 | 0.019041 | 0.0047722 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1007-1_0_2_load_42 | 29 | 0.0020371 | 0.00051053 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1007-1_0_2_load_27 | 30 | 0.0023177 | 0.00058087 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1007-1_0_2_load_30 | 32 | 0.001633 | 0.00040928 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1007-1_0_2_load_31 | 33 | 0.0010979 | 0.00027517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1007-1_0_2_load_35 | 35 | 0.00075478 | 0.00018917 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1007-1_0_2_load_36 | 36 | 0.00096221 | 0.00024115 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1007-1_0_2_load_39 | 38 | 0.0017206 | 0.00043122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1007-1_0_2_load_38 | 39 | 0.00063846 | 0.00016001 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1007-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1007-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00069073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1007-1_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1007-1_0_2_line_3 | NAYY 4x150 SE | 3 | 9 | 0.040592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1007-1_0_2_line_4 | NAYY 4x150 SE | 3 | 10 | 0.018512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1007-1_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.05769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1007-1_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.031888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1007-1_0_2_line_7 | NAYY 4x150 SE | 4 | 7 | 0.054458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1007-1_0_2_line_8 | NAYY 4x150 SE | 4 | 8 | 0.0081689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1007-1_0_2_line_9 | NAYY 4x150 SE | 5 | 13 | 0.02938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1007-1_0_2_line_10 | NAYY 4x150 SE | 6 | 26 | 0.016473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1007-1_0_2_line_11 | NAYY 4x150 SE | 7 | 20 | 0.024108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1007-1_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.011733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1007-1_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.026315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1007-1_0_2_line_14 | NAYY 4x150 SE | 11 | 18 | 0.020694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1007-1_0_2_line_15 | NAYY 4x150 SE | 11 | 19 | 0.012618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1007-1_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0085854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1007-1_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.029733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1007-1_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0014879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1007-1_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.030654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1007-1_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.015243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1007-1_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1007-1_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.041168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1007-1_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.00556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1007-1_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.019251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1007-1_0_2_line_25 | NAYY 4x150 SE | 24 | 27 | 0.033925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1007-1_0_2_line_26 | NAYY 4x150 SE | 24 | 28 | 0.011332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1007-1_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.046421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1007-1_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.049175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1007-1_0_2_line_29 | NAYY 4x150 SE | 29 | 40 | 0.058504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1007-1_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.042368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1007-1_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.016362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1007-1_0_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.019178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1007-1_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.016279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1007-1_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.015001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1007-1_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.013438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1007-1_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0066707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1007-1_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.014094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1007-1_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.029266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1007-1_0_2_line_39 | NAYY 4x150 SE | 37 | 40 | 0.057087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1007-1_0_2_trafo_13 | 0.25 MVA 20/0.4 kV | 41 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2644802.9074 | 1206899.5986 | 2644810.2424 | 1206903.9265 | 2644821.2038 | 1206909.5119 | 2644823.4527 | 1206911.7968 | 2644824.048 | 1206913.5356 | 2644824.3017 | 1206919.1567
1 | 2644802.9074 | 1206899.5986 | 2644802.3125 | 1206899.2476
2 | 2644783.8617 | 1206886.9078 | 2644798.8106 | 1206897.1813 | 2644802.3125 | 1206899.2476
3 | 2644783.8617 | 1206886.9078 | 2644780.6594 | 1206906.2949 | 2644779.3945 | 1206909.6874 | 2644777.9887 | 1206911.5779 | 2644776.1933 | 1206912.7096 | 2644773.6478 | 1206913.4687 | 2644767.9641 | 1206913.9153 | 2644763.5089 | 1206913.3964
4 | 2644783.8617 | 1206886.9078 | 2644782.629 | 1206880.9395 | 2644782.2123 | 1206875.6556 | 2644782.2917 | 1206872.1653 | 2644782.7141 | 1206868.5664
5 | 2644889.8125 | 1206873.6397 | 2644881.3231 | 1206854.8206 | 2644873.6492 | 1206837.7754 | 2644867.5265 | 1206822.7652 | 2644866.7654 | 1206820.7639
6 | 2644889.8125 | 1206873.6397 | 2644894.7322 | 1206870.6416 | 2644897.2706 | 1206867.7923 | 2644893.0014 | 1206852.0401 | 2644898.8253 | 1206850.6402
7 | 2644889.8125 | 1206873.6397 | 2644835.4453 | 1206870.4975
8 | 2644889.8125 | 1206873.6397 | 2644893.1789 | 1206881.0826
9 | 2644866.7654 | 1206820.7639 | 2644860.0172 | 1206803.0197 | 2644856.7969 | 1206793.1354
10 | 2644914.8424 | 1206846.7901 | 2644898.8253 | 1206850.6402
11 | 2644812.3741 | 1206864.457 | 2644830.4296 | 1206867.7237 | 2644833.0371 | 1206868.8439 | 2644835.4453 | 1206870.4975
12 | 2644785.4915 | 1206857.1695 | 2644784.0355 | 1206862.7174 | 2644782.7141 | 1206868.5664
13 | 2644782.7141 | 1206868.5664 | 2644756.4152 | 1206867.6375
14 | 2644787.5383 | 1206836.7287 | 2644787.7827 | 1206840.6439 | 2644787.7991 | 1206844.5462 | 2644787.4495 | 1206848.5681 | 2644786.8694 | 1206851.899 | 2644785.4915 | 1206857.1695
15 | 2644785.4915 | 1206857.1695 | 2644797.611 | 1206860.6826
16 | 2644856.7969 | 1206793.1354 | 2644854.1373 | 1206784.9723
17 | 2644853.6763 | 1206783.5577 | 2644847.5372 | 1206764.715 | 2644844.5012 | 1206755.2763
18 | 2644853.6763 | 1206783.5577 | 2644854.1373 | 1206784.9723
19 | 2644787.5383 | 1206836.7287 | 2644792.5075 | 1206835.2428 | 2644795.2779 | 1206833.8962 | 2644798.5575 | 1206831.5861 | 2644800.3425 | 1206829.8318 | 2644801.6281 | 1206827.7402 | 2644802.5651 | 1206825.4904 | 2644803.1842 | 1206823.0381 | 2644803.3395 | 1206820.5823 | 2644802.8238 | 1206815.3309 | 2644802.7291 | 1206814.6233
20 | 2644812.3741 | 1206864.457 | 2644811.7105 | 1206864.3369 | 2644802.5792 | 1206862.1227 | 2644797.611 | 1206860.6826
21 | 2644932.0262 | 1206959.2063 | 2644924.7307 | 1206947.5002
22 | 2644924.7307 | 1206947.5002 | 2644930.3253 | 1206941.7056 | 2644932.7103 | 1206938.0325 | 2644933.6036 | 1206935.5267 | 2644933.7211 | 1206933.0484 | 2644933.5909 | 1206925.0873 | 2644932.9989 | 1206921.9032 | 2644929.3764 | 1206910.0533
23 | 2644932.0262 | 1206959.2063 | 2644935.369 | 1206963.6562
24 | 2644929.3764 | 1206910.0533 | 2644923.7484 | 1206891.643
25 | 2644935.369 | 1206963.6562 | 2644949.9418 | 1206982.4211 | 2644955.7752 | 1206990.747
26 | 2644935.369 | 1206963.6562 | 2644943.8635 | 1206956.1558
27 | 2644914.8424 | 1206846.7901 | 2644915.0461 | 1206866.2139 | 2644915.2651 | 1206868.428 | 2644915.9252 | 1206870.6564 | 2644920.1225 | 1206879.7821 | 2644923.7484 | 1206891.643
28 | 2644955.7752 | 1206990.747 | 2644946.4967 | 1207039.0389
29 | 2644979.0614 | 1207085.9443 | 2644975.4615 | 1207084.3496 | 2644973.4311 | 1207082.3443 | 2644972.0382 | 1207080.5105 | 2644967.5571 | 1207066.6799 | 2644965.1453 | 1207061.8145 | 2644961.8532 | 1207056.6979 | 2644953.0583 | 1207046.2035 | 2644946.4967 | 1207039.0389
30 | 2645007.6713 | 1207002.7229 | 2645000.524 | 1206985.5036 | 2644992.2263 | 1206963.2782
31 | 2645007.6713 | 1207002.7229 | 2645023.2545 | 1206997.7337
32 | 2645007.6713 | 1207002.7229 | 2645014.4168 | 1207020.675
33 | 2645020.1427 | 1207035.9138 | 2645014.4168 | 1207020.675
34 | 2645020.1427 | 1207035.9138 | 2645025.432 | 1207049.9519
35 | 2645020.1427 | 1207035.9138 | 2645032.628 | 1207030.9453
36 | 2645027.784 | 1207056.1942 | 2645025.432 | 1207049.9519
37 | 2645045.7235 | 1207025.7341 | 2645032.628 | 1207030.9453
38 | 2645027.784 | 1207056.1942 | 2645055.542 | 1207046.6868
39 | 2645027.784 | 1207056.1942 | 2644979.0614 | 1207085.9443

## bus_geodata
| x | y | coords
0 | 2644802.9074 | 1206899.5986
1 | 2644824.3017 | 1206919.1567
2 | 2644802.3125 | 1206899.2476
3 | 2644783.8617 | 1206886.9078
4 | 2644889.8125 | 1206873.6397
5 | 2644866.7654 | 1206820.7639
6 | 2644898.8253 | 1206850.6402
7 | 2644835.4453 | 1206870.4975
8 | 2644893.1789 | 1206881.0826
9 | 2644763.5089 | 1206913.3964
10 | 2644782.7141 | 1206868.5664
11 | 2644785.4915 | 1206857.1695
12 | 2644756.4152 | 1206867.6375
13 | 2644856.7969 | 1206793.1354
14 | 2644853.6763 | 1206783.5577
15 | 2644844.5012 | 1206755.2763
16 | 2644854.1373 | 1206784.9723
17 | 2644802.7291 | 1206814.6233
18 | 2644787.5383 | 1206836.7287
19 | 2644797.611 | 1206860.6826
20 | 2644812.3741 | 1206864.457
21 | 2644924.7307 | 1206947.5002
22 | 2644932.0262 | 1206959.2063
23 | 2644929.3764 | 1206910.0533
24 | 2644935.369 | 1206963.6562
25 | 2644923.7484 | 1206891.643
26 | 2644914.8424 | 1206846.7901
27 | 2644955.7752 | 1206990.747
28 | 2644943.8635 | 1206956.1558
29 | 2644946.4967 | 1207039.0389
30 | 2644992.2263 | 1206963.2782
31 | 2645007.6713 | 1207002.7229
32 | 2645023.2545 | 1206997.7337
33 | 2645014.4168 | 1207020.675
34 | 2645020.1427 | 1207035.9138
35 | 2645025.432 | 1207049.9519
36 | 2645032.628 | 1207030.9453
37 | 2645027.784 | 1207056.1942
38 | 2645045.7235 | 1207025.7341
39 | 2645055.542 | 1207046.6868
40 | 2644979.0614 | 1207085.9443
41 | 2644889.8125 | 1206873.6397

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97827 | -0.15226 | 0.0035999 | 0.00090223
1 | 0.97696 | -0.16167 | 0.028606 | 0.0071693
2 | 0.9783 | -0.15203 | 0.039211 | 0.0098273
3 | 0.98061 | -0.13553 | 0 | 0
4 | 0.99882 | -0.0081036 | 0 | 0
5 | 0.99781 | -0.015234 | 0.0010834 | 0.00027153
6 | 0.99464 | -0.037134 | 0.0014643 | 0.00036699
7 | 0.99125 | -0.060576 | 0.0011645 | 0.00029184
8 | 1 | 0 | -0.20274 | -0.051065
9 | 0.98028 | -0.1379 | 0.0056244 | 0.0014096
10 | 0.98269 | -0.12076 | 0 | 0
11 | 0.98419 | -0.11013 | 0 | 0
12 | 0.98228 | -0.12368 | 0.010734 | 0.0026901
13 | 0.99733 | -0.01855 | 0.0025441 | 0.00063762
14 | 0.99721 | -0.019392 | 0.0034074 | 0.00085398
15 | 0.9971 | -0.020222 | 0.0027795 | 0.00069661
16 | 0.99723 | -0.0193 | 0.0025178 | 0.00063102
17 | 0.98395 | -0.11189 | 0.0033218 | 0.00083252
18 | 0.98409 | -0.11084 | 0 | 0
19 | 0.98587 | -0.098302 | 0.0018925 | 0.0004743
20 | 0.98793 | -0.083774 | 0.0014053 | 0.00035221
21 | 0.98257 | -0.12213 | 0 | 0
22 | 0.98195 | -0.12654 | 0 | 0
23 | 0.98443 | -0.10897 | 0.045247 | 0.01134
24 | 0.9817 | -0.12832 | 0 | 0
25 | 0.98655 | -0.093894 | 0.012355 | 0.0030966
26 | 0.99251 | -0.051983 | 0.00057696 | 0.0001446
27 | 0.98112 | -0.13252 | 0.00072592 | 0.00018193
28 | 0.98139 | -0.13056 | 0.019041 | 0.0047722
29 | 0.98032 | -0.13823 | 0.0020371 | 0.00051053
30 | 0.97816 | -0.1537 | 0.0023177 | 0.00058087
31 | 0.9783 | -0.15267 | 0 | 0
32 | 0.97826 | -0.15295 | 0.001633 | 0.00040928
33 | 0.97841 | -0.15188 | 0.0010979 | 0.00027517
34 | 0.97853 | -0.15102 | 0 | 0
35 | 0.9787 | -0.14981 | 0.00075478 | 0.00018917
36 | 0.97848 | -0.1514 | 0.00096221 | 0.00024115
37 | 0.97878 | -0.14922 | 0 | 0
38 | 0.97844 | -0.15165 | 0.0017206 | 0.00043122
39 | 0.97875 | -0.14942 | 0.00063846 | 0.00016001
40 | 0.97954 | -0.14379 | 0 | 0
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.028643 | 0.0071833 | -0.028606 | -0.0071693 | 3.7302e-05 | 1.3952e-05 | 0.04357 | 0.04357 | 0.04357 | 0.97827 | -0.15226 | 0.97696 | -0.16167 | 16.137
1 | -0.032243 | -0.0080855 | 0.032244 | 0.0080859 | 1.0368e-06 | 3.901e-07 | 0.049046 | 0.049046 | 0.049046 | 0.97827 | -0.15226 | 0.9783 | -0.15203 | 18.1651
2 | -0.071456 | -0.017913 | 0.071619 | 0.017976 | 0.00016368 | 6.2673e-05 | 0.10869 | 0.10869 | 0.10869 | 0.9783 | -0.15203 | 0.98061 | -0.13553 | 40.2544
3 | 0.0056262 | 0.0014098 | -0.0056244 | -0.0014096 | 1.8462e-06 | 1.9816e-07 | 0.0085373 | 0.0085375 | 0.0085375 | 0.98061 | -0.13553 | 0.98028 | -0.1379 | 3.162
4 | -0.077245 | -0.019386 | 0.077404 | 0.019446 | 0.00015873 | 6.0818e-05 | 0.11722 | 0.11722 | 0.11722 | 0.98061 | -0.13553 | 0.98269 | -0.12076 | 43.4163
5 | 0.012351 | 0.0030963 | -0.012339 | -0.0030923 | 1.2188e-05 | 3.9335e-06 | 0.0184 | 0.018401 | 0.018401 | 0.99882 | -0.0081036 | 0.99781 | -0.015234 | 6.815
6 | 0.091936 | 0.023217 | -0.091562 | -0.023073 | 0.0003736 | 0.00014328 | 0.13702 | 0.13702 | 0.13702 | 0.99882 | -0.0081036 | 0.99464 | -0.037134 | 50.7499
7 | 0.097425 | 0.024663 | -0.096708 | -0.024388 | 0.00071672 | 0.00027495 | 0.14523 | 0.14523 | 0.14523 | 0.99882 | -0.0081036 | 0.99125 | -0.060576 | 53.7882
8 | -0.20171 | -0.050976 | 0.20194 | 0.051065 | 0.00023038 | 8.8394e-05 | 0.30065 | 0.30065 | 0.30065 | 0.99882 | -0.0081036 | 1 | 0 | 55.6764
9 | 0.011255 | 0.0028208 | -0.01125 | -0.0028192 | 5.165e-06 | 1.603e-06 | 0.016785 | 0.016785 | 0.016785 | 0.99781 | -0.015234 | 0.99733 | -0.01855 | 6.2167
10 | 0.090098 | 0.022706 | -0.089911 | -0.022635 | 0.00018688 | 7.1664e-05 | 0.13483 | 0.13483 | 0.13483 | 0.99464 | -0.037134 | 0.99251 | -0.051983 | 49.9386
11 | 0.095544 | 0.024096 | -0.095234 | -0.023978 | 0.00030969 | 0.0001188 | 0.14348 | 0.14348 | 0.14348 | 0.99125 | -0.060576 | 0.98793 | -0.083774 | 53.1408
12 | -0.088142 | -0.022138 | 0.088273 | 0.022188 | 0.00013045 | 5.0025e-05 | 0.13348 | 0.13348 | 0.13348 | 0.98269 | -0.12076 | 0.98419 | -0.11013 | 49.4385
13 | 0.010738 | 0.0026915 | -0.010734 | -0.0026901 | 4.3415e-06 | 1.3365e-06 | 0.01626 | 0.01626 | 0.01626 | 0.98269 | -0.12076 | 0.98228 | -0.12368 | 6.0222
14 | 0.0033226 | 0.00083218 | -0.0033223 | -0.00083232 | 3.2585e-07 | -1.3762e-07 | 0.0050233 | 0.0050234 | 0.0050234 | 0.98419 | -0.11013 | 0.98409 | -0.11084 | 1.8605
15 | -0.091595 | -0.02302 | 0.091746 | 0.023078 | 0.00015105 | 5.7937e-05 | 0.13851 | 0.13851 | 0.13851 | 0.98419 | -0.11013 | 0.98587 | -0.098302 | 51.299
16 | 0.008706 | 0.0021816 | -0.0087051 | -0.0021813 | 9.0388e-07 | 2.3562e-07 | 0.012989 | 0.012989 | 0.012989 | 0.99733 | -0.01855 | 0.99723 | -0.0193 | 4.8108
17 | 0.0027798 | 0.00069634 | -0.0027795 | -0.00069661 | 3.1921e-07 | -2.6508e-07 | 0.0041478 | 0.004148 | 0.004148 | 0.99721 | -0.019392 | 0.9971 | -0.020222 | 1.5363
18 | -0.0061872 | -0.0015503 | 0.0061873 | 0.0015503 | 7.9135e-08 | 1.1025e-08 | 0.0092323 | 0.0092323 | 0.0092323 | 0.99721 | -0.019392 | 0.99723 | -0.0193 | 3.4194
19 | -0.0033218 | -0.00083252 | 0.0033223 | 0.00083232 | 4.827e-07 | -2.0375e-07 | 0.0050235 | 0.0050234 | 0.0050235 | 0.98395 | -0.11189 | 0.98409 | -0.11084 | 1.8606
20 | -0.093639 | -0.023552 | 0.093829 | 0.023625 | 0.00019008 | 7.2912e-05 | 0.14136 | 0.14136 | 0.14136 | 0.98587 | -0.098302 | 0.98793 | -0.083774 | 52.3569
21 | 0.030995 | 0.0077718 | -0.030976 | -0.0077647 | 1.8952e-05 | 7.1147e-06 | 0.04694 | 0.04694 | 0.04694 | 0.98257 | -0.12213 | 0.98195 | -0.12654 | 17.3853
22 | -0.030995 | -0.0077718 | 0.031052 | 0.0077931 | 5.6602e-05 | 2.1247e-05 | 0.04694 | 0.04694 | 0.04694 | 0.98257 | -0.12213 | 0.98443 | -0.10897 | 17.3853
23 | 0.030976 | 0.0077647 | -0.030968 | -0.0077618 | 7.6446e-06 | 2.8699e-06 | 0.04694 | 0.04694 | 0.04694 | 0.98195 | -0.12654 | 0.9817 | -0.12832 | 17.3853
24 | -0.076299 | -0.019133 | 0.076459 | 0.019194 | 0.00015979 | 6.1214e-05 | 0.11533 | 0.11533 | 0.11533 | 0.98443 | -0.10897 | 0.98655 | -0.093894 | 42.7162
25 | 0.011921 | 0.0029875 | -0.011914 | -0.0029852 | 6.9117e-06 | 2.2297e-06 | 0.018069 | 0.018069 | 0.018069 | 0.9817 | -0.12832 | 0.98112 | -0.13252 | 6.6923
26 | 0.019047 | 0.0047744 | -0.019041 | -0.0047722 | 5.8941e-06 | 2.1237e-06 | 0.028871 | 0.028871 | 0.028871 | 0.9817 | -0.12832 | 0.98139 | -0.13056 | 10.6931
27 | -0.088814 | -0.022291 | 0.089334 | 0.02249 | 0.00051989 | 0.00019936 | 0.13397 | 0.13397 | 0.13397 | 0.98655 | -0.093894 | 0.99251 | -0.051983 | 49.6183
28 | 0.011188 | 0.0028033 | -0.011179 | -0.0028005 | 8.8351e-06 | 2.7776e-06 | 0.016968 | 0.016969 | 0.016969 | 0.98112 | -0.13252 | 0.98032 | -0.13823 | 6.2846
29 | 0.0091422 | 0.00229 | -0.0091352 | -0.002288 | 7.0297e-06 | 1.9667e-06 | 0.013876 | 0.013877 | 0.013877 | 0.98032 | -0.13823 | 0.97954 | -0.14379 | 5.1395
30 | -0.0023177 | -0.00058087 | 0.002318 | 0.00058046 | 3.2863e-07 | -4.055e-07 | 0.0035258 | 0.0035256 | 0.0035258 | 0.97816 | -0.1537 | 0.9783 | -0.15267 | 1.3058
31 | 0.0016331 | 0.0004091 | -0.001633 | -0.00040928 | 6.2997e-08 | -1.8121e-07 | 0.0024839 | 0.002484 | 0.002484 | 0.9783 | -0.15267 | 0.97826 | -0.15295 | 0.92
32 | -0.0039511 | -0.00098956 | 0.0039516 | 0.00098949 | 4.3216e-07 | -7.4605e-08 | 0.0060095 | 0.0060094 | 0.0060095 | 0.9783 | -0.15267 | 0.97841 | -0.15188 | 2.2257
33 | -0.0050495 | -0.0012647 | 0.0050501 | 0.0012647 | 5.9902e-07 | 2.5921e-08 | 0.0076792 | 0.0076791 | 0.0076792 | 0.97841 | -0.15188 | 0.97853 | -0.15102 | 2.8442
34 | -0.0077331 | -0.0019368 | 0.0077344 | 0.0019371 | 1.2944e-06 | 3.0935e-07 | 0.011759 | 0.011759 | 0.011759 | 0.97853 | -0.15102 | 0.9787 | -0.14981 | 4.3552
35 | 0.002683 | 0.00067211 | -0.0026829 | -0.00067222 | 1.3957e-07 | -1.1511e-07 | 0.0040799 | 0.0040799 | 0.0040799 | 0.97853 | -0.15102 | 0.97848 | -0.1514 | 1.5111
36 | -0.0084892 | -0.0021263 | 0.0084899 | 0.0021264 | 6.9338e-07 | 1.8285e-07 | 0.012906 | 0.012906 | 0.012906 | 0.9787 | -0.14981 | 0.97878 | -0.14922 | 4.7802
37 | 0.0017207 | 0.00043107 | -0.0017206 | -0.00043122 | 6.0218e-08 | -1.5387e-07 | 0.0026166 | 0.0026167 | 0.0026167 | 0.97848 | -0.1514 | 0.97844 | -0.15165 | 0.96915
38 | 0.00063848 | 0.00015965 | -0.00063846 | -0.00016001 | 1.7204e-08 | -3.612e-07 | 0.00097053 | 0.00097067 | 0.00097067 | 0.97878 | -0.14922 | 0.97875 | -0.14942 | 0.35951
39 | -0.0091284 | -0.0022861 | 0.0091352 | 0.002288 | 6.8597e-06 | 1.9203e-06 | 0.013877 | 0.013877 | 0.013877 | 0.97878 | -0.14922 | 0.97954 | -0.14379 | 5.1396

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20395 | 0.051368

## res_load
| p_mw | q_mvar
0 | 0.0035999 | 0.00090223
1 | 0.028606 | 0.0071693
2 | 0.039211 | 0.0098273
3 | 0.0010834 | 0.00027153
4 | 0.0014643 | 0.00036699
5 | 0.0011645 | 0.00029184
6 | 0.0012091 | 0.00030302
7 | 0.0056244 | 0.0014096
8 | 0.010734 | 0.0026901
9 | 0.0025441 | 0.00063762
10 | 0.0034074 | 0.00085398
11 | 0.0027795 | 0.00069661
12 | 0.0025178 | 0.00063102
13 | 0.0033218 | 0.00083252
14 | 0.0018925 | 0.0004743
15 | 0.0014053 | 0.00035221
16 | 0.045247 | 0.01134
17 | 0.012355 | 0.0030966
18 | 0.00057696 | 0.0001446
19 | 0.00072592 | 0.00018193
20 | 0.019041 | 0.0047722
21 | 0.0020371 | 0.00051053
22 | 0.0023177 | 0.00058087
23 | 0.001633 | 0.00040928
24 | 0.0010979 | 0.00027517
25 | 0.00075478 | 0.00018917
26 | 0.00096221 | 0.00024115
27 | 0.0017206 | 0.00043122
28 | 0.00063846 | 0.00016001

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1