## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1008-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1008-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1008-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1008-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1008-11_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1008-11_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1008-11_0_2_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_1008-11_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1008-11_0_2_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1008-11_0_2_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_1008-11_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1008-11_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1008-11_0_2_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1008-11_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1008-11_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1008-11_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1008-11_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1008-11_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1008-11_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1008-11_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1008-11_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1008-11_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1008-11_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1008-11_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1008-11_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1008-11_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1008-11_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1008-11_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1008-11_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1008-11_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1008-11_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1008-11_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1008-11_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1008-11_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1008-11_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1008-11_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1008-11_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1008-11_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_MV_125_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1008-11_0_2_load_0 | 0 | 0.0024161 | 0.00060553 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1008-11_0_2_load_1 | 1 | 0.0024238 | 0.00060747 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1008-11_0_2_load_3 | 3 | 0.0021109 | 0.00052904 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1008-11_0_2_load_5 | 5 | 0.0026246 | 0.00065779 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1008-11_0_2_load_37 | 6 | 0.017758 | 0.0044505 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1008-11_0_2_load_22 | 7 | 0.002214 | 0.00055488 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1008-11_0_2_load_16 | 8 | 0.0026019 | 0.00065211 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1008-11_0_2_load_38 | 9 | 0.0061659 | 0.0015453 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1008-11_0_2_load_12 | 11 | 0.0021215 | 0.00053169 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1008-11_0_2_load_6 | 13 | 0.011225 | 0.0028134 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1008-11_0_2_load_7 | 14 | 0.012455 | 0.0031215 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1008-11_0_2_load_8 | 15 | 0.0028224 | 0.00070737 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1008-11_0_2_load_21 | 18 | 0.010811 | 0.0027095 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1008-11_0_2_load_11 | 19 | 0.0021205 | 0.00053144 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1008-11_0_2_load_15 | 20 | 0.0018723 | 0.00046925 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1008-11_0_2_load_18 | 21 | 0.0069968 | 0.0017536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1008-11_0_2_load_36 | 24 | 0.001991 | 0.00049899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1008-11_0_2_load_29 | 25 | 0.0032843 | 0.00082313 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1008-11_0_2_load_28 | 26 | 0.0032371 | 0.00081129 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1008-11_0_2_load_23 | 27 | 0.0019573 | 0.00049054 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1008-11_0_2_load_24 | 28 | 0.0054757 | 0.0013723 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1008-11_0_2_load_25 | 29 | 0.0025779 | 0.00064608 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1008-11_0_2_load_26 | 30 | 0.0070399 | 0.0017644 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1008-11_0_2_load_27 | 31 | 0.0037839 | 0.00094833 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1008-11_0_2_load_30 | 33 | 0.0035791 | 0.00089701 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1008-11_0_2_load_31 | 34 | 0.00034674 | 8.6902e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1008-11_0_2_load_35 | 36 | 0.00098498 | 0.00024686 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1008-11_0_2_load_34 | 37 | 0.0027655 | 0.00069311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1008-11_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1008-11_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0097571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1008-11_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0081084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1008-11_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1008-11_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.018053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1008-11_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.02275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1008-11_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.012881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1008-11_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.023022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1008-11_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.025532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1008-11_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.016648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1008-11_0_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.035803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1008-11_0_2_line_11 | NAYY 4x150 SE | 9 | 24 | 0.0020326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1008-11_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.011124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1008-11_0_2_line_13 | NAYY 4x150 SE | 11 | 19 | 0.0098202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1008-11_0_2_line_14 | NAYY 4x150 SE | 12 | 18 | 0.019785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1008-11_0_2_line_15 | NAYY 4x150 SE | 12 | 20 | 0.01252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1008-11_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.027263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1008-11_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.018361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1008-11_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.014854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1008-11_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.034387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1008-11_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.021832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1008-11_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.012101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1008-11_0_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.016243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1008-11_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.048386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1008-11_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.046965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1008-11_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.028609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1008-11_0_2_line_26 | NAYY 4x150 SE | 26 | 31 | 0.0037435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1008-11_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0069793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1008-11_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0076672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1008-11_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.014386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1008-11_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.018745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1008-11_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.012343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1008-11_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.0048755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1008-11_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.026444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1008-11_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0052558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1008-11_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.02615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1008-11_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.014419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1008-11_0_2_trafo_3 | 0.25 MVA 20/0.4 kV | 38 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2644233.695 | 1200549.0324 | 2644229.3048 | 1200543.019 | 2644217.4846 | 1200526.256
1 | 2644239.4481 | 1200556.9129 | 2644233.695 | 1200549.0324
2 | 2644217.4846 | 1200526.256 | 2644217.1611 | 1200525.7972 | 2644213.2883 | 1200519.3197
3 | 2644239.4481 | 1200556.9129 | 2644251.2285 | 1200572.809
4 | 2644239.4481 | 1200556.9129 | 2644250.7481 | 1200542.8337
5 | 2644203.6754 | 1200498.7617 | 2644205.6502 | 1200504.3222 | 2644210.4915 | 1200514.6416 | 2644213.2883 | 1200519.3197
6 | 2644251.2285 | 1200572.809 | 2644261.6457 | 1200565.2334
7 | 2644265.1583 | 1200524.8791 | 2644250.7481 | 1200542.8337
8 | 2644203.6754 | 1200498.7617 | 2644200.7732 | 1200490.5896 | 2644196.4547 | 1200481.6304 | 2644192.8169 | 1200475.7511
9 | 2644276.3305 | 1200558.8647 | 2644269.903 | 1200559.2285 | 2644261.6457 | 1200565.2334
10 | 2644287.5682 | 1200496.9574 | 2644265.1583 | 1200524.8791
11 | 2644192.8169 | 1200475.7511 | 2644192.1218 | 1200474.6277 | 2644191.668 | 1200474.0797
12 | 2644276.3305 | 1200558.8647 | 2644276.3546 | 1200555.6075 | 2644277.8113 | 1200552.1608 | 2644280.5432 | 1200549.07
13 | 2644280.5432 | 1200549.07 | 2644287.0469 | 1200541.7121
14 | 2644287.5682 | 1200496.9574 | 2644271.1172 | 1200485.966
15 | 2644287.5682 | 1200496.9574 | 2644297.8009 | 1200504.1707
16 | 2644229.659 | 1200492.9768 | 2644228.396 | 1200489.9045 | 2644221.8637 | 1200482.83 | 2644220.1115 | 1200479.9154 | 2644219.432 | 1200476.0748 | 2644220.0369 | 1200473.5334 | 2644222.4886 | 1200469.881
17 | 2644229.659 | 1200492.9768 | 2644229.7346 | 1200493.1607 | 2644230.6899 | 1200499.8493 | 2644235.2453 | 1200508.6768 | 2644236.124 | 1200509.8577
18 | 2644230.7669 | 1200457.5482 | 2644222.4886 | 1200469.881
19 | 2644230.7669 | 1200457.5482 | 2644236.2507 | 1200460.2569 | 2644247.1873 | 1200464.6959 | 2644255.4704 | 1200466.6472 | 2644263.4058 | 1200467.2396
20 | 2644263.4058 | 1200467.2396 | 2644263.0099 | 1200472.384 | 2644264.4955 | 1200479.4212 | 2644267.1917 | 1200483.3433 | 2644271.1172 | 1200485.966
21 | 2644149.4575 | 1200436.0465 | 2644140.6628 | 1200438.4162 | 2644137.9679 | 1200439.7187
22 | 2644149.4575 | 1200436.0465 | 2644159.1599 | 1200433.4277 | 2644159.769 | 1200439.5912
23 | 2644159.769 | 1200439.5912 | 2644164.6683 | 1200440.0165 | 2644185.4821 | 1200466.6075 | 2644191.668 | 1200474.0797
24 | 2644159.769 | 1200439.5912 | 2644160.2164 | 1200449.111 | 2644160.3773 | 1200486.5456
25 | 2644160.018 | 1200515.1521 | 2644160.3844 | 1200488.1899 | 2644160.3773 | 1200486.5456
26 | 2644160.018 | 1200515.1521 | 2644159.9671 | 1200518.8952
27 | 2644159.5134 | 1200552.2834 | 2644159.6082 | 1200545.3047
28 | 2644159.7124 | 1200537.6382 | 2644159.6082 | 1200545.3047
29 | 2644159.3179 | 1200566.6677 | 2644159.5134 | 1200552.2834
30 | 2644159.9671 | 1200518.8952 | 2644159.7124 | 1200537.6382
31 | 2644159.1502 | 1200579.0098 | 2644159.3179 | 1200566.6677
32 | 2644159.1502 | 1200579.0098 | 2644159.104 | 1200583.8851
33 | 2644159.104 | 1200583.8851 | 2644158.8536 | 1200610.3278
34 | 2644158.8039 | 1200615.5834 | 2644158.8536 | 1200610.3278
35 | 2644158.8039 | 1200615.5834 | 2644158.2757 | 1200641.7277
36 | 2644158.8039 | 1200615.5834 | 2644166.9429 | 1200609.1955 | 2644166.9033 | 1200605.1231

## bus_geodata
| x | y | coords
0 | 2644233.695 | 1200549.0324
1 | 2644217.4846 | 1200526.256
2 | 2644239.4481 | 1200556.9129
3 | 2644213.2883 | 1200519.3197
4 | 2644251.2285 | 1200572.809
5 | 2644250.7481 | 1200542.8337
6 | 2644203.6754 | 1200498.7617
7 | 2644261.6457 | 1200565.2334
8 | 2644265.1583 | 1200524.8791
9 | 2644192.8169 | 1200475.7511
10 | 2644276.3305 | 1200558.8647
11 | 2644280.5432 | 1200549.07
12 | 2644287.5682 | 1200496.9574
13 | 2644229.659 | 1200492.9768
14 | 2644222.4886 | 1200469.881
15 | 2644236.124 | 1200509.8577
16 | 2644230.7669 | 1200457.5482
17 | 2644263.4058 | 1200467.2396
18 | 2644271.1172 | 1200485.966
19 | 2644287.0469 | 1200541.7121
20 | 2644297.8009 | 1200504.1707
21 | 2644137.9679 | 1200439.7187
22 | 2644149.4575 | 1200436.0465
23 | 2644159.769 | 1200439.5912
24 | 2644191.668 | 1200474.0797
25 | 2644160.3773 | 1200486.5456
26 | 2644160.018 | 1200515.1521
27 | 2644159.6082 | 1200545.3047
28 | 2644159.5134 | 1200552.2834
29 | 2644159.7124 | 1200537.6382
30 | 2644159.3179 | 1200566.6677
31 | 2644159.9671 | 1200518.8952
32 | 2644159.1502 | 1200579.0098
33 | 2644159.104 | 1200583.8851
34 | 2644158.8536 | 1200610.3278
35 | 2644158.8039 | 1200615.5834
36 | 2644158.2757 | 1200641.7277
37 | 2644166.9033 | 1200605.1231
38 | 2644239.4481 | 1200556.9129

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99721 | -0.019441 | 0.0024161 | 0.00060553
1 | 0.99935 | -0.0045137 | 0.0024238 | 0.00060747
2 | 0.99649 | -0.024429 | 0 | 0
3 | 1 | 0 | -0.12547 | -0.031371
4 | 0.99631 | -0.025713 | 0 | 0
5 | 0.99534 | -0.0325 | 0.0026246 | 0.00065779
6 | 0.99778 | -0.015468 | 0.017758 | 0.0044505
7 | 0.99619 | -0.02655 | 0.002214 | 0.00055488
8 | 0.99395 | -0.04221 | 0.0026019 | 0.00065211
9 | 0.99593 | -0.028345 | 0.0061659 | 0.0015453
10 | 0.99609 | -0.02726 | 0 | 0
11 | 0.99602 | -0.027735 | 0.0021215 | 0.00053169
12 | 0.99193 | -0.056418 | 0 | 0
13 | 0.98759 | -0.08704 | 0.011225 | 0.0028134
14 | 0.98815 | -0.083122 | 0.012455 | 0.0031215
15 | 0.98752 | -0.08757 | 0.0028224 | 0.00070737
16 | 0.98871 | -0.0791 | 0 | 0
17 | 0.99003 | -0.069806 | 0 | 0
18 | 0.99086 | -0.063917 | 0.010811 | 0.0027095
19 | 0.99599 | -0.027945 | 0.0021205 | 0.00053144
20 | 0.9919 | -0.056656 | 0.0018723 | 0.00046925
21 | 0.99259 | -0.051795 | 0.0069968 | 0.0017536
22 | 0.99271 | -0.050938 | 0 | 0
23 | 0.99287 | -0.049786 | 0 | 0
24 | 0.99581 | -0.029246 | 0.001991 | 0.00049899
25 | 0.9905 | -0.066492 | 0.0032843 | 0.00082313
26 | 0.98919 | -0.075749 | 0.0032371 | 0.00081129
27 | 0.98812 | -0.083309 | 0.0019573 | 0.00049054
28 | 0.98792 | -0.08475 | 0.0054757 | 0.0013723
29 | 0.98837 | -0.081572 | 0.0025779 | 0.00064608
30 | 0.98761 | -0.086917 | 0.0070399 | 0.0017644
31 | 0.98904 | -0.076838 | 0.0037839 | 0.00094833
32 | 0.98748 | -0.087888 | 0 | 0
33 | 0.98742 | -0.088271 | 0.0035791 | 0.00089701
34 | 0.98727 | -0.089382 | 0.00034674 | 8.6902e-05
35 | 0.98724 | -0.089584 | 0 | 0
36 | 0.9872 | -0.089848 | 0.00098498 | 0.00024686
37 | 0.98718 | -0.089993 | 0.0027655 | 0.00069311
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.053625 | -0.013481 | 0.053737 | 0.013524 | 0.00011174 | 4.2612e-05 | 0.080033 | 0.080033 | 0.080033 | 0.99721 | -0.019441 | 0.99935 | -0.0045137 | 29.6419
1 | 0.051209 | 0.012876 | -0.051173 | -0.012862 | 3.5564e-05 | 1.3551e-05 | 0.076428 | 0.076428 | 0.076428 | 0.99721 | -0.019441 | 0.99649 | -0.024429 | 28.3067
2 | -0.056161 | -0.014131 | 0.056196 | 0.014145 | 3.5397e-05 | 1.3508e-05 | 0.083642 | 0.083642 | 0.083642 | 0.99935 | -0.0045137 | 1 | 0 | 30.9786
3 | 0.0064586 | 0.0016181 | -0.0064575 | -0.0016179 | 1.1473e-06 | 1.8378e-07 | 0.0096442 | 0.0096443 | 0.0096443 | 0.99649 | -0.024429 | 0.99631 | -0.025713 | 3.5719
4 | 0.044715 | 0.011244 | -0.044665 | -0.011225 | 5.0243e-05 | 1.9089e-05 | 0.066784 | 0.066784 | 0.066784 | 0.99649 | -0.024429 | 0.99534 | -0.0325 | 24.7348
5 | 0.068469 | 0.017226 | -0.068322 | -0.01717 | 0.00014742 | 5.6403e-05 | 0.10191 | 0.10191 | 0.10191 | 1 | 0 | 0.99778 | -0.015468 | 37.7432
6 | 0.0064575 | 0.0016179 | -0.0064567 | -0.0016178 | 7.4758e-07 | 1.1981e-07 | 0.0096443 | 0.0096443 | 0.0096443 | 0.99631 | -0.025713 | 0.99619 | -0.02655 | 3.572
7 | 0.04204 | 0.010567 | -0.041983 | -0.010546 | 5.6765e-05 | 2.1534e-05 | 0.06286 | 0.06286 | 0.06286 | 0.99534 | -0.0325 | 0.99395 | -0.04221 | 23.2816
8 | 0.050564 | 0.012719 | -0.050473 | -0.012685 | 9.0632e-05 | 3.4526e-05 | 0.075424 | 0.075424 | 0.075424 | 0.99778 | -0.015468 | 0.99593 | -0.028345 | 27.9349
9 | 0.0042427 | 0.0010629 | -0.0042423 | -0.001063 | 4.172e-07 | -5.6262e-08 | 0.0063372 | 0.0063373 | 0.0063373 | 0.99619 | -0.02655 | 0.99609 | -0.02726 | 2.3472
10 | 0.039381 | 0.0098937 | -0.039304 | -0.0098642 | 7.7676e-05 | 2.9412e-05 | 0.058965 | 0.058965 | 0.058965 | 0.99395 | -0.04221 | 0.99193 | -0.056418 | 21.8389
11 | 0.044308 | 0.011139 | -0.044302 | -0.011137 | 5.5603e-06 | 2.1121e-06 | 0.066212 | 0.066212 | 0.066212 | 0.99593 | -0.028345 | 0.99581 | -0.029246 | 24.5229
12 | 0.0042423 | 0.001063 | -0.004242 | -0.001063 | 2.7878e-07 | -3.7568e-08 | 0.0063373 | 0.0063374 | 0.0063374 | 0.99609 | -0.02726 | 0.99602 | -0.027735 | 2.3472
13 | 0.0021205 | 0.00053134 | -0.0021205 | -0.00053144 | 6.1499e-08 | -1.0415e-07 | 0.003168 | 0.003168 | 0.003168 | 0.99602 | -0.027735 | 0.99599 | -0.027945 | 1.1733
14 | 0.037431 | 0.0093951 | -0.037392 | -0.0093804 | 3.8933e-05 | 1.4719e-05 | 0.056156 | 0.056156 | 0.056156 | 0.99193 | -0.056418 | 0.99086 | -0.063917 | 20.7987
15 | 0.0018724 | 0.00046911 | -0.0018723 | -0.00046925 | 6.1632e-08 | -1.379e-07 | 0.0028088 | 0.0028088 | 0.0028088 | 0.99193 | -0.056418 | 0.9919 | -0.056656 | 1.0403
16 | -0.014048 | -0.0035206 | 0.014056 | 0.0035232 | 7.6216e-06 | 2.5823e-06 | 0.021166 | 0.021166 | 0.021166 | 0.98759 | -0.08704 | 0.98815 | -0.083122 | 7.8394
17 | 0.0028227 | 0.00070722 | -0.0028224 | -0.00070737 | 2.0723e-07 | -1.5522e-07 | 0.0042528 | 0.0042529 | 0.0042529 | 0.98759 | -0.08704 | 0.98752 | -0.08757 | 1.5752
18 | -0.026511 | -0.0066447 | 0.026526 | 0.0066502 | 1.4772e-05 | 5.4911e-06 | 0.039922 | 0.039922 | 0.039922 | 0.98815 | -0.083122 | 0.98871 | -0.0791 | 14.7858
19 | -0.026526 | -0.0066502 | 0.02656 | 0.0066629 | 3.4197e-05 | 1.2711e-05 | 0.039922 | 0.039922 | 0.039922 | 0.98871 | -0.0791 | 0.99003 | -0.069806 | 14.7858
20 | -0.02656 | -0.0066629 | 0.026581 | 0.006671 | 2.1712e-05 | 8.0698e-06 | 0.039922 | 0.039921 | 0.039922 | 0.99003 | -0.069806 | 0.99086 | -0.063917 | 14.7858
21 | -0.0069968 | -0.0017536 | 0.0069977 | 0.0017537 | 8.3081e-07 | 1.631e-07 | 0.010489 | 0.010489 | 0.010489 | 0.99259 | -0.051795 | 0.99271 | -0.050938 | 3.8849
22 | -0.0069977 | -0.0017537 | 0.0069988 | 0.001754 | 1.1151e-06 | 2.1886e-07 | 0.010489 | 0.010489 | 0.010489 | 0.99271 | -0.050938 | 0.99287 | -0.049786 | 3.8848
23 | -0.04219 | -0.010592 | 0.042311 | 0.010638 | 0.00012074 | 4.581e-05 | 0.063237 | 0.063237 | 0.063237 | 0.99287 | -0.049786 | 0.99581 | -0.029246 | 23.4211
24 | 0.035192 | 0.0088384 | -0.03511 | -0.0088076 | 8.154e-05 | 3.0756e-05 | 0.052748 | 0.052748 | 0.052748 | 0.99287 | -0.049786 | 0.9905 | -0.066492 | 19.5363
25 | 0.031826 | 0.0079845 | -0.031785 | -0.0079691 | 4.0813e-05 | 1.533e-05 | 0.047814 | 0.047814 | 0.047814 | 0.9905 | -0.066492 | 0.98919 | -0.075749 | 17.709
26 | 0.028548 | 0.0071578 | -0.028543 | -0.0071562 | 4.3081e-06 | 1.6089e-06 | 0.042945 | 0.042945 | 0.042945 | 0.98919 | -0.075749 | 0.98904 | -0.076838 | 15.9055
27 | 0.020203 | 0.0050633 | -0.020199 | -0.0050619 | 4.031e-06 | 1.461e-06 | 0.030423 | 0.030423 | 0.030423 | 0.98812 | -0.083309 | 0.98792 | -0.08475 | 11.2679
28 | -0.02216 | -0.0055539 | 0.022165 | 0.0055558 | 5.3279e-06 | 1.951e-06 | 0.033371 | 0.033371 | 0.033371 | 0.98812 | -0.083309 | 0.98837 | -0.081572 | 12.3596
29 | 0.014723 | 0.0036895 | -0.014719 | -0.003688 | 4.4145e-06 | 1.5137e-06 | 0.022176 | 0.022176 | 0.022176 | 0.98792 | -0.08475 | 0.98761 | -0.086917 | 8.2133
30 | -0.024743 | -0.0062019 | 0.02476 | 0.0062079 | 1.6232e-05 | 6.0025e-06 | 0.037252 | 0.037252 | 0.037252 | 0.98837 | -0.081572 | 0.98904 | -0.076838 | 13.797
31 | 0.0076787 | 0.0019236 | -0.0076777 | -0.0019234 | 1.0309e-06 | 2.3857e-07 | 0.011569 | 0.011569 | 0.011569 | 0.98761 | -0.086917 | 0.98748 | -0.087888 | 4.2849
32 | 0.0076777 | 0.0019234 | -0.0076773 | -0.0019233 | 4.072e-07 | 9.4247e-08 | 0.011569 | 0.011569 | 0.011569 | 0.98748 | -0.087888 | 0.98742 | -0.088271 | 4.2849
33 | 0.0040982 | 0.0010263 | -0.0040975 | -0.0010264 | 6.2932e-07 | -9.6156e-08 | 0.0061755 | 0.0061757 | 0.0061757 | 0.98742 | -0.088271 | 0.98727 | -0.089382 | 2.2873
34 | 0.0037508 | 0.00093949 | -0.0037507 | -0.00093952 | 1.0481e-07 | -2.6895e-08 | 0.005653 | 0.0056531 | 0.0056531 | 0.98727 | -0.089382 | 0.98724 | -0.089584 | 2.0937
35 | 0.00098501 | 0.00024654 | -0.00098498 | -0.00024686 | 3.5964e-08 | -3.2052e-07 | 0.0014845 | 0.0014847 | 0.0014847 | 0.98724 | -0.089584 | 0.9872 | -0.089848 | 0.54987
36 | 0.0027657 | 0.00069298 | -0.0027655 | -0.00069311 | 1.5635e-07 | -1.2423e-07 | 0.0041685 | 0.0041686 | 0.0041686 | 0.98724 | -0.089584 | 0.98718 | -0.089993 | 1.5439

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12758 | 0.0319

## res_load
| p_mw | q_mvar
0 | 0.0024161 | 0.00060553
1 | 0.0024238 | 0.00060747
2 | 0.0021109 | 0.00052904
3 | 0.0026246 | 0.00065779
4 | 0.017758 | 0.0044505
5 | 0.002214 | 0.00055488
6 | 0.0026019 | 0.00065211
7 | 0.0061659 | 0.0015453
8 | 0.0021215 | 0.00053169
9 | 0.011225 | 0.0028134
10 | 0.012455 | 0.0031215
11 | 0.0028224 | 0.00070737
12 | 0.010811 | 0.0027095
13 | 0.0021205 | 0.00053144
14 | 0.0018723 | 0.00046925
15 | 0.0069968 | 0.0017536
16 | 0.001991 | 0.00049899
17 | 0.0032843 | 0.00082313
18 | 0.0032371 | 0.00081129
19 | 0.0019573 | 0.00049054
20 | 0.0054757 | 0.0013723
21 | 0.0025779 | 0.00064608
22 | 0.0070399 | 0.0017644
23 | 0.0037839 | 0.00094833
24 | 0.0035791 | 0.00089701
25 | 0.00034674 | 8.6902e-05
26 | 0.00098498 | 0.00024686
27 | 0.0027655 | 0.00069311

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1