## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1009-4_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_1009-4_1_2_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_1009-4_1_2_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_1009-4_1_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_1009-4_1_2_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_1009-4_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1009-4_1_2_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1009-4_1_2_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_1009-4_1_2_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1009-4_1_2_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_1009-4_1_2_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1009-4_1_2_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1009-4_1_2_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_1009-4_1_2_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1009-4_1_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1009-4_1_2_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_1009-4_1_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1009-4_1_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1009-4_1_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1009-4_1_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1009-4_1_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1009-4_1_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1009-4_1_2_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1009-4_1_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1009-4_1_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1009-4_1_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1009-4_1_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1009-4_1_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1009-4_1_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1009-4_1_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1009-4_1_2_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1009-4_1_2_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1009-4_1_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1009-4_1_2_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1009-4_1_2_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_1009-4_1_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1009-4_1_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1009-4_1_2_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1009-4_1_2_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1009-4_1_2_node_48 | 0.4 | n |  | TRUE
40 | bus_MV_2_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1009-4_1_2_load_35 | 1 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1009-4_1_2_load_45 | 6 | 0.0081686 | 0.0020472 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1009-4_1_2_load_64 | 7 | 0.0022149 | 0.00055511 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1009-4_1_2_load_46 | 8 | 0.0020299 | 0.00050875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1009-4_1_2_load_22 | 10 | 0.011459 | 0.0028718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1009-4_1_2_load_21 | 11 | 0.001307 | 0.00032756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1009-4_1_2_load_66 | 12 | 0.0032864 | 0.00082366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1009-4_1_2_load_23 | 14 | 0.0062564 | 0.001568 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1009-4_1_2_load_51 | 15 | 0.0039557 | 0.00099138 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1009-4_1_2_load_18 | 16 | 0.0028788 | 0.0007215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1009-4_1_2_load_16 | 17 | 0.0072066 | 0.0018062 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1009-4_1_2_load_17 | 18 | 0.0028841 | 0.00072283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1009-4_1_2_load_19 | 19 | 0.0021339 | 0.00053481 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1009-4_1_2_load_28 | 20 | 0.0022804 | 0.00057153 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1009-4_1_2_load_27 | 21 | 0.0020905 | 0.00052394 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1009-4_1_2_load_34 | 22 | 0.0054434 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1009-4_1_2_load_24 | 23 | 0.0020726 | 0.00051944 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1009-4_1_2_load_25 | 24 | 0.0028149 | 0.00070548 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1009-4_1_2_load_26 | 25 | 0.002203 | 0.00055212 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1009-4_1_2_load_32 | 26 | 0.00097702 | 0.00024486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1009-4_1_2_load_31 | 27 | 0.001161 | 0.00029098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1009-4_1_2_load_29 | 28 | 0.001281 | 0.00032106 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1009-4_1_2_load_30 | 29 | 0.0010583 | 0.00026524 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1009-4_1_2_load_52 | 30 | 0.0029198 | 0.00073178 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1009-4_1_2_load_57 | 31 | 0.0027871 | 0.00069852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1009-4_1_2_load_33 | 32 | 0.0028598 | 0.00071672 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1009-4_1_2_load_50 | 33 | 0.0013523 | 0.00033892 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1009-4_1_2_load_65 | 34 | 0.001933 | 0.00048446 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1009-4_1_2_load_37 | 35 | 0.0052798 | 0.0013232 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1009-4_1_2_load_40 | 37 | 0.005449 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1009-4_1_2_load_47 | 38 | 0.006213 | 0.0015571 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1009-4_1_2_load_48 | 39 | 0.0083224 | 0.0020858 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1009-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1009-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.27609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1009-4_1_2_line_2 | NAYY 4x150 SE | 1 | 9 | 0.019477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1009-4_1_2_line_3 | NAYY 4x150 SE | 2 | 7 | 0.21458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1009-4_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.039837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1009-4_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.004348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1009-4_1_2_line_6 | NAYY 4x150 SE | 3 | 6 | 0.017828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1009-4_1_2_line_7 | NAYY 4x150 SE | 4 | 12 | 0.009764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1009-4_1_2_line_8 | NAYY 4x150 SE | 4 | 13 | 0.008442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1009-4_1_2_line_9 | NAYY 4x150 SE | 5 | 14 | 0.029415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1009-4_1_2_line_10 | NAYY 4x150 SE | 5 | 15 | 0.024263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1009-4_1_2_line_11 | NAYY 4x150 SE | 5 | 16 | 0.021195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1009-4_1_2_line_12 | NAYY 4x150 SE | 6 | 8 | 0.021563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1009-4_1_2_line_13 | NAYY 4x150 SE | 7 | 34 | 0.024108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1009-4_1_2_line_14 | NAYY 4x150 SE | 9 | 33 | 0.020438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1009-4_1_2_line_15 | NAYY 4x150 SE | 10 | 11 | 0.034769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1009-4_1_2_line_16 | NAYY 4x150 SE | 11 | 14 | 0.0036363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1009-4_1_2_line_17 | NAYY 4x150 SE | 13 | 35 | 0.031446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1009-4_1_2_line_18 | NAYY 4x150 SE | 15 | 22 | 0.012795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1009-4_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.012277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1009-4_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.029596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1009-4_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.023627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1009-4_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.01822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1009-4_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.028782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1009-4_1_2_line_24 | NAYY 4x150 SE | 21 | 28 | 0.017472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1009-4_1_2_line_25 | NAYY 4x150 SE | 22 | 32 | 0.020512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1009-4_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0051078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1009-4_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.02916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1009-4_1_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.037856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1009-4_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.022921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1009-4_1_2_line_30 | NAYY 4x150 SE | 27 | 32 | 0.023784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1009-4_1_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.02 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1009-4_1_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.020393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1009-4_1_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.020053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1009-4_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.019624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1009-4_1_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.069039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1009-4_1_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.022516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1009-4_1_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.019906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1009-4_1_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.035591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1009-4_1_2_trafo_34 | 0.25 MVA 20/0.4 kV | 40 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2653625.6291 | 1209871.329 | 2653626.2656 | 1209869.845 | 2653626.7002 | 1209868.0034 | 2653625.5363 | 1209853.74 | 2653625.8328 | 1209852.0417 | 2653626.4946 | 1209851.9809 | 2653627.4004 | 1209852.6783 | 2653628.3572 | 1209854.4658 | 2653629.079 | 1209856.4091
1 | 2653838.7179 | 1209909.4806 | 2653794.4831 | 1209917.0085 | 2653777.6242 | 1209917.1011 | 2653772.5913 | 1209918.0897 | 2653672.4901 | 1209937.7229 | 2653650.0929 | 1209941.7684 | 2653644.033 | 1209942.8701 | 2653649.8811 | 1209935.7407 | 2653647.9748 | 1209933.0442 | 2653644.1937 | 1209926.6842 | 2653636.9338 | 1209904.8616 | 2653625.6291 | 1209871.329
2 | 2653635.8599 | 1209874.6674 | 2653629.079 | 1209856.4091
3 | 2653838.7179 | 1209909.4806 | 2653951.9888 | 1209890.2028 | 2653937.8676 | 1209818.6549 | 2653911.5077 | 1209823.2197
4 | 2653730.2059 | 1209681.4233 | 2653769.9191 | 1209685.7834
5 | 2653730.2048 | 1209685.7703 | 2653730.2059 | 1209681.4233
6 | 2653730.2059 | 1209681.4233 | 2653727.8243 | 1209663.7547
7 | 2653769.8551 | 1209676.0215 | 2653769.9191 | 1209685.7834
8 | 2653778.349 | 1209686.5709 | 2653769.9191 | 1209685.7834
9 | 2653730.2048 | 1209685.7703 | 2653704.6908 | 1209683.8507 | 2653700.871 | 1209684.1097
10 | 2653730.2048 | 1209685.7703 | 2653754.3304 | 1209688.3453
11 | 2653730.2048 | 1209685.7703 | 2653730.1914 | 1209706.9652
12 | 2653727.8243 | 1209663.7547 | 2653726.1518 | 1209651.3468 | 2653725.7457 | 1209643.2717 | 2653725.6084 | 1209642.3241
13 | 2653911.5077 | 1209823.2197 | 2653887.7532 | 1209827.3333
14 | 2653635.8599 | 1209874.6674 | 2653654.9817 | 1209867.4518
15 | 2653664.4127 | 1209694.4211 | 2653672.6281 | 1209690.0105 | 2653683.8835 | 1209685.9537 | 2653689.3429 | 1209684.8911 | 2653697.243 | 1209684.3556
16 | 2653700.871 | 1209684.1097 | 2653697.243 | 1209684.3556
17 | 2653778.349 | 1209686.5709 | 2653809.6603 | 1209689.4803
18 | 2653754.3304 | 1209688.3453 | 2653767.053 | 1209689.7033
19 | 2653730.1914 | 1209706.9652 | 2653730.1836 | 1209719.2424
20 | 2653730.1548 | 1209748.8383 | 2653730.1663 | 1209746.5949 | 2653730.1836 | 1209719.2424
21 | 2653730.0333 | 1209772.4646 | 2653730.1548 | 1209748.8383
22 | 2653730.0333 | 1209772.4646 | 2653729.9396 | 1209790.6841
23 | 2653729.7915 | 1209819.4658 | 2653729.9396 | 1209790.6841
24 | 2653728.5407 | 1209836.8116 | 2653729.731 | 1209831.2301 | 2653729.7915 | 1209819.4658
25 | 2653787.4489 | 1209691.8802 | 2653767.053 | 1209689.7033
26 | 2653900.4964 | 1209704.0435 | 2653905.5858 | 1209704.4764
27 | 2653871.4599 | 1209701.3826 | 2653880.2483 | 1209702.3212 | 2653900.4964 | 1209704.0435
28 | 2653833.8902 | 1209696.8371 | 2653848.6413 | 1209698.4115 | 2653857.3918 | 1209699.8802 | 2653871.4599 | 1209701.3826
29 | 2653833.8902 | 1209696.8371 | 2653811.0988 | 1209694.4045
30 | 2653787.4489 | 1209691.8802 | 2653811.0988 | 1209694.4045
31 | 2653728.5407 | 1209836.8116 | 2653728.5407 | 1209836.8116 | 2653724.058 | 1209840.8403 | 2653717.9594 | 1209843.6871 | 2653711.1829 | 1209846.2443
32 | 2653711.1829 | 1209846.2443 | 2653692.1033 | 1209853.4439
33 | 2653692.1033 | 1209853.4439 | 2653673.3417 | 1209860.5236
34 | 2653673.3417 | 1209860.5236 | 2653654.9817 | 1209867.4518
35 | 2653878.2272 | 1209697.1999 | 2653861.0378 | 1209694.2542 | 2653809.6603 | 1209689.4803
36 | 2653878.2272 | 1209697.1999 | 2653880.5493 | 1209674.8045
37 | 2653878.3709 | 1209655.2501 | 2653881.2411 | 1209668.1321 | 2653880.5493 | 1209674.8045
38 | 2653878.3709 | 1209655.2501 | 2653877.9101 | 1209653.1821 | 2653863.4054 | 1209623.0158

## bus_geodata
| x | y | coords
0 | 2653625.6291 | 1209871.329
1 | 2653629.079 | 1209856.4091
2 | 2653838.7179 | 1209909.4806
3 | 2653730.2059 | 1209681.4233
4 | 2653769.9191 | 1209685.7834
5 | 2653730.2048 | 1209685.7703
6 | 2653727.8243 | 1209663.7547
7 | 2653911.5077 | 1209823.2197
8 | 2653725.6084 | 1209642.3241
9 | 2653635.8599 | 1209874.6674
10 | 2653664.4127 | 1209694.4211
11 | 2653697.243 | 1209684.3556
12 | 2653769.8551 | 1209676.0215
13 | 2653778.349 | 1209686.5709
14 | 2653700.871 | 1209684.1097
15 | 2653754.3304 | 1209688.3453
16 | 2653730.1914 | 1209706.9652
17 | 2653730.1836 | 1209719.2424
18 | 2653730.1548 | 1209748.8383
19 | 2653730.0333 | 1209772.4646
20 | 2653729.9396 | 1209790.6841
21 | 2653729.7915 | 1209819.4658
22 | 2653767.053 | 1209689.7033
23 | 2653905.5858 | 1209704.4764
24 | 2653900.4964 | 1209704.0435
25 | 2653871.4599 | 1209701.3826
26 | 2653833.8902 | 1209696.8371
27 | 2653811.0988 | 1209694.4045
28 | 2653728.5407 | 1209836.8116
29 | 2653711.1829 | 1209846.2443
30 | 2653692.1033 | 1209853.4439
31 | 2653673.3417 | 1209860.5236
32 | 2653787.4489 | 1209691.8802
33 | 2653654.9817 | 1209867.4518
34 | 2653887.7532 | 1209827.3333
35 | 2653809.6603 | 1209689.4803
36 | 2653878.2272 | 1209697.1999
37 | 2653880.5493 | 1209674.8045
38 | 2653878.3709 | 1209655.2501
39 | 2653863.4054 | 1209623.0158
40 | 2653730.2048 | 1209685.7703

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98836 | -0.081892 | 0 | 0
1 | 0.98851 | -0.0808 | 0.0013527 | 0.00033902
2 | 0.9867 | -0.093713 | 0 | 0
3 | 0.99478 | -0.0365 | 0 | 0
4 | 0.99314 | -0.047998 | 0 | 0
5 | 0.99502 | -0.0348 | 0 | 0
6 | 0.99452 | -0.038334 | 0.0081686 | 0.0020472
7 | 0.98541 | -0.10288 | 0.0022149 | 0.00055511
8 | 0.99445 | -0.038776 | 0.0020299 | 0.00050875
9 | 0.98867 | -0.079696 | 0 | 0
10 | 0.99358 | -0.044941 | 0.011459 | 0.0028718
11 | 0.99415 | -0.040915 | 0.001307 | 0.00032756
12 | 0.99309 | -0.048322 | 0.0032864 | 0.00082366
13 | 0.99283 | -0.050158 | 0 | 0
14 | 0.99422 | -0.040446 | 0.0062564 | 0.001568
15 | 0.99823 | -0.012308 | 0.0039557 | 0.00099138
16 | 0.99397 | -0.042168 | 0.0028788 | 0.0007215
17 | 0.99341 | -0.046085 | 0.0072066 | 0.0018062
18 | 0.99238 | -0.053384 | 0.0028841 | 0.00072283
19 | 0.99165 | -0.05853 | 0.0021339 | 0.00053481
20 | 0.99114 | -0.062108 | 0.0022804 | 0.00057153
21 | 0.99044 | -0.067099 | 0.0020905 | 0.00052394
22 | 1 | 0 | -0.10978 | -0.027402
23 | 0.99847 | -0.010744 | 0.0020726 | 0.00051944
24 | 0.99848 | -0.010638 | 0.0028149 | 0.00070548
25 | 0.99869 | -0.0092106 | 0.002203 | 0.00055212
26 | 0.99907 | -0.0065237 | 0.00097702 | 0.00024486
27 | 0.99933 | -0.0046734 | 0.001161 | 0.00029098
28 | 0.99006 | -0.069759 | 0.001281 | 0.00032106
29 | 0.98967 | -0.072546 | 0.0010583 | 0.00026524
30 | 0.9893 | -0.07517 | 0.0029198 | 0.00073178
31 | 0.98902 | -0.077153 | 0.0027871 | 0.00069852
32 | 0.99965 | -0.0024781 | 0.0028598 | 0.00071672
33 | 0.98883 | -0.078537 | 0.0013523 | 0.00033892
34 | 0.98535 | -0.10336 | 0.001933 | 0.00048446
35 | 0.99169 | -0.058216 | 0.0052798 | 0.0013232
36 | 0.9897 | -0.072253 | 0 | 0
37 | 0.98905 | -0.076843 | 0.005449 | 0.0013656
38 | 0.98863 | -0.079797 | 0.006213 | 0.0015571
39 | 0.9882 | -0.082823 | 0.0083224 | 0.0020858
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0041601 | -0.0010377 | 0.0041607 | 0.0010376 | 6.226e-07 | -8.6748e-08 | 0.0062614 | 0.0062613 | 0.0062614 | 0.98836 | -0.081892 | 0.98851 | -0.0808 | 2.319
1 | 0.0041601 | 0.0010377 | -0.0041533 | -0.0010386 | 6.7557e-06 | -9.3404e-07 | 0.0062614 | 0.0062626 | 0.0062626 | 0.98836 | -0.081892 | 0.9867 | -0.093713 | 2.3195
2 | -0.0055134 | -0.0013766 | 0.0055142 | 0.0013767 | 8.3675e-07 | 7.2103e-08 | 0.0082975 | 0.0082974 | 0.0082975 | 0.98851 | -0.0808 | 0.98867 | -0.079696 | 3.0732
3 | 0.0041533 | 0.0010386 | -0.004148 | -0.0010393 | 5.2524e-06 | -7.1704e-07 | 0.0062626 | 0.0062636 | 0.0062636 | 0.9867 | -0.093713 | 0.98541 | -0.10288 | 2.3199
4 | 0.028694 | 0.0072074 | -0.028648 | -0.0071903 | 4.5806e-05 | 1.7101e-05 | 0.042926 | 0.042927 | 0.042927 | 0.99478 | -0.0365 | 0.99314 | -0.047998 | 15.8987
5 | -0.038895 | -0.0097639 | 0.038904 | 0.0097674 | 9.1856e-06 | 3.4765e-06 | 0.058186 | 0.058186 | 0.058186 | 0.99478 | -0.0365 | 0.99502 | -0.0348 | 21.5503
6 | 0.010201 | 0.0025565 | -0.010199 | -0.0025558 | 2.5904e-06 | 7.6492e-07 | 0.015259 | 0.015259 | 0.015259 | 0.99478 | -0.0365 | 0.99452 | -0.038334 | 5.6516
7 | 0.0032866 | 0.00082359 | -0.0032864 | -0.00082366 | 1.4774e-07 | -6.9516e-08 | 0.0049242 | 0.0049243 | 0.0049243 | 0.99314 | -0.047998 | 0.99309 | -0.048322 | 1.8238
8 | 0.025361 | 0.0063667 | -0.025354 | -0.0063639 | 7.6077e-06 | 2.8168e-06 | 0.038002 | 0.038002 | 0.038002 | 0.99314 | -0.047998 | 0.99283 | -0.050158 | 14.075
9 | 0.019044 | 0.004775 | -0.019029 | -0.0047697 | 1.4889e-05 | 5.3446e-06 | 0.028481 | 0.028481 | 0.028481 | 0.99502 | -0.0348 | 0.99422 | -0.040446 | 10.5485
10 | -0.092469 | -0.023204 | 0.092759 | 0.023315 | 0.00028956 | 0.00011105 | 0.13829 | 0.13829 | 0.13829 | 0.99502 | -0.0348 | 0.99823 | -0.012308 | 51.2202
11 | 0.034521 | 0.0086611 | -0.034486 | -0.0086478 | 3.5253e-05 | 1.3284e-05 | 0.051628 | 0.051628 | 0.051628 | 0.99502 | -0.0348 | 0.99397 | -0.042168 | 19.1216
12 | 0.0020301 | 0.00050852 | -0.0020299 | -0.00050875 | 1.2413e-07 | -2.3203e-07 | 0.0030373 | 0.0030374 | 0.0030374 | 0.99452 | -0.038334 | 0.99445 | -0.038776 | 1.125
13 | 0.0019331 | 0.0004842 | -0.001933 | -0.00048446 | 1.2819e-07 | -2.578e-07 | 0.002919 | 0.0029191 | 0.0029191 | 0.98541 | -0.10288 | 0.98535 | -0.10336 | 1.0812
14 | -0.0055142 | -0.0013767 | 0.0055151 | 0.0013767 | 8.7802e-07 | 7.557e-08 | 0.0082974 | 0.0082973 | 0.0082974 | 0.98867 | -0.079696 | 0.98883 | -0.078537 | 3.0731
15 | -0.011459 | -0.0028718 | 0.011465 | 0.0028738 | 6.3893e-06 | 2.0069e-06 | 0.017161 | 0.017161 | 0.017161 | 0.99358 | -0.044941 | 0.99415 | -0.040915 | 6.3559
16 | -0.012772 | -0.0032014 | 0.012773 | 0.0032017 | 8.2926e-07 | 2.7179e-07 | 0.019117 | 0.019117 | 0.019117 | 0.99415 | -0.040915 | 0.99422 | -0.040446 | 7.0804
17 | 0.025354 | 0.0063639 | -0.025325 | -0.0063534 | 2.8338e-05 | 1.0493e-05 | 0.038002 | 0.038003 | 0.038003 | 0.99283 | -0.050158 | 0.99169 | -0.058216 | 14.075
18 | -0.096714 | -0.024306 | 0.09688 | 0.02437 | 0.000166 | 6.3677e-05 | 0.14419 | 0.14419 | 0.14419 | 0.99823 | -0.012308 | 1 | 0 | 53.4041
19 | 0.031607 | 0.0079263 | -0.03159 | -0.0079199 | 1.7153e-05 | 6.4384e-06 | 0.047319 | 0.047319 | 0.047319 | 0.99397 | -0.042168 | 0.99341 | -0.046085 | 17.5254
20 | 0.024383 | 0.0061137 | -0.024358 | -0.0061047 | 2.4636e-05 | 9.0927e-06 | 0.036524 | 0.036524 | 0.036524 | 0.99341 | -0.046085 | 0.99238 | -0.053384 | 13.5275
21 | 0.021474 | 0.0053818 | -0.021459 | -0.0053763 | 1.5286e-05 | 5.5741e-06 | 0.0322 | 0.0322 | 0.0322 | 0.99238 | -0.053384 | 0.99165 | -0.05853 | 11.9258
22 | 0.019325 | 0.0048414 | -0.019316 | -0.004838 | 9.5599e-06 | 3.442e-06 | 0.028998 | 0.028998 | 0.028998 | 0.99165 | -0.05853 | 0.99114 | -0.062108 | 10.7399
23 | 0.017035 | 0.0042665 | -0.017023 | -0.0042623 | 1.1747e-05 | 4.1472e-06 | 0.025574 | 0.025574 | 0.025574 | 0.99114 | -0.062108 | 0.99044 | -0.067099 | 9.4719
24 | 0.014933 | 0.0037384 | -0.014927 | -0.0037365 | 5.4867e-06 | 1.8855e-06 | 0.022433 | 0.022434 | 0.022434 | 0.99044 | -0.067099 | 0.99006 | -0.069759 | 8.3087
25 | 0.012101 | 0.0030326 | -0.012097 | -0.0030313 | 4.1499e-06 | 1.3271e-06 | 0.018006 | 0.018006 | 0.018006 | 1 | 0 | 0.99965 | -0.0024781 | 6.669
26 | -0.0020726 | -0.00051944 | 0.0020726 | 0.00051939 | 3.0408e-08 | -5.5111e-08 | 0.0030888 | 0.0030888 | 0.0030888 | 0.99847 | -0.010744 | 0.99848 | -0.010638 | 1.144
27 | -0.0048875 | -0.0012249 | 0.0048885 | 0.0012249 | 9.653e-07 | -1.02e-08 | 0.0072837 | 0.0072836 | 0.0072837 | 0.99848 | -0.010638 | 0.99869 | -0.0092106 | 2.6977
28 | -0.0070914 | -0.001777 | 0.0070941 | 0.0017775 | 2.6371e-06 | 5.1874e-07 | 0.010566 | 0.010566 | 0.010566 | 0.99869 | -0.0092106 | 0.99907 | -0.0065237 | 3.9133
29 | -0.0080711 | -0.0020223 | 0.0080732 | 0.0020228 | 2.0668e-06 | 4.9468e-07 | 0.012021 | 0.012021 | 0.012021 | 0.99907 | -0.0065237 | 0.99933 | -0.0046734 | 4.4522
30 | -0.0092342 | -0.0023138 | 0.009237 | 0.0023146 | 2.8058e-06 | 7.6743e-07 | 0.01375 | 0.01375 | 0.01375 | 0.99933 | -0.0046734 | 0.99965 | -0.0024781 | 5.0925
31 | 0.013646 | 0.0034155 | -0.013641 | -0.0034137 | 5.249e-06 | 1.7618e-06 | 0.020508 | 0.020508 | 0.020508 | 0.99006 | -0.069759 | 0.98967 | -0.072546 | 7.5957
32 | 0.012583 | 0.0031485 | -0.012578 | -0.003147 | 4.5538e-06 | 1.4895e-06 | 0.018917 | 0.018917 | 0.018917 | 0.98967 | -0.072546 | 0.9893 | -0.07517 | 7.0064
33 | 0.0096585 | 0.0024152 | -0.0096558 | -0.0024144 | 2.6401e-06 | 7.5802e-07 | 0.014525 | 0.014526 | 0.014526 | 0.9893 | -0.07517 | 0.98902 | -0.077153 | 5.3798
34 | 0.0068687 | 0.0017159 | -0.0068674 | -0.0017157 | 1.3072e-06 | 2.5101e-07 | 0.010332 | 0.010332 | 0.010332 | 0.98902 | -0.077153 | 0.98883 | -0.078537 | 3.8268
35 | 0.020045 | 0.0050302 | -0.020006 | -0.0050161 | 3.898e-05 | 1.4103e-05 | 0.03008 | 0.030081 | 0.030081 | 0.99169 | -0.058216 | 0.9897 | -0.072253 | 11.141
36 | 0.020006 | 0.0050161 | -0.019994 | -0.0050115 | 1.2713e-05 | 4.6004e-06 | 0.030081 | 0.030081 | 0.030081 | 0.9897 | -0.072253 | 0.98905 | -0.076843 | 11.141
37 | 0.014545 | 0.0036458 | -0.014539 | -0.0036438 | 5.948e-06 | 2.0324e-06 | 0.021883 | 0.021883 | 0.021883 | 0.98905 | -0.076843 | 0.98863 | -0.079797 | 8.1047
38 | 0.0083258 | 0.0020867 | -0.0083224 | -0.0020858 | 3.4877e-06 | 8.8523e-07 | 0.012531 | 0.012532 | 0.012532 | 0.98863 | -0.079797 | 0.9882 | -0.082823 | 4.6413

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11522 | 0.028767

## res_load
| p_mw | q_mvar
0 | 0.0013527 | 0.00033902
1 | 0.0081686 | 0.0020472
2 | 0.0022149 | 0.00055511
3 | 0.0020299 | 0.00050875
4 | 0.011459 | 0.0028718
5 | 0.001307 | 0.00032756
6 | 0.0032864 | 0.00082366
7 | 0.0062564 | 0.001568
8 | 0.0039557 | 0.00099138
9 | 0.0028788 | 0.0007215
10 | 0.0072066 | 0.0018062
11 | 0.0028841 | 0.00072283
12 | 0.0021339 | 0.00053481
13 | 0.0022804 | 0.00057153
14 | 0.0020905 | 0.00052394
15 | 0.0054434 | 0.0013642
16 | 0.0020726 | 0.00051944
17 | 0.0028149 | 0.00070548
18 | 0.002203 | 0.00055212
19 | 0.00097702 | 0.00024486
20 | 0.001161 | 0.00029098
21 | 0.001281 | 0.00032106
22 | 0.0010583 | 0.00026524
23 | 0.0029198 | 0.00073178
24 | 0.0027871 | 0.00069852
25 | 0.0028598 | 0.00071672
26 | 0.0013523 | 0.00033892
27 | 0.001933 | 0.00048446
28 | 0.0052798 | 0.0013232
29 | 0.005449 | 0.0013656
30 | 0.006213 | 0.0015571
31 | 0.0083224 | 0.0020858

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1