## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-10_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1010-10_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1010-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1010-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1010-10_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1010-10_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1010-10_0_3_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_1010-10_0_3_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_1010-10_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1010-10_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1010-10_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1010-10_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1010-10_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1010-10_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1010-10_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1010-10_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1010-10_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1010-10_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1010-10_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1010-10_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1010-10_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1010-10_0_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_1010-10_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1010-10_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1010-10_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1010-10_0_3_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1010-10_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1010-10_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1010-10_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1010-10_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1010-10_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1010-10_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1010-10_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1010-10_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1010-10_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1010-10_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1010-10_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1010-10_0_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1010-10_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1010-10_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1010-10_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1010-10_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_1010-10_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_1010-10_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1010-10_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_1010-10_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_1010-10_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_1010-10_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1010-10_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1010-10_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1010-10_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1010-10_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1010-10_0_3_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_1010-10_0_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_1010-10_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_1010-10_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1010-10_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_MV_126_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-10_0_3_load_0 | 0 | 0.010793 | 0.0027051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-10_0_3_load_3 | 3 | 0.0023118 | 0.00057939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-10_0_3_load_5 | 5 | 0.0079763 | 0.001999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-10_0_3_load_22 | 6 | 0.0082295 | 0.0020625 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-10_0_3_load_47 | 7 | 0.0016094 | 0.00040336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-10_0_3_load_6 | 11 | 0.025909 | 0.0064935 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-10_0_3_load_7 | 12 | 0.0038843 | 0.0009735 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-10_0_3_load_8 | 13 | 0.0024655 | 0.00061791 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-10_0_3_load_25 | 15 | 0.0038862 | 0.00097397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-10_0_3_load_21 | 16 | 0.004733 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-10_0_3_load_24 | 17 | 0.001135 | 0.00028446 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-10_0_3_load_10 | 18 | 0.0037394 | 0.00093718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-10_0_3_load_11 | 19 | 0.0065347 | 0.0016378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-10_0_3_load_14 | 21 | 0.0011014 | 0.00027605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-10_0_3_load_53 | 22 | 0.008281 | 0.0020754 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-10_0_3_load_34 | 23 | 0.004144 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-10_0_3_load_50 | 24 | 0.0037434 | 0.00093818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1010-10_0_3_load_49 | 25 | 0.0070658 | 0.0017709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1010-10_0_3_load_15 | 27 | 0.0021462 | 0.00053789 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1010-10_0_3_load_20 | 32 | 0.0044459 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1010-10_0_3_load_36 | 33 | 0.0025888 | 0.0006488 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1010-10_0_3_load_35 | 34 | 0.0035903 | 0.00089982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1010-10_0_3_load_46 | 35 | 0.0046437 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1010-10_0_3_load_37 | 36 | 0.004426 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1010-10_0_3_load_41 | 37 | 0.0027783 | 0.00069631 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1010-10_0_3_load_59 | 38 | 0.0014574 | 0.00036525 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1010-10_0_3_load_30 | 40 | 0.011964 | 0.0029986 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1010-10_0_3_load_26 | 42 | 0.0041126 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1010-10_0_3_load_27 | 43 | 0.0085979 | 0.0021548 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1010-10_0_3_load_29 | 44 | 0.0021609 | 0.00054158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1010-10_0_3_load_31 | 45 | 0.0048007 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1010-10_0_3_load_32 | 46 | 0.0032784 | 0.00082164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1010-10_0_3_load_33 | 47 | 0.002391 | 0.00059924 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1010-10_0_3_load_42 | 48 | 0.0011833 | 0.00029656 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1010-10_0_3_load_39 | 49 | 0.0048361 | 0.001212 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1010-10_0_3_load_40 | 50 | 0.0077274 | 0.0019367 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1010-10_0_3_load_48 | 51 | 0.0031748 | 0.00079569 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1010-10_0_3_load_44 | 52 | 0.003032 | 0.00075989 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1010-10_0_3_load_57 | 54 | 0.0014332 | 0.00035919 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1010-10_0_3_load_54 | 56 | 0.0027694 | 0.00069407 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1010-10_0_3_load_55 | 57 | 0.00051926 | 0.00013014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1010-10_0_3_line_1 | NAYY 4x150 SE | 1 | 5 | 0.021775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1010-10_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1010-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.002796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1010-10_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.012945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-10_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.035192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1010-10_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.036418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1010-10_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.018067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1010-10_0_3_line_8 | NAYY 4x150 SE | 8 | 10 | 0.019864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-10_0_3_line_9 | NAYY 4x150 SE | 9 | 17 | 0.0049198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1010-10_0_3_line_10 | NAYY 4x150 SE | 9 | 14 | 0.027702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-10_0_3_line_11 | NAYY 4x150 SE | 10 | 22 | 0.026878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-10_0_3_line_12 | NAYY 4x150 SE | 10 | 45 | 0.011994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1010-10_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.017329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-10_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0026049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-10_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.015238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1010-10_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.018497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1010-10_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.025282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1010-10_0_3_line_18 | NAYY 4x150 SE | 16 | 29 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-10_0_3_line_19 | NAYY 4x150 SE | 17 | 40 | 0.014169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1010-10_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.033372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-10_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.048931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-10_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.010035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-10_0_3_line_23 | NAYY 4x150 SE | 21 | 26 | 0.046436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-10_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.037753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1010-10_0_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.048582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1010-10_0_3_line_26 | NAYY 4x150 SE | 23 | 47 | 0.030627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1010-10_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0073749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1010-10_0_3_line_28 | NAYY 4x150 SE | 25 | 51 | 0.0079802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1010-10_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.015578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1010-10_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.026094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1010-10_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.016321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1010-10_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.026685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1010-10_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1010-10_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.016546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1010-10_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.016551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1010-10_0_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.030271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1010-10_0_3_line_37 | NAYY 4x150 SE | 32 | 36 | 3.6133e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1010-10_0_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.011303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1010-10_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.15475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1010-10_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.046158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1010-10_0_3_line_41 | NAYY 4x150 SE | 37 | 48 | 0.0016985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1010-10_0_3_line_42 | NAYY 4x150 SE | 38 | 55 | 0.074708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1010-10_0_3_line_43 | NAYY 4x150 SE | 39 | 49 | 0.003406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1010-10_0_3_line_44 | NAYY 4x150 SE | 39 | 50 | 0.021733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1010-10_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.0097951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1010-10_0_3_line_46 | NAYY 4x150 SE | 41 | 45 | 0.012966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1010-10_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.011768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1010-10_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0099186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1010-10_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0053052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1010-10_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.023049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1010-10_0_3_line_51 | NAYY 4x150 SE | 48 | 52 | 0.0335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1010-10_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.056914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1010-10_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.015717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1010-10_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.037917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1010-10_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.054605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1010-10_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.0080909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-10_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 58 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2637898.468 | 1196143.7791 | 2637898.9954 | 1196157.4893
1 | 2637898.468 | 1196143.7791 | 2637876.7412 | 1196145.2266
2 | 2637912.1306 | 1196203.2984 | 2637889.8713 | 1196210.0346
3 | 2637912.7913 | 1196206.0152 | 2637912.1306 | 1196203.2984
4 | 2637889.8713 | 1196210.0346 | 2637887.8062 | 1196210.6596 | 2637883.4823 | 1196211.3882 | 2637877.3635 | 1196213.2721
5 | 2637912.7913 | 1196206.0152 | 2637913.9699 | 1196214.783 | 2637915.0098 | 1196224.9841 | 2637916.6745 | 1196240.9895
6 | 2637840.4034 | 1196147.6473 | 2637876.7412 | 1196145.2266
7 | 2637860.096 | 1196218.5887 | 2637877.3635 | 1196213.2721
8 | 2637840.4034 | 1196147.6473 | 2637842.8929 | 1196161.1372 | 2637844.3559 | 1196167.1053
9 | 2637860.096 | 1196218.5887 | 2637858.6248 | 1196213.894
10 | 2637860.096 | 1196218.5887 | 2637867.0106 | 1196240.6334 | 2637868.3157 | 1196245.0441
11 | 2637844.3559 | 1196167.1053 | 2637817.8328 | 1196171.4571
12 | 2637844.3559 | 1196167.1053 | 2637844.8534 | 1196169.1429 | 2637847.6193 | 1196178.6455
13 | 2637837.2675 | 1196254.8739 | 2637853.7884 | 1196249.6434
14 | 2637834.7841 | 1196255.6602 | 2637837.2675 | 1196254.8739
15 | 2637868.3157 | 1196245.0441 | 2637853.7884 | 1196249.6434
16 | 2637868.3157 | 1196245.0441 | 2637870.9039 | 1196253.7653 | 2637873.385 | 1196262.8315
17 | 2637880.0172 | 1196287.228 | 2637879.0026 | 1196283.6663 | 2637874.9542 | 1196268.5657 | 2637873.385 | 1196262.8315
18 | 2637884.594 | 1196302.9123 | 2637883.9135 | 1196300.9069 | 2637880.0172 | 1196287.228
19 | 2637854.2801 | 1196200.4076 | 2637857.3034 | 1196209.6772 | 2637858.6248 | 1196213.894
20 | 2637733.2874 | 1196217.9682 | 2637726.0422 | 1196185.3926
21 | 2637714.352 | 1196137.8799 | 2637724.6577 | 1196179.1676 | 2637726.0422 | 1196185.3926
22 | 2637714.352 | 1196137.8799 | 2637723.8098 | 1196134.5259
23 | 2637767.575 | 1196119.0051 | 2637723.8098 | 1196134.5259
24 | 2637817.8328 | 1196171.4571 | 2637780.5045 | 1196165.8119
25 | 2637767.575 | 1196119.0051 | 2637774.4887 | 1196141.2609 | 2637780.5045 | 1196165.8119
26 | 2637787.497 | 1196195.6281 | 2637784.6926 | 1196182.9038 | 2637780.5045 | 1196165.8119
27 | 2637796.8713 | 1196271.4525 | 2637789.5592 | 1196272.4122
28 | 2637804.7836 | 1196270.414 | 2637796.8713 | 1196271.4525
29 | 2637900.8127 | 1196341.2694 | 2637894.4335 | 1196327.0576
30 | 2637884.594 | 1196302.9123 | 2637886.7923 | 1196309.4409 | 2637889.5378 | 1196316.1508 | 2637894.4335 | 1196327.0576
31 | 2637907.498 | 1196356.1644 | 2637900.8127 | 1196341.2694
32 | 2637900.8127 | 1196341.2694 | 2637925.408 | 1196330.7527
33 | 2637884.594 | 1196302.9123 | 2637868.7467 | 1196306.7387
34 | 2637907.498 | 1196356.1644 | 2637892.2717 | 1196362.64
35 | 2637907.498 | 1196356.1644 | 2637914.3645 | 1196371.2234
36 | 2637925.408 | 1196330.7527 | 2637925.3807 | 1196329.0404 | 2637923.9645 | 1196313.3117 | 2637922.8214 | 1196300.5969
37 | 2637868.7116 | 1196306.7472 | 2637868.7467 | 1196306.7387
38 | 2637892.2717 | 1196362.64 | 2637881.8707 | 1196367.0635
39 | 2637922.8214 | 1196300.5969 | 2638075.0438 | 1196272.7149
40 | 2637823.9091 | 1196317.8479 | 2637856.7319 | 1196309.6397 | 2637868.7116 | 1196306.7472
41 | 2637881.8707 | 1196367.0635 | 2637880.3076 | 1196367.7282
42 | 2638110.1158 | 1196220.0424 | 2638109.034 | 1196228.4401 | 2638109.0791 | 1196232.1091 | 2638109.6944 | 1196238.3609 | 2638110.8605 | 1196247.8402 | 2638110.8416 | 1196250.8084 | 2638110.3599 | 1196253.4846 | 2638109.1641 | 1196255.845 | 2638106.7924 | 1196258.6536 | 2638103.709 | 1196260.7685 | 2638098.7875 | 1196263.2385 | 2638075.0438 | 1196272.7149
43 | 2637823.9091 | 1196317.8479 | 2637823.4644 | 1196314.4711
44 | 2637823.9091 | 1196317.8479 | 2637826.7494 | 1196339.3947
45 | 2637851.243 | 1196191.0953 | 2637854.2801 | 1196200.4076
46 | 2637851.243 | 1196191.0953 | 2637847.6193 | 1196178.6455
47 | 2637851.243 | 1196191.0953 | 2637840.2469 | 1196195.288
48 | 2637830.9791 | 1196198.8217 | 2637840.2469 | 1196195.288
49 | 2637826.022 | 1196200.7118 | 2637830.9791 | 1196198.8217
50 | 2637787.497 | 1196195.6281 | 2637792.4579 | 1196218.1369
51 | 2637880.3076 | 1196367.7282 | 2637856.8345 | 1196377.7112 | 2637849.2282 | 1196380.1633
52 | 2637804.7836 | 1196270.414 | 2637813.0407 | 1196269.3303 | 2637814.5031 | 1196269.3507 | 2637815.5674 | 1196269.702 | 2637816.4777 | 1196270.297 | 2637817.1656 | 1196271.1351 | 2637817.7567 | 1196272.8398 | 2637818.4503 | 1196276.3906 | 2637823.4644 | 1196314.4711
53 | 2638125.3131 | 1196254.7249 | 2638132.1204 | 1196263.5509 | 2638135.0596 | 1196267.052
54 | 2638110.1158 | 1196220.0424 | 2638119.9591 | 1196244.9744 | 2638125.3131 | 1196254.7249
55 | 2638125.3131 | 1196254.7249 | 2638137.7763 | 1196245.0545 | 2638148.4568 | 1196236.6291 | 2638160.8134 | 1196225.7685 | 2638163.9874 | 1196223.7765 | 2638168.8988 | 1196222.7014
56 | 2638168.8988 | 1196222.7014 | 2638175.2393 | 1196221.3136 | 2638176.5867 | 1196220.4501

## bus_geodata
| x | y | coords
0 | 2637898.9954 | 1196157.4893
1 | 2637898.468 | 1196143.7791
2 | 2637912.1306 | 1196203.2984
3 | 2637889.8713 | 1196210.0346
4 | 2637912.7913 | 1196206.0152
5 | 2637876.7412 | 1196145.2266
6 | 2637877.3635 | 1196213.2721
7 | 2637916.6745 | 1196240.9895
8 | 2637840.4034 | 1196147.6473
9 | 2637860.096 | 1196218.5887
10 | 2637844.3559 | 1196167.1053
11 | 2637837.2675 | 1196254.8739
12 | 2637853.7884 | 1196249.6434
13 | 2637834.7841 | 1196255.6602
14 | 2637868.3157 | 1196245.0441
15 | 2637873.385 | 1196262.8315
16 | 2637880.0172 | 1196287.228
17 | 2637858.6248 | 1196213.894
18 | 2637726.0422 | 1196185.3926
19 | 2637733.2874 | 1196217.9682
20 | 2637714.352 | 1196137.8799
21 | 2637723.8098 | 1196134.5259
22 | 2637817.8328 | 1196171.4571
23 | 2637780.5045 | 1196165.8119
24 | 2637789.5592 | 1196272.4122
25 | 2637796.8713 | 1196271.4525
26 | 2637767.575 | 1196119.0051
27 | 2637894.4335 | 1196327.0576
28 | 2637900.8127 | 1196341.2694
29 | 2637884.594 | 1196302.9123
30 | 2637907.498 | 1196356.1644
31 | 2637925.408 | 1196330.7527
32 | 2637868.7467 | 1196306.7387
33 | 2637892.2717 | 1196362.64
34 | 2637914.3645 | 1196371.2234
35 | 2637922.8214 | 1196300.5969
36 | 2637868.7116 | 1196306.7472
37 | 2637881.8707 | 1196367.0635
38 | 2638075.0438 | 1196272.7149
39 | 2637823.9091 | 1196317.8479
40 | 2637854.2801 | 1196200.4076
41 | 2637851.243 | 1196191.0953
42 | 2637840.2469 | 1196195.288
43 | 2637830.9791 | 1196198.8217
44 | 2637826.022 | 1196200.7118
45 | 2637847.6193 | 1196178.6455
46 | 2637792.4579 | 1196218.1369
47 | 2637787.497 | 1196195.6281
48 | 2637880.3076 | 1196367.7282
49 | 2637823.4644 | 1196314.4711
50 | 2637826.7494 | 1196339.3947
51 | 2637804.7836 | 1196270.414
52 | 2637849.2282 | 1196380.1633
53 | 2638125.3131 | 1196254.7249
54 | 2638135.0596 | 1196267.052
55 | 2638110.1158 | 1196220.0424
56 | 2638168.8988 | 1196222.7014
57 | 2638176.5867 | 1196220.4501
58 | 2637868.3157 | 1196245.0441

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98742 | -0.088257 | 0.010793 | 0.0027051
1 | 0.98763 | -0.086741 | 0 | 0
2 | 0.99405 | -0.041525 | 0 | 0
3 | 0.9941 | -0.041146 | 0.0023118 | 0.00057939
4 | 0.99404 | -0.04157 | 0 | 0
5 | 0.98797 | -0.084337 | 0.0079763 | 0.001999
6 | 0.99418 | -0.040632 | 0.0082295 | 0.0020625
7 | 0.99396 | -0.042143 | 0.0016094 | 0.00040336
8 | 0.98896 | -0.077353 | 0 | 0
9 | 0.99449 | -0.038415 | 0 | 0
10 | 0.9895 | -0.073548 | 0 | 0
11 | 0.9993 | -0.004911 | 0.025909 | 0.0064935
12 | 1 | 0 | -0.19416 | -0.048662
13 | 0.99929 | -0.0049752 | 0.0024655 | 0.00061791
14 | 0.99821 | -0.012453 | 0 | 0
15 | 0.99634 | -0.025493 | 0.0038862 | 0.00097397
16 | 0.99393 | -0.042402 | 0.004733 | 0.0011862
17 | 0.99392 | -0.042441 | 0.001135 | 0.00028446
18 | 0.98475 | -0.10716 | 0.0037394 | 0.00093718
19 | 0.98444 | -0.10941 | 0.0065347 | 0.0016378
20 | 0.98548 | -0.10199 | 0 | 0
21 | 0.98563 | -0.10093 | 0.0011014 | 0.00027605
22 | 0.98835 | -0.081639 | 0.008281 | 0.0020754
23 | 0.98719 | -0.089831 | 0.004144 | 0.0010386
24 | 0.98847 | -0.080861 | 0.0037434 | 0.00093818
25 | 0.98851 | -0.080579 | 0.0070658 | 0.0017709
26 | 0.98639 | -0.095503 | 0 | 0
27 | 0.9915 | -0.059523 | 0.0021462 | 0.00053789
28 | 0.99096 | -0.063327 | 0 | 0
29 | 0.99248 | -0.052591 | 0 | 0
30 | 0.99065 | -0.065515 | 0 | 0
31 | 0.99054 | -0.066274 | 0 | 0
32 | 0.99165 | -0.058449 | 0.0044459 | 0.0011142
33 | 0.99042 | -0.067128 | 0.0025888 | 0.0006488
34 | 0.99056 | -0.066119 | 0.0035903 | 0.00089982
35 | 0.99007 | -0.069619 | 0.0046437 | 0.0011638
36 | 0.99164 | -0.05846 | 0.004426 | 0.0011093
37 | 0.99031 | -0.067933 | 0.0027783 | 0.00069631
38 | 0.98869 | -0.079409 | 0.0014574 | 0.00036525
39 | 0.98988 | -0.070924 | 0 | 0
40 | 0.99228 | -0.053901 | 0.011964 | 0.0029986
41 | 0.99132 | -0.060654 | 0 | 0
42 | 0.99107 | -0.062432 | 0.0041126 | 0.0010307
43 | 0.99092 | -0.063517 | 0.0085979 | 0.0021548
44 | 0.9909 | -0.063633 | 0.0021609 | 0.00054158
45 | 0.99033 | -0.067651 | 0.0048007 | 0.0012032
46 | 0.98683 | -0.092386 | 0.0032784 | 0.00082164
47 | 0.98694 | -0.091611 | 0.002391 | 0.00059924
48 | 0.9903 | -0.068006 | 0.0011833 | 0.00029656
49 | 0.98979 | -0.071578 | 0.0048361 | 0.001212
50 | 0.98964 | -0.072636 | 0.0077274 | 0.0019367
51 | 0.98864 | -0.079698 | 0.0031748 | 0.00079569
52 | 0.99015 | -0.06904 | 0.003032 | 0.00075989
53 | 0.98792 | -0.084858 | 0 | 0
54 | 0.98789 | -0.085088 | 0.0014332 | 0.00035919
55 | 0.98818 | -0.083024 | 0 | 0
56 | 0.98766 | -0.086696 | 0.0027694 | 0.00069407
57 | 0.98766 | -0.086739 | 0.00051926 | 0.00013014
58 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010793 | -0.0027051 | 0.010796 | 0.0027058 | 2.2651e-06 | 6.9564e-07 | 0.016265 | 0.016265 | 0.016265 | 0.98742 | -0.088257 | 0.98763 | -0.086741 | 6.0243
1 | -0.010796 | -0.0027058 | 0.010799 | 0.0027069 | 3.5948e-06 | 1.1039e-06 | 0.016265 | 0.016265 | 0.016265 | 0.98763 | -0.086741 | 0.98797 | -0.084337 | 6.0242
2 | -0.0016096 | -0.00040292 | 0.0016096 | 0.00040265 | 8.4228e-08 | -2.6911e-07 | 0.0024092 | 0.0024091 | 0.0024092 | 0.99405 | -0.041525 | 0.9941 | -0.041146 | 0.8923
3 | 0.0016096 | 0.00040292 | -0.0016095 | -0.00040295 | 1.0127e-08 | -3.2351e-08 | 0.0024092 | 0.0024092 | 0.0024092 | 0.99405 | -0.041525 | 0.99404 | -0.04157 | 0.89231
4 | -0.0039214 | -0.00098204 | 0.0039217 | 0.00098198 | 2.7827e-07 | -6.0811e-08 | 0.0058695 | 0.0058694 | 0.0058695 | 0.9941 | -0.041146 | 0.99418 | -0.040632 | 2.1739
5 | 0.0016095 | 0.00040295 | -0.0016094 | -0.00040336 | 1.2747e-07 | -4.0715e-07 | 0.0024092 | 0.0024094 | 0.0024094 | 0.99404 | -0.04157 | 0.99396 | -0.042143 | 0.89237
6 | -0.018776 | -0.0047059 | 0.018794 | 0.0047125 | 1.8173e-05 | 6.5227e-06 | 0.028279 | 0.028278 | 0.028279 | 0.98797 | -0.084337 | 0.98896 | -0.077353 | 10.4736
7 | -0.012151 | -0.0030445 | 0.012155 | 0.0030457 | 3.729e-06 | 1.1999e-06 | 0.018187 | 0.018187 | 0.018187 | 0.99418 | -0.040632 | 0.99449 | -0.038415 | 6.7359
8 | -0.018794 | -0.0047125 | 0.018804 | 0.004716 | 9.912e-06 | 3.5573e-06 | 0.028278 | 0.028278 | 0.028278 | 0.98896 | -0.077353 | 0.9895 | -0.073548 | 10.4735
9 | 0.081467 | 0.020472 | -0.081421 | -0.020455 | 4.5629e-05 | 1.7486e-05 | 0.12191 | 0.12191 | 0.12191 | 0.99449 | -0.038415 | 0.99392 | -0.042441 | 45.1536
10 | -0.093622 | -0.023518 | 0.093961 | 0.023648 | 0.0003393 | 0.00013014 | 0.1401 | 0.1401 | 0.1401 | 0.99449 | -0.038415 | 0.99821 | -0.012453 | 51.8894
11 | 0.029557 | 0.0074156 | -0.029524 | -0.0074032 | 3.314e-05 | 1.2401e-05 | 0.044451 | 0.044452 | 0.044452 | 0.9895 | -0.073548 | 0.98835 | -0.081639 | 16.4636
12 | -0.048361 | -0.012132 | 0.048401 | 0.012147 | 3.959e-05 | 1.5073e-05 | 0.07273 | 0.07273 | 0.07273 | 0.9895 | -0.073548 | 0.99033 | -0.067651 | 26.937
13 | -0.028375 | -0.0071113 | 0.028394 | 0.0071185 | 1.9304e-05 | 7.1974e-06 | 0.042252 | 0.042252 | 0.042252 | 0.9993 | -0.004911 | 1 | 0 | 15.6487
14 | 0.0024655 | 0.00061788 | -0.0024655 | -0.00061791 | 2.1908e-08 | -2.57e-08 | 0.0036713 | 0.0036713 | 0.0036713 | 0.9993 | -0.004911 | 0.99929 | -0.0049752 | 1.3597
15 | 0.16496 | 0.041543 | -0.16468 | -0.041433 | 0.00028663 | 0.00010984 | 0.24554 | 0.24554 | 0.24554 | 1 | 0 | 0.99821 | -0.012453 | 45.4701
16 | 0.070716 | 0.017785 | -0.070588 | -0.017736 | 0.00012831 | 4.9109e-05 | 0.10544 | 0.10544 | 0.10544 | 0.99821 | -0.012453 | 0.99634 | -0.025493 | 39.0508
17 | 0.066701 | 0.016762 | -0.066545 | -0.016702 | 0.00015661 | 5.9905e-05 | 0.099633 | 0.099633 | 0.099633 | 0.99634 | -0.025493 | 0.99393 | -0.042402 | 36.9012
18 | 0.061812 | 0.015516 | -0.061724 | -0.015482 | 8.7334e-05 | 3.3379e-05 | 0.092548 | 0.092548 | 0.092548 | 0.99393 | -0.042402 | 0.99248 | -0.052591 | 34.2769
19 | 0.080286 | 0.02017 | -0.080158 | -0.020121 | 0.00012778 | 4.8961e-05 | 0.12022 | 0.12022 | 0.12022 | 0.99392 | -0.042441 | 0.99228 | -0.053901 | 44.5242
20 | 0.0065367 | 0.0016381 | -0.0065347 | -0.0016378 | 2.0316e-06 | 3.5697e-07 | 0.0098773 | 0.0098775 | 0.0098775 | 0.98475 | -0.10716 | 0.98444 | -0.10941 | 3.6583
21 | -0.010276 | -0.0025753 | 0.010284 | 0.0025775 | 7.3618e-06 | 2.2085e-06 | 0.015528 | 0.015528 | 0.015528 | 0.98475 | -0.10716 | 0.98548 | -0.10199 | 5.751
22 | -0.010284 | -0.0025775 | 0.010285 | 0.002578 | 1.5097e-06 | 4.5279e-07 | 0.015528 | 0.015527 | 0.015528 | 0.98548 | -0.10199 | 0.98563 | -0.10093 | 5.7509
23 | -0.011386 | -0.002854 | 0.011395 | 0.0028567 | 8.5625e-06 | 2.701e-06 | 0.01719 | 0.01719 | 0.01719 | 0.98563 | -0.10093 | 0.98639 | -0.095503 | 6.3668
24 | 0.021243 | 0.0053278 | -0.021219 | -0.005319 | 2.4099e-05 | 8.7857e-06 | 0.031984 | 0.031984 | 0.031984 | 0.98835 | -0.081639 | 0.98719 | -0.089831 | 11.846
25 | 0.011404 | 0.0028595 | -0.011395 | -0.0028567 | 8.9581e-06 | 2.8248e-06 | 0.01719 | 0.01719 | 0.01719 | 0.98719 | -0.089831 | 0.98639 | -0.095503 | 6.3667
26 | 0.0056711 | 0.0014209 | -0.0056698 | -0.0014207 | 1.3965e-06 | 1.4562e-07 | 0.0085481 | 0.0085482 | 0.0085482 | 0.98719 | -0.089831 | 0.98694 | -0.091611 | 3.166
27 | -0.0037434 | -0.00093818 | 0.0037435 | 0.00093814 | 1.4613e-07 | -3.8335e-08 | 0.0056352 | 0.0056351 | 0.0056352 | 0.98847 | -0.080861 | 0.98851 | -0.080579 | 2.0871
28 | -0.010809 | -0.002709 | 0.010811 | 0.0027094 | 1.3184e-06 | 4.0475e-07 | 0.016271 | 0.016271 | 0.016271 | 0.98851 | -0.080579 | 0.98864 | -0.079698 | 6.0264
29 | 0.024038 | 0.0060236 | -0.024025 | -0.006019 | 1.2651e-05 | 4.6649e-06 | 0.036076 | 0.036076 | 0.036076 | 0.9915 | -0.059523 | 0.99096 | -0.063327 | 13.3614
30 | -0.026184 | -0.0065615 | 0.026209 | 0.0065708 | 2.5144e-05 | 9.3338e-06 | 0.039297 | 0.039296 | 0.039297 | 0.9915 | -0.059523 | 0.99248 | -0.052591 | 14.5543
31 | 0.01318 | 0.0033031 | -0.013176 | -0.0033018 | 3.9892e-06 | 1.3241e-06 | 0.019791 | 0.019792 | 0.019792 | 0.99096 | -0.063327 | 0.99065 | -0.065515 | 7.3302
32 | 0.010845 | 0.0027159 | -0.010841 | -0.0027145 | 4.4156e-06 | 1.3547e-06 | 0.016284 | 0.016284 | 0.016284 | 0.99096 | -0.063327 | 0.99054 | -0.066274 | 6.0312
33 | 0.035515 | 0.0089116 | -0.035486 | -0.0089008 | 2.8847e-05 | 1.0885e-05 | 0.053251 | 0.053251 | 0.053251 | 0.99248 | -0.052591 | 0.99165 | -0.058449 | 19.7227
34 | 0.0095857 | 0.0024021 | -0.0095836 | -0.0024014 | 2.1404e-06 | 6.1026e-07 | 0.014398 | 0.014398 | 0.014398 | 0.99065 | -0.065515 | 0.99042 | -0.067128 | 5.3327
35 | 0.0035906 | 0.00089972 | -0.0035903 | -0.00089982 | 3.0041e-07 | -9.7531e-08 | 0.0053933 | 0.0053933 | 0.0053933 | 0.99065 | -0.065515 | 0.99056 | -0.066119 | 1.9975
36 | 0.010841 | 0.0027145 | -0.010836 | -0.002713 | 5.009e-06 | 1.5371e-06 | 0.016284 | 0.016284 | 0.016284 | 0.99054 | -0.066274 | 0.99007 | -0.069619 | 6.0313
37 | 0.03104 | 0.0077865 | -0.03104 | -0.0077865 | 4.892e-08 | 1.8348e-08 | 0.04658 | 0.04658 | 0.04658 | 0.99165 | -0.058449 | 0.99164 | -0.05846 | 17.2518
38 | 0.0069948 | 0.0017526 | -0.0069941 | -0.0017525 | 7.7891e-07 | 1.5414e-07 | 0.010509 | 0.010509 | 0.010509 | 0.99042 | -0.067128 | 0.99031 | -0.067933 | 3.8922
39 | 0.006192 | 0.0015491 | -0.0061836 | -0.0015479 | 8.3621e-06 | 1.2288e-06 | 0.0093052 | 0.0093059 | 0.0093059 | 0.99007 | -0.069619 | 0.98869 | -0.079409 | 3.4466
40 | 0.026614 | 0.0066772 | -0.026568 | -0.0066602 | 4.5942e-05 | 1.7076e-05 | 0.039939 | 0.039939 | 0.039939 | 0.99164 | -0.05846 | 0.98988 | -0.070924 | 14.7921
41 | 0.0042158 | 0.0010562 | -0.0042157 | -0.0010562 | 4.2527e-08 | -5.4968e-09 | 0.0063344 | 0.0063344 | 0.0063344 | 0.99031 | -0.067933 | 0.9903 | -0.068006 | 2.3461
42 | 0.0047262 | 0.0011827 | -0.0047239 | -0.0011827 | 2.3584e-06 | -5.0494e-08 | 0.0071125 | 0.0071129 | 0.0071129 | 0.98869 | -0.079409 | 0.98818 | -0.083024 | 2.6344
43 | 0.018839 | 0.0047231 | -0.018837 | -0.0047225 | 1.7046e-06 | 6.1182e-07 | 0.02832 | 0.02832 | 0.02832 | 0.98988 | -0.070924 | 0.98979 | -0.071578 | 10.4889
44 | 0.0077292 | 0.0019371 | -0.0077274 | -0.0019367 | 1.8308e-06 | 4.2483e-07 | 0.011619 | 0.011619 | 0.011619 | 0.98988 | -0.070924 | 0.98964 | -0.072636 | 4.3033
45 | 0.068194 | 0.017123 | -0.06813 | -0.017098 | 6.3932e-05 | 2.4463e-05 | 0.10227 | 0.10227 | 0.10227 | 0.99228 | -0.053901 | 0.99132 | -0.060654 | 37.8792
46 | 0.053253 | 0.01337 | -0.053201 | -0.01335 | 5.1709e-05 | 1.9721e-05 | 0.079943 | 0.079943 | 0.079943 | 0.99132 | -0.060654 | 0.99033 | -0.067651 | 29.6086
47 | 0.014877 | 0.0037288 | -0.014873 | -0.0037276 | 3.6619e-06 | 1.2567e-06 | 0.022331 | 0.022331 | 0.022331 | 0.99132 | -0.060654 | 0.99107 | -0.062432 | 8.2707
48 | 0.010761 | 0.0026969 | -0.010759 | -0.0026964 | 1.6155e-06 | 4.9356e-07 | 0.016156 | 0.016156 | 0.016156 | 0.99107 | -0.062432 | 0.99092 | -0.063517 | 5.9838
49 | 0.002161 | 0.00054153 | -0.0021609 | -0.00054158 | 3.4859e-08 | -5.4933e-08 | 0.003245 | 0.003245 | 0.003245 | 0.99092 | -0.063517 | 0.9909 | -0.063633 | 1.2019
50 | -0.0032784 | -0.00082164 | 0.0032787 | 0.00082148 | 3.5146e-07 | -1.5933e-07 | 0.0049434 | 0.0049433 | 0.0049434 | 0.98683 | -0.092386 | 0.98694 | -0.091611 | 1.8309
51 | 0.0030324 | 0.00075962 | -0.003032 | -0.00075989 | 4.3399e-07 | -2.6402e-07 | 0.0045564 | 0.0045565 | 0.0045565 | 0.9903 | -0.068006 | 0.99015 | -0.06904 | 1.6876
52 | 0.014001 | 0.0035104 | -0.013985 | -0.0035051 | 1.5736e-05 | 5.3217e-06 | 0.021049 | 0.02105 | 0.02105 | 0.98979 | -0.071578 | 0.98864 | -0.079698 | 7.7962
53 | 0.0014332 | 0.00035901 | -0.0014332 | -0.00035919 | 4.5704e-08 | -1.8367e-07 | 0.0021587 | 0.0021588 | 0.0021588 | 0.98792 | -0.084858 | 0.98789 | -0.085088 | 0.79954
54 | -0.0047227 | -0.0011827 | 0.0047239 | 0.0011827 | 1.1971e-06 | -2.5217e-08 | 0.007113 | 0.0071129 | 0.007113 | 0.98792 | -0.084858 | 0.98818 | -0.083024 | 2.6345
55 | 0.0032895 | 0.00082373 | -0.0032886 | -0.0008241 | 8.364e-07 | -3.773e-07 | 0.0049544 | 0.0049546 | 0.0049546 | 0.98792 | -0.084858 | 0.98766 | -0.086696 | 1.835
56 | 0.00051927 | 0.00013004 | -0.00051926 | -0.00013014 | 3.0899e-09 | -1.0236e-07 | 0.00078229 | 0.00078233 | 0.00078233 | 0.98766 | -0.086696 | 0.98766 | -0.086739 | 0.28975

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19804 | 0.049635

## res_load
| p_mw | q_mvar
0 | 0.010793 | 0.0027051
1 | 0.0023118 | 0.00057939
2 | 0.0079763 | 0.001999
3 | 0.0082295 | 0.0020625
4 | 0.0016094 | 0.00040336
5 | 0.025909 | 0.0064935
6 | 0.0038843 | 0.0009735
7 | 0.0024655 | 0.00061791
8 | 0.0038862 | 0.00097397
9 | 0.004733 | 0.0011862
10 | 0.001135 | 0.00028446
11 | 0.0037394 | 0.00093718
12 | 0.0065347 | 0.0016378
13 | 0.0011014 | 0.00027605
14 | 0.008281 | 0.0020754
15 | 0.004144 | 0.0010386
16 | 0.0037434 | 0.00093818
17 | 0.0070658 | 0.0017709
18 | 0.0021462 | 0.00053789
19 | 0.0044459 | 0.0011142
20 | 0.0025888 | 0.0006488
21 | 0.0035903 | 0.00089982
22 | 0.0046437 | 0.0011638
23 | 0.004426 | 0.0011093
24 | 0.0027783 | 0.00069631
25 | 0.0014574 | 0.00036525
26 | 0.011964 | 0.0029986
27 | 0.0041126 | 0.0010307
28 | 0.0085979 | 0.0021548
29 | 0.0021609 | 0.00054158
30 | 0.0048007 | 0.0012032
31 | 0.0032784 | 0.00082164
32 | 0.002391 | 0.00059924
33 | 0.0011833 | 0.00029656
34 | 0.0048361 | 0.001212
35 | 0.0077274 | 0.0019367
36 | 0.0031748 | 0.00079569
37 | 0.003032 | 0.00075989
38 | 0.0014332 | 0.00035919
39 | 0.0027694 | 0.00069407
40 | 0.00051926 | 0.00013014

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1