## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1010-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1010-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1010-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1010-12_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1010-12_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1010-12_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1010-12_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1010-12_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1010-12_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1010-12_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1010-12_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1010-12_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1010-12_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1010-12_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1010-12_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1010-12_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1010-12_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_1010-12_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1010-12_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1010-12_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1010-12_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1010-12_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1010-12_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1010-12_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1010-12_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1010-12_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1010-12_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1010-12_0_4_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1010-12_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1010-12_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1010-12_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1010-12_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1010-12_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1010-12_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1010-12_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1010-12_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1010-12_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1010-12_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1010-12_0_4_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_1010-12_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1010-12_0_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_1010-12_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1010-12_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1010-12_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1010-12_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1010-12_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1010-12_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1010-12_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_1010-12_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1010-12_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1010-12_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1010-12_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1010-12_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1010-12_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1010-12_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_MV_126_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-12_0_4_load_0 | 0 | 0.0020313 | 0.0005091 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-12_0_4_load_1 | 1 | 0.0015215 | 0.00038133 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-12_0_4_load_3 | 3 | 0.0018038 | 0.00045208 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-12_0_4_load_4 | 4 | 0.00087147 | 0.00021841 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-12_0_4_load_5 | 5 | 0.000706 | 0.00017694 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-12_0_4_load_19 | 6 | 0.0021974 | 0.00055072 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-12_0_4_load_35 | 8 | 0.0015499 | 0.00038843 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-12_0_4_load_10 | 9 | 0.0018305 | 0.00045878 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-12_0_4_load_12 | 10 | 0.0017196 | 0.00043097 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-12_0_4_load_29 | 11 | 0.0024182 | 0.00060607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-12_0_4_load_6 | 12 | 0.0033807 | 0.00084727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-12_0_4_load_9 | 15 | 0.0045772 | 0.0011471 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-12_0_4_load_11 | 16 | 0.0035737 | 0.00089565 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-12_0_4_load_16 | 17 | 0.0023021 | 0.00057695 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-12_0_4_load_39 | 18 | 0.0034832 | 0.00087296 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-12_0_4_load_13 | 19 | 0.00087508 | 0.00021932 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-12_0_4_load_17 | 21 | 0.0030975 | 0.00077631 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1010-12_0_4_load_18 | 22 | 0.0011875 | 0.00029761 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1010-12_0_4_load_21 | 23 | 0.00088822 | 0.00022261 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1010-12_0_4_load_33 | 24 | 0.0010747 | 0.00026934 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1010-12_0_4_load_20 | 25 | 0.00060768 | 0.0001523 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1010-12_0_4_load_22 | 26 | 0.0011905 | 0.00029837 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1010-12_0_4_load_23 | 27 | 0.00094424 | 0.00023665 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1010-12_0_4_load_32 | 28 | 0.00044806 | 0.00011229 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1010-12_0_4_load_53 | 29 | 0.0027396 | 0.0006866 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1010-12_0_4_load_24 | 30 | 0.0033398 | 0.00083704 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1010-12_0_4_load_28 | 34 | 0.001874 | 0.00046967 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1010-12_0_4_load_31 | 36 | 0.0032689 | 0.00081927 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1010-12_0_4_load_60 | 37 | 0.0015915 | 0.00039888 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1010-12_0_4_load_61 | 38 | 0.00019775 | 4.9561e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1010-12_0_4_load_36 | 39 | 0.0051033 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1010-12_0_4_load_56 | 40 | 0.00071055 | 0.00017808 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1010-12_0_4_load_54 | 41 | 0.0043627 | 0.0010934 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1010-12_0_4_load_59 | 42 | 0.0089788 | 0.0022503 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1010-12_0_4_load_37 | 43 | 0.005549 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1010-12_0_4_load_58 | 44 | 0.00014417 | 3.6132e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1010-12_0_4_load_55 | 45 | 0.0016433 | 0.00041185 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1010-12_0_4_load_57 | 48 | 0.00015297 | 3.8339e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1010-12_0_4_load_51 | 49 | 0.012807 | 0.0032097 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1010-12_0_4_load_43 | 51 | 0.0042286 | 0.0010598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1010-12_0_4_load_45 | 53 | 0.0020979 | 0.00052579 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1010-12_0_4_load_46 | 54 | 0.0028562 | 0.00071583 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1010-12_0_4_load_47 | 56 | 0.0033314 | 0.00083493 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00066141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1010-12_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1010-12_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1010-12_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1010-12_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-12_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0011999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1010-12_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.040783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1010-12_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0076953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1010-12_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.019193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-12_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.01605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1010-12_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.030244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-12_0_4_line_11 | NAYY 4x150 SE | 9 | 13 | 0.0086948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-12_0_4_line_12 | NAYY 4x150 SE | 10 | 19 | 0.0037267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1010-12_0_4_line_13 | NAYY 4x150 SE | 11 | 31 | 0.01517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-12_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.015057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-12_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.03662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1010-12_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.017493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1010-12_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.015303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1010-12_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-12_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.028944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1010-12_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.02057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-12_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.030253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-12_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.023327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-12_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.011054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-12_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.016908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1010-12_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.009542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1010-12_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.029171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1010-12_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.032547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1010-12_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.049784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1010-12_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.045261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1010-12_0_4_line_30 | NAYY 4x150 SE | 29 | 50 | 0.051192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1010-12_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.016878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1010-12_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.041248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1010-12_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.014941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1010-12_0_4_line_34 | NAYY 4x150 SE | 31 | 34 | 0.03321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1010-12_0_4_line_35 | NAYY 4x150 SE | 32 | 35 | 0.014917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1010-12_0_4_line_36 | NAYY 4x150 SE | 32 | 36 | 0.0076262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1010-12_0_4_line_37 | NAYY 4x150 SE | 33 | 37 | 0.010028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1010-12_0_4_line_38 | NAYY 4x150 SE | 33 | 38 | 0.009815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1010-12_0_4_line_39 | NAYY 4x150 SE | 34 | 39 | 0.0024872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1010-12_0_4_line_40 | NAYY 4x150 SE | 35 | 40 | 0.010039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1010-12_0_4_line_41 | NAYY 4x150 SE | 35 | 41 | 0.052121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1010-12_0_4_line_42 | NAYY 4x150 SE | 36 | 42 | 0.019767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1010-12_0_4_line_43 | NAYY 4x150 SE | 39 | 43 | 0.0045219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1010-12_0_4_line_44 | NAYY 4x150 SE | 40 | 44 | 0.04298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1010-12_0_4_line_45 | NAYY 4x150 SE | 41 | 45 | 0.00070003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1010-12_0_4_line_46 | NAYY 4x150 SE | 44 | 48 | 0.0068772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1010-12_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.08155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1010-12_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.036394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1010-12_0_4_line_49 | NAYY 4x150 SE | 47 | 55 | 0.059573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1010-12_0_4_line_50 | NAYY 4x150 SE | 47 | 53 | 0.019613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1010-12_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.063283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1010-12_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.020488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1010-12_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.009582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1010-12_0_4_line_54 | NAYY 4x150 SE | 52 | 54 | 0.011003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1010-12_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.16058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-12_0_4_trafo_27 | 0.25 MVA 20/0.4 kV | 57 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2638133.5525 | 1196729.0021 | 2638133.0683 | 1196729.4527
1 | 2638146.8744 | 1196716.6057 | 2638133.5525 | 1196729.0021
2 | 2638111.6047 | 1196749.4251 | 2638133.0683 | 1196729.4527
3 | 2638146.8744 | 1196716.6057 | 2638136.533 | 1196705.4101
4 | 2638146.8744 | 1196716.6057 | 2638154.0116 | 1196724.0283
5 | 2638111.6047 | 1196749.4251 | 2638110.7263 | 1196750.2425
6 | 2638108.8606 | 1196675.452 | 2638136.533 | 1196705.4101
7 | 2638154.0116 | 1196724.0283 | 2638159.3454 | 1196729.5753
8 | 2638108.8606 | 1196675.452 | 2638094.8848 | 1196688.6072
9 | 2638108.8606 | 1196675.452 | 2638120.2833 | 1196664.1768
10 | 2638159.3454 | 1196729.5753 | 2638180.3081 | 1196751.3762
11 | 2638088.5535 | 1196694.5667 | 2638094.8848 | 1196688.6072
12 | 2638120.2833 | 1196664.1768 | 2638122.9355 | 1196661.5588
13 | 2638190.8227 | 1196762.3112 | 2638180.3081 | 1196751.3762
14 | 2638088.5535 | 1196694.5667 | 2638078.0734 | 1196683.7554
15 | 2638052.5853 | 1196657.4619 | 2638078.0734 | 1196683.7554
16 | 2638088.5535 | 1196694.5667 | 2638075.7746 | 1196706.5132
17 | 2638052.5853 | 1196657.4619 | 2638063.7116 | 1196646.9552
18 | 2638075.7746 | 1196706.5132 | 2638074.0493 | 1196708.1261
19 | 2638084.7555 | 1196627.0831 | 2638063.7116 | 1196646.9552
20 | 2638137.5751 | 1196647.1082 | 2638122.9355 | 1196661.5588
21 | 2638137.5751 | 1196647.1082 | 2638149.9353 | 1196657.0591 | 2638161.3973 | 1196665.7508
22 | 2638137.5751 | 1196647.1082 | 2638124.6755 | 1196635.7419 | 2638120.2517 | 1196631.4918
23 | 2638170.5067 | 1196672.0052 | 2638163.6408 | 1196667.4522 | 2638161.3973 | 1196665.7508
24 | 2638108.5357 | 1196619.3042 | 2638118.4901 | 1196629.7993 | 2638120.2517 | 1196631.4918
25 | 2638178.5767 | 1196677.094 | 2638173.5773 | 1196674.0414 | 2638170.5067 | 1196672.0052
26 | 2638178.5767 | 1196677.094 | 2638191.4612 | 1196684.9614 | 2638203.8205 | 1196691.6945
27 | 2638203.8205 | 1196691.6945 | 2638205.709 | 1196692.7233 | 2638223.5087 | 1196701.3083 | 2638233.2943 | 1196705.4724
28 | 2638233.2943 | 1196705.4724 | 2638251.889 | 1196713.3852 | 2638274.1597 | 1196723.1774 | 2638278.8969 | 1196725.435
29 | 2638233.2943 | 1196705.4724 | 2638244.6684 | 1196661.6638
30 | 2638290.6708 | 1196654.5784 | 2638263.2542 | 1196648.9889 | 2638247.4747 | 1196656.8258 | 2638244.6684 | 1196661.6638
31 | 2638190.8227 | 1196762.3112 | 2638196.1049 | 1196766.525 | 2638203.0295 | 1196773.9068
32 | 2638232.4195 | 1196802.8212 | 2638213.5207 | 1196785.0908 | 2638203.0295 | 1196773.9068
33 | 2638190.8227 | 1196762.3112 | 2638201.8407 | 1196752.187
34 | 2638190.8227 | 1196762.3112 | 2638166.0205 | 1196784.3955
35 | 2638242.9605 | 1196792.2383 | 2638232.4195 | 1196802.8212
36 | 2638232.4195 | 1196802.8212 | 2638227.0348 | 1196808.2217
37 | 2638201.8407 | 1196752.187 | 2638194.7106 | 1196745.1154
38 | 2638201.8407 | 1196752.187 | 2638208.5971 | 1196759.3229
39 | 2638166.0205 | 1196784.3955 | 2638164.1629 | 1196786.0495
40 | 2638242.9605 | 1196792.2383 | 2638249.8248 | 1196784.9125
41 | 2638242.9605 | 1196792.2383 | 2638288.5107 | 1196817.5711
42 | 2638213.0779 | 1196822.2196 | 2638227.0348 | 1196808.2217
43 | 2638160.7858 | 1196789.0566 | 2638164.1629 | 1196786.0495
44 | 2638249.8248 | 1196784.9125 | 2638264.9025 | 1196768.8211 | 2638268.4307 | 1196766.2089 | 2638272.023 | 1196764.2753 | 2638274.6246 | 1196763.6249 | 2638277.3989 | 1196763.3647 | 2638280.2544 | 1196763.4941 | 2638283.2736 | 1196764.2472 | 2638284.2402 | 1196764.5737
45 | 2638289.1225 | 1196817.9113 | 2638288.5107 | 1196817.5711
46 | 2638290.5216 | 1196767.3415 | 2638289.4729 | 1196766.7771 | 2638286.1922 | 1196765.2331 | 2638284.2402 | 1196764.5737
47 | 2638360.392 | 1196857.5479 | 2638289.1225 | 1196817.9113
48 | 2638333.6138 | 1196882.0677 | 2638338.3939 | 1196876.6397 | 2638344.3656 | 1196870.6858 | 2638352.3386 | 1196863.8553 | 2638357.4452 | 1196859.7747 | 2638360.392 | 1196857.5479
49 | 2638306.7837 | 1196934.9362 | 2638308.26 | 1196929.2092 | 2638310.8834 | 1196922.7557 | 2638315.8352 | 1196911.9148 | 2638321.0781 | 1196902.0095 | 2638324.968 | 1196895.2418 | 2638330.6772 | 1196886.2623 | 2638333.6138 | 1196882.0677
50 | 2638333.6138 | 1196882.0677 | 2638316.1532 | 1196873.1344
51 | 2638290.6708 | 1196654.5784 | 2638296.3303 | 1196655.782 | 2638351.367 | 1196672.422
52 | 2638308.0345 | 1196868.0629 | 2638311.7444 | 1196863.2284 | 2638319.0526 | 1196850.8272
53 | 2638308.0345 | 1196868.0629 | 2638314.3376 | 1196872.2055 | 2638316.1532 | 1196873.1344
54 | 2638308.0345 | 1196868.0629 | 2638299.6731 | 1196875.2145
55 | 2638306.7837 | 1196934.9362 | 2638210.91 | 1197063.7531

## bus_geodata
| x | y | coords
0 | 2638133.5525 | 1196729.0021
1 | 2638133.0683 | 1196729.4527
2 | 2638146.8744 | 1196716.6057
3 | 2638111.6047 | 1196749.4251
4 | 2638136.533 | 1196705.4101
5 | 2638154.0116 | 1196724.0283
6 | 2638110.7263 | 1196750.2425
7 | 2638108.8606 | 1196675.452
8 | 2638159.3454 | 1196729.5753
9 | 2638094.8848 | 1196688.6072
10 | 2638120.2833 | 1196664.1768
11 | 2638180.3081 | 1196751.3762
12 | 2638078.0734 | 1196683.7554
13 | 2638088.5535 | 1196694.5667
14 | 2638052.5853 | 1196657.4619
15 | 2638075.7746 | 1196706.5132
16 | 2638063.7116 | 1196646.9552
17 | 2638074.0493 | 1196708.1261
18 | 2638084.7555 | 1196627.0831
19 | 2638122.9355 | 1196661.5588
20 | 2638137.5751 | 1196647.1082
21 | 2638161.3973 | 1196665.7508
22 | 2638120.2517 | 1196631.4918
23 | 2638170.5067 | 1196672.0052
24 | 2638108.5357 | 1196619.3042
25 | 2638178.5767 | 1196677.094
26 | 2638203.8205 | 1196691.6945
27 | 2638233.2943 | 1196705.4724
28 | 2638278.8969 | 1196725.435
29 | 2638244.6684 | 1196661.6638
30 | 2638203.0295 | 1196773.9068
31 | 2638190.8227 | 1196762.3112
32 | 2638232.4195 | 1196802.8212
33 | 2638201.8407 | 1196752.187
34 | 2638166.0205 | 1196784.3955
35 | 2638242.9605 | 1196792.2383
36 | 2638227.0348 | 1196808.2217
37 | 2638194.7106 | 1196745.1154
38 | 2638208.5971 | 1196759.3229
39 | 2638164.1629 | 1196786.0495
40 | 2638249.8248 | 1196784.9125
41 | 2638288.5107 | 1196817.5711
42 | 2638213.0779 | 1196822.2196
43 | 2638160.7858 | 1196789.0566
44 | 2638284.2402 | 1196764.5737
45 | 2638289.1225 | 1196817.9113
46 | 2638360.392 | 1196857.5479
47 | 2638333.6138 | 1196882.0677
48 | 2638290.5216 | 1196767.3415
49 | 2638351.367 | 1196672.422
50 | 2638290.6708 | 1196654.5784
51 | 2638319.0526 | 1196850.8272
52 | 2638308.0345 | 1196868.0629
53 | 2638316.1532 | 1196873.1344
54 | 2638299.6731 | 1196875.2145
55 | 2638306.7837 | 1196934.9362
56 | 2638210.91 | 1197063.7531
57 | 2638208.5971 | 1196759.3229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99339 | -0.046085 | 0.0020313 | 0.0005091
1 | 0.99339 | -0.046122 | 0.0015215 | 0.00038133
2 | 0.99359 | -0.044694 | 0 | 0
3 | 0.99322 | -0.047309 | 0.0018038 | 0.00045208
4 | 0.99254 | -0.052045 | 0.00087147 | 0.00021841
5 | 0.99441 | -0.038951 | 0.000706 | 0.00017694
6 | 0.99321 | -0.047336 | 0.0021974 | 0.00055072
7 | 0.98979 | -0.071427 | 0 | 0
8 | 0.99503 | -0.034611 | 0.0015499 | 0.00038843
9 | 0.98926 | -0.075175 | 0.0018305 | 0.00045878
10 | 0.98915 | -0.075945 | 0.0017196 | 0.00043097
11 | 0.99754 | -0.017133 | 0.0024182 | 0.00060607
12 | 0.98881 | -0.078317 | 0.0033807 | 0.00084727
13 | 0.98904 | -0.076712 | 0 | 0
14 | 0.98844 | -0.080958 | 0 | 0
15 | 0.98887 | -0.07794 | 0.0045772 | 0.0011471
16 | 0.98829 | -0.082062 | 0.0035737 | 0.00089565
17 | 0.98886 | -0.077996 | 0.0023021 | 0.00057695
18 | 0.98814 | -0.083093 | 0.0034832 | 0.00087296
19 | 0.98901 | -0.07693 | 0.00087508 | 0.00021932
20 | 0.98826 | -0.082185 | 0 | 0
21 | 0.98727 | -0.089226 | 0.0030975 | 0.00077631
22 | 0.98819 | -0.082725 | 0.0011875 | 0.00029761
23 | 0.98695 | -0.091451 | 0.00088822 | 0.00022261
24 | 0.98816 | -0.082911 | 0.0010747 | 0.00026934
25 | 0.98669 | -0.093286 | 0.00060768 | 0.0001523
26 | 0.98593 | -0.098719 | 0.0011905 | 0.00029837
27 | 0.98513 | -0.10439 | 0.00094424 | 0.00023665
28 | 0.98509 | -0.10462 | 0.00044806 | 0.00011229
29 | 0.9841 | -0.11164 | 0.0027396 | 0.0006866
30 | 0.998 | -0.013976 | 0.0033398 | 0.00083704
31 | 0.99885 | -0.0080318 | 0 | 0
32 | 0.99612 | -0.027157 | 0 | 0
33 | 1 | 0 | -0.11098 | -0.02772
34 | 0.99825 | -0.012196 | 0.001874 | 0.00046967
35 | 0.9957 | -0.030096 | 0 | 0
36 | 0.99598 | -0.028097 | 0.0032689 | 0.00081927
37 | 0.99998 | -0.00015934 | 0.0015915 | 0.00039888
38 | 1 | -1.9418e-05 | 0.00019775 | 4.9561e-05
39 | 0.99821 | -0.012462 | 0.0051033 | 0.001279
40 | 0.99568 | -0.030198 | 0.00071055 | 0.00017808
41 | 0.99431 | -0.039848 | 0.0043627 | 0.0010934
42 | 0.99573 | -0.029883 | 0.0089788 | 0.0022503
43 | 0.99818 | -0.012713 | 0.005549 | 0.0013907
44 | 0.99567 | -0.030328 | 0.00014417 | 3.6132e-05
45 | 0.9943 | -0.039948 | 0.0016433 | 0.00041185
46 | 0.99283 | -0.050294 | 0 | 0
47 | 0.99218 | -0.054919 | 0 | 0
48 | 0.99566 | -0.030339 | 0.00015297 | 3.8339e-05
49 | 0.98198 | -0.12679 | 0.012807 | 0.0032097
50 | 0.98315 | -0.11841 | 0 | 0
51 | 0.9917 | -0.058315 | 0.0042286 | 0.0010598
52 | 0.99182 | -0.057436 | 0 | 0
53 | 0.99192 | -0.056747 | 0.0020979 | 0.00052579
54 | 0.99177 | -0.057755 | 0.0028562 | 0.00071583
55 | 0.99189 | -0.056943 | 0 | 0
56 | 0.99112 | -0.062387 | 0.0033314 | 0.00083493
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0055235 | 0.001384 | -0.0055234 | -0.001384 | 2.8251e-08 | 2.3031e-09 | 0.0082736 | 0.0082736 | 0.0082736 | 0.99339 | -0.046085 | 0.99339 | -0.046122 | 3.0643
1 | -0.0075548 | -0.0018931 | 0.0075562 | 0.0018934 | 1.4541e-06 | 3.2364e-07 | 0.011316 | 0.011316 | 0.011316 | 0.99339 | -0.046085 | 0.99359 | -0.044694 | 4.1912
2 | 0.0040019 | 0.0010027 | -0.0040013 | -0.0010028 | 6.5741e-07 | -1.2665e-07 | 0.0059945 | 0.0059946 | 0.0059946 | 0.99339 | -0.046122 | 0.99322 | -0.047309 | 2.2202
3 | 0.047937 | 0.012052 | -0.047888 | -0.012033 | 4.9035e-05 | 1.8662e-05 | 0.071805 | 0.071805 | 0.071805 | 0.99359 | -0.044694 | 0.99254 | -0.052045 | 26.5945
4 | -0.055493 | -0.013945 | 0.055538 | 0.013962 | 4.4395e-05 | 1.6941e-05 | 0.083121 | 0.083121 | 0.083121 | 0.99359 | -0.044694 | 0.99441 | -0.038951 | 30.7856
5 | 0.0021974 | 0.00055071 | -0.0021974 | -0.00055072 | 8.1148e-09 | -1.2408e-08 | 0.0032921 | 0.0032921 | 0.0032921 | 0.99322 | -0.047309 | 0.99321 | -0.047336 | 1.2193
6 | 0.047017 | 0.011815 | -0.04689 | -0.011767 | 0.00012648 | 4.8121e-05 | 0.070499 | 0.070499 | 0.070499 | 0.99254 | -0.052045 | 0.98979 | -0.071427 | 26.1106
7 | -0.056244 | -0.014139 | 0.056278 | 0.014152 | 3.4025e-05 | 1.2987e-05 | 0.084178 | 0.084178 | 0.084178 | 0.99441 | -0.038951 | 0.99503 | -0.034611 | 31.1769
8 | 0.019169 | 0.0048051 | -0.019159 | -0.0048015 | 9.9462e-06 | 3.5789e-06 | 0.028818 | 0.028818 | 0.028818 | 0.98979 | -0.071427 | 0.98926 | -0.075175 | 10.6733
9 | 0.027722 | 0.0069616 | -0.027704 | -0.0069552 | 1.74e-05 | 6.486e-06 | 0.041681 | 0.041681 | 0.041681 | 0.98979 | -0.071427 | 0.98915 | -0.075945 | 15.4374
10 | -0.057828 | -0.014541 | 0.057969 | 0.014595 | 0.00014119 | 5.3911e-05 | 0.086495 | 0.086495 | 0.086495 | 0.99503 | -0.034611 | 0.99754 | -0.017133 | 32.0353
11 | 0.017328 | 0.0043428 | -0.017324 | -0.0043414 | 3.6859e-06 | 1.306e-06 | 0.026064 | 0.026064 | 0.026064 | 0.98926 | -0.075175 | 0.98904 | -0.076712 | 9.6535
12 | 0.025985 | 0.0065242 | -0.025981 | -0.0065229 | 3.5541e-06 | 1.3191e-06 | 0.039094 | 0.039094 | 0.039094 | 0.98915 | -0.075945 | 0.98901 | -0.07693 | 14.4793
13 | -0.060387 | -0.015201 | 0.060464 | 0.01523 | 7.685e-05 | 2.9359e-05 | 0.090102 | 0.090102 | 0.090102 | 0.99754 | -0.017133 | 0.99885 | -0.0080318 | 33.3713
14 | -0.010442 | -0.0026164 | 0.010444 | 0.0026171 | 2.3197e-06 | 6.9902e-07 | 0.015713 | 0.015713 | 0.015713 | 0.98881 | -0.078317 | 0.98904 | -0.076712 | 5.8196
15 | 0.007061 | 0.0017692 | -0.0070584 | -0.0017686 | 2.5799e-06 | 5.2273e-07 | 0.010626 | 0.010626 | 0.010626 | 0.98881 | -0.078317 | 0.98844 | -0.080958 | 3.9355
16 | 0.0068804 | 0.0017243 | -0.0068793 | -0.0017241 | 1.1697e-06 | 2.2543e-07 | 0.010352 | 0.010352 | 0.010352 | 0.98904 | -0.076712 | 0.98887 | -0.07794 | 3.834
17 | 0.0070584 | 0.0017686 | -0.0070573 | -0.0017684 | 1.0782e-06 | 2.1856e-07 | 0.010626 | 0.010626 | 0.010626 | 0.98844 | -0.080958 | 0.98829 | -0.082062 | 3.9355
18 | 0.0023021 | 0.00057693 | -0.0023021 | -0.00057695 | 1.7685e-08 | -2.3496e-08 | 0.0034641 | 0.0034641 | 0.0034641 | 0.98887 | -0.07794 | 0.98886 | -0.077996 | 1.283
19 | 0.0034836 | 0.00087278 | -0.0034832 | -0.00087296 | 4.9688e-07 | -1.7972e-07 | 0.0052451 | 0.0052452 | 0.0052452 | 0.98829 | -0.082062 | 0.98814 | -0.083093 | 1.9427
20 | 0.025106 | 0.0063036 | -0.025088 | -0.0062968 | 1.8319e-05 | 6.7819e-06 | 0.037778 | 0.037778 | 0.037778 | 0.98901 | -0.07693 | 0.98826 | -0.082185 | 13.9917
21 | 0.022825 | 0.0057303 | -0.022803 | -0.0057221 | 2.2302e-05 | 8.1905e-06 | 0.034371 | 0.034372 | 0.034372 | 0.98826 | -0.082185 | 0.98727 | -0.089226 | 12.7302
22 | 0.0022623 | 0.0005665 | -0.0022622 | -0.00056674 | 1.6889e-07 | -2.3392e-07 | 0.0034062 | 0.0034063 | 0.0034063 | 0.98826 | -0.082185 | 0.98819 | -0.082725 | 1.2616
23 | 0.019706 | 0.0049458 | -0.0197 | -0.0049436 | 6.0857e-06 | 2.1993e-06 | 0.029703 | 0.029703 | 0.029703 | 0.98727 | -0.089226 | 0.98695 | -0.091451 | 11.0011
24 | 0.0010747 | 0.00026913 | -0.0010747 | -0.00026934 | 2.7629e-08 | -2.0598e-07 | 0.0016182 | 0.0016183 | 0.0016183 | 0.98819 | -0.082725 | 0.98816 | -0.082911 | 0.59936
25 | 0.018811 | 0.004721 | -0.018807 | -0.0047192 | 4.7902e-06 | 1.7205e-06 | 0.028364 | 0.028364 | 0.028364 | 0.98695 | -0.091451 | 0.98669 | -0.093286 | 10.5052
26 | 0.018199 | 0.0045669 | -0.018185 | -0.004562 | 1.3713e-05 | 4.902e-06 | 0.027447 | 0.027448 | 0.027448 | 0.98669 | -0.093286 | 0.98593 | -0.098719 | 10.1658
27 | 0.016995 | 0.0042637 | -0.016981 | -0.0042589 | 1.3363e-05 | 4.7249e-06 | 0.025651 | 0.025651 | 0.025651 | 0.98593 | -0.098719 | 0.98513 | -0.10439 | 9.5004
28 | 0.00044807 | 0.00011167 | -0.00044806 | -0.00011229 | 1.4225e-08 | -6.2836e-07 | 0.00067658 | 0.00067681 | 0.00067681 | 0.98513 | -0.10439 | 0.98509 | -0.10462 | 0.25067
29 | 0.015589 | 0.0039106 | -0.015573 | -0.0039052 | 1.5661e-05 | 5.4479e-06 | 0.023548 | 0.023548 | 0.023548 | 0.98513 | -0.10439 | 0.9841 | -0.11164 | 8.7216
30 | 0.012834 | 0.0032186 | -0.012822 | -0.0032146 | 1.203e-05 | 3.9771e-06 | 0.019406 | 0.019406 | 0.019406 | 0.9841 | -0.11164 | 0.98315 | -0.11841 | 7.1875
31 | -0.035244 | -0.0088424 | 0.035273 | 0.0088534 | 2.9086e-05 | 1.0966e-05 | 0.052552 | 0.052552 | 0.052552 | 0.998 | -0.013976 | 0.99885 | -0.0080318 | 19.4637
32 | 0.031904 | 0.0080054 | -0.031846 | -0.0079835 | 5.8251e-05 | 2.1866e-05 | 0.047572 | 0.047572 | 0.047572 | 0.998 | -0.013976 | 0.99612 | -0.027157 | 17.6194
33 | -0.10827 | -0.027225 | 0.10839 | 0.027272 | 0.00012132 | 4.6272e-05 | 0.16133 | 0.16133 | 0.16133 | 0.99885 | -0.0080318 | 1 | 0 | 29.8753
34 | 0.012534 | 0.0031419 | -0.012527 | -0.0031395 | 7.2254e-06 | 2.3446e-06 | 0.018673 | 0.018673 | 0.018673 | 0.99885 | -0.0080318 | 0.99825 | -0.012196 | 6.9159
35 | 0.019594 | 0.0049128 | -0.019586 | -0.0049099 | 7.9751e-06 | 2.8732e-06 | 0.029271 | 0.029271 | 0.029271 | 0.99612 | -0.027157 | 0.9957 | -0.030096 | 10.8411
36 | 0.012252 | 0.0030707 | -0.01225 | -0.0030702 | 1.594e-06 | 5.138e-07 | 0.018302 | 0.018302 | 0.018302 | 0.99612 | -0.027157 | 0.99598 | -0.028097 | 6.7784
37 | 0.0015916 | 0.00039876 | -0.0015915 | -0.00039888 | 3.5096e-08 | -1.1806e-07 | 0.0023682 | 0.0023683 | 0.0023683 | 1 | 0 | 0.99998 | -0.00015934 | 0.87714
38 | 0.00019775 | 4.9432e-05 | -0.00019775 | -4.9561e-05 | 5.3023e-10 | -1.2856e-07 | 0.00029421 | 0.00029425 | 0.00029425 | 1 | 0 | 1 | -1.9418e-05 | 0.10898
39 | 0.010653 | 0.0026698 | -0.010652 | -0.0026697 | 3.9135e-07 | 1.1801e-07 | 0.015879 | 0.015879 | 0.015879 | 0.99825 | -0.012196 | 0.99821 | -0.012462 | 5.8813
40 | 0.0010077 | 0.00025178 | -0.0010077 | -0.00025191 | 1.4203e-08 | -1.2511e-07 | 0.0015057 | 0.0015057 | 0.0015057 | 0.9957 | -0.030096 | 0.99568 | -0.030198 | 0.55768
41 | 0.018578 | 0.0046582 | -0.018553 | -0.0046492 | 2.5073e-05 | 8.9663e-06 | 0.027765 | 0.027765 | 0.027765 | 0.9957 | -0.030096 | 0.99431 | -0.039848 | 10.2835
42 | 0.008981 | 0.0022509 | -0.0089788 | -0.0022503 | 2.2207e-06 | 5.9693e-07 | 0.013418 | 0.013418 | 0.013418 | 0.99598 | -0.028097 | 0.99573 | -0.029883 | 4.9696
43 | 0.0055491 | 0.0013907 | -0.005549 | -0.0013907 | 1.9307e-07 | 1.5149e-08 | 0.008272 | 0.008272 | 0.008272 | 0.99821 | -0.012462 | 0.99818 | -0.012713 | 3.0637
44 | 0.00029715 | 7.3825e-05 | -0.00029714 | -7.4381e-05 | 5.2858e-09 | -5.5696e-07 | 0.00044385 | 0.00044405 | 0.00044405 | 0.99568 | -0.030198 | 0.99567 | -0.030328 | 0.16446
45 | 0.014191 | 0.0035558 | -0.01419 | -0.0035557 | 1.97e-07 | 6.6689e-08 | 0.021236 | 0.021236 | 0.021236 | 0.99431 | -0.039848 | 0.9943 | -0.039948 | 7.8653
46 | 0.00015297 | 3.8249e-05 | -0.00015297 | -3.8339e-05 | 2.2427e-10 | -8.9357e-08 | 0.00022859 | 0.00022862 | 0.00022862 | 0.99567 | -0.030328 | 0.99566 | -0.030339 | 0.084674
47 | 0.012547 | 0.0031439 | -0.012529 | -0.003138 | 1.7942e-05 | 5.8447e-06 | 0.018777 | 0.018777 | 0.018777 | 0.9943 | -0.039948 | 0.99283 | -0.050294 | 6.9546
48 | 0.012529 | 0.003138 | -0.012521 | -0.0031354 | 8.0075e-06 | 2.6095e-06 | 0.018777 | 0.018778 | 0.018778 | 0.99283 | -0.050294 | 0.99218 | -0.054919 | 6.9547
49 | 0.0033348 | 0.00083341 | -0.0033339 | -0.00083382 | 9.2961e-07 | -4.1161e-07 | 0.0050006 | 0.0050008 | 0.0050008 | 0.99218 | -0.054919 | 0.99189 | -0.056943 | 1.8522
50 | 0.0091863 | 0.002302 | -0.009184 | -0.0023014 | 2.323e-06 | 6.4023e-07 | 0.013777 | 0.013777 | 0.013777 | 0.99218 | -0.054919 | 0.99192 | -0.056747 | 5.1027
51 | -0.012807 | -0.0032097 | 0.012822 | 0.0032146 | 1.4872e-05 | 4.9183e-06 | 0.019406 | 0.019406 | 0.019406 | 0.98198 | -0.12679 | 0.98315 | -0.11841 | 7.1876
52 | -0.0042286 | -0.0010598 | 0.0042291 | 0.0010597 | 5.1467e-07 | -6.643e-08 | 0.0063449 | 0.0063448 | 0.0063449 | 0.9917 | -0.058315 | 0.99182 | -0.057436 | 2.3499
53 | -0.0070854 | -0.0017754 | 0.0070861 | 0.0017756 | 6.7563e-07 | 1.3618e-07 | 0.01063 | 0.01063 | 0.01063 | 0.99182 | -0.057436 | 0.99192 | -0.056747 | 3.937
54 | 0.0028563 | 0.00071574 | -0.0028562 | -0.00071583 | 1.2608e-07 | -9.3497e-08 | 0.0042853 | 0.0042853 | 0.0042853 | 0.99182 | -0.057436 | 0.99177 | -0.057755 | 1.5872
55 | 0.0033339 | 0.00083382 | -0.0033314 | -0.00083493 | 2.5062e-06 | -1.1071e-06 | 0.0050008 | 0.0050016 | 0.0050016 | 0.99189 | -0.056943 | 0.99112 | -0.062387 | 1.8524

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11098 | 0.02772

## res_load
| p_mw | q_mvar
0 | 0.0020313 | 0.0005091
1 | 0.0015215 | 0.00038133
2 | 0.0018038 | 0.00045208
3 | 0.00087147 | 0.00021841
4 | 0.000706 | 0.00017694
5 | 0.0021974 | 0.00055072
6 | 0.0015499 | 0.00038843
7 | 0.0018305 | 0.00045878
8 | 0.0017196 | 0.00043097
9 | 0.0024182 | 0.00060607
10 | 0.0033807 | 0.00084727
11 | 0.0045772 | 0.0011471
12 | 0.0035737 | 0.00089565
13 | 0.0023021 | 0.00057695
14 | 0.0034832 | 0.00087296
15 | 0.00087508 | 0.00021932
16 | 0.0030975 | 0.00077631
17 | 0.0011875 | 0.00029761
18 | 0.00088822 | 0.00022261
19 | 0.0010747 | 0.00026934
20 | 0.00060768 | 0.0001523
21 | 0.0011905 | 0.00029837
22 | 0.00094424 | 0.00023665
23 | 0.00044806 | 0.00011229
24 | 0.0027396 | 0.0006866
25 | 0.0033398 | 0.00083704
26 | 0.001874 | 0.00046967
27 | 0.0032689 | 0.00081927
28 | 0.0015915 | 0.00039888
29 | 0.00019775 | 4.9561e-05
30 | 0.0051033 | 0.001279
31 | 0.00071055 | 0.00017808
32 | 0.0043627 | 0.0010934
33 | 0.0089788 | 0.0022503
34 | 0.005549 | 0.0013907
35 | 0.00014417 | 3.6132e-05
36 | 0.0016433 | 0.00041185
37 | 0.00015297 | 3.8339e-05
38 | 0.012807 | 0.0032097
39 | 0.0042286 | 0.0010598
40 | 0.0020979 | 0.00052579
41 | 0.0028562 | 0.00071583
42 | 0.0033314 | 0.00083493

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1