## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1010-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1010-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1010-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1010-14_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1010-14_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1010-14_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1010-14_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1010-14_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1010-14_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1010-14_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1010-14_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1010-14_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1010-14_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1010-14_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1010-14_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1010-14_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1010-14_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1010-14_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1010-14_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1010-14_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1010-14_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1010-14_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1010-14_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1010-14_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1010-14_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1010-14_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1010-14_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1010-14_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1010-14_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1010-14_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1010-14_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1010-14_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_1010-14_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1010-14_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1010-14_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1010-14_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1010-14_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1010-14_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1010-14_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1010-14_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1010-14_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1010-14_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1010-14_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_MV_126_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1010-14_0_4_load_0 | 0 | 0.0018754 | 0.00047001 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1010-14_0_4_load_1 | 1 | 0.0021827 | 0.00054704 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1010-14_0_4_load_4 | 3 | 0.012713 | 0.0031863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1010-14_0_4_load_11 | 4 | 0.010025 | 0.0025124 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1010-14_0_4_load_22 | 6 | 0.039243 | 0.0098352 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1010-14_0_4_load_6 | 8 | 0.0006201 | 0.00015541 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1010-14_0_4_load_7 | 9 | 0.00044445 | 0.00011139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1010-14_0_4_load_8 | 10 | 0.00050091 | 0.00012554 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1010-14_0_4_load_9 | 11 | 0.0047664 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1010-14_0_4_load_25 | 13 | 0.00023566 | 5.9063e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1010-14_0_4_load_23 | 14 | 0.00025368 | 6.3579e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1010-14_0_4_load_44 | 15 | 0.0027165 | 0.00068081 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1010-14_0_4_load_13 | 17 | 0.045709 | 0.011456 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1010-14_0_4_load_20 | 18 | 0.048009 | 0.012032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1010-14_0_4_load_14 | 19 | 0.0070277 | 0.0017613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1010-14_0_4_load_15 | 20 | 0.0074542 | 0.0018682 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1010-14_0_4_load_45 | 24 | 0.0023654 | 0.00059283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1010-14_0_4_load_47 | 25 | 0.0012151 | 0.00030454 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1010-14_0_4_load_39 | 26 | 0.010105 | 0.0025326 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1010-14_0_4_load_26 | 27 | 0.0054 | 0.0013534 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1010-14_0_4_load_27 | 28 | 0.00041829 | 0.00010483 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1010-14_0_4_load_28 | 29 | 0.00949 | 0.0023784 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1010-14_0_4_load_31 | 30 | 0.002492 | 0.00062456 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1010-14_0_4_load_29 | 32 | 0.006107 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1010-14_0_4_load_32 | 33 | 0.0020492 | 0.00051358 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1010-14_0_4_load_30 | 34 | 0.0056394 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1010-14_0_4_load_33 | 35 | 0.00084689 | 0.00021225 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1010-14_0_4_load_35 | 36 | 0.0028285 | 0.00070889 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1010-14_0_4_load_36 | 37 | 0.00081903 | 0.00020527 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1010-14_0_4_load_38 | 39 | 0.00041291 | 0.00010349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1010-14_0_4_load_40 | 40 | 0.00013158 | 3.2976e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1010-14_0_4_load_48 | 41 | 0.00039287 | 9.8462e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1010-14_0_4_load_41 | 42 | 0.0015243 | 0.00038203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1010-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1010-14_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1010-14_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.048091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1010-14_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.016647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1010-14_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.012696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1010-14_0_4_line_5 | NAYY 4x150 SE | 5 | 17 | 0.018606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1010-14_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.011571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1010-14_0_4_line_7 | NAYY 4x150 SE | 7 | 18 | 0.016049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1010-14_0_4_line_8 | NAYY 4x150 SE | 7 | 21 | 0.021866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1010-14_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0045166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1010-14_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1010-14_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0094708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1010-14_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.033756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1010-14_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.036892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1010-14_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.038254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1010-14_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0079964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1010-14_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.03359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1010-14_0_4_line_17 | NAYY 4x150 SE | 15 | 31 | 0.025885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1010-14_0_4_line_18 | NAYY 4x150 SE | 16 | 27 | 0.02174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1010-14_0_4_line_19 | NAYY 4x150 SE | 16 | 28 | 0.016947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1010-14_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.064932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1010-14_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.024751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1010-14_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.022212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1010-14_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.011083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1010-14_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.024391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1010-14_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1010-14_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0017419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1010-14_0_4_line_27 | NAYY 4x150 SE | 23 | 26 | 0.021157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1010-14_0_4_line_28 | NAYY 4x150 SE | 25 | 33 | 0.015139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1010-14_0_4_line_29 | NAYY 4x150 SE | 26 | 38 | 0.046122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1010-14_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.017391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1010-14_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.011526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1010-14_0_4_line_32 | NAYY 4x150 SE | 29 | 32 | 0.028104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1010-14_0_4_line_33 | NAYY 4x150 SE | 30 | 33 | 0.024859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1010-14_0_4_line_34 | NAYY 4x150 SE | 31 | 42 | 0.017572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1010-14_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.023929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1010-14_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.012857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1010-14_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.027739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1010-14_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.042453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1010-14_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.015445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1010-14_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.080302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1010-14_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.0066612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1010-14_0_4_trafo_20 | 0.25 MVA 20/0.4 kV | 43 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2637818.1998 | 1195858.0059 | 2637839.5551 | 1195843.8162
1 | 2637808.9887 | 1195864.1262 | 2637818.1998 | 1195858.0059
2 | 2637808.9887 | 1195864.1262 | 2637790.8826 | 1195836.0187 | 2637789.1705 | 1195833.2842 | 2637787.9321 | 1195829.1296 | 2637787.6809 | 1195824.2809 | 2637788.615 | 1195822.2457
3 | 2637794.3431 | 1195806.7689 | 2637793.8219 | 1195810.9012 | 2637788.615 | 1195822.2457
4 | 2637792.2358 | 1195794.2487 | 2637794.3431 | 1195806.7689 | 2637794.3431 | 1195806.7689
5 | 2637792.2358 | 1195794.2487 | 2637806.9881 | 1195782.8578
6 | 2637795.4163 | 1195716.4594 | 2637805.4631 | 1195710.7196
7 | 2637795.4163 | 1195716.4594 | 2637790.6429 | 1195719.5532 | 2637789.8959 | 1195718.4145 | 2637782.0893 | 1195722.8899
8 | 2637784.1834 | 1195697.7004 | 2637790.3964 | 1195707.923 | 2637795.4163 | 1195716.4594
9 | 2637627.2866 | 1195614.4105 | 2637625.7508 | 1195610.1631
10 | 2637631.7367 | 1195627.2355 | 2637629.8493 | 1195621.4977 | 2637627.2866 | 1195614.4105
11 | 2637622.5302 | 1195601.2566 | 2637625.7508 | 1195610.1631
12 | 2637640.2814 | 1195659.8844 | 2637632.8395 | 1195630.5882 | 2637631.7367 | 1195627.2355
13 | 2637640.2814 | 1195659.8844 | 2637647.2927 | 1195696.1042
14 | 2637640.2814 | 1195659.8844 | 2637646.5006 | 1195661.8912 | 2637647.8354 | 1195662.8557 | 2637649.5922 | 1195664.5566 | 2637666.0017 | 1195684.0149 | 2637667.4546 | 1195685.6307
15 | 2637647.2927 | 1195696.1042 | 2637648.8124 | 1195703.9549
16 | 2637687.948 | 1195712.2018 | 2637681.0436 | 1195702.8644 | 2637674.0809 | 1195693.1152 | 2637672.0843 | 1195690.7791 | 2637667.4546 | 1195685.6307
17 | 2637653.6487 | 1195729.3844 | 2637649.6153 | 1195708.1029 | 2637648.8124 | 1195703.9549
18 | 2637687.948 | 1195712.2018 | 2637690.6134 | 1195723.258 | 2637693.4648 | 1195733.2253
19 | 2637687.948 | 1195712.2018 | 2637690.8637 | 1195706.4948 | 2637696.1019 | 1195697.3503
20 | 2637782.0893 | 1195722.8899 | 2637806.9881 | 1195782.8578
21 | 2637753.4018 | 1195664.8255 | 2637754.0769 | 1195664.8813 | 2637756.0003 | 1195665.5271 | 2637757.4872 | 1195666.526 | 2637759.7674 | 1195668.5748 | 2637771.5327 | 1195681.1049
22 | 2637784.1834 | 1195697.7004 | 2637785.2337 | 1195696.6509 | 2637781.1813 | 1195691.7337 | 2637772.6625 | 1195682.3081 | 2637771.5327 | 1195681.1049
23 | 2637742.3309 | 1195664.6294 | 2637750.0031 | 1195664.5443 | 2637753.4018 | 1195664.8255
24 | 2637722.5776 | 1195651.1308 | 2637736.7086 | 1195658.5684 | 2637739.8937 | 1195660.8897 | 2637741.5429 | 1195662.7345 | 2637742.3309 | 1195664.6294
25 | 2637742.3309 | 1195664.6294 | 2637742.4719 | 1195666.4201 | 2637742.2442 | 1195668.6977 | 2637741.6932 | 1195671.518 | 2637739.2135 | 1195678.1394 | 2637738.3653 | 1195679.9682
26 | 2637722.5776 | 1195651.1308 | 2637721.7117 | 1195652.6423
27 | 2637722.5776 | 1195651.1308 | 2637732.1566 | 1195632.267
28 | 2637714.1871 | 1195665.7783 | 2637721.7117 | 1195652.6423
29 | 2637751.3016 | 1195590.3562 | 2637748.5976 | 1195597.4986 | 2637743.0666 | 1195610.7822 | 2637732.1566 | 1195632.267
30 | 2637693.4648 | 1195733.2253 | 2637694.2138 | 1195735.8432 | 2637699.3501 | 1195749.5821
31 | 2637696.1019 | 1195697.3503 | 2637701.8308 | 1195687.3491
32 | 2637709.1917 | 1195775.9067 | 2637699.3501 | 1195749.5821
33 | 2637714.1871 | 1195665.7783 | 2637701.8308 | 1195687.3491
34 | 2637653.6487 | 1195729.3844 | 2637657.1072 | 1195746.6126
35 | 2637717.5712 | 1195798.3207 | 2637709.1917 | 1195775.9067
36 | 2637717.5712 | 1195798.3207 | 2637722.0734 | 1195810.3631
37 | 2637760.514 | 1195548.9905 | 2637763.2449 | 1195521.3863
38 | 2637751.3016 | 1195590.3562 | 2637753.8458 | 1195583.1683 | 2637760.3842 | 1195550.3026 | 2637760.514 | 1195548.9905
39 | 2637763.2449 | 1195521.3863 | 2637764.7656 | 1195506.0161
40 | 2637751.3016 | 1195590.3562 | 2637757.9728 | 1195596.8018 | 2637777.5138 | 1195613.7788 | 2637807.0641 | 1195643.0148 | 2637809.4559 | 1195645.6663
41 | 2637765.4214 | 1195499.3873 | 2637764.7656 | 1195506.0161

## bus_geodata
| x | y | coords
0 | 2637818.1998 | 1195858.0059
1 | 2637839.5551 | 1195843.8162
2 | 2637808.9887 | 1195864.1262
3 | 2637788.615 | 1195822.2457
4 | 2637794.3431 | 1195806.7689
5 | 2637792.2358 | 1195794.2487
6 | 2637805.4631 | 1195710.7196
7 | 2637795.4163 | 1195716.4594
8 | 2637627.2866 | 1195614.4105
9 | 2637625.7508 | 1195610.1631
10 | 2637631.7367 | 1195627.2355
11 | 2637622.5302 | 1195601.2566
12 | 2637640.2814 | 1195659.8844
13 | 2637647.2927 | 1195696.1042
14 | 2637667.4546 | 1195685.6307
15 | 2637648.8124 | 1195703.9549
16 | 2637687.948 | 1195712.2018
17 | 2637806.9881 | 1195782.8578
18 | 2637782.0893 | 1195722.8899
19 | 2637771.5327 | 1195681.1049
20 | 2637753.4018 | 1195664.8255
21 | 2637784.1834 | 1195697.7004
22 | 2637742.3309 | 1195664.6294
23 | 2637722.5776 | 1195651.1308
24 | 2637738.3653 | 1195679.9682
25 | 2637721.7117 | 1195652.6423
26 | 2637732.1566 | 1195632.267
27 | 2637693.4648 | 1195733.2253
28 | 2637696.1019 | 1195697.3503
29 | 2637699.3501 | 1195749.5821
30 | 2637701.8308 | 1195687.3491
31 | 2637653.6487 | 1195729.3844
32 | 2637709.1917 | 1195775.9067
33 | 2637714.1871 | 1195665.7783
34 | 2637717.5712 | 1195798.3207
35 | 2637722.0734 | 1195810.3631
36 | 2637760.514 | 1195548.9905
37 | 2637763.2449 | 1195521.3863
38 | 2637751.3016 | 1195590.3562
39 | 2637764.7656 | 1195506.0161
40 | 2637809.4559 | 1195645.6663
41 | 2637765.4214 | 1195499.3873
42 | 2637657.1072 | 1195746.6126
43 | 2637795.4163 | 1195716.4594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99129 | -0.06109 | 0.0018754 | 0.00047001
1 | 0.99121 | -0.061659 | 0.0021827 | 0.00054704
2 | 0.99135 | -0.060634 | 0 | 0
3 | 0.99163 | -0.05865 | 0.012713 | 0.0031863
4 | 0.99203 | -0.055816 | 0.010025 | 0.0025124
5 | 0.99252 | -0.052366 | 0 | 0
6 | 0.99802 | -0.013815 | 0.039243 | 0.0098352
7 | 0.99867 | -0.0092682 | 0 | 0
8 | 0.98251 | -0.12285 | 0.0006201 | 0.00015541
9 | 0.98248 | -0.12309 | 0.00044445 | 0.00011139
10 | 0.98263 | -0.12203 | 0.00050091 | 0.00012554
11 | 0.98241 | -0.12356 | 0.0047664 | 0.0011946
12 | 0.98294 | -0.11982 | 0 | 0
13 | 0.9827 | -0.12153 | 0.00023566 | 5.9063e-05
14 | 0.98354 | -0.11554 | 0.00025368 | 6.3579e-05
15 | 0.98265 | -0.12188 | 0.0027165 | 0.00068081
16 | 0.98407 | -0.11171 | 0 | 0
17 | 0.99324 | -0.047316 | 0.045709 | 0.011456
18 | 1 | 0 | -0.19045 | -0.04774
19 | 0.99381 | -0.0431 | 0.0070277 | 0.0017613
20 | 0.99133 | -0.060475 | 0.0074542 | 0.0018682
21 | 0.99625 | -0.02601 | 0 | 0
22 | 0.99034 | -0.067442 | 0 | 0
23 | 0.98824 | -0.082235 | 0 | 0
24 | 0.99028 | -0.067829 | 0.0023654 | 0.00059283
25 | 0.98812 | -0.083031 | 0.0012151 | 0.00030454
26 | 0.98779 | -0.085417 | 0.010105 | 0.0025326
27 | 0.98321 | -0.11787 | 0.0054 | 0.0013534
28 | 0.98502 | -0.10497 | 0.00041829 | 0.00010483
29 | 0.98265 | -0.12184 | 0.00949 | 0.0023784
30 | 0.98567 | -0.10035 | 0.002492 | 0.00062456
31 | 0.98259 | -0.12229 | 0 | 0
32 | 0.98214 | -0.1255 | 0.006107 | 0.0015305
33 | 0.98717 | -0.089776 | 0.0020492 | 0.00051358
34 | 0.98191 | -0.12711 | 0.0056394 | 0.0014134
35 | 0.9819 | -0.12722 | 0.00084689 | 0.00021225
36 | 0.98721 | -0.089528 | 0.0028285 | 0.00070889
37 | 0.98714 | -0.08999 | 0.00081903 | 0.00020527
38 | 0.98748 | -0.087589 | 0 | 0
39 | 0.98713 | -0.090118 | 0.00041291 | 0.00010349
40 | 0.98747 | -0.087701 | 0.00013158 | 3.2976e-05
41 | 0.98712 | -0.090145 | 0.00039287 | 9.8462e-05
42 | 0.98255 | -0.12256 | 0.0015243 | 0.00038203
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0021829 | 0.00054678 | -0.0021827 | -0.00054704 | 1.7178e-07 | -2.6444e-07 | 0.0032766 | 0.0032768 | 0.0032768 | 0.99129 | -0.06109 | 0.99121 | -0.061659 | 1.2136
1 | -0.0040583 | -0.0010168 | 0.0040585 | 0.0010167 | 2.5608e-07 | -4.4086e-08 | 0.0060917 | 0.0060917 | 0.0060917 | 0.99129 | -0.06109 | 0.99135 | -0.060634 | 2.2562
2 | -0.0040585 | -0.0010167 | 0.0040596 | 0.0010166 | 1.1135e-06 | -1.9194e-07 | 0.0060917 | 0.0060915 | 0.0060917 | 0.99135 | -0.060634 | 0.99163 | -0.05865 | 2.2562
3 | -0.016773 | -0.0042028 | 0.01678 | 0.0042051 | 6.5804e-06 | 2.3161e-06 | 0.025169 | 0.025169 | 0.025169 | 0.99163 | -0.05865 | 0.99203 | -0.055816 | 9.3218
4 | -0.026804 | -0.0067176 | 0.026817 | 0.0067223 | 1.2806e-05 | 4.7616e-06 | 0.040205 | 0.040205 | 0.040205 | 0.99203 | -0.055816 | 0.99252 | -0.052366 | 14.8909
5 | -0.026817 | -0.0067223 | 0.026836 | 0.0067293 | 1.8767e-05 | 6.9776e-06 | 0.040205 | 0.040205 | 0.040205 | 0.99252 | -0.052366 | 0.99324 | -0.047316 | 14.8909
6 | -0.039243 | -0.0098352 | 0.039267 | 0.0098445 | 2.4717e-05 | 9.3554e-06 | 0.05851 | 0.05851 | 0.05851 | 0.99802 | -0.013815 | 0.99867 | -0.0092682 | 21.6703
7 | -0.11648 | -0.029314 | 0.11663 | 0.029371 | 0.00015089 | 5.7616e-05 | 0.1736 | 0.1736 | 0.1736 | 0.99867 | -0.0092682 | 1 | 0 | 32.1475
8 | 0.077211 | 0.019469 | -0.077031 | -0.0194 | 0.00018072 | 6.9221e-05 | 0.11509 | 0.11509 | 0.11509 | 0.99867 | -0.0092682 | 0.99625 | -0.02601 | 42.6248
9 | 0.0052113 | 0.001306 | -0.0052111 | -0.001306 | 1.7556e-07 | 1.0325e-08 | 0.0078925 | 0.0078925 | 0.0078925 | 0.98251 | -0.12285 | 0.98248 | -0.12309 | 2.9232
10 | -0.0058314 | -0.0014614 | 0.0058321 | 0.0014615 | 6.6077e-07 | 8.2185e-08 | 0.0088317 | 0.0088316 | 0.0088317 | 0.98251 | -0.12285 | 0.98263 | -0.12203 | 3.271
11 | 0.0047667 | 0.0011946 | -0.0047664 | -0.0011946 | 3.0802e-07 | -1.4582e-09 | 0.0072194 | 0.0072194 | 0.0072194 | 0.98248 | -0.12309 | 0.98241 | -0.12356 | 2.6739
12 | -0.006333 | -0.001587 | 0.0063349 | 0.0015873 | 1.9372e-06 | 3.1735e-07 | 0.0095901 | 0.00959 | 0.0095901 | 0.98263 | -0.12203 | 0.98294 | -0.11982 | 3.5519
13 | 0.0044779 | 0.0011213 | -0.0044768 | -0.0011214 | 1.0578e-06 | -6.067e-08 | 0.0067785 | 0.0067787 | 0.0067787 | 0.98294 | -0.11982 | 0.9827 | -0.12153 | 2.5106
14 | -0.010813 | -0.0027086 | 0.010819 | 0.0027106 | 6.3955e-06 | 1.9746e-06 | 0.016368 | 0.016368 | 0.016368 | 0.98294 | -0.11982 | 0.98354 | -0.11554 | 6.0624
15 | 0.0042412 | 0.0010623 | -0.0042409 | -0.0010623 | 2.0578e-07 | -2.2158e-08 | 0.0064218 | 0.0064218 | 0.0064218 | 0.9827 | -0.12153 | 0.98265 | -0.12188 | 2.3785
16 | -0.011073 | -0.0027742 | 0.011079 | 0.002776 | 5.8821e-06 | 1.8358e-06 | 0.016752 | 0.016752 | 0.016752 | 0.98354 | -0.11554 | 0.98407 | -0.11171 | 6.2045
17 | 0.0015245 | 0.00038154 | -0.0015244 | -0.00038183 | 8.607e-08 | -2.9479e-07 | 0.0023083 | 0.0023084 | 0.0023084 | 0.98265 | -0.12188 | 0.98259 | -0.12229 | 0.85497
18 | 0.027527 | 0.0069034 | -0.027503 | -0.0068946 | 2.3504e-05 | 8.7642e-06 | 0.041625 | 0.041625 | 0.041625 | 0.98407 | -0.11171 | 0.98321 | -0.11787 | 15.4166
19 | -0.038606 | -0.0096794 | 0.038642 | 0.009693 | 3.6038e-05 | 1.3645e-05 | 0.058377 | 0.058377 | 0.058377 | 0.98407 | -0.11171 | 0.98502 | -0.10497 | 21.621
20 | -0.072545 | -0.018185 | 0.073024 | 0.018368 | 0.0004786 | 0.00018323 | 0.10868 | 0.10868 | 0.10868 | 0.99324 | -0.047316 | 1 | 0 | 40.2535
21 | 0.069819 | 0.017568 | -0.06965 | -0.017504 | 0.00016887 | 6.4629e-05 | 0.10456 | 0.10456 | 0.10456 | 0.99381 | -0.0431 | 0.99133 | -0.060475 | 38.7277
22 | -0.076847 | -0.01933 | 0.077031 | 0.0194 | 0.00018358 | 7.0319e-05 | 0.11509 | 0.11509 | 0.11509 | 0.99381 | -0.0431 | 0.99625 | -0.02601 | 42.6249
23 | 0.062196 | 0.015635 | -0.062136 | -0.015612 | 6.0299e-05 | 2.3049e-05 | 0.093376 | 0.093376 | 0.093376 | 0.99133 | -0.060475 | 0.99034 | -0.067442 | 34.5836
24 | 0.05977 | 0.01502 | -0.059648 | -0.014973 | 0.00012279 | 4.6915e-05 | 0.089821 | 0.089822 | 0.089822 | 0.99034 | -0.067442 | 0.98824 | -0.082235 | 33.2673
25 | 0.0023655 | 0.00059267 | -0.0023654 | -0.00059283 | 1.2648e-07 | -1.5779e-07 | 0.0035542 | 0.0035543 | 0.0035543 | 0.99034 | -0.067442 | 0.99028 | -0.067829 | 1.3164
26 | 0.044948 | 0.011291 | -0.044943 | -0.011289 | 4.9802e-06 | 1.8931e-06 | 0.067689 | 0.067689 | 0.067689 | 0.98824 | -0.082235 | 0.98812 | -0.083031 | 25.07
27 | 0.014699 | 0.0036822 | -0.014693 | -0.0036799 | 6.4668e-06 | 2.2163e-06 | 0.022133 | 0.022133 | 0.022133 | 0.98824 | -0.082235 | 0.98779 | -0.085417 | 8.1973
28 | 0.043728 | 0.010984 | -0.043687 | -0.010969 | 4.0973e-05 | 1.5565e-05 | 0.065859 | 0.065859 | 0.065859 | 0.98812 | -0.083031 | 0.98717 | -0.089776 | 24.3923
29 | 0.0045876 | 0.0011473 | -0.0045862 | -0.0011474 | 1.3742e-06 | -6.1675e-08 | 0.0069099 | 0.0069101 | 0.0069101 | 0.98779 | -0.085417 | 0.98748 | -0.087589 | 2.5593
30 | 0.022103 | 0.0055412 | -0.022091 | -0.0055368 | 1.2144e-05 | 4.4502e-06 | 0.033452 | 0.033452 | 0.033452 | 0.98321 | -0.11787 | 0.98265 | -0.12184 | 12.3897
31 | -0.03906 | -0.0097979 | 0.039085 | 0.0098074 | 2.5043e-05 | 9.4851e-06 | 0.059008 | 0.059008 | 0.059008 | 0.98502 | -0.10497 | 0.98567 | -0.10035 | 21.855
32 | 0.012601 | 0.0031584 | -0.012595 | -0.0031563 | 6.3855e-06 | 2.1001e-06 | 0.019082 | 0.019082 | 0.019082 | 0.98265 | -0.12184 | 0.98214 | -0.1255 | 7.0674
33 | -0.041577 | -0.010432 | 0.041638 | 0.010455 | 6.112e-05 | 2.319e-05 | 0.06277 | 0.06277 | 0.06277 | 0.98567 | -0.10035 | 0.98717 | -0.089776 | 23.2483
34 | 0.0015244 | 0.00038183 | -0.0015243 | -0.00038203 | 5.8432e-08 | -2.0009e-07 | 0.0023084 | 0.0023085 | 0.0023085 | 0.98259 | -0.12229 | 0.98255 | -0.12256 | 0.855
35 | 0.0064877 | 0.0016257 | -0.0064863 | -0.0016255 | 1.4427e-06 | 2.5212e-07 | 0.0098294 | 0.0098295 | 0.0098295 | 0.98214 | -0.1255 | 0.98191 | -0.12711 | 3.6405
36 | 0.0008469 | 0.00021209 | -0.00084689 | -0.00021225 | 1.3214e-08 | -1.5754e-07 | 0.0012834 | 0.0012834 | 0.0012834 | 0.98191 | -0.12711 | 0.9819 | -0.12722 | 0.47534
37 | 0.0016249 | 0.00040663 | -0.0016248 | -0.00040694 | 1.0382e-07 | -3.1471e-07 | 0.002449 | 0.0024492 | 0.0024492 | 0.98721 | -0.089528 | 0.98714 | -0.08999 | 0.9071
38 | -0.0044534 | -0.0011155 | 0.0044546 | 0.0011154 | 1.1936e-06 | -8.3891e-08 | 0.0067124 | 0.0067122 | 0.0067124 | 0.98721 | -0.089528 | 0.98748 | -0.087589 | 2.4861
39 | 0.00080579 | 0.00020167 | -0.00080578 | -0.00020186 | 1.4218e-08 | -1.9198e-07 | 0.0012146 | 0.0012146 | 0.0012146 | 0.98714 | -0.08999 | 0.98713 | -0.090118 | 0.44986
40 | 0.00013158 | 3.195e-05 | -0.00013158 | -3.2976e-05 | 1.9663e-09 | -1.0265e-06 | 0.00019791 | 0.00019827 | 0.00019827 | 0.98748 | -0.087589 | 0.98747 | -0.087701 | 0.073435
41 | 0.00039287 | 9.8377e-05 | -0.00039287 | -9.8462e-05 | 1.4577e-09 | -8.4594e-08 | 0.00059219 | 0.00059222 | 0.00059222 | 0.98713 | -0.090118 | 0.98712 | -0.090145 | 0.21934

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23846 | 0.059772

## res_load
| p_mw | q_mvar
0 | 0.0018754 | 0.00047001
1 | 0.0021827 | 0.00054704
2 | 0.012713 | 0.0031863
3 | 0.010025 | 0.0025124
4 | 0.039243 | 0.0098352
5 | 0.0006201 | 0.00015541
6 | 0.00044445 | 0.00011139
7 | 0.00050091 | 0.00012554
8 | 0.0047664 | 0.0011946
9 | 0.00023566 | 5.9063e-05
10 | 0.00025368 | 6.3579e-05
11 | 0.0027165 | 0.00068081
12 | 0.045709 | 0.011456
13 | 0.048009 | 0.012032
14 | 0.0070277 | 0.0017613
15 | 0.0074542 | 0.0018682
16 | 0.0023654 | 0.00059283
17 | 0.0012151 | 0.00030454
18 | 0.010105 | 0.0025326
19 | 0.0054 | 0.0013534
20 | 0.00041829 | 0.00010483
21 | 0.00949 | 0.0023784
22 | 0.002492 | 0.00062456
23 | 0.006107 | 0.0015305
24 | 0.0020492 | 0.00051358
25 | 0.0056394 | 0.0014134
26 | 0.00084689 | 0.00021225
27 | 0.0028285 | 0.00070889
28 | 0.00081903 | 0.00020527
29 | 0.00041291 | 0.00010349
30 | 0.00013158 | 3.2976e-05
31 | 0.00039287 | 9.8462e-05
32 | 0.0015243 | 0.00038203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1